BOREAS TE-04 Gas Exchange Data from Boreal Tree Species

Summary

Measurements of light, CO2, temperature, and humidity response curves were made by the BOREAS TE-04 team during the summary of 1994 using intact attached leaves of boreal forest species located in the BOREAS SSA. These measurements were conducted to calibrate models used to predict photosynthesis, stomatal conductance, and leaf respiration.  The data can be used to construct plots of response functions or for parameterizing models.  Parameter values suitable for application in SiB2 (Sellers et al., 1996) or the leaf model of Collatz et al. (1991) and programs can be obtained from the investigators.  The data are stored in tabular ASCII files.

Table of Contents

1 Data Set Overview

2 Investigator(s)

3 Theory of Measurements

4 Equipment

5 Data Acquisition Methods

5 Observations

7 Data Description

8 Data Organization

9 Data Manipulations

10 Errors

11 Notes

12 Application of the Data Set

13 Future Modification and Plans

14 Software

15 Data Access

16 Output Products and Availability

17 References

18 Glossary of Terms

19 List of Acronyms

20 Document Information

1. Data Set Overview

1.1 Data Set Identification

BOREAS TE-04 Gas Exchange Data from Boreal Tree Species

1.2 Data Set Introduction

These data are summaries of steady-state gas exchange measurements conducted by the Terrestrial Ecology (TE)-04 team under field conditions in the summer of 1994 at the BOReal Ecosystem-Atmosphere Study (BOREAS) Southern Study Area (SSA).

1.3 Objective/Purpose

These studies were conducted to provide a basis for calibrating models of stomatal conductance, photosynthesis, and respiration used in simulating boreal ecosystem-atmosphere interactions.

1.4 Summary of Parameters

The parameters provided in each data set are intended to provide a sufficient description of the micro-environment of the leaf to permit the observations to be used for model validation.  A complete list of the parameters is given in section 4.1.4.  The key measurements are the rates of net CO2 exchange, the rate of evaporation of water from the leaf, the stomatal conductance to water vapor, and the intercellular CO2 concentration.

1.5 Discussion

These data have been analyzed by nonlinear curve fitting programs to obtain parameter values suitable for application in SiB2 (Sellers et al., 1996) or the leaf model of Collatz et al. (1991).  Validation of these calibration experiments is still in progress.  Measurements of gas exchange under ambient conditions (nonsteady-state) with LiCOR 6200 instruments and studies with branch bags by the TE-11 team have been used for validation.  Validation experiments indicate that photosynthesis is accurately predicted by models based on these data. However, stomatal conductance of conifer species is underpredicted. The source of this problem has not been identified.  Tree species measured were black spruce (Picea mariana), aspen (Populus tremuloides), jack pine (Pinus banksiana), white spruce (Picea glauca), birch (Betula pumila), and hazel (Corylus cornuta).

1.6 Related Data Sets

BOREAS TE-05 CO2 Concentration and Stable Isotope Composition

BOREAS TE-09 NSA Photosynthetic Capacity and Foliage Nitrogen Data

BOREAS TE-09 PAR and Leaf Nitrogen Data for NSA Species

BOREAS TE-09 NSA Photosynthetic Response Data

BOREAS TE-09 NSA in situ Diurnal Gas Exchange of Boreal Forest Species

BOREAS TE-10 Leaf Optical Properties

BOREAS TE-12 Leaf Optical Data for SSA Species

BOREAS TE-12 Leaf Gas Exchange Data

2. Investigator(s)

2.1 Investigator(s) Name and Title

Dr. Joseph A. Berry

Dr. G. James Collatz

Dr. John Gamon

Dr. Wei Fu

Dr. Art Fredeen

2.2 Title of Investigation

Measurement and Prediction of CO2 and H2O Exchange from Boreal Forest Tree Species

2.3 Contact Information

Contact 1:

Dr. Joseph A. Berry

Department of Plant Biology

Carnegie Institution of Washington

Stanford, CA

(650) 325-1521 ext. 221

(650) 325-6857 (fax)

joeberry@biosphere.stanford.edu

Contact 2:

Dr. G. James Collatz

NASA GSFC

Greenbelt, MD

(301) 386-1425

(301) 286-0239 (fax)

jcollatz@biome.gsfc.nasa.gov

Contact 3:

Dr. John Gamon

Department of Biology

California State University

Los Angeles, CA

(213) 343-2066

(213) 343-2670 (fax)

jgamon@bio10sun.calstatela.edu

Contact 4:

Dr. Wei Fu

Carnegie Institution of Washington

Stanford, CA

Contact 5:

Dr. Art Fredeen,

Fac. of Natural Resources and Environmental Studies

University of N.B.C.

Prince George, British Columbia

Canada

Contact 6:

Shelaine Curd

Raytheon STX Corporation

NASA GSFC

Greenbelt, MD

(301) 286-2447

(301) 286-0239 (fax)

shelaine.curd@gsfc.nasa.gov

3. Theory of Measurements

The measurements reported here were made by generally accepted procedures for laboratory gas exchange. Leaves were enclosed in a cuvette that permitted precise control of the leaf environment (illumination,  concentrations of CO2 and H2O, and temperature).

Net exchange of CO2 and H2O was determined by infrared gas analysis of the air flowing through the stirred cuvette.  See Field et al. (1989) for more information.

4. Equipment

4.1 Sensor/Instrument Description

Gas exchange system (Model MPH-1000; Campbell Scientific, Logan, UT)

Infrared Gas Analyzer (IRGA) (Model 6262; LiCor Inc., Lincoln NE)

Dew Point Mirror (Model Dew-10; General Eastern, Woburn, MA)

4.1.1 Collection Environment

All experiments were conducted with intact attached leaves/needles near the top of canopies in the BOREAS SSA.  For specific weather conditions on experiment days, see meteorological data files.

4.1.2 Source/Platform

Equipment was located on canopy access towers.

4.1.3  Source/Platform Mission Objectives

The experiments were conducted to calibrate models of photosynthesis, stomatal regulation, and respiration for canopy leaves/needles.

4.1.4  Key Variables

atmospheric pressure

boundary layer resistance

ambient water vapor pressure

ambient CO2 concentration

ambient temperature

flux density of photosynthetically active radiation (PAR)

short-wave radiation

long-wave radiation

leaf temperature

CO2 concentration at leaf surface

relative humidity at leaf surface

CO2 concentration in intercellular air spaces

net photosynthetic rate

stomatal conductance

transpiration rate

4.1.5 Principles of Operation

Temperature, CO2 concentration and H2O vapor pressure were determined with appropriate sensors. Net CO2 and H2O exchange was determined by mass balance analysis of the air flowing through the cuvette. Gas exchange parameters, Ci, Gsw were calculated.

4.1.6 Sensor Instrument Measurement Geometry

Leaves/needles were enclosed in a cuvette.  All measurements are expressed on a leaf area basis; for the conifers, this is reported as the hemisurface area of the needles (half of the total surface area) as determined by volume displacement (J. Norman, personal communication); the area of bilateral leaves is expressed as the single-sided area or projected area.

4.1.7  Manufacturer of Sensor/Instrument

Gas exchange system (Model MPH-1000; Campbell Scientific, Logan UT)

IRGA (Model 6262; LiCor, Inc., Lincoln, NE)

Dew Point Mirror (Model Dew-10; General Eastern, Woburn, MA)

4.2 Calibration

CO2 concentration was referenced to standard CO2 tanks provided by BOREAS.

H2O  vapor was referenced to a dew point mirror instrument.

Air flow was calibrated by volume displacement.

PAR flux was referenced to a LiCor quantum probe.

4.2.1 Specifications

There are no published specifications for the complete system of instruments used in this study.

4.2.1.1 Tolerance

All calibrations are better than +/- 1%.

4.2.2 Frequency of Calibration

Calibration and instrument zeros were checked daily.  Checks against the BOREAS gas standards occurred every week or two.

4.2.3 Other Calibration Information

No significant adjustments or drift of calibration occurred over the interval of these measurements.

5. Data Acquisition Methods

These measurements were decoupled from the ambient environment.  There is no direct correspondence between the temperature, light intensity, or other environmental conditions in the cuvette during these experiments and the ambient environmental conditions at the site of the measurements.

In each gas exchange experiment, chamber CO2 concentration (Ca), incident flux density of PAR (PFD), or chamber air temperature (Ta) was varied while  other factors were held constant. Generally, it took about 30 minutes for stomatal conductance and photosynthetic rate to reach steady-state after the conditions were changed. The transient responses were monitored, but data were reported only when the leaves had reached steady-state at a new condition.  CO2 responses were  measured at a high PFD (about 1000 (mol m-2 s-1) and a high chamber humidity (70%-80%) at various temperatures.  For light response curves, the leaf was preconditioned to 1000  (mol m-2 s-1; light was then increased in increments of about 300  (mol m-2 s-1 until saturation was evident and then decreased in steps to zero. Temperature responses were measured by increasing the chamber temperature while PFD was rate-saturating and keeping the dew point temperature of inlet air constant. The starting temperature was low (about 15 (C) and the chamber temperature was increased by about 2.5 (C per step up to the highest chamber temperature that the gas exchange system could reach in field (about 38 (C).  This protocol was chosen to mimic the covariation of leaf temperature and vapor pressure deficit that occurs naturally on warm, dry days in this environment.  Dark respiration was measured in CO2-free air.  These conditions were chosen to obtain maximum sensitivity and stability to resolve the small differentials of CO2 concentration produced by respiration.  The pattern of increasing chamber temperature was the same as that in the measurements of temperature response of net photosynthetic rate.

6. Observations

6.1 Data Notes

These experiments were conducted over a 2-month interval, spending a few consecutive days at each site. The studies were conducted with a few selected leaves at each site. TE-04 team members believe that these measurements are representative of the leaves at the site, but it was not possible to obtain a statistically representative sample.  Measurements conducted with clip-on instruments such as the LiCor 6200 photosynthesis system can be used to assess variation in leaf properties with time and location at these sites.

6.2 Field Notes

Not available.

7. Data Description

7.1 Spatial Characteristics

7.1.1 Spatial Coverage

These are single leaf measurements taken in the SSA at the Old Aspen (BOREAS site id = C3B7T), Old Jack Pine (G2L3T), Young Jack Pine (F8L6T), Old Black Spruce (G8I4T), and the Mixed stand.

7.1.2  Spatial Coverage Map

Not available.

7.1.3 Spatial Resolution

The leaf area used in these measurements was typically 15-20 cm2 on a given tree branch at the site.

7.1.4 Projection

Not applicable.

7.1.5 Grid Description

Not applicable.

7.2 Temporal Characteristics

7.2.1 Temporal Coverage

Data were collected over a 2-month interval starting in 21-Jul and ending in 01-Sep-1994.

7.2.2 Temporal Coverage Map

Not available.

7.2.3 Temporal Resolution

In most cases, data were taken during a series of days at the same site.

7.3 Data

Data characteristics are defined in the companion data definition file (te04gxda.def).

7.4 Sample Data

Sample data format shown in the companion data definition file (te04gxda.def).

8. Data Organization

8.1 Data Granularity

All of the Gas Exchange Data from Boreal Tree Species are contained in one dataset.

8.2 Data Format

The data files contain numerical and character fields of varying length separated by commas. The character fields are enclosed with a single apostrophe marks. There are no spaces between the fields. Sample data records are shown in the companion data definition file (te04gxda.def).

9. Data Manipulations

9.1 Formulae

Calculation of gas exchange parameters was conducted essentially as described by Ball (1987).

9.1.1 Derivation Techniques and Algorithms

Calculation of gas exchange parameters was conducted essentially as described by Ball (1987).

9.2 Data Processing Sequence

Data were logged by a laptop computer and calculations were conducted concurrent with the measurements.  All of the primary data are archived.

9.2.1 Processing Steps

The data points presented represent the mean of at least five sequential measurements.

9.2.2 Processing Changes

None given.

9.3 Calculations

The calculations are as described by Ball (1987).

9.3.1 Special Corrections/Adjustments

None given.

9.3.2 Calculated Variables

Calculation of gas exchange parameters was conducted essentially as described by Ball (1987).

9.4 Graphs and Plots

Plots of these experiments are available as PostScript files by anonymous ftp to biosphere.stanford.edu.  Some of these may be found in the directory,/submissions/Boreas_data/PS_files

10. Errors

10.1 Sources of Error

Uncertainty in these experiments arises from instrument noise and systematic calibration errors, and because the leaf experiences somewhat different conditions in the cuvette (e.g. spectral composition or anisotropy of light) than it would in a natural environment.

10.2 Quality Assessment

10.2.1 Data Validation by Source

The calibration data sets derived from analysis of these data are being checked against observations of CO2 and water vapor exchange taken at various scales: (a) independent leaf-scale measurements (b) branch-scale measurements made by TE-11, and (c) flux observations made at the respective towers.

10.2.2 Confidence Level/Accuracy Judgment

These data have been carefully checked and are equal in quality to measurements conducted under laboratory conditions.

10.2.3 Measurement Error for Parameters

Gsw, stomatal conductance, +/- 5 (mol/(m2sec)

A, net CO2 exchange, +/- 0.1 mmol m-2 s-1

Ci, intercellular CO2, +/-  5 mmol/mol

10.2.4 Additional Quality Assessments

None.

10.2.5 Data Verification by Data Center

Data were examined for general consistency and clarity.

11. Notes

11.1 Limitations of the Data

Unknown

11.2 Known Problems with the Data

The stomatal conductance observed with conifer species in these experiments is uniformly lower than that which occurs under similar environmental conditions in nature, possibly because the tungsten-halogen lamp used for illumination in these experiments contains less blue light than natural sunlight. The studies with aspen, hazel, and birch appear to be okay.  Another problem with the conifer data sets concerns relating these measurements to the estimates of leaf area made at the canopy-scale.  The measurements reported here are for actual hemispheric leaf area.  The canopy-scale estimates reported by the BOREAS Remote Sensing Science (RSS)-23 team and others are an "effective leaf area" obtained by inversion of a radiation transport model. The exact correspondence between these different measures of leaf area is not known.

11.3 Usage Guidance

Validation experiments indicate that the stomatal slope parameter, gradn, used in SiB2 or the Collatz et al. (1990) model should be approximately 7 for black spruce and jack pine.  The effective vmax0 of needles should be increased for canopy simulations to account for clumping and self shading of needles.

11.. Other Relevant Information

None.

12. Application of the Data Set

The data set has been analyzed by nonlinear curve fitting programs to obtain parameters for models.  These parameters will eventually be made available for distribution. Preliminary estimates can be obtained from J. Berry.

13. Future Modification and Plans

Additional measurements are planned for the summer of 1996 to address the problems with stomatal conductance and questions.

14. Software

Copies of SiB2 or the Collatz et al. (1991) model can be obtained from J. Berry.

14.1 Software Description

SiB2 is in FORTRAN and runs in a workstation environment.

The Collatz et al. (1991) model is in C and can be run on PCs or workstations.

14.2 Software Access

Copies of SiB2 or the Collatz et al. (1991) model can be obtained from J. Berry.

15. Data Access

15.1 Contact Information

Ms. Beth Nelson

BOREAS Data Manager

NASA GSFC

Greenbelt, MD

(301) 286-4005

(301) 286-0239 (fax)

Elizabeth.Nelson@gsfc.nasa.gov

15.2 Data Center Identification

See Section 15.1.

15.3 Procedures for Obtaining Data

Users may place requests by telephone, electronic mail, or fax.

15.4 Data Center Status/Plans

The TE-04 gas exchange data are available from the Earth Observing System Data and Information System (EOSDIS), Oak Ridge National Laboratory (ORNL), Distributed Active Archive Center (DAAC).  The BOREAS contact is ORNL is:

ORNL DAAC User Services

Oak Ridge National Laboratory

(865) 241-3952

ornldaac@ornl.gov

ornl@eos.nasa.gov

16. Output Products and Availability

16.1 Tape Products

None.

16.2 Film Products

None.

16.3 Other Products

American Standard Code for Information Interchange (ASCII) files.

17. References

17.1 Platform/Sensor Instrument/Data Processing Documentation

None.

17.2 Journal Articles and Study Reports

Ball, J.T.  1987.  Calculations related to gas exchange.  In:

E. Zeiger, G.D. Farquhar and I.R. Cowan (Eds.), Stomatal Function,

Stanford University Press, Stanford. pp 446-476.

Collatz, G.J., J. T. Ball, C. Grivet, and J.A. Berry.  1991. Physiological and environmental regulation of stomatal conductance, photosynthesis and transpiration: a model that includes a laminar boundary layer. Agricultural and Forest Meteorology, 54, 107-36.

Field, C.B., J. T. Ball, and J.A. Berry.  1989.  Photosynthesis: principles and

field techniques. In: Plant Physiological Ecology: Field Methods and

Instrumentation, Edited by, R.W. Pearcy, J.R. Ehleringer, H.A. Mooney, P.W.

Rundel. Chapman and Hall, London and New York, pp. 209 - 254.

Sellers, P. and F. Hall. 1994. Boreal Ecosystem-Atmosphere Study: Experiment

Plan. Version 1994-3.0 NASA BOREAS Report (EXPLAN 94).

Sellers, P. and F. Hall. 1996. Boreal Ecosystem-Atmosphere Study: Experiment

Plan. Version 1996-2.0 NASA BOREAS Report (EXPLAN 96).

Sellers, P. and F. Hall. 1997. BOREAS Overview Paper. JGR BOREAS Special Issue, 201.

Sellers, P., F. Hall, and K.F. Huemmrich. 1996. Boreal Ecosystem-Atmosphere Study: 1994 Operations. NASA BOREAS Report (OPS DOC 94).

Sellers, P., F. Hall, and K.F. Huemmrich. 1997. Boreal Ecosystem-Atmosphere Study: 1996 Operations. NASA BOREAS Report (OPS DOC 96).

Sellers, P., F. Hall, H. Margolis, B. Kelly, D. Baldocchi, G. den Hartog, J. Cihlar, M.G. Ryan, B. Goodison, P. Cril,l K.J. Ranson, D. Lettenmaier, and D.E. Wickland. 1995.  The boreal ecosystem-atmosphere study (BOREAS): an overview and early results from the 1994 field year. Bulletin of the American Meteorological Society. 76(9):1549-1577.

Sellers, P.J, D.R. Randall, G.J. Collatz, J.A. Berry, C.B. Field, D.A. Dazlich, and G.D. Collelo.  1996.  A revised land-surface parameterization (SiB2) for GCMs. Part 1: Model formulation, Journal of Climate, 9, 676-705.

17.3 Archive/DBMS Usage Documentation

None.

18. Glossary of Terms

None.

19. List of Acronyms

ASCII   - American Standard Code for Information Interchange

BOREAS  - BOReal Ecosystem-Atmosphere Study

BORIS   - BOREAS Information System

Ca      - Ambient CO2 concentration

Ci      - CO2 concentration in intercellular air spaces

Cs      - CO2 concentration at leaf surface

DAAC    - Distributed Active Archive Center

E       - Transpiration rate

ea      - ambient water vapor pressure

EOS     - Earth Observing System

EOSDIS  - EOS Data and Information System

GSFC    - Goddard Space Flight Center

Gsw     - Stomatal conductance

Hs      - Relative humidity at leaf surface

IRGA    - Infrared Gas Analyzer

LW      - Long-wave radiation

NASA    - National Aeronautics and Space Administration

NSA     - Northern Study Area

OA      - Old Aspen

OBS	  - Old Black Spruce

OJP     - Old Jack Pine

ORNL    - Oak Ridge National Laboratory

PANP    - Prince Albert National Park

PAR 	  - Photosynthetically Active Radiation

PFD     - flux density of photosynthetically active radiation (PAR)

PFD-PAR - Flux Density

Pn      - net photosynthetic rate

P0      - Atmospheric pressure

rbw     - Boundary layer resistance

RSS     - Remote Sensing Science

SSA     - Southern Study Area

SW      - Short-wave radiation

Ta      - Ambient temperature

TE      - Terrestrial Ecology

Tl      - Leaf temperature

URL     - Uniform Resource Locator

YA	  - Young Aspen

YJP	  - Young Jack Pine site

20. Document Information

20.1 Document Revision Date

Written: 23-Jul-1996

Last Updated: 05-Jun-1998

20.2 Document Review Date

BORIS Review: 04-Feb-1997

Science Review: 20-May-1998

20.3 Document ID

20.4 Citation

List in acknowledgments:

Dr. Joseph A. Berry, Carnegie Institution of Washington, Stanford, CA 94305

Dr. G. James Collatz, Code 923, NASA GSFC, Greenbelt, MD 20771

Dr. John Gamon, Department of Biology, CSU--LA, Los Angeles, CA 90032

Dr. Wei Fu, Carnegie Institution of Washington, Stanford, CA 94305

Dr. Art Fredeen, Fac. of Natural Resources and Environmental Studies, University of N.B.C., Prince George, B.C., Canada

20.5 Document Curator

20.6 Document URL

Keywords

gas exchange

transpiration

respiration

atmospheric pressure

boundary layer resistance

ambient water vapor pressure

ambient CO2 concentration

ambient temperature

flux density of photosynthetically active radiation (PAR)

short-wave radiation

long-wave radiation

leaf temperature

CO2 concentration at leaf surface

relative humidity at leaf surface

CO2 concentration in intercellular air spaces

net photosynthetic rate

stomatal conductance

transpiration rate