Attachment A

The Contractor is directly responsible for the following accomplishments during the period of the contract

- Substantially raised the awareness and importance of the GCOS program in each GCOS country

- Created a close rapport with the management and technical staff. The Contractor worked with the observers and managers on a real time basis.

- Detailed inspection and evaluation of all aspects of the GSN and GUAN observing programs at each observatory including:

      - Instruments Accuracy and Placement

      - Observing Practices

      - Recording and Coding of Observations

      - Preparation and Coding of CLIMAT and CLIMAT TEMP

- Contractor monitored the receipt of GSN and GUAN observations at NOAA in real-time and in near real-time and reacted to missing data immediately

- Contractor worked closely with Observatory and Administrative Managers to determine immediate and future needs of the observatories.

- The Contractor worked with GCOS Management and the observatories to substantially increase the integrity and reliability of both the GSN and GUAN observatories

      - Identification of Errors and Problems in System

      - On Site Training

      - Repair and/or Replacement of Instruments

      - Provision of Expendable Supplies

- The Contractor initiated the METADATA program and provided completed METADATA to NOAA for all 18 observatories

- Identified missing historical data from each observatory provided this data to NOAA

- Substantially increased the GCOS Centers CLIMAT Data Bases from 64% to 95% of expected

GCOS SURFACE NETWORK (18 Observatories)

The Contractor  visited all the GSN sites and ensured the instruments and methods of observing were done in accordance with GCOS standards.  In several cases the observing instruments were replaced and/or  observing methods were improved.

The contractor worked with the Mexican Authorities to identify and recommend 2 additional GSN sites.  Chihuahua and Veracruz  in Eastern and Northwestern Mexico.

The Contractor worked with the participating countries to increase the monthly reception of the surface observations at the GCOS centers.  Please note the significant increase in the reception of Synops at NOAA.

CLIMAT REPORTS:

INCREASED NOAA CLIMAT REPORT DATA BASE

The Contractor determined the countries had only submitted 64 percent of the CLIMAT reports expected for the period 2001 thru June 2004.  The contractor worked very hard to recover and/or generate the missing Climat Reports to increase this data base from 64% to approximately 95%  of expected.

The Contractor is directly responsible for the major increase in the reliable and routine reporting of the monthly CLIMAT reports.

The Contractor worked with the person preparing the monthly CLIMAT reports at each NMHS to determine if the reports were being constructed and coded properly.

The contractor arranged for training classes on the use of the CLIREP method.

The Contractor assisted the CLIMAT section of each NMHS in creating and maintaining a data base of surface observations that is easily used to create the CLIMAT REPORT.

The Contractor assisted the CLIMAT section of each NMHS in acquiring the computers and support they needed to do the CLIMAT REPORTS.

GUAN Performance before and after participation of Contractor

These statistics are based on the NOAA Real-Time Monitoring Web Page :

http://www.nco.ncep.noaa.gov/sib/qap/realtime/thanks/index.thankint.shtml

BEFORE						AFTER

Please note the significant increase in complete and on-time reports.

Equipment problems at Curacao and Manzanillo resulted in several missed soundings during the January - April 10, 2006 period..  The problem at Curacao has since been fixed.  The contractor is in close contact with authorities in Mexico to resolve the Manzanillo problem.  Lack of expendables at Galapagos Island has terminated the program.