Supplement to the report on flood effects at Nuclear Physics Institute ASCR, Rez near Prague

Nuclear Physics Institute of Academy of Sciences of the Czech Republic is the largest Czech organisation devoted to the basic research in nuclear physics and related fields and also to the applications of nuclear physics in various domains including the design of new radiopharmaceuticals and their production, particularly as far as short living radiofarmaceuticals concerns. The Institute has seven departments: Theoretical Nuclear Physics, Nuclear Spectroscopy, Nuclear Reactions, Neutron Physics, Radiation Dosimetry, Radiopharmaceuticals, Accelerators. The basic experimental facilities include the isochronous cyclotron U-120M, electrostatic Van de Graaf accelerator, electrostatic electron spectrometer ESA 12, neutron spectrometers and interferometers installed at the nuclear reactor LWR-15 (the reactor itself belongs to the Nuclear Research Institute Řež, plc), set-ups for nuclear analytical methods and for environmental radiation dosimetry and facilities for the production of radiopharmaceuticals including those for positron emission tomography (PET).

NPI groups are involved in many internatiopnal collaborations. They take part in the experiment STAR at RHIC. Participation in the ALICE experiment at the Large Hadron Collider facility, now being constructed at CERN, should certainly be also mentioned. This experiment, which will start after 2005, stands at the frontier in the exploration of properties of matter. Other collaborations in the heavy-ion physics with institutions in Europe (GSI, GANIL, and JINR Dubna) contribute significantly to the scientific profile of NPI, as well.

On the other hand, the domestic site at Řež has to provide enough opportunities for research which, as the case might be, proves to be attractive for foreign groups.  In particular, the set of apparatuses around light water reactor LWR-15 and abilities of members of the Department of Neutron Physics are requisites for top investigations in the neutron optics, solid state physics, and material research. Interesting results have been obtained at the electrostatic electron spectrometer ESA 12 on possible admixtures of heavy neutrinos in beta spectra. Beams of d and 3He accelerated by the U-120M cyclotron have been used in the study of nuclear reactions important from the astrophysical point of view. Wide spectrum of topics is covered by the Department of Theoretical Physics with respectable results.

The Nuclear Physics Institute has about 200 employees, of them nearly 100 scientists. There are about 22 research groups in the Nuclear Physics Institute, from them those listed in the following table are substantially affected by the flood. The financial estimates of the losses are also given.

| Activity | No. of scientists involved | Losses by the flood | Financial estimate of the losses in thousands of USD |
| --- | --- | --- | --- |
| Nuclear Reactions for Astrophysics | 8 | Cyclotron | see cyclotron |
| Fast Neutron Facility | 8 | Cyclotron | see cyclotron |
| Radiopharmaceutical R&D | 4 | Cyclotron, complete radiochemical lab | 31 without cyclotron |
| PET Radipharmaceuticals | 5 | Cyclotron, clean lab, PET production box | 291 |
| Cyclotron | 8 | Power supplies, vacuum pumps, cooling system | 1318 |
| Nuclear Electron Spectroscopy | 7 | Vacuum pump | 5 |
| Semiconductor Detector Development | 3 | Vacuum pump, multichannel analyser | 5 |
| Library | 500 users | More than 20.000 issues | 500 |
| Primary dry and cleaning |  |  | 200 |
| Buildings reparations |  |  | 750 |
| Total cost estimate |  |  | 3100 |

Nuclear reactions of astrophysical importance

One of the physical programs realized on cyclotron of Nuclear Physics Institute at Řež (NPI) is international common project of NPI and Cyclotron Institute, Texas A&M University at College Station covered by National Science Foundation (NSF) (USA) and Ministry of education (ČR). A subject of this project is a systematic investigation of the particle capture reactions which are important for nuclear astrophysics. This research is realized partly on radioactive beams from superconducting cyclotron at College Station by group of prof. Tribble and partly on stable beams of isochronous cyclotron U-120M at Řež. Our collaboration, which started in 1996, is very effective. During last period a new method of indirect experimental determination of the astrophysical S-factors for particle capture reactions was developed.

This method was carefully tested in several laboratories using different reactions. It was shown that the direct capture S-factors derived with ANC technique are most reliable at the lowest incident energies, precisely where capture cross sections are smallest and most difficult to measure. The main advance of this method is possibility to measure the values of ANC`s by traditional peripheral particle transfer reactions. This approach, at present known as the Asymptotic Normalization Coefficients methods (ANC) is widely used in many laboratories over the world.

Our first application of a new approach was investigation of proton capture rate for synthesis of 8B as a contribution to solving of known neutrino problem. Many other astrophysical reactions were studied. The work from our cooperation has resulted in a significant number of publications over the last period.

This research should continue during the next years. Unfortunately, several programs will be delayed because all power sources of the main parts of cyclotron was flooded and damaged. We suppose that the physical program could be started in the last months of 2003. This concerns the measurements and analysis of astrophysical S-factors for several important capture reaction of CNO and NeNa stellar cycles (synthesis of 15O, 21Na etc.) as well as the proton capture by 7Li in the 3He + 7Li reaction in a common experiment with prof. Spitaleri group from Catania University which participate in our project.

The financial support is given partly by NSF USA and Ministry of Education of the Czech Republic (as common project ME 385), and partly by the Grant Agency of the Czech Republic, grant 202/01/0709. This support includes financial means for cyclotron beam time, purchase of technicalities and travel expenses necessary for realising of the joint project. But it cannot cover the replacement of cyclotron power sources damaged by the flood.

##### The research program of the NPI cyclotron-based fast-neutron facility (CFNF)

The continuously developing activity of Nuclear Reaction Department of NPI is devoted to the experimental study of neutron fields produced in charge-particle reactions and to their application in the fusion-material, the transmutation-technology and the military-technology research:

## (1) EFDA Technology Workprogramme

Low activation and radiation resistance of technological components represents the key subjects which determine technical and economic feasibility of future thermonuclear reactors because the materials developed for fission reactors are not applicable as a consequence of significantly different spectrum of neutrons from fission processes. The primary aim of thermonuclear technologies is to complete the database of interactions (activation and transport) of fast neutrons with matter. The international project IFMIF (International Fusion Material Irradiation Facility), governed at European Union by the EFDA (European Fusion Development Agreement), is aimed to provide a neutron source with an energy spectrum simulating that of fusion neutrons of sufficient intensity to test design hardware and samples of structure materials. In the conceptual design phase of the project, the response of- and radiation effects on the  IFMIF neutrons  are to be investigated at relevant neutron energies.

The NPI CFNF was accepted to be suitable for solving selected tasks of the IFMIF neutronics. Relevant R&D program for the 2000-3 year period has been started at NPI and performed  in the close cooperation with IFMIF participants FZK Karlsruhe, ENEA Frascati and CEA Cadarache. The following tasks of EFDA Technology Workprogram (Material Testing) are investigated at NPI:

#### Activation foils and sub-miniature fission chambers: Experimental tests D-Li reaction source term, experimental verification of neutron yield; Neutron data above 20 MeV; Neutron transport benchmark tests.

### The program is supported by grants within the 5th Framework Programme of the European Community and is envisaged to continue within the 6th FP (2003-2007).

# (2) Transmutation Technology Workprogramme, National Consortium

# In conceptual designs of subcritical accelerator-driven fission reactors (transmutors) as systems for the safe energy production and for the transmutation of actinide dumps from contemporary reactors, the accelerator serves as the source of neutrons with the dominant or significant spectral component of fast neutrons. One of the key problem of this conception is the model and experimental research of the kinetics of fast neutrons in the „target of the neutron external source / transmutor blanket“ system, for which the database is considerably incomplete or missing. The formation of a neutron data library for the production, transport and activation in the range of medium energies is urgently needed.

The NPI CFNF experimental research program concerns  the neutronics of AD system, which employs a subcritical assembly and an external fast-neutron source based on the NPI cyclotron. The neutron target station providing up to 10 12  n/s/cm2  surrounded by a the blanket of 232 fuel elements (UO2 + Mg alloy, 10% of 235U) in NaF salt and graphite blocks serve for benchmarking the Monte-Carlo calculations of the the target/blanket system neutronics. The program is closely related to the European Roadmap and envisaged to be accepted in the 6th Framework Programme of the European Community.

Both the astrophysical and neutron research in Nuclear Reaction Department of NPI are realized by group of 8 PhD physicists and several technical collaborators.

###### Radiopharmaceutical R&D

The R&D radiopharmaceutical laboratory was practically completely destroyed and must be built anew. Perhaps, only few instruments could be repaired. The scientific programs “Labeling of monoclonal antibodies by iodine-125 and astatine for designing therapeutical radiopharmaceuticals” and “R&D of radiopharmaceuticals labeled by 123I” will be delayed by about half of year.

PET laboratory

This clean laboratory was flooded up to 1.5 m. The box for PET production including production machine was inundated. Most of the laboratory should be built anew and new equipment should be also purchased. Also some dosimetric devices have been seriously damaged or wrecked. Scientific programs, which will be delayed by 3 till 6 months, are “R&D of new PET radiopharmaceuticals” and “Investigation of 166Ho-Macroaggregates and 166Ho-Microspheres for synovectomy” The delay is caused partly by flooding the clean rooms and by the shut down of the cyclotron and reactor.

### The cyclotron

Almost all technological subsystems of the isochronous cyclotron U-120M are located in the basement of the cyclotron building. All this floor space was flooded up to 1,5m during flooding in August this year. Some rooms with the technological equipments are located below the basement level so the water in these rooms reached up to 2,3m.

Seriousness of the flood damage is illustrated by the following list of the cyclotron subsytems which were flooded:

- high current power supplies for the cyclotron magnetic system i.e. special power supply for the cyclotron main coil and twenty  power supplies for the correction and harmonic coils.

- high voltage power supplies for the RF generator output cascade (anode voltage, screen grid voltage)

- three high current power supplies for the focussing elements of the axial injection system

- two power supplies for the cyclotron ion source

- more than twenty high current power supplies for the quadrupole lenses, bending and correction magnets of the beam line system

- high current power supply of the experimental magnet which was used for the development of internal ion sources

- all primary pumps of the cyclotron and beam line vacuum systems including electropneumatic vacuum valves

- cooling systems of the cyclotron parts and diffusion pumps with production unit for the deionizing water

After more than two months "drying and conditioning period" it is evident that some of the power supplies were irreparable damaged or their reliability and long term stability were substantially decreased. For that reason most of them must be replaced by the new ones.

Due to the lack of the spare parts all primary pumps and vacuum components must be replaced as well.

All electric distribution frames and panel switchboards of these subsystems were damaged and nowadays are being replaced by the new ones.

All research projects and production activities connected to the cyclotron have been stopped as well as the R&D activities carried out in the cyclotron division.

Temporarily we intend to replace the unreliable power supplies by the power supplies borrowed from other institutions – any help will be gratefully welcomed.

After the verdict resulted from the negotiations with the insurance company we believe that some of the power supplies will be replaced by the new ones.

# Nuclear electron spectroscopy

## The group operates an electrostatic spectrometer measuring energy spectra of electrons emitted during radioactive transformations. In the keV region, the spectrometer exhibits superior energy resolution of 1 eV. In 2001 the group became a founding member of the international collaboration KATRIN (Karlsruhe Tritium Neutrino Experiment) aiming to reach 0.3 eV sensitivity for the electron neutrino mass via measurement of tritium beta spectrum. The group is responsible for energy calibration of the KATRIN spectrometer that requires R&D with the help of the Rez spectrometer.

The flood in Rez destroyed among others also the forvacuum pump of the spectrometer, the electric power point for the whole building including cables to the spectrometer, not speaking about several stores. We had to operate with very weak emergency electric power for three weeks and have difficulties with the power stability even now since the installation of new power cables for our and many other buildings is still not yet completed.

Semiconductor Detector Group

The main task of the semiconductor detector group is to develop, produce and test HPGe detectors that can operate at temperatures close to the liquid helium temperature. The results of development were published in articles D.Venos at al. Nucl.Instr.Meth. A365 (1995)419: Performance of HPGe detectors in the temperature region 2-77 K and D.Venos et al. Nucl.Instr.Meth A454(2000)403: The behaviour of HPGe detectors operating at temperatures below 77 K.

The detectors are used at liquid helium shields of dilution refrigerators (NICOLE at CERN, Switzerland, or LISOL at Louvain-la-Neuve, Belgium) for detection of betas or (and) alphas emitted from nuclei oriented at low temperatures. Measured anisotropies are interpreted in terms of fine effects of beta decays - contribution of meson exchange currents to the beta decay probability, isospin admixtures in ground states of decaying nuclei.

During the floods our vacuum station (placed fixed in basement) – rotary pump, rootz pump, Pirani and Pening gauges were completely destroyed. Besides, we lost multichannel analyzer  - Canberra85: after movement it, for safety, from ground floor to the first floor and again back after the flood was over analyzer is not working. This equipment is not reparable due to its old age.