# Overview of Communication Standards relating to Motion Control Systems

Frederick M. Proctor

John L. Michaloski

National Institute of Standards and Technology

100 Bureau Drive, Stop 8230

Gaithersburg, MD 20899-8230

### Abstract

This report surveys the international communications standards that affect the application and development of motion control technology. The scope of motion control covered includes applications as diverse as robotics, packaging machinery, discrete parts machining and manufacturing, and food processing.  In addition, motion controllers no longer interface only to hardware devices, but are integrated into higher levels of control architectures.   Standards are being developed within individual commercial application areas, not according to commonality of computers, hardware, or physical requirements of motion control.  This has lead to a proliferation of standards, which presents dilemmas to users, vendors and integrators.  Criteria for deciding which standards to support start with technical requirements, but equal weight must often be given to availability of compatible products, and to industry market trends.

Abstract	1

Introduction	3

Motion Control Standards Issues	3

Breadth of Domain	3

Motion Controller Elements	3

Market Dynamics	4

Market Share through Standardization	5

Formal Standardization	5

Standards Bodies	5

IEC and ISO	5

ANSI	6

ISA	6

CEN and CENELEC	7

DIN	7

BSI	8

Motion Control Standards Landscape	8

Bit Level Communication Standards	11

AS-Interface	11

CANBus	11

Interbus	12

Seriplex	12

Device Level Communication Standards	13

CANOpen	13

DeviceNet	13

FIREWIRE	14

MACRO	15

SERCOS	15

Smart Distributed System (SDS)	16

EN 50325	16

Field Level Communication Standards	17

IEC 61158 (Fieldbus)	18

Profibus	18

Information: www.profibus.comIEC 62026	19

EN 50170	19

EN 50254	20

Control Level Communication Standards	20

Ethernet	20

Profibus-FMS	22

ProfiNet	22

ControlNet	23

High Speed Ethernet (HSE)	23

EtherNet/IP	24

Network Comparisons	24

Conclusion	30

Standards Glossary	31

Acknowledgments	32

Disclaimer	32

# Introduction

Control of moving parts is basic to modern industry, supporting applications as varied as food processing, medicine, and aerospace manufacturing. Motion control has evolved from its origins in mechanical devices for regulating and transforming engine power, into today’s computers ranging in size from tiny embedded chips to networks of high-performance workstations. This evolution has enabled manufacturers to cut costs and improve quality by integrating motion control with higher levels of factory control software. Standards are playing an increasingly important role in this integration.

The primary goal of standardization is to enable interoperability of systems. Standards can relate to physical equipment, such as motors, data, such as process plans, and software, such as part programming languages.   Further, standardization must include interfaces involved in vertical integration.

A problem faced today by users, vendors, and integrators of motion control technology is the profusion of standards, especially in the communications area. Deciding which standards to support requires users to take into account technical requirements, product availability, and industry trends. The purpose of this report is to survey the international communications standards that affect the application and development of motion control technology. The report will start by identifying the standardization issues affecting motion control. Next, the report will present an overview of the standards bodies and their standards development processes. Finally, a summary and comparison of the proliferating communication standards relating to motion control will be given.

# Motion Control Standards Issues

## Breadth of Domain

Motion control is a broad domain that spans a variety of applications, includes a wide range of technology, and is comprised of many different functions. Application demands range from simple position control of a single axis, through coordinated control of multiple axes, with cross coupling, dynamic compensation, and integration with process parameters. Motion control technology encompasses sensors for proximity, position, velocity, acceleration, force, and temperature, and actuators such as electric rotary and linear motors, hydraulic or pneumatic pistons, piezoelectric or magnetostrictive actuators, and micro-electro-mechanical system (MEMS) devices. Motion control functionality ranges from control of the moving device itself using current or other motive forces at the microsecond time scale, through high-level programmed motion with time scales of minutes or longer, and all the stages in between. These many dimensions of motion control make standardization a complex task, and the natural tendency to focus on particular application areas has led to a proliferation of standards that are all related yet all different.

## Motion Controller Elements

Basically, a motion controller receives signals from sensors and operator devices, processes them using defined control laws, and generates the required output signals to drive an actuator. Figure 1 illustrates a controller design from a high-level architecture standpoint – consisting of a controller, IO, operator interface, and communications. As part of manufacturing operations, motion controllers must also rely on cross-factory and enterprise-wide communications, which is shown as part of the architecture as well. Each of the elements of the motion controller architecture is a candidate for standardization. However, it is in the area of communications that the proliferation of standards has occurred.

Figure 1.High Level Controller Architecture

The trend in machine controller integration is toward the use of communication networks to simplify wiring, programming, and maintenance. The proliferation of communication standards reflects this networking trend and offers a range of functionality. Sensor/actuator networks are used at the low cost and complexity end.  Field and device networks provide communication to distributed peripherals, such as IO modules, drive units, and operator terminals, as well as other controllers. Enterprise communication networks provide vertical integration to management execution systems (MES), which focus on the operation of mechatronic systems and on the control of processes, used in design, process planning, quality control, accounting, forecasting, and other resource planning activities. Specific communication network standards will be compared later in the report.

## Market Dynamics

Low costs for industrial automation can be achieved by using commodity hardware from the computing and communication markets. This is evidenced by the high level of interest in Ethernet, and Firewire as motion controller communication networks. However, the accompanying rapid pace of development in the computing and communication market also means that products will be available for desktop computers long before they appear in industrial control systems. Nevertheless, the trend toward adopting desktop technology on the shop floor means that the industrial control market may be poised to benefit more quickly than it has in the past.

## Market Share through Standardization

Examples from the computing and communication industry have shown that vendors who offer up their proprietary solutions as standards have the potential to increase market share. This is especially true when established vendors align behind a single standard to position themselves ahead of their competition. Initially this is to the end user’s advantage, but the reaction among those vendors left out is sometimes to start a competing standard. The result is that the end users may be no better off than before. One purpose of application users’ groups is to decide which of the many applicable standards their members will support strategically. Effective users’ groups often include suppliers so that a reasonable agreement can be reached without causing turmoil in the market.

## Formal Standardization

Formal standardization through national or international standards bodies may aid stability in the marketplace, but in some cases it has the reverse effect. This is the case with official, enforceable standards that are mandated by governments or other public agencies. In these cases, suppliers of nonconforming technologies are at a severe disadvantage. Recognizing this, standards bodies often write official standards with parts that include several competing technologies. This has the effect of leveling the market so that a single company or country is not given undue dominance. Unfortunately, it also means that end users who agree to a particular standard find themselves with incompatible solutions, each a part of the standard but no two that are interoperable.

# Standards Bodies

Standards bodies initiate, develop, disseminate for voting, publish, and maintain standards. They range from national bodies, through regional bodies, to international bodies. A national body typically participates in regional or international bodies through a Technical Advisory Group (TAG).

## IEC and ISO

The International Electrotechnical Commission (IEC) prepares and publishes international standards for all electrical, electronic and related technologies. IEC is a worldwide standards body, with participating members from more than 50 countries. The IEC’s mission is to promote, through its members, international cooperation on all questions of electrotechnical standardization and related matters, such as the assessment of conformity to standards, in the fields of electricity, electronics and related technologies. The IEC charter embraces all electrotechnologies including electronics, magnetics and electromagnetics, electroacoustics, telecommunication, and energy production and distribution, as well as associated general disciplines such as terminology and symbols, measurement and performance, dependability, design and development, safety and the environment.

The International Organization for Standardization (ISO) is a worldwide federation of national standards bodies from some 130 countries, one from each country. The mission of ISO is to promote the development of standardization and related activities in the world with a view to facilitating the international exchange of goods and services, and to developing cooperation in the spheres of intellectual, scientific, technological and economic activity. ISO’s work results in international agreements that are published as International Standards.

Both IEC and ISO are organized into Technical Committees (TC), Subcommittees (SC), and Working Groups (WG) whose participants do the work of standardization.

IEC and ISO are made up of members that are the national body most representative of standardization in its country. Thus, only one body in each country may be admitted to membership. The U.S. member body of IEC and ISO is the American National Standards Institute (ANSI). ANSI designates Technical Advisory Groups (TAG) whose primary purpose is to develop and transmit the member’s positions on activities and ballots.

IEC and ISO differ in that IEC focus on electrical standards, and ISO focuses on mechanical standards. The difference between the two domains has blurred since the advent of computers and related electronic data standards. As a result, many standards are released with joint IEC/ISO designations.

IEC and ISO standards are designated with the prefix IEC or ISO, respectively, followed by the standard number.

Related Standards: ISO 11898 (CAN), IEC 61158 (Fieldbus), IEC 62026

Information: www.iec.ch, www.iso.ch

## ANSI

The American National Standards Institute (ANSI) is the administrator of the United States voluntary standardization system. ANSI facilitates development of American National Standards (ANSs) by establishing consensus among qualified groups, and by proscribing and enforcing procedures. ANSI is the sole U.S. representative and dues-paying member of ISO and IEC, and accredits TAGs that serve these organizations.

Related Standards: ANSI/ISA-S50.02 (Fieldbus), ANSI/EIA 709.1 (LonTalk)

Information: www.ansi.org

## ISA

ISA is an international, nonprofit, educational organization founded in 1947 as the Instrumentation Society of America, but now known as the Instrumentation, Systems, and Automation Society. ISA fosters advancement in the theory, design, manufacture, and use of instruments, computers, and systems for measurement and control. ISA publishes Motion Control magazine.

ISA is an ANSI-accredited standards developer and its SP50 Subcommittee serves as the U.S. Technical Advisory Group for IEC SC65A/WG4, Interface Characteristics.

ISA standards are designated with the prefix ISA, followed by the standard number. ISA standards may be jointly published with ANSI or other organizations.

Related Standards: ANSI/ISA-S50.02 (Fieldbus)

Information: www.isa.org

## CEN and CENELEC

CEN (the European Committee for Standardization) and CENELEC (the European Committee for Electrotechnical Standardization) are the European equivalents of ISO and IEC, respectively. They are official standards bodies recognized by the European Commission, responsible for publishing standards for the European market.  CEN and CENELEC voting members include: Austria, Belgium, Czech Republic, Denmark, Finland, France, Germany, Greece, Iceland, Ireland, Italy, Luxembourg, Netherlands, Norway, Portugal, Spain, Sweden, Switzerland and the United Kingdom.

Under a procedure formalized as “The Vienna Agreement”, CEN may elect to transfer execution of European standards to ISO or to establish its own TC.  Otherwise, a CEN Technical Committee is established with national delegations of experts convened by CEN members. The CEN TC must take into account any relevant work in ISO or elsewhere falling within its scope. The results of this work can then be offered to ISO once the CEN standard is complete.

With CENELEC, proposed standards originating in Europe are offered to IEC with the request that they be undertaken at international level. If IEC does not want to undertake the work, or if it cannot meet the target dates, the work commences at CENELEC for Europe. If IEC undertakes the work, parallel IEC/CENELEC procedures aim at identical worldwide and European standards. Once CENELEC work has commenced, all work on the same subject that may be taking place in individual European nations is immediately stopped.

CEN and CENELEC standards are designated with the prefix EN, followed by the standard number.

Related Standards: EN 50170, EN 50254, EN 50295, EN 50325

Information: www.cenorm.be, www.cenelec.org

## DIN

Deutsches Institut für Normung (DIN) is the German national standards body that reports to CEN and CENELEC.

DIN standards are designated with the prefix DIN, followed by the standard number.

Related standards: DIN 19245 (Profibus), DIN 19258 (Interbus-S)

Information: www.din.de

## BSI

The British Standards Institution (BSI) is the United Kingdom’s official standards making body. BSI is a non-profit distributing organization that is independent of government, industry and trade associations. BSI works with manufacturing and service industries, businesses and governments to facilitate the production of British, European and international standards.

BSI standards are designated with the prefix DD, followed by the standard number.

Related standards: DD 238 (Foundation Fieldbus), DD 241 (ControlNet)

Information: www.bsi.org.uk

# Motion Control Standards Landscape

As a consequence of the breadth of the motion control domain, communications standards to integrate motion control systems have proliferated. This would not present a problem if each standard covered a different part of motion control functionality, but this is not a case. The available communication standards cover a wide range of capability and cost ranging from high-speed networked IO subsystems standards to distributed communications standards for integrating all machines on the shop floor into the wider enterprise.  Numerous competing communication standards are available to interface the motion controller to the device, shop floor, and IO. Further, application domain communication standards compete with other domain communication standards as well as communications standards from the PC industry.  In fact, many PC communications standards have been adapted to the factory floor to provide built-in redundancy and durability, so that all the devices remain connected despite the harsh conditions often found in a factory environment.

The value of the motion control and larger input/output device markets has even led to companies positioning themselves for market dominance by offering their protocols as a standard. As a result, there are incompatible standards that cover equivalent areas, such as device networks. This causes problems for buyers and suppliers alike. It is simply too costly to support all the standards.

Formal standardization would seem to solve the problem, but in some cases it has had the opposite effect. In Europe especially, where conforming to a standard is often a contractual requirement for public works projects, standards have arisen which simply include incompatible industry standards. This makes the problem worse: two users may each agree to use a single standard, but their systems will be incompatible.

Given this state of affairs, a survey of existing standards will be reviewed based on four levels of factory communication: business, control, device and bit level. Table 2 summarizes communication performance by level.

Table 1. Industrial Automation Communication Hierarchy Characteristics

|  | Primary Use | Network Size | Data Size | Response Time |
| --- | --- | --- | --- | --- |
| Business Level | Enterprise MIS | Large >100 nodes | Large | < seconds |
| Control Level | Peer-to-Peer Remote IO | Moderate < 100 nodes | Medium | <100 msec |
| Device Field | Smart IO and Sensor-Actuator Control | Small < 64 nodes | Small | 10-100 msec |
| Bit Level | Binary IO, IO blocks and Sensor-Actuator Control | Small < 64 nodes | Small | <10 msec |

Business level communication is responsible for connecting the industrial automation on the plant floors with the business-level enterprise using either Wide Area Networks (WAN) or Local Area Networks (LAN) technology. Business level communication provides critical information for production planning, supply chain management and for work-in-process (WIP) tracking, for creating a real-time relational database of production information, and for providing real-time links to the corporate enterprise resource planning (ERP) and financial systems.

Control level communication is based on LAN networks that provide broadcast and point-to-point messaging between automation nodes, and perhaps to other networks via bridges. Control level networks are used for data gathering, interprocess exchange of control data and sequencing information, and remote access.

Device or field level communication provides cost-effective cabling and connectivity to intelligent devices (actuators, sensors, operator interfaces, controllers) that correspond to the emergence of “Smart IO” devices (i.e., sensor/actuators with device profiles and an Application API corresponding to Level 7 of the ISO Communication Model). Given the standardization of IO-access through IO networks, the concept of a “softPLC” has become a reality in the marketplace. Instead of large PLCs (1000s of IO points grouped into IO blocks), functionality is decomposed into station-level units. With the emergence of smart IO devices, the decomposition is going a step further, toward specialized component-based IO handlers.

Device and field are terms that come from different application domains but refer to similar functionality within IO networks. Field-level generally refers to networks designed as digital replacements for 4-20 mA transmission in process control industries, while device-level generally refers to IO in discrete manufacturing applications and controllers. However, the applicability of any device and field standards is not restricted to a particular domain, as there is much overlap in capability. In fact, a struggle for power between the control system suppliers and field device suppliers deadlocked the international fieldbus standardization effort for years.

Bit-level communication deals with the lowest level of automation (at the actuator and sensor level) and provides low-cost networks for connecting binary products, such as sensors, actuators, valves, and relays, with higher-level control devices, such as programmable logic controllers (PLCs), PCs, computer numerical controls (CNC), or distributed control systems (DCSs). Communication solutions at this level are often called sensor-actuator busses with deterministic, real-time protocols to transmit control and device data, configure the system architecture, power the devices, and monitor the network. Bit-level communication is similar to device-level communications, however, it usually offers a simpler, less flexible, but more deterministic networking solution. Because of the overlap of functionality between Bit-Level and Device-Field-Level, many Bit-level communication standards are used as Device or Field level communication standards.

Figure 2 classifies a sampling of communication standards within the realm of the industrial automation communication hierarchy.

Figure 2. Survey of Communication Standards Relevant to Motion Control
(Source: Control Engineering Magazine)

The chart shows the proliferation of applicable motion control communication standards is most dramatic in the bit and device level. Many of the standards extend an existing network standard that defines Layer 1 (Physical) and Layer 2 (Transport), by adding Layer 7 (Application). For example, CANOpen and DeviceNet each adds a similar, but unique, Layer 7 application standard, while both rely on the CAN bus standard for communication Layers 1 and 2.

Motion control typically relies on servomotors in the field of factory automation. The control target can be position, speed, or force, among others. However, motion control is never “standalone” and motion control relies on other IO devices in fulfilling the requirements of the application.  Further, there is an overlap between the concept of IO and a motion control product. For example, for many given networks (such as DeviceNet) there exist servo axis products that attach to the network. In addition, most networks establish a device profile for describing the capabilities of a servo axis. A survey of the major standards relating to IO and motion control will be reviewed and compared.  The breakdown of the survey is done by bit-level, device-level and control-level, even though many network standards cross boundaries, and some don’t really provide any application programming interface. See Tables 2, 3 and 4 for comparisons between varying protocols.

## Bit Level Communication Standards

### AS-Interface

EN 50295, “Low-voltage switchgear and controlgear - controller and device interface systems- actuator sensor interface (AS-Interface),” or AS-I, is a European standard carried out by CENELEC technical committee TC17B. AS-I was approved in 1998.

AS-I was designed as a low-cost alternative to more complex fieldbuses, suitable for networking simple binary devices. AS-I (often pronounced “azzi”) uses a single yellow cable that contains both data and power.

Power comes from a 24V DC supply that is fully isolated from the data signals. The signal is modulated to ensure noise immunity. The network is typically rated up to 8A, but higher currents can be drawn provided voltage drops in the network conform to the specification. A separate black cable and power supply can be used if needs demand it.

Each AS-Interface network has one master and can include up to 31 slave devices. Slaves can connect up to four devices, supporting 124 inputs and 124 outputs. On a fully loaded network, the maximum latency is 5ms. Cycle times are faster with fewer devices. Network messages have four data bits that may be used as inputs or outputs, so that AS-I can be used for analog devices by splitting data across cycles. In addition to data bits, the protocol transmits other information, such as status bits that can be used for diagnostics.

Information: www.as-interface.com

### CANBus

CAN or ISO 11898, “Road vehicles- interchange of digital information- controller area network (CAN) for high-speed communication)” was originally developed by the Bosch Corporation for use in automobiles. CAN is based on the ISO 7498 Open Systems Interconnect (OSI) model for the Physical and Transport Layers. The standard does not specify an Application Layer. CAN was approved as ISO 11898 in 1993.

CAN is a high-speed network, meeting the Society of Automotive Engineers (SAE) Class C network requirements for 1 megabit/second data transfer and 5 millisecond latency. CAN chips are available in high volumes from manufacturers such as Phillips, Intel, and Motorola. The chips can be interfaced to various transmission media, such as one-wire, two-wire, or fiber optic.

CAN is a multi-master network, where the bus access arbitration is based on the message identifier. The message identifier is 11 bits, supporting 2048 messages. An extended message identifier of 29 bits was introduced to allow a larger number of message types. The data field of messages can be up to 8 bytes wide. Messages that require larger data fields must be sent in segments. CAN messages use 16-bit cyclic redundancy checking (CRC-16) for error detection and correction. With a full 8-byte data message, the data to message size is 57%, with the rest consisting of overhead for the message identifier, control, and framing bits.

CAN data rates depend on trunk distance: 1 megabit/second for up to 40 meter distances, 125 kilobits/second for up to 500 meter distances, and 50 kilobits/second for up to 1 kilometer.

The standard lacks an Application Layer protocol, which has led to its use in a variety of applications other than automobiles, including industrial automation, medical equipment, and building automation. Several application layer protocols have been developed for industrial automation, including DeviceNet, Smart Distributed System (SDS), and CANOpen.

### Interbus

Interbus was developed in 1984 by Phoenix Contact and approved as German standard DIN 19258. Interbus is promoted by the Interbus Club, a member-funded, non-profit organization established to maintain and advance the Interbus network standard. The Interbus Club was initially founded in Europe in 1993. Currently there are over 600 members in 15 countries.

Interbus is a master-slave hardware ring network with cabling options that allow for twisted pair or fiber optic transmission media. The data link layer supports full duplex communication with no arbitration and CRC error correction. Interbus supports up to 512 devices and a total of 4096 digital input and 4096 digital output points or combinations of digital and analog signal types. Interbus is commonly implemented using the RS-485 serial digital protocol with a five-wire cable.

See Tables 2-4 for details on Interbus and comparisons with other protocols.

Information: www.interbus.com, www.ibsclub.com

### Seriplex

Seriplex (Serial Multiplexed Control Bus) is an industrial control bus developed by Automated Process Control and patented in 1987. The Seriplex Technology Organization (STO) is an independent, non-profit corporation, created to support and promote Seriplex Control Bus technology in the general marketplace. Seriplex is Part 5 of international standard IEC 62026.

Seriplex is a deterministic, serial multiplexed, intelligent, distributed IO system, providing both master/slave and peer-to-peer IO control and logic. It uses a shielded four-conductor cable. Two of the conductors deliver +12 VDC power or +24 VDC power to the bus. The other two conductors provide the data signal and clock signal that controls network timing.

Seriplex networks consist of IO devices with integrated Seriplex chips, or an IO block with a Seriplex chip into which devices are wired. In Master/Slave mode, the chip provides for the communication of IO device events to a host CPU. In Peer-to-Peer mode, there is no host CPU. Events occurring at each device are communicated directly between IO blocks or devices containing an embedded chip. These events are acted upon at the device level and are based on the logic functions programmed into the chips.

Information: www.seriplex.org

## Device Level Communication Standards

### CANOpen

CANOpen, like DeviceNet and SDS, is an application layer on top of CAN, advocated by the CAN in Automation (CiA) group based in Germany. CANOpen builds on the Physical and Transport Layers of CAN in a family of profiles that consists of the Application Layer and Communication Profile (CiA DS 301), various frameworks and recommendations (CiA DS-30x), and various device profiles (CiA DS-40x).

The DS 301 Application Layer and Communication Profile defines how data is exchanged between devices and describes the interface to the underlying communication medium, including which data has to be transmitted and with which services.

The DS-40X device profiles aid systems integration and device standardization by specifying guidelines by which two independent manufacturers can produce standardized devices. Guidelines include mandatory device characteristics that guarantee correct network operation, and a profiling mechanism that allows manufacturers to provide options and future enhancements.

Device-level profiles include digital and analog IO modules, motor drives, encoders, motion controllers, and operator displays.

Information: www.canopen.de

### DeviceNet

DeviceNet, like CANOpen and SDS, is an application layer on top of CAN, advocated by the Open DeviceNet Vendors Association (ODVA). DeviceNet was originally developed by Allen-Bradley, but is now an open standard that may be obtained from the ODVA. Any company manufacturing DeviceNet products may join ODVA and participate in technical working groups that are developing enhancements to the DeviceNet Specification. Buyers of the DeviceNet Specification receive an unlimited, royalty-free license to develop DeviceNet products. The ODVA is comprised of over 300 members, including ABB, Cutler-Hammer, GE Fanuc, and Rockwell Automation/Allen-Bradley.

The DeviceNet specification includes Volume 1, the Application Layer, and Volume 2, Device Profiles. The Application Layer adds to the CAN bus the concepts of connections, and data transfer models including strobed, polled, cyclic, change-of-state, and application-triggered. Device addressing may be peer-to-peer with multicast, multi-master, or master-slave. Device Profiles promote interoperability by defining standard device models that support common identification and status data. Device profiles contain a definition of the device object model, a list of the object classes present in the device, definitions of data formats, and definitions of configurable parameters. The DeviceNet object model organizes the attributes, services, and behaviors of a product.

The DeviceNet specification is more specific than the standard CAN protocol with respect to some physical properties. These include allowable topologies, system grounding, use of thick and thin media, termination, and power distribution. The DeviceNet trunkline-dropline topology provides separate twisted pair buses for both signal and power distribution. Up to 64 addressable nodes are supported.

Device-level application layer include profiles for digital and analog IO, motor drives, encoders, and position controller.

Information: www.odva.org

### FIREWIRE

Firewire is the physical layer that was developed by Apple Computer and standardized as IEEE-1394. It is widely used in the computer and consumer electronics industries. (Apple collects royalties on the Firewire chip sets.) Because of its popularity in the computer and consumer electronics industries, the Firewire chip set enjoys the advantage of low cost.

Firewire provides a hardware and software standard for transporting data at 100, 200, or 400 megabits per second (Mbps) tha allows mixing of 100, 200, and 400 Mbps devices on a bus. Device addressing is 64 bits wide, partitioned as 10 bits for network Ids, 6 bits for node Ids and 48 bits for memory addresses. The result is the capability to address 1023 networks of 63 nodes, each with 281 terabytes of memory.  Firewire is purely a digital interface, so there is no loss of data integrity.  Firewire media includes either small, thin serial cable, which can be replaced, or large and more expensive interfaces. Firewire does not need terminators, device IDs, or elaborate setup and is hot pluggable, so users can add or remove 1394 devices with the bus active. The Firewire topology supports daisy chaining and branching for true peer-to-peer communication.  Firewire supports two types of data transfer: asynchronous and isochronous. Asynchronous transport is sent to a specific address and an acknowledgment is returned. Isochronous data channels provide guaranteed data transport at a pre-determined rate, which provides time-critical data transmissions.

Firewire is being promoted as a standard, low-cost, high-speed, industrial, digital, single-cable serial bus suited for real-time motion control applications. A number of companies have developed drive communications systems using the IEEE-1394 physical layer. Ormec has developed a package called ServoWire. National Instruments offers FW-7344 multi-axis, distributed motion controllers that uses the high-speed FireWire network bus. Nyquist Industrial Control offers a PCI-based FireWire interface module called the NY3910 FireWire Connection. Adept Technology recently launched SmartAmps connected over a digital network. Acroloop recently began offering an IEEE-1394 interface.

The Firewire standard is not intended to interface to servo drives, so applications based on one companies’ Firewire product are incompatible with another companies. According to the ARC Advisory Group, Yaskawa, NEC and Mitsubishi have established a collaboration to develop a FireWire-based digital servo drive interface.

Information: www.1394ta.org

### MACRO

MACRO (Motion And Control Ring Optical) is a specification for connecting multi-axis motion controllers, amplifiers, and IO over a single high speed fiber optic network. MACRO uses fiber optic or RJ-45 “thin wire” interfaces. The fiber optic interface allows the drives to be up to 1 kilometer from the drive to the controller, and the RJ-45 interface allows the drives to be up to 1,000 feet from the controller. MACRO’s fiber optic interface technology provides total electrical noise immunity. MACRO communicates at 125 megabits a second.

MACRO operates in a ring topology. Data is transmitted serially. Each station on the ring has an “in” port for receiving data and an “out” port for transmitting data. Nodes, residing at a station, can be amplifier axes, IO banks, or communication interfaces to other devices. A station can have one or several nodes, allowing for multi-axis amplifiers with a single “in” and single “out” port. Data packets, (groups of 96 bits of serial data), sent out by a motion controller or, master node, are earmarked for a specific amplifier, or slave node. If the data packet is not for an amplifier, it passes it on, unchanged. If it is for the node, it copies the contents of the data packet (typically commands), places feedback data into the packet in place of the command data, and transmits the data packet.

Building MACRO into a product requires the MACRO gate array integrated circuit. Currently the gate array is available from Delta Tau Data Systems in 144 or 160 pin QFP packages and is designed for a 24 bit microcontroller.

MACRO application layer provides the ability to pass commands of different types from a controller to an amplifier, including position, velocity, torque, phase current, and PWM values. MACRO’s high data rate allows closure of high performance servo loops, which can be split between the controller and amplifier at any level.

Information:  www.macro.org

### SERCOS

SERCOS (Serial Realtime Communication System) is a digital interface for communication between control systems and drives. SERCOS was approved as international standard IEC 61491 in 1995 and as European standard EN 61491 in 1998. The SERCOS specification includes the physical layer, including connectors. An optical fiber ring is used as transmission medium. The maximum transmission rate is 2, 4, 8 or 16 megabit/second, depending on the device design. Three communications types between CNC and digital drive control elements can be realized with this interface: nominal position, nominal speed, or nominal torque. The transmission of nominal position is the recommended type for fast and highly precise applications.

In one optical fiber ring up to 6 axes can be cyclically and parallel supplied with new nominal positions values (nominal positions) every 0.5 ms. The SERCOS interface allows all drive-internal data, parameters and diagnosis data to be displayed and entered by means of a SERCOS-compatible CNC.

All drives on the SERCOS ring close loops synchronously, eliminating the possibility of “beat” frequencies or harmonics appearing in the motion control system. Feedback acquisition and command value executions are performed in every drive at the same instant in time, making an effective “snapshot” for control purposes.

Each segment (node-to-node) of a SERCOS ring can be up to 40 meters in length using plastic fiber, 200 meters using 200 µm glass fiber, or 400 meters using 400 µm glass fiber. Total ring lengths are 10,000 meters, 50,000 meters and 100,000 meters respectively.

The maximum number of drops per fiber optic ring is 254. However, the number of drives that can be serviced per ring depends on three application requirements: communication cycle time, volume of operational data, and communications speed required. SERCOS imposes no limit to the number of rings that can be synchronized together.

SERCOS application layer provides capability for commanding axis position, velocity, torque as well as block mode (drive internal interpolation).

Information: www.sercos.org, www.sercos.com

### Smart Distributed System (SDS)

Smart Distributed System (SDS), like CANOpen and DeviceNet, is an application layer on top of the CAN bus. SDS was introduced by Honeywell Micro Switch in early 1993 and formally opened to other vendors the following year. The SDS specification is currently under engineering control of the SDS Council.

SDS specifies an Application Layer, Component Model, and a Physical Layer. The Application Layer specifies services, such as read, write, event generation and handling, and connection establishment for multicast or peer-to-peer communication. The Application Layer also includes protocols that define data and message types.

The Component Model Specification defines a hierarchical object-oriented view of devices and their relationships.

The Physical Layer restricts the CAN physical layer specification. SDS transmission speeds of 125K, 250K, 500K, and 1.0M bits/sec allow network lengths of 1,500, 600, 300, and 75 feet, respectively. The trunk consists of two-wire twisted shielded cable with optional two-wire bus power cable and drain wire. There is a maximum of 32 nodes at 1.0M bits/sec and 64 nodes at the lower transmission speeds.

Information: honeywell1.datareturn.com/sensing/prodinfo/sds

### EN 50325

EN 50325, “Industrial communication subsystem based on ISO 11898 (CAN) for controller-device interfaces,” is a proposed European standard being carried out by CENELEC technical committee TC65CX. EN 50325 provides official European standards status to two CAN-based application layer protocols: DeviceNet and Smart Distributed System (SDS).

EN 50325 is divided into volumes, some of which are technically equivalent to parts of international standard IEC 62026:

- Volume 1, General

- Volume 2, DeviceNet	(IEC 62026-3)

- Volume 3, SDS	(IEC 62026-5)

Information: www.cenelec.org

## Field Level Communication Standards

The field-level refers to communications networks that link isolated industrial field devices, such as sensors, actuators, and controllers. The simplest industrial field technology is the 4- to 20-mA current loop. An updated version of this protocol is the HART protocol (Highway Addressable Remote Transducer), which uses the Bell 202 Frequency Shift Keying (FSK) standard to superimpose digital signals at a low level on top of the 4-20mA.  This enables two-way communication of additional information beyond the normal process variable to be communicated to/from a smart field device. The HART standard will not be covered in this paper, (see the HART Communication Foundation http://www.hartcomm.org/ for more information.)

The SP50 committee of the Instrument Society of America (ISA) was the original focal point for a standardized fieldbus network, but the ISA/SP50 and IEC committees meet jointly to facilitate the development of an international standard. The IEC fieldbus standardization was led by the Foundation Fieldbus, the result of the merging of two previously incompatible fieldbus standards espoused by the Interoperable Systems Project (ISP) and WorldFIP groups. FF membership is comprised of over 120 suppliers and users of control and instrumentation, including Fisher-Rosemount, Siemens, Honeywell, and Elsag-Bailey. With its origins in the process-control industry, Foundation Fieldbus principally targets the local-area networking that connects instrumentation and control devices on the factory floor.

In October 1999 after 14 years, seven protocols were added to the proposed IEC 61158 fieldbus standard including protocols from ControlNet, Profibus, Interbus, P-Net, WorldFIP, SwiftNet, and the Fieldbus Foundation's high-speed Ethernet protocol that ultimately led to approval of the standard. The Fieldbus Foundation endorses IEC 61158 and its conforming implementation, Foundation Fieldbus. Further, Foundation Fieldbus specifies a high-speed communication Device Description (DD) technology, which provides interoperability between devices from different suppliers and was released in 1996.

In April 2000, concern was raised that essential parts of the newly approved IEC 61158 fieldbus standard are protected by patents or patent claims of certain companies. In response to this concern, Fisher-Rosemount issued a public statement that patented technology demonstrated to be essential to implement fieldbus specifications will either be assigned to the Fieldbus Foundation or offered as a license to Fieldbus Foundation members in good standing on a royalty free, non-exclusive, worldwide basis.

Because the IEC 61158 Fieldbus specification contains a variety of network protocol standards, some will be omitted from discussion, including P-Net (Denmark), WorldFIP (France), or SwiftNet (developed by Ship Star Associates working with Boeing Aircraft). Interbus, another IEC 61158 network protocol, was discussed earlier; while ControlNet, another IEC 61158 network protocol, will be discussed in the Control-level network standards.

### IEC 61158 (Fieldbus)

IEC 61158, (or ANSI/ISA-50.02) “Fieldbus standard for use in industrial control systems,” is the culmination of over a decade of effort to standardize a replacement for the analog 4-20 milliamp de facto standard for field wiring of input/output devices. IEC 61158 is the responsibility of IEC Working Group SC65C, with the U.S. TAG IEC/ISA SP50 subcommittee.

IEC 61158 is divided into parts, following the ISO 7498 Open Systems Interconnect (OSI) model for the Physical, Data Link, and Application Layers: Part 2 is the Physical Layer, Parts 3 and 4, the Data Link Layer Services and Protocol, and Parts 5 and 6, the Application Layer Services and Protocol.  Part 2, the Physical Layer, was approved in 1993. IEC 61158 fieldbus standard Parts 3 and 4 include protocols from IEC 61158, ControlNet, Profibus, Interbus, P-Net, WorldFIP, SwiftNet, and the Fieldbus Foundation's high-speed Ethernet protocol.  In December 1999, the International Electrotechnical Commission (IEC) approved the Final Draft International Standard (FDIS) documents for the Data Link Layer (DLL) and Application Layer (AL) of the IEC 61158 international fieldbus standard. The Foundation Fieldbus specifications are a compliant subset of IEC 61158.

Information: www.iec.ch, www.fieldbus.org, www.isa.org

### Profibus

Profibus (Process Field Bus) is a fieldbus standard for integrating sensors, actuators, transmitters, drives and programmable logic controllers. The Profibus User Organization (PNO) is the sponsoring organization, representing manufacturing, users, and systems integrators of Profibus components. Profibus consists of three specifications: Profibus-FMS, Profibus-DP, and Profibus-PA. Profibus-FMS and Profibus-DP are Volume 2 of European standard EN 50170.  Profibus-FMS will be discussed later in the Control level standards.

Profibus-DP (De-centralised Periphery) is a performance optimized version of Profibus specifically dedicated to time-critical communication between automation systems and distributed peripherals. It is designed as a replacement for discrete wiring of 24 V and 4 to 20 mA measurement signals.

Profibus-PA (Process Automation) is designed specifically for the needs of the process automation industry. Profibus-PA provides for power and data transmission over the same two wires, and can be used within areas with high explosion risk using intrinsic safe transmission technology according to IEC 1158-2. It operates either with intrinsic safe transmission technology (IEC 1158-2) or standard transmission technology (RS-485).

Profibus specifies the lowest two levels of the OSI protocol stack, the Physical and Data Link Layers. The physical layer uses copper wire in accordance with the US standard EIA RS-485. It uses a two-conductor twisted pair cable, with optional shielding. Two cable versions with different maximum distances are available. A specification for fiber optic transmission for longer length and noise immunity is being proposed.

Profibus uses the token passing method for communication between complex stations (masters) and the master-slave method for communication between complex stations and simple peripheral devices (slaves). This combined method is called hybrid medium access. With the hybrid medium access method of Profibus it is possible to implement a pure master-slave system, a pure master-master system (token passing), and a system with a combination of both methods.

### Information: www.profibus.comIEC 62026

IEC 62026, “Control circuit devices and switching elements for low-voltage switchgear and controlgear,” provides official international standards status to five device networks: AS-i, DeviceNet, Lontalk, SDS, and Seriplex.

IEC 62026 is divided into six parts. Some of these parts are technically equivalent to other standards:

- Part 1, General Requirements 	(EN 50325-1)

- Part 2, AS-I 	(EN 50295)

- Part 3, DeviceNet 	(EN 50325-2)

- Part 4, Lontalk	(ANSI/EIA 709.1)

- Part 5, SDS 	(EN 50325-3)

- Part 6, Seriplex

Information: www.iec.ch

### EN 50170

EN 50170, “General purpose field communication systems,” is a European standard for fieldbuses that was made enforceable by the European Commission for utilities and other public undertakings. EN 50170 was approved in 1997, and originally conferred standards status on three fieldbuses: P-Net (Denmark), Profibus-DP/FMS (Germany), and WorldFIP (France). The UK proposed adding Foundation Fieldbus, Profibus-PA, and ControlNet as amendments, so that these fieldbuses (and companies that sold them) would not be left out. EN 50170 is comprised of the following parts and amendments, some of which are equivalent to other standards:

- Volume 1, P-Net	(DK 502058, 502066)

- Volume 2, Profibus-DP/FMS	(DIN 19245)

- Volume 3, WorldFIP	(NFC 46601-46607)

- Amendment A1, Foundation Fieldbus	(DD 238)

- Amendment A2, Profibus-PA

- Amendment A3, ControlNet	(DD 241)

Information: www.cenelec.org

### EN 50254

EN 50254, “High efficiency communication subsystem for small data packages,” is a downsizing of EN 50170 for applications with smaller data size and lower data rates. It includes subsets of Profibus-DP and WorldFIP, and adds Interbus-S:

- Volume 1, General

- Volume 2, Interbus-S	(DIN 19258)

- Volume 3, Profibus-DP	(EN 50170-2)

- Volume 4, WorldFIP/1	(EN 50170-3)

## Control Level Communication Standards

Control level communication is based on LAN networks that provide broadcast and point-to-point messaging between automation nodes, and perhaps to other networks via bridges. Control level communication connects industrial devices: programmable logic controllers, numerical controllers, robots, industrial computers, intelligent sensors and actuators.  At the control level, factory automation must provide access to real-time data and information that can be used to optimize manufacturing processes. MES systems can collect data from the machines to continually monitor and improve the manufacturing process leading to increased productivity and quality.

Ethernet technology is emerging as the primary control level network in allowing seamless integration of factory and enterprise. Although not suited for deterministic control in automation networking, Ethernet is attractive because of its low cost, high speed, high bandwidth, widely available, internationally standardized, and knowledgeable expertise is readily available. Typically, many existing control level application communication protocols are adapting their standards to run on Ethernet’s IEEE 802.3 Physical and Data Link standard, or are defining open, standard gateways to connect Ethernet to the device level networks.

### Ethernet

Ethernet specifies the OSI Model Physical layer 1, and the Data Link layer 2. Ethernet was first specified in the late 1970’s; and in 1985, Ethernet II was released, which is basis for the IEEE 802.3 CSMA/CD network standard. CSMA/CD stands for "Carrier Sense Multiple Access, with Collision Detection" and is a network bus arbitration scheme.  IEEE 802

Ethernet communicates at 10-Mbps with physical media options including the original thick coaxial system, as well as thin coaxial, twisted-pair, and fiber optic systems. Fast-Ethernet defines a 100-Mbps rate and operates over twisted-pair and fiber optic media. Switched Ethernet LANs use switches to connect individual hosts or segments. In the case of individual hosts, the switch replaces the repeater and effectively gives the device full 10 Mbps bandwidth (or 100 Mbps for Fast Ethernet) to the rest of the network.  In the case of segments, the hub is replaced with a switching hub.

The Ethernet network has long been the network of choice at business levels of manufacturing enterprises. Because of the low cost of Ethernet products as well as existing corporate intranet/internet Ethernet infrastructures, it is a long-standing desire to use Ethernet as a “backbone” across the manufacturing enterprise to connect the bit-level sensor, device, control, and business levels.  A further appeal of Ethernet is its connectivity as part of the World Wide Wide. Installing web servers on I/O systems could transform access to these systems.  Local I/O web servers is possible with the emergence of Intelligent Appliance (IA) silicon chips, as low cost, small footprint, that can turn any electrical device into a self-contained web server that can communicate wirelessly or over existing copper wire to other IAs.  With a Hypertext Transfer Protocol (HTTP) server embedded in the IO, the ability to load a Web page to configure I/O points, test points, configure event/reactions, or set up exception reports is possible. The use of wireless Ethernet for mobile computing is also emerging on the plant floor as another aspect to improve manufacturing operations. As an example product, a handheld PC could be used to roam the plant floor in an effort to diagnose factory floor controllers.

Overall, benefits that are seen from using Ethernet IO in factory automation include:

- Lower cost I/O (devices, wiring, and junction box savings)

- Common network connection for all device types

- Reduce the proliferation in the number of networks to be supported

- Improved communications with enterprise Management Information Systems (MIS) applications

- Networking infrastructure better able to support future information exchange needs

Although highly desirable, the use of Ethernet throughout the factory is unrealistic as off-the-shelf Ethernet is non-deterministic due to its bus arbitration scheme. Emerging factory automation Ethernet solutions overcome the non-determinism by using full-duplex cabling in a switched network star topology, that means that every device has its own communication channel, precluding collisions. Buffering in the switch guarantees queued delivery, providing guaranteed determinism. Yet, even Switched Ethernet adapted for deterministic real-time networking is still not suitable for all aspects of factory automation. As a passive network, Ethernet cannot support bit-level factory automation communication, as it does not supply the 24 V dc power required of traditional two-wire devices, such as transmitters and valve controllers. Further, Ethernet’s basic copper wiring may not be acceptable in harsher electromagnetic conditions. Ethernet’s connectors present a problem in many industrial applications where vibration and/or fluids are present. This has lead to the development by various companies and industry consortiums to develop Ethernet wiring and connector standards to insure built-in redundancy and durability, to guarantee that all devices remain connected despite the harsh conditions often found in a factory environment.

Some industry consortiums use existing Ethernet standards and provide gateways to connect to field and device level networks. Ethernet solutions that require a gateway to allow the Ethernet and device network to talk do not necessarily lessen wiring or equipment requirements, speed up communications, nor significantly reduce costs.

Information:

Gigabit Ethernet Alliance - www.gigabit-ethernet.org

Internet Engineering Task Force - www.ietf.cnri.reston.va.us

IEEE 802 LAN/MAN Standards Committee - ieee802.org

Industrial Ethernet – www.industrialethernet.org

### Profibus-FMS

Profibus-FMS (Fieldbus Message Specification) is designed for acyclic or cyclic data transfers at medium speed between control equipment and cell-level controllers.  Profibus-FMS is part of Volume 2 of  the European standard EN 50170. Profibus-FMS uses the base Profibus specification (see Profibus) for the Physical and Data Link Layers, but adds the Application Layer, the topmost (Level 7), using a subset of the Manufacturing Message Specification (MMS) (ISO 9506) of the MAP protocol.

Profibus FMS offers a full-featured networking profile operating at a backbone level. Profibus DP is primarily a high-speed master-slave network, and Profibus DP and FMS can coexist on the same wires. Because of its intrinsic safety feature, Profibus PA is generally targeted for process automation, and a gateway is required to interconnect Profibus PA and Profibus FMS/DP on the same network.

Profibus FMS application services are a subset of the MMS (Manufacturing Message Specification, ISO 9506) services, which have been expanded with functions for communication object administration and network management.

### ProfiNet

ProfiNet is sponsored by the Profibus Trade Organization’s as a network standard to link Ethernet TCP/IP at the automation systems level and Profibus at the field level. ProfiNet is not a packaging of Profibus over Ethernet. Each retains its own physical layer so that a gateway is required between them to allow Profibus to work with Ethernet.  Profinet guarantees open, transparent communications between software applications at all levels using using open industrial standards, including TCP/IP, COM/DCOM, Remote Procedure Calls (RPC) and OLE for Process Control (OPC) technologies. Profinet will allow users to monitor Profibus devices remotely via Ethernet and the Internet.  ProfiNet uses direct routing of TCP/IP onto Profibus, enabling Internet technology and Microsoft software to become more integrated with field devices. This will enable web servers in field devices, and allow more complex field devices to use common services via DCOM.

Information: www.profibus.com or www.profinet.com

### ControlNet

ControlNet is a device network developed by Rockwell/Allen-Bradley and made available as an open standard in 1996. ControlNet is designed for real-time, high-speed integration of control systems such as coordinated drive systems, weld control, motion control, vision systems, complex batch control systems, process control systems, and systems with multiple controllers and human-machine interfaces. ControlNet targets systems with multiple PC-based Controllers, PLC-to-PLC and PLC-to-DCS communication.

ControlNet views industrial application as consisting of three layers. The information layer supports plant-wide data collection and program maintenance, and uses protocols such as Ethernet. The automation and control layer supports real-time IO control, interlocking, and messaging, and is the target for ControlNet. The device layer supports cost-effective integration of individual devices, and it uses fieldbus protocols such as DeviceNet or Foundation Fieldbus.

ControlNet International, an independent organization for users and vendors of ControlNet products, was formed in July 1997. The organizations manages the ControlNet Specification and supports worldwide growth of ControlNet by developing test software, providing independent compliance testing, publishing the ControlNet product catalog, and sponsoring design and implementation training.

ControlNet supports a maximum data transfer of 5.0 megabit/second using coaxial cable or fiber optic transmission media. Devices are powered externally. There is a limit of 99 addressable nodes, but no limit on the number of IO data points that can be integrated.

ControlNet is based on a producer/consumer communication model. This model permits all nodes on the network to simultaneously access the same data from a single source. Network access is controlled by a time-slice algorithm called Concurrent Time Domain Multiple Access (CTDMA), which regulates a node’s opportunity to transmit in each network interval, which is configurable and can be as small as 2 milliseconds.

ControlNet was standardized in Europe in 1998 as Amendment A3 to EN 50170, and is being standardized in the UK as DD 241.

Information: www.controlnet.org

### High Speed Ethernet (HSE)

The IEC 61158 Foundation Fieldbus physical layer standard is low-speed (also known as the ISA/SP50 H1). Foundation Fieldbus expanded its effort to support 100 megabit/second High-Speed Ethernet (HSE) (originally known as the ISA/SP50 H2). The HSE specifications were passed in 1998. FF's HSE protocol is presently the only Ethernet protocol included in the IEC 61158 standard and is included as well in the CENELEC EN 50170 Euronorm.

HSE uses Ethernet technology and runs at speeds from 100 Mbit/s to 1 Gbit/s or higher. HSE runs 100 meters from switch to device using standard twisted-pair (two-pair) wire and up to 2,000 meters from switch to device on fiber-optic cable. Using fiber-optics also allows HSE to pass through hazardous areas. Combining HSE's media options with H1's media options (bus power, intrinsic safety, and fiber) can solve almost any installation challenge.

HSE supports all Foundation Fieldbus 31.25 kbit/s (H1) functions, such as Function Blocks and Device Description Language, and allows Ethernet-based devices to interface with H1 devices through a linking device. H1 devices can communicate peer-to-peer to another H1 device, on the same link or another linking device, without the need for host system intervention. HSE devices communicate using Ethernet TCP/IP.

### EtherNet/IP

Ethernet Industrial Protocol (EtherNet/IP) is an open industrial networking standard developed by the Open DeviceNet Vendor Association (ODVA) that supports implicit messaging (real-time I/O messaging), explicit messaging (message exchange), or both and uses commercial off-the-shelf Ethernet communication chips and physical media. EtherNet/IP allows device-level data to be accessed from the Internet.

EtherNet/IP is based on existing standards including:

- IEEE 802.3 Physical and Data Link standard,

- Ethernet TCP/IP (Transmission Control Protocol/Internet Protocol) protocol suite,

- Control and Information Protocol (CIP), the protocol that provides real-time I/O messaging and information/peer-to-peer messaging used by ControlNet and DeviceNet networks.

EtherNet/IP networks support an active star topology in which devices may be connected point-to-point in a Switched Ethernet real-time configuration allowing support of both 10 and 100M bit/s products.  EtherNet/IP allows large amounts of messaging data, 1500 bytes maximum per packet. Standard twisted-pair and fiber-optic cable are fully functional with EtherNet/IP. Media can be specialized for industrial applications.

Information: www.odva.org

## Network Comparisons

Tables 2 through 4 show the general information, physical characteristics, and transport mechanism of specific standards covered in this document. These tables were produced using published vendor documents and information from various vendor websites. See also:

- http://www.synergetic.com/compare.htm

- http://www.ibsclub.com/whyibus/comparisons

- http://www.sercos.com/comparisons.htm

- http://www.seriplex.org/part4/wp.html#table2

Table 2. Background Information

|  | Technology Developer or User’s Group | Governing Standard | Websites |
| --- | --- | --- | --- |
| AS-I | AS-I Consortium | EN 50295 | www.as-interface.com |
| DeviceNet | Open DeviceNet Vendor Association, Inc. (ODVA) | ISO 11898 & 11519 | www.odva.org |
| Ethernet | Gigabit Ethernet Alliance, Internet Engineering Task Force IEEE 802 LAN/MAN Standards Committee Industrial Ethernet Association | IEEE 802.3 | - www.gigabit-ethernet.org - www.ietf.cnri.reston.va.us - ieee802.org - www.industrialethernet.org |
| Fieldbus Foundation H1 | Fieldbus Foundation | IEC 61158 ANSI/ISA-50.02 | www.iec.ch, www.fieldbus.org, www.isa.org/portals/fieldbus/fbstand/ |
| Fieldbus Foundation High Speed Ethernet (HSE) | Fieldbus Foundation | IEC 61158 ANSI/ISA-50.02 | www.iec.ch, www.fieldbus.org, www.isa.org/portals/fieldbus/fbstand/ |
| Firewire | 1394 Trade Association | IEEE-1394 | www.1394ta.org |
| Interbus | Phoenix Contact | EN50254 | www.interbus.com www.ibsclub.com |
| Macro | Delta Tau | None | www.macro.org |
| Profibus DP/PA | Profibus User Group | DIN 19245 part 3/4 | www.profibus.com |
| Profibus FMS | Profibus User Group | EN 50 170 Volume 2 | www.profibus.com |
| ProfiNet | Profibus User Group |  | www.profibus.com |
| SDS | Honeywell | Honeywell Specification, Submitted to IEC, ISO11989 | content.honeywell.com/sensing/prodinfo/sds/ |
| SERCOS | SERCOS Interface Association (IGS) and SERCOS North America | IEC 61491/EN61491 | www.sercos.com |
| Seriplex | SERIPLEX Technology OrganizationAPC, Inc. | IEC 62026/6, SEMI E54.7 | www.seriplex.org |

.

Table 3 Physical Characteristics

|  | Network Topology | Physical Media | Max. Devices (nodes) | Max. Distance |
| --- | --- | --- | --- | --- |
| AS-I | Bus, ring, tree star | Two wire cable | 31 slaves | 100 meters, 300 with repeater |
| DeviceNet | Trunkline/dropline with branching | Twisted-pair for signal & power | 64 nodes | 500m |
| Ethernet | Standard Data Rate Network Topology Max. Devices Physical Media Maximum Cable Segment Length in Meters Half-Duplex Full-Duplex 10Base5 10Mb/s Bus 100 50-ohm coaxial cable -thick Ethernet 500 n/a 10Base2 10Mb/s Bus 30 single 50-ohm RG 58 coaxial cable (thin Ethernet) (5mm thick) 185 n/a 10Broad36 10Mb/s Bus 1024 single 75-ohm CATV broadband cable 1800 n/a FOIRL 10Mb/s Star 1024 two optical fibers 1000 >1000 1Base5 1Mb/s Star 1024 two pairs of twisted telephone cable 250 n/a 10Base-T 10Mb/s Star 1024 two pairs of 100-ohm Category 3 or better UTP cable 100 100 10Base-FL 10Mb/s Star 1024 two optical fibers 2000 >2000 10Base-FB 10Mb/s Star 1024 two optical fibers 2000 n/a 10Base-FP 10Mb/s Star 1024 two optical fibers 1000 n/a 100Base-TX 100Mb/s Star 1024 two pairs of 100-ohm Category 5 UTP cable 100 100 100Base-FX 100Mb/s Star 1024 two optical fibers 412 2000 100Base-T4 100Mb/s Star 1024 four pairs of 100-ohm Category 3 or better UTP cable 100 n/a 100Base-T2 100Mb/s Star 1024 two pairs of 100-ohm Category 3 or better UTP cable 100 100 1000Base-LX 1Gb/s Star 1024 long wavelength laser over: - 62.5um multi-mode fiber - 50um multi-mode fiber - 10um single mode fiber 316 316 316 550 550 5000 1000Base-SX 1Gb/s Star 1024 short wavelength laser (850nm) over: - 62.5um multi-mode fiber - 50um multi-mode fiber 275 316 275 550 1000Base-CX 1Gb/s Star specialty shielded balanced copper jumper cable assemblies ("twinax" or "short haul copper") 25 25 1000Base-T 1Gb/s Star four pairs of 100-ohm Category 5 or better cable 100 100 |
| Fieldbus Foundation H1 | Multidrop with bus powered devices | Twisted-pair | 240/segment, 65,000 segments | 1900m @ 31.25K 500m @ 2.5M |
| Foundation Fieldbus HSE | Star | Twisted-pair, fiber | IP addressing - essentially unlimited | 100m @ 100Mbaud twisted-pair 2000m @ 100Mbaud fiber full duplex |
| Firewire | No-loops Tree | 6-wire shielded twisted pair copper - | capability to address 1023 networks of 63 nodes, each with 281 terabytes of memory | total maximum end-to-end distance of 72m |
| Interbus | Bus,Tree, Ring, Star, 16 level nesting | Twisted-pair, fiber, slip-ring, Infrared | 512 System Total 256 on remote bus | 12.8 Km (copper) total 400m max between devices |
| Macro | Ring based on FDDI (Fiber Direct Digital Interface) networking technology | Fiber optic, coax, or RJ-45 | 256 -- Supports up to 16 masters, with up to 16 nodes interfaced per master | Glass -- 3000 m Copper -- 30 m |
| Profibus DP/PA | Line, star & ring | Twisted-pair or fiber | 127 nodes | 24 Km (fiber) |
| Profibus FMS | Line, star & ring | Twisted-pair or fiber | up to 126 nodes are available and all can be masters if desired |  |
| SDS | Trunkline/Dropline | Twisted-pair for signal & power | 64 nodes, 126 addresses | 500m |
| SERCOS | Ring | Fiber optic | 254 per ring, multiple rings allowed | Plastic - 40 m node-to-node; 10,000+ m max. ring length. Glass - 800 m node-to-node; 200,000+ m max. ring length. |
| Seriplex | Tree, loop, ring, multi-drop, star | 4-wire shielded cable | 500+ devices | 500+ ft. |

Table 4 Transport Mechanisms

|  | Communication Method | Transmission Speed | Data Transfer Size | Arbitration Method |
| --- | --- | --- | --- | --- |
| AS-I | Master/slave with cyclic polling | Data and power, EMI resistant | 31 slaves with 4 in and 4 out | Master/slave with cyclic polling |
| ControlNet | Producer/Consumer Device Object Model | 5 Mbps | 0-510 bytes variable | CTDMA Time Slice Multiple Access Modified, Device |
| DeviceNet | Master/slave, multi-master, others | 500 kbps, 250 kbps, 125 kbps | 8-byte variable message | Carrier-Sonac Multiple Access |
| Ethernet | Peer-to-peer, Broadcast | 10Mbps, 100Mbps, 1000Mbps | Min: 128 bytes Max: 1582 bytes | CSMA/CD |
| Fieldbus Foundation | Client/server publisher/subscriber, Event notification | 31.25 kbps 1 Mbps 2.5Mbps | 16.6 M objects/device | Deterministic centralized scheduler, multiple backup |
| Firewire | Multi-master, Peer-to-peer, guaranteed and deterministic bandwidth | 100, 200 and 400 Mbps with 1394a-2000, and up to 3200Mbps with P1394b | Minimum – 20 bytes header, “payload” extra | request-grant handshake process between a node and every node in the path up to the root node to win a turn at using the bus |
| Interbus | Master/slave with total frame transfer Transparent data linking via master | 500kBits/s, full duplex | Up to: 64bytes real time data /device, 244 Bytes PCP data/device 512 In + 512 Out bytes per system | None |
| Macro | Multi-master - up to 16 per ring | 120 MBits/sec | Variable size | Shift register between adjacent nodes |
| Profibus DP/PA | Master/slave peer to peer | DP up to 12 Mbps (it can also be operated at speeds as low as 9600 baud) PA 31.25 kbps | 244 bytes | Token passing |
| Profibus FMS | peer to peer messaging format | Same as Profibus/DP | More overhead | Token passing |
| SDS | Master/slave, peer to peer, multi-cast, multi-master | 1Mbps, 500 kbps, 250 kbps, 125 kbps | 8-byte variable message | Carrier-Sonac Multiple Access |
| SERCOS | Master/slaves | 2/4/8/16 MBits/sec | Variable size, Minimum Master Sync Telegram - 6 bytes | Deterministic time slice, depends on the number of nodes on the ring. |
| Seriplex | Master/slave peer to peer | 200 Mbps | 7680/transfer | Sonal multiplexing |

# Conclusion

Market adoption of standards can greatly reduce development costs for end-users, system integrators as well as vendors. For example, OLE for Process Control (OPC) replaces custom drivers used to connect different manufacturer’s IO field device products. Before OPC, a different driver was required to connect Intellution’s FIX to Allen-Bradley PLCs, or Siemens PLCs or GE Fanuc PLCs. At one time, Wonderware advertised over 200 such drivers.   Now, one OPC driver is required to connect to any one of these PLCs running an OPC server. Moreover, the Intellution FIX can be replaced by a USDATA or Wonderware product as these conform to the standard OPC client interface.

Ideally, one network standard would allow interoperable network communication across the factory landscape, including continuous, advanced, batch, discrete, and motion control as well as to the MRP.  Ethernet is emerging a single network backbone, however, the reality is that application needs dictate different requirements and costs to consider when designing a motion control system. Unfortunately, standardization infighting between control system suppliers and field device suppliers, when combined with standards imposed by territorial domain, has lead to a wide variety of standards, as well as overlap and ambiguity even within standards.  Thus, users have more than a dozen control, field and device network alternatives to consider when designing motion control systems.

For networking of motion control devices, the decision of whether to use a fieldbus, device network, or high-speed network, or some combination depends on the application. If only loose coupling between axes is required, a series of single-axis position drives connected via a fieldbus is probably adequate. In a tightly-coupled, synchronized motion application, a high-speed network such as MACRO or SERCOS must be considered as field buses are too slow.

A final consideration when dealing with products based on open standard technology is that anybody can manufacture products and claim conformance to these standards. This does not guarantee that these products comply with the standards unless the product undergoes tests for conformance and interoperability compliance. Fortunately, most standards have independent third-parties who perform product testing to insure a product complies to the standard.

# Standards Glossary

ANSI	American National Standards Institute

CEN	European Committee for Standardization

CENELEC 	European Committee for Electrotechnical Standardization

DD	BSI standards are designated with the prefix DD

DD 238	Foundation Fieldbus

DD 241	ControlNet

DIN	Deutsches Institut für Normung is the German national standards body that reports to CEN and CENELEC

DIN 19258	Interbus-S

DIN 19425	Profibus

EIA	Electronics Industry Association

EN 	CEN and CENELEC standards are designated with the prefix EN

EN 50170	General purpose field communication systems. Includes P-Net, Profibus-DP/FMS/PA, WorldFIP, Foundation Fieldbus, and ControlNet.

EN 50254	High-efficiency communication subsystem for small data packages. Includes Interbus, Profibus-DP subset, and WorldFIP subset.

EN 50295	Low-voltage switchgear and controlgear- controller and device interface systems- actuator sensor interface (AS-I).

EN 50325	Industrial communication subsystem based on ISO 11898 (CAN) for controller-device interfaces. Includes DeviceNet and SDS.

EN 61491	SERCOS

IEC	International Electrotechnical Commission

IEC 1158-2	Specification for intrinsically safe operation

IEC 61158	Digital data communications for measurement and control- Fieldbus for use in industrial control systems

IEC 61491	SERCOS

IEC 62026	Control circuit devices and switching elements for low-voltage switchgear and controlgear. Includes AS-I, DeviceNet, LonTalk, SDS, and Seriplex.

IEC SC65C	IEC Subcommittee responsible for IEC 61158 (Fieldbus).

IEEE 802.2	Ethernet

IEEE 802.3u	Request for Change (RFC) for TCP/IP and UDP, in support of Foundation Fieldbus HSE

ISA	Instrumentation, Systems, and Automation Society

ISA SP50	ISA Subcommittee responsible for ANSI/ISA-S50.02 (Fieldbus).

ANSI/ISA-S50.02	Fieldbus Standard for use in Industrial Control Systems. U. S. equivalent of ISO 61158.

ISO	International Organization for Standardization

ISO 7498	Open Systems Interconnect (OSI) 7-layer model for communication

ISO 9506	Manufacturing Messaging Specification (MMS), used by Profibus-FMS.

ISO 11519	DeviceNet

ISO 11898	Road vehicles- interchange of digital information- controller area network (CAN) for high-speed communication. Defines physical and transport layers. DeviceNet, SDS, and CANOpen add application layer.

### Acknowledgments

A special thanks goes to Bill Rippey for meticulously reviewing and revising this document.

### Disclaimer

No approval or endorsement of any commercial product by the National Institute of Standards and Technology is intended or implied. Certain commercial equipment, instruments, or materials are identified in this report in order to facilitate understanding. Such identification does not imply recommendation or endorsement by the National Institute of Standards and Technology, nor does it imply that the materials or equipment identified are necessarily the best available for the purpose mentioned.

This publication was prepared by United States Government employees as part of their official duties and is, therefore, a work of the U.S. Government and not subject to copyright.