Project Number:  AW 2226

Contract Number:  TW-0681

Date:  May 5, 1995

SPECIAL SPECIFICATION

SECTION 01400

QUALITY ASSURANCE PROGRAM

Page

PART 1 - GENERAL

1.01	Description of Work ............................................................................	2

1.02	Submittals .......................................................................................	2

PART 2 - EXECUTION

2.01	Pre-Construction ................................................................................	3

2.02	Construction .....................................................................................	4

2.03	Progress Payments .............................................................................	4

SPECIAL SPECIFICATION

SECTION 01400

QUALITY ASSURANCE PROGRAM

PART 1 - GENERAL

1.01	DESCRIPTION OF WORK

The quality of the construction will be a top priority for Sandia National Laboratories (SNL).  Quality will be a primary consideration during the construction inspection and acceptance of this project.  This specification describes specific requirements of the Contractor for the assurance of a quality finished product.

1.02	SUBMITTALS

A.	Quality Assurance Program:  Contractor shall submit for review within twenty days of the notice to proceed, a written quality assurance program which will be implemented on this project.  As a minimum, the following items shall be addressed in this program.

1.	Quality Control Officer:  An individual shall be identified as the Contractor's primary quality control officer (QCO).  The QCO's primary concern shall be the quality of construction on this project.  He/she shall attend the various progress meetings and report to the project team.

2.	Testing Laboratories:  For any self-performed testing which is required by the Contract documents, the Contractor shall submit for review the proposed testing laboratory as well as literature on the firm and qualifications.

3.	Program Outline:  Address the proposed means and methods of compliance with each requirement of this specification.

PART 2 - EXECUTION

2.01	PRE-CONSTRUCTION

A.	Document Review:  Contractor shall conduct a thorough review of the Contract documents and submit questions on any areas of incompleteness, discrepancies or problems with understandability.

B.	Pre-Construction Meetings:  Contractor shall conduct pre-construction meetings with all subContractors and major suppliers to discuss quality control.

C.	Document Control:  Contractor shall establish a method of controlling Contract documents, shop drawings, etc. to insure all subContractors have complete and up-to-date documents.

D.	Testing Laboratories:  Contractor shall meet with the various testing laboratories (both Contractor-furnished and SNL-furnished) to establish acceptable procedures to be followed during the testing specified by the Contract documents.

2.02	CONSTRUCTION

A.	Quality Assurance Reporting:  Quality control shall be discussed during weekly meetings with the SNL construction team and the Contractor.  Current and potential problems will be addressed and documented.  Good craftsmanship will also be recognized.  This meeting will be used to reinforce the project goals for quality control.

B.	SubContractor Meetings:  Contractor shall conduct regular meetings with their subContractors.  Quality control will be discussed as a part of these meetings with topics similar to those in paragraph 2.02 A, above.

C.	Layout:  Contractor shall establish a method for controlling proper lines and grade for the entire project.

D.	Submittals:  Contractor shall establish a system to ensure that submittals are received in a timely fashion so as to not impact the construction schedule.  Contractor shall thoroughly review and coordinate submittals prior to forwarding to SNL for approval.  This review shall include verification of specification requirements as well as field conditions and dimensions.

E.	Value Engineering:  SNL will be open to suggestions from the Contractor for better, more economical, or faster methods to achieve the design intent.  During the construction, Contractor should submit any value engineering suggestions to SNL for consideration.

F.	As-Builts:  Contractor shall keep a marked-up set of drawings current on the project depicting the actual job conditions as constructed.  These drawings will be reviewed on a periodic basis and must be current for monthly payment application approval.

G.	Clean-Up:  A clean jobsite not only makes a safer workplace, but also reflects an attitude of quality.  General Contractor shall develop and implement an acceptable clean-up program and modify it as needed during the construction to maintain superior housekeeping.

2.03	PROGRESS PAYMENTS

Failure to comply with the terms of this specification can result in delays of monthly payment applications.

PART 3 - EXECUTION

Not Used

END OF SECTION