LANSCE Division

Hazard Control Plan Cover Sheet

| Handling of Special 99Tc Samples at WNR 4FP30R |
| --- |
| LANSCE-3 HCP-17 | Revision: 0 | Date:11/21/00 |
| Location of Work: TA-53/ WNR |  | Group: LANSCE-3 |
| Authors: | Signature | Date |
| Robert Haight/H855/7-2829 |  | 11/21/00 |

| Initial Risk Level: Medium |
| --- |
| REVIEW/APPROVAL |
| Concurrence by: |  |  |
| Bruce Takala (LANSCE-3) |  |  |
| Mike Duran (ESH-1) |  |  |
| Floyd Gallegos (LANSCE-6) |  |  |

| Residual Risk Level: low |
| --- |
| Approved by: | Signature | Date |
| Steve Wender (L-3 GL) |  |  |
| Next Authorization Review Date: 11/21/2001 |

Handling of Special 99Tc Samples at WNR 4FP30R:

Work definition:

This Hazard Control Plan (HCP) outlines hazards and safe procedures for handling of special  samples of 99Tc to be used on WNR Flight Path 30 Right  (4FP30R) TA-53, MPF-29, Room 101.  The work involves mounting and dismounting and extended use of encapsulated 99Tc samples with thin aluminum windows.  These samples will be irradiated in the WNR neutron beam for nuclear physics experiments.  Other measurements may also be made on the samples such as gamma-ray attenuation measurements. All of this work is to be conducted under the LANSCE/FMU61 Facility Safety Plan.

Potential hazards:

##### 99Tc Release

(A)  Unmonitored release and subsequent contamination of personnel and equipment with 99Tc is a concern during shipping and storage of these samples.  This could occur due to the unexpected failure of the encapsulation seals, or damage to the Al windows.

(B) Release of 99Tc during use in the experiment and subsequent contamination of personnel and equipment due to encapsulation damage from mechanical shock or unexpected failure of the seals.

The primary concern with a 99Tc sample is a breach of the containment causing exposure of personnel to 99Tc, a radiotoxin. The ingestion or inhalation of 99Tc are the prime dangers.  Although these samples are metal powder, 99Tc readily oxidizes on exposure to air, and the oxide tends to separate from the metal and can easily spread.

Initial Risk:

The initial risk posed by the quantities of the encapsulated metallic 99Tc in powder form in these samples as a radiological poison is estimated as “medium”.

Operational requirements:

LPR402-719.0 and LPR402-719.01.1 (Radiation Protection/Workplace Monitoring), LIR402-702-0 and LIR402-702-01.1 (Radiation Protection/ALARA) LIR402-713-0 and LIR402-713-01.1 (Radiation Protection/Radiation Hazard Communication) and LPR402-717.0 (Radiation Protection/Storage and Labeling) apply to the operations described here and have been used as guidance in developing this HCP.

Controls:

Engineering controls:  The encapsulations of these samples, designed to prevent the release and spread of the 99Tc material, are the primary controls that reduce the hazard of working with them. The thin Al windows of the encapsulations that are necessary for the success of the planned experiments are the most sensitive part of the encapsulation (see the sample description below).

Sample Handling and Monitoring:

To minimize the chance for exposure to 99Tc in the event of a failure of the sample encapsulation, and to minimize the chance of an encapsulation breach, the following procedures must be followed:

Experiment procedures:

(A-1) After transportation or storage exceeding 1 month, the sealed containers holding the samples will be opened only under ESH-1 supervision with the container inside a sealed glovebag and using an beta particle detector to determine if the sample is leaking.  The glovebag is intended to prevent the spread of contamination should a leak have occurred.   A log of transportation and storage times will be kept with the samples.

(A-2) During the regular workweek and on weekends and holidays as practicable, the samples will be visually inspected once per day for any changes while in use.   A log of inspections will be kept with the samples.

(A-3)  A plastic bag will be used to cover and protect the samples and to substantially reduce the possibility of dispersing the small surface contamination of the samples.

(A-4) When not in use in an experiment (with or without beam) the sample, with the plastic bag in place, will be returned to its container and returned to a LANSCE-3 locked file or cabinet posted for storage of radioactive materials.  Currently this storage includes the radioactive materials storage cabinet in the “sun room” of MPF-7 and the safe in MPF-37.

(A-5) The sample will not be exposed to other than usual atmospheric pressure and ambient temperatures.

(A-6) The sample will be mounted on a rigid holder that is securely fastened so that the sample cannot fall while in the target position.

(A-7) A net or other appropriate material will be installed below the sample mounting position to catch the sample if it should be dropped inadvertently during mounting.

(A-8) No work that might damage the sample will be performed while the sample is in place.  Routine maintenance on the LN2 system does not ordinarily pose a threat to the sample.

(A-9)  A continuous air monitor (CAM) will be used when the sample is at the experimental station, 30-Degrees Right flight path, at WNR, MPF-29.   The CAM alarm will be wired to CCR.   If there is any release of radioactivity, the CAM will be an indicator of the problem.

Dosimetry Requirements:

All authorized users must wear a TLD badge when using these samples.

Protective clothing requirements:

Gloves must be worn when handling the sample.  If no contamination is suspected, gloves should be disposed of in the special green waste container, the contents of which will be monitored for radioactivity before final disposal.  If contamination is anticipated, consult with ESH-1 and the LANSCE Waste Coordinator for disposal as radioactive waste.

Required Knowledge Skills & Abilities:

Only designated personnel, listed in Appendix A, will be allowed to mount, dismount or handle the samples.  Radworker II training is required to handle the samples. The designated personnel must have read and must follow the procedures in this HCP.

Posting:

A copy of this HCP will be posted at the entrances to Room 101 of MPF-29 and at the WNR 4FP30R cave entrance while the samples are in use.  A copy will be supplied to CCR.  ESH-1 and LANSCE-FM may determine other locations where the HCP should be posted. When in use, a sign must be posted on the door to Room 101 of MPF-29 and at the WNR 4FP30R cave entrance indicating the presence of 99Tc samples.  This sign is to help remind workers and visitors to the area to heed alarms.

EMERGENCY PROCEDURES:

Breach of Containment:

If the 99Tc sample is dropped or otherwise mechanically shocked, or there is reason to suspect that the sample is leaking, all personnel should leave the building immediately and ESH-1 (667-7069) should be called to monitor the sample.

(1) If there is a suspected breach of the containment due to an accident or other unusual occurrence, the CCR operator (7-5729) should be informed and asked to follow this emergency procedure.  Personnel in the room at the time of any such occurrence should evacuate the room immediately.  If possible, the ventilation system should be shut off by the switch at the unit outside MPF-29.

(2) A CCR operator will call ESH-1 personnel and inform them that there is a CAM alarm in MPF-29.  CCR will then call one of the following people and notify them of the situation.

Office	Home		Pager

Bob Haight          667-2929, 983-8876, 104-2829 (digital)

Matt Devlin		665-0421, 663-1042,	104-5776 (digital)

Steve Wender		667-1344, 983-3634, 104-2185 (voice)

Bruce Takala		665-2029, 662-6974, 104-8827 (digital)

(3) When ESH-1 personnel arrive, all evacuated personnel will be monitored for contamination, and released if no contamination is found, but must not reenter MPF-29 until allowed by ESH-1.

(4) If no contamination is found on personnel, then ESH-1 will enter MPF-29 wearing protective clothing and survey for contamination.

(5) If no contamination is found outside the experimental cave, then authorized personnel (Appendix A) will close the shutter if necessary and allow ESH-1 to monitor the experimental cave for contamination.

(6) If no contamination is found in the cave, then authorized personnel (Appendix A) will remove the sample for examination.  If no contamination is found and the CAM is working properly, then normal operations may be resumed.

(7) If contamination is found, then ESH-1 will post barricades and signs prohibiting entrance to the affected area except under ESH-1 supervision.  Only ESH-1 will remove the signs and barricades.

(8) If contamination is found, the CCR operator will be notified and the operator will inform the LANSCE facility manager and safety officer and call the responsible WNR staff member.

(9) After safe procedures have been determined and approved by the LANSCE facility safety officer and ESH-1, experiment personnel will secure the sample and clean up all contamination.  ESH-1 will monitor and support this cleanup operation.

(10) The WNR Area Manager in consultation with ESH-1 will determine when normal operations may be resumed.

Fire and Evacuation While 99Tc Sample Is in Use:

(1) Do not attempt to remove sample from the experiment.

(2) If sample was being moved, evacuate building with sample and notify the designated staff member (Bob Haight 667-2829, 104-6842) and the CCR operator (7-5729).  ESH-1 or the designated staff member will assist in obtaining safe storage until the sample can be returned to its designated storage location.

(3) The evacuation will proceed according to the TA-53 Emergency Procedures.

(4) Personnel at the site should remain and inform arriving firemen of the location of the 99Tc sample if it is still in the building.

Wastes:

The only waste generated by using these samples is in the swipes; the samples have been found to swipe at the level of 600 dpm beta activity.  The swipes will be disposed as radioactive waste.  If the samples are no longer needed, transfer or disposal must be arranged according to laboratory procedures.

Residual Risk:

The residual risk of using these samples with implementation of the above engineering and administrative controls is estimated as “low”.

Change Control Process:

This document must be reviewed at least annually.  The latest version will be available on the LANSCE-3 web site, in the LANSCE-3 group office, and a copy will be in MPF-29.

Description of the Samples:

The samples covered by this HCP consist of thin samples of 99Tc metal powder. The two samples that will be used contain respectively 80.18 g (1.35 Ci) and 50.86 g (0.86 Ci) of 99Tc, which is well below the Category 3 level of 100,000g as specified in DOE-STD-1027-92. Schematic drawings of the encapsulations are shown in the Appendices. These samples were obtained from the Institute for Reference Materials and Measurements in Geel, Belgium, where they were used in neutron physics experiments at the GELINA linear accelerator.  In addition to the samples containing 99Tc, dummy samples of the same configuration will also be used.  They consist of the aluminum housing and look very much like the 99Tc samples, but they are empty.  They are labeled “dummy”.

Storage and security:

The samples may be stored in LANSCE-3 areas controlled and posted for the storage of radioactive materials.  Only one sample will be left unattended in the experiment at any given time.

Properties of  99Tc:  99Tc is principally a beta emitter.  There is a very weak gamma-ray branch (~0.001%) at 89.7 keV.  The half-life of  99Tc is 213,000 years.   There are no MSDS sheets on technetium, probably because there is no stable isotope of this element.  The Handbook of Chemistry and Physics says, “Technetium is a silvery-gray metal that tarnishes slowly in moist air.  The chemistry is said to be similar to that of rhenium.”  The MSDS on rhenium contains the information that “dust/air mixtures may ignite or explode”.  Therefore, we consider, in the worst case, that exposure of the 99Tc powder to air might present a small fire hazard.  The hazard is small due to the small amount of material.

Responsible Individuals:

The handling and visual inspection of these 99Tc samples are the responsibilities of authorized personnel from LANSCE-3 who sign this HCP. The LANSCE-3 Group Office is located at TA-53, MPF-1, Room C138, telephone number (505) 667-5377

The designated staff member (Haight) is responsible for safe operation of WNR Flight Path 30R and maintenance of this HCP. The staff member will be the primary contact for users of the flight path and safety personnel. Additional personnel from LANSCE-3 and collaborators, as listed in Appendix A, also will be responsible for handling of these samples. ALL users of Flight Path 30R, as well as visitors, are responsible for following the applicable procedures outlined in this HCP. .  Group Management and other personnel are listed in Appendix B.

Attachment

APPENDIX A

Authorized Sample Handlers

When the following have read, understood, and signed this HCP, they are authorized to handle the samples in accordance with the procedures stated here.

Bob Haight (LANL, LANSCE-3) 667-2829, 983-8876, 104-6842 (digital)

Luca Zanini (LANL, LANSCE-3) 665-3019, 661-8876, 104-5328 (digital)

Matt Devlin (LANL, LANSCE-3) 665-0421, 663-1094, 104-5776 (digital)

Gregg Chaparro (LANL, LANSCE-3) 665-2861, 104-8734/104-3023 (digital)

Lloyd Hunt (LANL, LANSCE-3) 665-6300, 104-8738 (digital)

Art Bridge (LANL, LANSCE-3) 665-4124, 104-2469 (digital)

And others on the attached list who have completed the required training and signed the list.

APPENDIX B

A list of associated personnel is given below:

LANSCE-3 Group Leader:

Steve Wender		667-1344, pager 104-2185, home 983-3634

LANSCE-3 WNR Area Manager:

Bruce Takala		665-2029, pager 104-8827

Staff members:

Bob Haight (LANSCE-3)667-2829, pager 104-6842, home 983-8876

Matt Devlin (LANSCE-3)665-0421, pager 104-5776, home 663-1094

Postdoctoral staff member:

Luca Zanini(LANSCE-3)665-3019, pager 104-5328, home 661-8876

Technician:

Gregg Chaparro (LANSCE-3) 665-2861, pager 104-3023

Lloyd Hunt (LANSCE-3) 665-6300, pager 104-8738

LANSCE-3 Nuclear Materials Custodian:

Art Bridge			665-4124, pager 104-2469

By signing below Sample Handlers certify that they have read and understood this HCP and meet the training and clearance requirements specified:

_________________________________________________________________

Bob Haight (LANSCE-3)				Date

_________________________________________________________________

Luca Zanini (LANSCE-3)	 			Date

_________________________________________________________________

Matt Devlin (LANSCE-3) 				Date

_________________________________________________________________

Gregg Chaparro (LANSCE-3) 			Date

_________________________________________________________________

Lloyd Hunt (LANSCE-3) 				Date

_________________________________________________________________

Art Bridge (LANSCE-3) 				Date