November 21, 1997

Contract  # TW-0928November 16, 1994

SPECIAL SPECIFICATION

SECTION  05521-S

PIPE AND TUBE RAILINGS

Page

PART 1 - GENERAL

1.01 	Summary	2

1.02 	Performance Requirements	2

1.03 	Submittals	3

1.04 	Quality Assurance	4

1.05 	Project Conditions	4

PART 2 - PRODUCTS

2.01 	Metals	5

2.02 	Welding Materials, Fasteners, and Anchors	5

2.03 	Paint	6

2.04	Grout	6

2.05	Fabrication	7

2.06	Finishes, General	8

2.07 	Steel Finishes	9

PART 3 - EXECUTION

3.01 	Preparation 	10

3.02	Installation, General	10

3.03 	Railing Connections	11

3.04 	Attaching Handrails to Walls	11

3.05 	Adjusting and Cleaning	12

3.06   	Protection	12

SPECIAL SPECIFICATION

SECTION 05521-S

PIPE AND TUBE RAILINGS

PART 1 - GENERAL

1.01	SUMMARY

A.	This Section includes steel pipe and tube handrails and railing systems.

B.	Related Sections:

1.	Division 5 Section "Metal Stairs" for steel pipe handrails and railing systems included with metal stairs.

2.	Division 9 Section “Painting.”

1.02	PERFORMANCE REQUIREMENTS

A.	General:  In engineering handrail and railing systems to withstand structural loads indicated, determine allowable design working stresses of materials based on the following:

1.	Cold-Formed Structural Steel:  AISI "Specification for the Design of Cold-Formed Steel Structural Members."

B.	Structural Performance of Handrails and Railing Systems:  Engineer, fabricate, and install handrails and railing systems to comply with requirements of ASTM E 985 for structural performance.

1.	   Structural computations.

C.	Structural Performance of Handrails and Railing Systems:  Engineer, fabricate, and install handrails and railing systems to withstand the following structural loads without exceeding the allowable design working stress of the materials for handrails, railing systems, anchors, and connections.  Apply each load to produce the maximum stress in each of the respective components comprising handrails and railing systems.

1.	Top Rail of Guardrail Systems:  Capable of withstanding the following loads applied as indicated:

Concentrated load of 200 lbf applied at any point and in any direction.

Uniform load of 50 lbf per linear foot applied horizontally and concurrently with uniform load of 100 lbf per linear foot applied vertically downward.

c.	Concentrated and uniform loads above need not be assumed to act concurrently.

2.	Handrails Not Serving as Top Rails:  Capable of withstanding the following loads applied as indicated:

Concentrated load of 200 lbf applied at any point and in any direction.

Uniform load of 50 lbf per linear foot applied in any direction.

c.	Concentrated and uniform loads above need not be assumed to act concurrently.

3.	Infill Area of Guardrail Systems:  Capable of withstanding a horizontal concentrated load of 200 lbf applied to 1 sq. ft. at any point in the system including panels, intermediate rails, balusters, or other elements composing the infill area.

a.	Above load need not be assumed to act concurrently with loads on top rails of railing systems in determining stress on guard.

D.	Thermal Movements:  Allow for thermal movement resulting from the following maximum change (range) in ambient temperature in engineering, fabricating, and installing handrails and railing systems to prevent buckling, opening of joints, overstressing of components and connections, and other detrimental effects.  Base engineering calculation on actual surface temperatures of materials due to both solar heat gain and nighttime sky heat loss.

1.	Temperature Change (Range):  120 deg F ambient 180 deg F material 	surfaces.

E.	Control of Corrosion:  Prevent galvanic action and other forms of corrosion by insulating metals and other materials from direct contact with incompatible materials.

1.03	SUBMITTALS

A.	Submit according to provisions of  Section 01300.

B.	Product data for mechanically connected handrails and railing systems, each kind of fitting, grout, anchoring cement, and paint products.

C.	Shop drawings showing fabrication and installation of handrails and railing systems including plans, elevations, sections, details of components, and attachments to other units of Work.

1.	For installed handrails and railing systems indicated to comply with certain design loadings, include structural analysis data sealed and signed by the qualified professional engineer who was responsible for their preparation.

1.04	QUALITY ASSURANCE

A.	Single-Source Responsibility:  Obtain handrails and railing systems of each type and material from a single manufacturer.

B.	Engineer Qualifications:  Professional engineer legally authorized to practice in the state of New Mexico and experienced in providing engineering services of the kind indicated for handrails and railing systems similar to this Project in material, design, and extent, and that have a record of successful in-service performance.

1.05	PROJECT CONDITIONS

A.	Field Measurements:  Where handrails and railing systems are indicated to fit to other construction, check actual dimensions of other construction by accurate field measurements before fabrication; show recorded measurements on final shop drawings.  Coordinate fabrication schedule with construction progress to avoid delaying the Work.

PART 2 - PRODUCTS

2.01	METALS

A.	General:  Provide metals free from surface blemishes where exposed to view in the finished unit.  Exposed-to-view surfaces exhibiting pitting, seam marks, roller marks, stains, discolorations, or other imperfections on finished units are not acceptable.

B.	Steel and Iron:  Provide steel and iron in the form indicated, complying with the following requirements:

1.	Steel Pipe:  ASTM A 53; finish, type, and weight class as follows:

a.	Black finish.

b.	Galvanized finish for exterior installations and where indicated.

c.	Type F, or Type S, Grade A, standard weight (schedule 40), or another 	weight, type, and grade required by structural loads.

2.	Steel Tubing:  Product type (manufacturing method) and other requirements as follows:

a.	   Hot-Formed Steel Tubing:  ASTM A 501.

Steel Plates, Shapes, and Bars:  ASTM A 36.

Gray Iron Castings:  ASTM A 48, Class 30.

5.	Malleable Iron Castings:  ASTM A 47, Grade 32510.

C.	Brackets, Flanges, and Anchors:  Cast or formed metal of the same material and finish as supported rails.

2.02	WELDING MATERIALS, FASTENERS, AND ANCHORS

A.	Welding Electrodes and Filler Metal:  Provide type and alloy of filler metal and electrodes as recommended by producer of metal to be welded and as required for color match, strength, and compatibility in fabricated items.

B.	Fasteners for Anchoring Railings to Other Construction:  Select fasteners of the type, grade, and class required to produce connections that are suitable for anchoring railings to other types of construction indicated and capable of withstanding design loadings.

C.	Fasteners for Interconnecting Railing Components:  Use fasteners of same basic metal as the fastened metal.  Do not use metals that are corrosive or incompatible with materials joined.

D.	Cast-in-Place and Postinstalled Anchors:  Anchors of type indicated below, fabricated from corrosion-resistant materials, capable of sustaining, without failure, a load equal to 6 times the load imposed when installed in unit masonry and equal to 4 times the load imposed when installed in concrete.

2.03	PAINT

A.	Shop Primer for Ferrous Metal:  Fast-curing, lead- and chromate-free, universal modified-alkyd primer, selected for good resistance to normal atmospheric corrosion, compatibility with finish paint systems indicated, and capability to provide a sound foundation for field-applied topcoats despite prolonged exposure, complying with performance requirements of FS TT-P-664.

B.	Bituminous Paint:  Cold-applied asphalt mastic complying with SSPC-Paint 12, except containing no asbestos fibers.

2.04	GROUT

A.	Nonshrink, Nonmetallic Grout:  Premixed, factory-packaged, nonstaining, noncorrosive, nongaseous grout complying with ASTM C 1107.  Provide grout specifically recommended by manufacturer for interior and exterior applications.

B.	Products:  Provide one of the following:  Substitutions only in accordance with Specification 1600.

1.	Nonshrink, Nonmetallic Grouts:

a.	B-6 Construction Grout; W.R. Bonsal Co.

b.	Sure-grip High Performance Grout; Dayton Superior Corp.

c.	Euco N-S Grout; Euclid Chemical Co.

d.	Five Star Grout; Five Star Products.

e.	Crystex; L & M Construction Chemicals, Inc.

f.	Masterflow 928 and 713; Master Builders Technologies, Inc.

g.	Sealtight 588 Grout; W.R. Meadows, Inc.

h.	Sonogrout 14; Sonneborn Building Products--ChemRex, Inc.

2.05	FABRICATION

A.	General:  Fabricate handrails and railing systems to comply with requirements indicated for design, dimensions, details, finish, and member sizes, including wall thickness of hollow members, post spacings, and anchorage, but not less than those required to support structural loads.

B.	Assemble handrails and railing systems in the shop to the greatest extent possible to minimize field splicing and assembly.  Disassemble units only as necessary for shipping and handling limitations.  Clearly mark units for reassembly and coordinated installation.  Use connections that maintain structural value of joined pieces.  Clearly mark units for reassembly and coordinated installation.

C.	Form changes in direction of members as follows:

1.	  By insertion of prefabricated flush elbow fittings.

D.	Welded Connections:  Fabricate handrails and railing systems for connection of members by welding.  For connections made during fabrication, weld corners and seams continuously to comply with the following:

1.	Use materials and methods that minimize distortion and develop strength and corrosion resistance of base metals.

2.	Obtain fusion without undercut or overlap.

3.	Remove welding flux immediately.

4.	At tee and cross intersections, cope ends of intersecting members to fit contour of pipe or tube to which end is joined, and weld all around.

5.	At exposed connections, finish exposed welds and surfaces smooth and blended so that no roughness shows after finishing and welded surface matches contours of adjoining surfaces.

E.	Nonwelded Connections:  Fabricate handrails and railing systems by connecting members with railing manufacturer's standard concealed mechanical fasteners and fittings.  Fabricate members and fittings to produce flush, smooth, rigid, hairline joints.

1.	Fabricate splice joints for field connection using epoxy structural adhesive where this represents manufacturer's standard splicing method.

F.	Brackets, Flanges, Fittings, and Anchors:  Provide manufacturer's standard wall brackets, flanges, miscellaneous fittings, and anchors to interconnect handrail and railing system members to other construction.

G.	Provide inserts and other anchorage devices to connect handrails and railing systems to concrete or masonry work.  Fabricate anchorage devices capable of withstanding loads imposed by handrails and railing systems.  Coordinate anchorage devices with supporting structure.

H.	For railing posts set in concrete, provide preset sleeves of steel, not less than 6 inches long with inside dimensions not less than 1/2 inch greater than outside dimensions of post, and steel plate forming bottom closure.

I.	Shear and punch metals cleanly and accurately.  Remove burrs from exposed cut edges.

J.	Ease exposed edges to a radius of approximately 1/32 inch.  Form bent-metal corners to the smallest radius possible without causing grain separation.

K.	Cut, reinforce, drill, and tap components, as indicated, to receive finish hardware, screws, and similar items.

L.	Provide wall returns at ends of wall-mounted handrails.

M.	Fillers:  Provide steel sheet or plate fillers, of thickness and size indicated or required to support structural loads of handrails, where needed to transfer wall bracket loads through wall finishes to structural supports.  Size fillers to suit wall finish thicknesses to produce adequate bearing to prevent bracket rotation and overstressing substrate.

2.06	FINISHES, GENERAL

A.	Comply with NAAMM "Metal Finishes Manual" for recommendations relative to applying and designating finishes.

B.	Protect mechanical finishes on exposed surfaces from damage by applying a strippable, temporary protective covering prior to shipment.

C.	Appearance of Finished Work:  Variations in appearance of abutting or adjacent pieces are acceptable if they are within one half of the range of approved samples.  Noticeable variations in the same piece are not acceptable.  Variations in appearance of other components are acceptable if they are within the range of approved samples and they are assembled or installed to minimize contrast.

D.	Provide exposed fasteners with finish matching appearance, including color and texture, of handrails and railing systems.

2.07	STEEL FINISHES

A.	Galvanized Finish:  Hot-dip galvanize items indicated to be galvanized to comply with applicable standard listed below:

1.	ASTM A 153 for galvanizing iron and steel hardware.

2.	ASTM A 123 for galvanizing iron and steel products made from rolled, pressed, and forged steel shapes, castings, plates, bars, and strips.

B.	Fill vent and drain holes that will be exposed in the finished Work, unless indicated to remain as weep holes, by plugging with zinc solder and filing off smooth.

C.	For nongalvanized steel handrails and railing systems, provide nongalvanized ferrous metal fittings, brackets, fasteners, and sleeves, except provide galvanized anchors where embedded in exterior masonry and concrete construction.

D.	Preparation for Shop Priming:  After galvanizing, thoroughly clean railings of grease, dirt, oil, flux, and other foreign matter, and treat with metallic phosphate process.

1.	Interiors (SSPC Zone 1A):  SSPC-SP 7 "Brush-Off Blast Cleaning."

E.	Apply shop primer to prepared surfaces of handrails and railing components, .  Comply with requirements of SSPC-PA 1 "Paint Application Specification No. 1" for shop painting.  Primer need not be applied to surfaces to be embedded in concrete or masonry.

1.	Do not apply primer to galvanized surfaces.

2.	Stripe paint all edges, corners, crevices, bolts, welds, and sharp edges.

PART 3 - EXECUTION

3.01	PREPARATION

A.	Coordinate setting drawings, diagrams, templates, instructions, and directions for installing anchorages, such as sleeves, concrete inserts, anchor bolts, and miscellaneous items having integral anchors, that are to be embedded in concrete or masonry construction.  Coordinate delivery of such items to Project site.

3.02	INSTALLATION, GENERAL

A.	Fit exposed connections accurately together to form tight, hairline joints.

B.	Cutting, Fitting, and Placement:  Perform cutting, drilling, and fitting required for installing handrails and railing systems.  Set handrails and railing systems accurately in location, alignment, and elevation, measured from established lines and levels and free from rack.

1.	Do not weld, cut, or abrade surfaces of handrails and railing components that have been coated or finished after fabrication and are intended for field connection by mechanical or other means without further cutting or fitting.

2.	Align rails so that variations from level for horizontal members and from parallel with rake of steps and ramps for sloping members do not exceed 1/4 inch in 12 feet.

C.	Field Welding:  Comply with the following requirements:

1.	Use materials and methods that minimize distortion and develop strength and corrosion resistance of base metals.

2.	Obtain fusion without undercut or overlap.

3.	Remove welding flux immediately.

4.	At exposed connections, finish exposed welds and surfaces smooth and blended so that no roughness shows after finishing, and welded surface matches contours of adjoining surfaces.

D.	Corrosion Protection:  Coat concealed surfaces of aluminum that will come into contact with grout, concrete, masonry, wood, or dissimilar metals with a heavy coat of bituminous paint.

E.	Adjust handrails and railing systems prior to anchoring to ensure matching alignment at abutting joints.  Space posts at interval indicated but not less than that required by design loadings.

F.	Fastening to In-Place Construction:  Provide anchorage devices and fasteners where necessary for securing handrails and railing systems and for properly transferring loads to in-place construction.

3.03	RAILING CONNECTIONS

A.	Nonwelded Connections:  Use mechanical joints for permanently connecting railing components.  Locate exposed fasteners in least conspicuous locations.  Seal recessed holes of exposed locking screws with plastic filler, cement colored to match finish of handrails and railing systems.

B.	Welded Connections:  Use fully welded joints for permanently connecting railing components by welding.  Cope or butt components to provide 100 percent contact, or use fittings designed for this purpose.

C.	Expansion Joints:  Install expansion joints at locations indicated but not further apart than required to accommodate thermal movement.  Provide slip-joint internal sleeve extending 2 inches beyond joint on either side; fasten internal sleeve securely to one side; locate joint within 6 inches of post.

3.04	ATTACHING HANDRAILS TO WALLS

A.	Attach handrails to wall with wall brackets and end fittings.  Provide bracket with 1-1/2-inch clearance from inside face of handrail to finished wall surface.

B.	Locate brackets as indicated or, if not indicated, at spacing required to support structural loads.

C.	Secure wall brackets and wall return fittings to building construction as follows:

1.	Use type of bracket with flange tapped for concealed anchorage to threaded hanger bolt.

2.	For concrete and solid masonry anchorage, use drilled-in expansion shield and either concealed hanger bolt or exposed lag bolt, as applicable.

3.	For hollow masonry anchorage, use toggle bolts with square heads.

4.	For steel-framed gypsum board assemblies, fasten brackets directly to steel framing or concealed anchors using self-tapping screws of size and type required to support structural loads.

3.05	ADJUSTING AND CLEANING

A.	Clean the following metals by washing thoroughly with clean water and soap, followed by rinsing with clean water.

B.	Touchup Painting:  Immediately after erection, clean field welds, bolted connections, and abraded areas of shop paint, and paint exposed areas with same material.

C.	For Galvanized Surfaces:  Clean field welds, bolted connections, and abraded areas and apply galvanizing repair paint to comply with ASTM A 780.

3.06	PROTECTION

A.	Protect finishes of handrails and railing systems from damage during construction period with temporary protective coverings approved by railing manufacturer.  Remove protective coverings at time of Substantial Completion.

B.	Restore finishes damaged during installation and construction period so that no evidence remains of correction work.  Return items that cannot be refinished in the field to the shop; make required alterations and refinish entire unit, or provide new units.

END OF SECTION