RNase I Treatment

Version Number:		1.2

Production Start Date:		10/30/06

Version 1.2 Date:		1/17/07

Author(s):			Eileen Dalin

Reviewed/Revised by:		Name(s)

# Summary

RNase I treatment is used for the removal of RNA from genomic DNA samples.  RNase I converts single stranded RNA to mononucleoside 3’monophosphates.  If the genomic DNA sample contains RNA it can cause problems with DNA cloning.

# Materials & Reagents

| Materials/Reagents/Equipment | Vendor | Stock Number |
| --- | --- | --- |
| Disposables |  |  |
| 1.5ml Microcentrifuge tubes |  |  |
| Reagents |  |  |
| RNase I | Lucigen | 30104-1,2 |
| 3M Sodim Acetate | Ambion |  |
| 100% Ethanol |  |  |
| GenePure LE Agarose (Generates) | ISC BioExpress | E-3120-500 |
| 50X TAE Buffer | Invitrogen | 24710-030 |
| TE Buffer pH8.0 | Ambion | 9849 |
| Equipment |  |  |
| Centrifuge 40C |  |  |
| Heating block 700C |  |  |
| Heating block 370C |  |  |
| Gel Box |  |  |

# Procedure

1. RNase I Treatment

  - Set-up the following reaction in a 1.5ml microcentrifuge tube (multiple reactions can be done in different tubes):

Note: RNase I - 10U/ul, one unit digests 100 ng of RNA per second

1x

DNA (in H20)	170ul

10X RNase I buffer	20ul

RNase I 	10ul

200ul

  - Mix & Spin down.

  - Incubate tube @ 370C for 1 hr.

Checkpoint: Check a small aliquot (5ul) on an agarose gel with a no treatment control.  Run gel 10-15 min.  If there is only a trace of RNA, proceed with next step, heat inactivation.  If large amounts of RNA are still present, add another 10ul of RNase I and repeat the incubation.

  - Heat inactivate enzyme at 700C for 15 min.

  - Place tube on ice to cool.

2. Ethanol Precipitation

  - Add 1/10 volume of 3M Sodium Acetate to your sample.

  - Add 2.5 volumes of 100% ethanol.

  - Mix and spin down sample.

  - Place at -800C for 30 min (-200C overnight).

  - Spin sample at 40C for 20 min to pellet DNA.

  - Carefully, pour off supernatant.

  - Wash pellet with 700C ethanol (cold).

  - Spin sample at 40C for 3-5 min.

  - Pull off all ethanol with pipet tip.

  - Vacuum dry pellet for 5 min using no heat.

  - Resuspend pellet with 100ul of TE.

  - If multiple reactions, combine them.

  - Store DNA @-800C or -200C.