| AES Sparrows Point LNG, LLC and Mid-Atlantic Express, L.L.C. Docket No. PF06-22-000 FERC’s Comments on Draft Resource Report 2, dated 5 December 2006 (DR2) |
| --- |
| DR No. | DR1 Item | RR 2 Section: Comment | How Comment Was Addressed | Responses Located in Section Number |
| DR2 | 5 | 2.3: Provide a list of any springs within 150 feet of proposed construction areas. A table has been created to present this information, however we cannot find a reference in the RR directing the reader to the Table; check and correct. | Section 2.3.5 states the following: “Additionally, based on a review of the USGS National Hydrography Dataset and a field survey, there are no springs that occur within 150 feet of the proposed construction right-of-way. The well owners, locations and distance from the Pipeline centerline are shown in Table 2.3-1” | Section 2.3.5 Table 2.3-1 |
| DR2 | 6 | 2.3: Indicate if construction through the Strasburg Landfill would affect the stability of the “current conditions at this site” (i.e., would construction affect the control measures currently in place for remediation at the site). This comment has not been fully addressed. There is more information about the Stasburg site, but the question of affecting stability has not been directly answered. | The text has been updated to clarify that the pipeline route will not go through the landfill and will not affect control measures, landfill stability, or maintenance of the closure systems of the landfill, such as landfill cap, water control, monitoring wells or similar. | Section 2.3.3 |
| DR2 | 8 | 2.3.3: Provide details of the proposed geotechnical design investigation and environmental monitoring program and timing of when it will be prepared and submitted to the FERC. Indicate whether it would be completed for inclusion in the application. Comment addressed in Section 2.3.6, on page 8. AES has committed to performing the design-stage geotechnical investigation “at or following the time of Commission approval of the Project.” We believe that geotechnical information is needed for review in the final environmental impact statement (FEIS) to adequately determine potential impacts, mitigation measures, and if needed, reroutes around unstable areas. If this information cannot be provided for review in the FEIS, indicate why AES can’t get this information until a later date and give reasons why AES believes that construction in these areas can be successfully performed. | A discussion of the existing geologic data and the proposed investigation has been included in Section 2.3.6 | Section 2.3.6 |
| DR2 | 14 | 2.4.3.2: AES states that additional sampling will be conducted to fill data gaps and to meet COE criteria for dredged material characterization based upon future coordination with the COE. Indicate when this coordination will occur and indicate a time when the future additional sampling will occur. AES states on page 17 that “Based upon the COE review of the permit application, if it is determined that additional sampling of dredge material is required for specific disposal alternatives, then the COE will be consulted at that time regarding the additional requirements for disposal of the dredge spoil. On page 37 AES states “AES intends to perform additional sampling for inclusion as part of the submission of the COE dredging permit application.” Provide clarification on whether additional sampling will occur. | The discrepancy has been corrected in Section 2.4.8.4 to indicate that based on the COE review of the permit application, if it is determined that additional sampling of dredge material is required for specific disposal alternatives, then the COE will be consulted at that time regarding the additional requirements for disposal of the dredge spoil.. | Section 2.4.3.2 and 2.4.8.4 |
| DR2 | 20 | 2.4.6: Provide a schedule for when the applications to the COE will be filed. Timing for submission of the COE permits is mentioned, but timeframes for submission of other permits is not. Provide the timelines for the other permits. | A reference has been inserted in Section 2.4.6 to Table 1.8-1 which includes the schedule for filing permit applications. | Section 2.4.6 |
| DR2 | 28 | 2.5.2.2: The COE recommends that the reseeding mix for wetlands should also include a native wetland seed mix. Revised text indicates that annual rye will be used as the original nurse crop and the native seed bank will be used to reestablish vegetation. Native seed mixture would only be used in the case of a lack of vegetative development. This does not address the COE’s comments, which suggested that the native seed mix be used with the annual rye. Consult with the appropriate land management agencies regarding the seed mix used in wetlands. | A discussion of the reseeding method including anticipated seed mix has been inserted to address the comment | Section 2.5.2.2 |
| DR2 | MDNR PPRP 3 | General: While Report 2 adequately addresses the impacts to surface and ground water from the construction and operation of the LNG facility and associated gas transmission lines, it does not appear to address impacts associated with water withdrawal. Please address the impacts associated with the withdrawal of 27 mgd from the river. AES committed to addressing the sources of hydrostatic test water and the impacts of such withdrawal in the hydrostatic test plan, to be submitted with the formal application in January 2007. The potential impacts of water withdrawal have not yet been adequately addressed in Section 2.4.5. | A discussion has been included in the AES Pipeline Hydrotesting Plan as Appendix 2E. A discussion of the Tank hydrotest has been included in Section 2.4.5 | Section 2.4.5 |
| DR2 | MDNR PPRP 4 | 2.4.3: Section 2.4.3 discusses contaminated sediments. Results of sediment sampling are listed in Tables 2.4-2a, b, and c. Detection limits for each method should be listed. For PCBs, EPA method 8081A was used; what is the detection limit of this method relative to the effects range medium criterion? Why was a high-resolution PCB method not used for these sediments to establish what the contaminant level is for PCBs? Need to consult with MDNR to see if AES’s response is acceptable. | MDNR concurred that test method 8081A was an appropriate method for the evaluation of recycling the dredged material. A discussion of the results of the consultation with MDNR has been included in Section 2.4.3.2 . | Section 2.4.3.2 Tables 2.4.2a-d |
| DR1 | 2.3 | Provide a reference for the U.S. Environmental Protection Agency (EPA) document or source used to determine if sole source aquifers are present in the vicinity of the Project Area | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section 2.3.1 |
| DR1 | 2.2 | Indicate whether the studies for “areas requiring additional wetland delineation and/or stream data for construction design” or the major waterbody crossing plans would be completed for inclusion in the application. | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section 2.2 |
| DR1 | 2.3 | Provide more specific information on each aquifer underlying the project area including type of aquifer, depth to the aquifer, current and projected use for each aquifer, average yield for each aquifer, and water quality of the aquifer as per the guidance manual. | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section2.3.2 |
| DR1 | 2.3 | The only source given for groundwater contamination is the National Priority List (NPL). The NPL does not consider non-Comprehensive Environmental Response, Compensation, and Liability Act (CERCLA) federal sites such as those regulated under the Resource Conservation & Recovery Act (RCRA), or state-lead sites. Review other sources of information such as the Comprehensive Environmental Response, Compensation, and Liability Information System (CERCLIS) data base and lists of contaminated sites through Pennsylvania Department of Environmental Protection (PADEP) and Maryland Department of the Environment (MDE) for more detailed list of areas with contaminated groundwater. | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section 2.3.3 |
| DR1 | 2.3 | Provide a list of any springs within 150 feet of proposed construction areas. | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section 2.3.5 Table 2.3-1 |
| DR1 | 2.3 | Indicate if construction through the Strasburg Landfill would affect the stability of the “current conditions at this site” (i.e., would construction affect the control measures currently in place for remediation at the site). | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section 2.3.3 |
| DR1 | 2.3 | Will a special construction plan be required to cross the 68th Street Dump in order to minimize the potential for another release from the site? | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section 2.3.3 |
| DR1 | 2.3.3 | Provide details of the proposed geotechnical design investigation and environmental monitoring program and timing of when it will be prepared and submitted to the FERC. Indicate whether it would be completed for inclusion in the application. | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section 2.3.6 |
| DR1 | 2.3.3 | Does AES currently intend to take part in a Third-Party Environmental Compliance Monitoring program? if not, indicate the reasons for this decision. | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section 2.3.6 |
| DR1 | 2.4 | Identify and label all waterbodies crossed by the pipeline on the alignment sheets. | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section 2.4 |
| DR1 | 2.4.1 | This RR references perennial and intermittent streams in the text and in figures and tables. The U.S. Army Corps of Engineers (COE) also regulates ephemeral streams as waters of the U.S., provided they have a discernible ordinary high water mark. Are ephemeral streams included under the category of intermittent streams (i.e., have ephemeral streams been identified and quantified)? For example, page 8 references 148 waterbody crossings - are ephemeral streams included in this number? | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section 2.4.1 |
| DR1 | 2.4.1 | As part of the Department of the Army permit review process, the COE will provide specific requirements and recommendations for use of horizontal directional drill (HDD) or conventional bore of stream and wetland crossings to avoid/minimize impacts to waters of the U.S. Provide a schedule for when HDD crossing plans would be available for inclusion in the EIS, including a plan for unanticipated releases and measures to minimize noise impacts at nearby residences. | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section 2.4.1 |
| DR1 | 2.4.3.2 | AES states that eight cores were collected for “shallow” sample analysis, while Table 2.4.2a gives analysis for nine shallow samples. Reconcile this discrepancy. | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section 2.4.3.2 |
| DR1 | 2.4.3.2 | AES states that additional sampling will be conducted to fill data gaps and to meet COE criteria for dredged material characterization based upon future coordination with the COE. Indicate when this coordination will occur and indicate a time when the future additional sampling will occur. | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section 2.4.3.2 |
| DR1 | 2.4.3.2 | The presentation of the vibracore sample chemical analysis needs clarity. It is difficult to ascertain from the text or from Tables 2.4.2a-d where and to what degree the sediments of the project area exceed established regional background concentrations, levels of concern, or screening concentrations (e.g. U.S. Environmental Protection Agency [EPA] or National Oceanic and Atmospheric Administration [NOAA] screening concentrations). The data should be summarized in a format where the reader can compare the geometry (or location) of the high concentration samples and in a format where the reader can discern spatial patterns. Provide visual aids such as graphs or maps or charts that display the spatial distribution of high concentration values. If AES uses map presentations, you might have to present three figures -- one for surface samples, one for mid-depth samples, and one for deep samples. These figures could show multiple parameters (1 or 2 metals, Polychlorinated Biphenyls [PCBs], Polycyclic Aromatic Hydrocarbon [PAHs] etc.) per location. In the discussion of the core samples analysis, it would be more appropriate to discuss if the high, or peak concentrations of parameters such as PAHs, metals (e.g. arsenic, chromium, copper, lead, zinc), and tributyltin exceed COE criteria or NOAA screening levels, than to discuss the average concentrations of the AES core samples compared to the concentrations found in Baltimore Harbor or Bear Creek. In addition, for Tables 2.4.2a -d, provide additional column or columns expressing the NOAA threshold effects level (TEL), probable effects level (PEL) or apparent effect threshold (AET) (for each parameter that is available), so that the reader can discern if the sample concentration exceeds a screening level concentration. | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section 2.4.3.2 Tables 2.4.2a-d Figures 2.4.2a-c |
| DR1 | 2.4.4 | A table should be included to support Figure 2.4-3 that specifies watershed areas crossed by milepost. | This is addressed in the October 27, 2006 filing of Resource Report 2) | Section 2.4.4.4 Table 2.4-3 Figure 2.4-3 |
| DR1 | 2.4.4 | While groundwater mitigation is discussed in Section 2.3.3, there is no comment in 2.4.4 regarding any mitigation regarding public watershed areas. There is no indication that local agencies were contacted regarding the presence of designated protection areas or whether agencies made any recommendations regarding the need for mitigation measures. | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section 2.4.4.4 |
| DR1 | 2.4.5 | Identify when all sources of hydrostatic test water and the quantity required for each pipeline segment will be provided. Site specific information is called for regarding withdrawal and discharge methods, and discharge locations by milepost. Identify which agencies were contacted regarding the effect of the release on significant fisheries, if permits are needed for withdrawal and how AES would address comments by contacted agencies. | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section 2.4.5 |
| DR1 | 2.4.6 | Under the Section 404 bullet, restate as “permits for the discharge of dredged or fill material into waters of the U.S., including jurisdictional wetlands, as administered by the COE.” Under the Section 10 bullet, restate as “…for dredging, and construction of the pier and berthing facilities, as administered by the COE.” Also indicate whether the project would require a Non-tidal Wetlands and Waterways Permit and/or a Tidal Wetlands Permit from the MDE. | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section 2.4.6 |
| DR1 | 2.4.6 | Provide a schedule for when the applications to the COE will be filed. | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section 2.4.6 |
| DR1 | 2.4.8.2 | When will the construction plan identifying the methods to minimize and monitor disturbances from sheet pile driving be available for review? | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section 2.4.8.2 |
| DR1 | 2.4.8.2 | Section 2.4.8.2 indicates that demolition of structures and pier 2 would be required. Discuss potential impacts of the demolition on other resources (i.e. fisheries, noise, water quality). | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section 2.4.8.2 |
| DR1 | 2.4.8.4 | There is no dredging allowed for the proposed Terminal Site under existing permits. Although the proposed LNG terminal site and the existing BWI-Sparrows Point ship repair/maintenance facility would share (in part) the same location, this paragraph must make it expressly clear that the permit issued to BWI-Sparrows Point LLC is for the ship repair/maintenance facility only and not for dredging for the LNG terminal site. In addition, the permit issued to BWI-Sparrows Point is not transferable to AES for purposes of constructing the LNG terminal. | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section 2.4.8.4 |
| DR1 | 2.4.8.4 | This section should discuss if the proposed processed dredge material (PDM) disposal sites will result in additional impacts to waters of the U.S., including jurisdictional wetlands. If additional impacts are proposed at the PDM disposal sites, these sites/locations must be disclosed as part of the application and these impacts must be evaluated in the draft EIS. | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section 2.4.8.4 |
| DR1 | 2.4.9.2 | This section indicates that no seawater or sewage discharges would be made by LNG ships while in port. Confirm whether this includes engine cooling water intakes and discharges. | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section 2.4.9.2 |
| DR1 |  | The June 13, 2006 correspondence from the U.S. Army Corps of Engineers, Baltimore District to the Federal Energy Regulatory Commission notes that the Draft EIS will serve as the Department of Army Section 404/10 permit application for project. The RR needs to be modified to ensure complete compliance with the topics identified by the COE in correspondence previously provided. Review this correspondence to ensure that the required topics are addressed. For this resource report, especially note the following items in the COE letter: Items numbered 3 d-f, 4, 5, 6, 7, 9, 10, and 13. COE Letter Items are each addressed below: | Based on the broad nature of this item, the response to this item can be found though out the majority of documents prepared and submitted to the Commission for review. COE Letter Items are each addressed below: |  |
|  |  | 3d. Horizontal directional drilling (HDD) or other trechless construction methods for utility line installation. Use of Timber mats in wetland areas for utility line construction/equipment access and use of temporary bridges to span streams, etc | FERC Wetland and Waterbody Construction and Mitigation Procedures |  |
|  |  | 3e. Methods to minimize dredging turbidity | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section 2.4.8.4 |
|  |  | 3f. Methods to minimize adverse effects to water quality | Environmental Construction Plan and FERC Wetland and Waterbody Construction and Mitigation Procedures |  |
|  |  | 4. Corps public interest review factors. The decision to issue a permit will be based on an evaluation of the probable impacts, including cumulative impacts, of the proposed activity and its intended use on the public interest. Among the factors the must be evaluated as part of the Corps public interest review include: conservation, economics, aesthetics, general environmental concerns, wetlands and streams, historic and cultural resources, fish and wildlife values, flood hazards, floodplain values, land use, navigation, shore erosion and accretion, recreation, water supply and conservation, energy needs, safety, food and fiber production, mineral needs, water quality, considerations of property ownership, air and noise impacts, and , in general, the needs and welfare of the people. Each of the Corps public interest factors must be evaluated comprehensively in the EIS. | RR1 through 13 Conservation - Resource Report 1; economics - Resource Report 5; Aesthetics – Resource Report 8; general environmental concerns – Resource Report 1; wetlands and streams – Resource Report 2; historic and cultural resources – Resource Report 4; fish and wildlife values – Resource Report 3; flood hazards & floodplain values – Appendix 2D to Resource Report 2; land use – Resource Report 8; navigation – Resource Report 11; shore erosion and accretion – Resource Report 1, Resource Report 2; recreation – Resource Report 8; water supply and conservation – Resource Report 2; energy needs – Resource Report 1; safety – Resource Report 11; food and fiber production – Resource Report 8; mineral needs – Resource Report 6; water quality – Resource Report 2; considerations of property ownership – Resource Report 8; air and noise impacts – Resource Report 9; the needs and welfare of the people – Resource Report 1 |  |
|  |  | 5. Delineation of all waters of the U.S. including jurisdictional wetlands, in the project area | This is addressed in the October 27, 2006 filing of Resource Report 2 | Wetland Delineation Report Appendix 2D to Resource Report 2 |
|  |  | 6. Quantify impacts to waters of the U.S. (both temporary and permanent) to all waters of the U.S. (e.g., perennial, intermittent, ephemeral streams; rivers, lakes, ponds), including jurisdictional wetlands, for each project alternative. For streams and rivers, include both the linear feet or stream/river impacts (measures along the centerline of the stream/river) and square feet of impact. For temporary wetland impacts, quantify any change in wetland classification (e.g., palustrine forested to palustrine emergent, etc.) | This is addressed in the October 27, 2006 filing of Resource Report 2 | Wetland Delineation Report Appendix 2D to Resource Report 2 |
|  |  | 7.cumulative and indirect impacts resulting from the project | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section 2.5.2 |
|  |  | 9. Describe the disposal options for any excess fill material resulting from utility line installation | Environmental Construction Plan | Section III. E. |
|  |  | 10. Wetland and stream mitigation plans | FERC Wetland and Waterbody Construction and Mitigation Procedures |  |
|  |  | 13. Based on the core samples of the chemical/physical composition of the sediment to be dredged, the method of dredging (e.g., mechanical, hydraulic), and the expected conditions in the waterway (e.g., tides, tidal surge currents, circulation patterns, etc..) describe the maximum expected turbidity plume and any adverse environmental/water quality impacts, both upstream and downstream, and the expected time duration, resulting from the proposed dredging operation. In addition, describe the plans and methods to contain and/or otherwise minimize the deleterious effects of the dredging operation to the aquatic environment. | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section 2.4.8.4 |
| DR1 | 2.5.2.1 | Add the following bullet: “Excess fill material resulting from trench excavation and backfilling must not be discharged or otherwise disposed of in waters of the U.S. and jurisdictional wetlands.” | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section 2.5.2.1 |
| DR1 | 2.5.2.2 | The COE recommends that the reseeding mix for wetlands should also include a native wetland seed mix. | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section 2.5.2.2 |
| DR1 | Table 2.4-1 | Table 2.4-1 should also include general fishery type. Table 5 in Appendix 2D does have the information; however, this should be included in Table 2.4-1 as well. | This is addressed in the October 27, 2006 filing of Resource Report 2 | Table 2.4-1 |
| DR1 | Table 2.4-1 | The references to “unnamed” should be change to “unnamed tributary to [insert stream name].” The table references perennial and intermittent streams. The COE also regulates ephemeral streams as waters of the U.S. Are ephemeral streams included under intermittent streams? If not, please include all ephemeral stream crossings in this table. | This is addressed in the October 27, 2006 filing of Resource Report 2 | Table 2.4-1 |
| DR1 | Table 2.4-4 | Change the table name to “Summary of Dredging Projects in Baltimore County Issued by or Currently Pending before the U.S Army Corps of Engineers.” | This is addressed in the October 27, 2006 filing of Resource Report 2 | Table 2.4-4 |
| DR1 | Other tables | A table should be included which describes the impacts associated with dredging in the Patapsco River/Bear Creek. In addition, a table should be included which describes impacts associated with fill activities or construction of other project components/structures (e.g., bulkheads, piers, riprap, etc.) in waters of the U.S. | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section 2.4.8.2 Table 2.4-5 |
| DR1 | Appendix 2-A | Figure 22: The COE indicated that for utility crossings, riprap is generally not authorized across the natural stream invert. | Appendix 2B has been updated and Figure 22 has been updated to include a note that rip-rap is generally not authorized across the natural stream invert. | Appendix 2B1 – Figure 22 |
| DR1 | Appendix 2-D | The COE indicated that the Wetland Delineation Report must include all the information on the “Jurisdictional Determination (JD) Information Checklist” which can be found on the Baltimore District website. | This is addressed in the October 27, 2006 filing of Resource Report 2 | Appendix 2D |
| DR1 | Appendix 2-D | Page 9. The field survey must include all waters of the U.S., including ephemeral streams. | This is addressed in the October 27, 2006 filing of Resource Report 2 | Appendix 2D |
| DR1 | Appendix 2-D, Table 4 | The COE recommends that Table 4 clearly quantify all permanent and temporary impacts to wetlands, regardless of where they occur, and a project total. Also, a change in wetland classification as a result of the project (e.g., PFO wetland to PEM wetland) is considered a permanent impact by the COE. Table 4 should also include a footnote with a key to the dominant U.S. Fish and Wildlife Service Classifications. | This is addressed in the October 27, 2006 filing of Resource Report 2 | Appendix 2D – Table 4 |
| DR1 | Appendix 2-D, Table 5 | The COE recommends that Table 5 include the linear feet of stream impact (as measured along the stream centerline) and the square feet or acres of stream impact [as measured from the ordinary high water mark (OHWM) on one stream bank to the OHWM on the other stream bank] for all permanent and | This is addressed in the October 27, 2006 filing of Resource Report 2 | Appendix 2D Table 5 |
| MDNR PPRP |  | While Report 2 adequately addresses the impacts to surface and ground water from the construction and operation of the LNG facility and associated gas transmission lines, it does not appear to address impacts associated with water withdrawal. Please address the impacts associated with the withdrawal of 27 mgd from the river. | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section 2.4.5 |
| MDNR PPRP |  | Section 2.4.3 discusses contaminated sediments. Results of sediment sampling are listed in Tables 2.4-2a, b, and c. Detection limits for each method should be listed. For PCBs, EPA method 8081A was used; what is the detection limit of this method relative to the effects range medium criterion? Why was a high-resolution PCB method not used for these sediments to establish what the contaminant level is for PCBs? | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section 2.4.3.2 Tables 2.4.2a-d |
| MDNR PPRP |  | Section 2.4.8.2 LNG Terminal – Construction of the terminal will include removal of slip structures and finger piers. These types of structures, particularly after having been in place for many years, provide hard substrate habitat for a range of aquatic biota. Such habitat can be of value for many important species, such as blue crabs, and also provide a source of forage for a variety of fish species. The evaluation of the proposed project should address the habitat value of the structures to be removed and potential mitigation for this loss of habitat should be considered. | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section 2.4.8.2 |
| MDNR PPRP |  | [pg. 39] – The report indicates that the Processed Dredge Material (PDM) will be put in temporary storage until it is sold for beneficial use. The potential market for the material is not described and the length of time that the material may be kept in the temporary storage area is not specified. Location of the temporary storage area is also not described. | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section 2.4.8.4 |
| MDNR PPRP |  | [pg. 40] – Offshore disposal of PDM is mentioned as an alternative, with the observation that its use would be subject to EPA and COE approval. Without knowledge of the acceptability of this with both agencies, it is not clear that this is a viable alternative. AES actually presents arguments suggesting it is not viable. | This is addressed in the October 27, 2006 filing of Resource Report 2 | Section 2.4.8.4 |

# Footnotes

The MDNR PPRP list of information requests came in letter from the Maryland Dept. of Natural Resources Power Plant Research Program, from review of Resource Reports 1-13.  The list provided here comprises the PPRP comments on Resource Report 2 (PPRP Comments #3 through #7, inclusive) and AES responses have been incorporated into the October 2006 version of Resource Report 2 being resubmitted to respond to the 17 October FERC Data Request.

The MDNR PPRP list of information requests came in a letter from the Maryland Dept. of Natural Resources Power Plant Research Program, from review of Resource Reports 1-13.  The list provided here comprises the PPRP comments on Resource Report 2 (PPRP Comments #3 through #7, inclusive) and AES responses have been incorporated into the October 2006 version of Resource Report 2 being resubmitted to respond to the 17 October FERC Data Request.