Field and laboratory investigations into the transport potential of Cryptosporidium parvum oocysts in karstic limestone of the Biscayne aquifer at a municipal well field (Northwest Well Field, Miami, FL): impact on oocyst log unit removal estimations

David W. Metge1, Ronald W. Harvey, Allen M. Shapiro, Robert A. Renken, Christina L. Osborn, Joseph N. Ryan, and Kevin J. Cunningham

1 U.S. Geological Survey

Boulder, CO

The pathogen, Cryptosporidium parvum, and its potential to contaminate domestic water supplies have come under increasing scrutiny.  A large-scale, forced-gradient injection and recovery test was performed to assess the fate and transport of oocysts within karst limestone flow zones and to address vulnerability of the Northwest Well Field (NWWF) to contamination by C. parvum oocysts.  The Northwest well field, Florida’s largest, is located east of the Everglades within the Lake Belt mining district of north-central Miami-Dade County. Municipal supply wells are more likely to be directly influenced by surface water if extraction activities continue as proposed.

Field-scale use of pathogenic microorganisms within the prolific Biscayne aquifer, a sole drinking water source aquifer, was not considered appropriate; therefore, differentially sized and colored fluorescent microspheres (FMS) were used as surrogates.  The field study involved introduction to the Biscayne aquifer of a conservative tracer (SF6 gas) and oocyst-sized (~ 2-5 (m diameter) carboxylated polystyrene microspheres.  Fractional recoveries for microspheres 100 m downgradient were inversely related to their diameter; recoveries ranged from 2.8% for the largest to 5.6% for the smallest size classes.  Peak breakthrough of all microsphere sizes occurred at 6.75 hours after injection, although the first appearance of the 1.6 µm-sized microspheres preceded the larger-sized FMS by approximately 2 hours.

A series of flow through column tests were performed using intact Biscayne aquifer limestone core material obtained from the injected flow zone.  Laboratory results suggest that 2.9-4.9 (m (diameter) microspheres underestimate the transport potential of 3.1-4.2 (m (diameter) oocysts by 4-6 fold.  This may be because zeta potentials for microspheres are more negative than C. parvum oocysts at equivalent ambient pH (8.4).  Several hundred meters of transport may be required to achieve a 1-log unit removal of oocysts at the NWWF, depending upon local aquifer heterogeneity.

Riverbank Filtration of Cryptosporidium, Giardia, and other Microbial Indicators, Platte River, Nebraska

Jason R. Vogel1, Stephanie Harris, Eugene Rice, and Jerry Obrist

1U.S. Geological Survey

Lincoln, NE

Riverbank filtration has been used for centuries to partially purify riverine drinking source water for safe consumption. However, recent efforts to protect against such waterborne pathogens as Cryptosporidium and Giardia mandate quantification of riverbank filtration efficiency so that drinking-water systems can receive regulatory credit for this natural removal mechanism. Because Cryptosporidium and Giardia are commonly present in river water, ineffective removal by riverbank filtration could result in increased health risks. Methods to detect Cryptosporidium and Giardia can be unreliable and cost prohibitive relative to tests for traditional fecal-indicator microbes.  Due to the imprecision and high detection limits in Cryptosporidia and Giardia  methods, failure to detect these protozoa in samples does not ensure their absence in the relevant water volumes of drinking-water.  Correlation of water-quality indicators to the detectable presence of Cryptosporidium and Giardia may lead to increased reliability and decreased cost relative to direct detection of these waterborne pathogens.

A study was recently completed by the U.S. Geological Survey, in cooperation with the City of Lincoln and the U.S. Environmental Protection Agency, to evaluate the potential for transport of microorganisms of varying sizes through riverbank filtration to a public-water supply at the Platte River near Ashland, Nebraska, during different seasons and flow regimes. Representative samples were collected during surface water base-flow conditions and significant runoff events from the Platte River near Ashland, one collector well, treatment plant influent, and treated drinking water. The temperature, dissolved oxygen concentration, specific conductance, pH, and turbidity of these samples were measured in the field.  Samples were analyzed at various laboratories for concentrations of Cryptosporidium and Giardia, dissolved organic carbon, hydrogen and oxygen isotopes, total coliform bacteria and E. coli, aerobic spores, algae, diatoms, and male-specific and somatic coliphages, and for total particle counts in various size ranges.

Initial results indicate no detectable breakthrough of Cryptosporidium or Giardia into the collector well during the sampling times.  Analysis of microbial indicator concentrations across the riverbank filtration zone indicates removal efficiencies of up to four or five logs.  Statistical analysis also indicated that the presence of Cryptosporidium or Giardia in the Platte River at the research site may be predicted from other water quality characteristics using logistical regression techniques.

Preliminary Occurrence Study of Algal Toxins in Source and Finished Waters

James Sinclair, PhD, Ben Southwell, and Judy Westrick

Office of Water

U.S. Environmental Protection Agency

The United States Environmental Protection Agency 1998 Contaminant Candidate List contained freshwater algae and their toxins.  Contaminants on this list must be prioritized according to the human health risk determined from frequency of occurrence, removal efficiency in conventional and unconventional drinking water treatment processes, and health effects.  In order to better focus their resources, the USEPA created a short priority list of algal toxins based on their best estimates of the frequency in surface waters and toxicity. The priority list contains five hepatotoxins, four adducts of microcystin (LR, RR, LA, YR) and cylindrospermopsin, and a neurotoxin, anatoxin-a.  The goal of this project was to design and perform a preliminary occurrence study focused on the monitoring of source and finished waters for potential toxin producing cyanobacteria and their toxins at drinking water utilities with notable summer algae blooms.  The two summer (2001 and 2002) studies consisted of weekly source and finished water sampling.  Algal identification/enumeration, quick screening assays and advanced analytical (HPLC-MS) methods were performed so that data could be reviewed within the World Health Organization model for monitoring and management of cyanobacteria in drinking water supplies.  In the WHO model algal identification/enumeration of potential algal toxin producing genera is used as an early warning surrogate.

In the 2001 study, algal identification/enumeration was performed on ten source waters; ten source and finished waters were screened for microcystin by commercially available ELISA kits.  All source and finished water microcystin concentrations were below the detection limit 0.2 (g/L. Fourteen out of 76 source samples had more than 500 algal units of potential microcystin and anatoxin-a producing genera.  These samples screened negative for anatoxin-a by GC/MS and where below the LC/MS detection limits of 1(g/L for both microcystins and anatoxin-a.     In the 2002 summer study, algal identification/enumeration and the microcystin screen were performed on both source and finished waters.  During this study, several source water samples tested positive for microcystin, but the finished water samples tested negative.  Cyanobacteria algal unit removal was at least 99.9% with conventional treatment; Aphanizomenon was the most frequently reported algae in finished waters.  Archived samples with more than 10 cyanobacteria algal units per mL are being analyzed for microcystins and cylindorspermopsin levels.

In summary, after two summers of algal monitoring 7% of the source waters tested positive for microcystin, however only 1% of these source waters were above the finished water World Health Organization daily exposure guidelines.  There were no instances where algal toxins where detected in finished water.  These limited results suggest that the drinking water treatment processes that are currently online are effective at removing the priority toxins monitored in this study.

Environmental factors and chemical and microbiological constituents related to the presence of viruses in ground water from small public water supplies in southeastern Michigan

Donna S. Francy1, Rebecca N. Bushon, Emma J. Luzano, and G. Shay Fout

1U.S. Geological Survey

Columbus, OH

Thirty-eight public ground-water-supply wells serving fewer than 3,300 people were sampled from July 1999 through July 2001 in southeastern Michigan to determine (1) the occurrence of viral pathogens and microbiological indicators, (2) the adequacy of indicators as predictors of the presence of viruses, and (3) the factors that affect the presence of viruses. Samples were analyzed for enteric viruses by reverse transcriptase-polymerase chain reaction (RT-PCR), for culturable viruses by cell culture, and for the following indicators: total coliforms, E. coli, enterococci, and F-specific and somatic coliphage.  Ancillary environmental and water-quality data also were collected.

A total of 169 regular samples and 32 replicate pairs were collected from 38 wells.  Each well was sampled from one to five times. By use of RT-PCR, enterovirus was found in four wells (10.5 percent) and hepatitis A virus (HAV) in five wells (13.2 percent).  In two of these wells, investigators found both enterovirus and HAV, but on different sampling dates.  Analyses for Norwalk virus, reoviruses, and rotaviruses by RT-PCR in a subset of samples gave negative results.  Culturable viruses were found once in two wells (5.9 percent), but neither of these wells was positive for viruses by RT-PCR on any sampling date. Of the 38 wells, 9 (23.7 percent) were positive for viruses by either RT-PCR or cell culture.

One or more indicators were found in 18 of 38 wells.  Total coliforms, E. coli, enterococci, and F-specific and somatic coliphage were found in 34.2, 10.5, 15.8, 5.9, and 5.9 percent, respectively, of the wells tested.  Only three of the indicator-positive wells were positive for an indicator on more than one date at the same well. Five out of nine (55.6 percent) virus-positive wells were also found to be positive for an indicator. Two wells with detections of viruses had a detection of total coliforms, one well had a detection of E. coli, one of enterococci, and one of F-specific coliphage.

More virus-positive samples were found at sites served by septic systems than those served by sewerlines.  Sampling condition (ground water or a mixture of tank and ground water), distance to septic system, type of and distance to nearest surface-water body, well characteristics, or land use were not related to the presence of viruses or indicators.  Statistically significant relations were found between total coliforms and dissolved organic carbon, iron, or chloride concentrations. Presence of nitrate was related to presence of E. coli, enterococci, coliphage, or enteric viruses but not to total coliforms.

This study provides evidence for fecal contamination of ground water at small public-supply wells and shows the importance of collecting multiple samples at each site. The study also suggests that the collection of site-characteristic data, data on multiple water-quality parameters and data on microbiological indicators are important for making better predictions of the presence of enteric viruses in small public water systems.  Future data collection toward this end could include repeat sampling several times a year for different indicators, measuring dissolved organic carbon, nitrate plus nitrite, and/or chloride concentrations.

Although this work was reviewed by EPA, it may not necessarily reflect official Agency policy.