# 1.0 Executive Summary

This reference paper identifies and reviews Grid West's services and processes that directly or indirectly manage congestion in the Grid West Managed Transmission System (GWT).  Grid West, in contrast to other RTOs and ISOs, manages transmission congestion largely in advance of the energy transactions (energy scheduling).  For example, Grid West's physical scheduling requirement ensures that no party can schedule an energy transaction on GWT without physical transmission rights, whether an Existing Transmission Right (ETR) or an Injection/Withdrawal Right (IWR).  At the same time, Grid West's transmission rights administration services and functions ensure that flow based transmission rights that are issued and used fall within GWT's capacity limits.

To facilitate the presentation of this paper we separate the three principal functions of congestion management process as follows:

- Congestion Detection: Forecast/analyze/measure potential or existing violation of operating constraints and contractual rights in GWT;

- Congestion Relief and Capacity Allocation: Determine, through analysis or other means, effective measures to relieve the forecasted or existing operating constraints and contractual rights violations; and allocate scarce transmission resources among GWT users; and

- Congestion Pricing: Allocate the cost of relieving congestion, if any, to GWT subscribers according to a consistent, efficient and equitable "cost allocation" methodology.  One of the most important attributes of pricing is sending proper economic signals to GWT subscribers so as to shape their long run and short run use pattern of GWT.

Various Grid West services and processes impact congestion management in various time frames as follows:

- Long-term congestion management (three years or longer before system operation):

  - Long-term regional expansion planning service

- Mid-term congestion management (one to three years before system operation):

  - Transmission access administration

- Short-term congestion management (two days to one year before system operation):

  - Annual, monthly and intra-monthly reconfiguration service

  - Outage management

  - Market Information System (MIS) service

- Day Ahead congestion management (one day before system operation):

  - Day-Ahead reconfiguration service (DA-RCS)

  - Redispatch service, if and when implemented

  - Day-ahead schedule adjustment/rejection service

- Adjustment period congestion management (day of operation up to operating hour):

  - Schedule adjustment/rejection service

- Real-time congestion management (during system operation):

  - Real-time operation (including outage management)

  - Real-time balancing energy service

The paper concludes that Grid West services and functions, as designed by TSLG, should adequately address congestion management within GWT.  The paper also concludes that, although the fundamental congestion management approach by Grid West is different from that of other RTOs and ISOs, Grid West can essentially use the same commercial technology solutions that are in use by other RTOs and ISOs (with modest modifications) for conducting its congestion management functions.

# 2.0 Problem Statement

Managing congestion is arguably the most important responsibility of Regional Transmission Organizations (RTOs) and Independent System Operators (ISOs) worldwide.  Failure to effectively manage congestion can readily lead to unreliable and inefficient system operation - blackouts and high energy costs that can wipe out all gains of creating competitive electricity markets.

Currently congestion in GWT is managed by a group of private and public utilities, each of which focuses on managing congestion in their own portion of GWT.  At the same time, these utilities work collectively through the Western Electricity Coordinating Council (WECC) and Pacific Northwest Security Coordinator (PNSC) to regionally coordinate their congestion management efforts in recognition that congestion can only be effectively and efficiently managed on a region wide basis.  However, there exists no central mandate to ensure consistent coordination or seamless outcome from these efforts.

Grid West, as the regional transmission administrator and the CCA real time operator, will be in a unique position to perform congestion management across entire GWT and CCAT seamlessly and more efficiently than the current localized practices.  At the same time, the broad design of Grid West services and processes requires that congestion within GWT be managed in advance of the actual energy transactions (energy scheduling).  These opportunities and challenges place special requirements on all of the services and processes that Grid West uses for managing congestion within Grid West and CCA footprints in both long- and short-terms.

# 3.0 Analysis Goal

The goal of our analysis is to identify and review all Grid West services and functions that directly or indirectly impact congestion management in GWT and CCAT and qualitatively analyze the extent and effectiveness of such impacts.  Our analysis may be modified as the design of the additional elements of Grid West become complete.

# 4.0 Analysis of Services and Processes

In this section, we present our analysis of the impact of various Grid West services and functions on the three principal functions of congestion management.  This analysis is qualitative and is not intended to be comprehensive.  Grid West congestion management related services and functions perform the three functions of congestion management either sequentially or simultaneously.  For example, as presented below, long-term regional expansion planning first detects congestion and then relieves and prices for congestion as part of three distinct and sequential processes while Grid West's real-time balancing energy service detects, relieves and prices congestion in a single step.

## 4.1	Long-term Congestion Management

### 4.1.1	Long-term Regional Expansion Planning Service

The three steps of congestion management are performed sequentially as follows:

A.  Congestion Detection:

Grid West studies GWT operation over the planning horizon as part of this service.  As a result of these studies, Grid West will identify conditions where potential violation of system operating and contractual constraints can materialize, if any, for all the future operating scenarios studied.

B.	Congestion Relief and Capacity Allocation:

If congestion is detected as part of the planning studies, regional solutions, either in the form of capacity expansion, such as adding new transmission facilities or upgrading existing ones, or in the form of modified long-term operating practices will be identified and recommended by Grid West for WECC level reviews.  The most cost effective alternative for relieving an operating constraint violation is selected at that time.  Determination and allocation of new transmission capacity will be made on a case by case basis and closely as part of congestion pricing process.  By and large, new transmission capacity, if added by a new project, will be allocated mainly in the form of long-term IWRs to those who have paid for the project, whether a transmission owner, a transmission customer, or a private investor.

C.	Congestion Pricing:

Congestion pricing will depend on the commercial arrangement made when implementing the solutions as described in the previous stage.  In general, development of identified projects will lead into a combination of direct cost recovery (subject to rate-of-return) and long-term transmission rights ownership (e.g. multi-year Injection/Withdrawal Rights (IWR) commensurate with the developed projects).  A cost recovery component is normally built into a tariff and assigned to all Grid West participants to be recovered via Grid West or one or more TOs.  IWRs will generate revenue from the Reconfiguration Service (RCS) and bilateral markets for the project developer to use to pay down revenue recovery and use as a revenue source beyond recovery of its revenue requirements.

## 4.2	Mid-term Congestion Management

### 4.2.1	Transmission Access Administration

The three steps of congestion management are performed sequentially as follows:

A.  Congestion Detection:

As part of studying any new access request to GWT (supply and demand additions), Grid West will study the impact of supply/demand additions on GWT in both long- and short-run and identifies potential operating constraints and contractual violation situations.

B.	Congestion Relief and Capacity Allocation:

Grid West, in cooperation with the impacted TO, will determine interconnection as well as "network" expansion requirements to address operating constraints and contractual violations associated by the access request.  Interconnection capacity is normally allocated to the entity requesting access and paying for the interconnection capacity.  Added transmission capacity due to network upgrades, if any, is normally allocated to the entity(ies) that pays for such upgrades.

C.	Congestion Pricing:

All interconnection costs, including the cost of studies and project(s), are normally directly assigned to the party gaining access to GWT.  Network upgrade costs are normally partially assigned to the party gaining access to GWT and partially embedded into the impacted TO's tariff.

## 4.3	Short-term Congestion Management

### 4.3.1	Annual, Monthly and Intra-monthly Reconfiguration Service

RCS uses a centralized optimization process (and an underlying computer algorithm) that "simultaneously" performs all three functions of congestion management for the relevant IWR auction scenarios.  The process identifies all oversubscribed transmission flowgates, identifies the most economic IWR awards (based on IWR offers and bids) to resolve the identified network over-subscriptions and finally prices awarded IWRs using marginal prices at the scheduling points at the two ends of the awarded IWRs.

### 4.3.2	Outage Management

The three steps of congestion management are performed sequentially as follows:

A.  Congestion Detection:

All information related to long- and short-term outages are studied by Grid West for potential operating constraints and contractual violation situations.

B.	Congestion Relief and Capacity Allocation:

If violations of operating constraints are detected for one or more outage requests, either Grid West will identify remedial actions (e.g. reconfiguration of existing transmission system) or postpone the planned outage(s) to other time periods when congestion can be avoided.

C.	Congestion Pricing:

Direct costs associated with transmission system reconfiguration or postponement of a planned outage that are incurred by Grid West participants are not expected to be significant for longer-term outage management given the time lag between congestion relief instructions and actual time of outage.  As we get closer to actual outage date any change in outage plan, as prescribed by Grid West, may have significant costs associated with it that can be evaluated by the impacted TO and Grid West.  An allocation scheme for such a cost needs to be developed.

### 4.3.3	MIS Service

The three steps of congestion management are performed sequentially as follows:

A.  Congestion Detection:

One of the main functions of Grid West's MIS service is to identify and post all congested transmission flowgates (those with zero and near zero Available Flow Capacities or AFCs) based on study of the GWT operation.  This allows Grid West participants to predict potential congestion for scheduling and real-time operation.

B.	Congestion Relief and Capacity Allocation:

Grid West Participants can use MIS information to indirectly manage congestion through their IWR offers and bids, energy offers and bids, bilateral trades and energy schedules.

C.	Congestion Pricing:

Congestion pricing due to MIS service is reflected through indirect and bilateral "congestion management" activities of the Grid West participants.

## 4.4	Day-Ahead Congestion Management

### 4.4.1	Day-Ahead Reconfiguration Service (DA-RCS)

Similar to short-term RCS processes  DA-RCS uses a centralized optimization process (and underlying computer algorithm) that "simultaneously" performs all three functions of congestion management for the hourly IWR auction scenarios.  The process identifies all oversubscribed transmission flowgates; identifies the most economic IWR awards (based on IWR offers and bids) and scheduling flexibilities, as specified through intended retained rights by Grid West participants, to resolve the identified network over-subscriptions; and finally prices awarded IWRs and scheduling flexibility releases using marginal prices at the scheduling points at the two ends of the awarded IWRs or at the shadow price of the AFC made available through scheduling flexibility releases.

### 4.4.2	Redispatch Service (if implemented)

Similar to DA-RCS, Redispatch service uses a centralized optimization process (and an underlying computer algorithm) that "simultaneously" performs all three functions of congestion management.  It identifies all oversubscribed transmission flowgates; identifies the most economic IWR and energy awards to resolve network over-subscriptions and over-schedules; and finally prices awarded IWRs using marginal prices at the scheduling points at the two ends of the awarded IWRs and energy awards based on the marginal cost of energy at the location where energy offer/bid is awarded.

### 4.4.3	Day-Ahead Schedule Adjustment/Curtailment Service

The three steps of congestion management are performed sequentially as follows:

A.  Congestion Detection:

Grid West's principal goal in providing the scheduling service is to identify potential in system operating constraints and contractual violations due to Grid West participants' submitted schedules during the scheduling period.

B.	Congestion Relief and Capacity Allocation:

Once congestion is detected, Grid West will use an involuntary adjustment/curtailment process to resolve violation of system operating constraints on a pro-rata basis.  Alternatively, or in conjunction with this involuntary schedule adjustment, Grid West could use economic Increment (Incs) and Decrement (Decs) bids, specifically submitted by Grid West participants to resolve the violation of system operating constraints and to manage congestion.  For involuntary congestion relief, capacity on the oversubscribed flowgate is allocated to schedules using it on a pro-rata basis based in initial schedule values.  For economic congestion relief, schedules are kept whole to the extent possible.

C.	Congestion Pricing:

All costs related to involuntary schedule adjustments/curtailments are absorbed by the impacted Grid West participants.  The costs associated with an economic congestion relief solution, if adopted, will be allocated to individual Grid West participants based on a variety of cost allocation mechanisms that reflect the contribution of that participant's schedule to violation of system operating constraints.

## 4.5	Adjustment Period Congestion Management

### 4.5.1	Adjustment Period Schedule Adjustment/Curtailment Service

The three steps of congestion management are performed sequentially as follows:

A.  Congestion Detection:

During the adjustment period, Grid West will study and identify the impact of schedule adjustments on system operating constraints and contractual violations.

B.	Congestion Relief and Capacity Allocation:

Once congestion is detected, Grid West will reject the schedule adjustment as a way of providing congestion relief.

C.	Congestion Pricing:

All costs related to schedule rejection are absorbed by the impacted Grid West participant.

## 4.6	Real-time Congestion Management

### 4.6.1	Real-time operation

The three steps of congestion management are performed sequentially as follows:

A.  Congestion Detection:

Data telemetry from SCADA (Supervisory Control And Data Acquisition) followed by the State Estimation (SE) model runs will identify and measure all operating constraint violations for the current or imminently occurring operating condition.

B.	Congestion Relief and Capacity Allocation:

The operator will take all the necessary measures, such as out of merit dispatch of resources, load shedding, or line switching, to resolve operating constraint violations.

C.	Congestion Pricing:

The costs for resolving operating constraint violations in such a fashion will be added to Grid West fees and charged either uniformly or based on some form of cost causation methodology among GWT subscribers.

### 4.6.1	Real-time Energy Balancing Energy Service

The Real-Time Balancing Energy Service (RBES) uses a centralized process (and underlying computer algorithm) that "simultaneously" performs all three functions of congestion management for the next dispatch cycle.  It identifies all the potential operating constraint violations (including with supply/demand mismatch), identifies the most economic energy awards (based on energy offers and bids) to resolve the network operating constraint violations and finally price energy awards using marginal prices for the location of these energy resources.

# 5.0	Market Benchmarks

Despite fundamental differences in many aspects of Grid West services and processes and those of other RTOs and ISOs in North America, there are many similarities in the way congestion management is addressed in all RTOs and ISOs, including Grid West.  As a result many of the commercially available technology solutions that are used by other RTOs and ISOs (with modest modifications to account for special Grid West needs) can also be used by Grid West for all its congestion management needs.  Table 5.0 compares and contrasts these services.

Table 5.0 Comparison of services impacting congestion management

| Services Impacting CM | PJM | ERCOT | MISO |
| --- | --- | --- | --- |
| Long-term regional expansion planning service | Offers very similar service with similar congestion management impact |
| Transmission access administration | Offers very similar service with similar congestion management impact |
| Outage management | Offer very similar service with similar congestion management impact |
| Reconfiguration service | Similar services offered in the form of Financial Transmission Rights (FTR) and Auction Revenue Rights (ARR) auctions. The Auctions accounts for system operating constraints. | Similar service offered in the form of Transmission Congestion Right (TCR) auctions for financial flowgate rights. | Similar services will be offered in the form of Financial Transmission Rights (FTR) and Auction Revenue Rights (ARR) auctions. The Auctions accounts for system operating constraints. |
| Redispatch service, if implemented | Similar service offered in the form of day-ahead (DA) energy market | No equivalent service. | Similar service will be offered in the form of DA energy market |
| MIS operation | Offer very similar service with similar congestion management impact |
| Schedule adjustment/rejection service | Similar procedures for submitting schedules but no requirements for balanced schedules or for transmission rights. Schedules are adjusted in the DA energy market and based only on system operating constraints. | Similar procedures for submitting schedules. Schedules must be balanced. TCRs are required for inter-zonal transactions. | Similar procedures for submitting schedules but no requirements for balanced schedules or for transmission rights. Schedules are adjusted in the DA energy market and based only on system operating constraints. |
| Real-time operation | Offer very similar service with similar congestion management impact |
| Real-time balancing energy service (RBES) | Offers very similar service with ex-post pricing and similar congestion management impact | Offers very similar service with ex-ante pricing and similar congestion management impact | Offers very similar service with ex-post pricing and similar congestion management impact |

# Footnotes

By "Detecting Congestion," we actually mean detecting violation of system operating and, where applicable, contractual (due to existing or granted rights) constraints.  The same rule applies to "Relieving Congestion" which refers to relieving system operating and contractual constraints violation. Operating and contractual constraints are normally translated into flow constraints on GWT flowgates in order to make it possible, among other reasons, to use a linearized (DC type) power flow analysis for congestion detection and relief.  Once the conversion is done, congestion management processes will focus on monitoring flows on flowgates and ensuring that none of these flows exceeds the prevailing capacity of those flowgates for the operating condition under study - prevailing flowgate capacity can be due to thermal, voltage stability or transient stability considerations.

Among other solutions that are based on operator experience.

Subscriber refers to an entity who owns financial and/or physical rights on the transmission system, whether this entity uses the system or not.  Hence subscribers encompass Grid West participants including participating transmission owners (PTOs).

CCAT refers to the transmission system of the Consolidated Control Area (CCA).

Long-term system studies can be based on studying a number of future specific operating scenarios, e.g., 2010 Winter Peak condition, where transmission system is represented in great detail but supply/demand is only studied for the specific operating scenario, and/or based on long-term production simulation models that accounts for supply and demand variations over the entire planning horizon on hour by hour basis but account for transmission model with some level of approximation (e.g., GE-MAPS).  The latter approach can also be performed on a stochastic basis to account for probabilistic changes in supply and demand availability and values and transmission system configuration.

The subject of rights allocation due to transmission expansion projects will be covered in the accompanying "Rights Translation White Paper."

Normally revenues from trading such IWRs are used to pay down the revenue recovery portion of the payment to the project developer.  Once the cost recovery is complete as a result of the transmission tariff and IWR revenue, the tariff revenue for the project developer is halted but trading revenue from long-term IWRs can continue.

Given the planned ex-ante nature of congestion management in GWT, the added transmission capacity will retain its value and will generate revenue for its developers after the project is built or even after additional capacity is added to the system.  In financial transmission rights (SMD) markets  where congestion and energy are simultaneously traded and priced, the value of capacity diminishes after it is added to the system which can be a significant disincentive for market based transmission development.  Grid West design does not suffer from this major shortcoming.

The studies, especially those related to interconnection requirements, are normally conducted by the impacted TOs. However, Grid West will coordinate TOs efforts in performing these studies.

This evaluation is performed in coordination of the requesting/impacted PTOs.