Comparison of Water Vapor Measurements by Airborne Sun Photometer and Diode Laser Hygrometer on the NASA DC-8

J. M. Livingstona, B. Schmidb, P. B. Russellc, J. Redemannd, J. R. Podolskec, G. S. Diskine

Revision submitted to J. Atmos. Oceanic Technol.

4 January 2008

Corresponding author:

John M. Livingston

SRI International

333 Ravenswood Avenue

Menlo Park, CA 94025  U.S.A.

Phone: +1 650 859 4174

Fax:   +1 650 322 3218

e-mail: john.livingston@sri.com

aSRI International, 333 Ravenswood Ave., Menlo Park, CA 94025 USA
bPacific Northwest National Laboratory, 902 Battelle Boulevard, Richland WA 99352 USA
 cNASA Ames Research Center, MS 245-5, Moffett Field, CA 94035-1000 USA

dBay Area Environmental Research Institute, 560 Third St. West, Sonoma, CA 95476 USA
eNASA Langley Research Center, Hampton, VA 23681-2199 USA

ABSTRACT

In January-February 2003 the 14-channel NASA Ames Airborne Tracking Sunphotometer (AATS) and the NASA Langley/Ames Diode Laser Hygrometer (DLH) were flown on the NASA DC-8 aircraft.  AATS measured column water vapor on the aircraft-to-sun path, while DLH measured local water vapor in the free stream between the aircraft fuselage and an outboard engine cowling. The AATS and DLH measurements have been compared for two DC-8 vertical profiles by differentiating the AATS column measurement and/or integrating the DLH local measurement over the altitude range of each profile (7.7-10 km and 1.1-12.5 km). These comparisons extend, for the first time, tests of AATS water vapor retrievals to altitudes >~6 km and column contents <0.1 g cm-2. To our knowledge this is the first time suborbital spectroscopic water vapor measurements using the 940-nm band have been tested in conditions so high and dry. Values of layer water vapor (LWV) calculated from the AATS and DLH measurements are highly correlated for each profile.  The composite data set yields r2 0.998, rms difference 7.7% and bias (AATS minus DLH) 1.0%.  For water vapor densities AATS and DLH had r2 0.968, rms difference 27.6%, and bias (AATS minus DLH) -4.2%.  These results for water vapor density compare favorably with previous comparisons of AATS water vapor to in situ results for altitudes <~6 km, columns ~0.1 to 5 g cm-2 and densities ~0.1 to 17 g m-3.

1. Introduction

Water vapor measurements by sunphotometry using the 940-nm water vapor absorption band have been compared to in situ and other remote (e.g., microwave) measurements in several previous publications (e.g., Schmid et al. 2000, 2001, 2003a,b, 2006; Redemann et al. 2003; Livingston et al. 2000, 2003, 2007). Those comparisons were all restricted to sunphotometer altitudes <~6 km, with water vapor columns ~0.1 to 5 g cm-2 and water vapor densities ~0.1 to 17 g m-3.

In January-February 2003, the 14-channel NASA Ames Airborne Tracking Sunphotometer (AATS) flew on the DC-8 along with the NASA Langley/Ames Diode Laser Hygrometer (DLH). The flights were part of the second SAGE (Stratospheric Aerosol and Gas Experiment) III Ozone Loss and Validation Experiment (SOLVE II). They provided an opportunity to test AATS water vapor measurements in higher, drier environments, including altitudes up to 12 km and water vapor columns ~0.002 to 0.1 g cm-2 above 4 km. The availability of DLH measurements on the same aircraft as AATS provided an especially good comparison opportunity, since the DLH was designed and built to perform well in environments this high and dry, and previous DLH measurements had been compared to other state-of-the-art water vapor measurements in such regions (e.g., Podolske et al. 2003). To our knowledge there had not been any previous tests of suborbital spectroscopic water vapor measurements using the 940-nm band in conditions so high and dry.

It should be noted, however, that several satellite instruments that view the sun through the Earth’s atmospheric limb do use the 940-nm band for water vapor measurements, and they have been validated. These instruments include the Stratospheric Aerosol and Gas Experiment (SAGE) and Polar Ozone and Aerosol Measurement (POAM) families of sensors, validations of which have been published by, e.g., Nedoluha et al. (2002), Taha et al. (2004), Thomason et al. (2004), and Lumpe et al. (2006). The SAGE and POAM measurements benefit from the long viewing path of their limb-viewing geometry (e.g., ~200 km in a 1-km thick atmospheric shell, resulting from local solar zenith angle ~90º), which produces measurable absorption in the 940-nm band even for stratospheric concentrations of water vapor (typically 3-8 ppmv). The AATS DC-8 measurements reported in this paper had true solar zenith angles (SZA) ranging from 68.6º to 89.1º, which includes viewing paths (hence airmass factors) considerably less than those for the SAGE and POAM viewing geometries.

2. Instruments and Data Analysis Techniques

a. 14-channel Ames Airborne Tracking Sunphotometer (AATS)

The 14-channel NASA Ames Airborne Tracking Sunphotometer (AATS-14 or simply AATS in this paper) has been described previously in the literature (e.g., Russell et al. 2005, 2007), so we give only a brief synopsis here. AATS measures the direct beam solar transmission in 14 channels with center wavelengths from 354 to 2138 nm, including a channel centered at 941 nm.  Azimuth and elevation motors rotate a tracking head to lock on to the solar beam and maintain detectors normal to it.

The AATS channel wavelengths are chosen to permit separation of aerosol, water vapor, and ozone transmission along the measured slant path.  Our methods for data reduction, calibration, and error analysis have been described in detail previously (Russell et al. 1993a, 1993b; Schmid and Wehrli 1995; Schmid et al. 1996, 2001, 2003).  Water vapor analysis methods are briefly reviewed below. Results for AATS aerosol optical depth and ozone measurements from the DC-8 in SOLVE II are described by Russell et al. (2005) and Livingston et al. (2005).

AATS was calibrated by analysis of sunrise measurements acquired at Mauna Loa Observatory (MLO), Hawaii, for six sunrises in November 2002 prior to SOLVE II and for seven sunrises in March 2003 after SOLVE II.  Exoatmospheric detector voltages, V0, were derived using the Langley plot technique (e.g., Russell et al. 1993a, 1993b; Schmid and Wehrli 1995) for all channels except 941 nm, for which a modified Langley technique (Reagan et al. 1995; Michalsky et al. 1995; Schmid et al. 1996, 2001) was employed to account for water vapor absorption.

Because absorption by water vapor varies strongly within the 5-nm FWHM bandpass of the AATS-14 channel centered at 941 nm, the usual Beer-Lambert-Bouguer expression must be modified to describe correctly the relationship between the output detector voltage, V(941), and the atmospheric attenuators on the sun-to-instrument path. In particular,

V(941 nm) = V0(941 nm) d-2 exp Tw,	 (1)

where V0(941 nm) is the exoatmospheric calibration voltage, d is the Earth-Sun distance in astronomical units at the time of observation, mi is the airmass factor (ratio of slant path optical depth to vertical optical depth) for attenuating species i (where i represents gas scattering, non-water vapor gas absorption, or aerosol extinction), τi is the optical depth for the ith attenuating species other than water vapor, and Tw is the water vapor transmittance (weighted by absorption strength, source intensity and filter function).  Consistent with the approach followed by Livingston et al. (2007), we used the three-parameter expression of Ingold et al. (2000) to parameterize Tw as a function of the amount of water vapor, ws, along the slant path:

Tw = c exp(-awsb). 	(2)

In this expression, the coefficients a, b, and c are least squares fitting parameters.  In particular, calculations were performed using the radiative transfer code LBLRTM V9.2 (Clough et al. 2005) for a variety of model atmospheres (tropical, mid-latitude summer, mid-latitude winter, subarctic summer, subarctic winter, 1976 U. S. Standard Atmosphere) and a range of solar zenith angles to extend the Livingston et al. (2007) Table 2 results to include all altitudes (maximum of ~12.5 km) flown by the DC-8 during SOLVE II.  These results are shown in Fig. 1 and the complete set of fitting coefficients is given in Table 1.  We have calculated one set of fitting parameters to LBLRTM results for the composite set of model atmospheres rather than calculating fitting parameters separately for each model atmosphere because inclusion of all the model atmosphere results yields a wide range of water vapor transmittances and slant path water vapor amounts.  These can then be applied to a wide range of sunphotometer transmittance measurements obtained at any altitude with no extrapolation to values of water vapor transmittance and slant amount outside the range of results from LBLRTM calculations that use a single model (e.g., the subarctic winter atmosphere).

As noted by Livingston et al. (2007) and illustrated here in Fig. 1, a retrieval that ignores the instrument altitude can result in an incorrect determination of slant path (hence, column) water vapor.  In particular, if it is assumed that the instrument is located at sea level, then column water vapor (CWV) would be underestimated for instrument altitudes above sea level, and the errors would be greatest for large solar zenith angles, SZA (high airmass values), and high CWV (hence, high slant water vapor) amounts.

Column water vapor is calculated from the slant amount by dividing by an appropriate water vapor airmass factor. These airmass factors were calculated using the methodology reported in Russell et al. (2005) and Livingston et al. (2005) by assuming a water vapor vertical distribution corresponding to the subarctic winter atmospheric model for the 21 January 2003 measurements and the mid-latitude winter atmospheric model for the 6 February 2003 data. The uncertainty in CWV is computed following Schmid et al. (1996). The calculated CWV values are averaged within 50-m vertical bins, and a smoothing spline is then fit to the resultant CWV profile.  Water vapor density ((w) is obtained as the derivative of the spline fit.  This procedure has been described in detail in Schmid et al. (2003a) and Livingston et al. (2007).

b.	Diode Laser Hygrometer

The NASA Langley/Ames Diode Laser Hygrometer (DLH) was designed and built to measure gas-phase water in the free-stream region of the NASA DC-8 aircraft, between the fuselage and the cowling of an outboard engine. The instrument is described in detail elsewhere (Vay et al. 1998; Diskin et al. 2002; Podolske et al. 2003), so only a brief description is given here.

The DLH instrument is a near-infrared (NIR) spectrometer operating at wavelengths near 1.4 m to detect individual rotation-vibration lines of H2O in either the (101) combination band or the (200) overtone band. Second harmonic detection (Sachse et al. 1977, 1987; Reid and Labrie 1981; Podolske and Loewenstein 1993, and references therein) and long path length are utilized to achieve high sensitivity, and two or more lines of different strengths are used to meet the dynamic range requirements for atmospheric water. The beam of a NIR diode laser is quasicollimated and transmitted through a quartz window secured in a DC-8 window plate, toward the cowling of the right (starboard) side outboard engine. There it strikes a sheet of retroreflector material and returns to the fuselage window from which it originally emerged. Inside the window a portion of the return beam is passed through a narrowband interference filter, collected by a Fresnel lens, and focused onto a detector. The sample volume of the external path is completely exchanged every 40–70 ms, depending on aircraft velocity. The laser wavelength is modulated, and the signal detector output is synchronously demodulated to produce the second harmonic signal. The second harmonic (2F) and DC components from the signal detector are recorded to allow power normalizing of the (2F) signal.

The laser radiation emitted from the rear facet of the diode laser is sent through a short (50 mm) reference cell containing pure water vapor and onto a second detector. The reference detector output is synchronously demodulated at the third harmonic (3F), the central zero crossing of which is subsequently used to lock the laser wavelength to the center of the chosen absorption line.

DLH calibration and data retrieval algorithms are described by Podolske et al. (2003). During SOLVE-II and subsequently, efforts to quantify DLH accuracy have yielded a typical uncertainty of ±5%, with a precision at 5 ppmv water vapor of approximately 1%.  The minimum water vapor densities (concentrations) measured by DLH for the two profiles discussed in this paper were 11 ppmv (at 9.7 km) and 4.6 ppmv (at 12.5 km) for the 21 January and 6 February profiles, respectively.

3. Results

Results from the first comparison profile, which was flown 21 January 2003 on a DC-8 ascent out of Kiruna, Sweden, are presented in Fig. 2. AATS was able to view the sun at DC-8 altitudes between ~7.7 and 10 km, thus allowing calculation of CWV at each altitude in that range. The AATS and DLH CWV profiles are overplotted in Fig. 2a, in addition to the atmospheric static temperature profile measured by a probe mounted on the DC-8.  Because DLH measures local (not column) water vapor, the DLH CWV value at profile top is set equal to the AATS value there, and DLH CWV values below that altitude are obtained by integrating DLH local values downward. Corresponding AATS and DLH water vapor densities are overplotted in Fig. 2b. As noted in Section 2a, AATS (w is obtained as the vertical derivative of a spline fit to the AATS CWV profile that results after averaging the CWV values within 50-m vertical bins.

Scatter plot comparisons of AATS and DLH CWV and (w for the 21 January profile are shown in Fig. 2c and 2d. The statistics shown on each scatter plot quantify the correlation and agreement between the AATS and DLH results.  For CWV, the data yield r2 0.977, rms difference 0.0004 g cm-2 (13.0%) and bias (AATS minus DLH) 0.0002 g cm-2 (8.1%).  Integration of the DLH (w values over the layer bounded by the minimum (7.69 km) and maximum (9.97 km) altitudes for which AATS CWV values were calculated yields LWV of 0.0038 g cm-2, which is 24% drier than the corresponding AATS LWV value, 0.0050 g cm-2.  Here, we note that if the absolute rms difference and bias in CWV (or, equivalently, in LWV) are expressed as percentages of LWV instead of CWV, the relative values increase (rms difference: 31.1%, bias: 19.6%) because LWV is less than CWV.  Corresponding values for (w are r2 0.887, rms difference 92.1% and bias (AATS minus DLH) 37.3%.  This agreement is noteworthy in light of the very dry conditions: maximum AATS CWV of 0.007 g cm-2 and maximum (w of 0.1 g m-3.  Table 2 summarizes the AATS-DLH results for the two SOLVE II profiles and includes (w results from three other campaigns in which coincident AATS and in-situ sensor (not DLH) water vapor measurements were acquired from the same aircraft.

Examination of Fig. 2a and 2b reveals that the AATS-DLH LWV difference of 0.0012 g cm-2 is dominated by differences between AATS and DLH water vapor values in the lowest 0.5 km (7.7-8.2 km) of the profile.  In an effort to explain these differences, we have examined the sensitivity of the AATS results to the water vapor airmass factors – that is, to the water vapor vertical distribution used to calculate these airmass factors.  As noted above in Section 2a, the AATS CWV values were derived using water vapor airmass factors calculated from the water vapor number density vertical distribution defined by the subarctic winter atmospheric model.  The DC-8 ascent from 7.7 km to 10 km covered a horizontal distance of ~160 km in 0.25 h.  During the ascent the true SZA decreased from 89.08º to 88.56º, for which water vapor airmass factors calculated from the subarctic winter atmosphere model decrease from 35.9 to 25.9, although the airmass factor between 7.7 and 8.2 km only decreases from 35.9 to 33.5.  In fact, DLH measurements are available between 2.0 km and 10 km and have been combined with the subarctic winter atmospheric model below and above the DLH profile to construct a composite water vapor profile, for which a new set of water vapor airmass factors has been derived.  Application of these airmass factors to the AATS water vapor transmittances decreases the AATS LWV from 0.0050 to 0.0043 g cm-2, in much better agreement with the DLH LWV value of 0.0038 g cm-2, but the new AATS CWV profile (not shown) still falls within the AATS CWV error band shown in Fig. 2.  Use of these airmasses yields corresponding decreases in AATS-minus-DLH CWV and (w bias and rms differences.  In particular, the AATS-minus-DLH CWV bias decreases from 8.1% to 1.5%, and the rms difference decreases from 13.0% to 7.4%.  The AATS-minus-DLH (w bias decreases from 37.3% to 19.1%, and the rms difference decreases from 92.1% to 76.2%.  However, the general shape of the AATS (w profile does not change and the divergence between the AATS and DLH (w values in the altitude range between 7.7 and 8.2 km is only marginally reduced.  We are left to conclude that these differences are real and are due to water vapor spatio-temporal inhomogeneity.  Although this exercise is useful for providing some measure of the sensitivity of the 21 January AATS CWV retrieval to airmass (i.e., to the water vapor vertical distribution), it is not practical for calculating real time AATS (w profiles because, typically, no a priori information on the vertical distribution of water vapor is available.

Fig. 3 shows results from the second comparison profile, which was flown 6 February 2003 as the DC-8 descended into Edwards Air Force Base, California, on its return from Sweden. In this case, AATS was able to view the sun at DC-8 altitudes from ~12.5 km to 1.1 km. This profile is noteworthy for combining very dry conditions above ~5.5 km (similar to those in the 21 January case, cf. Fig. 2) with significantly increased CWV and (w, and strong vertical structure below ~5.5 km (though values are still small compared to the previous AATS comparisons cited in Section 1). Another significant feature of this profile is the availability of water vapor measurements from a Sippican II radiosonde released from Edwards at 1446 UT (1.75 h before the DC-8 began its descent).  Frames 3a and 3b overplot the results for the entire range of measurement altitudes; frames 3c and 3d expand the results for altitudes between 6.0 and 12.5 km; frames 3e and 3f show results between 1.1 and 6.0 km.  We note that the spline fitting function was adjusted to smooth the AATS CWV values above 4.5 km (i.e., for relatively low values of CWV) more than those below 4.5 km to minimize the effect on the calculated AATS water vapor density profile due to spatial and/or temporal water vapor variability (as manifest by increasing CWV with altitude for selected altitudes above 8.5 km) along the AATS-to-Sun slant path.

For the entire altitude range traversed by the DC-8 during its descent on 6 February, the DLH measures LWV (0.291 g cm-2) that is 5% greater than the corresponding AATS LWV value (0.277 g cm-2).  Corresponding values of AATS and DLH CWV and (w for the 6 February profile are compared in scatter plots in Fig. 4 and are listed in Table 2.  Results for CWV are  r2 0.998, rms difference 0.0041 g cm-2 (6.6% in CWV, 7.0% in LWV) and bias (AATS minus DLH) 0.0005 g cm-2 (0.8% in CWV, 1.0% in LWV). Corresponding values for (w are r2 0.965, rms difference 0.068 g m-3 (25.2%),  and bias (AATS minus DLH) -0.013 g m-3 (-4.8%).  As can be seen in Table 2, if the analysis (not plotted separately) of the 6 February data is restricted to altitudes above 5.5 km, the CWV and (w r2 values are similar to the 21 January results.  The values of absolute rms difference and bias for the altitude-restricted 6 February analysis are about twice those of  the 21 January profile, whereas corresponding values of relative (w rms difference and bias are significantly lower than the 21 January results.  For comparisons between AATS and the radiosonde, the overall agreement is good: for AATS values interpolated to sonde-reported altitudes, AATS and sonde CWV have r2 0.998, rms difference 0.010 g cm-2 and bias (AATS minus sonde) 0.006 g cm-2.  Corresponding values for (w are r2 0.910, rms difference 0.109 g m-3 (34.6%) and bias (AATS minus sonde) 0.026 g m-3 (8.3%).  The maxima of the scatter plots  (CWV<0.3 g cm-2, (w <1.1 g m-3), though larger than those shown in Fig. 2, are still noteworthy for their small values. For example, in previous AATS comparisons to in situ and other remote water vapor measurements, CWV has ranged up to ~5 g cm-2 and (w up to ~17 g m-3.

As can be seen in Fig. 3d and 3f, the radiosonde measured higher values of (w than did AATS or DLH between 5.5 and 7 km, and also in the lower stratosphere (LS) between 11 and 12 km, but lower (w between 7 and 9 km and also between ~3.2 and 4.5 km.  Previous studies by Wang et al. (2003), Ferrare et al. (2004), and Miloshevich et al. (2006) have found that the Sippican carbon hygristor sensor fails to respond to humidity changes at colder temperatures and thus cannot provide reliable measurements of relative humidity in the upper troposphere (UT).  This may explain the higher Edwards sonde (w values measured in the LS and certainly raises doubts about the validity of the data not only in the LS but throughout the UT (i.e., above ~6 km).  Also, since no radiation correction is applied to the Sippican temperature data, heating by solar radiation could lead to an incorrect temperature measurement and thus contribute to an incorrect estimate of water vapor density.  However, there is no direct evidence of this effect, as examination of Fig. 3a indicates that measurements of static temperature by the DC-8 sensor and by the radiosonde are virtually indistinguishable throughout most of the troposphere, except within the temperature inversion at 3.2 km, where the sonde is warmer by ~2°C, and in the LS, where the DC-8 sensor is actually 1-2°C warmer than the sonde.

Fig. 5 shows scatter plots that combine AATS and DLH results for the profiles on 21 January and 6 February. AATS and DLH CWV (5a) have r2 0.998, rms difference 7.2% (7.7% LWV) and bias (AATS minus DLH) 0.9% (1.0% LWV). Corresponding values for (w (5b) are r2 0.968, rms difference 27.6% and bias (AATS minus DLH) -4.2%.  Results for altitudes >5.5 km only are shown for CWV and (w in 5c and 5d, respectively.  For CWV, values are r2 0.994, rms difference 9.5% (18.0% LWV) and bias (AATS minus DLH) 5.0% (9.5% LWV).  For (w, values are r2 0.825, rms difference 49.6% and bias (AATS minus DLH) 9.7%.

4. Summary and Conclusions

This paper has compared values of CWV and (w calculated from simultaneous measurements acquired by the AATS and DLH sensors on the DC-8 for two vertical profiles flown during SOLVE II.  This study is unique because it includes data acquired at altitudes (above 6 km) where we had previously never taken measurements and where the amount of water vapor in the atmosphere was the lowest we have ever measured. To our knowledge this is the first time suborbital spectroscopic water vapor measurements using the 940-nm water vapor absorption band have been tested in conditions so high and dry.

Measurements were acquired at altitudes between 7.7 km and 10 km during the 21 January aircraft ascent, and between 1.1 km and 12.5 km during the 6 February descent. AATS and DLH CWV values (where the DLH value was set equal to the AATS CWV value at the top of the profile) yielded r2 of 0.997 for 21 January and 0.998 for 6 February. Comparison of AATS and radiosonde CWV values for sonde measurements (normalized to AATS CWV at the top of the profile) acquired 1.75-2.15 h before the AATS measurements on 6 February yielded an r2 of 0.997. For measurements taken at altitudes >5.5 km, the composite AATS and DLH data set gave an r2 of 0.994, an rms difference of  0.0006 g cm-2 (9.5% CWV, 18.0% LWV), and a bias (AATS minus DLH) of 0.0003 g cm-2 (5.0% CWV, 9.6% LWV).  Corresponding values for (w were r2 of 0.825, an rms difference of 0.012 g m-3 (49.6%), and a bias (AATS minus DLH) of 0.002 g m-3 (9.7%). The large relative rms and bias differences reflect the dry atmosphere with (w <0.1  g m-3 at those altitudes.

The AATS-DLH CWV (LWV) results reported for the two profiles in the current study are not directly comparable to AATS-in situ sensor results obtained in previous AATS field campaigns (Schmid et al. 2003b, Schmid et al. 2006, and Livingston et al. 2007), because each of the previous studies included 26-35 separate aircraft profiles and reported r2, rms difference and/or bias LWV statistics calculated for the ensemble of profiles.  The relative (w statistics may be comparable, but caution must be exercised in drawing any conclusions from such comparisons because of the much larger values of (w measured in the prior studies.  Nevertheless, to put the current results in the context of the previous measurements, we include in Table 2 the comparative AATS-minus-in situ sensor (w statistics reported in those studies.

Most recently, Livingston et al. (2007) compared LWV and (w measured by AATS and by a Vaisala HMP243 humidity sensor mounted on the same aircraft during 35 vertical profiles acquired over the Gulf of Maine, with maximum LWV ~3.7 g cm-2 and maximum (w ~16 g m-3.  For the ensemble of 35 profiles, they found for (w an r2 of 0.98, an rms difference of 20.3% (0.904 g m-3), and bias (AATS minus Vaisala) -7.1% (-0.313 g m-3).  For coincident measurements acquired with AATS and with an EdgeTech 137-C3 chilled mirror during 35 vertical profiles over the Atmospheric Radiation Measurement (ARM) Southern Great Plains (SGP) site in 2003, Schmid et al. (2006) reported for (w an r2 of 0.958, an  rms difference of 19.8% (0.628 g m-3), and an AATS-minus-mirror bias of -5%.  In each of these studies, AATS was equipped with the same 941-nm interference filter used during SOLVE II.  Schmid et al. (2003b) compared coincident measurements acquired with AATS (using a different 941-nm interference filter from that used in the 2003 SGP and 2004 SOLVE II campaigns) and with an EdgeTech Chilled Mirror 137-C3 and a Vaisala HMP243 mounted on the same aircraft during 36 vertical profiles during the 2003 ACE-Asia field campaign.  For the AATS-mirror (w , they calculated an r2 of 0.961 and an rms difference of 24.9% (0.633 g m-3).  The AATS-Vaisala results were almost identical.  When the data obtained at all altitudes for 6 February 2003 are included in the analyses, the AATS-DLH r2 values for SOLVE II equal those reported in the previous AATS studies.  For data obtained on 21 January and for the composite data set restricted to those data acquired above 5.5 km on 6 February, the AATS-DLH r2 values (0.82-0.89) are less than the earlier results.  The AATS-DLH (w relative rms difference and bias for 21 January are significantly higher than the previous results, as are relative rms differences for the high altitude 6 February and high altitude composite data sets.  Again, about all that can be concluded is that the large relative rms and bias differences reflect the dry atmosphere at those altitudes.

We are encouraged that useful water vapor retrievals were derived from the AATS measurements on 21 January when data were acquired at high altitude for relatively high SZAs (89.08º to 88.56º).  However, these results are consistent with successful retrievals of aerosol optical depth and columnar ozone from AATS measurements taken at high altitude and high SZAs during SOLVE II (Russell et al. 2005; Livingston et al. 2005).  Although horizontal inohomogeneities are more likely to occur along long slant paths, these same long slant paths  can improve signal-to-noise ratio and reduce sunphotometer calibration uncertainties to allow extension into an area of low ambient water vapor density.

The comparisons presented here included a very limited set of measurements at altitudes in the 6-12 km range, and additional comparisons between sunphotometer and in situ sensors are needed at these altitudes where the amount of water vapor in the atmosphere is so low to permit quantification of the uncertainty in the sunphotometer-calculated (w values. Nevertheless, the agreement we have found between the AATS and DLH retrievals of CWV (essentially, LWV) gives us hope that airborne sunphotometer measurements can provide useful data for validation of satellite water vapor retrievals not only for the full atmospheric column and for (w in the lowest few km of the troposphere, as has been shown in previous studies, but also at altitudes in the upper troposphere where water vapor is limited.

Acknowledgments. We thank James Eilers and Richard Kolyer for supporting AATS measurements, and Stephanie Ramirez for help with illustrations and formatting. The SOLVE II measurements were supported by NASA’s Upper Atmosphere Research Program.  AATS analyses were supported by NASA’s Solar Occultation Satellite Science Team.

REFERENCES

Clough, S.A., M.W. Shephard, E.J. Mlawer, J.S. Delamere, M.J. Iacono, K. Cady-Pereira, S. Boukabara, and P.D. Brown, 2005: Atmospheric radiative transfer modeling: a summary of the AER codes.  Journal of Quantitative Spectroscopy and Radiative Transfer, 91, 233-244.

Diskin, G. S., J. R. Podolske, G. W. Sachse, and T. A. Slate, 2002: Open-path airborne tunable diode laser hygrometer.  Proc. of Soc. of Photoopt. Instrum. Eng., 4817, 196-204, doi:10.1117/12.453736.

Ferrare, R. A., E. V. Browell, S. Ismail, J. D. W. Barrick, G. S. Diskin, G. W. Sachse, S. A. Kooi, L. H. Brasseur, V. G. Brackett, M. B. Clayton, J. E. M. Goldsmith, B. M. Lesht, J. R. Podolske, F. J. Schmidlin, D. D. Turner, D. N. Whiteman, B. B. Demoz, D. Tobin, H. E. Revercomb, L. M. Miloshevich, and P. Di Girolamo, 2004: Characterization of upper-troposphere water vapor measurements during AFWEX using LASE, J. Atmos. Oceanic Technol., 21, 1790-1808.

Ingold, T., B. Schmid, C. Matzler, P. Demoulin, and N. Kampfer, 2000: Modeled and empirical approaches for retrieving columnar water vapor from solar transmittance measurements in the 0.72, 0.82, and 0.94 mm absorption bands. J. Geophys. Res., 105, D19, 24,327, 2000JD900392.

Livingston, J. M., V. Kapustin, B. Schmid, P. B. Russell, P. A. Durkee, T. Bates, and P. K. Quinn, 2000: Shipboard sunphotometer measurements of aerosol optical depth spectra and columnar water vapor during ACE-2, and comparison with selected land, ship, aircraft, and satellite measurements, Tellus B, 52, 594-619.

Livingston, J. M., P. B. Russell, J. S. Reid, J. Redemann, B. Schmid, D. A. Allen, O. Torres, R. C. Levy, L. A. Remer, B. N. Holben, A. Smirnov, O. Dubovik, E. J. Welton, J. R. Campbell, J. Wang, and  S. A. Christopher, 2003: Airborne Sun photometer measurements of aerosol optical depth and columnar water vapor during the Puerto Rico Dust Experiement and comparison with land, aircraft, and satellite measurements.  J. Geophys. Res., 108, D19, doi:10.1029/2002JD002520.

Livingston, J. M., B. Schmid, P. B. Russell, J. A. Eilers, R. W. Kolyer, J. Redemann, S. A. Ramirez, J.-H. Yee, W. H. Swartz, C. R. Trepte, L. W. Thomason, M. C. Pitts, M. A. Avery, C. E. Randall, J. D. Lumpe, R. M. Bevilacqua, M. Bittner, T. Erbertseder, R. D. McPeters, R. E. Shetter, E. V. Browell, J. B. Kerr, and K. Lamb, 2005: Retrieval of ozone column content from airborne Sun photometer measurements during SOLVE II: comparison with coincident satellite and aircraft measurements.  Atmos. Chem. Phys., 5, 1-20.

Livingston, J., B. Schmid, J. Redemann, P. Russell, S. Ramirez, J. Eilers, W. Gore, S. Howard, J. Pommier, E. Fetzer, S. Seeman, E. Borbas, D. Wolfe, and A. M. Thompson, 2007: Comparison of water vapor measurements by airborne Sun photometer and near-coincident in situ and satellite sensors during INTEX/ITCT 2004. J. Geophys. Res., 112, D12S16, doi:10.1029/2006JD007733.

Lumpe, J., R. Bevilacqua, C. Randall, G. Nedoluha, K. Hoppel, J. Russell, V. L. Harvey, C. Schiller, B. Sen, G. Taha, G. Toon, and H. Vömel, 2006: Validation of Polar Ozone and Aerosol Measurement (POAM) III version 4 stratospheric water vapor.  J. Geophys. Res., 111, D11301, doi:10.1029/2005JD006763.

Michalsky, J. J., J. C. Liljegren, and L. C. Harrison, 1995: A comparison of sun photometer derivations of total column water vapor and ozone to standard measures of same at the Southern Great Plains Atmospheric Radiation Measurement site.  J. Geophys. Res., 100, 25,995-26,003.

Miloshevich, L., H. Vomel, D. Whiteman, B. Lesht, F. Schmidlin, and F. Russo, 2006: Absolute accuracy of water vapor measurement from six operational radiosonde types launched during AWEX-G and implications for AIRS validation, J. Geophys. Res., 111, D09S10, doi:10.1029/2005JD006083.

Nedoluha, G. E., R. M. Bevilacqua, K. W. Hoppel, J. D. Lumpe, and H. Smit, 2002: Polar Ozone and Aerosol Measurement III measurements of water vapor in the upper troposphere and lowermost stratosphere.  J. Geophys. Res., 107(D10), 4103, doi:10.1029/2001JD000793.

Podolske, J., and M. Loewenstein, 1993: Airborne tunable diode laser spectro-meter for trace-gas measurement in the lower stratosphere.  Appl. Opt., 32, 5324–5333.

Podolske, J. R., G. W. Sachse, and G. S. Diskin, 2003: Calibration and data retrieval algorithms for the NASA Langley/Ames Diode Laser Hygrometer for the NASA Transport and Chemical Evolution Over the Pacific (TRACE-P) mission.  J. Geophys. Res., 108(D20), 8792, doi:10.1029/2002JD003156.

Reagan, J., K. Thome, B. Herman, R. Stone, J. Deluisi, and J. Snider, 1995: A comparison of columnar water-vapor retrievals obtained with near-IR solar radiometer and microwave radiometer measurements.  J. Appl. Meteorol., 34, 1384-1391.

Reid, J., and D. Labrie, 1981: Second-harmonic detection with tunable diode lasers−Comparison of experiment and theory.  Appl. Phys., B26, 203 –210.

Redemann, J., S. Masonis, B. Schmid, T. Anderson, P. Russell, J. Livingston, O. Dubovik, A. Clarke, 2003: Clear-column closure studies of aerosols and water vapor aboard the NCAR C-130 in ACE-Asia, 2001.  J. Geophys. Res., 108(D23), 8655, doi:10.1029/2003JD003442.

Russell, P. B., J. M. Livingston, E. G. Dutton, R. F. Pueschel, J. A. Reagan, T. E. DeFoor, M. A. Box, D. Allen, P. Pilewskie, B. M. Herman, S. A. Kinne, and D. J. Hofmann, 1993a: Pinatubo and pre-Pinatubo optical-depth spectra: Mauna Loa measurements, comparisons, inferred particle size distributions, radiative effects, and relationship to lidar data. J. Geophys. Res., 98, 22,969-22,985.

Russell, P. B., J. M. Livingston, R. F. Pueschel, J. A. Reagan, E. V. Browell, G. C. Toon, P. A.  Newman, M. R. Schoeberl, L. R. Lait, L. Pfister, Q. Gao, and B. M. Herman, 1993b: Post-Pinatubo optical depth spectra vs. latitude and vortex structure: Airborne tracking sunphotometer measurements in AASE II.  Geophys. Res. Lett., 20, 2571-2574.

Russell, P., J. Livingston, B. Schmid, J. Eilers, R. Kolyer, J. Redemann, S. Ramirez, J-H. Yee, W. Swartz, R. Shetter, C. Trepte, L. Thomason, A. Risley, Jr., B. Wenny, J. Zawodny, W. Chu, M. Pitts, J. Lumpe, C. Randall, and R. Bevilacqua, 2005: Aerosol optical depth measurements by airborne sun photometer in SOLVE II: Comparison to SAGE III, POAM III and airborne spectrometer measurements.  Atmos. Chem. Phys., 5, 1-29.

Russell, P. B., J. M. Livingston, J. Redemann, B. Schmid, S. A. Ramirez, J. Eilers, R. Kahn, A. Chu, L. Remer, P. K. Quinn, M. J. Rood, and W. Wang, Multi-grid-cell validation of satellite aerosol property retrievals in INTEX/ITCT/ICARTT 2004, 2007: J. Geophys. Res., 112, D12S09, doi:10.1029/2006JD007606.

Sachse, G. W., G. F. Hill, L. O. Wade, and E. P. Condon, 1977: DACOM-A rapid, high sensitivity airborne carbon monoxide monitor.  Proceedings of the Fourth Joint Conference on Sensing of Environmental Pollutants, edited by H. G. Stewart, 590 – 593, Am. Chem. Soc., Washington, DC.

Sachse, G. W., G. F. Hill, L. O. Wade, and M. G. Perry, 1987: Fast-response, high-precision carbon monoxide sensor using a tunable diode laser absorption technique, J. Geophys. Res., 92, 2071– 2081.

Schmid, B., and C. Wehrli, 1995: Comparison of sun photometer calibration by Langley technique and standard lamp.  Appl. Opt., 34, 4500-4512.

Schmid, B., K. J. Thome, P.  Demoulin, R. Peter, C. Mätzler, and J. Sekler, 1996: Comparison of modeled and empirical approaches for retrieving columnar water vapor from solar transmittance measurements in the 0.94-μm region.  J. Geophys. Res., 101, 9345-9358.

Schmid, B., J. M. Livingston, P. B. Russell, et al., 2000: Clear sky closure studies of lower tropospheric aerosol and water vapor during ACE-2 using airborne sunphotometer, airborne in-situ, space-borne, and ground-based measurements, Tellus B, 52, 568-593.

Schmid B., J. J. Michalsky, D. W. Slater, J. C. Barnard, R. N. Halthore, J. C. Liljegren, B. N. Holben, T. F. Eck, J. M. Livingston, P. B. Russell, T. Ingold, and I. Slutsker, 2001: Comparison of columnar water-vapor measurements from solar transmittance methods.  Applied Optics, 40, 1886-1896.

Schmid, B., J. Redemann, P. B. Russell, P. V. Hobbs, D. L. Hlavka, M. J. McGill, B. N. Holben, E. J. Welton, J. R. Campbell, O. Torres, R. A. Kahn, D. J. Diner, M. C. Helmlinger, D. A. Chu, C. Robles-Gonzalez, and G. De Leeuw, 2003a: Coordinated airborne, spaceborne, and ground-based measurements of massive, thick aerosol layers during the dry season in Southern Africa.  J. Geophys. Res., 108 (D13), 8496, doi:10.1029/2002JD002297.

Schmid, B., D. A. Hegg, J. Wang, D. Bates, J. Redemann, P. B. Russell, J. M. Livingston, H. H. Jonsson, E. J. Welton, J. H. Seinfeld, R. C. Flagan, D. S. Covert, O. Dubovik, A. Jefferson, 2003b: Column closure studies of lower tropospheric aerosol and water vapor during ACE-Asia using airborne sunphotometer, airborne in-situ and ship-based lidar measurements. J. Geophys. Res., 108(D23), 8656, doi:10.10292002JD003361.

Schmid B., R. Ferrare, C. Flynn, R. Elleman, D. Covert, A. Strawa, E. Welton, D. Turner, H. Jonsson, J. Redemann, J. Eilers, K. Ricci, A. G. Hallar, M. Clayton, J. Michalsky, A. Smirnov, B. Holben, J. Barnard, 2006: How well do state-of-the-art techniques measuring the vertical profile of tropospheric aerosol extinction compare? J. Geophys. Res., 111, D05S07, doi:10.1029/2005JD005837.

Taha, G., L. W. Thomason, and S. P. Burton, 2004: Comparison of Stratospheric Aerosol and Gas Experiment (SAGE) II version 6.2 water vapor with balloon-borne and space-based instruments, J. Geophys. Res., 109, D18313, doi:10.1029/2004JD004859.

Thomason, L. W., S. P. Burton, N. Iyer, J. M. Zawodny, and J. Anderson, 2004: A revised water vapor product for the Stratospheric Aerosol and Gas Experiment (SAGE) II version 6.2 data set, J. Geophys. Res., 109, D06312, doi:10.1029/2003JD004465.

Vay, S. A., B. E. Anderson, G. W. Sachse, J. E. Collins Jr., J. R. Podolske, C. H. Twohy, B. Gandrud, K. R. Chan, S. L. Baughcum, and H. A. Wallio, 1998: DC-8-based observations of aircraft CO, CH4, N2O, and H2O(g) emission indices during SUCCESS, Geophys. Res. Lett., 25, 1717–1720.

Wang, J., D. J. Carlson, D. B. Parsons, T. F. Hock, D. lauritsen, H. L. Cole, K. Beierle, and E. Chamberlain, 2003: Performance of operational radiosonde humidity sensors in direct comparison with a chilled mirror dew-point hygrometer and its climate implication, Geophys. Res. Lett., 30, doi:10.1029/2003GL016985.

Table 1.  Coefficients of Ingold et al. (2000) 3-parameter functional fit (2-parameter at altitudes below 4 km) to LBLRTM_v9.2 calculations of water vapor transmittance as a function of slant path water vapor ws (where ws is in units of cm or g cm-2) for the AATS-14 channel centered at 940.6 nm.  Values for altitudes 0-8 km are the same as those shown in Table 2 of Livingston et al. (2007).

| Altitude [km] | a | b | c |
| --- | --- | --- | --- |
| 0 | 0.51623 | 0.6439 | 1.00000 |
| 1 | 0.49669 | 0.6331 | 1.00000 |
| 2 | 0.47492 | 0.6238 | 1.00000 |
| 3 | 0.45191 | 0.6186 | 1.00000 |
| 4 | 0.43700 | 0.6053 | 1.00540 |
| 5 | 0.42217 | 0.5929 | 1.00924 |
| 6 | 0.40499 | 0.5859 | 1.01006 |
| 7 | 0.38888 | 0.5892 | 1.00855 |
| 8 | 0.38005 | 0.6059 | 1.00614 |
| 9 | 0.38692 | 0.6354 | 1.00394 |
| 10 | 0.43234 | 0.6897 | 1.00195 |
| 11 | 0.53860 | 0.7600 | 1.00077 |
| 12 | 0.60497 | 0.7952 | 1.00040 |
| 13 | 0.33551 | 0.6835 | 1.00086 |

Table 2.  SOLVE II AATS, DLH and radiosonde water vapor retrieval statistics; AATS-in situ results from previous field campaigns.

Date	Alt Range	   LWV	r2CWV	CWV bias	CWV rms diff. 	r2(w 	(w bias	(w rms diff.

[km]	   [g cm-2]	[g cm-2]	[g cm-2]	[g m-3] 	[g m-3]

--------------	-------------	--------------------	--------	  ---------------	------------------	-------	----------	---------------

AATS	DLH

21 Jan 2003	7.69-9.69	0.0050	0.0038	0.977	0.0002	0.0004	0.887	0.006	0.015

(8.1a, 19.6b)	(13.0a, 31.1b) 	(37.3%)	(92.1%)

06 Feb 2003	5.50-12.45	0.0182	0.0190	0.993	0.0004	0.0007	0.874	0.001	0.010

(alt > 5.5 km)	 (4.7a, 8.7b)	(8.7a, 16.2b) 	(3.2%)	(38.4%)

06 Feb 2003	1.10-12.45	0.277	0.291	0.998	0.0005	0.0041	0.965	-0.013	0.068

(all altitudes)	 (0.8a, 0.9b)	(6.6a, 7.0b) 	(-4.8%)	(25.2%)

sonde

06 Feb 2003	1.10-12.45	0.277	0.252	0.998	0.0057	0.0101	0.910	0.026	0.109

(all altitudes: radiosonde)	 (7.2a, 7.5b)	(12.8a, 13.4b) 	(8.3%)	(34.6%)

21 Jan, 6 Feb				0.998	0.0005	0.0037	0.968	-0.009	0.062

(all altitudes)	 (0.9a, 1.0b)	(7.2a, 7.7b) 	(-4.2%)	(27.6%)

21 Jan, 6 Feb				0.994	0.0003	0.0006	0.825	0.002	0.012

(alt > 5.5 km)	 (5.0a, 9.6b)	(9.5a, 18.0b) 	(9.7%)	(49.6%)

ACE-Asia, 2003	~0.0-3.8			0.961	-	0.633

(Schmid et al. 2003b: AATS vs. EdgeTech Chilled Mirror 137-C3)			(24.9%)

SGP, 2003	~0.2-5.7	0.958	-	0.628

(Schmid et al. 2006: AATS vs. EdgeTech Chilled Mirror 137-C3)		(-5.0%)	(19.8%)

ICARTT, 2004	0.05-6.0			 	0.977	-0.313	0.904

(Livingston et al. 2004: AATS vs. Vaisala HMP243)			(-7.1%)	(20.3%)

a value in %CWV           b value in %LWV