David M. Lee for the PHENIX  Collaboration

(

Design and Performance of the PHENIX Muon Tracking Systems

Abstract-- The PHENIX muon spectrometers at RHIC incorporates cathode strip chambers (CSC) as the tracking detectors.  The design requirements for the spectrometers was such that the mass resolution for the vector mesons would allow for a clear separation of the individual states.  This lead to the requirement that the CSC’s have a resolution of 100 µm and the intermediate detector station have a radiation length less than 0.1%.  The octant shaped chambers were constructed  of a honeycomb panel structure for the first and last station and the middle station used etched 25 µm metallized mylar foils held under tension by thick aluminum frames.  The largest chambers, 3.5 m x 3.5 m, are at station 3. Both spectrometers have now been fully instrumented and data taking has been very successful.  We have shown that the chambers have met design requirements.  A description of the design and performance of the chambers for both cosmic rays and real data is given.

# INTRODUCTION

The PHENIX experiment1 at the Relativistic Heavy Ion Collider at the Brookhaven National Laboratory consists of a central region with two electron arms and muon spectrometers in each of the forward regions.  The primary goals of RHIC are to produce a deconfined state of matter called the quark-gluon plasma (QGP) with the heavy ion beams and to probe spin structure of the nucleon with polarized proton beams.  An important confirming signature for the quark-gluon plasma (QGP) is a measure of J/( suppression in Au-Au collisions.  The two muon spectrometers are designed to measure this important signature by detecting the muons from the J/( decay.

# Muon Spectrometers

One of the primary measurements of the muon tracking system is to measure the muons from the decay of the vector mesons in collisions ranging from pp to Au-Au with sufficient precision to determine their rates of production.  For the J/( this translates to a mass resolution of ~ 150 MeV so that the J/( and the ((can be separated. Similarly, to separate the upsilon from the ((1S) and the ((2S+3S), the mass resolution of the tracking system should be  ~ 200 MeV.  The central magnet steel in front of the muon spectrometers limits the mass resolution of the J/( to about 150 MeV due to multiple scattering in the steel.  However, the resolution of the upsilon is dominated by the momentum resolution in the spectrometer and this leads to constraints on the design and resolution of the cathode strip chambers.  For the three position measurements in the center of the magnet at station 2, the resolution must be 100 µm and furthermore the radiation length of the station 2 assembly must be less than 0.1%.

The muon tracking systems consist of two large magnetic spectrometers located on opposite ends of the interaction region. Each is a radial field magnet with three detection stations of cathode strip chambers (CSC). The field causes the charged muons to bend in the phi direction.    See Figure 1.

Figure 1 The PHENIX detector showing the two muon spectrometers.

The north muon magnet is the larger of the two spectrometers and covers 1.1 to 2.4 units of rapidity (10( to 35() with 2( coverage in phi,  the rotation angle about the axis of the beam line  The south muon magnet is 1.5 meters shorter due to the requirement that it must be able to move away from the central magnet. To limit saturation in the south magnet piston more steel was required and consequently the rapidity coverage for the south magnet is 1.1 to 2.25 (12( to 35() with 2(  in phi.  Both magnets were designed to have a pt kick of 200 MeV/c.

Cathode strip chambers were chosen as the baseline detectors for each measurement station in the spectrometers.   Because of the difference in lengths of each spectrometer  only the first measurement station, station 1, had identical detectors for each spectrometer.  Stations 2 and 3 have different dimensions in the north and south spectrometers.

# Cathode Strip Chambers

The three measurement stations in the north and south spectrometers each presented unique design requirements.   To cover 360( in phi without serious overlap or loss in acceptance the chambers at stations 2 and 3 were designed to be in the form of octants and at station 1 in the form of quadrants.  The cell geometry for all chambers was the same; alternating ground and anode wires on the anode planes with 1 cm anode to anode spacing, 20 µm Au plated W anode wires, 75 µm copper-beryllium ground wire, 3.175 mm anode-to-cathode spacing, 5 mm wide cathode strips with every other strip read out. The anodes are not read out.  Stations 1 and 2 each have 3 CSC chambers and station 3 has 2 CSC chambers.  Both cathodes in each chamber are readout for a total of 6 (4) measurement points.  Three (two) of the cathode planes have strips oriented normal to the anode wire and they provide the high resolution coordinate points.  The other cathodes have strips oriented at an angle between 3.75( and 11.25( to the perpendicular strips and provide stereo information to help determine the radial coordinate and to help in eliminating  ghost hits.

In all  types of chambers that read out the cathode charge and interpolate to get the coordinate position, any inclined track that deposits its charge along the anode wire will suffer degradation in the resolution due to energy loss fluctuations in the gas that cause a non uniform distribution of the charge along the anode wire.  To minimize this effect we chose to limit the angle of inclination from the normal to the face of the chamber to ± 11.25(.  This was accomplished by laying the anode wires on the chord in each half octant.  A special wire winding machine was developed that moved the wires in an arc where the wires were captured by fiberglass pins on each edge and one in the center of the octant.  The resultant continuous wire had an angle change in the center of the octant of 22.5(.  The intrinsic resolution of the chamber at normal incidence is expected to be 100 µm  and at the edge of the octant, 150 µm.

Another cause for resolution degradation is the Lorentz angle due to the magnetic field in the magnet causing the charge to spread along the anode wire.  This was minimized by selecting a “fast gas” for use in the chambers.  A tertiary gas mixture, 50% Ar + 30% CO2 + 20% CF4, was chosen.  For the magnetic fields we estimate that the Lorentz angle is less than 5(.  The operating voltage is ~1850 V and the design gain is ~ 2 x 104 .

## Station 1 CSC Chambers

The station 1 chambers are closest to the interaction region and are therefore the smallest.2  Two station 1 quadrants are shown in figure 2.

Figure 2  Two station 1 quadrants.  HV cabling from the edges of the chamber are visible.

The anode HV cables are connected to individual anode boards on either radial edge of the chambers and the cathode connectors exit on the outer circumference.  While the station 1 chambers are quadrants mechanically they are octants electrically with the anode wires and cathodes electrically isolated in the center of each quadrant.

Figure 3.  Cross section of the cathode end of the station 1 chambers.

Maximizing the active area was the reason for making quadrants because the acceptance loss was minimized in the center. We were able to maintain an active area of 95%. The chambers consist of 4 planes of  honeycomb sandwich panels with spacers on the edge to form the three CSC gaps. (figure 3). A schematic of the station 1 chamber showing how the anode wires change direction is shown in figure 4.

Figure 4. Schematic of station 1 quadrant with the anode wires shown.

The honeycomb sandwich consists of nomex core with copper clad FR4 laminated on either side.  Each quadrant honeycomb panel had two octants of the copper clad on each surface.  The outer copper clad skin was solid copper and the inner copper clad skins were made with a standard photo-etching process to make the relevant strip orientation for each octant.  The 3.175 mm thick anode PC boards are glued to two edges of the octant and solid FR4  3.175 mm thick  are glued on the other edges to make the spacer for the half gap.  The mating spacer on the mating panel is solid FR4 with an o-ring groove.  The solid FR4 and the anode cards were not continuous around the quadrant so the spaces between the separate cards were filled with epoxy to help ensure a good  gas seal.  A total channel count for the cathode readout for station 1 is 4608.

Ribs 5 mm wide, 3.175 mm thick with 0.5 mm FR4 pins every 5 mm for the entire radius were located at the center of the quadrant and in the middle of each octant ( every 11.25() to guide the anode and ground wire during the winding process and were left in place.  All wires were glued at each end and soldered to the anode boards.  The inner to outer radius of the station 1 chambers was 1.2 m. To ensure that the chambers were assembled to an accuracy of 25 (m, an assembly fixture with 6 precision guide holes was used to drill precision  holes in all planes and precision pins were installed in the final assembly.  As in all of the CSC chambers precision pins were used to translate the coordinates from inside to the outside of the chambers.

## Station 2 CSC Chambers

The station 2 design was perhaps the most ambitious because the radiation length was required to be less than 0.1% to achieve the required momentum resolution.3 To achieve this we constructed station 2 to consist of thin etched copper coated cathode foils for all cathodes and thin exit and entrance gas windows.4  A completed station 2 chamber is shown in figure 5.

Figure 5.  The station 2 CSC mounted on a test wall.  Visible are the large Al support frames, the entrance metalized gas window and the anode and cathode cables and connectors on the lrft and top of the octant.  The radiation length is 8.5x10-4

All planes including the anodes, cathode, ground and spacer frames were 3.175 mm thick.  The anode wire planes and the cathode foil planes were a laminate of Al  extrusions and FR4 PC boards.  The entire frame was made of many FR4 pieces so just like in station 1 we filled all cracks between the separate pieces with epoxy.  The aluminum extrusion had an o-ring on the back side to contain the gas. The 25 µm thick copper coated mylar foils were attached to the cathode PC boards by glue and the electrical connection by conducting epoxy. The copper coating was 600 Angstroms thick.  For the anode planes the anode and field wires were glued and soldered to the anode boards.  An FR4 rib, 5 mm wide and 3.175 mm thick, with 0.5 mm FR4 pins every 5 mm  supported the anode wires in the middle of the chamber.  It was fixed at the outer diameter of the anode plane and left to float in a groove at the bottom of the frame.  Allowing the support rib to float was necessary because the support rib stretches under the tension due to the wires and the cathode foils cause the upper support frame to deform under load.  All anode, cathode, and support frames had  9 precision holes , 3 on each long edge, drilled with the same drill jig to hold the alignment  pins that were used in the assembly process.  The accuracy of the hole locations were kept to 25 µm.

A cross sectional view of the anode side of the station 2 octants is shown in figure 6.   The thick 28.4 cm Al plates on the top and bottom provide the mechanical support for all of individual anode and cathode planes.  During the etching process for the cathodes and the wiring process for the anodes the thin 3.175 mm frames were held under tension by these

Figure 6.  Cross section view of the anode side of the station 2 octant.  The planes are labeled W for window foil, C for cathode foil plane, A for anode plane, and G for ground plane. An o-ring was required for every plane and two for the spacer frames for a total of 15 o-rings.

large support frames with the  precision pins holding the frames in place.  Each cathode strip chamber consisted of an anode plane with two cathode planes on either side. A ground plane was placed between each CSC chamber.  The gas window was a metallized mylar foil.  The physical size of the octants varied between the north and south arm due to differences in location within the magnets and differences in size of the central piston.  In addition, within each arm 4 of the octants were displaced downstream so that the octant edges could overlap.  The north arm spectrometer station 2 octant sizes are 2240x2140 mm2 and 2174x2068 mm2.  The south arm spectrometer octant sizes are 1938x1740 mm2 and 1872x1650 mm2. The total channel count for cathode readout for station 2 is 7680 channels for the south arm and 9216 for the north arm.

## Station 3 CSC Chambers

The largest chambers in each of the PHENIX muon spectrometers are the station 3 octants that are attached to the rear wall of the magnet.   A finished station 3 octant is shown in figure 7.

Like the station 1 chambers the station 3 chambers use honeycomb cores with 1.59 mm FR4 copper clad on either side.  The copper clad on the cathode sides were mechanically routed to make the cathode strips.  A cross section of the station 3 chambers is shown in figure 8.

The edges of the gaps were a laminate of FR4 spacers and anode and cathode PC boards just like in the station 1 construction.  A 2 cm wide rib with FR4 pins at 5 mm spacing spanned the center of the octant from the outer radius to the inner radius and glued in place.   A thick brass bar along the edge of the assembly provided a good electrical connection and spread the load to fully compress the o-rings.

The south station 3 octants were 2.4 m x 2.4 m and the north octants were 3.3 m x 3.3 m.  Precision alignment pins and a precision drill jig were used to drill and assemble the planes.

Figure 7.  A station 3 finished octant.  Visible is the HV cabling coming from the anodes, right, and the cathode connectors on the top.  The copper extensions on the top hold the CD cameras used in the optical alignment system.

Figure 8.  Cross section of station 3 octant.  Because of the increase in size for station3 the honeycomb core is 21.65 mm thick.

The routed cathode sheets were laminated in the commercial factory so precision placement of the cathode skins onto the honeycomb core was not possible.  Therefore, an accurate survey of each cathode was made to accurately reference the cathode strips to the alignment pins. The total channel count for cathode readout for the north  station 3 was  10240 and for south station 3 was 8192.

# Results and Performance

One of the first station 2 octants out of the production factory was placed in a cosmic ray test stand to incorporate the production electronics in a chain test and to determine the resolution of the chambers.  The results of that test is shown in figure 9 which indicates a chamber resolution of  100 µm.

Figure 9.  Residuals from the test of the station 2 octant with the production electronics.  The sigma of 130 µm corresponds to an intrinsic resolution of the CSC’s of ~100 microns.

During this test the data were limited to cosmic rays normal to the chamber.  Since no offsets between the three chambers were necessary, this also gave us confidence that the assembly procedures were accurate to much less than 100 µm.   It also demonstrated that the production electronics noise levels were at or better than design specifications ( <3000 electrons).

The south muon arms were fully instrumented in the PHENIX detector for Run II in the winter and spring of 2002.5  Initially all HV channels were operational but gradually during the run 10-15% of the HV channels dropped out due to excessive leakage currents, > 1 uA.  This problem was traced to high humidity in the Brookhaven area affecting the exposed anode boards, even though parylene coating was used on the anode boards during the manufacturing process and additional conformal coating was added during the Q/A process after the chambers were assembled.  After the run was completed, dry air circulation was implemented to keep the local  humidity in the vicinity of the anode boards  low.  This was successful and most of the high leakage boards were operational.  Another failure occurred with the surface mount coupling capacitors on the anode boards.  Capacitors rated for 4 kV were used and all boards were tested during the Q/A process for bad capacitors but during the run a few developed high leakage paths that indicated a breakdown in the capacitors.  In some cases we were able to remove the capacitors but in others we were not so some HV channels were turned off.  In general the tracking efficiency did not suffer because a sufficient number of hits on the track remained even if only four out of the six cathodes  remained.

During the summer of 2002 the north arm spectrometer was fully instrumented in preparation for the run III in the winter and spring of 2003.  All chambers were thoroughly tested prior to installation and  conformal coating was used on the anodes PC boards.  Again as was the case for the south arm some HV coupling capacitors developed problems during the run.  Despite these problems the number of active HV channels during the run III was 96% for the north arm and 98.7% for the south arm .  The tracking efficiency remained high at ~95%.  A good indication of the performance of both north and south muon spectrometers is the mass peak of the J/(.  While the J/( mass peak is dominated by multiple scattering in the central arm magnet, any major deviation from the design specifications would show up in a broadening of this peak.   Shown in figure 10 is the north  J/( mass peak from the recent run III.

Figure 10.  The J/( mass peaks for the north muon spectrometer .

These are preliminary data and the absolute normalization of the data has not been determined.  Nevertheless, the peak exhibits a resolution of 168 MeV for the north arm, close to the values predicted from Monte Carlo simulations.  To obtain these results the chamber resolution should be close to design goals, the electronics noise level must be close to design goals, and  the alignment of all stations must be accurately known.

# References

H. Akikawa et. al, “PHENIX Muon Arms”, Nuclear Instruments and Methods in Physics Research A 499 (2003) 537 – 548.

D.E. Fields, et. Al, “Large, Light, High Acceptance CSC Chambers for the PHENIX Muon Detector Using a Honeycomb Panel Design”, 1996 IEEE NSS Conf Rec, Vol. 1, 1997, pp 527-529.

D. M. Lee, et. al., “Large CSC Chamber for the PHENIX Muon Detector with Ultra Thin Cathode Foils”, 1996 IEEE NSS Conf Rec, Vol. 1, 1997, pp 274-278.

C.L Morris, , et. al., “ Electric discharge etching of thin metalized plastic films”,  Nuclear Instruments and Methods in Physics Research A 379 (1996)pp. 243-246.

" J/( production from proton-proton collisions at sqrt(s) = 200 GeV",

S.S. Adler et al., submitted to Physical Review Letters July 8 2003

# Footnotes

Manuscript received October 22, 2003. This work was supported in part by the U.S. Department of Energy and the RIKEN Institute.

David M. Lee is with Los Alamos National Laboratory, MS H846, Los Alamos, NM 87545 USA (telephone 505 667-8888, email: dlee@lanl.gov