ENERGY PHOTOVOLTAICS

# June 17, 2003

Dr. Harin Ullal, Technical Monitor

National Renewable Energy Laboratory

1617 Cole Boulevard

Golden, CO 80401

Dear Harin,

Enclosed please find the first quarterly report for Phase II for EPV’s cost-shared subcontract RDJ-2-30630-21 Advanced CIGS Photovoltaic Technology awarded under the Thin Film Partnership Program.  The nominal period covered by the report is 3/1/03 - 5/31/03.

The core CIGS group consists of Dr. Alan Delahoy, Dr. Leon Chen, Dr. Baosheng Sang, Dr. Masud Akhtar, John Cambridge, Frank Ziobro, Ramesh Govindarajan, and Renata Saramak.  Dr. Natko Urli performed the sol-gel work in this quarter.  Dr. Sheyu Guo assists with hollow cathode sputtering.

This report deals with the following areas of activity:

- Optimization of  large size CIGS deposition in Zeus, and module performance

- Mini-module performance and process improvement in Hercules

- Other device configurations

- CdS process and surface treatment research

- Interconnection

- AR coating

- Plans for next quarter

- Optimization of  large size CIGS deposition in Zeus, and module performance

In this quarter, we restored a 1 square foot module process after having attained better CIGS process control as well as an excellent CIGS recipe in the Zeus system.  Some very encouraging results for small device, mini-module and intermediate-size module performance will be reported in this section.

As planned in the last quarterly report, early this quarter we used a commercial EUROTHERM temperature controller to replace our home-made (software-based) controller to see if we could improve control of source temperature in the Zeus.  We found that the temperature fluctuation of both Se boats was lowered to ± 1 ºC at an operating temperature of 320 ºC when the new EUROTHERM controller was used, down from ± 4 ºC when the old software-based controller was used.  For the In source, the temperature fluctuation was lowered to ± 2 ºC at an operating temperature at 1090 ºC when the new EUROTHERM controller was used, down from the original ± 5 ºC. Therefore, process control is considerably improved.  A third EUROTHERM will be installed for the Ga line shortly.

In view of the fact that Cu selenization and the third stage layer (In,Ga)2Se3 (here sometimes abbreviated to IGS) play critical roles in CIGS performance, we designed a sample holder which can hold strips cut from a big plate deposited with the first stage IGS plus the second stage sputtered Cu.  Through the use of this sample holder, we only need to load one strip rather than a whole plate to optimize Cu selenization and/or the third stage IGS layer.  Not only can this method accelerate the pace of optimization many fold, it also makes the optimization analysis more meaningful since many experiments can be conducted with strips cut from one large plate, with all strips having the same first and second layers.  Thus far, the sample holder has worked very well.

We started our new CIGS optimization, for simplicity, with flat first and third IGS profiles, this being similar to the first and third stages in the NREL three-stage process.  Based on the understanding that Ga and In have a different diffusion mechanism during film growth by NREL’s 3-stage process, which could result in a Ga compositional gradient and beneficial band-gap grading, (M. Contreras et al.: Proc. 1st WCPEC, pp. 68), we realize that we still have two degrees of freedom to further optimize our recipe by adjusting the Ga profile and ratio in the first stage and third stage respectively.

Investigation of the Cu selenization conditions was our main focus in this period.  A 38″ x 17.5″ plate (Z1559) was cut into several 3″ x 12.5″ strips, which were then employed to investigate the effects of selenization conditions on device performance.  The main purpose of this experiment is to find an optimal selenization temperature.  Two kinds of Cu/(In,Ga)2Se3 precursor, Cu-poor (Cu/(In+Ga) = 0.87 in Z1559-1,2,3) and Cu-rich (Cu/(In+Ga) = 1.27 in Z1559-5,6,7), as measured after first IGS layer and sputtered Cu deposition, were used.  The third stage IGS deposition followed Cu selenization for all strips except Z1559-2, on which no third layer was deposited.

Listed in Table I is a summary of CIGS film composition before and after the third IGS layer, as measured by ICP, and the I-V parameters of small cells having an area of ~ 0.2 cm2.  The results in Table I clearly show that:

1) CIGS film (Z1559-2), with Cu selenization but without a third-stage IGS layer, does not yield good devices.  Most of the small devices in this sample show shunted dark and light I-V behavior which implies that a conductive Cu-Se phase might emerge on the surface of the CIGS and grain boundaries, constituting shunting paths even though the total Cu/(In+Ga) ratio is only 0.86;

2) Devices on CIGS films made from precursors that passed through a Cu-rich period (“Cu-rich precursors”) (Z1559-5,6,7) demonstrate noticeably higher Voc even though their Ga ratio is lower;

3) Devices with Cu-rich precursors (Z1559-5,6,7) selenized at 550ºC show higher efficiencies than those selenized at 525ºC and 500ºC, while there was no obvious performance difference for different selenization temperatures for Cu-poor precursors (Z1559-1,3).

Table I.  Compositions of CIGS films and I-V parameters of their devices

| Z1559 | Cu/ (In+Ga) (before 3rd IGS) | Selenization Conditions (Temp/Time) | Cu/ (In+Ga) (after the 3rd IGS) | Ga/ (In+Ga) | Thick (m) | Voc [mV] | FF [%] | Jsc(QE) [mA/ cm2] | Eff [%] |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Z1559-2 | 0.87 | 550oC/30min* | 0.86 | 0.31 | 1.55 | 351 | 52.4 | 27.2 | 5.0 |
| Z1559-1 | 0.87 | 550oC/30min | 0.59 | 0.31 | 2.11 | 483 | 64.4 | 26.5 | 8.2 |
| Z1559-3 | 0.87 | 525oC/30min | 0.65 | 0.30 | 2.11 | 499 | 62.2 | 26.9 | 8.4 |
| Z1559-5 | 1.27 | 550oC/30min | 0.65 | 0.28 | 2.55 | 558 | 72.7 | 26.9 | 10.9 |
| Z1559-6 | 1.27 | 525oC/30min | 0.63 | 0.26 | 2.56 | 529 | 64.7 | 23.1 | 7.9 |
| Z1559-7 | 1.27 | 500oC/30min | 0.68 | 0.28 | 2.70 | 525 | 68.9 | 22.9 | 8.3 |

* w.o. 3rd IGS layer

In a 3-stage process, achievement of a Cu-rich film at the end of the second stage Cu-Se delivery onto a (In,Ga)2Se3 precursor is thought to result in a CuxSe liquid-phase that aids grain growth and yields  large and columnar morphologies and better devices (M. Contreras et al.: Proc. 1st WCPEC, pp. 68).  This requires a Cu-rich stage before the third IGS deposition as well as a high substrate temperature (>523ºC for a CuxSe liquid phase).  Our results agree well with the ideas and reported results of CIGS growth by a 3-stage process. This investigation clearly suggests that a Cu-rich precursor having a Cu ratio 1.2-1.3 after the sputtered Cu step is needed in order to fabricate good devices.  Further increase of substrate temperature during selenization is planned.  An investigation of the selenization time is also under way.  Right now, the best efficiency for small cells made on Zeus material is 10.9%, as plotted in Fig. 1.

Fig. 1 I-V curve of device Z1559-52 C2

The distribution of cell performance was carefully checked on a 2″x 4″ substrate.  Excellent uniformity was achieved and the results are given in Table II.  Disregarding the small fluctuation of Jsc, the non-uniformity of the product Voc* FF is within 10%.

Table II  I-V parameters of CIGS cells (~0.2 cm2) on a 2″ x 4″ plate

| Sample | Voc[mV] | FF[%] | Jsc(QE) | Eff [%] | Voc*FF |
| --- | --- | --- | --- | --- | --- |
|  |  |  | [mA/cm2] |  |  |
| Z1559-52-A2 | 552 | 69.5 | 26.7 | 10.2 | 1.00 |
| Z1559-52-A1 | 553 | 67.1 |  |  | 0.97 |
| Z1559-52-B1 | 553 | 69.3 |  |  | 1.00 |
| Z1559-52-B2 | 556 | 70.3 |  |  | 1.02 |
| Z1559-52-B5 | 524 | 68.3 |  |  | 0.93 |
| Z1559-52-C3 | 541 | 69.4 |  |  | 0.98 |

Based on the improved CIGS process, a few mini-modules (about 40 cm2) and one-square-foot modules were fabricated in this quarter.  So far, we are able to produce mini-modules in the 9% range with CIGS deposited in the Zeus system and ZnO:Al (RF) sputtered in the Airco system.  Z1565-31 is the best mini-module we have produced recently.  It has 15 interconnected cells, each with a segment width of 6.35 mm.  Its I-V curve is plotted in Fig.2.

Fig.2  I-V curve of Z1565-31 mini-module

A couple of one-square-foot modules were also produced using CIGS films from the Zeus and ZnO:Al from the in-line sputtering system.  The first module ran, Z1561, was selenized at 550ºC for 30 min, had an area of 827 cm2 with 44 series-connected cells, and yielded an aperture efficiency of about 5%.  The efficiency was reduced by a low current density due mainly to the poor n-ZnO; however, the high Voc/segment of 521 mV is very encouraging for further optimization of the current CIGS deposition recipe.  The I-V curve of Z1561-1 one- square-foot module is plotted in Fig. 3.

Fig.3 I-V curve of Z1561-1 one square foot module

Additionally in this quarter we further improved our source delivery modeling elaborated in our last annual report, where only one source boat was considered.  In our real configuration, two source boats are connected to a long delivery pipe with 20 tiny holes.  The temperatures of the two boats are designed to be the same since they are heated up with equal current in a series connection, are of identical design, and are initially loaded equally.  Nevertheless, in practice some temperature difference between the two boats is observed.

The objective of the new modeling is to see under what conditions vapor flows will be delivered from both boats even if there is a temperature difference.  For simplicity, we only studied one delivery hole in the middle of the pipe in this period.  However, to extend our modeling to 20 holes is straightforward in concept.

Let P1 be the saturated vapor pressure of source boat 1 at temperature T1, and P2 that of boat 2 at temperature T2.  Suppose T2 is higher than T1, thus P2 > P1.  We call the gas conductance in a section of pipe between source and the tiny delivery hole C, and conductance of a hole α. Assuming F1 and F2 are the vapor flows out of the sources, we can write Kirchoff equations:

F1/C + (F1+F2)/α = P1						(1)

F2/C + (F1+F2)/α = P2						(2)

Solving (1) and (2) for F1, we found the condition for F1 to be positive (that is, vapor flow out of source boat 1):

(P2-P1)/P1 < α/C							(3)

The vapor pressure P can be approximated as an exponential function of source temperature, so that we have

(P2-P1)/P1 = K * (T2-T1)/T2						(4)

For Se, (P2-P1)/P1 = 3.5 % at 320 ºC.  Assuming conductance ratio of delivery hole to pipe α/C = 5%, from (3) and (4) we have

(T2-T1) < 1.43 ºC							(5)

The final result (5) indicates that flow F1 will come out of boat 1 as long as the temperature difference between the two boats is kept small enough.

- Mini-module performance and process improvement in Hercules

We processed several excellent mini-modules with CIGS produced from the Hercules system in this period.  The best record run H 175-2 reached 9.63% aperture efficiency with Voc 6.85 V (13 cells), FF 59.6% and Jsc 30.7 mA/cm2.  We believe the fill factor could be raised to the middle 60s% by reducing cell width to 5 mm from present 6.6 mm.  However, we still don’t have a clear clue about low Voc yet (on average about 526 mV per cell, due mainly to CIGS film quality). Thus, we spent most of our energy and time in this quarter to optimize the CIGS recipe with the goal of increasing Voc to the 600 mV level in Hercules.

Explored were many directions including:

- Higher Se flux in the first and third stage of IGS, as well as in post-sputter Cu selenization (H176)

- Elevated substrate temperature in the 3rd stage IGS as well as in post-sputter Cu selenization (H177)

- Slow cool down after the 3rd stage IGS deposition (H179)

- Change IGS ratio between 1st and 3rd stage (H182 and H183)

- Reduction of total CIGS thickness (H180 and H181).

Experimental details and device/mini-module performance are summarized in Tables III and IV, respectively.  Our control runs H175 and H178 are also listed in these tables as references. As the results in Table IV show, no substantial improvement of Voc was observed in this set of optimizations, although slow cool down seems to work pretty well.

Table III    Optimization of Hercules CIGS

| Run # | IGS split % | Stage 1 Se rate (350C) | Stage 2 Cu | Stage 3 | Slow cool- down | CIGS thickness | Cu ratio |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Se rate | T sub |  |  |  |
| H175 | 75/25 | 12 | Sput. | 33 | 510 | No | 2.78 | 0.84 |
| H176 | 75/25 | 22 | Sput. | >58 | 510 | No | 2.78 | 0.88 |
| H177 | 75/25 | 13 | Sput. | 26-38 | 550 | No | 2.79 | 0.77 |
| H178 | 75/25 | 14 | Sput. | 36-42 | 510 | No | 2.74 | 0.82 |
| H179 | 75/25 | 14 | Sput. | 33-40 | 510 | Yes | 2.68 | 0.80 |
| H181 | 75/25 | 14 | Sput. | 36-40 | 510 | Yes | 2.33 | 0.74 |
| H182 | 83/17 | 14 | Sput. | 29-34 | 510 | Yes | 2.00 | 0.72 |
| H183 | 83/17 | 14 | Sput. | 29-38 | 510 | Yes | 2.03 | 0.81 |
| H184 | 75/25 | 14 | Evap. at 350C no Se | 33-30 | 510 | Yes | 2.48 | 0.69 |

Table IV Device and mini-module performance from Hercules

| ID | Voc (mV) | Jsc (mA/cm2) | FF (%) | Eff. (%) | Comments |
| --- | --- | --- | --- | --- | --- |
| H175-2 | 526 | 34.9 | 59.6 | 11.0 | Mini-module with 13 cells |
| H175-4 | 510 | 35.7 | 54.8 | 10.0 | Mini-module with 13 cells |
| H175-5A | 426 | 32.3 | 53.7 | 7.2 | Unscribed Mo |
| H176-3-B | 503 | 25.8 | 63.0 | 8.2 | Higher Se flux |
| H177-4-B | 546 | 28.1 | 60.3 | 9.3 | Higher temperature at 3rd stage |
| H178-2-B | 515 | 27.9 | 57.5 | 8.3 |  |
| H179-2-A2 | 579 | 29.5 | 74.3 | 12.7 | 13 min. slow cool-down |
| H181-3-C2 | 537 | 28.0 | 70.2 | 10.6 | Thinner CIGS |
| H182-5-B | 559 | 26.1 | 69.8 | 10.2 | IGS split 83%/17% |
| H183-4-B1 | 477 | 27.4 | 62.5 | 8.2 | IGS split 83%/17% |
| H184-4-B4 | 522 | 28.5 | 67.2 | 10.0 | Evap. Cu without Se present |

In our present hybrid process, the first and the third stage IGS are formed in the Hercules system, while Cu is sputtered in the in-line sputtering system.  Therefore, breaking vacuum twice (before and after sputtering Cu) is unavoidable at present.  Is it possible that lower Voc in our device is caused by sputtered Cu used in our hybrid process and/or caused by breaking vacuum?  To test these thoughts, we made a run with evaporated Cu H184 at 350 ºC in the 2nd stage in Hercules instead of sputtered Cu.  We intentionally evaporated Cu without simultaneous Se co-evaporation to simulate our sputtered Cu process as closely as possible. Post-Cu selenization was the same as that used in our hybrid process.  Unfortunately, from the test result (experiment details as well as test results are listed in Tables III and IV) we still didn’t find a big jump in Voc yet.  It is worth noting that we still have to break vacuum once in our all-evaporation process (after the 1st stage IGS in Run H184) because we evaporate all the material in the open boat in any given stage.  More runs with evaporated Cu are planned for the next quarter.

- Other device configurations

One way of designing a next-generation high performance tandem device is to insert a thin transparent conductive layer between the top and bottom junctions to serve as contacts and tunnel junction.  As the first step, we would like to study the contact behavior of transparent conductive layers with CIGS films.  We designed an experiment with two variables, contacts and type of layers, each with two levels.  Two levels of contacts are front and back in the experiment.  Two types of transparent conductive layers are used in the test.  One is n-type CTO (SnO2) Tech 8 with sheet resistance 8 ohm/sq produced by LOF glass company, and the other is the same CTO coated with a very thin intrinsic ZnO layer about 500 A thick.  CTO sheet resistance does not show any observable increase after being coated with thin i-ZnO.  All four experiment conditions and their configurations are listed in Table V below.

Table V   Other configuration of devices

| ID | Contact | CTO | Device Structure | Configuration | Efficiency |
| --- | --- | --- | --- | --- | --- |
| H178-3 | Back | Tech8 | Glass/Tech8/CIGS/CdS/ZnO | Substrate | 4.27 % |
| H178-4 | Back | Tech8 +i-ZnO | Glass/Tech8+ i-ZnO/ CIGS/CdS/ZnO | Substrate | 2.52 % |
| H179-3 | Front | Tech8 | Glass/Tech8/CIGS/Mo | Superstrate | 0.1 % |
| H179-4 | Front | Tech8 +i-ZnO | Glass/Tech8+i-ZnO /CIGS/Mo | Superstrate | 1.7 % |

All CIGS films in the experiment were deposited in Hercules.  Device performance did not show obvious improvement after air annealing at 180 ºC for two hours.  As seen from Table V, Tech 8 SnO2 yields better back contact with P-type CIGS than SnO2+i-ZnO, although SnO2 of Tech 8 is doped N-type.  However, as a front contact (and junction), Zn in thin i-ZnO layer seems to diffuse into CIGS and form a weak junction while Sn does not.  It is probably due to the different process temperature for ZnO and SnO2.  The former is sputtered at room temperature, while the latter is produced by APCVD at about 550 ºC, which is thought to be more stable against the CIGS process.

- CdS process and surface treatment research

The CBD process is receiving our on-going efforts for improvement and understanding of the chemistry involved.  Recently, studies were done to evaluate the effects of S/Cd ratio, temperature, and deposition time on the device performance.  Our CdS films were grown in the temperature of 50-60ºC, with deposition times of 5-15 minutes and S/Cd ratios of 100 and 50. We found that at 60ºC the formation of CdS particles in the bath was very rapid, and such particles were noticed depositing on the CIGS film surface.  However, the deposition temperature of 50ºC and S/Cd ratio of 100 yielded smooth CdS films on CIGS surfaces, which could be easily rinsed with water to yield efficient devices.  With S/Cd ratio of 100, at 50ºC, and with a deposition time of 15 minutes, reproducible good quality CdS films could be generated, and this is our routine CdS film deposition method at present.  Some results are listed in Table VI.

Table VI    Recent test results from CdS optimization

| ID | Voc | FF | Jsc(QE) | Efficiency | Jsc(QE-1) | CdS | Temp./C | Container |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Z1557-11 | 472.8 | 64.18 | 27.45 | 8.33 | 29.88 | 100 | 50 | Beaker |
| Z1557-13 | 456.5 | 64.44 | 28.01 | 8.24 | 30.01 | 100 | 50 | Beaker |
| Z1557-15 | 448.5 | 64.67 | 29.01 | 8.41 | 30.72 | 100 | 50 | Beaker |
| Z1557-12 | 449.7 | 64.55 | 29.42 | 8.54 | 30.72 | 50 | 50 | Beaker |
| Z1557-14 | 437 | 64.11 | 29.63 | 8.30 | 31.3 | 50 | 50 | Beaker |
| Z1557-16 | 442.6 | 64.45 | 30.77 | 8.78 | 32.3 | 50 | 50 | Beaker |

We have initiated some new surface treatments in this quarter including:

- Heating in ammonium sulfide solution

- Treatment of films with sulfide and ammonium ions electrochemically

- Low temperature annealing

Initial studies have resulted in some interesting results and considerable device improvements. Listed in Table VII below are some of our test results.  We plan to do more work in this area to understand the effects of these treatments on CIGS surfaces in the next quarter.

Table VII   Some test results from surface treatment

| ID | Pretreatment | Voc mV | FF | Jsc mA/cm2 | Efficiency % | Container | Temp. °C |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Z1543-30 | Am.S 20% 80-90C,60min | 539 | 64.3 | 28 | 9.86 | Beaker | 52 |
| Z1543-M4 | Am.S 20% 80-90C,60min | 548 | 65.3 | 27 | 9.69 | Tank | 53 |
| Z1543-N4 | Am.S 20% 80-90C,60min | 528 | 58.1 | 26 | 8.01 | Tank | 53 |
| Z1542-25 | Electrochem.(+) Am.S 20% RT(5V) | 568 | 63.2 | 23 | 8.23 | Tank | 53 |
| Z1542-26 | Electrochem.(-) Am.S 20% RT(5V) | 533 | 51.7 | 26 | 7.22 | Tank | 53 |

- Interconnection

In our normal module process, we use n-ZnO as interconnection between Mo back contact and ZnO front contact of the next segment.  One disadvantage of this process is that we have to break vacuum for the 2nd (CIGS) scribe after i-ZnO and before n-ZnO.  As an alternative, we could perform the 2nd (CIGS) scribe first and simply deposit i-ZnO followed by n-ZnO without breaking vacuum.  This would entail trying to use i-ZnO plus n-ZnO as interconnection to the Mo.  The higher resistance of i-ZnO is a concern in this case.  However, it could conceivably not be a problem since there is no obvious huge resistance jump after coating i-ZnO on CTO (mentioned in Section 3 above) due mainly to its thinness (about 500A-1000A).  To test this idea, four mini-modules were processed for comparison. On two of them the n-ZnO/Mo interconnection is used as a reference, while on the other two the interconnection n-ZnO/i-ZnO/Mo is tested as an experiment.  The performance results are listed in Table VIII.

Table VIII    Mini-module performance with i-ZnO as interconnction

| ID | Interconnection | Voc (V) | Voc/seg (mV) | FF % | Jsc(aper) (mA/cm2) | Eff.(aper.) % | Eff.(active) % |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Z1565-41 | n-ZnO | 7.52 | 537 | 54.76 | 32.5 | 9.57 | 10.87 |
| Z1565-42 | i-ZnO+n-ZnO | 6.62 | 509 | 38.78 | 31.72 | 6.26 | 7.12 |
| Z1565-51 | i-ZnO+n-ZnO | 8.03 | 535 | 43.23 | 30.27 | 7.01 | 7.96 |
| Z1565-52 | n-ZnO | 6.99 | 499 | 53.02 | 34.31 | 9.08 | 10.32 |

The results clearly show that our normal process using n-ZnO as the interconnection is superior to i-ZnO+n-ZnO.  The noticeably different module FF indicates that i-ZnO is indeed too resistive for the first layer of interconnection and leads to unacceptable contact resistance. However, it remains to be seen how much module FF could be improved through reduction of the i-ZnO thickness.

- AR coating

A non-conventional, non-vacuum, low temperature method, basically a sol-gel process, was used for producing experimental AR coatings on CIGS devices in this quarter at EPV.  We have used a mixture solution of silicon alkoxides, methanol, and ethanol as porous glass precursors.  In these experiments, completed CIGS devices are first immersed in the liquid, then the liquid (sol) is drained at a controlled speed so that a wetting film stays on the ZnO of the CIGS devices and is exposed to the air.  The atmosphere controls the evaporation of the solvent, the subsequent destabilization of the sol by solvent evaporation leads to the gelation process, by which a highly porous AR film of silica nanoparticles is finally formed.  The refractive index of this film is an inverse function of pore volume with a limit value 1.22.  The thickness of the film can be adjusted by change of sol drain speed.

As a first experiment, several CIGS devices were coated by sol-gel at three different drain speeds.  Quantum efficiency was measured before and after the coating. The short-circuit current density was calculated based upon the QE data.  The Jsc improvement is listed in Table IX below.

Table IX  Jsc improvement by sol-gel AR coating

| Device ID | Sol-gel drain speed | Jsc improvement |
| --- | --- | --- |
| Z1559-71C | 1.5 cm/s | +5.2% |
| Z1559-71D | 1.3 cm/s | +2.9% |
| Z1559-71E | 1.0 cm/s | +2.4% |

- Plans for next quarter (Q2)

- Continue recipe optimization to reach Voc of 600mV and higher in Hercules.

- Install 3rd Eurotherm temperature controller in Zeus

- Improve overall CIGS film properties by process control and optimization in Zeus

- Build and install new heater for in-line sputtering system; improve large area ZnO

- Continue mini-module and one square foot module process, and increase their

efficiency based upon component improvement and module failure analysis

- Make sputtering head in the Zeus operational

- Complete upgraded fixturing for scribing operations

- Re-examine non-contact means of Cu/(In+Ga) determination for hybrid CIGS

- Continue to investigate ammonium sulfide and other surface treatments

- Resume alternative junction work with ZIS and HC sputtered ZnO

Note. In Q3 we plan to resume fabrication of 0.43m2 modules.  This will require construction of new and improved CBD CdS tanks.

Sincerely,

# Alan E. Delahoy 			Leon Chen

# Principal Investigator			Senior Scientist