Structural Molecular Biology – small angle x-ray scattering, X-ray absorption spectroscopy, and X-ray Footprinting – at NSLS-II

Draft by Jen Bohon and other members of the Mark Chance

group at the Case Center for Synchrotron Biosciences

12 June 2007

Objective:

Our objective is to establish three premier beamlines for structural molecular biology (small angle x-ray scattering or SAXS, X-ray absorption spectroscopy or XAS, and X-ray Footprinting) on the floor of the NSLS-II in time to begin operations immediately upon ring start up.  This is intended to create a seamless transition for the user population dependent upon these resources to the new facility with improved capabilities.  Alongside parallel protein crystallography (PX) and biological imaging programs, these beamlines and their associated programs are intended to establish NSLS-II as a world leader in the synchrotron life sciences.

Rationale:

Overview: The approved CD0 proposal clearly underscores the importance of the biological sciences to the mission of NSLS-II, yet no beamlines dedicated to the life sciences are included in the initial program.  Since the life-science sector represents the largest single block of users, it is imperative to ensure continuity in beamtime availability and offer state-of-the-art facilities for this community. One of the major objectives of structural molecular biology research is the study of the structure and dynamics of biomolecules in solutions and membranes, for which the SAXS, XAS, and Footprinting techniques are recognized to be particularly well suited (CD0, section 2.2). We propose an initial occupation of three NSLS-II beamlines from two ports: one undulator in the first port hosting a beamline for SAXS, and one canted damping wiggler in second port to host separate beamlines for XAS and Footprinting. A second phase effort would be pursued to develop bending magnet beamlines using three-pole-wigglers at a later time, coupled to a transfer of compatible existing components at the NSLS. SAXS would benefit from the high brightness delivered by an NSLS-II undulator, while the canted wigglers would provide the high flux density necessary for time-resolved EXAFS and Footprinting experiments.

2. SAXS: It is generally recognized that an undulator provides the best source of radiation for brightness-limited techniques such as SAXS. This beamline would be designed to have a range of optical characteristics available, including the smallest possible microfocus, accompanied by a convergence of < 1 mrad (5-10µm). It would be set up with multiple options for micro-focusing and control of beam convergence (KB mirrors, graded multilayers, refractive lenses, or elliptical capillaries), and a monochromator that can produce higher harmonics to narrow the bandwidth.

3. Footprinting: The upstream device in the canted wiggler pair would host the X-ray Footprinting beamline. This technique requires polychromatic light (optimal energies ranging from <5keV to >20keV) and would use either a single focusing mirror or set of Kirkpatrick-Baez (KB) Optics to focus the beam to the desired size and shape as well as to tailor the spectrum (remove high photon energies). The high flux of the damping wiggler would enable this experimental technique to push the envelope in time-resolved structural biology. The strictly white-beam set-up in an up-stream position would simplify space concerns that are expected to accompany the use of the canted devices.

4. XAS: The downstream device in the canted wiggler pair would host the biological EXAFS beamline.  The damping wiggler source would provide access to energies from 5-35keV, satisfying the requirements of 80-90% of expected analyses (facilities for low-energy EXAFS are under discussion and are likely to be handled in phase-II development). Due to the high power of the damping wiggler source, low-energy absorptive carbon filters would be used in front of the Beryllium window (or a diamond window would be used). The beamline would include a harmonic-rejection/collimating mirror to condition the beam for the monochromator for elimination of the higher harmonics and reduction of the vertical diverence, allowing maximum energy resolution from the double-crystal water- or cryogenically-cooled monochromator. Macro-focusing optics would be used to collect 2 mrad of radiation, focused to ~1mm at the sample, resulting in a long beamline to accommodate geometric considerations due to the proximity of two canted wiggler beamlines. Focusing would be achieved by sagittal focusing of the second monochromator crystal. Micro-focusing optics would consist of advanced KB mirror optics or hard x-ray zone plates. If necessary, the beamline would include additional optics to allow horizontal beam steering in order to overcome any difficulties due to space restrictions. Variable focus (~10 to ~1μm) would tailor resolution to accommodate a variety of sample types as well as fluorescence detection.

Funding strategy:

The scientific case for x-ray biosciences at NSLS-II has been described and reviewed in the approved CDR and CD0 proposals. An abbreviated version of this case, including new developments and programs tailored to take advantage of the increased capabilities that the NSLS-II would provide, is presented below. We believe that these technologies are crucial to the successful establishment of a life-sciences program at NSLS-II; the user community would approach every possible funding agency in order to ensure that these facilities become a reality. Pro-active consultation with the appropriate agencies, such as NIH, NSF, and OBER would allow successful funding strategies to be developed as the planning and design process for the ring proceeds.

The Center for Synchrotron Biosciences (CSB) has a proven track record of attracting funding for these technologies over many years, thus we intend to provide leadership in approaching relevant funding agencies to help secure funding for these and future efforts. Synchrotron biosciences boast the fastest-growing user population in the synchrotron community. A full spectrum of life science beamlines, including PX, SAXS, EXAFS, soft x-ray imaging, x-ray footprinting, IR microspectroscopy, and VUV spectroscopic methods would establish the NSLS-II as a world leader in synchrotron life sciences, and we would support a concerted effort within the bioscience community to make NSLS-II a premier life science facility.

Construction:

The design and construction of the beamlines would be carried out by a team of experienced CSB/NSLS/NSLS-II staff with proven capabilities in these areas who would work under the guidance of an NSLS-II beamline advisory team. The CSB has a long and successful record of cooperation and collaboration with the NSLS in the design and construction of beamlines.

Operation:

The core operations staff would include experienced members of the CSB, NSLS, NSLS-II and other interested organizations, formed into two separate teams. Each team would be responsible for one port; one team for the administration of the SAXS beamline, and one that includes the EXAFS and Footprinting pair. These staff members would provide high-quality beamline support for users as well as develop beamline upgrades as necessary to maintain cutting-edge scientific instruments.

Relation to existing life sciences/structural molecular biology programs:

In order to take full advantage of the capabilities of NSLS-II, most of the components for the new beamlines would have to be tailored to the new accelerator and ring systems, and thus would be almost entirely new equipment. Although this would increase the cost of the beamlines, it has the advantage of ensuring uninterrupted user access during the transition. Once the NSLS is shut down, much of the high-quality equipment at existing life sciences/structural molecular biology beamlines can be transferred to three-pole-wiggler stations at NSLS-II. The capabilities of these devices offer a modest improvement over those of the current NSLS, but are similar enough to allow the employment of current equipment for many high-throughput albeit standard experiments.

Access modes:

Access to the beamlines is expected to be relatively unchanged from the system currently administered by the NSLS. General users would submit proposals through the PASS system, with the bulk of the available beamtime dedicated to general user time and set asides for facility staff usage. Collaborative access modes are likely to be developed as NSLS-II evolves.

Phase-II development:

Once the initial suite of cutting-edge beamlines is in place, additional funding sources would be sought for the transfer of current life sciences/structural molecular biology beamlines to three-pole wigglers. This would enable the premier beamlines to be dedicated to solving difficult scientific problems requiring the full capabilities of the NSLS-II while still offering beam properties surpassing those of the NSLS for high-throughput standard experiments at these work-horse beamlines.

Summary of the scientific case:

Macromolecular crystallography has been enormously successful in elucidating the structure of proteins and other biomolecules. An increasingly complete collection of atomic-resolution protein structures is becoming available, and a growing catalog of cellular assemblies has been identified. These data are being combined with emerging genetic and biochemical information on pathways to suggest temporal, spatial, and functional relations controlling cellular function. However, the central question in biophysics still remains: What is the connection between structure and function of biological macromolecules such as protein, DNA, RNA, polysaccharides, and their complexes? Answering this question requires understanding the dynamics of macromolecular structures in their natural environment. Such studies are poised to provide new insights into the function, control, and dynamics of individual macromolecules and large molecular complexes. Techniques such as solution scattering, spectroscopy, and footprinting provide valuable information regarding how biomolecules and molecular machines function. The high brightness and flux density delivered by NSLS-II combined with the advanced technology of ultra-fast continuous-flow mixers would give X-ray scattering, spectroscopy and footprinting studies of biomolecules and membranes unparalleled sensitivity and time resolution, enabling more precise structure determinations and extending measurements of dynamics down to the microsecond time range.

X-ray scattering: X-ray scattering can be used to study protein folding to understand how the protein performs its biological functions. Time-resolved solution scattering now allows researchers to follow the structural changes of the protein as folding proceeds. The time scale that is characteristic of the folding process varies from picoseconds to nanoseconds, when the initial secondary structure starts to form, to milliseconds to seconds, when the folding process is completed. The high brightness of NSLS-II would extend the time resolution of solution-scattering measurements down to this time scale. Computations and experiments would then overlap and provide better tests of our understanding of the physics of the underlying interactions. Combined with complementary methods, especially NMR, solution scattering and computer simulation would provide a complete time course for how proteins fold.

Applications of SAXS have been enormously successful in elucidating the structure-function relations of skeletal muscle. To understand the molecular basis of muscle contraction further, however, kinetic/dynamic behavior of the contractile proteins in living muscle cells at millisecond or even sub-millisecond time scale must be explored.  Furthermore, structures of the heart muscle cells are only beginning to be studied. Because of the branching of the muscle fibers in the myocardium, to obtain high resolution structures of the cardiac muscle, diffraction from single cells (myocytes) would have great advantages.  Because of its small size (10 – 20μm in width and 100μm in length), a microfocus and bright beam intensity would be required.  Establishing SAXS at NSLS-II would greatly facilitate research in this clinically relevant and yet unexplored field.

High-resolution methods, both X-ray crystallography and NMR, have difficulties dealing with macromolecular complexes, where changes in shape may accompany the biological function that is under study. In contrast, small angle solution scattering can provide structural information that reveals global conformation changes in biomolecules and molecular complexes in solution, and is thus complementary to protein crystallography. This approach also holds great potential for resolving the structural kinetics of macromolecular complexes using time resolved solution scattering to produce low-resolution movies of events such as the assembly and operation of molecular machines. The high brightness of NSLS-II would provide high intensity, highly collimated, and small X-ray beams for SAXS measurements, resulting in high quality data necessary for accurate shape determinations. Together with the flow-cell mixers and fast detectors, NSLS-II would also enable time resolved measurements at microsecond time resolution to become routinely achievable, as well as the extension of solution scattering to membrane proteins to provide information about the structural transitions occurred within membrane, such as the conformation change of receptors upon binding of a ligand.

Study of Metalloproteins with X-ray Absorption Spectroscopy: X-ray absorption spectroscopy (XAS) can be used to measure the transition of core electronic states of a metal atom to excited electronic states or continuum states. Spectral analysis near the electronic transition, so-called X-ray absorption near-edge structure, or XANES, provides information on the metal’s charge state and geometry. Spectral analysis above the absorption edge (from the edge to 10-15% above the edge in energy), so called Extended X-ray Absorption Fine Structure, or EXAFS, provides complementary structural information, such as numbers, types, and distances of ligands or neighboring atoms. Both spectroscopies are valuable techniques for studying a variety of metal sites in biological systems. Recent experiments where X-ray crystallography and X-ray spectroscopy are used in combination have provided information that was not available from either technique alone.

Traditionally, XAS, like most other spectroscopies, has been used as a static probe of structure. NSLS-II provides the opportunity to extend X-ray absorption measurements into the time resolved realm, potentially revolutionizing the study of biochemical and bioinorganic systems. Since the biomolecular system being studied evolves continuously during the reaction, with many different species potentially being present, one cannot take a literal “snapshot” of intermediates that form. However, use of sophisticated mathematical approaches such as principal-component analysis, allows one to come close to this ideal. Combining the information from tens or hundreds spectra, each measured at a different time after mixing, makes it possible for one to deconvolve the component spectra, even for relatively minor components. With the bright X-ray beams provided by NSLS-II, continuous-flow mixing technology would enable time resolution close to one microsecond.

X-ray Footprinting: Hydroxyl radicals cleave the phosphodiester backbone of nucleic acids and covalently modify amino acid side chains in proteins. In sections where a molecule is folded, however, these sites are inaccessible to solvent, and therefore protected. X-ray footprinting employs the very intense and ionizing white (polychromatic) X-ray beam to generate hydroxyl radicals. For nucleic acids, one then analyzes the pattern of fragments after X-ray exposure by gel electrophoresis; the protected sections that are not cleaved yield a "footprint". For proteins, the exposed samples are digested with proteases and analyzed by LC- and tandem-mass spectrometry to determine the extent and sites of modification. One can follow the protections as a function of time, showing tertiary contacts formed during folding events or enzymatic processing.

Time-resolved footprinting measurements can be achieved with a solution mixer to induce cleavage after a delay relative to the triggering of a dynamic event. This is an ideal method for gaining insight into dynamic processes of large RNA and protein assemblies. It provides detailed structural information (at the single-nucleotide and single side-chain level) on biologically relevant timescales. Current time-resolved footprinting measurements are limited to millisecond time resolution. The high beam brightness provided by NSLS-II would make the time scale that is accessible by this technique significantly shorter, certainly by a factor of ten. This improvement is not only because of the better time resolution of the smaller-scale solution mixers enabled by NSLS-II, but also owing to the shorter X-ray exposure time that is necessary to generate the hydroxyl radicals that cleave the biomolecules.

All of this would benefit from use of microcapillary focusing that could produce a 10μm spot with high intensity. To achieve an understanding of conformational dynamics in macromolecules and their complexes during processes as diverse as ligand binding, folding, catalysis, and macromolecular assembly is a challenging and important step towards providing detailed molecular descriptions of biological systems.

Present and Future Impact:

The continuously expanding synchrotron life sciences/structural molecular biology community has a strong record of achievement, both in scientific publications and in securing funding sources. In response to the overwhelming demand for bioscience beamtime, the incorporation of remote users (mail-in systems) and increased collaborations similar to the template already in place for the PX community, is expected to result in a significant increase in scientific productivity. In addition, educational resources, such as the current EXAFS user workshop, would continue to be provided and expanded further to increase the size of the proficient user community, and to promote the development of projects tailored to take advantage of the unique capabilities offered by NSLS-II.

We believe that the NSLS-II can become a nexus of synchrotron biosciences in the US.  Life science is the fastest-growing area in the synchrotron community, and a strong concentration of structural biology centers and resources in the northeast region inherently complements the establishment of this facility as a world leader in this area.