METADATA FILE

April 2005

Name of Observatory			Grand Cayman

Country					British Caribbean Territories

Address					Meteorological Department

Airport Authority Box 102777 APO

Grand Cayman, Cayman Islands

Phone 1 345 949 4528

WMO Index Number			78384

Latitude and Longitude			19º12’N, 81º18’W

Confirmed by GPS

Altitude of Barometer Cistern		3.0 Meters above mean sea level(estimated)

Altitude of rain gauge			3.0 meters above msl (estimated)

Date of this entry				April 29, 2005

Type of Observatory				Surface and Upper Air Radiosonde

Hours of operation				6AM till 10PM

Surface Observations			00Z,03Z,12Z, 15Z,18Z 21Z,  17 hourlies

Upper Air Observations			Normally 12Z and 00Z during hurricanes

Has not been in operation since the 								observatory was severely damaged by 							Hurricane Ivan on September 11, 2004

Additional Climat Parameters		Sunshine and evaporation

Description  of land and activities within 10 Kilometers of the observatory

The observatory is located on Owens Roberts International Airport in the middle of considerable traffic and construction activities.  There are no tall buildings or high structures close enough to be a problem.

Instrument Field

The IF is roughly 30 by 25 feet in area and it is grass covered.  There are no buildings closer that 40 yards to the IF.  There is a ten foot fence surrounding the IF.  The instrument shelter is a standard Simpson-screen type that is painted white and faces north.  There is ample space in the IF and all of the instruments appear to be getting exposure.

The rain gauge is a standard 8” gauge and is mounted on the ground with the orifice roughly 20 inches above the surface.

For several years the airport authorities have envisioned moving the weather office to a different location.  The move may not include the instrument field and may only apply to the upper air facility.

Historical Record

The instrument field has been in approximately the same location for 40 years.  Apparently there were weather records dating back to 1936 as well as weather observations performed by the US Navy during 1942-45.  These records may have been lost during moves and construction at the airport.  A more organized weather observation program began during the IGY year in 1956-57 at a location about 5 miles from the current location at the airport.  In the early 1960s the USA began full support to the surface and upper air observatory in Cayman at the present location which more or less continues today.   The site meets the Minimum Requirements related to temperature and precipitation which calls for monthly for the past 20 years.  The recent records are homogeneous is terms of continuity without missing months. The historical records are on paper.

Instrument Description

The station uses standard liquid-in-glass thermometers for their wet and dry bulb as well as standard liquid-in-glass maximum/minimum thermometers.   The thermometers are not aspirated.  Comparisons were made with the Luft E-200, 5220.00  Serial 029-0404-0302.3.  The comparison indicated the liquid-in-glass thermometers were accurate within plus or minus .3 degrees F.  The error of parallax is more of a determining factor.

Dry and Wet Bulb:  Casella M106001 ordinary sheathed

Maximum:	         Casella M105202 sheathed pattern

Minimum:	         Casella M106204 Sheathed pattern

The official rain gage is the standard US Weather Service Model: D-100 8 inch.  The gauge is favorably located within the instrument field and is not influenced by an surrounding structures.

The aerovane is a Bendix Corporation Model 120 mounted on a 20 ft tower and not a ten meter tower.  The aerovane is located at the Northwest end of the runway.  The wind recorder is a Belfort Instrument Co. model 141-1 and the Wind speed and direction indicator is a Bendix Friez Model 135.  The station does have the required calibration equipment for this system.  ON July 13, 2004 , the contractor checked the accuracy and calibrated the system.  The system was found to be within the limits of the specifications.  See the technical report for details on all the instruments and calibration tables.

Caution to the users of this data

none