Testimony

Status of Advanced Coal Technologies and RD&D Needs to Enable Readiness for Commercial Application

Committee on Energy and Natural Resources

U.S. Senate

Jeffrey N. Phillips, Ph.D.

Electric Power Research Institute

August 1, 2007

Introduction

I am Jeff Phillips, Program Manager for Advanced Coal Generation for the Electric Power Research Institute (EPRI). EPRI is a non-profit, collaborative R&D organization with principal offices in Palo Alto, California, and Charlotte, North Carolina, where I work. EPRI appreciates the opportunity to provide testimony to the Subcommittee on the topic of carbon capture and sequestration.

BACKGROUND

Coal is the energy source for half of the electricity generated in the United States. Even with the aggressive development and deployment of alternative energy sources, numerous forecasts of energy use predict that coal will continue to provide a major share of our electric power generation throughout the 21st century. Coal is a stably priced, affordable, domestic fuel that can be used in an environmentally responsible manner. Criteria air pollutants from all types of new coal power plants have been reduced by more than 90% compared with plants built 40 years ago. With the development and deployment of CO2 capture and storage (CCS) technologies, coal power becomes part of the solution to satisfying both our energy needs and our global climate change concerns. However, a sustained RD&D program at heightened levels of investment and resolution of legal and regulatory unknowns for long-term geologic CO2 storage will be required to achieve the promise of clean coal technologies. EPRI sees crucial roles for both industry and governments in aggressively pursuing collaborative RD&D over the next 20+ years to create a portfolio of commercially self-sustaining, competitive advanced coal power generation and CO2 capture and storage technologies.

The potential return on this investment is enormous. EPRI’s “Electricity Technology in a Carbon-Constrained Future” study suggests that it is technically feasible to reduce U.S. electric sector CO2 emissions over the next 25 years while meeting the increased demand for electricity, with the largest single contribution to emissions reduction coming from application of CCS technologies to new coal-based power plants coming on-line after 2020. Economic analyses of scenarios to achieve the study’s emission reduction goals show that a 2030 U.S. energy mix including advanced coal technologies with CCS results in electricity at half the cost of a 2030 energy mix without coal with CCS. In the case with advanced coal with CCS, the U.S. economy is $1 trillion larger than in the case without coal and CCS, with a much stronger manufacturing sector. A previous EPRI economic study based on financial market “options” principles produced a similar result, estimating the added cost to U.S. consumers through 2050 of not having coal’s price-stabilizing influence on the electricity system at $1.4 trillion (present value basis).

The portfolio aspect of advanced coal and CCS technologies must be emphasized because no single advanced coal technology (or any generating technology) has clear-cut economic advantages across the range of U.S. applications. The best strategy for meeting future electricity needs while addressing climate change concerns and minimizing economic disruption lies in developing multiple technologies from which power producers (and their regulators) can choose the option best suited to local conditions and preferences. When it comes to CCS technology, there is no “silver bullet,” but we can develop “silver buckshot.”

Toward this end, four major technology efforts related to CO2 emissions reduction from coal-based power systems must be undertaken:

- Increased efficiency and reliability of integrated gasification combined cycle (IGCC) power plants

- Increased thermodynamic efficiency of pulverized-coal (PC) power plants

- Improved technologies for capture of CO2 from coal combustion- and gasification-based power plants

- Reliable, acceptable technologies for long-term storage of captured CO2

Identification of mechanisms to share RD&D financial and technical risks and to address legal and regulatory uncertainties must take place as well.

In short, a comprehensive recognition of all the factors needed to hasten deployment of competitive, commercial advanced coal and CO2 capture and storage technologies—and implementation of realistic, pragmatic plans to overcome barriers—is the key to meeting the challenge to supply affordable, environmentally responsible energy in a carbon-constrained world.

ACCELERATING RD&D ON ADVANCED COAL TECHNOLOGIES WITH CO2 CAPTURE AND STORAGE—INVESTMENT AND TIME REQUIREMENTS

A typical path to develop a technology to commercial maturity consists of moving from the conceptual stage to laboratory testing, to small pilot-scale tests, to larger-scale tests, to multiple full-scale demonstrations, and finally to deployment in full-scale commercial operations. For capital-intensive technologies such as advanced coal power systems, each stage can take years or even decades to complete and each sequential stage tends to entail increasing levels of investment. As depicted in Figure 1, several key advanced coal power and CCS technologies are now in (or approaching) an “adolescent” stage of development. This is time of particular vulnerability in the technology development cycle, as it is common for the expected costs of full-scale application to be higher than earlier estimates when less was known about scale-up and application challenges. Public agency and private funders can become disillusioned with a technology development effort at this point, but as long as fundamental technology performance results continue to meet expectations, and a path to cost reduction is clear, perseverance by project sponsors in maintaining momentum is crucial. Unexpectedly high costs at the mid-stage of technology development have historically come down following market introduction, experience gained from “learning-by-doing,” realization of economies of scale in design and production as order volumes rise, and removal of contingencies covering uncertainties and first-of-a-kind costs. An International Energy Agency study led by Carnegie Mellon University observed this pattern in the cost over time of power plant environmental controls and has predicted a similar reduction in the cost of power plant CO2 capture technologies as the cumulative installed capacity grows. EPRI concurs with their expectations of experience-based cost reductions and believes that RD&D on specifically identified technology refinements can lead to greater cost reductions sooner in the deployment phase.

Figure 1 – Model of the development status of major advanced coal and CO2 capture and storage technologies (temperatures shown for pulverized coal technologies are turbine inlet steam temperatures)

Of the coal-based power generating and carbon sequestration technologies shown in Figure 1, only supercritical pulverized coal (SCPC) technology has reached commercial maturity. It is crucial that other technologies in the portfolio—namely ultra-supercritical (USC) PC, integrated gasification combined cycle (IGCC), CO2 capture (pre-combustion, post-combustion, and oxy-combustion), and CO2 storage—be given sufficient support to reach the stage of declining constant dollar costs before society’s requirements for greenhouse gas reductions compel their application in large numbers.

Figure 2 depicts the major activities in each of the four technology areas that must take place to achieve a set of robust solutions to reduce CO2 emissions from coal power systems. This framework should be considered as a whole rather than as a set of discrete tasks. Although individual goals related to efficiency, CO2 capture, and CO2 storage present major challenges, significant challenges also arise from complex interactions that occur when CO2 capture processes are integrated with gasification- and combustion-based power plant processes.

Figure 2 – Timing of advanced coal power system and CO2 capture and storage RD&D activities and milestones

REDUCING CO2 EMISSIONS THROUGH IMPROVED COAL POWER PLANT EFFICIENCY

Improved thermodynamic efficiency reduces CO2 emissions by reducing the amount of fuel required to generate a given amount of electricity. A two-percentage point gain in efficiency provides a reduction in fuel consumption of roughly 5% and a similar reduction in CO2 output. Depending on the technology used, improved efficiency can also provide similar reductions in criteria air pollutants, hazardous air pollutants, and water consumption.

A “typical” 500 MW (net) coal plant emits about 3 million metric tons of CO2 per year. The annual power output and emissions of the current U.S. coal fleet are roughly equivalent to 600 such plants. The contributions attributable to individual plants vary considerably with differences in plant steam cycle, coal type, capacity factor, and operating regimes. For a given fuel, a new supercritical PC unit built today might produce 5–10% less CO2 per megawatt-hour (MWh) than the existing fleet average for that coal type.

With an aggressive RD&D program on efficiency improvement, new ultra-supercritical (USC PC) plants could reduce CO2 emissions per MWh by up to 25% relative to the existing fleet average. Significant efficiency gains are also possible for IGCC plants by employing advanced gas turbines and through more energy-efficient oxygen plants and synthesis (fuel) gas cleanup technologies.

EPRI and the Coal Utilization Research Council (CURC), in consultation with DOE, have identified a challenging but achievable set of milestones for improvements in the efficiency, cost, and emissions of PC and coal-based IGCC plants. The EPRI-CURC Roadmap projects an overall improvement in the thermal efficiency of state-of-the art generating technology from 38–41% in 2010 to 44–49% by 2025 (on a higher heating value [HHV] basis; see Table 1). The ranges in the numbers are not simply a reflection of uncertainty, but rather they underscore an important point about differences among U.S. coals. The natural variations in moisture and ash content and combustion characteristics between coals have a significant impact on efficiency. The best efficiencies are possible with bituminous coals, a mid-range value is applicable to subbituminous coals, and the low end of the range is for lignite. Thus, an equally advanced plant might have a two percentage point lower efficiency on subbituminous coal, such as Wyoming and Montana’s Powder River basin, relative to Pennsylvania and West Virginia’s Pittsburgh #8. The efficiency for the same plant using lignite from North Dakota or Texas might be two percentage points even lower than that for subbituminous coal. Any government incentive program with an efficiency-based qualification criterion should recognize these inherent differences in the attainable efficiencies for plants using different ranks of coal.

As Table 1 indicates, technology-based efficiency gains over time will be offset by the energy required for CO2 capture. Nevertheless, aggressive pursuit of the EPRI-CURC RD&D program offers the prospect of coal plants with CO2 capture in 2025 that have net efficiencies meeting or exceeding current-day power plants without CO2 capture.

Table 1 – Efficiency Milestones in EPRI-CURC Roadmap

|  | 2010 | 2015 | 2020 | 2025 |
| --- | --- | --- | --- | --- |
| PC & IGCC Systems (Without CO2 Capture) | 38–41% HHV | 39–43% HHV | 42–46% HHV | 44–49% HHV |
| PC & IGCC Systems (With CO2 Capture*) | 31–32% HHV | 31–35% HHV | 33–39% HHV | 39–46% HHV |

*Efficiency values reflect impact of 90% CO2 capture, but not compression or transportation.

New Plant Efficiency Improvements–IGCC

Although IGCC is not yet a mature technology for coal-fired power plants, chemical plants around the world have accumulated a 100-year experience base operating coal-based gasification units and related gas cleanup processes. The most advanced of these units are similar to the front end of a modern IGCC facility. Similarly, several decades of experience firing natural gas and petroleum distillate have established a high level of maturity for the basic combined cycle generating technology. Nonetheless, ongoing RD&D continues to provide significant advances in the base technologies, as well as in the suite of technologies used to integrate them into an IGCC generating facility.

Efficiency gains in currently proposed IGCC plants will come from the use of new “FB-class” gas turbines, which will provide an overall plant efficiency gain of about 0.6 percentage point (relative to IGCC units with FA-class models, such as Tampa Electric’s Polk Power Station). This corresponds to a decrease in CO2 emissions rate of about 1.5%.

Figure 3 depicts the anticipated timeframe for further developments identified by EPRI’s CoalFleet for Tomorrow® program that promise a succession of significant improvements in IGCC unit efficiency. Key technology advances under development include: larger capacity gasifiers (often via higher operating pressures that boost throughput without a commensurate increase in vessel size); integration of new gasifiers with larger, more efficient G- and H-class gas turbines; use of ion transport membrane (ITM) and/or other more energy-efficient technologies in oxygen plants; warm synthesis gas cleanup and membrane separation processes for CO2 capture that reduce energy losses in these areas; recycle of liquefied CO2 to replace water in gasifier feed slurry (reducing heat loss to water evaporation); and hybrid combined cycles using fuel cells to achieve generating efficiencies exceeding those of conventional combined cycle technology. Improvements in gasifier reliability and in control systems also contribute to improved annual average efficiency by minimizing the number and duration of startups and shutdowns.

Figure 3 – RD&D path for capital cost reduction (falling arrows) and efficiency improvement (rising arrows) for IGCC power plants with 90% CO2 capture 
* Pittsburgh #8 coal; slurry-fed gasifier designed for 90% unit availability and 90% pre-combustion CO2 capture; cost normalization using Chemical Engineering Plant Cost Index or equivalent

Larger, Higher Firing Temperature Gas Turbines.  For plants coming on-line around 2015, the larger size G-class gas turbines, which operate at higher firing temperatures (relative to F-class machines) can improve efficiency by 1 to 2 percentage points while also decreasing capital cost per kW capacity. The H-class gas turbines, coming on-line in the same timeframe, will provide a further increase in efficiency and capacity.

Ion Transport Membrane–Based Oxygen Plants.  Most gasifiers used in IGCC plants require a large quantity of high-pressure, high purity oxygen, which is typically generated on-site with an expensive and energy-intensive cryogenic process. The ITM process allows the oxygen in high-temperature air to pass through a membrane while preventing passage of non-oxygen atoms. According to developers, an ITM-based oxygen plant consumes 35–60% less power and costs 35% less than a cryogenic plant. EPRI is performing a due diligence assessment of this technology in advance of potential participation in technology scale-up efforts.

Supercritical Heat Recovery Steam Generators.  In IGCC plants, hot exhaust gas exiting the gas turbine is ducted into a heat exchanger known as a heat recovery steam generator (HRSG) to transfer energy into water-filled tubes producing steam to drive a steam turbine. This combination of a gas turbine and steam turbine power cycles produces electricity more efficiently than either a gas turbine or steam turbine alone. As with conventional steam power plants, the efficiency of the steam cycle in a combined cycle plant increases when turbine inlet steam temperature and pressure are increased. The higher exhaust temperatures of G- and H-class gas turbines offer the potential for adoption of more-efficient supercritical steam cycles. Materials for use in a supercritical HRSG are generally established.

Synthesis Gas Cleaning at Higher Temperatures.  The acid gas recovery (AGR) processes currently used to remove sulfur compounds from synthesis gas require that the gas and solvent be cooled to about 100ºF, thereby causing a loss in efficiency. Further costs and efficiency loss are inherent in the process equipment and auxiliary steam required to recover the sulfur compounds from the solvent and convert them to useable products. Several DOE-sponsored RD&D efforts aim to reduce the energy losses and costs imposed by this recovery process. These technologies (described below could be ready—with adequate RD&D support—by 2020:

The Selective Catalytic Oxidation of Hydrogen Sulfide process eliminates the Claus and Tail Gas Treating units along with the traditional solvent-based AGR contactor, regenerator, and heat exchangers by directly converting hydrogen sulfide (H2S) to elemental sulfur. The process allows for a higher operating temperature of approximately 300ºF, which eliminates part of the low-temperature gas cooling train. The anticipated benefit is a net capital cost reduction of about $60/kW along with an efficiency gain of about 0.8 percentage point.

The RTI/Eastman High Temperature Desulfurization System uses a regenerable dry zinc oxide sorbent in a dual loop transport reactor system to convert H2S and COS to H2O, CO2, and SO2. Tests at Eastman Chemical Company have shown sulfur species removal rates above 99.9%, with 10 ppm output versus 8000+ ppm input sulfur, using operating temperatures of 800–1000ºF. This process is also being tested for its ability to provide a high-pressure CO2 by-product. The anticipated benefit for IGCC, compared with using a standard oil-industry process for sulfur removal, is a net capital cost reduction of $60–90 per kW, a thermal efficiency gain of 2–4% for the gasification process, and a slight reduction in operating cost. Tests are also under way for a multi-contaminant removal processes that can be integrated with the transport desulfurization system at temperatures above 480°F.

Liquid CO2-Coal Slurrying for Gasification of Low-Rank Coals.  Future IGCC plants may recycle some of the recovered liquid CO2 to replace water as the slurrying medium for the coal feed. This is expected to increase gasification efficiency for all coals, but particularly for low-rank coals (i.e., subbituminous and lignite), which have high inherent moisture content. The liquid CO2 has a lower heat of vaporization than water and is able to carry more coal per unit mass of fluid. The liquid CO2-coal slurry will flash almost immediately upon entering the gasifier, providing good dispersion of the coal particles and potentially yielding dry-fed gasifier performance with slurry-fed simplicity.

Slurry-fed gasification technologies have a cost advantage over conventional dry-fed fuel handling systems, but they suffer a large performance penalty when used with coals containing a large fraction of water and ash. EPRI identified CO2 coal slurrying as an innovative fuel preparation concept 20 years ago, when IGCC technology was in its infancy. At that time, however, the cost of producing liquid CO2 was too high to justify the improved thermodynamic performance.

To date, CO2-coal slurrying has only been demonstrated at pilot scale and has yet to be assessed in feeding coal to a gasifier, so the estimated performance benefits remain to be confirmed. The concept warrants consideration for future IGCC plants that capture and compress CO2 for storage, as this will substantially reduce the incremental cost of producing a liquid CO2 stream. It will first be necessary, however, to update previous studies to quantify the potential benefit of liquid CO2 slurries with IGCC plants designed for CO2 capture. If the predicted benefit is economically advantageous, a significant amount of scale-up and demonstration work would be required to qualify this technology for commercial use.

Fuel Cells and IGCC.  No matter how far gasification and turbine technology advance, IGCC power plant efficiency will never progress beyond the inherent thermodynamic limits of the gas turbine and steam turbine power cycles (along with lower limits imposed by available materials technology). Several IGCC–fuel cell hybrid power plant concepts (IGFC) aim to provide a path to coal-based power generation with net efficiencies that exceed those of conventional combined cycle generation.

Along with its high thermal efficiency, the fuel cell hybrid cycle reduces the energy consumption for CO2 capture. The anode section of the fuel cell produces a stream that is highly concentrated in CO2. After removal of water, this stream can be compressed for sequestration. The concentrated CO2 stream is produced without having to include a water-gas shift reactor in the process (see Figure 4). This further improves the thermal efficiency and decreases capital cost. IGFC power systems are a long-term solution, however, unlikely to see full-scale demonstration until about 2030.

Source: U.S. Department of Energy; http://www.netl.doe.gov/technologies/coalpower/fuelcells/hybrids.html

Figure 4 – Schematic of fuel cell-turbine hybrid

Role of FutureGen.  The FutureGen Industrial Alliance and DOE are building a first-of-its-kind, near-zero emissions coal-fed IGCC power plant integrated with CCS. The commencement of full-scale operations is targeted for 2013. The project aims to sequester CO2 in a representative geologic formation at a rate of at least one million metric tons per year.

The FutureGen design will address scaling and integration issues for coal-based, zero emissions IGCC plants. In its role as a “living laboratory,” FutureGen is designed to validate additional advanced technologies that offer the promise of clean environmental performance at a reduced cost and increased reliability. FutureGen will have the flexibility to conduct full-scale and slipstream tests of such scalable advanced technologies such as:

Membrane processes to replace cryogenic separation for oxygen production

An advanced transport reactor sidestream with 30% of the capacity of the main gasifier

Advanced membrane and solvent processes for H2 and CO2 separation

A raw gas shift reactor that reduces the upstream clean-up requirements

Ultra low-NOX combustors that can be used with high-hydrogen synthesis gas

A fuel cell hybrid combined cycle pilot

Challenging first-of-a-kind system integration

Smart dynamic plant controls including a CO2 management system

Figure 5 provides a schematic of the “backbone” and “research platform” process trains envisioned for the FutureGen plant.

Figure 5 – FutureGen technology platforms

Figure 6 summarizes EPRI’s recommended major RD&D activities for improving the efficiency and cost of IGCC technologies with CO2 capture.

Figure 6 – Timing of advanced IGCC and CO2 capture integration RD&D activities and milestones

New Plant Efficiency Improvements – Advanced Pulverized Coal

Pulverized-coal power plants have long been a primary source of reliable and affordable power in the United States and around the world. The advanced level of maturity of the technology, along with basic thermodynamic principles, suggests that significant efficiency gains can most readily be realized by increasing the operating temperatures and pressures of the steam cycle. Such increases, in turn, can be achieved only if there is adequate development of suitable materials and new boiler and steam turbine designs that allow use of higher steam temperatures and pressures.

Current state-of-the-art plants use supercritical main steam conditions (i.e., temperature and pressure above the “critical point” where the liquid and vapor phases of water are indistinguishable). SCPC plants typically have main steam conditions up to 1100°F. The term “ultra-supercritical” is used to describe plants with main steam temperatures in excess of 1100°F and potentially as high as 1400°F.

Achieving higher steam temperatures and higher efficiency will require the development of new corrosion-resistant, high-temperature nickel alloys for use in the boiler and steam turbine. In the United States, these challenges are being address by the Ultra-Supercritical Materials Consortium, a DOE R&D program involving Energy Industries of Ohio, EPRI, the Ohio Coal Development Office, and numerous equipment suppliers. EPRI provides technical management for the consortium.

It is expected that a USC PC plant operating at about 1300°F will be built during the next seven to ten years, following the demonstration and commercial availability of advanced materials from these programs. This plant would achieve an efficiency of about 45% (HHV) on bituminous coal, compared with 39% for a current state-of-the-art plant, and would reduce CO2 production per net MWh by about 15%.

Ultimately, nickel-base alloys are expected to enable stream temperatures in the neighborhood of 1400°F and generating efficiencies up to 47% HHV with bituminous coal. This approximately 10 percentage point improvement over the efficiency of a new subcritical pulverized-coal plant would equate to a decrease of about 25% in CO2 and other emissions per MWh.

Figure 7 illustrates a timeline developed by EPRI’s CoalFleet for Tomorrow® program to establish efficiency improvement and cost reduction goals for USC PC plants with CO2 capture.

Figure 7 – RD&D path for capital cost reduction (falling arrows) and efficiency improvement (rising arrows) for PC power plants with 90% CO2 capture
* Pittsburgh #8 coal; designed for 90% unit availability and 90% post-combustion CO2 capture; cost normalization using Chemical Engineering Plant Cost Index or equivalent

UltraGen USC PC Commercial Projects.  EPRI and industry representatives have proposed a framework to support commercial projects that demonstrate advanced PC technologies. The vision entails construction of two commercially operated USC PC power plants that combine state-of-the-art pollution controls, ultra-supercritical steam power cycles, and innovative flue gas scrubbing technologies to capture CO2.

The UltraGen I plant will use the best of today’s proven ferritic steels, while UltraGen II will be the first plant in the United States to feature new, nickel-based alloys that are able to withstand the higher temperatures involved.

UltraGen I will feature an approximately quarter-scale CO2 capture system demonstration using the best established technology. This system will be about 15 times the size of the largest system operating on a coal-fired boiler today. UltraGen II will double the size of the CO2 capture system, and may demonstrate a new class of chemical solvent if one of the emerging low-energy processes has reached a sufficient stage of development. Both plants will demonstrate ultra-low emissions. Both UltraGen demonstration plants will dry and compress the captured CO2 for long-term geologic storage and/or use in enhanced oil or gas recovery operations. Figure 8 depicts the proposed key features of UltraGen I and II.

Figure 8 – Key parameters for UltraGen I (upper schematic) and UltraGen II (lower schematic)

To provide a platform for testing and developing emerging PC technologies, the program will allow for technology trials at existing sites as well as at the sites of new projects. It is expected that the UltraGen projects will be commercially operated units dispatching electricity to the grid. The differential cost to the host utility for demonstrating these improved features are envisioned to be offset by tax credits and funds raised by an industry-led consortia formed through EPRI.

The UltraGen projects represent the type of “giant step” collaborative efforts that need to be taken to advance PC technology to the next phase of evolution and assure competitiveness in a carbon-constrained world. Because of the time and expense for each “design and build” iteration for coal power plants (3 to 5 years not counting the permitting process and ~$2 billion), there is no room for hesitation in terms of commitment to advanced technology validation and demonstration projects.

The UltraGen projects will resolve critical barriers to the deployment of USC PC technology by providing a shared-risk vehicle for testing and validating high-temperature materials, components, and designs in plants also providing superior environmental performance.

Figure 9 summarizes EPRI’s recommended major RD&D activities for improving the efficiency and cost of USC PC technologies with CO2 capture.

Figure 9 – Timing of advanced PC and CO2 capture integration RD&D activities and milestones

Efficiency Gains for the Existing PC Fleet.  Many subcritical units in the existing U.S. fleet will continue to operate for years to come. Replacing these units en masse would be economically prohibitive. Their flexibility for load following and provision of support services to ensure grid stability makes them highly valuable. With equipment upgrades, many of these units can realize modest efficiency gains, which, when accumulated across the existing generating fleet could make a sizeable difference.

These upgrades depend on the equipment configuration and operating parameters of a particular plant and may include:

turbine blading and steam path upgrades

turbine control valve upgrades for more efficient regulation of steam

cooling tower and condenser upgrades to reduce circulating water temperature, steam turbine exhaust backpressure, and auxiliary power consumption

cooling tower heat transfer media upgrades

condenser optimization to maximize heat transfer and minimize condenser temperature

condenser air leakage prevention/detection

variable speed drive technology for pump and fan motors to reduce power consumption

air heater upgrades to increase heat recovery and reduce leakage

advanced control systems incorporating neural nets to optimize temperature, pressure, and flow rates of fuel, air, flue gas, steam, and water

optimization of water blowdown and blowdown energy recovery

optimization of attemperator design, control, and operating scenarios

sootblower optimization via “intelligent” sootblower system use

IMPROVING CO2 CAPTURE TECHNOLOGIES

The laws of physics and chemistry impose inherent limits on the extent of CO2 reductions that can be achieved through efficiency gains alone. Further reductions in CO2 emissions will require pre-combustion or post-combustion CO2 capture technologies and the storage of separated CO2 in locations where it can be kept away from the atmosphere for centuries or longer.

Albeit at considerable cost, CO2 capture technologies can be integrated into all coal-based power plant technologies. For existing plants, specific plant design features, space limitations, and various economic and regulatory considerations will determine whether retrofit-for-capture is feasible. For both new plants and retrofits, there is a tremendous need (and opportunity) to reduce the energy required to remove CO2 from fuel gas or flue gas. Figure 10 shows a selection of the key technology development and test programs needed to achieve a goal of commercial CO2 capture technologies for advanced coal combustion- and gasification-based power plants at a progressively shrinking constant-dollar levelized cost-of-electricity premium. Specifically, the target is premium of about $6/MWh in 2025 (relative to plants at that time without capture) compared with an estimated 2010 cost premium of perhaps $40/MWh (not counting the cost of transportation and storage). Such a goal poses substantial engineering challenges and will require major investments in RD&D to reduce the currently large net power reductions and efficiency (operating cost) penalties associated with CO2 capture technologies. Achieving this goal will allow power producers to meet the public demand for stable electricity prices while reducing CO2 emissions to address climate change concerns.

Figure 10 – Timing of CO2 capture technology development RD&D activities and milestones

Pre-Combustion CO2 Capture (IGCC)

IGCC technology allows for CO2 capture to take place via an added fuel gas processing step at elevated pressure, rather than at the atmospheric pressure of post-combustion flue gas, permitting capital savings through smaller equipment sizes as well as lower operating costs.

Currently available technologies for such pre-combustion CO2 removal use a chemical and/or physical solvent that selectively absorbs CO2 and other “acid gases,” such as hydrogen sulfide. Application of this technology requires that the CO in synthesis gas (the principal component) first be “shifted” to CO2 and hydrogen via a catalytic reaction with water. The CO2 in the shifted synthesis gas is then removed via contact with the solvent in an absorber column, leaving a hydrogen-rich synthesis gas for combustion in the gas turbine. The CO2 is released from the solvent in a regeneration process that typically reduces pressure and/or increases temperature.

Chemical plants currently employ such a process commercially using methyl diethanolamine (MDEA) as a chemical solvent or the Selexol and Rectisol processes, which rely on physical solvents. Physical solvents are generally preferred when extremely high (>99.8%) sulfur species removal is required. Although the required scale-up for IGCC power plant applications is less than that needed for scale-up of post-combustion CO2 capture processes for PC plants, considerable engineering challenges remain and work on optimal integration with IGCC cycle processes has just begun.

The impact of current pre-combustion CO2 removal processes on IGCC plant thermal efficiency and capital cost is significant. In particular, the water-gas shift reaction reduces the heating value of synthesis gas fed to the gas turbine. Because the gasifier outlet ratios of CO to methane to H2 are different for each gasifier technology, the relative impact of the water-gas shift reactor process also varies. In general, however, it can be on the order of a 10% fuel energy reduction. Heat regeneration of solvents further reduces the steam available for power generation. Other solvents, which are depressurized to release captured CO2, must be re-pressurized for reuse. Cooling water consumption is increased for solvents needing cooling after regeneration and for pre-cooling and interstage cooling during compression of separated CO2 to a supercritical state for transportation and storage. Heat integration with other IGCC cycle processes to minimize these energy impacts is complex and is currently the subject of considerable RD&D by EPRI and others.

Membrane CO2 Separation.  Technology for separating CO2 from shifted synthesis gas (or flue gas from PC plants) offers the promise of lower auxiliary power consumption but is currently only at the laboratory stage of development. Several organizations are pursuing different approaches to membrane-based applications. In general, however, CO2 recovery on the low-pressure side of a selective membrane can take place at a higher pressure than is now possible with solvent processes, reducing the subsequent power demand for compressing CO2 to a supercritical state. Membrane-based processes can also eliminate steam and power consumption for regenerating and pumping solvent, respectively, but they require power to create the pressure difference between the source gas and CO2-rich sides. If membrane technology can be developed at scale to meet performance goals, it could enable up to a 50% reduction in capital cost and auxiliary power requirements relative to current CO2 capture and compression technology.

Post-Combustion CO2 Capture (PC and CFB Plants)

The post-combustion CO2 capture processes envisioned for power plant boilers draw upon commercial experience with amine solvent separation at much smaller scale in the food and beverage and chemical industries and upon three applications of CO2 capture from a slipstream of exhaust gas from circulating fluidized-bed (CFB) units.

These processes contact flue gas with an amine solvent in an absorber column (much like a wet SO2 scrubber) where the CO2 chemically reacts with the solvent. The CO2-rich liquid mixture then passes to a stripper column where it is heated to change the chemical equilibrium point, releasing the CO2. The “regenerated” solvent is then recirculated back to the absorber column, while the released CO2 may be further processed before compression to a supercritical state for efficient transportation to a storage location.

After drying, the CO2 released from the regenerator is relatively pure. However, success CO2 removal requires very low levels of SO2 and NO2 entering the CO2 absorber, as these species also react with the solvent. Thus, high-efficiency SO2 and NOX control systems are essential to minimizing solvent consumption costs for post-combustion CO2 capture. Extensive RD&D is in progress to improve the solvent and system designs for power boiler applications and to develop better solvents with greater absorption capacity, less energy demand for regeneration, and greater ability to accommodate flue gas contaminants.

At present, monoethanolamine (MEA) is the “default” solvent for post-combustion CO2 capture studies and small-scale field applications. Processes based on improved amines, such as Fluor’s Econamine FG Plus and Mitsubishi Heavy Industries’ KS-1, are under development. The potential for improving amine-based processes appears significant. For example, a recent study based on KS-1 suggests that its impact on net power output for a supercritical PC unit would be 19% and its impact on the levelized cost-of-electricity would be 44%, whereas earlier studies based on suboptimal MEA applications yielded output penalties approaching 30% and cost-of-electricity penalties of up to 65%.

Accordingly, amine-based engineered solvents are the subject of numerous ongoing efforts to improve performance in power boiler post-combustion capture applications. Along with modifications to the chemical properties of the sorbents, these efforts are addressing the physical structure of the absorber and regenerator equipment, examining membrane contactors and other modifications to improve gas-liquid contact and/or heat transfer, and optimizing thermal integration with steam turbine and balance-of-plant systems. Although the challenge is daunting, the payoff is potentially massive, as these solutions may be applicable not only to new plants, but to retrofits where sufficient plot space is available at the back end of the plant.

Finally, as discussed earlier, deploying USC PC technology to increase efficiency and lower uncontrolled CO2 per MWh can further reduce the cost impact of post-combustion CO2 capture.

Chilled Ammonia Process.  Post-combustion CO2 capture using a chilled ammonia-based solvent offers the promise of dramatically reducing parasitic power losses relative to MEA. In the process currently under development and testing by Alstom and EPRI, respectively, CO2 is absorbed in a solution of ammonium carbonate, at low temperature and atmospheric pressure, and combines with the NaCO3 to form ammonium bicarbonate.

Compared with amines, ammonium carbonate has over twice the CO2 absorption capacity and requires less than half the heat to regenerate. Further, regeneration can be performed under higher pressure than amines, so the released CO2 is already partially pressurized. Therefore, less energy is subsequently required for compression to a supercritical state for transportation to an injection location. Developers have estimated that the parasitic power loss from a full-scale supercritical PC plant using chilled ammonia CO2 capture could be as low as 10%, with an associated cost-of-electricity penalty of just 25%. Following successful experiments at 0.25 MWe scale, Alstom and a consortium of EPRI members are constructing a 1.7 MWe pilot unit to test the chilled ammonia process with a flue gas slipstream at We Energies’ Pleasant Prairie Power Plant.

Other “multi-pollutant” control system developers are also exploring ammonia-based processes for CO2 removal.

Oxy-Fuel Combustion Boilers

Fuel combustion in a blend of oxygen and recycled flue gas rather than in air (known as oxy-fuel combustion or oxy-combustion) is gaining interest as a viable CO2 capture alternative for PC and CFB plants. The process is applicable to virtually all fossil-fueled boiler types and is a candidate for retrofits as well as new power plants.

Firing coal only with high-purity oxygen would result in too high of a flame temperature, which would increase slagging, fouling, and corrosion problems, so the oxygen is diluted by mixing it with a slipstream of recycled flue gas. As a result, the flue gas downstream of the recycle slipstream take-off consists primarily of CO2 and water vapor (although it also contains small amounts of nitrogen, oxygen, and criteria pollutants). After the water is condensed, the CO2-rich gas is compressed and purified to remove contaminants and prepare the CO2 for transportation and storage.

Oxy-combustion boilers have been studied in laboratory-scale and small pilot units of up to 3 MWt. Two larger pilot units, at ~10 MWe, are now under construction by Babcock & Wilcox (B&W) and Vattenfall. An Australian-Japanese project team is pursuing a 30 MWe repowering project in Australia. These larger tests will allow verification of mathematical models and provide engineering data useful for designing pre-commercial systems. The first such pre-commercial unit could be built at SaskPower’s Shand station near Estevan, Saskatchewan. SaskPower, B&W Canada, and Air Liquide have been jointly developing an oxy-combustion SCPC design, and a decision on whether to proceed to construction is expected by late 2007, with a target in-service date of 2011–12.

CO2 TRANSPORT AND GEOLOGIC STORAGE

Application of CO2 capture technologies implies that there will be secure and economical storage or beneficial uses that can assure CO2 will be kept out of the atmosphere. The most developed approach for large-scale CO2 storage is injection into deep, well-sealed geological formations, including depleted or partially depleted oil and gas reservoirs and similar geologically sealed “saline formations” (porous rocks filled with brine that is impractical for desalination). Partially depleted oil reservoirs provide the added benefit of enhanced oil recovery (EOR). [EOR is used in mature fields to recover additional oil after standard extraction methods have been used. When CO2 is injected for EOR, it causes residual oil to swell and become less viscous, allowing some to flow to production wells, thus extending the field’s productive life.] Although EOR can help the economics of CCS projects, EOR sites are ultimately too few and too geographically isolated to accommodate much of the CO2 from large-scale industrial CO2 capture operations. In contrast, saline formations are available in many—but not all—U.S. locations.

Natural underground CO2 reservoirs in Colorado, Utah, and other western states testify to the effectiveness of long-term geologic CO2 storage. CO2 is also found in natural gas reservoirs, where it has resided for millions of years. Thus, evidence suggests that depleted or near-depleted oil and gas reservoirs, and similarly “capped” saline formations will be ideal for storing CO2 for millennia or longer.

Geologic sequestration as a strategy for reducing CO2 emissions from the atmosphere is currently being demonstrated in several projects around the world. Three larger-scale projects—Statoil’s Sleipner Saline Aquifer CO2 Storage project in the North Sea off of Norway; the Weyburn Project in Saskatchewan, Canada; and the In Salah Project in Algeria—together sequester about 3–4 million metric tons of CO2 per year, which collectively approaches the output of just one typical 500 MW coal-fired power plant. With 17 collective operating years of experience, these projects have thus far demonstrated that CO2 storage in deep geologic formations can be carried out safely and reliably. Statoil estimates that Norwegian greenhouse gas emissions would have risen incrementally by 3% if the CO2 from the Sleipner project had been vented rather than sequestered.

Table 2 lists a selection of current and planned CO2 storage projects as of early 2007, including those involving EOR.

Table 2 – Select Existing and Planned CO2 Storage Projects as of Early 2007

| PROJECT | CO2 SOURCE | COUNTRY | START | Anticipated amount injected by: |
| --- | --- | --- | --- | --- |
|  |  |  |  | 2006 | 2010 | 2015 |
| Sleipner | Gas. Proc. | Norway | 1996 | 9 MT | 13 MT | 18 MT |
| Weyburn | Coal | Canada | 2000 | 5 MT | 12 MT | 17 MT |
| In Salah | Gas. Proc. | Algeria | 2004 | 2 MT | 7 MT | 12 MT |
| Snohvit | Gas. Proc. | Norway | 2007 | 0 | 2 MT | 5 MT |
| Gorgon | Gas. Proc. | Australia | 2010 | 0 | 0 | 12 MT |
| DF-1 Miller | Gas | U.K. | 2009 | 0 | 1 MT | 8 MT |
| DF-2 Carson | Pet Coke | U.S. | 2011 | 0 | 0 | 16 MT |
| Draugen | Gas | Norway | 2012 | 0 | 0 | 7 MT |
| FutureGen | Coal | U.S. | 2012 | 0 | 0 | 2 MT |
| Monash | Coal | Australia | NA | 0 | 0 | NA |
| SaskPower | Coal | Canada | NA | 0 | 0 | NA |
| Ketzin/CO2 STORE | NA | Germany | 2007 | 0 | 50 KT | 50 KT |
| Otway | Natural | Australia | 2007 | 0 | 100 KT | 100 KT |
| TOTALS |  |  |  | 16 MT | 35 MT | 99 MT |

Source: Sally M. Benson, “Can CO2 Capture and Storage in Deep Geological Formations Make Coal-Fired Electricity Generation Climate Friendly?” Presentation at Emerging Energy Technologies Summit, UC Santa Barbara, California, February 9, 2007. [Note: Statoil has subsequently suspended plans for the Draugen project and announced a study of CO2 capture at a gas-fired power plant at Tjeldbergodden. BP and Rio Tinto have announced the coal-based “DF-3” project in Australia.]

Enhanced Oil Recovery.  Experience relevant to CCS comes from the oil industry, where CO2 injection technology and modeling of its subsurface behavior have a proven track record. EOR has been conducted successfully for 35 years in the Permian Basin fields of west Texas and Oklahoma. Regulatory oversight and community acceptance of injection operations for EOR seem well established.

Although the purpose of EOR is not to sequester CO2 per se, the practice can be adapted to include CO2 storage opportunities. This approach is being demonstrated in the Weyburn-Midale CO2 monitoring projects in Saskatchewan, Canada. The Weyburn project uses captured and dried CO2 from the Dakota Gasification Company’s Great Plains synfuels plant near Beulah, North Dakota. The CO2 is transported via a 200 mile pipeline constructed of standard carbon steel. Over the life of the project, the net CO2 storage is estimated at 20 million metric tons, while an additional 130 million barrels of oil will be produced.

The economic value of EOR with CCS represents an excellent opportunity for initial geologic sequestration projects like Weyburn. In addition, “next generation” CO2-EOR processes could boost U.S. technically recoverable oil resources by 160 billion barrels.

CCS in the United States

A DOE-sponsored R&D program, the “Regional Carbon Sequestration Partnerships,” is engaged in mapping U.S. geologic formations suitable for CO2 storage. Evaluations by these Regional Partnerships and others suggest that enough geologic storage capacity exists in the United States to hold several centuries’ production of CO2 from coal-based power plants and other large point sources.

The Regional Partnerships are also conducting pilot-scale CO2 injection validation tests across the country in differing geologic formations, including saline formations, deep unmineable coal seams, and older oil and gas reservoirs. Figure 11 illustrates some of these options. These tests, as well as most commercial applications for long-term storage, will use CO2 compressed for volumetric efficiency to a liquid-like “supercritical” state; thus, virtually all CO2 storage will take place in formations at least a half-mile deep, where the risk of leakage to shallower groundwater aquifers or to the surface is less likely to occur.

Source: Peter Cook, CO2CRC, in Intergovernmental Panel on Climate Change, Special Report “Carbon Dioxide Capture and Storage,” http://www.ipcc.ch/pub/reports.htm

Figure 11 – Illustration of potential geological CO2 storage site types

After successful completion of pilot-scale CO2 storage validation tests, the Partnerships will undertake large-volume storage tests, injecting quantities of ~1 million metric tons of CO2 or more over a several year period, along with post-injection monitoring to track the absorption of the CO2 in the target formation(s) and to check for potential leakage.

The EPRI-CURC Roadmap identifies the need for several large-scale integrated demonstrations of CO2 capture and storage. This assessment was echoed by MIT in its recent Future of Coal report, which calls for three to five U.S. demonstrations of about 1 million metric tons of CO2 per year and about 10 worldwide. These demonstrations could be the critical path item in commercialization of CCS technology. In addition, EPRI has identified 10 key topics where further technical and/or policy development is needed before CCS can become fully commercial:

Caprock integrity

Injectivity and storage capacity

CO2 trapping mechanisms

CO2 leakage and permanence

CO2 and mineral interactions

Reliable, low-cost monitoring systems

Quick response and mitigation and remediation procedures

Protection of potable water

Mineral rights

Long-term liability

Figure 12 summarizes the relationship between EPRI’s recommended large-scale integrated CO2 capture and storage demonstrations and the Regional Partnerships’ “Phase III” large-volume CO2 storage tests.

Figure 12 – Timing of CO2 storage technology RD&D activities and milestones

CO2 Transportation

Mapping of the distribution of potentially suitable CO2 storage formations across the country, as part of the research by the Regional Partnerships, shows that some areas have ample storage capacity while others appear to have little or none. Thus, implementing CO2 capture at some power plants may require pipeline transportation for several hundred miles to suitable injection locations, possibly in other states. Although this adds cost, it does not represent a technical hurdle because long-distance, interstate CO2 pipelines have been used commercially in oilfield EOR applications. Nonetheless, EPRI expects that early commercial CCS projects will take place at coal-based power plants near sequestration sites or an existing CO2 pipeline. As the number of projects increases, regional CO2 pipeline networks connecting multiple industrial sources and storage sites will be needed.

Policy-Related Long-Term CO2 Storage Issues

Beyond developing the technological aspects of CCS, public policy need to address issues such as CO2 storage site permitting, long-term monitoring requirements, and liability. CCS represents an emerging industry, and the jurisdiction for regulating it has yet to be determined.

Currently, efforts are under way in some states to establish regulatory frameworks for long-term geologic CO2 storage. Additionally, stakeholder organizations such as the Interstate Oil and Gas Compact Commission (IOGCC) are developing their own suggested regulatory recommendations for states drafting legislation and regulatory procedures for CO2 injection and storage operations. Other stakeholders, such as environmental groups, are also offering policy recommendations. EPRI expects this field to become very active soon.

Because some promising sequestration formations underlie multiple states, a state-by-state approach may not be adequate. At the federal level, the U.S. EPA published a first-of-its-kind guidance (UICPG # 83) on March 1, 2007, for permitting underground injection of CO2. This guidance offers flexibility for pilot projects evaluating the practice of CCS, while leaving unresolved the requirements that could apply to future large-scale CCS projects.

Long-Term CO2 Storage Liability Issues

Long-term liability of storage sites will need to be assigned before CCS can become fully commercial. Because CCS activities will be undertaken to serve the public good, as determined by government policy, and will be implemented in response to anticipated or actual government-imposed limits on CO2 emissions, a number of policy analysts have suggested that the entities performing these activities should be granted a large measure of long-term risk reduction.

RD&D INVESTMENT FOR ADVANCED COAL AND CCS TECHNOLOGIES

Developing the suite of technologies needed to achieve competitive advanced coal and CCS technologies will require a sustained major investment in RD&D. As shown in Table 3, EPRI has estimated that an expenditure of approximately $8 billion will be required in the 10-year period from 2008–17. The MIT Future of Coal report estimates the funding need at up to $800–850 million per year, which approaches the EPRI value. Further, EPRI expects expected that an RD&D investment of roughly $17 billion will be required over the next 25 years.

Investment in earlier years may be weighted toward IGCC, as this technology is less developed and will require more RD&D investment to reach the desired level of commercial viability. As interim progress and future needs cannot be adequately forecast at this time, the years after 2023 do not distinguish between IGCC and PC.

Table 3 – RD&D Funding Needs for Advanced Coal Power Generation Technologies with CO2 Capture

|  | 2008–12 | 2013–17 | 2018–22 | 2023–27 | 2028–32 |
| --- | --- | --- | --- | --- | --- |
| Total Estimated RD&D Funding Needs (Public + Private Sectors) | $830M/yr | $800M/yr | $800M/yr | $620M/yr | $400M/yr |
| Advanced Combustion, CO2 Capture | 25% | 25% | 40% | 80% | 80% |
| Integrated Gasification Combined Cycle (IGCC), CO2 Capture | 50% | 50% | 40% |  |  |
| CO2 Storage | 25% | 25% | 20% | 20% | 20% |

By any measure, these estimated RD&D investments are substantial. EPRI and the members of the CoalFleet for Tomorrow® program, by promoting collaborative ventures among industry stakeholders and governments, believe that the costs of developing critical-path technologies for advanced coal and CCS can be shouldered by multiple participants. EPRI believes that government policy and incentives will also play a key role in fostering CCS technologies through early RD&D stages to achieve widespread, economically feasible deployment capable of achieving major reductions in U.S. CO2 emissions.

# Footnotes

IEA Greenhouse Gas R&D Programme (IEA GHG), “Estimating Future Trends in the Cost of CO2 Capture Technologies,” 2006/5, January 2006.

http://www.co2captureandstorage.info/project_specific.php?project_id=26

http://www.adv-res.com/pdf/Game_Changer_Document.pdf

http://web.mit.edu/coal/The_Future_of_Coal.pdf

http://www.iogcc.state.ok.us/PDFS/CarbonCaptureandStorageReportandSummary.pdf

http://www.epa.gov/safewater/uic/pdfs/guide_uic_carbonsequestration_final-03-07.pdf

# Comments

Or some other brief explanation of what a HRSG is.

Also, what is involved in developing the supercritical HRSG? Is it a materials issue?

Does this mean that the timeframe for the 50% is until 2025?