Appendix F1 – Titan Restore Procedures

# General Information

## Reading an Internally Labeled Tape

If  you need to read an internally labeled tape before proceeding, the dataset  $CDS1.MISC.CNTL on the SunGard floor system has a member, TAPELABL, which uses IEBGENER to copy the labels from a tape to sysout using BLP (Bypass Label Processing).

## Using Visara to Access SunGard DR System Console

Any PC having a tn3270 application such as QWS can be used to access the SunGard disaster recovery LPARs during a disaster recovery test or an actual disaster.

The following procedure to set up the session applies when the LPAR is running the SunGard floor system, NIH DR System 4, or NIH DR System 9.

Set up a tn3270 session as follows:

Hostname = drvisara.cit.nih.gov

Terminal type = IBM-3278-2

Port = 23

Lu name = sunXcon or sunXalt

Where X is the number of the desired SunGard LPAR.

Note:  Normally, this will only work from inside NIHnet (including VPN commections to NIHnet).

## Scratch Tapes

The scratch tapes are 040800 through 040999.

# Information About Backups

All disks except for those used by DB2 are backed up by the Storage Administrators.  After all of the backup jobs have completed, a list indicating the disk volser, the data set name on tape, the data set sequence number, and the tape volser is produced.  This list is written to tape E00001 with the data set name NIH.STGADMIN.DRMAIL and is also emailed to the Public Distribution List CIT DCSS DRlistings.  Similar information for the DB2 backup tapes is written to tape E00002 with the data set name ZDB2DB2.DB2.DISKSAVE.DRTAPE.  Each tape has information for each dump cycle with the most recent cycle appearing first.

If a copy of the appropriate email is not available at the disaster site, you can print the list with the following JCL:

//JDALIST  JOB  (),’LIST DISASTER TAPES’,

//         MSGCLASS=H,NOTIFY=$JDA

//*  LIST FIRST DATA SET ON TAPES E00001 AND E00002

//*

//STEP1  EXEC  PGM=IEBGENER

//SYSUT1 DD    DSN=NIH.STGADMIN.DRMAIL,

//             LABEL=(1,SL),

//             UNIT=R9840,

//             VOL=SER=E00001,

//             DISP=(OLD,KEEP)

//SYSUT2 DD    SYSOUT=*

//SYSPRINT DD  SYSOUT=*

//SYSIN  DD    DUMMY

//*

//STEP2  EXEC  PGM=IEBGENER

//SYSUT1 DD    DSN=ZDB2DB2.DB2.DISKSAVE.DRTAPE,

//             LABEL=(1,SL),

//             UNIT=R9840,

//             VOL=SER=E00002,

//             DISP=(OLD,KEEP)

//SYSUT2 DD    SYSOUT=*

//SYSPRINT DD  SYSOUT=*

//SYSIN  DD    DUMMY

In the event of an actual disaster, we would eject tapes E00001 and E00002 and send them to the disaster site with the other tapes.  However, if we were to do this for a test, then the weekend jobs attempting to write the new dump information to these tapes would fail because the tapes are not in our silo.  To avoid this situation, we have assigned tapes DR0001 and DR0002 with retention periods of 9999 days (which is the maximum value allowed).  After the dumps have been created for a particular disaster test, the Storage Administrators should copy tape E00001 to DR0001 and tape E00002 to DR0002.  Tapes DR0001 and DR0002 should then be ejected and sent to the disaster site with the other tapes.  The JCL that can be used to create these copies is found in NIH.STGADMIN.DIST.WORK.CNTL(COPYTAPE):

//JDACOPY  JOB  (),’COPY DR TAPES’,MSGCLASS=H,NOTIFY=$JDA

//*

//*********************************************************************

//* JOB TO COPY TAPES WITH DUMP INFORMATION (E00001 AND E00002) TO    *

//* TAPES (E00101 AND E00102) THAT CAN THEN BE EJECTED FOR A DISASTER *

//* RECOVERY TEST                                                     *

//*********************************************************************

//*

//COPY1  EXEC PGM=IEBGENER

//SYSPRINT DD SYSOUT=*

//*

//SYSUT1  DD DSN=NIH.STGADMIN.DRMAIL,DISP=SHR

//*

//SYSUT2  DD DSN=NIH.STGADMIN.DRMCOPY,

//   UNIT=R9840,

//   LABEL=(1,SL),RETPD=9999,

//   VOL=SER=(E00101),

//   DISP=(OLD,KEEP)

//*

//SYSIN    DD DUMMY

//*

//COPY2  EXEC PGM=IEBGENER

//SYSPRINT DD SYSOUT=*

//*

//SYSUT1  DD DSN=ZDB2DB2.DB2.DISKSAVE.DRTAPE,DISP=SHR

//*

//SYSUT2  DD DSN=ZDB2DB2.DB2.DISKSAVE.DRCOPY,

//   UNIT=R9840,

//   LABEL=(1,SL),RETPD=9999,

//   VOL=SER=(E00102),

//   DISP=(OLD,KEEP)

//*

//SYSIN    DD DUMMY

Note that the data set names on tapes E00101 and E00102 is slightly different (NIH.STGADMIN.DRMCOPY and ZDB2DB2.DB2.DISKSAVE.DRCOPY) than those on tapes E00001 and E00002.  Consequently, if you need to list the data from either tape, adjust your JCL accordingly.

The data sets on all four tapes (E00001, E00002, DR0001, and DR0002) are cataloged.

# Load FDRABR Software

FDRABR (Fast Dump Restore/Automatic Backup and Restore) is used to back up and restore Titan volumes for disaster recovery purposes.  FDRABR is not installed on the hot site system; FDRABR must be installed before proceeding with restoring the Titan volumes.

Several useful listings are created with every set of Titan backups:

DRLIST1 and DRLIST2 – lists the dumps by volume name with the tape data set name and the tape volume containing the backup. These lists are automatically emailed to all members of the CITDCSSDRLISTINGS and CITDCSSAUTO groups each Saturday after backups have completed.

STGSVOLS or STGDVOLS – lists the contents of each backup tape.

STGEJECT – lists the backup tapes required to restore the system at the hot site.  This list is also emailed to all members of the CITDCSSDRLISTINGS and CITDCSSAUTO groups.

STGATLST – lists all tapes in the offsite ATL.

- Determine which LPAR is assigned to System 4 from the SunGard-supplied Web-based mainframe test plan in the table under the heading, LPAR Setup.  Confirm the SunGard floor system is up and available to us.

- Logon to the floor system with the user ID SG01 (logon range is SG01 through SG20).

- Copy the FDRABR software from tape to disk using the 9840 tape drives in Wood Dale.  Create the JCL to do this by modifying one of the existing IEBCOPY jobs contained in SRS.JCL.CNTL (on the SunGard floor system) to match the following JCL:

……  //SG01A JOB ‘IEBCOPY-3490-TAPE’,CLASS=A,

……  //  TIME=10,NOTIFY=SG01,MSGCLASS=D

……  //COPY1    EXEC PGM=IEBCOPY,REGION=0K

……  //SYSPRINT DD SYSOUT=*

……  //IN1  DD DSN=NIH.STGADMIN.DISTBKUP.STARTUP.GXXXXV00,

……  //   VOL=SER=E00XXX,LABEL=(3,SL),

……  //   UNIT=CART9840,DISP=(OLD,KEEP,KEEP)

……  //OUT1  DD DSN=SG01.STARTUP.CNTL,

……  //   UNIT=3390,VOL=SER=2A0CAT,

……  //   DISP=(NEW,CATLG,DELETE),SPACE=(TRK,(25,1,10),

……  //   DCB=(RECFM=FB,LRECL=80,BLKSIZE=6160,DSORG=PO)

……  //SYSUT3   DD UNIT=SYSDA,SPACE=(CYL,(5,1),RLSE)

……  //SYSUT4   DD UNIT=SYSDA,SPACE=(CYL,(5,1),RLSE)

……  //SYSIN    DD *

……    COPY OUTDD=OUT1,INDD=IN1

……  /*

……  //

where Gxxxxv00 is the most current startup volume (see STGSVOLS or STGDVOLS output),

E00xxx is the tape volume (see DRLIST1 output),

STGAMIN4 output is available in NIH.STGADMIN.PROD.JCL

Note:  Check either STGSVOLS or STGDVOLS in the SHOWVOL section near the end of the listing.  Look for NIH.STGADMIN.DISTBKUP.STARTUP(0).  The GDG name will be shown along with the 9840 tape volume, file sequence number, and creation date.

Save the JCL, and submit the job, noting the time and job number.  Verify the job completes successfully (Condition Code 0000).

Job Number _________, Time Submitted __________, Cond Codes __________

This IEBCOPY job creates the SG01.STARTUP.CNTL partitioned data set on VOL=SER=2A0CAT containing the following members:

| #README | Information |
| --- | --- |
| ABRSTART | loads the FDR/ABR libraries at SunGard closes the FDRABR (openexit) at SunGard imports and assigns alias name (FDRABR.#) at SunGard |
| DRPEXTRA | FDR (DRP) parm member extra for adhoc volumes |
| DRPJCL1 | FDR (DRP) production JCL for FDRDRP restores |
| DRPPARM1 | FDR (DRP) parm for system volumes |
| DRPPARM2 | FDR (DRP) parm for Titan LIB volumes |
| DRPPARM3 | FDR(DRP) parm for Titan database volumes |
| DRPPARM4 | FDR(DRP) parm for additional Titan volumes |
| EXTRAIEB | Extra single IEBCOPY JCL |
| INIQUICK | used to initialize volumes |
| INITVVDS | used to initialize VVDs on volumes |
| OLDIDCAM | old JCL (import ABR catalog to SunGard catalog) |
| OLDZAPOP | old JCL (disable ABR open exit routine) |
| RESTORE1 | restores ABRSYS and TMS001 volumes (control dataset, ABR catalog, and tape management data sets required by FDRABR). |
| SCRSM1 | old JCL (restores the SCRSM1 volume) |
| SUNCICS | used to load CICS volumes |
| **END** |  |

- Load the FDRABR software using the SunGard floor system.  Edit the ABRSTART member by replacing the dot (.) placeholders (in bold and underlined) with the appropriate digits, save the changes, and submit the job, noting the time and job number.

//SG01A   JOB (),'FDR-LIBRARY',CLASS=A,TIME=15,

//  MSGCLASS=D,NOTIFY=SG01

//**********************************************************************

//* JCL FOR USE FOR DISASTER RECOVERY - ALL STEPS MUST COMPLETE        *

//* ASSUMPTIONS:  GENERIC FOR 9840 CARTRIDGE = CART9840                *

//*               SYS MASTER CATALOG VOLID IS 2A0CAT                   *

//* STEP1 RESTORES FDRABR SOFTWARE TO DR DASD                          *

//*       COPY INDD=((IN1,R)),OUTDD=OUT1  TO REPLACE MEMBERS           *

//*       COPY INDD=IN1,OUTDD=OUT1                                     *

//* STEP2 DISABLES FDRABR OPENEXIT ROUTINE                             *

//* STEP3 IMPORTS THE ABR USERCAT TO DR MASTERCAT (CATALOG.V2A0CAT)    *

//* STEP4 CONNECTS ALIASES REQUIRED FOR DR                             *

//**********************************************************************

//* STEP 1: CHANGE IN1 GENERATION (####) AND INPUT TAPE (TTTTTT)       *

//**********************************************************************

//STEP1  EXEC PGM=IEBCOPY,REGION=0K

//SYSPRINT DD SYSOUT=*

//IN1     DD DSN=PCC.OFFSITE.FDRLIB2.G0...V00,

//  UNIT=CART9840,VOL=SER=E00...,

//  LABEL=(1,SL),DISP=(OLD,KEEP,KEEP)

//OUT1    DD DSN=SUN1.FDRABR.LOADLIB,UNIT=3390,VOL=SER=2A0CAT,

//   SPACE=(TRK,(425,15,50)),DISP=SHR

//SYSUT3  DD UNIT=SYSDA,SPACE=(TRK,(3,3))

//SYSUT4  DD UNIT=SYSDA,SPACE=(TRK,(3,3))

//SYSIN DD *

COPY INDD=((IN1,R)),OUTDD=OUT1

/*

//STEP2   EXEC PGM=FDRZAPOP,REGION=6144K

//STEPLIB  DD DSN=SUN1.FDRABR.LOADLIB,UNIT=3390,VOL=SER=2A0CAT,DISP=SHR

//SYSPRINT DD SYSOUT=*

//SYSLIB   DD DSN=SUN1.FDRABR.LOADLIB,UNIT=3390,VOL=SER=2A0CAT,DISP=SHR

//SYSIN    DD *

ZAP DISABLE=OPENEXIT

/*

//STEP3   EXEC PGM=IDCAMS,REGION=0K

//SYSPRINT DD SYSOUT=*

//SYSIN DD *

IMPORT CONNECT -

OBJECTS( -

(VSAM.VPCCX.CATALOG.ABRBASE -

VOLUME(ABRSYS) -

DEVICETYPE(3390))) -

CATALOG(CATALOG.V2A0CAT)

/*

//STEP4   EXEC PGM=IDCAMS,REGION=0K

//SYSPRINT DD SYSOUT=*

//SYSIN DD *

DEFINE ALIAS (NAME(FDRABR) RELATE(VSAM.VPCCX.CATALOG.ABRBASE))

DEFINE ALIAS (NAME(#) RELATE(VSAM.VPCCX.CATALOG.ABRBASE))

/*

//

Job Number _________, Time Submitted __________, Cond-Codes __________

Note:  Step 1 information can be found in DRLIST1.

When this job is completed, the FDRABR software has been loaded, the open exit for FDR has been turned off, and the aliases (FDRABR and #) have been imported and attached to the SunGard catalog.  Now ready to start loading the two volumes needed by FDRABR(DRP) disaster software

- Load the two (2) critical volumes needed by FDRABR.  Edit the RESTORE1 member to restore ABRSYS and TMS001.  JCL changes are necessary by replacing the dot (.) placeholders (in bold and underlined) with the appropriate digits.  See the comments at the beginning of the JCL regarding the changes.

Use DRLIST2 to find the following information for ABRSYS and TMS001:

- Dataset names

- Tape label information

- Volume serial number of the 9840 backup tape

//SG01ABR  JOB (),'CRITICAL-RESTORES',CLASS=A,TIME=60,

// NOTIFY=SG01,MSGCLASS=D

//**********************************************************************

//* DR JCL TO RESTORE THE FIRST TWO CRITICAL VOLUMES:                  *

//*   ABRSYS (ABR CATALOGS) AND TMS001 (TMS CATALOGS)                  *

//* ASSUMES:  MCAT IS 2A0CAT; 9840 GENERIC DEVICE IS CART9840          *

//* CHANGES REQUIRED (SEE DRLIST1 AND DRLIST2 OR TAPE E00001):         *

//*   VERIFY CATALOG NAME=2A0CAT                                       *

//*   CHANGE 'DISK1' TO TARGET DASD ADDRESS                            *

//*   CHANGE 'TAPE1' TO BACKUP (SOURCE) TAPE VOLUME NUMBER             *

//**********************************************************************

//ABRSYS   EXEC PGM=FDRABR,REGION=4M

//STEPLIB  DD DSN=SUN1.FDRABR.LOADLIB,UNIT=3390,VOL=SER=2A0CAT,DISP=SHR

//SYSPRINT DD SYSOUT=*

//SYSPRIN1 DD SYSOUT=*

//DISK1    DD UNIT=3390,VOL=SER=SG....,DISP=OLD

//TAPE1    DD DSN=FDRABR.VABRSYS.C20...00,

//     UNIT=CART9840,VOL=SER=E00...,

//     LABEL=(1,SL),DISP=(OLD,KEEP,KEEP)

//SYSIN DD *

RESTORE TYPE=FDR,CONFMESS=NO,CPYVOLID=YES,VOLRESET=YES

SELECT  VOL=ABRSYS,NVOL=SG....,TAPEDD=1

/*

//TMS001   EXEC PGM=FDRABR,REGION=4M

//STEPLIB  DD DSN=SUN1.FDRABR.LOADLIB,UNIT=3390,VOL=SER=2A0CAT,DISP=SHR

//SYSPRINT DD SYSOUT=*

//SYSPRIN1 DD SYSOUT=*

//DISK1    DD UNIT=3390,VOL=SER=SG....,DISP=OLD

//TAPE1    DD DSN=FDRABR.VTMS001.C20...00,

//     UNIT=CART9840,VOL=SER=E00...,

//     LABEL=(2,SL),DISP=(OLD,KEEP,KEEP)

//SYSIN DD *

RESTORE TYPE=FDR,CONFMESS=NO,CPYVOLID=YES,VOLRESET=YES

SELECT  VOL=TMS001,NVOL=SG70A1,TAPEDD=1

/*

//

//

//*  .....IF VOLUME IS (SMS) VOLUME USE BELOW CONTROL STATEMENT.....

RESTORE TYPE=FDR,CONFMESS=NO,CPYVOLID=YES,VOLRESET=YES,SMSPROT=NONE

Submit the job.

Job Number _________, Time Submitted __________, Cond-Codes __________

Verify the job completes successfully (Cond-Code 0000).  The ABRSYS and TMS001 volumes are now loaded.

When all preceding steps have successfully completed, the volumes needed to IPL the system can be loaded.  Fix any failures or start over.

# Restore System Volumes

The JCL for restoring the system volumes has been loaded with the FDRABR software.  The FDR(DRP) component of FDRABR is used to restore the volumes.  FDRDRP optimizes full volume recovery from ABR volume backups and eliminates the need for coding extensive restore JCL.  Necessary information for performing the restores is retrieved from two sources, the ABR catalog and information from the tape management system that works with the FDRDRP software.

Make sure the STGSVOLS report and the SunGard DASD address chart are handy.  The SunGard DASD address chart lists the disk addresses and indicates where each volume will be restored.  The chart is prepared based on information provided in the SunGard-supplied Web-based mainframe test plan in the input box under the heading, Special DASD.

The following volumes are restored to IPL the system:

| Volume | TSO Session | usercat | Started Tasks | Notes |
| --- | --- | --- | --- | --- |
| ABRSYS | Y | .vpccx. |  | Already loaded during the load of FDRABR |
| TMS001 |  |  |  | Used with ABRSYS for DRP software |
| BOOKS1 |  |  |  |  |
| CICS00, CICS01, CICS03, CICS06, CICS10, CISC11, CICS14, CICS15 |  |  |  | Required to bring up CICS regions. CICS00, CICS01, CICS14, CICS15 restored by FDR(DRP); CICS03, CICS06, CICS10, CICS11 restored by FDR/SUNCICS job. |
| DISR01, DIST00, DIST01, DIST02 |  |  |  | Disaster Recovery volumes containing customer files, including profiles |
| HBL101 |  |  |  | NHLBI Information System |
| JESCKA, JESCKB |  |  | JES2 |  |
| JESSP1, JESSP2, JESSRC |  |  | JES2 |  |
| LIB001 | Y |  |  |  |
| LIB002 | Y | .pub5. |  |  |
| LIB003 | Y |  |  |  |
| LIB016 | Y |  |  |  |
| LIB017 |  | .pcc. |  |  |
| LIB018 | Y |  |  |  |
| LIB019 | Y |  |  |  |
| MCATS4 |  | master-cat |  |  |
| MSTATS |  |  |  | Contains multiple libraries for software products (e.g., SAS, IRS, MARK IV) |
| MCATS9 |  |  |  |  |
| NIHLBA |  | usercat.nih |  | Should be at pre-determined UCB address since the address determines the IPL parameters |
| NIHLBB |  |  |  | Should be at pre-determined UCB address since the address determines the IPL parameters |
| NIHLBC |  |  |  |  |
| NIHLBD | tmgr |  |  |  |
| NIHLBE | shadow |  |  |  |
| NIHLBF |  |  |  |  |
| NIHLB1 | Y |  |  |  |
| NIHLB2 | Y |  |  |  |
| NIHLB3 | Y |  |  |  |
| NIHLB4 |  |  |  |  |
| NIHLB5 |  |  |  |  |
| NIHLB6 |  |  |  |  |
| OPSLG1, OPSLG2 |  |  |  |  |
| OPSLOG |  |  |  |  |
| PAGE01 |  |  |  |  |
| PPCC12 |  | .pub6. |  |  |
| PPCC13 |  |  |  |  |
| RACFV1, RACFV2 |  |  | RACF |  |
| SHR001, SHR002, SHR003 |  |  |  |  |
| SMR001 |  |  |  |  |
| SYSOPS |  |  |  | Automated operations software |
| SYS4R1 | Y |  |  | Should be at pre-determined UCB address since the address determines the IPL parameters for system 4 |
| SYS4R2 | Y |  |  |  |
| SYS4R3 |  |  |  |  |
| SYS9R1 |  |  |  | Should be at pre-determined UCB address since the address determines the IPL parameters for system 9 |
| SYS9R2 |  |  |  |  |
| SYS9R3 |  |  |  |  |
| UCATAG |  |  |  |  |
| UCATHP |  |  |  |  |
| UCATQZ |  |  |  |  |
| UCAT01 |  | .ucat01 |  |  |
| UCAT02 |  | .ucat02 |  |  |
| UCAT03 |  | .ucat03 |  |  |
| UCAT04 |  | .ucat04 |  |  |
| UCAT05 |  | .ucat05 |  |  |
| UCAT06 |  | .ucat06 |  |  |
| UCAT07 |  | .ucat07 |  |  |
| UCAT08 |  | .ucat08 |  |  |
| UCAT09 |  | .ucat09 |  |  |
| UCAT10 |  | .ucat10 |  |  |
| WYL100 |  |  |  |  |
| DB2P01, DB2P02, DB2P03, DB2P04 |  |  |  | DB2 SMS volumes, initialized only |
| DB2PS1, DB2PS2, SYSDB2,SSYDPR, OSSDB2,MASDB2, STGDB2 |  |  |  | DB2 Non-SMS system volumes, initialized only |
| HSM101-71 HSMBC1 HSMBC2 HSMJRL HSMMCD HSMOCD HSMPRM |  |  | Syshsm | HSM ML1 volumes HSM Control volumes |
| DSP101-189 DSL101-259 DSO010-107 |  |  |  | SMS Managed Public volumes |
| SCR999 |  |  |  | Non-SMS volume, initialized only. Must be at UCB address GENed as MSS, PUB, SYSDA, SYSSQ, SYSTS, and TMP. |

The following database volumes are restored with the system volumes:

| M204: | M20401, M20402, M20403, M20404, M20405, M20406, M20407,M20408, M20409, M20410 |
| --- | --- |
| IMS: | IMS001, IMS002, IMS003, IMS004 |

The following user volumes are restored with the system volumes:

| NIH: | ODA103, ODA104, ODA105, ODA106 (Administrative Database) |
| --- | --- |
| NIH: | OFM101, OFM102 (Central Accounting System) |
| NIH: | DRG001, DRG002, DRG003, DRG004, DRG005, DRG006 (IMPAC and CRISP) |
| PSC: | ESC101, ESC102, ESC103, ESC104, ESC105, ESC106 (DHHS Civilian Payroll System) |
| PSC: | FAF104 (Payment Management System) |

# Load DASD Using FDR(DRP) Software

- Using ISPF EDIT (2):

EDIT              NIH.STGADMIN.DIST.STARTUP.CNTL

Command ===>

Name     Prompt       Size   Created

__________DRPJCL

__________DRPJCLC

_________ DRPPARMA *Edited          3  2005/07/20

__________DRPPARMB                 54  2006/05/05

__________DRPPARMC                135  2006/05/05

__________DRPPARMD                 68  2006/05/05

__________DRPPARME                 80  2006/05/05

__________DRPPARMF                 72  2006/05/05

- Submit member DRPJCL (sample JCL below).

- Submit member DRPJCLC

Job Number _________, Time Submitted __________, Cond-Codes __________

Sample JCL:

//SG01DRP1 JOB 'TITAN RESTORE',CLASS=A,TIME=900,

// NOTIFY=SG01,MSGCLASS=D

//**********************************************************************

//* FOLLOWING STEP ALLOWS DB2 TO BE RESTORED ALONGSIDE SUN BACKUPS     *

//* USE THIS JOB *ONLY* ON SUNGARD FLOOR SYSTEM                        *

//* RESTORE (PGM=FDRDRP) (V53. LEVEL59) USING 9840 TAPE DRIVES         *

//* ASSUMES: CATALOG VOLSER IS Z14CAT, NO OTHER CHANGES NEEDED         *

//* 11/15/04 DOB INCREASED REGION FROM 64M TO 0M                       *

//**********************************************************************

//STEP1   EXEC PGM=FDRDRP,REGION=0M

//STEPLIB  DD DSN=SUN1.FDRABR.LOADLIB,UNIT=3390,VOL=SER=Z14CAT,DISP=SHR

//SYSPRINT DD SYSOUT=*

//SYSPRIN1 DD SYSOUT=*

//SYSIN DD DSN=SG01.STARTUP.CNTL(DRPPARMA),DISP=SHR

/*

//**********************************************************************

//* USE THIS JOB *ONLY* ON SUNGARD FLOOR SYSTEM                        *

//* RESTORE (PGM=FDRDRP) (V53. LEVEL59) USING 9840 TAPE DRIVES         *

//* ASSUMES: CATALOG VOLSER IS Z14CAT, NO OTHER CHANGES NEEDED       *

//* 11/15/04 DOB INCREASED REGION FROM 64M TO 0M                       *

//**********************************************************************

//STEP2     EXEC PGM=FDRDRP,REGION=0M

//STEPLIB  DD DSN=SUN1.FDRABR.LOADLIB,UNIT=3390,VOL=SER=Z14CAT,DISP=SHR

//SYSPRINT DD SYSOUT=*

//SYSPRIN1 DD SYSOUT=*

//SYSIN DD DSN=SG01.STARTUP.CNTL(DRPPARMB),DISP=SHR

/*

//

//* SUBMIT MEMBER DRPJCLC NEXT

NOTE:  While the FDR(DRP) restore jobs are executing, you can restore the CICS volumes and initialize the public volumes while you are waiting.

- When the restore jobs have completed, enter the following command to verify that all required volumes (see previous table) have been restored and are on-line.:

D U

# Restore CICS Database Volumes

The FDR component of FDRABR is used to restore the database volumes of CICS.

Make sure the STGSVOLS report and the SunGard DASD address chart are handy.

The following CICS database volumes are to be restored: CICS03, CICS06, CICS10, CICS11

- Using ISPF (3.4) DSLIST:

EDIT    NIH.STGADMIN.DIST.STARTUP.CNTL  on ABRSYS

Name        Size  Created      Changed       ID

_________SUNCICS        53 2001/10/08    2003/12/01    $RYM

- Select and edit member SUNCICS; and change if necessary: data set names, volume serial numbers, and unit addresses.  Each Step will restore the CICS volume associated with it.

Submit the job, noting the times and job numbers.  Verify job successfully complete (Cond-Code 0000).

Job Number _________, Time Submitted __________, Cond-Codes ___________

If any of the jobs failed, they must be re-run after making appropriate adjustments before proceeding to the initialization of public volumes.

# Initialize Volumes

Empty volumes will be initialized for DB2 and general public work space for DR testing.

- Using ISPF (3.4) DSLIST:

EDIT    NIH.STGADMIN.DIST.STARTUP.CNTL  on ABRSYS

Members you will need:

Name          Size  Created       Changed       ID

____INIQUICK           99 2001/02/15          2002/03/12      $RYM

____INITVVDS           65 2001/02/15          2002/03/12      $RYM

Edit the INIQUICK member, sample JCL:

//SG01INI JOB (),'FDR-LIBRARY',CLASS=A,TIME=15,

//  MSGCLASS=D,NOTIFY=SG01

.

.

//*************************************************************

//*     NON-SMS VOLUME(S)                                     *

//*************************************************************

//NSMS1   EXEC PGM=ICKDSF,REGION=6144K

//SYSPRINT DD SYSOUT=*

//SYSIN    DD *

INIT    UNITADDRESS(4450) VERIFY(SG4450) VOLID(SCR999) -

DEVTYPE(3390) INDEX(10,00,15) VTOC(11,00,60) -

MAP NOCHECK NOVALIDATE

/*

.

.

.

.

Verify all of the INIT statements have correct UNITADDRESS, VERIFY, and VOLID parameters; the other parms will not change.

- Before submitting the job, go to the Titan console and use the VARY command to take each  of the volumes off-line, e.g.:

VARY 4480,OFFLINE      (continue until all volumes have been taken offline)

- Submit the job, and respond to each system prompt with:

nnU			where nn = the number of the prompt

Wait for the job to successfully complete (Cond-Code 0000).

Job Number _________, Time Submitted __________, Cond-Codes __________

- Go to the Titan console to use the VARY command to put each of the volumes on-line, e.g.:

VARY 380,ONLINE      (continue until all of the nineteen have been placed back online)

- Use the MOUNT command to mount all of the volumes, e.g.:

M 4480,VOL=(SL,DSL101)

- Use the D U to verify the volumes are mounted, e.g.:

D U,,,4480,1							This will display the volume and where it is mounted.

# IPL the System

IPL System 4 first, then System 9.  The following instructions, with differences noted, apply to IPL’ing both LPARs.

****  IMPORTANT REMINDERS  ****

Whenever any disk volumes are restored to one LPAR after both LPARs have been IPL’ed, the restored disk volumes MUST be varied offline and online on the other LPAR.  If this is not done, any attempts to access the disk volumes on the other LPAR will fail.

If you need to re-IPL the system, shut the system down per the instructions below under Shut Down the System.

To logon from one of the Herndon PCs after the system has been IPL’ed, use the following command:

LOG APPLID(TSOn)		where n is the system number (i.e., 4 or 9)

To retrieve Operator commands from the Herndon PCs that have been designated as the Titan Operator consoles, use the numeric keypad minus (-) key (located at the upper right corner of the numeric keypad).

- Verify the load address and the load parameter.

SYS4: The load address must be the UCB address of the disk SYS4R1 and the format of the load parameter must be aaaa4DM where aaaa is the UCB address of the disk containing the IPLPARM and IODF data sets which reside on NIHLBB.

SYS 9: The load address must be the UCB address of the disk SYS9R1 and the format of the load parameter must be aaaa9DM where aaaa is the UCB address of the disk containing the IPLPARM and IODF data sets which reside on NIHLBB.

The addresses for these 3 volumes will always be:

SYS4R1 - xx02

SYS9R1 - xx03

NIHLBB - xx04

The ‘xx’ value will depend on the range of addresses assigned by SunGard.  For example, if the address range is 78xx through 78yy, then the respective addresses for these volumes would be:

SYS4R1 – 7802

SYS9R1 – 7803

NIHLBB – 7804

The load address and load parms would then be:

SYS4 - Load address = 7802

Load parm = 78044DM

SYS9 - Load Address = 7803

Load parm = 78049DM

Provide the load address and the load parameter to the SunGard personnel.

- The Operators will initiate the load.

- The Master Console screen displays blue colored messages.  Prompts pertaining to DASD volumes may appear.  Respond accordingly.

- The date and time on the console should be correct.  If not, contact the SunGard personnel.

- The Master Console screen should begin displaying green colored messages.  You should see the following message regarding the sysplex environment:

IXC418I SYSTEM SYSX IS NOW ACTIVE IN SYSPLEX TITAN

The operating system will issue start commands for a number of Started Tasks (STCs).

- After OPSMAIN4/OPMSMAIN9 initializes, it will issue the following WTOR, requesting directions pertaining to the activation of System State Manager (SSM):

nn SSMBEGIN ENTER DESIRED STATEMAN STARTUP OPTION (1-5) AND/OR MODE (A/P/I):

During the first IPL, place STATEMAN into PASSIVE mode.  This will enable you to start the desired STCs and respond to WTORs without any interference from Automation.  Issue the following response to place STATEMAN into PASSIVE mode:

R nn,1P

Note:  Since OPSMVS is started with PASSIVE mode, all tasks will be started manually.

- If the automatic rule fails, then issue the following commands:

OPSAOF disable TOD

OPSAOF disable MSG.$HASP400

OPSAOF disable MSG.$HASP426

OPSAOF disable MSG.IST051A

OPSAOF disable CMD.$S

OPSAOF disable STD.EZZ4324I.

OPSAOF disable STD.EZZ0403I.

OPSAOF disable MSG.EZZ4324I.

OPSAOF disable STD.SHADTOD

OPSAOF disable STD.SHADTOD1

OPSAOF enable  STD.DR.

OPSAOF Resetauto MSG.$HASP400

OPSAOF Resetauto MSG.$HASP426

OPSAOF Resetauto MSG.IST051A

OPSAOF Resetauto TOD

- Start JES2.

The first time the system is IPL’ed, JES2 will have to be started manually because JES2 will have to be COLD started.  All subsequent IPLs (such as bringing up System 9) will require a warm start.

Issue the following command:

| SYS4: S JES2,DEV=DR,PARM=COLD | SYS9: S JES2,DEV=DR |
| --- | --- |

The following non-highlighted message will appear on the console:

$HASP400 ENTER REQUEST JES2 READY

After this message appears, issue the command to activate JES2:  $S

The following printers are assigned to the Titan JES2 at the disaster site:

| Printer Model | Location | Printer Number | Unit Address |
| --- | --- | --- | --- |
| 3900 | Reference test plan | PRT30 | Reference test plan |
| 4245 | Reference test plan | PRT11 | Reference test plan |
| 4245 | Reference test plan | PRT12 | Reference test plan |

Set the Unit Address for PRT30 by issuing the command:

$TPRT30,UNIT=cuu

where cuu is the unit address obtained from the SunGard web-based test plan

- If this is the initial manual IPL and JES2 is being cold started, issue the following command to also cold start ThruPut Manager:

SYS4: S TM,CF=COLD,CMF=COLD,VIF=COLD Reply 'nnY' to the following messages. DTM6007A IS A CONTROL FILE COLD START AUTHORIZED? REPLY 'Y' OR 'N' DTM0805A IS A VIF COLD START AUTHORIZED? REPLY 'Y' OR 'N' DTM7152A IS A DCS CMF FILE COLD START AUTHORIZED? REPLY 'Y' OR 'N' The following messages will appear on the console: DTM0023I TMSS INITIALIZATION COMPLETE DTM6422I JLS RECONCILE COMPLETE DTM7153I THE DCS CMF FILE IS BEING FORMATTED DTM7154I THE DCS CMF FILE HAS BEEN FORMATTED (7200 BLOCKS, 600 TRACKS) DTM2224I THRUPUT MANAGER VERSION 5 RELEASE 2.2 PTF TMT5212 After these messages appear, enter the following commands on the System 4 console: %TM BATCH NIH.TMGRPROD.DRFOUR.COMMAND %JAL EVENT ON DISASTER Note 1: The first command defines a group of AGENT names and activates the agents on SYS4. Note 2 (Important): The second command turns on a Thruput Manager ‘Event’ named DISASTER. When the DISASTER event is turned on, all jobs submitted by CA-7 are placed in ‘Operator Hold’ and are not executed. Jobs that are held by this facility can be released with the Thruput Manager command: %JSS RELEASE ‘JOBNAME’ or %JSS RELEASE JES2 Job Number If all jobs submitted from CA-7 are to be executed, issue the following command: %JAL EVENT OFF DISASTER To view the status of Thruput Manager events, issue the following command: %JAL EVENT DISPLAY

SYS9: S TM The following message will appear on the console: DTM2224I THRUPUT MANAGER VERSION 5 RELEASE 2.2 PTF TMT5212 After this message appears, enter the following commands on system 9 console: %TM BATCH NIH.TMGRPROD.DRNINE.COMMAND %JAL EVENT ON DISASTER Note 1: The first command defines a group of AGENT names and activates the agents on SYS9. Note 2 (Important): The second command turns on a Thruput Manager ‘Event’ named DISASTER. When the DISASTER event is turned on, all jobs submitted by CA-7 are placed in ‘Operator Hold’ and are not executed. Jobs that are held by this facility can be released with the Thruput Manager command: %JSS RELEASE ‘JOBNAME’ or %JSS RELEASE JES2 Job Number If all jobs submitted from CA-7 are to be executed, issue the following command: %JAL EVENT OFF DISASTER To view the status of Thruput Manager events, issue the following command: %JAL EVENT DISPLAY

All subsequent TM restarts on SYS4 and SYS9 will require a warm start using the following command:

S TM

- Manually start the following tasks.

Issue the commands to start MIM and MIA (that allow shared DASD and tapes):

SYS4: S SYSMIM,FORMAT=BOTH,MEMBER=MIMINTDR S SYSMIA,FORMAT=CF,MEMBER=MIAINTDR

SYS9: S SYSMIM,FORMAT=CKPT,MEMBER=MIMINTDR S SYSMIA,MEMBER=MIAINTDR

Issue the following commands:

SYS4: S SLAMRUN S TCPIP S TN3270 S TCAS S EMSPROC S SYSVPSP S SMR S SRVVPSP S DRSVPI S GSSA S BBVTAS.ZZUZPZO,SUF=P3 S BABCAS S MVSPAS S ENF S NDMP The Storage Group will start HSM Note 1: After CCITCP and CCITCPGW are started, please inform TC Chen, so he can check their status. Note 2: If SMPTP does not come up because it is looking for data sets on public volumes, uncatalog all NIH.TCPIP.SMTP.* data sets and reissue the start command. S SMTP

SYS9: S SLAMRUN S TCPIP S TN3270 S TCAS S BABCAS S SMR S MVSPAS The Storage Group will start HSM

- Issue the following command to start the NJE connection to production Titan (for tests only):

$SN,A=NIHJES2

NOTE:  Make sure JES2 and Enterprise Extender are up and running before issuing this command.

- After both SYS4 and SYS9 are up, verify that all tape drives are online to both LPARs so that batch jobs won’t hang or get cancelled.

- After all the above tasks have been started, CICS and M204 can be started.  Notify appropriate staff to start these subsystems.

For the December 2 - 4, 2007 test, notify:

Ed Ryan at 301-496-1452 (CICS)

Hoyt Carelock at 301-435-5488 (M204)

- DB2 and Oracle client

- Call either Ed Ryan at 301-496-1452, Angela Bennett at 301-435-5491, or Charles Green at 301-402-8523 to start DB2.

- If, prior to the backups that have been restored for the disaster recovery test, NIH.SHADOW.TITNSLK.SDBP.NIH.EXEC(SDBPIN00) had not been updated with the “emergency license code” for Shadow Direct, update the NIH.SHADOW.TITNSILK.SDBP.NIH.EXEC(SDBPIN00) to replace the LICENSECODE with the “emergency license code” obtained prior to the test.

- Verify that SYS9 is available.

- Start DSNP and the Oracle client on Titan by submitting the following job:

ZDB2DB2.CA7.DSNP.JCL(DB2PWSTR)

Note:  This job issues an OPS message to Restart DSNP, and its related Oracle and Shadow jobs.  At DR it will use the temporary license for Shadow Direct, so SDBP will remain UP.  However, at DR, Shadow Web Server - SWSP - will fail because there is no license.  This is as planned since we do NOT want SHADSWSP executing at DR.

- Perform a quick test of DSNP

- Verify that SWSP is DOWN.

  - IMS  (SYS4 ONLY) – During DR tests, IMS is brought up manually via a COLD start.  Since the IMS testing at the DR site does not involve accessing DB2, there is no need for DB2 to be started prior to staring IMS.  If there are any problems starting IMS, please call Pete Nordyke at 301-402-1246, Clyde Colmes at 301-496-6244, or Ed Ryan at 301-496-1452.

To bring up IMS during a DR test, always issue a COLD start as follows:

- Run batch job from IMSVS.V9R1.TITAN.P.SRCLIB(RCONREST)

- S IMS9DR

- When IMS puts out a WTOR "nn DFS810A IMS READY",

Enter:  REPLY nn,/NRESTART CHECKPOINT 0 FORMAT ALL

- When you see “nn DFS996I *IMS READY*  PROD” on the console log,

Enter:  REPLY nn,/START TRAN IMS* JAH* IXX*

- When you see "nn DFS996I *IMS READY*  PROD" on the console log,

Enter:  REPLY nn,/START REG IMS9PMP8

- When you see "nn DFS996I *IMS READY*  PROD" on the console log,

Enter:  REPLY nn,/START DC

- When you see "nn DFS996I *IMS READY*  PROD" on console log,

Enter:  REPLY nn,/START LINE 3 PTERM ALL

- When you see "nn DFS996I *IMS READY*  PROD" on console log,

Enter:  REPLY nn,/START LINE 2 PTERM ALL

- S IMS9PRDR,MBR=JESCMDS1

APPC must be disabled at the DR site.

In order to avoid a repeat of the July, 2006 problem whereby some IMS users who signed on at NIH got the DR site instead (or vice versa), APPC must be disabled at the DR site.

The IMS proc for DR has been modified so that IMS at the DR site comes up with APPC disabled.  To verify this:

  - Logon to IMS at the DR site.

  - Verify that you are connected at the DR site.

  - Display APPC status via the /DIS APPC command.

  - If APPC is enabled at DR, disable it with the /STOP APPC command.

An alternative is:

- Verify that IMS started OK at the DR site.

- Bring IMS down at the DR site.

- The next morning, after IMS has been started at NIH, restart IMS at the DR site.

- Logon to IMS at the DR site.

- Verify that you are connected at the DR site.

- Display APPC status via the /DIS APPC command.

- If APPC is enabled at the DR site, disable it with the /STOP APPC command.

The procedures for an IMS warm start are included here for documentation purposes only:

- S IMS9DR

- When IMS puts out a WTOR "nn DFS810A IMS READY",

Enter:  REPLY nn,/NRESTART

- When IMS puts out a WTOR "nn DFS996I *IMS READY*  PROD" then,

Enter:  START IMSVTAM

- You will see “nn DFS996I *IMS READY*  PROD” on the console log,

Enter:  REPLY nn,/START TRAN IMS* JAH* IXX*

- You will see "nn DFS996I *IMS READY*  PROD" on the console log,

Enter:  REPLY nn,/START REG IMS9PMP8

- You will see "nn DFS996I *IMS READY*  PROD" on the console log,

Enter:  REPLY nn,/START DC

- When you see "nn DFS996I *IMS READY*  PROD" on the console log,

Enter:  REPLY nn,/START LINE 3 PTERM ALL

- When you see "nn DFS996I *IMS READY*  PROD" on the console log,

Enter:  REPLY nn,/START LINE 2 PTERM ALL

- S IMS9PRDR,MBR=JESCMDS1

# SYSHSM

All volumes necessary for production SYSHSM have now been restored and all Disaster Tape volumes have been transported to the Disaster site.

Do the following to bring up SYSHSM at the DR site.

- Edit Syshsm.parmlib(arccmd04):

Insert the following: SETSYS DISASTERMODE

Change setsys DUPLEX to NO for both Backup and Migration

Add the Hold All to the end of arccmd04

- Start SYSHSM

- Verify that Initialization completed successfully; correct any errors.

- Once Initialization is complete, issue:  TSO HSEND RELEASE TAPEREPL

- Issue:  TSO HSEND TAPEREPL ALL DAVOLUMES

- Issue:  TSO HSEND RELEASE RECALL

- Test Recall of a dataset on ML2.  If the subsequent tape mount calls for a H2* volume, then Syshsm is functional.

- Issue:  TSO HSEND RELEASE ALL

- Issue:  TSO HSEND HOLD BACKUP MIGRATION (For DR Test only)

In the event of a real Disaster all H2* should be available.  It will be necessary to reconcile the H2 tapes currently in use with those H2 tapes available as HSM scratch tapes.

Issue TSO HSEND LIST TTOC ODS('$DOB.TTOC.ALL.JAN21A') DSI  from the TSO command line of from ISPF 6.

Edit the Output dataset. Sort the data by cols 2-7. Any tape number not listed needs to be added to HSM via the Addvol command as either a Backup or Migration tape as needed.

See DFSMShsm Storage Administration Reference for details. It is available on Bookmanager.

# Workload Manager (WLM)

Once the system is IPL’ed and TSO is available, the standard Titan Workload Manager policy (TTANSTD) can be installed into the WLM DR couple datasets and activated.   Until that is done, an IBM default policy will be in effect and not conducive to our system environment as activity picks up.

Do the following to install TITANSTD:

- Logon to TSO and go into the ISPF command screen (6).

- Enter:  EX ‘SYS1.SBLSCLI0(IWMARIN0)’

- Select “Read Saved Definition”, from NIH.WLM.SYS4DR.PDS

- Select “Install” from the  “Utilities” bar at the top.

- Select “Activate” from the “Utilities” bar at the top.

(An alternative would be the console command:  V WLM,POLICY=TITANSTD)

- Select “Exit” from the  “File” bar at the top.

You can double-check for our policy TITANSTD activation using the console command:

D WLM,SYSTEM=SYS4

Note:  This is SYSPLEX-wide, and will also be in effect on SYS9 if it is up – or when it does come up.

# Manual START Commands

In case you need to manually start various tasks, Section 9 of the Titan System Programmers Handbook should have most of the information you need to do this.

To see how OPS/MVS would normally bring up a started task, begin by looking at the data set SYS1.SYSn.PROCLIB(OPSMAINn) where "n" is the system in question.  Then look at the data sets allocated to the SYSEXEC ddname.  Look for member names beginning with the string "START…".  Then look for the text "issue" and you will generally be close to the command that OPS/MVS would issue.  To see how OPS/MVS would stop the task, look at the member names beginning with "STOP…".

# Shutdown Procedures

## Shut Down the System

- Before shutting down the system, DB2 needs to be terminated as follows:

Call the DB2 support person to submit the following job for stopping DSNP and the Oracle client on Titan.

ZDB2DB2.CA7.DSNP.JCL(DB2PWSTP)

Note:  Initiator must be available before executing the job.

- Issue the following command on the console for the system you are shutting down:

SHUTDOWN ENTIRE SYSTEM NOW

- Reply “U” to “accept”, then “N” to “shutdown now” in response to SSMSHUT request from OPS System State Manager.

- Reply “5” to SSMBEGIN start option to select the “Use current desired state and no schedule” option.

- After started tasks are terminated, if the other system is still up, issue

VARY XCF,SYSn,OFFLINE

where n = 4 or 9, the number of the system you are shutting down.  This removes the system from the Sysplex.

- Reply “SYSNAME=SYSn” (where n = 4 or 9) to message IXC371D “Confirm request to vary system offline”.

- Reply “DOWN” to message IXC102A “XCF is waiting for system SYSn deactivation” on the other system.

## Shut Down IMS

Use the following procedure in TSO Option 'S.OPS' (AutoOps):

- Issue the following operator command to get the number of the Outstanding IMS message:

/D R,L

The following example is the response from the July 2005 test:

20JUL 15:13:10 D R,L

20JUL 15:13:10 IEE112I 15.13.10 PENDING REQUESTS 742

20JUL 15:13:10 RM=7    IM=0     CEM=0     EM=0     RU=0    IR=0    NOAMRF

20JUL 15:13:10 ID:R/K     T TIME     JOB ID   MESSAGE TEXT

20JUL 15:13:10         97 R 15.11.38 04S17361 *97 DFS996I *IMS READY*  TEST

- Issue the following operator command to display active the IMS regions:

97/dis a

The following example is the response from the July 2005 test:

R 97,/DIS A

IEE600I REPLY TO 97 IS;/DIS A

DFS000I     REGID JOBNAME   TYPE  TRAN/STEP PROGRAM  STATUS

DFS000I         2 IMS7TMP1  TPE                      WAITING

DFS000I         1 IMS7TMP5  TPE                      WAITING

DFS000I           JMPRGN    JMP   NONE

DFS000I           JBPRGN    JBP   NONE

DFS000I           BATCHREG  BMP   NONE

DFS000I           DBTRGN    DBT   NONE

DFS000I           IMS7TRC   DBRC

DFS000I           IMS7TSAS  DLS

DFS000I     VTAM ACB OPEN          -LOGONS ENABLED

DFS000I     IMSLU=NIH.APPCIMST       APPC STATUS=ENABLED   TIM

DFS000I     OTMA GROUP=N/A       STATUS=NOTACTIVE

DFS000I     APPLID=IMSTEST   GRSNAME=         STATUS=DISABLED

DFS000I     LINE ACTIVE-IN -    1 ACTIV-OUT -    0

DFS000I     NODE ACTIVE-IN -    0 ACTIV-OUT -    0

- Issue the following command to stop an IMS region:

/mm/STOP REGION n (where mm is the new outstanding message id and n is the region ID)

The following example is from the July 2005 test.

R 98,/STOP REGION 2

IEE600I REPLY TO 98 IS;/STOP REGION 2

DFS058I 15:13:44 STOP COMMAND IN PROGRESS

DFS058I 15:13:44 STOP COMMAND IN PROGRESS   TEST

99 DFS996I *IMS READY*  TEST

DFS552I MESSAGE REGION IMS7TMP1 STOPPED ID=00002 TIME=1513  TEST

DFS552I MESSAGE REGION IMS7TMP1 STOPPED ID=00002 TIME=1513

# Other Vendor Software

The following products have licensing restrictions that require special procedures to enable them to run at the hot site:

| Connect:Direct | Connect:Direct requires a new license key. Contact https://support.sterlingcommerce.com/forms/connect_key_request.aspx or call customer support at 1-800-292-0104 to obtain a license key to update the data set APDSN with the hot site cpu ID. The DCSS customer ID is 11653. |
| --- | --- |
| IOF | IOF requires an authorization patch. Contact Patty Robbins (patty.robbins@ triangle-systems.com) and Christine Cargnoni (Christine.cargnoni@fisc.com) to obtain the patch. When making the request be prepared to provide the following information: Starting day of test and length (3 days) Current IOF release level: 7.G.0 Processor type being emulated at the hot site: 9672-RB6 Product license and issuer: 085 0693, Federal Data Corporation CPU ID and machine type: obtained from the SunGard web-based test plan The following is an example of the patch that will be received: REP 00 10C9,0F57,B68C,B165 - good thru 07 Nov 2001, Wednesday Member A40EXPIR in NIH.IOF.PROD.IOFT7GO.OPTIONS must be updated with the new zap codes; examples of the format are in the member. Execute member M40EXPIR in NIH.IOF.PROD.IOFT7G0.INSTALL. If condition code 0 is returned, do an LLA Refresh (F LLA,REFRESH) to activate the new authorization code. |
| MAX | MAX software requires temporary enabling codes (good for 10 days). Contact the vendor at 1-888-376-6629 or 301-985-1558, or by email, info@maxsoftware.com to request the authorization zaps. Indicate the request is for NIH (CIT) for testing at SunGard on the specified test dates and provide the SunGard CPU serial number and processor type/model number (obtained from the SunGard web-based test plan). Make sure the DR passwords are in the MAXAUTH member in the NIH.MXRX320.JCL library. Submit ASMAUTHS from the NIH.MXRX320.JCL library to create the MAXAUTH load module. If the jobs are run after the system has been IPL’ed, do an LLA Refresh; otherwise, wait for an IPL. Verify the Max functions (Max View, Max Edit, Max PDF, Max Utility) are accessible without an authorization error message. Submit a batch job executing pgm=maxbat to ensure that it executes without error. |
| MIA MIM OPSMVS SMR TMS | These products require an authorization key. Contact Computer Associates (CA) at 1-800-338-6720 to request the authorization key. Provide the site ID: 193082 and the CPU ID and model number of the SunGard system (obtained from the SunGard web-based test plan). The EKG key received from CA is put into the KEYS member of PPOPTION. |
| Model 204 | Contact Liz Klass of CCA at 703-506-2107 to obtain the cpuzap for the disaster recovery site. You will need to provide the CPU ID and the operating system level (obtained from the SunGard web-based test plan). Create a new copy of NIH.M204.RACF.PGMS.DISASTER and apply the zap to the new copy (the dataset is on M20402) as follows. Prior to the test, on the home production system: Logon to TSO and copy the NIH.M204.RACF.PGMS to another dataset - NIH.M204.RACF.PGMS.DISASTER. Use SPF 3.3 to copy ONLINE, IFAM1, IFAM4 and Batch204 modules into the NIH.M204.RACF.PGMS.DISASTER library. Upload the CCA zap to the dataset $DBS.HOTSITE.ZAP. Run the job NIH.M204.V510.FIXES.DATA(ZAPUCPU) to zap/update ONLINE, IFAM1, IFAM4 and Batch204 modules, which are stored in the NIH.M204.RACF.PGMS.DISASTER library. This zap verifies and then replaces the CPU name info with 0000's; thus removing the present NIH site information. Run the job NIH.M204.V510.FIXES.DATA(ZAP510) to zap/update ONLINE, IFAM1, IFAM4 and Batch204 modules, which are stored in the NIH.M204.RACF.PGMS.DISASTER library. This zap verifies and then replaces the 0000's with the hot site cpu information. At the hot site: Logon to TSO SPF. Use SPF 3.3 to copy the ONLINE, IFAM1, IFAM4 and Batch204 modules from the NIH.M204.RACF.PGMS.DISASTER library to the NIH.M204.RACF.PGMS library. Start M204PROD by entering the following at the console: /S M204R |
| Quick-Ref | Quick-Ref requires a key to run at the DR site. Contact Chicago-Soft at 733-282-4777 or by email: zap@chicago-soft.com to obtain the keys. You will need to provide the following information: the key is for the US National Institutes of Health, LA #9011495, the date of the test, and the CPU ID. Run the job NIH.QUICKREF.R640.JCL (QWIEXPDT) to apply the zap to member QWIKREF1 in the current Quick-Ref linklib. |
| SAS | To prepare SAS PROCs for use in a DR situation, comment out the two DD cards containing DSN=SYSDB2 in each of the following two PROCs: ZABCRUN.PROCLIB (SAS) and ZABCRUN.PROCLIB (SAS609). The SAS PROCLIB resides on MSTATS. Contact Mr. Ray Danner at (301)496-6037 or Ms. Cindy Harper at (919)677-8000 to obtain a SETINIT job. Execute the SETINIT job after modifying the SAS PROCs. This will suppress printing of the SAS warning messages. It is not necessary to obtain the SETINIT job for hot site testing, but SAS should be notified after the test. |
| Shadow | Shadow requires a temporary “emergency license code”. Contact Neon Systems by email: support@neonsys.com. |
| Superset Utilities | Superset Utilities require authorization codes. Contact Applied Software (Ron Turner) at 215-297-9441, Fax 215-297-9498, or by email: ron@appliedsoftware.com to request the authorization codes. Provide the dates, CPU serial number, and model number of the SunGard system (obtained from the SunGard web-based test plan). Assuming module AS0000PW is already prepared with the authorization codes, you can use the following shortcut procedure from the floor system prior to the first IPL: Use ISPR 3.3 “Move/Copy Utility” to REPLACE module AS0000PW: From: ‘NIH.SUPERSET.DR.LOAD’, Volume ABRSYS To: ‘SYS1.SUPERSET.LOAD’, Volume NIHLBB Be sure to specify “/” to allow “Replace like-named member”’ If you did not use the pre-IPL procedure above, do the following: The two members in NIH.SUPERSET.DR.CNTL for updating the authorization module are: ASMPSWDX and PCCPSWDC. Make sure PCCPSWDC has the current authorization codes. Edit member ASMPSWDX to make sure “//SYSLMOD” points to library SYS.SUPERSET.LOAD submit the job. After the batch job completes, optionally browse SYS1.SUPERSET.LOAD(AS0000PW) to verify the current disaster site codes are in place. From the console: F LLA,REFRESH |

Products requiring keys to run at the DR site and responsibilities:

| vendor | product | Key required for DR test? | responsible |
| --- | --- | --- | --- |
| Applied Software, Inc | Superset utilities | yes | S Filbert |
| BMC Software | CMF Monitor |  | B Long |
|  | Loadplus |  | E Ryan |
|  | Mainview |  | B Long |
|  | Resolve/Sysprog |  | B Long |
| Chicago Soft | Quick-Ref | yes | B Bauer |
| Computer Associates | CA1 |  | D O’Brien |
|  | CA7 |  | TC Chen |
|  | CA11 |  | TC / J Dussault |
|  | Common Service |  | TC / J Dussault |
|  | MIA/MIM |  | B Bauer |
|  | OPSMVS |  | TC / J Dussault |
|  | SMR | yes | TC / J Dussault |
|  | TMS | yes | TC / J Dussault |
| Computer Corp. of America | Model 204 | yes | H Carelock |
| DataDirect Technologies | Shadow z/Direct | yes | E Ryan |
|  | Shadow z/EnterpriseWeb Server |  | E Ryan |
| Fisher Int’l Sys., Inc. | IOF | yes | B Long |
| Max Software | MAX | yes | C Green |
| SAS Institute | SAS | yes | A Bennett |
| Software Engineering of America | PDSFast |  | B Long |
| Sterling Commerce | Connect:Direct | yes | B Bauer G Tran |

# Dump Disaster Volumes

After the completion of disaster recovery testing, the disaster volumes, DIST00, DIST01, and DIST002 are dumped to 9840 scratch tapes to be returned to NIH.

The NIH.STGADMIN.DIST.WORK.CNTL(DISTDUMP) dataset contains the JCL to perform the dumps.  The only changes to the JCL that may be necessary might be the volume serial numbers of the volumes being dumped and the tape device parameters.

Submit this job (after any necessary edits), noting the job number and time, and verify successful completion (Cond-Code 0000).

# Dump Console Log Volumes

As long as SMR has been running during the test, the current day's console logs will be in data sets named NIH.CA.SYSLOG.CURRssss where "ssss" is the SMFid of the system (e.g., 4090).  The log for the previous day will be in the data set named NIH.CA.SYSLOG.SMRyyjjj where "yy" is the last 2 digits of the year and "jjj" is the Julian date.  You should verify that these data sets are on NIHLB4 and SMR001 respectively.  If not, modify the JCL below as necessary.

After the completion of disaster recovery testing, the volumes NIHLB4 and SMR001 containing the console logs are dumped to 3490 scratch tapes to be returned to NIH.

The NIH.STGADMIN.DIST.WORK.CNTL(DUMPLOGS) dataset contains the JCL to perform the dumps.  The only changes to the JCL that may be necessary are the volume serial numbers of the volumes being dumped and the tape device parameters.

Submit this job (after any necessary edits) and verify successful completion (Cond-Code 0000).  Also make a note of the scratch tapes that were written so that you can copy these tapes once the "scratch" tapes come back to NIH.  You must use DFDSS to copy these tapes (for sample JCL, see $JDA.DISASTER.CNTL(COPYDUMP)).

# Miscellaneous

The following is useful information.

## SMF

From time to time it may be necessary to clear the SMF datasets on the DR z/OS operating system. The following procedure can be used to manage the SMF data.

- On the Operator's console issue the 'D SMF' command. This displays the status of the SYS1.MAN1, SYS1.MAN2, and SYS1.MAN3 datasets.

- If any of the MAN files shows a status of 'DUMP REQUIRED' the job SMFCLEAR can be submitted from dataset NIH.DISASTER.JCL. Be sure to specify the MAN file you wish to clear (1,2, or 3) on the EXEC card. This job will clear all records from the SMF MAN file and reset it back to 0% full."

## CICS

- Since the environment at the DR site is new and the log streams will be defined for this new environment, the CICS startup should be INITIAL.  The easiest way to achieve this is by adding the following to the SIT override data set, i.e., adding to NIH.CICSTS22.PROD.R1CICS22.SYSIN(DFH$SIPT) :

START=INITIAL,                                X

- Since TMON for CICS is not started at the DR site, CICS will not start at the DR site unless the TMON programs that it executes during its initialization at NIH are removed from the initialization at the DR site.  The easiest way to achieve this is by adding the following to the SIT override data set, i.e., NIH.CICSTS22.PROD.R1CICS22.SYSIN(DFH$SIPT) :

PLTPI=NO,                                     X

- UNCATLOG, DELETE and DEFINE the logstreams for CICS:

Verify that you are logged in at the DR site (System 4).

Verify the names of the CICS log data sets referenced in NIH.CICSTS22.PROD.R1CICS22.LIBRARY(LGRUNCAT).

Note:  The generation qualifier in the data set names referenced in LRGUNCAT change from one DR test to the next.

Modify LGRUNCAT based on the log datasets that are cataloged at the DR site.

Note:  Prior to submitting the LGRUNCAT JCL, you may want to recall any datasets that you will uncatalog that are currently migrated.  If you don’t, it may take a long time for the LGRUNCAT job to execute as recalls of migrated datasets at the DR site seem to be longer than normal.

Note:  To execute LGRUNCAT you need ALTER access to:

PRF.CP1.PPCSPROD.USRJRNLS.**

OFM.HAS.FDMSPROD.USRJRNLS.**

OFM.HAS.PCAPROD.USRJRNLS.**

Note:  ZDB2EOR has the required access authority.

Remove the comments from the job card, and execute LGRUNCAT.

Note:  A cond code = 8 may be alright; just verify that the log files are uncataloged.

From OPSLOG, display the logstreams by issuing:

/d logger,logstream

As an alternative, the logstreams can be displayed from the IOF LOG with the following command:

#d logger,logstream

Modify NIH.CICSTS22.PROD.R1CICS22.LIBRARY(LGRDELET) based on the CICS logstreams that do not exist at the DR site.  Many, if not all, of the logstreams may not initially exist at the DR site.  Remove any CICS logstreams that do not exist at DR because their presence in the JCL will cause the submission to receive a Cond Code = 0012.  If none of the CICS logstreams initially exist at the DR site, there should be no need to execute LGRDELET.

Remove the comments from the job card, and execute LGRDELET.

Note:  To execute LGRDELET, you need READ access to: MVSADMIN.LOGR cl(facility).  ZDB2EOR has the required access authority.

Remove the comments from the job card, and execute  NIH.CICSTS13.PROD.R1CCIS22.LIBRARY(LGRDEFIN).

- If CICS06 and CICS11 have not yet been restored, comment out the DTM loadlib from the RPL. (CCIS11 contains the file and CICS06 contains the catalog).

- Bring up the region by issuing the following command:

/S CICS22R1

- Verify that the user files are allocated to CICS.

- If the user files are not allocated, you may need to execute the following transactions:

AARM

ADMC

APCA

- Modify the record in NIH.CICSTS22.SITEFILE to a '2'.

- Test the Site transaction.

- Issue the following command:

CECI EXEC CICS LINK PROG('DUMPTBLE')

- Notify the staff at the DR site that CICSPROD is up.

## TESTING THE Oracle Client

- Log on to DRTITAN2.NIH.GOV (System 9).

- Verify the contents of the SQLNET and Oracle TNSNAMES files.

Note:  There is a current project in CIT to discontinue support of Oracle Names.  Until this project is completed:

- Verify that any customer testing at the DR site who has already transitioned to using their own SQLNET and TNSNAMES files, modifies the entries in their TNSNAMES file to point to the databases at the DR site.

- Continue with the following steps if there are DR customers who are testing and have not yet transitioned to their own SQLNET and TNSNAMES files.

The ORASQL, ORALDR, and ORACB2 procs in the NIH.ORACLE.PROCLIB each contain the following DD cards:

//sqlnet dd dsn=nih.sqlnet.ora,disp=shr

//tnsnames dd dsn=nih.oracle.tnsnames,disp=shr

At the NIH, the directory path in NIH.SQLNET.ORA looks first at TNSNAMES and then at ONAMES.  On Titan, NIH.ORACLE.TNSNAMES has no entries, so unless the JCL overrides the TNSNAMES DD statement in the proc by specifying a different TNSNAMES data set that contains entries, the connection at the NIH is made using ONAMES.  The ONAMES entries point to the NIH computer systems.

Note:  AFPSP, John Biggie’s application, uses NIH.SQLNET.ORA.ASO instead of NIH.SQLNET.ORA, but the process is the same.

During disaster recovery, the users’ connections should not be to the NIH machines.  The connections should be to the machines set up at the disaster recovery site.  The connections to REPOSPRD that are made to test the members of NIH.ORACLE.PROCLIB are made to the database back at NIH.

The connection information needed at the DR site is contained in NIH.SQLNET.ORA.DRSITE, NIHSQLNET.ORA.ASO.DRSITE,  and NIH.ORACLE.TNSNAMES.DRSITE.  The job, DB2PWSTR, starts ORAONSP at the disaster recovery site.  The job includes steps that copy NIH.SQLNET.ORA.DRSITE, NIHSQLNET.ORA.ASO.DRSITE, and NIH.ORACLE.TNSNAMES.DRSITE to NIH.SQLNET.ORA, NIH.SQLNET.ORA.ASO, and NIH.ORACLE.TNSNAMES, respectively.  When NIH.SQLNET.ORA, NIH.SQLNET.ORA.ASO, and NIH.ORACLE.TNSNAMES are referenced at the DR site, they contain the connection information needed for the test; not the connection information used at NIH.

- Verify the absence of numbering in NIH.ORACLE.TNSNAMES, NIH.SQLNET.ORA.ASO, and NIH.SQLNET.ORA. To do this, edit NIH.ORACLE.TNSNAMES, NIH.SQLNET.ORA.ASO, and NIH.SQLNET.ORA and press PF11.  If there are numbers on right, go to the command line and enter the UNNUM command.

- Verify that the TMX11826I message references the IP address at the DR site.

- Verify the TCP/IP connections.  From TSO enter:

PING DREOS.CIT.NIH.GOV

- The following are problems from previous tests with resolution.  They are included here in case they occur during current testing; this may help hasten the resolution.

| Problem | Solution |
| --- | --- |
| The job just waited on the execution queue | The ORACLE JES2 agent needed to be activated |
| The TNSNAMES and ORACLE NAMES files had numbers on and extraneous data in the right most columns of the data sets | The UNNUM command needed to be issued on the files |
| Job submission errors stating: Temporary control card data set cannot be allocated DAIR RC = 12 dec, DARC = 970C hex | The resolution was to UNCATALOG the ZDB2INI.SYS4…CNTL data set |

- Test the Oracle procs

If space on EOS is limited at the DR site (this is usually the case), NIH.ORACLE.TNSNAMES.DRSITE will have an entry for REPOSPRD which connects to REPOSPRD at the NIH.  If so, the password for the test of REPOSPRD must match the password on EOS at NIH.

Prior to testing verify that:

- The directory path in NIH.SQLNET.ORA does not include ONAMES,

- The directory path in NIH.SQLNET.ORA.ASO does not include ONAMES, and

- the DR entries are included in NIH.ORACLE.TNSNAMES.

Test ORASQL and ORALDR

- Submit the following JCL:

ZDB2INI.ORA.TJS.REPOSPRD.JCL(SQLPLUS)

- If the SELECT succeeded (the tjs_table1 exists), execute the following:

ZDB2INI.ORA.TJS.REPOSPRD.JCL(DELROWS)

ZDB2INI.ORA.TJS.REPOSPRD.JCL(SQLLOAD)

ZDB2INI.ORA.TJS.REPOSPRD.JCL(SQLPLUS)

- If the SELECT failed (the tjs_table1 does not exist), execute the following:

ZDB2INI.ORA.TJS.REPOSPRD.JCL(CREATETB)

ZDB2INI.ORA.TJS.REPOSPRD.JCL(SQLLOAD)

ZDB2INI.ORA.TJS.REPOSPRD.JCL(SQLPLUS)

Test ORACB2

- Submit the following JCL:

ZDB2INI.ORA.TJS.REPOSPRD.JCL(COBOLCL)

- Add  //TNSNAMES DD NIH.ORACLE.TNSNAMES,DSP=SHR to ZDB2INI.ORA.TJS.REPOSPRD.JCL(COBOLGO)

- Enter: EXECUTE ‘ZDB2INI.ORA.TJS.REPOSPRD.JCL(COBOLGO)’

- Verify the connection to AFPSP at the DR site:

- On the Database Development Main Menu, enter: O

- You will be prompted for the fully qualified TNSNAMES file.

Enter:  NIH.ORACLE.TNSNAMES

- You will be prompted for the Oracle Connect String.

Enter:  REPOSPRD.WORLD

- You will be prompted for your Oracle userid.

Enter:  ZDB2INI

- You will be asked to confirm the TNSNAMES file, connect string, and userid.

Press Enter to confirm or enter NO to repeat the prompt cycle.

- After confirming the information, you will be prompted for the password.

Enter the password.

- The SQL prompt is displayed.

Enter:  HOST TNSPING AFPSP.WORLD

- If AFPSP has been restored at DR, the host will be identified as DREOS.CIT.NIH.GOV.

- Using the ORAMON userid, test the connection to AFPSP at the DR site.

Verify the password in ZDB2INI.ORA.TJS.REPOSPRD.PARMLIB(AFPSP).

Submit ZDB2INI.ORA.TJS.REPOSPRD.JCL(AFPSP).

- Call the disaster recovery site to report that all is okay.

## TESTING DB2

The DB2 disaster recovery testing plan is in ZDB2DB2.DR.DB2.CNTL(TESTING).

## FDR/ABR Model

Procedures to place an FDR/ABR Model on a volume.  Either edit and submit the batch job in NIH.STGADMIN.DIST.WORK.JCL(INIMODEL) or do the following.

- On the Command line of the main ISPF panel, select option C, Products, and hit the enter key.

- On the Command line enter A.I.8 and hit the Enter key.  The following panel will be displayed.  If the dataset name indicated in bold is not the one displayed, type it in.  Hit the Enter key.

---------------------------------------------------------------------------------------------------------------------

ABR DISK VOLUME PROCESSING OPTIONS MUST BE SET PRIOR TO ABR EXECUTION.

SETTING THE ABR PROCESSING OPTIONS DOES NOT AFFECT NORMAL USE OF THE VOLUME.

FDR PROGRAM LIBRARY DATA SET:

DATA SET NAME   ===> 'SYS1.FDRABR.PROD5359.LINKLIB'

VOLUME SERIAL   ===>

SYSOUT CLASS    ===> *

JOB STATEMENT INFORMATION:

===>//STGMODEL JOB (ZZXZ,112,E),'COLLINS,NOTIFY=$RYM

===>//*ROUTE OUTPUT HOLD

===>//*

===>//*

PLEASE PRESS THE "ENTER" KEY TO DISPLAY THE TABLE

----------COPYRIGHT 1987, 2000 --- INNOVATION DATA PROCESSING, INC.-------

- The panel to create the ABR Model will be displayed. Enter DASD volser under the Volume Serial Number column (as indicated in bold) and hit the enter key.

--------FDR INSTALLATION -- SET ABR VOLUME PROCESSING OPTIO Row 1 to 1 of 1,

COMMAND ===>                                                 SCROLL ===> PAGE

SUBMIT - SUBMIT FDRABRM BATCH JOB   EDIT  - EDIT FDRABRM BATCH JOB

REFRESH- REFRESH ABR VOLUME INFO    FIND  - FIND THE SPECIFIED STRING

----CURRENT BACKUP-----

VOLUME GEN CYC  EXPDT   AC MOD  MAX GEN  RETPD  ARCHIVE  STORCLAS  FORCE

SERIAL  DATE    EXPD2           MAX AC   RETP2  SCRATCH  ARCHI

CMD  NUMBER                                          OLDBKUP  ARCLOW

---  ------ --- --- -------- -- ---  -------  -----  -------  --------  -----

DDDXXX

---  ------ --- --- -------- -- ---  -------  -----  -------  --------  -----

PLEASE ENTER THE VOLUME SERIAL NUMBERS TO DISPLAY/SET ABR PROCESSING OPTIONS

- The values set for volume DSL101 will be displayed:

--------FDR INSTALLATION -- SET ABR VOLUME PROCESSING OPTIO Row 1 to 1 of 1,

COMMAND ===>                                                 SCROLL ===> PAGE

SUBMIT - SUBMIT FDRABRM BATCH JOB   EDIT  - EDIT FDRABRM BATCH JOB

REFRESH- REFRESH ABR VOLUME INFO    FIND  - FIND THE SPECIFIED STRING

----CURRENT BACKUP-----

VOLUME GEN CYC  EXPDT   AC MOD  MAX GEN  RETPD  ARCHIVE  STORCLAS  FORCE

SERIAL  DATE    EXPD2           MAX AC   RETP2  SCRATCH  ARCHI

CMD  NUMBER                                          OLDBKUP  ARCLOW

---  ------ --- --- -------- -- ---  -------  -----  -------  --------  -----

DDDXXX                     xxx     xx     xx     xxx       xx       xxx

xx     xx     xxx       xx

xx     xx     xxx       xx

---  ------ --- --- -------- -- ---  -------  -----  -------  --------  -----

***************************** Bottom of data ********************************

Either accept the values or change as appropriate.

- At the COMMAND ===> prompt, enter: SUBMIT, followed by the Enter key.  This will submit the batch job for the selected ABR model.

- Either use IOF to display the batch job to verify the ABR model has been created or:

Using IPSP (3.4) DSLIST:

-----------------------------------------------------------------------------

Data Set List Utility

Option ===>

Blank Display data set list               P Print data set list

V Display VTOC information                PV Print VTOC information

-----------------------------------------------------------------------------

Enter one or both of the following parameters:

Dsname Level:	FDRABR.*

Volume Serial:	DDDXXX

Hit the Enter key; the following will be displayed:

--------------------------------------------------------------------------

DSLIST - Data Sets on volume DSL101                             Row 1 of 1

Command ===>                                              Scroll ===> PAGE

Command - Enter "/" to select action               Message          Volume

--------------------------------------------------------------------------

FDRABR.VDDDXXX                                             DDDXXX

--------------------------------------------------------------------------

# SunGard Esoterics

| Device Type | Esoteric |
| --- | --- |
| 3380 and 3390 | SYSDA, DISK, SYSSQ |
| 3420 | TAPE |
| 3480 | CART and TAPEC |
| 3490 | CART3490 and CARTE |
| MetroCenter 3420 | METRO20 |
| MetroCenter 3480 | METRO |
| MetroCenter 3490 | METRO90 |
| 3480 and 3490 | ALLCART |
| 3590 - All Models | CART3590, MAGSTAR |
| 3590B | CART359B |
| 3590E | CART359E |
| 3590H | CART359H |
| 9840 - All Models | CART9840, STK9840 |
| 9840C | STK9840C |
| 9940B | STK9940, CART9940 |
| 3494-B18 / 3490E | VTS |
| 3494-B18 / 3590E | ATL |
| STK VSM | VSM |