INSTRUCTIONS FOR DEVELOPING THE EXECUTABLE PLAN

Introduction

In August 2007, Secretary of Energy Samuel W. Bodman launched the Transformational Energy Action Management (TEAM) Initiative which is a plan for the Department of Energy (DOE) to meet/exceed goals outlined in Executive Order 13423 (E.O. 13423) signed in January 2007. The goal is to transform the way DOE manages its energy use.

In February 2008, DOE Order 430.2B (Order) was issued clearly outlining the requirements and responsibilities for managing DOE facilities and fleets. It also directs each site to develop and commit to an Executable Plan that communicates its commitment toward meeting all of the DOE goals outlined in the Order.

The Order defines an Executable Plan (DOE Order 430.2B, 1.c.) as an action plan setting forth a binding obligation of the applicable Site or Departmental Element that commits appropriate personnel resources, establishes a financing plan that prioritizes the use of life-cycle cost effective private sector financing and optimizes the application of appropriations and budgeted funds, and establishes a time line for execution coupled with specific performance measures and deliverables designed to achieve the listed requirements set forth in Section 1(b) in FY 2008 and 2009.  In the event that additional personnel, financing, or time is required, Executable Plans should address how the site will achieve compliance with applicable statutory, regulatory and Executive Order requirements, and deadlines while also applying good faith efforts and/or the site specific goals as agreed to by DOE (to meet/exceed the additional requirements of this Order, as reasonably practicable, (DOE Order 430.2B, 5.d.(1)).

In February 2008 the Secretary also issued a Memorandum to heads of Departmental Elements on High Performance and Sustainable Buildings.  The Secretary explained the High Performance and Sustainable Buildings Working Group (HPSBWG) and recommended the Department apply the Leadership in Energy and Environmental Design (LEED) criteria established by the United States Green Buildings Council as the benchmark for sustainability and energy efficiency in our new and existing buildings.

To accomplish many of these goals, it is anticipated that private financing will fund major portions of the Order and therefore, sites are expected to identify life-cycle cost effective projects and maximize the use of all available private financing options including Energy Savings Performance Contracts (ESPC), and Utility Energy Services Contracts (UESC).  As needed, appropriated funding, and overhead funding (e.g., Institutional General Plant Projects, General Plant Projects) should be used.  Sites are encouraged to combine renewable energy and energy conservation measures with both long- and short-term paybacks if the combination results in a life-cycle cost-effective contract.    These are changes in previous DOE policy that required each energy conservation measure (ECM) or renewable energy measure to be life-cycle cost effective and be acceptable to the ESCO as a standalone investment.  These policy changes are endorsed by Office of Management and Budget and the Office of the Federal Environmental Executive (Instructions for Implementing E.O. 13423, page 12, http://ofee.gov/eo/eo13423_instructions.pdf).  In addition, under the Energy Independence and Security Act of 2007, Section 512, an ESPC may use any combination of appropriated funds and private financing, however, DOE guidance for this provision is pending.

The Executable Plan replaces the Annual Energy Management Plan that was required under DOE Order 430.2A.  Final Executable Plans are due to the appropriate Secretarial Office with a copy to Schuyler Schell, Office of Energy Efficiency and Renewable Energy, EE-2L by December 31, 2008.  However, it is encouraged that draft Executable Plans be developed by September 30, 2008 or as otherwise directed by the Program Secretarial Office.  The Executable Plan will be approved by Senior Facility Management (Laboratory Director or other Senior Position with the authority to commit the facility to implementing the plan and concurred on by the appropriate DOE Field and/or HQ Office).  Sites should include a cover sheet with the plan and a signature block for Laboratory Approval and Site Office concurrence.  Attachment 1 should be filled out and included with the cover sheet and Executable Plan.

As you develop your Executable Plan, please consider the following:

- Implementation plan.  Sites should demonstrate how the goals will be reached, e.g., through projects, binding contractual agreements (e.g. ESPC, UESC, others).   Sites should demonstrate selection of appropriate energy and water efficiency and renewable energy measures.  The measures should show prioritization, comparing them on the basis of their cost-effectiveness as well as on how they will affect each other.

- Audits.   By December 31, 2008, energy audits at sites should have been conducted over the last five years (2002-2008). Thereafter, audits should be conducted every four years.  Audit requirements can be met either through an audit done in the last five years in conjunction with the site’s energy management program or under ESPC or UESC projects, (DOE Order 430.2B, 4.c.(5) and Attachment 1, 6.e.).

- Life-cycle costs.  According to Section 4.b. of the Order, whenever life-cycle cost effective energy savings and other capital improvements can be achieved through the application of private sector financing, such opportunities must receive priority over the application of any appropriated funding.  A project with a payback of less than 25 years is life-cycle cost effective even if it may contain individual ECMs that have payback periods of over 25 years.  The Order expressly encourages all sites to leverage ECMs with shorter payback periods with ECMs with longer payback periods in cases where they provide other benefits that are cost effective in the aggregate.  http://www1.eere.energy.gov/femp/program/lifecycle.html.

- Metering. The Executable Plan should describe the site’s efforts to install, to the maximum extent practicable, metering devices to measure potable water, electricity, steam (MBtu), natural gas (MBtu), and other utilities such as chilled water (MBtu), low conductivity water, and compressed air for each building and other facilities and grounds.  All facilities should incorporate the inclusion of metering requirements in all ESPCs and UESCs, as appropriate, (DOE Order 430.2B, 4.c.(4) and Attachment 1, 6.d.).  Costs for metering, as appropriate, should be captured within the Integrated Facilities (IFI) and Infrastructure Cross-cut Budget. http://www1.eere.energy.gov/femp/pdfs/mbpg.pdf.

- Commissioning and Retro-commissioning.  Include in the implementation strategy commissioning and retro-commissioning plans for the equipment, the operations and maintenance program that will be established, and how the savings will continue to be measured, (DOE Order 430.2B, 1.b.(8) and (9)).

- Personnel resources.  Staff resources (funding and personnel) that will be needed to achieve the goals (in addition to the ESPC) the site will allocate towards each of the goals. The site will need to ensure that individual employees including contractor personnel are sufficiently trained in energy management and third-party financing options or that such training will be obtained as well as refresher training related to the E.O. 13423.  (DOE Order 430.2B, 4.h.(1) and Attachment 1, 1.c.)  http://www1.eere.energy.gov/femp/services/training.html.

- Renewable Energy Applications.  If your site currently has no renewable energy applications, consider installing at least one renewable energy application to contribute to the requirement that all DOE sites will use on-site renewable energy, including options like solar lighting for security or parking lots, solar powered fencing and environmental monitors, solar powered traffic lights and signs, ground source heat pumps, and solar water heating.

- Emergency conservation.  An appropriate site plan, e.g. emergency management or operations needs to contain an emergency conservation component to address the effects in a sudden disruption in supply of fuel oil, natural gas, electricity, and other critical components.

- Data Collection.  Additional guidance on data collection and reporting via the Facility Information Management System (FIMS) and assistance for High Performance and Sustainable Buildings will be provided by the HPSBWG.

Goal Elements to Address

In developing your site’s Executable Plan the following needs to be included under each of the five goals in A-E below.   NOTE: Please be sure to complete the Compliance Summary Chart (see Attachment #1) and include as a cover sheet for your Executable Plan. This will serve as a brief plan summary and should indicate whether your plan meets or exceeds the established goals. If your plan does not meet either of the established goals, please provide a brief explanation in the comments section of the chart.

- Current status related to the Order objectives, TEAM, and E.O. 13423 goals.   As appropriate, current energy management programs and plans should be updated to reflect the Order objectives and TEAM/E.O. 13423 goals.  The energy management program, as appropriate, should be integrated with Ten Year Site Planning, operations and acquisition systems.

- Site-specific goals.  Site-specific goals as negotiated between DOE and the Laboratory and/or Facility should be included.  However, sites should strive to meet or exceed the goals specified in the Order and E.O. 13423 including accompanying instructions.  If sites are unable to meet these goals, they should provide in their Executable Plan a rationale/justification for why the goal cannot be met and include appropriate documentation.  The plan should address goals related to energy efficiency, reducing potable water usage, renewable energy (on-site and off-site), sustainable buildings, and transportation (alternative fuel vehicles).  Sites should review all available Guidance Documents (web links are provided below) for each element.  Site goals should be coordinated with the Site Ten Year Site Plan as appropriate and Real Property costs should be captured within the IFI cross-cut budget documentation.

- Description of projects and activities.   Metering and other energy conservation measures that will be implemented to meet the goals using all of the various funding sources, e.g. ESPCs, UESCs, appropriations, and other overhead funding, should be included.  Site goals should be coordinated with the Site Ten Year Site Plan as appropriate and Real Property costs should be captured within the IFI cross-cut budget documentation.

- Funding plan.  The implementation plan should include how the goals will be achieved, including funding sources.  Sites should use a variety of strategies and tools when assessing the most viable funding option.  Sites should consider the order of funding as described in the Order (DOE Order 430.2B, 4.c.(1) and Attachment 1, 6.).

- Milestones for reaching the goals.   The Executable Plans should include a timeframe for when site-specific goals and objectives will be reached.   The Executable Plans should be updated annually to address issues and concerns including additional projects and ECMs not identified in this plan, and changes to building usage function including increases or decreases in gross square footage.  Plans may also be updated based on new policy requirements or other concerns which affect site missions; however, every effort should be made to achieve the goals described in Executable Plan submitted on December 31, 2008.

A.  Energy Efficiency

The purpose of this goal is to reduce energy intensity by no less than 30 percent on average by FY 2015, relative to the site/facility energy use in FY 2003, (DOE Order 430.2B, 1.b.(1) and Attachment 1, 5.a.).  Site specific goals will be set.

- Describe the current status related to the goals and objectives of the Order.

- Describe the approach the site will undertake to meet or exceed the goal.

  - Identify specific energy conservation measures being planned and the potential energy savings.

  - Identify other specific projects or activities if known and/or planned.

  - Describe the efforts to maximize the project scope and reductions in energy use and cost of facility operations.

  - Describe if appropriate how operations and maintenance (O&M) best practices will be applied in reducing the energy intensity. http://www1.eere.energy.gov/femp/operations_maintenance/index.html

  - Describe any plans to commission new equipment or retrofit construction.

  - Describe any plans for retro-commissioning of existing buildings. http://www1.eere.energy.gov/femp/financing/superespcs_mvresources.html.

  - Describe the sites  plans to install metering devices that measure consumption of electricity, steam, and natural gas in each building and other facilities and grounds http://www1.eere.energy.gov/femp/pdfs/mbpg.pdf.

  - For each of the items above as appropriate, identify the funding source and contribution of that source to the goal (ESPC, self-funding, overhead, and other).  http://www1.eere.energy.gov/femp/financing/mechanisms.html.

- Please provide as much information as possible in the following Energy Efficiency metrics table.  For individual ESPCs list the total project not each individual ECM.*

|  | 2003 | 2007 |
| --- | --- | --- |
| Gross Square Feet |  |  |
| Total Buildings Energy Use (MBtu) |  |  |
| ESPC Project or separate Energy Conservation Measure * | Actual or Estimated Energy Saved MBtu/yr | Actual or Estimated Implementation Cost | Expected Year of Implementation | Funding Source (ESPC, UESC, Overhead, GPP, Other) | For ESPCs, indicate expected date of Delivery Order Award |

4) Describe your plans to implement distributed generation systems in new construction or retrofit projects.  Sites should include expected energy generation planned and produced as well as a date for implementation.

B.  Renewable Energy

The purpose of this goal is to maximize installation of on-site renewable energy projects at all sites to acquire at least 7.5 percent of each site’s total (buildings and metered) annual electricity  and thermal consumption from on-site renewable sources by FY 2010, (DOE Order 430.2B, 4.c.(2) and Attachment 1, 6.b).  Sites should also reference the Energy Policy Act (EPACT) of 2005, Section 203 and E.O. 13423, Section 2 (b)).  The electricity and thermal goals are based on electricity and thermal energy from all facilities, including those excluded from energy efficiency requirements.  This is required by the language of EPACT 2005 for electricity.  The thermal requirement established by DOE uses the same assumptions as the electricity requirement.  Both requirements are consistent with previous practice under E.O. 13123.

Sites should note that under EPACT 2005, on-site renewable electric energy will be counted at two times the actual; therefore, if the site develops a project that generates 3.75 percent of the site’s total annual electricity, the site will have met the goal.  If the site cannot meet the on-site goal, renewable energy certificates (RECs) can be used to supplement and/or meet the total goal.

- Describe the current status related to the goals and objectives of the Order including:

  - Documenting existing renewable energy equipment or purchases of renewable energy by the site;

  - Date of installation for existing on-site systems establishing whether they were placed in service before or after January 1, 1999;

  - Annual renewable energy output (BTUs or kWh) of the systems, and the amount of output used by the site http://www1.eere.energy.gov/femp/pdfs/epact05_fedrenewenergyguid.pdf;

  - Date of installation of the renewable energy systems supplying RECs or purchased renewable energy to the site to establish whether they were placed in service before or after January 1, 1999.

- Identify specific renewable energy measures being considered and planned and percentage of renewable energy as a total for the site for both thermal and electricity requirements.  Sites should include in their identification of specific renewable energy measures, as appropriate:

  - Funding sources and level of funding for each project or source of renewable energy planned to meet the goal – ESPC, UESC, Power Purchase Agreement (PPA), self-funding, overhead, or other  http://www1.eere.energy.gov/femp/financing/mechanisms.html;

  - Information on renewable energy projects with sales to other customers (if any), including amount of renewable energy from the project used by the site and amount sold to others (for example projects on land leased for private development where no site use is expected).

- Identify efforts, as needed, to meet the renewable energy goal through RECs, including number and cost of RECs to be purchased each year.  In FY 2008 and FY 2009 RECs purchases can be used to meet the E.O. 13423 goal while projects are under development.

- Waiver Process

  - A waiver, as required under the Order, can be obtained by a site/facility that is unable to meet the renewable energy requirements through on-site renewable generation.

  - Sites should provide their rationale if the renewable energy goal cannot be met and include appropriate documentation of the analysis and submit it to their Program Office with a copy to Schuyler Schell, Office of Energy Efficiency and Renewable Energy, EE-2L.

  - Site analyses conducted by the energy services company (ESCO) or the Federal Energy Management Program/National Renewable Energy Laboratory in the course of implementing the Order goals and objectives can serve as documentation for a waiver request and should be included and/or referenced in the Executable Plan.  Including information on all renewable energy measures evaluated by the ESCO, site, or others even if they were dropped after an initial review will help in justifying a waiver request.

- Please provide as much information as possible in the following Renewable Energy Metrics Table:

| Renewable Energy/Thermal Energy Technology including RECs | System Size (capacity) | Total MWh/yr | Renewable Energy Initial Project Capital Cost | Funding Source (ESPC, UESC, PPA, Other) | Expected Year of Implementation |
| --- | --- | --- | --- | --- | --- |

C.  Water

The purpose of this goal is to reduce potable water  by no less than 16 percent by FY 2015, relative to the site/facility potable water use in FY 2007, (DOE Order 430.2B, 4.b.(4) and Attachment 1, 5.d.).

- Describe how you will measure potable water use and calculate your site’s FY 2007 water.   http://www1.eere.energy.gov/femp/pdfs/water_guidance.pdf.

- Describe how you will identify and implement life-cycle cost-effective water savings measures to achieve at minimum a 2 percent annual reduction or 16 percent overall reduction of water use intensity by the end of FY 2015.

  - Describe the water management best practices and efficiency opportunities/projects that will be implemented at the site. http://www1.eere.energy.gov/femp/water/water_fedrequire.html.

  - Identify the funding source and contribution of that source to the goal (ESPC, self-funding, overhead, and other) http://www1.eere.energy.gov/femp/financing/mechanisms.html.

  - Describe your site’s plans to install metering devices that measure water consumption.  http://www1.eere.energy.gov/femp/pdfs/mbpg.pdf.

- Please provide as much information as possible in the metrics table below.

| ESPC Project or separate Energy Conservation Measure * | Actual or Estimated Water Saved kgal/yr | Expected Year of Implementation | Actual or Estimated Implementation Cost | Funding Source (ESPC, UESC, Overhead, GPP, Other) |
| --- | --- | --- | --- | --- |

*List the total project for individual ESPCs, not each individual ECM.

D.  Transportation/Fleet Management (Petroleum reduction and Alternative Fuel Vehicle (AFV) utilization)

Note: DOE is providing assistance to selected DOE sites in developing an executable petroleum reduction strategy that meets the Transportation/Fleet Management reporting requirements contained in this Executable Plan.  If your site would like assistance in developing a site-specific Compliance Strategy that would meet Executable Plan reporting requirements and AFV acquisition and alternative fuel use legislative requirements, advise DOE headquarters as soon as possible.

The purpose of this section is to describe plans to achieve AFV acquisition requirements, and petroleum reduction and alternative fuel use increase requirements contained in EPACT 1992 and 2005, E.O.13423 Section 2(g) and the Order, (DOE Order 430.2B, 4.e. and Attachment 1, 8.a.). http://www1.eere.energy.gov/femp/about/fleet_requirements.html.

Vehicle Acquisitions

- Describe the Site plan to annually meet the EPACT 1992 75 percent AFV acquisition requirement, including biodiesel use.  If AFVs will be acquired that will not have access to alternative fuel, please explain why.   If Hybrid Electric Vehicles (HEVs) will be acquired when acceptable AFVs are available that have access to alternative fuel, please explain why.

- Describe efforts to evaluate the size of the fleet to ensure that the vehicle supply corresponds with the demand, and to adjust vehicle acquisitions accordingly.

- Describe plans to replace the current fleet with AFVs/HEVs by 2010, per the Order.  For medium-duty and heavy-duty gasoline-fueled vehicles, describe plans to replace them with compressed natural gas and/or diesel-fueled vehicles.

- Describe any impediments or obstacles in meeting EPACT 1992 or Order goals related to vehicle acquisitions.

Petroleum Reduction

- Describe your plans to meet or exceed E.O. 13423 two percent annual petroleum reduction requirements, including the following strategies.  How much petroleum reduction do you anticipate from each strategy element?

- Describe how you will reduce vehicle miles through methods such as trip consolidation, web conferencing, videoconferencing, and/or mass transportation.  Sites should provide their rationale if the transportation and/or fleet management goals cannot be met and include appropriate documentation.

- Describe the plan to increase overall fleet fuel economy through acquisition of smaller sized, hybrid-electric or other advanced technology vehicles.

- Describe efforts to identify the most fuel efficient vehicle for the required task.

Alternative Fuel Availability and Use

- Describe your plan to operate all alternative fuel vehicles on alternative fuel through an existing infrastructure or through private sector alternative fuel distributors (e.g., fuel vendors and stations), thereby eliminating any EPACT 2005 Section 701 AFV waiver requests due to the unavailability of alternative fuel.

- Describe plans to operate all diesel vehicles on biodiesel fuel.

- Describe plans to meet or exceed E.O. 13423 10 percent annual alternative fuel use increase requirements.

- Describe plans to aggregate demand for alternative fuel by collaborating with other Federal, State or Local governments through the DOE Clean Cities program.

- Describe plans for installing a cost effective on-site alternative fueling infrastructure.

- Describe how you will fund these activities.

E.  High Performance and Sustainable Buildings

The purpose of this section is to describe plans to achieve high performance sustainable buildings, (DOE Order 430.2B, 4.d.(1) and (2) and Attachment 1, 7.a-c.).

- Describe plans to assess the current building inventory to determine the extent to which the high performance sustainable building guiding principles of E.O. 13423 are being applied.  Use DOE’s Existing Building Assessment Tool to assist in this analysis. This assessment will be included in the Programs’ Ten Year Site Plans and serve as a baseline for compliance with the 15 percent sustainability target.

New Buildings and Major Renovations

  - Describe plans for all new DOE-owned buildings to incorporate the guiding principles of E.O. 13423 to the extent practical.

  - Describe plans for all new buildings and major building renovations at Critical Decision One (CD-1) stage or lower with a value exceeding $5M to implement the guiding principles of E.O. 13423 through certification to the LEED Gold Standard.  The LEED Gold Standard certification requirement can only be waived upon a decision by the Acquisition Executive, made in consultation with the Senior Energy Official.  Progress in meeting this requirement will be tracked by the cognizant Acquisition Executive and reported in the Project Assessment and Reporting System that monitors buildings in the pipeline that are going to be LEED certified.

NOTE: “Major building renovation” is defined as a construction activity with a value exceeding an existing building that results in (1) replacement of the real property record, (2) a change of the building usage code, or (3) replacement of building systems that impact building operation or extend the building’s useful life.  Additional guidance to define “major building renovation” is pending.

Existing Owned and Leased Space

- Describe your plans to ensure that 15 percent of your enduring buildings are compliant with the guiding principles of E.O. 13423.  Implementation of the plan should be documented within your Ten Year Site Plans.  Overall progress in meeting this requirement will be tracked within FIMS by identifying, at the building level, the percentage of guiding principles met and/or the level of LEED certification attained.

- Describe plans for all procurement specifications and selection criteria for acquiring new leased space, including build-to-suit lease solicitations, to include a preference for buildings certified to the LEED Gold Standard.  Additional guidance on leased space is pending.

- Describe plans for the renegotiation or extension of existing leases to include, to the extent practicable, lease provisions that support the guiding principles of E.O. 13423; for example, enhanced energy and water conservation, environmentally preferable product purchasing and post-consumer material recycling practices.

Attachment  #1

Please be sure to complete the TEAM Goal Summary chart and include as a cover sheet for your Executable Plan. This will serve as a brief plan summary and should indicate whether your plan meets or exceeds the established TEAM goals. If your plan does not meet a TEAM goal, please provide a brief explanation in the comments section of the chart (e.g., site specific goal established due to previous energy reductions or reductions not life-cycle cost effective).

|  | DOE ORDER 430.2B EXECUTABLE PLAN TEAM GOAL SUMMARY |
| --- | --- |
| Please mark the appropriate box below with an “X”. |
| Goal Elements | Plan Meets Goal | Plan Exceeds Goal | Plan Falls Short of Goal | Comments |
| Energy Efficiency |  |  |  |  |
| Renewable Energy |  |  |  |  |
| Water |  |  |  |  |
| Transportation/Fleet Management |  |  |  |  |
| High Performance and Sustainable Buildings |  |  |  |  |