## Inputs
discount_rate | 0.07

## Documentation-Mod
Percent Saving
Fuel | End-Use | Policy | Notes | wrt Frozen Efficiency | Shipment Penetration | [20 empty] | Cumulative Penetration
|  |  |  | Baseline | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2010 | 2020
Electric
| Space heating | Energy Star Buildings | [1] | 44.89% | 0.4552% | 0.5791% | 0.6958% | 0.7645% | 0.7932% | 0.7258% | 0.6751% | 0.6364% | 0.5811% | 0.5486% | 0.4834% | 0.5169% | 0.5541% | 0.5447% | 0.5393% | 0.519% | 0.5007% | 0.4676% | 0.382% | 0.3223% | 0.2646% | 7.004% | 8.882%
| Space cooling | Energy Star Buildings | [2] | 49.84% | 0.5186% | 0.655% | 0.7691% | 0.835% | 0.8611% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 4.264% | 4.264%
| Water heating | Utility HPWH | [3] | 58% | 0% | 0.3% | 0.6% | 0.9% | 1.2% | 1.5% | 1.8% | 2.1% | 2.4% | 2.7% | 3% | 3.3% | 3.6% | 3.9% | 4.2% | 4.5% | 4.8% | 5.1% | 5.4% | 5.7% | 6% | 1.065% | 3.745%
|  | Energy Star Buildings | [4] | 31.6% | 0.5442% | 0.6684% | 0.7729% | 0.8213% | 0.8418% | 0.78% | 0.7388% | 0.7037% | 0.6644% | 0.6346% | 0.5643% | 0.5894% | 0.6205% | 0.6139% | 0.5987% | 0.5817% | 0.5601% | 0.5089% | 0.4208% | 0.3497% | 0.2875% | 7.866% | 10.12%
| Ventilation | Energy Star Buildings | [5] | 57.25% | 0.5177% | 0.6506% | 0.7612% | 0.8153% | 0.8391% | 0.7772% | 0.7312% | 0.6952% | 0.6524% | 0.6231% | 0.5554% | 0.5858% | 0.6184% | 0.6098% | 0.5981% | 0.5822% | 0.5594% | 0.5136% | 0.4267% | 0.359% | 0.2966% | 7.72% | 10.02%
| Cooking |  |  | NA | bar: Shipment Penetration 2000 to Cumulative Penetration 2020
| Lighting | Energy Star Buildings | [6,7] | 28.39% | 0.9638% | 1.171% | 1.248% | 1.262% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 5.838% | 0%
|  | Energy Star Buildings | [6,8] | 24.33% | 0% | 0% | 0% | 0% | 1.271% | 1.258% | 1.214% | 1.233% | 1.261% | 1.275% | 1.205% | 1.212% | 1.255% | 1.222% | 1.193% | 1.216% | 1.125% | 1.04% | 0.916% | 0.7952% | 0.6825% | 7.78% | 20.37%
|  | Ballast Standards | [9] | 8.721% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 53.85% | 100%
| Refrigeration | Energy Star Beverage Merchandisers | [10] | 55% | 0% | 0% | 0% | 5% | 7.857% | 10.71% | 13.57% | 16.43% | 19.29% | 22.14% | 25% | 25.5% | 26% | 26.5% | 27% | 27.5% | 28% | 28.5% | 29% | 29.5% | 30% | 0.3065% | 1.003%
|  | Energy Star Vending Machines | [11] | 32% | 0% | 0% | 0% | 5% | 7.857% | 10.71% | 13.57% | 16.43% | 19.29% | 22.14% | 25% | 25.5% | 26% | 26.5% | 27% | 27.5% | 28% | 28.5% | 29% | 29.5% | 30% | 0.7899% | 2.584%
|  | Energy Star Ice Machines | [12] | 18% | 0% | 0% | 0% | 5% | 7.857% | 10.71% | 13.57% | 16.43% | 19.29% | 22.14% | 25% | 25.5% | 26% | 26.5% | 27% | 27.5% | 28% | 28.5% | 29% | 29.5% | 30% | 0.6013% | 1.967%
| Office equip.-PCs |  |  | NA | bar: Shipment Penetration 2000 to Cumulative Penetration 2020
| Office equip.-non-PCs |  |  | NA | bar: Shipment Penetration 2000 to Cumulative Penetration 2020
Other Uses
| Miscellaneous | Energy Star Exit Signs | [13] | 92.57% | 5% | 10.5% | 16% | 21.5% | 27% | 32.5% | 38% | 43.5% | 49% | 54.5% | 60% | 62% | 64% | 66% | 68% | 70% | 72% | 74% | 76% | 78% | 80% | 3.727% | 7.875%
|  | Energy Star Transformers | [14] | 40.59% | 9% | 12.1% | 15.2% | 18.3% | 21.4% | 24.5% | 27.6% | 30.7% | 33.8% | 36.9% | 40% | 41.5% | 43% | 44.5% | 46% | 47.5% | 49% | 50.5% | 52% | 53.5% | 55% | 2.158% | 6.021%
|  | Energy Star Traffic Lights | [15] | 89.36% | 0% | 0% | 0% | 10% | 17.14% | 24.29% | 31.43% | 38.57% | 45.71% | 52.86% | 60% | 62% | 64% | 66% | 68% | 70% | 72% | 74% | 76% | 78% | 80% | 1.042% | 2.728%
|  | Transformer Standards |  | 40.59% | bar: Shipment Penetration 2000 to Cumulative Penetration 2020
| District Services |  |  | NA | bar: Shipment Penetration 2000 to Cumulative Penetration 2020
| Adjust to SEDs |  |  | NA | bar: Shipment Penetration 2000 to Cumulative Penetration 2020
Gas
| Space heating | Energy Star Buildings | [1] | 44.89% | 0.4552% | 0.5791% | 0.6958% | 0.7645% | 0.7932% | 0.7258% | 0.6751% | 0.6364% | 0.5811% | 0.5486% | 0.4834% | 0.5169% | 0.5541% | 0.5447% | 0.5393% | 0.519% | 0.5007% | 0.4676% | 0.382% | 0.3223% | 0.2646% | 7.004% | 8.882%
| Space cooling | Energy Star Buildings | [2] | 49.84% | 0.5186% | 0.655% | 0.7691% | 0.835% | 0.8611% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 4.264% | 4.264%
| Water heating | Energy Star Buildings | [3] | 31.6% | 0.5442% | 0.6684% | 0.7729% | 0.8213% | 0.8418% | 0.78% | 0.7388% | 0.7037% | 0.6644% | 0.6346% | 0.5643% | 0.5894% | 0.6205% | 0.6139% | 0.5987% | 0.5817% | 0.5601% | 0.5089% | 0.4208% | 0.3497% | 0.2875% | 7.866% | 10.12%
| Cooking |  |  | NA | bar: Shipment Penetration 2000 to Cumulative Penetration 2020
Other Uses
| Misc |  |  | NA | bar: Shipment Penetration 2000 to Cumulative Penetration 2020
| District Services |  |  | NA | bar: Shipment Penetration 2000 to Cumulative Penetration 2020
| Cogen |  |  | NA | bar: Shipment Penetration 2000 to Cumulative Penetration 2020
| Adjust to SEDS |  |  | NA | bar: Shipment Penetration 2000 to Cumulative Penetration 2020
1 | Energy Star Buildings heating penetrations are derived from EPA forecasts of program participation (the EPA forecasts participation by phase of program,
so some aggregation was performed to obtain savings by end-use). Penetrations represent the percent of total commercial floorspace that joined the
Energy Star Building Program in that year. For the moderate case, EPA's penetration estimates were reduced by 30%. Percent heating savings are also
from EPA's Energy Star Building estimates.
2 | Energy Star Buildings cooling penetrations are derived from EPA forecasts of program participation (the EPA forecasts participation by phase of program,
so some aggregation was performed to obtain savings by end-use). Penetrations represent the percent of total commercial floorspace that joined the
Energy Star Building Program in that year. For the moderate case, EPA's penetration estimates were reduced by 30%. Percent cooling savings are also
from EPA's Energy Star Building estimates.
3 | Savings data for commercial heat pump water heaters were obtained from Suozzo and Nadel (1998). Suozzo and Nadel estimate that heat pump water heaters
would be feasible in 12% of commercial water heating applications. Our penetrations assume that half of all feasible applications might be achievable by
2020.
4 | Energy Star Buildings water heating penetrations are derived from EPA forecasts of program participation (the EPA forecasts participation by phase of
program, so some aggregation was performed to obtain savings by end-use). Penetrations represent the percent of total commercial floorspace that joined the
Energy Star Building Program in that year. For the moderate case, EPA's penetration estimates were reduced by 30%. Percent water heating savings are
also from EPA's Energy Star Building estimates.
5 | Energy Star Buildings ventilation penetrations are derived from EPA forecasts of program participation (the EPA forecasts participation by phase of program,
so some aggregation was performed to obtain savings by end-use). Penetrations represent the percent of total commercial floorspace that joined the
Energy Star Building Program in that year. For the moderate case, EPA's penetration estimates were reduced by 30%. Percent ventilation savings are also
from EPA's Energy Star Building estimates.
6 | Energy Star Buildings lighting penetrations are derived from EPA forecasts of program participation (the EPA forecasts participation by phase of program,
so some aggregation was performed to obtain savings by end-use). For the moderate case EPA's penetration estimates were reduced by 30%. Penetrations
represent the percent of total commercial floorspace that joined the Energy Star Building Program in that year.
7 | Because the EPA lighting savings estimates were high (55%), we believed the savings represented a comparison to a lower baseline than we were using.
To estimate savings, we used data from Suozzo and Nadel (1998) for a variety of lighting programs (including the use of T8 lamps with electronic ballasts,
occupancy controls, daylight dimming controls, improved lighting design). Savings were weighted by the applicable lighting stock.
8 | Because ballast standards are assumed to be revised in 2003, it was necessary to calculate a new Energy Star Buildings energy saving estimate. We used
data from Suozzo and Nadel (1998) for a variety of lighting programs (including the use of occupancy controls, daylight dimming controls, improved lighting
design). Savings were weighted by the applicable lighting stock.
9 | Ballasts savings estimates were obtained from the commercial electricity supply curve (LBNL). Penetrations are assumed to be 100% from 2004 onward.
10 | Energy savings for beverage merchandisers are from Westphalen, et al. (1996). Penetrations are expected to grow from 5% in 2003 to 25% in 2010 and 30%
in 2020. To obtain the percent of commercial refrigeration energy affected, penetrations were weighted by the vending machine share of commercial
refrigeration energy from Westphalen, et al. (1996).
11 | Percent energy saving for refrigerated vending machines was obtained from Suozzo and Nadel (1998). Penetrations are expected to grow from 5% in 2003
to 25% in 2010 and 30% in 2020. To obtain the percent of commercial refrigeration energy affected, penetrations were weighted by the vending machine
share of commercial refrigeration energy from Westphalen, et al. (1996).
12 | Energy savings for ice machines are from Westphalen, et al. (1996). Penetrations are expected to grow from 5% in 2003 to 25% in 2010 and 30%
in 2020. To obtain the percent of commercial refrigeration energy affected, penetrations were weighted by the vending machine share of commercial
refrigeration energy from Westphalen, et al. (1996).
13 | Percent savings for exit signs were obtained from Suozzo and Nadel (1998). Penetrations increase from 5% in 2000 to 60% in 2010 and 80% in 2020.
Penetrations apply to the approximately 75% of the market that is still incandescent (Suozzo and Nadel 1998). To obtain the percent of miscellaneous
commercial electricity affected, we estimated total exit sign energy using energy use data from Suozzo and Nadel with an estimated stock of 40 million units
from the Energy Star exit sign analysis.
14 | The Energy Star commercial and industrial transformer program aims to reduce transformer losses in commercial buildings. Because transformer data is
reported by transformer type (low or medium voltage and dry type or liquid immersed) rather than by sector, we had to make some assumptions in order to
determine commercial transformer energy use and shipments data. Electric League of the Pacific Northwest et al. (1998) report that low voltage equipment
dominates the commercial sector, medium voltage equipment dominates the industrial sector, and almost all low voltage transformers are dry-type. We
therefore used total low-voltage sales (from EPA's transformer program) as a proxy for commercial sales in estimating the stock of commercial transformers.
EPA's estimates of energy savings assume an increase in efficiency from 95% to 98%. Suozzo and Nadel (1998), however, estimate that baseline transformer
efficiency is 97.3%. In personal communication, Margaret Suozzo indicated that she felt EPA's 95% efficiency baseline was too low. We therefore used
the efficiency estimates in Suozzo and Nadel with the average rating, average load factor and hours per year from EPA's transformer analysis (45 kilowatts,
35% and 8760 hours per year, respectively) to estimate baseline and Energy Star transformer energy losses. The percent of commercial miscellaneous
electricity that is due to transformer losses was calculated using those savings estimates with estimates of the current stock of commercial transformers.
Penetrations are assumed to increase from 9% in 2000 to 40% in 2010 and 55% in 2020.
15 | The Energy Star traffic lights progam is proposed to promote the replacement of incandescent traffic lights with LED traffic lights. This is currently highly
cost effective for red traffic lights, but less so for green and yellow lights because they have shorter duty cycles and green and yellow LEDs are more
expensive than red. Baseline and Energy Star unit energy consumption were taken from Suozzo and Nadel (1998). Penetrations are expected to grow from
10% in 2003 to 60% in 2010 to 80% in 2020. To estimate the percent of total commercial electricity that goes to traffic lights, we estimated total traffic light
energy consumption using energy consumption and an estimate of the number of signalized intersections in the U.S. from Suozzo and Nadel.

## Lighting
NAECA Fluorescent Lamp Ballast Standards |  |  |  |  | Energy Star Buildings | [5 empty] | Advanced Commercial Building Codes
Standard Level: |  | Electronic Ballasts |  | Geller, Nadel, Elliot, Thomas and DeCicco, "Approaching the Kyoto Targets: Five Key Strategies for the United States," ACEEE, August 1998.
UEC: | [7 empty] | Pre-2003 | Post-2003
UES: | [7 empty] | Standards | Standards |  | Percent Savings: |  | 10%
Percent Savings: |  | 8.721% |  | commtech.xls | Percent Savings: |  |  | 28.39% | 24.33% |  | Life: |  | 50 | years
Life: |  | 12.5 | years | Draft Report on Potential Impact of Possible Energy Efficiency Levels for Fluorescent Lamp Ballasts, July 1997, LBNL | Life: |  |  | 50 | 50 | years | Incremental Cost:
Incremental Cost: |  |  |  |  | Incremental Cost: |  |  |  |  | dollars | CCE |  | 0.01317 | Proportional to ESB CCE
CCE |  | 0.058967 | $/kWh |  | CCE |  |  | 0.024928 | 0.032048 | $/kWh | Standard Start Year |  | 2010
Start Year: |  | 1997 |  |  | Start Year: |  |  | 1997 | 2004
[6 empty] | New ESB | [5 empty] | 2010 | 2010 | 2010
| 2003 |  | Total electronic ballast | Shipments of electronic |  | Floorspace | % of Stock |  |  |  |  | Code | Code | Code
| Standard |  | penetration | Ballasts w/o prog |  | % of stock | ESB Goals |  |  |  |  | Adoption | Enforcement | Compliance
2000 |  |  | 53.15% | 52% | 2000 | 0.9638% | 2.29% | 2.29% |  |  | 2000 | 0% | 80% | 0%
2001 |  |  | 53.72% | 52% | 2001 | 1.171% | 3.432% | 3.432% |  |  | 2001 | 0% | 80% | 0%
2002 |  |  | 54.32% | 52% | 2002 | 1.248% | 4.636% | 4.636% |  |  | 2002 | 0% | 80% | 0%
2003 |  |  | 54.92% | 52% | 2003 | 1.262% | 5.838% | 5.838% |  |  | 2003 | 0% | 80% | 0%
2004 | 100% |  | 100% | 52% | 2004 | 1.271% | 7.035% | 5.838% | 1.196% |  | 2004 | 0% | 80% | 0%
2005 | 100% |  | 100% | 52% | 2005 | 1.358% | 8.302% | 5.838% | 2.463% |  | 2005 | 0% | 80% | 0%
2006 | 100% |  | 100% | 52% | 2006 | 1.414% | 9.609% | 5.838% | 3.771% |  | 2006 | 0% | 80% | 0%
2007 | 100% |  | 100% | 52% | 2007 | 1.533% | 11.02% | 5.838% | 5.181% |  | 2007 | 0% | 80% | 0%
2008 | 100% |  | 100% | 52% | 2008 | 1.661% | 12.54% | 5.838% | 6.7% |  | 2008 | 0% | 80% | 0%
2009 | 100% |  | 100% | 52% | 2009 | 1.775% | 14.15% | 5.838% | 8.314% |  | 2009 | 0% | 80% | 0%
2010 | 100% |  | 100% | 52% | 2010 | 1.805% | 15.78% | 5.838% | 9.937% |  | 2010 | 3% | 80% | 2.4%
2011 | 100% |  | 100% | 52% | 2011 | 1.812% | 17.38% | 5.838% | 11.55% |  | 2011 | 4.4% | 80% | 3.52%
2012 | 100% |  | 100% | 52% | 2012 | 1.855% | 19.02% | 5.838% | 13.18% |  | 2012 | 5.8% | 80% | 4.64%
2013 | 100% |  | 100% | 52% | 2013 | 1.822% | 20.59% | 5.838% | 14.76% |  | 2013 | 7.2% | 80% | 5.76%
2014 | 100% |  | 100% | 52% | 2014 | 1.793% | 22.12% | 5.838% | 16.28% |  | 2014 | 8.6% | 80% | 6.88%
2015 | 100% |  | 100% | 52% | 2015 | 1.816% | 23.65% | 5.838% | 17.82% |  | 2015 | 10% | 80% | 8%
2016 | 100% |  | 100% | 52% | 2016 | 1.725% | 25.08% | 5.838% | 19.24% |  | 2016 | 11% | 80% | 8.8%
2017 | 100% |  | 100% | 52% | 2017 | 1.64% | 26.39% | 5.838% | 20.56% |  | 2017 | 12% | 80% | 9.6%
2018 | 100% |  | 100% | 52% | 2018 | 1.516% | 27.57% | 5.838% | 21.73% |  | 2018 | 13% | 80% | 10.4%
2019 | 100% |  | 100% | 52% | 2019 | 1.395% | 28.61% | 5.838% | 22.77% |  | 2019 | 14% | 80% | 11.2%
2020 | 100% |  | 100% | 52% | 2020 | 1.282% | 29.53% | 5.838% | 23.69% |  | 2020 | 15% | 80% | 12%

## Misc-Elec
Transformer (dry type) Standards |  |  |  |  | Energy Star Comm & Ind Transformer Program | [5 empty] | Energy Star LED Traffic Light Program |  |  |  |  | Energy Star Exit Sign Program
[5 empty] | E* Level: |  |  | 98.39% | efficiency | NEMA Tp-1 standard, from c-itra1.xls
Standard Level: |  | 3017 | kWh | Suozzo and Nadel, 1998, Selecting Targets for Market Transformation Programs: A National Analysis. ACEEE | Baseline Efficiency: |  |  | 97.29% | efficiency | c-itra1.xls, received from Alison Tencate at EPA
UES: |  | 1072 | kWh | Suozzo and Nadel, 1998, Selecting Targets for Market Transformation Programs: A National Analysis. ACEEE | Baseline UEC: |  |  | 3738.987 | kWh | c-itra1.xls, received from Alison Tencate at EPA | Baseline UEC: |  | 14034 | kWh | Suozzo and Nadel, 1998, Selecting Targets for Market Transformation Programs: A National Analysis. ACEEE | Baseline UEC: |  | 350 | kWh | Suozzo and Nadel, 1998, Selecting Targets for Market Transformation Programs: A National Analysis. ACEEE
Life: |  | 30 | years | Suozzo and Nadel, 1998, Selecting Targets for Market Transformation Programs: A National Analysis. ACEEE | E* UEC: |  |  | 2221.317 | kWh | c-itra1.xls, received from Alison Tencate at EPA | E* UEC: |  | 1493 | kWh | Suozzo and Nadel, 1998, Selecting Targets for Market Transformation Programs: A National Analysis. ACEEE | E* UEC: |  | 26 | kWh
Incremental Cost: |  | 201.7667 | dollars | Suozzo and Nadel, 1998, Selecting Targets for Market Transformation Programs: A National Analysis. ACEEE | UES: |  |  | 1517.67 | kWh |  | UES: |  | 12541 | kWh | Suozzo and Nadel, 1998, Selecting Targets for Market Transformation Programs: A National Analysis. ACEEE | UES: |  | 324 | kWh | Suozzo and Nadel, 1998, Selecting Targets for Market Transformation Programs: A National Analysis. ACEEE
CCE |  | 0.015168 |  |  | Life: |  |  | 30 | years | Electric League of the Pacific NW, Consortium for Energy Efficiency, Inc, ACEEE, and Pacific Energy Associates, May 1998, Proposal to NW Energy Efficiency Alliance for Promotion of Energy Efficient Transformers. Lifetime is median of range. | Life: |  | 10 | years | Suozzo and Nadel, 1998, Selecting Targets for Market Transformation Programs: A National Analysis. ACEEE | Life: |  | 10 | years
Standard Start Year |  | NA |  |  | Incremental Cost: |  |  | 121.06 | dollars |  | Incremental Cost: |  | 2823.5294 | dollars | Suozzo and Nadel, 1998, Selecting Targets for Market Transformation Programs: A National Analysis. ACEEE | Incremental Cost: |  | 44.1176 | dollars | Suozzo and Nadel, 1998, Selecting Targets for Market Transformation Programs: A National Analysis. ACEEE
[5 empty] | CCE |  |  | 0.0064281 |  |  | CCE |  | 0.032055 |  |  | CCE |  | 0.019387
[5 empty] | Program Start Year |  |  | 1998 |  |  | Program Start Year |  | 2003 |  |  | Program Start Year |  | 1997
| NA | [5 empty] | Assumed |  |  | Total Transformer |  | Assumed |  |  |  |  | Assumed
| Standard | [5 empty] | Penetration |  |  | Penetration |  | Penetration |  |  |  |  | Penetration
2000 | 0% |  |  |  | 2000 | 9% | 9% |  |  | 9% | 2000 |  |  |  |  | 2000 | 5%
2001 | 0% |  |  |  | 2001 | 12.1% | 12.1% |  |  | 12.1% | 2001 |  |  |  |  | 2001 | 10.5%
2002 | 0% |  |  |  | 2002 | 15.2% | 15.2% |  |  | 15.2% | 2002 |  |  |  |  | 2002 | 16%
2003 | 0% |  |  |  | 2003 | 18.3% | 18.3% |  |  | 18.3% | 2003 | 10% |  |  |  | 2003 | 21.5%
2004 | 0% |  |  |  | 2004 | 21.4% | 21.4% |  |  | 21.4% | 2004 | 17.14% |  |  |  | 2004 | 27%
2005 | 0% |  |  |  | 2005 | 24.5% | 24.5% |  |  | 24.5% | 2005 | 24.29% |  |  |  | 2005 | 32.5%
2006 | 0% |  |  |  | 2006 | 27.6% | 27.6% |  |  | 27.6% | 2006 | 31.43% |  |  |  | 2006 | 38%
2007 | 0% |  |  |  | 2007 | 30.7% | 30.7% |  |  | 30.7% | 2007 | 38.57% |  |  |  | 2007 | 43.5%
2008 | 0% |  |  |  | 2008 | 33.8% | 33.8% |  |  | 33.8% | 2008 | 45.71% |  |  |  | 2008 | 49%
2009 | 0% |  |  |  | 2009 | 36.9% | 36.9% |  |  | 36.9% | 2009 | 52.86% |  |  |  | 2009 | 54.5%
2010 | 0% |  |  |  | 2010 | 40% | 40% |  |  | 40% | 2010 | 60% |  |  |  | 2010 | 60%
2011 | 0% |  |  |  | 2011 | 41.5% | 41.5% |  |  | 41.5% | 2011 | 62% |  |  |  | 2011 | 62%
2012 | 0% |  |  |  | 2012 | 43% | 43% |  |  | 43% | 2012 | 64% |  |  |  | 2012 | 64%
2013 | 0% |  |  |  | 2013 | 44.5% | 44.5% |  |  | 44.5% | 2013 | 66% |  |  |  | 2013 | 66%
2014 | 0% |  |  |  | 2014 | 46% | 46% |  |  | 46% | 2014 | 68% |  |  |  | 2014 | 68%
2015 | 0% |  |  |  | 2015 | 47.5% | 47.5% |  |  | 47.5% | 2015 | 70% |  |  |  | 2015 | 70%
2016 | 0% |  |  |  | 2016 | 49% | 49% |  |  | 49% | 2016 | 72% |  |  |  | 2016 | 72%
2017 | 0% |  |  |  | 2017 | 50.5% | 50.5% |  |  | 50.5% | 2017 | 74% |  |  |  | 2017 | 74%
2018 | 0% |  |  |  | 2018 | 52% | 52% |  |  | 52% | 2018 | 76% |  |  |  | 2018 | 76%
2019 | 0% |  |  |  | 2019 | 53.5% | 53.5% |  |  | 53.5% | 2019 | 78% |  |  |  | 2019 | 78%
2020 | 0% |  |  |  | 2020 | 55% | 55% |  |  | 55% | 2020 | 80% |  |  |  | 2020 | 80%

## Refrigeration
Energy Star Beverage Merchandiser Program |  |  |  | Energy Star Refrigerated Vending Machine Program |  |  |  |  | Energy Star Ice Machine Program
Baseline UEC: |  | 5981.4116 | kWh | Baseline UEC: |  | 3007.539 | kWh |  | Baseline UEC: |  | 7821.846 | kWh
E* UEC: |  | 2691.6352 | kWh | E* UEC: |  | 2045.1266 | kWh |  | E* UEC: |  | 6413.9137 | kWh
UES: |  | 3289.7764 | kWh | UES: |  | 962.4125 | kWh |  | UES: |  | 1407.9323 | kWh
Percent Saving: |  | 55% |  | Percent Saving: |  | 32% |  | Suozzo and Nadel, 1998, Selecting Targets for Market Transformation Programs: A National Analysis. ACEEE | Percent Saving: |  | 18%
Life: |  | 20 | years | Life: |  | 20 | years |  | Life: |  | 20 | years
Incremental Cost: |  | 390.1992 | dollars | Incremental Cost: |  | 100 | dollars | Suozzo and Nadel, 1998, Selecting Targets for Market Transformation Programs: A National Analysis. ACEEE | Incremental Cost: |  | 151.5135 | dollars
CCE |  | 0.011196 |  | CCE |  | 0.0098079 |  |  | CCE |  | 0.010158
Program Start Year |  | 2003 |  | Program Start Year |  | 2003 |  |  | Program Start Year |  | 2003
| Assumed |  |  |  | Assumed |  |  |  |  | Assumed
| Penetration |  |  |  | Penetration |  |  |  |  | Penetration
2000 |  |  |  | 2000 |  |  |  |  | 2000
2001 |  |  |  | 2001 |  |  |  |  | 2001
2002 |  |  |  | 2002 |  |  |  |  | 2002
2003 | 5% |  |  | 2003 | 5% |  |  |  | 2003 | 5%
2004 | 7.857% |  |  | 2004 | 7.857% |  |  |  | 2004 | 7.857%
2005 | 10.71% |  |  | 2005 | 10.71% |  |  |  | 2005 | 10.71%
2006 | 13.57% |  |  | 2006 | 13.57% |  |  |  | 2006 | 13.57%
2007 | 16.43% |  |  | 2007 | 16.43% |  |  |  | 2007 | 16.43%
2008 | 19.29% |  |  | 2008 | 19.29% |  |  |  | 2008 | 19.29%
2009 | 22.14% |  |  | 2009 | 22.14% |  |  |  | 2009 | 22.14%
2010 | 25% |  |  | 2010 | 25% |  |  |  | 2010 | 25%
2011 | 25.5% |  |  | 2011 | 25.5% |  |  |  | 2011 | 25.5%
2012 | 26% |  |  | 2012 | 26% |  |  |  | 2012 | 26%
2013 | 26.5% |  |  | 2013 | 26.5% |  |  |  | 2013 | 26.5%
2014 | 27% |  |  | 2014 | 27% |  |  |  | 2014 | 27%
2015 | 27.5% |  |  | 2015 | 27.5% |  |  |  | 2015 | 27.5%
2016 | 28% |  |  | 2016 | 28% |  |  |  | 2016 | 28%
2017 | 28.5% |  |  | 2017 | 28.5% |  |  |  | 2017 | 28.5%
2018 | 29% |  |  | 2018 | 29% |  |  |  | 2018 | 29%
2019 | 29.5% |  |  | 2019 | 29.5% |  |  |  | 2019 | 29.5%
2020 | 30% |  |  | 2020 | 30% |  |  |  | 2020 | 30%

## Ventilation
Energy Star Buildings--Ventilation |  |  |  |  | Advanced Commercial Building Codes
UEC:
UES: |  |  |  |  | Percent Savings: |  | 10%
Percent Savings: |  | 57.25% |  | esbgoals.xls, lighting savings | Life: |  | 50 | years
Life: |  | 50 | years |  | Incremental Cost:
Incremental Cost: |  |  | dollars |  | CCE |  | 0.23559 | Proportional to ESB CCE
CCE |  | 1.3487 | $/kWh |  | Standard Start Year |  | 2010
Start Year: |  | 1997
| New ESB |  |  |  |  | 2010 | 2010 | 2010
| Floorspace |  |  |  |  | Code | Code | Code
| % of stock | % of Stock |  |  |  | Adoption | Enforcement | Compliance
2000 | 0.5177% | 1.293% |  |  | 2000 | 0% | 80% | 0%
2001 | 0.6506% | 1.927% |  |  | 2001 | 0% | 80% | 0%
2002 | 0.7612% | 2.663% |  |  | 2002 | 0% | 80% | 0%
2003 | 0.8153% | 3.444% |  |  | 2003 | 0% | 80% | 0%
2004 | 0.8391% | 4.239% |  |  | 2004 | 0% | 80% | 0%
2005 | 0.8772% | 5.062% |  |  | 2005 | 0% | 80% | 0%
2006 | 0.9312% | 5.928% |  |  | 2006 | 0% | 80% | 0%
2007 | 0.9952% | 6.847% |  |  | 2007 | 0% | 80% | 0%
2008 | 1.052% | 7.812% |  |  | 2008 | 0% | 80% | 0%
2009 | 1.123% | 8.835% |  |  | 2009 | 0% | 80% | 0%
2010 | 1.155% | 9.877% |  |  | 2010 | 3% | 80% | 2.4%
2011 | 1.186% | 10.94% |  |  | 2011 | 4.4% | 80% | 3.52%
2012 | 1.218% | 12.01% |  |  | 2012 | 5.8% | 80% | 4.64%
2013 | 1.21% | 13.07% |  |  | 2013 | 7.2% | 80% | 5.76%
2014 | 1.198% | 14.1% |  |  | 2014 | 8.6% | 80% | 6.88%
2015 | 1.182% | 15.1% |  |  | 2015 | 10% | 80% | 8%
2016 | 1.159% | 16.07% |  |  | 2016 | 11% | 80% | 8.8%
2017 | 1.114% | 16.97% |  |  | 2017 | 12% | 80% | 9.6%
2018 | 1.027% | 17.78% |  |  | 2018 | 13% | 80% | 10.4%
2019 | 0.959% | 18.51% |  |  | 2019 | 14% | 80% | 11.2%
2020 | 0.8966% | 19.17% |  |  | 2020 | 15% | 80% | 12%

## WH-Gas
Energy Star Buildings--GWH |  |  |  |  | Advanced Commercial Building Codes
UEC:
UES: |  | 0.0030556 | MMBtu/sq ft |  | Percent Savings: |  | 10%
Percent Savings: |  | 31.6% |  | esbgoals.xls, WH savings | Life: |  | 50 | years
Life: |  | 50 | years |  | Incremental Cost:
Incremental Cost: |  | 0.092546 | dollars |  | CCE |  | 0.6945 | Proportional to ESB CCE
CCE |  | 2.1946 | $/MMBtu |  | Standard Start Year |  | 2010
Start Year: |  | 1997
| New ESB | % of | % of |  |  | 2010 | 2010 | 2010
| Floorspace | floorspace | floorspace |  |  | Code | Code | Code
| % of stock | all WH | GWH |  |  | Adoption | Enforcement | Compliance
2000 | 0.5442% | 1.363% | 0.6569% |  | 2000 | 0% | 80% | 0%
2001 | 0.6684% | 2.013% | 0.9707% |  | 2001 | 0% | 80% | 0%
2002 | 0.7729% | 2.76% | 1.331% |  | 2002 | 0% | 80% | 0%
2003 | 0.8213% | 3.546% | 1.71% |  | 2003 | 0% | 80% | 0%
2004 | 0.8418% | 4.343% | 2.094% |  | 2004 | 0% | 80% | 0%
2005 | 0.88% | 5.167% | 2.491% |  | 2005 | 0% | 80% | 0%
2006 | 0.9388% | 6.039% | 2.912% |  | 2006 | 0% | 80% | 0%
2007 | 1.004% | 6.966% | 3.358% |  | 2007 | 0% | 80% | 0%
2008 | 1.064% | 7.941% | 3.828% |  | 2008 | 0% | 80% | 0%
2009 | 1.135% | 8.973% | 4.326% |  | 2009 | 0% | 80% | 0%
2010 | 1.164% | 10.02% | 4.832% |  | 2010 | 3% | 80% | 2.4%
2011 | 1.189% | 11.08% | 5.344% |  | 2011 | 4.4% | 80% | 3.52%
2012 | 1.22% | 12.16% | 5.864% |  | 2012 | 5.8% | 80% | 4.64%
2013 | 1.214% | 13.22% | 6.374% |  | 2013 | 7.2% | 80% | 5.76%
2014 | 1.199% | 14.25% | 6.87% |  | 2014 | 8.6% | 80% | 6.88%
2015 | 1.182% | 15.25% | 7.351% |  | 2015 | 10% | 80% | 8%
2016 | 1.16% | 16.21% | 7.816% |  | 2016 | 11% | 80% | 8.8%
2017 | 1.109% | 17.11% | 8.251% |  | 2017 | 12% | 80% | 9.6%
2018 | 1.021% | 17.91% | 8.637% |  | 2018 | 13% | 80% | 10.4%
2019 | 0.9497% | 18.63% | 8.984% |  | 2019 | 14% | 80% | 11.2%
2020 | 0.8875% | 19.28% | 9.297% |  | 2020 | 15% | 80% | 12%

## WH-Electric
Commercial Heat Pump Water Heaters--Utility Promotion | [5 empty] | Energy Star Buildings--EWH |  |  |  |  | Advanced Commercial Building Codes
Baseline EWH UEC: |  | 40000 | kWh | Suozzo and Nadel, 1998, Selecting Targets for Market Transformation Programs: A National Analysis. ACEEE
HPWH UEC: |  | 23000 | kWh | Suozzo and Nadel, 1998, Selecting Targets for Market Transformation Programs: A National Analysis. ACEEE |  | UEC:
UES: |  | 17000 | kWh | Suozzo and Nadel, 1998, Selecting Targets for Market Transformation Programs: A National Analysis. ACEEE |  | UES: |  | 0.0030556 | MMBtu/sq ft |  | Percent Savings: |  | 10%
Percent Savings: |  | 58% |  | Suozzo and Nadel, 1998, Selecting Targets for Market Transformation Programs: A National Analysis. ACEEE |  | Percent Savings: |  | 31.6% |  | esbgoals.xls, WH savings | Life: |  | 50 | years
Life: |  | 15 | years | Suozzo and Nadel, 1998, Selecting Targets for Market Transformation Programs: A National Analysis. ACEEE |  | Life: |  | 50 | years |  | Incremental Cost:
Incremental Cost: |  | 3627.451 | dollars |  |  | Incremental Cost: |  | 0.092546 | dollars/sq ft |  | CCE |  | 0.6945 | Proportional to ESB CCE
CCE |  | 0.023428 | $/kWh |  |  | CCE |  | 2.1946 | $/MMBtu |  | Standard Start Year |  | 2010
Start Year: |  | 2000 |  |  | 1.02 | Start Year: |  | 1997
Feasible applications: |  | 12% | 15% of WEH load in buildings w/ high water use, 80% feasible | Suozzo and Nadel, 1998, Selecting Targets for Market Transformation Programs: A National Analysis. ACEEE |  |  | New ESB | % of | % of |  |  | 2010 | 2010 | 2010
[7 empty] | Floorspace | floorspace | floorspace |  |  | Code | Code | Code
| % of EWH | [5 empty] | % of stock | all WH | EWH |  |  | Adoption | Enforcement | Compliance
2000 | 0% |  |  |  |  | 2000 | 0.5442% | 1.363% | 0.6093% |  | 2000 | 0% | 80% | 0%
2001 | 0.3% |  |  |  |  | 2001 | 0.6684% | 2.013% | 0.9003% |  | 2001 | 0% | 80% | 0%
2002 | 0.6% |  |  |  |  | 2002 | 0.7729% | 2.76% | 1.234% |  | 2002 | 0% | 80% | 0%
2003 | 0.9% |  |  |  |  | 2003 | 0.8213% | 3.546% | 1.586% |  | 2003 | 0% | 80% | 0%
2004 | 1.2% |  |  |  |  | 2004 | 0.8418% | 4.343% | 1.942% |  | 2004 | 0% | 80% | 0%
2005 | 1.5% |  |  |  |  | 2005 | 0.88% | 5.167% | 2.31% |  | 2005 | 0% | 80% | 0%
2006 | 1.8% |  |  |  |  | 2006 | 0.9388% | 6.039% | 2.701% |  | 2006 | 0% | 80% | 0%
2007 | 2.1% |  |  |  |  | 2007 | 1.004% | 6.966% | 3.115% |  | 2007 | 0% | 80% | 0%
2008 | 2.4% |  |  |  |  | 2008 | 1.064% | 7.941% | 3.551% |  | 2008 | 0% | 80% | 0%
2009 | 2.7% |  |  |  |  | 2009 | 1.135% | 8.973% | 4.013% |  | 2009 | 0% | 80% | 0%
2010 | 3% |  |  |  |  | 2010 | 1.164% | 10.02% | 4.482% |  | 2010 | 3% | 80% | 2.4%
2011 | 3.3% |  |  |  |  | 2011 | 1.189% | 11.08% | 4.956% |  | 2011 | 4.4% | 80% | 3.52%
2012 | 3.6% |  |  |  |  | 2012 | 1.22% | 12.16% | 5.438% |  | 2012 | 5.8% | 80% | 4.64%
2013 | 3.9% |  |  |  |  | 2013 | 1.214% | 13.22% | 5.911% |  | 2013 | 7.2% | 80% | 5.76%
2014 | 4.2% |  |  |  |  | 2014 | 1.199% | 14.25% | 6.371% |  | 2014 | 8.6% | 80% | 6.88%
2015 | 4.5% |  |  |  |  | 2015 | 1.182% | 15.25% | 6.818% |  | 2015 | 10% | 80% | 8%
2016 | 4.8% |  |  |  |  | 2016 | 1.16% | 16.21% | 7.249% |  | 2016 | 11% | 80% | 8.8%
2017 | 5.1% |  |  |  |  | 2017 | 1.109% | 17.11% | 7.652% |  | 2017 | 12% | 80% | 9.6%
2018 | 5.4% |  |  |  |  | 2018 | 1.021% | 17.91% | 8.011% |  | 2018 | 13% | 80% | 10.4%
2019 | 5.7% |  |  |  |  | 2019 | 0.9497% | 18.63% | 8.332% |  | 2019 | 14% | 80% | 11.2%
2020 | 6% |  |  |  |  | 2020 | 0.8875% | 19.28% | 8.622% |  | 2020 | 15% | 80% | 12%

## Heating
Energy Star Buildings--Heating |  |  |  |  | High Efficiency Commercial Gas Furnace and Boilers |  |  |  |  | Advanced Commercial Building Codes
[5 empty] | Standard Level: |  | 82% combustion eff., 2.5% casing losses |  | Suozzo and Nadel, 1998, Selecting Targets for Market Transformation Programs: A National Analysis. ACEEE
UEC: |  |  |  |  | Standard Level: |  | 2430 | therms | Suozzo and Nadel, 1998, Selecting Targets for Market Transformation Programs: A National Analysis. ACEEE
UES: |  |  |  |  | UES: |  | 190 | kWh | Suozzo and Nadel, 1998, Selecting Targets for Market Transformation Programs: A National Analysis. ACEEE | Percent Savings: |  | 10%
Percent Savings: |  | 44.89% |  | esbgoals.xls, heating savings | Life: |  | 15 | years | Suozzo and Nadel, 1998, Selecting Targets for Market Transformation Programs: A National Analysis. ACEEE | Life: |  | 50 | years
Life: |  | 50 | years |  | Incremental Cost: |  | 506.8627 | dollars | Suozzo and Nadel, 1998, Selecting Targets for Market Transformation Programs: A National Analysis. ACEEE | Incremental Cost:
Incremental Cost: |  |  | dollars |  | CCE |  | 2.929 |  |  | CCE |  | 0.30047 | Proportional to ESB CCE
CCE |  | 1.3487 | $/kWh |  | Standard Start Year |  | NA |  |  | Standard Start Year |  | 2010
Start Year: |  | 1997 |  |  | Feasible Applications |  | 90% |  | Suozzo and Nadel, 1998, Selecting Targets for Market Transformation Programs: A National Analysis. ACEEE
| New ESB | % of | [8 empty] | 2010 | 2010 | 2010
| Floorspace | floorspace |  |  |  | NA |  |  |  |  | Code | Code | Code
| % of stock |  |  |  |  | Standard |  |  |  |  | Adoption | Enforcement | Compliance
2000 | 0.4552% | 1.143% | Does not take account of savings |  | 2000 | 0% |  |  |  | 2000 | 0% | 80% | 0%
2001 | 0.5791% | 1.708% | attributable to R&D |  | 2001 | 0% |  |  |  | 2001 | 0% | 80% | 0%
2002 | 0.6958% | 2.382% |  |  | 2002 | 0% |  |  |  | 2002 | 0% | 80% | 0%
2003 | 0.7645% | 3.116% |  |  | 2003 | 0% |  |  |  | 2003 | 0% | 80% | 0%
2004 | 0.7932% | 3.869% |  |  | 2004 | 0% |  |  |  | 2004 | 0% | 80% | 0%
2005 | 0.8258% | 4.645% |  |  | 2005 | 0% |  |  |  | 2005 | 0% | 80% | 0%
2006 | 0.8751% | 5.46% |  |  | 2006 | 0% |  |  |  | 2006 | 0% | 80% | 0%
2007 | 0.9364% | 6.327% |  |  | 2007 | 0% |  |  |  | 2007 | 0% | 80% | 0%
2008 | 0.9811% | 7.227% |  |  | 2008 | 0% |  |  |  | 2008 | 0% | 80% | 0%
2009 | 1.049% | 8.183% |  |  | 2009 | 0% |  |  |  | 2009 | 0% | 80% | 0%
2010 | 1.083% | 9.161% |  |  | 2010 | 0% |  |  |  | 2010 | 3% | 80% | 2.4%
2011 | 1.117% | 10.16% |  |  | 2011 | 0% |  |  |  | 2011 | 4.4% | 80% | 3.52%
2012 | 1.154% | 11.18% |  |  | 2012 | 0% |  |  |  | 2012 | 5.8% | 80% | 4.64%
2013 | 1.145% | 12.19% |  |  | 2013 | 0% |  |  |  | 2013 | 7.2% | 80% | 5.76%
2014 | 1.139% | 13.17% |  |  | 2014 | 0% |  |  |  | 2014 | 8.6% | 80% | 6.88%
2015 | 1.119% | 14.12% |  |  | 2015 | 0% |  |  |  | 2015 | 10% | 80% | 8%
2016 | 1.101% | 15.04% |  |  | 2016 | 0% |  |  |  | 2016 | 11% | 80% | 8.8%
2017 | 1.068% | 15.91% |  |  | 2017 | 0% |  |  |  | 2017 | 12% | 80% | 9.6%
2018 | 0.982% | 16.69% |  |  | 2018 | 0% |  |  |  | 2018 | 13% | 80% | 10.4%
2019 | 0.9223% | 17.4% |  |  | 2019 | 0% |  |  |  | 2019 | 14% | 80% | 11.2%
2020 | 0.8646% | 18.04% |  |  | 2020 | 0% |  |  |  | 2020 | 15% | 80% | 12%

## Cooling
Energy Star Buildings--Cooling | [5 empty] | Commercial Packaged AC | [5 empty] | Advanced Commercial Building Codes
[6 empty] | Standard Level: |  | 10.3 | 11 | EER | Suozzo and Nadel, 1998, Selecting Targets for Market Transformation Programs: A National Analysis. ACEEE
UEC: | [5 empty] | Standard Level: |  | 14788 | 13750 | kWh | Suozzo and Nadel, 1998, Selecting Targets for Market Transformation Programs: A National Analysis. ACEEE
UES: | [5 empty] | UES: |  | 1712 | 2750 | kWh | Suozzo and Nadel, 1998, Selecting Targets for Market Transformation Programs: A National Analysis. ACEEE | Percent Savings: |  | 10%
Percent Savings: |  | 49.84% | 45.69% | 43.18% | esbgoals.xls, cooling savings | Life: |  | 15 | 15 | years | Suozzo and Nadel, 1998, Selecting Targets for Market Transformation Programs: A National Analysis. ACEEE | Life: |  | 50 | years
Life: |  | 50 | 50 | 50 | years | Incremental Cost: |  | 490.1961 | 1102.9412 | dollars | Suozzo and Nadel, 1998, Selecting Targets for Market Transformation Programs: A National Analysis. ACEEE | Incremental Cost:
Incremental Cost: |  |  |  |  | dollars | CCE |  | 0.031437 | 0.044035 |  |  | CCE |  | 0.79307 | Proportional to ESB CCE
CCE |  | 3.9529 | 3.9529 | 3.9529 | $/MMBtu | Standard Start Year |  | 2005 | NA |  | Suozzo and Nadel, 1998, Selecting Targets for Market Transformation Programs: A National Analysis. ACEEE | Standard Start Year |  | 2010
Start Year: |  | 1997 |  |  |  | Feasible Applications |  | 40% | 40% | 50% of commercial cooling served by pkgd equip, 80% feasible | Suozzo and Nadel, 1998, Selecting Targets for Market Transformation Programs: A National Analysis. ACEEE
| New ESB | % of | % of | % of | [8 empty] | 2010 | 2010 | 2010
| Floorspace | floorspace | floorspace | floorspace |  |  | 2005 | NA |  |  |  |  | Code | Code | Code
| % of stock | [5 empty] | Standard | Standard |  |  |  |  | Adoption | Enforcement | Compliance
2000 | 0.5186% | 1.263% | 0% | 0% |  | 2000 | 0% | 0% |  |  |  | 2000 | 0% | 80% | 0%
2001 | 0.655% | 1.901% | 0% | 0% |  | 2001 | 0% | 0% |  |  |  | 2001 | 0% | 80% | 0%
2002 | 0.7691% | 2.646% | 0% | 0% |  | 2002 | 0% | 0% |  |  |  | 2002 | 0% | 80% | 0%
2003 | 0.835% | 3.447% | 0% | 0% |  | 2003 | 0% | 0% |  |  |  | 2003 | 0% | 80% | 0%
2004 | 0.8611% | 4.264% | 0% | 0% |  | 2004 | 0% | 0% |  |  |  | 2004 | 0% | 80% | 0%
2005 | 0.8991% | 4.264% | 0.8991% | 0% |  | 2005 | 100% | 0% |  |  |  | 2005 | 0% | 80% | 0%
2006 | 0.948% | 4.264% | 1.836% | 0% |  | 2006 | 100% | 0% |  |  |  | 2006 | 0% | 80% | 0%
2007 | 1.017% | 4.264% | 2.829% | 0% |  | 2007 | 100% | 0% |  |  |  | 2007 | 0% | 80% | 0%
2008 | 1.073% | 4.264% | 3.866% | 0% |  | 2008 | 100% | 0% |  |  |  | 2008 | 0% | 80% | 0%
2009 | 1.147% | 4.264% | 4.963% | 0% |  | 2009 | 100% | 0% |  |  |  | 2009 | 0% | 80% | 0%
2010 | 1.185% | 4.264% | 6.085% | 0% |  | 2010 | 100% | 0% |  |  |  | 2010 | 3% | 80% | 2.4%
2011 | 1.216% | 4.264% | 7.223% | 0% |  | 2011 | 100% | 0% |  |  |  | 2011 | 4.4% | 80% | 3.52%
2012 | 1.252% | 4.264% | 8.383% | 0% |  | 2012 | 100% | 0% |  |  |  | 2012 | 5.8% | 80% | 4.64%
2013 | 1.243% | 4.264% | 9.518% | 0% |  | 2013 | 100% | 0% |  |  |  | 2013 | 7.2% | 80% | 5.76%
2014 | 1.235% | 4.264% | 10.63% | 0% |  | 2014 | 100% | 0% |  |  |  | 2014 | 8.6% | 80% | 6.88%
2015 | 1.22% | 4.264% | 11.71% | 0% |  | 2015 | 100% | 0% |  |  |  | 2015 | 10% | 80% | 8%
2016 | 1.193% | 4.264% | 12.76% | 0% |  | 2016 | 100% | 0% |  |  |  | 2016 | 11% | 80% | 8.8%
2017 | 1.155% | 4.264% | 13.75% | 0% |  | 2017 | 100% | 0% |  |  |  | 2017 | 12% | 80% | 9.6%
2018 | 1.065% | 4.264% | 14.64% | 0% |  | 2018 | 100% | 0% |  |  |  | 2018 | 13% | 80% | 10.4%
2019 | 0.9962% | 4.264% | 15.44% | 0% |  | 2019 | 100% | 0% |  |  |  | 2019 | 14% | 80% | 11.2%
2020 | 0.9298% | 4.264% | 16.18% | 0% |  | 2020 | 100% | 0% |  |  |  | 2020 | 15% | 80% | 12%

## Whole Building R&D
Whole Building R&D
|  | Heating | Other Cooling | Ventilation | Water Heating | Lighting | Cooling-2005 Stds | Cooling-2010 Stds
Life: |  | 50 | 50 | 50 | 50 | 50 | 50 | 50 | years
Percent Savings |  | 44.89% | 49.84% | 57.25% | 31.6% | 24.33% | 45.69% | 43.18%
CCE (2000-2009) |  | 1.3487 | 3.9529 | 1.3487 | 2.1946 | 0.024928 | 3.9529 | 3.9529
CCE (2010-2020) |  | 1.2139 | 3.5576 | 1.2139 | 1.9752 | 0.022435 | 3.5576 | 3.5576
Cost reduction |  | 10% | [11 empty] | New |  |  |  | Exisitng
Program effects begin: |  | 2010 | 2010 | 2010 | 2010 | 2010 | 2010 | 2010 | [6 empty] | Additions |  | Cumulative |  | Additions |  | Cumulative
[8 empty] | AEO99 Com | AEO99 Com | Commercial | Commercial | R&D | R&D | R&D | As % of |  | As % of | R&D | As % of |  | As % of
|  |  | Heating & Ventilation | Cooling | WH | Lighting |  | Floorspace | Floorspace | Floorspace | Floorspace | effect | conversions | additions | new | R&D | post-1999 | additions | existing | R&D | pre-2000
| Additions | Cumulative | CCE | CCE | CCE | CCE |  | Additions | Total | pre-2000 | post-1999 | % of new | % of extg | new floorspace | floorspace | cumulative | floorspace | extg floorspace | floorspace | cumulative | floorspace
| % of floorspace | % of floorspace | $/MMBtu site | $/MMBtu site | $/MMBtu | $/MMBtu |  | Billion sq ft | Billion sq ft | Billion sq ft | Billion sq ft | floorspace | floorspace | Billion sq ft |  | Billion sq ft |  | Billion sq ft |  | Billion sq ft |  |  | ex | new
2000 | 0% | 0% | 1.3487 | 3.9529 | 2.1946 | 0.024928 |  | 1.6 | 62.9 | 61.3 | 1.6 | 0% | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1.143% | 1.143% | 1.143%
2001 | 0% | 0% | 1.3487 | 3.9529 | 2.1946 | 0.024928 |  | 1.5 | 63.6 | 60.5 | 3.1 | 0% | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 1.708% | 1.708% | 1.708%
2002 | 0% | 0% | 1.3487 | 3.9529 | 2.1946 | 0.024928 |  | 1.4 | 64.3 | 59.8 | 4.5 | 0% | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 2.382% | 2.382% | 2.382%
2003 | 0% | 0% | 1.3487 | 3.9529 | 2.1946 | 0.024928 |  | 1.5 | 64.9 | 58.9 | 6 | 0% | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 3.116% | 3.116% | 3.116%
2004 | 0% | 0% | 1.3487 | 3.9529 | 2.1946 | 0.032048 |  | 1.5 | 65.6 | 58.1 | 7.5 | 0% | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 3.869% | 3.869% | 3.869%
2005 | 0.1% | 0.01667% | 1.3487 | 3.9529 | 2.1946 | 0.032048 |  | 1.5 | 66.3 | 57.3 | 9 | 0.1% | 0.1% | 0.0015 | 0.1% | 0.0015 | 0.01667% | 0.0573 | 0.08843% | 0.0573 | 0.1% | 4.645% | 4.645% | 4.645%
2006 | 4% | 0.5529% | 1.3487 | 3.9529 | 2.1946 | 0.032048 |  | 1.4 | 66.9 | 56.5 | 10.4 | 4% | 0.2% | 0.056 | 4% | 0.0575 | 0.5529% | 0.113 | 0.1725% | 0.1703 | 0.3014% | 5.46% | 5.46% | 5.46%
2007 | 8% | 1.492% | 1.3487 | 3.9529 | 2.1946 | 0.032048 |  | 1.5 | 67.6 | 55.7 | 11.9 | 8% | 0.3% | 0.12 | 8% | 0.1775 | 1.492% | 0.1671 | 0.2528% | 0.3374 | 0.6057% | 6.327% | 6.327% | 6.327%
2008 | 10% | 2.444% | 1.3487 | 3.9529 | 2.1946 | 0.032048 |  | 1.5 | 68.2 | 54.8 | 13.4 | 10% | 0.4% | 0.15 | 10% | 0.3275 | 2.444% | 0.2192 | 0.3286% | 0.5566 | 1.016% | 7.227% | 7.227% | 7.227%
2009 | 12% | 3.406% | 1.3487 | 3.9529 | 2.1946 | 0.032048 |  | 1.5 | 68.9 | 54 | 14.9 | 12% | 0.5% | 0.18 | 12% | 0.5075 | 3.406% | 0.27 | 0.4006% | 0.8266 | 1.531% | 8.183% | 8.183% | 8.183%
2010 | 14% | 4.375% | 1.2139 | 3.5576 | 1.9752 | 0.028843 |  | 1.5 | 69.5 | 53.1 | 16.4 | 14% | 0.6% | 0.21 | 14% | 0.7175 | 4.375% | 0.3186 | 0.4685% | 1.1452 | 2.157% | 9.161% | 9.411% | 9.618%
2011 | 16% | 5.349% | 1.2139 | 3.5576 | 1.9752 | 0.028843 |  | 1.5 | 70.1 | 52.2 | 17.9 | 16% | 0.6% | 0.24 | 16% | 0.9575 | 5.349% | 0.3132 | 0.4566% | 1.4584 | 2.794% | 10.16% | 10.66% | 11%
2012 | 18% | 6.267% | 1.2139 | 3.5576 | 1.9752 | 0.028843 |  | 1.4 | 70.7 | 51.4 | 19.3 | 18% | 0.6% | 0.252 | 18% | 1.2095 | 6.267% | 0.3084 | 0.445% | 1.7668 | 3.437% | 11.18% | 11.95% | 12.32%
2013 | 20% | 7.196% | 1.2139 | 3.5576 | 1.9752 | 0.028843 |  | 1.4 | 71.2 | 50.5 | 20.7 | 20% | 0.6% | 0.28 | 20% | 1.4895 | 7.196% | 0.303 | 0.4341% | 2.0698 | 4.099% | 12.19% | 13.21% | 13.59%
2014 | 20% | 7.952% | 1.2139 | 3.5576 | 1.9752 | 0.028843 |  | 1.3 | 71.6 | 49.6 | 22 | 20% | 0.6% | 0.26 | 20% | 1.7495 | 7.952% | 0.2976 | 0.4233% | 2.3674 | 4.773% | 13.17% | 14.46% | 14.78%
2015 | 20% | 8.624% | 1.2139 | 3.5576 | 1.9752 | 0.028843 |  | 1.3 | 72 | 48.7 | 23.3 | 20% | 0.6% | 0.26 | 20% | 2.0095 | 8.624% | 0.2922 | 0.4133% | 2.6596 | 5.461% | 14.12% | 15.69% | 15.92%
2016 | 20% | 9.182% | 1.2139 | 3.5576 | 1.9752 | 0.028843 |  | 1.2 | 72.3 | 47.8 | 24.5 | 20% | 0.6% | 0.24 | 20% | 2.2495 | 9.182% | 0.2868 | 0.4034% | 2.9464 | 6.164% | 15.04% | 16.89% | 17%
2017 | 20% | 9.687% | 1.2139 | 3.5576 | 1.9752 | 0.028843 |  | 1.2 | 72.6 | 46.9 | 25.7 | 20% | 0.6% | 0.24 | 20% | 2.4895 | 9.687% | 0.2814 | 0.3941% | 3.2278 | 6.882% | 15.91% | 18.05% | 18.01%
2018 | 20% | 10.11% | 1.2139 | 3.5576 | 1.9752 | 0.028843 |  | 1.1 | 72.7 | 45.9 | 26.8 | 20% | 0.6% | 0.22 | 20% | 2.7095 | 10.11% | 0.2754 | 0.3846% | 3.5032 | 7.632% | 16.69% | 19.12% | 18.91%
2019 | 20% | 10.47% | 1.2139 | 3.5576 | 1.9752 | 0.028843 |  | 1 | 72.9 | 45.1 | 27.8 | 20% | 0.6% | 0.2 | 20% | 2.9095 | 10.47% | 0.2706 | 0.3764% | 3.7738 | 8.368% | 17.4% | 20.12% | 19.72%
2020 | 20% | 10.8% | 1.2139 | 3.5576 | 1.9752 | 0.028843 |  | 1 | 72.9 | 44.1 | 28.8 | 20% | 0.6% | 0.2 | 20% | 3.1095 | 10.8% | 0.2646 | 0.368% | 4.0384 | 9.157% | 18.04% | 21.07% | 20.45%
[12 empty] | 5% | 0.25%

## ESB
|  |  |  | Scenario Modifier: |  | 0.7 | =1 for advanced scenario, 0.66 for moderate scenario
Phase in of ESB (millions of square feet)
|  |  |  | Lights |  |  |  | Tune Up |  |  |  | Loads |  |  |  | Fans |  |  |  | HVAC
Year | Year of program | Total Floorspace | Total Floorspace Energy Star | Additions | Additions, % of Total Floorspace | Cumulative | % of Total Floorspace | Additions | Additions, % of Total Floorspace | Cumulative | % of Total Floorspace | Additions | Additions, % of Total Floorspace | Cumulative | % of Total Floorspace | Additions | Additions, % of Total Floorspace | Cumulative | % of Total Floorspace | Additions | Additions, % of Total Floorspace | Cumulative | % of Total Floorspace
1995 | 1 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
1996 | 2 | 59500 | 68279.6221 | 25.2 | 0.03691% | 25.2 | 0.03691% | 75.6 | 0.1107% | 75.6 | 0.1107% | 63 | 0.09227% | 63 | 0.09227% | 50.4 | 0.07381% | 50.4 | 0.07381% | 25.2 | 0.03691% | 25.2 | 0.03691%
1997 | 3 | 60300 | 69167.2572 | 128.3625 | 0.1856% | 153.5625 | 0.222% | 115.9988 | 0.1677% | 191.5987 | 0.277% | 82.53 | 0.1193% | 145.53 | 0.2104% | 51.5812 | 0.07457% | 101.9812 | 0.1474% | 35.9887 | 0.05203% | 61.1887 | 0.08846%
1998 | 4 | 61166.6667 | 70066.4316 | 300.825 | 0.4293% | 454.3875 | 0.6485% | 272.2387 | 0.3885% | 463.8375 | 0.662% | 212.7037 | 0.3036% | 358.2337 | 0.5113% | 137.8125 | 0.1967% | 239.7937 | 0.3422% | 113.4 | 0.1618% | 174.5888 | 0.2492%
1999 | 5 | 62033.3333 | 70977.2952 | 499.275 | 0.7034% | 953.6625 | 1.344% | 389.4975 | 0.5488% | 853.335 | 1.202% | 346.4212 | 0.4881% | 704.655 | 0.9928% | 244.5975 | 0.3446% | 484.3913 | 0.6825% | 202.1513 | 0.2848% | 376.74 | 0.5308%
2000 | 6 | 62900 | 71900 | 693 | 0.9638% | 1646.6625 | 2.29% | 476.28 | 0.6624% | 1329.615 | 1.849% | 448.7175 | 0.6241% | 1153.3725 | 1.604% | 343.98 | 0.4784% | 828.3712 | 1.152% | 298.305 | 0.4149% | 675.045 | 0.9389%
2001 | 7 | 63580 | 72834.7 | 852.8023 | 1.171% | 2499.4648 | 3.432% | 579.455 | 0.7956% | 1909.07 | 2.621% | 538.3656 | 0.7392% | 1691.7381 | 2.323% | 446.5612 | 0.6131% | 1274.9324 | 1.75% | 399.1657 | 0.548% | 1074.2107 | 1.475%
2002 | 8 | 64260 | 73781.5511 | 920.949 | 1.248% | 3420.4138 | 4.636% | 631.0457 | 0.8553% | 2540.1158 | 3.443% | 608.2452 | 0.8244% | 2299.9833 | 3.117% | 543.2408 | 0.7363% | 1818.1732 | 2.464% | 507.5614 | 0.6879% | 1581.7721 | 2.144%
2003 | 9 | 64940 | 74740.7113 | 943.2099 | 1.262% | 4363.6238 | 5.838% | 629.4548 | 0.8422% | 3169.5706 | 4.241% | 628.6953 | 0.8412% | 2928.6786 | 3.918% | 603.4325 | 0.8074% | 2421.6056 | 3.24% | 591.4263 | 0.7913% | 2173.1984 | 2.908%
2004 | 10 | 65620 | 75712.3405 | 962.4116 | 1.271% | 5326.0354 | 7.035% | 649.7518 | 0.8582% | 3819.3224 | 5.045% | 644.9505 | 0.8518% | 3573.6291 | 4.72% | 631.4608 | 0.834% | 3053.0665 | 4.032% | 624.816 | 0.8252% | 2798.0145 | 3.696%
2005 | 11 | 66300 | 76696.6009 | 1041.1892 | 1.358% | 6367.2246 | 8.302% | 711.4367 | 0.9276% | 4530.7591 | 5.907% | 687.1196 | 0.8959% | 4260.7487 | 5.555% | 663.7621 | 0.8654% | 3716.8285 | 4.846% | 650.4749 | 0.8481% | 3448.4894 | 4.496%
2006 | 12 | 66940 | 77693.6567 | 1098.429 | 1.414% | 7465.6536 | 9.609% | 769.7238 | 0.9907% | 5300.4829 | 6.822% | 752.1061 | 0.968% | 5012.8548 | 6.452% | 711.4641 | 0.9157% | 4428.2926 | 5.7% | 690.9146 | 0.8893% | 4139.404 | 5.328%
2007 | 13 | 67580 | 78703.6743 | 1206.9139 | 1.533% | 8672.5674 | 11.02% | 840.6968 | 1.068% | 6141.1797 | 7.803% | 812.7527 | 1.033% | 5825.6075 | 7.402% | 768.9933 | 0.9771% | 5197.2859 | 6.604% | 748.8114 | 0.9514% | 4888.2154 | 6.211%
2008 | 14 | 68220 | 79726.8221 | 1323.9636 | 1.661% | 9996.531 | 12.54% | 908.3079 | 1.139% | 7049.4876 | 8.842% | 882.6063 | 1.107% | 6708.2138 | 8.414% | 821.0233 | 1.03% | 6018.3092 | 7.549% | 791.2581 | 0.9925% | 5679.4735 | 7.124%
2009 | 15 | 68860 | 80763.2707 | 1433.3948 | 1.775% | 11429.9258 | 14.15% | 978.4667 | 1.212% | 8027.9543 | 9.94% | 949.1849 | 1.175% | 7657.3987 | 9.481% | 888.804 | 1.101% | 6907.1132 | 8.552% | 859.6535 | 1.064% | 6539.127 | 8.097%
2010 | 16 | 69500 | 81813.1933 | 1476.4491 | 1.805% | 12906.3749 | 15.78% | 982.4601 | 1.201% | 9010.4144 | 11.01% | 975.1986 | 1.192% | 8632.5973 | 10.55% | 934.8738 | 1.143% | 7841.9869 | 9.585% | 916.7639 | 1.121% | 7455.8909 | 9.113%
2011 | 17 | 70000 | 82876.7648 | 1501.5994 | 1.812% | 14407.9743 | 17.38% | 1001.422 | 1.208% | 10011.8363 | 12.08% | 999.2818 | 1.206% | 9631.8791 | 11.62% | 977.432 | 1.179% | 8819.4189 | 10.64% | 964.9402 | 1.164% | 8420.8311 | 10.16%
2012 | 18 | 70500 | 83954.1627 | 1556.9909 | 1.855% | 15964.9651 | 19.02% | 1058.223 | 1.26% | 11070.0593 | 13.19% | 1033.2512 | 1.231% | 10665.1304 | 12.7% | 1014.9161 | 1.209% | 9834.335 | 11.71% | 1005.4993 | 1.198% | 9426.3304 | 11.23%
2013 | 19 | 71000 | 85045.5668 | 1549.4008 | 1.822% | 17514.3659 | 20.59% | 1032.9233 | 1.215% | 12102.9826 | 14.23% | 1041.7391 | 1.225% | 11706.8695 | 13.77% | 1026.7984 | 1.207% | 10861.1334 | 12.77% | 1020.565 | 1.2% | 10446.8954 | 12.28%
2014 | 20 | 71500 | 86151.1592 | 1544.4025 | 1.793% | 19058.7684 | 22.12% | 1027.687 | 1.193% | 13130.6696 | 15.24% | 1031.8707 | 1.198% | 12738.7402 | 14.79% | 1033.0344 | 1.199% | 11894.1678 | 13.81% | 1034.9464 | 1.201% | 11481.8418 | 13.33%
2015 | 21 | 72000 | 87271.1243 | 1584.442 | 1.816% | 20643.2104 | 23.65% | 1044.7315 | 1.197% | 14175.4011 | 16.24% | 1032.7474 | 1.183% | 13771.4877 | 15.78% | 1029.0939 | 1.179% | 12923.2617 | 14.81% | 1026.1531 | 1.176% | 12507.9949 | 14.33%
2016 | 22 | 72180 | 88405.6489 | 1525.1232 | 1.725% | 22168.3337 | 25.08% | 1011.7399 | 1.144% | 15187.141 | 17.18% | 1026.76 | 1.161% | 14798.2477 | 16.74% | 1027.4212 | 1.162% | 13950.6828 | 15.78% | 1027.6803 | 1.162% | 13535.6752 | 15.31%
2017 | 23 | 72360 | 89554.9223 | 1469.0574 | 1.64% | 23637.3911 | 26.39% | 957.7792 | 1.069% | 16144.9202 | 18.03% | 973.8294 | 1.087% | 15772.0771 | 17.61% | 1007.453 | 1.125% | 14958.1358 | 16.7% | 1026.0566 | 1.146% | 14561.7318 | 16.26%
2018 | 24 | 72540 | 90719.1363 | 1375.2793 | 1.516% | 25012.6704 | 27.57% | 874.1089 | 0.9635% | 17019.0291 | 18.76% | 905.1593 | 0.9978% | 16677.2363 | 18.38% | 945.3151 | 1.042% | 15903.451 | 17.53% | 965.2449 | 1.064% | 15526.9767 | 17.12%
2019 | 25 | 72720 | 91898.4851 | 1282.1889 | 1.395% | 26294.8593 | 28.61% | 825.3421 | 0.8981% | 17844.3712 | 19.42% | 844.7748 | 0.9192% | 17522.0111 | 19.07% | 896.0327 | 0.975% | 16799.4837 | 18.28% | 919.6306 | 1.001% | 16446.6074 | 17.9%
2020 | 26 | 72900 | 93093.1654 | 1193.8852 | 1.282% | 27488.7444 | 29.53% | 780.9523 | 0.8389% | 18625.3235 | 20.01% | 799.097 | 0.8584% | 18321.1081 | 19.68% | 848.7867 | 0.9118% | 17648.2703 | 18.96% | 871.4722 | 0.9361% | 17318.0795 | 18.6%
|  |  |  | Lights |  |  |  | Tune Up |  |  |  | Loads |  |  |  | Fans |  |  |  | Plant |  |  |  | Total
Lights |  |  |  | 100% |  |  |  | 0% |  |  |  | 0% |  |  |  | 0% |  |  |  | 0% |  |  |  | 100%
Cooling |  |  |  | 8% |  |  |  | 17% |  |  |  | 8% |  |  |  | 8% |  |  |  | 58% |  |  |  | 99%
Heating |  |  |  | -10% |  |  |  | 30% |  |  |  | 10% |  |  |  | 0% |  |  |  | 70% |  |  |  | 100%
Ventilation |  |  |  | 0% |  |  |  | 15% |  |  |  | 8% |  |  |  | 77% |  |  |  | 0% |  |  |  | 100%
Other |  |  |  | 0% |  |  |  | 10% |  |  |  | 50% |  |  |  | 0% |  |  |  | 40% |  |  |  | 100%
|  |  |  | Lights |  |  |  | Cooling |  |  |  | Heating |  |  |  | Ventilation |  |  |  | Other |  |  |  | Water Heating
Year | Year of program | Total Floorspace | Total Floorspace Energy Star | Additions | Additions, % of Total Floorspace | Cumulative | % of Total Floorspace | Additions | Additions, % of Total Floorspace | Cumulative | % of Total Floorspace | Additions | Additions, % of Total Floorspace | Cumulative | % of Total Floorspace | Additions | Additions, % of Total Floorspace | Cumulative | % of Total Floorspace | Additions | Additions, % of Total Floorspace | Cumulative | % of Total Floorspace | Additions | Additions, % of Total Floorspace | Cumulative | % of Total Floorspace
1995 | 1 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
1996 | 2 | 59500 | 68279.6221 | 25.2 | 0.03691% | 25.2 | 0.03691% | 38.556 | 0.05647% | 38.556 | 0.05647% | 44.1 | 0.06459% | 44.1 | 0.06459% | 55.188 | 0.08083% | 55.188 | 0.08083% | 49.14 | 0.07197% | 49.14 | 0.07197% | 49.14 | 0.07197% | 49.14 | 0.07197%
1997 | 3 | 60300 | 69167.2572 | 128.3625 | 0.1856% | 153.5625 | 0.222% | 61.5912 | 0.08905% | 100.1472 | 0.1448% | 55.4085 | 0.08011% | 99.5085 | 0.1439% | 63.7198 | 0.09212% | 118.9078 | 0.1719% | 67.2604 | 0.09724% | 116.4004 | 0.1683% | 67.2604 | 0.09724% | 116.4004 | 0.1683%
1998 | 4 | 61166.6667 | 70066.4316 | 300.825 | 0.4293% | 454.3875 | 0.6485% | 164.1599 | 0.2343% | 264.3071 | 0.3772% | 152.2395 | 0.2173% | 251.748 | 0.3593% | 163.9677 | 0.234% | 282.8755 | 0.4037% | 178.9357 | 0.2554% | 295.3361 | 0.4215% | 178.9357 | 0.2554% | 295.3361 | 0.4215%
1999 | 5 | 62033.3333 | 70977.2952 | 499.275 | 0.7034% | 953.6625 | 1.344% | 270.6858 | 0.3814% | 534.9928 | 0.7538% | 243.0697 | 0.3425% | 494.8177 | 0.6971% | 274.4784 | 0.3867% | 557.3539 | 0.7853% | 293.0209 | 0.4128% | 588.357 | 0.8289% | 293.0209 | 0.4128% | 588.357 | 0.8289%
2000 | 6 | 62900 | 71900 | 693 | 0.9638% | 1646.6625 | 2.29% | 372.8403 | 0.5186% | 907.8331 | 1.263% | 327.2692 | 0.4552% | 822.087 | 1.143% | 372.204 | 0.5177% | 929.5579 | 1.293% | 391.3087 | 0.5442% | 979.6657 | 1.363% | 391.3087 | 0.5442% | 979.6657 | 1.363%
2001 | 7 | 63580 | 72834.7 | 852.8023 | 1.171% | 2499.4648 | 3.432% | 477.0418 | 0.655% | 1384.8749 | 1.901% | 421.8088 | 0.5791% | 1243.8958 | 1.708% | 473.8396 | 0.6506% | 1403.3975 | 1.927% | 486.7946 | 0.6684% | 1466.4603 | 2.013% | 486.7946 | 0.6684% | 1466.4603 | 2.013%
2002 | 8 | 64260 | 73781.5511 | 920.949 | 1.248% | 3420.4138 | 4.636% | 567.4582 | 0.7691% | 1952.3331 | 2.646% | 513.3363 | 0.6958% | 1757.2322 | 2.382% | 561.6119 | 0.7612% | 1965.0094 | 2.663% | 570.2518 | 0.7729% | 2036.7121 | 2.76% | 570.2518 | 0.7729% | 2036.7121 | 2.76%
2003 | 9 | 64940 | 74740.7113 | 943.2099 | 1.262% | 4363.6238 | 5.838% | 624.0616 | 0.835% | 2576.3947 | 3.447% | 571.3834 | 0.7645% | 2328.6156 | 3.116% | 609.3568 | 0.8153% | 2574.3662 | 3.444% | 613.8637 | 0.8213% | 2650.5757 | 3.546% | 613.8637 | 0.8213% | 2650.5757 | 3.546%
2004 | 10 | 65620 | 75712.3405 | 962.4116 | 1.271% | 5326.0354 | 7.035% | 651.9569 | 0.8611% | 3228.3517 | 4.264% | 600.5507 | 0.7932% | 2929.1662 | 3.869% | 635.2836 | 0.8391% | 3209.6499 | 4.239% | 637.3768 | 0.8418% | 3287.9526 | 4.343% | 637.3768 | 0.8418% | 3287.9526 | 4.343%
2005 | 11 | 66300 | 76696.6009 | 1041.1892 | 1.358% | 6367.2246 | 8.302% | 689.5854 | 0.8991% | 3917.937 | 5.108% | 633.3565 | 0.8258% | 3562.5227 | 4.645% | 672.7819 | 0.8772% | 3882.4317 | 5.062% | 674.8934 | 0.88% | 3962.846 | 5.167% | 674.8934 | 0.88% | 3962.846 | 5.167%
2006 | 12 | 66940 | 77693.6567 | 1098.429 | 1.414% | 7465.6536 | 9.609% | 736.5435 | 0.948% | 4654.4805 | 5.991% | 679.9251 | 0.8751% | 4242.4478 | 5.46% | 723.4544 | 0.9312% | 4605.8861 | 5.928% | 729.3913 | 0.9388% | 4692.2373 | 6.039% | 729.3913 | 0.9388% | 4692.2373 | 6.039%
2007 | 13 | 67580 | 78703.6743 | 1206.9139 | 1.533% | 8672.5674 | 11.02% | 800.3218 | 1.017% | 5454.8024 | 6.931% | 736.9609 | 0.9364% | 4979.4087 | 6.327% | 783.2496 | 0.9952% | 5389.1357 | 6.847% | 789.9706 | 1.004% | 5482.2079 | 6.966% | 789.9706 | 1.004% | 5482.2079 | 6.966%
2008 | 14 | 68220 | 79726.8221 | 1323.9636 | 1.661% | 9996.531 | 12.54% | 855.5495 | 1.073% | 6310.3519 | 7.915% | 782.2373 | 0.9811% | 5761.646 | 7.227% | 839.0426 | 1.052% | 6228.1783 | 7.812% | 848.6372 | 1.064% | 6330.8451 | 7.941% | 848.6372 | 1.064% | 6330.8451 | 7.941%
2009 | 15 | 68860 | 80763.2707 | 1433.3948 | 1.775% | 11429.9258 | 14.15% | 926.6491 | 1.147% | 7237.0009 | 8.961% | 846.8765 | 1.049% | 6608.5225 | 8.183% | 907.0839 | 1.123% | 7135.2622 | 8.835% | 916.3005 | 1.135% | 7247.1456 | 8.973% | 916.3005 | 1.135% | 7247.1456 | 8.973%
2010 | 16 | 69500 | 81813.1933 | 1476.4491 | 1.805% | 12906.3749 | 15.78% | 969.663 | 1.185% | 8206.6639 | 10.03% | 886.3477 | 1.083% | 7494.8702 | 9.161% | 945.2377 | 1.155% | 8080.4999 | 9.877% | 952.5509 | 1.164% | 8199.6965 | 10.02% | 952.5509 | 1.164% | 8199.6965 | 10.02%
2011 | 17 | 70000 | 82876.7648 | 1501.5994 | 1.812% | 14407.9743 | 17.38% | 1008.1721 | 1.216% | 9214.836 | 11.12% | 925.6529 | 1.117% | 8420.5231 | 10.16% | 982.7785 | 1.186% | 9063.2783 | 10.94% | 985.7592 | 1.189% | 9185.4556 | 11.08% | 985.7592 | 1.189% | 9185.4556 | 11.08%
2012 | 18 | 70500 | 83954.1627 | 1556.9909 | 1.855% | 15964.9651 | 19.02% | 1051.5002 | 1.252% | 10266.3361 | 12.23% | 968.9424 | 1.154% | 9389.4656 | 11.18% | 1022.879 | 1.218% | 10086.1573 | 12.01% | 1024.6476 | 1.22% | 10210.1033 | 12.16% | 1024.6476 | 1.22% | 10210.1033 | 12.16%
2013 | 19 | 71000 | 85045.5668 | 1549.4008 | 1.822% | 17514.3659 | 20.59% | 1056.9597 | 1.243% | 11323.2959 | 13.31% | 973.5063 | 1.145% | 10362.9719 | 12.19% | 1028.9124 | 1.21% | 11115.0697 | 13.07% | 1032.3879 | 1.214% | 11242.4912 | 13.22% | 1032.3879 | 1.214% | 11242.4912 | 13.22%
2014 | 20 | 71500 | 86151.1592 | 1544.4025 | 1.793% | 19058.7684 | 22.12% | 1063.7203 | 1.235% | 12387.0162 | 14.38% | 981.5154 | 1.139% | 11344.4873 | 13.17% | 1032.1392 | 1.198% | 12147.2088 | 14.1% | 1032.6826 | 1.199% | 12275.1738 | 14.25% | 1032.6826 | 1.199% | 12275.1738 | 14.25%
2015 | 21 | 72000 | 87271.1243 | 1584.442 | 1.816% | 20643.2104 | 23.65% | 1064.4758 | 1.22% | 13451.492 | 15.41% | 976.5572 | 1.119% | 12321.0445 | 14.12% | 1031.7318 | 1.182% | 13178.9407 | 15.1% | 1031.3081 | 1.182% | 13306.4819 | 15.25% | 1031.3081 | 1.182% | 13306.4819 | 15.25%
2016 | 22 | 72180 | 88405.6489 | 1525.1232 | 1.725% | 22168.3337 | 25.08% | 1054.3947 | 1.193% | 14505.8868 | 16.41% | 973.0619 | 1.101% | 13294.1064 | 15.04% | 1025.0161 | 1.159% | 14203.9568 | 16.07% | 1025.6261 | 1.16% | 14332.108 | 16.21% | 1025.6261 | 1.16% | 14332.108 | 16.21%
2017 | 23 | 72360 | 89554.9223 | 1469.0574 | 1.64% | 23637.3911 | 26.39% | 1033.9624 | 1.155% | 15539.8492 | 17.35% | 956.0505 | 1.068% | 14250.1569 | 15.91% | 997.312 | 1.114% | 15201.2688 | 16.97% | 993.1152 | 1.109% | 15325.2233 | 17.11% | 993.1152 | 1.109% | 15325.2233 | 17.11%
2018 | 24 | 72540 | 90719.1363 | 1375.2793 | 1.516% | 25012.6704 | 27.57% | 966.5009 | 1.065% | 16506.3501 | 18.2% | 890.8921 | 0.982% | 15141.049 | 16.69% | 931.4217 | 1.027% | 16132.6905 | 17.78% | 926.0885 | 1.021% | 16251.3118 | 17.91% | 926.0885 | 1.021% | 16251.3118 | 17.91%
2019 | 25 | 72720 | 91898.4851 | 1282.1889 | 1.395% | 26294.8593 | 28.61% | 915.5336 | 0.9962% | 17421.8837 | 18.96% | 847.6027 | 0.9223% | 15988.6517 | 17.4% | 881.3285 | 0.959% | 17014.019 | 18.51% | 872.7739 | 0.9497% | 17124.0856 | 18.63% | 872.7739 | 0.9497% | 17124.0856 | 18.63%
2020 | 26 | 72900 | 93093.1654 | 1193.8852 | 1.282% | 27488.7444 | 29.53% | 865.5573 | 0.9298% | 18287.441 | 19.64% | 804.8374 | 0.8646% | 16793.4891 | 18.04% | 834.6363 | 0.8966% | 17848.6553 | 19.17% | 826.2326 | 0.8875% | 17950.3182 | 19.28% | 826.2326 | 0.8875% | 17950.3182 | 19.28%
Equipment and Service Sales by stage ($/sf): |  |  | Lights | Cooling | Heating | Ventilation | Other | WH
Stage I | 0.8 |  | 0.81633 | 0.065306 | -0.081633 | 0 | 0 | 0 | 0.8
Stage II | 0.1 |  | 0 | 0.023611 | 0.041667 | 0.020833 | 0.013889 | 0.0030864 | 0.1
Stage III | 0.25 |  | 0 | 0.026316 | 0.032895 | 0.026316 | 0.16447 | 0.03655 | 0.25
Stage IV | 0.3 |  | 0 | 0.028235 | 0 | 0.27176 | 0 | 0 | 0.3
Stage V | 1 |  | 0 | 0.34524 | 0.41667 | 0 | 0.2381 | 0.05291 | 1
TOTAL | 2.45 |  | 0.81633 | 0.48871 | 0.4096 | 0.31891 | 0.41646 | 0.092546 | 2.45
| Lights | Cooling | Heating | Ventilation | Other
Lights | 100% | 8% | -10% | 0% | 0% | 98% |  |  | WH energy savings |  | MMBtu/sq ft
Tune Up | 0% | 17% | 30% | 15% | 10% | 72%
Loads | 0% | 8% | 10% | 8% | 50% | 76%
Fans | 0% | 8% | 0% | 77% | 0% | 85%
Plant | 0% | 58% | 70% | 0% | 40% | 168%
Map energy savings into 5-Stages | [5 empty] | Total | Total
Improvement by Stage | Stage 1 | Stage 2 | Stage 3 | Stage 4 | Stage 5 | per end-use | per building
Space Heating | -5% | 15% | 5% |  | 35% | 44.89% | 15.64%
Lighting | 55% |  |  |  |  | 55% | 9.719%
Cooling | 5% | 10% | 5% | 5% | 35% | 49.84% | 2.609%
Ventilation |  | 10% | 5% | 50% |  | 57.25% | 2.749%
Other |  | 1.151% | 5.798% | 0% | 4.603% | 11.17% | 4.183%
Other | [5 empty] | 0% | 0%
Water Heating |  | 5% | 10% |  | 20% | 31.6% | 7.273%
Office Equipment |  |  | 20% |  |  | 20% | 3.496%
Cooking | [5 empty] | 0% | 0%
Refrigeration | [5 empty] | 0% | 0%
Total | [6 empty] | 34.9%
| Stage 1 | Stage 2 | Stage 3 | Stage 4 | Stage 5 |  |  | normalizing use only
Space Heating | -10% | 30% | 10% | 0% | 70% | 100% |  | 111.4%
Lighting | 100% | 0% | 0% | 0% | 0% | 100% |  | 100%
Cooling | 8.333% | 16.67% | 8.333% | 8.333% | 58.33% | 100% |  | 120.4%
Ventilation | 0% | 15.38% | 7.692% | 76.92% | 0% | 100% |  | 113.5%
Other | 0% | 9.962% | 50.19% | 0% | 39.85% | 100% |  | 103.4%
Other | 0% | 0% | 0% | 0% | 0%
Water Heating | 0% | 14.29% | 28.57% | 0% | 57.14% | 100% |  | 110.8%
Office Equipment | 0% | 0% | 100% | 0% | 0% | 100% |  | 100%
Cooking | 0% | 0% | 0% | 0% | 0% |  |  | 100%
Refrigeration | 0% | 0% | 0% | 0% | 0% |  |  | 100%
Total | 0% | 0% | 0% | 0% | 0% |  |  | 100%
|  |  |  | 22.22% | Fraction of Other
that is WH
Percent end-use savings from each stage
Improvement by Stage | Stage 1 | Stage 2 | Stage 3 | Stage 4 | Stage 5 | total | normalizing use only
Space Heating | -10% | 30% | 10% | 0% | 70% | 100% | 111.4%
Lighting | 100% | 0% | 0% | 0% | 0% | 100% | 100%
Cooling | 8.333% | 16.67% | 8.333% | 8.333% | 58.33% | 100% | 120.4%
Ventilation | 0% | 15.38% | 7.692% | 76.92% | 0% | 100% | 113.5%
Other | 0% | 9.962% | 50.19% | 0% | 39.85% | 100% | 103.4%