PHMSA Briefing Paper 							 July 30, 2026

Notice of Proposed Rulemaking (NPRM): Pipeline Safety:  Use of Polyamide-11 (PA-11) Plastic Pipe in Gas Pipelines

Advisory Committee Action:  Vote

Project Contact:  Richard Sanders

Summary:

- PHMSA issued an NPRM (73 FR 1307) proposing to revise the Federal pipeline safety regulations to allow certain thermoplastic pipelines made from new PA-11 pipe to be designed using a higher design factor and to raise the design pressure limit for the same pipelines.

- Throughout 2007, PHMSA met with utility representatives and pipeline construction companies’ senior project engineers to monitor manufacturing processes;  review waiver requests; and discuss directional boring techniques, equipment and types of strain gauges to review extensive laboratory and field data on the PA-11 material.

- In April 2006, ASTM approved a new “Standard Specification for Electrofusion Type Polyamide-11 Fittings for Outside Diameter Controlled Polyamide-11 Pipe and Tubing,” which is the design standard and quality rule for PA-11 electrofusion fittings.

- In the June 22, 2005, Federal Register (70 FR 36093), an Advanced Notice or Proposed Rulemaking was published to seek comments on the Arkema petitions of October 2004.  The Arkema petitions requested an increase in the design factor from 0.32 to 0.40 in the plastic pipe design formula in §192.121 for new PA-11 plastic pipes, and an increase in the design pressure limits in §192.123 from 100 psig to 200 psig for 2-inch IPS, PA-11 plastic pipe.  The comment period closed mid-August 2005 (9 positive comments, 0 negative comments).

What PHMSA Proposes:

- Allow new 4-inch IPS or less, SDR-11, PA-11 pipelines to be designed using a design factor of 0.40 (instead of 0.32) in the plastic pipe design formulas in §192.121.

- Increase the design pressure limit in §192.123 from 100 psig to 200 psig for new 4-inch IPS or less, SDR-11, PA-11 plastic pipe used in pipeline systems.  Service line piping may have larger SDRs.

| From ASTM D 2513 |  |  |  |
| --- | --- | --- | --- |
| CTS | OD | Min Wall | SDR |
| 1/2 | 0.625 | 0.090 | 6.9 |
| 1/2 | 0.625 | 0.104 | 6.0 |
| 3/4 | 0.875 | 0.090 | 9.7 |
| 1 | 1.125 | 0.121 | 9.3 |

| ASTM D2513 - Table 3 Wall Thicknesses and Tolerances for Plastic Pipe, in (mm) |  |  |
| --- | --- | --- |
| Nominal Pipe Size (IPS) | DRC | Minimum |
| ½ | 9.33 | 0.090 (2.29) |
| ¾ | 11.0 Sch 40 | 0.095 (2.41) 0.113 (2.87) |
| 1 | 11.0 9.9 9.33 | 0.120 (3.05) 0.133(3.38) 0.140 (3.56) |
| 1 ¼ | 11.0 10.0 9.33 6.0 | 0.151 (3.84) 0.166 (4.22) 0.178 (4.52) 0.277 (7.04) |
| 1 ½ | 11 | 0.173 (4.39) |
| 2 | 11 9.33 | 0.216 (5.49) 0.255 (6.48) |
| 4 | 11.0 9.33 | 0.409 (10.39) 0.482 (12.24) |

- Locating requirement will remain the same as stated in regulations based on comments received concerning PA-11 NPRM.

- The SDR-11 wall thickness is the thinnest wall thickness allowed.