4910.1

APPENDIX E

ACCEPTED ENGINEERING PRACTICE STANDARDS

Design and construction completed in accordance with the applicable

standards, guides and recommendations contained in this Appendix

shall be considered to satisfy the requirements of the MPS, unless

stated otherwise.  The list of approved incorporations by reference

is Published in the * Code of Federal Regulations at 24 CFR Part

200 Appendix A.

100-1     DISABLED PERSONS

Uniform Federal Accessibility Standards (UFAS)

------------------GSA, DOD, HUD, AND USPS 24 CFR Part 40

600       GENERAL

Intermediate Minimum Property Standards

Supplement - Solar Heating and Domestic

Hot Water Systems------------- HUD Handbook, 4930.2-1989

602       SITE

Thickness Design - Full Depth Asphalt Pavement

Structures for Highways and Streets - Asphalt

Institute------------------------------------- MS-1-1981

Installing Vitrified Clay

Sewer Pipe------------------------------- ASTM C 12-91

Test for Moisture - Density

Relation of Soil----------------------- ASTM D 1557-91

Installing Bituminized Fiber

Drain & Sewer Pipe--------------------  ASTM D 2316-84

Floodplain Management-------------------------- EO 11988

Protection of Wetlands------------------------- EO 11990

603       CONCRETE

Recommended Practice for Selecting Proportions for

Concrete--------------------------------- ACI 211.1-89

Recommended Practice for Selecting

Proportions for Structural Lightweight

Concrete--------------------------------- ACI 211.2-91

Guide for Structural Lightweight

Concrete---------------------------------- ACI 213R-87

E-1

1994

_____________________________________________________________________

4910.1

CONCRETE - Continued

Recommended Practice for Evaluation of

Compression Test Results of

Field Concrete----------------------------- ACI 214-83

Specifications for Structural Concrete for

Buildings---------------------------------- ACI 301-89

Specifications for Concrete Aggregates------ ASTM C33-90

Design and Construction of Post-tensioned

Slabs-on-Ground------------------------------ PTI-1980

Criteria for Selection and Design of

Residential Slabs-on-Ground, Report #33,

Publications 1571---------------------------- NAS-1968

Guide for Concrete Floor

and Slab Construction--------------------ACI-302.1R-80

Guide to Joint Sealants

for Concrete Structures------------------- ACI 504R-77

Guide for Concrete

Inspection------------------------------ ACI 311.4R-88

Details and Detailing

of Concrete

Reinforcement------------------------------ ACI 315-80

Building Code Requirements

for Reinforced

Concrete----------------------------------- ACI 318-92

Structural Plain Concrete-------------------- ACI 322-72

Recommended Practice for

Concrete Formwork------------------------- ACI 347R-88

Recommended Practice for

Shotcreting-------------------- ACI 506-66 (Rev. 1990)

A Guide to the Use of Waterproofing,

Dampproofing, Protective and

Decorative Barrier Systems

for concrete---------------------------- ACI 515.1R-85

Fabrication, Handling and

Erection of Precast

Concrete Wall Panels-------------------- ACI 533.3R-70

Quality Standards and

Tests for Precast

Concrete Wall Panels-------------------- ACI 533.1R-69

Selection and Use of

Materials for Precast

Concrete Wall Panels-------------------- ACI 533.2R-69

Hot Weather Concreting---------------------- ACI 305R-89

Cold Weather Concreting--------------------- ACI 306R-88

Recommended Practice

for Measuring, Mixing,

Transporting and Placing

Concrete------------------------ ACI 304R-73 (Rev. 89)

E-2

1994

_____________________________________________________________________

4910.1

Manual for Quality Control

for Plants and Production

of Precast Prestressed

Concrete Products---------------------- PCI MNL-116-85

Manual of Quality Control

for Plants and Production

Architectural Precast

Concrete Products---------------------- PCI MNL-117-77

Code for Welding in Building

Construction------------------------- ANSI/AWS D1.1-90

Recommended Practices for

Welding Reinforcing

Steel, Metal Inserts and

Connection in Reinforced

Concrete Construction--------------------- AWS D1.4-79

Manual for Structural

Design of Architectural

Precast Concrete----------------------- PCI MNL-121-77

606       WOOD AND PLASTICS

Wood Decay in Houses - How to Prevent

and Control It------------------- USDA Home and Garden

Bulletin No. 73-1986

Wood Frame House Handbook-------------- USDA Agriculture

Handbook No. 73-1989

Subterranean Termites Their

Prevention and Control in

Buildings-------------------------  USDA Home and Garden

Bulletin No. 64-1989

Wood Construction----------------------- National Design

Specification 1991

Edition including

amendments

Standard for Plastic

Toilets Seats

(Water Closet Seats)------------------ ANSI Z 124.5-1989

607       THERMAL AND MOISTURE PROTECTION

Model Energy Code--------------------- CABO 1992 Edition

Insulation Manual, Homes-Apartments-------- NAHB-RF-1979

Handbook of Applications-------------------- ASHRAE-1987

Handbook of Equipment----------------------- ASHRAE-1988

Handbook of Systems------------------------- ASHRAE-1980

Handbook of Fundamentals-------------------- ASHRAE-1989

Cooling and Heating Load Calculations

Manual---------------------------- ASHRAE GRP 158-1979

Window and Sliding Glass

E-3

1994

_____________________________________________________________________

4910.1

THERMAL AND MOISTURE PROTECTION - Continued

Doors - Air Infiltration--------------------- Appendix D

Sections 508A and B

HUD MPS 4910.1

608       GLAZING

Glazing Sealing Systems

Manual-------------------------------------- FGMA 1990

Glazing Manual-------------------------------- FGMA 1986

609       FINISH MATERIALS

Hardwood Flooring Installation

Manual--------------------------------- (NOFMA) - 1986

Hardwood Flooring Finishing/Refinishing

Manual--------------------------------- (NOFMA) - 1986

Recommended Installation

Specification for Solid Vinyl

and Asphalt Tile Flooring----------------- RFCI - 1987

The Roofing and

Waterproofing Manual---------------------- NRCA - 1989

Residential Asphalt

Roofing Manual---------------------------- ARMA - 1988

Specifications for Installation

of Residential Aluminum Siding--------- AAMA 1402-1989

Specifications for Aluminum Sheet

Metal Work in Building

Construction----------------------------- AA-ASM-35-80

Application of Interior Gypsum

Plaster--------------------------------- ASTM C 842-90

Handbook for Ceramic Tile

Installation--------------------------------- TCA-1993

Installation of Steel Framing Members

to Receive Screw Attached Gypsum

Wallboard, Backing Board, or Water

Resistant Backboard--------------------- ASTM C 754-88

Installation of Interior

Lathing and Furring--------------------- ASTM C 841-90

Application of Gypsum Veneer

Plaster--------------------------------- ASTM C 843-92

Application of Gypsum Base to

Receive Gypsum

Veneer Plaster-------------------------- ASTM C 844-85

Ceramic Tile Installation--------------- ANSI A108.1A-92

Application of Portland

Cement Based Plaster-------------------- ASTM C 926-90

Specifiers Guide for Contract

Carpet Installation------------------------ CRI - 1984

E-4

1994

_____________________________________________________________________

4910.1

611       EQUIPMENT

611-1     KITCHEN CABINETS

Recommended Minimum Construction

and Performance Standards for

Kitchen and Vanity

Cabinets------------------------------ ANSI A 161.1-86

Certified Construction

Standards and

Specifications------------------------------- SCACM-73

611-2     KITCHEN EQUIPMENT

National Fuel Gas Code--------- NFPA 54-92 (ANSI Z223.1)

Electrical Appliance and

Utilization Equipment

Directory------------------------------------- UL-1992

615       MECHANICAL

615-7     SPECIAL PIPING SYSTEMS

Standards------------------------------------ NFPA 54-92

Standard for the Storage

and Handling of Liquified

Petroleum Gases------------- ANSI Z 223.1/NFPA 58-1992

615-8     WATER SUPPLY

Drinking Water Standards

National Interim Primary

Drinking Water Regulations--------------- EPA 40 CFR 141

Manual of Individual Water

Supply Systems------------------------- EPA 570/9-82-004

615-9     SEWAGE DISPOSAL SYSTEMS

HUD Handbook 4940.3-Rev.1-92

Installing Vitrified

Clay Pipe Sewers------------------------- ASTM C 12-91

Underground Installation

of Flexible Thermoplastic

Sewer Pipe----------------------------- ASTM D 2321-89

E-5

1994