Bangor Hydro-Electric Company

Northeast Reliability Interconnect Project

Erosion and Sedimentation Control Plan

Prepared for:

Bangor Hydro-Electric Company

P.O. Box 932

Bangor, Maine  04402-0932

Prepared by:

TRC Environmental Corporation

400 Southborough Drive

South Portland, Maine  04106

May 2005

1.0	INTRODUCTION	1-1

2.0	PLANNING AND DESIGN CONSIDERATIONS	2-1

2.1	Resource Identification	2-1

2.2	“Walk-Through” Mechanics	2-3

2.2.1	Use of Flagging and Signs	2-3

2.2.2	Identification and Use of Existing Roads	2-4

3.0	GENERAL CONSTRUCTION SEQUENCE	3-1

3.1	Transmission Line	3-1

3.2	Orrington Substation	3-4

3.3	Erosion and Sedimentation Control Implementation Schedule	3-4

3.3.1	Transmission Line	3-5

3.3.2	Orrington Substation	3-6

4.0	STANDARDS FOR CONSTRUCTION	4-1

4.1	Travel Lanes, Lay Down and Yarding Areas	4-1

4.2	Stream or Wetland Crossings	4-3

4.2.1	Types of Crossings Used	4-3

4.2.2	Construction in Wetlands	4-4

4.3	Construction in Buffer Areas	4-4

4.3.1	Standard Waterbody Buffers	4-4

4.3.2	Salmon Stream Buffers	4-5

5.0	INSTALLATION OF CROSSINGS	5-1

5.1	Bridges	5-1

5.1.1	Materials	5-1

5.1.2	Sizing	5-1

5.1.3	Positioning	5-1

5.1.4	Maintenance	5-2

5.1.5	Removal	5-2

5.2	Culverts	5-2

5.2.1	Materials	5-3

5.2.2	Sizing	5-3

5.2.3	Positioning	5-3

5.2.4	Installation	5-3

5.2.5	Removal	5-5

5.3	Mats (Timber or Construction Mats)	5-5

5.3.1	Materials	5-5

5.3.2	Installation	5-6

5.3.3	Maintenance	5-7

5.3.4	Removal	5-7

5.4	Corduroy	5-7

5.4.1	Materials	5-7

5.4.2	Positioning	5-7

5.4.3	Installation	5-8

5.4.4	Maintenance	5-8

5.4.5	Removal	5-8

6.0	SURFACE WATER DIVERSION STRUCTURES (WATER BARS)	6-1

6.1	Materials	6-1

6.2	Positioning	6-1

6.2.1	Installation	6-2

6.2.2	Maintenance	6-2

6.2.3	Removal	6-3

7.0	SEDIMENT BARRIERS (STRUCTURAL MEASURES)	7-1

7.1	Introduction	7-1

7.2	Use of Silt Fence	7-2

7.2.1	Materials	7-2

7.2.2	Placement	7-2

7.2.3	Installation	7-3

7.2.4	Maintenance	7-4

7.2.5	Removal	7-5

7.3	Use of Hay Bales	7-5

7.3.1	Placement	7-5

7.3.2	Installation	7-6

7.3.3	Maintenance	7-7

7.3.4	Removal	7-8

7.4	Use of Erosion Control Mix Berms and Continuous Contained Berms	7-8

7.4.1	Installation	7-9

7.4.2	Maintenance	7-9

8.0	NONSTRUCTURAL EROSION CONTROL MEASURES	8-1

8.1	Nonstructural Measures Defined	8-1

8.2	Importance of Nonstructural Measures	8-1

8.3	Placement of Nonstructural Measures	8-2

8.3.1	Temporary Measures	8-2

8.3.2	Permanent Measures	8-4

9.0	WINTER CONSTRUCTION CONSIDERATIONS	9-1

10.0	SITE RESTORATION STANDARDS	10-1

10.1	General Procedures	10-1

10.2	Methods of Restoration	10-1

10.3	Timing of Restoration	10-3

11.0	SUPERVISION AND INSPECTION	11-1

11.1	Contractor Environmental Officer	11-1

11.2	BHE Environmental Inspectors	11-1

11.3	DEP Third Party Inspectors	11-3

12.0	ENVIRONMENTAL TRAINING FOR CONTRACTORS	12-1

TABLES

1.  Recommended Widths For Filter Strips Between Disturbed Areas And Water Resources	4-1

2.  Log Bridge Stringer Requirements	5-1

3.  Culvert Size - Length of Rock Protection	5-5

4.  Recommended Distances Between Water Diversion Structures	6-1

5.  Temporary Nonstructural Erosion Control Measure Summary	8-3

6.  Seasonal Differences in Construction BMP Requirements	9-3

7.  permanent Seeding Specifications	10-2

APPENDICES

APPENDIX A:	Definition of Terms

APPENDIX B:	project contact list

APPENDIX C:	Construction Technique Illustrations

APPENDIX D:	orrington substation site-specific drawings

APPENDIX E:	contractor’s weekly inspection form

APPENDIX F:	final third party inspection program

APPENDIX G:	Maine Erosion and Sedimentation Control Law

APPENDIX H:	Maine Slash Law

APPENDIX I:		Other Recommended Reference Manuals

APPENDIX J:		Construction Materials Source List

FIGURES IN APPENDIX C

figure 1:	typical row vegetation clearing/maintenance

figure 2:	salmon stream row vegetation clearing/maintenance PRIOR TO PERIODIC MAINTENANCE

figure 3:	salmon stream row vegetation clearing/maintenance FOLLOWING PERIODIC MAINTENANCE

figure 4:	log/timber mat bridge

figure 5:	Timber mats – waterbody crossing

figure 6:	stream bank stabilization using erosion control blankets

figure 7:	culvert inlet outlet protection

figure 8:	culvert crossing

figure 9:	timber mat road

figure 10:	TIMBER mats – wetland crossing

figure 11:	corduroy crossing

figure 12:	Typical water bar

figure 13:	water bars

figure 14:	typical swale stabilization methods

figure 15:	typical silt fence erosion control barrier

figure 16:	silt fence sediment barrier – proper installation

figure 17:	silt fence sediment barrier

figure 18:	typical silt fence/hay bale erosion control barrier

figure 19:	typical hay bale erosion control barrier

figure 20:	hay bale sediment barrier – proper installation

figure 21:	hay bale sediment barrier

figure 22:	typical hay bale check dam

figure 23:	erosion control mix berm detail

figure 24:	mulch anchoring detail using netting

figure 25:	slope stabilization using erosion control blankets

# INTRODUCTION

Bangor Hydro-Electric Company (BHE) has prepared this Northeast Reliability Interconnect Project Erosion and Sedimentation Control Plan (NRI E&S Plan) to be a stand-alone document containing all erosion and sedimentation control requirements related to the Northeast Reliability Interconnect (NRI) project.  The NRI E&S Plan contains standards and methods used to protect soil and water resources during construction of the transmission line and the Orrington Substation modifications.  The NRI E&S Plan is based on the Maine Department of Environmental Protection’s Maine Erosion and Sediment Control BMPs, dated March 2003, (BMPs) and the practical application of the BMPs adapted by BHE for construction in utility corridors.

The goal of this document is to supply BHE contractors, environmental inspectors and agency inspectors with a single, cohesive set of erosion control specifications for the NRI project.  The document is designed to provide specifications for the installation and implementation of soil erosion and sedimentation control measures while allowing adequate flexibility to allow application of the most appropriate measures based on site-specific conditions.  All bid packages and contracts for work performed on the NRI project will include these specific guidelines to ensure the project is constructed in an environmentally sensitive manner.  BHE personnel or their designated representatives will ensure that the procedures contained in the NRI E&S Plan are followed by regularly inspecting all work and requiring corrective steps to be taken where necessary.

The primary goals of any erosion and sedimentation control plan are to minimize soil movement, preserve the integrity of environmentally sensitive areas and to maintain existing water quality.  Implementation of the following objectives is required to achieve those goals:

- Minimize the extent and duration of disturbance;

- Protect exposed soil by diverting runoff to stabilized areas;

- Install temporary and permanent erosion control measures; and

- Establish an effective inspection and maintenance program.

The remainder of the NRI E&S Plan is organized as follows:

- Section 2.0 describes the planning and design considerations that are utilized to minimize the potential for erosion and sedimentation of protected natural resources during construction of the project;

- Section 3.0 provides the general construction sequence for the project, including the implementation of erosion and sedimentation control measures;

- Section 4.0 describes the typical construction techniques used to minimize the potential for erosion and sedimentation;

- Section 5.0 provides the specific types of wetland and waterbody crossing methods to be used during construction;

- Section 6.0 describes the specific water diversion structures to be used, primarily water bars;

- Section 7.0 includes detailed descriptions of the types and proper installation of structural methods for erosion and sedimentation control;

- Section 8.0 provides detailed descriptions and proper application of nonstructural measures;

- Section 9.0 describes the modified techniques and application of control measures to be used during winter time construction (November 1 through April 15);

- Section 10.0 summarizes the restoration procedures for the transmission line right-of-way (ROW) and Orrington Substation;

- Section 11.0 provides the details of the multiple levels of supervision and inspection for compliance with environmental requirements that will be implemented during construction; and

- Section 12.0 describes the environmental training program for construction contractors and subcontractors.

In addition, this document includes several appendices that contain definitions of a number of scientific and technical terms, a list of project personnel to be contacted should questions arise, illustrations which demonstrate both proper and improper application of erosion and sedimentation control techniques, site-specific erosion and sedimentation control drawings for the Orrington Substation modifications, and other generic and specific references to ensure the proper and adequate implementation of erosion and sedimentation control methods during construction activities.

# PLANNING AND DESIGN CONSIDERATIONS

## Resource Identification

Sensitive natural areas which will receive priority treatment include:

- Streams and rivers;

- Great ponds;

- Wetlands;

- Steep slopes; and

- Unstable soil conditions.

Sensitive natural areas which may receive priority treatment, depending upon the specific construction activities and timing of the project, include:

- Waterbody and wetland buffers;

- Significant wildlife habitat;

- Habitat for rare species; and

- Historic and prehistoric sites.

During the project planning phase, all sensitive natural areas that require priority treatment will be identified.  The method of avoiding or crossing the sensitive natural areas to minimize impacts will be identified and incorporated into the construction-issued project plans and permitting documents, if necessary.  Construction-issued project plans are designed and drawn to provide contractors and inspectors with a comprehensive reference guide that includes, but is not limited to, locations of sensitive natural areas, access, and abutter and landowner issues.  If modifications to the plans need to be made in the field, the BHE NRI project environmental manager will make necessary changes and will notify all necessary personnel promptly.  The name and contact information for the BHE NRI project environmental manager is included on the Project Contact List in Appendix B.

Copies of the construction plans are provided and explained to equipment operators to ensure that construction practices meet the intent of avoiding or minimizing impacts to the identified sensitive natural areas.  In addition to the plans, the proposed access ways and water/wetland crossing locations, as well as other environmentally sensitive areas where activities will be restricted or prohibited, will be flagged and/or will have signs posted.

Prior to any clearing or construction work in or near any sensitive natural areas, a “walk-through” will be conducted.  Typically, “near” a sensitive area is defined as within 100 feet of the closest edge of the resource, although this distance could be longer where steep slopes or erosive soils are present.  Attendees at the walk-through will include: 1) the contractor, 2) BHE and/or any designated representative, and may include 3) any assigned Third Party Inspector (3PI) and/or other agency representatives (e.g., Maine Department of Environmental Protection (DEP) project manager, Atlantic Salmon Commission representative, U. S. Fish and Wildlife Service (USFWS) representative, etc.).  The purpose of the walk-through is to achieve the following objectives:

- Identify available or alternate points of access to the project site;

- Identify sensitive natural areas within or adjacent to the transmission line ROW, the Orrington Substation and project access areas;

- Determine appropriate operating methods to be used to protect sensitive areas;

- Identify future “No-Access” areas and buffers;

- Review color designation for all flagging used;

- Establish the Communication Chain of Command (Contact Point);

- Identify and flag access/construction roads; and

- Establish equipment crossing and operating methods (mats, timber corduroy, frozen ground, tracked equipment) when crossing water resource areas.

In order to minimize impacts to sensitive natural areas, the above objectives will continually be evaluated throughout the construction process.  Project superintendents, foremen, and inspectors will also monitor weather conditions and reports on an on-going basis.  Knowledge of changing or anticipated wet weather will allow time to address erosion control needs.  In this way, BHE and its contractors will be prepared to respond to changing environmental conditions (e.g., unusually wet or dry weather) and other unknowns that are inherent in the construction of the transmission line and substation.

## “Walk-Through” Mechanics

### Use of Flagging and Signs

Flagging will be conducted at the time of the walk-through in order to visually identify select features or construction methods to be used.  All wetlands crossed by the project were flagged earlier as part of project permitting.  Signs will also be installed following the walk-through to direct construction to approved access routes and away from “no access” areas.  The BHE flagging color-code is as follows:

- Glow-pink with the printed words “Wetland Delineation”, “Wetland Boundary” or “Wetlands”.  This flagging denotes the edge of wetlands.

- Red with or without the printed words – “Do Not Cross”.  This flagging denotes a No- Access area where no equipment is allowed.

- Yellow – no printed words.  This flagging denotes the location of an environmental measure such as a water bar, hay bale barrier, or silt fence.

- Blue – no printed words.  This flagging denotes approved travel ways.  This is typically flagged on each side of the access-way to denote the designated travel lane for all access.

- Glow-pink with black stripes or otherwise printed with the words Waterbody Buffer or Salmon Stream Buffer.  This denotes a setback from a water resource and will be treated the same as No-Access area.  It also designates the area where special clearing and vegetation maintenance requirements apply at designated waterbodies and salmon streams (see Section 4.4.2).

### Identification and Use of Existing Roads

BHE will utilize existing public roads, abandoned town roads, the Stud Mill Road and other smaller logging roads to access the ROW.  These roads will provide an opportunity to travel back and forth to the ROW for clearing and construction activities without building any new access roads for construction.  Use of logging roads is required where other road crossings (paved or gravel state and local roads) do not exist.  These access roads were selected to avoid natural resource impacts to the greatest extent practicable.  Improvements to these access roads will be limited to trimming overhanging or adjacent vegetation, replacing existing damaged or malfunctioning culverts, and installing temporary timber mat or corduroy roads and bridges over wetlands and streams as needed to allow safe, reliable passage of the equipment that will utilize the road and to avoid adverse impacts to natural resources.  In a limited number of areas, additional gravel may be added to the road surface to improve the stability of the surface for passage of construction equipment in order to prevent rutting and the potential for off-road sedimentation.  Any new gravel and grading will be limited to that necessary to maintain a safe, reliable surface, will not result in any new impervious surface, and will not be placed in protected resources such as wetlands.  The location of all temporary access roads approved for use during construction are shown on the Temporary Access Road Maps, utilizing U. S. Geological Survey (USGS) mapping as the base map.  Temporary construction access points along the ROW are also shown on the project Plan and Profile drawings.

The movement of equipment and materials within the transmission line ROW will be confined as much as possible to a single road or travel path.  Construction equipment will utilize the off-ROW access roads to the maximum extent practicable to cross or bypass wetlands and waterbodies.  The location of wetland and waterbody crossings needed within the ROW will be kept to the minimum number and length, as determined during the walk-through.  Wetland and waterbody crossings will be located to minimize the span of a wetland or stream crossing and avoid the more environmentally sensitive or “wetter” portions of a wetland or stream crossing.

In all cases, BHE and its contractors will avoid and minimize impacts to sensitive natural areas to the greatest extent feasible.  As a result of this planning and walk-through process, wetland and stream crossings, steep slopes, unstable soils, and other sensitive natural areas will be avoided and adverse impacts minimized whenever practicable.

# GENERAL CONSTRUCTION SEQUENCE

## Transmission Line

Construction of the proposed 345 kV line will consist of two main stages.  The first stage is the clearing of vegetation followed by the actual line construction stage.  An on-site project manager will dictate the day to day activities during both stages.  The project manager’s responsibilities include ensuring compliance with all applicable environmental standards and conditions of agency permits.

The construction plan calls for clearing overstory vegetation for an average width of about 100 to 155 feet from the existing edge of cleared Maritimes & Northeast Pipeline, LLC (Maritimes) natural gas pipeline, the Maine Electric Power Company (MEPCO) electric transmission line ROW, or Stud Mill Road.  Overstory vegetation clearing will be 170 feet wide along proposed virgin ROW for the NRI transmission line.  Additional clearing will be required to maintain the federally regulated distance near Maritimes blow-off valves (150 feet from the edge of the NRI ROW to the blow-off valves) and at bends along the Stud Mill Road and Maritimes pipeline where it is impracticable to maintain the 155 foot distance.  This only occurs in a few isolated locations as shown on the project Plan & Profile drawings.

Crews with whole-tree harvesting machines will first ground cut all vegetation that is two inches in diameter at breast-height (dbh) and greater.  Merchantable timber will be utilized for various forest products. Mowing machines and/or hand clearing crews will then remove or top any remaining “capable species.”  Capable species are defined as those vegetative species capable of growing tall enough to reach within the required clearance between the conductors and vegetation established by the New England Power Pool (NEPOOL) Vegetation Maintenance Standards (NEPOOL Vegetation Maintenance Standard) within the next four- to five-year vegetation maintenance cycle.  Due to the sag in power lines, which varies due to a number of factors, compliance with the NEPOOL Vegetation Maintenance Standard is typically achieved by removing all capable species and topping other vegetation greater than 8 – 10 feet in height, except in waterbody and visual buffer zones and at rare plant or unique natural community locations.  Significant branches that overhang the ROW and any dead or damaged trees outside of the ROW that could contact or come within 15 feet of a conductor if they fall (“danger trees”) are also removed.  All ground level vegetation will remain in place and the stumps left after cutting of overstory trees will not be removed, unless necessary to install a pole.  Figure 1 illustrates typical vegetation clearing and maintenance practices to comply with the NEPOOL Vegetation Maintenance Standard.

The pole construction work area will not be grubbed or cleared of brush, unless leveling of the area is required.  The only soil disturbance will be associated with the drilling/excavation of a hole for the installation of poles and, in some cases, due to the need to level the work area or for access along and adjacent to the ROW.  Temporary erosion and sedimentation control measures will be installed prior to ground disturbance, as determined during the site walk-through.

After clearing and preparation of the ROW, the first step in line construction is to erect the poles.  The primary pole structure will be wooden H-frames which consist of two in-ground poles connected by cross members.  Some poles will be erected by drilling a hole with an auger, placing the pole in the hole and backfilling around the pole with any excess soil material.  This backfill is tamped in (or packed down) to provide a firm base.  Other poles will be erected using a small excavator to excavate approximately 5.5 cubic yards of material, allowing each pole to be placed up to 10 feet deep.  The excavated area around the poles will then be backfilled. This backfill is also tamped in to provide a firm base.  The use of heavy earth moving equipment such as bull dozers will not be required.  In all cases, poles are buried to a depth equaling 10 percent of their length, plus two feet [an 80-foot pole would be buried 10 feet (8 feet plus 2 feet)].  Specific locations of poles within the ROW are depicted on the project Plan and Profile drawings.

In all probability, it will be necessary to blast ledge and large rocks at a number of locations during construction of the project.  Blasting will be limited to pole locations where bedrock is exposed or shallow, and possibly used to move or break large boulders providing access to pole locations.

During erection of some poles, it may be necessary to create a level area for the equipment in order to allow for proper (straight) installation of the pole.  In most cases appropriate topography exists.  However, in locations where the terrain is not level, it is expected that a level working area will need to be created by pulling material (rocks and soil) from the area immediately adjacent to the pole location to create safe working conditions.  These locations will be limited to only those places where the topography is too sloped to allow the equipment to level itself.  All necessary erosion and sedimentation control measures will be installed at areas requiring leveling and will be left in place until the area is restored to original contours and stabilized.

For poles located at angle points, guy wires will be anchored near the poles to account for the change in direction of the tension on a given pole.  These anchors are simply screwed into the ground and attached to the pole with a cable.  Because of higher tensions due to sharper angles, some locations may be anchored by burying a 4-foot section of pole and attaching a cable between the poles and the buried stub.  All necessary erosion and sedimentation control measures will be installed at anchor locations and will be left in place until the area is stabilized.

After the poles are erected [the horizontal insulators which hold the conductors (electrical wires) are installed prior to placement of the pole], the next step involves running a pull (or p-) line along pulleys attached to each insulator.  In all sensitive areas, the p-line will be pulled across the resource by construction personnel ‘walking’ the line across, to avoid unnecessary crossing of the resource by construction equipment and to minimize impacts.  This is particularly true along Stud Mill Road where pole locations will be accessed via finger access ways perpendicular to the Stud Mill Road (versus traveling down the ROW).  The p-lines are then connected to the conductors which are pulled from pole to pole until they are run the entire length of the line.  The last step involves tying the conductors into each insulator.

Total site time needed for the installation of each pole is less than one day and the excavated area will be backfilled, seeded, and mulched.  Work within inundated or saturated wetlands will be limited to the winter months (i.e., frozen conditions), as much as possible.  Restoration measures will return the disturbed area to its original contour in order to allow natural re-vegetation with shrub and brush cover.  The site will be re-vegetated with temporary and/or permanent seeding, as necessary, to stabilize the area (see Section 10.0 Site Restoration Standards).

## Orrington Substation

Construction at the Orrington Substation will begin with establishing base lines, the site perimeter, and clearing and removal of the topsoil.  Temporary erosion and sedimentation control measures will then be installed, as shown on the construction drawings included in Appendix D.  Following the establishment of site drainage controls, a sub-grade will be established.  Where necessary, ledge will be removed by either blasting or mechanical means, depending on the competency of the rock.  If acceptable, site material will be used in a cut and fill scheme to establish the sub-grade of the substation yard.  Off-site material will be used wherever the quantity or quality of the native material is insufficient for use.  At this point individual foundation excavations will be made and concrete forms installed for the placement of concrete substructures.

Following installation of the concrete foundations, sub-surface conduits, cable trench, and ground grid will be installed on the sub-grade.  Structural fill will be installed on top of these systems to bring the sub-grade of the yard to six inches below finish grade.  This sub-grade will likely be off-site material consisting of select gravel.  At this point, the steel substation structures, dead end structure, capacitor platforms, control house, electrical equipment (circuit breakers, switches, etc.), and yard fence posts will be installed.  The finished grade of the yard will consist of 6 inches of select crushed stone on top of the sub-grade.  Finally, the remaining electrical equipment and low voltage cabling between the yard equipment and the control house will be installed, and the fence fabric will be attached to the fence posts.  Final grading, seeding and mulching of areas outside of the substation fence will complete the work at the substation.

## Erosion and Sedimentation Control Implementation Schedule

The best method to limit erosion and sedimentation is to prevent it from occurring by protecting exposed soils or sensitive areas.  The location of the limits of work and sensitive resource areas along the ROW are shown on the project Plan and Profile drawings.  The placement and types of erosion control measures will be determined during the site walk-through.  The locations of the limits of work and placement and type of erosion and sedimentation control measures at the Orrington Substation are shown on the construction drawings for the substation (Appendix D).  The following general sequence of work will be followed to mitigate the potential for erosion of exposed soils and/or discharge of sediment-laden water from the work area.

### Transmission Line

- Conduct a walk-through of the ROW to establish limits of work for construction activity; identify and mark sensitive resources and the location of travel lanes.

- Complete and stabilize with gravel any needed access road improvements.

- Install and stabilize equipment crossings over wetlands and waterbodies, in accordance with Section 5.0 and the BMPs.

- Clear timber and brush.  No grubbing will be necessary unless the area requires leveling.

- Install silt fencing or other erosion control barriers around the perimeter of the work area, in accordance with Section 7.0 and the BMPs.

- Protect resources along temporary travel lanes within the ROW and protect resources adjacent to construction laydown and parking areas.

- Construct temporary or permanent water bars, if needed, and stabilize in accordance with Section 6.0 and the BMPs, prior to allowing them to convey water.

- Level the construction area and conduct any blasting, as needed.

- Excavate for the poles.  Pump excavation seepage and runoff to a temporary sedimentation trap, prior to discharge to a well-vegetated area.  Control and direct runoff from the excavation areas using water bars, berms or hay bales.  Remove excess spoils from site.

- Monitor any paved public road used for access for signs of tracking and spilling of spoils on the roadway.  Construct a stabilized construction entrance if required by BHE representative or 3PI.

- Complete pole and conductor installation.

- Stabilize disturbed soils associated with temporary wetland and stream crossings in accordance with the Section 10.0 and the BMPs, within 48 hours of removal of the temporary crossing.

- Regrade the ROW to original contours, as needed, loam, seed, mulch, and anchor all exposed soils within 7 days from final grading in accordance with the Section 10.0 and the BMPs.

### Orrington Substation

- Establish limits of work for the construction activity; identify and mark sensitive resources.

- Clear timber and brush.  Do not grub until just prior to ground disturbance and establishment and stabilization of temporary and permanent drainage courses.

- Install silt fencing or other erosion control barriers along the downhill limit of work, as shown on Drawing ES-1: Erosion and Sedimentation Control Plan.  Where silt fence cannot be toed-in properly due to tree roots, rocks or frozen ground, an erosion control mix berm may be substituted.

- Stabilize temporary and permanent roadways, construction laydown and parking areas with gravel subbase.

- Construct and stabilize temporary or permanent drainage and diversion courses, drainage swales, culverts, inlet and outlet structures, the storm water detention pond and plunge pool prior to conveyance of any water.

- Complete the pond embankment within 2 weeks of initiating construction.  Install final erosion control blankets or anchored mulch within 24 hours of final grading of pond.  If dewatering is required, pump to a geotextile-lined hay bale impoundment, an ACF environmental “Dirt Bag,” or approved equivalent.  Sediment basin/dirt bag discharge must be to a well-vegetated area and at a controlled rate to prevent erosion.

- Stabilize any exposed slopes greater than eight percent and newly constructed drainage swales with anchored erosion control blankets or other approved mulching techniques.

- Install check dams in drainage swales within 24 hours of shaping swale and prior to stabilization of channels.

- Excavate for the foundation of the structures.  Pump excavation seepage and runoff to a temporary sedimentation trap that discharges to a vegetated swale or the storm water detention pond.  Control and direct runoff from the excavation areas to the stabilized site drainage system using water bars, berms or hay bales.

- Remove excess spoils from site.  Stabilize disturbed ground or spoil stockpiles with anchored mulch within 48 hours or immediately if significant rain or snow melt is anticipated.  Between April 16 and October 31, temporary seed these areas if final stabilization is not expected within 30 days.  Apply anchored mulch daily, as needed, during winter construction.

- Inspect and repair erosion control measures weekly and after a ½ inch or greater rain storm.  Remove accumulated sediment when it reaches ½ the height of the barrier.

- Monitor Fields Pond Road for signs of tracking and spilling of spoils materials on the roadway.  Construct a stabilized construction entrance if required by a BHE representative or 3PI.

- Complete foundations, install substation structures and other electrical equipment.  Bring substation yard to finish grade with gravel and install the perimeter fence.

- Construct and stabilize any additional permanent vegetated swales with erosion control blankets and/or check dams and permanent seeding.

- Finish grade, loam, seed, mulch, and anchor the cut and fill slopes and other disturbed areas outside the fence within 48 hours from final grading.

- Maintain temporary erosion controls, as needed, until site is stabilized; i.e., when vegetated areas have a healthy catch of vegetation over approximately 90 percent of the seeded area.  Reseed sparsely vegetated areas.

- Install temporary and/or permanent mulching and seeding in accordance with Tables 5, 6 or 7, as applicable.

# STANDARDS FOR CONSTRUCTION

## Travel Lanes, Lay Down and Yarding Areas

The following six standards apply to the location of travel lanes and location and/or upgrade of all roads, skid trails, yarding areas, and construction lay down areas or work pads.

- Where travel lanes or work areas will be located near water resources, such that material or soil may be washed into them, these disturbances will be set back from the edge of the water resource to maximize the amount of undisturbed filtering area between the disturbed area and the resource.  These “filter strips” will consist of an area of undisturbed vegetation between the edge of disturbed area and/or silt fence/hay bale barriers placed to intercept any sediment load in runoff water before it can enter the resource area.  Table 1 below provides the recommended widths for the filter strips according to the slope of land between the edge of the resource and any exposed soil.

| Table 1. Recommended Widths For Filter Strips Between Disturbed Areas And Water Resources |
| --- |
| Slope of Land Between Disturbance and the Resource (Percent) | Width of Filter Strip* (Feet) |
| 0 | 25 |
| 10 | 45 |
| 20 | 65 |
| 30 | 85 |
| 40 | 105 |
| 50 | 125 |
| 60 | 145 |
| 70 | 165 |
| *Measured along surface of the ground |

- Wherever possible, construction equipment will either avoid steep slopes or proceed across the slope in a safe manner to avoid excessive disturbance of vegetation and soils.  Equipment will not travel straight up or down any slopes with a grade steeper than 10 percent, except where necessary due to safety concerns and/or terrain constraints.

- Where travel lanes or construction areas cross slopes, the area will be properly sloped and maintained to retain the existing surface drainage.

- Slopes of leveled areas will be no steeper than 2 horizontal to 1 vertical (2:1).

- Rivers, streams, and wetland areas will be crossed, where necessary, at right angles to the channel and/or at points of minimum impact.  To ensure that natural drainage patterns will not be altered or restricted as a result of construction activities, crossings will be designed and constructed according to specific standards outlined below.

- Due to the limited reach of mobilized tree harvesting equipment (feller-bunchers), three access ways will be needed within 75-foot wide waterbody buffers to enable cutting and removal of large trees across the entire ROW without the potential for additional ground disturbance and damage to remaining vegetation that can occur if the trees were hand cut and dragged out of the buffer with a cable (see Section 4.4).  The access ways will be located in the approximate middle of the proposed ROW and approximately half way between the middle access and the outside edge of the ROW.  The access ways will be 10-12 feet wide and only the trees that would prevent the harvesting equipment from efficiently performing its job, or other vegetation that would otherwise be seriously damaged by harvesting equipment traveling along the access way, will be removed.  Existing low vegetation will remain.  The access ways will not extend closer than 25 feet from the top of banks of any waterbody and will not require grading or any gravel, stone or other surface material.  Temporary erosion and sedimentation control measures will be implemented along the access ways, as required.  As will be the case along the entire NRI ROW, ground disturbance caused by the use of harvesting equipment will be repaired by returning the ground to its original contour, as needed, and seeding and mulching any bare ground.  The two outer access ways will be restored at the completion of clearing activities in the area, and the central access restored at the completion of construction in the area.  The vegetation in the two outer access ways will be allowed to revert to its original state, as allowed by ROW vegetation maintenance requirements.  The vegetation in the middle access way will be maintained long-term to allow for small vehicle access (such as pick up trucks or a small tracked vehicle with a “cherry picker”) during transmission line and ROW vegetation maintenance activities.

## Stream or Wetland Crossings

The following standards apply to all unavoidable stream, drainage way, or wetland crossings encountered while accessing the project site or on the project site itself.

### Types of Crossings Used

The type of crossing used for access is dependent on:  the purpose and use of the crossing, the nature of the resource being crossed, ground conditions present at the time of construction, and construction materials available.  Some planning guidance is provided below.  The appropriate means and location of the crossing will be determined at the time of the formal walk-through.

- Permanent culverts will be used only where long-term, continued, and frequent access is required (such as substation access roads and drainage management).

- Temporary crossings will be used at all other locations.  Temporary bridges or construction mats must be used to cross any streams, drainage ways, or wetlands that contain:  (1) flowing water, (2) standing water, (3) saturated soils, or (4) organic/mucky soils.  No equipment will operate in or travel through the water or on soft or saturated wetland soils.

- The use of corduroy as crossing material will be limited to wetlands which are not anticipated to have flowing or standing water or saturated soils during the construction period.  The use of corduroy will be limited and must be pre-approved by a BHE representative and the 3PI.

- All temporary waterbody crossings must be temporarily stabilized upon installation and permanently stabilized, as needed, within 48 hours of removal, unless specified otherwise.

### Construction in Wetlands

In saturated or inundated wetland areas, winter construction will be required during frozen soil conditions as much as possible.  Otherwise, wide tracked or balloon-tired equipment operating from timber corduroy or timber mat work areas will be required.  No permanent loss of wetland habitat is allowed from construction activities.  Where structures are to be placed in wetlands, topsoil must be excavated first, and stockpiled separate from subsoil.  Soils will be replaced into the excavated area in the opposite order they were removed.  After pole installation, topsoil must be restored to the original surface grade, except where mounding around a structure is necessary for structure stability.

## Construction in Buffer Areas

### Standard Waterbody Buffers

For the section of the NRI ROW that is adjacent to existing (MEPCO) ROW, from the Orrington Substation to just beyond the Blackman Stream crossing in Bradley, a 25-foot buffer from the top of banks of all rivers, streams and brooks crossed by the NRI transmission line will be established and maintained by BHE.  No structures will be located within these 25-foot buffer areas and no soil disturbance or vehicular traffic will be allowed other than that necessary to construct and utilize temporary equipment crossing bridges authorized during the walk-through.  For the remainder of the route, 75-foot buffers from the top of banks of all waterbodies will be established.  As described in Section 4.1, three access ways will be required within these wider buffers during initial clearing to enable tree harvesting equipment to reach all trees that need to be removed.  These access ways will not extend to within 25 feet of the top of bank of a waterbody.  All appropriate erosion and sedimentation controls will be implemented and maintained along these access ways during and following construction.

Construction activities within these 25- and 75-foot waterbody buffers will be limited to the cutting of only capable species that are greater than 8-10 feet tall (see Figure 1, Appendix C).  Dead or danger trees may be removed entirely.  Cutting of these trees will be done by hand or by a feller-buncher reaching into the buffer from outside the zone, if possible, and from the three access ways as needed.  Erosion control barriers will be established and maintained along the access ways within the buffers and along the approach to all stream crossings and will be supplemented, as appropriate by water bars and/or erosion control barriers extending outside the buffer zone.

As is the case for 75-foot buffers, in a limited number of instances, even a 25-foot waterbody buffer surrounding several braided stream channels running through a wetland area may be too wide for a feller-buncher to reach all the trees requiring removal from outside the buffer zone.  In many of those instances, hand cutting followed by pulling the downed trees out of the buffer using cables attached to a vehicle located outside the buffer may result in a higher risk of damage to the stream and surrounding vegetation and wetland than allowing a feller-buncher into the buffer zone.  In those situations, the BHE representative will contact the 3PI and request authorization to allow a feller-buncher into a 25-foot buffer area or within 25 feet of the waterbody in a 75-foot buffer, utilizing appropriate wetland and stream crossing procedures.  If 3PI concurrence is not obtained for mechanized cutting, the trees will be cut by hand and pulled from the buffer as carefully as possible.

### Salmon Stream Buffers

The same construction limitations and erosion and sedimentation control safeguards will apply to designated salmon stream buffers except that only those trees capable of growing within the required NEPOOL clearance of 15 feet from the conductors within the next 3 to 4 years will be topped or removed.  Topping of these trees is the preferred method near salmon streams, unless they are dead or danger trees.  This will allow for taller buffers that provide additional shading (and cooling) of the salmon streams.  Figures 2 and 3 illustrate the special vegetation clearing and maintenance procedures to comply with the NEPOOL Vegetation Maintenance Standard and maintain a taller buffer at salmon streams.  The following 9 streams that are crossed by the NRI transmission line have been identified as salmon streams:

- Narraguagus River (NRI station no. 2218+80)

- Tributary to Fifth Machias Lake (NRI station no. 2770+15)

- Tributary to Fifth Machias Lake (NRI station no. 2773+05)

- Tributary to Fletcher Brook (NRI station no. 2912+72)

- Machias River (NRI station no. 2963+21)

- Dead Stream (NRI station no. 3075+24)

- Lanpher Brook (NRI station no. 3113+39)

- Huntley Brook (NRI station no. 3702+97)

- Joe Brook (NRI station no. 3831+68)

# INSTALLATION OF CROSSINGS

## Bridges

### Materials

Typically bridge construction will entail the use of log stringers as construction materials covered by decking planks or construction mats.

### Sizing

The table below illustrates the log sizing requirements depending on the span and anticipated loads.

| Table 2. Log Bridge Stringer Requirements |
| --- |
| Span | Minimum Log Diameter* (80,000 lb. Load) (40,000 lb. Load) |
| 8 ft. | 16 in. | 12 in. |
| 12 ft. | 18 in. | 14 in. |
| 16 ft. | 20 in. | 16 in. |
| Wheel guards: 10” diameter Size of deck planks: 4” x 12” x 12’ * Assume 6 stringers at 24” centers |

### Positioning

Illustrations of the proper use and installation of crossing bridges are provided on Figures 4 and 5.

- Temporary bridges will cross streams at right angles to the channel at a location with firm banks and level approaches whenever possible.

- At the crossing location, the ends of the stringers will extend at least two feet onto firm banks or several feet into the upland edge of a wetland to ensure a dry, firm approach onto the bridge.

- Mats, corduroy logs or a stone pad installed on top of geotextile fabric will be used, where necessary, to provide a smooth transition for equipment travel from the adjacent ground or temporary road onto the bridge.

- Temporary bridges for the NRI project will not require support piers or abutments in a stream or inundated wetland.

### Maintenance

Bridges will be continually monitored to ensure their correct functioning.  Bridges which become covered with dirt will be kept clean and the material removed must be disposed of and stabilized in an upland location.  The material will not be scraped and shoveled into the water resource.  The contractor will replace timbers or decking in poor condition as soon as deterioration is observed.  At a minimum, the contractor will be responsible for inspecting all bridges once per week and will keep a log of all changes, improvements and other maintenance performed.

### Removal

Bridges will not be removed until their use is no longer necessary.  Specifically, all final restoration work along the adjacent ROW will be completed prior to removing the bridge from the crossings.  The planned removal of bridges will be coordinated with BHE (or designated representative) and the 3PI.  All bridges will be removed from the ROW upon completion of construction.  The banks of streams and drainage ways must be graded back to original conditions.  Exposed soils on the banks and within 100 feet of the crossing must be stabilized using seed and mulch.  Banks of drainage ways that are expected to receive high flows will be stabilized with seed and curlex or jute matting (Figure 6).

## Culverts

No new culverts will be required for construction of the transmission line, other than as a means of construction mat support for a long stream crossing, and to replace existing damaged or malfunctioning culverts along access roads.

### Materials

Permanent culverts will be either corrugated metal or plastic pipe.  Temporary culverts will be corrugated metal, plastic pipe, or lumber ties.  Chemically-treated wood will be not used.

### Sizing

Culvert size will be determined by the largest pipe diameter equal to the undisturbed cross sectional area of the bank full condition of the stream.  It should fit into the existing channel without major excavation of the waterway channel or without major approach fills.  If a channel width exceeds 3 feet, additional pipes may be used until the cross sectional area of the pipes approaches that of the existing channel.  The minimum size culvert that may be used is an 18-inch diameter pipe.  The maximum flow capacity of the culvert(s) (“bank full”) will be determined at highest flows or will be approximated during periods of lower flows using the apparent natural high water marks remaining on the stream banks.

### Positioning

The following guidelines will be used for the positioning of all permanent and temporary culverts:

- Culverts will be placed to allow for the crossing to take place at right angles to the channel to ensure that natural drainage patterns will not be altered.

- Culverts will be placed at the point of narrowest crossing and where firm banks and level approach slopes are available.  Slopes should be no greater than 1.5 to 1.

### Installation

The following guidelines will be used for the installation of all permanent and temporary culverts:

- Culverts will be of sufficient length to allow both ends to extend at least one foot beyond the toe of any fill used to cover the culvert.

- Culverts will be bedded on firm ground.  Supplemental use of geotextile with gravel can be used to create this firm base.  Permanent culvert installation will include firm compaction of the foundation and the fill around the sides of the culvert.  Compaction will be done in no less than 8-inch lifts.

- Both the inlet and outlet ends of the culverts will be set at or slightly below the natural stream bottom to allow passage of fish and other aquatic life at all levels of flow.  At no point will either end of an installed culvert be positioned in the air out of the water.

- Multiple culverts must be offset in order to concentrate low flows into the culvert within the natural channel.

- Fill used to bury the culvert will be compacted at least half-way up the side of the culvert for its full length in ensure that flowing water will not undermine the culvert.

- Culverts will be covered with fill to a depth of at least one foot or one-half the culvert diameter, whichever is greater.

- Road fill at the upstream (headwall) and downstream (out-fall) ends of culverts will be armored with rock rip rap to protect the road fill from being eroded by the action of water or road traffic.  This material will be installed up to the level of anticipated high water.

- In areas where the streambed appears highly erodible, the streambed at the outlet end of the culvert will be lined with riprap to prevent erosion and potential streambed scour.  Table 3 below indicates the distances away from the culvert to install such riprap.  Figures 7 and 8 illustrate typical culvert installation for the NRI project with inlet and outlet protection.

| Table 3. Culvert Size - Length of Rock Protection |
| --- |
| Culvert Diameter (Inches) | Length of Rock Protection From Culvert (Feet) |
| 12 – 20 | 7 |
| 21 – 24 | 9 |
| 30 | 11 |
| 36 | 13 |
| 42 – 48 | 18 |
| 54 – 60 | 24 |
| 66 – 78 | 32 |

### Removal

Temporary culverts used to support bridge spans will be removed from the stream channel and ROW at the same time the span is removed.  Replacement culverts along temporary access roads will be left in place, because the original damaged or malfunctioning culvert was removed.

## Mats (Timber or Construction Mats)

BHE will require the contractor to ensure that adequate mats are present at the project site prior to construction.  A readily accessible source of mats will also be available in case construction conditions change and necessitate the need for more mats.

### Materials

A number of differently sized and constructed timber mats are typically available.  BHE requires that the appropriate mats be used for the appropriate crossing.  For example:

- Longer mats will be used for spanning the longer crossings.  This practice avoids the need to install additional mats within the crossing area in order to support the “span” mats.

- Mats will be in good condition to allow for their “clean” installation and use.  Using mats with timbers and cables in good condition minimizes the potential for breakage during installation and use, and helps prevent them from becoming imbedded in mud and the need to drag them in or out of the resource versus carrying them above the resource.

- Mats with partial/short timbers joined end to end will not be used to cross stream channels.

### Installation

Illustrations of the proper use and installation of mats are provided on Figures 9 and 10.

- Whenever possible, mats will be carried and not dragged.  Dragging mats creates more soil disturbance which requires additional erosion control or final restoration work.

- At the crossing location, the ends of the timber mats will extend at least two feet onto firm banks or several feet into the upland edge of a wetland to ensure a dry, firm approach onto the mats.

- At wetland crossings requiring multiple mats, the mats will be oriented with their longest dimension perpendicular to the direction of travel to reduce the potential for the mats to work into the wetland soils as vehicles cross and cause significant disturbance of the wetland surface.

- Mats used as temporary bridges for the NRI project will not require support piers or abutments to cross a stream or inundated wetland.  The contractor will use appropriately sized and spaced timbers (see Table 2, above) to span the resource and support the mats.  In certain instances, a culvert may be used to provide midstream support if more than one mat is required to cross a long span, as approved by the BHE representative or 3PI.  Support culverts will be oriented parallel to the direction of flow and fish passage maintained.

- At “dry” crossings where no water is present or anticipated during project construction, the mats may be placed directly onto the sensitive natural area in order to prevent excessive rutting, provided stream banks and bottoms are not altered.

### Maintenance

Matted crossings will be continually monitored to ensure their correct functioning.  Mats which become covered with dirt will be kept clean and the material removed disposed of and stabilized in an upland location.  The material will not be scraped and shoveled into the water resource.  Mats which become imbedded will be reset or layered to prevent mud from covering them or water passing over them.  The contractor will replace mats as soon as deterioration is observed.  At a minimum, the contractor will be responsible for inspecting all matted crossings once per week and will keep a log of all changes, improvements and other maintenance performed.

### Removal

Mats will not be removed until their use is no longer necessary.  Specifically, all final restoration work along the adjacent ROW will be completed prior to removing the mats from the crossings.  The planned removal of mats will be coordinated with BHE (or designated representative) and the 3PI.  All mats will be removed from the ROW upon completion of construction  Exposed soils within 100 feet of the crossing must be stabilized using seed and mulch.

## Corduroy

### Materials

Corduroy material will consist of de-limbed trees or logs.  The logs must have a diameter greater than three inches at the small end and lengths greater than 18 feet.  Shorter length material may be used only as described in the Installation section below.

### Positioning

The use of corduroy as crossing material will be limited to wetlands which are not anticipated to have flowing or standing water or saturated or soft soils during the construction period.  Corduroy will be placed perpendicular to the direction of travel.  Corduroy will be placed at the point of narrowest crossing and where firm ground and level approach slopes are available.  Corduroy may also be used to help stabilize and level the approaches to a bridge crossing.  Illustration of the proper use and installation of corduroy logs is provided on Figure 11.

### Installation

The corduroy will be placed with the longer length pieces laid down first.  The bed of corduroy will not only be placed within the low portions of the crossing but also for at least three feet up the sides of any upland side slopes in order to prevent rutting and sedimentation from the approaches to the crossing.

Once a thick base of corduroy has been laid, pieces shorter than 18 feet can be used to fill gaps and raise the elevation of the corduroy to provide for a more stable crossing.

### Maintenance

Corduroy will be continually monitored to ensure its correct functioning.  Corduroy logs which become covered with dirt will be kept clean and the material removed must be disposed of and stabilized in an upland location.  The material will not be scraped and shoveled into the water resource.  Corduroy that becomes imbedded in mud will be replaced by timber mats or other more suitable crossing materials as soon as significant surface disturbance is observed.  At a minimum, the contractor will be responsible for inspecting all corduroy logs once per week and will keep a log of all changes, improvements and other maintenance performed.

### Removal

Removal is the reverse of installation.  Once the corduroy has been removed from the crossing, it will be moved off the right-of-way, burned, or chipped.  The material may also be spread and distributed on the ROW over the nearby upland, if in accordance with the Maine Slash Law (see Appendix H) and approved by a BHE representative.

# SURFACE WATER DIVERSION STRUCTURES (WATER BARS)

A number of above-ground structures or techniques are available to divert water out of travel ways and work areas in order to prevent subsequent runoff and erosion.  Water bars (also called slope breakers) may be required in a limited number of locations along the NRI ROW to redirect water moving down a prolonged steep slope into adjacent vegetated areas (filter strips).

## Materials

Water bars will be constructed by excavating or moving and shaping earth from within the ROW to form a shallow cross-drainage swale.  The excavated material will be used to form an elevated bar immediately down slope of the swale.

## Positioning

Water bars will be installed immediately above and along steep pitches in the ROW or travel lane and below seepage areas on natural or cut banks, as determined during the site walk-through.  They will be sited to take advantage of existing vegetation for filtering and slope away from the erodable area.  The interval for installing these diversion structures depends on the slope of the area, as well as the nature of the surface, soils, and wetness.  Generally speaking, steeper slopes require shorter distances between water bars.  The following table contains typical recommended distances between installed structures depending on slope.

| Table 4. Recommended Distances Between Water Diversion Structures |
| --- |
| Slope (Percent) | Spacing (Feet) |
| 0 – 2 | 500 – 300 |
| 3 – 5 | 250 – 180 |
| 6 – 10 | 167 – 140 |
| 11 – 15 | 136 – 127 |
| 16 – 20 | 125 – 120 |
| 21+ | 100 |

Water bars will be sized in anticipation of greater flows resulting from snow melt, spring runoff, and storm rains.

### Installation

Water bars will be installed at 30-degrees angled down grade.   The shape of the backside portion of the structure will have a reverse slope of about 3 percent.  Use of a pop-level is recommended to ensure that drainage is away from the erodable area.  Water bars will be constructed with rounded (not vertical) mounds and dips to allow for firm compaction and to allow re-vegetation.  Illustrations of the proper installation of water bars are provided on Figures 12 and 13.

The inlet end of water bars will extend beyond the edge of the erodable area so that it fully intercepts water flows that may flow onto the area.  The outlet end of the structure will extend out far enough to prevent water from flowing around and re-entering the work area.  The discharge ends will outlet into a vegetated filter strip.  Where heavy flows are encountered or anticipated, the outlet end of the water bar will incorporate an apron of rock and/or geotextile fabric to reduce water velocities and prevent erosion.

Where the water bar is within 100 feet of a stream or wetland, a small, excavated settling basin or ditch turnout will be incorporated to reduce the velocity of flows and the continued movement of sediment downslope.  In addition, stone check dams, silt fencing or staked hay bales will be installed at the outlet of the diversion structure, where vegetated filter strips are narrow or sparsely vegetated, in order to prevent sediment from entering water resources.  Additionally, a temporary mulch liner (anchored erosion control blanket) will be installed immediately upslope of the sediment barrier to reduce the erosion potential of the concentrated flow.  The proper installation of stone check dams and other swale stabilization measures is illustrated on Figure 14.

### Maintenance

Due to repeated travel over these structures, maintenance is critical to their effective functioning.  As the structure becomes flattened or rutted, it will be re-excavated or graded to ensure the interception and redirection of water runoff.  The outlet ends, sediment basins and sediment barriers will be maintained by clearing away any potential blockages and accumulated sediments.  In areas where silt fence or hay bale barriers are used, the barriers will be replaced with stone check dams if inspections during construction indicate that channelized runoff is undercutting the barrier.  At a minimum, the contractor will be responsible for inspecting all waterbars in active construction areas once per week and will keep a log of all changes, improvements and other maintenance performed.

### Removal

After the completion of the construction project, removal of these structures is not a requirement.  Water bars can be left in place provided they have been suitably stabilized with seed and mulch.  Any hay bale barriers or silt fence at the outlet end will be removed when the site has a healthy vegetative cover.

# SEDIMENT BARRIERS (STRUCTURAL MEASURES)

## Introduction

The use of properly installed erosion and sediment control barriers is the most fundamental and critical component for stopping erosion on the NRI project.  Erosion control barriers include silt fence, hay bales, and/or erosion control mix berms.  In some cases, these barriers may be deemed unnecessary by a BHE representative or the 3PI due to factors including slope and filter strip width within project boundaries.  A typical BHE construction project will use both silt fence and hay bale barriers to effectively control erosion near water resources.  Installation and diligent maintenance of these barriers serves the following purposes:

- Ensures the environmental integrity of those upland and water resource areas not designated or permitted for disturbance.  Specifically, it maintains the onsite vegetative community and water quality of the surface water within the watershed.

- Ensures compliance with all applicable federal, state, and local environmental and land use regulations or permit conditions.

Generally, silt fence is the preferred barrier because:  it traps a much higher percentage of suspended sediments than hay bales; it can be easier to install, obtain, and transport; and is less costly.  In addition, the structural longevity of silt fence is 60 days or longer unlike straw or hay bales, which is 60 days or less.

The standards and procedures outlined in this section are meant to address a majority of the situations encountered during transmission line construction activities.  For additional information on sediment and erosion control methods and techniques, or to address a particularly problematic situation, the information in this section will be supplemented by the Maine Department of Environmental Protection’s Maine Erosion and Sediment Control BMPs, dated March 2003.

The locations and types of sediment barriers to be used at the Orrington Substation are shown on the construction drawings in Appendix D.

## Use of Silt Fence

### Materials

Silt fence is provided by a number of manufacturers and is generally a synthetic fabric pre-attached to wooden staking.  The fabric must be pervious to water allowing a flow through rate of 0.3 gallon per square foot per minute.  The fabric must contain stabilizers and ultraviolet ray inhibitors to allow it to sustain exposure of a minimum of 6 months.  The height of the filter fabric must not exceed 3 feet above the ground surface.

### Placement

Silt fence is to be utilized at the edge of any planned work area or area which will incur the disturbance of soil conditions.  It will be installed on slope contours to intercept any sheet flow of water, maximize ponding, and detain sediment from entering water resources or leaving the project site.  It will be installed prior to construction activity that results in exposure or disturbance of soil.  Given the length of the NRI transmission line in particular, the amount of silt fence placement must be selective; however, it will be used in amounts sufficient to meet potential changing conditions in a pro-active manner.  Silt fence will be used, as appropriate, in the following locations:

- Around all substation project sites.

- Along all access roads or work areas and at the end of water bars that are within 100 feet of water resources.

- Along all access roads or work areas in upland settings that encounter seepage moving across slope.

- Around all stockpiled soils.

In general, the placement of silt fence is appropriate when:

- Serving a drainage area of no more than 0.25 acre per 100 feet of silt fence length.

- The maximum slope length behind the fence is 100 feet or less.

- The maximum gradient behind the fence is 50 percent or 2:1 horizontal/vertical.

- Where the filter strip is not of an adequate width (see Table 1).

The placement of silt fence along the right of way will be determined during the walk-through.

### Installation

The following installation guidelines are the minimum which will be implemented; however, appropriate changes to silt fence installation will be made as conditions change during the construction.  Illustrations of the proper use and installation of silt fence are provided on Figures 15 - 18.

Silt fence will be placed an adequate distance (6-10 feet) beyond the toe of the slope (if there is sufficient room) to allow for sediment accumulation between the disturbed area and the down-gradient water resources.  If there is not sufficient room to place the silt fence an adequate distance beyond the toe of the slope, a BHE representative or the 3PI must be consulted.  The barrier will be installed along the contour, within reason.  The goal is to slow and pool sediment-laden runoff to allow fine sediments to settle-out before the runoff enters a water resource.  The ends of the barrier will be turned up-slope to maintain the pool volume.

A trench will be excavated approximately 6 inches wide and 6 inches deep on the up-slope side of the silt fence alignment. The lower edge of the silt fence fabric will be entrenched for a distance of at least 6 inches up-slope and then back-filled.  Should frozen or rocky ground conditions prevent the effective or practical use of trenching, materials such as bark/wood chips, wood fiber mulch, or a soil erosion control mixture can be used.  This material is to be mounded on top of at least 8 inches of filter fabric placed on the ground surface, which would otherwise be trenched.

Silt fence will be installed in a continuous roll to avoid a joint between different pieces of fence.  If joints are necessary, filter fabric will be “spliced” together at a support post, securely sealed, and with a minimum of 6 inches of overlap.  Splicing rolls of silt fence entails twisting end posts together, creating a continuous section of silt fence.

Support posts will be placed on the down-slope side or the side closest to or facing the water resource.  The posts will be placed 6 feet apart (a maximum of 10 feet may be acceptable in some locations) and driven securely into the ground, typically about 18 inches deep.  Silt fence usually has posts pre-attached.  If ponding water behind the silt fence is anticipated or occurs, additional stakes will be added for support and attached to the fabric with staples or zip-ties.

Silt fence will not be installed in streams or drainage ways where water flow is present or concentrated flows that could undercut the barrier are anticipated.

### Maintenance

Once a week, or after rainstorms producing at least ½ inch of rainfall, whichever is more frequent, the contractor will inspect all temporary erosion and sediment control barriers.  During a prolonged rainfall, barriers will be inspected at least daily.  Such inspection is necessary to ensure that the barriers are functioning properly as well as identifying new areas requiring installation.  A maintenance log will be kept of all erosion control changes, improvements, and maintenance performed.

If any barriers are not functioning properly, they will be repaired or replaced.  A sediment control barrier is not functioning if:

- Water is flowing around the sides or under the barrier.

- Soil has built up behind the barrier to the point more than half-way up the fence.

- There is excessive sag in the fence.

- There is evidence of sedimentation such as gully erosion, slumping of banks, or the discoloration of water outside of the perimeter silt fence.

Corrective measures include removing accumulated sediment from behind the barrier, restaking, extending the ends of the fence, installing another fence further upslope, or replacing the fence with a stone check dam in areas of significant concentrated flow.

### Removal

Installed silt fence will be removed once it is evident that the soils have become stabilized and the potential for erosion no longer exists, generally a healthy growth of vegetation over at least 90 percent of the stabilized area (see Section 10.0).  In most cases, the silt fence will not be removed until at least one growing season has past.  Removal of silt fence will be coordinated with BHE or its designated representative.

Any ridges or mounds of soil or caught sediment remaining in place after the silt fence has been removed, will be leveled-off to conform to the existing grade.  Any newly exposed soil that may erode will be seeded and mulched.  All removed silt fence will be properly disposed of off ROW.

## Use of Hay Bales

### Placement

Like silt fence, hay bale barriers can be utilized at the edge of any planned work area or areas where soil disturbance has occurred or will occur.  Barriers will be installed to intercept sheet flow of water and detain sediment from entering water resources or leaving the project site.  As is the case with silt fence, the amount of hay bale barrier placement must be selective, but in amounts sufficient to meet potential changing conditions in a pro-active manner.  Hay bale barriers will be used, as appropriate, in the following locations:

- Around all substation project sites.

- Along all access roads or work areas and at the end of water bars that are within 100 feet of a water resource area.

- Along all access roads or work areas in upland settings that encounter seepage moving across slope.

- In ditch lines as check dams.

- Around all stockpiled soils.

In general, the placement of hay bales is appropriate when:

- Serving a drainage area of no more than 0.25 acre per 100 feet of barrier length.

- The maximum slope length behind the barrier is 100 feet or less.

- The maximum gradient behind the barrier of 50 percent or 2:1 horizontal/vertical.

- Where the filter strip is not of an adequate width (see Table 1).

- Weed free straw bales will be used in place of hay bales, when installation is required in a wetland.

### Installation

The following installation guidelines are the minimum which will be implemented; however, appropriate changes to hay bale installation will be made as conditions change during the construction operation.  Illustrations of proper hay bale use and installation are provided on Figures 19 - 22.

The barrier will be placed an adequate distance (6-10 feet) beyond the toe of the slope (if there is sufficient room) to allow for sediment accumulation between the disturbed area and the down-gradient sensitive areas.  If there is not sufficient room to place the hay bales an adequate distance beyond the toe of the slope, a BHE representative or the 3PI will be consulted.  Within reason, the barrier will be installed along the contour.  The goal is to slow and pool the sediment-laden runoff to allow fine sediments to settle-out before the runoff enters a water resource.  The ends of the barrier will be turned up-slope to maintain the pool volume.

A shallow trench will be excavated the width of the bale and to a minimum depth of 4 inches in which to imbed the bale.  The excavated soils will then be used to seal the lower inside (up-slope) edge of the barrier.  The bales will be set tightly together and entrenched with the baling string oriented on the sides (i.e., not touching the ground) in order to prevent deterioration of the string.

Every bale will be staked using 2 stakes per bale.  The stakes will be driven in at angles such that it binds and forces abutting hay bales together.  Gaps between bales will be packed with loose hay to prevent water from escaping between the bales.  Hay bales will not be placed in streams where flow is present or anticipated or in drainage ways with concentrated flows that could undercut the barrier are anticipated.

### Maintenance

Once a week, or after rainstorms producing at least ½ inch of rainfall, whichever is more frequent, the contractor will inspect all temporary erosion and sediment control barriers.  During a prolonged rainfall, barriers will be inspected at least daily.  Such inspection is necessary to ensure the structures are functioning properly as well as identifying new areas requiring installation.  A maintenance log will be kept of all erosion control changes, improvements, and maintenance performed.

If any barriers are not functioning properly, they will be repaired or replaced.  A sediment barrier is not functioning if:

- Water is flowing around the sides or under the barrier.

- Soil has built up behind the barrier to the point more than half-way up the hay bale or where there is excessive lean to the barrier.

- There is evidence of sedimentation such as gully erosion, slumping of banks, or the discoloration of water outside of the hay bale barrier.

Corrective measures include removing accumulated sediment from behind the barrier, re-staking, extending the barrier at the ends, installing another barrier further up-slope, or replacing the hay bales with a stone check dam in areas of significant concentrated flow.

Straw or hay bales will not be used at locations where a sediment barrier is expected to be needed for more than a 60 days period.

### Removal

Installed hay bales will be removed once it is evident that the soils have become stabilized and the potential for erosion no longer exists.  In most cases, the hay bale barrier will not be removed until at least a healthy growth of vegetation is established on at least 90 percent of the disturbed site.  Removal of hay bale barriers will be coordinated with BHE or their designated representative.

Any ridges, mounds of soil, or caught sediment remaining in place after the hay bales have been removed, will be leveled-off to conform with the existing grade.  Any newly exposed soil that may erode will be seeded and mulched.  All removed hay bales must be properly disposed of off ROW, or broken up and used as mulch on the bare soils near the barrier.

## Use of Erosion Control Mix Berms and Continuous Contained Berms

Erosion control mix berms are practical and effective in most situations, but are especially suited for frozen ground, outcrops of bedrock, and forested areas with many roots where silt fence or hay bales cannot be effectively keyed in.  Erosion control mix consists primarily of organic materials such as shredded bark, stump grindings, composted bark, or similar materials.  Wood and bark chips, ground construction debris, or reprocessed wood products are not acceptable for use in erosion control mix.  It can be manufactured on or off site, and will contain a well-graded mix of particle sizes and may contain rocks up to 4-inches in diameter.  Any erosion control mix used on the NRI project will have:

- organic matter content between 80 and 100 percent (dry weight),

- 100 percent of particles passing a 6-inch screen,

- between 70 and 85 percent passing a 0.75-inch screen,

- the organic portion will be fibrous and elongated,

- only small proportions will be silts, clays, or fine sands,

- soluble salts content will be <4.0 mmhos/cm, and

- pH will be between 5.0 and 8.0.

A continuous contained berm (or filter sock) is a fabric sock that is filled with erosion control mix.  It is also an effective barrier in areas that cannot be effectively trenched for installation of silt fence or hay bales.  It is especially suited for use on pavement, since it can be driven over without adversely affecting its effectiveness.  The netting holds the organic mix together and keeps it from being displaced.

### Installation

Illustration of the proper installation of erosion control mix berms is provided on Figure 23.  As with other barriers, to be most effective these berms must be placed along the contour of the slope.  It will be necessary to cut tall grasses or woody vegetation to avoid creating voids and bridges that may enable runoff and sediment to wash under the barrier.  For erosion control mix berms, on slopes less than five percent or at the bottom of steeper slopes (<2:1) up to 20 feet long, the barrier must be a minimum of 12 inches high and a minimum of 2 feet wide.  On longer or steeper slopes, the barrier must be wider to accommodate additional runoff.

Erosion control mix berms will not be used at low points of concentrated runoff, below culvert outlet aprons, around catch basins and closed storm systems, and at the bottom of steep perimeter slopes that have large watersheds.

### Maintenance

Once a week, or after rainstorms producing at least ½ inch of rainfall, whichever is more frequent, the contractor will inspect all temporary erosion and sediment control barriers.  During a prolonged rainfall, barriers will be inspected at least daily.  Such inspection is necessary to ensure the structures are functioning properly as well as identifying new areas requiring installation.  A maintenance log will be kept of all erosion control changes, improvements, and maintenance performed.

If any barriers are not functioning properly, they will be repaired or replaced.  A sediment barrier is not functioning if:

- Water is flowing around the sides or under the barrier.

- Soil has built up behind the barrier to the point more than half-way up the barrier or where there is excessive lean to the barrier.

- There is evidence of sedimentation such as gully erosion, slumping of banks, or the discoloration of water outside of the barrier.

Corrective measures include removing accumulated sediment from behind the barrier, re-staking, extending the barrier at the ends, reshaping the erosion control mix berm, or installing another barrier further up-slope.

# NONSTRUCTURAL EROSION CONTROL MEASURES

## Nonstructural Measures Defined

Nonstructural measures are temporary or permanent methods used to cover exposed soil areas to prevent erosion from occurring.  Their purpose is to cover the entire area of exposed soil to prevent initial erosion of soil from a construction site.

Examples of nonstructural measures include hay or straw mulch, erosion control mix, matting, or seeding.

## Importance of Nonstructural Measures

Nonstructural measures are important because they provide both temporary and permanent protective cover to exposed soils.  Generally, they provide the first line of protection against erosion, and can be the most effective means of preventing erosion.  This protection is important because exposed soils are easily eroded by wind or water.  Some soils such as silts can easily be removed from a construction site by rainwater.  The impact of individual raindrops on exposed soils can loosen soil particles, and these particles can then be carried off the work site by runoff and deposited into water resources including streams, rivers, wetlands, ponds, and lakes.  Silt particles don’t settle out of water easily, and water siltation can pollute surface waters and harm aquatic creatures such as insects and fish.  For example, brook trout, one of Maine’s premier game fish species, requires clear, high quality water in order to survive.  Silty water can reduce spawning habitat, irritate fish gills, lower oxygen content in water, and make fish susceptible to diseases.

Dry soil conditions and high winds can also cause siltation.  When small particle soils such as silts become dry, they have a powder-like texture and can easily be swept away by winds.  Nonstructural measures help prevent wind erosion because they hold moisture next to the soil, keep the soil from drying out due to wind exposure, and prevent winds from carrying away dry soil particles.

## Placement of Nonstructural Measures

Nonstructural measures will be used whenever there is a possibility that exposed soils on a construction site could wash into adjacent sensitive water resources.  Temporary nonstructural measures such as hay or straw mulch will be spread on all exposed soils within 100-feet of water resources within 48 hours of initial soil disturbance, or before any predicted storm event.  Mulch will also be applied immediately to areas that have been seeded.  All mulch materials will receive periodic inspection by the contractor (especially after rainstorms) to be sure that they are covering the soil they are meant to protect and are functioning properly.  Mulches that are damaged will be repaired, replaced, or reinstalled.

There are two types of nonstructural measures:  temporary and permanent.  Temporary measures are typically used during construction, while permanent measures are usually applied after construction is complete (i.e., restoration).  Erosion control mix is described in temporary measures, though it is also applied as a permanent measure.  Provided below are general discussions and explanations of the common nonstructural measures that are to be used for NRI project construction.

### Temporary Measures

- Hay or straw mulch (unanchored on slopes less than eight percent, anchored on slopes greater than eight percent) on exposed soil areas and soil stockpiles in the construction area.  Figure 24 illustrates proper mulch anchoring using netting;

- Between April 16 and October 31, temporary seeding covered by hay or straw mulch on soil stockpiles or areas of exposed soil within 100 feet of sensitive resources that are not scheduled for final restoration for 30 days.  Temporary seeding is not required during the winter construction season; however, daily mulching is required on all exposed soils, including those exposed during winter, followed by temporary or permanent seeding, as appropriate, as soon as growing conditions allow.  (See Section 9.0 and Table 6 for details of winter construction.)

- Erosion control mix (as described in Section 7.4) can be used as slope reinforcement or mulch on slopes that are 2:1 or less, on frozen ground or forested areas, and at the edge of gravel parking areas and active construction areas.

- Erosion control mix used as mulch applied at different thicknesses depending on the slope and slope length.  For slopes of 3:1 or less, apply erosion control mix 2 inches thick plus an additional 1/2 inch per 20 feet of slope up to 100 feet (e.g., 3 inches thick for 60 feet of slope; 4 inches thick for 100 feet of slope).  For slopes between 3:1 and 2:1, apply erosion control mix 4 inches thick plus an additional 1/2 inch per 20 feet of slope up to 100 feet (e.g., 5 inches thick for 60 feet of slope; 6 inches thick for 100 feet of slope).

- Erosion control mix must be spread evenly and must provide 100 percent soil coverage;

- Erosion control mix will not support grass, but will support clover and other legumes and woody vegetation.  Vegetation can be promoted by seeding, or it can be left to occur naturally.

- Curlex or jute matting on areas of high wind exposure, steep slopes (steeper than eight percent grade), unstable soils, and stream/river bank restoration areas.  Matting is typically anchored with large staples, as recommended by the manufacturer (see Figure 25).  Although this type of material is usually used during final restoration, it is considered a temporary measure because it generally deteriorates within two years.

Temporary, non-structural erosion control measures are summarized in Table 5.

| Table 5. Temporary Nonstructural Erosion Control Measure Summary |
| --- |
| Mulch on slopes less than 8% | Within 100feet of wetlands or waterbodies apply hay and/or straw mulch at a minimum of 70 lbs./1000 square feet of exposed soil (about 2 bales). Must be done within 48 hours of initial soil disturbance and before storm forecasted events, unless specified otherwise. |
| Mulch on slopes greater than 8% | Hay or straw mulch can be applied without being anchored, unless specific site conditions may require use of anchoring. |
| Temporary seeding in uplands | Within 100 feet of wetlands or waterbodies, apply annual ryegrass at 1 lb./1000 square feet. Mulch with hay or straw. Must be done if final restoration is not scheduled within 30 days. |
| Temporary seeding in wetlands | If required, apply annual ryegrass at a rate of 1 lb./1000 square feet and cover with straw mulch. Do not add lime or fertilizer to wetlands. When in doubt, ask the environmental or construction inspector. |
| Temporary seedbed preparation | Apply limestone and fertilizer (uplands only) according to soil test data. If soil test is not possible, 10-10-10 fertilizer may be applied at a rate of 600 lbs./acre and limestone at 3 tons/acre. |

### Permanent Measures

- Permanent grass and/or legume seeding covered by hay or straw mulch on all areas that have been restored to final grade.  This is required to establish permanent, perennial, vegetative cover on exposed soils.  This seeding generally applies between April 16 and October 31.  Permanent seeding is not required during the winter construction season, although dormant seeding may be performed (see Section 9.0 and Table 6).

- Seeding covered by anchored Curlex or jute matting in areas of high wind exposure, on steep slopes (steeper than eight percent grade), unstable soils, and stream/river bank restoration areas.

- The soil may need to be properly prepared before any seed is placed on the ground.  Soil preparation may include addition of lime and fertilizer in areas that have not been tested, or in areas that have been tested and are found to be deficient in plant nutrients.  Lime and fertilizer will only be used in designated upland areas and never within waterbody buffer zones.  If in doubt, ask the BHE environmental inspector.

Summary information regarding proper permanent seed mix, application rates, locations, and mulching requirements is provided in Section 10.0 and Table 7.

# WINTER CONSTRUCTION CONSIDERATIONS

Properly conducted winter construction provides a unique opportunity to complete work in sensitive resources with a minimum of environmental impact.  For instance, construction of the NRI project has been planned to complete work in inundated and saturated wetlands under frozen ground conditions as much as possible.  Other activities, such as clearing and stream crossings, are often best performed when the ground is frozen to minimize impacts.  As a result, considerable construction activity for the NRI project will be conducted during the winter season, while avoiding ROW preparation activities such as clearing and excavation during the fall and spring mud seasons.

Construction activities conducted between November 1 and April 15 will follow the erosion and sediment control BMP that was developed by the DEP for winter construction, as applicable (see BMP A-3).  More frequent, heavier application of temporary mulch, increased dormant seeding rates, the substitution or additional use of erosion control mix berms in erosion control barriers and other supplemental erosion controls will be used as required.

However, it is important to note that following the winter construction BMP may not be necessary at all times during winter construction, and in some situations may increase the potential for erosion and sedimentation.  For example, if there is no snow on the ground or the ground isn’t frozen by November 1, or at any time during winter construction, silt fence will be installed if it can be keyed in properly.  Similarly, if saturated or inundated wetlands are not frozen, all work will be performed from construction mats.  Also, if the ground thaws and the snow is gone before April 15, resumption of the standard BMPs may be appropriate.  Temporary bridges will still be used for all waterbody crossings, regardless of the season or frozen ground or stream conditions.  When in doubt, use common sense and contact the BHE environmental inspector with any questions.  All areas stabilized during the winter construction period will be inspected once snow cover is gone in the spring and remedial measures taken as needed.

Table 6 on the following pages highlights some of the major differences between winter construction and typical construction season BMPs.  The table presents differences for temporary erosion control and stabilization measures that will be used during construction, and permanent measures when construction is completed.

| Table 6. Seasonal Differences in Construction BMP Requirements |
| --- |
| Control Measure | General Construction | Winter Construction |
|  | April 16 through October 31 | November 1 through April 15 |
| Mulch on slopes less than 8% | Within 100-feet of wetlands or waterbodies apply hay and/or straw mulch at a minimum of 70 lbs./1000 square feet of exposed soil (about 2 bales). Must be done within 7 days of initial soil disturbance and before storm forecasted events, unless specified otherwise. | Within 100-feet of wetlands or waterbodies apply and maintain properly anchored hay and/or straw mulch at a minimum of 150 lbs./1000 square feet of exposed soil (about 5 bales) at all times. (double the April 16 – October 31 rate). Or apply anchored erosion control mats or the appropriate layer of erosion control mix (see Section 8.3.1). Do not apply mulch on top of more than 1 inch of snow. Remove snow as necessary. Apply anchored mulch after each day of final grading. |
| Mulch on slopes greater than 8% | Hay or straw mulch can be applied without being anchored, though specific site conditions may require use of anchoring. | Apply mulch as specified above and anchor with Curlex, jute matting, or similar mulch netting. Erosion control mix can be used on slopes in place of anchored hay or straw mulch. |
| Area of exposed soils allowed at any one time | No restriction on area exposed, but contractor must attempt to minimize amount of exposed soil at any one time, especially next to water resources. | Not more than one (1) acre of exposed (not mulched or otherwise devoid of vegetative cover) soil. |
| Sediment barriers | A single line of sediment barriers including silt fence, hay bales, or erosion control mix filter berms must be installed between water resources and disturbed soils. | If soil is frozen, use erosion control mix filter berms in place of hay bale/silt fence sediment barriers. After Dec. 1, install 2 lines of sediment barriers if wetlands or waterbodies are within 100 feet of disturbed soils. |
| Temporary seeding in uplands | If required, apply annual ryegrass at 1 lb./1000 square feet. Mulch with hay or straw. | Not required, but if temporary seeding is desired, it must be applied at a rate 2 times higher than the General Construction Season, and covered with mulch. |
| Temporary seeding in wetlands | If required, apply annual ryegrass at a rate of 1 lb./1000 square feet and cover with straw mulch. Do not add lime or fertilizer to wetlands. When in doubt, ask the environmental or construction inspector. | Not required, but can be applied at a rate 3 times higher than the General Construction Season, and covered with straw mulch. Apply only annual rye grass and do not add lime or fertilizer. |
| Permanent seeding in uplands | Apply seed mixture and mulch as specified in Table 7. | Not required before April 16, but if dormant seeding is desired, the site will receive an adequate cover of loam, if necessary, be seeded at a rate 2 times higher than the General Construction Season, and covered with mulch at a minimum of 150 lbs./1000 square feet. |
| Permanent seeding in wetlands | If required, apply annual ryegrass at a rate of 1 lb./1000 square feet and mulch with straw. Do not add lime or fertilizer to wetlands. | Not required, but can be applied at a rate 2 times higher than the General Construction Season, and covered with straw mulch. Do not add lime or fertilizer.. |
| Temporary seedbed preparation | Apply limestone and fertilizer (uplands only) according to soil test data. If soil test is not possible, 10-10-10 fertilizer may be applied at a rate of 600 lbs./acre and limestone at 3 tons/acre. | Not required, but seedbed can be prepared according to General Construction requirements. |
| Permanent seedbed preparation | Apply limestone and fertilizer (uplands only) according to soil test data. If soil test is not possible, 10-20-20 fertilizer may be applied at a rate of 800 lbs./acre and limestone at 3 tons/acre. | Not required before April 16, but if dormant seeding is desired, the seedbed can be prepared according to the General Construction requirements. |
| Inspection and monitoring | Erosion controls will be inspected weekly and after a ½ inch or greater rain storm to ensure proper function. Monitoring will be performed until a new, healthy vegetative cover is attained over at least 90% of the site. This applies to both temporary and permanent seeding. | Monitoring will be performed weekly during all periods when significant runoff could occur to ensure proper stabilization and re-vegetation (both temporary and permanent). Starting in the spring following completion of the project, inspections will be performed. Areas with less than 75% vegetated cover will be reseeded and mulched and monitoring continued until a new, healthy vegetative cover is attained over at least 90% of the site. |
| Maintenance of erosion controls | Same as winter construction guidelines. | If any evidence of erosion or sedimentation is evident, repairs will be made to existing controls or other methods will be used. |

# SITE RESTORATION STANDARDS

Following completion of the construction work, the contractor will be responsible for conducting site restoration work.  The following guidelines will apply to all activities, including temporary and permanent roads, stream/wetland crossings, staging and work areas, and substation sites.

## General Procedures

At the completion of project construction in an area, BHE or its designated representative, the contractor, and the 3PI will review the project’s restoration needs and prioritize the restoration work to be completed.  This prioritization will consider time of year, ground conditions, re-vegetation probabilities, and equipment availability.  A restoration “walk-through” will be conducted with the contractor and 3PI.

Highest priority restoration areas include, but are not limited to:

- All wetland, stream, or brook crossings, particularly the disturbed areas within 100 feet and stream banks;

- Drainage ways or ditches;

- Cut banks and steep slopes (over eight percent);

- Around substation construction areas;

- Around pole and anchor pole placement; and

- All temporary access roads, ROW travel lanes, yarding, and construction lay down areas.

## Methods of Restoration

The methods of restoration for different areas are as follows:

All soil that is excavated, mounded, or deposited during construction will be re-graded or removed from the site as directed by BHE.  All re-grading and redistribution of soil will be done to match existing grade.

The banks of brooks, streams, and rivers will be restored to natural conditions.  In general, any logs, timbers, construction mats or other material or any structure used at temporary crossings will be removed, and the banks restored to their original depth and contour.  Any bridge materials or support culverts within the channel will be removed.

All construction mats used to cross or work in wetlands will be removed and any surface damage repaired, as needed.  Exposed wetland soils will be stabilized by seeding with annual rye.

Any construction mats, corduroy logs or bridges used to protect water resources on construction access roads will be removed and the road surface regraded to original conditions, as needed.

- Previously installed water bars may remain or new ones will be installed at locations designated by a BHE representative or the 3PI.  Permanent water bars will be constructed to a sufficient height and width to divert the amount of water anticipated at each location as well as to provide some post-project permanence to the site.  Water bars will be permanently seeded to ensure their long-term stability.

- All areas severely rutted by construction equipment will be regraded and permanently revegetated.

- Upon completion of the project, all areas of exposed soil will be permanently revegetated or otherwise permanently stabilized.

- Lime, fertilizer, seed and hay or straw mulch will be applied as follows:

| Table 7. permanent Seeding Specifications |
| --- |
| Type of Area | Soil Amendments | Seed Mix Components/(varieties) | Seed Rate (lbs/acre1) | Mulch (tons/acre) |
| Uplands2,3 | Apply ground limestone @ 3 tons/acre | Creeping red fescue/(Pennlawn, Ensyla, Wintergreen) | 20 | 1.5-2 (90-100 bales) |
|  | Apply 10-20-20 fertilizer @ 800 lbs/acre | Redtop/(any native species) | 2 |  |
|  |  | Tall fescue/(Kentucky 31) | 20 |  |
| Wetlands | None | Annual ryegrass/(any native species) | 40 | 1.5-24 (90-100 bales) |
| 1. Increase seeding rates by 10% when hydroseeding. 2. Add winter rye to the mix at a rate of 120 lb./acre after October 1. 3. Do not lime or fertilize any areas within the waterboby buffers. 4. Mulch wetlands with weed free straw only. |

- The contractor will be responsible for the proper maintenance of all revegetated areas until the project has been completed and accepted.  Where seeded areas have become eroded or damaged by construction operations, or where poor germination is observed, the affected areas will be promptly re-graded, limed, fertilized, and re-seeded as needed.  Areas that are revegetated following construction activities will be considered properly stabilized when a healthy catch of vegetation covers at least 90 percent of the seeded area unless adjacent, undisturbed areas indicate that achieving that level of vegetation in the area is unlikely.

- The contractor will perform all erosion control work to the complete satisfaction of Bangor Hydro-Electric Company and the 3PI before the work is accepted.  BHE will base acceptance of the erosion control and stabilization work on a final inspection.

## Timing of Restoration

Final restoration of areas disturbed by construction will be completed within the following time periods:

- At river, stream or brook crossings, complete final restoration (finish grade, seed and mulch) of all areas within 100 feet of the waterbody within 48 hours of the removal of the crossing.

- Complete final restoration of all other areas within 100 feet of the waterbody or wetland within 48 hours of final grading.

- Complete final restoration of all other areas within 7 days of final grading.

# SUPERVISION AND INSPECTION

To effectively mitigate project-related impacts, the NRI E&S Plan must be properly implemented.  Field decisions may be required regarding timing of construction activities and erosion and sedimentation control measures, proper placement and installation of erosion controls, restoration and revegetation and other construction related items.  Construction of the NRI project will be continually monitored and inspected in the field for compliance with the NRI E&S Plan, as well as other environmental permit requirements and regulations, through the combined efforts of the contractors, BHE environmental inspectors and representatives and an independent 3PI.  A description of the responsibilities of each of these three groups for supervising and inspecting construction activity and sites for compliance with the NRI E&S Plan is provided below.

## Contractor Environmental Officer

All contractors working on construction of the NRI project will be required to designate an individual that is present on the ROW on a daily basis as the contractor’s environmental officer.  The environmental officers will be responsible for monitoring the activities of their employees for compliance with the NRI E&S Plan and other environmental permit requirements.  The contractor’s environmental officer will work closely with his or her own personnel, the BHE construction field supervisor(s) and BHE environmental inspectors to ensure compliance.  The contractor’s environmental officers will be responsible for completing the Contractor’s Weekly Inspection Form of Erosion and Sedimentation Control Measures, included in Appendix E of this document, and for reporting all petroleum or other hazardous material spills to the BHE construction field supervisor(s) and a BHE environmental inspector.

## BHE Environmental Inspectors

To ensure proper implementation of the erosion control plan, two BHE employees or representatives will be assigned as environmental inspectors and be on the ROW at all times during active construction.  The environmental inspectors will supervise the environmental aspects of construction activities and will report directly to the BHE construction field supervisor(s).  Environmental inspectors will have the authority to stop activities that violate the environmental conditions of the NRI E&S Plan or other permit requirements and order corrective action.  The environmental inspectors will have transmission line construction experience, be experienced in erosion control techniques and have an understanding of the wetland and waterbody resources required to be protected.

Responsibilities of the environmental inspectors include working with the contractors, BHE construction field supervisor(s), and the 3PI to ensure project compliance with all environmental requirements permits, and approvals.  Specific duties include:  participation in the walk-through, verifying and marking the location of sensitive resource areas, verifying that all authorized construction work areas are marked before clearing, supervising the proper installation and maintenance of erosion control devices, ensuring the repair of all ineffective temporary erosion control measures within 24 hours of identification, determining corrective action and implementation of additional measures deemed necessary based on field or weather conditions, working with the contractors and BHE to ensure compliance with environmental permit conditions and the spill prevention and control plan, documentation of temporary and permanent revegetation programs, ensuring restoration of contours and topsoil, and other coordination with environmental regulatory agencies.

The environmental inspectors will conduct the pre-construction walk-through of the ROW, followed by a meeting with the BHE construction field supervisor(s) and the contractors to determine the sequence of construction and the placement of erosion control measures to be employed.  The environmental inspectors will also participate in periodic coordination meetings with the 3PI, BHE construction field supervisor(s) and contractor personnel during construction.  In addition, the environmental inspectors will perform daily independent inspection of all erosion control devices to ensure proper functioning in areas of active construction.  Furthermore, field inspections and documentation of erosion controls will be conducted on a weekly basis in areas with no construction, and following major storm events.  The environmental inspector will keep records of compliance with the environmental conditions and mitigation measures required by federal and state environmental permits during active construction and restoration.

## DEP Third Party Inspectors

The third level of supervision and inspection for the project will be provided by the 3PI required by the Maine Site Location Permit.  The 3PI will be selected jointly by BHE and the DEP, with final approval by the Department, and will work for the Department to provide independent monitoring of construction activities and compliance.  The 3PI will work for the Department but will be compensated for their services by BHE.  The final details regarding responsibilities and authority of the 3PI will be developed by BHE in consultation with the Department and will be provided as Appendix F of this document prior to construction.

# ENVIRONMENTAL TRAINING FOR CONTRACTORS

Environmental training will be provided to both BHE and contractor personnel whose activities or responsibilities could impact the environment during project construction.  The level of training will be commensurate with the type of duties of the personnel.  All personnel who will be working on the ROW or substation, or present at a construction site at any time during construction, will be given some form of environmental training before he/she is allowed access to a construction site.  The training will be given prior to the start of construction with refresher training provided on a monthly basis throughout the construction process to reinforce the importance of compliance with environmental requirements, and identify potential changes in erosion and sedimentation control or other requirements that have occurred during construction.

The training program will cover this NRI E&S Plan, the Maine Erosion and Sedimentation Control Law, MEPDES Construction General Permit requirements for storm water management, the Spill Prevention Control and Countermeasure Plan, threatened and endangered species restrictions, job specific permit conditions, BHE company policies, and any other pertinent information related to the job.  In addition to the environmental compliance officer and other inspectors, the BHE construction field supervisor(s) and all construction personnel are expected to play an important role in maintaining strict compliance with all permit conditions to protect the environment during construction.  A record will be kept of the date, location, attendees and topics covered at all training sessions.

APPENDIX A

DEFINITION OF TERMS

APPENDIX A

DEFINITION OF TERMS

BHE-BMP Definitions

Adjacent to a natural resource:  Within 100 feet or in a position to wash into a water resource (river, stream, brook, pond, wetland, or tidal area).

Annual seed mix:  Seed mixture largely made up of plants that only persist one growing season.

Broad based dips:  Reverse slopes or dips constructed in roads with an out-slope in the dip for drainage into vegetated areas to prevent buildup of surface water and subsequent runoff and erosion.  They are used on roads with long slopes and natural dips where slopes are less than eight percent.

Brook:  Water course that has a defined channel, a gravel, sand, rock or clay base, and flows at least part of the year.  It may be a dry channel part of the year.

Continuous contained berm:  A continuous contained berm (a.k.a. filter sock) is a synthetic fabric sock that is filled with erosion control mix.  It is an effective substitute for silt fence or hay bales in frozen ground situations or over pavement.

Critical Areas:  Areas that are environmentally sensitive as well as being sensitive for other reasons.  Such areas may encompass extreme slopes, property owner lands (i.e., hayfields, orchards), low clearance, drinking water watersheds, rail crossings, etc.

Corduroy:  Logs greater than 3 inches in diameter at the small end and at least 18 feet long that are placed perpendicular to travel direction, on approaches to and in wetlands for crossings.  The purpose of the logs is to prevent rutting and preserve vegetation root integrity in and adjacent to wetland areas.  May also be used on approaches to mats or bridge stream crossings.

Cross drain:  A pipe-like or box-like structure of wood, metal, plastic, or concrete that pass under a road to catch surface water from side ditches and direct it away from a road.  They are used where cross drainage of storm water or diversion of a small stream is required.

Crossing:  Any activity extending from one side to the opposite side of a sensitive natural resource whether under, through, or over that resource.  Such activities include, but are not limited to, roads, fords, bridges, culverts, utility lines, water lines, sewer lines, and cables, as well as maintenance work on these crossings.  Crossings should be done to minimize impact.  For example, crossing at a right angle to the resource and finding the driest or narrowest spot is one method for minimizing impact.

Cross-sectional area:  The cross-sectional area of a stream channel is determined by multiplying the stream channel width by the average stream channel depth.  The stream channel width is the straight-line distance from the normal high water line on one side of the channel to the normal high water line on the opposite side of the channel.  The average stream channel depth is the average of the vertical distances from a straight line between the normal high water marks of the stream channel to the bottom of the channel.

Culvert:  A pipe or box structure of wood, metal, plastic, or concrete used to convey water.

Erosion:  Movement of earthen material by water or wind.

Erosion control blanket (matting):  Manufactured material made out of natural or synthetic fiber designed to control movement of earthen material when installed properly.

Erosion control mix:  Erosion control mix consists primarily of organic materials such as shredded bark, stump grindings, composted bark, or similar materials.  Wood and bark chips, ground construction debris, or reprocessed wood products are not acceptable for use in erosion control mix.  It contains a well-graded mix of particle sizes and may contain rocks up to 4-inches in diameter.  Properly manufactured mix will have organic matter content between 80 and 100 percent (dry weight), 100 percent of particles must pass a 6-inch screen, between 70 and 85 percent passing a 0.75-inch screen, the organic portion needs to be fibrous and elongated, only small proportions of silts, clays, or fine sands, soluble salts content will be <4.0 mmhos/cm, and a pH between 5.0 and 8.0.  Its applications include erosion control berms and mulch.

Erosion control plans:  Written guidelines specific to a project or activity, describing various techniques and methods to control erosion for specific construction activities.

Fill:  Any earth, rock, gravel, sand, silt, clay, peat, or debris that is put into or upon, supply to, or allow to enter a water body or wetland.  Material, other than structures, placed in or adjacent to a water body or wetland.

Filter strip:  Undisturbed areas of ground consisting of natural vegetation and natural litter such as leaves, brush, and branches, located between a water resource and access road, skid road or trail, or other area of disturbed soil.

Ford:  A permanent crossing of a stream utilizing an area of existing, non-erodible substrate of the stream, such as ledge or cobble, or by placing non-erodible material such as stone or geotextile on the stream bottom.

Geotextile, Non-woven:  Synthetic material made of spun polypropylene fiber used to support wetland fill or stabilize soils.

Geotextile, Woven:  Synthetic material of woven polypropylene used to stabilize soils and make sediment barriers (silt fence).

Great pond:  An inland water body which in a natural state has a surface area in excess of 10 acres, and any inland water body which is artificially formed or increased which has a surface area in excess of 30 acres.

Intermittent watercourse:  Water course that has water in it only part of the year.  It is still considered a natural resource.

Mats:  Pre-constructed, portable, timber platforms used to support equipment or travel in or over wetlands or water bodies.

Mulch:  Temporary erosion control such as hay, bark, or some similar natural material utilized to stabilize disturbed soil.

Perennial seed mix:  Seed mixture made up of seeds from plants that persist for several years.

Perennial watercourse:  A river, stream, or brook depicted as a solid blue line on the most recent edition of a United States Geological Survey 7.5 minute series topographic map.  Typically has water in it year round.

Permanent access road:  Project access road that is not restored after project construction completion.  Permanent access roads should be designed and constructed so they are not an erosion problem.

Permanent stabilization:  Establishment of a permanent vegetative cover on exposed soils where perennial vegetation is needed for long-term protection.

Permanent vegetative cover:  Perennial seed stock, including but not limited to grasses and legumes that persist for more than several growing seasons.

Protected Natural Resource:  Coastal sand dune system, coastal wetlands, significant wildlife habitat, fragile mountain areas, freshwater wetlands, great ponds or rivers, streams, or brooks.  This definition is taken from the Maine Natural Resources Protection Act dated September 13, 2003.

Riprap:  Heavy, irregular-shaped rocks that are fit into place, usually without mortar, on a slope in order to stabilize and prevent soil erosion.

Sediment barrier:  Staked hay bales, silt fence, or similar materials placed in a manner to intercept silt and sediment laden water runoff.

Sedimentation:  Deposition of earthen material in a water body or wetland.

Sensitive Natural Resource:  Area that deserves special attention because it is significant wildlife habitat, fisheries habitat, or has other natural resource values.  These areas may require the use of minimum impact construction techniques such as use of mats, leaving vegetation intact for buffers, special timing of construction, or other specific techniques.

Settling basin (sediment/catch basin):  Excavated pit placed to intercept water running off disturbed soils or dirt road bed.  Usually used only where filter strip is inadequate to protect a stream, pond, or wetland from silt and sediment.

Silt fence:  Woven geotextile sediment barrier.  Proper installation requires placement on-contour and keying the fabric in at ground level.

Steep slopes:  Slopes in excess of eight percent.

Stream:  Generally, a channel between defined banks with a gravel, sand, rock, or clay base that flows at least part of the year.  It may be a dry channel part of the year.  The Maine Natural Resources Protection Act contains a more detailed definition.

Structure:  Anything built for the support, shelter, or enclosure of persons, animals, goods, or property of any kind, together with anything constructed or erected with a fixed location on or in the ground.  Examples of structures include buildings, utility lines, and roads.

Temporary access road:  Road constructed solely for project access which is restored to original grade upon project completion, if not sooner.  All exposed soils on access road adjacent to water bodies or on slopes steeper than eight percent must be stabilized with a permanent seed mix and mulch or matting.

Temporary stabilization:  Mulch, matting, or seed, or a combination of, utilized to stabilize soil.  Soil stock piles left in place longer than 14 days must have temporary stabilization.

Temporary vegetative cover:  An annual seed mixture, typically annual rye and oats.

Topography:  The contour and elevation of the surface of the ground.

Turn out:  Water diversion that directs water out of a ditch or off a travel-way and into a vegetated buffer.

Upland edge:  The area of uplands alongside a wetland, stream, or waterbody.

Wastes requiring special handling:  Wastes generated from construction activity including engine oil, hydraulic oil, gear oil, diesel, gasoline, or coolants.

Water bar:  Constructed bar across an access road or skid trail that directs surface water off the road or trail into a stable vegetated surface or filter strip.  They are used as a temporary measure on active roads or when closing roads permanently to prevent erosion.

Water body:  River, stream, brook, pond, wetland, or tidal area.

Water resource:  River, stream, brook, pond, wetland, or tidal area.

Wetland:  An area that is inundated or saturated by surface or groundwater at a frequency and for a duration sufficient to support, and which under normal circumstance do support, a prevalence of wetland vegetation typically adapted for life in saturated soils.  The Maine Natural Resources Protection Act contains a more detailed definition.

APPENDIX B

PROJECT CONTACT LIST

APPENDIX B

PROJECT CONTACT LIST

| To be determined Construction Project Manager | Office: 902 428-6600 Pager: 902 221-6500 |
| --- | --- |
| To be determined Lead Environmental Inspector | Office: 207-866-6571 Mobile: 207-944-4259 |
| To be determined Environmental Compliance Manager | Office: 207-879-1930 Mobile: 207-310-1996 |
| To be determined Land Agent | Office: 207-973-2530 Mobile: 207-356-1921 |
| To be determined Public Relations | Office: 207-941-6651 Mobile: 207-949-3915 |

APPENDIX C

CONSTRUCTION TECHNIQUE ILLUSTRATIONS

APPENDIX D

ORRINGTON SUBSTATION SITE-SPECIFIC DRAWINGS

APPENDIX E

CONTRACTOR’S WEEKLY INSPECTION FORM

BANGOR HYDRO-ELECTRIC COMPANY

TEMPORARY STREAM CROSSING AND

EROSION AND SEDIMENTATION CONTROL INSPECTION FORM

FOR

TRANSMISSION LINE AND SUBSTATION CONSTRUCTION PROJECTS

Project Name:

Project Location:

Date:

Inspector:

Do adequate winter conditions exist (frozen ground and at least six inches of snow cover)?

Yes    No    Comments:

Have temporary stream crossings (bridges) been properly installed and are they in tact?

Yes    No   Comments:

Are stream channels clear of debris such that the stream channel is not obstructed?

Yes     No   Comments:

Are Best Management Practices (BMP’s) for erosion and sediment control being employed (such as silt fence, water bars, haybale check dams, seeding, hay mulch)?

Yes	No

Circle all erosion and sediment control BMP’s currently in use:

Silt Fence     Water Bars      Hay Bale Check Dams	Seeding    Mulching

Are BMP’s being used properly (i.e. silt fence keyed-in and maintained, proper seeding and use of hay mulch)?

Yes	No	Comments:

Have temporary timber mats been used for wetland crossings?

Yes 	No	Comments:

Is there any evidence of excessive rutting of soils, wetland crossing without use of temporary mats, soil erosion, or sedimentation of waters along any portion of the areas inspected.

Yes	No	Comments:

If yes, please explain who was notified and directed to take corrective action and the date and time they were notified:

APPENDIX F

FINAL THIRD PARTY INSPECTION PROGRAM

TO BE INSERTED WHEN AVAILABLE

APPENDIX G

MAINE EROSION AND SEDIMENTATION CONTROL LAW*  38 M.R.S.A. § 420-C

##### APPENDIX G
MAINE EROSION AND SEDIMENTATION CONTROL LAW*
38 M.R.S.A. § 420-C

A person who conducts, or causes to be conducted, an activity that involves filling, displacing or exposing soil or other earthen materials shall take measures to prevent unreasonable erosion of soil or sediment beyond the project site or into a protected natural resource as defined in section 480-B.  Erosion control measures must be in place before the activity begins.  Measures must remain in place and functional until the site is permanently stabilized.  Adequate and timely temporary and permanent stabilization measures must be taken and the site must be maintained to prevent unreasonable erosion and sedimentation.

This section applies to a project or any portion of a project located within and organized area of this State.  This section does not apply to agriculture fields.  Forest management activities, including associated road construction or maintenance, conducted in accordance with applicable standards of the Maine Land Use Regulation Commission, are deemed to comply with this section.  This section may not be construed to limit a municipality’s authority under home rule to adopt ordinances containing stricter standards than those contained in this section.

*  The Erosion and Sedimentation Control Law is administered by the Maine Department of Environmental Protection (MDEP), Augusta, Maine.  Please contact the MDEP with specific questions regarding this law.

APPENDIX H

MAINE SLASH LAW*  12 M.R.S.A. § 9333

##### APPENDIX H
MAINE SLASH LAW*
12 M.R.S.A § 9333

§9333.  Disposal along railroad and utility lines

1.  Stumpage owner.  A stumpage owner, operator, landowner or agent who cuts or causes or permits to be cut any forest growth on lands that are within or border the right-of-way of a railroad, a pipeline, or an electric power, telegraph, telephone or cable line may not place slash or allow it to remain on the ground within the right-of-way or within 25 feet of the nearer side of the right-of-way.

2.  Construction.  Slash accumulated by the construction and maintenance of a railroad, a highway, a pipeline or electric power, telegraph, telephone or cable line may not be left on the ground but must be hauled away, burned or chipped.  Slash may not be left or place within the right-of-way or within 25 feet of the nearer side of the right-of-way.  If a burning permit is denied or revoked under this chapter, the director may allow logs that are too large to be chipped to remain in the right-of-way until the director determines that their removal is economically feasible.

3.  Utility line maintenance.  Slash accumulated by the periodic maintenance of a pipeline or an electric power, telegraph, telephone or cable line may be disposed of in the following manner.

- Slash with a diameter of 3 inches or less may be left in piles on the ground within the maintained portion of the right-of-way.  A pile may not be higher than 18 inches from the ground or longer than 50 feet and must be separated from other piles by a minimum of 25 feet in every direction.  A buffer strip with a minimum width of 10% of the total width of the maintained right-of-way must be kept totally free of slash with a diameter of 3 inches or less.

- Slash with a diameter of more than 3 inches must be removed, chipped or limbed and placed on the ground surface.  The pieces must be separated and may not be piled one piece over another.  Slash of this size may be left within the maintained buffer strips.

- If a utility line right-of-way is adjacent to a road, slash that is 3 inches or less in diameter must be removed, burned or chipped.  Slash with a diameter of more than 3 inches may be left on the ground within the right-of-way and must not be limbed and separated and may not be piled one piece over another.  Usable timber products generated from the maintenance of a utility right-of-way may be piled within the right-of-way but must be removed within 30 days.

*  Note that this is an excerpt from the full text of the law.  Please contact the Maine Forest Service, Augusta, Maine, for the full text of the law or with specific questions regarding the Slash Law.

APPENDIX I

OTHER RECOMMENDED REFERENCE MANUALS

##### APPENDIX I
OTHER RECOMMENDED REFERENCE MANUALS

Best Management Practices for Forestry:  Protecting Water Quality.  Maine Forest Service, Augusta, Maine.  2003.  www.state.me.us/doc/mfs/pubs/bmp_manual.htm

Forest Transportation Systems:  Roads and Structures Manual.  Seven Islands Land Company, Bangor, Maine.  Third Edition, 1999.

APPENDIX J

CONSTRUCTION MATERIALS SOURCE LIST

##### APPENDIX J
CONSTRUCTION  MATERIALS  SOURCE  LIST

The following list of vendors has been selected given the wide variety of construction materials they offer.  The list is not meant to be all-inclusive or an indication of favored vendors.

W.H. Shurtleff Company	 (Culverts, Geotextiles)

One Runway Road

PO Box 2800

South Portland, Maine 04116-2800

1-800-633-6149

Attn:  Gerry Bosse or Elaine Keith

A. H. Harris (Geotextiles, i.e. Curlex Excelsior Blankets)

36 Leighton Road	659 Warren Ave.

Augusta, Maine 04332		Portland, Maine 04103

(207) 622-0821		(207) 775-5764

Attn:  Darryl Harvey

North American Green  (Erosion control materials)

Maine Distributor:

E.J. Prescott

24-40 Griffin Street

Gardiner, Maine  04345

(207) 873-3292

Attn:  Bill Green

BFI Organics (Erosion Control Mulch)

5 Fundy Road

Falmouth, ME  04105

1-800-933-6474

Attn:  Chris Balen