.

Non-Wires Alternatives

There are non-wires alternatives for relieving transmission congestion.  Generation, including distributed generation, can be located on the load side of a transmission constraint; demand-side actions can reduce demand during periods of transmission congestion; and remedial Action Schemes (RAS) and new transmission technologies, such as flexible AC transmission systems (FACTS), can also increase transfer capacity without requiring the construction of new wires.

Strategic Importance of Non-wires Alternatives to Transmission Planners

The future is unknown. New technology, volatile and sustained high fuel prices, and drought are examples of conditions that could fundamentally and quickly change how a region chooses to meet load.  During the Western energy crisis of 2000-2001— under conditions no one in the interconnection foresaw – many providers relied on emergency programs to buy back power from customers, and customers’ installed on-site generation.  While the buyback prices were much higher than the price of power purchased from the utilities, the prices were often much less than the market prices of the time.  One lesson from this period is that demand reduction programs can reduce demand given sufficient incentives.

A demand response package and a distributed resources strategy that are a part of every day utility practice could be refined and implemented to reduce the need for transmission expansion and meet demand during a crisis. Deferring big transmission investments without jeopardizing grid reliability may lower costs to consumers, as it allows more of the unknown future to unfold itself. Capital investments in the electric industry tend to be big, lumpy, and long-lived.  There is the risk that new technologies can turn such investments into “white elephants.”  New technologies, such as economical fuel cells, could radically reduce the presently perceived need for new transmission.

Non-wires solutions allow planners to determine, and in some cases delay, the need for transmission construction.  They also can help to alleviate “economic congestion” at lower costs than new transmission.  However, load-based generation and demand-side actions are not substitutes for transmission, which also allows for diversity of generation sources and the inclusion of resources located remotely from load centers.

By illustration, the transmission congestion studies for 2008 and 2013 in this report assume a peak load growth rate of approximately 2% beginning today. If load growth could be reduced to 1%, no additional transmission would be needed in 2013 beyond that assumed in the 2008 study. That is, the load in 2013 would be equal to the loads assumed in 2008.  A reduction in peak load growth and local generation of the magnitude required to halve the growth rate of power delivered through the transmission grid is not infeasible.

The concept of non-wires alternatives is not new.  FERC has recognized the value of non-wires alternatives as complements to transmission construction and requires equal consideration of non-wires alternatives in its RTO orders and proposed SMD rule.  The California ISO and BPA have undertaken initiatives to consider non-wires alternatives in-lieu of new transmission investment.  Consideration of non-transmission alternatives was part of the planning process adopted by former Western regional transmission groups (NRTA, SWRTA, WRTA). Also, the existing WECC regional planning process requires the consideration of “alternatives.”

There are three groups of non-wires alternatives contemplated here:  (1) location of generation on the load side of a transmission constraint; (2) demand-side actions; and (3) non-wires transmission options such as Remedial Action Schemes (RAS) and flexible AC transmission systems (FACTS).

New generation, including central power plants, combined heat and power (CHP) and other distributed generation, can be located on the load side of a constraint and thereby relieve congestion. Existing backup generation on the load side of a transmission constraint can also be used (e.g., PGE’s Dispatchable Standby Generation Program).

There are a variety of demand-side actions that can reduce the need for transmission, including more timely and accurate price signals to consumers that better reflect wholesale market congestion costs, demand buy-back programs (e.g., price-based dispatch, interruptible/curtailable and demand response contracts), and certain measures generally considered only as energy savers.

RAS and new transmission technologies, such as FACTS, can be used to increase transfer capacity on existing wires and thereby reduce transmission congestion.  RAS schemes are widely used in the Western Interconnection to increase transfer capacity on transmission paths.  The cost and impacts on reliability must be considered with these alternatives.

Non-wires alternatives to reduce transmission congestion and help manage future risks should be considered at all levels of transmission planning.  The specificity of the analysis of non-wires alternatives should increase as one moves from interconnection-wide planning, to RTO or sub-regional planning, to planning by load serving entities (LSE).  At SSG-WI’s high level of planning it would be very difficult to specify each of the non-wires alternatives that might be employed to meet transmission needs.  As the planning becomes more specific to regions and LSEs, specific measures will need to be considered.

However, even at the SSG-WI level of planning some high-level statements can be made about the impact of non-wires solutions. For example, there are at least two ways to model the effectiveness of non-wires alternatives in relieving congestion and delaying construction of wires.

The impact of successful demand-side measures in reducing transmission congestion can be estimated by extrapolating the lower load in 2008 to the 2013 scenarios. This result can be achieved, for example, by halving the assumed load growth between today and 2013 to 1%. (See footnote above for calculation.) If demand-side measures were able to hold 2013 peak load to levels forecasted for 2008, one could conclude that the same resources and transmission system that met loads in 2008 would meet loads in 2013.

Another way to measure the effects of non-wires solutions at this high level of analysis is to model sensitivity to load variations. For example, one could arbitrarily drop loads by 10% or 20% in an area on the congested side of a constraint and then estimate changes in production costs to determine whether the availability of non-wires solutions is practically and economically feasible.  These sensitivities have not been undertaken here. If performed, such analysis would give planners at the subregional or LSE levels guidance as to the amount of non-wires solutions that would have to be available to effectively manage congestion.

The impact of RAS and FACTS could be estimated by increasing the carrying capacity of specific paths in the 2013 scenarios that were modeled and estimating the costs associated with those non-wires investments.

When planning for western subregions or utilities, standards, criteria and metrics should be developed to support analysis and comparison of alternatives.  Metrics would include discount rates, assumed facility lifetimes, and other parameters that can be used to compare alternatives on a standard basis.  One approach to considering non-wires alternatives on a sub-regional basis has been documented in a report prepared for BPA, Kangley Echo Lake Economic Screening and Sensitivity Analysis Report, November 8, 2002.

# Footnotes

Current (mid-2003) WECC peak summer loads are approximately 138,000 GWe. Peak summer loads in 2008 and 2013 are assumed in the modeling to be approximately 150,000 and 167,000 GWe, respectively.  Thus, the assumed load growth from now until 2013 is 2%. If the load growth instead were 1%, today’s load of 138,000 GWe would grow to 152,000 GWe by 2013, approximately the assumed load for 2008.

For example, compact fluorescent lights reduce peak loads at a fraction of the cost of serving peak loads with gas-fired generation, and they save energy at less than a penny per kWh.

A downside of this approach is that the difference between 2008 and 2013 is only one possible result. Non-wires alternatives may be available to meet this difference and more.  However, the appropriate level of non-wire alternatives cannot be determined in this way. At this high level of SSG-WI planning one can gain insight by doing this analysis, and possibly create a target for non-wires contributions between now and 2013.

Some resources would have been retired and replaced by other, perhaps more efficient resources, but the total number of GWe would be the same.

# Text boxes

### Non-Wires Alternatives Under Consideration

BPA has initiated a process to incorporate non-wires alternatives into its planning process.  BPA’s actions are based on a consultants report, “Expansion of BPA Transmission Planning Capabilities,” that considers the potential benefits to BPA from looking at other alternatives to complement transmission. The forum for BPA’s consideration of non-wires alternatives is the Round Table, a group comprised of regulators, utility representatives, BPA staff, and public interest groups. To date, BPA has analyzed two projects with respect to whether non-wires alternatives could delay the need for construction. The Kangley-Echo Lake line was found to be too close to being needed to allow for contributions from non-wires alternatives.  The Olympic Peninsula line is currently being evaluated. Initial work appears to indicate that non-wires alternatives may be able to help delay the investment in that line. One set of issues that the Round Table is grappling with is the institutional barriers that affect the ability of non-wires solutions to be used in a planning context.

Under the emergency conditions of 2000-2001, the California ISO also considered non-wires alternatives.