BS-8 teleconference minutes - #1

29 May 2001

Participants: Vlado Bazjanac (LBNL, author of these notes), Jean-Pierre Bedrune (Laurenti), Martha Brook (CEC), Jim Forester (Marinsoft), Krishnan Gowri (PNNL), Reijo Hänninen (Olof Granlund), Philip Haves (LBNL), Rob Hitchcock (LBNL), Juha Hyvärinen (VTT), John Kennedy (GeoPraxis), Kent Reed (NIST), Fritz Schmidt (IKE), Steve Selkowitz (LBNL), PC Thomas (UNSW).

Opening (general discussion).  Vlado outlined the current project schedule based on currently available funding to support this extension of the IFC object data model. The work is planned to produce an HVAC extension to the building services schemata in the IFC data model (with a corresponding ifcXML schema) in a one-year time frame that will be implementable by software vendors, acknowledging that much additional work may be needed later to extend the schemata.  The list of tasks appears complete.  Components defined in XML by GeoPraxis will be included in the extension schemata, with the assistance from GeoPraxis.  The goal is to make Task 3 (HVAC object/attribute/relationship sets) as comprehensive as possible, and to facilitate all kinds of tools that are related to HVAC.  The “space of HVAC” will be divided among collaborators according to their interest.

Task 1 (Connectivity).  Kent spent some time looking at standardization proposals for connectivity.  He will have a proposal about how to do connectivity in IFCs in another two weeks.  Kent will be the lead for this task.

Task 2 (Time series).  This task needs to include more than what is already available, and needs to include a general model of time.  In Jean-Pierre’s opinion, time series modeling and acquisition of internal load schedules directly from FM applications is more important than HVAC modeling itself.  IKE has done work in time series and will contribute to this task.  Vlado will be the task lead; task team members will include Jim, IKE and Rob.

Task 3 (HVAC object/attribute/relationship sets).  BS-7 documents should set the ground for work on this task.  Veijo should circulate these documents - the IFC BS-7 model may be ready before the summer holiday in Finland.  No work will be duplicated, only improved if necessary.  ASHRAE projects (including the XML initiative) will significantly affect the work on this task.  Since there are many different ways to describe the same equipment, BS-8 will try to reach consensus on an orthogonal set of attributes attached to each piece of equipment; this is likely to attract manufacturers to make their own contribution.  It may also prompt ASHRAE to get involved.  A more defined project scope and results that will show real value to the manufacturers in North America as well as in Europe, together with ASHRAE’s blessing, may attract a whole field of manufacturers to collaborate with BS-8.  The project’s goal will be to get at least one of the major equipment vendors actively involved.  According to Reijo, Halton and ABB will join if they see value.  BS-8 should interface with the IAI libraries project to emphasize HVAC.  It will be difficult to get detailed equipment performance data from manufacturers.  The project objective is to create a data model that will facilitate exchange of information.  Vlado has tried to contact LINK MCNS project in UK and will try again (with the help of Jeff Wix).  Phil will lead this task; task team will include IKE, VTT, others from LBNL, and others who may decide to contribute in the future.

Task 4 (Electrical systems).  Some form of a model of supply of electricity to HVAC equipment, as well as of electrical lighting in buildings as related to the simulation of energy performance, is needed.  The model should be small and essential.  Use cases may help better understand the issues - the never completed BS-2 project in UK developed a few use cases that should be reviewed.  An IKE project in Stuttgart developed an approach to account for electricity - contributions to internal loads and to cost of operating the building.  Project documentation is available on the web (Vlado will distribute it via the exploder).  Vlado will lead the task; task team will include Olof Granlund and (informally) Jim.

Task 5 (Controls model).  In general, the modeling of control systems is way behind the modeling of HVAC equipment.  It is a challenge to specify sequences of operation.  Modeling of controls in simulation tools is typically weak and unrealistic.  This task should define all the necessary controls object/attribute/relationship sets, so software applications can define particular sequence(s) of operation.   All control object/attribute/relationship sets should be modeled as part of HVAC.  There seems to be a lot of commercial interest, but little controls modeling work is done in the field.  While most people working in the area are part of BACnet, no formal activity related to controls modeling is apparent within BACnet.  It is not realistic to expect major achievements in modeling controls within the next 12 months.  It would be more realistic to only create placeholders for control definitions to be refined in the future.  An additional task goal should be to identify/forge a group working on building controls.  Phil will lead this task; Kent will (informally) assist.

Task 6 (Relationship to BACnet).  BACnet is part of the controls issue.  An early attempt to map BACnet (pushed by Siemens) is still in the IFC object data model as property sets - Jim will distribute information on that.  Apparently, nobody in Europe knows much about BACnet and everybody has his or her own standards, although Lonworks seems to be a de facto standard.  No teleconference participants have any connections to Lonworks people and effort.  Engineers in Australia are aware of BACnet but are not doing anything consistent about it.  This task should merge with the controls modeling task that Phil will lead.

Task 7 (Integration of BS-7).  Due to the lack of resources, BS-7 is not as complete as it could have been - no time series are included.  IKE has no resources left for BS-7 (only two man-weeks).  Veijo should provide information about BS-7, then the team should figure out what needs to be done/added.  BS-7 discussion and decisions are deferred until Veijo is available.  In the mean time one should examine the available project documentation, and review Phil’s comments regarding the BS-7 model of last summer.

Task 8 (EXPRESS model).  Any modeling in EXPRESS will require completed and compiled spreadsheets.  It probably can start about six months from now.  Jim will act as the collector of existing and any newly developed spreadsheets.  ASHRAE TCs have seen the beginnings of spreadsheets and are apparently enthusiastic to cooperate.  This should be picked up at the next meeting ASHRAE meeting in June.  Jim will lead this task; task team will include IKE (after January 1), possibly VTT, and (informally) Vlado.

Task 9 (IFC model integration).  The EXPRESS schemata need to be integrated with the IFC core model.  Jim will perform the task, with possible assistance from VTT.

Task 10 (Early implementation).  Implementation will be based on modeling extensions, not property sets.  Some “in parallel” implementation will start as soon as sufficient HVAC definitions have been integrated to make implementation possible and meaningful.  The targets for early implementation are Olof Granlund’s BS Pro COM Server and LBNL’s E+ client.  Others, like Francois-Xavier Rocca and Batisoft in France, may join too.  Rob will lead this task; task team will include Olof Granlund, Krishnan, and possibly Kent and Francois-Xavier.

Tasks 11-13 (Coordination and work review).  Vlado will provide the project support (Task 11), including support of the Project Advisory Group (Task 13).  Phil and Mary Ann Piette (from LBNL) will provide the coordination with the overall CEC/PIER project.  Project Advisory Group members will be chosen in the next BS-8 teleconference.

Concluding remarks.  Kent will send the BS-8 exploder list to Vlado for checking.  Vlado will complete the list and send it to all participants for verification.  All project collaborators will put together a paragraph on what they and their organizations do and send the information to the exploder so that every project collaborator can become familiar with his/her colleagues.  Task leaders will prepare their own task work plans and send them to Vlado for compilation and general distribution before the next BS-8 teleconference.

Action items:

- Vlado will distribute the documentation of the IKE project that includes effects of electrical consumption;

- Jim will distribute information on the existing BACnet-related property sets in the IFC object data model;

- Vlado will complete the BS-8 exploder list and send it to all participants for verification;

- All project collaborators will put together a paragraph on what they and their organizations do and send the information to the exploder;

- Task leaders will prepare their own task work plans and send them to Vlado for compilation and general distribution by Sunday, June 10.

The next BS-8 teleconference will take place in two weeks on Tuesday, June 12.  It may start one hour earlier (at 14:30 GMT, which is 7:30 PDT, 10:30 EDT, 16:30 in Germany and France, and 17:30 in Finland) - Vlado will confirm the starting time via e-mail.