# PART IV – RIGID BASE COURSES

### ITEM P-301  SOIL-CEMENT BASE COURSE

DESCRIPTION

301-1.1   This item shall consist of constructing a base course by uniformly mixing together soil, portland cement, and water.  The mixed material shall be spread, shaped, and compacted in accordance with these specifications and in conformity to the dimensions and typical cross section shown on the plans.  Tests shall be required for each approved soil that will be included in the treated layer.

Runway, taxiway, or apron pavements shall be built in a series of parallel lanes using a plan of processing that reduces longitudinal and transverse joints to a minimum.

MATERIALS

301-2.1  PORTLAND CEMENT.  Portland cement shall conform to the requirements of ASTM [    ].

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

The Engineer shall specify ASTM C 150, Type I, II, III, IV, or IV.

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

301-2.2  WATER.  Water shall be clean and free from sewage, oil, acid, strong alkalies, or vegetable matter.  Water of questionable quality shall be tested in accordance with the requirements of AASHTO T 26.

301-2.3  SOIL.  The soil shall consist of an approved select soil.  The soil shall be free of roots, sod, weeds, and shall not contain gravel or stone retained on a 1-inch (25 mm) sieve or more than 45% retained on a No. 4 sieve, as determined by ASTM C 136.

301-2.4  BITUMINOUS MATERIAL.  The types, grades, controlling specifications, and application temperatures for the bituminous materials used for curing the soil-cement are listed in Table 1.  The Engineer shall designate the specific material used.

TABLE 1.  BITUMINOUS MATERIALS

| Type and Grade | Specification | Application Temperature |
| --- | --- | --- |
|  |  | Deg. F | Deg. C |
| Cutback Asphalt |  |  |  |
| RC-70 | ASTM D 2028 | 120-160 | 50-70 |
| RC-250 | ASTM D 2028 | 160-200 | 70-95 |
| Emulsified Asphalt |  |  |  |
| RS-1, SS-1 | ASTM D 977 | 75-130 | 25-55 |
| CRS-1 | ASTM D 2397 | 75-130 | 25-55 |

CEMENT QUANTITY

301-3.1  LABORATORY SOIL TESTS.  Prior to base course construction, laboratory tests of soils shall be made to determine the quantity of cement required in the mix.

Test specimens containing various amounts of cement are to be compacted in accordance with ASTM D 558, and the optimum moisture for each amount of cement is to be determined.  Samples at the optimum moisture shall be subjected to the wet-dry and the freeze-thaw test in accordance with ASTM D 559 and D 560, respectively.

The specified cement content for construction shall be that at which the weight loss of the specimens subjected to 12 cycles of either the wet-dry or the freeze-thaw is not more than 14% for granular soils, 10% for the more plastic granular and silty soils, and 7% for clay soils.

The compressive strength of soaked specimens should increase both with age and with increase in cement content.

CONSTRUCTION METHODS

301-4.1  WEATHER LIMITATIONS.  The soil-cement base shall not be mixed or placed while the atmospheric temperature is below 35° F (2° C) or when conditions indicate that the temperature may fall below 35° F (2° C) within 24 hours, or when the weather is foggy or rainy, or when the soil or subgrade is frozen.

301-4.2  EQUIPMENT.  The soil-cement may be constructed with any equipment that will meet the requirements for soil pulverization, cement application, mixing, water application, incorporation of materials, compaction, finishing, and curing specified herein.

301-4.3  PREPARATION.  The area to be paved shall be graded and shaped to conform to the grades and typical cross section shown on the plans.  Any soft or yielding areas in the subgrade shall be removed and replaced with acceptable soil and compacted as specified.

301-4.4  PULVERIZATION.  The soil for the base course shall be so pulverized that at the completion of moist-mixing, 100% by dry weight passes a 1-inch (25 mm) sieve and a minimum of 80% passes a No. 4 sieve, exclusive of gravel or stone retained on the No. 4 sieve.

301-4.5  CEMENT APPLICATION, MIXING, AND SPREADING.  Mixing of the soil, cement, and water shall be accomplished either by the mixed-in-place or the central-plant-mixed method.

The percentage of moisture in the soil, at the time of cement application, shall not exceed the quantity that will permit a uniform and intimate mixture of soil and cement during mixing operations, and it shall not exceed the specified optimum moisture content for the soil-cement mixture.

Method A – Mixed-in-place.  The specified quantity of cement shall be spread uniformly on the soil.

Cement that has been displaced shall be replaced before mixing is started.  After the cement has been applied, it shall be mixed with the soil.  Mixing shall continue until the cement has been sufficiently blended with the soil to prevent the formation of cement balls when water is applied.

Immediately after the soil and cement have been mixed, water shall be incorporated into the mixture.  Excessive concentrations of water on or near the surface shall be avoided.  A water supply and pressure distributing equipment shall be provided that will assure the application within 3 hours of all mixing water on the section being processed.  After all mixing water has been applied, mixing shall continue until a uniform and intimate mixture of soil, cement, and water has been obtained.

Method B – Central plant mixed.  The soil, cement, and water shall be mixed in a pugmill, either of the batch or continuous-flow type.  The plant shall be equipped with feeding and metering devices that will add the soil, cement, and water into the mixer in the specified quantities.  Soil and cement shall be mixed sufficiently to prevent cement balls from forming when water is added.  Mixing shall continue until a uniform and intimate mixture of soil, cement, and water is obtained.

The mixture shall be hauled to the project in trucks equipped with protective covers.  The mixture shall be placed on the moistened subgrade in a uniform layer by an approved spreader(s).  Not more than 30 minutes shall elapse between the placement of soil-cement in adjacent lanes.

The layer of soil-cement shall be uniform in thickness and surface contour and of such quantity that the completed base will conform to the required grade and cross section.  Dumping of the mixture in piles or windrows upon the subgrade will not be permitted.

Not more than 60 minutes shall elapse between the start of moist mixing and the start of compaction of soil-cement.

301-4.6  COMPACTION.  Immediately upon completion of the spreading operations, the mixture shall be thoroughly compacted.  The number, type, and weight of rollers shall be sufficient to compact the mixture to the required density.

The field density of the compacted mixture shall be at least 98 percent of the maximum density of laboratory specimens prepared from samples of the cement-treated base material taken from the material in place.  The specimens shall be compacted and tested in accordance with ASTM D 558.  The in-place field density shall be determined in accordance with ASTM D 1556.  Any mixture that has not been compacted shall not be left undisturbed for more than 30 minutes.  The moisture content of the mixture at the start of compaction shall not be below nor more than 2 percentage points above the optimum moisture content.  The optimum moisture content shall be determined in accordance with ASTM D 558 and shall be less than that amount which will cause the mixture to become unstable during compaction and finishing.

301-4.7  FINISHING.  Finishing operations shall be completed during daylight hours, and the completed base course shall conform to the required lines, grades, and cross section.  If necessary, the surface shall be lightly scarified to eliminate any imprints made by the compacting or shaping equipment.  The surface shall then be recompacted to the required density.

301-4.8  CONSTRUCTION JOINTS.  At the end of each day's run, a transverse construction joint shall be formed by a header or by cutting back into the compacted material to form a true vertical face free of loose material.

The protection provided for construction joints shall permit the placing, spreading, and compacting of base material without injury to the work previously laid.  Where it is necessary to operate or turn any equipment on the completed base course, sufficient protection and cover shall be provided to prevent damage to the finished surface.  A supply of mats or wooden planks shall be maintained and used as approved and directed by the Engineer.

Care shall be exercised to ensure thorough compaction of the base material immediately adjacent to all construction joints.  When spreading or compacting base material adjacent to a previously constructed lane, care shall be taken to prevent injury to the work already constructed.

301-4.10  PROTECTION AND CURING.  After the base course has been finished to grade and compacted as specified herein, it shall be protected against drying for a period of 7 days by the application of bituminous material or other acceptable methods.  The curing method shall begin as soon as possible, but no later than 24 hours after the completion of finishing operations.  The finished base course shall be kept moist continuously until the curing material is placed.

The bituminous material specified shall be uniformly applied to the surface of the completed base course at the rate of approximately 0.2 gallon  per square yard (0.92 liter/square meter) with approved heating and distributing equipment.  The exact rate and temperature of application to give complete coverage without excessive runoff shall be as specified.

At the time the bituminous material is applied, the surface shall be dense, free of all loose and extraneous material, and shall contain sufficient moisture to prevent penetration of the bituminous material.  Water shall be applied in sufficient quantity to fill the surface voids immediately before the bituminous curing material is applied.

The curing material shall be maintained and applied as needed by the Contractor during the 7-day protection period so that all of the soil-cement will be covered effectively during this period.

Finished portions of soil-cement that are used by equipment in constructing an adjoining section shall be protected to prevent equipment from marring or damaging the completed work.

When the air temperature may be expected to reach the freezing point, sufficient protection from freezing shall be given the soil-cement for 7 days after its construction and until it has hardened.

Other curing materials such as moist straw or hay may be used if approved.

301-4.11  CONSTRUCTION LIMITATIONS.  When any of the operations after the application of cement are interrupted for more than 30 minutes or when the uncompacted soil-cement mixture is wetted by rain so that the moisture content is exceeded by a small amount, the decision to reconstruct the portion affected shall rest with the Engineer.  In the event the uncompacted, rain-wetted mixture exceeds the specified moisture content tolerance, the Contractor shall reconstruct at his/her expense the portion affected.  All material along the longitudinal or transverse construction joints not properly compacted shall be removed and replaced, at the Contractor's expense, with properly moistened and mixed soil-cement compacted to specified density.

301-4.12  SURFACE TESTS.  The finished surface shall not vary more than 3/8 inch (9 mm) when tested with a 16-foot (4.8 m) straightedge applied parallel with, or at right angles to, the longitudinal axis of the pavement.  Any variations in excess of this tolerance shall be corrected by the Contractor, at his/her own expense, and in a manner satisfactory to the Engineer.

301-4.13  THICKNESS.  The thickness of the soil-cement base course shall be determined from measurements of cores drilled from the finished base or from thickness measurements at holes drilled in the base at intervals so that each test shall represent no more than 300 square yards (250 square meters).  The average thickness of the base constructed during one day shall be within 1/2 inch (12 mm) of the thickness shown on the plans, except that the thickness of any one point may be within 3/4 inch (13 mm) of that shown on the plans.  Where the average thickness shown by the measurements made in one day's construction is not within the tolerance given, the Engineer shall evaluate the area and determine if, in his/her opinion, it shall be reconstructed at the Contractor's expense or the deficiency deducted from the total material in place.

301-4.14  MAINTENANCE.  The Contractor shall be required to maintain, at his/her own expense, the entire base course within the limits of his/her contract in a condition satisfactory to the Engineer from the time he starts work until all the work has been completed.  Maintenance shall include immediate repairs of any defects that may occur either before or after the cement is applied.  The work shall be done by the Contractor at his/her own expense and repeated as often as necessary to keep the area intact at all times.  Repairs shall be made in a manner that will insure restoration of a uniform surface and the durability of the part repaired.  Faulty work must be replaced for the full depth of treatment.  Any low areas shall be remedied by replacing the material for the full depth of treatment rather than by adding a thin layer of soil-cement to the completed work.

METHOD OF MEASUREMENT

301-5.1  The quantity of soil-cement base course to be paid for shall be the number of square yards (square meters) of completed and accepted base course.

301-5.2  Portland cement shall be measured by the hundredweight.

BASIS OF PAYMENT

301-6.1  Payment shall be made at the contract unit price per square yard (square meter) for soil-cement base course.  This price shall be full compensation for furnishing all materials, except portland cement, and for all preparation, delivering, placing, and mixing of these materials; and for all labor, equipment, tools and incidentals necessary to complete the item.

301-6.2  Payment shall be made at the contract unit price per hundredweight for cement. This price shall be full compensation for furnishing this material and for all delivery, placing, and incorporation of this material, and for all labor, equipment, tools, and incidentals necessary to complete the item.

Payment will be made under:

Item P-301-6.1	Soil-Cement Base Course—per square yard (square meter)

Item P-301-6.2	Portland Cement—per hundredweight

TEST REQUIREMENTS

ASTM C 136	Sieve Analysis of Fine and Coarse Aggregates

ASTM D 558	Moisture-Density Relations of Soil-Cement Mixtures

ASTM D 559	Wetting-and-Drying Tests of Compacted Soil-Cement Mixtures

ASTM D 560	Freezing-and-Thawing Tests of Compacted Soil-Cement Mixtures

ASTM D 1556	Test for Density of Soil In-Place by the Sand Cone Method

AASHTO T 26	Quality of Water to be Used in Concrete

MATERIAL REQUIREMENTS

ASTM C 150	Portland Cement

ASTM D 977	Emulsified Asphalt

ASTM D 202	Cutback Asphalt

ASTM D 239	Cationic Emulsified Asphalt

END OF ITEM P-301

Intentionally Left Blank