-----Original Message-----

From: 	Lucero, Florian C

Sent:	March 04, 2002 4:24 PM

To:	Millington, Larry D; ORG-10253; ORG-10800; ORG-10810; ORG-10820; ORG-10821; ORG-10823; ORG-10824; ORG-10825; ORG-108253; ORG-10826; ORG-10827; ORG-108271; ORG-108272; ORG-10840; ORG-10841; ORG-10842; ORG-108421; ORG-108422; ORG-108423; ORG-10843; ORG-108431; ORG-108432; ORG-108433; ORG-108441; ORG-108442; ORG-108443; ORG-108444; ORG-10845; ORG-108451; ORG-108452; ORG-108453; ORG-108454; ORG-10846; ORG-10847; ORG-10848; ORG-108481; ORG-108482; ORG-108483; ORG-10849; ORG-108491; ORG-108492; ORG-10850; ORG-10851; ORG-10852; ORG-10853; ORG-10854; ORG-10860; Peterson, Jay

Subject:	Engineering Standard Program Update - 0302a

****************************************************************************************

STANDARD SPECIFICATION AND UNIVERSAL CONSTRUCTION PACKAGE UPDATE NOTIFICATION

****************************************************************************************

Noted below is an Engineering Standards Program (ESP) update for two Standards Specifications and the two UCP's.  The distribution list for this e-mail is center 10800 and department 10253.  I am sorry for the wide distribution, but If you do not need or are not interested in this information, you may delete this message without reading it.

1)  Environment, Safety, and Health for Construction and Service Contracts, standard specification, 01065

The need for these changes was identified by a root cause team investigating an accidental penetration into an energized electrical conduit during construction activities. These changes are consistent with the changes made to the FMOC Excavation/Penetration Procedure (OP-004).   The specific changes were made in the following locations:

1.05 C. The Spec referred to the Dig/Penetration Permit. The actual name is Excavation/Penetration Permit.

1.09 A, B, C, & D (primary change found in C)

Credits:  Carla Lamb, Walt Zukowski

2)  Underground Water Lines for Domestic and Fire Protection Systems, standard specification 02665

On page 6, replaced the requirement for cement lining of couplings with epoxy coating.

Credits:  Darrel Rogers

3)  Universal Construction Package (UCP) - Standard and Short

Deleted the three pages titled "PROJECT CRITERIA INFORMATION" .  Those three pages are now a completely separate document that the Project Manager completes and sends to Lynn Fitzpatrick, ahead of the UCP, in order to be assigned a buyer.

Added  "Quality-Significant yes/no" to the first page of the UCP form to allow the project manager to flag the buyer on this issue.

Added Standard Provisions to disallow mobile phones in limited areas and require everyone to ware a Sandia issued badge.

Updated the UCP per current processes and terminology.  For example, replaced "Project Number" with "Service Order Number", added "Project" and "Task", added "PR No.", replaced "Tech Area" with "Limited Area", deleted Design Lead references, simplified the estimated cost table, and several other similar changes.

Both UCP's have been updated to reflect the updated revisions to the two specifications noted in items 1 and 2 above.

Credits:  Jan Couto, Christine Cooper, Rick Ramirez, Scott Rowland, Florian Lucero

These documents are available on the Facilities Shared Network Drive (\\london\stdu) and will also be available from the document management system by the end of the week.   The A/E's on our distribution list will be notified by separate e-mail of the changes and will be given 30 days to download the updated specifications in PDF format from Sandia's FTP site.

If you have questions or need assistance with the standards, call Jan Couto at 844-3327 or Flo Lucero at 844-6044.