Supplemental Watershed Plan No. 1

And

Environmental Assessment

For the

Plum Creek Watershed,

Rehabilitation of Flood Retarding Structure No. 18

Lead Agency:  U.S. Department of Agriculture, Natural Resource Conservation Service, Lexington, KY

Sponsored by:  Plum Creek Watershed Conservancy District and the Spencer County Conservation District

Proposed Action:   This project was initiated due to the Kentucky Division of Water (KDOW) Office of Dam Safety issuance of a notice of violation (NOV) to the Plum Creek Watershed Conservancy District for Plum Creek floodwater retarding structure (FRS) #18.  Construction of FRS#18 was completed in 1957 under the Pilot Watershed Program and authorized by the Watershed Protection and Flood Prevention Act (PL 83-566).  Due to changes in KDOW dam safety regulations and a pre-existing home below the dam, the KDOW is now requiring FRS #18 to be upgraded to meet class C criteria (high hazard) or remove the threat of flooding to the downstream home.  The sponsors requested technical assistance from the NRCS to evaluate various structural and non-structural alternatives to correct the situation.  The preferred alternative for this project is Alternative #2 - demolish the existing home and build a new elevated home on the same site. The proposed alternative would upgrade the dam to meet NRCS and KDOW current standards and criteria for a “Significant” or “Moderate” hazard (class B) dam and would replace the concrete riser and add a supplemental toe drain system to the dam.

Responsible Official:	David Sawyer, State Conservationist, NRCS-USDA, Lexington, KY

Review Process:  NRCS has completed this Plan/EA in accordance with the National Environmental Policy Act.  Reviewers should provide the NRCS their comments during the review period. This will enable the NRCS to analyze and respond to the comments at one time and to use information acquired.  Reviewers have an obligation to structure their participation in the National Environmental Policy Act process so that it is meaningful and alerts the agency to the reviewers’ position and contentions. Comments should be specific and should address the adequacy of the statement and the merits of the alternatives discussed (40 CFR 1503.3).

Send Comments to:	NRCS, Attn: Plum Creek, Suite 210, 771 Corporate Drive, Lexington, KY 40503

Date Comments Must Be Received:   November 9, 2006 or within 45 days after notice of availability is published in the Federal Register.

Contact Information:  Jacob Kuhn, Assistant State Conservationist (859-224-7371) or Anita Arends, Resource Conservationist (859-224-7354)

Non-Discrimination Statement

The U.S. Department of Agriculture (USDA) prohibits discrimination in all its programs and activities on the basis of race, color, national origin, age, disability, and where applicable, sex, marital status, familial status, parental status, religion, sexual orientation, genetic information, political beliefs, reprisal, or because all or part of an individual’s income is derived from any public assistance program.  (Not all prohibited bases apply to all programs.)  Persons with disabilities who require alternative means for communication of program information (Braille, large print, audiotape, etc.) should contact USDA’s TARGET Center at (202) 720-2600 (voice and TDD).  To file a complaint of discrimination, write to USDA, Director, Office of Civil Rights, 1400 Independence Avenue, S.W. Washington, D.C. 20250-9410, or call (800) 795-3272 (voice) or (202) 720-6382 (TDD).  USDA is an equal opportunity provider and employer.

# table of contents

Summary							1

Introduction							5

Purpose and Need						6

Overview of Alternatives Analyzed in Detail		6

Project Setting						7

Breach Analysis and Hazard Classification		13

Potential Modes and Consequences of Dam Failure	15

Watershed Problems and Opportunities			18

Alternatives Eliminated from Detailed Study		20

Alternatives Analyzed in Detail				22

Effects of Alternative Plans                          		24

Consultation and Public Participation			33

Recommended Plan						34

Page ii

Supplemental Watershed Plan No. 1 and Environmental Assessment

For the Plum Creek Watershed-

Rehabilitation of Flood Retarding Structure (FRS) #18

Spencer County, KY

Summary of Watershed Plan

Project name:  Plum Creek FRS #18

County/State:  Spencer County, KY

Sponsors:  Plum Creek Watershed Conservancy District and the Spencer County Conservation District

Description of recommended plan:  The preferred alternative for this project is Alternative #2 which consists of demolishing the existing home located in the breach zone of the FRS and building the property owner a new, elevated, flood-proofed home. The project would also replace the riser and add a supplemental toe drain system to the FRS.  These actions would make the structure compliant with NRCS and State regulations and extend the life of the FRS for a minimum of 50 years but not more than 100 years.

Resource Information:

Size of drainage area FRS#18 (acres):- 673

Size of Plum Creek Watershed (acres)-23,688

Spencer County information (2002 census)

Number of farms - 623

Land in Farms -77,525 acres

Average Size of Farms- 123 acres

Total Cropland - 46,714 acres

Harvested Cropland-27,501 acres

Cropland used for grazing or pasture-15,072 acres

Number of minority farm operators-6

Prime farmland (Bullitt-Spencer Counties)-2468 acres

Hydric or partially Hydric soils (Bullitt-Spencer Counties)-252 acres

Project beneficiary profile:   The estimated population in Spencer County in 2000 was 11,766. The estimated County population in 2004 was 14,822.  The median household income in Spencer County is $47,042 while the U.S. median is $41,994.  County home values average $122,400.  Average Kentucky home value is $86,700 while the US average is $119,600. (US Census, 1999)  The percent of population living below poverty in 1999 was 8.8%, almost half as less as the State figure of 15.8%. (Census, 2006).

Endangered species:  According to the USFWS, there may be summer roost habitat for the endangered Indiana bat in the local area.  Forested areas near the project site may provide potential suitable summer roosting and foraging habitat and any rockshelters in the area may provide potentially suitable winter hibernacula habitat.   Recommendations by the USFWS will be followed to insure protection of this species.

Cultural resources: There are five cultural resource sites documented in the Plum Creek watershed.  Four are located near the juncture of Plum Creek and the Salt River.  The remaining two are located in the upper part of watershed.  No documented cultural resources are located closer than a mile and a half from the project area.  A qualified archeologist conducted an evaluation of the home to be removed and the pond area behind the dam.

Problem identification: This project was initiated due to the Kentucky Division of Water (KDOW) Office of Dam Safety issuance of a notice of violation (NOV) to the Plum Creek Watershed Conservancy District for Plum Creek floodwater retarding structure (FRS) #18.  Construction of FRS#18 was completed in 1957, under the Pilot Watershed Program.  Due to a change in KDOW regulations and a pre-existing home below the dam, the KDOW is now requiring FRS #18 to be upgraded to meet class C criteria (high hazard), or remove the threat of flooding to the downstream home.  The sponsors requested technical assistance from the NRCS to evaluate various structural and non-structural alternatives to correct the situation.

Alternative plans considered:  Numerous structural and non-structural alternatives were considered including: decommissioning, building a parapet wall, enlarging the existing berm, installing an additional spillway, demolition and replacement of the home, and eminent domain.

The alternatives analyzed in detail in this environmental assessment are:

Alternative #1. No Action.  Under this alternative, no federal funds would be expended and the sponsors would continue to be in violation of KDOW dam safety regulations.  The outcome would likely be that the sponsors are fined for non-compliance and/or FRS #18 would be breached.  A breach of the structure would cause the loss of current flood control benefits.

Alternative #2.  Demolition and Replace -The Preferred Alternative.  This alternative proposes to demolish and replace the downstream home currently within the breach zone of FRS#18.  The home would be removed and a new, elevated home placed on the same lot.  As part of this alternative, the concrete riser would be replaced and a supplemental toe drain system installed.

Alternative 3. Parapet Wall Construction. This alternative calls for the construction of a concrete parapet wall on top of FRS#18, modification of the auxiliary spillway; and repair/replacement of the toe drain and riser.

Alternative 4.  Eminent Domain.  Under this alternative the sponsors would initiate eminent domain proceedings against the homeowner, pay the homeowner fair market value for the property, and then remove the home located in the breach zone.  The concrete riser would be replaced and a supplemental toe drain system added.

Project purpose(s):  watershed protection and watershed rehabilitation.

Show which of the identified problems the project will address: The primary objective for this project is to bring the FRS into compliance with all current State and NRCS regulations for dam safety. The project will also maintain current levels of flood protection for residents downstream of the dam.

Principal project measures:

Project measures of the recommended alternative consist of the following items:

- D&R of a home in the breach zone of the FRS

- Replacement of the FRS riser

- Addition of a supplemental toe-drain system

Project costs: PL 83-566 funds: $123,700

Other funds:  $66,700

Cost-share Total:  $190,400

| Figure 1. Eligible Project Cost for Cost-share Computation (Dollars)1 |
| --- |
| Works of Improvement | NRCS | Sponsors | Total |
| Cost Sharable Items |
| Rehabilitation of Dam (Construction Costs) | $81,000 | $0 | $81,000 |
| Relocation, Replacement in kind | $42,700 | $52,700 | $95,400 |
| Relocation, required Decent Safe Sanitary | $0 | $3,000 | $3,000 |
| Sponsors Planning Cost | NA | $3,000 | $3,000 |
| Sponsors Engineering Costs | NA | $0 | $0 |
| Sponsors Project Administration | NA | $8,000 | $8,000 |
| Land Rights Acquisition Costs | NA | $0 | $0 |
| Subtotal: Cost-Share Costs Cost-Share Percentages 2 | $123,700 65.0% | $66,700 35.0% | $190,400 100.0% |
| Non-Cost-Sharable Items 3 |
| NRCS Engineering & Project Administration | $24,000 | NA | $24,000 |
| Natural Resource Rights | NA | $0 | $0 |
| Federal, State and Local Permits | NA | $500 | $500 |
| Relocation, beyond Required Decent Safe & Sanitary | NA | $0 | $0 |
| Subtotal Non-Cost-Share Costs | $24,000 | $500 | $24,500 |

## Costs as of 8/06

Environmental values changed or lost- No environmental values will be permanently lost as a result of this project.

Also briefly describe any compensatory mitigation included in the plan- To insure protection of the Indiana bat, recommendations of the USFWS will be followed.  Tree removal, if needed, will occur between October 15 and March 31 to avoid impacting summer roosting Indiana bats.  If any Indiana bat hibernacula are identified in or near the project area, tree removal will occur between November 15 and March 31 in order to avoid impacting bat swarming behavior.  If trees need to be removed outside these time periods, the USFWS will be consulted.

Major conclusions: The purpose of this project is to meet all applicable NRCS and KDOW dam safety standards. The lifespan of Plum Creek FRS #18 will be extended for a minimum of 50 more years.  The recommended plan will accomplish these objectives at the lowest costs to NRCS and the sponsors.

Areas of controversy:  None

Issues to be resolved:  Signing of agreements – sponsors and homeowner.

Introduction

Plum Creek Site 18 is one of eleven floodwater-retarding structures built within the Plum Creek Watershed and is located near the Town of Waterford, Spencer County, Kentucky.  The Plum Creek Watershed was a Pilot Watershed project with its Work Plan finalized in 1954 under authority of Public Law 46, 74th Congress, and as provided for under the watershed protection item in the Agricultural Appropriation Bill No. 1954, 83rd Congress, 1st Session.  The design of Site 18 was completed in May of 1956, and construction was completed in 1957.  Based on old aerial photos, USGS topographic maps, and observations by community members, it appears that a house existed downstream of the structure prior to design and construction of the dam.  The original Work Plan for Plum Creek Watershed, dated September 1954, makes no reference to hazard class for any of the dams.  Apparently, hazard classification criteria and policy had not been developed and implemented prior to the planning, design, and start of construction of this dam.  Since the start of construction in 1956, dam hazard classification criteria and design criteria have been issued by both the NRCS and by the Kentucky Dam Safety Office.  This dam currently meets the designation of a “HIGH” hazard (class C) dam according to the current criteria by NRCS and the KDOW, Dam Safety Office.

The need to upgrade this structure was prompted by enforcement actions taken by the Kentucky Division of Water (KDOW), Dam Safety Section.  The KDOW issued a notice of violation (NOV) to the sponsors of Plum Creek FRS #18 in a letter dated August 21, 2002, and then again in a letter dated October 21, 2003.  The NOV informed the Plum Creek Watershed Conservancy District that FRS#18 had been reclassified by KDOW as a “high hazard” structure due to one or more homes located within the breach zone of the dam.

Plum Creek FRS #18 currently does not meet NRCS and State of Kentucky Dam Safety requirements for a high hazard dam.  This high-hazard dam is required to pass a rainfall event of 28.1 inches (also known as a probable maximum precipitation or PMP) within a six-hour period without overtopping the dam.  Currently, FRS #18 has a spillway capable of passing 14.3 inches (50% of PMP) of rainfall within a six-hour period without overtopping the dam.

The Plum Creek Conservancy District is currently involved in the enforcement process whereby they must periodically report their efforts toward resolving this safety concern to an attorney with the Kentucky Environmental and Public Protection Cabinet.  KDOW has informed the Conservancy District that this matter must be resolved or the District could be fined daily and/or the dam could be breached by the State.

In a letter dated November 4, 2002, the Plum Creek Conservancy District formally requested the assistance of the NRCS under the Small Watershed Rehabilitation Amendment, PL-106-472.  Over the past three years, the Natural Resources Conservation Service (NRCS) has worked with local sponsors to identify and evaluate both structural and non-structural options for corrective action.  Upon request from the sponsors, a team of NRCS specialists conducted the initial field assessment of the site on August 26, 2003.

Purpose and Need

The primary objective for this project is to bring Plum Creek FRS#18 into compliance with current NRCS and the KDOW Dam Safety standards and to maintain or improve the current levels of flood protection for residents downstream of the dam.  By implementing the preferred alternative (Alternative #2 as described in this document) the following results will be achieved:

- The “high hazard” safety concern for the inhabitants of the home currently within the breach zone of this dam will be removed by replacing the home at an elevation above the breach inundation area below the dam.

- FRS #18 will be modified to meet current NRCS and KDOW dam safety standards and requirements for a “Significant” or “Moderate” hazard dam (class B);

- The service life of the structure will be extended for a minimum of 50 years; and

- Current levels of downstream flood protection will be maintained.

Overview of the Alternatives Analyzed in Detail

The following alternatives were considered feasible for the Plum Creek FRS #18 project and were studied in detail.

Alternative #1. No Action.  Under this alternative, no federal funds would be expended and the Sponsors would continue to be in violation of Kentucky Division of Water dam safety regulations.  The outcome would likely be that the sponsors are fined for non-compliance and/or FRS #18 would be breached.  A breach of the structure would cause the loss of current flood control benefits provided by the dam.  Cost of breaching the structure could vary greatly depending on how the breach was done and how much of the earthen material was removed. NRCS estimates the cost to breach the dam at $38,000 ($3.00/cu yard cost).  Stabilization of the breach area would cost an additional $20,000.

Alternative #2.  Demolition and Replace (The Preferred Alternative).  This alternative proposes to demolish and replace the downstream home currently within the breach zone of FRS#18 and a new, elevated home would be placed on the same lot.  There would be no long-term negative impacts to natural resources or to property owners adjacent to the dam.  The downstream homeowner would live in temporary housing until the new home was built.

As part of this alternative, NRCS would up-grade the dam to meet current criteria for a “significant” or “moderate” hazard (class B) dam.  This would require replacing the riser and installing a supplemental toe drain system for the dam.  These actions would require the draining of the permanent pool area and result in short-term negative impacts to fish/aquatic habitat.  Neighboring property owners would be impacted by the resulting odor of drained the pond and dead fish.  Once the construction activities were completed, the sediment pool would become filled and aquatic habitat would be re-established.  No federal threatened or endangered species would be negatively impacted under this alternative.  Sponsors would be required to insure no further development occurs within the breach zone of the structure.

The estimated installation cost of this project is $208,800 with an eligible project cost share computation total of $190,400.

Alternative 3. Parapet Wall Construction. This structural alternative involves up-grading the dam to meet “High” hazard (class C) criteria that includes the construction of a parapet wall on top of FRS#18.  This alternative would consist of installing a concrete parapet wall; modify the auxiliary spillway; replacing the riser, and adding an additional toe drain.  This alternative would also require modification of the access road to parcels # 26-01 and 26-08.  In order to raise the dam crest of Plum Creek FRS #18 to meet current dam safety criteria, a 5’ high concrete wall would be placed on top of the earthen embankment of FRS #18.  This would raise the current top of dam elevation from 579.9 MSL to 584.9 MSL.

The parapet wall would result in an increase of the maximum flood pool elevation of the dam.  The sponsors would need to secure additional easements to prevent construction below this new “top of dam” elevation.  In addition, the auxiliary spillway would be lowered 3.8 feet from its current elevation of 574.4 MSL.

The estimated installation cost of this alternative is $393,000 with an anticipated eligible project cost share computation total of $372,000.

Alternative 4.  Eminent Domain.  Under this alternative the sponsors would initiate eminent domain proceedings against the homeowner, pay the homeowner fair market value for the property, and then remove the home and buildings.  The sponsors have worked with the Spencer County Planning downstream development easements to prevent future construction within the breach zone.  The riser would be replaced and an additional toe drain system added to the dam in order to meet current class B criteria and standards, and to extend the life of the dam.  Sponsors would be required to insure no further development occurs within the breach zone.  The estimated installation cost of this alternative is $226,500 with an anticipated eligible project cost share computation total of $208,800.

## Project Setting and Location

Plum Creek FRS #18 is located in the Plum Creek Watershed in Spencer County, approximately 1.5 miles northeast of Waterford, KY.  The site shown on the Waterford, Kentucky USGS 7.5 minute quadrangle map, at coordinates N 38o 03.2’, W 85o 25.1”.  The structure is located on the Featherbed Hollow Creek about ½ mile east of its confluence with Plum Creek.  There are 657 acres of drainage area above the FRS #18 structure.

Plum Creek is a tributary of Salt River, which flows into the Ohio River.  Plum Creek is approximately 17 miles long with a total watershed area of 23,688 acres.  It begins in Shelby County, Kentucky and flows generally in a southerly direction through the southwest portion of Shelby County and then through the northwest part of Spencer County to the Salt River. (SCS, 1954)

Surrounding the FRS#18 and the permanent pond created by the dam, are multiple parcels that were sold as building lots and some have existing homes. Owners of tracts surrounding the permanent pool area have an easement associated with their deed which allows for the permanent pool area, maintenance access to the FRS, and occasional flooding of an additional portion of their property during high-water events.

Photo 1.  View downstream from Plum Creek FRS #18

Topography

The topography of the upper portion of the watershed is generally moderately gentle to rolling, while the lower portion of the watershed is composed of rolling to steep side slopes with fairly wide ridge tops (SCS, 1954).

Climate

The average monthly precipitation in the Louisville, Kentucky vicinity shows good precipitation distribution throughout the year.   The average annual precipitation is 45.91 inches, with an average annual snowfall of 15.7 inches.  During the period from 1971 to 2000, the driest month was October, with an average of 2.8 inches of precipitation, while the wettest month was May, with an average precipitation of 4.9 inches.

Soils

The soils present at this site are generally residual and colluvial beneath the higher areas and are alluvial beneath Featherbed Creek floodplain (USACE, 1979). All of the soils in the area are derived from limestone with the exception of a small area of marl soils in the central west portion of the watershed (SCS, 1954). The floodplain of Featherbed Hollow consists of Boonesboro Silt Loam, frequently flooded.  The Boonesboro series consist of moderately deep, well-drained soils that have rapid permeability.  The soils have a dark surface layer and formed in alluvial material that washed from soils on uplands of limestone, siltstone, and shale origin.  Boonesboro soils are on flood plains in narrow valleys.  Slopes range from 0-2% for this soil type.  The upper side portions of Featherbed Hollow consist of Faywood-Fairmount –Woolper complex, 30-60% slope.  The Faywood series consists of moderately deep, well-drained soils that have moderately slow and slow permeability.  The formed in clayey residuum derived from limestone interbedded with calcareous shale and siltstone.  Faywood soils are on ridgetops, shoulder slopes, and hillsides.  The Fairmount series consists of shallow, well-drained soils that also have moderately slow and slow permeability.  They formed in clayey residuum derived from limestone.  These soils are on hillsides and bluffs principally along the larger streams.

The Woolper series consists of deep, well-drained soils that have moderately slow permeability.  The have a mollic epipedon and formed in clayey, colluvial material derived from limestone.  Woolper soils are on foot slopes and hillside benches.

Geology

The dam is located in the Kentucky physiographic division known as the Outer Bluegrass.  This area is typified by a rolling topography developed primarily on limestone and shales. (USACE, 1979)   Spencer County is variously underlain by Ordovician age (about 500 mya) marine sedimentary bedrock layers consisting mostly of interbedded shales and limestones.  Bedrock dips to the west about 40 feet per mile being on the western flank of the Cincinnati arch, which is a broad, gentle north-south uplift to the east of Lexington, KY.  This bedrock dip and continual surface erosion exposes the older rock layers at the surface in the eastern part of the county and progressively younger layers to the west. The topography of Spencer County is the result of differential erosion, and is characterized by rolling hills and relatively narrow valleys.  Local reliefs of 100 to 150 feet are common, but the Salt River and its major tributaries have cut the valley 200 to 250 feet below the surrounding uplands.  Hilltop elevations range from 700 feet in the western part of the county and increase to more than 800 feet in the eastern part of the county.  The highest elevation, 880 feet, is on a ridge near the Spencer-Shelby County line, and the lowest, 420 feet, is the point where the Salt River leaves the western tip of Spencer County.

Threatened and Endangered Species

The US Fish and Wildlife Service (USFWS) and the Kentucky State Nature Preserves Commission (KSNPC) were consulted as part of this project.  A KSNPC letter dated January 3, 2006 stated that the majority of monitored aquatic organisms previously known to occur in the general area of this project were in the Salt River and/or Brashears Creek.  However, these species have not been recorded in these areas in many years.  An analysis of the project area by KSNPC showed that within a 1 mile radius of the FRS #18 the following freshwater mussel species had a historic recorded occurrence:  Pink Mucket (Lampsilis abrupta), Clubshell (Pleurobema clava), Pyramid Pigtoe (Pleurobema rubrum), and the Salamander Mussel (Simpsonaias ambigue).  To protect downstream water quality, the KSNPC recommended an erosion control plan.  All contractors will be required to follow an erosion control plan approved by NRCS.

The Indiana bat (Myotis sodalis) is a federally listed species, and according to a letter dated December 20, 2005 from the USFWS Frankfort office, summer roost habitat for the endangered Indiana bat may exist within the project area.  Consultation with the USFWS is ongoing and USFWS recommendations will be followed during this project.

Fish and Wildlife Species

The littoral and limnetic portions of Plum Creek FRS # 18 supports several common aquatic species which would be impacted when the pool is drained during project implementation.  Primary amphibian and reptile species impacted include bullfrogs (Rana catesbeiana), green frogs (Rana clamitans), spring peepers (Hyla crucifer), snapping turtles (Chelydra serpentine), and midland painted turtles (Chrysemys picta).  Primary fish species impacted include channel catfish (Ictalurus punctatus), largemouth bass (Micropterus salmoides), and bluegill (Lepomis macroshirus) which were likely stocked after impoundment.

Terrestrial species of wildlife on or near the site include deer, turkey, squirrel, raccoon, possum, and migrant and/or nesting songbirds.  Terrestrial species would likely move out of the area during the construction period, but would return after work is completed.

Streams, Lakes and Wetlands

Plum Creek is a tributary of the Salt River and is approximately 17 miles long.  It rises in Shelby County just south of Simpsonville, KY and flows generally in a southerly direction through the southwest portion of Shelby County and continues through the northwest part of Spencer County to the Salt River.  There is only one large tributary to Plum Creek – Little Plum.  The other side branches are short and the longest side branch is less than two miles in length.  The sediment pond of Plum Creek FRS#18 is approximately 13.2 acre-feet.  This pond creates a wetland-like fringe with a perimeter of approximately 2,260’.

FRS#18 is located in Featherbed Hollow near Waterford, KY. This drainage flows generally east to west and enters Plum Creek just south of State Hwy 1251.  The Featherbed drainage is approximately 3,275’ in length from Plum Creek FRS#18 to the junction of Plum Creek.  Species in the drainage are typical of the region and include creek chub, stoneroller, common shiner, and rainbow darter.  The creek does not support a sport fishery.  Also present in this small creek are Caenidae (Mayflies), Hydropsychidae (Caddisflies), Hirudinea (Leeches), Gammaridae (Scuds) and Astacidea (Crayfish).

Vegetation

Vegetation in the project vicinity is typical of the area – an eastern deciduous forest mix containing, oaks, hickories, pines, cedars, and common understory shrubs.  Open areas within the project site consist of a variety of grasses and non-native vegetation.  Much of the project area has been disturbed by grazing, cutting of timber, mowing, and/or brush removal. Species in the project area include golden rod, Joe-pyeweed, boneset, mint, blackberry bushes, multiflora rose, and scattered bottomland trees such as poplar and sycamore.   The FRS has been mowed consistently as part of the operation and maintenance requirements.

Cultural and Visual Resources.  The one house in the breach zone just downstream of the Plum Creek FRS #18 has been in existence since 1930 on this site.  This house was evaluated for inclusion on the National Register of Historic Places.  The Kentucky State Historic Preservation Office has concluded that this resource is not eligible for inclusion.

On 11/11/05 and again on 1/4/06, an NRCS archeologist conducted a field inspection of the area that could inundate if the top of dam elevation was raised by constructing a parapet wall.  The purpose of the investigation was to insure that construction and/or flooding behind the existing FRS would not impact any significant cultural resources.  Except for the two hollows at the east end of the lake, most of the acreage that would be in the new flood pool had slope greater than 20 percent and was visually inspected but not shovel tested.  Level areas along the drains at the east end of the lake were investigated with either screened or trowel sorted shovel probes depending on the moisture content of the soil matrix.  No prehistoric or historic artifacts were recovered and no sites were documented.  A cultural resources literature records search revealed that no sites have been recorded in or near the project area.  As a result of these field investigations, NRCS feels that the Plum Creek FRS#18 dam rehabilitation will have no effect on any National Register listed or potentially eligible archaeological or historic sites.   No additional archaeological investigations were recommended prior to implementation of the proposed NRCS dam rehabilitation.

Economic and Social Setting   When Plum Creek FRS #18 was planned and constructed, the population of Spencer County was close to 1,000.  In 2000 the county population was 11,766 and the estimated 2004 county population is 14,822.  The median household income for Spencer County in 1999 was $47,042 compared with the State median of $33,672. The percent of population living below poverty in 1999 was 8.8%, almost half as less as the State figure of 15.8%. (Census, 2006).  Due to its proximity to Louisville, Spencer County has experienced an increase in urbanization in terms of small development and “ranchettes”.

## Description of Existing Dam   Plum Creek FRS #18 is currently a 41.5-ft. tall x 400-ft. long earthen embankment.  A typical embankment section has a crest width of 15-ft. with approximate side slopes of 2.5 horizontal to 1.0 vertical on the downstream side and 3.0 horizontal to 1.0 vertical on the upstream side.  The permanent pool, or normal pool during non-flood periods, is 3.1 acres, with a length of 1,000 feet.  During major flood events, the pool could enlarge to cover an area of 15.8 acres.

The site has the capability to store 13.6 acre-feet of sediment at the permanent pool elevation.  At flood stage, the site can store up to 198 acre-feet of potential floodwater that is then slowly released after the storm event.  The principal spillway system consists of a concrete intake structure in the pool (riser) with a concrete outlet pipe through the dam.  This system controls the release of floodwater.  The riser is a single stage, covered drop inlet (concrete slab on top of the riser), with inside dimensions of 3.0 ft. x 3.0 ft. x 14.0 ft. high.  The outlet pipe is 240-ft. of 24-in. inside diameter reinforced concrete pipe set on grade on excavated limestone rock.  The outlet pipe discharges onto a limestone rock bottom creek.  Potential seepage alongside the pipe system is controlled with four 12.5-ft. x 5.75-ft. concrete anti-seep collars surrounding the concrete principal spillway pipe.  The embankment foundation has an internal drainage system (toe drain) consisting of an 8-in. diameter perforated Corrugated Metal Pipe (CMP)set in the center of a 4-ft square sand/gravel porous filter located at the embankment/foundation interface and 35-ft. downstream of the centerline of the dam. The CMP extend to the downstream toe of the embankment and outlets on each side of the principal spillway pipe outlet.

Figure 2.  Existing Structural Data for Plum Creek Watershed FRS #18

| Structure Name | Plum Creek Flood Retarding Structure No.18 |
| --- | --- |
| Stream | Featherbed Hollow Creek |
| Year Completed | 1957 |
| Installation Cost | $28,136 |
| Purpose | Flood Control |
| Drainage Area | 657 acres |
| Dam Height | 41.5 feet |
| Dam Type | Earthen |
| Dam Volume | 47,973 yds.3 |
| Dam Crest Length | 400 feet |
| Storage Capacity |  |
| Sediment | 13.6 acre-feet at the principal spillway |
| Flood | 198 acre-feet at the auxiliary spillway |
| Surcharge | 132 acre-feet |
| Total | 343 acre-feet |
| Principal Spillway |  |
| Type | concrete |
| Riser Height | 14 feet |
| Conduit Size | 24 inches |
| Stages | 1 |
| Capacity | 65 cfs |
| Energy Dissipater | None |
| Auxiliary Spillway |  |
| Type | Earthen, vegetated |
| Width | 35 feet |
| Capacity | 1504cfs |
| Normal Pool Elevation | 556.0 ft-mean sea level |
| Flood Pool Elevation | 574.0 ft-mean sea level |
| Top of Dam Elevation | 580.0 ft-mean sea level |

Source: (FMSM, 2006; KDOW, 1990;   NRCS, 2004; PCCD, No date)

## Status of Operation and Maintenance

Plum Creek was a Pilot Watershed with Site #18 being constructed in 1957.  This dam itself is 49 years old, just 1 year shy of its 50-year designed lifespan.  The earthen dam is still in excellent condition, with no discernable cracks or weaknesses.  During a 1979 inspection, there was no indication of excessive settlement, cracking, or slope instability.  Having been constructed out of compacted clay, the structural integrity of the dam has not diminished.

The principal spillway riser has some small debris on top of the riser cap as would be expected of this wooded watershed.  The drawdown gate is regularly operated and the dam faces are mowed twice per year to eliminate woody growth.  Overall, based on a review of past inspection reports, and the current condition of the dam, operation and maintenance is current and has been adequately carried out by the sponsors.

The 24-in. principal spillway pipe through the dam was inspected with a remote camera in July 2005.  No cracks or apparent deformations were noted.  Due to the intrinsic properties of concrete, the principal spillway system is not expected to be a limiting factor in extension of the design life.

Photo 2. Plum Creek FRS #18 permanent pool with top of riser showing in the pool area.

This riser would be replaced under Alternatives 2, 3, and 4.

## Sedimentation

The structure was designed with a 50-year sediment storage life and a sediment storage capacity of 13.6 acre-feet.  According to a sediment survey completed in 2004 by KDOW and NRCS there is approximately 13.2 acre feet of storage available in the existing pool area. According to NRCS sediment delivery calculations, the pool has enough sediment storage for approximately 165 more years.  The sediment delivery calculations were computed by utilizing the RUSLE2 software program. Therefore the design life of the sediment pool can be assumed 50 to 100 years with no modifications.

## Breach Analyses and Hazard Classification

Both NRCS and the Kentucky Division of Water (KDOW) have performed dam breach analyses to determine what homes in Featherbed Hollow would flood if Plum Creek FRS #18 breached.  Although an early NRCS assessment of the breach zone predicted several houses to impacted by a dam breach, both analyses later confirmed that only one home in Featherbed Hollow would be flooded in this situation. Also located within the breach inundation zone is Featherbed Hollow road, which runs parallel to the creek. This roadway is the only access to the residents who live in the breach area and will experience varying amounts of flooding based on the distance from the dam. Due to the residence downstream in the breach zone, both NRCS and KDOW concur that the Plum Creek FRS #18 structure is high hazard.

In January 2006, a dam breach analysis on Plum Creek FRS #18 was conducted by the Kentucky Division of Water.  The analysis was conducted utilizing the National Weather Service (NWS) “DAMBRK” program and used survey information provided by NRCS.  KDOW provided their results to NRCS via a letter dated January 24, 2006. DAMBRK is a FORTRAN program which, when given the final breach bottom width and side slopes, computes the physical dimensions of a dam breach as it forms. Breach formation may be initiated by flow overtopping the dam or piping through it. The program can subsequently or simultaneously compute reservoir outflow through the breach and route that flow through the downstream channel/valley. Effects of reservoir inflow, outflow, and storage are considered in the computations, as are downstream channel roughness, tail water elevation, valley storage, and the physical characteristics of downstream bridges and dams. Based on this breach analysis, at the auxiliary spillway elevation of the existing dam, the breach would cause a flow velocity of 14.8 feet per second and a depth of 1.9 feet above the first floor elevation of the house approximately 2294 feet downstream of the dam.

The NRCS breach inundation map indicates the location and extent of the potential affected area for the structure if a sunny day breach were to occur.  The potential breach inundation areas are carried downstream to the confluence of Featherbed Hollow Creek with Plum Creek. Featherbed Hollow Creek is a narrow channel with fairly step terrain, whereas the Plum Creek channel is characterized by a wide, flat flood plain. When the breach wave from the Plum Creek FRS #18 structure reaches the Plum Creek floodplain it dissipates quickly, causing an insignificant increase in the water elevation of the main channel.

This NRCS breach analysis was performed utilizing 11 cross sections to represent the floodplain.  All sections and culvert information were surveyed in the field.  The HEC-RAS computer program was used to develop cross-section ratings.  The maximum breach discharge and storage volume were developed and routed downstream with the use of the “Simplified Dam-Breach Routing Procedure” (TR-66) computer program. TR-66 is a simplified dam-breach routing procedure that estimates key characteristics of a flood wave generated by an instantaneous breach of a dam.  This method uses a peak flow derived from the depth of water, volume of storage available behind the dam and the cross-sectional area of the dam. This breach routing program simulates the failure of a dam and helps determine the path and extent of the water flow.  This program is used by NRCS for preparing emergency action plans and determining the hazard class of dams.

As recommended by NRCS and the KDOW for breach routing procedures, the reservoir was at the level of the uncontrolled, non-clogging spillway. For Plum Creek FRS #18 the reservoir was assumed to be at the crest of the auxiliary spillway and the dam breach analysis was performed with minimal inflows at the time failure was assumed.  (i.e. a non-flood inflow condition).

The NRCS analysis using TR-66 shows the downstream home flooding by 2.8 feet while the DOW analysis shows the downstream home flooding by 1.9 feet.  Although results from KDOW and NRCS vary, both are considered within the margin of error for the associated breach programs utilized. Because NRCS’s flood depth is greater for the purposes of this project and future floodproofing measures, NRCS will use its own engineering data.

| Figure 3. | NRCS breach analysis results |
| --- | --- |
| Distance From Dam (ft) | Peak Flow at Cross Section (cfs) | Maximum Elevation of Water Surface (ft) |
| 0 | 23400 | 574.1 |
| 122 | 22000 | 554.4 |
| 367 | 20300 | 547.5 |
| 699 | 19300 | 538.6 |
| 892 | 18900 | 536.0 |
| 1315 | 17900 | 529.4 |
| 1587 | 17400 | 520.6 |
| 2294 | 16300 | 507.9 |
| 2485 | 15900 | 502.5 |
| 3398 | 13200 | 492.6 |
| 5035 | 11200 | 485.7 |
| 6278 | 10000 | 481.2 |

Potential Modes and Consequences of Dam Failure

Several theoretical modes of dam failure have been considered regarding the current condition of the structure and to insure safety of local residents.  These include sedimentation, hydrologic capacity, dam seepage, seismic activity, and material deterioration.

Sedimentation

All floodwater retarding structures are designed to store sediment. When the sediment pool has filled the dam to the elevation of the principal spillway, the pool no longer has permanent water storage, but still provides some level of flood control.  As the detention pool loses storage due to sediment deposition, the auxiliary spillway operates, or has flowage more often, and is therefore subject to erosion.  A potential mode of failure exists as the auxiliary spillway continues to degrade and depth of flow is increased.  In such cases, the dam will ultimately breach.  There are photos showing flow damage to the auxiliary spillway on Featherbed Hollow; however, the exact date of the flow is unknown.   Structural failure due to sedimentation is a very low risk.

Hydrologic Capacity

Hydrologic failure of a dam can occur by breaching the auxiliary spillway or overtopping the dam.  The integrity and stability of the auxiliary spillway and embankment is dependent upon the depth, velocity, and duration of flow, the vegetative cover, and the spillway’s resistance to erosion.  Plum Creek FRS #18 is currently designed to handle 14.3 inches of rainfall in six hours without overtopping the embankment. The principal spillway is comprised of a single-stage, covered drop inlet riser with a height of 14 feet. The outlet pipe is 240 feet of 24-inch inside diameter reinforced concrete pipe set on grade on excavated limestone rock that discharges onto a limestone rock bottom creek. The auxiliary spillway is 35 feet wide.  Minor debris was noted within the auxiliary spillway along with the apparent sloughing of weathered rock and soil from the north side slope (FMSM, 2006). Plum Creek FRS #18 is functioning correctly as designed.  However, due to the current “High” hazard classification, a dam failure by breaching the auxiliary spillway or overtopping the dam this dam should be considered a high risk.

Seepage

Embankment and foundation seepage can contribute to the failure of a structure by removing soil material through the embankment or foundation of the dam.  As the soil is removed, the voids created allow even a greater flow of water through the embankment until the dam collapses from internal erosion.  Indications of potential structural problems include increased seepage amounts and/or stained or muddy water or sand boils.  Foundation and embankment drainage systems can alleviate seepage problems by removing water without allowing soil particles to be transported with the water away from the dam.  A simplified seepage analysis was conducted on Plum Creek FRS #18 in 2005. Two situations were considered during this analysis. In the first case, normal pool conditions and a fully functional toe drain system were used to model seepage flow through the toe drain system and its effect of lowering the theoretical phreatic surface (assumed seepage path) within the embankment.  The second case assumed normal pool conditions and a completely non-functional toe drain system to estimate seepage flow at the toe of the embankment and the effect of increasing the phreatic surface level within the embankment.

Overall, the condition of the toe drain system appears to be adequate and the site does not exhibit obvious signs of excessive seepage. The north toe drain outlet exhibits periodic flow while the south toe drain outlet remains dry. The most practical evidence that suggests the toe drain system is functional is the dry surface conditions present along the downstream toe of the embankment. Two possible explanations for the lack of drainage from the toe drain outlets are:

- Seepage may be escaping along the soil/bedrock interface. During the construction of the embankment, the natural stream channel was filled with soil and relocated to the north side of the valley bottom. The rock line information provided on the “as-built” plans indicates the low point and primary drainage of the valley is located in the original creek channel. It is possible that the majority of seepage drains beneath the embankment to the top surface of the original creek channel. (FMSM, 2005)

- Permeability values assumed for the clay core and shell embankment material are over estimated. A lower permeability clay core would significantly lower the phreatic surface within the embankment and reduce the seepage being captured into the toe drain system, (FMSM, 2005)

The risk of internal erosion and piping of the embankment material is of concern for the current “High” hazard classification and the proposed “Significant” or “Moderate” classification of this dam.  Therefore, the dam is considered a moderate risk for seepage and piping due to questionable foundation drainage.  To insure that the structure has a functional lifespan of another 50-plus years, a new toe drain and riser will be installed as part of the proposed alternative.

Seismic

The integrity and stability of an earthen embankment are dependent upon the presence of a stable foundation.  Foundation movement through consolidation, compression, or lateral movement can cause the creation of a void within the embankment which could lead to, in the extreme case, collapse of the embankment.  The Plum Creek Watershed is located in an area of moderate seismic risk; however, no historical events that would compromise structural integrity have been identified. Therefore, seismic activity reflects a low risk for dam failure.

Material deterioration

Material used in the principal spillway system, the foundation and embankment drains, and the pool drainage systems are subject to weathering and chemical reaction due to natural elements within the soil, water, and atmosphere.  The dam, although nearing the end of its 50-year service life, is still functioning as designed.  However, the risk for internal erosion and deterioration of the embankment material is of concern for the current “High” hazard classification and the proposed “Significant” or “Moderate” classification of this dam.  Therefore, the dam is considered a high risk for seepage and foundation material deterioration due to questionable foundation drainage.

To extend the life expectancy of the structure and insure that material deterioration is not a risk factor for Plum Creek FRS#18, the preferred alternative would include the installation of a new toe drain system.  This will extend the service life of the dam and insure a low risk of material deterioration on FRS#18.

## Consequences of Dam Failure

The exact mode and timing of a dam failure are extremely difficult to predict.  Currently, overtopping due to excessive hydrologic loading is the most probable mode of failure identified for Plum Creek FRS #18.  If Plum Creek FRS #18 were to suddenly fail at a high reservoir stage (auxiliary spillway crest to top of dam), regardless of failure mode, the downstream stages and impacts would be similar to those that would occur during a breach.  As with most class C dams in the State, the impacts of a catastrophic failure of Plum Creek FRS #18 include potential loss of life to residents of the downstream home and to motorists traveling on downstream road which provides access to several residential properties near the dam. A sudden dam failure may also cause other likely catastrophic impacts such as destruction of infrastructure, roads and bridges, environmental damage, short-term and long-term sediment and stream stability issues, possible sediment quality issues, and any other issues as appropriate.  Reducing the risk to loss of life, prevention of catastrophic consequences and extending the life of the structure are basic reasons for rehabilitation.  Even though the risk of dam failure may be low, the consequences of such a failure could be catastrophic.

Photo 3.  The toe drain located at the base of the berm, Plum Creek FRS #18

The drain is shown operating as it was designed to.

## Current Watershed Problems

- FRS #18 is not in compliance with current NRCS and KDOW dam safety and design standards.

- The KDOW has issued notice of violations against the sponsors and have informed the sponsors that they may be fined up to $25,000 per day or KDOW may breach the dam.

- Plum Creek FRS #18 was built in 1957 and designed with a 50-year lifespan.

- Project sponsors, local residents and NRCS want to maintain the current levels of flood protection and public safety benefits provided by the dam.

- The project sponsors do not want to negatively impact properties owners downstream or adjacent to FRS #18.

- Project Sponsors and NRCS want to provide maximum safety and protection to residents living downstream within the dam’s breach zone

## Watershed Opportunities

The following would be realized through the implementation of this watershed plan:

- FRS #18 would be in compliance with current Kentucky Division of Water dam design and safety

- Extension of the service life of Plum Creek FRS #18 for a minimum of 50 years, thereby providing extended downstream flood protection and public safety benefits.

- Protection of real estate values for properties adjacent to FRS #18

- Reduce the risk of flooding for residents currently living within the dam’s breach zone

Scope of the Environmental Assessment

The scoping process was used to identify issues of economic, environmental, cultural, and social concerns in the watershed.  Public concerns were expressed at meetings held on March 10, 2005; August 16, 2005; and March 21, 2006.  NRCS also met with Plum Creek Conservancy District Board Members on January 19, 2006 to discuss this project.

Factors that would affect soil, water, air, plant, and animal resources were identified by multidisciplinary teams composed of engineers, biologists, economists, resource conservationists, water quality specialists, and others.  Concerns and their degree of significance to the decision making process were identified.

| Figure 4. Magnitude of Identified Concerns |
| --- |
| Economic, Environmental, Cultural and Social Concerns | Degree of Concern | Degree of Significance to the decision making | Comment |
| Public Safety | High | High | Safety of residents a project priority |
| Flooding in Floodplain | High | High | Sponsors wanted to maintain current level of flood protection |
| Property Values | Moderate | Moderate | Protection of property values for neighboring land owners a concern |
| Fish and Wildlife Habitats | Moderate | Moderate | Protection of aquatic habitat a concern |
| Transportation | Moderate | Moderate | Some alternatives impacted/changed access routes to adjacent properties |
| Threatened & Endangered (T&E) Species | High | Low | Consultation with USFWS initiated. No T&E species will be impacted |
| Recreational Opportunities | Low | Low | Not a critical concern for sponsors or residents |
| Water Quality | Moderate | Moderate | Project planned to protect water quality in Plum Creek |
| Sedimentation | Low | Moderate | Project planned with protection measures to control erosion |
| Wetlands | Low | Low | No long-term impacts |
| Forest Land | Low | Low | No impacts |
| Water Supply | Low | Low | No impacts |
| Cultural Resources | Moderate | Low | No impacts |
| Air Quality | Low | Low | No long-term impacts |
| Prime Farmland | Moderate | Low | No impacts |
| Highly Erodible Cropland | Moderate | Low | No impacts |
| Important Farmland | Moderate | Low | No impacts |

Photo 5. Attendees at a Plum Creek FRS #18 public meeting held on August 16, 2005

## The Formulation Process

Formulation of alternative plans for the rehabilitation of Plum Creek FRS #18 followed procedures outlined in the NRCS National Watershed Manual Part 508 and other NRCS watershed planning policy.  Numerous alternatives were developed based on their ability to address the key project objective:  to bring Plum Creek FRS #18 in compliance with current KDOW dam safety criteria while maintaining current levels of flood protection.

Numerous alternatives were analyzed by NRCS in an attempt to find a feasible and affordable solution for the Sponsors that would not negatively impact adjacent and downstream private property owners.  Unfortunately, every structural alterative, when developed, had high costs, impacts to property owners, and/or feasibility issues.

Alternatives Eliminated from Detailed Study

The costs provided below are estimated costs.  These alternatives were dismissed due to engineering feasibility, property owner impacts, environmental issues, flood control reduction and/or excessive costs to the sponsors.

Decommission dam

Decommissioning is the removal of the entire dam. The footprint of the dam and the sediment pond would be restored to stream contours and original character.   The flood retarding capacity of the dam would be lost as well as the investment made by the government and Sponsors in building and maintaining the structure.  The sponsors and nearby landowners have clearly stated they want to retain the flood control benefits associated with the dam, so this alternative was not analyzed in detail. Estimated cost: $450,000.

Upgrade dam to High Hazard Class “C”; lower and widen the existing auxiliary spillway

This alternative consists of modifying the existing auxiliary spillway by lowering it 5.62 feet and widening it to 70'; and 24-inch principal spillway pipe. Access to two adjacent properties would be negatively impacted. This alternative was rejected due to these impacts.  Estimated cost: $553,000.

Upgrade dam to High Hazard Class “C”; widen existing auxiliary spillway and install a secondary auxiliary spillway

This alternative consists of deepening the existing auxiliary spillway by 3.8 feet; installing a second auxiliary spillway on the south side of the dam; and replacing the 24-inch principal spillway pipe.  This alternative was excluded from further consideration due to impacts on adjacent property owners.  The estimated cost of this alternative is $450,000.

Upgrade dam to High Hazard- Class “C”, enlarge berm- shifting downstream

This alternative would enlarge the earthen berm of the dam by an additional 6.5’ in height and 45’ in width.   This alternative would consist of enlargement of the existing berm of the dam by adding fill to raise and widen the structure. In addition, the riser would be replaced and an additional toe drain system added to the structure.  This alternative was rejected due to the fact that the enlargement of the berm would block the access to two parcels on the north side of the dam.  No other existing access routes to these parcels were identified. Due to limited space, a large retaining wall would have to be built around the berm, negating any savings of raising the dam using earth versus the parapet wall alternative.  Estimated cost: $335,000.

Upgrade dam to High Hazard –Class C, enlarge berm – shifting upstream

Similar to the above, this alternative would enlarge the earthen berm of the dam by an additional 6.5’ in height and 45’ in width by adding fill to raise and widen the structure. In addition, the riser would be replaced and an additional toe drain system added to the structure.  This alternative would not impact the adjacent property access. Estimated cost: $335,000.

Upgrade dam, Class B (Moderate Hazard) classification

This alternative consists of draining the permanent pool by opening the principal spillway pipe and lowering the auxiliary spillway by approximately 8 feet.  Under this alternative, the downstream home would still require 1 ft. of flood proofing.  This alternative was excluded from further consideration due the reduction of flood control benefits and the impact to the downstream homeowner.  This alternative would also impact the driveway of the adjacent homeowners.  Estimated cost: $350,000.

Install a floodwall around downstream hazard

This alternative consists of installing a flood wall around the downstream hazard.  An NRCS engineering analysis found that this alternative would require a wall varying in height from ten feet at the back of the home and to above six feet downstream of the home.   The resulting overall average wall height required would be 10.5 feet.  In addition, the riser would be replaced and an additional toe drain system added to the structure.  Since the concept of surrounding a home with a 10.5 foot concrete wall surrounding it would not be an acceptable situation for the residents of the home, this alternative was dismissed from further consideration.

Elevate the downstream home by four feet.  An engineering analysis conducted by Fuller, Mossbarger, Scott and May was completed in April 2006 with the results coming to NRCS on May 22, 2006.   Due to the age of the home, the numerous structural additions making up the house, the condition of the foundations, and the difficulties/ risks associated with elevating an older structure, this alternative was deemed unreasonable.  The homeowner had also specified by letter that he would not allow his home to be elevated.  The estimated cost of this alternative including the riser and toe drain work was $219,000.

Alternatives Analyzed in Detail

The following alternatives were considered feasible for the Plum Creek FRS #18 and were analyzed in detail for this Plan/EA.

Alternative 1. No Action.  Consideration of this alternative is required. Under this alternative, no federal funds would be expended and the sponsors would continue to be in violation of Kentucky Division of Water dam safety regulations.  The sponsors would be fined by the State and the FRS#18 would eventually be breached.

Alternative 2. The Preferred Alternative. Demolition and Replacement.   Under this alternative, the existing house in the breach zone would be removed and a new, elevated home would be constructed.  The new floodproof foundation would be 4.0’ in height to insure the occupants’ safety.  The sponsors have already worked with the Spencer County Planning Commission to pass an ordinance that controls development within the breach zone of the dam.

This alternative would allow Plum Creek FRS#18 to meet all current State dam safety regulations; allow the homeowner to remain on his property; provide the homeowner with a new home; upgrade the dam’s riser; expand the toe drain system; extend the dam’s lifespan; and retain the current level of flood protection to residents downstream of the structure.

As part of this alternative, NRCS would replace the FRS riser and install a supplemental FRS toe drain system.  These actions would require the draining of the permanent pool area and result in short-term negative impacts to fish/aquatic habitat.  Neighboring property owners would be impacted by the resulting odor of drained the pond.  Once the construction activities were completed, the sediment pond would be filled and aquatic habitat would be re-established.  No federal threatened or endangered species would be negatively impacted under this alternative.

Estimated Installation cost: $208,800

Estimated Project Cost Share Computation: $190,400

Estimated Sponsor cost-share (35%):$66,700

Estimated Federal cost-share (65%): $123,700

Alternative 3. Parapet Wall Construction. A feasible structural alternative for FRS#18 is the construction of a parapet wall on top of the existing FRS#18.  This alternative would consist of up-grading to class C by installing a concrete parapet wall; deepening the auxiliary spillway; replacing the riser; and installing a supplemental toe drain system.  This alternative would also require modification of the access road to parcels# 26-01 and 26-08.

In order to raise the dam crest of Plum Creek FRS #18 to meet current dam safety criteria, a 5’ high concrete wall would be placed on top of the earthen berm. This would take the current top of dam elevation from 579.9 MSL to 584.9 MSL.  During high water episodes, the level of flooding behind the structure would increase by 5’ and expand beyond the current high water mark.   This would result in 25.1 acres of additional flooding behind the structure during high water episodes.

Since the parapet wall would result in an increase of the lake elevation, the sponsors would need to secure upstream development easements to prevent future construction within the additional high water areas. In addition, the auxiliary spillway would be lowered 3.8 feet from its current elevation of 574.4 MSL. The riser would be replaced and an additional toe drain system added to extend the life of the dam.

This alternative would have impacts to the adjacent property owners since the access to their properties would need to be rerouted. Similar to alternative #2, this alternative would require the replacement of the FRS riser and installation of a supplemental FRS toe drain system.  These actions would require the draining of the permanent pool area and result in short-term negative impacts to fish/aquatic habitat.  Neighboring property owners would be impacted by the resulting odor of drained the pond.  Once the construction activities were completed, the sediment pond would be filled and aquatic habitat would be re-established.  No federal threatened or endangered species would be negatively impacted under this alternative.  There would be no restrictions on development below the FRS.

Estimated Installation cost: $ 393,000

Estimated Project Cost Share Computation: $372,000

Estimated Sponsor cost-share (35%): $130,200

Estimated Federal cost-share (65%): $241,800

These structural measures would allow development of the downstream breach zone properties in Featherbed Hollow. An assumed increase in property values could be counted as a financial benefit in the NED analysis under this alternative.

Alternative 4. Eminent Domain.  This alternative would require that the downstream hazard be purchased at fair market value, based on a certified appraisal. The homeowner would be eligible for a relocation payment of up to $22,500.  The existing house, garage and its foundations would be demolished and removed.  In addition, the riser would be replaced and an additional toe drain system added.  The Spencer County Planning Commission has already passed an ordinance to control development within the breach zone of the dam.  This action would require FRS#18 be up-graded to meet all current NRCS and current State dam safety regulations; however, the current homeowner would be displaced from his residence.  Similar to alternative #2 and #3, the pool area behind the dam would be drained during construction activities thereby creating short-term impacts to neighboring homeowners and fish/wildlife habitat.

Estimated Installation Cost: $226,500

Estimated Project Cost-share Computation: $208,800

Estimated Sponsor Cost-share: $ 72,975

Estimated Federal Cost-share: $135,525

## Effects of Alternative Plans

Alternative plans of action can result in a multitude of effects on resources, upstream, downstream, and adjacent to Plum Creek FRS #18.  This section describes the anticipated effects on resource concerns identified by NRCS, project sponsors, and/or the public.

Public Safety and Flood Control

Existing Conditions – Plum Creek FRS #18 was completed in 1957, prior to implementation of the current hazard classification system.  The structure was designed and built for agricultural land protection and currently meets the requirements for a KDOW moderate hazard or class B dam.  Because there is one residential structure downstream of the dam located within the breach zone, the State now considers the FRS non-compliance with state regulations.

Alternative #1.– Under the No Action alternative, no Federal dollars would be expended on this project.  The Sponsor’s would be fined and the KDOW could breach the dam.  Without the dam in place, there would be an increased risk to public safety and property damage due to an increase in flooding.

Alternative #2. – This alternative would allow the homeowner to remain safely on his property by provide a new, elevated home.  Although the house would still be in the breach zone, it would be elevated 4’ to meet safety standards.  The dam would then meet all current state dam safety regulations and downstream property owners would retain the same level of floodwater protection.

Alternative #3 – This alternative would increase the rating of the dam to a class C and provide a higher level of floodwater protection to all homes downstream of the FRS.  This action would increase the flood water retarding capacity of the dam thereby allowing for unrestricted development of the downstream breach zone.

Alternative #4- The home currently within the designated breach zone of the FRS would be removed thereby removing any homeowner safety hazard.  Other downstream property owners would maintain the current level floodwater protection.

Sedimentation, Erosion and Water Quality

Existing Conditions

In 2004, the storage of the normal pool area of Plum Creek FRS #18 was surveyed.  According to this survey, the sediment storage available at that time was 13.2 acre-feet. Estimated 50-year sediment delivery (acre-feet) is calculated to be 3.92.  NRCS estimates that the existing Plum Creek FRS #18 sediment pool has enough sediment storage for approximately 165 more years at current sedimentation rates.

The land use upstream of the structure has not changed substantially since the structure was designed; however, the current land-use patterns indicate a trend toward urbanization.  Since the structure is located less than an hour from Louisville, KY a major metropolitan area, subdividing and growth is occurring.  Because the levels of future urban growth and the resulting sediment impacts are impossible to quantify for 100-plus years, the design life of the structure is for a minimum of 50 years but less than 100 years.

Alternative #1- Under this alternative, the existing FRS would probably be breached either by the sponsors or the State.  If the FRS was breached the action would have negative short-term and long-term impacts.  Impacts would include increased rates of sedimentation and a lowering of water quality.  Short-term effects of this action would include a substantially higher rate of sedimentation downstream of the site during the construction activities or during rainfall events and a corresponding decrease in water downstream water quality.

Substantial erosion of the embankment where the dam would be breached would occur until the cut slopes were stabilized and/or re-vegetated.  In addition, sediments currently deposited in the reservoir would become exposed and available for transport downstream in the long-term.  The release of the .4 acre-feet of sediment storage volume behind the current structure would decrease water quality downstream of the structure.  Any additional sediment from the upper reaches of the watershed would be able to freely move through Featherbed Hollow and into the Salt River.  The total effects to soil and water resources would be dependent upon land management actions in the upper reaches of the watershed, rainfall amounts, and erosion prevention activities taken during the breaching of the dam.

Alternative #2- This alternative would have minimal short-term and no long-term effects on sedimentation and/or erosion.  During the removal of the existing home and construction of a new, elevated home, the contractor would be required to implement an erosion-control plan.  Once the site was re-vegetated, there would be no long-term effects on soil or water resources.

As part of this project, the FRS riser would be replaced and an additional toe drain system would be installed.  These actions would require that the area behind the dam be dry.  The current pool would be drained down; however the lowering of the water would be done slowly to minimize sediment passing downstream.  Contractors would be required to follow an erosion control plan during this construction to minimize erosion within the work areas.

Depending on storm events during the construction period, there would be a slight to moderate increase in erosion rates in the short-term, but no long-term sedimentation or erosion impacts would occur under this alternative.  FRS#18 will continue provide the current level of floodwater and sediment control capabilities.

Alternative #3- This action would have short-term sedimentation effects only.  Short-term effects of this action would include a higher rate of sedimentation downstream of the site during the construction activities.   Erosion rates would depend on weather (rainfall) and construction activities.  An erosion plan would be followed during all construction activities to minimize soil loss. Once the area was stabilize and re-vegetated, there would be no negative long-term impacts.   Downstream residents would have increased floodwater and sediment control since the floodwater capacity of the structure would be increased.

Alternative #4 -Under this alternative there would be no long-term negative effects to sedimentation and erosion rates.  The current home and associated building would be removed and the homesite restored to grass.  There would be a slight increase in erosion during these removal activities and until the vegetation cover is matured.  This alternative would have no long-term sedimentation or water quality impacts.  As part of this project, the FRS riser would be replaced and an additional toe drain system would be installed.  These actions would require that the area behind the dam be dry.  The current pool would be drained down; however the lowering of the water would be done slowly to minimize sediment passing downstream.  Contractors would be required to follow an erosion control plan during this construction to minimize erosion within the work areas.  Depending on storm events during the construction period, there would be a slight to moderate increase in erosion rates in the short-term, but no long-term sedimentation or erosion impacts would occur under this alternative.  FRS#18 will continue provide the current level of floodwater and sediment control capabilities.

Transportation-

Existing Condition – If the auxiliary spillway of Plum Creek FRS#18 was flowing, property owners of lots #1 and #8 (north side of structure) would not have access to their parcels as their driveway would be flooded and/or damaged.  If the PMP rainfall (28.4 inches in 6 hours) was to occur, Featherbed Hollow road would be flooded and impassable.

Alternative #1- This alternative would not impact transportation and/or access to properties located near Plum Creek FRS#18.

Alternative #2- This alternative will have short-term impacts to nearby properties and roads due to construction vehicles in the vicinity.   Once construction is completed, there will be no long-term access or transportation issues for nearby property owner.

Alternative #3- This alternative would permanently change the access route to property on the north side of the FRS.  Engineering plans call for the new driveway to parcel #1 and #8 to be rerouted through a paved auxiliary spillway.  This would provide the property owner with property access, but during storm events, the spillway flows would block access/egress to these parcels. This alternative will also have short-term impacts to nearby properties and roads due to construction vehicles.

Alternative #4, Eminent domain- This alternative will have short-term impacts to nearby and adjacent property access due to construction activities.   Once construction is completed, there will be no long-term access or transportation issues for neighboring and/or nearby property owner.

Streams, Lakes and Wetlands

Existing Condition:  Approximately 13 acres of pool area are currently in permanent water behind the FRS.  No wetlands, other than the pool area and fringe are known to occur within the project area.

Alternative #1  The 13 acres of permanent pond would be lost during a breach of the dam.  A breach would result in pre-dam flows and flooding levels downstream with surface water levels dependent upon rainfall.   The wetland along the fringe of the pool would be lost.  No other wetlands, other than the pool area, would be affected.

Alternative #2-4  During construction, the pond area would be drained to allow access of equipment.  After construction, the pond would refill naturally.  No long-term impacts to the pond or wetland fringe would occur.

Historic and Cultural Resources

Existing Conditions – No significant cultural resources or historic properties have been identified in the Plum Creek FRS #18 watershed or directly downstream of the structure.

Alternatives #1-4

None of the Alternatives under this Plan/EA would have effects on districts, sites, highways, structures, or objects listed in or eligible for listing in the national Register of Historic Places or would cause loss or destruction of significant scientific, cultural or historic resources.  NRCS has consulted with the Kentucky State Historic Preservation Officer regarding this project and the range of considered alternatives.

Threatened and Endangered Species

Existing Conditions –

Consultation with the US Fish and Wildlife Service has been initiated and is continuing.  According to USFWS records, summer roost habitat for the endangered Indiana bat (myotis sodalis), a federally-endangered species, could occur within the proposed project vicinity.  Forested areas may provide potentially suitable summer roosting and foraging habitat.  Indiana bats typically roost under exfoliating bark, in cavities of dead and live trees, and in snags.  Trees in excess of 16 inches diameter at breast height (DBH) are considered optimal for maternity colony roosts, but trees in excess of 9 inches DBH appear to provide suitable maternity roosting habitat.  Male Indiana bats have been observed roosting in trees as small as 3 inches DBH.  The species utilizes caves, rockshelters, and abandoned underground mines as suitable winter hibernacula habitat.

Since the USFWS had a lack of species occurrence information available relative to the project area, they made the following recommendations:

- The project area should be surveyed for caves, rockshelters, and underground mines and these areas (if existing) should not be impacted.

- Trees within the project area should be removed between October 15 and March 31 to avoid impacting summer roosting bats.

- If Indiana bat hibernacula are identified on the project area or are known to occur within 10 miles of the project area, tree removal should occur between November 15 and March 31.

- If these recommendations can not be incorporated, then the project area should be surveyed prior to project initiation to determine the presence or absence of the species.

Alternative #1   This alternative would have higher impacts on soil/ water resources (due to erosion) and therefore aquatic species in general, but it is not anticipated to have a negative impacts on any threatened and endangered species.  Aquatic impacts would depend upon how the dam was breached, weather conditions during construction, contractor erosion control efforts, seasonal timing of the work, and immediate/long-term restoration efforts.

Alternatives #2-4

None of these alternatives considered under this project would negatively impact threatened and endangered species.  Recommendations by USFWS and KSNPC would be followed to protect both Indiana bat and downstream aquatic resources.  Strict erosion control measures would be implemented as part of any construction activities to protect downstream water quality and minimize soil erosion.

Fish and Wildlife Species

Existing Conditions – Although the original purpose for Plum Creek FRS #18 was agricultural flood control, the dam pool also provides about 5.0 acres of fish and aquatic species habitat.

The littoral and limnetic portions of Plum Creek FRS # 18 supports several common species which would be impacted when the pool is drained during project implementation.  Primary amphibian and reptile species impacted include bullfrogs (Rana catesbeiana), green frogs (Rana clamitans), spring peepers (Hyla crucifer), snapping turtles (Chelydra serpentine), and midland painted turtles (Chrysemys picta).  Primary fish species impacted include channel catfish (Ictalurus punctatus), largemouth bass (Micropterus salmoides), and bluegill (Lepomis macroshirus) which were likely stocked after impoundment.

Should the permanent pool area be drained, the mature amphibians and reptile species will migrate to other suitable habitats; however, the fish species will be trapped in the channels and other deeper sections of the pool and will likely die as the water evaporates.

Alternative #1 -If the dam was breached, this alternative would result in the elimination the pool behind the dam and negatively impact aquatic wildlife species long-term. Construction activities including noise, increased traffic, and heavy machinery use could impact neighboring wildlife species for a short period of time during the removal of the dam.  Aquatic habitat for fish and wildlife associated with the presence of the permanent pool would be permanently eliminated – a loss of approximately 13 acres of aquatic habitat.    The impacts to downstream aquatic habitat would depend on factors that influence erosion rates, such as how the dam is breached, weather conditions (rainfall), erosion control efforts, and restoration efforts.

Alternatives #2 -4 -Under these alternatives, the riser on FRS#18 would be replaced and an additional toe drain system would be constructed.  Construction activities including noise, increased traffic, and heavy machinery use could impact neighboring wildlife species for a short period of time during construction.  Negative long-term impacts to wildlife are not anticipated under these alternatives.  NRCS has consulted with the US Fish and Wildlife Service as well as the Kentucky State Nature Preserves Commission to ensure no listed wildlife species will be impacted.

To extend the life of the dam, the riser/toe drain work would necessitate the draining of the sediment or “permanent” pool behind the dam. This activity would result in a fish kill within the current permanent pool area and a negative, short-term, impact to aquatic species.

While mature amphibians and reptile species will migrate to other suitable habitats, fish species will be trapped in the channels and other deeper sections of the pool and will likely die as the water evaporates. Once the construction process was completed, the permanent pool area would fill with water from rainfall and aquatic habitat would naturally reestablish.  Aquatic wildlife upstream would relocate to the area and re-populate the pool.  There would be no long-term or permanent impacts to fish and wildlife species or their habitats.

Vegetation

Existing Conditions- Vegetation in the project vicinity is typical of the area – an eastern deciduous forest mix containing, oaks, hickories, pines, cedars, and common understory shrubs.  Open areas within the project site consist of a variety of grasses and non-native vegetation.  Much of the project area has been disturbed by grazing, cutting of timber, mowing, and/or brush removal. Species in the project area include golden rod, Joe-pyeweed, boneset, mint, blackberry bushes, multi-flora rose, and scattered bottomland trees such as poplar and sycamore.   The FRS has been mowed consistently as part of the operation and maintenance requirements.  Surrounding the 13 acre permanent pool area is a ring of wetland vegetation such as cattails, rushes, and other common wetland plants.

Alternative #1- Under this alternative, the dam would be breached and the pool area permanently drained.  The fringe wetland area would be permanently impacted due to draining of the pool area and the vegetation would convert to upland grasses, shrubs, and eventually trees.

Alternative #2-4 -Under these alternatives, the riser would be replaced and the additional toe drain added.  The pond area would be temporarily drained, but allowed to refill naturally after construction was finished.  Less than 20 smaller (less than 10” DBH) trees would be removed at the base and side of the structure to allow for access of machinery during construction.  Areas disturbed during construction would be re-vegetated.  No long term impacts to vegetation would occur under these alternatives.

## Mitigation – Soil and Water Resources

Mitigation will include actions to protect water and soil resources on and downstream of the project area.   NRCS will require contractors to comply with a soil erosion plan and pollution control plan to minimize air quality impacts.  For example, requirements of the mandatory pollution control plan for this project include:

- The burning of brush or slash and/or the disposal of other materials in the project area shall adhere to all local and state regulations.

- Fire prevention measures shall be taken to prevent the start or spreading of wild fires which could result from project work.  Fire breaks or guards shall be constructed at locations as needed.

- All public access or haul roads used by the contractor during construction of the project shall be sprinkled or otherwise treated to fully suppress dust.  All dust control methods shall insure safe operations at all times.

- All pollution control measures and works shall be adequately maintained in a functional condition as long as needed during the construction operation.  All temporary measures shall be removed and the site restored to as nearly original conditions as practical.

The erosion control plan will include element such as:

- Any excavation and moving of soils shall be scheduled so that the smallest possible areas will be unprotected from erosion for the shortest time feasible.

- When appropriate, seeding will be done to protect disturbed areas.

- Mulching will be done to provide temporary protection of soil surfaces from erosion.

- Diversions will be installed to keep water away from work areas and to collect runoff from work areas.

- The sediment pond will be drained slowly to insure the minimum amount of sediment is passed downstream.

- The use of sediment filters will be used as appropriate.  Straw bale filters or geotextile sediment fences will be used to trap sediment from areas of limited runoff.

- Work access routes will be selected to minimize disturbance.

Mitigation – Threatened and Endangered Species

The USFWS has recommended that tree removal in the project area takes place between October 15 and March 31.  This limitation is to avoid impacting summer roosting Indiana bats (Myotis sodalis).   Should trees need to be removed outside this timeframe, the USFWS will be consulted and their recommendations will be adhered to.

| Figure 5. Summary and Comparison of Project Alternatives--Plum Creek FRS #18 |
| --- |
| Effects | Without Project (No Action) | Alternative #1 Demolition and Replace | Alternative #2 Parapet Wall | Alternative #3 Eminent Domain |
| Fish and Wildlife Species/Habitat | Permanent lost of approx. 13 acres aquatic habitat. Permanent gain of approx. 13 acres of terrestrial habitat. | Short-term negative impacts: Sediment pond drained during construction period. Fish kill would occur. Temporary loss of approx. 13 acres aquatic habitat. No long-term impacts. | Short-term negative impacts: Sediment pond drained during construction period. Fish kill would occur. Temporary loss of approx. 13 acres aquatic habitat. No long-term impacts. | Short-term negative impacts: Sediment pond drained during construction period. Fish kill would occur. Temporary loss of approx. 13 acres aquatic habitat. No long-term impacts. |
| Erosion and Sedimentation | Short-term and long-term impacts: Increased downstream erosion and sedimentation | Short-term impacts during construction. Long-term, no change from present | Short-term impacts during construction. Long-term, no change from present | Short-term impacts during construction. Long-term, no change from present |
| Water Quality | Short-term: Increased sedimentation. Long-term: increased turbidity and sedimentation as sediments move downstream. | Short-term: Some impacts during the construction period. Long-term: No change from present. | Short-term: Some impacts during the construction period. Long-term: No change from present. | Short-term: Some impacts during the construction period. Long-term: No change from present. |
| Wetlands | No effects | No effects | No effects | No effects |
| Threatened and Endangered Species | No effects | No effects | No effects | No effects |
| Cultural Resources | No effects | No effects | No effects | No effects |
| Prime farmland | No effects | No effects | No effects | No effects |
| Air Quality | Short-term: temporary impacts due to vehicle exhaust, dust, etc. during construction period. Long-term: no impacts. | Short-term: temporary impacts due to vehicle exhaust, dust, etc. during construction period. Odor issues during construction due to drained sediment pond. Long-term: no impacts | Short-term: temporary impacts due to vehicle exhaust, dust, etc. during construction. Odor issues due to drained sediment pond. Long-term: no impacts | Short-term: temporary impacts due to vehicle exhaust, dust, etc. during construction period. Odor issues during construction due to drained sediment pond. Long-term: no impacts |
| Public Safety | Decreased level of safety for residents below the FRS due to reduction in flood control capability. | Increased level of safety for downstream homeowner in breach zone. No effects to overall public safety. | Increased level of safety for all residents below the FRS due to increased flood control capability. | No effects to overall public safety. Home in breach zone removed. |
| Flood Control | Reduction of flood control on land below structure | No effects | Improved flood control capability | No effects |
| Project Installation Costs | $0 | $208,800 | $393,000 | $226,500 |
| Figure 6. National Economic Development Account |
|  | No Action | D&R | Elevate House | Parapet Wall | Eminent Domain |
| Beneficial Annual | $0 | $64,300 | $64,300 | $64,300 | $64,300 |
| Amortized Construction | $0 | $11,500 | $12,100 | $21,900 | $12,600 |
| Estimated O&M | $0 | $1400/a | $1500/b | $1500/c | $1200/d |
| Total Adverse Annual | $0 | $12,900 | $13,400 | $23,400 | $13,800 |
| Net beneficial | $0 | $51,400 | $50,900 | $40,900 | $50,500 |
| Benefit Cost Ratio |  | 5:1 | 4.8:1 | 2.7:1 | 4.7:1 |

## Costs as of 8/06

## a/ annual costs $1200 for dam; $200 for floodproofed property

## b/ annual costs $1200 for dam; $300 for floodproofed property

## c/ annual costs $1200 for Class C dam

d/ annual costs $1200 for dam; property is removed

## Risk and Uncertainty

Assessments, considerations, and calculations in this plan are based on a 50-year evaluation period, the minimum required under PL 83-566 for rehabilitation work. (NRCS, 2001). However, assessments and evaluations of sediment storage capacity and material components suggest that the service life of Plum Creek FRS #18 will continue beyond 2057.

Risk is associated with events that have relatively well known probabilities of occurrence. An example of a risk associated with the Plum Creek FRS #18 is that Featherbed Hollow road would be impassable if the dam embankment were to fail.  Another risk associated with the watershed planning process is the assumption of land use. Since a rainfall runoff value is given for each type of land use located in a watershed, changes in land uses will change the rainfall runoff values.  Although future land development is taken into consideration, this is only an approximation. If a watershed is development more extensively than anticipated it could result in more rainfall at higher intensities at the dam site. The fact that risk inherently involves chance leads directly to a need to deal with uncertainty. Uncertainty differs from risk in that the probability of occurrence is not quantified. In planning, decisions are made with information that is uncertain. In aging dam (watershed) rehabilitation planning, uncertainty is associated with:

- Errors in measurements, i.e. building elevations and stream cross sections.

- Estimating cost of measures due to changing economic conditions that could alter price and availability of materials, and the cost of labor.

- Climatic changes that could alter rainfall storm events

- Land use changes

- New modeling technology or rainfall runoff data

- Affected homeowner may later decide not to accept a demolition and replacement

The methods used to estimate cost of measures for each alternative in this project have been successfully used in similar projects in Kentucky and other parts of the United States, and are proven to provide reliable, comparative estimates. Estimated benefits and costs would differ from those planned if the design is changed, property values and local economy changes, or if significant delays are encountered.

Currently, the Kentucky Division of Water (KDOW) continues to propose modifications to the State of Kentucky dam safety regulations.  The current draft of these new regulations provided to the NRCS in early June 2006 shows considerable changes in dam classification criteria and breach zone delineations.  It is possible that even if the home downstream of Plum Creek FRS#18 is floodproofed in 2006, changes in State dam safety regulations in the next few years could result in Plum Creek FRS#18 once again becoming non-compliant with KDOW regulations.  Associated with these potential changes, all 198 NRCS-assisted flood control dams built since 1956 could be also non-compliant.

Sponsors of Plum Creek FRS #18 have recorded easements to impound water on properties adjacent to the pool area and it is assumed they have the right to flood to top of dam.  However, conversations with property owners reflect that there is confusion about what these easements actually mean and exactly how much private property would be flooded.

Consultation and Public Participation

Sponsoring organizations include the Plum Creek Watershed Conservancy District and the Spencer County Conservation District. At the start of the planning process, meetings were held with representatives of the sponsoring organizations to ascertain their interest and concerns regarding the Plum Creek Watershed. Meetings with the project sponsors were held throughout the planning process, and project sponsors provided representation at public meetings.

Both the U.S. Fish & Wildlife Service and the Kentucky State Nature Preserves Commission have been consulted regarding threatened and endangered species. Summer roost habitat for the Indiana bat (Myotis sodalis) may exist in or near the project site and consultation with the USFWS is ongoing.

A cultural historic survey was conducted by a certified independent archaeologist and reviewed by the Kentucky State Historic Preservation Office (SHPO). The survey concluded that the downstream hazard is not eligible for listing in the National Register of Historic Places. The State Historic Preservation Office concurred with this evaluation.

A public meeting was held on August 16, 2005 to explain the project and the Notice of Violation and to scope resources problems, issues, and concerns of local residents. Potential alternative solutions to bring Plum Creek FRS #18 into compliance with current dam safety criteria were also presented. Through verbal and written comments, meeting participants provided input on issues and concerns to be considered in the planning process, and identified the most socially acceptable alternative solution.  Presentations on the project were given to the Plum Creek Watershed Conservancy District board members at meetings on March 10, 2005; January 19, 2006; and March 21, 2006.

Recommended Plan

The recommenced plan proposes to demolish and replace the downstream home currently within the breach zone of Plum Creek FRS#18.  The downstream homeowner would voluntarily allow his current dwelling to be removed and the sponsors would build a new, elevated home on the same lot. The foundation of the home would be designed to withstand a breach wave.   As part of this alternative, NRCS would replace the FRS riser and install a supplemental FRS toe drain system to extend the service life of the dam.  The purpose of this project is to meet applicable NRCS and KDOW standards for public health and safety at Plum Creek FRS #18 and to provide continued flood protection.  The recommended plan will accomplish these objectives.

Benefits of the Preferred Alternative

The preferred alternative of this project, Alternative #2, is designed to extend the service life of Plum Creek FRS#18 as well as bring the dam into compliance with current Kentucky Division of Water safety regulations.   To ensure the service life for a minimum of 50 years, the riser will be replaced and an additional toe drain system added to the FRS.  An engineering analysis of the existing toe drain system was conducted by FMSM Engineers. FMSM recommended keeping the existing system in place but adding a supplemental drain at the toe of the downstream abutment. NRCS agrees with this recommendation.  The current riser configuration on the dam is not a standard D x 3D design.  KY NRCS contacted the National Design Engineer who indicated his office would not provide a waiver.  Therefore the existing riser will be replaced with a typical D x 3D design per NRCS regulations. Based on the as-built data for Plum Creek FRS #18, the riser is assumed to be on bedrock, but this will be field verified during the construction phase of the project.

Alternative #2 will also retain the current level of flood protection provided by FRS#18 thereby providing a high level of flood protection for the residents of Featherbed Hollow.  The current home that is within the breach zone will be removed and the homeowner will have a new elevated modular home built to remain safely within the breach zone.

## Installation and financing

## Funding of this project will be under a cost-share agreement.  65% of cost will be assumed by NRCS using funds from the Federal PL 83-566 Program, Watershed Protection And Flood Prevention Act (16 U.S.C. 1001-1008). 35% of the cost of the project will be assumed by the sponsors. The sponsors will be responsible for contracting, oversight, and coordination of the installation of non-structural improvements, specifically the demolition and replacement of the downstream home.  NRCS will be responsible for contracting, oversight and coordination of the structural improvements including the replacement of the riser and the addition to the toe drain.

During installation, equipment will not be allowed to operate when conditions are such that soil erosion, water, and air pollution cannot be satisfactorily controlled.  Vegetation will be established immediately following construction on all disturbed land.  Plantings for erosion control will be selected based upon the installation season, soils, and surrounding vegetation.

NRCS will be responsible for the following:

1.  Providing contract administration technical assistance,

2.  Providing construction management technical assistance on the structural works of improvement,

3.  Providing financial assistance equal to 65 percent of eligible project costs, not to exceed 100 percent of the actual construction costs

4.  Certifying, in conjunction with the KDOW-Dam Safety and Compliance Division, completion of installed measures, and

5.  Executing a project agreement with project sponsors to obligate funds.

Sponsors will be responsible for the following:

1.  Installation of the non-structural measures

2.  Providing financial assistance at a rate equal to, or greater than, 35% of eligible project costs,

3.  Securing all needed permits, easement, and rights for installation, operation, and maintenance,

4.  Providing local administrative services necessary for installation of the project,

5.  Executing a Memorandum of Understanding (MOU) with NRCS to provide a frame-work for cost-sharing,

6.  Executing an updated Operation and Maintenance Agreement for Plum Creek FRS#18 with NRCS,

7.  Executing a Project Agreement with NRCS to obligate funds for cost-share payments,

8.  Administering and enforcing any necessary maintenance on non-structural measures

## Operation, maintenance, and replacement:  Operation and maintenance (O&M) of the FRS structure will continue to be the responsibility of the Plum Creek Watershed Conservancy District.  A new O&M agreement will be executed for an additional 50 years prior to any federal funding.

## Downstream Zoning: The sponsors have already worked with the Spencer County Planning Commission to pass an ordinance controlling development within the breach zone of Plum Creek FRS#18.

## Permits and compliance:

All necessary federal, state, and local permits will be acquired prior to commencement of work activities.  Permits may include: a 404 permit (or notification, if activity is authorized under an existing nationwide permit) from the US COE, in accordance with Section 404 of the Clean Water Act (CWA); a Water quality certification from the KDOW, in accordance with Section 401(a)(1) of the CWA; a storm water discharge permit from the KDOW (Kentucky Pollutant Discharge Elimination System) KPDES Branch; and  Dam Safety and Floodplain Compliance permit from the KDOW - Water Resources Branch as defined in KRS 151.100 and 401 KAR 4:030.

| Figure 7. Eligible Project Cost for Cost-share Computation (Dollars)1 |
| --- |
| Works of Improvement | NRCS | Sponsors | Total |
| Cost Sharable Items |
| Rehabilitation of Dam (Construction Costs) | $81,000 | $0 | $81,000 |
| Relocation, Replacement in kind | $42,700 | $52,700 | $95,400 |
| Relocation, required Decent Safe Sanitary | $0 | $3,000 | $3,000 |
| Sponsors Planning Cost | NA | $3,000 | $3,000 |
| Sponsors Engineering Costs | NA | $0 | $0 |
| Sponsors Project Administration | NA | $8,000 | $8,000 |
| Land Rights Acquisition Costs | NA | $0 | $0 |
| Subtotal: Cost-Share Costs Cost-Share Percentages 2 | $123,700 65.0% | $66,700 35.0% | $190,400 100.0% |
| Non-Cost-Sharable Items 3 |
| NRCS Engineering & Project Administration | $24,000 | NA | $24,000 |
| Natural Resource Rights | NA | $0 | $0 |
| Federal, State and Local Permits | NA | $500 | $500 |
| Relocation, beyond Required Decent Safe & Sanitary | NA | $0 | $0 |
| Subtotal Non-Cost-Share Costs | $24,000 | $500 | $24,500 |

## Costs:  Estimated costs of this project are listed as follows:

| NRCS Engineering Design | $9,000 |
| --- | --- |
| NRCS Engineering Construction | $9,000 |
| NRCS Project Administration | $6,000 |
| Sponsor Project Administration | $8,000 |
| Replacement of Home and Moving Expenses | $95,300 |
| Federal, State, and local permits | $500 |
| Construction (toe drain and riser on FRS) | $81,000 |
| Total Installation Costs | $208,800 |

| Table 1. Estimated Installation Costs – Plum Creek Watershed Flood Retarding Structure No. 18 (Dollars) |
| --- |
| INSTALLATION COST ITEM | PL 83-566 NRCS | OTHER | TOTAL |
| Non-Structural Replacement in kind of Residential Structure | $42,700 | $61,100 | $103,800 |
| Structural Rehabilitation of Dam | $105,000 | $0 | $105,000 |
| TOTAL PROJECT COST | $147,700 | $61,100 | $208,800 |

Costs as of 8/06

| Table 2. Estimated Cost Distribution in Dollars – Plum Creek Watershed Flood Retarding Structure No. 18 Installation Costs Public Law 83-566 1/ |
| --- |
| ITEM | Construction 3/ | Engineering | Real Property | Relocation Payments | Project Admin. | Total Federal Cost |  |
| Rehab Dam & In-kind Replace-ment | $81,000 | $18,000 | $0 | $42,700 | $6,000 | $147,700 |  |
|  | Installation Costs – Other Funds 1/ |  |
|  | Construction 3/ | Engineering | Real Property 4/ 5/ | Natural Resource Rights | Relocation Payments | Required Permits | Project Admin. 2/ | Total Non- Federal Cost | Total Installation Cost |
|  | $0 | $0 | $0 | $0 | $52,600 | $500 | $8,000 | $61,100 | $208,800 |

## 1/ Price base 2006

2/ Includes $0 for relocation assistance advisory services

3/ Includes $0 for cultural resource protection and mitigation measures

4/ Includes $0 for real propery costs for mitigation

5/ Includes $0 for surveys, legal fess, and other costs

8/2006

Table 3, Structural Data, Plum Creek FRS #18, Spencer County, Kentucky

| Item | Unit | Total |  | Unit | Total |
| --- | --- | --- | --- | --- | --- |
| Class of structure (after project) |  | Moderate | Principal spillway design |  |  |
| Seismic zone |  | 1 | Rainfall volume (1-day) | Inches | 6.9 |
| Uncontrolled drainage area | Sq miles | 1.03 | Rainfall volume (10-day) | Inches | 11.6 |
| Controlled drainage area | Sq miles | 1.03 | Runoff volume (10-day) | Inches | 8.4 |
| Total drainage area | Sq miles | 1.03 | Capacity of low stage (max.) ft3/s | Cu ft / sec | N/A |
| Runoff curve No. (1-day) (AMC II) |  | 75 | Capacity of high stage (max.) ft3/s | Cu ft / sec | 65 |
| Time of concentration (Tc) | Hrs | 0.57 | Dimensions of conduit | Ft/in | 240/24 |
| Elevation top dam | Ft | 580.0 | Type of conduit |  | R/C |
| Elevation crest emergency spillway | Ft | 574.4 | Frequency operation-emer. spillway | % chance | 0.2 |
| Elevation crest high stage inlet | Ft | 556.0 | Emergency spillway hydrograph |  |  |
| Elevation crest low stage inlet | Ft | N/A | Rainfall volume | Inches | 7.5 |
| Emergency spillway type |  | Earth | Runoff volume | Inches | 4.6 |
| Emergency spillway bottom width | Ft | 35 | Storm duration | Inches | 6 |
| Emergency spillway exit slope % | % | 5 | Velocity of flow (Ve) | Ft/s | 10.5 |
| Maximum height of dam | Ft | 41.5 | Max. reservoir water surface elev. | Ft | 573.9 |
| Volume of fill | Cubic yards | 47,973 | Freeboard hydrograph |  |  |
| Total capacity 1 |  |  | Rainfall volume | Inches | 14.1 |
| Sediment submerged | Acre ft | 13.2 | Runoff volume | Inches | 10.8 |
| Sediment aerated | Acre ft | 2 | Storm duration | Hours | 6 |
| Beneficial use (identify use) |  | N/A | Max. reservoir water surface elevation | Feet | 579.0 |
| Floodwater retarding | Acre ft | 198 | Discharge per ft of width (Oe/b) | Acre ft | 8.9 |
| Between high and low stage | Acre ft | N/A | Bulk length | Ft | 193 |
| Surface area |  |  | Capacity equivalents |  |  |
| Sediment pool size 2 | Acre | 3.1 | Sediment volume | Inches | 0.24 |
| Beneficial use pool (identify use) size | Acres | N/A | Floodwater retarding volume | Inches | 3.6 |
|  |  |  | Beneficial volume (identify use) | Inches | N/A |

| Table 4. Estimated Average Annual NED Costs – Plum Creek Watershed Flood Retarding Structure No. 18 (Dollars) |
| --- |
| Evaluation Unit |  | Amortization* of Installation Cost |  |  | O&M Costs |  | Total Project Average Annual Cost |
| TOTAL |  | $11,500 |  |  | $1,400.00 |  | $12,900 |

*The FY2006 Water Resource Project Discount Rate is 5.125%.

** NED costs do not include $3,000 in DSS costs that are considered transfer payments.

8/2006

| Table 5. Estimated Average Annual Agriculture-Related Damage Reduction Benefits – Plum Creek Watershed Flood Retarding Structure No. 18 (Dollars) |
| --- |
| Item | Without Project b/ | With Project | Average Annual Damage Reduction Benefits |
| Floodwater Crop & Pasture a/ | $0 | $64,300 | $64,300 |
| GRAND TOTAL |  |  | $64,300 |

a/ annual losses to downstream properties

b/ damages and benefits were not evaluated completely

## 8/2006

| Table 6. Comparison of NED Benefits and Costs – Recommended Plan Plum Creek Watershed Flood Retarding Structure No. 18 |
| --- |
| Alternative | Average Annual Benefit* | Average Annual Cost* | Benefit Cost Ratio |
| Dam Upgrades & Home Replacement | $64,300 | $12,900 | 5:1 |

*FY2006 Water Resource Project Discount Rate is 5.125%.

8/2006

## References

(Census, 2006). United States Census Bureau. Last Revised 12 January 2006. Web page. State and County Quickfacts. Spencer County. Accessed on: 13 February 2006. Accessed at: http://quickfacts.census.gov/qfd/states/21/21215.html

(FMSM, 2006). Fuller, Mossbarger, Scott & May Engineers. 6 January 2006. Draft Report of Feasibility Study. Hydraulic Improvements – Parapet Wall Option Plum Creek FRS No. 18 Feather Bed Hollow, Spencer County, Kentucky.

(FMSM, 2005). Fuller, Mossbarger, Scott & May Engineers. 5 December 2005. Draft Report of Toe Drain Repair/Replacement Study, Plum Creek FRS No. 18 Feather Bed Hollow, Spencer County, Kentucky.

(KDOW, 2003). Commonwealth of Kentucky Natural Resources and Environmental Protection Cabinet, Department for Environmental Protection, Division of Water.  21 October 2003. Violation of KRS Chapter 151. Letter from Gary L. Wells, P.E., Water Resources Branch.

(KDOW, 1990). Commonwealth of Kentucky Natural Resources and Environmental Protection Cabinet, Department for Environmental Protection, Division of Water.  19 July 1990. Certificate of Inspection for Dam and Appurtenant Works.

(NRCS, 2004). United States Department of Agriculture, Natural Resources Conservation Service, Lexington, Kentucky. October 2004. Assessment Report, Plum Creek Watershed Site 18, Spencer County, Kentucky.

(NRCS, 2001). United States Department of Agriculture, Natural Resources Conservation Service, October 2001. National Watershed Manual, 390-V-NWSM, Part 508 – Post Installation Assistance.

(PCCD, No date).  Plum Creek Conservancy District. No date. Emergency Action Plan, Flood Retention Structure #18. Spencer County, Taylorsville, Kentucky.

(SCS, 1954). United States Department of Agriculture, Soil Conservation Service. September 1954. Work Plan – Plum Creek Watershed, Spencer, Shelby, Bullitt, and Jefferson Counties Kentucky.

(USACE, 1979). United States Army, Corps of Engineers, Louisville District. 1979. Plum Creek FRS #18 Spencer County, Kentucky, KY 00336 – Phase I Inspection Report.

(USEPA, 2005).  United States Environmental Protection Agency, Office of Air and Radiation, Office of Air Quality Planning and Standards.  Last updated 14 Octoberl 2005.  Web page.  The Green Book, Nonattainment Areas for Criteria Pollutants.  Accessed at:  http://www.epa.gov/oar/oaqps/greenb

List of Preparers

| Natural Resources Conservation Service, Kentucky State Office |
| --- |
| Name | Education | Title (time in Job, yrs.) | Experience Titles and Time in Job-yrs | Other (licenses |
| Jacob Kuhn | BS Agriculture | NRCS Assistant State Conservationist-4 | Resource Conservationist -21 |  |
| Billy Hartsell | BS | NRCS State Engineer-14 | Assistant SCE-12 Area Engineer-11 Engineering Trainee-2 | PE registration |
| Sonya Keith | BS Agriculural Engineering | NRCS Watershed Engineer-3 | NRCS Agricultural Engineer-3 |  |
| Paul Howell | BS Geology | NRCS State Geologist -20 | Geologist, private industry or state government. -28 | Registered Prof. Geologist - KY |
| Mason Howell | BS Biology & MS Soil Science | NRCS State Biologist-9 | Water Quality Agent , University of Kentucky - 2 |  |
| Bill Sharp | BA Anthropology | NRCS Archeologist-3 | Archeologist, US Forest Service - 12 |  |
| Anita Arends | BS Agriculture | NRCS Resource Cons.-1 | Natural Resource Specialist -9 |  |

| Mangi Environmental Group, Inc. |
| --- |
| Name | Education | Title |
| Phil Sczerzenie | Ph.D., Wildlife Biology M.S., Wildlife Biology B.S., Forestry and Wildlife Management | Project Director |
| Julia Yuan | M.S., Natural Resources Mgmt. B.S., Environmental Biology | Economic analyses Benefit/Cost analysis |
| Mark Blevins | M.S., Geography B.S., Anthropology/Geography | GIS Analyst |

Appendix A.  Map of Project Site

Appendix B – Response to Comments

Response to Comments

Plum Creek Watershed, Supplemental Plan #1,

Rehabilitation of the Plum Creek Flood Retarding Structure (FRS)#18 Watershed Plan/ Environmental Assessment (Plan/EA)

A.  The following comments were provided to NRCS in either written or verbal form during the public comment period of September 27, 2006 to November 13, 2006.  The notice of availability of the Plan/EA was published in the Federal Register on September 27, 2006 (Volume 71, Number 187, page 56472).    NRCS has made no changes to the original Plan/EA and the public and agency comments are summarized below.

Comments received through the Kentucky State Clearinghouse, which is the officially designated Commonwealth’s Single Point of Contact (SPOC) pursuant to Presidential Executive Order 12372 are listed below.

Health and Family Services wrote:

This project does not impact CHFS.

The Heritage Council wrote:

The project will have no effect on any property listed in or eligible for listing in the National Register of Historic Places.  Further, an archaeological survey will not be necessary.  Therefore, we have no objection to the project.

The Kentucky Labor Cabinet wrote :

Prevailing Wage rates do not apply.

Kentucky Natural Resources wrote:

This review was based upon the information that was provided by the applicant through the Clearinghouse for this project.  An endorsement of this project does not satisfy, or imply, the acceptance or issuance of any permits, certifications or approvals that may be required from this agency under Kentucky Revised Statutes or Kentucky Administrative Regulations.  Such endorsement means this agency has found no major concerns from the review of the proposed project as presented other than those stated as conditions or comments.

All solid waste generated by this project must be disposed at a permitted facility.  If underground storage tanks are encountered they must be property addressed.  If asbestos, lead paint, and/or other contaminants are encountered during this project, they must be properly addressed.

Kentucky Division for Air Quality Regulations 401 KAR 58:025, Asbestos Standards, apply to this project, and the project must be inspected by a Kentucky Accredited Asbestos Inspector.  Asbestos that will be affected by this activity must be removed by a Kentucky accredited contractor before renovation or demolition begins.  Written notification must be given on form DEP 7036 to the Division for Air Quality, Frankfort Regional Office at least 10 weekdays prior to the start of the demolitions, whether or not asbestos has been identified to be present.  Please not form DEP 7036 and the asbestos fact sheet located at: http://www.air.ky.gov/homepage_respository/e-Clearinghouse.htm

Kentucky Division for Air Quality Regulation 401 KAR 63:010 Fugitive Emissions states that no person shall cause, suffer, or allow any material to be handled, processed, transported, or stored without taking reasonable precaution to prevent particulate matter from becoming airborne, an that no one shall allow earth or other material being transported by truck or earth moving equipment to be deposited onto a paved street or roadway.  Please note the fugitive emissions fact sheet located at http://www.air.ky.gov/homepage_repository/e-Clearinghouse.htm

Kentucky Division for Air Quality Regulation 401 KAR 63:005 states that open burning is prohibited.  Open burning is defined as the burning of any matter in such a manner that the products of combustion resulting from the burning are emitted directly into the outdoor atmosphere without passing though a stack or chimney.  However, open burning may be utilized for the expressed purposes listed on the open burning fact sheet located at http://www.air.ky.gov/homepage_repository/e-Clearinghouse.htm

The Division also suggests an investigation into compliance with applicable local government regulations.

The proposed project is subject to Division of Water (DOW) jurisdiction because the following are or appear to be involved:  storm water discharge and appurtenances.  Prior approval must be obtained from the DOW before construction can begin.  The applicant must cite the State Application Identifier when submitting plans and specifications to the DOW.

From the application data, the DOW ascertains that the site of the proposed project is located in a floodplain area; therefore a floodplain construction permit will be required.

If the construction area disturbed is equal to or greater than 1 acre, the applicant will need to apply for a Kentucky Pollutant Discharge Elimination System storm water discharge permit.

Utility line projects that cross a stream will require a Section 404 permit from the US Army Corps of Engineers and a 401 Water Quality Certification from DOW.

Response:  All appropriate local, state and national permits will be acquired by the sponsors with the assistance of NRCS.

B.  The following comments were expressed during a public meeting of the Plum Creek Watershed Conservancy District and the Spencer County Conservation District.  This meeting was held on September 26, 2006 at 7:00 P.M. at the Spencer County

Extension Office, 66 Spears Drive, Taylorsville, KY.  Comments are paraphrased and summarized below:

Issue:  The draining of the pond, required for the repair of the existing floodwater retarding structure (FRS), will cause a fish kill.

Response:  NRCS has contacted both the USFWS and the Kentucky Department of Fish and Game regarding electro-shocking and relocating fish prior to construction.  Since there are no threatened or endangered species in the pond area, the USFWS would not be involved.  Numerous options are being evaluated including electro-shocking, relocating and/or digging a temporary pond for storage. Another option considered is to drain the pond, kill the fish, but then restock higher quality species in the pond after it has refilled.  NRCS and Kentucky Fish and Game are meeting with NRCS to discuss and evaluate possible methods for saving the fish.  At this point in time however, no feasible and cost-effective action to save the fish has been identified.

Issue:  Concern was expressed regarding long-term changes in the pond level and downstream flood from the FRS after during and after construction.

Response:  The design and installation of a new riser and an additional toe-drain system to the existing FRS will require the draining of the sediment pond behind the dam.  The area around the riser must be dry enough to allow replacement of the riser.  To facilitate draining the pond prior to construction, water will be released slowly causing a slight increase in flows downstream, but the flow will be controlled to insure a minimum of sediment is released downstream and that no flooding occurs.  After construction is completed, the riser will be set so that the pond level and downstream flow from the dam will be the same as the pre-construction levels.

Issue:  Construction traffic and public road/ private lane/private property impacts.

Response:  During construction, there will be heavy machinery and truck traffic using Featherbed Hollow Road.  Access to the dam will be on property that has an easement allowing for such use.  Any vegetative disturbance will be protected from erosion and re-vegetated.  If road damage should occur, it will be fully repaired after construction is completed.   NRCS does not anticipate that the private lane on the north side of the dam will be negatively impacted; however, if there is damage to the lane, it will be repaired to pre-construction conditions.

Issue:  Culvert replacement on a private lane near the construction area.

NRCS does not plan to remove or replace any culverts during this project.  However, should any private property be damaged by construction activities, the damage will be fully repaired.

Issue:  The removal of trees and what would be cut.

Response:  For this project, heavy machinery must have access to the entire FRS structure and the riser, which is located in the lower region of the sediment pond.  NRCS estimates that the trees that will have to be removed are located at the base of the FRS. Trees may need to be removed at the north gutter or groin area of the dam and around the plunge pool (front of dam).  NRCS will insure contractors make every effort to minimize both tree removal and disturbance of vegetation around the construction site.

Issue:  Concern was expressed over the odor of rotting fish once the pond was drained and any possible health impacts from the smell.

Response:  When the pond is drained there will be dead fish and rotting vegetative matter – and there will be an odor issue for the residents surrounding the dam.  Construction can only take place during the drier months which will allow for both equipment access and minimization of odor impacts to neighbors.  Although the smell will be annoying, NRCS knows of no scientific evidence that the odor will cause health impacts to humans.

Issue:  Concern was expressed over the artificial wetlands that have been constructed at the east end of the sediment pond as it impedes secondary access to lots on the north side of the sediment pond.

Response:  This project will not directly modify the wetlands at the east end of the sediment pond.  As the main sediment pond is drained, water in the wetlands will decrease. After construction is finished, the water levels in the wetlands and the main sediment pond will return to pre-construction levels.

Issue:  One speaker asked if NRCS was going to have contractors dredge the sediment pond to increase storage capacity of the dam.

Response:  The sediment pond is not going to be dredged as part of this project.  The sediment disturbance, wetland issues, and additional costs were all taken into consideration for this decision.

Issue:  Construction of temporary coffer dams.

NRCS plans that work on this project will take place during late spring/summer so that the sediment pond can dry.  If unusually heavy rainfall occurs in the watershed, temporary small dams or “coffer dams” may be constructed to hold back water from the construction site.  These temporary structures would be built to hold back flow from the feeder streams and would be removed after construction activities were completed.

# Footnotes

1 Price base 2006.

## 2 Maximum NRCS cost=-share is 65% of Cost-sharable items not to exceed 100% of construction costs (including Replacement-in-kind; Required Decent, Safe, Sanitary; and flood proofing of downstream properties).

3 If actual Non- Cost Sharable item expenditures vary from these figures, the responsible party will bear the change.

1 Price base 2006 amortized over 100 years.   The FY2006 Water Resource Project Discount Rate is 5.125%.

## 2 Maximum NRCS cost=-share is 65% of Cost-sharable items not to exceed 100% of construction costs (including Replacement-in-kind; Required Decent, Safe, Sanitary; and flood proofing of downstream properties).

3 If actual Non- Cost Sharable item expenditures vary from these figures, the responsible party will bear the change.

8/2006

Price base

Federal agency responsible for assisting in installation of works of improvement

1 Crest of emergency spillway

2 If reservoir contains beneficial storage of if sediment capacity will not store water, show area in parenthesis and footnote accordingly

# Text boxes

United States Department of Agriculture

Natural Resources Conservation Service

In cooperation with:

Plum Creek Watershed Conservancy District

Spencer County Conservation District

Residence Location:

First Floor Elevation: 505.1

Supplemental Watershed Plan No. 1 and Environmental Assessment

for the Plum Creek Watershed

Rehabilitation of Flood Retarding Structure No. 18 in Spencer County, Kentucky

November 2006