SOLICITATION 1-057-RCA.1405                    QUESTIONS AND ANSWERS

Question:

The contractor has reviewed the  request for quote for an inert atmosphere

Glovebox. The contractor has one  question re: the freezer. The RFQ

states that the rectangular freezer should be completely outside the

box,however the door has to open inside the box,thus taking space. If you use

a round freezer the door wiil swing up like the anti chamber

door,consequently it will not take up internal working space.

Answer:

The rectangular is what is needed. We need to be able to open the door and access the refrigerator from inside the glovebox with one glove holding, opening, and closing the door and the other glove to be able to access the chemicals in the freezer.  An antechamber door often requires two hands because it does not have the luxury of being hinged as does a door.  Only the freezer door should be in the glovebox work area.  Anything else is unacceptable because the useable work space becomes limited.  The freezer space should be approximately 14.8 to 17 Liters.

The freezer, rated to -35 deg C, must be able to maintain inert atmosphere conditions and vacuum tight.