Basis for MAG Data Rates

Survey:

The key factors determining the survey data rate for the magnetometer (MAG) are the number of components needed for determining the magnetic field direction (3 components) and the need to resolve EMIC waves, and important radiation belt particle scattering mechanism. To provide good pitch angle resolution and wave data with some overlap with the Wave search coil magnetometer, the sampling of MAG will be at 32 samples/s. This will provide good wave coverage up to about 15 Hz.  This corresponds roughly the hydrogen cyclotron frequency at 3 RE geocentric. To cover lower altitudes a higher rate is needed. For survey data, this will be accomplished by transmitting one 0.025-30 Hz spectrogram once every 40 s.

High Rate:

To compliment survey rate data, MAG will be sampled at the rate of 64 vecotrs/s in high-rate and burst modes. The two rates are the same for MAG.  This will provide continuous waveform coverage of important low frequency waves such as EMIC waves down to 2 RE geocentric distance, covering a frequency range of DC to 30 Hz. This also provides good overlap with the Waves search coil magnetometer, allowing for good cross calibration to ensure optimal accuracy of both instruments.

MAG Measurement Requirements per AO Objectives: Drivers on MAG Data Rates

1.1.a-1

Quasi-DC 3D magnetic field vectors needed for pitch and first adiabatic invariant calculations. Sampling at 16 samples per second gives 5 degree resolution as the payload spins.

1.1.a-2

Measuring the magnetic component of EMIC waves requires frequency response below the 10Hz limit of the Waves instrumentation. Sampling at 32 samples/s will give 15 Hz as an upper cutoff at corresponds to the hydrogen cyclotron frequency at 3 RE geocentric. Sampling to 64 Hz in burst mode gives good overlap between experiments and resolves the hydrogen gyrofrequency down to altitudes just above 2 RE geocentric.

1.1.b-4

Measurements of magnetic field vectors with sufficient resolution  to determine characteristics of the injection fronts including structures within the larger front. Maximum burst rate of 64 samples/s yields 16 ms resolution.

1.1.c-1

Same as 1.1.a-2

2a-1

3D magnetic field vectors to characterize EMIC waves with spectra up to 30 Hz every

40 s.

2a-2

Same as 1.1.a-2

3c-1

Characterization of low frequency waves above 10 Hz. MAG sampled at either 32 sampels/s (up to 15 Hz) or in burst at 64 samples/s (up to 30 Hz).

3e-1

Same as 3c-1

4.1.b

Measure 3D magnetic field vectors at up to 64 samples/s to determine wave modes of importance. This includes overlap with Waves to give continuous coverage of low-frequency waves.

4.2.c

Sames a 4.1.b

4.3.b

Measure 3D agnetic fields of the waves and structures which are efficient at violating the third invariant which are capable of  transporting energetic particles earthward at 32 samples/s.

5d-2

Survey B wave properties \including spectrum.  One DC-30 Hz spectrum every 40 s provides coverage of lwest frequency waves.

5e-2

same as 5c-2

6c-1

To determine how inner magnetospheric VLF waves are associated with variations in the ring current and other plasma populations measure 3D magnetic field vectors 32 samples/s. Burst at 64 samples/s extends the frequency coverage.

7e-1

Determine how substorm injection phenomena affect ring current development by measuring vector B at 10 samples/s.

7f-1

Same as 7e-1

8b-2

Measure 3D magnetic field vector from dc to TBD Hz. Sensitivity: 0.05 nT. Absolute accuracy 10 nT;  Range 1 nT to 40,000 nT.

8c

same as 8b-2

8d

same as 8b-2

Driving Requirements

(Note: where requirement appears in multiple objectives, only one objective is cited.)

Number of components: 3D magnetic field - 1.1.a-1

Frequency Range (EMIC, VLF Hiss, Chorus): DC-15 Hz (nominal); DC-32 Hz (burst) - 1.1.a-2

EMFISIS/MAG Data Rates

The EMFISIS magnetometer can be sampled at a variety of rates, but we currently envision only two primary modes of operation.

Survey Data:

For routine operations to support both EMFISIS science objectives (with sufficient sampling to overlap with the Waves search coil magnetometer) and to provide background field orientation for particle instruments, the magnetometer will be sampled 32 times per second. Each vector component requires 16 bits. In addition, EMFISIS will telemeter one spectrogram of MAG data up to its highest frequency once every 40 s. This yields:

Data component                                                                                		Rate (bps)

3 vector components x 32 samples/second 					        1536

1 40 frequency spectrogram .covering 0.025-30 Hz				            16

TOTAL RAW SURVEY RATE:					         1552

TOTAL COMPRESSED SURVEY RATE (50% compression):	         1149

Compressed rate corresponds to 37 Mbits/orbit

High Rate or Burst Data:

In high rate or burst data rates, the maximum sample rate for the magnetometer of 64 samples/s is telemetered. This eliminates the need for spectrograms.

Data component:                                                                                		Rate (bps)

3 vector components x 64 samples/second 					         3072

TOTAL SURVEY RATE:						         3072

TOTAL COMPRESSED SURVEY RATE:				         2304

Compressed rate corresponds to 75 Mbits/orbit