Fluorescent Lamps and PCB Ballasts

Rev 10.19.01

Document Summary:  This document covers technical information regarding the toxicity of fluorescent lamps and PCBs Ballasts and the accompanying environmental compliance responsibilities.  It has broad applications -- from the removal of one light bulb to planning a large scale re-lamping project or structure demolition.  It should be used as a companion document to State mandates and a list of qualified recycling firms.

Introduction

In the context of this guidance, "fluorescent lamp" applies generically to mercury-containing lamps, including metal halide, high-pressure sodium, and mercury vapor lamps. Lamps contain about 40 milligrams of elemental mercury, depending on the brand and manufacture date. Mercury-containing lamps also may contain lead and small amounts of antimony, cadmium, and manganese. Some of these compounds are reported to have moderate to severe toxicity.

Essential for proper operation of fluorescent lamps are integral units known as ballasts or capacitors. Fluorescent lamp ballasts are either "dry" capacitors or "wet" capacitors. Wet capacitors, produced before 1979, contain a fluid or liquid insulation medium such as polychlorinated biphenyl (PCB), which is toxic, thus complicating the management of fluorescent lamps. It is estimated that millions of ballasts in existence contain PCBs. The production of PCB-containing ballasts was discontinued after 1979. Dry capacitors do not contain a fluid insulation medium.

According to the National Electrical Manufacturers Association, fluorescent light bulbs account for about 0.2 % (or about 34 tons) of the total mercury releases. Millions of mercury-containing lamps are purchased each year. Manufacturers are working to reduce the mercury content of fluorescent light bulbs to the lowest feasible level. However, light bulbs containing mercury have a high-energy efficiency, and 100 % mercury free light bulbs are not technically feasible at this time. The mercury levels affect the light bulb's life C generally the higher the mercury per lamp, the longer the life. Even the new >energy saver= lamps designed to replace the conventional lamps contain small amounts of mercury. In addition to being toxic, PCBs and mercury accumulate in human and animal tissue and the environment. If released into the environment, mercury can become transformed into more toxic forms and concentrate in food chains, where humans become exposed through the ingestion of mercury-contaminated food. There is also the potential for PCBs to form highly toxic dioxin compounds under certain combustion conditions. Therefore, there are some environmental issues to consider in disposal of lamps and ballasts.

Disposal of Fluorescent Lamps and Ballasts

When discarded, fluorescent lamps become subject to the requirements of the Resource Conservation and Recovery Act (RCRA).   RCRA regulates the management of hazardous waste from its generation through disposal. Fluorescent lamps destined for disposal are considered solid waste and, as with any solid waste, the generator must determine if the lamps are hazardous waste. Although fluorescent lamps are not listed hazardous wastes, they may exhibit the characteristic of toxicity, due primarily to their mercury content, The Toxicity Characteristic Leaching Procedure (TCLP) is used to determine if solid wastes exhibit the characteristic of toxicity. When the TCLP results indicate a level of mercury greater than 0.2 parts per million (ppm), the fluorescent lamps exhibit the toxicity characteristic and are, therefore, a hazardous waste. A generator must use either his or her knowledge of the waste or the actual TCLP test to determine if the waste is hazardous. TCLP results often vary for fluorescent lamps, depending on several factors, including how the sample was collected and the TCLP methodology. EPA has tested fluorescent light bulbs based on the new TCLP. In this testing, about 50% of the fluorescent light bulbs, were determined to be a hazardous waste.

Virtually every component of a fluorescent lamp can be recycled, including end caps, glass tube, wire, mercury, and phosphor powder. The recycled glass can be used as feedstock in the manufacture of glass products, or as cement filler. The metallic portion often is sold as scrap. Retorting recovers mercury, which, after further purification, is often reused in thermometers, barometers, and electronic devices.  Fluorescent lamp recycling plants are diverse in their activities. Recycling capacity ranges from a few hundred to several thousand lamps daily. In a typical operation, lamps are crushed or pulverized, producing primarily glass, metal, and mercury-bound phosphor powder. Firms that do recycle the fluorescent light bulbs may separate out mercury and the phosphor powder, the glass, metal, and other materials. About 99% of the mercury is recovered.

To manage the disposal process of fluorescent light bulbs, they must be stored for recycling, in their cardboard tubes and in boxes protected from damage. When a fluorescent lamp is broken, the mercury can evaporate at room temperature. (There are no known health hazards from exposure to lamps that are intact.)  All boxes must be labeled as Auniversal waste-spent fluorescent lamps.@  A label is provided on the last page of this guidance that may be printed out and completed with the applicable name and date. The lamps must be dated and recycled or disposed of within a year.  This process must be documented. An easy pneumonic for the basic requirements is the LAMP rule:

LAMP rule

LAMP ruleL = Label and Date

A = Arrange for recycling with in a year

M = Must Document

P = Proper Storage

Spent light bulbs may be hazardous waste and should be handled appropriately. Some states have mandatory recycling and have banned mercury-containing lamps from their landfills. In most states, mandatory recycling allows lamps to be managed and disposed of as Universal Waste.

Because of PCBs’ (polychlorinated biphenyls) toxicity, persistence and potential ecological damage via water pollution, manufacture of PCB was discontinued in the U.S. in the late 1970s. PCBs are toxic chemicals according to U.S. EPA. While there is only a small amount, about one ounce, of PCBs in each light ballast capacitor, there are a large number of ballasts in the U.S. About half of the one billion ballasts, estimated as currently installed, were manufactured before 1979 and usually contain PCBs.

Identifying Ballasts Containing PCBs

Older fluorescent light ballasts have small capacitors that contain high concentrations of PCBs (polychlorinated biphenyls). Disposal of pre-1979 light ballasts requires some knowledge of ballasts. Nearly all ballasts manufactured before 1979 contain PCBs. Ballasts manufactured after July 1, 1978 that do not contain PCBs are required to be clearly marked "No PCBs". Look for the "No PCBs" label and check the date stamp to see if the ballast was made after 1979. Unmarked ballasts or ballasts without a date code should assumed to contain PCBs.

Although very few ballasts leak, those that are leaking can usually be identified. Try to determine if a ballast is leaking before removing it from the fixture. Most PCB leaks are visible. If clear or yellow oil is visible on the surface of a ballast, that ballast is probably leaking. Chemically resistant gloves must be worn when handling the ballast. Don't throw used ballasts around as leaks could result. Place the ballast in a heavy plastic bag. Technically, if PCB ballasts are leaking, they must be disposed of as regulated hazardous waste (TSCA).

The primary purpose of the PCB regulations is to remove PCBs from the environment permanently. The primary law regulating PCBs is the Toxic Substance Control Act (TSCA).   TSCA regulates the manufacture, sale, use, and disposal of certain chemical substances, and requires testing, tracking, pre- screening, and record keeping of chemical products. TSCA also regulates the disposal of PCBs.  In specific situations, ballasts are exempt from TSCA requirements. For instance, TSCA does not regulate the disposal of a non-leaking, Small Capacitors. A fluorescent lamp ballast is classified as a Small Capacitor if it contains less than three pounds of dielectric fluid and/or has a total volume of less than 100 cubic inches. A lighting ballast is also considered a Small Capacitor if it has a volume between 100 and 200 cubic inches and has a total weight of less than nine pounds.

Small Capacitors are subject to TSCA under two conditions. If the Small Capacitor is leaking PCBs, it is regulated as a PCB Article, as defined in the federal PCB regulations.   PCB Articles with concentrations at 500 parts per million (ppm) or greater must be disposed of in an incinerator,  or a chemical waste landfill.   PCB Articles disposed of at a chemical waste landfill must be drained of all free flowing PCBs and the drained PCBs greater than 500 ppm must be disposed of by incineration.

In the second condition, Small Capacitors (intact or leaking) owned by any person who manufactures or at any time manufactured PCB-containing capacitors or PCB-containing equipment,  must ensure delivery of the PCB-containing capacitor to a TSCA-permitted incinerator for disposal. PCB-containing ballasts also may be subject to regulation under the Comprehensive Environmental Response, Compensation and Liability Act (CERCLA). CERCLA has many features including establishing reportable levels for certain substances and a notification requirement for release of these substances. PCBs are a hazardous substance under CERCLA. Releases exceeding one pound during a 24-hour period must be reported to the National Response Center (NRC).   For information on reporting requirements, contact your RECO.

Disposal of Non-hazardous, Non-leaking, PCB-Containing Ballasts

Thirteen states ban PCB ballasts from permitted landfills, and another 17 states have special policies or requirements regarding disposal of PCB ballasts.

The Superfund Law (CERCLA) prohibits the disposal of more than one pound of PCBs (12-16 or more ballasts) in a 24-hour period in a permitted sanitary landfill.

Options under TSCA.

Solid waste landfill--Often, landfill operators will require that PCB-containing ballasts be drained before land filling and the drained PCB material then must be sent to a PCB incinerator for disposal. This method, if chosen, could heighten liability should the landfill become subject to cleanup in the future. This method also may require special reporting procedures to the appropriate regulatory authority. It is recommended that non-leaking, intact ballasts not be disposed of in large quantities at a solid waste landfill because of the potential for cross-media transfer of pollutants and the possibility of nullifying the environmental benefits of lamp replacement. The intent of the Small Capacitor disposal rule was to allow random disposal in landfills by householders and other infrequent disposers. For larger quantities of Small PCB Capacitors used by commercial and industrial sectors, the EPA encourages voluntary collection and disposal of Small PCB Capacitors in chemical waste landfills, ballast decap recycling processing, or high-temperature incinerators.

PCB Incinerator--As previously stated, whole ballast incineration in a TSCA-permitted incinerator is mandated for leaking PCB-containing ballasts. In addition, non-leaking PCB ballasts may be disposed of by incineration. However, the main drawback with incineration of intact ballasts is that recyclable material is destroyed, sometimes at high cost.

Recycling--Encourage recycling, where possible. PCB-containing ballast recycling is actually a three-step process, which separates the PCB capacitor from the uncontaminated materials. PCB materials are sent for destruction in a PCB incinerator, and the uncontaminated metals (copper, steel, and aluminum) are recycled.

Summary

Lamps must be managed as Universal Wastes to be recycled.

It is recommended that lamps not be crushed. The practice of breaking lamps may save space and facilitate transportation but also can cause exposure to toxic levels of mercury. Also, mercury recovery levels are lower in broken or crushed units.

Lamps must be segregated from ballasts. Ballasts containing PCBs (and other toxic compounds)  must be segregated from other ballasts.

Ballasts leaking PCB must be disposed of as regulated hazardous substances in a TSCA-permitted incinerator, or chemical landfill. If a landfill is chosen, PCBs must be removed prior to disposal of the capacitor. Intact PCB containing ballasts also may be disposed of by incineration or at a chemical landfill.   The contractor should be required to do this. It is essential that personnel cleaning up any debris have appropriate training and wear protective clothing.

Tubes and ballasts must be stored in a secure area. Lamps and ballasts should be carefully arranged and stored, protecting against accidental breakage or damage. Lamp components and the storage area should be appropriately labeled.

Before shipping, lamps and ballasts must be placed in protective packaging. The original container or box may be sufficient for lamps. A reputable transporter or carrier must be contracted to transport lamp components to the receiving facility. Records of all invoices or receipts from the transporter and receiving facility must be maintained.

For assistance with any of these procedures or locating a fluorescent light fixture recycler, contact your RECO.

LJMAfluorescentlamps2001.doc

Rev 10.19.01

Carbonunitcontact 757.441.6298

Universal Waste

Universal Waste

Spent Fluorescent Lamps

Date__________

Must be disposed of within one year

Must be disposed of within one year

POC______________

.

.

# Footnotes

42 U.S.C. 6901 et seq.

15 U.S.C. 2601 et seq.

40 CFR 761.3

40 CFR 761.70

40 CFR 761.75

40 CFR 761.70

40 CFR 761.60(b)(2)(iv)

42 U.S.C. 9601 et seq. (also known as the Superfund Law)

42 U.S.C. 9603 (a)

At EASC, that individual is Lynnette Ansell (757) 441 6298.  A listing of RECOS in other regions is available at http://www.ecs.noaa.gov/contacts/index.html.

Note:  Where applicable, amore stringent state law governs.