July 12, 2002

Ms. Mary Gross

Office of Drug Safety

Center for Drug Evaluation and Research

Food and Drug Administration

5600 Fishers Lane, Room 15B-32

Rockville, MD  20857

Dear Ms. Gross:

Premier, Inc., a strategic alliance of leading not-for-profit hospitals and health systems nationwide, is appreciative of this opportunity to offer our perspective on the Food and Drug Administration's promulgation of a rule to require bar code labels on institutionally administered drugs, biologicals, and medical devices. We look forward to discussing our position in person, at the FDA's July 26 public meeting on this subject.

Premier is in a position to offer the FDA a unique perspective on industry adoption of the bar code.  For the not-for-profit hospitals and health systems allied in Premier, cost-effective quality improvement of care is not only a priority—it's our mission.  Bar coding is a critical component of a larger, broad-based strategy to assist our hospitals achieve the highest quartile in quality and lowest quartile in costs.

Research conducted at the Colmery-O'Neil Veterans' Administration (VA) facility in Topeka, KS, is demonstrative of the potential of bar code implementation to improve safety and quality and reduce costs.  The Colmery-O'Neil study, conducted between 1993 and 1999, revealed that bar code labeling of drugs reduced medication error rates by 64 percent overall.  This experience compelled the VA to implement bar code technology in all of its 172 medical facilities.

Premier believes that patients across the healthcare delivery system are deserving of a comparable level of medication safety, which the issuance of a comprehensive regulation would do much to ensure.   Attached, please find a short summary of our position, per the June 18 Federal Register notice, along with the Veterans’ Administration study referenced above. Again, thank you for the opportunity to offer our perspective on this important quality and cost management issue.  We look forward to working with you to achieve the patient safety improvements in that bar code implementation would facilitate.

Sincerely,

Bert Patterson, R. Ph.

Vice President for Contracting and Contract Services

Premier

Attachments

ON FDA PROMULGATION OF BAR CODE LABELING REQUIREMENTS

# A summary of Premier’s position, per questions posed in the June 18 Federal Register notice.

### General Questions Relating to Drugs and Biologics

- Premier believes that all hospital-administered drugs and biologicals ought to feature bar code labels—with the Universal Product Number (UPN), including the National Drug Code (NDC), as the standard industry identifier—at every level of packing, especially that of the unit-dose.

- Premier agrees with recommendations issued by the National Council for Coordinating Medical Error Reporting and Prevention (NCC-MERP) with respect to the information bar code labels ought to contain. We are cognizant of the concerns of some of our vendor business partners, with regard to the feasibility of meeting these requirements in the near term.  Therefore, we believe the regulation issued in November ought to require the NDC code, while stipulating a reasonable timeframe in which the applicable labels would contain the NCC-MERP-recommended data.

- Premier believes that the industry ought to move toward the implementation of the more advanced two-dimensional bar codes.  Current scanning technology is compatible with both the Health Industry Business Communications Council’s health bar code labeler identification code (HIBC-LIC) and the Uniform Code Council / European Article Numbering’s (UCC/EAN) universal product code (UPC).  Therefore, we consider either symbology acceptable as the industry moves toward two-dimensional bar codes.

Another feature critical to the success of any bar code labeling initiative is the readability of the data so contained.  This would safeguard against the challenges clinicians and practitioners would encounter if problems with the requisite scanning technology were to arise.

In addition, regardless of the symbology or symbologies the FDA might propose, Premier would respectfully request that they be compatible with current scanning technologies. We would urge the FDA not to adopt standards that would require hospitals to purchase optic scanning technology.  We believe such a burden would delay the patient safety improvements that bar coding would foster and facilitate.

- Premier is primarily interested in ensuring that health professionals can easily and successfully scan the bar code at the bedside.  Once that consideration has been achieved, we would comfortably defer to others to make such a determination.

- It is our understanding that a small number of hospitals currently utilize bar coding in their facilities.  It is important to note, however, that these bar codes are not of the UPN format.  Further, most of the items are not coded at the level of patient dispensation. Therefore, hospitals currently utilizing bar coding must repackage virtually every item for which they desire the technology to apply.  In addition, a somewhat larger, but still relatively limited, number of hospitals are using bar code technology for laboratories, blood products, and inventory control.

Reports about the percentage of healthcare items that currently contain bar codes are inconsistent.  Consensus exists, however, over the fact that the least amount of bar coding occurs at the unit-dose level of product packaging.  Unfortunately, unit-dose products are where the greatest promise for patient safety improvement lies.

### Medical Device Questions

- Premier believes that all medical devices employed in the hospital setting ought to feature bar code labels with the Universal Product Number (UPN) as the standard industry identifier. We believe the information contained in the bar code ought to meet the HIBC-LIC and/or UCC/EAN standards.

- Premier believes that the medical devices for which bar code labels ought to be required are those with the strongest implications for patient safety and efficacy.  Therefore, requiring that tongue depressors or crutches, for instance, feature bar code labels, is not Premier’s primary concern.  We would note, however, that in most cases, items such as bed pans, etc., sold in retail outlets do, in fact, feature bar codes.  The arguments offered by the medical device industry against bar codes in the institutional setting ring somewhat hollow when such labeling is relatively prevalent in the retail setting.

- Premier believes that those medical devices with the greatest potential impact on patient safety ought to contain bar code labels. Bar code standards pertaining to medical devices ought to be consistently applied, whether such devices are “original,” or reprocessed, repackaged, refurbished, or multiple-use.

- The public health and patient safety implications of bar code labeling are far-reaching. Should a medical device be recalled, either voluntarily or by the FDA, bar code implementation and appropriate technology would facilitate identification and protect against subsequent use and/or re-use.  A bronchoscope recall, issued earlier this year by FDA, provides a telling example.  Some hospitals received notice of the recall, while others, apparently, did not. Bar code labeling would provide an extra level of security to help ensure that the use of recalled devices is halted.

The bar coding of syringes and other products in the medication delivery arena harbor great promise for patient safety improvement. Oftentimes, the syringe utilized plays a critical role in the success of medication administration. Bar coding would help ensure that clinicians utilize the appropriate syringe in each case of drug administration.  In addition, bar code technology would enhance the ability of clinicians to conduct research on medical devices for maximum efficacy, with respect to patient care, thereby facilitating quality improvement.

### General Questions and Economic Impact Questions

- Premier will institute a bar code labeling requirement on all pharmaceutical product contracts signed after July 1, 2003.

- Premier has requested that the NDC code be used initially, with respect to drugs and biologics, in the context of a gradual transition toward inclusion of lot number and expiration date in the code. For medical devices, Premier believes HIBC-LIC or UCC/EAN are acceptable standards.

- Not applicable to Premier.

- Not applicable to Premier.

- Not applicable to Premier.

- Premier believes that the successful implementation and integration of bar code technology is directly related to the embrace of standards.  We are extremely pleased that FDA subscribes to the goal that we and many of our business partners share—that of improving patient safety.  However, without an agreed upon industry standard, investment in the infrastructure necessary to utilize bar coding to its full capacity will not yield the desired optimal result.

Premier also believes that the implementation of bar code technology will generate efficiencies in the supply chain.  A 1998 study conducted by Ernst & Young for the Efficient Healthcare Consumer Response Group (American Hospital Association, Health Industry Business Communications Council, Health Industry Distributors Association, National Wholesale Druggists' Association, and Uniform Code Council) identified the potential for $11 billion in savings by “redesigning the healthcare supply chain” through efficient product movement, order management, and information sharing.

Premier is cognizant of the considerable effort that would be required of hospitals in preparing to integrate and utilize the requisite bar code technology following implementation of the FDA rule. We are committed to assisting our hospitals in that effort. Premier has actively championed legislation introduced in the 107th Congress that would provide grants and other assistance to hospitals for the implementation of the bar code and other patient safety technologies.

- Premier believes that the effective date for the proposed rule ought to allow affected companies ample time to comply.  However, we also believe that innovative and forward-thinking manufacturers who have already addressed and/or engaged in bar code labeling ought not be penalized by an implementation date that is, in effect, too far-removed.  Premier will, in fact, require bar codes on all pharmaceutical products for which contracts are signed, effective July 1, 2003.