- PART 1 - GENERAL

  - SCOPE

The U.S. Fish and Wildlife is soliciting bids for the design and construction of a 50x60, pre-engineered metal hangar building. The building will be located at the McGrath Airport in the exact location of the current FWS tent hangar as shown on attached site plan. The work includes providing all design services for the structure and foundation and the supply of all materials for the construction of the hangar INCLUDING doors, windows, concrete, re-bar, foundation bolts as is necessary to completely construct the structure.   ALL materials shall be fabricated and delivered to the project site in McGrath, Alaska as part of this contract.

    - Builiding Configuration:

Building configuration consists of the following:

- 60’ wide x 50 ‘ deep x 20’ low  eave height

- 3” insulated wall panels(SM40  26 ga interior and exterior    R value 25      2.5 psf )

- 5” insulated  roof panels  ( HR3 26 ga interior and exterior   R value of 42      2.9 psf )

- Primary and secondary pre-engineered steel with bolting hardware.

- One  10x10 overhead door at the rear of the structure with  2” thick insulated  with electronic operator

- Two 3’x7  insulated steel personnel doors

- One  Schweiss Bi-Fold hydraulic hangar door 50’ wide x 14’ tall with Schwiess strap-lift opener.

- Wind loads 120 mph       Exp C

- Snow loads Roof  90 psf

- Siesmic zone 4

  - QUALITY ASSURANCE

The metal building system and associated site, and concrete foundation and slab system shall be designed and engineered by the contractor.

The metal building system shall be designed, engineered and fabricated by a Building Manufacturer who has been regularly engaged for at least five (5) years in the design, engineering, and fabrication of the type and quality herein specified. Prior to fabricating any portion of the structure the Manufacturer shall submit complete engineered drawings and calculations to the contracting officer for approval.  These drawings must be complete showing all members, sizes and shapes, all markings, quantities, methods of fastening, and bracing. These drawings shall be on 24 inch by 36 inch sheets, and all drawings and calculations shall be stamped by discipline specific, registered in the state of Alaska, Engineers.

The Contractor shall obtain the services of licensed Professional Engineers to design the foundation and building systems. Engineers shall be licensed in the state of Alaska. Before building erection submit complete drawings and calculations to the contracting officer for the foundation and building systems.  These drawings shall be on 24 inch by 36 inch sheets, and all drawings and calculations shall be stamped by discipline specific, registered, Alaskan Engineers.

  - REFERENCED CODES - LATEST ADOPTED EDITION

The publications listed below form a part of this specification to the extent referenced.  The publications are referred to within the text by the basic designation only.

AISC 316 - (1989) ASD Manual of Steel Construction

AISC 350 - (1999) Load and Resistance Factor Design (LRFD) Specification for Structural Steel Buildings

IBC – (2003) International Building Code

IMC – International Mechanical Code

MBMA MBSM - (2002) Metal Building Systems Manual

IFC – International Fire Code

SDI A250.8 - (2003) Standard Steel Doors and Frames, Steel Door Institute

  - SUBMITTALS

Soils investigation report:  Submit a copy of the soils investigation report identifying soil profile, gradation and bearing capacities used in foundation design documents.

Foundation design documents and calculations:  Submit a copy of the foundation design documents.

Shop Drawings: Before metal fabrication begins, submit complete design drawings and calculations to the contracting officer.  These drawings shall show all members, sizes and shapes, all markings, quantities, methods of fastening, bracing, concrete floor slab details, and earthwork. These drawings shall be on 24 inch by 36 inch sheets, and all drawings and calculations shall be stamped by discipline specific, registered, Alaskan Engineers.

Product Date: Manufacturer's literature for individual building component systems.

Certifications: Qualifications of the manufacturer, and qualifications and experience of the building erector, subcontactors and engineers.  A brief list of locations where buildings of similar design have been used shall be included with the detail drawings and shall also include information regarding date of completion, name and address of owner, and how the structure is used.

Permits: Contractor shall obtain required building permits (State of Alaska Fire Marshal permits) and submit copies to the contracting officer.

Submit all copies of documents in both paper and electronic PDF format.

  - DESIGN CRITERIA

    - Wind loads

Wind loads shall be applied in compliance with the IBC. Minimums shall be:

- Basic Wind speed: 120 mph

- Classification Exposure: C

- Wind Importance: 1.0

    - Miscellenous loads

Miscellenous loads shall be applied in compliance with the IBC. Minimums shall be:

- Dead Load: In accordance with the IBC section 16

- Live Load: In accordance with the IBC table 1607.1

- Roof Snow Load: In accordance with the IBC Section 1608

- In addition to loads herein, the building frames shall be designed to support additional loads as required.  These loads shall include garage doors, windows etc.

    - Seismic Forces

This building shall be designed and constructed to resist the earthquake effects in accordance with the IBC Chapter 16.  The Seismic Importance Factor shall be 1.0.

    - Foundations & Footings

The foundation and slab shall be designed under this contract for the loads of the structure and the external loads as defined.  Design of the foundation shall be performed by an Alaskan Registered PE regularly engaged in this type of work.  The foundation design shall be FULLY coordinated with the pre-fabricated structural design and the two designs submitted for approval prior to fabrication of the structure.

Foundations shall be designed in accordance with the IBC with a factor of safety of 1.5 for overturning, sliding and uplift. Allowable soil bearing pressure shall be in accordance with IBC 2000 chapter 18.

There is no soils information available other than the fact that the State of Alaska imported the base fill prior to lease of the site.  The contractor shall procure services necessary to profile the soils in the construction site and shall continue to analyze the profile data to arrive at necessary bearing capacities to design the foundation of the structure.

    - Steel

Structural steel members and their connections: Shall be designed in accordance with AISC 316 or AISC 350. Aluminum structural members and their connections shall be designed in accordance with AA ADM1.  Framed openings shall be designed to structurally replace the covering and framing displaced.

Steel or aluminum roofing and siding shall be designed in accordance with MBMA MBSM.

Gutters and downspouts shall be designed according to the requirements of SMACNA Arch. Manual for storms which should be exceeded only once in 5 years, with adequate provision for thermal expansion and contraction.

- PART 2 – PRODUCTS

  - Concrete Work

### Portland Cement:  ACI 318, f’c = 4,000 psi.

  - Reinforcing Steel

### Reinforcing steel shall be deformed bars conforming to ASTM A 615/A 615M or ASTM A 706/A 706M, grades and sizes as designed by the design engineer.

  - BUILDING CONFIGURATION

Buildings shall be a single-span structure with one of the following framing systems:  self-framing or rigid frame.  Exterior doors, windows, overhead door, and concrete slab shall be included in the metal building system.  Building shall be a manufacturer's advertised product.

  - FRAMING

General:  Primary framing and columns, purlins, girts, eave struts, other structural members and clips shall be factory punched for easy and rapid erection by field bolting, except where shop connections are used.  Field welding will not be permitted unless specified by the Building Manufacturer and allowed by the design Engineer of Record.

Rigid Frames: Rigid Frames shall be complete with baseplates and splice plates prepared for field-bolted connections.  They shall consist of built-up sidewall columns of tapered or constant web depths and rafters with tapered or constant web depths as required by the Building Manufacturer's design. The rigid frames shall be designed as pinned base, with no moment transferred to the foundation. Steel for all built-up sections shall meet as applicable the physical and chemical properties of ASTM A 572 modified to 55,000 psi minimum yield and 70,000 psi minimum tensile strength, or ASTM A 607, Grade 55, or ASTM A 570, Grade 55. Hot-rolled structural shapes shall comply with the requirements of ASTM A36.

Secondary Framing Steel: Steel used to form the "Z" and "C" shaped purlins, girts and eave struts shall be at least 8" deep and not less than 16 gauge, 55,000 psi minimum yield steel comparable to or exceeding the requirements of ASTM A570. When designed as continuous beams, the purlins and girts shall be checked for the combined bending and shear stresses at the frame centerline and at the end of their laps.

  - BRACING

The bracing may be either:

##### Cables of ASTM A475, 7 strand, Extra-High-Strength material, 1/4" diameter minimum.

##### ASTM A36 rods, 1/2" diameter minimum.

##### ASTM A36 angle, pipe or tube.

#### If X-bracing cannot be used, portal frames or fixed base endwall columns may be used. All bracing shall be designed in accordance with the provisions of the building code.

  - STRUCTURAL PAINTING

The primary structural elements and secondary cold formed members will be finished with two (2) coats of Building Manufacturer's standard primer.  Galvanized finish will be provided for components located at the exterior of the building.

STRUCTURAL BOLTS

All field connections shall be made with black, unpainted ASTM A325 or A307 bolts, nuts and washers as shown on the Building Manufacturer's erection drawings.  All bolts shall be installed and tightened in accordance with the "Specification of Structural Joints Using ASTM A325 or A490 Bolts".

Anchor Bolts and Foundation Design: Anchor bolts shall be ASTM A307 and installed in accordance with the Anchor Bolt Plan furnished by the Building Manufacturer.  Contractor and Building Manufacturer shall coordinate to assure a complete and operable installation.

  - ROOF/WALL PANELS AND FINISHES

1.01 WORK INCLUDED

Pre-insulated metal panel cladding system with insulating foam core for the exterior walls, partitions, liners and roofs; including flashings, trim and other accessories to make the system complete, as indicated on the drawings and specified herein.

1.02 QUALITY ASSURANCE

B. Manufacturer’s Qualifications

The manufacturer shall have a minimum of ten (10) years’ experience in production of factory foamed-in-place insulated metal panels.

1.03 SUBMITTAL

A. Complete shop drawings, including elevations, fastening patterns and sections of each condition, shall be submitted for approval prior to fabrication. Such drawings shall also include material type, metal thickness, paint finish and manufacturer’s installation suggestions.

B. Submit 1’-0” (30.48 cm) by full width sample panel indicating the metal, texture and finish proposed.

C. Submit color chips.

1.04 WARRANTY

A. Submit manufacturer’s written two (2) year limited warranty providing panels to be free from defects in materials and workmanship, beginning from the date of shipment of panels, excluding coil coatings (paint finishes) that are covered under a separate warranty.

B. Submit manufacturer’s written five (5) year limited warranty providing panels to be free from gas blister formation of the foam core to the exterior panel facing, beginning from the date of shipment of panels.

C. The installation contractor shall issue a separate one (1) year warranty against defects in installed materials and workmanship, beginning from the date of substantial completion of the installation.

1.05 PERFORMANCE TESTING REQUIREMENTS

A. Structural Tests: The design load/deflection criteria shall be verified from tests per ASTM E 72 “Chamber Method” using a 20 psf (.96 kPa) simulated wind load. A deflection limit of L/180 for exterior wall panels, L/120 for partition and liner walls and L/240 for roofing panels shall apply.

B. Thermal Transmission: When tested in accordance ASTM C 518, “measurement of steady state thermal transmission”, the panels shall provide a K-factor of .127 btu/sf/hr./deg. F at a 75°F (24°C) mean temperature.

C. Vapor Barrier

1. Air Infiltration: Air infiltration shall not exceed .06 cfm per square foot of wall area when tested per ASTM E 283 at a static pressure of 12 psf (.576 kPa)

2. Static Water Penetration: There shall be no uncontrolled water penetration through the panel joints at a static pressure of 20 psf (.96 kPa) when tested per ASTM E 331.

3. Dynamic Water Penetration: There shall be no uncontrolled water penetration through the panel joints when subjected to a 95 mph (153 kph) slip stream air flow and application of water for a 15 minute period in accordance with AAMA501.1

4. Condensation Resistance Factor: The minimum condensation resistance factor of the panel shall be 92 when tested in general accordance with AAMA 1503.1

D. Fire

1. Surface Burning Characteristics: The insulated core shall have been tested in accordance with ASTM E 84 for surface burning characteristics. The core shall have a flame spread of 20 and a smoke developed rating of 145.

2. Factory Mutual Research Corporation (FMRC) Standard 4880, 50’ (15.24 m) High Corner Test for Unlimited Height Structures: The panel assembly shall not support a self-propagating fire which reaches any limits of the 50 foot (15.24 m) high corner test structure as evidenced by flaming or material damage of the ceiling of the assembly.

E. Wind Resistance: The Roof Panels shall be approved by Factory Mutual for 1-90 and 1-60 windstorm resistance.

F. Bond Strength

1. Fatigue Test: The panel shall withstand deflection cycling at L/180 to two million alternate cycles with no evidence of delamination, core cracking or permanent bowing.

2. Freeze/Heat Cycling: The panel shall exhibit no delamination, surface blistering or permanent bowing when subjected to cyclic temperature extremes of -20°F (-28°C) to +180°F (+82°C) for twenty-one (21) eight hour cycles.

3. Humidity Test: The panel shall exhibit no delamination or metal corrosion at interface when subjected to a 140°F (60°C) temperature and 100% relative humidity for a total of 1200 hours.

4. Autoclave Test: The panel shall exhibit no delamination of the foam core from metal skins when exposed to 2 psi (.122 kg/sq. cm) pressure at a temperature of 212°F (100°C) for a total of 2 ½ hours.

PART 2 - PRODUCTS

2.01 ACCEPTABLE MANUFACTURER

Metl-Span III CF-42 and CF-45 panels as manufactured by Metl-Span I, Ltd. of Lewisville, TX 75057, USA, Phone: (972) 221-6656, Fax: (972) 436-0648, www.metl-span.com. Or aopproved equal.

All Weather Panels -  929 Aldridge Road, Vacaville, Ca 95688:  Customer Service Department   Ph:   707-359-2280 FX - 707-359-2286  Sales@awipanels.com Or aopproved equal.

2.02 PANEL DESIGN

A. Construction: Pre-insulated wall panels shall have roll-formed exterior and interior faces chemically bonded to a continuously foamed-in-place polyurethane core. The steel faces shall have non-directional stucco embossed texture. Laminated panels shall not be accepted.

B. Panel Units shall be: (select one or more) (or approved equal)

- Profiled Wall Panels: Metl-Span III concealed fastener wall panels,

*CF-30 Wall Panel, (76.2 cm module width), with Mesa face.

*CF-36 Wall Panel, (91.44 cm module width), with with Mesa face.

*CF-42 Wall Panel, (106.68 cm module width), with with Mesa face.

*CF-45 Partition Panel, (113.03 cm module width), with with Mesa face 3” thick with a Mesa profiled liner.

- Roof Panel: Metl-Span III standing lap seam roof panel, with 1 ¼” (3.175 cm) high overlapping rib at panel joint with Mesa pattern between the ribs, *SLR-45 Roof Panel, (44 ½”/113.03 cm module width), 5” thick with a Mesa profiled liner.

C. Side Connections:

1. The side joints of the CF-24A, CF-30A, CF-36A, CF-30, CF-36, and CF-42 wall panel shall have offset double tongue and groove joinery with an extended metal shelf allowing fasteners to penetrate both metal faces with clips concealed in the side joint.

2. The side joint of the CF-45 partition panel shall have offset double tongue and groove joinery. The CF-45 partition panel shall be attached with back fasteners or through fasteners.

D. Sealants: All Sealants shall be field applied to insure maximum vapor and water tightness.

2.03 MATERIALS

A. The exterior face gauge shall be 26 Ga. thick, G-90 galvanized steel conforming to ASTM A-653, minimum grade 33 with stucco embossed texture.
B. The interior liner shall be 24 Ga. thick, G-90 galvanized steel conforming to ASTM A-653 minimum grade 33 with stucco embossed texture.

C. Foam core shall be continuously foamed-in-place, Blister-Free, Non-CFC polyurethane, with the following nominal properties:

1. 92% closed cell structure.

2. Density: minimum 2.0 lbs./cu. ft. (32.1 kg/cu. m) minimum.

3. Compressive Strength: 22 psi (152 kPa).

4. Tensile Strength: 33 psi (228 kPa).

5. Shear Strength: 21 psi (145 kPa).

D. Flashing and trim shall be brake-formed sheet metal in the same thickness and finish to match the panels.

2.04 FINISHES

A. Exterior face sheet shall be treated with 0.2 mil (5 microns) base primer, followed by a nominal 0.7 mil (17.5 microns) finish coat of full strength PVF2 fluoropolymer in manufacturer’s standard colors.

B. The interior sheet shall be 0.2 mil (5 microns) primer, and a nominal 0.7 (17.5 microns) siliconized polyester coating in USDA accepted Polar White.

  - DOORS

### Personnel Doors and Frames: Steel doors shall meet SDI A250.8  Level 4, physical performance Level A, Model 1 with core construction as required by the manufacturer. Frames shall be constructed of 14 gauge thick material, core thickness with PVC thermal break frame. Fabricate frames as welded unit and for knock down field assembly.   Fabricate frames and doors with hardware reinforcement plates welded in place. Close top edge of exterior door flush with inverted steel channel closure.  Seal joints watertight.Configure exterior frames with special profile to receive snap-in weatherstripping. Exit doors, shall always be openable from the inside by the simple turn of a knob or push on a panic bar without use of a key or any special knowledge or effort.

Overhead Doors: Overhead Doors shall be manually operated, sectional doors with a 10’x10’ clear opening. Form door sections of hot-dipped galvanized steel not lighter than 24 gage with longitudinal integral reinforcing ribs and flat bottom V-grooves.  Sections shall be not less 2 inches in thickness.  Meeting rails shall have interlocking joints to ensure a weathertight closure and alignment for full width of the door.  Sections shall be of the height indicated or the manufacturer's standard, except the height of an intermediate section shall not exceed 24 inches.  Bottom sections may be varied to suit door height, but shall not exceed 30 inches in height. Provide hinges, brackets, rollers, locking devices, and other hardware required for complete installation.  Roller brackets and hinges shall be 14 gage galvanized steel.  Rollers shall have ball bearings and case-hardened races.  Provide reinforcing on doors where roller hinges are connected. Provide a positive locking device and cylinder lock with two keys on manually operated doors. Provide lifting handles on both sides of door.  The force required to operate the door shall not exceed 25 pounds.  Provide pulldown straps or ropes at bottom of doors over 7 feet high.

### Windows: Windows to be double pane, casement type manufactured of extruded, high impact resistant, rigid polyvinyl chloride (PVC), Series 1000, as manufactured by Best Windows or approved equal.

  - RESTRICTED MATERIALS

No materials containing asbestos in any form shall be allowed.  Where materials or equipment provided by the Contractor are found to contain asbestos, such items shall be removed and replaced with non-asbestos items. Entire cost of asbestos removal and disposal and cost of installing new items shall be the responsibility of the Contractor.

END OF SECTION 13120