Minnesota Construction Specification 51—Corrugated Metal Pipe

1.	SCOPE

The work shall consist of furnishing and placing circular, arched or elliptical corrugated metal pipe and the necessary fittings.

2.	MATERIAL SPECIFICATIONS

Pipe and fittings shall conform to the requirements of Material Specification 55l or Material Specification 552, whichever is specified.

Unless otherwise specified in Section 10 of this specification or as shown on the construction drawings, perforated pipe furnished shall meet the requirements for Class I perforations as described in ASTM A 760 or A 762.

3.	COUPLING BANDS AND HARDWARE

Pipe joint coupling bands shall be provided meeting the requirements specified in Section 10 or as shown on the construction drawings.

Hardware consisting of coupling bands and band fastening devices such as connecting bolts, rods, lugs and angles used in conjunction with zinc-coated iron or steel pipe shall be galvanized by the hot-dip method.  Hardware used in conjunction with aluminum pipe and aluminum or aluminum-zinc alloy-coated iron and steel pipe shall be of the same material as the pipe except that hot-dip galvanized or cadmium plated fasteners may be used.  The surface of all band fastening devices for pipe specified with bituminous or polymer coating shall be coated with asphalt mastic materials meeting the requirements of ASTM A 849.  The coupling band shall be coated similar to that specified for the pipe unless otherwise specified in Section 10 or as shown on the construction drawings.

Coupling bands shall be installed to provide straight alignment of the connecting pipe ends.  Unless otherwise specified in Section 10 or as shown on the construction drawings, the band width shall be as specified in ASTM A 760 and A 762.  The bands shall be positioned to overlap adjacent pipe ends equally.  The coupling bands shall be corrugated to match the corrugations of the connecting pipe ends.

4.	FABRICATION

Fabrication of appurtenant sections shall be done as shown on the construction drawings and described in Section 10 of this specification.  The items may consist of inlet sections, outlet sections, end sections, elbows, skew or beveled sections, rod reinforced ends, cut-off collars, or headwalls.  Fabrication of these appurtenant sections shall be made from metallic-coated materials identical to those from which the attached pipe is fabricated.  Fabrication shall be of a quality and finished workmanship equal to that required for the pipe.

5.	HANDLING THE PIPE

The Contractor shall furnish equipment as necessary to place the pipe without damaging the pipe or coatings.  The pipe shall be transported and handled in a manner to prevent damage to the pipe or coating.

6.	LAYING AND BEDDING THE PIPE

Unless otherwise specified, the pipe shall be installed in accordance with the manufacturer's recommendations.   The pipe shall be laid with the outside laps of circumferential joints pointing upstream and with longitudinal laps at the sides at about the vertical midheight of the pipe.

Field welding of corrugated galvanized iron or steel pipe will not be permitted.  The pipe sections shall be joined with fabricator-supplied coupling bands meeting the specified joint requirements.  The coupling shall be made as recommended by the fabricator.

The pipe shall be firmly and uniformly bedded throughout its entire length to the depth and in the manner specified on the drawings.

Perforated pipe shall be laid with the perforations down and oriented symmetrically about a vertical center line.  Perforations shall be clear of any obstructions at the time the pipe is laid.

The pipe shall be loaded sufficiently during backfilling around the sides to prevent its being lifted from the bedding.

7.	STRUTTING

When required, struts or horizontal ties shall be installed in the manner specified on the drawings.  Struts and ties shall remain in place until the backfill has been placed above the top of the pipe to a height of 5 feet or the pipe diameter, whichever is the greater, or has been completed if the finished height is less than 5 feet above the top of the pipe; at which time struts or ties used shall be removed by the Contractor.

8.	EMBEDMENT IN CONCRETE

Special treatment shall be provided to pipe embedded in or attached to concrete when the pipe is aluminum or aluminum-coated and aluminum-zinc alloy-coated.  Potential contact surfaces shall be insulated.  All aluminum, aluminum-coated, and aluminum-zinc alloy-coated pipe surfaces in contact with concrete and masonry surfaces shall be coated with two coats of a bituminous paint of the cut-back type.  Placement of the pipe shall be such that direct metal-to-metal contact with other metallic materials, such as embedded steel reinforcement or water control gates, is prevented.

9.	REPAIR OF DAMAGED COATINGS

Any damage to the metallic coating shall be repaired by cleaning the damaged surface area by sand blasting, power disk sanding or wire brushing.  All loose and cracked coating, dirt, and any products of corrosion shall be removed prior to application of two (2) coats of paint.  Oil and grease materials shall be removed by use of a solvent.  The surface shall be clean and dry during the painting period and until the coating has dried.

Painting shall be by use of one of the following options based upon installed exposure of the pipe as determined by the Engineer:

Normal exterior or interior atmospheric exposure:

- Zinc dust - zinc oxide primer, Federal Specification TT-P-641, Type I or Type II, or

- Single-package, moisture-cured urethane primer in silver metallic color, or

- Zinc-rich cold galvanizing compound, brush, or aerosol application.

Submergence in water exposure:

- Zinc dust - zinc oxide primer, ASTM D 79 and D 520

- Zinc dust paint, ASTM D 4146

If the metallic coating is damaged in any individual area larger than 12 square inches, or if more than 0.2 percent of a total surface area of a length of pipe is damaged, the length will be rejected.

Breaks or scuffs in bituminous coatings that are less than 36 square inches in area shall be repaired by the application of two coats of hot asphaltic paint or a coating of cold-applied bituminous mastic.  The repair coating shall be at least 0.05 inches thick after hardening and shall bond securely and permanently to the pipe.  The material shall meet the physical requirements for bituminous coatings contained in ASTM A 849 and A 885.  Whenever individual breaks exceed 36 square inches in area or when the total area of breaks exceeds 0.5 percent of the total surface area of a length of pipe, the pipe length will be rejected.

Bituminous coating damaged by welding of coated pipe or pipe fittings shall be repaired as specified in this Section for breaks or scuffs in bituminous coatings.

Breaks or scuffs in polymer coatings that are less than 36 square inches in area shall be repaired by the application of two coats of a polymer material similar to and compatible with the durability, adhesion and appearance of the original polymer coating, not as described in ASTM A 762, paragraph 11.5.1.  The repair coating shall be a minimum thickness of 0.010 inches (10 mils) after drying.  Whenever individual breaks exceed 36 square inches in area or when the total area of breaks exceeds 0.5 percent of the total surface area of a length of pipe, the pipe length will be rejected.

10.  CONSTRUCTION DETAILS