NUMERICAL MODELING OF CIGS AND CdTe SOLAR CELLS:

SETTING THE BASELINE

M. Gloeckler, A.L. Fahrenbruch, and J.R. Sites

Physics Department, Colorado State University, Ft. Collins, CO 80523 USA

# ABSTRACT

Numerical modeling of polycrystalline thin-film solar cells is an important strategy to test the viability of proposed physical explanations and to predict the effect of physical changes on cell performance.  In general, this must be done with only partial knowledge of input parameters.  Nevertheless, for consistent comparisons between laboratories, it is extremely useful to have a common starting point, or baseline.  We will discuss guidelines that should be considered assigning input parameters for numerical modeling.  Consequently specific baseline parameters for CIGS and CdTe are proposed. The modeling results for these baseline cases are presented and it is discussed how the baseline cases serve to describe some of the most important complications that are often found in experimental CIGS and CdTe solar cells.

1. INTRODUCTION

The major applications for modeling in solar cell research are: testing the viability of proposed physical explanations, predicting the effect of changes in material properties and geometry on cell performance, and fitting of modeling output to experimental results.  The input parameter sets used to fit only experimental J-V data may not be unique.  Therefore, fitting of experimental data is only conclusive if a wide set of data, i.e. J-V at different temperatures, and QE at different biases, is used.  Input parameters that are well known should not be changed at any time, whereas parameters that have only marginal effect on the output can be tested and then not changed.  These parameters excluded, the remaining parameters are available for fitting purposes.

2. SELECTION OF INPUT PARAMETERS

2.1 Front and Back Contacts and Surfaces

In general, contacts can be assumed ohmic or, depending on the focus of the modeling, assigned a Schottky barrier height consistent with experimental observations.  The reflection at the back surface has only minor influence on the achievable short-circuit current density (Jsc), and these influences only become noticeable if the absorber is chosen to be fairly thin.  Many modeling tools support a constant multiplicative reflection factor for the front surface (i.e. RF = 0.1, 10% reflection).  Quantum efficiency (QE) is then reduced by this fraction and, if interference effects are neglected, QE will show a fairly flat response at intermediate wavelengths of ~1-RF.

2.2 Material Parameters

Carrier mobilities for polycrystalline material should be chosen lower than the values reported for crystalline material.  Effective masses of me* = 0.2m0 for electrons and mh* = 0.8m0 for holes, which are numbers typical for direct band gap material, are recommended unless more specific data is available.  The ratio of the carrier mobilities (e/h) should be approximately inversely proportional to the ratio of the effective masses (mh*/me*).

The effective density of states, NC, can be calculated using eqn. (1) [1] and similarly for NV.  Note the direct temperature dependence in NC and NV, which should be taken into account for temperature dependent modeling.

(1)

Carrier concentrations can be determined from capacitance-voltage analysis.  Typical numbers are in the authors’ experience the order of 1016 cm-3 for CIGS and 1014 cm-3 for CdTe.  The band gaps of the semiconductors are known (see Tables I & II), and for the Cu(In1-xGax)Se2 alloys an approximate expression can be used (2) [2].  Band offsets at the interfaces will be discussed within the specific material sections below.

E(x) = 1.02 + 0.67x + 0.11x(x-1)	(2)

2.3 Defect States

Most numerical simulators use the Shockley-Read-Hall (SRH) model [3] to describe carrier recombination currents. There are two approaches to do this: either the model assumes a constant minority carrier lifetime  or the input parameters are capture cross sections, e and p, and the defect distributions Ndef(E).  An estimate of the lifetime (LT) can be calculated from the defect density (DD) parameters by

(3)

vth ( 107 cm/s is  the thermal velocity of the electrons.  However, in general the lifetime depends on the cross sections for both carriers and the Fermi level.

Defect Density (DD) Model.  Since variations of the energetic defect distribution show only negligible effects on the output, it is recommended to position recombinative defect states in a narrow distribution close to the middle of the band gap (generic “mid-gap” states).

In the SRH formalism [3], a defect state can change its charge state only by one elementary charge; therefore, one can always make the following distinctions:  A donor-like (acceptor-like) defect state is likely to give away (accept) an additional electron.  The two possible charge states for donors (acceptors) are positive and neutral (negative and neutral).  It follows that free electrons (holes) will be coulomb attracted to the ionized donor-like (acceptor-like) defect state, whereas holes (electrons) will

have no strong interaction with the donor-like (acceptor-like) defects, giving very small hole (electron) cross-sections.  The transition of a hole into the ionized donor-like defect, or the transition of an electron into a neutral donor-like defect is rare.  One problem with the SRH picture is that physical impurities often generate several possible defect levels that have different charge states; however, a cross-linking between two or more energy levels is not contained in the SRH formalism.  We assign the attractive cross-section corresponding to a radius at which the coulomb potential energy of the carrier in the field of the charged trap equals kT (4) [4] (k Boltzman constant, q elementary charge).

(4)

Neutral cross-sections can range between 10-18 and 10-15 cm2; the latter number corresponds to the physical size of an atom and is often referred to as “geometric” cross-section.  Smaller values account for quantum mechanical transition probabilities or compensate for strong field effects in the region of interest.

In the DD model, free carriers can be trapped in defect states, which alters the space charge distribution and leads to a deformation of the band structure.  Illumination and/or voltage bias can alter the trapped carrier density, giving rise to transient effects. Mid-gap acceptor-like defect states in n-type material or mid-gap donor-like defect states in p-type material will completely ionize in thermal equilibrium unless the layer is strongly depleted or inverted.  Often it is useful to compensate for the changes in free carriers and space charge by adjusting shallow donor (acceptor) densities.

The Lifetime (LT) model is in general easier to use since it requires only one input parameter.  Lifetimes calculated by eqn. (3) do not always correspond to DD model simulations due to the approximation that went into the derivation of eqn. (3); in general lifetimes have to be chosen somewhat higher.  Also, DD models usually calculate lifetimes that vary over several orders of magnitude within the same material, which violates the basic assumption of uniform lifetimes.

Surface recombination velocity at the front and back contact is chosen as vth, which effectively recombines every minority carrier that reaches the contacts.

Tail states are not incorporated in the baseline cases.  They were found to be negligible contributors to the recombination current unless their density is several orders of magnitude larger than that of the mid-gap defect states.

3. CIGS AND CdTE BASELINES

The CIGS and CdTe baseline cases are intended to serve as a starting point for more specific and more complete simulations.  They have only the minimum number of layers necessary to model a typical device and are free of secondary features not common for these cells. Parameters are chosen to reflect state-of-the-art experimental devices.

3.1 CIGS Baseline

Three layers: n-ZnO transparent contact, n-CdS window, and p-CIGS absorber.  Baseline case parameters are shown in Table I.

The band alignment is chosen to be Type I for the CdS-CIGS interface and Type II for the ZnO-CdS interface. The offset at the CdS-CIGS interface, EC = 0.3 eV, is based on theoretical [5] and experimental [6] results. Besides the band alignment, device performance is essentially independent of ZnO parameters.

A single deep acceptor (donor) trap is used for the CdS (CIGS) layer.  The high number of defects in the CdS layer is necessary to generate the typical superposition failure in CIGS solar cells which is addressed below.  The model shows only small effects of other CdS parameters.   Most CIGS parameters have significant effects on the results and agree on a qualitative level with the basic diode model.  The defect density is chosen low compared to most experimental devices; typical densities in the authors’ experience are the order of 1014 – 1015 cm-3.  In the CdS (CIGS) the deep defects are compensated through increased shallow donor (acceptor) density.

The CIGS mobilities are assigned a factor of three below crystalline material values.  Default values of 0.2m0/0.8m0 were used for the effective masses in all layers.  Absorption is defined based on measurements on polycrystalline CdS [7] and CIGS [8].

Table I: CIGS baseline case. e/h refers to electron/hole properties. b barrier height ((bn = EC – EF, (bp = EF – EV), S surface recombination velocity, W layer width,  dielectric constant,  mobility, n/p electron/hole density, Eg band gap energy, NC and NV effective density of states, EC conduction band offset, NDG(AG) acceptor-like (donor-like) defect density, EA(D) peak energy in, WG distribution width,  capture cross section.

| General Device Properties |
| --- |
|  | Front | Back |
| (b [eV] | (bn = 0.0 | (bp = 0.2 |
| Se [cm/s] | 107 | 107 |
| Sh [cm/s] | 107 | 107 |
| Reflectivity Rf [1] | 0.05 | 0.8 |
| Layer Properties |
|  | ZnO | CdS | CIGS |
| W [nm] | 200 | 50 | 3000 |
| 0 [1] | 9 | 10 | 13.6 |
| e [cm2/Vs] | 100 | 100 | 100 |
| h [cm2/Vs] | 25 | 25 | 25 |
| n, p [cm-3] | n: 1018 | n: 1017 | p: 2x1016 |
| Eg [eV] | 3.3 | 2.4 | 1.15 |
| NC [cm-3] | 2.2x1018 | 2.2x1018 | 2.2x1018 |
| NV [cm-3] | 1.8x1019 | 1.8x1019 | 1.8x1019 |
| EC[eV] | - 0.2 | 0.3 |
| Gaussian (midgap) Defect States |
|  | ZnO | CdS | CIGS |
| NDG, NAG [cm-3] | D: 1017 | A: 1018 | D: 1014 |
| EA, ED [eV] | midgap | midgap | midgap |
| WG [eV] | 0.1 | 0.1 | 0.1 |
| e [cm2] | 10-12 | 10-17 | 5x10-13 |
| h [cm2] | 10-15 | 10-12 | 10-15 |

Resulting J-V and QE output (T = 300 K) using the Table I parameters are shown in Fig. 1 and 2. Jsc = 34.6 mA/cm2, Voc = 0.64 V, ff = 79.5%, ( = 17.7%, and diode quality factor A ( 1.4. Light and dark J-V curves show a reasonable superposition. The efficiency is close to the record efficiency cell [9], ( = 18.8%.  The cell in reference [9] has a somewhat higher Voc due to band gap grading in the space charge region.  Quantum efficiency (Fig. 2) shows a peak response of (1 – Rf) ( 95% and falls off in the range below 520 nm due to absorption and recombination in the CdS layer.

Fig. 1 CIGS baseline: Light and dark J-V

Fig. 2: Quantum efficiency - CIGS and CdTe baseline

3.2 CIGS - Discussion

Several issues are frequently addressed with modeling tools. Most prominent are the explanation of superposition failure [10-12] and absorber grading [13-15].

Superposition. Fig. 3 shows the conduction band diagram for the baseline in the dark and under illumination at 0V bias. The choice of electron affinities generates a barrier at the CdS-CIGS interface; under illumination this barrier is considerably reduced due to trapping of holes into the deep acceptor states.  The barrier height that is chosen for the baseline case is not sufficiently high to influence J-V results at room temperature.  However, it has been shown elsewhere [12] that an increased offset, 0.4 eV instead of 0.3 eV, generates the superposition failure often observed with CIGS cells.  This type of non-superposition can only be described with DD models since it requires charge trapping in defect states.  To a certain extent, manually adjusted free carrier concentrations, between light and dark simulation, can model trapping effects in LT models.

Fig. 3: CIGS baseline: Conduction band diagram - 0V Bias

Absorber Grading.  Preferred software tools are those that allow a continuous variation of material parameters within a layer.  A stepwise grading has to be done with care since it generates unrealistic discontinuities in the band structure.  Often only the band gap is adjusted and changes in other material parameters are neglected due to insufficient experimental data.  Numerical simulations have shown that grading can increase the calculated efficiency by several percent [13,14].

3.3 CdTe Baseline

Three layers: n-SnO2 transparent conducting oxide (TCO), n-CdS window, and p-CdTe absorber. Baseline case parameters are listed in Table II.

The SnO2 layer can be omitted in some cases, since device performance is almost independent of all its material parameters.  The conduction bands at the SnO2-CdS interface were aligned since there appears to be no experimental evidence of a detrimental band offset there.  For other TCOs, such as indium tin oxide, ∆EC may have to be considered.  For SnO2 and CdS default values of effective masses m*e (m*h) = 0.2 (0.8)m0 are used.

Most of the limited experimental and theoretical results for ∆EC at the CdS-CdTe interface lie between zero and -0.3 eV, so it is assumed to be Type II, ∆EC = -0.1 eV, based on theoretical results [16].  Although this particular case is not sensitive to this range of ∆EC, it is probably best to treat ∆EC as a variable.

The model shows only weak dependences on CdS parameters, except for layer thickness.  The absorption curves used were measured on polycrystalline CdS and CdTe material [7].

The CdTe mobilities chosen are approximately half of the crystalline values and m*e (m*h) = 0.1 (0.8)m0, determined as an average from several published sources.  A single deep acceptor (donor) trap is used for the CdS (CdTe) layer.

Table II: CdTe baseline case.  Description of the symbols is given in the caption to Table I.

| General Device Properties |
| --- |
|  | Front | Back |
| (b [eV] | (bn = 0.1 | (bp = 0.4 |
| Se [cm/s] | 107 | 107 |
| Sh [cm/s] | 107 | 107 |
| Reflectivity Rf [1] | 0.1 | 0.8 |
| Layer Properties |
|  | SnO2 | CdS | CdTe |
| W [nm] | 500 | 25 | 4000 |
| 0 [1] | 9 | 10 | 9.4 |
| e [cm2/Vs] | 100 | 100 | 320 |
| h [cm2/Vs] | 25 | 25 | 40 |
| n, p [cm-3] | n: 1017 | n: 1017 | p: 2x1014 |
| Eg [eV] | 3.6 | 2.4 | 1.5 |
| NC [cm-3] | 2.2x1018 | 2.2x1018 | 8x1017 |
| NV [cm-3] | 1.8x1019 | 1.8x1019 | 1.8x1019 |
| EC[eV] | 0 | -0.1 |
| Gaussian (midgap) Defect States |
|  | SnO2 | CdS | CdTe |
| NDG, NAG [cm-3] | D: 1015 | A: 1018 | D: 2x1014 |
| EA, ED [eV] | midgap | midgap | midgap |
| WG [eV] | 0.1 | 0.1 | 0.1 |
| e [cm2] | 10-12 | 10-17 | 10-12 |
| h [cm2] | 10-15 | 10-12 | 10-15 |

The resulting J-V and QE output (T = 300 K) is shown in Figs. 4 and 2. Jsc = 24.6 mA/cm2, Voc = 0.87 V, ff = 76%, ( = 16.4%, and the diode quality factor A ( 1.8.  The efficiency is equal to record of 16.4% [17].  The quantum efficiency shows a peak response of (1 – Rf) ( 90%.  The CdS layer thickness determines the loss below 520 nm; increasing CdS thickness, will lead to larger QE losses and a reduction of Jsc by up to a few mA/cm2.

Fig. 4: CdTe baseline: Light and dark J-V

3.4 CdTe Discussion

Fig. 5 shows the conduction band at 0 V and 0.8 V forward bias. Due to the small carrier concentration, the device is heavily depleted at zero bias and there are strong band structure changes caused by photogenerated carriers.  This type of band deformation can lead to non-superposition of light and dark J-V curves.  Another contribution to non-superposition is the field aided collection of photo-generated carriers. Hence in CdTe, non-superposition is caused within the absorber layer, whereas in CIGS devices it is created in the CdS layer.

Fig. 5: CdTe baseline: Conduction band diagram

Two significant CdS/CdTe modeling results are the effects of the back contact barrier height b on carrier transport and the transition in cell behavior from fully to partially depleted CdTe [18].  Fig. 6 shows calculated J-V data for b = 0.3 and 0.5 eV and two acceptor densities, exhibiting cross-over and current-limiting (roll-over for V > Voc) anomalies.  Experimental J-V curves often show these anomalies, especially after elevated-temperature stress.  The variation of b can explain both cross-over and roll-over; the contact diode has a reversed polarity from the main diode and limits the hole current flow.  Assuming sufficiently high bulk recombination, the net forward current also becomes limited above Voc.  When the CdTe is totally depleted, roll-over vanishes and Voc is shifted to smaller values with an increase in cross-over.

A final comment: the CdTe layer is highly compensated and the balance between large donor and acceptor densities is very critical, while electronic properties for the defects are not well known, so modeling must be compared with a wide range of experimental data.

Fig. 6: J-V characteristics at 300 K (light: open symbols, dark: filled symbols, WCdTe = 4 m)

4. ACKNOWLEDGEMENTS

The modeling calculation for this work used the AMPS software developed at the Pennsylvania State University by S. Fonash et al. supported by the Electric Power Research Institute.  This research was supported by the U.S. National Renewable Energy Laboratory.

REFERENCES

S.M. Sze, Physics of Semiconductor Devices, 2nd Edition, John Wiley & Sons, New York, 1981

B. Dimmler, H. Dittrich, R. Menner, H.-W. Schock, Proc. 19th IEEE Photovolt. Spec. Conf. 1454, 1987

W. Shockley, W.T. Read, Jr., Phys. Rev. 87, 835, 1952

A.L. Fahrenbruch, R.H. Bube, Fundamentals of Solar Cells, Academic Press, New York, 57, 1983

S.H. Wei, A. Zunger, Appl. Phys. Lett. 63, 2549, 1993

D. Schmid, M. Ruckh, H.-W. Schock, Solar Energy Materials and Solar Cells 41/42, 281, 1996

unpublished, contact: David Albin, National Renewable Laboratory, Golden, CO

P.D. Paulson, R.W. Birkmire, W.N. Shafarman, J. Appl. Phys., to be published

M.A. Contreras, B. Egaas, K. Ramanathan, J. Hiltner, A. Swartzlander, F. Hasoon, R.Noufi, Prog. Photovoltaics 7, 311, 1999

J. Hou, S.J. Fonash, Proc. 25th IEEE Photovolt. Spec. Conf., 961, 1996

M. Topič, F. Smole, J. Furlan, M.A. Contreras, 14th European Photovoltaic Conference, 2139, 1997

M. Gloeckler, C.R. Jenkins, J.R. Sites, MRS Symposium Proc. 763, to be published

A. Dhingra, A. Rothwarf, IEEE Trans. Electron Devices, 43, 613, 1996

T. Dullweber, Optimierung des Wirkungsgrades von Cu(In,Ga)Se2-Solarzellen mittels variablem Verlauf der Bandlücke, PhD dissertation, University of Stuttgart, Shakar Verlag, Aachen 2002

M. Topic, F. Smole, J. Furlan, J. Appl. Phys., 79, 8537, 1996

S.H. Wei, S.B. Zhang, A. Zunger, J. Appl. Phys. 87, 1304, 2000

X. Wu et al.., Conf. Rec. 17th European PVSEC, 2001

T. McMahon, A. Fahrenbruch, Proc. 28th IEEE Photovolt. Spec. Conf. 549, 2000.

DON’T REMOVE THESE TWO EMPTY PAGES.