## System Codes
ANNEX | SYSTEM CODE | SYSTEM DESCRIPTION | DEPT | PAGE
1.1.01 | CLC | Chilled Water | M | 1
1.1.02 | HAC | HVAC | M | 2
1.1.03 | CLT | Cooling Towers | M | 3
1.1.04 | CAR | Compressed Air | M | 4
1.1.05 | SCR | Steam & Condensate | M | 5
1.1.06 | EXH | Exhaust & Ventilation | M | 6
1.1.07 | REF | Refrigeration | M | 7
1.1.08 | HWH | Hot Water Heating | M | 7
1.1.09 | DFS | Diesel Fuel | M | 8
1.1.10 | UHR | Space Heating | M | 8
1.1.11 | PSW | Process Water | M | 8
1.1.12 | STE | Cafeteria | M | 9
1.1.13 | HBC | Hyberbaric Chamber | M | 9
|  | M Count | 13
1.2.01 | HVT | Site Electrical 138kV Transmission | E | 10
1.2.02 | MVD | Site Electrical 15kV Distribution | E | 10
1.2.03 | 8DG | B48 D&BX Power | E | 12
1.2.04 | 8BG | B48 B Power | E | 12
1.2.05 | 8AG | B48 A&AX Power | E | 13
1.2.06 | ELT | Exterior Lighting | E | 13
1.2.07 | STC | Site Traffic Control | E | 13
1.2.08 | EMC | Energy Management and Control | E | 14
1.2.09 | SDE | Secondary Distribution Equipment | E | 16
1.2.10 | LTG | Lighting (General Area) | E | 18
1.2.11 | ELS | Emergency Lighting | E | 18
1.2.12 | OWL | Obstruction and Warning Lighting | E | 18
1.2.13 | LPS | Lightning Protection | E | 19
1.2.14 | GND | Grounding | E | 19
1.2.15 | CTS | Central Telecommunications Systems (CTS) | E | 19
1.2.16 | EPB | Emergency Power Backup | E | 20
1.2.17 | EWS | Emergency Warning | E | 20
1.2.18 | SIS | Site Intercom | E | 20
1.2.19 | RTM | Radio Tape Monitoring | E | 21
1.2.20 | FPS | Fire Protection and Security | E | 21
|  | E Count | 20
1.4.01 | PWR | Potable Water | C | 21
1.4.02 | SNS | Sanitary Sewer | C | 23
1.4.03 | SWS | Storm Sewer | C | 24
1.4.04 | NGS | Natural Gas | C | 25
1.4.05 | FFP | Fire Protection | C | 25
1.4.06 | DHW | Potable Hot Water | C | 26
1.4.07 | TIS | Turf Irrigation | C | 27
1.4.08 | SIT | Facility Interior | C | 27
1.4.09 | SET | Facility Exterior | C | 28
1.4.10 | RUD | Doors & Barriers | C | 28
1.4.11 | FGT | Fences & Gates | C | 29
1.4.12 | RPD | Public Displays | C | 29
|  | C Count | 12
1.5.01 | WTC | Waste Tank Collection | X | 30
1.5.02 | VLT | Vaults | X | 30
1.5.03 | CSA | Container Storage Areas | X | 31
1.5.04 | CTB | Containment Berms | X | 31
1.5.05 | WWI | Wastewater Impoundments | X | 31
1.5.06 | GTS | Groundwater Treatment | X | 32
1.5.07 | PLW | Plating Waste Pretreatment | X | 32
1.5.08 | CEM | Continuous Emissions Monitor | X | 32
|  | X Count | 8
1.6.01 | ELE | Elevators | O | 33
1.6.02 | LDV | Lifting Devices | O | 34
|  | O Count | 2
1.7.01 | UEE | User Equipment | UE | 35
|  | SP Count | 1
|  | Total Systems | 56