## Stock
| Window characteristics |  |  | Baseline Energy Use
City | U | SHGC | CFM/ft^2 | Gas Heat | Electric Heat | Cooling | Census Region | HDD
AK_Anchorage | 0.54 | 0.64 | 0.5 | 97.4009 | 73.1374 | 12.939 | 9 | 10570
AL_Birmingham | 0.81 | 0.68 | 0.5 | 19.2774 | 14.461 | 1945.813 | 6 | 2918
AZ_Phoenix | 0.84 | 0.69 | 0.5 | 5.9901 | 4.3612 | 5485.1079 | 8 | 1350
CA_Fresno | 0.895 | 0.74 | 0.5 | 16.2834 | 12.1585 | 2456.886 | 9 | 2556
CA_Los_Angeles | 0.895 | 0.74 | 0.5 | 6.4318 | 4.7769 | 278.392 | 9 | 1458
CA_Red_Bluff | 0.895 | 0.74 | 0.5 | 24.3095 | 18.1641 | 2408.2349 | 9 | 2500
CA_San_Diego | 0.895 | 0.74 | 0.5 | 3.6123 | 2.6606 | 586.9023 | 9 | 1256
CA_San_Francisco | 0.895 | 0.74 | 0.5 | 18.464 | 13.7726 | 57.2863 | 9 | 3016
CO_Denver | 0.84 | 0.69 | 0.5 | 51.7023 | 39.0535 | 686.4945 | 8 | 6020
DC_Washington | 0.79 | 0.66 | 0.5 | 49.0335 | 37.0823 | 1168.7193 | 5 | 4047
FL_Jacksonville | 0.79 | 0.66 | 0.5 | 9.985 | 7.4455 | 3129.2504 | 5 | 1434
FL_Miami | 0.79 | 0.66 | 0.5 | 0.50096 | 0.36623 | 5449.7545 | 5 | 200
GA_Atlanta | 0.79 | 0.66 | 0.5 | 25.6814 | 19.25 | 1716.4494 | 5 | 2991
HI_Honolulu | 0.895 | 0.74 | 0.5 | 0.004519 | 0.0037818 | 5736.5674 | 9 | 0
ID_Boise | 0.84 | 0.69 | 0.5 | 56.1389 | 43.005 | 925.4575 | 8 | 5861
IL_Chicago | 0.55 | 0.64 | 0.5 | 61.4957 | 46.4816 | 813.5458 | 3 | 6536
LA_Lake_Charles | 0.81 | 0.68 | 0.5 | 14.7387 | 11.0442 | 3127.5278 | 7 | 1616
MA_Boston | 0.54 | 0.64 | 0.5 | 55.7498 | 41.912 | 589.3292 | 1 | 6398
ME_Portland | 0.54 | 0.64 | 0.5 | 63.3371 | 48.1044 | 337.4589 | 1 | 7378
MI_Minneapolis | 0.55 | 0.64 | 0.5 | 78.0775 | 59.4585 | 703.7987 | 3 | 7981
MO_Kansas_City | 0.54 | 0.64 | 0.5 | 45.2886 | 34.3776 | 1697.6824 | 4 | 5393
MT_Great_Falls | 0.84 | 0.69 | 0.5 | 84.7674 | 63.9537 | 489.1193 | 8 | 7741
NC_Raleigh | 0.79 | 0.66 | 0.5 | 30.2825 | 22.7 | 1816.8726 | 5 | 3457
ND_Bismarck | 0.54 | 0.64 | 0.5 | 80.5571 | 60.7228 | 578.5569 | 4 | 8968
NE_Omaha | 0.54 | 0.64 | 0.5 | 57.478 | 43.4859 | 1240.8703 | 4 | 6300
NM_Albuquerque | 0.84 | 0.69 | 0.5 | 31.5278 | 23.6585 | 1178.9418 | 8 | 4425
NV_Las_Vegas | 0.84 | 0.69 | 0.5 | 12.1114 | 8.9265 | 3818.4931 | 8 | 2407
NV_Reno | 0.84 | 0.69 | 0.5 | 42.7876 | 32.0584 | 696.9761 | 8 | 5674
NY_Buffalo | 0.57 | 0.65 | 0.5 | 68.6378 | 51.8232 | 510.8083 | 2 | 6747
NY_New_York | 0.57 | 0.65 | 0.5 | 49.3481 | 37.402 | 911.1065 | 2 | 5027
OH_Dayton | 0.55 | 0.64 | 0.5 | 56.3965 | 42.7052 | 692.058 | 3 | 5708
OK_Oklahoma_City | 0.81 | 0.68 | 0.5 | 36.1032 | 27.0579 | 2151.5834 | 7 | 3659
OR_Medford | 0.895 | 0.74 | 0.5 | 41.164 | 31.11 | 1044.5431 | 9 | 4611
OR_Portland | 0.895 | 0.74 | 0.5 | 43.7581 | 32.8788 | 428.9078 | 9 | 4522
PA_Philadelphia | 0.57 | 0.65 | 0.5 | 47.11 | 35.6558 | 1023.6653 | 2 | 4954
PA_Pittsburgh | 0.57 | 0.65 | 0.5 | 55.9349 | 42.2693 | 691.7114 | 2 | 5968
SC_Charleston | 0.79 | 0.66 | 0.5 | 18.0639 | 13.5248 | 2692.3125 | 5 | 2013
TN_Memphis | 0.81 | 0.68 | 0.5 | 27.0169 | 20.2568 | 2988.1094 | 6 | 3082
TN_Nashville | 0.81 | 0.68 | 0.5 | 36.7512 | 27.5536 | 2499.6079 | 6 | 3729
TX_Brownsville | 0.81 | 0.68 | 0.5 | 4.7087 | 3.5007 | 4883.7554 | 7 | 635
TX_El_Paso | 0.81 | 0.68 | 0.5 | 12.0205 | 8.9865 | 2502.2836 | 7 | 2708
TX_Fort_Worth | 0.81 | 0.68 | 0.5 | 17.6265 | 13.1924 | 2971.0726 | 7 | 2407
TX_San_Antonio | 0.81 | 0.68 | 0.5 | 12.5977 | 9.4208 | 3660.357 | 7 | 1644
UT_Salt_Lake_Cit | 0.84 | 0.69 | 0.5 | 49.8544 | 38.0501 | 1216.125 | 8 | 5765
VT_Burlington | 0.54 | 0.64 | 0.5 | 72.7534 | 55.2005 | 408.4755 | 1 | 7771
WA_Seattle | 0.895 | 0.74 | 0.5 | 48.5595 | 36.5339 | 187.5088 | 9 | 4611
WI_Madison | 0.55 | 0.64 | 0.5 | 68.9428 | 52.2561 | 614.0233 | 3 | 7673
WY_Cheyenne | 0.84 | 0.69 | 0.5 | 75.9446 | 57.0016 | 275.7126 | 8 | 7326
Savings
Average % Change in Zone
[5 empty] | Zone | Gas Heat | Electric Heat | Cooling | Zone | Gas Heat | Electric Heat | Cooling
[5 empty] | <2,000 HDD | 58.5698 | 43.5798 | 32337.6147 | <2,000 HDD | 0% | 0% | 0%
[5 empty] | 2,000-3,499 HDD | 279.7072 | 208.9731 | 57711.4281 | 2,000-3,499 HDD | 0% | 0% | 0%
[5 empty] | 3,500-5,999 | 969.4637 | 730.3712 | 74226.0225 | 3,500-5,999 | 0% | 0% | 0%
[5 empty] | 6,000-7,000 | 1264.5273 | 953.1274 | 78067.0706 | 6,000-7,000 | 0% | 0% | 0%
[5 empty] | 7,000 + | 621.7807 | 469.8348 | 3420.0841 | 7,000 + | 0% | 0% | 0%
[5 empty] | Zone | Gas Heat | Electric Heat | Cooling
[5 empty] | <2,000 HDD | 58.5698 | 43.5798 | 32337.6147
[5 empty] | 2,000-3,499 HDD | 221.1374 | 165.3932 | 25373.8134
[5 empty] | 3,500-5,999 | 689.7565 | 521.3981 | 16514.5944
[5 empty] | 6,000-7,000 | 295.0636 | 222.7562 | 3841.0481
[5 empty] | 7,000 + | 621.7807 | 469.8348 | 3420.0841

## Sales
| Window characteristics |  |  | Energy use for listed window
City | U | SHGC | CFM/ft^2 | Gas Heat | Electric Heat | Cooling | HDD | Census Region
HI_Honolulu | 0.49 | 0.62 | 0.3 | 0.0013545 | 0.0011336 | 5362.8986 | 0 | 9
FL_Miami | 0.98 | 0.8 | 0.3 | 0.53674 | 0.39459 | 5844.9581 | 200 | 5
TX_Brownsville | 0.61 | 0.69 | 0.3 | 3.8608 | 2.8622 | 4855.6264 | 635 | 7
CA_San_Diego | 0.49 | 0.62 | 0.3 | 2.3544 | 1.721 | 528.5276 | 1256 | 9
AZ_Phoenix | 0.61 | 0.69 | 0.3 | 4.6421 | 3.364 | 5339.5289 | 1350 | 8
FL_Jacksonville | 0.98 | 0.8 | 0.3 | 10.0721 | 7.5189 | 3407.2856 | 1434 | 5
CA_Los_Angeles | 0.49 | 0.62 | 0.3 | 4.5544 | 3.3611 | 241.653 | 1458 | 9
LA_Lake_Charles | 0.61 | 0.69 | 0.3 | 12.5564 | 9.4062 | 3134.4221 | 1616 | 7
TX_San_Antonio | 0.61 | 0.69 | 0.3 | 10.6128 | 7.925 | 3639.3986 | 1644 | 7
SC_Charleston | 0.49 | 0.62 | 0.3 | 14.4364 | 10.7986 | 2632.5044 | 2013 | 5
NV_Las_Vegas | 0.61 | 0.69 | 0.3 | 9.3436 | 6.8423 | 3700.848 | 2407 | 8
TX_Fort_Worth | 0.61 | 0.69 | 0.3 | 14.735 | 11.0107 | 2948.9818 | 2407 | 7
CA_Red_Bluff | 0.49 | 0.62 | 0.3 | 18.958 | 14.0623 | 2117.9938 | 2500 | 9
CA_Fresno | 0.49 | 0.62 | 0.3 | 12.305 | 9.1204 | 2174.0119 | 2556 | 9
TX_El_Paso | 0.61 | 0.69 | 0.3 | 9.2817 | 6.9236 | 2490.2075 | 2708 | 7
AL_Birmingham | 0.61 | 0.69 | 0.3 | 16.1682 | 12.1224 | 1963.9365 | 2918 | 6
GA_Atlanta | 0.49 | 0.62 | 0.3 | 20.3798 | 15.2448 | 1662.331 | 2991 | 5
CA_San_Francisco | 0.49 | 0.62 | 0.3 | 13.4596 | 9.9688 | 48.2889 | 3016 | 9
TN_Memphis | 0.61 | 0.69 | 0.3 | 23.1545 | 17.3543 | 2990.2543 | 3082 | 6
NC_Raleigh | 0.49 | 0.62 | 0.3 | 24.5595 | 18.4106 | 1781.3781 | 3457 | 5
OK_Oklahoma_City | 0.61 | 0.69 | 0.3 | 31.0688 | 23.2881 | 2137.605 | 3659 | 7
TN_Nashville | 0.61 | 0.69 | 0.3 | 31.8542 | 23.8927 | 2509.3441 | 3729 | 6
DC_Washington | 0.49 | 0.62 | 0.3 | 40.4443 | 30.6917 | 1121.9874 | 4047 | 5
NM_Albuquerque | 0.61 | 0.69 | 0.3 | 25.9882 | 19.5101 | 1178.3555 | 4425 | 8
OR_Portland | 0.4 | 0.54 | 0.3 | 33.5194 | 25.1553 | 315.7006 | 4522 | 9
OR_Medford | 0.4 | 0.54 | 0.3 | 31.7456 | 23.9768 | 786.6 | 4611 | 9
WA_Seattle | 0.4 | 0.54 | 0.3 | 37.1617 | 27.8491 | 129.8444 | 4611 | 9
PA_Philadelphia | 0.42 | 0.55 | 0.3 | 43.2598 | 32.8077 | 910.2365 | 4954 | 2
NY_New_York | 0.42 | 0.55 | 0.3 | 45.3552 | 34.4643 | 806.9877 | 5027 | 2
MO_Kansas_City | 0.42 | 0.55 | 0.3 | 42.2349 | 32.1385 | 1535.6691 | 5393 | 4
NV_Reno | 0.61 | 0.69 | 0.3 | 36.3108 | 27.2291 | 705.4711 | 5674 | 8
OH_Dayton | 0.42 | 0.55 | 0.3 | 52.2065 | 39.6638 | 610.2262 | 5708 | 3
UT_Salt_Lake_Cit | 0.49 | 0.62 | 0.3 | 39.9841 | 30.7043 | 1101.7841 | 5765 | 8
ID_Boise | 0.49 | 0.62 | 0.3 | 45.3041 | 34.9691 | 837.0384 | 5861 | 8
PA_Pittsburgh | 0.42 | 0.55 | 0.3 | 51.1932 | 38.822 | 597.5011 | 5968 | 2
CO_Denver | 0.49 | 0.62 | 0.3 | 41.044 | 31.1722 | 626.4135 | 6020 | 8
NE_Omaha | 0.42 | 0.55 | 0.3 | 53.6538 | 40.7117 | 1111.9476 | 6300 | 4
MA_Boston | 0.39 | 0.53 | 0.3 | 51.2945 | 38.6111 | 501.4732 | 6398 | 1
IL_Chicago | 0.42 | 0.55 | 0.3 | 56.9257 | 43.1261 | 720.9436 | 6536 | 3
NY_Buffalo | 0.42 | 0.55 | 0.3 | 62.8918 | 47.6165 | 434.2544 | 6747 | 2
WY_Cheyenne | 0.49 | 0.62 | 0.3 | 60.8508 | 45.9735 | 247.5693 | 7326 | 8
ME_Portland | 0.39 | 0.53 | 0.3 | 58.3681 | 44.4592 | 277.371 | 7378 | 1
WI_Madison | 0.42 | 0.55 | 0.3 | 63.8986 | 48.5929 | 531.8216 | 7673 | 3
MT_Great_Falls | 0.49 | 0.62 | 0.3 | 69.2495 | 52.618 | 441.163 | 7741 | 8
VT_Burlington | 0.39 | 0.53 | 0.3 | 66.7881 | 50.8661 | 337.6977 | 7771 | 1
MI_Minneapolis | 0.42 | 0.55 | 0.3 | 72.4453 | 55.3844 | 614.5978 | 7981 | 3
ND_Bismarck | 0.42 | 0.55 | 0.3 | 75.1205 | 56.7554 | 496.9862 | 8968 | 4
AK_Anchorage | 0.39 | 0.53 | 0.3 | 89.0764 | 67.0732 | 8.8639 | 10570 | 9
[9 empty] | Savings |  |  |  | Zone | Gas Heat | Electric Heat | Cooling
[9 empty] | Average % Change in Zone |  |  |  | New England | 176.4508 | 133.9363 | 1116.5419
[5 empty] | Zone | Gas Heat | Electric Heat | Cooling | Zone | Gas Heat | Electric Heat | Cooling | Middle Atlantic | 202.7 | 153.7105 | 2748.9798
[5 empty] | <2,000 HDD | 49.1911 | 36.5541 | 32354.299 | <2,000 HDD | 13.93% | 14.03% | -0.04798% | East North Central | 245.4761 | 186.7672 | 2477.5892
[5 empty] | 2,000-3,499 HDD | 225.9725 | 168.413 | 56865.0352 | 2,000-3,499 HDD | 13.84% | 13.99% | 2.925% | West North Central | 171.0092 | 129.6056 | 3144.603
[5 empty] | 3,500-5,999 | 813.6033 | 613.5756 | 72149.3865 | 3,500-5,999 | 9.92% | 9.796% | 6.63% | South Atlantic | 110.429 | 83.0592 | 16450.4445
[5 empty] | 6,000-7,000 | 1079.4132 | 814.8133 | 75544.4189 | 6,000-7,000 | 6.742% | 6.569% | 11.03% | East South Central | 71.1769 | 53.3694 | 7463.5349
[5 empty] | 7,000 + | 555.7974 | 421.7226 | 2956.0705 | 7,000 + | 7.216% | 6.963% | 13.84% | West South Central | 82.1155 | 61.4159 | 19206.2415
[13 empty] | Mountain | 332.7172 | 252.3826 | 14178.1718
[13 empty] | Pacific | 243.1359 | 182.2892 | 11714.3827
[5 empty] | Zone | Gas Heat | Electric Heat | Cooling |  |  |  |  | Per Unit
[5 empty] | <2,000 HDD | 49.1911 | 36.5541 | 32354.299 |  |  |  |  | Consumption, MMBtus
[5 empty] | 2,000-3,499 HDD | 176.7814 | 131.8588 | 24510.7362 |  |  |  |  | Zone | Heating |  | Cooling
[5 empty] | 3,500-5,999 | 587.6308 | 445.1626 | 15284.3513 |  |  |  |  | New England | 63.9134 |  | 4.0902
[5 empty] | 6,000-7,000 | 265.8099 | 201.2377 | 3395.0324 |  |  |  |  | Middle Atlantic | 55.0587 |  | 7.5527
[5 empty] | 7,000 + | 555.7974 | 421.7226 | 2956.0705 |  |  |  |  | East North Central | 67.5975 |  | 6.8071
[13 empty] | West North Central | 62.7506 |  | 11.5196
[13 empty] | South Atlantic | 31.49 |  | 30.1313
[13 empty] | East South Central | 40.5044 |  | 27.3411
[13 empty] | West South Central | 23.3229 |  | 35.179
[13 empty] | Mountain | 41.7681 |  | 17.3129
[13 empty] | Pacific | 27.4081 |  | 12.8739

## Current
| Window characteristics |  |  | Energy use for listed window
City | U | SHGC | CFM/ft^2 | Gas Heat | Electric Heat | Cooling | HDD | Census Region
HI_Honolulu | 0.75 | 0.4 | 0.3 | 0.0031733 | 0.0026557 | 4537.3195 | 0 | 9
FL_Miami | 0.75 | 0.4 | 0.3 | 0.58227 | 0.42348 | 4626.988 | 200 | 5
TX_Brownsville | 0.75 | 0.4 | 0.3 | 5.1399 | 3.8129 | 4093.4091 | 635 | 7
CA_San_Diego | 0.75 | 0.4 | 0.3 | 5.2156 | 3.8226 | 343.5188 | 1256 | 9
AZ_Phoenix | 0.75 | 0.4 | 0.3 | 6.9565 | 5.0385 | 4616.8094 | 1350 | 8
FL_Jacksonville | 0.75 | 0.4 | 0.3 | 11.4229 | 8.5149 | 2565.5626 | 1434 | 5
CA_Los_Angeles | 0.75 | 0.4 | 0.3 | 8.7258 | 6.4623 | 121.7901 | 1458 | 9
LA_Lake_Charles | 0.75 | 0.4 | 0.3 | 16.195 | 12.1322 | 2539.4382 | 1616 | 7
TX_San_Antonio | 0.75 | 0.4 | 0.3 | 13.9585 | 10.4335 | 3027.1359 | 1644 | 7
SC_Charleston | 0.4 | 0.55 | 0.3 | 13.9631 | 10.4394 | 2506.8496 | 2013 | 5
TX_Fort_Worth | 0.75 | 0.4 | 0.3 | 19.9291 | 14.9138 | 2413.0876 | 2407 | 7
NV_Las_Vegas | 0.4 | 0.55 | 0.3 | 8.4846 | 6.1577 | 3304.3675 | 2407 | 8
CA_Red_Bluff | 0.4 | 0.55 | 0.3 | 18.1036 | 13.3943 | 1982.8332 | 2500 | 9
CA_Fresno | 0.4 | 0.55 | 0.3 | 11.7227 | 8.6676 | 2039.2542 | 2556 | 9
TX_El_Paso | 0.75 | 0.4 | 0.3 | 14.7883 | 11.0396 | 1970.7666 | 2708 | 7
AL_Birmingham | 0.75 | 0.4 | 0.3 | 21.462 | 16.1024 | 1507.9031 | 2918 | 6
GA_Atlanta | 0.4 | 0.55 | 0.3 | 19.5225 | 14.587 | 1544.3036 | 2991 | 5
CA_San_Francisco | 0.4 | 0.55 | 0.3 | 13.1178 | 9.6971 | 42.5365 | 3016 | 9
TN_Memphis | 0.4 | 0.55 | 0.3 | 21.0437 | 15.7653 | 2723.4576 | 3082 | 6
NC_Raleigh | 0.4 | 0.55 | 0.3 | 23.5805 | 17.675 | 1686.5715 | 3457 | 5
OK_Oklahoma_City | 0.4 | 0.55 | 0.3 | 28.3666 | 21.2577 | 1902.5031 | 3659 | 7
TN_Nashville | 0.4 | 0.55 | 0.3 | 28.7151 | 21.5401 | 2271.4898 | 3729 | 6
DC_Washington | 0.4 | 0.55 | 0.3 | 38.7679 | 29.4519 | 1029.795 | 4047 | 5
NM_Albuquerque | 0.4 | 0.55 | 0.3 | 23.585 | 17.7093 | 1001.6878 | 4425 | 8
OR_Portland | 0.35 | 0.55 | 0.3 | 31.8655 | 23.9056 | 326.659 | 4522 | 9
OR_Medford | 0.35 | 0.55 | 0.3 | 30.1055 | 22.7296 | 797.4043 | 4611 | 9
WA_Seattle | 0.35 | 0.55 | 0.3 | 35.3203 | 26.4499 | 135.6232 | 4611 | 9
PA_Philadelphia | 0.4 | 0.55 | 0.3 | 42.5506 | 32.2797 | 911.3142 | 4954 | 2
NY_New_York | 0.4 | 0.55 | 0.3 | 44.6279 | 33.925 | 807.9541 | 5027 | 2
MO_Kansas_City | 0.4 | 0.55 | 0.3 | 41.5268 | 31.6133 | 1534.7022 | 5393 | 4
NV_Reno | 0.35 | 0.55 | 0.3 | 31.3271 | 23.5179 | 581.3788 | 5674 | 8
OH_Dayton | 0.4 | 0.55 | 0.3 | 51.3856 | 39.0617 | 612.1815 | 5708 | 3
UT_Salt_Lake_Cit | 0.35 | 0.55 | 0.3 | 36.3583 | 28.0096 | 1003.0717 | 5765 | 8
ID_Boise | 0.35 | 0.55 | 0.3 | 41.3366 | 32.0282 | 755.4341 | 5861 | 8
PA_Pittsburgh | 0.4 | 0.55 | 0.3 | 50.3876 | 38.2308 | 599.1206 | 5968 | 2
CO_Denver | 0.4 | 0.55 | 0.3 | 39.2649 | 29.8754 | 559.1105 | 6020 | 8
NE_Omaha | 0.4 | 0.55 | 0.3 | 52.8234 | 40.1001 | 1111.9476 | 6300 | 4
MA_Boston | 0.35 | 0.55 | 0.3 | 49.1721 | 37.0286 | 522.7904 | 6398 | 1
IL_Chicago | 0.4 | 0.55 | 0.3 | 56.047 | 42.4772 | 722.4294 | 6536 | 3
NY_Buffalo | 0.35 | 0.55 | 0.3 | 59.5973 | 45.1936 | 442.416 | 6747 | 2
WY_Cheyenne | 0.35 | 0.55 | 0.3 | 55.6302 | 42.1674 | 212.4866 | 7326 | 8
ME_Portland | 0.35 | 0.55 | 0.3 | 55.9094 | 42.6379 | 293.6045 | 7378 | 1
WI_Madison | 0.35 | 0.55 | 0.3 | 60.4037 | 46.0364 | 535.2014 | 7673 | 3
MT_Great_Falls | 0.35 | 0.55 | 0.3 | 63.567 | 48.4705 | 389.4514 | 7741 | 8
VT_Burlington | 0.35 | 0.55 | 0.3 | 64.2615 | 49.0196 | 354.3872 | 7771 | 1
MN_Minneapolis | 0.35 | 0.55 | 0.3 | 68.6714 | 52.6351 | 619.7174 | 7981 | 3
ND_Bismarck | 0.35 | 0.55 | 0.3 | 71.0906 | 53.7871 | 501.1596 | 8968 | 4
AK_Anchorage | 0.35 | 0.55 | 0.3 | 86.0181 | 64.8312 | 9.8977 | 10570 | 9
[9 empty] | Savings |  |  |  | Zone | Gas Heat | Electric Heat | Cooling
[9 empty] | Average % Change in Zone |  |  |  | New England | 169.343 | 128.6861 | 1170.7821
[5 empty] | Zone | Gas Heat | Electric Heat | Cooling | Zone | Gas Heat | Electric Heat | Cooling | Middle Atlantic | 197.1634 | 149.6291 | 2760.805
[5 empty] | <2,000 HDD | 68.1995 | 50.6431 | 26471.9715 | <2,000 HDD | -14.3% | -14.1% | 16.87% | East North Central | 236.5077 | 180.2104 | 2489.5296
[5 empty] | 2,000-3,499 HDD | 253.9175 | 189.0822 | 48193.9028 | 2,000-3,499 HDD | 11.05% | 11.24% | 12.38% | West North Central | 165.4407 | 125.5004 | 3147.8094
[5 empty] | 3,500-5,999 | 810.1439 | 610.7926 | 62464.2221 | 3,500-5,999 | 12.97% | 12.81% | 12.09% | South Atlantic | 107.8391 | 81.0917 | 13960.0702
[5 empty] | 6,000-7,000 | 1067.0487 | 805.4674 | 65822.9161 | 6,000-7,000 | 8.794% | 8.572% | 11.93% | East South Central | 71.2209 | 53.4078 | 6502.8506
[5 empty] | 7,000 + | 525.5518 | 399.5852 | 2915.9057 | 7,000 + | 10.52% | 10.17% | 15.04% | West South Central | 98.3774 | 73.5898 | 15946.3406
[13 empty] | Mountain | 306.5104 | 232.9745 | 12423.7977
[13 empty] | Pacific | 240.1979 | 179.9628 | 10336.8366
[5 empty] | Zone | Gas Heat | Electric Heat | Cooling |  |  |  |  | Per Unit
[5 empty] | <2,000 HDD | 68.1995 | 50.6431 | 26471.9715 |  |  |  |  | Consumption, MMBtus
[5 empty] | 2,000-3,499 HDD | 185.718 | 138.4392 | 21721.9313 |  |  |  |  | Zone | Heating |  | Cooling
[5 empty] | 3,500-5,999 | 556.2264 | 421.7103 | 14270.3193 |  |  |  |  | New England | 61.3482 |  | 4.2889
[5 empty] | 6,000-7,000 | 256.9048 | 194.6748 | 3358.694 |  |  |  |  | Middle Atlantic | 53.5605 |  | 7.5852
[5 empty] | 7,000 + | 525.5518 | 399.5852 | 2915.9057 |  |  |  |  | East North Central | 65.1429 |  | 6.8399
[13 empty] | West North Central | 60.7159 |  | 11.5313
[13 empty] | South Atlantic | 30.7462 |  | 25.5699
[13 empty] | East South Central | 40.5323 |  | 23.8218
[13 empty] | West South Central | 27.9447 |  | 29.208
[13 empty] | Mountain | 38.4934 |  | 15.1706
[13 empty] | Pacific | 27.0733 |  | 11.36

## IECC
| U= .4 SHGC= .55 |  | U= .35 SHGC= .55 |  | U=.75 SHGC=.4 |  | U=.5 SHGC=.4
| Window characteristics |  |  | Energy use for listed window
City | U | SHGC | CFM/ft^2 | Gas Heat | Electric Heat | Cooling | HDD | Census Region
MA_Boston | 0.35 | 0.55 | 0.3 | 49.1721 | 37.0286 | 522.7904 | 6398 | 1
ME_Portland | 0.35 | 0.55 | 0.3 | 55.9094 | 42.6379 | 293.6045 | 7378 | 1
VT_Burlington | 0.35 | 0.55 | 0.3 | 64.2615 | 49.0196 | 354.3872 | 7771 | 1
PA_Philadelphia | 0.4 | 0.55 | 0.3 | 42.5506 | 32.2797 | 911.3142 | 4954 | 2
NY_New_York | 0.4 | 0.55 | 0.3 | 44.6279 | 33.925 | 807.9541 | 5027 | 2
PA_Pittsburgh | 0.4 | 0.55 | 0.3 | 50.3876 | 38.2308 | 599.1206 | 5968 | 2
NY_Buffalo | 0.35 | 0.55 | 0.3 | 59.5973 | 45.1936 | 442.416 | 6747 | 2
OH_Dayton | 0.4 | 0.55 | 0.3 | 51.3856 | 39.0617 | 612.1815 | 5708 | 3
IL_Chicago | 0.35 | 0.55 | 0.3 | 53.812 | 40.826 | 726.3842 | 6536 | 3
WI_Madison | 0.35 | 0.55 | 0.3 | 60.4037 | 46.0364 | 535.2014 | 7673 | 3
MI_Minneapolis | 0.35 | 0.55 | 0.3 | 68.6714 | 52.6351 | 619.7174 | 7981 | 3
MO_Kansas_City | 0.4 | 0.55 | 0.3 | 41.5268 | 31.6133 | 1534.7022 | 5393 | 4
NE_Omaha | 0.35 | 0.55 | 0.3 | 50.7117 | 38.5443 | 1111.9476 | 6300 | 4
ND_Bismarck | 0.35 | 0.55 | 0.3 | 71.0906 | 53.7871 | 501.1596 | 8968 | 4
FL_Miami | 0.75 | 0.4 | 0.3 | 0.58227 | 0.42348 | 4626.988 | 200 | 5
FL_Jacksonville | 0.75 | 0.4 | 0.3 | 11.4229 | 8.5149 | 2565.5626 | 1434 | 5
SC_Charleston | 0.5 | 0.4 | 0.3 | 17.2036 | 12.8698 | 2204.7364 | 2013 | 5
GA_Atlanta | 0.5 | 0.4 | 0.3 | 23.7307 | 17.7478 | 1270.9773 | 2991 | 5
NC_Raleigh | 0.5 | 0.4 | 0.3 | 28.0415 | 21.0251 | 1451.7931 | 3457 | 5
DC_Washington | 0.4 | 0.55 | 0.3 | 38.7679 | 29.4519 | 1029.795 | 4047 | 5
AL_Birmingham | 0.5 | 0.4 | 0.3 | 17.8359 | 13.3724 | 1517.5262 | 2918 | 6
TN_Memphis | 0.5 | 0.4 | 0.3 | 25.0961 | 18.8189 | 2442.5983 | 3082 | 6
TN_Nashville | 0.5 | 0.55 | 0.3 | 31.2428 | 23.4361 | 2271.4898 | 3729 | 6
TX_Brownsville | 0.75 | 0.4 | 0.3 | 5.1399 | 3.8129 | 4093.4091 | 635 | 7
LA_Lake_Charles | 0.75 | 0.4 | 0.3 | 16.195 | 12.1322 | 2539.4382 | 1616 | 7
TX_San_Antonio | 0.75 | 0.4 | 0.3 | 13.9585 | 10.4335 | 3027.1359 | 1644 | 7
TX_Fort_Worth | 0.5 | 0.4 | 0.3 | 16.6031 | 12.4016 | 2380.3485 | 2407 | 7
TX_El_Paso | 0.5 | 0.4 | 0.3 | 11.5971 | 8.6345 | 1941.455 | 2708 | 7
OK_Oklahoma_City | 0.5 | 0.55 | 0.3 | 30.8796 | 23.1454 | 1914.0211 | 3659 | 7
AZ_Phoenix | 0.75 | 0.4 | 0.3 | 6.9565 | 5.0385 | 4616.8094 | 1350 | 8
NV_Las_Vegas | 0.5 | 0.4 | 0.3 | 11.8161 | 8.6233 | 3047.9759 | 2407 | 8
NM_Albuquerque | 0.4 | 0.55 | 0.3 | 23.585 | 17.7093 | 1001.6878 | 4425 | 8
NV_Reno | 0.4 | 0.55 | 0.3 | 33.0149 | 24.7813 | 578.8629 | 5674 | 8
UT_Salt_Lake_Cit | 0.4 | 0.55 | 0.3 | 38.1969 | 29.3868 | 1007.3324 | 5765 | 8
ID_Boise | 0.4 | 0.55 | 0.3 | 43.3364 | 33.5193 | 756.6907 | 5861 | 8
CO_Denver | 0.35 | 0.55 | 0.3 | 37.2505 | 28.3758 | 561.6579 | 6020 | 8
WY_Cheyenne | 0.35 | 0.55 | 0.3 | 55.6302 | 42.1674 | 212.4866 | 7326 | 8
MT_Great_Falls | 0.35 | 0.55 | 0.3 | 63.567 | 48.4705 | 389.4514 | 7741 | 8
HI_Honolulu | 0.75 | 0.4 | 0.3 | 0.0031733 | 0.0026557 | 4537.3195 | 0 | 9
CA_San_Diego | 0.75 | 0.4 | 0.3 | 5.2156 | 3.8226 | 343.5188 | 1256 | 9
CA_Los_Angeles | 0.75 | 0.4 | 0.3 | 8.7258 | 6.4623 | 121.7901 | 1458 | 9
CA_Red_Bluff | 0.5 | 0.4 | 0.3 | 21.7116 | 16.1008 | 1769.7972 | 2500 | 9
CA_Fresno | 0.5 | 0.4 | 0.3 | 14.859 | 11.0255 | 1817.9429 | 2556 | 9
CA_San_Francisco | 0.5 | 0.4 | 0.3 | 18.716 | 13.8971 | 29.2609 | 3016 | 9
OR_Portland | 0.4 | 0.55 | 0.3 | 33.3748 | 25.0466 | 322.6265 | 4522 | 9
OR_Medford | 0.4 | 0.55 | 0.3 | 31.594 | 23.8612 | 798.525 | 4611 | 9
WA_Seattle | 0.4 | 0.55 | 0.3 | 37.0012 | 27.7288 | 133.3818 | 4611 | 9
AK_Anchorage | 0.35 | 0.55 | 0.3 | 86.0181 | 64.8312 | 9.8977 | 10570 | 9
[9 empty] | Savings |  |  |  | Zone | Gas Heat | Electric Heat | Cooling
[9 empty] | Average % Change in Zone |  |  |  | New England | 169.343 | 128.6861 | 1170.7821
[5 empty] | Zone | Gas Heat | Electric Heat | Cooling | Zone | Gas Heat | Electric Heat | Cooling | Middle Atlantic | 197.1634 | 149.6291 | 2760.805
[5 empty] | <2,000 HDD | 68.1995 | 50.6431 | 26471.9715 | <2,000 HDD | -14.3% | -14.1% | 16.87% | East North Central | 234.2727 | 178.5592 | 2493.4844
[5 empty] | 2,000-3,499 HDD | 275.4103 | 205.1598 | 46346.3832 | 2,000-3,499 HDD | 4.345% | 4.538% | 18.64% | West North Central | 163.329 | 123.9447 | 3147.8094
[5 empty] | 3,500-5,999 | 846.8824 | 638.3371 | 60626.0687 | 3,500-5,999 | 11.49% | 11.34% | 12.04% | South Atlantic | 119.7489 | 90.033 | 13149.8522
[5 empty] | 6,000-7,000 | 1097.426 | 828.3054 | 63991.2649 | 6,000-7,000 | 10.26% | 10.01% | 11.77% | East South Central | 74.1748 | 55.6275 | 6231.6143
[5 empty] | 7,000 + | 525.5518 | 399.5852 | 2915.9057 | 7,000 + | 10.52% | 10.17% | 15.04% | West South Central | 94.3732 | 70.5601 | 15895.8079
[13 empty] | Mountain | 313.3535 | 238.0723 | 12172.9549
[13 empty] | Pacific | 257.2192 | 192.7786 | 9884.0604
[5 empty] | Zone | Gas Heat | Electric Heat | Cooling |  |  |  |  | Per Unit
[5 empty] | <2,000 HDD | 68.1995 | 50.6431 | 26471.9715 |  |  |  |  | Consumption, MMBtus
[5 empty] | 2,000-3,499 HDD | 207.2108 | 154.5167 | 19874.4117 |  |  |  |  | Zone | Heating |  | Cooling
[5 empty] | 3,500-5,999 | 571.4721 | 433.1773 | 14279.6855 |  |  |  |  | New England | 61.3482 |  | 4.2889
[5 empty] | 6,000-7,000 | 250.5436 | 189.9683 | 3365.1962 |  |  |  |  | Middle Atlantic | 53.5605 |  | 7.5852
[5 empty] | 7,000 + | 525.5518 | 399.5852 | 2915.9057 |  |  |  |  | East North Central | 64.5302 |  | 6.8508
[13 empty] | West North Central | 59.9444 |  | 11.5313
[13 empty] | South Atlantic | 34.1379 |  | 24.0858
[13 empty] | East South Central | 42.2159 |  | 22.8282
[13 empty] | West South Central | 26.7981 |  | 29.1155
[13 empty] | Mountain | 39.3494 |  | 14.8643
[13 empty] | Pacific | 28.9937 |  | 10.8624

## Three Zone
| U= 0.35 SHGC = 0.55 |  | U= 0.4 SHGC = 0.4 |  | U= 0.6 SHGC = 0.4
| Window characteristics |  |  | Energy use for listed window
City | U | SHGC | CFM/ft^2 | Gas Heat | Electric Heat | Cooling | HDD | Census Region
HI_Honolulu | 0.65 | 0.4 | 0.3 | 0.0023835 | 0.0019947 | 4549.9608 | 0 | 9
FL_Miami | 0.65 | 0.4 | 0.3 | 0.51718 | 0.37517 | 4626.988 | 200 | 5
TX_Brownsville | 0.65 | 0.4 | 0.3 | 4.7647 | 3.5302 | 4081.8941 | 635 | 7
CA_San_Diego | 0.4 | 0.4 | 0.3 | 3.321 | 2.421 | 368.9646 | 1256 | 9
AZ_Phoenix | 0.4 | 0.4 | 0.3 | 4.8221 | 3.4637 | 4415.0671 | 1350 | 8
FL_Jacksonville | 0.65 | 0.4 | 0.3 | 10.6668 | 7.9444 | 2565.5626 | 1434 | 5
CA_Los_Angeles | 0.4 | 0.4 | 0.3 | 5.9511 | 4.3869 | 138.5212 | 1458 | 9
LA_Lake_Charles | 0.65 | 0.4 | 0.3 | 15.2368 | 11.4129 | 2539.4382 | 1616 | 7
TX_San_Antonio | 0.65 | 0.4 | 0.3 | 13.0802 | 9.7714 | 3015.7295 | 1644 | 7
SC_Charleston | 0.4 | 0.4 | 0.3 | 15.7535 | 11.7792 | 2213.8989 | 2013 | 5
NV_Las_Vegas | 0.4 | 0.4 | 0.3 | 10.4777 | 7.6163 | 2995.3511 | 2407 | 8
TX_Fort_Worth | 0.4 | 0.4 | 0.3 | 15.1288 | 11.2865 | 2364.2419 | 2407 | 7
CA_Red_Bluff | 0.4 | 0.4 | 0.3 | 19.858 | 14.6906 | 1744.9793 | 2500 | 9
CA_Fresno | 0.4 | 0.4 | 0.3 | 13.3652 | 9.8916 | 1795.9363 | 2556 | 9
TX_El_Paso | 0.4 | 0.4 | 0.3 | 10.1721 | 7.5604 | 1927.0442 | 2708 | 7
AL_Birmingham | 0.4 | 0.4 | 0.3 | 16.2096 | 12.1461 | 1522.308 | 2918 | 6
GA_Atlanta | 0.4 | 0.4 | 0.3 | 21.6702 | 16.1901 | 1278.4946 | 2991 | 5
CA_San_Francisco | 0.4 | 0.4 | 0.3 | 16.5587 | 12.2675 | 29.8412 | 3016 | 9
TN_Memphis | 0.4 | 0.4 | 0.3 | 23.1107 | 17.3228 | 2439.2418 | 3082 | 6
NC_Raleigh | 0.4 | 0.4 | 0.3 | 25.8062 | 19.3462 | 1461.3328 | 3457 | 5
OK_Oklahoma_City | 0.4 | 0.4 | 0.3 | 30.97 | 23.2103 | 1673.7775 | 3659 | 7
TN_Nashville | 0.4 | 0.4 | 0.3 | 30.8646 | 23.1521 | 2012.4487 | 3729 | 6
DC_Washington | 0.4 | 0.4 | 0.3 | 41.5217 | 31.5335 | 829.0997 | 4047 | 5
NM_Albuquerque | 0.4 | 0.4 | 0.3 | 26.814 | 20.139 | 818.2375 | 4425 | 8
OR_Portland | 0.35 | 0.55 | 0.3 | 31.8655 | 23.9056 | 326.659 | 4522 | 9
OR_Medford | 0.35 | 0.55 | 0.3 | 30.1055 | 22.7296 | 797.4043 | 4611 | 9
WA_Seattle | 0.35 | 0.55 | 0.3 | 35.3203 | 26.4499 | 135.6232 | 4611 | 9
PA_Philadelphia | 0.4 | 0.4 | 0.3 | 45.3597 | 34.389 | 737.0637 | 4954 | 2
NY_New_York | 0.4 | 0.4 | 0.3 | 47.5345 | 36.1066 | 648.8659 | 5027 | 2
MO_Kansas_City | 0.4 | 0.4 | 0.3 | 44.2858 | 33.695 | 1289.5662 | 5393 | 4
NV_Reno | 0.35 | 0.55 | 0.3 | 31.3271 | 23.5179 | 581.3788 | 5674 | 8
OH_Dayton | 0.4 | 0.4 | 0.3 | 54.1711 | 41.1497 | 464.1053 | 5708 | 3
UT_Salt_Lake_Cit | 0.35 | 0.55 | 0.3 | 36.3583 | 28.0096 | 1003.0717 | 5765 | 8
ID_Boise | 0.35 | 0.55 | 0.3 | 41.3366 | 32.0282 | 755.4341 | 5861 | 8
PA_Pittsburgh | 0.4 | 0.4 | 0.3 | 52.9567 | 40.1583 | 451.0315 | 5968 | 2
CO_Denver | 0.35 | 0.55 | 0.3 | 37.2505 | 28.3758 | 561.6579 | 6020 | 8
NE_Omaha | 0.35 | 0.55 | 0.3 | 50.7117 | 38.5443 | 1111.9476 | 6300 | 4
MA_Boston | 0.35 | 0.55 | 0.3 | 49.1721 | 37.0286 | 522.7904 | 6398 | 1
IL_Chicago | 0.35 | 0.55 | 0.3 | 53.812 | 40.826 | 726.3842 | 6536 | 3
NY_Buffalo | 0.35 | 0.55 | 0.3 | 59.5973 | 45.1936 | 442.416 | 6747 | 2
WY_Cheyenne | 0.35 | 0.55 | 0.3 | 55.6302 | 42.1674 | 212.4866 | 7326 | 8
ME_Portland | 0.35 | 0.55 | 0.3 | 55.9094 | 42.6379 | 293.6045 | 7378 | 1
WI_Madison | 0.35 | 0.55 | 0.3 | 60.4037 | 46.0364 | 535.2014 | 7673 | 3
MT_Great_Falls | 0.35 | 0.55 | 0.3 | 63.567 | 48.4705 | 389.4514 | 7741 | 8
VT_Burlington | 0.35 | 0.55 | 0.3 | 64.2615 | 49.0196 | 354.3872 | 7771 | 1
MI_Minneapolis | 0.35 | 0.55 | 0.3 | 68.6714 | 52.6351 | 619.7174 | 7981 | 3
ND_Bismarck | 0.35 | 0.55 | 0.3 | 71.0906 | 53.7871 | 501.1596 | 8968 | 4
AK_Anchorage | 0.35 | 0.55 | 0.3 | 86.0181 | 64.8312 | 9.8977 | 10570 | 9
[9 empty] | Savings |  |  |  | Zone | Gas Heat | Electric Heat | Cooling
[9 empty] | Average % Change in Zone |  |  |  | New England | 169.343 | 128.6861 | 1170.7821
[5 empty] | Zone | Gas Heat | Electric Heat | Cooling | Zone | Gas Heat | Electric Heat | Cooling | Middle Atlantic | 205.4482 | 155.8475 | 2279.3771
[5 empty] | <2,000 HDD | 58.3622 | 43.3078 | 26302.1259 | <2,000 HDD | 0.3084% | 0.5432% | 17.36% | East North Central | 237.0582 | 180.6472 | 2345.4082
[5 empty] | 2,000-3,499 HDD | 246.473 | 183.4049 | 46074.796 | 2,000-3,499 HDD | 10.31% | 10.55% | 18.98% | West North Central | 166.0881 | 126.0264 | 2902.6734
[5 empty] | 3,500-5,999 | 827.2644 | 623.5792 | 58598.5631 | 3,500-5,999 | 10.58% | 10.44% | 21.51% | South Atlantic | 115.9356 | 87.1686 | 12975.3765
[5 empty] | 6,000-7,000 | 1077.808 | 813.5475 | 61963.7593 | 6,000-7,000 | 10.26% | 10.01% | 11.77% | East South Central | 70.1849 | 52.621 | 5973.9985
[5 empty] | 7,000 + | 525.5518 | 399.5852 | 2915.9057 | 7,000 + | 10.52% | 10.17% | 15.04% | West South Central | 89.3526 | 66.7717 | 15602.1254
[13 empty] | Mountain | 307.5835 | 233.7884 | 11732.1361
[13 empty] | Pacific | 242.3657 | 181.5758 | 9897.7875
[5 empty] | Zone | Gas Heat | Electric Heat | Cooling |  |  |  |  | Per Unit
[5 empty] | <2,000 HDD | 58.3622 | 43.3078 | 26302.1259 |  |  |  |  | Consumption, MMBtus
[5 empty] | 2,000-3,499 HDD | 188.1108 | 140.0972 | 19772.6701 |  |  |  |  | Zone | Heating |  | Cooling
[5 empty] | 3,500-5,999 | 580.7914 | 440.1743 | 12523.767 |  |  |  |  | New England | 61.3482 |  | 4.2889
[5 empty] | 6,000-7,000 | 250.5436 | 189.9683 | 3365.1962 |  |  |  |  | Middle Atlantic | 55.8078 |  | 6.2625
[5 empty] | 7,000 + | 525.5518 | 399.5852 | 2915.9057 |  |  |  |  | East North Central | 65.2955 |  | 6.4439
[13 empty] | West North Central | 60.9561 |  | 10.6333
[13 empty] | South Atlantic | 33.0515 |  | 23.7663
[13 empty] | East South Central | 39.9374 |  | 21.8845
[13 empty] | West South Central | 25.3631 |  | 28.5775
[13 empty] | Mountain | 38.6281 |  | 14.3261
[13 empty] | Pacific | 27.3173 |  | 10.8775

## Four Zone
| U= 0.35 SHGC = 0.55 |  | U= 0.40 SHGC = 0.55 |  | U= 0.4 SHGC = 0.4 |  | U= 0.65 SHGC = 0.4
| Window characteristics |  |  | Energy use for listed window
City | U | SHGC | CFM/ft^2 | Gas Heat | Electric Heat | Cooling | HDD | Census Region
HI_Honolulu | 0.65 | 0.4 | 0.3 | 0.0023835 | 0.0019947 | 4549.9608 | 0 | 9
FL_Miami | 0.65 | 0.4 | 0.3 | 0.51718 | 0.37517 | 4626.988 | 200 | 5
TX_Brownsville | 0.65 | 0.4 | 0.3 | 4.7647 | 3.5302 | 4081.8941 | 635 | 7
CA_San_Diego | 0.4 | 0.4 | 0.3 | 3.321 | 2.421 | 368.9646 | 1256 | 9
AZ_Phoenix | 0.4 | 0.4 | 0.3 | 4.8221 | 3.4637 | 4415.0671 | 1350 | 8
FL_Jacksonville | 0.65 | 0.4 | 0.3 | 10.6668 | 7.9444 | 2565.5626 | 1434 | 5
CA_Los_Angeles | 0.4 | 0.4 | 0.3 | 5.9511 | 4.3869 | 138.5212 | 1458 | 9
LA_Lake_Charles | 0.65 | 0.4 | 0.3 | 15.2368 | 11.4129 | 2539.4382 | 1616 | 7
TX_San_Antonio | 0.65 | 0.4 | 0.3 | 13.0802 | 9.7714 | 3015.7295 | 1644 | 7
SC_Charleston | 0.4 | 0.4 | 0.3 | 15.7535 | 11.7792 | 2213.8989 | 2013 | 5
NV_Las_Vegas | 0.4 | 0.4 | 0.3 | 10.4777 | 7.6163 | 2995.3511 | 2407 | 8
TX_Fort_Worth | 0.4 | 0.4 | 0.3 | 15.1288 | 11.2865 | 2364.2419 | 2407 | 7
CA_Red_Bluff | 0.4 | 0.4 | 0.3 | 19.858 | 14.6906 | 1744.9793 | 2500 | 9
CA_Fresno | 0.4 | 0.4 | 0.3 | 13.3652 | 9.8916 | 1795.9363 | 2556 | 9
TX_El_Paso | 0.4 | 0.4 | 0.3 | 10.1721 | 7.5604 | 1927.0442 | 2708 | 7
AL_Birmingham | 0.4 | 0.4 | 0.3 | 16.2096 | 12.1461 | 1522.308 | 2918 | 6
GA_Atlanta | 0.4 | 0.4 | 0.3 | 21.6702 | 16.1901 | 1278.4946 | 2991 | 5
CA_San_Francisco | 0.4 | 0.4 | 0.3 | 16.5587 | 12.2675 | 29.8412 | 3016 | 9
TN_Memphis | 0.4 | 0.4 | 0.3 | 23.1107 | 17.3228 | 2439.2418 | 3082 | 6
NC_Raleigh | 0.4 | 0.55 | 0.3 | 23.5805 | 17.675 | 1686.5715 | 3457 | 5
OK_Oklahoma_City | 0.4 | 0.4 | 0.3 | 30.97 | 23.2103 | 1673.7775 | 3659 | 7
TN_Nashville | 0.4 | 0.55 | 0.3 | 28.7151 | 21.5401 | 2271.4898 | 3729 | 6
DC_Washington | 0.4 | 0.55 | 0.3 | 38.7679 | 29.4519 | 1029.795 | 4047 | 5
NM_Albuquerque | 0.4 | 0.55 | 0.3 | 23.585 | 17.7093 | 1001.6878 | 4425 | 8
OR_Portland | 0.35 | 0.55 | 0.3 | 31.8655 | 23.9056 | 326.659 | 4522 | 9
OR_Medford | 0.35 | 0.55 | 0.3 | 30.1055 | 22.7296 | 797.4043 | 4611 | 9
WA_Seattle | 0.35 | 0.55 | 0.3 | 35.3203 | 26.4499 | 135.6232 | 4611 | 9
PA_Philadelphia | 0.35 | 0.55 | 0.3 | 40.7459 | 30.9359 | 914.1799 | 4954 | 2
NY_New_York | 0.35 | 0.55 | 0.3 | 42.7795 | 32.5538 | 810.5237 | 5027 | 2
MO_Kansas_City | 0.4 | 0.55 | 0.3 | 41.5268 | 31.6133 | 1534.7022 | 5393 | 4
NV_Reno | 0.35 | 0.55 | 0.3 | 31.3271 | 23.5179 | 581.3788 | 5674 | 8
OH_Dayton | 0.35 | 0.55 | 0.3 | 49.2969 | 37.5295 | 617.3932 | 5708 | 3
UT_Salt_Lake_Cit | 0.35 | 0.55 | 0.3 | 36.3583 | 28.0096 | 1003.0717 | 5765 | 8
ID_Boise | 0.35 | 0.55 | 0.3 | 41.3366 | 32.0282 | 755.4341 | 5861 | 8
PA_Pittsburgh | 0.35 | 0.55 | 0.3 | 48.3364 | 36.725 | 603.4346 | 5968 | 2
CO_Denver | 0.35 | 0.55 | 0.3 | 37.2505 | 28.3758 | 561.6579 | 6020 | 8
NE_Omaha | 0.35 | 0.55 | 0.3 | 50.7117 | 38.5443 | 1111.9476 | 6300 | 4
MA_Boston | 0.35 | 0.55 | 0.3 | 49.1721 | 37.0286 | 522.7904 | 6398 | 1
IL_Chicago | 0.35 | 0.55 | 0.3 | 53.812 | 40.826 | 726.3842 | 6536 | 3
NY_Buffalo | 0.35 | 0.55 | 0.3 | 59.5973 | 45.1936 | 442.416 | 6747 | 2
WY_Cheyenne | 0.35 | 0.55 | 0.3 | 55.6302 | 42.1674 | 212.4866 | 7326 | 8
ME_Portland | 0.35 | 0.55 | 0.3 | 55.9094 | 42.6379 | 293.6045 | 7378 | 1
WI_Madison | 0.35 | 0.55 | 0.3 | 60.4037 | 46.0364 | 535.2014 | 7673 | 3
MT_Great_Falls | 0.35 | 0.55 | 0.3 | 63.567 | 48.4705 | 389.4514 | 7741 | 8
VT_Burlington | 0.35 | 0.55 | 0.3 | 64.2615 | 49.0196 | 354.3872 | 7771 | 1
MI_Minneapolis | 0.35 | 0.55 | 0.3 | 68.6714 | 52.6351 | 619.7174 | 7981 | 3
ND_Bismarck | 0.35 | 0.55 | 0.3 | 71.0906 | 53.7871 | 501.1596 | 8968 | 4
AK_Anchorage | 0.35 | 0.55 | 0.3 | 86.0181 | 64.8312 | 9.8977 | 10570 | 9
[9 empty] | Savings |  |  |  | Zone | Gas Heat | Electric Heat | Cooling
[9 empty] | Average % Change in Zone |  |  |  | New England | 169.343 | 128.6861 | 1170.7821
[5 empty] | Zone | Gas Heat | Electric Heat | Cooling | Zone | Gas Heat | Electric Heat | Cooling | Middle Atlantic | 191.4591 | 145.4083 | 2770.5543
[5 empty] | <2,000 HDD | 58.3622 | 43.3078 | 26302.1259 | <2,000 HDD | 0.3084% | 0.5432% | 17.36% | East North Central | 232.184 | 177.027 | 2498.6962
[5 empty] | 2,000-3,499 HDD | 244.2473 | 181.7337 | 46300.0347 | 2,000-3,499 HDD | 11% | 11.25% | 18.22% | West North Central | 163.329 | 123.9447 | 3147.8094
[5 empty] | 3,500-5,999 | 795.2841 | 599.6435 | 60356.5895 | 3,500-5,999 | 13.47% | 13.3% | 13.25% | South Atlantic | 110.9561 | 83.4158 | 13401.3105
[5 empty] | 6,000-7,000 | 1045.8277 | 789.6118 | 63721.7857 | 6,000-7,000 | 10.26% | 10.01% | 11.77% | East South Central | 68.0354 | 51.009 | 6233.0396
[5 empty] | 7,000 + | 525.5518 | 399.5852 | 2915.9057 | 7,000 + | 10.52% | 10.17% | 15.04% | West South Central | 89.3526 | 66.7717 | 15602.1254
[13 empty] | Mountain | 304.3546 | 231.3587 | 11915.5864
[13 empty] | Pacific | 242.3657 | 181.5758 | 9897.7875
[5 empty] | Zone | Gas Heat | Electric Heat | Cooling |  |  |  |  | Per Unit
[5 empty] | <2,000 HDD | 58.3622 | 43.3078 | 26302.1259 |  |  |  |  | Consumption, MMBtus
[5 empty] | 2,000-3,499 HDD | 185.8851 | 138.426 | 19997.9088 |  |  |  |  | Zone | Heating |  | Cooling
[5 empty] | 3,500-5,999 | 551.0369 | 417.9097 | 14056.5548 |  |  |  |  | New England | 61.3482 |  | 4.2889
[5 empty] | 6,000-7,000 | 250.5436 | 189.9683 | 3365.1962 |  |  |  |  | Middle Atlantic | 52.0161 |  | 7.612
[5 empty] | 7,000 + | 525.5518 | 399.5852 | 2915.9057 |  |  |  |  | East North Central | 63.9583 |  | 6.8651
[13 empty] | West North Central | 59.9444 |  | 11.5313
[13 empty] | South Atlantic | 31.6296 |  | 24.5464
[13 empty] | East South Central | 38.7141 |  | 22.8334
[13 empty] | West South Central | 25.3631 |  | 28.5775
[13 empty] | Mountain | 38.2234 |  | 14.5501
[13 empty] | Pacific | 27.3173 |  | 10.8775

## Existing Building
From RECS (1997) | Energy Use (quads, source)
| Heating |  |  | Cooling
Climate Zone | Gas | Electric | Oil | Electric
<2,000 HDD | 0.219 | 0.165 | 0 | 0.548
2,000-3,499 HDD | 0.406 | 0.225 | 0.019 | 0.295
3,500-5,999 | 1.3 | 0.667 | 0.517 | 0.364
6,000-7,000 | 1.228 | 0.173 | 0.22 | 0.091
7,000 + | 0.617 | 0.0642 | 0.256 | 0.042
Total | 6.0762 |  |  | 1.34
Existing Buildings
National Savings, Quads | Sales |  | Current Energy * |  | IECC |  | Three Zone |  | Four Zone
Climate Zone | Heating | Cooling | Heating | Cooling | Heating | Cooling | Heating | Cooling | Heating | Cooling
<2,000 HDD | 0.053652 | -0.00026294 | -0.054592 | 0.092442 | -0.054592 | 0.092442 | 0.0015717 | 0.095119 | 0.0015717 | 0.095119
2,000-3,499 HDD | 0.090298 | 0.0086295 | 0.072271 | 0.036513 | 0.028678 | 0.054986 | 0.067541 | 0.056003 | 0.072061 | 0.053751
3,500-5,999 | 0.24559 | 0.024133 | 0.32112 | 0.044025 | 0.28438 | 0.043841 | 0.26194 | 0.078286 | 0.33353 | 0.048218
6,000-7,000 | 0.10899 | 0.010038 | 0.14217 | 0.010856 | 0.16588 | 0.01071 | 0.16588 | 0.01071 | 0.16588 | 0.01071
7,000 + | 0.067468 | 0.0058122 | 0.098401 | 0.0063153 | 0.098401 | 0.0063153 | 0.098401 | 0.0063153 | 0.098401 | 0.0063153
Total | 0.56599 | 0.04835 | 0.57936 | 0.19015 | 0.52275 | 0.20829 | 0.59533 | 0.24643 | 0.67145 | 0.21411
Total Quads Saved | 0.61434 |  | 0.76952 |  | 0.73104 |  | 0.84176 |  | 0.88556
Diff from IECC (Quads) | 0.043243 | -0.15994 | 0.056616 | -0.018142 |  |  | 0.072582 | 0.038139 | 0.1487 | 0.005819
Diff from IECC (Percentage) | -15.96% |  | 5.263% |  |  |  | 15.15% |  | 21.14%
Total Energy Savings | -0.1167 |  | 0.038474 |  |  |  | 0.11072 |  | 0.15452
Diff from Sales (Quads) |  |  | 0.013374 | 0.1418 | -0.043243 | 0.15994 | 0.029339 | 0.19808 | 0.10546 | 0.16576
Diff from Sales (Percentage) |  |  | 2.308% | 24.48% | -7.464% | 27.61% | 5.064% | 34.19% | 18.2% | 28.61%
Total Energy Savings |  |  | 0.15518 |  | 0.1167 |  | 0.22742 |  | 0.27122
Electric Conversion Factor, site to source: 3.22 (2001 BTS Coredatabook, Office of Building Technologies, State and Community Programs)

## New Construction
Typical Year, New Construction | Permits, Single Family
| 2000 (Thousands) | Census Region
New England | 38.7 | 1
MidAtlantic | 83.6 | 2
East North Central | 173.2 | 3
West North Central | 72.15 | 4
South Atlantic | 331.5 | 5
East South Central | 60.7 | 6
West South Central | 137.6 | 7
Mountain | 148.7 | 8
Pacific | 152 | 9
Total | 1198.15
New Construction (total energy use, trillion Btus)
National Consumption | Sales |  | Current Energy * |  | IECC |  | Three Zone |  | Four Zone
Climate Zone | Heating | Cooling | Heating | Cooling | Heating | Cooling | Heating | Cooling | Heating | Cooling
New England | 2.4734 | 0.15829 | 2.3742 | 0.16598 | 2.3742 | 0.16598 | 2.3742 | 0.16598 | 2.3742 | 0.16598
MidAtlantic | 4.6029 | 0.63141 | 4.4777 | 0.63412 | 4.4777 | 0.63412 | 4.6655 | 0.52355 | 4.3485 | 0.63636
East North Central | 11.7079 | 1.179 | 11.2828 | 1.1847 | 11.1766 | 1.1866 | 11.3092 | 1.1161 | 11.0776 | 1.189
West North Central | 4.5275 | 0.83114 | 4.3807 | 0.83199 | 4.325 | 0.83199 | 4.398 | 0.76719 | 4.325 | 0.83199
South Atlantic | 10.4389 | 9.9885 | 10.1924 | 8.4764 | 11.3167 | 7.9845 | 10.9566 | 7.8785 | 10.4852 | 8.1371
East South Central | 2.4586 | 1.6596 | 2.4603 | 1.446 | 2.5625 | 1.3857 | 2.4242 | 1.3284 | 2.3499 | 1.386
West South Central | 3.2092 | 4.8406 | 3.8452 | 4.019 | 3.6874 | 4.0063 | 3.49 | 3.9323 | 3.49 | 3.9323
Mountain | 6.2109 | 2.5744 | 5.724 | 2.2559 | 5.8513 | 2.2103 | 5.744 | 2.1303 | 5.6838 | 2.1636
Pacific | 4.166 | 1.9568 | 4.1151 | 1.7267 | 4.407 | 1.6511 | 4.1522 | 1.6534 | 4.1522 | 1.6534
Total | 49.7954 | 23.8199 | 48.8522 | 20.7408 | 50.1784 | 20.0565 | 49.5138 | 19.4956 | 48.2864 | 20.0957
Total Trillion Btus | 73.6153 |  | 69.593 |  | 70.2349 |  | 69.0095 |  | 68.3822
Diff from IECC (trillions) | 0.38297 | -3.7634 | 1.3262 | -0.6843 |  |  | 0.66454 | 0.56082 | 1.8919 | -0.039262
Total Energy Savings | -3.3804 | -4.813% | 0.64187 | 0.9139% |  |  | 1.2254 | 1.745% | 1.8527 | 2.638%
Diff from Sales (trillions) |  |  | 0.94321 | 3.0791 | -0.38297 | 3.7634 | 0.28157 | 4.3242 | 1.509 | 3.7241
Total Energy Savings |  |  | 4.0223 | 5.464% | 3.3804 | 4.592% | 4.6058 | 6.257% | 5.2331 | 7.109%
Electric Conversion Factor, site to source: 3.22 (2001 BTS Coredatabook, Office of Building Technologies, State and Community Programs)

## New + Existing
National Savings | Current Energy * |  | IECC |  | Three Zone |  | Four Zone
Relative to IECC | Heating | Cooling | Heating | Cooling | Heating | Cooling | Heating | Cooling
Total Trils Saved | 2.7416 | -1.1379 | 0 | 0 | 2.4791 | 1.5143 | 5.6095 | 0.10621
Total | 1.6037 |  | 0 |  | 3.9934 |  | 5.7157
National Savings | Current Energy * |  | IECC |  | Three Zone |  | Four Zone
Relative to Sales | Heating | Cooling | Heating | Cooling | Heating | Cooling | Heating | Cooling
Total Trils Saved | 1.2775 | 6.6241 | -1.464 | 7.762 | 1.0151 | 9.2763 | 4.1454 | 7.8682
Total | 7.9017 |  | 6.298 |  | 10.2914 |  | 12.0136
Notes:
Assumes average lifetime of 40 years for a typical window
Equally weights new and existing sales

## Cost Analysis
| Annual Energy Costs | [10 empty] | Reduction/Household
| Sales |  | Current |  | IECC |  | Three Zone |  | Four Zone |  |  | vs. Sales
City | Heat | Cool | Heat | Cool | Heat | Cool | Heat | Cool | Heat | Cool |  | Current | IECC | Three Zone | Four Zone
HI_Honolulu | 0.0099601 | 482.171 | 0.023334 | 407.9443 | 0.023334 | 407.9443 | 0.017527 | 409.0809 | 0.017527 | 409.0809 |  | -74.2133 | -74.2133 | -73.0826 | -73.0826
FL_Miami | 3.7549 | 525.5123 | 4.0573 | 416.0063 | 4.0573 | 416.0063 | 3.6003 | 416.0063 | 3.6003 | 416.0063 |  | -109.2036 | -109.2036 | -109.6606 | -109.6606
TX_Brownsville | 27.0932 | 436.5629 | 36.0775 | 368.0329 | 36.0775 | 368.0329 | 33.4284 | 366.9976 | 33.4284 | 366.9976 |  | -59.5456 | -59.5456 | -63.23 | -63.23
CA_San_Diego | 16.4362 | 47.5192 | 36.4452 | 30.8853 | 36.4452 | 30.8853 | 23.1608 | 33.1731 | 23.1608 | 33.1731 |  | 3.3751 | 3.3751 | -7.6215 | -7.6215
AZ_Phoenix | 32.3032 | 480.0699 | 48.3997 | 415.0911 | 48.3997 | 415.0911 | 33.448 | 396.9528 | 33.448 | 396.9528 |  | -48.8822 | -48.8822 | -81.9723 | -81.9723
FL_Jacksonville | 70.8631 | 306.3445 | 80.3228 | 230.6663 | 80.3228 | 230.6663 | 74.9823 | 230.6663 | 74.9823 | 230.6663 |  | -66.2184 | -66.2184 | -71.559 | -71.559
CA_Los_Angeles | 31.9063 | 21.7267 | 61.2093 | 10.95 | 61.2093 | 10.95 | 41.6737 | 12.4543 | 41.6737 | 12.4543 |  | 18.5263 | 18.5263 | 0.49494 | 0.49494
LA_Lake_Charles | 88.4565 | 281.8117 | 114.0905 | 228.3175 | 114.0905 | 228.3175 | 107.3348 | 228.3175 | 107.3348 | 228.3175 |  | -27.8602 | -27.8602 | -34.6159 | -34.6159
TX_San_Antonio | 74.6754 | 327.2134 | 98.2529 | 272.1657 | 98.2529 | 272.1657 | 92.0507 | 271.1402 | 92.0507 | 271.1402 |  | -31.4702 | -31.4702 | -38.6979 | -38.6979
SC_Charleston | 97.1221 | 219.3713 | 93.9243 | 208.9003 | 115.7418 | 183.7247 | 105.9707 | 184.4882 | 105.9707 | 184.4882 |  | -13.6689 | -17.027 | -26.0346 | -26.0346
NV_Las_Vegas | 62.4743 | 308.3984 | 134.0916 | 201.087 | 78.9287 | 253.9933 | 69.9092 | 249.608 | 69.9092 | 249.608 |  | -35.6941 | -37.9506 | -51.3554 | -51.3554
TX_Fort_Worth | 99.1013 | 245.744 | 56.5851 | 275.3589 | 111.6519 | 198.3587 | 101.7013 | 197.0166 | 101.7013 | 197.0166 |  | -12.9013 | -34.8346 | -46.1274 | -46.1274
CA_Red_Bluff | 127.2304 | 176.4963 | 121.4065 | 165.2331 | 145.6995 | 147.4804 | 133.167 | 145.4123 | 133.167 | 145.4123 |  | -17.0871 | -10.5467 | -25.1474 | -25.1474
CA_Fresno | 82.5625 | 181.1643 | 78.5998 | 169.9347 | 99.7308 | 151.4925 | 89.6378 | 149.6586 | 89.6378 | 149.6586 |  | -15.1923 | -12.5036 | -24.4305 | -24.4305
TX_El_Paso | 62.3929 | 207.5135 | 99.4309 | 164.2275 | 77.9147 | 161.785 | 68.3066 | 160.5841 | 68.3066 | 160.5841 |  | -6.2479 | -30.2067 | -41.0157 | -41.0157
AL_Birmingham | 108.8471 | 163.6584 | 144.5146 | 125.6563 | 120.0736 | 126.4582 | 109.1068 | 126.8567 | 109.1068 | 126.8567 |  | -2.3346 | -25.9738 | -36.5421 | -36.5421
GA_Atlanta | 137.1078 | 138.5251 | 131.2968 | 128.6896 | 159.6422 | 105.9128 | 145.7366 | 106.5393 | 145.7366 | 106.5393 |  | -15.6465 | -10.0778 | -23.3569 | -23.3569
CA_San_Francisco | 90.2901 | 4.024 | 87.9486 | 3.5446 | 125.6435 | 2.4384 | 111.0885 | 2.4867 | 111.0885 | 2.4867 |  | -2.8209 | 33.7678 | 19.2612 | 19.2612
TN_Memphis | 155.864 | 249.1833 | 141.6371 | 226.9506 | 168.9584 | 203.5461 | 155.5724 | 203.2664 | 155.5724 | 203.2664 |  | -36.4596 | -32.5427 | -46.2085 | -46.2085
NC_Raleigh | 165.3304 | 148.4455 | 158.7351 | 140.5451 | 188.7818 | 120.9805 | 173.7253 | 121.7755 | 158.7351 | 140.5451 |  | -14.4957 | -4.0136 | -18.2751 | -14.4957
OK_Oklahoma_City | 209.1444 | 178.1305 | 190.9412 | 158.539 | 207.8683 | 159.4988 | 208.4694 | 139.4789 | 208.4694 | 139.4789 |  | -37.7947 | -19.9077 | -39.3266 | -39.3266
TN_Nashville | 214.4729 | 209.1082 | 193.3428 | 189.2874 | 210.3616 | 189.2874 | 207.8145 | 167.701 | 193.3428 | 189.2874 |  | -40.951 | -23.9321 | -48.0656 | -40.951
DC_Washington | 294.4161 | 87.9064 | 282.2746 | 80.6832 | 282.2746 | 80.6832 | 302.3053 | 64.959 | 282.2746 | 80.6832 |  | -19.3646 | -19.3646 | -15.0583 | -19.3646
NM_Albuquerque | 188.7775 | 92.3228 | 171.3273 | 78.4811 | 171.3273 | 78.4811 | 194.7932 | 64.108 | 171.3273 | 78.4811 |  | -31.2919 | -31.2919 | -22.1991 | -31.2919
OR_Portland | 243.4671 | 24.7348 | 231.4377 | 25.5933 | 242.4168 | 25.2774 | 231.4377 | 25.5933 | 231.4377 | 25.5933 |  | -11.1708 | -0.50767 | -11.1708 | -11.1708
OR_Medford | 230.8756 | 61.6292 | 218.9313 | 62.4757 | 229.7712 | 62.5635 | 218.9313 | 62.4757 | 218.9313 | 62.4757 |  | -11.0978 | -0.17008 | -11.0978 | -11.0978
WA_Seattle | 269.8472 | 10.1732 | 256.439 | 10.6259 | 268.6818 | 10.4503 | 256.439 | 10.6259 | 256.439 | 10.6259 |  | -12.9554 | -0.88823 | -12.9554 | -12.9554
PA_Philadelphia | 314.8719 | 71.316 | 309.7289 | 71.4004 | 309.7289 | 71.4004 | 330.1348 | 57.7481 | 296.6409 | 71.6249 |  | -5.0585 | -5.0585 | 1.6951 | -17.9221
NY_New_York | 330.253 | 63.2265 | 324.9825 | 63.3023 | 324.9825 | 63.3023 | 346.095 | 50.8379 | 311.5872 | 63.5036 |  | -5.1948 | -5.1948 | 3.4534 | -18.3887
MO_Kansas_City | 307.6194 | 120.3179 | 302.4874 | 120.2421 | 302.4874 | 120.2421 | 322.5491 | 101.036 | 302.4874 | 120.2421 |  | -5.2077 | -5.2077 | -4.3522 | -5.2077
NV_Reno | 263.7025 | 55.2728 | 227.5587 | 45.5504 | 239.8116 | 45.3532 | 227.5587 | 45.5504 | 227.5587 | 45.5504 |  | -45.8662 | -33.8105 | -45.8662 | -45.8662
OH_Dayton | 380.1277 | 47.8105 | 374.1919 | 47.9637 | 374.1919 | 47.9637 | 394.4195 | 36.3621 | 359.0882 | 48.372 |  | -5.7826 | -5.7826 | 2.8434 | -20.478
UT_Salt_Lake_Cit | 291.7582 | 86.3235 | 265.4731 | 78.5895 | 278.8228 | 78.9233 | 265.4731 | 78.5895 | 265.4731 | 78.5895 |  | -34.0192 | -20.3357 | -34.0192 | -34.0192
ID_Boise | 330.9214 | 65.581 | 302.1738 | 59.1874 | 316.6806 | 59.2858 | 302.1738 | 59.1874 | 302.1738 | 59.1874 |  | -35.1413 | -20.536 | -35.1413 | -35.1413
PA_Pittsburgh | 372.6117 | 46.8135 | 366.7863 | 46.9404 | 366.7863 | 46.9404 | 385.4459 | 35.3378 | 351.9516 | 47.2784 |  | -5.6985 | -5.6985 | 1.3585 | -20.1953
CO_Denver | 268.4469 | 57.079 | 256.8587 | 50.9463 | 243.71 | 51.1784 | 243.71 | 51.1784 | 243.71 | 51.1784 |  | -17.7208 | -30.6374 | -30.6374 | -30.6374
NE_Omaha | 350.8871 | 101.321 | 345.4728 | 101.321 | 331.7037 | 101.321 | 331.7037 | 101.321 | 331.7037 | 101.321 |  | -5.4143 | -19.1834 | -19.1834 | -19.1834
MA_Boston | 335.1832 | 45.6944 | 321.328 | 47.6368 | 321.328 | 47.6368 | 321.328 | 47.6368 | 321.328 | 47.6368 |  | -11.9128 | -11.9128 | -11.9128 | -11.9128
IL_Chicago | 372.2247 | 65.6926 | 366.4939 | 65.828 | 351.9169 | 66.1883 | 351.9169 | 66.1883 | 351.9169 | 66.1883 |  | -5.5955 | -19.812 | -19.812 | -19.812
NY_Buffalo | 411.2097 | 39.5694 | 389.7322 | 40.3131 | 389.7322 | 40.3131 | 389.7322 | 40.3131 | 389.7322 | 40.3131 |  | -20.7338 | -20.7338 | -20.7338 | -20.7338
WY_Cheyenne | 372.497 | 18.9946 | 340.6055 | 16.3029 | 340.6055 | 16.3029 | 340.6055 | 16.3029 | 340.6055 | 16.3029 |  | -34.5832 | -34.5832 | -34.5832 | -34.5832
ME_Portland | 357.4724 | 21.2811 | 342.4384 | 22.5266 | 342.4384 | 22.5266 | 342.4384 | 22.5266 | 342.4384 | 22.5266 |  | -13.7885 | -13.7885 | -13.7885 | -13.7885
WI_Madison | 391.3058 | 40.8036 | 369.9517 | 41.0629 | 369.9517 | 41.0629 | 369.9517 | 41.0629 | 369.9517 | 41.0629 |  | -21.0948 | -21.0948 | -21.0948 | -21.0948
MT_Great_Falls | 424.0524 | 33.8479 | 389.3368 | 29.8804 | 389.3368 | 29.8804 | 389.3368 | 29.8804 | 389.3368 | 29.8804 |  | -38.6832 | -38.6832 | -38.6832 | -38.6832
VT_Burlington | 409.0368 | 25.9096 | 393.5999 | 27.1901 | 393.5999 | 27.1901 | 393.5999 | 27.1901 | 393.5999 | 27.1901 |  | -14.1565 | -14.1565 | -14.1565 | -14.1565
MI_Minneapolis | 443.784 | 47.1545 | 420.731 | 47.5473 | 420.731 | 47.5473 | 420.731 | 47.5473 | 420.731 | 47.5473 |  | -22.6602 | -22.6602 | -22.6602 | -22.6602
ND_Bismarck | 459.8492 | 38.1309 | 435.2167 | 38.4511 | 435.2167 | 38.4511 | 435.2167 | 38.4511 | 435.2167 | 38.4511 |  | -24.3123 | -24.3123 | -24.3123 | -24.3123
AK_Anchorage | 545.1722 | 0.68008 | 526.4833 | 0.7594 | 526.4833 | 0.7594 | 526.4833 | 0.7594 | 526.4833 | 0.7594 |  | -18.6096 | -18.6096 | -18.6096 | -18.6096
[11 empty] | Average | -23.4146 | -22.1928 | -28.3176 | -30.1863
From RECS (1997) | Energy Cost $/MMBtus
| Heating | Cooling
Climate Zone
<2,000 HDD | 7.9267 | 8.1811
2,000-3,499 HDD | 7.389 | 7.5826
3,500-5,999 | 7.7412 | 7.1292
6,000-7,000 | 6.7533 | 8.2913
7,000 + | 6.2384 | 6.9814