ENERGY STAR Criteria for Compact Fluorescent Lamps (CFLs) Meeting Overview and Notes

U.S. Department of Energy Headquarters
April 29, 2003 ~ Washington, D.C.

ENERGY STAR Introduction and Program Overview

Richard Karney, U.S. Department of Energy’s (DOE) ENERGY STAR Program Manager, gave initial introductions and explained the purpose and goals of the meeting.  DOE’s goal for this revision of the ENERGY STAR CFL Criteria is to “raise the bar” of the program and maintain the quality and integrity of the ENERGY STAR label, since the ENERGY STAR CFL Program and the number of ENERGY STAR qualified products have grown since the last criteria revision in Fall 2001.  In addition, DOE is not impressed with the results of the Program for the Evaluation and Analysis of Residential Lighting’s (PEARL) fourth cycle test results and those products not meeting the ENERGY STAR criteria will be removed from the qualified product list.

Review of the 2nd Draft of the Revised ENERGY STAR Criteria for CFLs

Ron Lewis took the floor and explained the purpose of this part of the meeting was to review the 2nd draft of the criteria as well as collect additional comments and suggestions.  Ron emphasized that the 2nd draft includes comments that have been received thus far and is by no means a final document.

## Page 1, Partner Commitment Overview

### Bullet 6: Quarterly update list of ENERGY STAR qualifying CFL models

Ron Lewis, DOE: Purpose is to ensure accuracy of product list, regardless if any new models are being added or changes to packaging is made.

Industry Comments:

Matt Donati, Philips Lighting: Reporting products bi-annually seems repetitive.  Product information should be complete when the product test reports and packaging is submitted.  This increases work to submit a separate list of product numbers.

Susan Gardner, D&R International:  The main objective is to be sure all records are fresh and accounted for, even if the product packaging changes.

Matt Donati, Philips Lighting: Philips contacts ENERGY STAR if the packaging changes, so this is redundant.

Noah Horowitz, NRDC:  Up-to-date information is important as it wastes time if de-listed products or removed products are tested by PEARL.

Gary Crawford, GE Consumer Products: Supports bi-annual submission, rather than quarterly because providing the list becomes repetitive and burdensome.

Chris Granda, VEIC: Sees list as a very helpful tool for utility programs.  Supports quarterly submittal or review of qualified products.

Mark Sharp, Panasonic: This requirement ensures and prevents errors.  List is an accurate reflection of qualified products.  Supports quarterly submittal or review of qualified products.

Bullet 9: Shipment/Product Sales Data

Ron Lewis, DOE: Having this information helps to prove success of the program.  ENERGY STAR is a federal program that uses taxpayer money and ENERGY STAR needs to supply information showing the success of the program, both on regional and national levels.  Emphasized that this requirement is a part of the current ENERGY STAR partnership agreement.  Once the partnership agreement is signed, partners make the acknowledgement that they understand and agree to provide this information.  DOE is not interested in individual numbers, but the aggregate number information to provide a solid basis to showcase the market share of ENERGY STAR products. In addition, DOE ensures the highest confidentiality on the submitted shipment and/or sales data.

Industry Comments:

Aaron Feit, Feit Electric: No shipment or sales data has been given out to date. Lacks confidence the submitted data would not be released into the wrong hands. Suggested that ENERGY STAR should investigate other avenues to obtain shipment and/or sales data information.

Glenn Reed, NEEP: Supports shipment and/or sales data submission requirement because information is critical to ENERGY STAR utility lighting programs.  Need sales data to show success and impact of ENERGY STAR, especially in the Northeast.  Suggested to have a ‘third party’ hold of the confidential shipment and/or sales data, as the ENERGY STAR Appliance Program does. In addition, requested to have shipment and/or sales data collected on a state-by-state basis.

Collin Cremo, Costco: Supports data requirement. Has shared past, present, and future sales data with ENERGY STAR and utilities. Sees no problem with releasing shipment and/or sales data as long as the specific organization names are not associated with aggregated data.

Lee Bodner, D&R International: Explained how the ENERGY STAR Appliance program works – D&R International acts as the ‘third-party’ and signs a confidentiality agreement with the participating ENERGY STAR partner that is supplying the appliance market data. Data is released in aggregate form only.

Rebecca Foster, CEE: Collection of sales data and market indicators is extremely important to utility programs since they need to show the movement of the market to the regulatory organizations. Currently, many utilities use their own funding to purchase or collect the shipment/sales data in their service territories. If a national process is developed, it would save funding so the utilities could put it towards more rebates, consumer education, training, etc.

Gary Crawford, GE Consumer Products: In response to Glenn Reed’s comment about state-to-state data, obtaining product shipment data is difficult on the state level, since shipments are sent to one location and then distributed to a multitude of locations.

Noah Horowitz, NRDC:  Supports the collection of product shipment and/or sales data and suggests developing a data collection template so consistent information will be submitted.

Ron Lewis, DOE: Intent of requirement is not to burden partners, it is to help maintain the integrity of the program and build a system to generate a market view of how ENERGY STAR CFLs compare to other residential lighting products.

Aaron Feit, Feit Electric: When collecting shipment and/or sales data, cautioned ENERGY STAR that retailers and manufacturers could submit duplicate product information and should build in check system to avoid duplicate collection.

Tasso Kostelidis, Conglom: Asked how specific should the data be.  Should the information be collected by product category or type?

Ron Lewis, DOE: Stated that DOE has general guidelines on what information the program is looking for – product type/design, total number of product shipped, and percent of total unit shipments that qualify as ENERGY STAR.  DOE has not finalized these parameters and stressed that this requirement is not trying to add on more work for partners’ efforts to collect and submit shipment data (ENERGY STAR is aware that most manufacturers are submitting their shipment data to NEMA).

Peter Bleasby, NEMA:  Can provide direction and assistance in development of a shipment and/or sales data-reporting template.

Glenn Reed, NEEP: Suggested that D&R International develops a reporting template and circulate to partners.

# Page 3, Program Requirements

Ron Lewis, DOE: Noted the criteria change within 1) Scope section:

- Removed “single-based” and replaced with medium based.

Industry Comments:

Rebecca Foster, CEE: Suggested that candelabra-based models be included in the criteria.

Aaron Feit, Feit Electric: Supports idea of adding candelabra-based models, but cautions that DOE needs to carefully examine the lumens per watt criteria for candelabra-based models.  Lumens Per Watt should be different than the current levels for the medium-based ENERGY STAR qualified CFLs.

Greg Murphy, MaxLite: Agrees that candelabra-based models are included, but new requirements should not be developed for this base-type. Candelabra-based CFLs should be able to meet the current efficacy requirements.

Paul Rorer, Westinghouse: Agrees that candelabra-based models be included.

Collin Cremo, Costco: Agrees that candelabra-based models be included and they should have dimming capabilities since most are used in chandeliers.

Page 3-4, Definitions:

Ron Lewis, DOE:  Asked for suggestions on how to simply or enhance the definitions, especially for color appearance.

#### Page 4, Reference Standards

Ron Lewis, DOE:  Asked for assistance from industry to review identified reference standards to make sure we have the most current versions.

Industry Comments:

Ed Yandek, NEMA:  Provided information on ANSI/IEE C62.41 - 1999 standard has been updated.

# Page 5, Photometric Performance Requirements

### Efficacy and CRI for Niche Application CFLs

Ron Lewis, DOE: Pointed out that efficacy levels have not changed from the original criteria because this revision of the criteria is targeted to solidify the criteria, rather than raising the bar too. In addition, the CRI for Colored CFLs requirement was removed since the comments that were received during the 1st comment period did not support the inclusion of these models.

Industry Comments:

Paul Rorer, Westinghouse: It is worth discussing including colored CFLs in the criteria further, especially for bug lights. However, a different set of criteria (efficacy, CCT, CRI, lumen maintenance) will be needed if colored lamps are to be incorporated.

Ed Yandek, GE Lighting: Agrees with Paul – if colored CFLs are to be included in the criteria, all of the test requirements need to be reviewed to see if the criteria levels need to be adjusted.

Collin Cremo, Costco: Supports the idea of including special requirements for colored CFLs, but feels the program needs to prioritize and decide if it is worth spending time researching these special products, since they are a small percentage of the overall CFL market.

#### Sample Size

Ron Lewis, DOE: The focus of the ENERGY STAR Criteria for CFLs is directed at increasing the quality of the products that are qualified as ENERGY STAR.  The sample size for ENERGY STAR qualification testing is suggested to increase from 5 to 10 - 5 tested in the base-down position and 5 tested in the base-up position, unless the manufacturer calls out the product is restricted to a specific position, then the product should be tested in that position only.

Industry Comments:

Ed Yandek, GE Lighting: Is unsure of the rationale on this suggested change. The Federal Trade Commission (FTC) requires no more than a 5% difference in lumen output/efficacy and the lesser of the base-up and base-down is the efficacy of the product. If the sample size changes to 10, would need to make sure the base-up and base-down data is recorded separately. In addition, would changing the sample size to 10 cause additional burdens and costs to the manufacturers?

Ron Lewis, DOE: ENERGY STAR needs to gain a better picture of the qualified products and requiring samples to be tested in both base-up and base-down positions will help to verify all position orientations provide results that are above the ENERGY STAR requirement.

Noah Horowitz, NRDC: PEARL will only test 5 CFL samples, so will need to coordinate with ENERGY STAR on which position PEARL should test in (base-up or base-down).

Aaron Feit, Feit Electric: If the sample size doubles, does the number of acceptable failures increase too?

Rebecca Foster, CEE: Supplying 10 samples for testing should not be a burden to manufacturing partners.

Correlated Color Temperature (CCT)

Ron Lewis, DOE: The CCT requirement has been revised to suggest requiring specific CCT levels for qualified CFLs, as they do in the commercial lighting market. This suggestion was incorporated into the criteria to provide a more stringent requirement to address the color issues with CFLs.

Industry Comments:

Dale Work, NEMA:  Why would you suggest this detailed of a requirement?

Aaron Feit, Feit Electric: This requirement does not allow for a measurement tolerance.  The proposed revision does not allow for lamps to fall between or outside a temperature range.  Based upon our experience, lamps very rarely average or measure EXACTLY 2700K, 2850K, 3000K, 4100K or 6500K. As a matter of fact, I think this will be impossible for any manufacturer. In addition, there are lamps that are made specifically at 2650K or 2750K or 3100K etc. Based upon this proposed requirement, a "warmer" lamp of 2650K would not be able to meet the requirement. Lamps should be allowed to fall outside the specific color temperatures as long as the packaging clearly states the temperature (in Kelvin) and the corresponding color.

Ed Yandek, GE Lighting: Agrees with Feit – most lighting manufacturers, when labeling a product as 2700K, usually have a tolerance range between 150-200 K. Would like to see a clearer indication as to what DOE is trying to accomplish for the CCT requirement. If objective is to tighten up the control of color matching of different CFLs (as the commercial lighting products have done), it will come at a very high cost.

Asked if the CFL criteria would adopt an acceptable tolerance range like the ENERGY STAR qualified light fixtures criteria?

Suggested the criteria should provide a range of color for manufacturers to meet, using the ANSI standards (look at the x and y axis measurements).

Gary Crawford, GE Consumer Products: Does Kelvin temperature matter to a consumer?  If so, then this will require a lot of consumer education.

Chris Granda, VEIC:  Need to think about the customer perspective and expectations – suggests setting ranges of CCT levels to help group the same color CFLs together.

Collin Cremo, Costco:  Has experience with customers returning CFLs because the color and/or light output does not match what is currently in their home, which demonstrates that customer perception is extremely important. Also supports adding the inclusion of the specific CCT and CRI on the product packaging as an ENERGY STAR qualification requirement.

Dave Shiller, EPA/Rebecca Foster, CEE: Contend that Kelvin temperature and accuracy of information that is on the package help ensure the integrity of ENERGY STAR qualified products and meeting customer expectations.

Peter Bleasby, Osram Sylvania: Quality of light will be an issue – incandescent lamps follow the black-body loci and CFLs cannot follow the black-body loci.

Ron Lewis, DOE: DOE is aware that CCT is a complex issue. The main objective of this suggested revision was to solicit ideas on how to decrease the dissatisfaction of customer experience. Some of the alternatives that have been discussed are to use temperature ranges or provide a list of those acceptable definitive temperatures.  Tolerance will not be an issue until CCT is more clearly defined and further discussion and research will be required before a final decision can be made.

Ed Yandek, NEMA: Suggested that DOE consider a three-category approach by providing temperature ranges attached to the mainstream fluorescent terminology: warm white – 2650-2800K, soft white – 2700-3000K, and cool white – 3100-4100K.

Tom Cohen, Greenlite:  Consumers will not change out a halogen for a 2700K CFL model. Also need to be aware of different ethic communities and their perceptions – for example, in Miami, you cannot sell a 2700K CFL because the Hispanic community does not like the warm light, they prefer CFLs in the higher CCT ranges (4100-6000K).

Aaron Feit, Feit Electric: Just need to ensure that the correct Kelvin temperatures match the specified temperature ranges.

Noah Horowitz, NRDC: How can we make sure the color of CFLs will be consistent over the same product? For example, if a consumer purchases a 4-pack of CFLs, they should all have the same light and color output.

Ed Yandek, GE Lighting: Associating temperatures to a color range is difficult because it is subjective and to address the consistent color issue across the same product, there is a high probability that the color output would be similar in a multi-pack since the products were produced during the same production run. The issue comes into play when you have two products that were manufactured at different times or at different manufacturing facilities.

Ron Lewis, DOE:  Suggested to make an acceptable suggestion on behalf of the manufacturers for a color criteria change.

# Dimmable CFLs Testing

Rebecca Foster, CEE: Suggested incorporation of a testing protocol requirement for dimmable CFLs. The requirement would require the test to dim the CFL down to 30% light output then back up to 100%.

Glenn Reed, NEEP:  Supported incorporating a 100%-30% dimming/lumen maintenance requirement into the test procedure. Need to look at performance issues, especially at lowest wattage rating. Experience has shown some CFL products become unstable on low wattages.

# Page 6, Electrical Performance Requirements

#### Power Factor

Terry Pang, PG&E:  The CA utilities are in support of higher power factors for ENERGY STAR qualified CFLs.

#### Run-Up Time

#### Industry Comments:

Noah Horowitz, NRDC: Would like to reduce to requirement to 1 minute, but is concerned that other characteristics may be sacrificed.

Greg Murphy, MaxLite: Changing the requirement to 1 minute would remove many amalgam CFLs from the market. Even though they need additional time for run-up, they provide many benefits – amalgam CFLs can be used in recessed cans, outdoor, and others since their design can handle a wide range of low to high temperatures. Different types of climate environments will effect the run-up time.  By reducing the run-up time, it could limit where CFLs can be marketed.  Suggests manufacturers should label their products that contain amalgam.

Collin Cremo, Costco: Believes a 3-minute requirement is too long – it should be decreased. Has seen some PAR38 reflectors that are still using mercury in their bulb design with run-up times less than 1 minute.

Matt Donati, Philips: 3 minutes allows for more flexibility in different environments.

Aaron Feit, Feit Electric: The amalgam technology is available and can generate less than 1-minute run-up time. Asked what the average run-up time among all the ENERGY STAR qualified models is?  If a majority of them are under 3 minutes, suggested taking the average and base the requirement on that.

Ed Yandek, GE Lighting: Questioned what is a reasonable run-up time, and asked ENERGY STAR to query product information to determine a reasonable time.  And agreed the environmental conditions where CFLs could be used varies and a faster start-up time could decrease the market.

#### Transient Protection

#### Industry Comments:

Dale Work, Philips Lighting:  NVLAP labs could use different requirements for test since NVLAP does not certify for transient protection.

Jacki Swiernik, ITS: Historically, this test does not see many failures - not a difficult test to pass.

Ed Yandek, GE Lighting:  ANSI C62.41 – 1999 is under review.

Ron Lewis, DOE: If revisited, this test could remain as Self-Certification versus requiring a NVLAP laboratory to perform the test.

#### Compatibility with Controls

Industry Comments:

Conan O’Rourke, LRC/RPI: Suggested non-compatibility sounds negative and the labeling should clearly state what the CFL product can be use with or is compatible with.

Ed Yandek, GE Lighting: UL requires negative statements on packaging to prevent product failures.  If products are compatible with certain applications, like dimmers or 3-way fixtures, it will be highlighted clearly on the packaging.

# Page 7, Lifetime Performance Requirements

#### Warranty

Ron Lewis, DOE: Considering a two-year warranty requirement to provide additional quality assurance for ENERGY STAR products, since they are ‘above and beyond’ standard products. Also, wanted to create some consistencies between the ENERGY STAR qualified fixtures program and the CFL program. Currently ENERGY STAR qualified light fixtures require a 2-year warranty.

Industry Comments:

Aaron Feit, Feit Electric: Stated a 2-year warranty will outlast a 6,000-hour ENERGY STAR qualified CFL if left turned on 24 hours a day. A 6,000-hour model will run out in 8-10 months.

Ed Yandek, GE Lighting: Suggested that the term ‘limited’ be added to the warranty language to follow the FTC labeling guidelines.

Chris Granda, VEIC: In response to the Feit Electric comment, consumers need to be aware that most guarantee and/or warranty statements are based on average 3-4 hour daily use, which equates to the product lasting 6 years.  A model that is constantly ‘on’ could potentially last longer because you are not switching it off/on (which affects life of bulb).

Greg Murphy, MaxLite: Stated that the warranty issue could potentially have adverse effects on manufacturer’s relationships with the commercial sector, especially hotels, since they will want to hold the manufacturer liable to their warranty claim.

Richard Karney, DOE: The packaging should specifically mention 3-4 hour average residential use to prevent this.

Aaron Feit, Feit Electric: Supports the MaxLite statement and pointed out the uniform daily use of product is not currently part of the warranty requirement.

Susan Gardner, D&R International: Suggested to add the 3-4 hours/day claim to the warranty requirement to provide clear guidance for consumers and also pointed out the majority of manufacturers already use this use claim on their existing packaging.

Tom Cohen, Greenlite: Supports 2-year warranty requirement – believes it will help drive the ENERGY STAR CFL market.

Mark Sharp, Panasonic:  Two-year warranty requirement does not fit well with the commercial market.  Suggests adding in a commercial use warranty to clarify what manufacturers are responsible for based on the application and use.

Greg Murphy, MaxLite: Suggests offering different warranty levels for the different rated lifetimes – the 2-year warranty could apply to the higher rated (8,000- 12,000 hours) and a 1-year warranty would cover the 6,000-hour models.

Matt Donati, Philips Lighting:  Need to incorporate a standard disclaimer for how long a CFL will last, based on its rated lifetime. Suggests using 6,000 hour = 5 years; 8,000 hours = 7 years; 10,000 hours = 7 years.

Noah Horowitz, NRDC: Suggests keeping the market standardized by stating the CFL last “X” years if used “X” hours per day.

Glenn Reed, NEEP: Supports 2-year warranty, but favors longer warranty based on longer life of the model.  Package also needs to clearly state average usage for residential application.  Offered a suggestion of also placing an 800-phone number on model itself, because consumers typically do not save packages.

Paul Rorer, Westinghouse: Pointed out that as the CFL bulbs are designed smaller and smaller, there will not be room to provide additional information on the base.

Greg Murphy, MaxLite: Believes if a consumer has a complaint, they will find a way to contact the manufacturer by using the Internet, catalogs, etc.

CFL/Incandescent Equivalency:

Ron Lewis, DOE: In an effort to standardize the incandescent to CFL equivalency numbers used on packaging, DOE is suggesting to require using the existing equivalency chart (based on lumen output) in the criteria (on page 9) if a manufacturer will be making an incandescent to CFL equivalency statement. If the manufacturer chooses not to make this type of claim, then this would not be a requirement for qualification.

Industry Comments:

Collin Cremo, Costco: Stated that this information needs to be provided and emphasized and that guideline standards are needed to help provide consistent messaging.

Gary Crawford, GE Lighting: Asked DOE to clarify what ENERGY STAR expects the rated lumen output to be on the packaging.  Example, does DOE want 840 lumens if a model meets 840, or is 800 okay?

Aaron Feit, Feit Electric: Informed DOE that chart on ENERGY STAR web site is not consistent with chart in criteria.  Web chart is being used my utilities for rebate programs which contradicts what ENERGY STAR is trying to achieve.

Tasso Kostelidis, Conglom:  Asked if there were any considerations to adding the other design types (reflectors, globes) to the chart.  Tasso feels that DOE needs to identify more clearly their lumen performance and create different criteria for these models.

Ron Lewis, DOE: Suggested the possibility of creating separate charts for lumen maintenance based for reflectors and globes/decorative CFLs.

#### Rapid Cycle Stress Test

Ron Lewis, DOE: This test was removed in the first draft of the revision, but based on the overwhelming support received during the first round of comment; DOE has added this requirement back into the criteria.

Industry Comments:

Rebecca Foster, CEE: Strongly supports keeping this test requirement as part of the overall criteria.

Interim Life Test

Ron Lewis, DOE: With much of the emphasis targeted at increasing the quality of the CFL products, DOE is suggesting to decrease the amount of sample failures from 3 to 2.

Industry Comments:

Chris Granda, VEIC: Supports the suggested revision – providing partners a 20% failure rate for ENERGY STAR qualification is not sufficient (existing criteria allows 2 failures).

Ed Yandek, GE Lighting: Does not support suggested change because you must incorporate some room for non-characteristic product failures, such as product being dropped, damaged, etc. and should be excused if there is a clear explanation.

Rebecca Foster, CEE: Suggests requiring a product “autopsy” if there is one failure to check on why it failed.  If there are two failures, it is sufficient for removal of its qualified product status.

Tasso Kostelidis, Conglom: As long as a manufacturer is clear in their life rating, the 40% interim tests should indicate the quality of model.

Ron Lewis, DOE:  Suggested to add in the further information to clarify what specific information manufacturers would need to supply DOE on early failures.

Page 8, Qualification:

Ron Lewis, DOE: Based on strong feedback on the first criteria revision, DOE has changed the suggested submission process from only full qualification to submission of test results at 40% of rated life and then the final average rated life.

Industry Comments:

Aaron Feit, Feit Electric: Prefers the current criteria process because by eliminating Early Labeling option, DOE would be preventing new products from reaching the market quickly, which would be a disservice to partners.

Chris Granda, VEIC: Asked what motivated DOE from going from a 3-step qualification process to 2.

Rich Karney, DOE: PEARL test results and partner reports demonstrate that many CFL products, which meet the initial qualification step, fail either the lumen maintenance or interim life time tests, and in turn, creates many issues which can potentially damage the credibility of ENERGY STAR.  The suggestion of Full Qualification submission assures that the CFL product has met ALL of the requirements. But, after reviewing all of the partner and stakeholder comments, DOE realized this option would not be advantageous to partners or the program.  DOE wanted to compromise and is offering submission at 40% of rated life so that the time requirement to get qualified products out to market is decreased significantly and should aid in keeping poor products from achieving ENERGY STAR qualification status.  DOE believes the program is tarnished when products are on the shelves and then removed due to performance issues.  It not only questions the integrity of the label, but also manufacturers’ reputation.

Chris Granda, VEIC: Supports the suggested change mainly because utilities put a great deal of money into marketing and supporting the ENERGY STAR program.

Peter Bleasby, Osram Sylvania:  Asked if keeping the 1,000-hour lumen maintenance requirement is redundant since all partners would have to submit the 40% lumen maintenance to achieve ENERGY STAR qualification. What is the rationale for keeping both test requirements?

Susan Gardner, D&R International:  Keeping both 1,000-hour and 40% lumen maintenance test requirements is key to assure that all ENERGY STAR qualified CFLs do meet 90% light output at 1,000-hours and 80% at 40% of rated life. We have seen examples where a product meets one but not the other. Keeping both tests adds another quality assurance dimension to the criteria.

Ron Lewis, DOE: Suggested adding specific language to the criteria to state there is a 20-30 day window for the submission of test results.

#### Page 9, Private Labeling

Ron Lewis, DOE: Privately labeled products for residential markets must display the rated product information on the packaging as well as the ENERGY STAR designation. Commercial bulk packaging would be treated differently and may not require all product information.

Industry Comments:

Noah Horowitz, NRDC: Stated that with many manufacturers private labeling products from each other, asked if there was a system in place to share this information with PEARL to help aid in product selection for 3rd party testing – so the same products are not tested at the same time.

Aaron Feit, Feit Electric: Paragraph 8 should be changed to say that equivalency is not necessary for the packaging, but if included, it must be the information provided in the criteria’s incandescent/CFL equivalency graph.

# Commercial packaging of products

Ron Lewis, DOE: Since the ENERGY STAR criteria for CFLs is directed towards the residential market, the criteria requires packaging information that is directed at consumers, but for commercial customers, they may not be interested in this or it is not cost-effective to ship products in individual packaging. To help aid in providing product to commercial customers, DOE has suggested requiring the shipping box to contain all the ENERGY STAR labeling requirements.

Industry Comments:

Aaron Feit, Feit Electric: The warranty for commercial products must be clarified.

# Quality Assurance/Retirement and/or Unqualification/Discontinuation of CFL Products

Industry Comments:

Matt Donati, Philips Lighting: In the criteria, it calls out for full qualification for retesting. But there is no clarification to stop a manufacturer from reintroducing the same product but at a different wattage or lifetime.

Rebecca Foster, CEE: Commented that the removal of the six-month waiting time is the wrong direction, should add that delay back in for products that are removed from the qualification product list.

Ron Lewis, DOE: DOE wants strict criteria, so that is why it has incorporated the full qualification requirement for re-listing a product.  Manufacturers should be reminded that multiple de-listings could jeopardize the Partnership Agreement.

Gary Crawford, GE Lighting: If model is unqualified, what about stock inventory with the ENERGY STAR logo on it?  What are DOE’s expectations as to what should happen with those products?

Ron Lewis, DOE: Stated that there was no way for DOE to control inventory, or determine how long inventory is in market.  The objective is to show what models meet do and do not meet ENERGY STAR.  DOE offers window of opportunity to allow partners to remove product from shelves or cover up the ENERGY STAR logo.  The responsibility lies with the partners.

Collin Cremo, Costco: If the retailers are stuck with inventory that is not ENERGY STAR qualified, they will not eat the cost of those products.

Aaron Feit, Feit Electric: Suggested a procedure to handle products that lose their ENERGY STAR qualification status.  Manufacturers would place a “stop shipment” on the specific product immediately so it cuts off that product entering into the retail market further. With this suggestion, you would need to build in a window of time for the retailer to exhaust their current supply.

Collin Cremo, Costco: It could take 6-8 months for product to cycle through certain retail stores (smaller local stores).

Ron Lewis, DOE: The manufacturer and retailer should determine a solution should evaluate each situation that arises.

Greg Murphy, MaxLite: On the subject of de-listing, suggested when a model is identified as unqualified, it should automatically come off the product list. Strongly supports the introduction of additional terms to designate when a partner voluntary de-lists a product or when they retire a product – these items could be marked in blue text and state ‘no longer being manufactured’ or ‘retired’.

Ed Yandek, GE Lighting: DOE needs to look at and determine how long a model stays designated as unqualified on the web site (in red text).  The system should remove unqualified products after a specified period of time.

Ron Lewis, DOE: DOE is looking for ways or further suggestions on better alternatives to present the specifics of the qualified product list (i.e. – qualified, unqualified, retired, etc.).

Noah Horowitz, NRDC:  PEARL has encountered many times where we test a model, it fails part of the testing, PEARL contacts the manufacturer, and finds out that the product is an older version and they have improved the current product that is out in distribution. Would like to have a requirement that the manufacturer is required to notify ENERGY STAR of any and all product changes, especially when a product is improved. Perhaps manufacturers should be required to submit new and improved products under a new model number.

Rich Karney, DOE: Manufacturers should not be using the same model number.  Manufacturers are required to notify ENERGY STAR each time a model is changed or upgraded.

Collin Cremo, Costco: If product is not up to standard, it should be out of the marketplace ASAP, and echoed the model number and associated SKU should no longer be used in the marketplace.

Demetrios Karambelas, Westinghouse Lighting: Westinghouse maintains production lot numbers for their products and most manufacturers do as well. This helps to verify random failures, product quality, etc. and differentiate batches of products being manufactured. Manufacturers could be required to provide this specific information to clarify any issues and assist in making a better determination on this specific problem.

Glenn Reed, NEEP:  Does not want partners to be stuck with non-qualified products. If a product is de-listed, there should be clear steps that address the products that are in the distribution and/or retail pipeline. This is especially important for the national retail stores, such as the hardware channel, where they have thousands of stores in many localities.

Rebecca Foster, CEE: Stressed that handling a delisting on a case-by-case basis is not in the best interest of ENERGY STAR.  Needs to develop specifics for partners to follow a set of guidelines when removing or delisting a product.

Effective Date:

Ron Lewis, DOE:  Revision suggests the following timeline to direct the final steps in the criteria revision process, with the effective date of the final version to go into effect on October 1, 2003.

# Criteria Revision Timeline:

2nd comments due – May 16, 2003

DOE reviews comments – May 31, 2003

3rd and final draft submitted to industry for comment – June 2, 2003

New Criteria – October 1, 2003

Comments:

Based on the group’s comments, most revolving around scheduling more time for the 2nd round of comments because of LightFair, the proposed schedule was revised to the following:

Criteria Revision Timeline:

2nd comments due – May 31, 2003

DOE reviews comments – June 2, 2003

3rd and final draft submitted to industry for comment – July 1, 2003

New Criteria – November 1, 2003