## Combined-AZ
COMPARISON OF DATABASES -- ARIZONA
CEC-Arizona | [5 empty] | WECC-Arizona | [5 empty] | SSG-WI -- Arizona
Unit Name | Unit No | Unit Type | Fuel | Unit Max Rating | Plant Subtotal MW | Plant Name | Gen Code | Unit Type | Fuel | NP Capacity | Plant Subtotal MW | Thermal Name | SSGWI Plant # | Fuel | Max MW Normal | Plant Subtotal MW
[6 empty] | Abitibi Consolidated Snowflake | GEN1 | ST | Coal | 27.2
[6 empty] | Abitibi Consolidated Snowflake | GEN2 | ST | Coal | 43.3 | 70.5 |  |  |  |  | 0
Agua Fria | 1 | ST | NG | 113 |  | Agua Fria | AF1 | ST | NG | 113.6 |  | AguaFri1 | 11 | Gas | 226
Agua Fria | 2 | ST | NG | 113 |  | Agua Fria | AF2 | ST | NG | 113.6 |  | AguaFri3 | 10 | Gas | 181
Agua Fria | 3 | ST | NG | 181 |  | Agua Fria | AF3 | ST | NG | 163.2 |  | AguaFri4 | 12 | Gas | 212
Agua Fria GT | 4 | GT | NG | 73 |  | Agua Fria | AF4 | GT | NG | 80.5
Agua Fria GT | 5 | GT | NG | 73 |  | Agua Fria | AF5 | GT | NG | 71.2
Agua Fria GT | 6 | GT | NG | 70 | 623 | Agua Fria | AF6 | GT | NG | 71.2 | 613.3 |  |  |  |  | 619
Apache CC | 1 | CC | NG | 81 |  | Apache Station | GT1 | CT | NG | 10 |  | ApchCC1A | 21 | FO6 | 71
[12 empty] | ApchCC1B | 22 | Gas | 10
Apache GT | 2 | GT | FO#2 | 20 |  | Apache Station | GT2 | GT | Petro | 19.8 |  | ApchGT2 | 20 | FO2 | 89
Apache GT | 3 | GT | FO#2 | 69 |  | Apache Station | GT3 | GT | Petro | 64.8
Apache GT | 4 | GT New | NG | 38 |  | Apache Station | GT4 | GT | NG | 41 |  | ApchGT4 | 23 | Gas | 40
[6 empty] | Apache Station | ST1 | CA | Petro | 75
Apache ST | 2 | ST | Coal | 175 |  | Apache Station | ST2 | ST | Coal | 194.7 |  | ApchST2 | 19 | Coal | 350
Apache ST | 3 | ST | Coal | 175 | 558 | Apache Station | ST3 | ST | Coal | 194.7 | 600 |  |  |  |  | 560
APS Gen Cogen | 3 | CG New | NG | 5
APS Gen Cogen | 4-9 | CG New | NG | 15 | 20 | [5 empty] | 0 |  |  |  |  | 0
Arlington Valley | 1 | CCDF New | NG | 260 |  | Arlington Valley Energy Facili | CTG1 | CT | NG | 198 |  | ArlngtnV | 30 | Gas | 570
Arlington Valley | 2 | CCDF New | NG | 260 |  | Arlington Valley Energy Facili | CTG2 | CT | NG | 198
[5 empty] | 520 | Arlington Valley Energy Facili | STG1 | CA | NG | 317 | 713 |  |  |  |  | 570
Cholla | 1 | ST | Coal | 110 |  | Cholla | 1 | ST | Coal | 113.6 |  | Cholla 1 | 84 | Coal | 995
Cholla | 2 | ST | Coal | 245 |  | Cholla | 2 | ST | Coal | 288.9
Cholla | 3 | ST | Coal | 260 |  | Cholla | 3 | ST | Coal | 288.9
Cholla | 4 | ST | Coal | 380 | 995 | Cholla | 4 | ST | Coal | 414 | 1105.4 |  |  |  |  | 995
Citizens | 1-4 | IC | NG | 3 | 3 | [5 empty] | 0 |  |  |  |  | 0
Coronado | 1 | ST | Coal | 395 |  | Coronado | CO1 | ST | Coal | 410.9 |  | Coronad1 | 108 | Coal | 760
Coronado | 2 | ST | Coal | 390 | 785 | Coronado | CO2 | ST | Coal | 410.9 | 821.8 |  |  |  |  | 760
DeMoss Petrie | 1 | GT New | NG | 75 | 75 | Demoss Petrie | GT2 | GT | NG | 85 | 85 | DMssPtr2 | 119 | Gas | 75 | 75
Desert Basin | 1 | CC New | NG | 255 |  | Desert Basin | CTG1 | GT | NG | 220 |  | DesrtBsn | 120 | Gas | 563
Desert Basin | 2 | CC New | NG | 255 |  | Desert Basin | CTG2 | GT | NG | 220
[5 empty] | 510 | Desert Basin | STG | ST | NG | 269 | 709 |  |  |  |  | 563
[5 empty] | 0 | [5 empty] | 0 | Dm_Az | 839 | Gas | 1000 | 1000
Douglas GT | 1 | GT | FO#2 | 15 | 15 | Douglas | 1 | GT | Petro | 21.4 | 21.4 |  |  |  |  | 0
[5 empty] | 0 | [5 empty] | 0 | FrCrnrs1 | 167 | Coal | 2040 | 2040
GenGTAZ | 1 | GT New | NG | 150
GenGTAZ | 2 | GT New | NG | 150
GenGTAZ | 3 | GT New | NG | 150 | 450 | [5 empty] | 0 |  |  |  |  | 0
Gila River | 1a | CCDF New | NG | 294 | [7 empty] | GilaRvr1 | 187 | Gas | 2160
Gila River | 1b | CCDF New | NG | 294
Gila River | 2a | CCDF New | NG | 294
Gila River | 2b | CCDF New | NG | 294
Gila River | 3a | CCDF New | NG | 294
Gila River | 3b | CCDF New | NG | 294
Gila River | 4a | CCDF New | NG | 294
Gila River | 4b | CCDF New | NG | 294 | 2352 | [5 empty] | 0 |  |  |  |  | 2160
Harquahala Project | 1 | CC New | NG | 324 | [7 empty] | Harquahl | 210 | Gas | 1040
Harquahala Project | 2 | CC New | NG | 324
Harquahala Project | 3 | CC New | NG | 324 | 972 | [5 empty] | 0 |  |  |  |  | 1040
[6 empty] | Ina Road Water Pollution Contr | 1 | IC | NG | 0.6
[6 empty] | Ina Road Water Pollution Contr | 2 | IC | NG | 0.6
[6 empty] | Ina Road Water Pollution Contr | 3 | IC | NG | 0.6
[6 empty] | Ina Road Water Pollution Contr | 4 | IC | NG | 0.6
[6 empty] | Ina Road Water Pollution Contr | 5 | IC | NG | 0.6
[6 empty] | Ina Road Water Pollution Contr | 6 | IC | NG | 0.6
[5 empty] | 0 | Ina Road Water Pollution Contr | 7 | IC | NG | 0.6 | 4.2 |  |  |  |  | 0
Irvington | 1 | ST | NG | 81 |  | Irvington | ST1 | ST | NG | 108.8 |  | Irvngtn1 | 225 | Gas | 162
Irvington | 2 | ST | NG | 81 |  | Irvington | ST2 | ST | NG | 108.8
Irvington | 3 | ST | NG | 105 |  | Irvington | ST3 | ST | NG | 113.6 |  | Irvngtn3 | 224 | Gas | 105
Irvington | 4 | ST | Coal | 156 |  | Irvington | 4 | ST | Coal | 173.3 |  | Irvngtn4 | 223 | Coal | 156
Irvington GT | 1 | GT | NG | 25 |  | Irvington | GT1 | GT | NG | 27 |  | IrvngGT1 | 226 | Gas | 49
Irvington GT | 2 | GT | NG | 25 | 473 | Irvington | GT2 | GT | NG | 27 | 558.5 |  |  |  |  | 472
Kyrene | 1 | ST | NG | 34 |  | Kyrene | KY1 | ST | NG | 34.5 |  | Kyrene 1 | 240 | Gas | 106
Kyrene | 2 | ST | NG | 72 |  | Kyrene | KY2 | ST | NG | 73.5
Kyrene GT | 4 | GT | NG | 59 |  | Kyrene | KY4 | GT | NG | 53.1 |  | KyrenGT4 | 241 | Gas | 158
Kyrene GT | 5 | GT | NG | 53 |  | Kyrene | KY5 | GT | NG | 60.3
Kyrene GT | 6 | GT | NG | 53 |  | Kyrene | KY6 | GT | NG | 60.3
[6 empty] | Kyrene | KY7 | CT | NG | 170
[6 empty] | Kyrene | KY7A | CA | NG | 122
Kyrene Expansion | 5 | CC New | NG | 232 | 503 | [5 empty] | 573.7 | Kyrn(ss) | 242 | Gas | 250 | 514
Mesquite CC | 1 | CC New | NG | 287 | [7 empty] | Mesquit1 | 279 | Gas | 1275
Mesquite CC | 2 | CC New | NG | 287
Mesquite CC | 3 | CC New | NG | 287
Mesquite CC | 4 | CC New | NG | 287 | 1148 | [5 empty] | 0 |  |  |  |  | 1275
Navajo | 1 | ST | Coal | 750 |  | Navajo | NAV1 | ST | Coal | 803.1 |  | Navajo 1 | 304 | Coal | 2250
Navajo | 2 | ST | Coal | 750 |  | Navajo | NAV2 | ST | Coal | 803.1
Navajo | 3 | ST | Coal | 750 | 2250 | Navajo | NAV3 | ST | Coal | 803.1 | 2409.3 |  |  |  |  | 2250
North Loop GT | 1 | GT | NG | 25 |  | North Loop | 1 | GT | NG | 27 |  | NorthLp1 | 330 | Gas | 73
North Loop GT | 2 | GT | NG | 25 |  | North Loop | 2 | GT | NG | 27 |  | NorthLp4 | 331 | Gas | 21
North Loop GT | 3 | GT | NG | 23 |  | North Loop | 3 | GT | NG | 27
North Loop GT | 4 | GT New | NG | 23 | 96 | North Loop | 5 | GT | NG | 26.8 | 107.8 |  |  |  |  | 94
Ocotillo | 1 | ST | NG | 110 |  | Ocotillo | 1 | ST | NG | 113.6 |  | Ocotill1 | 338 | Gas | 222
Ocotillo | 2 | ST | NG | 110 |  | Ocotillo | 2 | ST | NG | 113.6
Ocotillo GT | 1 | GT | NG | 55 |  | Ocotillo | GT1 | GT | NG | 53.1 |  | OctllGT1 | 339 | Gas | 103
Ocotillo GT | 2 | GT | NG | 55 | 330 | Ocotillo | GT2 | GT | NG | 53.1 | 333.4 |  |  |  |  | 325
Palo Verde | 1 | NP | Uranium | 1272 |  | Palo Verde | 1 | ST | Nuclear | 1403.1 |  | PaloVrd1 | 346 | Nucl | 3733
Palo Verde | 2 | NP | Uranium | 1298 |  | Palo Verde | 2 | ST | Nuclear | 1403.1
Palo Verde | 3 | NP | Uranium | 1274 | 3844 | Palo Verde | 3 | ST | Nuclear | 1403.1 | 4209.3 |  |  |  |  | 3733
[6 empty] | PPL Griffith Energy Project | CTG1 | CT | NG | 176
[6 empty] | PPL Griffith Energy Project | CTG2 | CT | NG | 176.6
[5 empty] | 0 | PPL Griffith Energy Project | STG | CA | NG | 301.8 | 654.4 |  |  |  |  | 0
[6 empty] | PPL Sundance Energy LLC | CT1 | GT | NG | 45
[6 empty] | PPL Sundance Energy LLC | CT10 | GT | NG | 45
[6 empty] | PPL Sundance Energy LLC | CT2 | GT | NG | 45
[6 empty] | PPL Sundance Energy LLC | CT3 | GT | NG | 45
[6 empty] | PPL Sundance Energy LLC | CT4 | GT | NG | 45
[6 empty] | PPL Sundance Energy LLC | CT5 | GT | NG | 45
[6 empty] | PPL Sundance Energy LLC | CT6 | GT | NG | 45
[6 empty] | PPL Sundance Energy LLC | CT7 | GT | NG | 45
[6 empty] | PPL Sundance Energy LLC | CT8 | GT | NG | 45
[5 empty] | 0 | PPL Sundance Energy LLC | CT9 | GT | NG | 45 | 450 |  |  |  |  | 0
Red Hawk | 1a | CC New | NG | 256 |  | Redhawk | CT1A | CT | NG | 166 |  | Redhawk1 | 383 | Gas | 1060
Red Hawk | 2a | CC New | NG | 256 |  | Redhawk | CT1B | CT | NG | 166
Red Hawk | 3a | CC New | NG | 256 |  | Redhawk | CT2A | CT | NG | 166
Red Hawk | 4a | CC New | NG | 256 |  | Redhawk | CT2B | CT | NG | 166
Red Hawk | 5a | CC New | NG |  |  | Redhawk | ST1 | CA | NG | 204
Red Hawk | 6a | CC New | NG |  | 1024 | Redhawk | ST2 | CA | NG | 204 | 1072 |  |  |  |  | 1060
Saguaro | 1 | ST | NG | 110 |  | Saguaro | 1 | ST | NG | 125 |  | SaguarAZ | 403 | Gas | 100
Saguaro | 2 | ST | NG | 100 |  | Saguaro | 2 | ST | NG | 125 |  | Saguaro2 | 404 | Gas | 99
Saguaro GT | 1 | GT | NG | 55 |  | Saguaro | GT1 | GT | NG | 53.1 |  | SagurGT1 | 405 | Gas | 94
Saguaro GT | 2 | GT | NG | 55 |  | Saguaro | GT2 | GT | NG | 53.1 |  | SagurGT3 | 402 | Gas | 80
Saguaro GT | 3 | GT New | NG | 73 | 393 | Saguaro Combustion Turbine 3 | GE1 | GT | NG | 79 | 435.2 |  |  |  |  | 373
Santan CC | 1 | CC | NG | 92 |  | Santan | ST1 | CS | NG | 103.5 |  | Santan 1 | 411 | Gas | 304
Santan CC | 2 | CC | NG | 92 |  | Santan | ST2 | CS | NG | 103.5
Santan CC | 3 | CC | NG | 92 |  | Santan | ST3 | CS | NG | 103.5
Santan CC | 4 | CC | NG | 92 |  | Santan | ST4 | CS | NG | 103.5
Santan CC | 5 | CC New | NG
Santan CC | 6 | CC New | NG
Santan CC | 7 | CC New | NG |  | 368 | [5 empty] | 414 |  |  |  |  | 304
[12 empty] | SgrTmpr5 | 406 | Gas | 99
South Point | 1 | CCDF New | NG | 278 |  | South Point Energy Center | A | CT | NG | 236 |  | SntnxpnA | 412 | Gas | 275
South Point | 2 | CCDF New | NG | 278 |  | South Point Energy Center | B | CT | NG | 236 |  | SntnxpnB | 413 | Gas | 550
[5 empty] | 556 | South Point Energy Center | ST1 | CA | NG | 236 | 708 |  |  |  |  | 825
Springerville | 1 | ST | Coal | 400 |  | Springerville | 1 | ST | Coal | 424.8 |  | Sprngrv1 | 429 | Coal | 800
Springerville | 2 | ST | Coal | 400 |  | Springerville | 2 | ST | Coal | 424.8
Springerville | 3 | ST | Coal | 400 | 1200 | [5 empty] | 849.6 |  |  |  |  | 800
Sundance GT | 1 | GT New | NG | 45
Sundance GT | 2 | GT New | NG | 45
Sundance GT | 3 | GT New | NG | 45
Sundance GT | 4 | GT New | NG | 45
Sundance GT | 5 | GT New | NG | 45
Sundance GT | 6 | GT New | NG | 45
Sundance GT | 7 | GT New | NG | 45
Sundance GT | 8 | GT New | NG | 45
Sundance GT | 9 | GT New | NG | 45
Sundance GT | 10 | GT New | NG | 45 | 450 | [5 empty] | 0 |  |  |  |  | 0
[6 empty] | Tri Cities | TC1 | IC | LFG | 1
[6 empty] | Tri Cities | TC2 | IC | LFG | 1
[6 empty] | Tri Cities | TC3 | IC | LFG | 1
[6 empty] | Tri Cities | TC4 | IC | LFG | 1
[5 empty] | 0 | Tri Cities | TC5 | IC | LFG | 1 | 5 |  |  |  |  | 0
Valencia | 1-3 | GT | NG | 42 |  | Valencia | GT1 | GT | NG | 16.8
[6 empty] | Valencia | GT2 | GT | NG | 16.8
[5 empty] | 42 | Valencia | GT3 | GT | NG | 16.8 | 50.4 |  |  |  |  | 0
W Phoenix | 1 | CS | NG | 80 |  | West Phoenix | 1B | CS | NG | 132 |  | WPhnx1 | 480 | Gas | 240
W Phoenix | 2 | CS | NG | 80 |  | West Phoenix | 2B | CS | NG | 132
W Phoenix | 3 | CS | NG | 80 |  | West Phoenix | 3B | CS | NG | 132
W Phoenix | 4 | CC New | NG | 24 | [7 empty] | WPhnx4 | 479 | Gas | 650
W Phox GT | 1 | GT | NG | 50 |  | West Phoenix | GT1 | GT | NG | 53.1 |  | WstPhnx1 | 481 | Gas | 100
W Phox GT | 2 | GT | NG | 50 |  | West Phoenix | GT2 | GT | NG | 53.1
West Phoenix | 5a | CCDF New | NG | 243 |  | West Phoenix CC4 | GE1 | CT | NG | 80
West Phoenix | 5b | CCDF New | NG | 243 | 850 | West Phoenix CC4 | GE2 | CA | NG | 40 | 622.2 |  |  |  |  | 990
Yucca GT | 1 | GT | NG | 19 |  | Yucca | GT1 | GT | NG | 23.5 |  | YuccaGT1 | 500 | Gas | 88
Yucca GT | 2 | GT | NG | 19 |  | Yucca | GT2 | GT | NG | 23.5 |  | YuccaGT4 | 499 | FO2 | 51
Yucca GT | 3 | GT | NG | 55 |  | Yucca | GT21 | GT | Petro | 26
Yucca GT | 4 | GT | FO#2 | 54 |  | Yucca | GT3 | GT | NG | 72.4
[6 empty] | Yucca | GT4 | GT | Petro | 72.4
[5 empty] | 147 | Yucca | ST1 | ST | NG | 86.7 | 304.5 |  |  |  |  | 139
Yuma Axis | GT1 | GT | FO#2 | 21 |  | Yuma Axis | 1 | GT | Petro | 23.4 |  | Yuma 1 | 501 | FO6 | 1
[6 empty] | Yuma Cogeneration Associates | GEN1 | CT | NG | 44.1 |  | YumaAx1B | 502 | FO2 | 20
[12 empty] | YumaAxs1 | 503 | Gas | 75
[5 empty] | 21 | Yuma Cogeneration Associates | GEN2 | CA | NG | 18.5 | 86 | YumaCgn1 | 504 | Gas | 53 | 149
Total MW |  |  |  |  | 21573 | Total MW |  |  |  |  | 18586.9 | Total MW |  |  |  | 23685

## CEC-AZ
CEC-Arizona
| Unit Name | Unit No | Unit Type | Max Rating | Station Group
| Agua Fria | 1 | ST | 113 | NG No AZ
| Agua Fria | 2 | ST | 113 | NG No AZ
| Agua Fria | 3 | ST | 181 | NG No AZ
| Agua Fria GT | 4 | GT | 73 | NG No AZ
| Agua Fria GT | 5 | GT | 73 | NG No AZ
| Agua Fria GT | 6 | GT | 70 | NG No AZ
| Apache CC | 1 | CC | 81 | NG No AZ
| Apache GT | 2 | GT | 20 | FO#2-WECC
| Apache GT | 3 | GT | 69 | FO#2-WECC
| Apache GT | 4 | GT New | 38 | NG No AZ
| Apache ST | 2 | ST | 175 | Coal-A-N-S
| Apache ST | 3 | ST | 175 | Coal-A-N-S
| APS Gen Cogen | 3 | CG New | 5 | NG No AZ
| APS Gen Cogen | 4-9 | CG New | 15 | NG No AZ
| Arlington Valley | 1 | CCDF New | 260 | NG So Az
| Arlington Valley | 2 | CCDF New | 260 | NG So Az
| Cholla | 1 | ST | 110 | Coal-A-N-S
| Cholla | 2 | ST | 245 | Coal-A-N-S
| Cholla | 3 | ST | 260 | Coal-A-N-S
| Cholla | 4 | ST | 380 | Coal-A-N-S
| Citizens | 1-4 | IC | 3 | NG No AZ
| Coronado | 1 | ST | 395 | Coal-A-N-S
| Coronado | 2 | ST | 390 | Coal-A-N-S
| DeMoss Petrie | 1 | GT New | 75 | NG No AZ
| Desert Basin | 1 | CC New | 255 | NG No AZ
| Desert Basin | 2 | CC New | 255 | NG No AZ
| Douglas GT | 1 | GT | 15 | FO#2-WECC
| GenGTAZ | 1 | GT New | 150 | NG So Az
| GenGTAZ | 2 | GT New | 150 | NG So Az
| GenGTAZ | 3 | GT New | 150 | NG So Az
| Gila River | 1a | CCDF New | 294 | NG So Az
| Gila River | 1b | CCDF New | 294 | NG So Az
| Gila River | 2a | CCDF New | 294 | NG So Az
| Gila River | 2b | CCDF New | 294 | NG So Az
| Gila River | 3a | CCDF New | 294 | NG So Az
| Gila River | 3b | CCDF New | 294 | NG So Az
| Gila River | 4a | CCDF New | 294 | NG So Az
| Gila River | 4b | CCDF New | 294 | NG So Az
| Harquahala Project | 1 | CC New | 324 | NG So Az
| Harquahala Project | 2 | CC New | 324 | NG So Az
| Harquahala Project | 3 | CC New | 324 | NG So Az
| Irvington | 1 | ST | 81 | NG No AZ
| Irvington | 2 | ST | 81 | NG No AZ
| Irvington | 3 | ST | 105 | NG No AZ
| Irvington | 4 | ST | 156 | Coal-A-N-S
| Irvington GT | 1 | GT | 25 | NG No AZ
| Irvington GT | 2 | GT | 25 | NG No AZ
| Kyrene | 1 | ST | 34 | NG No AZ
| Kyrene | 2 | ST | 72 | NG No AZ
| Kyrene Expansion | 5 | CC New | 232 | NG No AZ
| Kyrene GT | 4 | GT | 59 | NG No AZ
| Kyrene GT | 5 | GT | 53 | NG No AZ
| Kyrene GT | 6 | GT | 53 | NG No AZ
| Mesquite CC | 1 | CC New | 287 | NG So Az
| Mesquite CC | 2 | CC New | 287 | NG So Az
| Mesquite CC | 3 | CC New | 287 | NG So Az
| Mesquite CC | 4 | CC New | 287 | NG So Az
| Navajo | 1 | ST | 750 | Coal-A-N-S
| Navajo | 2 | ST | 750 | Coal-A-N-S
| Navajo | 3 | ST | 750 | Coal-A-N-S
| North Loop GT | 1 | GT | 25 | NG So Az
| North Loop GT | 2 | GT | 25 | NG So Az
| North Loop GT | 3 | GT | 23 | NG So Az
| North Loop GT | 4 | GT New | 23 | NG So Az
| Ocotillo | 1 | ST | 110 | NG So Az
| Ocotillo | 2 | ST | 110 | NG So Az
| Ocotillo GT | 1 | GT | 55 | NG So Az
| Ocotillo GT | 2 | GT | 55 | NG So Az
| Palo Verde | 1 | NP | 1272 | Uranium
| Palo Verde | 2 | NP | 1298 | Uranium
| Palo Verde | 3 | NP | 1274 | Uranium
| Red Hawk | 1a | CC New | 256 | NG No AZ
| Red Hawk | 2a | CC New | 256 | NG No AZ
| Red Hawk | 3a | CC New | 256 | NG No AZ
| Red Hawk | 4a | CC New | 256 | NG No AZ
| Red Hawk | 5a | CC New |  | NG No AZ
| Red Hawk | 6a | CC New |  | NG No AZ
| Saguaro | 1 | ST | 110 | NG So Az
| Saguaro | 2 | ST | 100 | NG So Az
| Saguaro GT | 1 | GT | 55 | NG So Az
| Saguaro GT | 2 | GT | 55 | NG So Az
| Saguaro GT | 3 | GT New | 73 | NG So Az
| Santan CC | 1 | CC | 92 | NG No AZ
| Santan CC | 2 | CC | 92 | NG No AZ
| Santan CC | 3 | CC | 92 | NG No AZ
| Santan CC | 4 | CC | 92 | NG No AZ
| Santan CC | 5 | CC New |  | NG No AZ
1 | Santan CC | 6 | CC New |  | NG No AZ
1 | Santan CC | 7 | CC New |  | NG No AZ
2 | South Point | 1 | CCDF New | 278 | NG No AZ
2 | South Point | 2 | CCDF New | 278 | NG No AZ
2 | Springerville | 1 | ST | 400 | Coal-A-N-S
| Springerville | 2 | ST | 400 | Coal-A-N-S
| Springerville | 3 | ST | 400 | Coal-A-N-S
| Sundance GT | 1 | GT New | 45 | NG No AZ
| Sundance GT | 2 | GT New | 45 | NG No AZ
| Sundance GT | 3 | GT New | 45 | NG No AZ
| Sundance GT | 4 | GT New | 45 | NG No AZ
| Sundance GT | 5 | GT New | 45 | NG No AZ
| Sundance GT | 6 | GT New | 45 | NG No AZ
| Sundance GT | 7 | GT New | 45 | NG No AZ
| Sundance GT | 8 | GT New | 45 | NG No AZ
| Sundance GT | 9 | GT New | 45 | NG No AZ
| Sundance GT | 10 | GT New | 45 | NG No AZ
| Valencia | 1-3 | GT | 42 | NG So Az
| W Phoenix | 1 | CS | 80 | NG No AZ
| W Phoenix | 2 | CS | 80 | NG No AZ
| W Phoenix | 3 | CS | 80 | NG No AZ
| W Phoenix | 4 | CC New | 24 | NG No AZ
| W Phox GT | 1 | GT | 50 | NG No AZ
| W Phox GT | 2 | GT | 50 | NG No AZ
| West Phoenix | 5a | CCDF New | 243 | NG So Az
| West Phoenix | 5b | CCDF New | 243 | NG So Az
| Yucca GT | 1 | GT | 19 | NG So Az
3 | Yucca GT | 2 | GT | 19 | NG So Az
| Yucca GT | 3 | GT | 55 | NG So Az
| Yucca GT | 4 | GT | 54 | FO#2-WECC
| Yuma Axis | GT1 | GT | 21 | FO#2-WECC
| Total: Units & MW | 119 |  | 21573

## WECC-AZ
WECC-Arizona
Plant Name | Generator Code | Prime Mover/Unit Type Code | Nameplate Capacity | Energy Source 01 Group
Abitibi Consolidated Snowflake | GEN1 | ST | 27.2 | Coal
Abitibi Consolidated Snowflake | GEN2 | ST | 43.3 | Coal
Agua Fria | AF1 | ST | 113.6 | Natural Gas
Agua Fria | AF2 | ST | 113.6 | Natural Gas
Agua Fria | AF3 | ST | 163.2 | Natural Gas
Agua Fria | AF4 | GT | 80.5 | Natural Gas
Agua Fria | AF5 | GT | 71.2 | Natural Gas
Agua Fria | AF6 | GT | 71.2 | Natural Gas
Apache Station | GT1 | CT | 10 | Natural Gas
Apache Station | GT2 | GT | 19.8 | Petroleum
Apache Station | GT3 | GT | 64.8 | Petroleum
Apache Station | GT4 | GT | 41 | Natural Gas
Apache Station | ST1 | CA | 75 | Petroleum
Apache Station | ST2 | ST | 194.7 | Coal
Apache Station | ST3 | ST | 194.7 | Coal
Arlington Valley Energy Facili | CTG1 | CT | 198 | Natural Gas
Arlington Valley Energy Facili | CTG2 | CT | 198 | Natural Gas
Arlington Valley Energy Facili | STG1 | CA | 317 | Natural Gas
Cholla | 1 | ST | 113.6 | Coal
Cholla | 2 | ST | 288.9 | Coal
Cholla | 3 | ST | 288.9 | Coal
Cholla | 4 | ST | 414 | Coal
Coronado | CO1 | ST | 410.9 | Coal
Coronado | CO2 | ST | 410.9 | Coal
Demoss Petrie | GT2 | GT | 85 | Natural Gas
Desert Basin | CTG1 | GT | 220 | Natural Gas
Desert Basin | CTG2 | GT | 220 | Natural Gas
Desert Basin | STG | ST | 269 | Natural Gas
Douglas | 1 | GT | 21.4 | Petroleum
Ina Road Water Pollution Contr | 1 | IC | 0.6 | Natural Gas
Ina Road Water Pollution Contr | 2 | IC | 0.6 | Natural Gas
Ina Road Water Pollution Contr | 3 | IC | 0.6 | Natural Gas
Ina Road Water Pollution Contr | 4 | IC | 0.6 | Natural Gas
Ina Road Water Pollution Contr | 5 | IC | 0.6 | Natural Gas
Ina Road Water Pollution Contr | 6 | IC | 0.6 | Natural Gas
Ina Road Water Pollution Contr | 7 | IC | 0.6 | Natural Gas
Irvington | 4 | ST | 173.3 | Coal
Irvington | GT1 | GT | 27 | Natural Gas
Irvington | GT2 | GT | 27 | Natural Gas
Irvington | ST1 | ST | 108.8 | Natural Gas
Irvington | ST2 | ST | 108.8 | Natural Gas
Irvington | ST3 | ST | 113.6 | Natural Gas
Kyrene | KY1 | ST | 34.5 | Natural Gas
Kyrene | KY2 | ST | 73.5 | Natural Gas
Kyrene | KY4 | GT | 53.1 | Natural Gas
Kyrene | KY5 | GT | 60.3 | Natural Gas
Kyrene | KY6 | GT | 60.3 | Natural Gas
Kyrene | KY7 | CT | 170 | Natural Gas
Kyrene | KY7A | CA | 122 | Natural Gas
Navajo | NAV1 | ST | 803.1 | Coal
Navajo | NAV2 | ST | 803.1 | Coal
Navajo | NAV3 | ST | 803.1 | Coal
North Loop | 1 | GT | 27 | Natural Gas
North Loop | 2 | GT | 27 | Natural Gas
North Loop | 3 | GT | 27 | Natural Gas
North Loop | 5 | GT | 26.8 | Natural Gas
Ocotillo | 1 | ST | 113.6 | Natural Gas
Ocotillo | 2 | ST | 113.6 | Natural Gas
Ocotillo | GT1 | GT | 53.1 | Natural Gas
Ocotillo | GT2 | GT | 53.1 | Natural Gas
Palo Verde | 1 | ST | 1403.1 | Nuclear
Palo Verde | 2 | ST | 1403.1 | Nuclear
Palo Verde | 3 | ST | 1403.1 | Nuclear
PPL Griffith Energy Project | CTG1 | CT | 176 | Natural Gas
PPL Griffith Energy Project | CTG2 | CT | 176.6 | Natural Gas
PPL Griffith Energy Project | STG | CA | 301.8 | Natural Gas
PPL Sundance Energy LLC | CT1 | GT | 45 | Natural Gas
PPL Sundance Energy LLC | CT10 | GT | 45 | Natural Gas
PPL Sundance Energy LLC | CT2 | GT | 45 | Natural Gas
PPL Sundance Energy LLC | CT3 | GT | 45 | Natural Gas
PPL Sundance Energy LLC | CT4 | GT | 45 | Natural Gas
PPL Sundance Energy LLC | CT5 | GT | 45 | Natural Gas
PPL Sundance Energy LLC | CT6 | GT | 45 | Natural Gas
PPL Sundance Energy LLC | CT7 | GT | 45 | Natural Gas
PPL Sundance Energy LLC | CT8 | GT | 45 | Natural Gas
PPL Sundance Energy LLC | CT9 | GT | 45 | Natural Gas
Redhawk | CT1A | CT | 166 | Natural Gas
Redhawk | CT1B | CT | 166 | Natural Gas
Redhawk | CT2A | CT | 166 | Natural Gas
Redhawk | CT2B | CT | 166 | Natural Gas
Redhawk | ST1 | CA | 204 | Natural Gas
Redhawk | ST2 | CA | 204 | Natural Gas
Saguaro | 1 | ST | 125 | Natural Gas
Saguaro | 2 | ST | 125 | Natural Gas
Saguaro | GT1 | GT | 53.1 | Natural Gas
Saguaro | GT2 | GT | 53.1 | Natural Gas
Saguaro Combustion Turbine 3 | GE1 | GT | 79 | Natural Gas
Santan | ST1 | CS | 103.5 | Natural Gas
Santan | ST2 | CS | 103.5 | Natural Gas
Santan | ST3 | CS | 103.5 | Natural Gas
Santan | ST4 | CS | 103.5 | Natural Gas
South Point Energy Center | A | CT | 236 | Natural Gas
South Point Energy Center | B | CT | 236 | Natural Gas
South Point Energy Center | ST1 | CA | 236 | Natural Gas
Springerville | 1 | ST | 424.8 | Coal
Springerville | 2 | ST | 424.8 | Coal
Tri Cities | TC1 | IC | 1 | Renewable
Tri Cities | TC2 | IC | 1 | Renewable
Tri Cities | TC3 | IC | 1 | Renewable
Tri Cities | TC4 | IC | 1 | Renewable
Tri Cities | TC5 | IC | 1 | Renewable
Valencia | GT1 | GT | 16.8 | Natural Gas
Valencia | GT2 | GT | 16.8 | Natural Gas
Valencia | GT3 | GT | 16.8 | Natural Gas
West Phoenix | 1B | CS | 132 | Natural Gas
West Phoenix | 2B | CS | 132 | Natural Gas
West Phoenix | 3B | CS | 132 | Natural Gas
West Phoenix | GT1 | GT | 53.1 | Natural Gas
West Phoenix | GT2 | GT | 53.1 | Natural Gas
West Phoenix CC4 | GE1 | CT | 80 | Natural Gas
West Phoenix CC4 | GE2 | CA | 40 | Natural Gas
Yucca | GT1 | GT | 23.5 | Natural Gas
Yucca | GT2 | GT | 23.5 | Natural Gas
Yucca | GT21 | GT | 26 | Petroleum
Yucca | GT3 | GT | 72.4 | Natural Gas
Yucca | GT4 | GT | 72.4 | Petroleum
Yucca | ST1 | ST | 86.7 | Natural Gas
Yuma Axis | 1 | GT | 23.4 | Petroleum
Yuma Cogeneration Associates | GEN1 | CT | 44.1 | Natural Gas
Yuma Cogeneration Associates | GEN2 | CA | 18.5 | Natural Gas
Total: Units & MWs | 121 |  | 18586.9
Standby -available for service but not normally used (has little or no generation during the year)
Plant Name | Generator Code | Prime Mover/Unit Type Code | Nameplate Capacity | Energy Source 01 Group
Biosphere 2 Center | G-4 | IC | 1.6 | Natural Gas
Gould Electronics Foil Divisio | G1 | IC | 0.5 | Natural Gas
Gould Electronics Foil Divisio | G2 | IC | 0.5 | Natural Gas
Crosscut | CC1 | ST | 7.5 | Natural Gas
Crosscut | CC2 | ST | 7.5 | Natural Gas
Crosscut | CC3 | ST | 7.5 | Natural Gas
Crosscut | CC4 | ST | 7.5 | Natural Gas
Biosphere 2 Center | G-1 | IC | 1.5 | Petroleum
Nelson Plant Generators | EXI1 | IC | 1.1 | Petroleum
Nelson Plant Generators | EXI2 | IC | 1.1 | Petroleum
Out of Service - units that could not be used for the reporting year, but are expected to be returned to service in the future
Plant Name | Generator Code | Prime Mover/Unit Type Code | Nameplate Capacity | Energy Source 01 Group
New Cornelia Branch Power Plan | GEN1 | IC | 3 | Natural Gas
New Cornelia Branch Power Plan | GEN3 | IC | 3 | Natural Gas
New Cornelia Branch Power Plan | GEN4 | IC | 7.5 | Natural Gas
Retired - no longer in service and not expected to be returned to service
Plant Name | Generator Code | Prime Mover/Unit Type Code | Nameplate Capacity | Energy Source 01 Group
New Cornelia Branch Power Plan | GEN5 | ST | 7.5 | Natural Gas
New Cornelia Branch Power Plan | GEN6 | ST | 7.5 | Natural Gas
New Cornelia Branch Power Plan | GEN7 | ST | 10 | Natural Gas
New Cornelia Branch Power Plan | GEN8 | ST | 3 | Natural Gas
West Phoenix | 4 | ST | 34.5 | Natural Gas
West Phoenix | 5 | ST | 16 | Natural Gas
West Phoenix | 6 | ST | 69 | Natural Gas
Coolidge Dam | 1 | HY | 5 | Renewable
Coolidge Dam | 2 | HY | 5 | Renewable

## SSGWI-AZ
SSG-WI -- ARIZONA
Plant # | Thermal.Name | Area | MaxMW_Normal | Fuel_Data.Name
11 | AguaFri1 | ARIZONA | 226 | Gas
10 | AguaFri3 | ARIZONA | 181 | Gas
12 | AguaFri4 | ARIZONA | 212 | Gas
21 | ApchCC1A | ARIZONA | 71 | FO6
22 | ApchCC1B | ARIZONA | 10 | Gas
20 | ApchGT2 | ARIZONA | 89 | FO2
23 | ApchGT4 | ARIZONA | 40 | Gas
19 | ApchST2 | ARIZONA | 350 | Coal
30 | ArlngtnV | ARIZONA | 570 | Gas
84 | Cholla 1 | ARIZONA | 995 | Coal
108 | Coronad1 | ARIZONA | 760 | Coal
120 | DesrtBsn | ARIZONA | 563 | Gas
839 | Dm_Az | ARIZONA | 1000 | Gas
119 | DMssPtr2 | ARIZONA | 75 | Gas
167 | FrCrnrs1 | ARIZONA | 2040 | Coal
187 | GilaRvr1 | ARIZONA | 2160 | Gas
210 | Harquahl | ARIZONA | 1040 | Gas
226 | IrvngGT1 | ARIZONA | 49 | Gas
225 | Irvngtn1 | ARIZONA | 162 | Gas
224 | Irvngtn3 | ARIZONA | 105 | Gas
223 | Irvngtn4 | ARIZONA | 156 | Coal
240 | Kyrene 1 | ARIZONA | 106 | Gas
241 | KyrenGT4 | ARIZONA | 158 | Gas
242 | Kyrn(ss) | ARIZONA | 250 | Gas
279 | Mesquit1 | ARIZONA | 1275 | Gas
304 | Navajo 1 | ARIZONA | 2250 | Coal
330 | NorthLp1 | ARIZONA | 73 | Gas
331 | NorthLp4 | ARIZONA | 21 | Gas
338 | Ocotill1 | ARIZONA | 222 | Gas
339 | OctllGT1 | ARIZONA | 103 | Gas
346 | PaloVrd1 | ARIZONA | 3733 | Nucl
383 | Redhawk1 | ARIZONA | 1060 | Gas
403 | SaguarAZ | ARIZONA | 100 | Gas
404 | Saguaro2 | ARIZONA | 99 | Gas
405 | SagurGT1 | ARIZONA | 94 | Gas
402 | SagurGT3 | ARIZONA | 80 | Gas
411 | Santan 1 | ARIZONA | 304 | Gas
406 | SgrTmpr5 | ARIZONA | 99 | Gas
412 | SntnxpnA | ARIZONA | 275 | Gas
413 | SntnxpnB | ARIZONA | 550 | Gas
429 | Sprngrv1 | ARIZONA | 800 | Coal
480 | WPhnx1 | ARIZONA | 240 | Gas
479 | WPhnx4 | ARIZONA | 650 | Gas
481 | WstPhnx1 | ARIZONA | 100 | Gas
500 | YuccaGT1 | ARIZONA | 88 | Gas
499 | YuccaGT4 | ARIZONA | 51 | FO2
501 | Yuma 1 | ARIZONA | 1 | FO6
502 | YumaAx1B | ARIZONA | 20 | FO2
503 | YumaAxs1 | ARIZONA | 75 | Gas
504 | YumaCgn1 | ARIZONA | 53 | Gas
| Total Units & MW | 50 | 23784