## Instructions
Template for Entering Candidate Method Test
Data and Calculating Results Related to a
Request for Approval of an Approved Regional
Method (ARM) for PM2.5 [40 CFR 58, Appendix C]
Instructions
This suite of spreadsheets is intended for entering and analyzing field test data obtained from the Comparability tests required for Class III candidate approved regional methods (ARMs) for PM2.5, according to new regulatory provisions of 40 CFR Part 58, Appendix C that became effective on December 18, 2006. (See Section 2.4 of Appendix C to Part 58, (U.S. Federal Register, Volume 71, October 17, 2006, page 61313).
This spreadsheet is designed to run on Excel 2003. It appears to run properly on Excel 2000, but the Precision and Regression sheets must be unprotected (Tools>Protection>Unprotect Sheet) to make the data filters work. Also, for better viewing, the zoom should be set to 75%.
1. Enter applicant, candidate method, site and other identification information in the "Title" tab.
2. The test data should be in the form of daily "data sets" consisting of nominal 24-hour integrated ambient PM concentration measurements, each set containing at least 1 FRM and 1 candidate FEM measurements, in μg/m3. Data sets having a mean FRM concentration measurement less than 3 μg/m3 should be entered to count towards the 90-sample minimum, but such data sets may be excluded from the regression analysis on the "Regression" tab (by deleting the "ok" in the Validity column).
3. If the daily data sets consist of only 1 FRM measurement and 1 candidate ARM measurement, it may be more expedient to enter the data directly on the "Regression" tab in the "Data set means" columns (enter comments in the cell to the right) rather than in the "Raw FRM data" and "Raw candidate data" tabs. However, note that this will overide corresponding data entered on the Raw data sheets. In this case, the "Precision" tab may be ignored, and only the "Title," "Regression," and "Summary" tabs are used. Otherwise....
4. If the daily data sets include multiple FRM or candidate ARM measurements, enter the FRM data first, at the "Raw FRM data" tab, because the test dates associated with each data set are entered with the FRM data. Use the Comments column to enter any possibly pertinent information about any of the measurements in the data subset.
5. If 2 or more FRM measurements are ented, the data are automatically checked according to an outlier test, and the mean and precision are calculated. The outlier test results are not used in these calculations. Do not delete invalid data sets on this "Raw FRM data" tab as these invalid data sets will be filtered out later on other sheets.
6. The spreadsheets allow for entry of up to 100 data sets. If more data sets need to be entered, the additional rows may be added to the spreadsheet (Tools>Protection>unprotect sheet). Note that the summary statistics at the bottom of the spreadsheet are for informational purposes only as they include any invalid data sets. The formal summary statistics are calculated correctly in other tabs.
7. Similarly, enter the multiple candidate ARM data at the "Raw candidate data" tab. Again the outlier tests will check the data, but the outlier test results are ignored. Do not delete invalid data sets on this "Raw candidate data" tab as these invalid data sets will be filtered out later. Note that the summary statistics at the bottom of the spreadsheet are for informational purposes only as they include any invalid data sets. The formal summary statistics are calculated correctly in other tabs.
8. The mean concentrations for both FRM and candidate ARM methods for each data set are presented in the "Precision" tab, along with both the absolute precision (μg/m3) and relative precision (CV), with the later precision being the relevant one for purposes of the test results. Important: all invalid data sets must be filtered out in the "Precision" tab so that the test result calculations will be correct at the bottom of the sheet. (Follow the instructions in the box in the upper right corner of the sheet.)
9. The required linear regression calculations are carried out in the "Regression" tab. Important: all invalid data sets must be filtered out in the "Regression" tab so that the test result calculations will be correct at the bottom of the sheet. (Follow the instructions in the box in the upper right of the sheet.)
10. If new data are entered after filtering out the invalid data sets, click on the ▼ in the "Data set Validity" column of both the Precision and Regression tabs, then click on "all" to include the new data. Then click on ▼ and "ok" again to filter out the invalid data sets.
11. All required data calculations for the ARM test results are presented on the "Summary" tab, along with the test requirements and a "pass" or "fail" indication. Graphics present the regression results graphically. If the graphics do not plot correctly, follow the instructions at the bottom of the "Summary" sheet.
Version 0.101 - 2/8/07 F. McElroy, RTI International; T. Hanley, US EPA

## Title
Template for Entering Candidate Method Test
Data and Calculating Results Related to a
Request for Approval of an Approved Regional
Method (ARM) for PM2.5 [40 CFR 58, Appendix C♦]
Brief Instructions: | Applicant:
● Enter applicant and candidate | Applicant Agency:
method information here ►. | ● Applicant contact:
Agency address:
● Enter test data on the "Raw | Agency address:
FRM data" and "Raw | Agency address:
candidate data" sheets ▼.
● Select valid data sets on the | Candidate Method:
"Precision" and "Regression" | Description:
sheets*. | Temperature:
Rel. Humidity:
● View test results on the | Data transformation?
"Summary" sheet*.
Test site:
*Additional instructions on sheet. | Site Name:
Site ID:
Site MSA:
Site type:
▼More complete instructions
♦Title 40, Part 58 of the Code of Federal Regulations, revised December 18, 2006 (Federal Register, Volume 71, page 61313, October 17, 2006).
Note on G16: Enter a brief identification of the candidate method.
Note on G19: Please indicate whether a data transformation is part of the candidate ARM.
Note on G23: Please enter an identification for the test site.
Note on G24: Please enter the site ID information.
Note on G17: Enter any special temperature setting used for the candidate method.
Note on G18: Enter any special relative humidity setting that is used for the candidate method.

## Raw FRM data
Reference Method (FRM) data entry
Applicant:
Candidate method:
Test site:
Set | Test | FRM measurements, μg/m3 |  |  | Used for outlier test |  |  | Outlier tests |  |  | Number | FRM Set | Final data set |  |  | Mean | Precision | CV
No. | Date | Sampler 1 | Sampler 2 | Sampler 3 | 1 | 2 | 3 | Sampler 1 | Sampler 2 | Sampler 3 | of values | Validity | 1 | 2 | 3 | μg/m3 | μg/m3 | % | Comments regarding FRM data set
1 |  |  |  |  | 0 | 0 | 0
2 |  |  |  |  | 0 | 0 | 0
3 |  |  |  |  | 0 | 0 | 0
4 |  |  |  |  | 0 | 0 | 0
5 |  |  |  |  | 0 | 0 | 0
6 |  |  |  |  | 0 | 0 | 0
7 |  |  |  |  | 0 | 0 | 0
8 |  |  |  |  | 0 | 0 | 0
9 |  |  |  |  | 0 | 0 | 0
10 |  |  |  |  | 0 | 0 | 0
11 |  |  |  |  | 0 | 0 | 0
12 |  |  |  |  | 0 | 0 | 0
13 |  |  |  |  | 0 | 0 | 0
14 |  |  |  |  | 0 | 0 | 0
15 |  |  |  |  | 0 | 0 | 0
16 |  |  |  |  | 0 | 0 | 0
17 |  |  |  |  | 0 | 0 | 0
18 |  |  |  |  | 0 | 0 | 0
19 |  |  |  |  | 0 | 0 | 0
20 |  |  |  |  | 0 | 0 | 0
21 |  |  |  |  | 0 | 0 | 0
22 |  |  |  |  | 0 | 0 | 0
23 |  |  |  |  | 0 | 0 | 0
24 |  |  |  |  | 0 | 0 | 0
25 |  |  |  |  | 0 | 0 | 0
26 |  |  |  |  | 0 | 0 | 0
27 |  |  |  |  | 0 | 0 | 0
28 |  |  |  |  | 0 | 0 | 0
29 |  |  |  |  | 0 | 0 | 0
30 |  |  |  |  | 0 | 0 | 0
31 |  |  |  |  | 0 | 0 | 0
32 |  |  |  |  | 0 | 0 | 0
33 |  |  |  |  | 0 | 0 | 0
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65 |  |  |  |  | 0 | 0 | 0
66 |  |  |  |  | 0 | 0 | 0
67 |  |  |  |  | 0 | 0 | 0
68 |  |  |  |  | 0 | 0 | 0
69 |  |  |  |  | 0 | 0 | 0
70 |  |  |  |  | 0 | 0 | 0
71 |  |  |  |  | 0 | 0 | 0
72 |  |  |  |  | 0 | 0 | 0
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91 |  |  |  |  | 0 | 0 | 0
92 |  |  |  |  | 0 | 0 | 0
93 |  |  |  |  | 0 | 0 | 0
94 |  |  |  |  | 0 | 0 | 0
95 |  |  |  |  | 0 | 0 | 0
96 |  |  |  |  | 0 | 0 | 0
97 |  |  |  |  | 0 | 0 | 0
98 |  |  |  |  | 0 | 0 | 0
99
100 |  |  |  |  | 0 | 0 | 0
[12 empty] | Valid sets |  |  |  | All sets | Precision | CV
| Count | 0 | 0 | 0 | [6 empty] | Count | 0 |  |  |  | 0 | 0 | 0
| Max | 0 | 0 | 0 | [6 empty] | Max |  |  |  |  | 0 | 0 | 0%
| Min | 0 | 0 | 0 | [6 empty] | Min |  |  |  |  | 0 | 0 | 0%
| Mean | [9 empty] | Mean
Note on T9: Precision of the FRM data set, RPj [§53.35(e)(1), Equation 13], if more than one value is entered. CV = std. dev.(Col. T)/mean(Col. S).
Note on S9: Precision as standard deviation of the FRM data set, if more than one value entered.
Note on C11: Enter date applicable to the test data set.
Note on R112: Unofficial - includes non-valid data sets. See the "Precision" or "Regression" sheets for official test purposes.
Note on J9: Tests for FRM outliers - results are not used.
Note on M9: The number of FRM measurements entered.
Note on N9: Determines the validity of the FRM data set based on having at least 2 valid FRM measurements [§53.35(c)(2)] within the mean acceptable concentration range of 3 - 200 μg/m3 [Table C-4].
Note on R9: Mean of the FRM measurements.
Note on Q9: Valid FRM measurements, based on the results of the outlier test.
Note on O9: Valid FRM measurements, based on the results of the outlier test.
Note on P9: Valid FRM measurements, based on the results of the outlier test.
Note on S112: Unofficial - includes non-valid data sets.
Note on T112: Unofficial - includes non-valid data sets. See the "Precision" sheet for precision for test purposes.
Note on C9: Enter date applicable to the test data set.
Note on T113: Unofficial - includes non-valid data sets. See the "Precision" sheet for precision for test purposes.
Note on T114: Unofficial - includes non-valid data sets. See the "Precision" sheet for precision for test purposes.
Note on T115: Unofficial - includes non-valid data sets. See the "Precision" sheet for precision for test purposes.
Note on T116: Unofficial - includes non-valid data sets. See the "Precision" sheet for precision for test purposes.
Note on S113: Unofficial - includes non-valid data sets.
Note on S114: Unofficial - includes non-valid data sets.
Note on S115: Unofficial - includes non-valid data sets.
Note on S116: Unofficial - includes non-valid data sets.
Note on R113: Unofficial - includes non-valid data sets. See the "Precision" or "Regression" sheets for official test purposes.
Note on R114: Unofficial - includes non-valid data sets. See the "Precision" or "Regression" sheets for official test purposes.
Note on R115: Unofficial - includes non-valid data sets. See the "Precision" or "Regression" sheets for official test purposes.
Note on R116: Unofficial - includes non-valid data sets. See the "Precision" or "Regression" sheets for official test purposes.
Note on N112: See the "Precision" or "Regression" sheets for official calculations for valid data sets.
Note on K9: Tests for FRM outliers - Results are not used.
Note on L9: Tests for FRM outliers - Results are not used.

## Raw candidate data
Candidate Method (ARM) data entry
Applicant:
Candidate method:
Test site:
Set | Test | Candidate measurements, μg/m3 |  |  | Used for outlier test |  |  | Outlier tests: NOT APPLICABLE |  |  | Values | Cand. Set | Mean | Precision | CV
No. | Date | Unit 1 | Unit 2 | Unit 3 | 1 | 2 | 3 | Sampler 1 | Sampler 2 | Sampler 3 | Available | Validity | μg/m3 | μg/m3 | % | Comment regarding candidate data set
1 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
2 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
3 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
4 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
5 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
6 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
7 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
8 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
9 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
10 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
11 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
12 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
13 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
14 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
15 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
16 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
17 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
18 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
19 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
20 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
21 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
22 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
23 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
24 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
25 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
26 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
27 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
28 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
29 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
30 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
31 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
32 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
33 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
34 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
35 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
36 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
37 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
38 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
39 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
40 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
94 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
95 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
96 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
97 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
98 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
99 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
100 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
[12 empty] | Valid sets | All sets | Precision | CV
| Count | Candidate measurements, μg/m3 Unit 1: 0; Candidate measurements, μg/m3 Unit 2: 0; Candidate measurements, μg/m3 Unit 3: 0 |  |  |  | Count | 0 | 0 | 0 | 0
| Max | Candidate measurements, μg/m3 Unit 1: 0; Candidate measurements, μg/m3 Unit 2: 0; Candidate measurements, μg/m3 Unit 3: 0 |  |  |  | Max |  | 0 | 0 | 0%
| Min | Candidate measurements, μg/m3 Unit 1: 0; Candidate measurements, μg/m3 Unit 2: 0; Candidate measurements, μg/m3 Unit 3: 0 |  |  |  | Min |  | 0 | 0 | 0%
| Mean | [9 empty] | Mean | bar: Candidate measurements, μg/m3 Unit 1 to Candidate measurements, μg/m3 Unit 3
Note on P9: Precision as the standard deviation of the candidate method measurements, if more than one value entered.
Note on Q9: Precision of the candidate method data set, CPj [§53.35(f)(1), Equation 15], if more than one value is entered. CV = std. dev.(Col. Q)/mean(Col. P).
Note on C11: Enter dates on the Raw FRM data sheet.
Note on L9: This information is provided only for information purposes; it is not used to determine validity of candidate method measurements.
Note on C12: Enter dates on the Raw FRM data sheet.
Note on C13: Enter dates on the Raw FRM data sheet.
Note on C14: Enter dates on the Raw FRM data sheet.
Note on C15: Enter dates on the Raw FRM data sheet.
Note on C16: Enter dates on the Raw FRM data sheet.
Note on C17: Enter dates on the Raw FRM data sheet.
Note on C18: Enter dates on the Raw FRM data sheet.
Note on C19: Enter dates on the Raw FRM data sheet.
Note on C20: Enter dates on the Raw FRM data sheet.
Note on C21: Enter dates on the Raw FRM data sheet.
Note on C22: Enter dates on the Raw FRM data sheet.
Note on C23: Enter dates on the Raw FRM data sheet.
Note on C24: Enter dates on the Raw FRM data sheet.
Note on C25: Enter dates on the Raw FRM data sheet.
Note on C26: Enter dates on the Raw FRM data sheet.
Note on C27: Enter dates on the Raw FRM data sheet.
Note on C28: Enter dates on the Raw FRM data sheet.
Note on C29: Enter dates on the Raw FRM data sheet.
Note on C30: Enter dates on the Raw FRM data sheet.
Note on C31: Enter dates on the Raw FRM data sheet.
Note on C32: Enter dates on the Raw FRM data sheet.
Note on C33: Enter dates on the Raw FRM data sheet.
Note on C34: Enter dates on the Raw FRM data sheet.
Note on C35: Enter dates on the Raw FRM data sheet.
Note on C36: Enter dates on the Raw FRM data sheet.
Note on C37: Enter dates on the Raw FRM data sheet.
Note on C38: Enter dates on the Raw FRM data sheet.
Note on C39: Enter dates on the Raw FRM data sheet.
Note on C40: Enter dates on the Raw FRM data sheet.
Note on C41: Enter dates on the Raw FRM data sheet.
Note on C42: Enter dates on the Raw FRM data sheet.
Note on C43: Enter dates on the Raw FRM data sheet.
Note on N9: Validity of the candidate data set is based on having at least 2 valid candidate measurements [§53.35(c)(2)] and a valid FRM data set with mean FRM concentration measurement between 3 and 300 μm/m3 [Table C-4].
Note on M9: The outlier test does not apply to candidate method measurements.
Note on O9: Mean of the candidate method conentration measurements, Cj [§53.35(d)(4), Equation 12].
Note on N112: See the "Precision" or "Regression" sheets for official calculations for valid data sets.
Note on O112: Unofficial - includes non-valid data sets. See the "Precision" or "Regression" sheets for official test purposes.
Note on O113: Unofficial - includes non-valid data sets. See the "Precision" or "Regression" sheets for official test purposes.
Note on O114: Unofficial - includes non-valid data sets. See the "Precision" or "Regression" sheets for official test purposes.
Note on O115: Unofficial - includes non-valid data sets. See the "Precision" or "Regression" sheets for official test purposes.
Note on O116: Unofficial - includes non-valid data sets. See the "Precision" or "Regression" sheets for official test purposes.
Note on P112: Unofficial - includes non-valid data sets.
Note on P113: Unofficial - includes non-valid data sets.
Note on P114: Unofficial - includes non-valid data sets.
Note on P115: Unofficial - includes non-valid data sets.
Note on P116: Unofficial - includes non-valid data sets.
Note on Q112: Unofficial - includes non-valid data sets. See the "Precision" sheet for precision for test purposes.
Note on Q113: Unofficial - includes non-valid data sets. See the "Precision" sheet for precision for test purposes.
Note on Q114: Unofficial - includes non-valid data sets. See the "Precision" sheet for precision for test purposes.
Note on Q115: Unofficial - includes non-valid data sets. See the "Precision" sheet for precision for test purposes.
Note on Q116: Unofficial - includes non-valid data sets. See the "Precision" sheet for precision for test purposes.
Note on C44: Enter dates on the Raw FRM data sheet.
Note on C45: Enter dates on the Raw FRM data sheet.
Note on C46: Enter dates on the Raw FRM data sheet.
Note on C47: Enter dates on the Raw FRM data sheet.
Note on C48: Enter dates on the Raw FRM data sheet.
Note on C49: Enter dates on the Raw FRM data sheet.
Note on C50: Enter dates on the Raw FRM data sheet.
Note on C51: Enter dates on the Raw FRM data sheet.
Note on C52: Enter dates on the Raw FRM data sheet.
Note on C53: Enter dates on the Raw FRM data sheet.
Note on C54: Enter dates on the Raw FRM data sheet.
Note on C55: Enter dates on the Raw FRM data sheet.
Note on C56: Enter dates on the Raw FRM data sheet.
Note on C57: Enter dates on the Raw FRM data sheet.
Note on C58: Enter dates on the Raw FRM data sheet.
Note on C59: Enter dates on the Raw FRM data sheet.
Note on C60: Enter dates on the Raw FRM data sheet.
Note on C61: Enter dates on the Raw FRM data sheet.
Note on C62: Enter dates on the Raw FRM data sheet.
Note on C63: Enter dates on the Raw FRM data sheet.
Note on C64: Enter dates on the Raw FRM data sheet.
Note on C65: Enter dates on the Raw FRM data sheet.
Note on C66: Enter dates on the Raw FRM data sheet.
Note on C67: Enter dates on the Raw FRM data sheet.
Note on C68: Enter dates on the Raw FRM data sheet.
Note on C69: Enter dates on the Raw FRM data sheet.
Note on C70: Enter dates on the Raw FRM data sheet.
Note on C71: Enter dates on the Raw FRM data sheet.
Note on C72: Enter dates on the Raw FRM data sheet.
Note on C73: Enter dates on the Raw FRM data sheet.
Note on C74: Enter dates on the Raw FRM data sheet.
Note on C75: Enter dates on the Raw FRM data sheet.
Note on C76: Enter dates on the Raw FRM data sheet.
Note on C77: Enter dates on the Raw FRM data sheet.
Note on C78: Enter dates on the Raw FRM data sheet.
Note on C79: Enter dates on the Raw FRM data sheet.
Note on C80: Enter dates on the Raw FRM data sheet.
Note on C81: Enter dates on the Raw FRM data sheet.
Note on C82: Enter dates on the Raw FRM data sheet.
Note on C83: Enter dates on the Raw FRM data sheet.
Note on C84: Enter dates on the Raw FRM data sheet.
Note on C85: Enter dates on the Raw FRM data sheet.
Note on C86: Enter dates on the Raw FRM data sheet.
Note on C87: Enter dates on the Raw FRM data sheet.
Note on C88: Enter dates on the Raw FRM data sheet.
Note on C89: Enter dates on the Raw FRM data sheet.
Note on C90: Enter dates on the Raw FRM data sheet.
Note on C91: Enter dates on the Raw FRM data sheet.
Note on C92: Enter dates on the Raw FRM data sheet.
Note on C93: Enter dates on the Raw FRM data sheet.
Note on C94: Enter dates on the Raw FRM data sheet.
Note on C95: Enter dates on the Raw FRM data sheet.
Note on C96: Enter dates on the Raw FRM data sheet.
Note on C97: Enter dates on the Raw FRM data sheet.
Note on C98: Enter dates on the Raw FRM data sheet.
Note on C99: Enter dates on the Raw FRM data sheet.
Note on C100: Enter dates on the Raw FRM data sheet.
Note on C101: Enter dates on the Raw FRM data sheet.
Note on C102: Enter dates on the Raw FRM data sheet.
Note on C103: Enter dates on the Raw FRM data sheet.
Note on C104: Enter dates on the Raw FRM data sheet.
Note on C105: Enter dates on the Raw FRM data sheet.
Note on C106: Enter dates on the Raw FRM data sheet.
Note on C107: Enter dates on the Raw FRM data sheet.
Note on C108: Enter dates on the Raw FRM data sheet.
Note on C109: Enter dates on the Raw FRM data sheet.
Note on C110: Enter dates on the Raw FRM data sheet.

## Precision
[5 empty] | Calculation of Precision [53.35(e) and (f)] |  |  |  |  | Not appllicable for single-FRM or single-ARM data sets.
| Applicant: | [9 empty] | Click on the ▼ arrow
| Candidate method: | [9 empty] | in the "Validity" column,
| Test site: | [9 empty] | then click on "ok" to select
only valid data sets.
Set | Test | # values |  | Data set | Data set mean, μg/m3 |  | Data set precision, μg/m3 |  | Relative precision (CV) |  | (Click "all" to restore all
No. | Date | FRM | Cand | Validity | FRM | Candidate | FRM | Candidate | FRM | Candidate | data sets.)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
[5 empty] | Data set mean, μg/m3 |  | Data set precision, μg/m3 |  | Relative precision (CV)
[5 empty] | FRM | Candidate | FRM | Candidate | FRM | Candidate
|  |  |  | No. valid data sets: | 0 | 0 | 0 | 0 | 0 | 0
Mean:
|  |  |  | Maximum: | 0 | 0 | 0 | 0 | 0% | 0%
|  |  |  | Minimum: | 0 | 0 | 0 | 0 | 0% | 0%
Candidate/FRM Ratio:
[9 empty] | FRM | Candidate
RMS Precision for site
[5 empty] | Test requirements - Class III |  |  |  | 10% | 15%
Precision Test Results for site
Note on K119: FRM precision for the test site is the root mean square (RMS) of the precisions of the FRM data sets [§53.35(e)(2), Equation 14].
Note on L119: Candidate method precision for the test site is the root mean square (RMS) of the precisions of the candidate data sets [§53.35(f)(2), Equation 16].
Note on F7: Enter "invalid" for any data set that is not valid.
Note on H7: Means of the FRM and Candidate method measurements for valid data sets [§53.35(d)(2) and (4), Equations 11 and 12, respectively].
Note on J7: Precisions as the standard deviation of the FRM and candidate method measurements, respectively. These precision values are not used directly for test purposes.
Note on L7: Precisions of the FRM and Candidate method valid data sets, RPj and CPj [§53.35(e)(1) and (f)(1), Equations13 and 15]. CV = std. dev.(Col. J or K)/mean(Col. H or I).
Note on H110: Means of the FRM and Candidate method measurements for valid data sets [§53.35(d)(2) and (4), Equations 11 and 12, respectively].
Note on J110: Precisions as the standard deviation of the FRM and candidate method measurements, respectively. These precision values are not used directly for test purposes.
Note on L110: Precisions of the FRM and Candidate method valid data sets, RPj and CPj [§53.35(e)(1) and (f)(1), Equations13 and 15]. CV = std. dev.(Col. J or K)/mean(Col. H or I).
Note on G120: Requirement for method precision [Table C-4].
Note on K120: Requirement for FRM method precision [Table C-4].
Note on L120: Requirement for Candidate method precision [Table C-4].
Note on J119: FRM precision for the test site is the root mean square (RMS) of the precisions of the FRM or Candidate data sets [§53.35(e)(2) or (f)(2), Equations 14 or 16].
Note on J121: Test results are based only on the calculated precision, not considering whether the number of valid data sets is sufficient.
Note on K121: Test result is based only on the calculated precision, not considering whether the number of valid data sets is sufficient.
Note on L121: Test result is based only on the calculated precision, not considering whether the number of valid data sets is sufficient.

## Regression
Calculation of Slope, Intercept, and Correlation [§53.35(g) and (h)]
Applicant:
Candidate method:
Test site:
If all the data sets consist of only 1 FRM measurement and only 1 candidate method measurement, those values may be entered directly in the "Data set mean" columns here ▼ and here ▼ and then the Raw data and Precision spreadsheets are not used. If a data set is not valid, delete the "ok" here ▼.
Set | Test | # sets |  | Data set | Data set mean, μg/m3 |  | Please click on the ▼ arrow in the "Validity" column, then click on
No. | Date | FRM | Cand | Validity | FRM | Candidate | "ok" to select only valid data sets. (Click "all" to restore all sets.)
1 | [6 empty] | [Comments…]
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
| FRM mean concentration (R-bar): | [5 empty] | Regression statistics |  | Slope1 | Intercept2 | Correlation (r)
| Candidate mean concentration (C-bar): | [5 empty] | Statistics for this test site:
| Candidate/FRM ratio: | [5 empty] | Limits for | Upper: | 1.1
| Number of valid data sets: |  |  |  |  | 0 | Class III | Lower: | 0.9
| CCV (FRM): | [6 empty] | Test Results (Pass/Fail):
1Multiplicative bias 2Additive bias
[7 empty] | Intercept limits | Upper | Lower
PM2.5 Class II
PM2.5 Class III
PM10-2.5 Class II
PM10-2.5 Class III
Note on F9: Validity requires that both the corresponding FRM and candidate data sets or measurements are valid.
Note on H9: Means of the FRM and Candidate method measurements for valid data sets [§53.35(2) and (4), Equations 11 and 12, respectively].
Note on H112: Mean of the FRM method measurements for all valid data sets at the site, C-bar [§53.35(g)(1), Equation 17].
Note on H113: Mean of the Candidate method measurements for all valid data sets at the site, R-bar [§53.35(g)(2), Equations 18].
Note on H116: Concentration coefficient of variation (CCV) is the relative standard deviation (CV) of the valid FRM measurements for the site [§53.35(h)(2), Equation 22].
Note on M113: Calculated linear regression slope of the Candidate method versus the FRM method valid measurement pairs [§53.35(g)(3), Equation 19].
Note on N113: Calculated linear regression intercept of the Candidate method versus the FRM method valid measurement pairs [§53.35(g)(3), Equation 20].
Note on O113: Calculated (Pearson) correlation coefficient of the Candidate method versus the FRM method valid measurement pairs [§53.35(h)(1), Equation 21].
Note on M114: [Limit specified by Table C-4.]
Note on O115: [Limit specified by Table C-4.]
Note on L116: Test results are based only on the calculated values, not considering whether the number of valid data sets is sufficient.
Note on M116: Test result is based only on the calculated value, not considering whether the number of valid data sets is sufficient.
Note on N116: Test result is based only on the calculated value, not considering whether the number of valid data sets is sufficient.
Note on O116: Test result is based only on the calculated value, not considering whether the number of valid data sets is sufficient.
Note on N114: [Limit specified by Table C-4.]
Note on M115: [Limit specified by Table C-4.]
Note on N115: [Limit specified by Table C-4.]

## Summary
Summary - Candidate ARM Comparibility
Applicant:
Candidate method:
Test site:
Data sets | [6 empty] | Number
Valid data sets available: | [6 empty] | 0
Number of valid data sets required for ARM Comparison: | [6 empty] | 90
Number of valid data sets for this test is: | [5 empty] | Insufficient
Additional data sets needed: | [6 empty] | 90
Precision |  |  | Data set mean, μg/m3 |  | Data set precision, μg/m3 |  | Relative precision (CV)
(if data are available) |  |  | FRM | Candidate | FRM | Candidate | FRM | Candidate
Mean:
|  | Maximum: | 0 | 0
|  | Minimum: | 0 | 0
Candidate / FRM Ratio:
RMS Relative Precision for this site:
|  |  | Test requirements - Class III: |  |  |  | 10% | 15%
Precision Test Results for site:
Regression statistics |  |  |  | Slope1 | Intercept2 | Correlation (r)
Statistics for this test site:
Limits for |  |  | Upper: | 1.1
Class III |  |  | Lower: | 0.9
Test Results (Pass/Fail):
1Multiplicative bias 2Additive bias
*If chart does not plot correctly, go to the Regression sheet and click on the ▼ in the Validity column and then on "ok." If new data
are added, click "all" then "ok" to include the new data.
Calculations for the intercept limits graphic:
Precision limit calculation |  |  | Limits | PM2.5-II |  | PM2.5-III |  | PMc-II |  | PMc-III |  | Applicable
Size | PM2.5 |  | Point | PM2.5-II-S | PM2.5-II-I | PM2.5-III-S | PM2.5-III-I | PMc-II-S | PMc-II-I | PMc-III-S | PMc-III-I | S | I
Size | PM2.5 |  | 1 | 0.9 | 1.5 | 0.9 | 2 | 0.9 | 3.5 | 0.88 | 7 | 0.9 | 2
Cat (II/III) | III |  | 2 | 1.0007 | 1.5 | 0.98864 | 2 | 1.0702 | 3.5 | 1.0383 | 7 | 0.98864 | 2
Comb | PM2.5-III- |  | 3 | 1.1 | 0.005 | 1.1 | 0.53 | 1.1 | 1.4 | 1.12 | 2.0008 | 1.1 | 0.53
|  |  | 4 | 1.1 | -1.5 | 1.1 | -2 | 1.1 | -3.5 | 1.12 | -7 | 1.1 | -2
|  |  | 5 | 0.99934 | -1.5 | 0.98441 | -2 | 0.92979 | -3.5 | 0.93452 | -7 | 0.98441 | -2
|  |  | 6 | 0.9 | -0.004 | 0.9 | -0.538 | 0.9 | -1.4 | 0.88 | -2.4784 | 0.9 | -0.538
|  |  | 7 | 0.9 | 1.5 | 0.9 | 2 | 0.9 | 3.5 | 0.88 | 7 | 0.9 | 2
Note on H24: Calculated linear regression slope of the Candidate method versus the FRM method valid measurement pairs [§53.35(g)(3), Equation 19].
Note on I24: Calculated linear regression intercept of the Candidate method versus the FRM method valid measurement pairs [§53.35(g)(3), Equation 20].
Note on J24: Calculated (Pearson) correlation coefficient of the Candidate method versus the FRM method valid measurement pairs [§53.35(h)(1), Equation 21].
Note on H25: [Limit specified by Table C-4.]
Note on I25: [Limit specified by Table C-4.]
Note on H26: [Limit specified by Table C-4.]
Note on I26: [Limit specified by Table C-4.]
Note on J26: [Limit specified by Table C-4.]
Note on I9: At least 90 valid data sets are required for the test site, with at least 20 valid sample sets in each season. [Sec. 2.4.1.5]
Note on H13: Means of the FRM and Candidate method measurements for valid data sets [§53.35(d)(2) and (4), Equations 11 and 12, respectively].
Note on J13: Precisions as the standard deviation of the FRM and candidate method measurements, respectively. These precision values are not used directly for test purposes.
Note on L13: Precisions of the FRM and Candidate method valid data sets, RPj and CPj if applicable. [§53.35(e)(1) and (f)(1), Equations13 and 15]. CV = std. dev.(Col. J or K)/mean(Col. H or I).
Note on J19: Precision for the test site (if applicable) is the root mean square (RMS) of the precisions of the FRM or Candidate data sets [§53.35(e)(2) or (f)(2), Equations 14 or 16].
Note on K19: FRM precision for the test site (if applicable) is the root mean square (RMS) of the precisions of the FRM data sets [§53.35(e)(2), Equation 14].
Note on L19: Candidate method precision for the test site (if applicable) is the root mean square (RMS) of the precisions of the candidate data sets [§53.35(f)(2), Equation 16].
Note on G20: Requirement for method precision [Part 53, Table C-4].
Note on K20: Requirement for FRM method precision [Part 53, Table C-4].
Note on L20: Requirement for Candidate method precision [Part 53, Table C-4].
Note on K21: Test result is based only on the calculated precision, not considering whether the number of valid data sets is sufficient.
Note on L21: Test result is based only on the calculated precision, not considering whether the number of valid data sets is sufficient.
Note on J21: Test results are based only on the calculated precision, not considering whether the number of valid data sets is sufficient.
Note on C27: Test results are based only on the calculated values, not considering whether the number of valid data sets is sufficient.
Note on H27: Test result is based only on the calculated value, not considering whether the number of valid data sets is sufficient.
Note on I27: Test result is based only on the calculated value, not considering whether the number of valid data sets is sufficient.
Note on J27: Test result is based only on the calculated value, not considering whether the number of valid data sets is sufficient.
Note on K9: At least 90 valid data sets are required for the test site, with at least 20 valid sample sets in each season. [Sec. 2.4.1.5]