Meeting notes for January 20, 2004 I++ DME implementer’s conference call

Meeting scribe: John Horst, NIST

Attendees:

| Name | Organization | Present |
| --- | --- | --- |
|  |  | ( |
| Ray Admire | Lockheed Martin |  |
| Manfred Becker | Zeiss | ( |
| Perluigi Borgogno | Wilcox | ( |
| Joe Falco | NIST | ( |
| Swen Haubold | Mitutoyo | ( |
| John Horst | NIST | ( |
| René Keller | Metromec | ( |
| Tom Kramer | NIST | ( |
| Chuck Leckenby | Tecnomatix |  |
| Michel Penlae | Wilcox |  |
| Chiratana Pot | Tecnomatix | ( |
| Josef Resch | Zeiss | ( |
| Bill Rippey | NIST |  |
| Dave Smith | LK | ( |
| Keith Stouffer | NIST |  |
| Mark Vinson | Boeing |  |
| Bob Waite | DCX |  |
| Walter Punegam | Zeiss |  |
| Ken Sheehan | Entelegence |  |
| Günter Moritz | Messtechnik Wetzlar | ( |

# I++ DME interoperability demo issues

- John asked for feedback on the schedule of interoperability testing dates he sent out via email Friday, January 16, 2004.  Swen said that Mitutoyo might not be able to test server-side implementation until February.  Josef said that he has not been able to contact those that are implementing the client-side version for Zeiss.  Josef also asked how the interoperability tests would be accomplished.  John suggested two options: 1) since the I++ DME spec is a non-real-time specification, remote tests over the Internet should work and 2) client-side implementers could travel to server-side implementers’ sites to perform tests.  He pointed out that the down side of the former is that firewall challenges can be substantial.  Most everyone agreed with that.  Tom said that even though the spec is non-real-time, it allows certain real-time aspects within implementations.  The conclusion of the group was to test in stages starting with remote tests and moving to on-site tests.  John also suggested the NIST testbed as a third option for performing interoperability tests.  NIST and LK performed such a remote test when demonstrating the CMMdriver DME spec on July 13, 2001.  NIST and LK agreed to write up a document to explain how they established such a remote link as an aid to implementers.  Swen brought up the issue of VPN tunnels [through the firewall] and that they require much paper work to accomplish.  Chiratana suggested the use of local installations of relevant CMMs to accomplish client testing more economically.  It was requested and NIST agreed to delay items in the interoperability testing schedule to start after the next conference call.

- John asked what should be the testing results?  John asked if informal processing of testing results is sufficient or do they need some more formal help on testing metrics.  He further mentioned that NIST has done very preliminary work on creating such metrics and put these ideas into a spreadsheet.  Dave asked NIST to send spreadsheet around to the group, and John promised to do this.

- John continued to ask implementers that, while they are testing, to communicate potential errors and ambiguities in the spec to NIST and I++ group.

- John reported that NIST has created a draft project plan for accomplishing the interoperability demo.  NIST plans to make sure that

  - DME interface interoperability testing is complete and assured well before the demo

  - Demo equipment is committed (working through the AIAG)

  - Testing & Analysis interface and CAD interface are also part of the demo

  - Appropriate test artifacts and inspection programs are chosen

  - IMTS booth is secured and a convincing demonstration of true interoperability is shown

# Status and update on I++ DME spec

- Josef mentioned the issue concerning compatibility between DMIS and I++.  Relating to that issue and others, he said the I++ group is planning another DME conference in Stuttgart in the April 2004 timeframe.  They are planning a two day pair of meetings, in which the first day will be set aside to deal with general comments and questions by implementers for the I++ group.  The second day will be to discuss and resolve issues having to do with the compatibility of I++ DME with other data system, mainly to DMIS and also with reporting systems.  The I++ group would like to have DMIS experts in attendance.  The meeting is planned for the last week in March starting sometime during that week.  Chiratana: asked what was the purpose and planned output of the meeting.  Josef responded that it would be to get implementers to the conference to discuss issues in more detail.  It seemed that most implementers were interested and able to attend such a set of meetings.  Today’s conference call attendees agreed to forward information on free times for such a meeting to Josef, so that the meeting can be scheduled as soon as possible.

- Josef discussed the vision of I++ DME to get ISO stand and said that the I++ group is not planning to generate ISO standard, due to the amount of paper work, etc. and the inherent delays.  John and Dave mentioned that the question raised at the last conference call was to find out whether the I++ group was willing to have the I++ DME spec move towards an ISO standard after the I++ DME is at some stage of completion, not prior to that.

- NIST comments to 1.31.  Delayed comments. Not quite sure if internal at NIST, but answered high comments particularly.  Gave answer to them and put in excel sheet.  1.39 includes responses from both NIST and Rene.

# Status and update on I++ DME implementations

- John asked about progress on the generation of use cases on the need for calibration and sensor data on the interface.  Chiratana went to DMIS met Lutz was going to submit about calibration was going to send an SIR.  Josef had talks in December.

# Status and update on I++ DME test suite

- NIST is done with corrections based on feedback and plans to place version 2.1 on the web this week. Will put a list of changes in version 2.1 in the user’s manual.

- NIST I++ team met last week and made plans for a new version of the test suite with more coverage, namely, more permutations of commands in the client-side test utility and more variability in response (errors and anomalies mostly) in the server-side utility.  Recall we discussed the latter several conference calls ago.

# Other issues for discussion

- Swen asked Josef to send an agenda for the meetings to all implementers.

# Action items

- Implementers will to forward to Josef information on their free times for the planned Stuttgart meeting.

- Josef will send out an agenda for the pair of meetings planned in Stuttgart.

- Josef will ask the I++ group for their willingness to allow the I++ DME spec to go to an international standard (e.g., ISO) after completion of work on the I++ DME spec.

- NIST will work on and send out a new interoperability testing schedule to the group

- NIST will send out a spreadsheet of preliminary interoperability testing metrics to the group

- NIST will place the version 2.1 test suite on the web hopefully this week.

- Implementers will continue to send comments and use cases relating to the spec to NIST and the I++ group.

The next conf call meeting is planned for Monday 10AM EST Feb 2, 2004.