U.S. DEPARTMENT OF AGRICULTURE
NATURAL RESOURCES CONSERVATION SERVICE
IDAHO

operation and maintenance REQUIREMENTS
Water well
code 642

Landowner/Operator

Job Location

County					 SWCD					 Farm/Tract No.

Referral No.			Prepared By					 Date

Operation and Maintenance Items

A properly operated and maintained well is an asset to the farm.  This well was designed and installed to provide beneficial use of subsurface water.  The estimated life span of this installation is at least 10 years.  The life of this system can be assured and usually increased by developing and carrying out a good operation and maintenance program.

This practice will require performance of periodic maintenance and also require operational items to maintain satisfactory performance.  A good operation and maintenance program includes:

- Maintain the well cover securely in place.

- Protect the area from being damaged by agriculture machinery, vehicles, or livestock.

- All fences, railings, and/or warning signs shall be maintained to provide warning and/or prevent unauthorized human or livestock entry.

- Do not allow any foreign debris to accumulate in the immediate vicinity.

- Maintain soil and vegetative covering to the design conditions.

- Eradicate or otherwise remove all rodents or burrowing animals.  Immediately repair any damage caused by their activity.

- Check metal surfaces for rust and other damage especially sections in contact with earthfill and with other materials.  Repair or replace damaged section and apply paint as a protective covering.

- Keep all surface water from entering or accumulating at the immediate vicinity of the well site.

- Immediately repair any vandalism, vehicular, or livestock damage.

- Other items specific to your project are listed on "Special Operation and Maintenance Requirements" section.

procedures for colleciton of water quality samples

Bacterial Sampling

Sampling of community water supply wells, is covered by requirements of the State Board of Health and the local health department.  For individual domestic wells, technical assistance or advice regarding the collection of bacteriological samples may be obtained from local health department or from the laboratory that will examine the sample.

If no technical assistance is available, the following procedure will suffice:  A sterile sample bottle, preferably one provided by the laboratory that will make the determination, must be used.  It is extremely important that nothing except the water to be analyzed come in contact with the inside of the bottle or the cap; the water must not be allowed to flow over an object or over the hands while the bottle is being filled.  Do not rinse the sample bottle.  The sample should be delivered to the laboratory as soon as possible and in no case more than 24 hours after its collection.  During delivery, the sample should be kept as cool as possible (but not frozen).

Chemical (Mineral) Sampling

Generally, a routine mineral analysis (determination of the concentrations of the common minerals) will suffice, particularly where there is no prior knowledge of the chemical quality of the water in the area where the well is located.  Where quality conditions in the surrounding area are known, a more collective analysis may be made.  For certain uses it may also be desirable to make the case of domestic water) or other constituents not routinely determined.  Information or advice or chemical quality conditions may obtained from local agencies such as the county farm advisor's office, health department, and water service agency (irrigation or water district, for example).

The sample should be collected after the well has been pumped long enough to remove standing water and development and disinfectant chemicals, and to insure that water from the producing formation(s) has entered the well.  The water sample should be obtained in a chemically clean container preferably on obtained from the laboratory which has been selected to perform the analysis.  The container should be rinsed several times with the water to be sampled prior to collecting the sample.  The laboratory performing the analysisy should issue instructions regarding the quantity of sample required.  However, one-half gallon is usually sufficient for a routine mineral analysis; one gallon is needed when analysis for heavy metals is being requested.

Special Operation and Maintenance Requirements