## Arizona Existing-2008
No Retirements
No additions
SSG-WI 2008 BASE CASE GENERATOR LIST - UNITS ON LINE DURING 2008
GeneratorKey | Bus ID | Bus Name | Bus KV | Unit ID | Name | SubType | Long ID | Long Name | Commission Date | Retirement Date | PSSEMaxCap(MW) | Must Run | filter code | Area Name | Region Name | Fuel Type | Tech | Year | Age
203 | 15971 | CORONAD1 | 22 | 1 | Coronad1 | Coal | NA | Coronado 1 St Johns AZ | #1979-12-31# | #2050-12-31# | 398 | #FALSE# | 9 | ARIZONA | AZNMNV | Coal | Steam | 1979 | 29
204 | 15972 | CORONAD2 | 22 | 1 | Coronad2 | Coal | NA | Coronado 2 St Johns AZ | #1980-10-01# | #2050-12-31# | 427 | #FALSE# | 9 | ARIZONA | AZNMNV | Coal | Steam | 1980 | 28
210 | 15981 | NAVAJO 1 | 26 | 1 | Navajo1 | NA | NA | Navajo 1 Page AZ | #1974-05-01# | #2050-12-31# | 748 | #FALSE# | 9 | ARIZONA | AZNMNV | Coal | Steam | 1974 | 34
211 | 15982 | NAVAJO 2 | 26 | 1 | Navajo2 | NA | NA | Navajo 2 Page AZ | #1975-04-01# | #2050-12-31# | 748 | #FALSE# | 9 | ARIZONA | AZNMNV | Coal | Steam | 1975 | 33
212 | 15983 | NAVAJO 3 | 26 | 1 | Navajo3 | NA | NA | Navajo 3 Page AZ | #1976-04-01# | #2050-12-31# | 748 | #FALSE# | 9 | ARIZONA | AZNMNV | Coal | Steam | 1976 | 32
251 | 14900 | CHOLLA | 13.8 | 1 | Cholla1 | Coal | NA | Cholla 1 Joseph City AZ | #1962-06-01# | #2050-12-31# | 110 | #FALSE# | 9 | ARIZONA | AZNMNV | Coal | Steam | 1962 | 46
252 | 14901 | CHOLLA2 | 22 | 1 | Cholla2 | Coal | NA | Cholla 2 Joseph City AZ | #1978-06-01# | #2050-12-31# | 245 | #FALSE# | 9 | ARIZONA | AZNMNV | Coal | Steam | 1978 | 30
253 | 14902 | CHOLLA3 | 22 | 1 | Cholla3 | Coal | NA | Cholla 3 Joseph City AZ | #1980-05-01# | #2050-12-31# | 260 | #FALSE# | 9 | ARIZONA | AZNMNV | Coal | Steam | 1980 | 28
254 | 14903 | CHOLLA4 | 22 | 1 | Cholla4 | Coal | NA | Cholla 4 Joseph City AZ | #1981-06-01# | #2050-12-31# | 380 | #FALSE# | 9 | ARIZONA | AZNMNV | Coal | Steam | 1981 | 27
255 | 14911 | FCNGEN 1 | 20 | 1 | FrCrnrs1 | Coal | NA | Four Corners 1 Farmington NM | #1963-05-01# | #2050-12-31# | 170 | #FALSE# | 9 | ARIZONA | AZNMNV | Coal | Steam | 1963 | 45
256 | 14912 | FCNGEN 2 | 20 | 1 | FrCrnrs2 | Coal | NA | Four Corners 2 Farmington NM | #1963-06-01# | #2050-12-31# | 170 | #FALSE# | 9 | ARIZONA | AZNMNV | Coal | Steam | 1963 | 45
257 | 14913 | FCNGEN 3 | 20 | 1 | FrCrnrs3 | Coal | NA | Four Corners 3 Farmington NM | #1964-08-01# | #2050-12-31# | 220 | #FALSE# | 9 | ARIZONA | AZNMNV | Coal | Steam | 1964 | 44
258 | 14914 | FCNGN4CC | 22 | 4 | FrCrnrs4 | Coal | NA | Four Corners 4 Farmington NM | #1969-07-01# | #2050-12-31# | 750 | #FALSE# | 9 | ARIZONA | AZNMNV | Coal | Steam | 1969 | 39
259 | 14915 | FCNGN5CC | 22 | 5 | FrCrnrs5 | Coal | NA | Four Corners 5 Farmington NM | #1970-07-01# | #2050-12-31# | 750 | #FALSE# | 9 | ARIZONA | AZNMNV | Coal | Steam | 1970 | 38
308 | 17029 | APACHST2 | 20 | 1 | ApachST2 | Coal | NA | Apache Station ST2 Cochise AZ | #1979-01-01# | #2050-12-31# | 175 | #FALSE# | 9 | ARIZONA | AZNMNV | Coal | Steam | 1979 | 29
309 | 17030 | APACHST3 | 20 | 1 | ApachST3 | Coal | NA | Apache Station ST3 Cochise AZ | #1979-09-01# | #2050-12-31# | 175 | #FALSE# | 9 | ARIZONA | AZNMNV | Coal | Steam | 1979 | 29
314 | 16503 | IRVTGE4 | 18 | 1 | Irvngtn4 | Coal | NA | Irvington 4 Tucson AZ | #1967-07-01# | #2050-12-31# | 115 | #FALSE# | 9 | ARIZONA | AZNMNV | Coal | Steam | 1967 | 41
315 | 16500 | SPR GEN1 | 19 | 1 | Sprngrv1 | Coal | NA | Springerville 1 Apache Cnty AZ | #1985-06-01# | #2050-12-31# | 380 | #FALSE# | 9 | ARIZONA | AZNMNV | Coal | Steam | 1985 | 23
316 | 16501 | SPR GEN2 | 19 | 1 | Sprngrv2 | Coal | NA | Springerville 2 Apache Cnty AZ | #1990-06-01# | #2050-12-31# | 380 | #FALSE# | 9 | ARIZONA | AZNMNV | Coal | Steam | 1990 | 18
333 | 16518 | SPR GEN3 | 21 | 1 | Sprngrv3 | Coal | NA | Springerville 3 Apache Cnty AZ | #2006-12-31# | #2050-12-31# | 430 | #FALSE# | 9 | ARIZONA | AZNMNV | Coal | Steam | 2006 | 2
205 | 15911 | KYRENE 1 | 12.5 | 1 | Kyrene1 | NA | NA | Kyrene 1 Tempe AZ | #1952-07-01# | #2050-12-31# | 36 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | Steam | 1952 | 56
206 | 15912 | KYRENE 2 | 12.5 | 1 | Kyrene2 | NA | NA | Kyrene 2 Tempe AZ | #1954-06-01# | #2050-12-31# | 75 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | Steam | 1954 | 54
207 | 15914 | KYRENE 4 | 13.8 | 1 | KyrenGT4 | NA | NA | Kyrene GT4 Tempe AZ | #1971-12-01# | #2050-12-31# | 52 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | SCCT | 1971 | 37
208 | 15916 | KYRENE 6 | 13.8 | 1 | KyrenGT6 | NA | NA | Kyrene GT6 Tempe AZ | #1973-06-01# | #2050-12-31# | 50 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | SCCT | 1973 | 35
209 | 15915 | KYRENE 5 | 13.8 | 2 | KyrenGT5 | NA | NA | Kyrene GT5 Tempe AZ | #1973-07-01# | #2050-12-31# | 50 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | SCCT | 1973 | 35
217 | 15905 | AGUAFR 5 | 13.8 | 1 | AguaFria5 | NA | NA | Agua Fria 5 Glendale AZ | #1974-07-01# | #2050-12-31# | 66 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | SCCT | 1974 | 34
218 | 15906 | AGUAFR 6 | 13.8 | 2 | AguaFria6 | NA | NA | Agua Fria 6 Glendale AZ | #1974-07-01# | #2050-12-31# | 66 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | SCCT | 1974 | 34
219 | 15904 | AGUAFR 4 | 13.8 | 1 | AguaFria4 | NA | NA | Agua Fria 4 Glendale AZ | #1975-05-01# | #2050-12-31# | 66 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | SCCT | 1975 | 33
220 | 15903 | AGUAFR 3 | 18 | 1 | AguaFria3 | NA | NA | Agua Fria 3 Glendale AZ | #1961-04-01# | #2050-12-31# | 181 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | Steam | 1961 | 47
221 | 15901 | AGUAFR 1 | 13.8 | 1 | AguaFria1 | NA | NA | Agua Fria 1 Glendale AZ | #1958-01-01# | #2050-12-31# | 113 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | Steam | 1958 | 50
222 | 15902 | AGUAFR 2 | 13.8 | 2 | AguaFria2 | NA | NA | Agua Fria 2 Glendale AZ | #1957-04-01# | #2050-12-31# | 113 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | Steam | 1957 | 51
223 | 15921 | SANTAN 1 | 13.8 | 1 | Santan 1 | NA | NA | Santan 1 Gilbert AZ | #1974-10-01# | #2050-12-31# | 90 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 1974 | 34
224 | 15923 | SANTAN 3 | 13.8 | 2 | Santan 3 | NA | NA | Santan 3 Gilbert AZ | #1974-10-01# | #2050-12-31# | 90 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 1974 | 34
225 | 15922 | SANTAN 2 | 13.8 | 1 | Santan 2 | NA | NA | Santan 2 Gilbert AZ | #1974-12-01# | #2050-12-31# | 90 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 1974 | 34
226 | 15924 | SANTAN 4 | 13.8 | 2 | Santan 4 | NA | NA | Santan 4 Gilbert AZ | #1975-05-01# | #2050-12-31# | 90 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 1975 | 33
235 | 15918 | KYREN 7S | 13.8 | 1 | KyrenOas | NA | NA | Kyrene (Oasis) | #2002-09-01# | #2050-12-31# | 98 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | SCCT | 2002 | 6
236 | 15145 | ARL-CT1 | 18 | 1 | ArlngtnCT1 | NA | NA | Arlington Valley CT1 | #2002-06-15# | #2050-12-31# | 186.6 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2002 | 6
238 | 15147 | ARL-ST1 | 18 | 1 | ArlngtnST1 | NA | NA | Arlington Valley ST1 | #2002-06-15# | #2050-12-31# | 70 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2002 | 6
239 | 15157 | HGC-CT1 | 16 | 1 | HarquaCT1 | NA | NA | Harquahala CT1 | #2004-09-10# | #2050-12-31# | 238 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2004 | 4
240 | 15158 | HGC-ST1 | 13.8 | 1 | HarquaST1 | NA | NA | Harquahala ST1 | #2004-09-10# | #2050-12-31# | 140 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2004 | 4
241 | 15159 | HGC-CT2 | 16 | 1 | HarquaCT2 | NA | NA | Harquahala CT2 | #2004-09-10# | #2050-12-31# | 238 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2004 | 4
242 | 15160 | HGC-ST2 | 13.8 | 1 | HarquaST2 | NA | NA | Harquahala ST2 | #2004-09-10# | #2050-12-31# | 140 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2004 | 4
243 | 15161 | HGC-CT3 | 16 | 1 | HarquaCT3 | NA | NA | Harquahala CT3 | #2004-09-10# | #2050-12-31# | 238 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2004 | 4
244 | 15162 | HGC-ST3 | 13.8 | 1 | HarquaST3 | NA | NA | Harquahala ST3 | #2004-09-10# | #2050-12-31# | 140 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2004 | 4
245 | 15164 | MES-CT1 | 18 | 1 | MesquitCT1 | NA | NA | Mesquite CT1 | #2003-05-30# | #2050-12-31# | 180.4 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2003 | 5
246 | 15165 | MES-CT2 | 18 | 1 | MesquitCT2 | NA | NA | Mesquite CT2 | #2003-11-12# | #2050-12-31# | 180.4 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2003 | 5
247 | 15166 | MES-ST1 | 18 | 1 | MesquitST1 | NA | NA | Mesquite ST1 | #2003-05-30# | #2050-12-31# | 316.4 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2003 | 5
248 | 15167 | MES-CT3 | 18 | 1 | MesquitCT3 | NA | NA | Mesquite CT3 | #2003-11-01# | #2050-12-31# | 180.4 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2003 | 5
249 | 15168 | MES-CT4 | 18 | 1 | MesquitCT4 | NA | NA | Mesquite CT4 | #2003-11-01# | #2050-12-31# | 180.4 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2003 | 5
250 | 15169 | MES-ST2 | 18 | 1 | MesquitST2 | NA | NA | Mesquite ST2 | #2003-11-12# | #2050-12-31# | 316.4 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2003 | 5
260 | 14921 | OCOTGT1 | 13.8 | 1 | OctllGT1 | NA | NA | Ocotillo GT1 Tempe AZ | #1972-05-01# | #2050-12-31# | 55.9 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | SCCT | 1972 | 36
261 | 14922 | OCOTGT2 | 13.8 | 1 | OctllGT2 | NA | NA | Ocotillo GT2 Tempe AZ | #1973-07-01# | #2050-12-31# | 55.9 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | SCCT | 1973 | 35
265 | 14944 | SAG. CT1 | 13.8 | 1 | SaguarAZ1 | NA | NA | Saguaro 1 Red Rock AZ | #1954-01-01# | #2050-12-31# | 54.5 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | Steam | 1954 | 54
266 | 14943 | SAG. CT2 | 13.8 | 1 | SaguarAZ2 | NA | NA | Saguaro 2 Red Rock AZ | #1955-01-01# | #2050-12-31# | 54.5 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | SCCT | 1955 | 53
267 | 14941 | SAGUARO1 | 15.5 | 1 | SagurAZGT1 | NA | NA | Saguaro GT1 Red Rock AZ | #1972-01-01# | #2050-12-31# | 110 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | Steam | 1972 | 36
268 | 14942 | SAGUARO2 | 15.5 | 1 | SagurAZGT2 | NA | NA | Saguaro GT2 Red Rock AZ | #1973-01-01# | #2050-12-31# | 99 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | SCCT | 1973 | 35
269 | 14951 | WPHX CC1 | 13.8 | 1 | WstPhnxCC1 | NA | NA | West Phoenix CC1 Phoenix AZ | #1976-06-01# | #2050-12-31# | 85 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 1976 | 32
270 | 14952 | WPHX CC2 | 13.8 | 1 | WstPhnxCC2 | NA | NA | West Phoenix CC2 Phoenix AZ | #1976-06-01# | #2050-12-31# | 85 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 1976 | 32
271 | 14953 | WPHX CC3 | 13.8 | 1 | WstPhnxCC3 | NA | NA | West Phoenix CC3 Phoenix AZ | #1976-06-01# | #2050-12-31# | 85 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 1976 | 32
272 | 14954 | WPHX GT1 | 13.8 | 1 | WstPhnxGT1 | NA | NA | West Phoenix GT1 Phoenix AZ | #2001-01-01# | #2050-12-31# | 56.2 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | SCCT | 2001 | 7
273 | 14965 | YUCCAGEN | 13.8 | 1 | YuccaST | NA | NA | Yucca ST Yuma AZ | #1959-04-01# | #2050-12-31# | 75 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | Steam | 1959 | 49
274 | 14924 | OCOTST2 | 13.8 | 1 | Ocotill2 | NA | NA | Ocotillo 2 Tempe AZ | #1960-03-01# | #2050-12-31# | 114.9 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | Steam | 1960 | 48
275 | 14925 | OCOTST1 | 13.8 | 1 | Ocotill1 | NA | NA | Ocotillo 1 Tempe AZ | #1960-06-01# | #2050-12-31# | 114.9 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | Steam | 1960 | 48
276 | 14957 | WPHX GT2 | 13.8 | 1 | WstPhnxGT2 | NA | NA | West Phoenix GT2 Phoenix AZ | #2001-01-01# | #2050-12-31# | 56.2 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | SCCT | 2001 | 7
277 | 14961 | YUCCACT1 | 13.2 | 1 | YuccaCT1 | NA | NA | Yucca GT1 Yuma AZ | #1971-07-01# | #2050-12-31# | 19.1 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | SCCT | 1971 | 37
278 | 14962 | YUCCACT2 | 13.2 | 1 | YuccaCT2 | NA | NA | Yucca GT2 Yuma AZ | #1971-07-01# | #2050-12-31# | 19.1 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | SCCT | 1971 | 37
279 | 14963 | YUCCACT3 | 13.8 | 1 | YuccaCT3 | NA | NA | Yucca GT3 Yuma AZ | #1973-06-01# | #2050-12-31# | 55 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | SCCT | 1973 | 35
281 | 14501 | DBG-CT1 | 18 | 1 | DesrtBasCT1 | NA | NA | Desert Basin 1 Casa Grande CA | #2001-10-01# | #2050-12-31# | 177 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2001 | 7
282 | 14502 | DBG-CT2 | 18 | 1 | DesrtBasCT2 | NA | NA | Desert Basin 2 Casa Grande CA | #2001-10-01# | #2050-12-31# | 177 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2001 | 7
283 | 14503 | DBG-ST1 | 18 | 1 | DesrtBasST1 | NA | NA | Desert Basin ST Casa Grande CA | #2001-10-01# | #2050-12-31# | 262 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2001 | 7
284 | 14966 | WPCC5CT1 | 15 | 1 | WstPhnxCC5A | NA | NA | West Phoenix CC5A Phoenix AZ | #1950-01-01# | #2050-12-31# | 172 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 1950 | 58
285 | 14967 | WPCC5CT2 | 15 | 1 | WstPhnxCC5C | NA | NA | West Phoenix CC5C Phoenix AZ | #1950-01-01# | #2050-12-31# | 172 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 1950 | 58
286 | 14968 | WPCC5ST1 | 16.5 | 1 | WstPhnxCC5 | NA | NA | West Phoenix CC5 | #2003-06-01# | #2050-12-31# | 185.6 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2003 | 5
287 | 14950 | WPCC4ST1 | 13.8 | 1 | WstPhnxST1 | NA | NA | West Phoenix ST1 Phoenix AZ | #2001-07-01# | #2050-12-31# | 42 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | Steam | 2001 | 7
288 | 14958 | WPCC4CT1 | 13.8 | 1 | WstPhnxCC4 | NA | NA | West Phoenix CC4 Phoenix AZ | #1950-01-01# | #2050-12-31# | 68 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 1950 | 58
289 | 14974 | RED-CT1 | 18 | 1 | RedhwkCT1 | NA | NA | Redhawk CT1 | #2002-07-31# | #2050-12-31# | 153.3 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2002 | 6
290 | 14975 | RED-CT2 | 18 | 1 | RedhwkCT2 | NA | NA | Redhawk CT2 | #2002-08-01# | #2050-12-31# | 153.3 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2002 | 6
291 | 14800 | GIL-CT1 | 18 | 1 | GilaRvrCT1 | NA | NA | Gila River CT1 | #2003-05-29# | #2050-12-31# | 170.3 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2003 | 5
292 | 14801 | GIL-CT2 | 18 | 1 | GilaRvrCT2 | NA | NA | Gila River CT2 | #2003-05-29# | #2050-12-31# | 170.3 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2003 | 5
293 | 14802 | GIL-ST1 | 18 | 1 | GilaRvrST1 | NA | NA | Gila River ST1 | #2003-05-29# | #2050-12-31# | 67 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2003 | 5
294 | 14803 | GIL-CT3 | 18 | 1 | GilaRvrCT3 | NA | NA | Gila River CT3 | #2003-06-19# | #2050-12-31# | 170.3 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2003 | 5
295 | 14804 | GIL-CT4 | 18 | 1 | GilaRvrCT4 | NA | NA | Gila River CT4 | #2003-06-19# | #2050-12-31# | 170.3 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2003 | 5
296 | 14805 | GIL-ST2 | 18 | 1 | GilaRvrST2 | NA | NA | Gila River ST2 | #2003-06-19# | #2050-12-31# | 67 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2003 | 5
297 | 14806 | GIL-CT5 | 18 | 1 | GilaRvrCT5 | NA | NA | Gila River CT5 | #2003-07-21# | #2050-12-31# | 170.3 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2003 | 5
298 | 14807 | GIL-CT6 | 18 | 1 | GilaRvrCT6 | NA | NA | Gila River CT6 | #2003-07-21# | #2050-12-31# | 170.3 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2003 | 5
299 | 14808 | GIL-ST3 | 18 | 1 | GilaRvrST3 | NA | NA | Gila River ST3 | #2003-07-21# | #2050-12-31# | 67 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2003 | 5
300 | 14809 | GIL-CT7 | 18 | 1 | GilaRvrCT7 | NA | NA | Gila River CT7 | #2003-07-21# | #2050-12-31# | 176 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2003 | 5
301 | 14810 | GIL-CT8 | 18 | 1 | GilaRvrCT8 | NA | NA | Gila River CT8 | #2003-07-21# | #2050-12-31# | 176 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2003 | 5
302 | 14811 | GIL-ST4 | 18 | 1 | GilaRvrST4 | NA | NA | Gila River ST4 | #2003-07-21# | #2050-12-31# | 67 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2003 | 5
303 | 17024 | APACHCT1 | 13.8 | 1 | ApachGT1 | NA | NA | Apache Station GT1 Cochise AZ | #1963-02-01# | #2050-12-31# | 10 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | SCCT | 1963 | 45
306 | 17027 | APACHCT4 | 13.8 | 1 | ApachCC1B | NA | NA | Apache Station CC1B Cochise AZ | #2002-10-01# | #2050-12-31# | 40 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | SCCT | 2002 | 6
307 | 17028 | APACHST1 | 13.8 | 1 | ApachCC1A | NA | NA | Apache Station CC1A Cochise AZ | #1964-11-01# | #2050-12-31# | 75 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 1964 | 44
310 | 16514 | DMPCCT#1 | 13.8 | 1 | DMossPtr1 | NA | NA | DeMoss Petrie GT 1 | #1973-06-01# | #2050-12-31# | 73 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | SCCT | 1973 | 35
311 | 16507 | IRVTGE1 | 13.8 | 1 | Irvngtn1 | NA | NA | Irvington 1 Tucson AZ | #1958-12-01# | #2050-12-31# | 73 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | Steam | 1958 | 50
312 | 16508 | IRVTGE2 | 13.8 | 1 | Irvngtn2 | NA | NA | Irvington 2 Tucson AZ | #1960-10-01# | #2050-12-31# | 73 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | Steam | 1960 | 48
313 | 16509 | IRVTGE3 | 13.8 | 1 | Irvngtn3 | NA | NA | Irvington 3 Tucson AZ | #1962-06-01# | #2050-12-31# | 102 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | Steam | 1962 | 46
317 | 16504 | IRVNTCT | 13.8 | 1 | IrvngGT1 | NA | NA | Irvington GT1 Tucson AZ | #1972-12-01# | #2050-12-31# | 22 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | SCCT | 1972 | 36
318 | 16504 | IRVNTCT | 13.8 | 2 | IrvngGT2 | NA | NA | Irvington GT2 Tucson AZ | #1972-12-01# | #2050-12-31# | 22 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | SCCT | 1972 | 36
319 | 16510 | NLOOPCT | 13.8 | 1 | NorthLp1 | NA | NA | North Loop 1 Marana AZ | #1972-12-01# | #2050-12-31# | 22 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | SCCT | 1972 | 36
320 | 16510 | NLOOPCT | 13.8 | 2 | NorthLp2 | NA | NA | North Loop 2 Marana AZ | #1972-12-01# | #2050-12-31# | 22 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | SCCT | 1972 | 36
321 | 16510 | NLOOPCT | 13.8 | 3 | NorthLp3 | NA | NA | North Loop 3 Marana AZ | #1972-12-01# | #2050-12-31# | 22 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | SCCT | 1972 | 36
322 | 16510 | NLOOPCT | 13.8 | 4 | NorthLp4 | NA | NA | North Loop 4 Marana AZ | #1974-06-01# | #2050-12-31# | 20 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | SCCT | 1974 | 34
323 | 14945 | SAG. CT3 | 13.8 | 1 | SaguarAZ3 | NA | NA | Saguaro 3 Red Rock AZ | #1950-01-01# | #2050-12-31# | 80 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | SCCT | 1950 | 58
324 | 14976 | RED-CT3 | 18 | 1 | RedhwkCT3 | NA | NA | Redhawk CT3 | #1950-01-01# | #2050-12-31# | 153.3 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 1950 | 58
325 | 14977 | RED-CT4 | 18 | 1 | RedhwkCT4 | NA | NA | Redhawk CT4 | #1950-01-01# | #2050-12-31# | 153.3 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 1950 | 58
326 | 14982 | RED-ST1 | 18 | 1 | RedhwkST1 | NA | NA | Redhawk ST1 | #2002-07-31# | #2050-12-31# | 165.3 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2002 | 6
327 | 14983 | RED-ST2 | 18 | 1 | RedhwkST2 | NA | NA | Redhawk ST2 | #2002-08-01# | #2050-12-31# | 165.3 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2002 | 6
328 | 15919 | KYREN 7A | 18 | 1 | KyrenCC1A | NA | NA | Kyrene CC1A | #2002-10-11# | #2050-12-31# | 148 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2002 | 6
329 | 84839 | RVERSIDE | 69 | 1 | CtyRvrsd | NA | NA | City of Riverside generation | #1950-01-01# | #2050-12-31# | 56 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | SCCT | 1950 | 58
334 | 15926 | SANTN 5S | 18 | 1 | SantanX5S | NA | NA | Santan Expansion 5S | #2005-06-01# | #2050-12-31# | 271.5 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2005 | 3
335 | 15927 | SANTN 5A | 18 | 1 | SantanX5A | NA | NA | Santan Expansion 5A | #2005-06-01# | #2050-12-31# | 139.5 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2005 | 3
336 | 15928 | SANTN 5B | 18 | 1 | SantanX5B | NA | NA | Santan Expansion 5B | #2005-06-01# | #2050-12-31# | 139.5 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2005 | 3
337 | 15929 | SANTN 6A | 18 | 1 | SantanX6A | NA | NA | Santan Expansion 6A | #2006-06-01# | #2050-12-31# | 153.8 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2006 | 2
338 | 15930 | SANTN 6S | 13.8 | 1 | SantanX6S | NA | NA | Santan Expansion 6B | #2006-06-01# | #2050-12-31# | 136 | #FALSE# | 9 | ARIZONA | AZNMNV | Gas | CCCT | 2006 | 2
227 | 15931 | HRSMS123 | 13.8 | 1 | HRSMS123_1 | Hydro | NA | Horse Mesa 1 Salt River AZ | #1950-01-01# | #2050-12-31# | 10 | #FALSE# | 9 | ARIZONA | AZNMNV | Hydro | Hydro | 1950 | 58
228 | 15931 | HRSMS123 | 13.8 | 2 | HRSMS123_2 | Hydro | NA | Horse Mesa 2 Salt River AZ | #1950-01-01# | #2050-12-31# | 10 | #FALSE# | 9 | ARIZONA | AZNMNV | Hydro | Hydro | 1950 | 58
229 | 15931 | HRSMS123 | 13.8 | 3 | HRSMS123_3 | Hydro | NA | Horse Mesa 3 Salt River AZ | #1950-01-01# | #2050-12-31# | 10 | #FALSE# | 9 | ARIZONA | AZNMNV | Hydro | Hydro | 1950 | 58
230 | 15934 | HRSMS4 | 13.8 | 1 | HRSMS4_1 | Hydro | NA | Horse Mesa PS1 Salt River AZ | #1950-01-01# | #2050-12-31# | 96 | #FALSE# | 9 | ARIZONA | AZNMNV | Hydro | Hydro | 1950 | 58
231 | 15941 | MRMFLT12 | 13.8 | 1 | MRMFLT12_1 | Hydro | NA | Mormon Flat 1 Salt River AZ | #1950-01-01# | #2050-12-31# | 11 | #FALSE# | 9 | ARIZONA | AZNMNV | Hydro | Hydro | 1950 | 58
232 | 15941 | MRMFLT12 | 13.8 | 2 | MRMFLT12_2 | Hydro | NA | Mormon Flat 2 Salt River AZ | #1950-01-01# | #2050-12-31# | 47 | #FALSE# | 9 | ARIZONA | AZNMNV | Hydro | Hydro | 1950 | 58
233 | 15951 | RSVLTGEN | 13.8 | 1 | RSVLTGEN_1 | Hydro | NA | Roosevelt 1 Salt River AZ | #1950-01-01# | #2050-12-31# | 36 | #FALSE# | 9 | ARIZONA | AZNMNV | Hydro | Hydro | 1950 | 58
234 | 15961 | STEWMTN | 11 | 1 | STEWMTN_1 | Hydro | NA | Stewart Mtn 1 Salt River AZ | #1950-01-01# | #2050-12-31# | 13 | #FALSE# | 9 | ARIZONA | AZNMNV | Hydro | Hydro | 1950 | 58
262 | 14931 | PALOVRD1 | 24 | 1 | PaloVerd1 | NA | NA | Palo Verde 1 Wintersburg AZ | #1986-01-01# | #2050-12-31# | 1379 | #FALSE# | 9 | ARIZONA | AZNMNV | Nuclear | NUCLEAR | 1986 | 22
263 | 14932 | PALOVRD2 | 24 | 1 | PaloVerd2 | NA | NA | Palo Verde 2 Wintersburg AZ | #1986-09-01# | #2050-12-31# | 1379 | #FALSE# | 9 | ARIZONA | AZNMNV | Nuclear | NUCLEAR | 1986 | 22
264 | 14933 | PALOVRD3 | 24 | 1 | PaloVerd3 | NA | NA | Palo Verde 3 Wintersburg AZ | #1988-01-01# | #2050-12-31# | 1379 | #FALSE# | 9 | ARIZONA | AZNMNV | Nuclear | NUCLEAR | 1988 | 20
280 | 14964 | YUCCACT4 | 13.8 | 1 | YuccaCT4 | NA | NA | Yucca GT4 Yuma AZ | #1974-07-01# | #2050-12-31# | 55 | #FALSE# | 9 | ARIZONA | AZNMNV | Oil | SCCT | 1974 | 34
304 | 17025 | APACHCT2 | 13.8 | 1 | ApachGT2 | NA | NA | Apache Station GT2 Cochise AZ | #1972-06-01# | #2050-12-31# | 20 | #FALSE# | 9 | ARIZONA | AZNMNV | Oil | SCCT | 1972 | 36
305 | 17026 | APACHCT3 | 13.8 | 1 | ApachGT3 | NA | NA | Apache Station GT3 Cochise AZ | #1975-06-01# | #2050-12-31# | 65 | #FALSE# | 9 | ARIZONA | AZNMNV | Oil | SCCT | 1975 | 33
2627 | 19317 | SOPOINT1 | 16 | 1 | SouthPnt1 | NA | NA | South Point 1 | #2001-05-15# | #2050-12-31# | 170 | #FALSE# | 9 | WAPA L.C | AZNMNV | Gas | CCCT | 2001 | 7
2628 | 19318 | SOPOINT2 | 16 | 2 | SouthPnt2 | NA | NA | South Point 2 | #2001-05-15# | #2050-12-31# | 175 | #FALSE# | 9 | WAPA L.C | AZNMNV | Gas | CCCT | 2001 | 7
2629 | 19319 | SOPOINT3 | 16 | 3 | SouthPnt3 | NA | NA | South Point 3 | #2001-05-15# | #2050-12-31# | 175 | #FALSE# | 9 | WAPA L.C | AZNMNV | Gas | CCCT | 2001 | 7
2630 | 19311 | GRIFFTH1 | 16 | 1 | Griffith1 | NA | NA | Griffith 1 | #2002-01-01# | #2050-12-31# | 214 | #FALSE# | 9 | WAPA L.C | AZNMNV | Gas | CCCT | 2002 | 6
2631 | 19312 | GRIFFTH2 | 16 | 2 | Griffith2 | NA | NA | Griffith 2 | #2002-01-01# | #2050-12-31# | 214 | #FALSE# | 9 | WAPA L.C | AZNMNV | Gas | CCCT | 2002 | 6
2632 | 19313 | GRIFFTH3 | 16 | 3 | Griffith3 | NA | NA | Griffith 3 | #2002-01-01# | #2050-12-31# | 140 | #FALSE# | 9 | WAPA L.C | AZNMNV | Gas | CCCT | 2002 | 6
2633 | 19322 | BLYENG1 | 16 | 1 | Blythe1 | NA | NA | Blythe 1 | #2003-07-15# | #2050-12-31# | 173 | #FALSE# | 9 | WAPA L.C | AZNMNV | Gas | CCCT | 2003 | 5
2634 | 19323 | BLYENG2 | 16 | 1 | Blythe2 | NA | NA | Blythe 2 | #2003-07-15# | #2050-12-31# | 173 | #FALSE# | 9 | WAPA L.C | AZNMNV | Gas | CCCT | 2003 | 5
2635 | 19324 | BLYENG3 | 16 | 1 | Blythe3 | NA | NA | Blythe 3 | #2006-02-01# | #2050-12-31# | 173 | #FALSE# | 9 | WAPA L.C | AZNMNV | Gas | CCCT | 2006 | 2
2636 | 19411 | SUN G1 | 13.8 | 1 | SundncGT1 | NA | NA | Sundance GT1 | #2002-07-17# | #2050-12-31# | 58.7 | #FALSE# | 9 | WAPA L.C | AZNMNV | Gas | SCCT | 2002 | 6
2637 | 19412 | SUN G2 | 13.8 | 2 | SundncGT2 | NA | NA | Sundance GT2 | #2002-07-17# | #2050-12-31# | 58.7 | #FALSE# | 9 | WAPA L.C | AZNMNV | Gas | SCCT | 2002 | 6
2638 | 19413 | SUN G3 | 13.8 | 3 | SundncGT3 | NA | NA | Sundance GT3 | #2002-07-17# | #2050-12-31# | 58.7 | #FALSE# | 9 | WAPA L.C | AZNMNV | Gas | SCCT | 2002 | 6
2639 | 19414 | SUN G4 | 13.8 | 4 | SundncGT4 | NA | NA | Sundance GT4 | #2002-07-17# | #2050-12-31# | 58.7 | #FALSE# | 9 | WAPA L.C | AZNMNV | Gas | SCCT | 2002 | 6
2640 | 19415 | SUN G5 | 13.8 | 5 | SundncGT5 | NA | NA | Sundance GT5 | #2002-07-17# | #2050-12-31# | 58.7 | #FALSE# | 9 | WAPA L.C | AZNMNV | Gas | SCCT | 2002 | 6
2641 | 19416 | SUN G6 | 13.8 | 6 | SundncGT6 | NA | NA | Sundance GT6 | #2002-07-17# | #2050-12-31# | 58.7 | #FALSE# | 9 | WAPA L.C | AZNMNV | Gas | SCCT | 2002 | 6
2642 | 19417 | SUN G7 | 13.8 | 7 | SundncGT7 | NA | NA | Sundance GT7 | #2002-07-17# | #2050-12-31# | 58.7 | #FALSE# | 9 | WAPA L.C | AZNMNV | Gas | SCCT | 2002 | 6
2643 | 19418 | SUN G8 | 13.8 | 8 | SundncGT8 | NA | NA | Sundance GT8 | #2002-07-17# | #2050-12-31# | 58.7 | #FALSE# | 9 | WAPA L.C | AZNMNV | Gas | SCCT | 2002 | 6
2644 | 19419 | SUN G9 | 13.8 | 9 | SundncGT9 | NA | NA | Sundance GT9 | #2002-07-17# | #2050-12-31# | 60 | #FALSE# | 9 | WAPA L.C | AZNMNV | Gas | SCCT | 2002 | 6
2645 | 19420 | SUN G10 | 13.8 | 10 | SundncGT10 | NA | NA | Sundance GT10 | #2002-07-17# | #2050-12-31# | 60 | #FALSE# | 9 | WAPA L.C | AZNMNV | Gas | SCCT | 2002 | 6
330 | 19305 | HEADGAT1 | 4.16 | 1 | HEADGAT1_1 | Hydro | NA | Headgate Rock 1 Parker AZ | #1950-01-01# | #2050-12-31# | 0 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
331 | 19306 | HEADGAT2 | 4.16 | 1 | HEADGAT2_1 | Hydro | NA | Headgate Rock 2 Parker AZ | #1950-01-01# | #2050-12-31# | 0 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
332 | 19307 | HEADGAT3 | 4.16 | 1 | HEADGAT3_1 | Hydro | NA | Headgate Rock 3 Parker AZ | #1950-01-01# | #2050-12-31# | 0 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
2587 | 19001 | DAVISG1 | 13.8 | 1 | DAVISG1_1 | Hydro | NA | Davis 1 Bullhead City AZ | #1950-01-01# | #2050-12-31# | 52 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
2588 | 19002 | DAVISG2 | 13.8 | 1 | DAVISG2_1 | Hydro | NA | Davis 2 Bullhead City AZ | #1950-01-01# | #2050-12-31# | 52 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
2589 | 19003 | DAVISG3 | 13.8 | 1 | DAVISG3_1 | Hydro | NA | Davis 3 Bullhead City AZ | #1950-01-01# | #2050-12-31# | 52 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
2590 | 19004 | DAVISG4 | 13.8 | 1 | DAVISG4_1 | Hydro | NA | Davis 4 Bullhead City AZ | #1950-01-01# | #2050-12-31# | 52 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
2591 | 19005 | DAVISG5 | 13.8 | 1 | DAVISG5_1 | Hydro | NA | Davis 5 Bullhead City AZ | #1950-01-01# | #2050-12-31# | 52 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
2592 | 19023 | HOOVERA3 | 16.5 | 1 | HOOVERA3_1 | Hydro | NA | Hoover A3 Boulder City NV | #1950-01-01# | #2050-12-31# | 130 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
2593 | 19024 | HOOVERA4 | 16.5 | 1 | HOOVERA4_1 | Hydro | NA | Hoover A4 Boulder City NV | #1950-01-01# | #2050-12-31# | 130 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
2594 | 19025 | HOOVERA5 | 16.5 | 1 | HOOVERA5_1 | Hydro | NA | Hoover A5 Boulder City NV | #1950-01-01# | #2050-12-31# | 127 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
2595 | 19026 | HOOVERA6 | 16.5 | 1 | HOOVERA6_1 | Hydro | NA | Hoover A6 Boulder City NV | #1950-01-01# | #2050-12-31# | 130 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
2596 | 19027 | HOOVERA7 | 16.5 | 1 | HOOVERA7_1 | Hydro | NA | Hoover A7 Boulder City NV | #1950-01-01# | #2050-12-31# | 130 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
2597 | 19006 | PARKERG1 | 6.9 | 1 | PARKERG1_1 | Hydro | NA | Parker 1 Parker AZ | #1950-01-01# | #2050-12-31# | 26 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
2598 | 19007 | PARKERG2 | 6.9 | 1 | PARKERG2_1 | Hydro | NA | Parker 2 Parker AZ | #1950-01-01# | #2050-12-31# | 26 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
2599 | 19008 | PARKERG3 | 6.9 | 1 | PARKERG3_1 | Hydro | NA | Parker 3 Parker AZ | #1950-01-01# | #2050-12-31# | 26 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
2600 | 19009 | PARKERG4 | 6.9 | 1 | PARKERG4_1 | Hydro | NA | Parker 4 Parker AZ | #1950-01-01# | #2050-12-31# | 26 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
2601 | 19028 | HOVRA1A2 | 16.5 | A1 | HOVRA1A2_A1 | Hydro | NA | Hoover A01 Boulder City NV | #1950-01-01# | #2050-12-31# | 130 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
2602 | 19028 | HOVRA1A2 | 16.5 | A2 | HOVRA1A2_A2 | Hydro | NA | Hoover A02 Boulder City NV | #1950-01-01# | #2050-12-31# | 130 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
2603 | 19031 | HOVRA8A9 | 16.5 | A8 | HOVRA8A9_A8 | Hydro | NA | Hoover A08 Boulder City NV | #1950-01-01# | #2050-12-31# | 61.5 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
2604 | 19031 | HOVRA8A9 | 16.5 | A9 | HOVRA8A9_A9 | Hydro | NA | Hoover A09 Boulder City NV | #1950-01-01# | #2050-12-31# | 68.5 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
2605 | 19032 | HOVRN1N2 | 16.5 | N1 | HOVRN1N2_N1 | Hydro | NA | Hoover N1 Boulder City NV | #1950-01-01# | #2050-12-31# | 130 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
2606 | 19032 | HOVRN1N2 | 16.5 | N2 | HOVRN1N2_N2 | Hydro | NA | Hoover N2 Boulder City NV | #1950-01-01# | #2050-12-31# | 130 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
2607 | 19033 | HOVRN3N4 | 16.5 | N3 | HOVRN3N4_N3 | Hydro | NA | Hoover N3 Boulder City NV | #1950-01-01# | #2050-12-31# | 130 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
2608 | 19033 | HOVRN3N4 | 16.5 | N4 | HOVRN3N4_N4 | Hydro | NA | Hoover N4 Boulder City NV | #1950-01-01# | #2050-12-31# | 130 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
2609 | 19034 | HOVRN5N6 | 16.5 | N5 | HOVRN5N6_N5 | Hydro | NA | Hoover N5 Boulder City NV | #1950-01-01# | #2050-12-31# | 130 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
2610 | 19034 | HOVRN5N6 | 16.5 | N6 | HOVRN5N6_N6 | Hydro | NA | Hoover N6 Boulder City NV | #1950-01-01# | #2050-12-31# | 130 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
2611 | 19035 | HOVRN7N8 | 16.5 | N7 | HOVRN7N8_N7 | Hydro | NA | Hoover N7 Boulder City NV | #1950-01-01# | #2050-12-31# | 127 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
2612 | 19035 | HOVRN7N8 | 16.5 | N8 | HOVRN7N8_N8 | Hydro | NA | Hoover N8 Boulder City NV | #1950-01-01# | #2050-12-31# | 130 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
2619 | 79150 | GLENC1-2 | 13.8 | 1 | GLENC1-2_1 | Hydro | NA | Glen Canyon 1 Page AZ | #1950-01-01# | #2050-12-31# | 165 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
2620 | 79150 | GLENC1-2 | 13.8 | 2 | GLENC1-2_2 | Hydro | NA | Glen Canyon 2 Page AZ | #1950-01-01# | #2050-12-31# | 165 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
2621 | 79151 | GLENC3-4 | 13.8 | 3 | GLENC3-4_3 | Hydro | NA | Glen Canyon 3 Page AZ | #1950-01-01# | #2050-12-31# | 165 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
2622 | 79151 | GLENC3-4 | 13.8 | 4 | GLENC3-4_4 | Hydro | NA | Glen Canyon 4 Page AZ | #1950-01-01# | #2050-12-31# | 165 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
2623 | 79152 | GLENC5-6 | 13.8 | 5 | GLENC5-6_5 | Hydro | NA | Glen Canyon 5 Page AZ | #1950-01-01# | #2050-12-31# | 165 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
2624 | 79152 | GLENC5-6 | 13.8 | 6 | GLENC5-6_6 | Hydro | NA | Glen Canyon 6 Page AZ | #1950-01-01# | #2050-12-31# | 165 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
2625 | 79153 | GLENC7-8 | 13.8 | 7 | GLENC7-8_7 | Hydro | NA | Glen Canyon 7 Page AZ | #1950-01-01# | #2050-12-31# | 157 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
2626 | 79153 | GLENC7-8 | 13.8 | 8 | GLENC7-8_8 | Hydro | NA | Glen Canyon 8 Page AZ | #1950-01-01# | #2050-12-31# | 157 | #FALSE# | 9 | WAPA L.C | AZNMNV | Hydro | Hydro | 1950 | 58
[9 empty] | Total MW |  | 29035.3

## Arizona IncrGen (2008-15)
Arizona New Generation or Retired Generation--2008-2015
Gen List
GeneratorKey | State | Area Name | New Plant or Plant being Retired (N or R) | Bus ID | Bus Name | Bus KV | Name | Long Name | Technology |  | Fuel Type | Installed Capacity (MW) | No. of Units | Station Service (MW) | Commission Date | Retirement Date | Capital Cost of New Resource ($M) | COMMENTS
1 | [8 empty] | Type | Bucket
2
3 | Arizona | AZ | New | 16104 | SPRINGR | 345 |  | Springerville 4 |  |  | Coal | 400 | 1 |  | 2014 |  |  | copy data from existing Springerville # 3
4
5 | Arizona | AZ | New | 14001 | DRPP | 500 |  | Desert Rock Power Plant |  |  | Coal | 1500 | 2 |  | 2014 |  |  | two 750MW units copy data from Four Corners unit #4
6
7 | Arizona | AZ | New | 14001 | FCNEW | 500 |  | Four Corners New |  |  | Coal | 1500 | 2 |  | 2014 |  |  | two 750MW units copy data from Four Corners Unit #4
8
9 | Arizona | AZ | New | 15021 | PVNEW #1 | 500 |  | Palo Verde New #1 |  |  | CT | 1500 | 30 |  | 2014 |  |  | thirty 50MW units copy data from Sundance units
10
11 | Arizona | AZ | New | 15021 | PVNEW #2 | 500 |  | Palo Verde New #2 |  |  | CC | 1200 | 2 |  | 2014 |  |  | two 600MW units copy data from Arlinton Valley
12
16
17 | [7 empty] | Total Incremental Resources |  |  |  | 6100
18
19
20 | RPS COMPLIANCE CHECK |  |  |  | 2015 Load and Resource Balance |  |  |  | 2008 Load and Resource Balance
21 | Based on Proposed Requirements
22 | 2015 Renewable Tabulation: |  |  |  | LOADS |  |  |  | LOADS 1/
23 |  |  |  |  | peak MW |  |  | 22877.436 | peak MW |  |  | 15562
24 | ResType | MW | gwh |  | annual energy (gwh) |  |  | 106352.0876 | annual energy (gwh) |  |  | 76597.9911
25
26 | WIND 2/ | 1112.8929 | 2924.6824 |  | RESOURCES=inst cap;hydro not derated |  |  |  | RESOURCES=inst cap; hydro not derated
27 | SOLAR 3/ | 546.3292 | 2392.922 |  | MW 4/ |  |  | 35357.8786 | MW |  |  | 29035.3
28 |  |  |  |  | Planning Margin (%) |  |  | 54.55% | Planning Margin (%) |  |  | 86.58%
29 |  |  |  |  | Plant Factor (%) |  |  | 34.34% | Plant Factor (%) |  |  | 30.12%
30 | Total Renewable gwh |  | 5317.6044
31 | 5% RPS Satisfied? |  | 5%
32 | 1/ SWAT believes the 2008 load forecast should be 18,400 MW
33 | 2/ Wind is assumed to be purchased from New Mexico (800 MW of 1500 MW) and other areas.
34 | 3/ 1% Solar and 1.25% Distributed Generation assumed to be represented as load reductions since these resources are behind the meter.
35 | 4/ Resources increased to show 20% of imported wind contributing to peak.
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
Note on E3: Bus Number from WECC 2008 HAS2 Power Flow Case
Note on F3: from WECC 2008 HSA2 Power Flow Case
Note on A3: For GridView internal use only.
Note on H3: Unit Name
Note on P3: Unit in-service date
Note on J3: Indicate technology type below and bucket described by Generic Attributes worksheets: SCCT: simple (open) cycle CCT: Combined Cycle ST: Steam Turbine DT: Duct fired IC: Internal Combustion HYD: Hydro OR other: please specify technology and describe attributes in the Generic Attributes worksheets under new bucket.
Note on I3: Descriptive name with indication of location
Note on C3: Choose from SSG-WI Bubble listed below: IMPERIAL LADWP MEXICO-C PG&E_BAY PG&E_VLY SANDIEGO SOCALIF ARIZONA NEVADA NEW MEXI WAPA L.C ALBERTA B.C.HYDR NW_EAST NW_WEST B HILL BHB BONZ COL E COL W IDAHO KGB LRS MONTANA SIERRA SW WYO UT N UT S WYO YLW TL See Topology for locations of bubbles
Note on D3: If retired plant, skip to column O & fill in retirement date
Note on Q3: Unit retirement date
Note on O3: Estimate station service or other on-site (e.g. cogen process) power requirement
Note on S3: Include if new resource is specified in utility IRP, required to meet RPS, etc.
Note on L3: Choose fuel type from following list: NG: Natural Gas Oil Coal PC: Petroleum Coke GEO: Geothermal URAN: uranium BIO: wood waste or other biomass fuel Water Wind Sun Other (specify)