## Instructions
WATERGY
How to Use This Program
1) | Begin by reading this page and the INTRODUCTION worksheet to better understand the
required inputs and how the WATERGY program works. To better understand the
assumptions made in WATERGY, be sure to read the original paper, presented at
CONSERV'96, titled WATERGY: A Water and Energy Conservation Model for Federal
Facilities by Dr. Sharon deMonsabert and Barry L. Liner.
2) | Continue by entering the required data on the UTILITY RATES worksheet, and then move
on to ATTACHMENT A. (All required information is indicated by the light blue shaded cells;
| cells that request information NOT used in the calculations are patterned, like | this | ).
Underlined cells indicate values that have been calculated by the spreadsheet equations.
3) | Answer the Implementation Questions and review the assumptions on the INPUTS &
ASSUMPTIONS worksheet to ensure that they are applicable to your situation. Light green
shaded cells are required and can be changed by the user.
4) | View your results on the OUTPUTS page.
Please note the following:
* | UTILITY RATES and ATTACHMENT A are designed to look as similar to the paper copies
(FEMP forms) as possible. The end of ATTACHMENT A is not fully included in WATERGY
because many of the questions are qualitative or too diverse to form a meaningful general
conservation relationship.
* | The conservation relationships and default values are discussed in the paper WATERGY:
A Water and Energy Conservation Model for Federal Facilities presented at CONSERV'96.
* | Conservation from once through cooling, cooling towers, and leak detection are not
quantified in this model because of the wide variation in cost, effectiveness, and site-specific
information needed to estimate such conservation opportunities.

## Introduction
F E M P
FEDERAL ENERGY MANAGEMENT PROGRAM
SAVEnergy Action Plans
Water Conservation Screening
Each FEMP SAVEnergy Action Plan will have a water screening component as a requirement.
The SAVEnergy Action Plan Report should include, along with basic audit information,
Attachment A - Water. This water conservation survey will be used not to recommend
projects, but to screen for potential water conservation opportunities.
Water Conservation Survey
Definition
A water conservation survey will identify quantities, characteristics and uses of water on a site.
Important characteristics include flow rate (gallons per minute), flow direction, temperature and
special chemical qualities. To account for all water uses at the site, the attached checklist
(Attachment A) should be used. Total inflow should equal total outflow plus consumption,
irrigation, and evaporation.
Preparation
Collect all information regarding water use in the facility and identify those familiar with the
operation. Information gathered from site personnel prior to a site visit should include:
* Plumbing drawings and riser diagrams
* Names or energy, water and wastewater utilities with copies of the previous twelve months'
bills. (These and other items highlighted in red will be needed to complete the Utility Rate
worksheet that follows.)
* Lists of water-using equipment with manufacturers' recommended flow requirements.
* Inventory of sanitary fixtures.
* Prior water and energy related surveys.
* Water delivery records from meters and tank trucks. Locate all meters, wells, and other water
delivery sources.
* Water meter readings for previous twelve months.
* Projected energy, water, wastewater treatment and sewage charges from utilities.
Survey of Facility
Conduct a walk-through survey with the facility manager to understand how water is used within
the facility. Identify and list all pieces of equipment that use water and, using the following
guidelines, fill in the light blue shaded areas of Attachment A .
* Record hours of operation of each piece of equipment.
* Calculate number of persons using facilities.
* Identify special requirements for water use, such as temperature and chemistry, and identify the
purpose of these variables.
* Measure amount of water use, using a bucket and stopwatch to measure flow rate.
* Identify flow of wastewater resulting from each use.
Determine Cost of Water Use
The following costs are combined to evaluate cost-effectiveness of potential water conservation
measures:
* Energy cost of heating water at projected rates.
* Cost of pumping (energy).
* Chemical or other treatment costs.
* Cost paid to wastewater treatment agency if discharge capacity exceeds contract level.
* Sewer fees at projected rates.
* Energy costs for pumping or repressurizing at projected rates.
Water Conservation Recommendations
Since the format is for a walk-through survey only, concrete recommendations are not expected
as results. What is expected is a gauge of a water savings potential which can then be referred to a
more detailed water conservation audit.
PLEASE COMPLETE THE UTILITY RATE WORKAREA NEXT.

## Utility Rates
ENERGY UTILITY RATE WORKAREA
Using the appropriate information collected in preparation of the water conservation survey
(highlighted in red in the introduction section), please complete the following questions
regarding utility rates. All required information is indicated by the light blue shaded cells.
What type of energy do you use to heat your domestic hot water?
|  |  |  | 2 | 1=ELECTRICITY
2=NATURAL GAS
Electricity
| Total |  | Total
| Usage (kWh) |  | Cost ($)
Month 1 | 54.3 |  | 2.72
Month 2 | 54.3 |  | 2.72
Month 3 | 54 |  | 2.72
Month 4 | 54 |  | 2.72
Month 5 | 54 |  | 2.72
Month 6 | 54 |  | 2.72
Month 7 | 54 |  | 2.72
Month 8 | 54 |  | 2.72
Month 9 | 54 |  | 2.72
Month 10 | 54 |  | 2.72
Month 11 | 54 |  | 2.72 |  | Average Electricity Cost
Month 12 | 54 |  | 2.72 |  | per kWh
Total | 648.6 |  | 32.64 |  | 0.050324
Avg. Month | 54.05 |  | 2.72
Natural Gas
| Total |  | Total
| Usage (cu.ft.) |  | Cost ($)
Month 1 | 1 |  | 0.54
Month 2 | 5 |  | 0.54
Month 3 | 8 |  | 0.54
Month 4 | 5 |  | 0.54
Month 5 | 3 |  | 0.54
Month 6 | 2 |  | 0.54
Month 7 | 5 |  | 0.54
Month 8 | 1 |  | 0.54
Month 9 | 2 |  | 0.54
Month 10 | 1 |  | 0.54
Month 11 | 2 |  | 0.54 |  | Average Natural Gas Cost
Month 12 | 5 |  | 0.54 |  | per cu.ft.
Total | 40 |  | 6.48 |  | 0.162
Avg. Month | 3.3333 |  | 0.54
Fuel Oil
| Total |  | Total
| Usage (gal) |  | Cost ($)
Month 1 | 0 |  | 0
Month 2
Month 3
Month 4
Month 5
Month 6
Month 7
Month 8
Month 9
Month 10
Month 11 |  |  |  |  | Average Fuel Oil Cost
Month 12 |  |  |  |  | per gallon
Total | 0 |  | 0 |  | 0
Avg. Month | 0 |  | 0
WATER UTILITY RATE WORKAREA
Using the appropriate information collected in preparation of the water conservation survey
(highlighted in red in the infroduction section), please complete the following questions regarding
utility rates.
| 0 | Enter 1 here if your water and wastewater/sewage bills are combined.
Then enter combined data in the Water work area.
Water
| Total |  | Total
| Usage (gallons) |  | Cost ($)
Month 1 | 16000 |  | 280
Month 2 | 16000 |  | 280
Month 3 | 16000 |  | 280
Month 4 | 16000 |  | 280
Month 5 | 16000 |  | 280
Month 6 | 16000 |  | 280
Month 7 | 16000 |  | 280
Month 8 | 16000 |  | 280
Month 9 | 16000 |  | 280
Month 10 | 16000 |  | 280
Month 11 | 16000 |  | 280 |  | Average Water Cost
Month 12 | 16000 |  | 280 |  | per gallon
Total | 192000 |  | 3360 |  | 0.0175
Avg. Month | 16000 |  | 280
Wastewater/Sewer
| Total |  | Total
| Usage (gallons) |  | Cost ($)
Month 1 | 0 |  | 0
Month 2
Month 3
Month 4
Month 5
Month 6
Month 7
Month 8
Month 9
Month 10
Month 11 |  |  |  |  | Average Wastewater/Sewer Cost
Month 12 |  |  |  |  | per gallon
Total | 0 |  | 0 |  | 0
Avg. Month | 0 |  | 0
Note on C31: Formula failed to convert
Note on F31: Formula failed to convert
Note on C50: Formula failed to convert
Note on F50: Formula failed to convert
Note on C69: Formula failed to convert
Note on F69: Formula failed to convert
Note on C99: Formula failed to convert
Note on F99: Formula failed to convert
Note on C118: Formula failed to convert
Note on F118: Formula failed to convert

## Attachment A
SAVEnergy Action Plans
Attachment A - Water
| Prepared By: | Your Name
Agency:
| Facility: | Sample Building 2
| Contact Name: | John Doe
| Address: | 124 Somewhere Blvd.
| City | Anywhere |  |  | State: | CO | Zip: | 12345
| Phone/Fax: | 303-123-4567
| Date of Audit: | 1998-11-10
| Buildings included in Survey: |  | Sample Building 2
| Water Provider(s): |  | ACME Water
| Number of Water Meters: |  | 0
| Account/Meter Numbers: |  | N/A
DOMESTIC WATER USE
Toilets
|  | Fixture |  |  | User Count
| Nameplate: | Type | GPF | Count | Female | Male | GPX | GPD
1 | Kohler | valve | 3 | 6 | 22 | 33 | 49.5 | 297
2 | Kohler | tank | 3.5 | 4 | 6 | 9 | 23.625 | 94.5
3 | [6 empty] | 0 | 0
4 | [6 empty] | 0 | 0
5 | [6 empty] | 0 | 0
6 | [6 empty] | 0 | 0
[7 empty] | Total GPD= | 391.5
Calculations:
GPF=Gallons per flush, estimated or measured
GPD=GPF x (3 x Female Count + 1 x Male Count)
= Average gallons per day for all toilets
GPX=GPD/Fixture Count
=Average gallons per day per fixture
Urinals
|  | Fixture |  |  | User Count
| Nameplate: | Type | GPF | Count |  | Male | GPX | GPD
1 | Sloan | valve | 1.5 | 2 |  | 33 | 49.5 | 99
2 | Sloan | valve | 1 | 1 |  | 9 | 18 | 18
3 | [6 empty] | 0 | 0
4 | [6 empty] | 0 | 0
5 | [6 empty] | 0 | 0
[7 empty] | Total GPD= | 117
Calculations:
GPD=GPF x (2 x Male Count)
=Average gallons per day urinals
Lavatory Sinks
|  | Fixture |  |  | User Count |  | Wash
| Nameplate: | Type | GPM | Count | Female | Male | duration (min.) | GPD
1 | Unknown |  | 2 | 10 | 28 | 42 | 0.17 | 80.92
2 | [6 empty] | 0.17 | 0
3 | [6 empty] | 0.17 | 0
4 | [6 empty] | 0.17 | 0
5 | [6 empty] | 0.17 | 0
[7 empty] | Total Hand Washing GPD= | 80.92
Assume 3 hand washings per 8 hour work day per male, 4 per female.
Unless otherwise indicated, assume 10 sec. of flow per hand washing.
Calculations:
GPM=Measured gallons per minute of faucet flow
GPD= 0.17 GPM x (3 x Male Count + 4 x Female Count)
=Average gallons per day for hand washing
Other Sinks (janitor's closet, laundry, kitchen, etc.)
Fixture
| Nameplate: | Type | GPM | Count | Avg. time on Daily |  |  | GPD
1 | Service |  | 3 | 2 | 8 | min. |  | 48
2 | Service |  | 3 | 1 | 10 | min. |  | 30
3 | Kitchen |  | 2 | 1 | 15 | min. |  | 30
4 | [5 empty] | min. |  | 0
|  |  |  | Total Non-Lavatory Washing GPD: |  |  |  | 108
Calculations:
GPD=Time On x GPM x Fixture Count
=Average gallons per day for other sink use.
Showers
| Location: | GPM |  | Count |  | Avg. Use per Day |  | daily GPD
1 | Moen Dtchble | 2.5 |  | 1 |  | 30 | min. | 75
2 | Moen Dtchble | 2.5 |  | 1 |  | 24 | min. | 60
3 | Older | 3.5 |  | 1 |  | 8 | min. | 28
4 | [6 empty] | min. | 0
[7 empty] | Total GPD= | 163
Known Leaks
| Location: | GPM |  | Count |  | Avg. Time On |  | daily GPD
1 | None | 1 |  | 5 |  | 2 | min. | 10
2 | [6 empty] | min. | 0
3 | [6 empty] | min. | 0
4 | [6 empty] | min. | 0
[7 empty] | Total GPD= | 10
Calculations:
GPD= Time on x GPM x Fixture Count
=Average gallons per day for leaks
PLANT COOLING AND HEATING
Cooling Towers
| Number: |  | 0
| Age: |  | 35 | years
Size:
| % Blow down: |  | 50% |  |  | % Make-up | 30%
| Water Treatment Method: |  | NA
Evaporative Coolers
| Number: |  | 0
| Age: |  | NA | years
Air Washers
| Description: |  | NA
Humidifiers
| Description: |  | NA
Boilers
| Number: |  | 1
| Age: |  | 21 | years | / | 1 |  | Electricity
| Fuel Source: |  | 2 | < | ENTER< | 2 | FOR | Nat. Gas
| Size: |  | 0 |  | \ | 3 |  | Fuel Oil
| Lbs. Steam/hr. |  | 500
| Pressure: |  | 200 | psi
| % Condensate return: |  | 100% |  |  | % Boiler Blow-down: |  | 2%
Pumps
| Number: |  | 2
| Age: |  | 4 | years
| Size: |  | 3 | hp
ONCE-THROUGH COOLING
Air Conditioners
| Number of Units: |  | 0
| Age: |  | NA | years
| Size: |  | 0 | tons | 0 | gallons
| Other Once Through |  | 0
OTHER
|  |  | Quantity | Uses/day | Gallons/use |  | Total Usage per day
| Dishwashers |  | 1 | 0.2 | 4 |  | 0.8 | gal
| Washing Machines |  | 0 |  |  |  | 0 | gal
[7 empty] | 0.8 | gal
LANDSCAPE AND DECORATIVE USES
[5 empty] | Square Ft | Acres | Ft water/acre/yr | Acre-ft/yr
| Turf Area (square feet) |  |  |  | 50 | 0.0011364 | 10 | 0.011364
| Landscaped Area (square feet) |  |  |  | 0 | 0 | 10 | 0
SUMMARY
|  |  |  | TOTAL DAILY DOMESTIC WATER USAGE: | 871.22 | gal/day | *does not include boiler use or
landscape use.
|  |  |  | TOTAL ANNUAL DOMESTIC WATER USAGE: | 226517.2 | gal/yr | *assumes 260 operational
days per year (see Inputs &
Assumptions sheet to change).

## Inputs & Assumptions
Implementation Questions
Do you want to look at Waterless or Low-Flow urinals?
|  |  |  | 1 | 1=WATERLESS
2=LOW FLOW
Do you want to look at faucet replacement (with IR sensored faucets) or aerators only for restroom faucets?
|  |  |  | 2 | 1=AERATORS ONLY
2=FAUCET REPLACEMENT
Target Usage for Conserving Plumbing Fixtures
ULF Toilet | 1.6 | Gallons per flush
ULF Urinal | 1 | Gallons per flush
Waterless Urinal | 0.001 | Gallons per use (uses just 2-3 gallons HOT water for cleaning, every 8500 uses)
Faucet | 0.5 | Gallons per minute
Showerhead | 2.5 | Gallons per minute
Dishwasher | 8.5 | Gallons per load
Washing Machine | 42 | Gallons per load
Faucet Aerator | 2.5 | Gallons per minute
Assumptions
Hot Water Heating | 0.2 | kWh/gallon for Electrical hot water heaters
| 0.5 | cf gas/gallon for natural gas hot water heaters
Faucet | 50% | of usage is hot water
Shower | 60% | of usage is hot water
Dishwasher | 100% | of usage is hot water
Wash Machine | 25% | of usage is hot water
Leaks | 10% | of usage is hot water
Water Treatment | 1.0991 | kWh / 1,000 gallons treated - Indirect savings
UAF Gas | 2.1% | of natural gas unaccounted for - Indirect savings
WW elec | 2.85 | kWh / 1,000 gallons treated - Indirect savings
Line Losses | 14% | of Electricity lost in transmission - Indirect savings
IR Sensored Faucet | 0.17 | minutes per use
Heat in Boiler | 362 | Btu/lb - estimate
Heat of Nat gas | 1040 | Btu/cf
Heat of Fuel oil | 145000 | Btu/gal
Boiler Efficiency | 70% | Default - 95% for electric, 80% for gas/oil 20 years or less, 70% for all others
Faucet Cleaning Use | 50% | of non-restroom faucets' usage for cleaning (i.e. bucket filling) or other uses
that will not be reduced by an aerator.
Landscape Savings | 50% | of water reduced using ET watering techniques
Blowdown Reduction | 20% | of Boiler blowdown reduced through process optimization
Heat of Electricity | 3412 | Btu=1 kWh
One Year | 260 | days (total work days assumed, not total calendar days)
Cost Information
|  | Equipment | Labor | Total
ULF Toilet Replacement |  | 220 | 75 | 295
ULF Urinal Replacement |  | 350 | 125 | 475
Waterless Urinals |  | 500 | 125 | 625
Aerators |  | 8 | 5 | 13
Sensored Faucets |  | 280 | 50 | 330
Showerheads |  | 21 | 10 | 31
Leak Detection |  |  |  | 0
Once Thru Conversion |  |  |  | 0
Cooling Water Reduction |  |  |  | 0
Blowdown Reduction |  |  |  | 0
Lawn Sprinkling reduction |  |  |  | 50% | of water savings value
Washing Machine |  | 400 | 25 | 425
Dishwasher |  | 250 | 75 | 325

## Work Area 1 (hidden)
Wh used
per gallon
CT | 0.57742 |  | Exhibit 7
ME | 0.57742
MA | 0.57742 |  | Regional Water Treatment and Pumping Energy Costs
NH | 0.57742
RI | 0.57742 |  |  |  | Wh saved | Electricity | Avg. Electric | Unaccoun-
VT | 0.57742 |  | Region | States | per gallon | Cost/kgal | Cost, 1992 | ted For
NJ | 0.43218 |  |  |  | saved * | delivered | $/kWh ** | Water (UAF)
NY | 0.43218 |  | 1 | Connecticut | 0.57742 | 0.05 | 0.096 | 9.8%
DE | 1.4362 |  |  | Maine | 0.57742 | 0.05 | 0.096 | 0.098
DC | 1.4362 |  |  | Massachusetts | 0.57742 | 0.05 | 0.096 | 0.098
MD | 1.4362 |  |  | New Hampshire | 0.57742 | 0.05 | 0.096 | 0.098
PA | 1.4362 |  |  | Rhode Island | 0.57742 | 0.05 | 0.096 | 0.098
VA | 1.4362 |  |  | Vermont | 0.57742 | 0.05 | 0.096 | 0.098
WV | 1.4362 |  | 2 | New Jersey | 0.43218 | 0.04 | 0.10494 | 11.8%
AL | 1.6595 |  |  | New York | 0.43218 | 0.04 | 0.10494 | 0.118
FL | 1.6595 |  | 3 | Delaware | 1.4362 | 0.09 | 0.072866 | 14%
GA | 1.6595 |  |  | District of Columbia | 1.4362 | 0.09 | 0.072866 | 0.14
KY | 1.6595 |  |  | Maryland | 1.4362 | 0.09 | 0.072866 | 0.14
MS | 1.6595 |  |  | Pennsylvania | 1.4362 | 0.09 | 0.072866 | 0.14
NC | 1.6595 |  |  | Virginia | 1.4362 | 0.09 | 0.072866 | 0.14
SC | 1.6595 |  |  | West Virginia | 1.4362 | 0.09 | 0.072866 | 0.14
TN | 1.6595 |  | 4 | Alabama | 1.6595 | 0.1 | 0.066879 | 9.9%
IL | 1.1094 |  |  | Florida | 1.6595 | 0.1 | 0.066879 | 0.099
IN | 1.1094 |  |  | Georgia | 1.6595 | 0.1 | 0.066879 | 0.099
MI | 1.1094 |  |  | Kentucky | 1.6595 | 0.1 | 0.066879 | 0.099
MN | 1.1094 |  |  | Mississippi | 1.6595 | 0.1 | 0.066879 | 0.099
MT | 1.1094 |  |  | North Carolina | 1.6595 | 0.1 | 0.066879 | 0.099
OH | 1.1094 |  |  | South Carolina | 1.6595 | 0.1 | 0.066879 | 0.099
WI | 1.1094 |  |  | Tennessee | 1.6595 | 0.1 | 0.066879 | 0.099
AR | 1.63 |  | 5 | Illinois | 1.1094 | 0.07 | 0.073031 | 13.6%
LA | 1.63 |  |  | Indiana | 1.1094 | 0.07 | 0.073031 | 0.136
NM | 1.63 |  |  | Michigan | 1.1094 | 0.07 | 0.073031 | 0.136
OK | 1.63 |  |  | Minnesota | 1.1094 | 0.07 | 0.073031 | 0.136
TX | 1.63 |  |  | Montana | 1.1094 | 0.07 | 0.073031 | 0.136
IA | 1.7266 |  |  | Ohio | 1.1094 | 0.07 | 0.073031 | 0.136
KS | 1.7266 |  |  | Wisconsin | 1.1094 | 0.07 | 0.073031 | 0.136
MO | 1.7266 |  | 6 | Arkansas | 1.63 | 0.1 | 0.068089 | 9.9%
NE | 1.7266 |  |  | Louisiana | 1.63 | 0.1 | 0.068089 | 0.099
CO | 1.0991 |  |  | New Mexico | 1.63 | 0.1 | 0.068089 | 0.099
ND | 1.0991 |  |  | Oklahoma | 1.63 | 0.1 | 0.068089 | 0.099
SD | 1.0991 |  |  | Texas | 1.63 | 0.1 | 0.068089 | 0.099
UT | 1.0991 |  | 7 | Iowa | 1.7266 | 0.1 | 0.063645 | 9%
WY | 1.0991 |  |  | Kansas | 1.7266 | 0.1 | 0.063645 | 0.09
AZ | 0.8609 |  |  | Missouri | 1.7266 | 0.1 | 0.063645 | 0.09
CA | 0.8609 |  |  | Nebraska | 1.7266 | 0.1 | 0.063645 | 0.09
NV | 0.8609 |  | 8 | Colorado | 1.0991 | 0.06 | 0.058954 | 7.4%
HI | 0.8609 |  |  | North Dakota | 1.0991 | 0.06 | 0.058954 | 0.074
ID | 0.95519 |  |  | South Dakota | 1.0991 | 0.06 | 0.058954 | 0.074
OR | 0.95519 |  |  | Utah | 1.0991 | 0.06 | 0.058954 | 0.074
WA | 0.95519 |  |  | Wyoming | 1.0991 | 0.06 | 0.058954 | 0.074
AK | 0.95519 |  | 9 | Arizona | 0.8609 | 0.08 | 0.098962 | 6.1%
|  |  |  | California | 0.8609 | 0.08 | 0.098962 | 0.061
|  |  |  | Nevada | 0.8609 | 0.08 | 0.098962 | 0.061
Hawaii
|  |  | 10 | Idaho | 0.95519 | 0.04 | 0.047641 | 12.1%
|  |  |  | Oregon | 0.95519 | 0.04 | 0.047641 | 0.121
|  |  |  | Washington | 0.95519 | 0.04 | 0.047641 | 0.121
|  |  |  | Alaska | 0.95519 | 0.04 | 0.047641 | 0.121
* Wh saved per gallon of water saved equals EXPENSE/RATE/(1-UAF)
** Commercial rates in 1992, the same year as the expenditure and UAF data
|  | Direct water use/day | [6 empty] | Direct Energy Savings/day | [5 empty] | Indirect Energy Savings/day
Item | Quantity | Old Consumption | Current Usage | New Consumption | New Usage | Reduction | W+WW Cost Savings | Implementation | Electricity Savings | Electricity Cost | Gas Savings | Gas Cost | Oil Savings, | Oil Cost | Water Electricity Cost | Wastewater Electricity | Line Losses Cost | UAF Gas Cost
|  | [gallons/use] | [gallons] | [gallons/use] | [gallons] | [gallons] | [$} | Cost, [$] | [kWh] | Savings, [$] | [cubic feet] | Savings, [$] | [gallons] | Savings, [$] | Savings, [$] | Cost Savings, [$] | Savings, [$] | Savings, [$]
Toilets
6 | 6 | 3 | 297 | 1.6 | 158.4 | 138.6 | 2.4255 | 1770 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0076659 | 0.019878 | 0.004484 | 0
4 | 4 | 3.5 | 94.5 | 1.6 | 43.2 | 51.3 | 0.89775 | 1180 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0028374 | 0.0073576 | 0.0016596 | 0
0 | 0 | 0 | 0 | 1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Urinals
2 | 2 | 1.5 | 99 | 0.001 | 0.066 | 98.934 | 1.7313 | 1250 | 0 | 0 | -0.033 | -0.005346 | 0 | 0 | 0.005472 | 0.014189 | 0.0032007 | -0.00011467
1 | 1 | 1 | 18 | 0.001 | 0.018 | 17.982 | 0.31468 | 625 | 0 | 0 | -0.009 | -0.001458 | 0 | 0 | 0.00099457 | 0.002579 | 0.00058175 | -3.1275e-05
0 | 0 | 0 | 0 | 0.001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0.001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0.001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Lavatory Sinks (IR faucets or aerators)
10 | 10 | 2 | 80.92 | 0.5 | 20.23 | 60.69 | 1.0621 | 3300 | 0 | 0 | 15.1725 | 2.4579 | 0 | 0 | 0.0033567 | 0.0087043 | 0.0019634 | 0.052724
0 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other Sinks (Aerators only)
2 | 2 | 3 | 48 | 2.5 | 40 | 4 | 0.07 | 26 | 0 | 0 | 1 | 0.162 | 0 | 0 | 0.00022124 | 0.00057369 | 0.00012941 | 0.003475
1 | 1 | 3 | 30 | 2.5 | 25 | 2.5 | 0.04375 | 13 | 0 | 0 | 0.625 | 0.10125 | 0 | 0 | 0.00013827 | 0.00035856 | 8.0879e-05 | 0.0021719
0 | 1 | 2 | 30 | 2.5 | 37.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Showers
0 | 1 | 2.5 | 75 | 2.5 | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 1 | 2.5 | 60 | 2.5 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 1 | 3.5 | 28 | 2.5 | 20 | 8 | 0.14 | 31 | 0 | 0 | 2.4 | 0.3888 | 0 | 0 | 0.00044248 | 0.0011474 | 0.00025881 | 0.0083399
0 | 0 | 0 | 0 | 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Boilers
| 1 | 28.777 | 28.777 | 23.0216 | 23.0216 | 5.7554 | 0.10072 | 0 | 0 | 0 | 23.8681 | 3.8666 | 0 | 0 | 0.00031833 | 0.00082545 | 0.0001862 | 0.082941
Dishwashers
| 1 | 4 | 0.8 | 8.5 | 1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Washing Machine
| 0 | 0 | 0 | 42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Landscape
| 0.0011364 | 10 | 0.011364 | 5 | 0.0056818 | 5.0747 | 0.088808 | 0.044404 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00028068 | 0.00072783 | 0.00016418 | 0
[5 empty] | Acre feet/yr | gpd

## Work Area 2 (graphs) (hidden)
|  | Annual Cost Savings, $ |  |  | Implementation
|  | Direct Water | Direct Energy | Indirect Energy | Cost, $
| Toilets/Urinals | 1396.0128 | -1.769 | 18.3961 | 4825
| Faucets | 305.7145 | 707.5107 | 19.2133 | 3339
| Showers | 36.4 | 101.088 | 2.649 | 31
| Boilers | 26.1871 | 7211.04 | 21.9105 | 0
| Dishwashers | 0 | 0 | 0 | 0
| Washing Machines | 0 | 0 | 0 | 0
| Landscapes | 23.09 | 0 | 0.3049 | 11.545 | (each year; not just once)
Payback, PB | Max PB divided into 8 subsections | Toilets/Urinals | Faucets | Showers | Boilers | Dishwashers | Washing Machines | Landscapes | Total
0 | 0 | -4825 | -3339 | -31 | 0 | 0 | 0 | 11.545 | -8183.455
3.4607 | 0.48665 | -4146.4844 | -2845.9089 | 35.9092 | 3522.0324 | 0 | 0 | 11.545 | -3422.9068
3.2954 | 0.97331 | -3467.9688 | -2352.8179 | 102.8184 | 7044.0647 | 0 | 0 | 11.545 | 1337.6415
0.22547 | 1.46 | -2789.4531 | -1859.7268 | 169.7276 | 10566.0971 | 0 | 0 | 11.545 | 6098.1898
0 | 1.9466 | -2110.9375 | -1366.6358 | 236.6369 | 14088.1294 | 0 | 0 | 11.545 | 10858.738
0 | 2.4333 | -1432.4219 | -873.5447 | 303.5461 | 17610.1618 | 0 | 0 | 11.545 | 15619.2863
0 | 2.9199 | -753.9063 | -380.4537 | 370.4553 | 21132.1941 | 0 | 0 | 11.545 | 20379.8345
0.5 | 3.4066 | -75.3906 | 112.6374 | 437.3645 | 24654.2265 | 0 | 0 | 11.545 | 25140.3828
3.4607 | 3.8932 | 603.125 | 605.7285 | 504.2737 | 28176.2589 | 0 | 0 | 11.545 | 29900.931

## Outputs
Potential Conservation Opportunities
|  | Total | Annual Savings ($) |  |  | Payback
Conservation | Number of | Initial | Direct | Direct | Indirect | Period* (yrs)
Method | Installations | Cost ($) | Water | Energy | Energy | *Includes Direct Energy Only
Installation of ULF toilets and | 13 | 4825 | 1396.0128 | -1.769 | 18.3961 | 3.4607
WATERLESS urinals
Installation of automatic faucets | 10 | 3300 | 387.6574 | 6435.1124 | 24.3632 | 0.48367
Installation of faucet aerators | 3 | 39 | 41.5188 | 689.2112 | 2.6093 | 0.053371
Low Flow showerhead | 1 | 31 | 36.4 | 101.088 | 2.649 | 0.22547
Boiler blowdown optimization | 1 | 0 | 26.1871 | 7211.04 | 21.9105 | 0
Efficient dishwashers | 1 | 0 | 0 | 0 | 0 | #N/A
Efficient washing machines | 0 | 0 | 0 | 0 | 0 | #N/A
Landscape irrigation optimization | #N/A | 11.545 | 23.09 | 0 | 0.3049 | Annual
Total (excluding Landscape) |  | 8195 | 1887.776 | 14434.6826 | 69.9282 | 0.50207