FILE NAME: Station Record AK 004.doc

LAST UPDATED:  08/11/08

PRUDHOE BAY, ALASKA

### BETTY PINGO

### Station Record

STATION: AK004, BETTY PINGO, FLUX STUDY SITE 95-1, PRUDHOE BAY (004)

| PROJECT MANAGER: Phone: FAX: E-mail: | C.A. Seybold USDA NRCS Federal Bldg., Rm. 152 Lincoln, NE 68508 (402) 437-4132 (402) 437-5336 cathy.seybold@lin.usda.gov | F. E. Nelson Department of Geography University of Delaware Newark, Delaware 19711 (302) 831-0852 (302) 831-6654 fnelson@udel.edu | K. M. Hinkel Department of Geography University of Cincinnati Cincinnati, Ohio 45221-0131 513-556-3430 513-556-3370 71042.2643@compuserve.com |
| --- | --- | --- | --- |

LOCATION:  On BP Prudhoe Bay oil field north of Deadhorse, Alaska.

GPS (06/22/96):	70° 16’ 57.57” N

148° 53’ 36.69” W

13 m elevation

GPS (06/7/97):	70° 16’ 57.17” N

148° 53’ 36.85” W

8 m elevation

GPS (08/18/98):	70° 16’ 57.1” N

148° 53’ 36.0” W

25 ft elevation

GPS (08/19/98):	70° 16’ 57.0” N

148° 53’ 37.1” W

61 ft elevation

GPS (08/19/98):	70° 16’ 57.5” N

148° 53’ 36.6” W

ft elevation

GPS (09/16/99):	70° 16’ 57.0” N

148° 53’ 36.1” W

78 ft elevation

GPS (04/28/00):	70° 16’ 57.2” N

148° 53’ 35.1” W

-112 ft elevation

GPS (08/14/01):	70° 16’ 57.2” N

148° 53’ 36.6” W

37 ft elevation

GPS (06/21/02):	70° 16’ 57.3” N

148° 53’ 36.8” W

52 ft elevation

GPS (08/21/03):	70° 16’ 57.2” N

148° 53’ 36.9” W

25 ft elevation

GPS (08/20/04):	70° 16’ 57.3” N

148° 53’ 36.6” W

31 ft elevation

GPS (08/17/05):	70° 16’ 57.3” N

148° 53’ 36.5” W

46 ft elevation

GPS (08/14/07):	70° 16’ 57.3” N

148° 53’ 36.5” W

43 ft elevation

GPS (08/09/08):	70° 16’ 57.3” N

148° 53’ 36.4” W

36 ft elevation

INSTRUMENTATION:

Summary

| Quantity | Description | Comments |
| --- | --- | --- |
| (1) | Campbell CR-10 datalogger SN: 26587. | Installed 1996; replaced 4/00. |
| (1) | Campbell CR-10X-2M datalogger SN: X19463. Wiring panel SN: 6411 | Installed 4/00. Recalled Replaced 8/01 |
| 1 | Campbell CR-10X-2M-XT datalogger SN: X16686. Wiring panel SN: 6411 | Installed 8/01 |
| 1 | Campbell AM416 multiplexer SN: 7602 | Installed 1996. |
| (1) | Campbell SM192 storage module. (Campbell SM716 SN: 3212) | Installed 1996, upgraded by Nelson (date?) to SM716; removed 4/00. Removed 2003 |
| 1 | Campbell Storage module SM4M | Installed 2003 |
| 1 | Campbell PS12LA power supply. | Installed 1996 |
| (1) | 7 Ah battery | replaced 2003, removed 2005 |
| 1 | 12 Ah battery | Installed 2005 |
| 1 | Campbell Solar panel. | Installed 1996, replaced 2005 |
| 1 | Campbell ENC 16/18 enclosure. | Installed 1996. |
| 6 | Vitel dielectric constant soil moisture/temperature sensors. | Installed 1996. |
| 3 | Campbell 107B soil temperature sensors | Installed 1997. |

| MULTIPLEXER POSITION | POLYGON LOCATION | VITEL PROBE SERIAL # | DEPTH (cm) | COMMENTS |
| --- | --- | --- | --- | --- |
| 1 | Center | 393 | 10 | Horizontal installation. |
| 2 | Center | 391 | 25 | Horizontal installation. |
| 3 | Center | 395 | 40 | Vertical installation. |
| 4 | Rim | 348 | 10 | Horizontal installation. |
| 5 | Rim | 310 | 25 | Vertical installation. |
| 6 | Trough | 314 | 10 | Horizontal installation. |

HISTORY:  June 22, 1996:  Station initiated.  Sensors installed in polygon containing an instrument mast used by another researcher (Fritz Nelson?).  Vitel soil moisture sensors were installed at three depths, near the center of the polygon.  The sensor serial numbers and their respective depths are:  #393 at 10 cm, #391 at 25 cm, and #395 at 40 cm.  The sensor at 40 cm was installed vertically in frozen soil at the bottom of the hole.  The other two sensors were installed horizontally in the side of the hole.  A second hole was dug in the polygon rim and Vitel sensors number 348 and 310 were installed at 10 and 25 cm, respectively.  The 25-cm sensor was installed vertically in the bottom of the hole; the other was installed horizontally.  A third hole was dug in the trough between polygons.  Vitel sensor #314 was installed horizontally at 10 cm.  The next day, June 23, 1966, a Campbell CR10 datalogger was installed and the sensors connected to it.  The datalogger was programmed to read the sensors in the following order:  polygon center 10-cm depth, polygon center 25-cm depth, polygon center 40-cm depth, polygon rim 10-cm depth, polygon rim 25-cm depth, polygon trough 10-cm depth.  The sensor leads were encased in flexible conduit (plastic coated steel).  Datalogger was set to Alaska Savings Time.  Measurements are made at 20-minute intervals and averaged and recorded every two hours.  The logger program is betty_ak.  The enclosure was placed in a plastic garbage sack and wrapped with a plastic coated tarp, secured with duct tape.  The wrapped enclosure was placed on two boards to raise it off the ground.  A Campbell (SolarX) MSX10 solar panel was connected to the logger.  It leans on the logger enclosure with its edge on the ground.

June 7, 1997:  Connected three Campbell 107B soil temperature sensors to datalogger.  Did not install them in the soil because of snow cover.  Dug solar panel out from under snow.  Downloaded data to Betty001.dat.  Battery voltage is 12.1V.  Everything looks OK.  Reprogrammed datalogger with program betty2.  Measurements are now averaged and recorded hourly.  Added CR10TCR thermocouple reference for the enclosure thermocouple.  Datalogger time appears to be off by 12 hours.  Wrapped enclosure with blue tarp.

August 12, 1997:  Installed the three temperature sensors at 10, 25, and 40 cm in the center of the polygon where the datalogger is located, next to the polygon where the Vitel sensors are installed.  The temperature sensor leads were too short to place the temperature sensors in the same polygon as the Vitel sensors.  Downloaded data to Betty701.dat and Betty702.dat. Wrapped enclosure with blue tarp.

August 18, 1998:  Some animal chewed through one of the soil temperature sensor wires (soil temp #3).  Repaired wire.  Downloaded data to Betty001.dat.  Wrapped enclosure with blue tarp.

September 16, 1999:  Downloaded data to Betty.dat and Betty1.dat.  Added desiccant.  Wrapped enclosure with blue tarp.

April 28, 2000:  Walked to site on snowshoes.  Station completely buried under snow.  No indication of location.  Guessed distance and direction from tripod and located enclosure on first shovel of snow.  Replaced CR10 datalogger with CR10X-2M.  Removed storage module.  Downloaded data to Betty.dat.  Downloaded program Betty v.2.00.  Now reads at 20-min intervals and averages hourly.  Everything seems to be working OK.  Wrapped enclosure with blue tarp.

August 14, 2001:  Replaced recalled datalogger with CR10X-2M-XT.  Downloaded program Betty v.2.00.  Everything seems to be working OK.  Added desiccant.  Removed old desiccant.  Left tarp off.  Could not communicate with recalled datalogger.

June 22, 2002:  Downloaded data to card.  Downloaded program Betty v.2.01.  Set datalogger ID to 4.  Li battery voltage = 3.1128.  Did not add desiccant.  Everything seems to be working OK.

August 21, 2003:  Downloaded data. Added storage module SN: 3471. Added two desiccant.  Replaced power supply—12V,7ah. Everything seems to be working OK.

August 20, 2004:  Downloaded data from storage module. Added storage module SN:3477. Station clock was 47.5 min behind—reset station clock. Added two desiccants packs. Everything seems to be working OK.

August 17, 2005:  Downloaded data from datalogger and swapped storage modules. Internal battery was 3.09 volts. Retrieved program from datalogger. Station clock was 1.5 min behind. Replaced the 7 Ah battery with a 12 Ah battery. Moved enclosure to lower legs of a tripod. Buried all wires. Replaced solar panel. Added desiccant. Everything seems to be working OK.

August 19, 2006: Arrived at station at about 3:00 PM. Swapped storage modules. Internal battery was 3.15 volts. Station clock was 5 min behind; reset clock. Added two desiccant packs.  Everything seemed to be working OK.

August 14, 2007: Arrived at station at about 11:00 AM. Swapped storage modules. Internal battery was 3.124 volts. Station clock was 30 seconds behind. Added two desiccant packs.  Everything seemed to be working OK.

August 9, 2008: Arrived at station at about 12:40 PM. Swapped storage modules. Internal battery was 3.13 volts. Station clock was 3 minutes behind. Reset clock. Everything seemed to be working OK. Add desiccant next time.

DATA:

DATALOGGER OUTPUT:

| COL | OUTPUT | UNITS | LOCATION | SENSOR | COMMENTS |
| --- | --- | --- | --- | --- | --- |
| 1 | Station ID | N/A | N/A | Campbell CR10 | 004 |
| 2 | Year | N/A | N/A | Campbell CR10 |  |
| 3 | Day | N/A | N/A | Campbell CR10 |  |
| 4 | Time | N/A | N/A | Campbell CR10 | AK savings time |
| 5 | Battery | Volts | Enclosure | Campbell CR10 |  |
| 6 | Int Temp | °C | Datalogger | Campbell CR10 |  |
| 7 | Ref Temp | °C | Enclosure | Campbell CR10TCR |  |
| 8 | Enc Temp | °C | Enclosure | Thermocouple |  |
| 9 | Soil Temp | °C | Soil 10 cm | Campbell 107B | Adjacent polygon |
| 10 | Soil Temp | °C | Soil 25 cm | Campbell 107B | Adjacent polygon |
| 11 | Soil Temp | °C | Soil 40 cm | Campbell 107B | Adjacent polygon |
| 12 | 1V1 | Volts | Soil 10 cm | Vitel Soil Moisture/Temp | Polygon center |
| 13 | 2V1 | Volts | Soil 25 cm | Vitel Soil Moisture/Temp | Polygon center |
| 14 | 3V1 | Volts | Soil 40 cm | Vitel Soil Moisture/Temp | Polygon center |
| 15 | 4V1 | Volts | Soil 10 cm | Vitel Soil Moisture/Temp | Polygon rim |
| 16 | 5V1 | Volts | Soil 25 cm | Vitel Soil Moisture/Temp | Polygon rim |
| 17 | 6V1 | Volts | Soil 10 cm | Vitel Soil Moisture/Temp | Polygon trough |
| 18 | 1V2 | Volts | Soil 10 cm | Vitel Soil Moisture/Temp | Polygon center |
| 19 | 2V2 | Volts | Soil 25 cm | Vitel Soil Moisture/Temp | Polygon center |
| 20 | 3V2 | Volts | Soil 40 cm | Vitel Soil Moisture/Temp | Polygon center |
| 21 | 4V2 | Volts | Soil 10 cm | Vitel Soil Moisture/Temp | Polygon rim |
| 22 | 5V2 | Volts | Soil 25 cm | Vitel Soil Moisture/Temp | Polygon rim |
| 23 | 6V2 | Volts | Soil 10 cm | Vitel Soil Moisture/Temp | Polygon trough |
| 24 | 1V3 | Volts | Soil 10 cm | Vitel Soil Moisture/Temp | Polygon center |
| 25 | 2V3 | Volts | Soil 25 cm | Vitel Soil Moisture/Temp | Polygon center |
| 26 | 3V3 | Volts | Soil 40 cm | Vitel Soil Moisture/Temp | Polygon center |
| 27 | 4V3 | Volts | Soil 10 cm | Vitel Soil Moisture/Temp | Polygon rim |
| 28 | 5V3 | Volts | Soil 25 cm | Vitel Soil Moisture/Temp | Polygon rim |
| 29 | 6V3 | Volts | Soil 10 cm | Vitel Soil Moisture/Temp | Polygon trough |
| 30 | 1V4 | Volts | Soil 10 cm | Vitel Soil Moisture/Temp | Polygon center |
| 31 | 2V4 | Volts | Soil 25 cm | Vitel Soil Moisture/Temp | Polygon center |
| 32 | 3V4 | Volts | Soil 40 cm | Vitel Soil Moisture/Temp | Polygon center |
| 33 | 4V4 | Volts | Soil 10 cm | Vitel Soil Moisture/Temp | Polygon rim |
| 34 | 5V4 | Volts | Soil 25 cm | Vitel Soil Moisture/Temp | Polygon rim |
| 35 | 6V4 | Volts | Soil 10 cm | Vitel Soil Moisture/Temp | Polygon trough |

DATA PROCESSING ALGORITHMS:

Vitel Hydra Probe soil moisture, temperature, complex dielectric constant, electrical conductivity, and salinity are determined from the raw data (four voltages), and a calibration option (1, 2, or 3), depending on the soil texture, with a program supplied by Vitel, Inc.  Option 2 (silt) used here.

DATA STORAGE AND ACCESS:

Processed data are available on the USDA NRCS NSSC Internet home page at http://www.wcc.nrcs.usda.gov.  Data are in Excel files organized by calendar year.  Each file consists of a page containing all downloaded data for that year and 6 pages of processed Vitel sensor data (one page for each sensor) with the following column headings:  HOUR, TIME, DATE, SENSOR, SOIL (calibration option), ER (real part of the soil dielectric constant), EI (imaginary part of the soil dielectric constant), TEMP (soil temperature (C), ER-COR (temperature corrected ER), EI_COR (temperature corrected EI), WATER (volume fraction soil water content), SALINITY (soil salinity in g/l NaCl), SOIL_COND (soil electrical conductivity in S/m or mhos/m), SOIL_COND_COR (temperature corrected SOIL_COND in S/m or mhos/m), WATER_CON_COR (temperature corrected soil water electrical conductivity in S/m or mhos/m).  The column headings for the annual data are:  ID (site), YEAR, DAY OF YEAR, HOUR, TIME, DATE, BATT VOLT (battery voltage), INT TEMP °C (datalogger temperature), REF TEMP °C, TC °C (enclosure temperature), SOIL TEMP 10 cm, SOIL TEMP 25 cm, SOIL TEMP 40 cm, 1V1 Center 10-cm depth (Vitel), 1V2 Center 10-cm depth (Vitel), 1V3 Center 10-cm depth (Vitel), 1V4 Center 10-cm depth (Vitel), 2V1 Center 25-cm depth (Vitel), 2V2 Center 25-cm depth (Vitel), 2V3 Center 25-cm depth (Vitel), 2V4 Center 25-cm depth (Vitel), 3V1 Center 40-cm depth (Vitel), 3V2 Center 40-cm depth (Vitel), 3V3 Center 40-cm depth (Vitel), 3V4 Center 40-cm depth (Vitel), 4V1 Rim 10-cm depth (Vitel), 4V2 Rim 10-cm depth (Vitel), 4V3 Rim 10-cm depth (Vitel), 4V4 Rim 10-cm depth (Vitel), 4V1 Rim 25-cm depth (Vitel), 4V2 Rim 25-cm depth (Vitel), 4V3 Rim 25-cm depth (Vitel), 4V4 Rim 25-cm depth (Vitel), 4V1 Trough 10-cm depth (Vitel), 4V2 Trough 10-cm depth (Vitel), 4V3 Trough 10-cm depth (Vitel), 4V4 Trough 10-cm depth (Vitel).

SOILS:  Sampled July 4, 1995.

Site 1:

GPS (7/4/95):	70° 16’ 58.87” N

148° 53’ 20.69” W

21 m elevation

Site 2a:

GPS (7/4/95):	70° 16’ 29.44” N

148° 54’ 57.12” W

14 m elevation

CLASSIFICATION:

LANDSCAPE:  Polygons.

SLOPE:

ASPECT:

ELEVATION:

VEGETATION:  Moss, grass, and small annual flowers.

GROUND COVER:

CANOPY COVER:

COMMENTS:  Call BP Security for access approval.  Denny Hubble or Lou Poss.  907-659-4437.  Use security badge to access oilfield.

NOTES FOR NEXT STATION VISIT:  Routine maintenance.