APPENDIX D-13

Chlorite and Chlorine Dioxide Level Exceedence Check

This page is intentionally left blank

D-13.	Chlorite and Chlorine Dioxide Level Exceedence Check (Section 9.2.14)

Check-Point Restart Issues: This process will be driven by changes to the TSASAR table.

The driver for this subprocess is the Sample Analytical Result table.

The record key for this subprocess is the composite of CDS trigger timestamp and the TSASAR_IS_NUMBER columns.

The sort order for this subprocess will be CDS trigger timestamp ascending and TSASAR_IS_NUMBER ascending.

- Create a log in the CDS Execution Log indicating the process start time.

Assess Chlorine Dioxide Results Subprocess

- Select the current MRDL for chlorine dioxide where:

  - TSAANLYT.CODE = "1008" AND

  - TMNALRA.THRESHOLD_TYPE_CD = "MRDL" AND

  - TMNALRA.BEGIN_DATE <= Current Date AND

  - TMMNALRA.END_DATE is null Or >= Current Date.

- If there is not a current MRDL for “1008,” an advisory will be created referencing message number 26 and will record: the water system number, name, tinwsys_is_number, and tinwsys_st_code; the water system facility state assigned ID and name; the sampling point ID and description; the sample(s lab sample number and collection date; and the result(s analtye code.

- If there is a current MRDL for 1008 (chlorine dioxide), then:

  - Identify results that meet the following criteria:

    - Whose CDS trigger timestamp or whose parent sample(s CDS trigger timestamp is greater than the last time the CDS Setup program was run; AND

    - That reference chlorine dioxide TSAANLYT.CODE ="1008" AND

    - Whose Data Quality Code is accepted (A) or validated (V); AND

    - Whose parent Sample(s Compliance Purpose Indicator Code is equal to “Y” AND

    - Whose parent Sample(s Rejection Reason Code is blank.

  - For each result identified:

    - If there is a record in CDS Sample Result where SAR_TSASAR_IS_NUMBER = TSASAR.TINSAR_IS_NUMBER and SAR_TSASAR_ST_CODE = TSASAR.TSASAR_ST_CODE and the CDS Sample Result record references a CDS Exceedence (TCDSCAEX_IS_NUMBER is not null), then delete both the referenced CDS Exceedence and the CDS Sample Result.

    - If the Less Than Indicator is equal to “Y”, go to next Sample Analytical Result (this result does not exceed the MRDL)

    - If the UOM_Code for the Sample Analytical Result is not equal to the UOM_Code for its MRDL, convert the Concentration to the same units as the MRDL and temporary save as “Result” (do not change the value in the Sample Analytical Result, only convert it for comparison purposes).  If the Sample Analytical Result cannot be converted using the conversion table (see the main design specifications), an advisory will be created referencing message number 27 and will record: the water system number, name, tinwsys_is_number, and tinwsys_st_code; the water system facility state assigned ID and name; the sampling point ID and description; the sample(s lab sample number and collection date; and the result(s analyte code.

    - Else temporarily save the Concentration as “Result”

    - If Result is greater than the MRDL for chlorine dioxide:

      - If this is the first CDS Exceedence determined in this run of CDS Setup, create a record in CDS Report Log entity and reference it with all CDS Exceedences determined in this run AND

      - Pass a CDS Exceedence to the Create CDS Exceedence action block AND

      - Create an advisory referencing message number 28 and will record: the water system number, name, tinwsys_is_number, and tinwsys_st_code; the water system facility state assigned ID and name; the sampling point ID and description; the sample(s lab sample number and collection date; and the result(s analtye code AND

      - Move on to the next Sample Analytical Result.

    - If Result is not greater than the MRDL for chlorine dioxide, move to the next Sample Analytical Result

    - Once all Sample Analytical Results for chlorine dioxide have been assessed, go on to the Assess Chlorite Results subprocess.

End of the Assess Chlorine Dioxide Results subprocess

Assess Chlorite Results

- Select the current MCL for chlorite where:

  - TSAANLYT.CODE = "1009" AND

  - TMNALRA.THRESHOLD_TYPE_CD = "MCL" AND

  - TMNALRA.BEGIN_DATE <= Current Date AND

  - TMMNALRA.END_DATE is null Or >= Current Date

If there is not a current MCL for “1009,” an advisory will be created referencing message number 29 and will record: the water system number, name, tinwsys_is_number, and tinwsys_st_code; the water system facility state assigned ID and name; the sampling point ID and description; the sample(s lab sample number and collection date; and the result(s analtye code.

If there is a current MCL for 1009 (chlorite), then:

  - Identify results that meet the following criteria:

    - Whose CDS trigger timestamp or whose parent sample(s CDS trigger timestamp is greater than the last time the CDS Setup program was run; AND

    - That reference chlorite TSAANLYT.CODE ="1009" AND

    - Whose Data Quality Code is accepted (A) or validated (V); AND

    - Whose parent Sample(s Compliance Purpose Indicator Code is equal to “Y” AND

    - Whose parent Sample(s Rejection Reason Code is blank.

For each result identified:

    - If there is a record in CDS Sample Result where SAR_TSASAR_IS_NUMBER = TSASAR.TINSAR_IS_NUMBER and SAR_TSASAR_ST_CODE = TSASAR.TSASAR_ST_CODE and the CDS Sample Result record references a CDS Exceedence (TCDSCAEX_IS_NUMBER is not null), then delete both the referenced CDS Exceedence and the CDS Sample Result.

    - If the Less Than Indicator is equal to “Y”, go to next Sample Analytical Result (this result does not exceed the MCL)

    - Else, if the UOM_Code for the Sample Analytical Result is not equal to the UOM_Code for its MCL, convert the Concentration to the same units as the MCL and temporary save as “Result” (do not change the value in the Sample Analytical Result, only convert it for comparison purposes).  If the Sample Analytical Result cannot be converted using the conversion table (see the main design specifications), an advisory will be created referencing message number 30 and will record: the water system number, name, tinwsys_is_number, and tinwsys_st_code; the water system facility state assigned ID and name; the sampling point ID and description; the sample(s lab sample number and collection date; and the result(s analtye code.

    - Else temporarily save the Concentration as “Result.”

    - If Result is greater than the MCL for chlorite:

If this is the first CDS Exceedence determined in this run of CDS Setup, create a record in CDS Report Log entity and reference it with all CDS Exceedences determined in this run AND

Pass a CDS Exceedence to the Create CDS Exceedence action block AND

Create an advisory referencing message number 31 and record: the water system number, name, tinwsys_is_number, and tinwsys_st_code; the water system facility state assigned ID and name; the sampling point ID and description; the sample(s lab sample number and collection date; and the result(s analtye code. AND

Move on to the next Sample Analytical Result.

If Result is not greater than the MCL for chlorite, move to the next Sample Analytical Result.