A Beginner’s Guide to radiation damage.

James M. Holton1,2

1Department of Biochemistry and Biophysics, University of California, San Francisco, CA 94158-2330, USA

2Advanced Light Source, Lawrence Berkeley National Laboratory, Berkeley, CA 94720, USA

# Synopsis

Radiation damage considerations affecting data collection by more than a factor of two are summarized and damage avoidance strategies are suggested.

# Abstract

Many advances in the understanding of radiation damage to protein crystals, particularly at cryogenic temperatures have been made in recent years, but with this comes an expanding literature, and to the new breed of protein crystallographer who is not really interested in X-ray physics or radiation chemistry, but just wants to solve a biologically relevant structure, the technical nature and breadth of this literature can be daunting.  The purpose of this paper is to serve as a rough guide to radiation damage issues, and to provide references to the more exacting and detailed work.  No attempt has been made to report precise numbers (a factor of two is considered satisfactory), and since there are aspects of radiation damage that are demonstrably unpredictable, the “worst case scenario” as well as the “average crystal” are discussed in terms of the practicalities of data collection.

Introduction.

It is not uncommon for radiation damage to prevent the solution of a structure.  Diffraction spots can fade away before the data set is complete and heavy atoms sites can become disordered before sufficient anomalous signal is measured.  The former is easy to detect by eye during data collection, but the latter is more insidious (Holton, 2007; Oliéric et al., 2007).  In either case, however, significant damage by the middle of the data set generally means that the data set is already ruined.  What is more, the specific chemical changes induced by radiation damage can change the structure from the biologically relevant form, and this sometimes leads to wrong conclusions about function.

Radiation damage can be avoided by keeping the accumulated X-ray exposure “short”, but how short is short enough?  How short is too short to solve the structure?  Does it matter how bright the beam is?  Is there anything that can be done during sample preparation or data collection that can mitigate or at least predict radiation damage?

There are several good reviews and broad reports on the field of radiation damage (Garman & McSweeney, 2007; Ravelli & Garman, 2006; Carugo & Carugo, 2005; Nave & Garman, 2005; Garman, 2003; Garman & Nave, 2002; Ravelli & McSweeney, 2000; Burmeister, 2000), and the reader is referred to these works for comprehensive coverage of the field.  What follows is a rough guide focusing on damage avoidance.

The factor of two.

The cut-off of a factor of two for a radiation damage effect to be considered “significant” here was chosen because a factor of two in scattering power corresponds to a relatively small change in crystal size.  Specifically, increasing all three linear dimensions of a crystal by 26% will double the volume of scattering matter (1.263 = 2).  Such a change in size appears to be a typical “error bar” when examining crystals under a microscope, as most crystallographers will not distinguish between an 88 μm crystal and a 110 μm crystal, but the latter has twice the volume of the former and the number of photons a crystal will diffract before it is “dead” is proportional to volume (see Appendix A).  Perhaps more attention should be paid to crystal size, but a factor of two can also be the uncertainty in X-ray beam intensity, especially if parameters such as the variability in storage ring current over a refill cycle are not taken into account.  Increasing the exposure time by a factor of two will double the damage but increase the signal/noise ratio of the data by only ~42% (1 vs. √2), an improvement which can be difficult to detect by inspecting a diffraction image, and in practice a factor of four in exposure time is generally needed to see new spots.  A factor of two is also roughly the difference between collecting one wavelength or two (all other things being equal, such as the per-image exposure time), collecting the inverse beam wedge or not, and also the difference between collecting from one crystal or merging data from two crystals.  So, a factor of two roughly corresponds to the decision thresholds that must be faced in data collection strategy.

What is a MGy?

The flux density (photons/μm2/s) of current synchrotron X-ray beams varies by a factor of ten thousand (for a table of expected crystal lifetime at different beamlines, see http://biosync.rcsb.org/), so describing radiation damage in terms of “frames” is not useful when trying to apply strategies learned using one beamline at another.  A more transferrable unit is needed.

The Gy (J/kg) is the SI unit of dose, which is the amount of energy absorbed by something per unit of mass, and protein crystals are typically given millions of Gy, so the MGy is a convenient unit.  Obviously, the extent of radiation damage will depend on the number of photons absorbed, but it is not so much the photons themselves as the energy they carry that drives the chemical reactions of damage (Newton, 1963; Myers, 1973; Box, 1977), so it is most relevant and useful to describe damage in terms of dose.  Note that fluence (incident photons/μm2) is sometimes incorrectly referred to as a “dose”, but the SI definition of dose is absorbed energy, not incident energy, and the correct meaning of the word “dose” will be used here. The ratio of fluence to dose (kdose) depends on the X-ray wavelength and the atomic composition of the sample (see §6), but typically only a tiny fraction of the X-ray beam is absorbed by a protein crystal (usually ~2%) so dose is generally independent of crystal size and directly proportional to incident photons/μm2.  (Note that if the crystal is bigger than the beam, then the dose to the part exposed to the beam will be proportional to incident photons/μm2; see §7).   Typically, the “dose ratio” (kdose) is ~2000 photons/μm2/Gy.  That is, a dose of 1 MGy will be deposited in a metal-free crystal after 20 s in a 100 μm x 100 μm beam of 1 Å X-rays with a flux of 1012 ph/s.

Neglecting the crystal thickness does introduce a small error.  The actual dose will always be a little less than that given by kdose, but the error introduced is less than a factor of two as long as the crystal is thinner than the attenuation depth of the X-rays, which is 3600 μm in the above case.  The error is less than 5% if the crystal is smaller than 370 μm thick.

The assumption kdose = 2000 photons/μm2/Gy is also accurate within a factor of two between 1.1 and 0.9 Å X-ray wavelengths if the overall heavy (heavier than sulphur) atom concentration in the crystal is < ~100 mM (see §5, §6 and Table 1).  For wavelengths and crystal formulations outside this range, or simply for better accuracy, use RADDOSE (Murray et al., 2004; Murray et al., 2005; Paithankar et al., 2009) but even if kdose is uncertain, the lifetime (in seconds) of crystals with given elemental composition at a given wavelength will always be inversely proportional to flux density (photons/μm2/s) when moving from one beamline to another, or as a given beamline is attenuated.  Thus it is important to know the beamline flux (photons/s), as well as the size of the beam at the crystal (μm2) (see §11).

It is very important to remember that, like dose, diffracted intensities are proportional to fluence (photons/μm2), but relatively insensitive to heavy atom content.  That is, for a given exposure time, the amount of information obtained will depend on how many photons were thrown at the crystal, but the amount of damage inflicted will depend on how many were absorbed.  The value of kdose is therefore a good indicator of how much data a crystal will yield in its useful life relative to another crystal of the same size and type but different heavy atom content (see §6).  Lower kdose is better.

There are two kinds of radiation damage: global and specific.

Irradiated protein crystals suffer an overall loss of resolution as high-angle spots fade away which is referred to as global damage. There are also specific chemical changes that can be seen in the electron density maps, such as side chains popping off.  Specific damage can be up to ~60x faster than global damage (see below), but the good news is that at cryogenic temperatures the global damage “rate” appears to be essentially the same for every protein crystal, once “lifetime” has been normalized to dose (Garman & McSweeney, 2007; Owen et al., 2006; Leiros et al., 2006; Sliz et al., 2003).  In fact, the term “damage rate” is something of a misnomer since the words “rate” and “lifetime” imply progression with time but the fundamental coordinate of cryogenic damage is dose.  For this reason, we introduce the term “lifedose” to refer to the amount of dose a crystal can endure, and the word “lifetime” will be used to indicate time.

Owen et al. (2006) recommended a general maximum tolerable dose (“lifedose”) of 30 MGy but noted there was also some resolution dependence to this as high-angle spots faded first.  In fact, there is a remarkably linear relationship between scaling B-factor and dose (Kmetko et al., 2006; Borek et al., 2007), but Howells et al. (2005) proposed a resolution-dependent dose limit criterion of 10 MGy per Å of resolution.  For example, if a resolution of 3 Å is desired, the Howells criterion suggests a lifedose of 30 MGy.  Since most of the dose limits used to derive this criterion used spot fading to half intensity as the indication of a dose limit, the fading of a spot at a given resolution can be supposed to follow an exponential decay:

Where:

I	radiation-damaged spot intensity

I0	is the spot intensity at zero dose

ln(2)	natural log of two (~0.7)

D	dose in MGy

d 	d-spacing in Å

H	Howells et al. (2005) criterion (10 MGy/Å)

Note that I = 0.5 * I0 when D in MGy is 10x the d-spacing in Å.  This is not exactly the definition of “d” given in Howells et al. (2005), but Equation (1) agrees remarkably well with recent damage studies.  For example, applying Equation (1) to the square structure factors of apoferritin (PDB ID: 2clu) results in a fairly linear falloff of total intensity with dose that reaches half intensity at 42 MGy (not shown) which is consistent with 43 +/- 3 MGy observed at half total intensity by Owen et al. (2006).  In addition, scaling these same exponentially-modified apoferritin data to unmodified intensities with SCALEIT (Howell & Smith, 1992) results in a best-fit relative B-factor that increases linearly with dose having a slope of 1.3 B/MGy, which is identical to the slope reported by Kmetko et al. (2006) for their apoferritin observations.  Application of this same resolution-dependent spot-fading rate to lysozyme data (PDB ID: 2blx) reproduces the 1.03 B/MGy Kmetko et al. (2006) reported for lysozyme, and thus explains the apparent protein-to-protein variability they observed.  It is worthwhile noting that the sum of all diffracted intensities reduces by half if one applies a B-factor of 15 Å2 to the apoferritin data, but this corresponds to a dose of 11 MGy using the ratio 1.3 B/MGy; a result that would be inconsistent with those of Owen et al. (2006) if damage manifested as a simple B-factor.  This is because the B-factor has a resolution dependence of exp(-1/d2), not the exp(-1/d) found by Howells et al. (2005).  The Howells criterion of 10 MGy/Å therefore appears remarkably consistent with the observations of recent damage studies and is recommended as a good rule of thumb for predicting the lifedose of spots at a given d-spacing.

The bad news is that the rates of specific damage reactions are variable and depend on many factors including the folded structure of the protein (Holton, 2007) so there will probably never be a way to predict them before the structure is solved.  This problem is exacerbated by the fact that “interesting” parts of the molecule such as active sites, bound ligands and heavy atom sites are particularly prone to specific damage.  One might presume that this trend has anthropogenic origins because these are the parts of the protein where people spend the most time looking, but many systematic studies have now been carried out, and the trend does appear to be real (Burmeister, 2000; Ravelli & McSweeney, 2000; Weik et al., 2000; Leiros et al., 2001; Weik et al., 2001; O’Neill et al., 2002; Nukaga et al., 2003; Fuhrmann et al., 2004; Carugo & Carugo, 2005; Dubnovitsky et al., 2005; Roberts et al., 2005; Yano et al., 2005; Leiros et al., 2006; Fioravanti et al., 2007; Schiltz & Bricogne, 2007).  The mechanism of site-specific radiosensitivity is still unclear.  Several mechanisms for the high sensitivity of particular sites have been proposed, such as solvent accessibility (Burmeister, 2000; Weik et al., 2002; Garman & Nave, 2002), the high X-ray cross sections of heavy atoms (refuted in Southworth-Davies et al., 2007), chemical bond strain (Weik et al., 2000; Fuhrmann et al., 2004; Dubnovitsky et al., 2005; Fioravanti et al., 2007), and electrostatic field lines (Holton, 2007).  For each of these models, there is both evidence and counterexamples, and the reader is referred to the above references for details.  It will suffice here to say that there are probably at least two different radiochemical mechanisms at work, and the lifedose of any given site depends on its location in the structure.

Despite this inherent unpredictability, there are “world records” for lowest lifedose of specific damage reactions: 2 MGy for selenomethionine (Holton, 2007), 0.5 MGy for bromouracil (Oliéric et al., 2007) and as little as ~0.3 MGy for the metalloprotein putidaredoxin (Corbett et al., 2007), and these “worst case scenarios” can be used when planning data collection (see §11).

Crystals are killed by photons/μm2, not time.

One of the most remarkable findings about cryogenically cooled protein crystals is that global damage is proportional to dose, but not how fast that dose was delivered: the “dose rate” (Garman & McSweeney, 2007; Sliz et al., 2003; Leiros et al., 2006; Owen et al., 2006).  This is certainly not the case at room temperature, where the extent of damage inflicted by a given dose does depend on the dose rate (Blake & Phillips, 1962; Southworth-Davies et al., 2007), varies from protein to protein and even continues damaging the crystal after the X-rays have been turned off (Blundell & Johnson, 1976).  However, unless stated otherwise, the discussion in this paper is about damage at cryogenic temperatures.

The exact timescale (and indeed the nature) of the cryogenic global damage reaction is not clear, but it must be very fast to have no dose-rate dependence and a lack of any demonstrable “dark progression”.  Whatever reactive species are generated by the beam, they must be consumed as fast as they are made, or their concentration would build up at high dose rates, saturating the downstream reactions.  This means that as long as a partially “burnt” crystal is stored properly (such as described in Owen et al., 2004) it will stay at liquid nitrogen temperatures and diffract to the same resolution at a later time, even when restored to the beamline months later (not shown).

Specific damage is more complicated as a dose-rate dependence has been demonstrated (Leiros et al., 2006) and damaged species have also been observed spectroscopically to disappear with a time scale of minutes after the beam has been turned off (Weik et al., 2002; Southworth-Davies & Garman, 2007, McGeehen et al., 2009).  Nevertheless no reported dose-rate dependence has been more than a factor of two.  That is, the ratio of accumulated dose to a given damage metric such as site occupancy, scaling B-factor, or total diffracted intensity has not been shown to change by more than a factor of two as a result of changing the dose rate.  Consequently, dose rate dependence will be considered “insignificant” here, and the reader is referred to the above references to learn more about it.

A very important consequence of the dose-rate independence of radiation damage is that the quality of data that can be obtained from a crystal before it is “dead” will not change no matter how rapidly the photons are applied (flux or photons/s).  This is because the data are scattered photons and scattering is exactly proportional to fluence (photons/μm2), which has no dimensions of time.  This fact can be found in any of the many good books describing the physics of X-ray diffraction, such as Blundell & Johnson (1976) or Drenth (1999), with rigorous proofs given by M. M. Woolfson (1970) or R. W. James (1962).  There are other parameters of beam quality such as collimation, spectral purity, crossfire and flicker noise which can impact data quality in various ways that will not be covered here, but flux (photons/s) by itself does not affect data quality until it is converted into fluence (photons/μm2).  Therefore, since there appears to be no significant dose-rate dependence to damage, the extent of damage is also proportional to fluence (photons/μm2), and the data-to-damage ratio is independent of the time taken to collect the data.

In the future, it may eventually become possible to collect data on timescales faster than the chemical reaction rates involved in damage, which will introduce a beneficial dose-rate effect.  Exactly what this timescale must be is not presently clear as the rate constants (and indeed the mechanisms) of these reactions are not known.

Beware of high atomic numbers.

The lifetime of a crystal in a given X-ray beam depends on the elemental composition of the crystal and the solvent inside it.  Unlike visible light, X-rays are absorbed by all of the electrons in an atom, and the cross-section increases roughly as Z2.7 where Z is the atomic number.  This means that absorption goes up very steeply moving across and down the periodic table!  For example, 600 mM NaI instead of 600 mM NaCl in solvent channels (assuming solvent is 50% of the total volume) will cut the lifetime of a crystal roughly in half, but since absorption is proportional to concentration, lower concentrations of NaI are less of a problem.  Note that we are discussing lifetime and not lifedose, as the latter is remarkably unaltered by heavy atom content.

Precise X-ray absorption cross sections have been tabulated (McMaster et al., 1969; Hubbell, 1982; Hubbell, 2006), and (Seltzer, 1993) generated effective cross sections accounting for energy-loss mechanisms such as X-ray fluorescence (which is ~40% in the case of Se atoms) and assumed no self-absorption of fluorescent X-rays. The Seltzer (1993) tabulations were used to produce Table 1 because the error introduced by neglecting self-absorption is usually quite small (much less than a factor of two).  This correction was discussed in detail by Paithankar et al., (2009).  Table 1 was also made with the assumption that protein crystals and water have the same absorption.  Although the average X-ray cross section of protein atoms is lower than that of water, the higher density of protein (~1.34 g/cm3) tends to make up the difference.  As long as the sample is free of heavy atoms, the dose (energy absorbed per unit mass) deposited by a given beam of X-rays in a thin layer of protein crystal is within 5% of that deposited in a thin layer of pure water for all photon energies between 5 and 50 keV.

Using these assumptions, the concentration of a given element that will cut a protein crystal lifetime in half (by doubling kdose) may be calculated. This concentration is moles of the element per liter of sample, not just the solution in the solvent channels.  For example, if we fill the solvent channels of a protein crystal with a solution containing 680 mM of selenium, then the total concentration will be roughly 340 mM (assuming 50% solvent content and that the selenium compound does not bind to the protein).

Consider the photon energy to be 12680 eV.  The mass energy absorption cross section Seltzer (1993) provided for water at this energy is 2.3 cm2/g, so exposing a thin layer of water to a fluence of 106 photon/cm2 will deposit 2.9x1010 eV/cm3 (106 photon/cm2 x 2.3 cm2/g x 12680 eV/photon x 1.0 g/cm3) of energy.  The mass energy absorption cross section of selenium is at this energy is 87 cm2/g, so a gas of selenium atoms at 27 mg/cm3 will absorb the same amount of energy per unit volume as water (106 photons/cm2 x 87 cm2/g x 12680 eV/photon x 0.027 g/cm3 = 3.0x1010 eV/cm3).  Combining these, we conclude that an aqueous solution of 27 mg/cm3 (340 mM) selenium in water will absorb roughly twice as much energy as pure water or a native protein crystal.  If we consider lighter elements such as sodium, then a 14 mol/L gas will absorb as much energy as an equal volume of water, but a 14 M aqueous solution of sodium will contain significantly less water per unit volume than pure water, and therefore absorb fewer X-rays.  If we assume that each sodium atom displaces one water molecule, then a 19 M sodium is required to double the dose.

Table 1 was calculated as above using X-rays at the Se edge: 0.9793 Ǻ and these dose-doubling concentrations will be different at other wavelengths.  As an extreme example, the dose-doubling concentration of Br is ~1.2 M at 0.9793 Ǻ (“below” the Br K-edge) but this will drop to 320 mM at 0.9193 Ǻ (“above” the Br K-edge).  To calculate exactly how a particular crystal composition will behave at a particular wavelength, use RADDOSE (Murray et.al. 2004; Murray et.al. 2005; Paithankar et al., 2009).  However, to within a factor of two anything at less than ~100 mM is “safe”.  Note however that this does not mean 99 mM is the same as 0 mM; the effect is proportional to concentration.

The “spreading” of radiation damage is ~3 μm

Cryo-cooled protein crystals are solids, and this is evident if they are mounted with the wrong size cryo tongs: the droplet containing the crystal can be crushed or shattered like any other glass.  Since the viscosity of a glass is incredibly high, there can be no “diffusion” of radicals in the traditional sense (Douzou,1977).  That is, there is no mass transport except on geological timescales (thousands to millions of years). There is also not enough energy in available X-ray beams to heat a crystal by more than a few degrees (Snell et al., 2007).  This is not to say that massless reactive species cannot move as much as a few dozen Å or more in a glass, they can (Box, 1977; Petrik & Kimmel, 2003,2004), but this is solid-state chemistry, which is very different from radiation chemistry in aqueous solution at room temperature (Zagórsky, 1999).

It is possible to shoot one part of the crystal so much that it expands physically and the strain induced by this expansion distorts the lattice of neighbouring regions of the crystal (not shown), but the bulk of data collected at the Advanced Light Source beamline 8.3.1 (MacDowell et al., 2004) by “walking” down needle crystals shows no signs of damage “spreading” any more than a few μm, and a systematic study by Schulze-Briese et al. (2005) found that damage is indeed limited to the irradiated area.  Since the range of a ~10 keV photoelectron in organic matter is ~3 μm (Cole, 1969), there is no physical reason to think that damage “travels” any further than that.  Conversely, half of the absorbed energy should escape a crystal which is smaller than ~40% of the photoelectron range (Nave & Hill, 2005), but a practical demonstration of this effect has yet to appear in the literature.

Scavengers and “radioprotectants”

There are now seven molecules that have been shown to have a protective impact on specific radiation damage including ascorbate (Murray & Garman, 2002; O’Neil et al., 2002; Betts et al. 2004; Southworth-Davies & Garman, 2007; Holton, 2007), nicotinic acid and DTNB (Kauffmann et al., 2006), nitrate ion (Borek et al., 2007; Holton, 2007) and 1,4-benzoquinone, TEMP and DTT (Southworth-Davies & Garman, 2007).  These workers also found a much longer list of substances that have no effect.

As for global damage, Kauffmann et al. (2006) and Murray & Garman (2002) both reported a protective effect from their additives.  Murray & Garman (2002) did not claim more than a factor of two change in any of the metrics used, but Kauffmann et al. (2006) reported better than a factor of two impact on both global and specific damage.  Unfortunately, the results reported by Kauffmann et al. (2006) were not normalized for dose nor for scattering power (see §10), so it is difficult to asses the impact of these additives on a transferrable scale.  Nevertheless, if a crystal is found to tolerate the presence of any of these additives, it is advisable to try them.

Helium

At any temperature, using helium gas instead of nitrogen will reduce background scattering (Polentarutti et al., 2003), and this effect is particularly prominent inside the “water ring” (d-spacings between 3.8 Å and the beam stop) where helium scatters 1/49th as much as air.  At the “water ring” and higher angles, the scattering from the sample is roughly equivalent to that of 1000 times its thickness of air, which tends to overwhelm air scatter unless the air path is more than 1000x longer than the sample is thick.  For example, a 3 cm air path is significant if the sample (crystal + cryosolvent) is 20 μm thick, but not if the sample is 200 μm thick.  Some of the historical confusion about the benefits of helium arose from the need to de-convolute this effect, but the more recent studies have taken it into account.  Nevertheless, from a data collection standpoint, the background reduction alone can be a good enough reason to use helium, even at 100 K.

As with radioprotectants, there have been plenty of negative results attempting to use temperatures lower than 100 K to reduce radiation damage and a few have even been published (Meitzner et al., 2005), but there are now several reports of significant reduction of specific damage at temperatures from 7 to 40 K (Yano et al., 2005; Grabolle et al., 2006; Corbett et al., 2007).  All of these reports were reductions in active site damage of metalloproteins ranging from factors of two to a factor of 30 in Corbett et al., but this does not mean that helium temperatures will not slow down other specific damage reactions.

As for global damage, there certainly are reports of a positive impact from helium cryostats (Teng & Moffat, 2002; Hanson et al., 2002; Chinte et al., 2007; Borek et al., 2007; Meents et al., 2007), but no reports thus far have claimed better than a factor of two in sample lifedose.  Greater than a factor of two reductions in global damage has been reported in cryo-electron microscopy, but the benefits of helium are still controversial in this field (Massover, 2007; Glaeser, 2008).

The minimum crystal size to solve a structure

It was shown in §4 that diffraction spots from any protein crystal at a given d-spacing will fade with essentially the same lifedose, so the amount and quality of data that can be collected before a crystal “dies” will depend on the initial scattering power of the crystal.  For example, given a particular data-quality goal, crystals with larger unit cells will have to be bigger than those with smaller unit cells because spot intensity is proportional to the number of unit cells in the beam.  The relationship between all the factors affecting scattering power and radiation damage is detailed in Appendix A, where the number of crystals of a given type and size that are needed to solve a structure is derived:

(2)

Where:

nxtals	- number of crystals required to solve the structure

n0	- number of crystals required in a unitary reference case (see below and Table 2)

ℓxyz	- crystal size in each direction (microns)

MW	- molecular weight (kDa)

VM	- Matthews’s coefficient (Å3/Da)

d	- d-spacing of interest (Å)

B	- Wilson B factor (Å2)

The crystal size, molecular weight, approximate VM and resolution of interest are all readily available quantities to the crystallographer screening crystals, but it can be difficult to know the Wilson B factor a priori.  A survey (not shown) of the Protein Data Bank (PDB; Berman et al., 2000) revealed a simple relationship between the resolution limit (dmin) and the average atomic B factor of entries claiming that resolution limit:

(3)	Bavg ≈ 4 (dmin)2 + 12

which holds in the range 1.5 Å  < dmin < 4 Å.  Whatever the reason behind this trend, Bavg is empirically a rough estimate of the Wilson B factor of a crystal that appears to diffract to dmin on initial screening diffraction images and this can be substituted into Equation 2.

The value of the empirical “difficulty parameter” n0 will depend on the type of experiment to be attempted, and it can be interpreted as the number of crystals required when the fraction in Equation (2) is equal to 1.0, such as 5x5x5 μm lysozyme crystals with Wilson B = 21 and d = 2 Å.  Experiments with higher data quality requirements (see below) will have larger values of n0, but improvements in methodology and equipment are expected to lower n0 for a given experiment.

The usefulness of Equation (2) is demonstrated in Table 2.  It can be seen that n0 for the goal of obtaining a complete native data set has been decreasing over time but has never been less than 3.  Therefore, using n0 = 3 in Equation 2 is a good way to gauge if trying to obtain a complete data set is hopeless.  That is, if plugging in the parameters of a crystal of interest and n0 = 3 results in nxtals greater than one, then obtaining a complete data set from a single crystal would be a record-setting feat.  It is not recommended to try and set new records with projects that might require more than just a complete data set.  That is, 90% complete data may be sufficient for molecular replacement and refinement to succeed, but the integrity of “important” chemical bonds can be questionable at n0 = 3.

A case in point is MAD/SAD structure solution, as it was noted in §4 that metal sites can break down up to 60x faster than the observed decay of spot intensities.  This implies that for “safe” structure determination by MAD or SAD, n0 should be increased ~60-fold to n0 = 180.  Covalent bonds in active sites and ligands can break rapidly as well, but these decay rates are currently not well characterized, so if breaking a particular bond would change the conclusions derived from the structure, a recommended strategy is to use n0 ~ 180.  For example, the high value of n0 for the 3.5 Å structure of the ribosome (Schuwirth et al., 2005 in Table 2) is due to the fact that care was taken to avoid any signs of radiation damage in those data (~2 MGy/xtal) and that the dose ratio (kdose) of nucleic acids is about twice that of protein (due to phosphorous content).  In general, addition of any of the dose-doubling concentrations listed in Table 1 requires doubling the value of n0.  This is because n0 is linear with dose.

Note that a value of nxtals greater than one does not mean that the crystal should be discarded.  Walking a small beam down a needle crystal to nxtals different locations and merging the data will satisfy Equation (2).  Remember that the beam size will “cut off” the effective crystal dimensions (see §7) and that should be reflected in the values of ℓx, ℓy and ℓz because the product of these three numbers is the volume of scattering matter.  For example, a 10 x 10 μm beam on a crystal 100 μm in all dimensions is equivalent to a crystal and beam which are 22 μm in all dimensions, because 10 x 10 x 100 =104, and 22 x 22 x 22 ≈ 104.

Summary and general strategy recommendations

Radiation damage begins with the first X-ray photon absorbed in the crystal, so data collection strategy must always be a balance between the data quality required and the amount of damage than can be tolerated.  It is often the case that this balance cannot be struck with just one crystal and perhaps not even with many if the crystals are very small and very weakly-diffracting.  So, given a new and very precious protein crystal, how shall one proceed with data collection?

The first thing that must be known about a beamline or other X-ray source is the flux (φ) in photons/s, and this can be obtained using a calibrated photodiode (Owen et al., 2009).  The next parameters to obtain are the dimensions of the beam at the crystal (ℓbeamx and ℓbeamy), as these are needed to compute the flux density (photons/μm2/s).  If these are not readily available, they can be obtained by exposing a small piece of silica glass (such as a cover slip) which will turn brown in the X-ray beam.  If necessary, this darkened glass can be transferred to a microscope with a calibrated reticule for measurement of the beam size.

Once the flux density (photons/μm2/s) is known, all that remains is the dose ratio (kdose) which is usually 2000 photons/μm2/Gy, but can also be calculated more precisely for a given wavelength and chemical composition of the crystal using RADDOSE (Murray et al., 2004; Murray et al., 2005; Paithankar et al., 2009).  Given all these, the maximum recommended shutter-open time a crystal will endure can be calculated:

(4)

txtal 	maximum shutter-open time for a data set (seconds)

D 	expected lifedose of the crystal (Gy)

kdose 	dose ratio (~2000 photons/μm2/Gy)

φ	beam flux (photons/s)

ℓbeamx	one dimension of the X-ray beam spot (μm)

ℓbeamy	other dimension of the X-ray beam spot (μm)

Some data collection strategy programs such as BEST (Bourenkov & Popov, 2006) can take txtal as input, but it is instructive to examine its meaning here.  For example, if it is desired to collect a complete data set to 2 Å resolution, then D = 20x106 Gy can be obtained using the Howells criterion (see §4).  Assuming the X-ray wavelength is ~1 Å (see §3) and no heavy-atom concentration is above 100 mM (see §6), the kdose given above will roughly apply, and using a beam 100 μm high and 200 μm wide with flux 1x1012 photons/s, we obtain txtal = 800 seconds.  This means that a data set of 100 images should use a per-image exposure time of 8 seconds or less.  A 3 Å data set, however, could use 12 second exposures.

Note that txtal is proportional to d via the Howells criterion, but this does not imply that shorter txtal will yield better resolution; rather measuring high-angle spots must be done “quickly” because they will endure less dose than low-angle spots.  Increasing flux (photons/s) will also reduce txtal, which means that the data can be collected faster, but the number of photons scattered into the detector before the spots fade away will not change.  This is a consequence of the lack of a significant dose-rate dependence to radiation damage (see §5).

It is also important to note that Equation (4) takes the size of the X-ray beam and care must be taken when considering a mismatch in size between the beam and the crystal.  A crystal much larger than the beam and rotating will complicate the dose calculation as “fresh” and “partially burnt” crystal matter moves in and out of the beam.  However, this effect can be roughly accounted for by assuming that the average dose (total energy absorbed divided by the total mass that absorbed it) applies.  That is, estimate the total volume of crystal that will ever experience the beam (this will require some knowledge of geometry) and then take the cube root of this volume as the value for ℓbeamx and ℓbeamy.  However, the flux φ (photons/s) used should be kept the same.  For example, if the crystal is a rod 50 x 80 μm thick and 1 mm long with the long dimension oriented along the rotation axis and the data collection rotates it 180° in a 10 x 10 μm beam, then a 50 x 80 x 10 μm volume is illuminated and effectively ℓbeamx = ℓbeamy = 34 μm because 50 x 80 x 10 = 4x105 and 34 x 34 x 34 = 3.9x105.

If the beam profile is a “top hat” with even illumination (constant flux density or photons/s/μm2) at every point, then crystals smaller than the beam will still obey Equation (4).  However, if a small crystal is in a “hot” central region of a larger beam, it will absorb a larger dose than that given by Equation (4), since it is actually experiencing the flux density (photons/s/μm2) passing through its own cross-sectional area.  For example, a Gaussian beam shape will have a peak flux density that is 88% of the “average” flux density assumed by entering the whole-beam flux (photons/s) as φ and the two full-width at half-maximum (FWHM) dimensions of the beam profile as ℓbeamx and ℓbeamy in Equation (4). Similarly, a “round” crystal that exactly matches the FWHM dimensions of a Gaussian beam will experience 50% of the whole-beam flux φ (photons/s).  Crystals in such beams can therefore be expected to last roughly 13% longer or twice as long as predicted by Equaiton (4), respectively.  This is not a radiation-protective effect of Gaussian beams, but merely an artefact of computing flux density.  On general terms it is recommended to try to match the size of the beam to the size of the crystal as this optimizes the ratio between diffracted intensities and background scattering.

The above example uses Howells’s criterion for the lifedose of general damage, but if specific damage is a concern then the lifedose of the relevant reaction should be used.  For example, selenomethionine sites have never been observed to be more than half-decayed after a dose of 2 MGy (Holton, 2007), and using this value for D in the example above, we obtain a maximum per-image exposure time of 0.8 seconds.  This is an example of why it is generally necessary to grow larger and higher-quality crystals for MAD/SAD structure solution than it is to obtain a complete data set, as such crystals will diffract more photons into the detector for a given exposure time.

It will often be the case that a diffraction image taken with the exposure time recommended by Equation (4) will have an unsatisfactory appearance, such as the absence of high-angle spots that were clearly evident on a longer exposure.  This generally means that the crystal at hand will not yield enough data to meet the specified goals.  The next step is therefore either to change the crystal or change the goals.  For example, if it is decided that only 10 second exposures are satisfactory, but selenomethionine decay is a concern, then txtal = 80 seconds implies that only 8 images can be collected before there is a danger that some of the sites have been disordered.  However, some selenomethionine side chains are particularly hardy, so it is prudent to continue collecting data until the spots fade away with the caveat that only the first 8 images may contain anomalous signal.  There are two ways to address this caveat:

If more than one crystal is available, then an advisable strategy is to combine the first ~2 MGy worth of data from several crystals into a composite data set.  In this case care must be taken to collect the “early” data from each crystal in different regions of reciprocal space.  This technique was developed by Kendrew et al. (1960) and employed more recently by Facciotti et al. (2003).

If only one crystal is available, or non-isomorphism between crystals is problematic, then resolution must be sacrificed in order to obtain complete data.  In this case, it is recommended to collect a complete data set with short exposures first (i.e. the 0.8 second exposures in the above example) and then keep collecting additional complete data sets, multiplying the exposure time by a factor of three each time.  This protocol not only extends the effective dynamic range of the detector, but roughly doubles the overall signal/noise ratio with each new data set if everything is merged together in the end.  This is recommended if there are no signs of damage.  Signs of global damage are an increasing scaling B-factor (Kmetko et al. 2006; Borek et al. 2007) and a reduced anomalous signal (Ranom or CCanom ; Evans, 2006) is an excellent indicator of specific damage to metal sites.  If rapid specific damage is evident, then merge the early and late data separately and treat them as RIP data (Ravelli et al., 2003; Ravelli et al., 2005; Nanao et al., 2005; Banumathi et al. 2004; Zwart et al. 2004).  In this way, the same collection strategy can be used for two different structure-solving pathways: RIP will be appropriate if the damage was fast, and MAD/SAD if it was slow.

Table captions:

Table 1: dose-doubling concentration

A protein crystal containing the indicated element at the concentration shown will absorb roughly twice as much energy (dose) as a metal-free protein crystal when exposed to an X-ray beam with photon energy 12680 eV.  Bear in mind that the concentrations shown are in terms of moles of the indicated atom per unit volume of sample, so soaking a protein crystal with 50% solvent with a 1 M solution with result in a total concentration of roughly 0.5 M.  This calculation assumed that protein has roughly the same energy absorption as water and that one water molecule was replaced by each atom of the indicated element, which becomes important for high concentrations.  Details of the calculation are explained in §6.  The (*) on the Br entry is a reminder that the dose-doubling concentration of Br is high for 12680 eV, but drops to 320 mM at 13486 eV.

Table 2: Experimental determinations of minimum crystal size

This table lists values for n0 determined from the scattering power of crystals for which the minimum size required for a complete data set has been reported.  The parameters listed in the first two rows are examples that both use the same value of n0 for Equation 2 and demonstrate that the size requirement of different crystal types can still be governed by a single n0 parameter.  Note that n0 appears to be restricted to a relatively small range when compared to the variety of molecular weights and crystal sizes shown, and that n0 has been decreasing over time, perhaps as instrumentation and algorithms have improved.  Footnotes indicate derived parameters and a (*) indicates that equation 3 was used to estimate the Wilson B factor.  A “?” indicates that the parameter was not provided in the given reference, but a reasonable average value for protein crystals was substituted.

Table 1:  Dose-doubling concentration

At 12680 eV/0.9793 Å (the Se edge)

| Na | 19 M |  | As | 350 mM |
| --- | --- | --- | --- | --- |
| Mg | 12 M |  | Se | 340 mM |
| P | 4 M |  | Br* | 1.2 M |
| S | 3 M |  | I | 230 mM |
| Cl | 2.5 M |  | Gd | 110 mM |
| K | 1.6 M |  | Ta | 75 mM |
| Ca | 1.3 M |  | Pt | 100 mM |
| Fe | 560 mM |  | Au | 100 mM |
| Cu | 430 mM |  | Hg | 88 mM |
| Zn | 400 mM |  | U | 100 mM |

Table 2	Experimentally determined minimum crystal sizes

| MW (kDa) | Resolution (Å) | VM (Å3/Da) | Wilson B (Å2) | Crystal size (μm) | No. of xtals | n0 | reference |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 14 | 1.5 | 2.0 | 20 | 20 | 1 | 3.1 | example |
| 100 | 2.5 | 2.4 | 40 | 15 | 1 | 3.1 | example |
| 62 ? | 1.9 | 2.4? | 20* | 30 | 13 | 130 | Gonzalez & Nave 1994 |
| 14 | 1.6 | 2.0 | 22* | 35 | 1 | 25 | Teng & Moffat 2000 |
| 28 | 2.1 | 2.5 | 30 | 20 | 1 | 12 | Glaeser et al. 2000 |
| 24 | 2.0 | 2.5 | 22 | 5x30x30 | 5 | 9.8 | Facciotti et al. 2003 |
| 400 | 3.5 | 2.5 | 65* | 20 | 1 | 9.3 | Sliz et al. 2003 |
| 28.6 | 1.98 | 1.58 | 11 | 5 | 2 | 5.2 | Coulibaly et. al. 2007 |
| 0.8 | 1.3 | 1.5 | 10 | 1.5x1.5x5 | 3 | 3.7 | Nelson et al. 2005 Sawaya et al. 2007 |
| 78 | 2.65 | 3.06 | 56 | 16x5x5 | 4 | 3.6 | Li et al. 2004 |
| 73 | 3.4 | 3.67 | 69 | 5 | 13 | 3.2 | Standfuss et al. 2007 |
| 21 | 1.5 | 2.4 | 11.4 | 1x1x20 | 90 | 3.1 | Moukhametzianov et al. 2008 |
| 6000 | 3.46 | 3.4 | 70 | 70 | 17 | 180 | Schuwirth et al. 2005 |

Acknowledgements

# I would like to thank Elspeth Garman, Frank Von Delft, Ana Gonzalez and Julie Lougheed for extremely helpful discussions of this manuscript.  This work was supported by grants from the National Institutes of Health: GM074929 and GM082250, and the US Department of Energy under contract No. DE-AC03-76SF00098 at Lawrence Berkeley National Laboratory.

Appendix A:	Derivation of equation 2:

The ratio of scattered to incident photons has been referred to as the “scattering power” of a crystal (Sliz et al., 2003; Teng & Moffat, 2000), which is embodied in the classic formulae due to Darwin (1914), one of which is simplified here:

A1)

Ispot	integrated spot intensity

Vxtal	volume of the crystal

Vcell	volume of the crystal unit cell

t	exposure time

L	Lorentz factor

P	polarization factor

F	structure factor (equivalent electrons per unit cell)

Although Darwin (1914) showed that diffraction strength is inversely proportional to the square of the unit cell volume, the unit cell volume is, in turn:

A2)	Vcell = MW∙nsymops∙VM

MW	molecular mass of the asymmetric unit (Da)

nsymops 	number of symmetry operators in the space group

VM	Matthews number (~2.4 Å3/Da ; Matthews 1968)

In addition, Wilson (1949) showed that the average squared structure factor is proportional to the number of atoms in the unit cell:

A3)

fa	average atomic structure factor of a protein atom

B	average atomic B-factor

d 	d-spacing of the spot of interest

We will also assume that the full lifedose of the crystal is utilized, which means that the effective total accumulated exposure time (t) will be proportional to the d-spacing (d) of the spot because low-angle spots last longer (Howells et al., 2005).  In addition, higher symmetry crystals require less rotation range, so for any strategy that yields complete data the total number of photons delivered to a given unique hkl index will be proportional to the number of symmetry operators (nsymops):

A4)

This effective exposure time is not the only parameter that varies with resolution. The atomic structure factor (fa), the Lorentz (Darwin, 1914; Blundell & Johnson, 1976; Lipson & Langford, 2006) and polarization (Azaroff, 1955; Kahn et al., 1982; Drenth, 1999) factors all depend on the d-spacing of the spot.  The average product of all these terms can be described by the empirical expression:

A5)

Excluding a scale factor, this expression is accurate to within 10% error for d-spacing between 1.5 and 4.5 Å.

Combining all the above expressions we arrive at an expression for the average attainable spot intensity at a given resolution:

A4)

We now decompose the total volume of scattering matter (Vxtal) into a number of crystals (nxtals) with explicit dimensions (ℓx, ℓy, and ℓz), and solve for the required number of crystals.

A5)

Assuming that some critical average spot intensity is required, we can replace the intensity term with an arbitrary proportionality constant (n0) to represent this requirement.

(2)

The n0 parameter may now be obtained empirically by plugging in the parameters from a previous experiment where the data were found to be sufficient to reach a given goal, such as a complete data set or solving a MAD structure.  An accounting of the former is given in Table 2.

References

Azaroff, L. (1955) Acta Cryst. 8 701-4.

Banumathi, S., Zwart, P. H., Ramagopal, U. A., Dauter, M. & Dauter, Z. (2004) Acta Cryst. D60 1085-1093.

Betts, W. H., Whitehouse, M. W., Cleland, L. G. & Vernon-Roberts, B. (1985) J. Free Radicals in Biol. & Medicine 1 273-280.

Berman, H. M., Westbrook, J., Feng, Z., Gilliland, G., Bhat, T. N., Weissig, H., Shindyalov, I. N. and Bourne, P. E. (2000) Nucleic Acids Res., 28, 235–242.

Blake, C., & Phillips, D.C. (1962). Proceedings of the Symposium on the

Biological Effects of Ionising Radiation at the Molecular Level (Vienna:

International Atomic Energy Agency), pp. 183–191.

Blundell T. & Johnson L. N. (1976) “Protein Crystallography” London: Academic Press.

Borek, D., Ginell, S. L., Cymborowski, M., Minor, W. & Otwinowski, Z. (2007) J. Synchrotron Rad.. 14, 24-33.

Bourenkov, G. P. & Popov, A. N. (2006). Acta Cryst. D62, 58-64.

Schiltz, M. & Bricogne, G., (2007) J. Synchrotron Rad. (2007). 14, 34-42.

Box, H.R. (1977) Radiation effects: ESR and ENDOR analysis Academic Press. London.

Burmeister, W. P. (2000) Acta Cryst. D56 328-341.

Carugo, O. & Carugo, K. D. (2005) Trends in Biochemical Sciences 30 213-219.

Chinte, U., Shah, B., Chen Y.-S., Pinkerton, A. A., Schall, C. A. & Hanson, B. L. (2007) Acta Cryst. D63, 486-492.

Cole, A. (1969). Radiation Research 38, 7-33.

Corbett, M. C., Latimer, M. J., Poulos, T. L., Sevrioukova, I. F., Hodgson, K. O. & Hedman, B. (2007) Acta Cryst. D63, 951-960.

Coulibaly, F., Chiu, E., Ikeda, K., Gutmann, S., Haebel, P.W., Schulze-Briese, C., Mori, H. & Metcalf, P. (2007) Nature 446 97–101.

Darwin, C. G. (1914) Phil. Mag. 27 315.

Diederichs, K., McSweeney, S. & Ravelli, R. B. G. (2003). Acta Cryst. D59, 903-909.

Drenth, J. (1999) “Principles of Protein Crystallography”, Springer-Verlag New York, p 109.

Dubnovitsky, A.P., Ravelli, R. B. G., Popov, A. N. & Papageorgiou, A. C. (2005) Protein Science 14(6): 1498-1507.

Douzou, P. (1977) Cryobiochemistry: an introduction Academic Press.

Evans, P. (2006) Acta Cryst. D62, 72-82.

Facciotti, M. T., Cheung, V. S., Nguyen, D., Rouhani, S. & Glaeser, R. M. (2003) Biophysical Journal 85 451-458.

Fioravanti, E., Vellieux, F. M. D., Amara P., Madern, D. & Weik, M. (2007) J. Synchrotron Rad. 14 84-91.

Fuhrmann, C. N., Kelch, B. A., Ota, N. & Agard, D. A. (2004) J. Mol. Biol. 338 999-1013.

Garman, E. F. & McSweeney, S. M. (2007) J. Synchrotron Rad. 14, 1-3.

Garman, E. (2003) Current Opinion in Structural Biol. 13 545-551.

Garman, E. F. & Nave, C. (2002) J. Synchrotron Radiation 9 327-328.

Glaeser, R., Facciotti, M., Walian, P., Rouhani, S., Holton, J., MacDowell, A., Celestre, R., Cambie, D. & Padmore, H. (2000) Biophysical Journal 78 3178-3185.

Glaeser, R. M. (2008) J. Struct. Biol. 163 271-6.

Gonzalez, A. & Nave, C. (1994) Acta Cryst. D50 874-877.

Grabolle, M., Haumann, M., Müller, C., Liebisch, P. & Dau, H. (2006) J. Biol. Chem. 281, 4580–4588.

Hanson, B. L., Harp, J. M., Kirschbaum, K., Schall, C. A., DeWitt, K., Howard, A., Pinkerton, A. A. & Bunick, G. J. (2002) J Synchrotron Rad. 9 375-81.

Helliwell, J. R., Ealick, S., Doing, P., Irving, T. & Szebenyi, M. (1993) Acta Cryst. D49 120-128.

Hendrickson, W. A. & Teeter, M. M. (1981). Nature (London), 290, 107-113.

Holton, J. M. (2007) J. Synchrotron Rad. 14, 51-72.

Howell, L. & Smith, D. (1992) J.Appl. Cryst. 25 81-86.

Howells, M. R., Beetz, T., Chapman, H. N., Chi, C., Holton, J. M., Jacobsen, C. J., Kirz, J., Lima, E., Marchesini, S., Miao, H., Sayre, D., Shapiro, D. A. & Spence, J. C. H. (2005)  J. Electron. Spectrosc. Relat. Phenom. (in press); preprint at http://arxiv.org/abs/physics/0502059

Hubbell, J. H., (1982) Int. J. Appl. RadiatIsotopes, 33, 1269-1290.

Hubbell, J. H., (2006) Phys. Med. Biol. 51 R245–R262.

James R. W. (1962) “The Optical Principles of the Diffraction of X-rays: The Crystalline State”, Vol II. Bell & Hyman Ltd., London.

Kahn, R., Fourme, R., Gadet, A., Janin, J., Dumas, C., & Andre, D. (1982) J. Appl. Cryst. 15 330-7.

Kendrew, J. C., Dickerson, R. E., Strandberg, B. E., Hart, R. G., Davies D. R., Phillips, D. C. & Shore V. C., (1960) Nature (London) 185, 422.

Kmetko, J., Husseini, N. S., Naides, M., Kalinin, Y. & Thorne, R. E. (2006) Acta Cryst. D62 1030-8.

### Leiros, H. K., McSweeney, S. M. & Smalås, A. O. (2001) Acta Cryst. D57 488-497.

Leiros, H. K. S., Timmins, J., Ravelli, R. B. G. & McSweeney, S. M. (2006) Acta Cryst. D62 125-132.

Leslie, A. G. (2006) Acta Cryst. D62 48-57.

Li, J., Edwards, P. C., Burghammer, M., Villa, C. & Schertler, G. F. (2004). J. Mol. Biol. 343, 1409–1438.

Lipson H. & Langford J. I., (2006) International Tables for Crystallography, vol. C 1st online ed., Section 6.2.4, p. 596, Chester: International Union of Crystallography.

MacDowell, A. A., Celestre, R. S., Howells, M., McKinney, W., Krupnick, J., Cambie, D., Domning, E. E., Duarte, R. M., Kelez, N., Plate, D. W., Cork, C. W., Earnest, T. N., Dickert, J., Meigs, G., Ralston, C., Holton, J. M, Alber, T. C., Berger, J. M., Agard, D. A. & Padmore, H. A. (2004) Journal of Synchrotron Radiation 11 (6), 447-455.

Massover, W. H. (2007) J. Synchrotron Rad. 14, 116-127.

Matthews, B. W., (1968) J. Molec. Biol. 33 491.

McGeehan, J., Ravelli, R. B. G., Murray, J. W., Owen, R. L., Cipriani, F., McSweeney, S., Weik, M., & Garman, E. F. (2009). J. Synchrotron Rad.

in this issue.

McMaster, W.H., Del Grande, N.K., Mallett, J.H, & Hubbell, J.H., (1969) Compilation of X-ray Cross Sections, Lawrence Livermore Lab., Report UCRL-50174.

Meents, A., Wagner, A., Schneider, R., Pradervand, C., Pohl, E. & Schulze-Briese, C. (2007) Acta Cryst. D63, 302-309.

Meitzner, G., Gardea-Torresdey, J., Parsons, J., Scott, S. L. & Deguns, E. W. (2005) Microchemical Journal 81 61-68.

Moukhametzianov, R., Burghammer, M., Edwards, P. Petitdemange, C., S., Popov, Fransen, D., M., McMullan, G., Schertler, G. F. X. & Riekel, C. (2008) Acta Cryst. D64, 158-166.

Murray, J. W. & Garman, E. F. (2002) J. Synchrotron Rad. 9, 347-354

Murray, J. W., Garman, E. F. & Ravelli, R. B. G. (2004) J. Appl. Cryst. 37 513-522.

Murray, J. W., Rudino-Pinera, E., Owen, R. L., Grininger, M., Ravelli, R. B. G. & Garman, E. F. (2005) J. Synchrotron Radiation 12 268-275.

Myers, Jr. L.S. (1973) Dole, M. ed. “The Radiation Chemistry of Macromolecules. Vol. II” Academic Press.

Nanao, M. H., Sheldrick, G. M. & Ravelli, R. B. G. (2005) Acta Cryst. D61 1227-1237.

Nave, C. & Garman, E. F. (2005) J. Synchrotron Radiation 12 257-260.

Nave, C. & Hill, M. A. (2005) J. Synchrotron Radiation 12 299-303.

Nelson, R., Sawaya, M. R., Balbirnie, M., Madsen, A. Ã. ˜., Riekel, C., Grothe, R. & Eisenberg, D. (2005) Nature 435 773-778.

Newton, A. (1963) Bolt, R.O. & Carroll, J.G. eds. Radiation Effects on Organic Materials Academic Press. New York.

Nukaga, M., Mayama, K., Hujer, A. M., Bonomo, R. A., Knox, J. R. (2003) J. Mol. Biology 328 289-301.

Oliéric, V., Ennifar, E., Meents, A., Fleurant, M., Besnard, C., Pattison, P., Schiltz, M., Schulze-Briese, C. & Dumas, P. (2007) Acta Cryst. D63 759-768.

O'Neill, P., Stevens, D. L. & Garman, E. F. (2002) J. Synchrotron Radiation 9 329-332.

Owen, R. L., Holton, J. M., Garman, E. F., & Schulze-Briese, C. (2009). J. Synchrotron Rad. in this issue.

Owen, R. L., Rudino-Pinera, E. & Garman, E. F. (2006). Proceedings of the National Academy of Sciences 103, 4912-4917.

Owen, R. L., Pritchard, M. & Garman, E. F. (2004). J. Appl. Cryst. 37, 1000-1003.

Paithankar, K., Owen, R. L., & Garman, E. F. (2009). J. Synchrotron Rad.

in this issue.

Petrik, N. G. & Kimmel, G. A. (2003) Phys. Rev. Lett. 90 269-270.

Petrik, N. G. & Kimmel, G. A. (2004) J. Chem. Physics 121 3736-3744.

Polentarutti, M., Glazer, R. & Carugo, K. D. (2004) J. Appl. Cryst. 37, 319-324.

Ravelli, R. B. G. & McSweeney, S. M. (2000) Structure 8 315-328.

Ravelli, R. B. G., Leiros, H. K. S., Pan, B. C., Caffrey, M. & McSweeney, S. (2003) Structure 11 217-224.

Ravelli, R. B. G., Nanao, M. H., Lovering, A., White, S. & McSweeney, S. (2005) J. Synchrotron Radiation 12 276-284.

Ravelli, R. B. G. & Garman, E. (2006). Curr. Opin. Struct. Biol. 16, 624-629.

Roberts, B. R., Wood, Z. A., Jonsson, T. J., Poole, L. B. & Karplus, P. A. (2005) Protein Science 14 2414-2420.

Sawaya, M. R., Sambashivan, S., Nelson, R., Ivanova, M. I., Sievers, S. A., Apostol, M. I., Thompson, M. J., Balbirnie, M., Wiltzius, J. J., McFarlane, H. T., Madsen, A. Ø., Riekel, C. & Eisenberg, D. (2007) Nature 447 453-457.

Schiltz, M. & Bricogne, G. (2007) J. Synchrotron Rad. 14, 34-42.

Schulze-Briese, C., Wagner, A., Tomizaki, T. & Oetiker, M. (2005). Journal of Synchrotron Radiation 12, 261-267.

Schuwirth, B. S., Borovinskaya, M. A., Hau, C. W., Zhang, W., Vila-Sanjurjo, A., Holton, J. M. & Cate, J. H. (2005) Science 310 827-834.

Seltzer, S. M. (1993) Radiation Research 136 147.

Sliz, P., Harrison, S. & Rosenbaum, G. (2003). Structure 11, 13-19.

Standfuss, J., Xie, G., Edwards, P. C., Burghammer, M., Oprian, D. D. & Schertler, G. F. (2007). J. Mol. Biol. 372 1179–88.

Snell, E. H., Bellamy, H. D., Rosenbaum, G. & van der Woerd, M. J. (2007). Journal of Synchrotron Radiation 14, 109-115

Southworth-Davies, R. J., Medina, M. A., Carmichael, I. & Garman, E. F. (2007) Structure 15 1531-1541.

Southworth-Davies, R. J. & Garman, E. F. (2007) J. Synchrotron Radiation 14 73-83.

Teng, T.-Y. & Moffat, K. (2000) J. Synchrotron Rad. 7, 313-317.

Teng, T.-Y. & Moffat, K. (2002) J. Synchrotron Rad. 9, 198-201.

Weik, M., Ravelli, R. B. G., Kryger, G., McSweeney, S., Raves, M. L., Harel, M., Gros, P., Silman, I., Kroon, J. & Sussman, J. L. (2000) Proc. Natl. Acad. Sci. USA 97 623-628.

Weik, M., Ravelli, R. B. G., Silman, I., Sussman, J. L., Gros, P. & Kroon, J. (2001) Protein Science 10 1953-1961.

Weik, M., Berges, J., Raves, M. L., Gros, P., McSweeney, S., Silman, I., Sussman, J. L., Houee-Levin, C. & Ravelli, R. B. G. (2002) J. Synchrotron Radiation 9 342-346.

Weik, M., Schreurs, A. M. M., Leiros, H. K. S., Zaccai, G., Ravelli, R. B. G. & Gros, P. (2005) J. Synchrotron Radiation 12 310-317.

Wilson, A. J. C., (1949) Acta Cryst. 2 318.

Woolfson, M. M. (1970). An Introduction to X-ray Crystallography, 2nd ed. Cambridge:

Cambridge University Press.

Yano, J., Kern, J., Irrgang, K. D., Latimer, M. J., Bergmann, U., Glatzel, P., Pushkar, Y., Biesiadka, J., Loll, B., Sauer, K., Messinger, J., Zouni, A. & Yachandra, V. K. (2005) Proc. Natl. Acad. Sci. USA 102 (34): 12047-12052

Zagórsky, Z. P. (1999) Rad. Phys. & Chem. 56 559-65.

Zwart, P. H., Banumathi, S., Dauter, M. & Dauter, Z. (2004) Acta Cryst. D60 1958-1963.

# Footnotes

5,5’-dithiobis-2-nitrobenzoic acid

2,2,6,6-tetramethyl-4-piperidone

dithiothreitol

Estimated for 100 Å unit cell in P43212 with VM = 2.4

Taken from 400 um3 illuminated volume quoted by Moukhametzianov et al. (2008) and 5 um beam