Supplemental Environmental Impact Statement

for the

International Boundary and Water Commission

International Wastewater Treatment Plant

Interim Operation

September 6, 1996

The International Wastewater Treatment Plant (IWTP) and South Bay Ocean Outfall (SBOO) are currently under construction as identified in the Final Environmental Impact Statement and Record of Decision signed in May 1994.  The purpose of the project is to provide new wastewater control facilities to safeguard the public health, environment, public beaches, water quality, and economy of San Diego, California.  In conjunction with actions taken by Mexico, this project would minimize dry-weather flow of untreated sewage from the municipality of Tijuana, Baja California, Mexico, into the United States.  Currently, such flows cause chronic and substantial pollution in the Tijuana River valley, national reserve estuary, and coastal areas used for agriculture and public recreation and as designated critical habitat for federal and state listed endangered species.  In the Record of Decision, the federal agencies decided to build a secondary wastewater treatment facility and ocean outfall.

The purpose of this Supplemental Environmental Impact Statement (SEIS) is to evaluate proposed project changes to operate the plant as an advanced primary treatment facility on an interim basis. Unless the facility is operated during this period, dry-weather flows of sewage could continue to pollute the river, estuary, and coastal waters in the U.S. This Interim Operation SEIS evaluates alternatives for using the IWTP as an advanced primary treatment works until the SBOO is completed.  It also evaluates the effects of discharge of advanced primary effluent through the SBOO until alternatives to secondary treatment are evaluated. Alternatives for providing secondary level treatment of sewage at the IWTP will be the subject of an additional SEIS.

Lead Agencies

U.S. Environmental Protection Agency, Region IX

International Boundary and Water Commission, U.S. Section

Technical Oversight

U.S. Army Corps of Engineers

Technical Preparation

RECON (Regional Environmental Consultants)

Felicia Marcus, Regional Administrator, EPA Region IX

John M. Bernal, Commissioner, U.S. Section IBWC

TABLE OF CONTENTS

List of Acronyms vii

Executive Summary xi

1. Purpose and Need for Action 1

2. Consideration of the Alternatives 51

3. Affected Environment 115

3.1 Hydrology and Water Quality 115

3.2 Oceanography 135

3.3 Terrestrial Biology 144

3.4 Estuarine Biology 147

3.5 Marine Biology 159

3.6 Geological Resources 177

3.7 Public Health 182

3.8 Air Quality and Odors 186

3.9 Land Use and Socioeconomics 192

4. Environmental Consequences 199

4.1 Hydrology and Water Quality 200

4.2 Oceanography 214

4.3 Terrestrial Biology 258

4.4 Estuarine Biology 263

4.5 Marine Biology 272

4.6 Geological Resources 282

4.7 Public Health 287

4.8 Air Quality and Odors 292

4.9 Land Use and Socioeconomics 298

4.10 Effects Not Reevaluated for the SEIS 302

5. Environmental Commitments 305

6. Compliance with Applicable Environmental Laws and

Regulations 309

7. Consultation with Others 317

8. List of Preparers and Their Qualifications 327

9. References Cited 331

FIGURES

1-1: Regional Location of the Project 3

1-2: Tijuana River Watershed Boundaries 7

1-3: Location of Proposed Action 9

1-4: Aerial Photograph of Tijuana River Valley 13

1-5: Municipal Tijuana, B.C., Mexico 17

1-6: Existing Mexican Sewage Facilities 23

1-7: Existing Mexican Pumping and Conveyance Facilities 25 1-8: San Antonio de los Buenos Treatment Plant 31

1-9: Major Elements of the IWTP 35

1-10: South Bay Ocean Outfall 39

2-1: Alternative 1: No Action 61

2-2: Sewer Flows/Distribution Hierarchy for IWTP Interim Treatment,

Alternative 1: No Action 63

2-3: Alternative 1 Hydrograph, Average Flow Day - Year 2001 65

2-4: Alternative 2: Operate IWTP 73

2-5: Sewer Flows/Distribution Hierarchy for IWTP Interim Treatment,

Alternative 2: Operate IWTP 75

2-6: Alternative 2 Hydrograph, Average Flow Day - Year 2001 77

2-7: Alternative 3: Operate IWTP with Detention Basin 83

2-8: Alternative 3, Schematic IWTP with Detention Basin 85

2-9: Sewer Flows Distribution Hierarchy for IWTP Interim Treatment

Alternative 3: Operate IWTP with Detention Basin 87

2-10: Alternative 3 Hydrograph, Average Flow Day - Year 2001 89

2-11: Alternative 4: Operate IWTP and Discharge to Mexico 93

2-12: Proposed Additional Mexican Conveyance Facilities 95

2-13: Sewer Flows/Distribution Hierarchy for IWTP Interim Treatment,

Alternative 4: Operate IWTP and Discharge to Mexico 97

2-14: Alternative 4 Hydrograph, Average Flow Day - Year 2001 99

2-15: Alternative 5: Operate IWTP and Discharge to SBOO 105

2-16: Sewer Flows/Distribution Hierarchy for IWTP Interim Treatment,

Alternative 5: Operate IWTP and Discharge to SBOO 107

2-17: Alternative 5 Hydrograph, Average Flow Day - Year 2001 109

FIGURES (cont.)

3.1-1: North Draining Canyons and Gullies 121

3.1-2: Tijuana River National Estuarine Research Reserve 131

3.2-1: TOES Model Current Patterns 137

3.4-1: Habitats within the Tijuana Estuary 149

3.6-1: Regional Fault Map 179

4.2-1: Annual Average Effluent Dilution Contours, No Project Alternative,

Year 2001 221

4.2-2: Predicted Coliform Counts at the International Boundary, No Project

Alternative, Year 2001 223

4.2-3: SBOO Annual Average Dilution Contours 247

4.2-4: Predicted Coliform Counts near the Imperial Beach Kelp Bed,

Ocean Layer 3 251

4.2-5: Annual Average Deposition Rates of Total Suspended Solids 255

PHOTOGRAPHS

1-1: Pump Station One

1-2: Conveyance Canal

1-3: Shoreline Discharge Channel

1-4: Shoreline Discharge Point

TABLES

S-1: Summary of Significant Adverse Effects for IWTP Interim Operation

Alternatives xx

2-1: No Action Alternative Projected Flows 59

2-2: Year 2001 Diurnal Flows for the No Action Alternative 67

2-3: Interim Operation of the IWTP 72

2-4: Interim Operation of the IWTP with 5.5 Million Gallons Flow Storage 81

2-5: Operate IWTP with New Conveyance to Mexico Using the  Emergency Connection 92

2-6: IWTP with the South Bay Ocean Outfall 103

3.1-1: Maximum Discharge of the Tijuana River near Nestor between 1884-1984 119

3.1-2: 1990 and 1995 Pollutant Loading of Tijuana River 123

3.1-3: 1990 and 1995 Pollutant Loading at Pump Station One 125

3.4-1: Listed and Proposed Endangered and Threatened Species and Candidate

Species That May Occur in the Area of the Tijuana River Estuary 148

3.5-1: Fish Species Observed in Nearshore and Offshore Areas Off Imperial

Beach and the Tijuana River 164

3.5-2: Marine Mammals Observed or Stranded from 1966 to 1986 169

3.5-3: Common Seabirds of the Southern California Bight 171

3.5-4: Shorebirds Observed on Sandy Beaches near Tijuana Estuary 173

3.5-5: Threatened and Endangered Species 175

3.8-1: Ambient Air Quality Standards 187

3.8-2: Summary of Air Quality Data for the San Diego Air Basin 188

3.8-3: Number of Days Air Quality Standards Were Exceeded at Chula Vista

Monitoring Station 189

TABLES (cont.)

4.1-1: Wastewater Influent and Effluent Pollutant Concentrations 206

4.2-1: Simulated Effluent Dilutions at International Border, Surf Discharges

in Mexico: No Project Alternative, Year 2001 220

4.2-2: Total Coliform (per 100 ml) at the International Border, Shore Discharge

Model: No Project Alternative, Year 2001 226

4.2-3: Compliance with Body-Contact Standards, Surf Discharges in

Mexico: No Action Alternative, Year 2001 228

4.2-4: Simulated Effluent Dilutions at International Border, Surf Discharges

in Mexico: Operate IWTP with New Conveyance to Mexico Using  Emergency Connection, Year 2001 234

4.2-5: Simulated Effluent Dilutions at International Border, Surf Discharges

in Mexico: Operate IWTP with New Conveyance to Mexico Not Using

Emergency Connection, Year 2001 234

4.2-6: Total Coliform (per 100 ml) at the International Border, Shore Discharge

Model, Operate IWTP with New Conveyance to Mexico Alternative

Using Emergency Connection, Year 2001 235

4.2-7: Total Coliform (per 100 ml) at the International Border, Shore Discharge

Model, Operate IWTP with New Conveyance to Mexico Alternative Not Using Emergency Connection, Year 2001 236

4.2-8: Compliance with Body-Contact Standards, Surf Discharges in

Mexico: Operate IWTP with New Conveyance to Mexico

Alternative Using Emergency Connection, Year 2001 238

4.2-9: Compliance with Body-Contact Standards, Surf Discharges in

Mexico: Operate IWTP with New Conveyance to Mexico

Alternative Not Using Emergency Connection, Year 2001 239

4.2-10: Simulated Effluent Dilutions at International Border, Surf Discharges

in Mexico: Operate IWTP with Discharge to SBOO, Year 2001 240

4.2-11: Total Coliform (per 100 ml) at the International Border, Shore Discharge

Model, Operate IWTP with Discharge to SBOO, Year 2001 242

4.2-12: Compliance with Body-Contact Standards, Surf Discharges in

Mexico: Operate IWTP with Discharge to SBOO, Year 2001 243

4.2-13: Simulated Effluent Dilutions at SBOO Zone of Initial Dilution:

Operate IWTP with Discharge to SBOO, Year 2001 249

4.2-14: Total Coliform (per 100 ml) at the Imperial Beach Kelp Bed, Ocean

Discharge Model: Operate IWTP with Discharge to SBOO, Layer 3,

Year 2001 253

4.8-1: Significance Thresholds 293

APPENDIXES

A: USIBWC/EPA flow memo

B: Estuarine biology technical report

C: Marine biology technical report

D: Summary of environmental laws of Baja California

E: IBWC Minutes

List of Acronyms

AB  Assembly Bill

APCD  Air Pollution Control District

AQAP  Air Quality Attainment Plan

ASBS   Area of Special Biological Significance

BOD   biological oxygen demand

CAAQS California ambient air quality standards

CARB  California Air Resources Board

CDFG  California Department of Fish and Game

CEQ  Council on Environmental Quality

CPFV  commercial passenger fishing vessel

D/T  dilution over threshold

dB  decibel

DHS  (California) Department of Health Services

EA  Environmental Assessment

EDL  elevated data levels

EIS  Environmental Impact Statement

EPA  (U.S.) Environmental Protection Agency

FEIS  Final Environmental Impact Statement

FONSI  Finding of No Significant Impact

HEC-RAS Hydraulic Engineering Center-River Analysis System

IWTP  (South Bay) International Wastewater Treatment Plant

lps  liters per second

mgd  million gallons per day

MHHW mean higher high water

MLLW mean lower low water

MM  Modified Mercalli

MPN  minimum probable number

MSL  mean sea level

NAAQS national ambient air quality standards

NMFS  National Marine Fisheries Service

NOAA  National Oceanic and Atmospheric Administration

NPDES National Pollutant Discharge Elimination System

NWR  (Tijuana Slough) National Wildlife Reserve

PAH  Poly(cyclic) aromatic hydrocarbons

PERL  Pacific Estuarine Research Laboratory

PM-10  Particulate matter less than 10 microns

ppb  parts per billion

ppm  parts per million

ppt  parts per thousand

RAQS  Regional Air Quality Strategies

RMPP  Risk Management Prevention Plan

ROD  Record of Decision

ROV  remotely operated vehicle

RV  recreational vehicle

RWQCB Regional Water Quality Control Board

SANDAG San Diego Association of Governments

SBLO  South Bay Land Outfall

SBOO  South Bay Ocean Outfall

SCAQMD South Coast Air Quality Management District

SCCWRP Southern California Coastal Waters Research Project

SDAB  San Diego Air Basin

SDM  Shore Discharge Model

SEDUE Secretariat of Urban Development and Ecology

SEIS  Supplemental Environmental Impact Statement

SWRCB State Water Resources Control Board

TCM  transportation control measures

TDS  total dissolved solids

TJVCWD Tia Juana Valley County Water District

TOES  Tijuana Oceanographic Engineering Study

TRNERR Tijuana River National Estuarine Research Reserve

TSS  total suspended solids

USACE United States Army Corps of Engineers

USDA  United States Department of Agriculture

USFWS United States Fish and Wildlife Service

USIBWC International Boundary and Water Commission, United States Section

ZID  zone of initial dilution

Executive Summary

Scope of the SEIS

The South Bay International Wastewater Treatment Plant (IWTP) and South Bay Ocean Outfall (SBOO) are currently under construction as identified in the Final Environmental Impact Statement (FEIS) and Record of Decision (ROD) signed in May 1994.  The purpose of the project is to provide new wastewater control facilities to safeguard the public health, environment, public beaches, water quality, and economy of San Diego, California.  In conjunction with actions taken by Mexico, this project would minimize dry-weather flow of untreated sewage from the municipality of Tijuana, Baja California, Mexico, into the United States.  Currently, such flows cause chronic and substantial pollution in the Tijuana River valley, national reserve estuary, and coastal areas used for agriculture and public recreation and is designated critical habitat for federal and state listed endangered species.  In the 1994 ROD, the federal agencies decided to build a secondary wastewater treatment facility and ocean outfall.

The purpose of this Supplemental Environmental Impact Statement (SEIS) is to evaluate proposed project changes to operate the plant as an advanced primary treatment facility on an interim basis. Unless the facility is operated during this period, dry-weather flows of sewage could continue to pollute the river, estuary, and coastal waters in the U.S. This Interim Operation SEIS evaluates alternatives for using the IWTP as an advanced primary treatment works until alternatives to secondary treatment are evaluated and the SBOO is completed. Alternatives for providing secondary level treatment of sewage at the IWTP will be the subject of an additional SEIS.

The development of the IWTP and SBOO and the proposed interim operation of the facilities is a collaborative effort of the U.S. and Mexico through the International Boundary and Water Commission, U.S. Section (USIBWC), U.S. Environmental Protection Agency (EPA), State Water Resources Control Board, Regional Water Quality Control Board, and the City of San Diego.

Purpose and Need for Action

The Tijuana River and nearshore coastal waters of the United States have been contaminated with raw sewage since the 1930s. Due to the physiographic setting and proximity of the city of Tijuana to the United States untreated sewage flows into the United States via the Tijuana River or through north-draining canyons and gullies. Untreated sewage is also discharged to nearshore ocean waters in Mexico, 5.6 miles (9 km) south of the international border, which may affect the quality of ocean waters in the U.S.  The contamination has been the result of Tijuana's rapid and constant population growth coupled with a lack of corresponding sewerage infrastructure.

From 1980 to 1991, however, there were sustained perennial flows of wastewater in the Tijuana River.  Flow data measured by the USIBWC indicated that the average wastewater flow into the U.S. was 13 million gallon per day (mgd) (569 liters per second [lps]) in 1990.  In 1991 Mexico installed a collector in the Tijuana River to divert up to 13 mgd of dry-weather flows to the sewage system. More recently, estimates are that in 1993, 3 mgd (131 lps) of wastewater was in the river and in 1995, 1 mgd (44 lps).

These untreated sewage flows have caused chronic quarantines of public beaches along the south San Diego coastline (Border Field State Park, City of Imperial Beach, Silver Strand State Beach, and City of Coronado) and substantially and adversely affected the residents of the Tijuana River valley and the environmental quality of the Tijuana River estuary, a National Estuarine Research Reserve.

The USIBWC/EPA have developed estimates of future sewage generation from Tijuana through the year 2001 based upon an annual growth rate of 4.8 percent.  The estimates indicate that if no action is taken, the capability of Mexico's current sewage collection system would be exceeded by 1.1 mgd (48 lps) to 3.5 mgd (153 lps) by the end of 1996.  By the planning horizon year of 2001, the system's capacity would be exceeded by 5.6 mgd (245 lps) to 9.5 mgd (416 lps).  Unless action is taken, these untreated sewage flows would enter the U.S. and pollute the Tijuana River and nearshore coastal areas.

Additionally, the capacity of the San Antonio de los Buenos treatment facility in Mexico is currently being exceeded and untreated flows of sewage are being discharged to the shoreline in Mexico.  The volumes of untreated sewage being discharged at the shoreline are estimated to be 19 mgd (832 lps) in 1996 and would increase to 22.9 mgd (1,003 lps) by 2001.

The IWTP will be operational as an advanced primary treatment works before secondary treatment is available or the ocean outfall is operational.  The IWTP can detain and treat peak flows in the interim period that may otherwise be discharged untreated to the Tijuana River and nearshore ocean waters in Mexico. These flows, in excess of the Mexican pump station or treatment works capacities, could be diverted for treatment to advanced primary levels at the IWTP, beginning in 1997. Therefore, consideration of the earliest possible operation of the IWTP is of urgent necessity.

Current and Planned Facilities in Mexico and the U.S.

The chronic contamination has been acknowledged in numerous declarations by local, state, and federal legislative bodies and commissions and has been the subject of international agreements between the U.S. and Mexico. To address this international problem, the U.S. and Mexico have considered various alternatives for increasing the quantity and level of sewage treatment and discharge options.  The U.S. and Mexico subsequently entered into binational agreements (Minute Nos. 270 and 283) to construct in both countries new facilities to collect, treat, and dispose of sewage.

Mexico's Facilities

The Stage I facilities proposed under Minute No. 270 substantially comprise the current facilities in Mexico.  These facilities include:

Concentration of the Tijuana River basin's wastewaters at

Pump Station One, improved to provide a 50 mgd (2,190 lps) peak capacity, 36 mgd (1,576 lps) average capacity.

Conveyance of the wastewaters via a 42-inch (1.07 m) force main with a peak capacity of 62 mgd for discharge to the existing conveyance canal.

Collection, pumping, and conveyance from canyon areas for

disposition in the conveyance canal.

Pumping and conveyance from the Playas de Tijuana area to

the conveyance canal.

Conveyance via a covered and open canal for disposal of wastewaters 5.6 miles (9 km) south of the international boundary.

Construction of two secondary treatment facilities (Modules 1 and 2), each with a capacity of between 17 and 25 mgd (745 and 1,095 lps) utilizing aerated facultative lagoons at a location four miles (6.4 km) south of the international boundary.

Most of these facilities, including the San Antonio de los Buenos treatment works (Module 1, but not Module 2), have been completed and are being operated by Mexico.

In October 1991, Mexico completed construction of and operates a diversion structure in the Tijuana River in Mexico, about 325 feet (100 m) upstream of the international border.  A mixture of river flows and sewage can be captured and diverted to Pump Station One.  During dry weather, up to 13 mgd (569 lps) of sewage-contaminated flows can be pumped from the concrete, low-flow river channel into Mexico's collection system and to Pump Station One if capacity is available.  Wet-weather and storm flows are allowed to pass through to the U.S., even if contaminated with sewage.

U.S. Facilities

Emergency Connection

An emergency connection between Pump Station One and the City of San Diego's South Metro Interceptor sewer has been in existence since 1966.  This connector consists of a 30-inch (0.76 m) sewer trending north from Pump Station One to the 36-inch (0.91 m) San Ysidro Interceptor; the San Ysidro Interceptor ties into a 42-inch (1.09 m) segment of the South Metro Interceptor.  The existing emergency connection can accept up to 13 mgd (569 lps) peak flows, which are treated and disposed of at the City's Point Loma advanced primary treatment plant and ocean outfall.

The availability of the emergency connection to accept flows from Mexico is limited and will not continue indefinitely into the future, however.  The emergency connection is also susceptible to being washed out by flood flows in the Tijuana River.

South Bay International Wastewater Treatment Plant and Ocean Outfall

In keeping with Minute No. 283, the EPA and the USIBWC circulated an EIS and signed an ROD in May 1994 for new federal facilities to treat sewage. Construction has begun of a 25 mgd (1,095 lps) federal treatment works known as the South Bay IWTP and the SBOO, a 200-foot-deep (65 m) tunnel connecting with a wye diffuser located 18,700 feet (5.7 km) offshore in 93-foot-deep (28 m) ocean waters to dispose of the treated wastewater.

The IBWC project includes the following major elements:

The advanced primary portion of the IWTP (under construction); The activated sludge portion of the IWTP (which has been designed, but construction has been postponed until an additional SEIS has been finalized);

Facilities for capturing and pumping sewage-contaminated flows from Stewart's Drain, Silva Drain, Canyon del Sol, Smuggler Gulch, and Goat Canyon (under construction) and utilization of Mexico's existing dry-weather collector in the Tijuana River;

The South Bay Land Outfall (completed in 1993); and

The South Bay Ocean Outfall (under construction).

The headworks are designed to handle up to 100 mgd (4,380 lps) including screening and degritting.  The primary treatment facilities are designed to treat average daily flows of 25 mgd (1,095 lps) with peak flows up to 75 mgd (4,117 lps) during high flow days.  The activated sludge facilities are designed to treat a constant flow of 25 mgd (1,095 lps).

Wastewater flows from east Tijuana are collected via the Tijuana wastewater collection system and conveyed to Pump Station One, where they are mixed with wastewater from central Tijuana.  From Pump Station One, wastewater will be directed to the IWTP in the United States or San Antonio de los Buenos in Mexico.  Wastewater flows from the Playas de Tijuana, Matadero (Smuggler Gulch), and Laureles (Goat Canyon) pump stations in Mexico will continue to be routed through the Mexican conveyance system to the San Antonio de los Buenos treatment plant.

The outfall is designed to carry a maximum average daily flow of 174 mgd (7,621 lps) and a peak daily flow of 333 mgd (14,585 lps) to enable use of the outfall by both the IWTP and future City of San Diego Otay and South Bay treatment works.  The outfall is currently scheduled to be completed by June 1998.

The advanced primary treatment works and ocean outfall are scheduled to be completed in 1997 and 1998, respectively. Once completed, the IWTP and ocean outfall would treat and dispose of sewage from Mexico that may otherwise enter the U.S. untreated to safeguard the public health, environment, public recreation, water quality, and economy of San Diego and nearshore coastal waters.

Alternatives Considered

EPA and USIBWC are considering operating the IWTP as an advanced primary treatment works prior to the completion of the ocean outfall and the secondary treatment process trains to minimize the risk of discharges of raw sewage or treated effluent into the Tijuana River. In considering this action, alternatives for the discharge of advanced primary effluent during the interim period prior to completion of the ocean outfall and secondary treatment at the IWTP have been identified.  The IWTP could begin operation prior to completion of the ocean outfall with interim discharge to the emergency connection, Mexico, the Tijuana River, or a combination of these.

The potential effects of discharge of advanced primary effluent through the outfall to the year 2001, the interim period, are also being evaluated to allow for further consideration of the design and construction of the secondary treatment facility.

Evaluation of Alternatives

The alternatives being considered by EPA and USIBWC are related to the proposed operation of the IWTP as an advanced primary treatment works for a limited period of time. Environmental effects from the construction and operation of the IWTP as a secondary treatment works and land and ocean outfall were considered in the 1994 FEIS.  For interim operation, no major additional facilities in the U.S. would be required, although Mexico may construct additional pumping and conveyance facilities in Mexico.

Estimated Sewage Flows from Mexico

Future Tijuana wastewater flow estimates were developed by USIBWC/EPA based upon flow data collected by IBWC at the emergency connection and the main wastewater conveyance canal in Tijuana during February to December, 1995.  These flows include all wastewater generated in Tijuana except the uncollected flows that spill into the Tijuana River or north-draining canyons.

Total Tijuana flows were projected through the year 2001, as a worst-case scenario for completion of the SBOO and other facilities.

These flow projections were used to estimate the potential for discharge of untreated sewage to the river and, given the existing treatment capacity at San Antonio de los Buenos, the assumed untreated discharges that could occur at the shoreline in Mexico.  The projections also assume continued use of the emergency connection to Point Loma.

Because of the limitations associated with the data available on past flow conditions and the uncertainties in growth rate for the Tijuana sewage, the USIBWC/EPA considers their flow projections to be rough estimates. Overall, USIBWC/EPA tried to be conservative in their assumptions and interpretations of available data, but actual flows could be higher or lower than different from the projections, especially by 2001.

Modeling of Effluent Discharge Effects

To assess the impacts to ocean water quality, marine biota and public health from discharge of treated and untreated effluent to the shoreline in Mexico and of advanced primary effluent through the ocean outfall, Parsons Engineering Science has modeled the effects of the discharges including coliform concentrations, dissolved oxygen, and transport (dilution) of organic and inorganic constituents.

The modeling was based upon current data collected during the Tijuana Oceanographic Engineering Study, which covered both Mexican and U.S. waters surrounding the SBOO.

The USIBWC/EPA flow estimates for Tijuana sewage generation were used and applied to the alternatives under consideration for the years 1996 and 2001.  To provide a conservative analysis, the seasonal high flow rates were used, which provide a worst-case analysis.

The models provide a screening level analysis for water quality effects for the shoreline and outfall discharges. The assumptions used for current conditions, effluent quality, and flow rates are all conservative estimates. As such, the model results are not definitive predictions of the actual concentrations that would result from the discharges once the IWTP or outfall is operational.

For purposes of the EIS, the model results are compared to the State Ocean Plan as a threshold of significance.  This should be understood as a tool in evaluating alternatives and not as a determination of compliance or noncompliance with standards during operations.

Alternative 1: No Action

In accordance with the May 1994 ROD, the IWTP would not be operated until the secondary treatment works are completed and the ocean outfall is operational.  Flows from Tijuana would continue to be conveyed from Pump Station One through Tijuana's existing system to its treatment works at San Antonio de los Buenos, with flows in excess of 17 mgd (745 lps) discharged untreated to nearshore ocean waters.  Flows to Pump Station One would also be conveyed through the existing emergency connection to the City of San Diego's system.  Peak flows of raw sewage in excess of the combined capacity of Pump Station One and the emergency connection would be discharged into the Tijuana River in the U.S. via Stewart's Drain.  Based upon the USIBWC/EPA flow projections, these untreated flows are estimated to be between 1.1 mgd (48 lps) average daily flow and 3.0 mgd (131 lps) seasonal high daily flow in 1996 and between 5.6 mgd (245 lps) to 9.7 mgd (425 lps) in 2001.  Untreated flows discharged to nearshore ocean waters in Mexico would reach 20 mgd (876 lps).

Alternative 2: Operate IWTP

The IWTP would be operated to provide advanced primary treatment before completion of the ocean outfall.  The IWTP would treat up to 25 mgd (1,095 lps) average daily flow of untreated sewage from Mexico.  Mexico would continue to convey flows up to 38 mgd (1,664 lps) of untreated sewage from Pump Station One to San Antonio de Los Buenos and excess flows up to 13 mgd (569 lps) (during peak flow periods of the day) to the emergency connection to Point Loma.  Treated flows would be returned from the IWTP to the emergency connection.  It is possible that a small amount of effluent could be returned from the IWTP to Pump Station One during low-flow periods of the day, but the emergency connection would be the primary discharge point for the IWTP effluent.

During periods of peak flows, effluent treated at the IWTP that cannot be discharged through the emergency connection would be discharged into the Tijuana River in the U.S.  These treated flows are estimated to be between 1.4 mgd (61 lps) average daily flow in 1999 and 4.7 mgd (206 lps) seasonal high flow. Year 2001 flows would range between 3.6 mgd (158 lps) and 7.5 mgd (329 lps).

Alternative 3: Operate IWTP with Detention Basin

The IWTP would be operated as an advanced primary plant, as in Alternative 2.  A 5.5 million gallon (20,900 m3) detention basin for effluent storage would be constructed at the IWTP site to provide flow equalization for diurnal and wet-weather peak flows.  The earthen detention basin would be lined, with a depth of 10 to 15 feet (3.0 to 4.6 m) and covering an area of 1 to 2 acres (0.4 to 0.8 ha).  Treated flows would be stored within the detention basin to be released to Pump Station One or the emergency connection during off-peak hours.  If the capacity of the Mexican system, emergency connection and detention basin would be exceeded, then the excess treated flows would be discharged to the Tijuana River in the U.S.

It is anticipated that no untreated or treated flows would be discharged to the Tijuana river prior to the scheduled completion of the ocean outfall in 1998.  If the SBOO were not available, there would be no flows to the Tijuana River during average day flows through the year 2001; during seasonal high flow days, there would need to be a discharge of 0.7 mgd (31 lps) in the year 2000 and 2,0 mgd (88 lps) in 2001.

Alternative 4: Operate IWTP with New Conveyance to Mexico

A new pumping and conveyance system would be constructed by Mexico as a parallel backup facility for the existing Mexican conveyance system, with a capacity of 50 mgd (2,150 lps), to convey flows from Pump Station One to the discharge point in Mexico.  These backup facilities would provide an additional pumping and conveyance system and would allow maintenance to be performed on the existing facilities, once the SBOO is placed into service..  During the interim period, the IWTP would treat flows up to 25 mgd (1,095 lps) from Tijuana.  Once treated, the effluent would be sent to Tijuana via the new pump station and conveyance pipeline for discharge in Mexico, near the San Antonio de los Buenos treatment plant.  The existing pumping and conveyance system to the treatment works in San Antonio de los Buenos would continue to operate.

No discharge of untreated or treated flows to the Tijuana River in the U.S. is anticipated.  No discharge of untreated sewage to the shoreline in Mexico would occur until 1999 with average flow conditions.

Alternative 5: Operate IWTP with Discharge to SBOO

The South Bay Ocean Outfall is currently under construction.  Once completed in 1998, 25 mgd (1,095 lps) of advanced primary effluent from the IWTP would be discharged to the ocean.  No discharge to the Tijuana River or through the emergency connection would be necessary.

Alternative 6: Phased Alternative

The previous alternatives have been evaluated as stand-alone alternatives to taking no action through the year 2001.  It is also reasonable to evaluate the use of these individual alternatives in a phased approach.

The logical phasing scheme would begin with Alternative 2, operate the IWTP to detain up to 2 million gallons (7,600 m3) of flow and treat additional flows from eastern Tijuana as needed with discharge to the emergency connection.  When it appears that the total average dry-weather flows from eastern Tijuana or higher seasonal high peak flows would result in discharge of treated effluent from the IWTP to the Tijuana River (expected by 1997 or 1998), then either Alternative 3 (Operate IWTP with Detention Basin) or Alternative 4 (Operate IWTP with New Conveyance to Mexico) could be implemented.  Either of these two alternatives could provide a means to avoid discharging treated effluent from the IWTP into the Tijuana River.  When the SBOO is completed, all treated effluent from the IWTP would be discharged through the SBOO.  Once the SBOO is available, neither the earthen detention basin nor the additional conveyance system in Mexico would be needed to discharge treated effluent from the IWTP.

An additional consideration for Alternative 6 is the time required to construct the facilities.  The IWTP will be operational by early 1997.  The 5.5 million gallon (20,900 m3) lined earthen detention basin would take 9 months to construct and could be available by September 1997. The new Mexican pumping and conveyance system, is expected to take 15 months to complete once agreement with Mexico has been reached.  These facilities are not expected to be available for use until 1998.  The SBOO is currently under construction and would not be available for use until the spring of 1998.

The impacts of the phased alternative would be equal to or less than the stand-alone alternatives as analyzed above.  The phased alternative would reduce the impacts from discharge of treated effluent to the Tijuana river, since each facility would be used in an attempt to avoid discharge of treated effluent into the Tijuana River. However, the USIBWC/ EPA flow projections are estimates, and the flows sent from Mexico may exceed the discharge capacity before these facilities are available.  If this occurs, discharge of treated effluent into the Tijuana River will be unavoidable and the adverse environmental impacts will be similar to those discussed for Alternative 2.

Significant Environmental Effects of the Alternatives

The alternatives were assessed for significant environmental effects, including direct, indirect, adverse, and beneficial.  The evaluation of alternatives is based upon estimates of future flows from Mexico and sewage characteristics, estimates of both IWTP and San Antonio de los Buenos effluent quality, and modeling of the effects of ocean discharges.  In the summary Table S-1, many effects are designated as &quot;potentially significant adverse.&quot; This indicates that the future effects can only be estimated within a range of values, within which range significant adverse effects could result.  This lack of certainty is unavoidable given the information available.

Preferred Alternative

The goal of the action is to avoid the discharge of untreated sewage and minimize the effects of the discharge of treated effluent to sensitive areas such as the Tijuana River, estuary, shoreline, offshore kelp beds, and active recreation and commercial areas. As discharges from the shoreline in Mexico may affect U.S. coastal waters, the alternative that provides the maximum level of treatment to the greatest volume of sewage prior to discharge, whether the discharge occurs in Mexico or the U.S., would be preferred.  However, selection of a preferred alternative is also subject to considerations of environmental effects of the alternatives, cooperation with Mexico, timeliness to implement, and costs.

For the interim operations period, the preferred approach alternative would be to phase alternatives as described for Alternative 6.

TABLE S-1

SUMMARY OF SIGNIFICANT ADVERSE EFFECTS FOR IWTP INTERIM OPERATION ALTERNATIVES

Tijuana      Tijuana                                                                                                             River        River        Ocean                                                                       Land Use    Alternativ   Surface       Valley       Waters     Estuarine     Marine      Geology       Odors      Health and      and           e         Water     Groundwater    Quality      Biology     Biology                                 Safety    Socioeconomi               Quality      Quality                                                                                      cs

Alternativ Significant  Significant  Significant  Significant Significant  No effect    Significant  Significant  Significant   e 1: No    unavoidable  unavoidable  unavoidable              unavoidable               unavoidable  unavoidable  unavoidable   Action     adverse      adverse      adverse      unavoidable adverse                   adverse      adverse      adverse                  effects      effects      effects       adverse    effects                   effect       effect       effects                  (discharge   (discharge   (discharge   effects     (discharge                (discharge   (contaminati (contaminati             of           of           of           (discharge  of                        of           on and       on of                    untreated    untreated    untreated    of          untreated                 untreated    ponding of   river,                   sewage to    sewage to    sewage to    untreated   sewage to                 sewage in    sewage in    odors,                   river)       river)       shoreline    sewage to   shoreline                 river)       river )      beach                                              in U.S. and  estuary)    in U.S. and                                         closures)                                          Mexico)                  Mexico)

Al;ternati Significant  Significant  Significant  Significant Significant  No effect    Significant  Significant  Significant   ve 2:      unavoidable  unavoidable  unavoidable              unavoidable               unavoidable  unavoidable  unavoidable   Operate    adverse      adverse      adverse      unavoidable adverse                   adverse      adverse      adverse       IWTP       effects      effects      effects       adverse    effects                   effect       effect       effects                  (discharge   (discharge   (discharge   effects     (discharge                (discharge   (contaminati (contaminati             of treated   of treated   of treated   (discharge  of                        of advanced  on and       on of                    effluent to  effluent to  effluent     of          untreated                 primary      ponding of   river,                   river)       river)       and          advanced    sewage to                 effluent to  treated      odors,                                             untreated    primary     shoreline                 river)       effluent in  beach                                              sewage to    effluent    in U.S. and                            river)       closures)                                          shoreline    to          Mexico)                                                                                                in U.S. and  estuary)                                                                                                           Mexico)

Alternativ No effect    No effect    Potential    No effect   Potential    Potential    Potential    Potential    Beneficial    e 3:       until 2001   until 2001   adverse      until 2001  adverse      adverse      adverse      adverse      effects       Operate    (adverse-dis (adverse-dis effect       (adverse-di effect       mitigable    mitigable    effect                     IWTP with  charge of    charge of    (discharge   scharge of  (discharge   effect       effect       (beach                     Detention  treated      treated      of treated   treated     of treated   (basin       (cover       closures in                Basin      effluent to  effluent to  effluent     effluent    effluent     design       basins,      U.S. from                             river)       river)       and          to river)   and          consideratio provide      discharges                                                      untreated                untreated    ns)          odor         in Mexico)                                                      sewage to                sewage to                 control)                                                                     shoreline                shoreline                                                                                              in Mexico)               in Mexico)

Alternativ No effect    No effect    Potential    No effect   Potential    Potential    No effect    Potential    Potential     e 4:                                 adverse                  adverse      adverse                   adverse      beneficial    Operate                              effect                   effect       mitigable                 effect       effects       IWTP with                            (discharge               (discharge   effects                   (beach                     New                                  of treated               of treated   (design                   closures in               Conveyance                           effluent to              effluent to  consideratio              U.S. from                   to                                  shoreline                shoreline    ns for                    discharges                 Mexico                               in Mexico)               in Mexico)   erosion                   in Mexico)                                                                                            control,                                                                                                                        seismic                                                                                                                         upset)

TABLE S-1

SUMMARY OF SIGNIFICANT ADVERSE EFFECTS FOR IWTP INTERIM OPERATION ALTERNATIVES

(continued)

Tijuana      Tijuana                                                                                                             River        River        Ocean                                                                       Land Use    Alternativ   Surface       Valley       Waters     Estuarine     Marine      Geology       Odors      Health and      and           e         Water     Groundwater    Quality      Biology     Biology                                 Safety    Socioeconomi               Quality      Quality                                                                                      cs

Alternativ No effect    No effect    Potential    No effect   Potential    No effect    No effect     Potential   Beneficial    e 5:                                 adverse                  adverse                                adverse      effects       Operate                              effect                   effect                                 effect                     IWTP with                            (exceedance              (discharge                             (beach                     Discharge                            of Ocean                 of treated                             closures in                to SBOO                              Plan                     effluent to                            U.S. from                                                       standards                shoreline                              discharges                                                      for                      in Mexico)                             in Mexico)                                                      polyaromatic                                                                                                                                                                                                                                                    hydrocarbons                                                                                                                    ; discharge                                                                                                                     of treated                                                                                                                      effluent to                                                                                                                     shoreline                                                                                                                       in Mexico)

Phased     No effect    No effect    Potential    No effect   Potential    Potential    Potential    Potential    Beneficial    Alternativ                           adverse                  adverse      adverse      adverse      adverse      effects       e                                    effect                   effect       mitigable    mitigable    effect                                                          (exceedance              (discharge   effects      effects      (beach                                                          of Ocean                 of treated   (earthen     (earthen     closures in                                                     Plan                     effluent to  detention    detention    U.S. from                                                       standards                shoreline    basin)       basin)       discharges                                                      for                      in Mexico)                             in Mexico)                                                      polyaromatic                                                                                                                                                                                                                                                    hydrocarbons                                                                                                                    ; discharge                                                                                                                     of treated                                                                                                                      effluent to                                                                                                                     shoreline                                                                                                                       in Mexico)

Starting with operation of the IWTP in 1997, there would not be a need to discharge treated effluent to the river until 1998, according to the USIBWC/EPA flow projections for average day flows. No additional capital costs would be incurred and discharge of effluent to the emergency connection would not result in adverse impacts to receiving waters in the U.S.  However, to avoid discharge of treated effluent to the Tijuana River during seasonal high flows in 1997, and average day flows in 1998 and thereafter to 2001, either the detention basin at the IWTP or new conveyance facilities in Mexico would need to be constructed.

Each of these alternatives avoids discharge of treated effluent to the Tijuana River.  The new conveyance facilities in Mexico would probably not be available until the middle of the year 1998, and discharges of treated effluent could occur by that time if the IWTP is operated.  The addition of detention basins at the IWTP could be implemented in time (September, 1997) to avoid any discharges of treated effluent to the Tijuana River and does not require additional agreements with Mexico to implement.

Neither of these interim alternatives is environmentally preferred to SBOO, as the discharge of treated effluent at the shoreline in Mexico is not preferable to discharge through the outfall offshore. Under current schedules, the SBOO and the new Mexican conveyance are not scheduled to be available until 1998.  Assuming these concurrent schedules, the SBOO would be preferred.  However, if the new facilities in Mexico were available and the SBOO is delayed, then the new facilities in Mexico could be used to avoid discharges to the river until the SBOO is available.

Once completed, discharge through the SBOO is the preferred alternative. Environmental Commitments

The following mitigation measures would reduce or avoid potentially significant effects of several of the alternatives considered.  The measures are presented as would be appropriate for each stand-alone alternative. For the preferred phased alternative, the measures would still be necessary, but only for the period of time an alternative is operating as a stand-alone facility.  For example, once the SBOO is operational, vector control and estuary monitoring required for Alternative 2 would no longer be necessary.

Alternative 2: Operate IWTP

If treated effluent is routinely discharged during dry weather to the Tijuana River, a monitoring program will be undertaken.  The program will monitor changes in water quality using indirect indicators of water source and sewage contamination.  These include salinity, dissolved oxygen, temperature, and coliform bacteria. The monitoring program will be initiated prior to discharge of the effluent and will continue through the period that effluent is discharged to the Tijuana River.  Reports of the monitoring will be provided to the Regional Water Quality Control Board, Tijuana River National Estuarine Research Reserve, and EPA.

If effluent is discharged to the Tijuana River, the USIBWC, in cooperation with the County Department of Health Services, will monitor the river channel during the dry season to ensure that no ponding of treated effluent occurs within the low-flow channel of the river.  If ponding does occur, vector control measures will be implemented.

Alternative 3: Operate IWTP with Detention Basin

If a detention basin is constructed at the IWTP, the earthen basin will be lined with an impermeable liner to avoid percolation of treated effluent to the groundwater.  The liner will be included in design specifications for the basin by USIBWC.

Site-specific geotechnical investigations will be performed prior to construction of the earthen basin to determine soil characteristics, thickness, and distribution and to develop appropriate soil engineering parameters for the proposed facility.

Fault evaluation studies will be performed of mapped fault traces in order to confirm fault locations and activities.  In addition, a geologist shall observe excavations during construction to detect the presence of unmapped traces in the general vicinity of mapped fault traces.

Storage of treated effluent in the detention basin may result in objectionable odors.  As the basin would only fill during peak hourly flow periods, these impacts would be short term.  However, if objectionable odors result, the detention basin would be covered and the air circulated to an odor control device.  IBWC will include an odor control system in the design of the detention basin, if this alternative is chosen.

Alternative 4: Operate IWTP with New Conveyance to Mexico

Mexico will conduct design review of the pipeline and pump station as part of its environmental impact assessment and to their construction standards.  This design should anticipate the effects of ground shaking and incorporate measures to minimize the risk of failure during seismic events.

If construction of the pipeline is undertaken during the rainy season, Mexico should incorporate erosion controls during any grading to prevent erosion impacts into the U.S.

Alternative 5: Operate IWTP with Discharge to SBOO

Odor control facilities were included in the design for the IWTP.  If advanced primary treated effluent is discharged through the SBOO, additional odor control facilities will need to be included at a vent for the energy dissipater located between the plant and the South Bay Land Outfall.  The USIBWC will be responsible for ensuring that appropriate odor control facilities are provided for discharge of primary treated effluent through SBOO.

Agency and Public Participation in Decision Making

The SEIS has been prepared to assess the consequences of the alternatives for proposed interim operation of the IWTP.  The environmental assessment will be used as an aid in decision making by the USIBWC and EPA in deciding a future course of action.  It is only one of a number of considerations in determining a future course of action, however.  The SEIS will also be used as an informational document by other federal, state, and local agencies-including but not limited to the U.S. Fish and Wildlife Service, State Water Resources Control Board, California Coastal Commission, and City of San Diego-in fulfilling their jurisdictional responsibilities,permitting activities, or other cooperation in implementing any future actions taken.

The Draft SEIS will be available for public and agency review from September 6, 1996, through October 21, 1996.  Requests for information or copies of the Management Division, 75 Hawthorne SEIS may be directed to Ms. Elizabeth Borowiec at EPA Region IX, Water Street, San Francisco, CA 94105, (415) 744-1165, or Mr. Charles Fisher at the USIBWC San Ysidro Office, 2225 Dairy Mart Road, San Ysidro, CA 92173, (619) 662-7600.  Copies of the SEIS and supporting documents have also been made available at local library branches in the vicinity of the project (San Diego, San Ysidro, Imperial Beach, Otay Mesa, and Chula Vista).  A public hearing to receive comments to the Draft SEIS has been scheduled for October 7, 1996, at Southwest High School.

USIBWC and EPA will review written comments to the Draft SEIS received during the public and agency review period and oral comments at the public hearing.  A Final SEIS will then be prepared, including revisions to the Draft SEIS and responses to comments on the Draft SEIS  The Final SEIS will be circulated for an additional 30-day public review period.

The USIBWC and EPA will then prepare a Record of Decision for the action that will include consideration of environmental factors as well as other factors that were important in arriving at a decision.

Chapter One

Purpose and Need for Action

The Tijuana River valley and nearshore coastal waters of the United States have been contaminated with raw sewage since the 1930s.  The contamination has been the result of Tijuana's rapid and constant population growth coupled with a lack of corresponding sewerage infrastructure.  While Tijuana has grown into a city of approximately one million residents, only about two-thirds of the city is currently sewered.

Due to the physiographic setting and proximity of the city of Tijuana to the United States (Figure 1-1), sewage that is not collected for treatment in Mexico flows into the United States via the Tijuana River or through north-draining canyons and gullies.  Untreated sewage is also discharged to nearshore ocean waters in Mexico, 5.6 miles (9 km) south of the international border, which may affect the quality of ocean waters in the U.S.  These untreated sewage flows have caused chronic quarantines of public beaches along the south San Diego coastline (Border Field State Park, City of Imperial Beach, Silver Strand State Beach, and City of Coronado) and substantially and adversely affected the residents of the Tijuana River valley and the environmental quality of the Tijuana River estuary, a National Estuarine Research Reserve. The contamination adversely impacts the quality of life for residents of the river valley, agricultural production, coastal recreational opportunities, and sensitive habitat and wildlife.

The chronic contamination has been acknowledged in numerous declarations by local, state, and federal legislative bodies and commissions and has been the subject of international agreements between the U.S. and Mexico.  To address this international problem, the U.S. and Mexico have considered various alternatives for increasing the quantity and level of sewage treatment and discharge options.  The U.S. and Mexico subsequently entered into binational agreements (Minute Nos. 270 and 283, included in Appendix E to this SEIS) to construct in both countries new facilities to collect, treat, and dispose of sewage.

In keeping with Minute No. 283, the U.S. Environmental Protection Agency (EPA) and International Boundary and Water Commission, U.S. Section (USIBWC) circulated an Environmental Impact Statement (EIS) and signed a Record of Decision (ROD) in May 1994 for new federal facilities to treat sewage. The ROD reflected a decision to construct a 25 million gallon per day (mgd) (1,095 liters per second [lps]) secondary treatment works and to discharge the effluent through an ocean outfall. Construction has begun of a federal treatment works known as the South Bay International Wastewater Treatment Plant (IWTP) and the South Bay Ocean Outfall (SBOO), a 200-foot-deep (65 m) tunnel connecting with a wye diffuser located 18,700 feet (5.7 km) offshore in 93-foot-deep (28 m) ocean waters to dispose of the treated wastewater.

The Final EIS (FEIS) and ROD for the IWTP and SBOO made a commitment to provide secondary treatment of sewage from the IWTP discharged through the SBOO.  Construction of the treatment works is to be completed in two phases.  The advanced primary treatment works and ocean outfall are scheduled to be completed in 1997 and 1998, respectively.  Activated sludge secondary treatment components have been designed for the IWTP; but construction is on hold until further studies examining alternatives to secondary treatment processes, including advanced integrated pond systems, have been evaluated.

Once completed, the IWTP and ocean outfall would treat and dispose of sewage from Mexico that may otherwise enter the U.S. untreated to safeguard the public health, environment, public recreation, water quality, and economy of San Diego and nearshore coastal waters. However, until the new facilities are operational, there is a serious risk of untreated sewage being discharged to the Tijuana River, estuary, or coastline. Untreated sewage flows are still occurring in the Tijuana River in Mexico.  Mexico currently generates more sewage than it can treat and discharges untreated sewage to the ocean surf zone. The existing Mexican system's capability to convey or treat additional sewage is limited.  Significant limitations are due to diurnal (time of day) and seasonal (wet weather) peak flows exceeding the capacity of the system.

If no action is taken, given the existing facilities, USIBWC and EPA estimate that up to 3.5 mgd (153.3 lps) of untreated sewage could be discharged to the river in 1996 and up to 9.5 mgd (416 lps) could be discharged by 2001.  In addition, up to 22.9 mgd (1,003 lps) of untreated sewage could be discharged to the surf 5.6 miles (9 km) south of the international border by the year 2001.

As the discharge of untreated sewage from Tijuana constitutes a health and safety concern, as well as causing environmental damage to the river valley and coastal waters, capture and treatment of sewage flows is of the utmost urgency.

The IWTP will be operational as an advanced primary treatment works before secondary treatment is available or the ocean outfall is operational.  The IWTP can detain and treat peak flows in the interim period that may otherwise be discharged untreated to the Tijuana River and nearshore ocean waters in Mexico.  Therefore, consideration of the earliest possible operation of the IWTP is of urgent necessity.

Figure 1-1  The USIBWC and EPA are considering potential actions to reduce the risk of sewage contamination during this interim period until the new facilities are completed.  The general options under consideration are:

No Action:  The IWTP would not be operated until the

ocean outfall is complete and activated sludge facilities are constructed, as described in the 1994 FEIS.  The IWTP would only discharge effluent treated to secondary standards.  Taking no action could result in flows of untreated sewage in the Tijuana River in the U.S. in 1996 and thereafter.

Interim Advanced Primary Operation and Discharge: The

IWTP could be operated as an advanced primary treatment works prior to the ocean outfall being completed. Various treated effluent disposal options are under consideration, including disposal through the existing emergency connection with the City of San Diego's Point Loma treatment plant; return to the current Mexican pumping and conveyance system; return to a new Mexican pumping and conveyance system; discharge to the Tijuana River; or discharge to uplands, groundwater, or the surf zone in the U.S.  These options could reduce or avoid discharges of untreated sewage to the Tijuana River in the U.S. and nearshore ocean waters in Mexico.

Interim Advanced Primary Operation and Discharge through

SBOO: The IWTP could be operated as an advanced primary plant and the treated effluent discharged through the SBOO.  The advanced primary effluent discharge would continue only until the activated sludge components or other secondary treatment process becomes operational; thus, this option is under consideration for a limited duration of three to five years.  This alternative would limit discharge of untreated sewage in the U.S. and reduce the discharge of untreated sewage to nearshore ocean waters in Mexico.

The prior FEIS and ROD for the IWTP includes a commitment to prepare supplemental environmental studies if any future actions involving the IWTP were to be undertaken which resulted in less than secondary effluent being discharged through the SBOO. This Supplemental EIS (SEIS) addresses potential interim operation of the IWTP with less than secondary treated effluent and various disposal options.  It also addresses interim discharge of primary treated effluent through the SBOO.  The EPA and USIBWC will consider secondary treatment process alternatives and the effects of continuing the discharge of less than secondary effluent through the SBOO over a longer period of time in an additional SEIS.

Background to the Proposed Action

Physical Setting

Tijuana River Watershed

The Tijuana River is an ephemeral stream within a watershed that drains an area of 1,700 square miles (4,250 km2), of which 455 square miles (1,138 km2) (about 30%) are in the United States and 1,245 square miles (1,930 km2) (about 70%) are in Mexico.  The fan-shaped drainage area is about 75 miles (121 km) long and 50 miles (80 km) wide (Figure 1-2).  The majority of this watershed is sparsely populated rural lands of natural open space or rural residential and agricultural uses; however, the metropolitan city of Tijuana and the city of Tecate are within the drainage area in Mexico.

The Tijuana River is formed by the confluence of Cottonwood Creek (Rio El Alamar) and the Rio de las Palmas about 11 miles (17.7 km) southeast of Tijuana. The Tijuana River flows northward through a 2.7-mile (4.3 km) concrete flood-control channel in the city of Tijuana and crosses the international boundary into California.  The flood control channel flares out into a dissipater basin for 1.0 mile (1.6 km).  The flood control project is of an international character, operated and maintained under the supervision of the IBWC under Minute No. 283.  After the pilot channel of the river crosses into the U.S., it continues westward about 5.3 miles (6.9 km) and empties into the Pacific Ocean about 1.5 miles (2.4 km) north of the international boundary.  The Tijuana River estuary lies at the mouth of the river at the Pacific Ocean (Figure 1-3).

The average annual rainfall across the watershed ranges from about 11 inches (28 cm) near the coast to 25 inches (63.5 cm) at the higher inland elevations.  There are distinct wet and dry seasons, with over 90 percent of the mean annual precipitation occurring during the six-month period of November through April.

The Tijuana River is an ephemeral stream characterized by low or no flow for many months of a given year.  Intermittent flood flows are highly variable and are dependent upon rainfall amounts and intensity across the watershed.  Brief periods of very high flows, primarily during the rainy season, are typically followed by low or no summer flows.  The flood control channel is designed for 135,000 cubic feet per second (cfs) (3,820 cubic meters per second [m3/s]).  Since its completion in December 1978, it has passed floods with instantaneous peak flows of 32,100 cfs (779 m3/s) on January 30, 1980; 33,100 cfs (937 m3/s) on February 21, 1980; 27,700 cfs (673 m3/s) on March 3, 1983; 32,600 cfs (792 m3/s) on January 16, 1993; and 20,000 cfs (486 m3/s) on February 2, 1993.  The average annual volume crossing the international border between the years 1936 and 1981 is 33,000 acre-feet/year (40 m3), with the highest flow recorded during 1979-1980 at 586,000 acre-feet (715 m3) (Izbecki 1985).  Surface storm flows provide recharge to the underlying unconfined aquifer, which has an estimated storage of 65,000 acre-feet (79 m3).

Figure 1-2

Figure 1-3

From 1980 to 1991, however, there were sustained perennial flows of wastewater in the Tijuana River (Zedler, Nordby, and Griswold 1990; Williams and Swanson 1987). Flow data measured by the USIBWC indicated that the average wastewater flow into the U.S. was 13 mgd (569 lps) in 1990.  In 1991 Mexico installed a collector in the Tijuana River to divert up to 13 mgd of dry-weather flows to the sewage system.  This diversion is not operated when sewage flows exceed available conveyance capacity in Mexico or during wet-weather river flows, however. More recently, estimates are that in 1993, 3 mgd (131 lps) of wastewater was in the river and in 1995, 1 mgd (44 lps).  Urban discharges into the river, such as trash, detergents, oils, fertilizers, and pesticides, also occur.

Tijuana River Valley

An alluvial floodplain forms the floor of the Tijuana River valley, the most southwesterly point in the continental U.S.  From an elevation of 40 feet (12.2 m) above mean sea level (MSL) at the Mexican border, the river valley gradually descends westward to its outlet into the ocean.  The valley floor averages about 1.0 mile (1.6 km) in width; it is bordered by coastal terraces that range from 20 to over 400 feet (6 to 122 m) in elevation.  The Tijuana River can be characterized as a braided alluvial stream that shifts widely across the valley floor during flood stage (Figure 1-4).

The existing vegetation along the riparian corridor in the lower Tijuana River valley is composed primarily of various species of willow and cottonwood with varied herbaceous species and mule fat.  The upland areas of the river valley are primarily ruderal disturbed vegetation or active agriculture and coastal sage scrub.  Sensitive wildlife that occur in the valley include the federally listed least Bell's vireo, peregrine falcon, and coastal California gnatcatcher.

The sparsely populated Tijuana River valley is predominantly natural open space with privately held lands in agricultural, ranching, and extractive uses. South of the estuary along the shoreline is a public coastal recreation area, Border Field State Park; to the north is Imperial Beach Naval Air Station and the city of Imperial Beach.  Most of the remainder of the valley is designated by the County as part of the Tijuana River Valley Regional Open Space Park or is in private use for agriculture and ranching. Tijuana Estuary

At the west end of the valley, the Tijuana River braids into a large estuary, federally designated as the Tijuana River National Estuarine Research Reserve. The Tijuana River estuary is one of 18 estuarine research reserves in the United States and one of only two in California (Seamans 1988).  The estuary is the site of one of the United States' few long-term wetlands research programs.  In 1982, the Tijuana River National Estuarine Research Reserve was established by the National Oceanic and Atmospheric Administration (NOAA) to protect one of the few remaining large areas of coastal wetland in southern California.

In its natural state, the Tijuana River estuary consisted of about 870 acres (352 ha) of intertidal wetlands.  The estuary currently consists of about 350 acres (141.8 ha) of tidal slough and salt marsh (as measured from 1986 aerial photographs), which are bounded by coastal uplands to the north and south and the alluvial floodplain of the Tijuana River to the east (Philip Williams &amp; Associates 1987:9).  A three-mile-long (4.8 km) barrier beach separates the estuary from the Pacific Ocean at its western boundary.  From the estuary entrance channel, tidal flows are distributed by four channels. Ten distinct habitats occur within the estuary area: ocean barrier beach; barrier dunes; relict tidal channel; non-tidal pickleweed salt marsh; non-tidal salt pan; brackish marsh; mule fat scrub; southern willow scrub; Diegan coastal sage scrub; and ruderal (disturbed) habitat.  Sensitive species include the federally listed California brown pelican, light-footed clapper rail, California least tern, and salt marsh bird's beak and the state listed Belding's savannah sparrow.

Since 1982, a land acquisition program has been under way for the estuary. The Tijuana Estuary Management Plan (James Dobbin Associates 1986) established a framework for developing an enhancement plan to address the serious physical changes affecting the estuary. Ocean Environment

The South Bay region is characterized as a coastal bight with nearshore shallow sandy bottom conditions.  The currents along the coast are dominated by the southerly flowing California current, which occurs at the surface and near the surface along the edge of the continental shelf, and a northerly flowing undercurrent beneath the California current and northerly countercurrents at the surface and near the surface which flow near the coastline.  At certain times of the year, a transient counterclockwise circulation forms south of Point Loma extending 6.2 to 9.3 miles (10 to 15 km) offshore and 10.6 miles (17 km) alongshore.  This is an intermittent phenomenon and alternating northerly and southerly currents are the dominant pattern.  A kelp bed is located north of the Tijuana River estuary.  Beneficial ocean uses include coastal recreation, endangered species habitat, diving, sportfishing, boating, whale watching, commercial fishing, and kelp harvesting.  Commercial shipping lanes are over five miles offshore in this area.

Tijuana and Tecate

The municipality of Tijuana includes an area of 1,381 square miles, with urbanized areas concentrated along the border and both sides of the Tijuana River.  The 1990 population was 747,000 (San Diego Association of Governments [SANDAG] 1992) and current 1996 estimates are approximately 1.1 million.  In 1990 there were 161,338 occupied housing units, of which 65 percent were sewered.  There were 2,500 industrial plants, including 463 maquiladoras, or twin plants, engaged in the assembly of components from other countries.  Manufacturing industries of Tijuana include metal products, machinery, and equipment; chemical substances and petroleum; minerals, paper, and printing; wood and wood products; textiles, clothing, and leather; and food and Figure 1-4 (oversize)

beverage products. Agriculture and livestock are also important sectors of the local economy.  Figure 1-5 is a view from space of the extent of urbanization in Tijuana.

The municipality of Tecate is situated approximately 30 miles to the east within the Tijuana River watershed.  The 1990 population was 51,557 persons; Tecate has 120 industrial plants, with mining, agriculture, and cattle raising as the principal activities. Tecate has a new sewage treatment works, as does the Tecate brewery, both of which discharge effluent to the watershed (SANDAG 1992). History of Border Sewage Contamination

By the mid 1930s Tijuana's population was approximately 16,000 residents.  Its sewerage consisted of a septic tank system with effluent chlorination with a capacity for 5,000 inhabitants.  The excess wastewater flows contaminated groundwaters in the Tijuana River valley north of the border such that truck crops in San Ysidro were prohibited from sale and well water was contaminated.  In 1935, the International Boundary Commission, U.S. Section, working in cooperation with the governments of Mexico and the County of San Diego, designed a project known as the International Outfall.  It consisted of trunk sewers serving the city of Tijuana and U.S. federal buildings in San Ysidro.  The trunk sewers connected with a sewer that followed the Tijuana River west to an ocean discharge point just north of the international boundary. No untreated sewage was to be discharged into the outfall.

By 1950 the population of Tijuana had grown to 65,000 and 2.5 mgd (109.5 lps) of sewage was being generated.  Partially treated sewage began to be discharged through the International Outfall.  In 1952 the California legislature adopted a resolution (Joint Assembly Resolution 16) urging the U.S. government to expedite the development of sewage treatment and disposal facilities for Tijuana and San Ysidro.

Local and state public health agencies began monitoring ocean water quality offshore of Imperial Beach in the United States.  Soon after, San Diego County began to disinfect effluent discharged by the International Outfall.  However, by 1957 the population had increased to over 100,000 and the disinfection program for the International Outfall was no longer sufficient to prevent sewage contamination of beaches north of the outfall.  In August 1959, the County Department of Health Services quarantined all beaches between the international border and the north end of Imperial Beach. Water sampling disclosed high bacterial concentrations extending north to the city of Coronado.

Development of New Facilities

By 1960 the population of Tijuana was 165,000.  The government of Mexico proposed new facilities, including a pump station and a force main to convey sewage from the existing facilities west to the top of Spooners Mesa overlooking the Tijuana River and gravity mains to convey the sewage 10 miles south to oxidation ponds at Agua Caliente.  Due to a lack of funding, Mexico ceased construction of its new canal 5.6 miles (9 km) south of the border.  From there, raw sewage was discharged into arroyo San Antonio de los Buenos and flowed into the ocean (see Section 1.1.3 for details of the sewer system).

The new system began operating in 1961.  As an additional interim measure, funding was sought and approved from the U.S. government for construction of temporary oxidation ponds in the Tijuana River north of the international border to contain and partially treat Tijuana sewage flows.  In 1962 the discharge through the International Outfall was ended and the sewage was diverted to a temporary oxidation and stabilization pond in the Tijuana River valley.  Following this action, the three-year quarantine on local beaches was finally lifted.

In 1965 an agreement was reached to construct a 0.9-mile-long (1.4 km), 30-inch-diameter (76.2 cm) emergency connection sewer with a capacity of up to 13 mgd (569.4 lps) to allow Tijuana sewage to be diverted to the City of San Diego's new Metro sewer system for treatment and discharge at Point Loma.  This connection replaced the oxidation ponds.  The City of San Diego agreed to provide Tijuana use of the sewer and any excess capacity on an emergency, as-needed basis for 20 years, and Mexico agreed to pay for use of the facilities on a fixed-rate basis.

Sewage Contamination Problems Continue

By 1975 the population of Tijuana had grown to 400,000 and sewage generation had increased to 20 mgd (876 lps).  The emergency connection was used 188 days of the year. Contaminated runoff at the boundary of the Tijuana River flood-control channel was extensive.  After 16 of 34 U.S. Navy divers became ill during a training exercise in the Tijuana River estuary, the County posted warnings along the river in Imperial Beach.

In 1977 construction began on a new aqueduct to convey Colorado River waters to serve present and future potable water needs for Tijuana.  The system has a planned capacity of 90 mgd (3,942 lps), or 100,000 acre-feet per year, to serve Tijuana to the year 2010.

In 1978 pipeline failure led to raw sewage spills in Smuggler Gulch.  In 1979 a major failure of the pump station led to sewage flows into the United States in a number of locations.  The conveyance canal washed out 3.2 miles (5.1 km) south of the border.  Approximately 70 percent of Tijuana's sewage was sent to the emergency connection, but the remainder escaped as surface flows.  In January 1980, heavy rains damaged the Tijuana pipelines and washed out the emergency connection; and all 22 mgd (963.6 lps) of Tijuana's raw sewage was discharged to the Tijuana River in the United States.  The County quarantined four miles (6.4 km) of beaches through July.  Again, two years later, heavy rains caused failure of the force main between Smuggler Gulch and Goat Canyon.  Figure 1-5 (oversize)

Five wells in the Tijuana River valley were contaminated and a mile (1.6 km) of beach was quarantined.

International Agreements Toward a Solution

In February 1979, Presidents Carter and Lopez Portillo instructed the IBWC to develop an agreement for permanent solutions to the border sanitation problem.  The agreement was concluded in IBWC Minute No. 261 of September 24, 1979.  This agreement provides the International Boundary and Water Commission authority to give permanent attention to solution of border sanitation problems under Article 3 of the 1944 Water Treaty.  Under Minute No. 261, discussion for an international agreement on the Tijuana problem began in 1980, but was suspended when Mexico would not agree to construct treatment facilities before ocean discharges.  Mexico continued to work on improvement of the Tijuana system, which included a new single lift pump station, force main, and gravity canal with siphons.  In the U.S., a committee of federal, state, and local officials, including the USIBWC, convened to develop a course of action for a long-term solution of the sewage contamination problems that envisioned an international plant in the U.S. to handle Tijuana sewage.

In 1983 Presidents de la Madrid of Mexico and Reagan of the United States signed an agreement, &quot;Cooperation for the Protection and Improvement of the Environment in the Border Area,&quot; of which Article 2 stipulates: &quot;the parties undertake, to the fullest extent practical, to adopt appropriate measures to prevent, reduce and eliminate sources of pollution in their respective territory which affect the border area of the other.&quot;  The agreement also established several working technical work groups, including a binational Water Work Group with representation from the EPA, IBWC, and Mexico's Secretariat of Urban Development and Ecology (SEDUE).  Both parties agreed that the solution to the border sanitation problem would be through the IBWC.

Minute No. 270-Mexico's Integrated Project

In 1984 Mexico's SEDUE prepared plans for the Integrated Project for Potable Water and Sanitary Sewer of Tijuana, funded in large part by the Inter-American Development Bank.  The Integrated Project provides for utilization of the Colorado River aqueduct to provide water sufficient to supply Tijuana's needs to the year 2010 and for new and upgraded sewage conveyance and treatment facilities.  The increase in potable water supply is expected to increase the volume of wastewater from 39 mgd (1,708 lps) in 1993 to about 75 mgd (4,117 lps) by the year 2010.

The Integrated Project also calls for phased improvement and expansion of the existing sewer system and construction of new treatment works.  The Integrated Project was incorporated into an international agreement, Minute No. 270.  In this international agreement, Mexico committed to make immediate repairs in case of system breakdown, meet a surf quality standard at the boundary, and present to USIBWC for review and approval its long-term plans to treat sewage exceeding that in Stage I.  The Stage I facilities as designed included:

Concentration of the Tijuana River basin's wastewaters at

Pump Station One, improved to provide a 50 mgd (2,190 lps) peak capacity, 34 mgd (1,489 lps) average capacity.

Conveyance of the wastewaters via a 42-inch (1.07 m) force main with a peak capacity of 62 mgd for discharge to the existing conveyance canal.

Collection, pumping, and conveyance from canyon areas for

disposition in the conveyance canal.

Pumping and conveyance from the Playas de Tijuana area to

the conveyance canal.

Conveyance via a covered and open canal for disposal of wastewaters 5.6 miles (9 km) south of the international boundary.

Construction of two secondary treatment facilities (Modules 1 and 2), each with a capacity of between 17 and 25 mgd (745 and 1,095 lps) utilizing aerated facultative lagoons at a location four miles (6.4 km) south of the international boundary.

Most of these facilities, with the exception of the Module 2 treatment facilities, have been completed by Mexico; however, the operating capacities are less than originally intended.

Interim U.S. Defensive Measures

In January 1984, the USIBWC completed construction of a temporary holding pond near Stewart's Drain east of Dairy Mart Road in the U.S., to provide additional holding capacity until Tijuana could complete improvements to its sewage facilities (IBWC 1984).  This construction included a pipeline from Tijuana's Pump Station One to the temporary holding pond and to a connecting pipeline to San Diego's Metro system.

In 1985 USIBWC constructed a system to intercept, divert, and dispose of sewage flows entering the United States from Tijuana along Canyon del Sol, Silva Drain, and Stewart's Drain.

In 1987 the USIBWC constructed an interceptor system to collect surface sewage flows at Smuggler Gulch.  The system included a diversion dike and settling pond located within Mexico and a pump station and 2,000 feet (610 m) of 12-inch (30.5 cm) pipeline within the United States to return dry-weather flows to Tijuana's 42-inch (1.07 m) pipeline.

Proposals by Mexico

By 1987 Mexico had improved Pump Station One, the 42-inch (1.07 m) force main, and constructed the first module of the San Antonio de los Buenos treatment plant (17 mgd [745 lps] average, 25 mgd [1,095 lps] peak capacity) in accordance with IBWC Minute No. 270.  Soon after, facilities to convey wastewater from Playas de Tijuana and Smuggler Gulch (Matadero) and Goat Canyon (Laureles) to the canal were completed.  At the same time, Mexico proposed modifications to Minute No. 270 that would enable Mexico to abandon the second module at San Antonio de los Buenos and, instead, proceed with the planning and design of the proposed Stage II Rio El Alamar treatment facility in east Tijuana.  This new Rio El Alamar treatment plant would treat those flows that the second module of the first stage treatment works would have treated.  The treated effluent would be discharged to the Tijuana River watershed and used for irrigation.

The EPA, the USIBWC, and the State of California opposed the Rio El Alamar facility because of concerns over the level of treatment and the adverse impacts this volume of effluent would have on the ecology of the Tijuana River estuary.  It became clear to EPA, USIBWC, and state and local agencies that existing defensive measures, the proposed Standby Interceptor Project, and Mexico's proposed Rio El Alamar treatment facility would not be sufficient to safeguard the public health and environment of the Tijuana River valley and surrounding areas from water pollution originating in Tijuana, Mexico (IBWC 1987).  The U.S. Government, through USIBWC, opened talks with Mexico for a solution through an international treatment plant.

After Mexico decided to proceed with their own solution, Congress directed EPA and USIBWC to design a larger-scale defensive works project (also known as the Standby Interceptor Project) to protect against massive breakdowns in the west Tijuana system. These works would consist of an interceptor pipeline and a pump station to return excess flows from Pump Station One to Tijuana's westside conveyance and treatment system (Boyle 1988).

However, by the spring of 1988 it became clear that sewage flows from east and west Tijuana had substantially increased and would soon surpass the Mexican system's ability to receive return flows from the Standby Interceptor Project.  Specifically, there would be no capacity in the Mexican conveyance system to receive sewage originating in east Tijuana and flowing through the Tijuana River.  As a result, serious threats to public health and the environment would remain even if the Standby Interceptor Project were completed.  In view of the future treatment needs of Tijuana and the city of San Diego, the Standby Interceptor Project concept was modified to intercept sewage flowing in the Tijuana River from east Tijuana and enlarged to accommodate increased flows from Tijuana and San Diego.  It became known as the South Bay Land Outfall (SBLO) project. Minute No. 283-International Wastewater Treatment Plant and Ocean Outfall

In response to the inadequacies of the Standby Interceptor Project and Mexico's own proposal to proceed with the Rio El Alamar treatment facility, the USIBWC, in September of 1988, proposed to Mexico construction of an international wastewater treatment facility in the U.S. to treat Tijuana sewage.  The proposal would utilize the upsized interceptor pipeline (SBLO) contemplated for the Standby Interceptor Project.  The proposal was attractive since it would provide full secondary treatment, and disposal would be unconstrained by the capacity of the Mexican conveyance system.  In lieu of construction of the Rio El Alamar treatment works, Mexico would contribute its anticipated costs to construct the Rio El Alamar facility towards the project and provide operations support.

The IWTP proposal was formally placed for binational consideration in an exchange of diplomatic notes between both governments in October 1989 and, subsequently, in an international agreement between the United States and Mexico as an international solution to the long-standing border sanitation problem.  This agreement is contained in Minute No. 283, Conceptual Plan for the International Solution to the Border Sanitation Problem in San Diego, California/Tijuana, Baja California, signed by both governments on July 2, 1990.

Pursuant to this agreement, a 25 mgd (1,095 lps) International Wastewater Treatment Plant would be constructed in the U.S. with a land and ocean outfall (SBOO) for discharge of secondary treated effluent in U.S. waters offshore.  The treatment works could be expanded to 100 mgd (4,380 lps) and rights to future reclamation of wastewater would be reserved to whichever country contributed sewage.  The sludge generated by the IWTP will be transported to Mexico for disposal.  Mexico also agreed to make significant improvements to its wastewater collection system and ensure that there are no discharges of untreated industrial or domestic wastewaters to the U.S.  Mexico also agreed to implement an industrial pretreatment program that will ensure efficient treatment of wastewater at the IWTP.

Current and Planned Border Sewage Facilities

Mexico's Facilities

Mexico's sewage collection, conveyance, and treatment facilities are presented in Figures 1-6 and 1-7.  Most of the sewage generated in eastern and central Tijuana is collected at Pump Station One.  Other sewage from central and western Tijuana is collected at other pump stations (Laureles, Matadero, and La Playa).  Sewage is pumped via force mains to an open canal that traverses south to a treatment works or is bypassed and disposed of at the shoreline 5.6 miles (9 km) south of the international border. This flow capacity is augmented by the City of San Diego's emergency connection, which can take sewage from Pump Station One to the treatment works at Point Loma.  Peak flows of sewage from eastern and central Tijuana that exceed the capacity of the Mexican pumping and conveyance system and the emergency connection end up in the Tijuana River in the U.S.  The primary components of the system are described below.

River Diversion Structure

In October 1991, Mexico completed construction of and operates a diversion structure in the Tijuana River in Mexico, about 325 feet (100 m) upstream of the international border.  A mixture of river flows and sewage can be captured and diverted to Pump.  Figure 1-6  Existing Tijuana Sewage Collection System

Figure 1-7 Existing Tijuana Pumping and Conveyance

Station One.  During dry weather, up to 13 mgd (569 lps) of sewage-contaminated flows can be pumped from the concrete, low-flow river channel into Mexico's collection system and to Pump Station One if capacity is available.  Wet-weather and storm flows are allowed to pass through to the U.S., even if contaminated with sewage.

Collection System

Mexico has made significant improvements to its wastewater collection system, as agreed to in Minute Nos. 270 and 283.  Sewage flows in the Tijuana River have been substantially reduced and collection, pumping, and conveyance facilities from canyon areas such as Matadero (Smuggler Gulch) and Laureles (Goat Canyon) and from a pump station at Playas de Tijuana on the coast direct sewage towards the conveyance canal.

Sewage flows are collected from central Tijuana along the Tijuana River and from eastern Tijuana on both north and south sides of the flood control channel along Rio El Alamar.  These flows merge to a 72-inch (1.8 m) interceptor along the lower Tijuana River to the river collector and are conveyed to Pump Station One.  From Pump Station One, flows are pumped to the force main and conveyance canal for treatment at San Antonio de los Buenos or, in the future, to the IWTP.

A section of the main interceptor from the pumping plant at the river collector (Pump Station CILA) to Pump Station One is undersized for handling future flows to both Pump Station One and the IWTP.   As part of Minute No. 283, Mexico has agreed to construct the sewage collection works necessary to convey sewage from a diversion point near Rio El Alamar to Pump Station One.  It is expected that this line will be constructed prior to the time that the full capacity of the IWTP will be needed.

Pump Station One

Sewage from the Tijuana River basin is directed to Pump Station One, which is located at the hydraulic low point in central Tijuana adjacent to the international border.  Sewage from the collection system flows either to the emergency connection or to a wet well for detention from which it is pumped to a force main and conveyance canal.  Because Pump Station One was not operated as designed, Mexico upgraded this facility in 1995.

Currently, there are three operating pumps and one backup pump, which are estimated by IBWC to have approximately 50 mgd (2,150 lps) peak capacity (if all four were used) and 36 mgd (1,489 lps) operating capacity with three pumps operating (Photograph 1-1).

Photograph 1-1. Pump Station One.

Emergency Connection

An emergency connection between Pump Station One and the City of San Diego's South Metro Interceptor sewer has been in existence since 1966.  This connector consists of a 30-inch (0.76 m) sewer trending north from Pump Station One to the 36-inch (0.91 m) San Ysidro Interceptor; the San Ysidro Interceptor ties into a 42-inch (1.09 m) segment of the South Metro Interceptor.  The existing emergency connection can accept up to 13 mgd (569 lps) peak flows, which are treated and disposed of at the City's Point Loma advanced primary treatment plant and ocean outfall.

The South Metro Interceptor sewer currently has excess capacity to accept flows from Mexico, but may not have in the near future due to anticipated growth in the area it serves in San Diego. The capacity is also affected by wet-weather conditions when peak flows are higher. Current wet-weather capacity of the South Metro Interceptor is 180 to 192 mgd (City of San Diego 1993).  By the year 2001, the planning horizon year, the City projects that the population in the service area will expand by 91,000 residents and the capacity of the sewer will be reached.

On account of these factors, availability of the emergency connection to accept flows from Mexico is limited and will not continue into the future.  The emergency connection is also susceptible to being washed out by flood flows in the Tijuana River.

Force Main

Conveyance of the wastewaters from Pump Station One is via a 42-inch (1.07 m) force main for discharge to the existing conveyance canal on the mesa approximately 330 feet (100 m) above and to the west of Pump Station One.  Frequent breakdowns with sewage spills to the U.S. have occurred, and with the single pipeline, it cannot be shut down to perform necessary maintenance without additional spills to the U.S.

Conveyance Canal

A covered and open canal with an effective capacity of approximately 48 mgd (2,102 lps) conveys wastewaters from the international border 5.6 miles (9 km) south for treatment and disposal.  The canal follows a ridge and crosses five arroyos for which siphons are used to maintain flows.  As there is only the single canal, the entire system must be shut down to perform maintenance.  Accumulations of debris in the canal and siphons tend to reduce the capacity of the canal to convey flows (Photograph 1-2).

Photograph 1-2. Conveyance Canal

Treatment Works

The San Antonio de los Buenos treatment facility is designed to treat an average of 17 mgd (745 lps) average flow and up to 25 mgd (1,095 lps) peak flow utilizing aerated facultative lagoons at a location four miles (6.4 km) south of the international boundary (Figure 1-8).  Sewage in the conveyance canal flows through a preliminary sediment detention basin and then pumped to a series of two aerated facultative lagoons and a final, nonaerated polishing lagoon.  The treated effluent is then disinfected with chlorine and conveyed 1.6 miles (2.6 km) south for shoreline discharge with untreated effluent or reuse for irrigation.

Mexico is committed to ensuring that the discharge from its treatment and disposal facilities, including the San Antonio de los Buenos treatment plant, will maintain the quality of ocean receiving waters at the international boundary to protect recreational uses of the ocean, as described in Minute No. 270.

Effluent Discharge

Effluent from the San Antonio de los Buenos treatment plant and any sewage that bypasses the treatment plant is conveyed in a canal to the arroyo San Antonio de los Buenos 5.6 miles (9 km) south of the international border and discharged to the surf zone (Photographs 1-3 &amp; 1-4).

Photograph 1-3. Shoreline Discharge Channel

Photograph 1-4. Shoreline Discharge Point

Other Actions by Mexico

Under Minute No. 283, Mexico will assure that there are no discharges of treated or untreated domestic or industrial wastewaters into the Tijuana River, which crosses the international boundary.  Mexico has constructed a river diversion structure in Mexico to capture dry-weather flows in the river up to 13 mgd (569 lps) and has agreed to construct additional collection and conveyance facilities in central and eastern Tijuana. These facilities include an interceptor from the Rio El Alamar area to Pump Station One, which will be necessary to convey future flows to the IWTP.  Mexico has committed to ensuring that discharges of treated effluent from its existing facilities at San Antonio de los Buenos will maintain the quality of ocean waters at the international boundary.  Mexico will dispose of sludge generated at the IWTP.

Mexico, under the international agreement in Minute No. 283 and consistent with its laws, requires its industries to provide appropriate pretreatment to their discharges to the Tijuana sewage system.  Mexico, in furtherance of its laws (see Appendix D) establishes maximum allowable pollutant limits as a federal responsibility and delegates the implementation to the states.  In the case of Baja California, the state passed appropriate legislation in 1992, promulgated rules in 1993, and has established organizations to implement a source control program.  The process of registering industrial and commercial establishments is under way and a voluntary compliance program has been initiated.

Malcolm Pirnie Inc. performed wastewater characterization in 1992 and 1993 for USIBWC of Tijuana wastewaters arriving at Pump Station One and an expanded characterization in 1995 covering additional points near the boundary and the Tijuana River.  Additional monitoring is planned.  The purpose of the program is to identify those pollutants of concern as they affect the efficiency of the IWTP measured against the nonconventional pollutant limits established for the ocean discharge in the United States.  In turn, these pollutants of concern provide the guidance to the IBWC against which the government of Mexico will apply its laws, based on Mexican standards, to protect the efficiency of the plant.  At the same time, a continuous monitoring program will provide the IBWC a warning of exceedances or near exceedances of the headworks, subject to more intense monitoring, for use by Mexican authorities to determine the source and take corrective actions.

The United States and Mexico are also engaged through various environmental cooperation mechanisms in efforts to have Mexico accelerate implementation of Mexico's laws that require industries to provide appropriate pretreatment that may discharge to the Tijuana sewage system.  Mechanisms include training conferences and seminars developed by EPA regarding United States source control laws and practices, including model ordinances.

Future Sewage Flows from Mexico

As Mexico expands its collection facilities to unsewered areas to reduce the risk of untreated sewage being discharged to the Tijuana River, it may also increase the amount of sewage being brought to Pump Station One and the treatment works at San Antonio de los Buenos.  Flows from central and eastern Tijuana that are collected at Pump Station One and the Matadero and Laureles pump stations could ultimately cross the U.S. border if capacity of the system is exceeded or failures occur.

Figure 1-8

Flows from western Tijuana are also expected to increase.  While these flows would not affect the U.S. directly, they are conveyed in the canal to the San Antonio de los Buenos treatment works.  If capacity for treatment is not available, they are bypassed untreated to the shoreline discharge point and are of concern with respect to ocean water quality.  EPA estimates that the flows from western Tijuana constitute about 10 percent of the flows from eastern and central Tijuana.

The municipality of Tijuana currently limits the availability of potable water in certain areas of the city to lower wastewater generation.  It is estimated that only 65 percent of residences in Tijuana have sewer service (SANDAG 1992).  The amount of sewage generated in Tijuana could increase either if the volume of fresh water from the Colorado River is increased or if sewer service is extended to existing residences not currently sewered.  This generation is in addition to population growth, which has increased over 60 percent in the last decade and historically has been higher.

The Mexican State of Baja California Norte is considering the development of additional treatment facilities for future flows from Tijuana.

IBWC Facilities

The IBWC facilities agreed to in Minute No. 283 and in the EIS and ROD signed in May 1994 are currently under construction in the U.S.  They would treat sewage from Tijuana and, in dry weather, any sewage-contaminated flows in the canyons and gullies, up to a total of 25 mgd [1,095 lps] (average daily flow).  Following treatment, effluent will be discharged into the Pacific Ocean in the U.S. by way of a land and ocean outfall conveyance system.  The general location of the project is shown in Figure 1-9.

The IBWC project includes the following major elements:

The advanced primary portion of the IWTP (under construction); The activated sludge portion of the IWTP (which has been designed, but construction has been postponed until an additional SEIS has been finalized);

Facilities for capturing and pumping sewage-contaminated flows from Stewart's Drain, Silva Drain, Canyon del Sol, Smuggler Gulch, and Goat Canyon (under construction) and utilization of Mexico's existing dry-weather collector in the Tijuana River;

The South Bay Land Outfall (completed in 1993); and

The South Bay Ocean Outfall (under construction).

International Wastewater Treatment Plant

A federal wastewater treatment plant is being constructed on an approximately 75-acre (30 ha) site in the United States.  The Dairy Mart Road site is located about 300 feet (91.4 m) north of the border across from Pump Station One, south of the intersection of Dairy Mart and Monument Roads, near where the Tijuana River crosses the international border.  While designed as a 25 mgd (1,095 lps) secondary treatment plant using activated sludge, the initial construction is for advanced primary treatment only.

The headworks are designed to handle up to 100 mgd (4,380 lps) including screening and degritting.  The primary treatment facilities are designed to treat average daily flows of 25 mgd (1,095 lps) with peak flows up to 75 mgd (4,117 lps) during high flow days.  The activated sludge facilities are designed to treat a constant flow of 25 mgd (1,095 lps).

The advanced primary facilities were designed with the assumption that there would be a 3:1 diurnal peak in the influent to the IWTP.  Current data indicate that the actual peaking factor in Tijuana was about 1.3:1 in 1995.  The 3:1 peak was assumed (due to uncertainties in actual and projected Tijuana flow rates) in order to ensure that at least advanced primary treatment would be provided under any foreseeable conditions, including breakdown of Pump Station One.

Equivalent conservatism in design of the activated sludge facilities was not practical given project budget constraints. Construction of the secondary treatment process trains is under additional study by EPA and IBWC and is only partially funded at this time.

Wastewater flows from east Tijuana are collected via the Tijuana wastewater collection system and conveyed to Pump Station One, where they are mixed with wastewater from central Tijuana.  From Pump Station One, wastewater will be directed to the IWTP in the United States or San Antonio de los Buenos in Mexico (the emergency connection to Point Loma would no longer be needed).  Wastewater flows from the Playas de Tijuana, Matadero (Smuggler Gulch), and Laureles (Goat Canyon) pump stations in Mexico will continue to be routed through the Mexican conveyance system to the San Antonio de los Buenos treatment plant.

In case of breakdowns in Pump Station One or the conveyance system, flows could be directed to the IWTP on an emergency basis.  Peak flows up to 75 mgd (4,117 lps) would receive primary treatment.  Peak flows between 75 and 100 mgd (4,117 and 4,380 lps) would be screened, degritted, and disinfected before being discharged through the ocean outfall.

Operations Agreement

An operations agreement (IBWC Minute) will be negotiated with Mexico which will set values for long-term IWTP usage versus in-country treatment by Mexico.  The agreement will set forth operations and maintenance (O &amp; M) for the IWTP and funding of ongoing O &amp; M costs.

Future expansion of the IWTP would be subject to additional agreements and funding by both Mexico and the United States. The IWTP has been conceptually designed to be expanded to a maximum average daily flow capacity of 100 mgd (4,380 lps).

Figure 1-9

Collection of Sewage-Contaminated Flows from Canyons

Sewage-contaminated dry-weather flows that occur in Mexico and run overland in a northerly direction into the United States through Goat Canyon, Smuggler Gulch, Silva Drain, Stewart's Drain, and Canyon del Sol will be captured and routed through proposed facilities to the IWTP for treatment.

Sewage will be collected at a new Smuggler Gulch facility and conveyed down through Smuggler Gulch in a buried pipeline that will be constructed in the bottom of the drainage.  A small pump station will be constructed near the intersection of Hollister Street and Monument Road that can pump wastewater flows into a small, existing buried pipeline within the SBLO alignment which will route flows from Smuggler Gulch to the IWTP.

A similar type of collection, conveyance, and pumping facility will be constructed in Goat Canyon.  The small pump station located just east of the mouth of Goat Canyon will pump wastewater into a buried pipeline within the SBLO alignment to the Smuggler Gulch pump station, which will route it to the IWTP for treatment.  The new collection and conveyance facilities in Goat Canyon and Smuggler Gulch are backup facilities for those located in and operated by Mexico.

South Bay Land Outfall

Discharge of treated effluent to the ocean will be through a pipeline consisting of two segments-the South Bay Land Outfall and the South Bay Ocean Outfall-for ultimate discharge into the Pacific Ocean.  The SBLO consists of a 12,300-linear-foot (3,444 m) buried pipeline that runs east to west from Dairy Mart Road to the mouth of Goat Canyon.  Construction of the SBLO was completed in September 1993.

South Bay Ocean Outfall

The South Bay Ocean Outfall will begin as a vertical drop shaft at the western end of the existing SBLO and will extend westward as a tunnel at a depth of approximately 200 feet (60.96 m) below the ground surface to a point 13,600 feet (4.1 km) offshore (Figure 1-10).  At this point, a vertical riser will be constructed which will connect to a 4,670-foot-long (1.4 km) seafloor pipeline and then to a wye-shaped diffuser on the seafloor.  Each leg of the wye will have a length of 1,974 feet (602 m).  Effluent will be discharged through a series of ports located on the diffuser legs.  The average point of discharge will be 18,700 feet (5.7 km) offshore at a depth of 93 feet (28 m).

The outfall is designed to carry a maximum average daily flow of 174 mgd (7,621 lps) and a peak daily flow of 333 mgd (14,585 lps) to enable use of the outfall by both the IWTP and future City of San Diego Otay and South Bay treatment works.  The outfall is currently scheduled to be completed by June 1998.

Modifications to the IBWC Facilities Since the 1994 EIS and ROD

Secondary Treatment Deferred

The IWTP was designed as an activated sludge secondary treatment works.  The plant was designed in modules to facilitate future expansion from 25 to 100 mgd (1,095 to 4,380 lps). However, it was recognized that there could be a potential shortfall in funding such that construction of secondary clarifiers and activated sludge components would be delayed.  In 1993, in response to public outcries for immediate action, a decision was made to construct the treatment plant in phases so that some treatment capability could be made available as soon as possible.

Public interest groups had also expressed the need for analysis of alternative treatment processes to activated sludge on the basis of cost and resistance to upset of the biological treatment process due to toxic influent constituents.  Later, EPA and USIBWC agreed to defer construction of the secondary treatment component until additional studies and an SEIS are completed.

EPA and USIBWC are currently evaluating process alternatives to activated sludge in a separate SEIS.  Even if funding were to be made available, selection of a treatment process and construction of the additional components would not be completed for several years.

Ocean Outfall

Modifications were made to the design of the South Bay Ocean Outfall due to geotechnical constraints and capacity increases requested by the City of San Diego for their future Otay and South Bay treatment works.  The tunnel segment of the outfall was shortened due to unfavorable geotechnical conditions and a combination tunnel and surface seafloor pipeline is now being constructed.  Also, the alignment of the tunnel and seafloor pipeline were moved about 100 feet (30.5 m) north.  The wye-shaped diffusers were lengthened to accommodate 100:1 dilution for the increased maximum flows (from 132 mgd to 174 mgd [5,782-7,621 lps] average flow and from 258 mgd to 333 mgd [11,300-14,585 lps] peak flows).  The points of discharge from the diffuser are in the same location.

These changes were addressed in a Supplemental Environmental Assessment (EA) and Finding of No Significant Impact (FONSI) prepared by the U.S. Army Corps of Engineers (USACE) for the EPA and USIBWC dated August 1995.  It should be noted that the SBOO discharge volumes were originally set at 181 average and 343 mgd (15,023 lps) peak flows in the 1991 Draft EIS for the project.

Canyon Collectors

Minor design changes have been made to the canyon collector system in the U.S. that will pump and convey untreated sewage collected in Goat Canyon, Smuggler Gulch, and Canyon del Sol back to the IWTP.  These changes have been evaluated in a draft EA dated June 1996 prepared by the USACE for the EPA and USIBWC.

Figure 1-10

Chlorination

Chlorination and dechlorination facilities are included in the IWTP design.  A dechlorination station was considered for relocation adjacent to Goat Canyon and a Supplemental EA was prepared by the EPA and USIBWC in 1996.  A decision to chlorinate/dechlorinate the effluent will not be made until the IWTP is operational. Proposed Action

EPA and USIBWC are considering operating the IWTP as an advanced primary treatment works in order to minimize the risk of discharges of raw sewage in the Tijuana River and nearshore coastal waters in Mexico.  In considering this action, alternatives for the discharge of advanced primary effluent during the interim period have been identified.  The IWTP could begin operation prior to completion of the ocean outfall with interim discharge to the emergency connection, Mexico, the Tijuana River, uplands, groundwater, the surf zone, or in combination.

The IWTP would be operated as an advanced primary plant with discharge through the ocean outfall once it is completed.  The discharge would continue until the activated sludge process or other processes to meet Ocean Plan standards or other agreed-to standards become operational.  This period is estimated at three to five years.

The potential effects of discharge of advanced primary effluent through the outfall through the year 2001 are also being evaluated to allow for further consideration of the design and construction of the secondary treatment facility.

Estimated Sewage Flows from Mexico

Interim Flow Agreement

An interim flow agreement has been negotiated with Mexico.  Mexico has agreed to continue to operate Pump Station One consistent with the capacities and conditions of its existing pumping, conveyance, and treatment systems and the increasing volumes of wastewaters.  Therefore, Mexico will continue to accept the current (1996) flows through its existing system until the ocean outfall is completed.  Prior to completion of the SBOO, the IWTP would only treat those flows in excess of Mexico's current flows that could not be accepted by the City of San Diego through the emergency connection.

Future Tijuana wastewater flow estimates were developed by USIBWC/EPA (Appendix A) based upon flow data collected by IBWC at the emergency connection and the main wastewater conveyance canal in Tijuanaduring February to December, 1995. Flows were reported every five minutes during the study period.  These flows include all wastewater generated in Tijuana except the uncollected flows that spill into the Tijuana River or north-draining canyons.  Approximately 1 mgd (43.8 lps) of sewage flow in the river is included in the estimates.

Total Tijuana flows were projected through the year 2001, as a worst-case scenario for completion of the SBOO and other facilities.  The estimates use mean 1995 flows as the base year and the projections are derived from an estimate by Mexico of a 4.8 percent annual increase in flows.  The flow projections were made in hourly increments with diurnal (time of day) and seasonal (wet weather) peaking factors.  It was found that Tijuana's average day diurnal variation was less than that of other U.S. cities.  Tijuana's collection system covers a broad area, which tends to equalize flows, and Pump Station One and the collection system provide potential storage estimated at 0.75 million gallons (2.9 m3).  The observed average day diurnal peaking factor was 1.3:1 (peak flow rates are 1.3 times higher than daily average flows) which is lower that the 1.8:1 identified in Minute No. 270 or estimated for the City of San Diego.  The forecast projections used a more conservative 1.5:1 average diurnal peak and 1.8:1 seasonal high diurnal peak.

These flow projections were used to estimate the potential for discharge of untreated sewage to the river and, given the existing treatment capacity at San Antonio de los Buenos, the assumed untreated discharges that could occur at the shoreline in Mexico.  The projections also assume continued use of the emergency connection to Point Loma.

EPA and IBWC estimate that eastern Tijuana currently generates an average of 37 mgd (1,620 lps) of sewage.  The forecasted average future flows are, for 1998, 40.8 mgd (1,787 lps) and, for 2001, 46.9 mgd (2,054 lps); wet-weather seasonal high flow days are forecasted to be higher: for 1996, 40.3 mgd (1,752 lps); for 1999, 44.2 mgd (1,936 lps); and for the horizon year 2001, 51 mgd (2,334 lps).

In assessing the likelihood of exceeding the pumping and conveyance system capacity, leading to discharges of untreated sewage to the U.S. or Mexican waters, the peaking factors must also be considered.  If it is assumed that the diurnal peak on high flow days is 1.8:1, the peak hourly flow rate experienced in 1996 would be the equivalent of 73.4 mgd (3,215 lps) and in 2001, 91.8 mgd (4,021 lps).  It is also important to note that the emergency connection, if available, reduces the flows in the Mexican system by up to 13 mgd.

The USIBWC/EPA estimates that Mexico's Pump Station One capacity would be exceeded by 1.1 mgd (48 lps) to 3.5 mgd (153 lps) by the end of 1996.  By the planning horizon year of 2001, the pump station and conveyance capacity would be exceeded by 5.6 mgd (245 lps) to 9.5 mgd (416 lps).  Unless action is taken, these untreated sewage flows would enter the U.S. and pollute the Tijuana River and nearshore coastal areas.  If a 17 mgd (569 lps) average flow capacity for the San Antonio de los Buenos treatment facility is assumed, untreated excess flows would be discharged to the shoreline in Mexico.  The volumes of untreated sewage are estimated at 19 mgd (832 lps) in 1996 and 22.9 mgd (1,003 lps) for 2001.  These flows, in excess of the Mexican pump station or treatment works design capacities, could be diverted for treatment to advanced primary levels at the IWTP.

Because of the limitations associated with the data available on past flow conditions and the uncertainties in growth rate for the Tijuana sewage, the USIBWC/EPA considers its flow projections to be rough estimates.  In the prior EIS, it was noted that flow projections for sewage in Tijuana provided by Mexico and U.S. agencies varied between 45 mgd (1,971 lps) and 100 mgd (4,380 lps) for the year 2010.  The USIBWC/EPA flow model appears to slightly overestimate the amount of raw sewage overflows into Stewart's Drain at Pump Station One, since overflows were projected for 1995 and 1996, but none have been observed. Overall, USIBWC/EPA tried to be conservative in its assumptions and interpretations of available data, but actual flows could be higher or lower than the projections, especially by 2001.  For purposes of evaluation of the proposed action and alternatives, the average daily flow is used, as it is considered more representative of year-round conditions.

Alternatives Considered

Alternative 1: No Action

In accordance with the May 1994 ROD, the IWTP would not be operated until the secondary treatment works are completed and the ocean outfall is operational.  Flows from Tijuana would continue to be conveyed from Pump Station One through Tijuana's existing system to its treatment works at San Antonio de los Buenos, with flows in excess of 17 mgd (745 lps) discharged untreated to nearshore ocean waters. Flows to Pump Station One would also be conveyed through the existing emergency connection to the City of San Diego's system. Peak flows of raw sewage in excess of the combined capacity of Pump Station One and the emergency connection would be discharged into the Tijuana River in the U.S. via Stewart's Drain.  These untreated flows are estimated to be between 1.1 mgd (48 lps) average daily flow and 3.5 mgd (153 lps) seasonal high daily flow in 1996 and between 5.6 mgd (245 lps) to 9.7 mgd (425 lps) in 2001.  Untreated flows discharged to nearshore ocean waters in Mexico would reach 22.9 mgd (1,003 lps).

Alternative 2: Operate IWTP

The IWTP would be operated to provide advanced primary treatment before completion of the ocean outfall.  The IWTP would treat up to 25 mgd (1,095 lps) average daily flow of untreated sewage from Mexico.  Mexico would continue to convey flows up to 38 mgd (1,664 lps) of untreated sewage from Pump Station One to San Antonio de los Buenos and excess flows up to 13 mgd (569 lps) (during peak flow periods of the day) to the emergency connection to Point Loma.  Treated flows would be returned from the IWTP to the emergency connection.

During periods of peak flows, effluent treated at the IWTP that cannot be discharged through the emergency connection would be discharged into the Tijuana River in the U.S.  These treated flows are estimated to be between 1.4 mgd (61 lps) average daily flow in 1999 and 4.7 mgd (206 lps) seasonal high flow. Year 2001 flows would range between 3.6 mgd (158 lps) and 7.5 mgd (329 lps). Alternative 3: Operate IWTP with Detention Basin

The IWTP would be operated as an advanced primary plant, as in Alternative 2.  A 5.5 million gallon (20,900 m3) earthen detention basin would be constructed at the IWTP site to provide flow equalization for diurnal and wet-weather peak flows.  The basin would be lined, with a depth of 10 to 15 feet (3.0 to 4.6 m) and covering an area of 1 to 2 acres (0.4-0.8 ha).  Treated flows would be stored within the detention basin to be released to the emergency connection during off-peak hours.  If the capacity of the Mexican system, emergency connection and detention basin would be exceeded, then the excess treated flows would be discharged to the Tijuana River in the U.S.

It is anticipated that no untreated or treated flows would be discharged to the Tijuana River prior to the scheduled completion of the ocean outfall in 1998.  If the SBOO were not available, there would be no flows to the Tijuana River during average day flows through the year 2001; however, during seasonal high flow days, there would need to be a discharge of 0.7 mgd (31 lps) in the year 2000 and 2.0 mgd (88 lps) in 2001.

Alternative 4: Operate IWTP with New Conveyance to Mexico

A new pumping and conveyance system would be constructed by Mexico as a parallel backup facility for the existing Mexican conveyance system, with a capacity of 50 mgd (2,150 lps), to convey flows from Pump Station One to the discharge point in Mexico.  These backup facilities would provide an additional pumping and conveyance system and would allow maintenance to be performed on the existing facilities.  During the interim period, the IWTP would treat flows up to 25 mgd (1,095 lps) from Tijuana.  Once treated, the effluent would be sent to Tijuana via the new pump station and conveyance pipeline for discharge in Mexico, near the San Antonio de los Buenos treatment plant.  The existing pumping and conveyance system to the treatment works in San Antonio de los Buenos would continue to operate.

No discharge of untreated or treated flows to the Tijuana River in the U.S. is anticipated.  No discharge of untreated sewage to the shoreline in Mexico would occur until 2000 with average flow conditions.

Alternative 5: Operate IWTP with Discharge to SBOO

The South Bay Ocean Outfall is currently under construction.  Once completed in 1998, 25 mgd (1,095 lps) of advanced primary effluent from the IWTP would be discharged to the ocean.  No discharge to the Tijuana River or through the emergency connection would be necessary.

Alternative 6: Phased Alternative

The previous alternatives are stand-alone alternatives to taking no action through the year 2001.  It is also reasonable to evaluate the use of the individual alternatives in a phased approach.

The phasing scheme would begin with Alternative 2, operate the IWTP to detain up to 2 million gallons (7,600 m3) of flow and treat additional flows from eastern Tijuana as needed with discharge to the emergency connection.  When it appears that the total average dry-weather flows from eastern Tijuana or higher seasonal high peak flows would result in discharge of treated effluent from the IWTP to the Tijuana River (expected by 1997 or 1998), then either Alternative 3 (Operate IWTP with Detention Basin) or Alternative 4 (Operate IWTP with New Conveyance to Mexico) could be implemented.  Either of these two alternatives would eliminate dry-weather flows of untreated sewage or treated effluent to the Tijuana River until the year 2000.

The 5.5 million gallon (20,900 m3) lined earthen detention basin for Alternative 3 could be constructed by September 1997, which is the earliest the seasonal high peak flows that would result in discharge to the Tijuana River are forecast to occur.  Alternative 4, the new Mexican pumping and conveyance system, is expected to take 15 months to complete once agreement with Mexico has been reached.  This alternative is not expected to be available for use until the spring of 1998.

Alternative 5, Operate IWTP with Discharge to SBOO, would supersede the need for the earthen basin at the IWTP or the new Mexican conveyance system for discharge of IWTP effluent.  The SBOO is scheduled to be completed in 1998.  If discharge of advanced primary treated effluent is permitted at that time, it would be used for IWTP discharge.  In that case the phasing of Alternatives 3 and 4 may not be required, depending on the occurrence of seasonal high peak flows.

Alternatives Considered But Rejected

The following interim discharge alternatives were considered by EPA and USIBWC but were considered infeasible for technical or other reasons.  Each alternative is briefly described and the reasons for its infeasibility are provided below.

Expansion of the Emergency Connection to City of San Diego South Metro Interceptor

The existing emergency interceptor can accept up to 13 mgd (569 lps) peak flows.  Expansion of the capacity of the emergency connection would allow additional flows from Mexico to be treated at the Point Loma treatment plant.  Expansion of the capacity of the emergency connector would include the construction of additional pipelines between the IWTP and the South Metro Interceptor.  The South Metro Interceptor system consists of a series of main sewers that comprise approximately 14.8 miles (23.8 km) and range in size from 42 to 108 inches (1.06 to 2.74 m). The capacity of the South Metro Interceptor is constrained downstream from the emergency connector and will be reduced due to anticipated growth in the service area.  Significant portions of this system would require expansion to accommodate additional flows from the expansion of the emergency connection.

Construction of pipelines would be required through both sensitive habitats and highly urbanized areas.  Impacts to biological resources, including riparian habitat, wetlands, and listed species (e.g., Pacific pocket mouse, least Bell's vireo, clapper rail), may result.  Open trench construction through an urban setting has the potential to disrupt existing utilities, disrupt traffic circulation, and expose receptors at schools and residences to noise and vibration from construction equipment and public health and safety impacts due to the increase in construction vehicles and equipment.  Costs associated with expansion would be considerable, especially as an interim measure. As the expansion would be a temporary measure that would impact natural and biological resources and may not provide additional capacity due to other constraints, this option is considered infeasible.

Discharge to Groundwater

Effluent could be conveyed from the IWTP to wells to be injected into the groundwater basin.  The wells could be sited near the plant or effluent could be conveyed through the SBLO and then diverted for discharge in the western end of the valley.  The Basin Plan establishes beneficial uses for the groundwater basin east of Hollister Street (Municipal, Agricultural, Industrial); these limitations do not apply west of Hollister Street.  Hydrogeological factors affect rate of injection and mixing in the aquifer.  The Tia Juana Valley County Water District has prepared a groundwater management plan for the aquifer (Dudek 1994a, 1994b, 1995; West 1994).

Solids in the treated effluent place severe constraints on well injection rates and volume.  Any reductions in water quality to sensitive habitats or for use as irrigation waters would be adverse effects.  This alternative is not considered feasible.

Discharge to Percolation Ponds

This alternative would utilize discharge to land surfaces for percolation into the groundwater aquifer.  The Tia Juana Valley County Water District Phase III Groundwater Management Plan for the Tijuana River Valley conducted limited infiltration tests in the eastern portion of the valley near the IWTP site. The tests were conducted in July, 1994, and utilized river water.  The tests resulted in estimated infiltration rates of 0.011 foot/hour (30 mm/hr) for upland soils and 0.133 foot/hour (4 cm/hr) for river alluvium.  The rates would indicate a need for 12 acres (4.9 ha) per mgd for upland areas and 1 acre per mgd for the river channel. This method of discharge would be more acceptable in areas west of Hollister Street and with secondary treated effluent from a water quality standpoint.  However, the infiltration rates may be much lower in these areas, requiring additional land area.  Basin Plan water quality objectives and standards for discharge would need to be met.

This alternative would be land intensive and raise concerns for groundwater quality impacts in the eastern portion of the basin.  It does not appear feasible to dispose of more than a few mgd of effluent given the land area that would be available.  This method of disposal would probably not be practicable during the wet-weather season, a significant limitation.  It is not considered feasible, therefore.

Discharge through SBLO to Surf Zone

Advanced primary effluent would be conveyed through the SBLO to a new temporary 36- to 42-inch-diameter (0.9-1.1 m) pipeline aligned down Old Monument Road to the shoreline for discharge, either at the beach or about 1,000 feet (307 m) offshore.  Effluent would receive an initial dilution of 10:1 at the surf zone or approximately 30:1 with a nearshore diffuser.  Storm/surge protection would be needed for the discharge diffuser.

A National Pollutant Discharge Elimination System (NPDES) permit would be required. The permit would contain effluent limitations based on Ocean Plan standards for receiving waters, including concerns for coastal recreation for body contact and fishing, effects to marine biota and benthos, and discharge conditions to avoid effects to foraging of least tern, snowy plover, and brown pelican.  Construction would require seasonal restrictions to avoid impacts to sensitive species, such as California least tern, snowy plover, California brown pelican, Belding's savannah sparrow, and light-footed clapper rail.

Due to the time needed to design the discharge facilities and seasonal restrictions on construction and time to collect baseline data on water quality, benthos, and fish, it is not likely that this alternative would be operational in time for interim discharge.  Due to the potential impacts on sensitive species and the timing involved in construction, this alternative is considered infeasible. Rio El Alamar

Another alternative is the construction of a 25 mgd (1,095 lps) pipeline from the IWTP to a new secondary or tertiary treatment works at a site in the Rio El Alamar area.  Mexico had previously proposed a treatment works in this general location.  As was discussed in the prior EIS, this concept was based upon potential reuse of the wastewater for irrigation.  The USIBWC, EPA, and other state and local agencies opposed this action by Mexico due to concerns that the discharge of wastewater within the watershed would result in flows to the Tijuana River valley and estuary in the United States and cause adverse impacts to the estuary.

This current alternative was suggested by a private development company and included the construction of a low-head pump station and 6.8-mile (21.8 km) effluent conveyance main as well as a treatment works at Rio El Alamar.  Once treated at Rio El Alamar, the effluent would be reused for agricultural purposes.  Water quality levels would be determined on the basis of needs identified by the reuse market.  If adequate markets are not identified, a discharge of secondary or tertiary effluent could occur to the Alatamar or Tijuana rivers.

This alternative was eliminated from further consideration for several reasons.  First, USIBWC/EPA rejected this alternative from a detailed evaluation since this proposal is not currently endorsed by the Mexican government.  Mexico has not made any indication to the United States that Mexico supports this proposal.  In addition, the construction of the conveyance and reclamation facility by a Mexican entity in Mexico is not subject to U.S. federal environmental regulations.  Finally, the legislation (Section 510 of the 1987 Water Quality Act) that provides funds for the IWTP does not provide funds for construction of a reclamation/wastewater facility in Mexico.

Decisions Needed to Implement the Proposed Action

The 1994 Record of Decision for the IWTP and SBOO includes a commitment to prepare a supplemental environmental evaluation if any effluent treated to less than Clean Water Act secondary treatment standards would be discharged from the IWTP or ocean outfall.  This Supplemental EIS for interim operation addresses the effects of operating the IWTP as a less-than-secondary treatment plant, with interim discharge options prior to completion of the SBOO.  In addition, short-term (three- to five-year) discharge of less-than-secondary effluent through the ocean outfall is addressed.

The EPA and USIBWC will prepare an additional Supplemental EIS for (alternatives to activated sludge-long-term operation) addressing the options for providing enhanced wastewater treatment at the IWTP, such as advanced integrated ponds, activated sludge, or other means.  If activated sludge or another process selected to provide enhanced treatment of the wastewater would not provide secondary equivalent treatment of all flows discharged through the outfall, the potential effects of long-term discharge of less-than-secondary treated effluent through the ocean outfall will be considered.

Operation of the IWTP as an advanced primary plant and interim effluent discharge will require coordination with or approvals from other federal and state agencies.  These agencies will rely upon the information provided in the SEIS in considering the proposed action.  These agencies include, among others, the U.S. Fish and Wildlife Service (endangered species consultation), California Coastal Commission (Coastal Zone Management Act consistency), and Regional Water Quality Control Board (NPDES permit, waste discharge requirements).

Related Environmental Documents

This SEIS supplements the 1994 FEIS for the International Boundary and Water Commission International Wastewater Treatment Plant and South Bay Ocean Outfall prepared for EPA and IBWC by RECON (1994).

The original EIS has been supplemented by the following:

Supplemental Environmental Assessment and Finding of No Significant Impact, International Boundary and Water Commission and Environmental Protection Agency South Bay Ocean Outfall Modifications prepared for the EPA and IBWC by USACE, August 1995

South Bay Ocean Outfall Draft Environmental Impact Report

prepared by the City of San Diego, March 1995

The following documents address environmental issues and impacts for projects in the vicinity of the proposed action:

Environmental Assessment and Finding of No Significant Impact: South Bay Land Outfall Phase I (Big Pipe), EPA, August 1988 Final Environmental Impact Report/Environmental Impact Document for South Bay Land Outfall Phase I, City of San Diego, February 1988

Final Environmental Assessment and Finding of No Significant Impact: International Agreement for an International Solution to the Border Sanitation Problem at Tijuana, Baja California, and San Diego, California, USIBWC, January 1990

City of San Diego's and EPA's Joint Secondary Treatment and Associated Sludge Management Facilities Final EIR/EIS for the Clean Water Program, March 1991

Marine Environmental Impacts of the Proposed Secondary Treatment System, Technical Appendix M to City of San Diego's and EPA's Joint Secondary Treatment Facilities Final EIR/EIS for the Clean Water Program (Kinnetic 1991)

Biological Assessment for Secondary Treatment Facilities,

Technical Appendix B to City of San Diego's and EPA's Joint Secondary Treatment Facilities Final EIR/EIS for the Clean Water Program Biological Assessment for the International Boundary and Water Commission International Wastewater Treatment Plant, RECON, December 1993

List of Incomplete or Unavailable Information

The SEIS has been prepared with the best information available at the time of its preparation.  However, the analysis of impacts is based upon estimates of a number of key factors and the analysis includes modeling procedures.  Pursuant to Section 1502.22 of the Council on Environmental Quality Guidelines, gaps in relevant information or areas where there may be scientific uncertainty are identified below.

Future Tijuana Sewage Flows: EPA/USIBWC have developed

new estimates of future flows based upon the best available information at the time of preparation of the SEIS.  A number of previous estimates have been made, based upon population increase, potable water consumption and other factors.  These estimates vary considerably.  That Tijuana is not fully sewered adds additional uncertainty in making estimates, in that large changes in sewage flows could result from improvements to the collection system, in addition to growth in the population or other factors.

Tijuana Sewage Characteristics: As indicated in the

text, samples have been taken by the City of San Diego, Boyle Engineering, and Malcolm Pirnie Inc. between 1989 and 1993 toassess the characteristics of Tijuana's sewage.  Additional sampling was initiated in 1995 and is ongoing.  The sampling to date has not provided values for all of the criteria pollutants in the Ocean Plan, however.

IWTP Effluent Quality: The sewage samples were used

to estimate the probable characteristics of IWTP effluent using assumed removal efficiencies for typical advanced primary treatment processes.  Once construction of the plant is completed, operations testing will be conducted, at which time the removal efficiencies will be able to be measured relative to actual sewage characteristics and pollutant loads.

San Antonio de los Buenos Effluent: Detailed information

as to the characteristics of the effluent from San Antonio de los Buenos and the reduction in coliforms from chlorination of the effluent are not available.  The shoreline discharge modeling used conservative worst-case assumptions in modeling effluent discharge impacts.

Chapter Two

Consideration of Alternatives

Basis for the Alternatives

The purpose of the overall IBWC project is to treat and dispose of 25 mgd (1,095 lps) flows of sewage from Mexico that may otherwise enter the U.S. untreated and to safeguard the public health, environment, public recreation, water quality and economy of San Diego, and nearshore coastal waters.  Sewage contamination affecting the Tijuana River and nearshore coastal waters in the U.S. results from flows into the Tijuana River from Mexico or from north-draining canyons such as Goat Canyon, Smuggler Gulch, or Stewart's Drain.  Untreated sewage discharged to the shoreline in Mexico may also cause contamination of nearshore water in the U.S.

Excess flows of sewage during wet or dry weather conditions or interruption of operations at Mexico's Pump Station One, Matadero or Laureles pump stations, force mains, or conveyance system in Tijuana could result in sewage contamination to the U.S. In addition, any flows in excess of the capacity of the treatment works at San Antonio de los Buenos are diverted and discharged, without treatment, to the shoreline 5.6 miles (9 km) south of the international boundary.

The alternatives being considered by EPA and USIBWC are related to the proposed operation of the IWTP as an advanced primary treatment works for a limited period of time. Environmental effects from the construction and operation of the IWTP as a secondary treatment works and land and ocean outfall were considered in the 1994 FEIS.  For interim operation, no major additional facilities in the U.S. would be required, although Mexico may construct additional pumping and conveyance facilities in Mexico.

The goal of the action is to avoid discharge of untreated sewage and minimize the effects of the discharge of effluent to sensitive areas such as the Tijuana River and estuary, offshore kelp beds, and active recreation or commercial use areas. However, attainment of this goal is constrained by the availability of resources. Assumptions Made in Evaluating the Interim Discharge Alternatives

System Capacities

Generation of sewage varies during the course of a day; this variation is referred to as the diurnal variation of flows.  Peak flows are the highest flow rate occurring during a daily cycle and are expressed as a ratio to the overall average daily flow. Flows also vary seasonally, as wet weather can result in infiltration of water into the sewers. By convention, the hourly diurnal flow rates are expressed as an equivalent in million gallons per day (i.e., the total daily flow volume that would result if a particular hourly flow rate continued for 24 hours). The expected peak flows from Mexico on average flow days during the dry-weather season are 1.5:1; seasonal high flow days have been estimated at 1.8:1. Hydraulic capacities are set by these peak diurnal flow rates, although they are typically described by average flow volumes.  If hourly peak flows exceed component hydraulic capacities within the system, failures can occur even if the average daily flow volumes are within described limits.

Mexico's facilities to convey wastewater have the following flow capacities:

Pump Station One:  Pump station one is a hydraulic

low point for eastern Tijuana; sewage is collected and conveyed to this point.  The pump station has to provide hydraulic head of 450 feet (92 meters) to reach the gravity-fed conveyance canal on the mesa to the west, to which it is connected by a 42-inch (1.1 m) force main.  The pump station has an average flow capacity of 36.6 mgd (1,603 lps).  Although its peak capacity is rated at 50 mgd (2,190 lps), this capacity is not available, as it would require the operation of a fourth pump which is only used as an emergency backup.  In evaluating future flows, it is assumed that the flow capacity of Pump Station One is 36.6 mgd (1,603 lps).  Pump Station One also has a 500,000-gallon wet well that can provide limited storage for flow equalization.

Conveyance Canal: The conveyance canal has a peak capacity of 62 mgd (2,716 lps).  The conveyance canal receives flows from other smaller pump stations in eastern Tijuana and from a pump station in western Playas de Tijuana in addition to flows from Pump Station One.  The conveyance canal's capacity is reduced by accumulations of debris in the canal and siphons, due to the lack of opportunities to perform regular maintenance (use of the canal can only be halted for very brief periods). The usable capacity is estimated at 48 mgd (2,102 lps).

San Antonio de los Buenos: The treatment works pump

station, detention basin, and three treatment lagoons have a 17 mgd (745 lps) average flow capacity.  The sewage is treated with five days' detention, forced aeration, chlorinated, and discharged to the shoreline south of the plant.  Additional flows greater than 17 mgd (745 lps) in the conveyance canal are bypassed, not treated, chlorinated, and mixed with treated effluent at the shoreline for discharge.

Emergency Connection:  The 30-inch (0.76 m) emergency

connection from Pump Station One has a 13 mgd (569 lps) peak flow capacity to divert flows to Point Loma for advanced primary treatment and offshore discharge to deep ocean water.  The emergency connection was established in the 1960s as a means of avoiding flows of untreated sewage in the Tijuana River due to either excess flows or upsets to the system in Mexico.  The emergency connection has been washed out by flood flows several times in the past and is vulnerable to upset from future flood flows.

As the emergency connection is only used on an as-needed basis, to prevent flows of sewage to the river during peak flow hours, a range of average daily use of approximately 5 to 8 mgd (219 to 350 lps) is assumed.  The capacity of the emergency connection is limited by the capacity of sewers downstream of the connection; 13 mgd (569 lps) may not be available during peak wet-weather conditions and likely will not be available beyond the year 2001, due to growth in the service area.

The continued use of the emergency connection is assumed in the flow analysis of the various alternatives below.  If the emergency connection were not available during peak flow periods, the flows through the emergency connection would be added to the amount of untreated sewage or treated effluent discharged to the Tijuana River.

Future Flow Estimates

Future Tijuana wastewater flow estimates were developed by USIBWC/EPA (see Appendix A) based upon data collected by IBWC at the emergency connection and the main wastewater conveyance canal in Tijuana during February to December, 1995. Total Tijuana flows were projected for the year 1996 through the year 2001, as a worst-case scenario. The estimates use mean 1995 flows as the base year and the projections are derived from a 4.8 percent annual increase in flows.  The flow projections were made in hourly increments with diurnal (time of day) and seasonally (wet weather) variable peaking factors.

The observed peaking factor in Tijuana during 1995 was 1.3:1.  The USIBWC/EPA forecast projections used a more conservative 1.5:1 average diurnal peak for dry-weather flows and 1.8:1 seasonal high diurnal peak for worst-case, wet-weather flows.

Peaking factors are important considerations in evaluating future flows and the ability of the sewer system to manage flows.  For 40 mgd (1,752 lps) average daily flow, the peaking factors would be 52 mgd (2,278 lps) highest hourly equivalent flow rate at 1.3:1; 60 mgd (2,628 lps) at 1.5:1, and 72 mgd (3,154 lps) at 1.8:1.  The capacity of Pump Station One in Mexico is 36.6 mgd (1,603 lps) and of the emergency connection, 13 mgd (569 lps), for a combined capacity of 49.6 mgd (2,172 lps).  Thus, even if the average daily flows appear to be within the system's capacity, peak hour flow rates will lead to exceedances which may result in flows of untreated sewage to the U.S.

The 1.5:1 peaking factor is assumed to be the more representative of dry-weather conditions most of the year; the 1.8:1 peaking factor is a worst-case wet-weather condition for Tijuana.  It should be noted that 1.8:1 is more typical for major urbanized areas in the U.S., including San Diego.  The USIBWC/EPA flow memo includes an hourly analysis of flows using both the 1.5:1 and 1.8:1 peaking factors for the years 1996-2001 for each alternative; but for simplicity, peak hour flows are presented for dry-weather average daily flows in the comparison of alternatives.

These flow projections were used to estimate the potential for discharge of untreated sewage to the river and, given the existing treatment capacity at San Antonio de los Buenos, the assumed untreated discharges that could occur at the shoreline.

In order for the flow projections to reflect anticipated conditions, USIBWC/EPA assumed that the river diversion will only be used to divert raw sewage.  Since 1994, dry-weather river flows have typically been a blend of natural flow and a small amount of Tijuana sewage.  Indiscriminate use of the river diversion under similar conditions in the future could displace conveyance treatment and disposal capacity which would otherwise be used for raw sewage.

Because of the limitations associated with the data available on past flow conditions and the uncertainties in growth rate for the Tijuana sewage, the USIBWC/EPA considers its flow projections to be rough estimates.  As discussed in the prior EIS, estimates of future sewage generation in Tijuana vary considerably.  Prior estimates by Mexico and U.S. agencies range from 75 mgd (3,285 lps) to 100 mgd (4,380 lps) by the year 2010.  The USIBWC/EPA flow model appears to slightly overestimate the amount of raw sewage overflows into Stewart's Drain at Pump Station One, since overflows were projected for 1995 and 1996, but none have been observed.  Overall, USIBWC/EPA tried to be somewhat conservative in its assumptions and interpretations of available data, but actual flows could be significantly different from the projections, especially by 2001.

It should be understood that the USIBWC/EPA flow projections used in the comparison of alternatives assume a nominal 1 mgd (44 lps) of sewage-contaminated flows in the Tijuana River in Mexico.  During dry weather, these flows would be collected at the river collector and conveyed to Pump Station One.  However, there is the potential for other sewage flows to occur that would enter the U.S. and that are not accounted for in the model.

During the wet-weather season (November through March), runoff in the Tijuana River in Mexico and in major north-draining canyons to the U.S. will not be intercepted to maintain the hydraulic regime of the river.  In years of high rainfall, these flows may continue late into the year or year-round, as was the case after the 1993 rains.  Sewage in these wet-weather runoff flows would not be intercepted by the canyon collectors or the diversion structure in the Tijuana River and would pollute the river, estuary, and nearshore ocean waters of the U.S., even with operation of the IWTP.

Other sources of sewage include upset of the existing systems in Mexico or the U.S.  These other sources of sewage pollution are common to the alternatives considered and could occur no matter which alternative is selected.  If an alternative is able to otherwise reduce or eliminate nominal USIBWC/EPA forecast sewage flows in the Tijuana River, it does not mean that potential sewage pollution in the river or estuary will be eliminated.

Sewage Characteristics

Tijuana wastewater has been sampled over a period of years by the City of San Diego and Boyle Engineering from their emergency connection pipeline and by Malcolm Pirnie Inc., consulting engineers for the USIBWC at Pump Station One.  More recent data (June 1995) has been collected for flows from Colonia 20 de Noviembre (upstream of Pump Station One), Pump Station One, and the emergency connection.  The sewage is generally characterized as higher in biological oxygen demand (BOD) and suspended solids than City of San Diego sewage (see Hydrology, Section 3.1).

IWTP Advanced Primary Effluent Quality

Anticipated effluent quality was developed by the design engineer for the IWTP, Malcolm Pirnie.  Based upon the influent samples and assumed removal efficiencies for various constituents, they have produced a characterization of advanced primary effluent parameters.  The constituents analyzed were based upon the Ocean Plan, Tables A and B. If effluent were discharged to the Tijuana River, the Regional Water Quality Control Board (RWQCB) would set waste discharge requirements (see Hydrology, Section 4.1). Modeling of Effluent Discharge Effects

To assess the impacts to ocean water quality, marine biota and public health from discharge of treated and untreated effluent to the shoreline in Mexico and of advanced primary effluent through the ocean outfall, Parsons Engineering Science has modeled the effects of the discharges including coliform concentrations, dissolved oxygen, and transport (dilution) of organic and inorganic constituents.

The modeling was based upon current data collected during the Tijuana Oceanographic Engineering Study (TOES), which covered both Mexican and U.S. waters surrounding the SBOO.

The TOES was conducted in four phases from 1986 to 1988 (Engineering Science 1988).  Sixteen months of data were collected in U.S. and Mexican waters for water quality, nearshore ocean current data, benthic infauna, and sediment chemistry.  Based on the use of current meters, drogues, satellite images, and wind and wave data, a flow field model was produced to simulate yearly ocean patterns.

The USIBWC/EPA flow estimates for Tijuana sewage generation were used and applied to the alternatives under consideration for the years 1996 and 2001.  To provide a conservative analysis, the seasonal high flow rates were used, which provide a worst-case analysis.

The models simulated hourly concentrations over a one-year period along the shoreline from Mexico to Coronado and in the area offshore surrounding the SBOO discharge.  The model estimates concentrations at locations and different water depths (&quot;cells&quot;) over the area that may be affected.  For bacterial contamination, cells were selected at 23 locations along the shoreline from south of the discharge point in Mexico to Coronado in the U.S.  For other constituents, concentrations were estimated based upon predicted dilution away from the zone of initial dilution at the point of discharge.

The models provide a screening level analysis for water quality effects for the shoreline and outfall discharges. The assumptions used for current conditions, effluent quality, and flow rates are all conservative estimates. As such, the model results are not definitive predictions of the actual concentrations that would result from the discharges once the IWTP or outfall is operational.

If the model results predict chronic exceedances or exceedances for a number of constituents, then there is less likelihood that the standards could be complied with once the facilities are operated.  However, if the model results only show sporadic exceedances or for a few constituents, then it may be possible that under actual conditions the discharge could meet the standards or could do so with additional modifications.

For purposes of the EIS, the model results are compared to the State Ocean Plan as a threshold of significance.  This should be understood as a tool in evaluating alternatives and not as a determination of compliance or noncompliance with standards during operations.

Ocean Currents

Shoreline discharges in Mexico occur 5.6 miles (9 km) south of the international border.  As the effluent is less saline than seawater, it is lower in density and, along with shoreward wave action, tends to be carried along the surface waters near the coastline.  During the winter, currents trend north to south and are affected by turbulence from storms, which increases mixing and dispersion.  During the summer, currents trend south to north and carry the effluent on the surface near the shoreline with less mixing.

Seawater is denser at deeper levels.  Discharges from the SBOO will occur at a depth of 93 feet (28.5 m) 3.5 miles (5.7 km) offshore. At this depth, mixing of the lighter effluent with the heavier seawater at a minimum ratio of 100:1 within the zone of initial dilution produces a discharge that is close to the density of the receiving waters.  This tends to trap the discharge in deeper, denser waters.  The effluent discharge remains trapped below the surface at depth unless seasonally induced turbulence mixes the water column sufficiently to eliminate the trapping effect.

Ocean currents in the area of the SBOO tend to be longshore; that is, north to south or south to north.  These currents reverse direction throughout the year.  There is an additional circulation pattern that is an eddy; however, this circulation is a transitory phenomenon.  It does not result in a closed, nonmixing water column.

Bacterial Contamination

Bacterial persistence was modeled by Parsons Engineering Science using a die-off factor known as T90.  T90 refers to the time required for a 90 percent reduction in coliform bacteria.  This factor varies according to sunlight, temperature of the water, and salinity.  The model applied T90 rates (four-hour average) to the coliforms in the initial discharge according to concentration, time of day, and depth of discharge.  The resulting concentrations (persistence) could then be estimated at select locations at given hours of the day and season.

Both the Mexican shoreline discharge and SBOO discharge were modeled.  Simulations were run for each hour of the year and the resulting bacterial concentrations were calculated at 18 selected shoreline stations from San Antonio del Mar south of the discharge point to Coronado in the U.S.

Primary treatment does not result in major reductions in coliform concentration.  For the IWTP, the reduction in concentrations was estimated to be about 20 percent, resulting in an assumed concentration of 1.6 &#215; 108 total coliforms.  Bacterial concentrations from treated effluent at the San Antonio de los Buenos treatment works that were modeled also were not assumed to have significant reductions in bacterial levels from treatment. This analysis is conservative, as Mexico recently began to chlorinate its effluent from San Antonio de los Buenos prior to discharge.

The estimated concentrations were compared to the state health standards-no more than 20 tests at a location in one month with concentrations exceeding 1000 coliforms milliliters per liter (ml/L) or no more than two tests in a location within 24 hours with a value of 10,000 coliforms ml/L in a sample-to determine whether the location would be in compliance with the standards.

Constituent Dilutions

The dilution of organic and inorganic constituents in wastewater was also modeled for the SBOO by Parsons Engineering Science.  The outfall has been designed so that the zone of initial dilution at the outfall discharge would receive a minimum 100:1 dilution.  As the effluent is dispersed through the receiving waters, concentrations are further reduced by dilution.  This dispersion is subject to trapping, so four model simulations at approximately 16-foot (5 m) interval water depths were run.  The area within a given dilution value was mapped for the four water depth intervals by months of the year.

Comparison of the Alternatives

The alternatives under consideration are evaluated below.  For each alternative, the flow hierarchy is described and portrayed graphically in a schematic of the system.  The resulting maximum flows and diurnal variations are presented.  The diurnal flows are evaluated for average dry-weather flow days; however, seasonal peak high flows are also noted.  The period under consideration is from 1996 to the year 2001.

The direct and indirect environmental consequences of each alternative are evaluated.  The alternatives considered relate primarily to operation of the IWTP as an advanced primary treatment works, rather than its construction. The operation of the IWTP as a 25 mgd (1,095 lps) secondary treatment works with discharge through the SBOO was considered in the 1994 EIS for the project.  Operational differences are largely indirect, as they relate to the difference in discharge of primary effluent rather than secondary effluent. Even though new discharge options are considered, most of the consequences are indirect.  Where minor new facilities are required in the U.S. or Mexico, the direct impacts are considered.

New pumping and conveyance would be constructed and operated in Mexico under Alternative 4.  Mexico has its own environmental impact assessment requirements and protocols which would need to be completed by Mexico prior to construction.  The SEIS impact assessment identifies issues or resources of binational concern. Alternative 1: No Action

This alternative assumes the conditions specified in the 1994 ROD: no operation of the IWTP until a secondary treatment process has been constructed and discharge of secondary treated effluent through the SBOO. As these conditions will not be met during the interim period considered in the SEIS, the No Action alternative evaluates the consequences from the EPA forecast of increases in sewage flows from Mexico with the existing Mexican facilities and continued use of the emergency connection.

Given current facilities in Mexico and use of the emergency connection, at a 1.3:1 diurnal peaking factor, 38 mgd (1,664 lps) average flow, with up to 50 mgd (2,190 lps) peak hour flows, can be conveyed and discharged.  Current (1995) flows received at the San Antonio de los Buenos treatment works average 35 mgd (1,533 lps) and are expected to average 39.9 mgd (1,748 lps) in 2001.

Flows from eastern Tijuana are of primary concern, because if the capacity of the Mexican facilities are exceeded, sewage can enter the U.S.  Flows from eastern Tijuana up to 36.6 mgd (1,603 lps) can be handled by Pump Station One.  Excess flows would enter the U.S. Also, with planned improvements to the collection and conveyance system in Mexico, the diurnal peaking factor is expected to increase, as the current system tends to restrict flows.  The average day peaking factor is expected to increase from 1.3:1 to 1.5:1 on average days and up to 1.8:1 on seasonal high flow days.

The anticipated diurnal flows for the No Action alternative for the year 2001 are given in Table 2-1.  The distribution of the flows within the system is presented in Figures 2-1 and 2-2 and the diurnal variation and excess flows in Figure 2-3 and Table 2-2.

Untreated Flows to the River

Discharge of untreated sewage to the Tijuana River would increase from 1.1 mgd (48 lps) in 1996 to 2.6 mgd (114 lps) in 1998 and 5.6 mgd (245 lps) in 2001.  During seasonal high peak flow days, 3.5 mgd (153 lps) could be discharged in 1996, 5.6 mgd (245 lps) in 1998, and 9.5 mgd (416 lps) in 2001.  These discharges would  occur  during  the  hours  between

TABLE 2-1

NO ACTION ALTERNATIVE PROJECTED FLOWS

(average day flow in mgd)

Year 1996  1997   1998  1999   2000  2001

Eastern Tijuana sewage flows (average     37.1  38.9   40.8  42.7   44.8  46.9   flow day)

Flows to the emergency connection         3.9   4.4    4.7   5.2    5.7   6.1

Flows to Pump Station One                 32.3  32.8   33.5  34.1   34.6  35.2

Untreated flows discharged to the         1.1   1.7    2.6   3.4    4.5   5.6    Tijuana River

Flows from western Tijuana                3.7   3.9    4.1   4.3    4.5   4.7

Flows to San Antonio de los Buenos        35.9  36.7   37.6  38.4   39.1  39.9

Flows treated at San Antonio de los       17.0  17.0   17.0  17.0   17.0  17.0   Buenos

Untreated flows discharged to the         18.9  19.7   20.6  21.4   22.1  22.9   shoreline in Mexico

1 P.M. and 9 P.M., when sewage flows from eastern Tijuana exceed the capacity of Pump Station One. Points of entry into the U.S. would be at Stewart's Drain, Canyon del Sol, and Silva Drain near the IWTP; flows could also enter the U.S. at Smuggler Gulch and Goat Canyon.  While the emergency connection is used, it is insufficient to prevent sewage flows in the river during peak hours.  If the emergency connection was not used, an additional 3.9 to 6.1 mgd (175 to 263 lps) of flows would also enter the river.

Untreated Flows Discharged in Mexico

Untreated flows would continue to be discharged to the shoreline in Mexico south of the San Antonio de los Buenos treatment works.  The flows would increase from 18.9 mgd (828 lps) in 1996 to 22.9 mgd (1,003 lps) in the year 2001.

Hydrology and Water Quality Effects

Discharges of untreated sewage would remain in the low-flow channel of the river and would not result in flooding or alteration of the stream course.  The sewage flows may result in dry-weather ponding, however.

The sewage-contaminated flows would represent a substantial health risk, cause objectionable odors, contaminate groundwater, and adversely impact riparian and estuarine habitat due to elevated levels of BOD, nutrients, toxic constituents, and metals in the sewage.

This pollution of the river and estuary has historically had substantial adverse consequences to the quality of ground and surface waters.  These adverse consequences would continue if no action is taken.

The Tijuana estuary has a relatively small tidal prism (defined as the volume of water in the estuary between mean higher high water and mean lower low water) estimated at 290 acre-feet or 97 mg (0.36 Mm3 ).  Because the tidal prism of the estuary is small, dry-weather sewage flows conveyed by the Tijuana River can have far-reaching effects on the ecosystem.  It has been estimated that at 10 mgd (438 lps) flows, salinity levels would decrease sufficiently to change the species composition and abundance in the estuary.

Biological Impacts

Dry-weather flows of sewage have occurred since the 1930s and, more recently, have been ongoing from 1980 to 1993.  These flows have adversely impacted estuarine and coastal habitats and sensitive wildlife.

Riparian

The future dry-weather flows would be confined to the low-flow channel of river.  The perennial flows in the river can result in additional recruitment of understory vegetation in the river channel.  This additional plant growth is periodically scoured during flood events, however.

In the short term, the loading of nitrogen, phosphorus, and potassium in sewage flows may stimulate production or growth in plants.  If excessive loading occurs, however, it may cause deleterious effects on riparian plants.  The nutrients cause rapid and excessive growth which can result in shock and die-back of riparian trees and shrubs.  An increase in understory vegetation may increase the number of insects which sensitive species such as least Bell's vireo feed on.

Impacts to the riparian habitat are not considered to be significantly adverse.

Figure 2-1

Figure 2-2

Figure 2-3

TABLE 2-2

YEAR 2001 DIURNAL FLOWS FOR THE NO ACTION ALTERNATIVE

Flows from    Flows to    Total Flows   Excess Flows  Flows from                Flows Treated  Untreated                 Eastern    Emergency   Out from Pump   to Tijuana     Western   Total Flows  at San Antonio   Flows to      Time      Tijuana*    Connection   Station One&#134;      River       Tijuana     in Canal    de los Buenos  Shoreline

6:00 a.m. 27.29       0.00         27.29          0.00          2.73        30.02        17.00           13.02

7:00 a.m. 29.06       0.00         29.06          0.00          2.91        31.97        17.00           14.97

8:00 a.m. 31.40       0.00         31.40          0.00          3.14        34.54        17.00           17.54

9:00 a.m. 35.15       0.00         35.15          0.00          3.52        38.67        17.00           21.67

10:00 a.m. 40.78       0.00         36.60          0.00          4.08        40.68        17.00           23.68

11:00 a.m. 44.52       0.00         36.60          0.00          4.45        41.05        17.00           24.05

12:00 m.   49.21       6.72         36.60          0.00          4.92        41.52        17.00           24.52

1:00 p.m. 55.30       13.00        36.60          5.76          5.53        42.13        17.00           25.13

2:00 p.m. 62.33       13.00        36.60          12.73         6.23        42.83        17.00           25.83

3:00 p.m. 66.55       13.00        36.60          16.95         6.66        43.26        17.00           26.26

4:00 p.m. 67.96       13.00        36.60          18.36         6.80        43.40        17.00           26.40

5:00 p.m. 69.36       13.00        36.60          19.76         6.94        43.54        17.00           26.54

6:00 p.m. 70.30       13.00        36.60          20.70         7.03        43.63        17.00           26.63

7:00 p.m. 69.36       13.00        36.60          19.76         6.94        43.54        17.00           26.54

TABLE 2-2

YEAR 2001 DIURNAL FLOWS FOR THE NO ACTION ALTERNATIVE

(continued)

Flows from    Flows to    Total Flows   Excess Flows  Flows from                Flows Treated  Untreated                 Eastern    Emergency   Out from Pump   to Tijuana     Western   Total Flows  at San Antonio   Flows to      Time      Tijuana*    Connection   Station One&#134;      River       Tijuana     in Canal    de los Buenos  Shoreline

8:00 p.m. 64.68       13.00        36.60          15.08         6.47        43.07        17.00           26.07

9:00 p.m. 55.77       13.00        36.60          6.17          5.58        42.18        17.00           25.18

10:00 p.m. 46.87       10.32        36.60          0.00          4.69        41.29        17.00           24.29

11:00 p.m. 42.18       5.52         36.60          0.00          4.22        40.82        17.00           23.82

12:00 p.m. 39.84       3.36         36.60          0.00          3.98        40.58        17.00           23.58

1:00 a.m. 37.03       3.36         36.60          0.00          3.70        40.30        17.00           23.30

2:00 a.m. 33.74       0.00         36.60          0.00          3.37        39.97        17.00           22.97

3:00 a.m. 30.46       0.00         36.60          0.00          3.05        39.65        17.00           22.65

4:00 a.m. 28.59       0.00         34.56          0.00          2.86        37.42        17.00           20.42

5:00 a.m. 27.65       0.00         27.65          0.00          2.77        30.42        17.00           13.42

TOTAL       46.89       6.10         35.16          5.63          4.69        39.85        17.00           22.85       Daily Flow

*Flows are in equivalent million gallons per day (for actual flow rate in gallons, divide by 24).

&#134;Includes 0.75 million gallons of storage in Tijuana Pump Station One wet well and conveyance Table 2-2

Tijuana Estuary

There is a considerable body of evidence that suggests that sewage flows in the Tijuana River have impacted the estuarine flora, fauna, and sediments of the Tijuana estuary. Numerous studies have shown that increased &quot;freshwater&quot; inflows can produce shifts in the structure of plant and animal communities of coastal wetland systems.

Zedler et al. (1990) examined the effects of sewage flows in the Tijuana River on the salt-marsh vegetation in the estuary. Sewage flows were linked with reduced soils salinities and exotic plant invasions.

An increase in the availability of nutrients from sewage, primarily nitrogen, stimulates algal blooms. Algal blooms of sufficient magnitude could result in fish kills that affect higher-order consumers, such as the federal and state endangered least tern.  Species richness and abundance for fishes and benthic macroinvertebrates have declined throughout a period of prolonged sewage discharge.

There is evidence of heavy metal contamination of the sediments and fishes of the Tijuana River and estuary. Cadmium was found in elevated levels in the sediments of both the Tijuana River and the estuary.  In fishes, lead was found at levels exceeding the international standard, but did not appear to pose a health risk.

Coastal Waters

Discharges of untreated sewage through the Tijuana River have less effect on coastal ocean waters than the estuary, due to the delay in transit time through the riverine-estuarine system.  Discharges of untreated sewage to the shoreline in Mexico are anticipated to have more substantial impacts to coastal waters.  In either case, as the sewage is fresh water, it is carried on the surface of the more saline, higher-density ocean waters and the flows are transported by prevailing currents in the nearshore zone and disperse offshore.

Fecal coliforms, used as indicators of contamination for humans, do not necessarily effect aquatic organisms as they do humans. Periodic inflows of compounds potentially lethal to aquatic organisms could occur virtually at any time, however.  Small fishes, benthic animals, and bottom feeders may uptake toxins and metals which persist upward through the food chain.  This contamination and uptake may in turn affect fish, marine mammals, and birds, including the endangered California least tern, brown pelican, and snowy plover.

Public Health and Safety

Discharges of untreated sewage would contaminate the Tijuana River, estuary, and coastal areas from the international border north to Coronado in the U.S.  These discharges would result in chronic beach closures around Border Field State Park and Imperial Beach and seasonally and episodically affect the Silver Strand and Coronado.

Tijuana River Flows

State health standards require total coliform bacteria concentrations below 1,000 minimum probable number (MPN) per 100 milliliters.  According to historical statistics from the San Diego County Health Department, the number of days of beach closures in 1995 were 67 days.  In prior years when flows reached up to 10 mgd, beach closures occurred over half of the year. The beach closures typically included the general area from south Silver Strand State Beach to the international border, but have extended as far north as Coronado.  At different times, these closures were caused by sewage flows in the river and other sources of contamination from the U.S.

Fecal coliform concentrations in the Tijuana River were measured in 1994-1995.  In general, fecal coliform concentrations were highest at Dairy Mart Road, Hollister Street Bridge, and Smuggler Gulch, where they greatly exceeded EPA and State standards for body contact.  Densities of fecal indicator bacteria remained high throughout the rainy period (November to March) implying that there was a continuous and concentrated source of fecal loading to the estuary. Levels of fecal indicators in the Tijuana River east of Dairy Mart Road were equal to or greater than those found downstream.

Sewage-contaminated flows in the river also create problems associated with disease vectors.  Standing water during the dry-weather season provides mosquito breeding habitat.

Mexican Shoreline Discharge

Discharges of untreated wastewater in Mexico would also affect the quality of nearshore coastal waters in the U.S.  The effects of these untreated flows being discharged was modeled by Parsons Engineering Science for 23  shoreline locations.  This model only estimated the effects of the shoreline discharge in Mexico; it did not include other sources of sewage contamination from the Tijuana River or other episodic sewage spills due to mechanical breakdowns or wet-weather infiltration.

Exceedances of bacteriological standards for U.S. waters was predicted to occur chronically for the months June to September and in November at the international boundary.  Exceedances were also predicted during June, July, and August at the mouth of the Tijuana River and as far north as Seacoast Drive in Imperial Beach.  The model indicates that shoreline discharges in Mexico would not result in exceedances north of Seacoast Drive.  However, flows of untreated sewage in the Tijuana River would extend the area affected northward to Coronado.

Land Use and Socioeconomic Considerations

Overall, most of the land uses in the Tijuana River valley have been negatively impacted by sewage discharges into the Tijuana River and from discharges of untreated sewage in Mexico extending north along the shoreline.  Continuous indirect impacts are associated with the area's image and reputation.  Use of Border Field State Park, Silver Strand State Beach, and Imperial Beach coastal properties and businesses have been negatively impacted by beach closures and the image problem associated with contaminated beaches.

The beach and the special events which are dependent on clean beaches represent an important economic stimulus for local business. According to the Imperial Beach Chamber of Commerce, one of the reasons the Bud Pro Surf Contest was not held in Imperial Beach was the beach closures caused by sewage discharges into the Tijuana River.

The major impacts to agriculture occur during flood periods, although groundwater pollution could also impact agricultural productivity in the valley.  Soils have been contaminated with sewage and condemned by the County Health Department for a period of six months.  Agricultural employees in the area have also expressed concerns over working in the vicinity of sewage discharges.

Both fishing from the Imperial Beach Pier and beach anglers using the beach from the Mexican border to roughly the Silver Strand State Beach are directly impacted by beach closures due to effluent discharges.  The impact on fishing also affects the bait and tackle shop, as well as some of the smaller businesses in Imperial Beach.

The salability and value of the residential properties in the Tijuana River valley have and would continue to be affected by sewage discharges.

Odors

Sewage-contaminated flows in the river, especially during the dry season, have caused incessant complaints of unpleasant odors from local residents.

Consistency with Plans and Policies

Discharge of untreated sewage to the Tijuana River is inconsistent with federal, state, and local policies and regulations governing water quality, health, and safety and is inconsistent with local land use goals and objectives.  The ongoing contamination has also had serious adverse effects on the quality of life for residents and enjoyment of the amenities of the area for visitors.

Alternative 2: Operate IWTP

In 1997, once construction of the advanced primary portion of the IWTP is complete, it will be operational and could provide treatment and storage of 2 mg (7,600 m3) and treat 25 mgd (1,095 lps) average flows and 75 mgd (3,285 lps) peak flows.  Pump Station One would continue to send 36.6 mgd (1,603 lps) to the force main and conveyance canal. Any flows in excess of 36.6 mgd at Pump Station One would be diverted to the emergency connection.  Flows in excess of the combined capacity of Pump Station One and the emergency connection would be directed to the IWTP, treated to advanced primary levels, stored, and discharged to the emergency connection when capacity is available. If no discharge capacity is otherwise available, the treated effluent would be discharged to the Tijuana River.

Costs for operating the IWTP in 1997 are estimated at $5.2 million, including energy, chemicals, service, and other operations and maintenance.  Costs for using the emergency connection are estimated at $1.6 million.

Only sewage which would otherwise overflow into the Tijuana River would be treated and stored at the IWTP and later discharged to the emergency connection.  Once capacity of the emergency connection is exceeded, this alternative would result in dry-weather flows in the Tijuana River, but the flows would be treated effluent rather than untreated sewage. This would occur because the peak hour flows between 1 P.M. and 9 P.M. exceed the combined capacity of Pump Station One, the emergency connection, and the 2 million gallons (7,600 m3) of flow equalization storage in the IWTP.

The yearly anticipated flows through the system are provided in Table 2-3. The distribution of the flows within the system is presented in Figures 2-4 and 2-5, and the diurnal variation and excess flows in Figure 2-6.

TABLE 2-3

INTERIM OPERATION OF THE IWTP

(average flow day in mgd)

Year 1996  1997   1998  1999   2000  2001

Eastern Tijuana sewage flows (average     37.1  38.9   40.8  42.7   44.8  46.9   flow day)

Flows via emergency connection to Point   5.0   6.1    6.7   7.2    7.7   8.1    Loma

IWTP treated flows to the Tijuana River   0.0   0.0    0.6   1.4    2.5   3.6

Untreated flows to Pump Station One       32.2  32.8   33.5  34.1   34.6  35.2

Untreated flows from western Tijuana      3.7   3.9    4.1   4.3    4.5   4.7

Untreated flows to San Antonio de los     35.9  36.7   37.6  38.4   39.1  39.9   Buenos

Flows treated at San Antonio de los       17.0  17.0   17.0  17.0   17.0  17.0   Buenos

Untreated flows discharged to the         18.9  19.7   20.6  21.4   22.1  22.9   shoreline in Mexico

Treated Flows to the River

The flow volumes to the Tijuana River would be substantially reduced relative to the No Action alternative.  Based upon the USIBWC/EPA flow projections, no flows are anticipated during average flow conditions until the year 1998 and would reach 3.6 mgd (158 lps) in 2001.  During seasonal high flows, there would be 1.5 mgd (70 lps) in 1996 and up to 7.5 mgd (329 lps) in 2001.  However, the discharge would be advanced primary effluent rather than untreated sewage.  Treated effluent has significantly reduced concentrations of BOD, solids, and some inorganic constituents.  Coliforms and pathogens would remain a health concern, however.

Figure 2-4

Figure 2-5

Figure 2-6

Untreated Flows Discharged in Mexico

The untreated flow volumes discharged to the shoreline in Mexico would be the same as for the No Action alternative.

Hydrology and Water Quality

Discharge of treated effluent to the Tijuana River would have no adverse consequences to hydrology of the river. The flows would be accommodated in the low-flow channel and no dry-season flooding or scouring of the channel would occur.  Ponding within the channel may result, however.  The infiltration to groundwaters would be minor, given the low flow volumes anticipated.

The discharge of advanced primary treated effluent to the Tijuana River does not meet federal or state water quality requirements for discharges to surface or groundwaters and would not meet water quality objectives of the Basin Plan.  Pollutant loadings from the treated effluent would be reduced relative to the No Action alternative, however.  BOD would be reduced by 45 percent, total solids by 75 percent, and lead by 50 percent.  Nutrients would not be reduced, which is of concern for surface and ground waters.  High nutrient content can cause algal blooms which adversely affect aquatic life and can cause offensive odors.  Reductions of other metals and inorganic compounds vary.

Treated effluent would result in adverse impacts to the Tijuana River estuary, due primarily to nutrient enrichment but also from reduction of salinity in brackish waters and pollutant loadings.

While discharge of advanced primary effluent is preferable to raw sewage, it would result in impacts to surface and ground waters and the estuary and would constitute a health risk if not disinfected. Biological Impacts

Impacts to riparian habitats would be similar to the No Action alternative and are not considered adverse.

Impacts to the estuary would be incrementally reduced from the No Action alternative.  No treated effluent would need to be discharged to the river until 1998, except during seasonal peak flows.  After 1998, nutrient enrichment leading to eutrophication could result in adverse effects during average day flow regimes.  Pollutant loadings would be elevated and salinity levels decreased by seasonal high flows. Impacts to the estuary after the year 1998, when discharge of treated effluent would occur, would be adverse from this alternative.

Impacts to marine life and shorebirds would be reduced, relative to the No Action alternative. Pollutant loads in treated effluent could have adverse effects to benthic communities, fish, and shorebirds; but these effects would be localized around the mouth of the Tijuana River. Discharges of untreated sewage in Mexico would occur at the same volumes as the No Action alternative, however, and cause adverse effects to marine life along nearshore waters in Baja. Public Health and Safety

Public health risks from bacterial contamination in the river would continue to be a major concern.  State standards for total coliforms in water bodies are 1,000 MPN/100 ml.

Primary treatment only reduces bacterial contamination by about 20 percent; the IWTP effluent is expected to have coliform concentrations of 1.6 &#215; 108 total coliform per 100 ml.  Bacterial concentrations are reduced by natural forces of decay, sunlight, salinity, temperature, and adsorption to sediments. The estimated transit times of effluent in the river from the IWTP to the estuary range from 6.0 to 14.4 hours in 1996 and 4.6 to 11.6 hours in 2001.  Therefore, the bacterial concentrations in the effluent discharged to the river and flowing to the estuary and ocean would exceed health and safety standards.

The IWTP has provision for chlorination/dechlorination of the effluent, which could reduce the bacterial concentrations of the effluent.  However, it may not be possible to disinfect the effluent to below the surface water discharge standards of 2.2 coliforms per 100 ml of effluent.  Also, chlorination of effluent poses other risks from chlorinated compounds to freshwater and marine life and would have to comply with the receiving water standards for residual chlorine.

Concerns about vectors would continue as for the No Action alternative. Vector control could be enhanced by a program of eliminating ponding of treated effluent in the low-flow channel, however.

Land Use and Socioeconomic Considerations

The operation of the IWTP would have beneficial effects to residents in the valley and agricultural, recreational, and commercial uses in the valley and along the coastline but would not eliminate impacts related to sewage contamination. The treated effluent in the river is not safe for recreational body contact. It is anticipated that bacterial contamination along the shoreline would be reduced but may not meet State standards and beach closures could still occur. There should be a substantial psychological benefit in that action is being taken to eliminate the sewage contamination in the river and shoreline by operating the IWTP. Odors

Primary effluent discharged to the river would result in unpleasant odors, although it is not as malodorous as untreated sewage.  The potential odors could be reduced by chlorination; but as discussed above, this is not considered feasible for interim operation of the IWTP.

Consistency with Plans and Policies

Discharging advanced primary effluent from the IWTP to the river would not be consistent with federal and state water pollution control laws and policies, under the federal Clean Water Act and the Water Quality Control Plan for the San Diego Basin (State of California 1995).

Discharge of treated effluent to the river would not meet the goals for management of the Tijuana River National Estuarine Research Reserve.

Alternative 3: Operate IWTP with Detention Basin

Up to 5.5 million gallons (20,900 m3) of treated effluent could be stored in a lined earthen detention basin(s) at the IWTP site for off-peak discharge to the emergency connection.  The earthen basin(s) would be 10 to 15 feet (3.0 to 4.6 m) in depth and occupy an area of the IWTP site of under two acres (0.8 ha).

TABLE 2-4

INTERIM OPERATION OF THE IWTP WITH 5.5 MILLION GALLONS FLOW STORAGE

(average flow day in mgd)

Year 1996  1997   1998  1999   2000  2001

Eastern Tijuana sewage flows (average     37.1  38.9   40.8  42.7   44.8  46.9   flow day)

IWTP treated flows to the emergency       5.0   6.1    7.3   8.7    9.2   9.5    connection

IWTP treated flows to Tijuana River       0.0   0.0    0.0   0.0    0.0   0.0

Untreated flows to Pump Station One       32.2  32.8   33.5  34.1   34.6  35.2

Untreated flows from western Tijuana      3.7   3.9    4.1   4.3    4.5   4.7

Total untreated flows to San Antonio de   35.9  36.7   37.6  38.4   39.1  39.9   los Buenos

Flows treated at San Antonio de los       17.0  17.0   17.0  17.0   17.0  17.0   Buenos

Untreated flows discharged to the         18.9  19.7   20.6  21.4   22.1  22.9   shoreline in Mexico

Costs for the addition of detention basin(s) at the IWTP are estimated at $2.7 million.  Increased use of the emergency connection would increase operations and maintenance costs to $7.1 million in 1997.

The IWTP would receive flows after Pump Station One and the emergency connection's flow capacities have been exceeded (generally, 1 P.M. to 9 P.M. in Tijuana). After 9 P.M., the emergency connection would be able to take flows stored or treated at the IWTP.  By storing flows during peak hours, the system capacity can be extended.  This capacity would be sufficient to prevent discharge to the Tijuana River from the IWTP during average day flows through the year 2001.  During seasonal high flows days, approximately 2.0 mgd (88 lps) would be discharged in 2001.

This alternative would result in flows of untreated sewage being discharged at the shoreline in Mexico at the same flow volumes as No Action and Operate IWTP, however.

The yearly anticipated flows through the system are provided in Table 2-4. A schematic of the flows and site plan are provided in Figures 2-7 and 2-8.  The distribution of the flows within the system is presented in Figure 2-9 and the diurnal variation and excess flows in Figure 2-10.

Treated Flows to the River

The discharge of treated effluent to the Tijuana River would not occur until the year 2001, when 2.0 mgd (88 lps) would be discharged during seasonal high flow days. If the SBOO becomes operational by 1998-1999, all discharges to the river of untreated sewage or treated effluent could be avoided.

Untreated Flows Discharged in Mexico

The discharge of untreated flows to the shoreline in Mexico would be the same as for the No Action and Operate IWTP alternatives. Hydrology and Water Quality

The detention basin would be constructed above the 100-year floodplain of the river channel.  Therefore, the basin would not significantly impact the hydrology of the river.  As planned, the earthen detention basin(s) would be lined with an impermeable layer to protect against percolation through the soil into the groundwater.

Effluent flow rates of 2.0 mgd (88 lps) exiting the IWTP directly into the river during high flow days in the year 2001 are not expected to cause flooding, scouring, or channel alteration in the river valley.

However, the flow of primary effluent to the river would degrade the water quality of the river and Tijuana River estuary.  The pollutant load to the river would be less than would occur under either the No Action or Operate IWTP alternatives, since this alternative results in a lower treated effluent flow rate discharged to the river.  However, the treated effluent would not meet the State standards for receiving waters and would not be in compliance with water quality plans or objectives.

Bacterial counts in the treated effluent would exceed State standards and result in bacterial contamination.

The storage of treated effluent for long periods of time in the earthen detention basin could allow pollutants to percolate down into the groundwater.  If this were to occur, groundwater quality could be adversely impacted.  This impact could be avoided by the installation of an impermeable liner within the basin. Biological Impacts

No significant impacts to the riparian habitats are anticipated.

Impacts to the estuary would be substantially reduced due to the decrease in flow of treated effluent. No flows would be released during average day conditions.  The discharge of 2.0 mgd (88 lps) of treated effluent would occur only during high flow day periods in 2001. These flow volumes of runoff can occur naturally during the dry season after years with high rainfall and are low enough not to seriously reduce the salinity levels in brackish-water areas.  Eutrophication in low-flow areas of the marshes due to nutrient loads could result, however, adversely impacting the estuary.

Figure 2-7

Figure 2-8

Figure 2-9

Figure 2-10

Marine biota and shorebirds would not be adversely affected by the river discharges of treated effluent, and this alternative would provide beneficial reductions in pollutant loadings compared to the previous alternatives.  However, discharges of untreated sewage to the shoreline in Mexico would result, which would have adverse impacts.

Public Health and Safety

Public health and safety impacts would be reduced over the previous alternatives. Bacterial contamination from IWTP effluent would only occur in the Tijuana River with the seasonal wet-weather flow discharges in the years 2000 and 2001. Residual potential contamination could result from other discharges of untreated sewage in Mexico, however.

Vector control may also be needed to prevent ponding of effluent in the river.  The detention basin would have fluctuating water levels and would not be a source for disease vectors.

Geotechnical

The earthen detention basin(s) would be within the footprint of the IWTP.  The basin(s) would need to be built with respect to underlying geotechnical hazards, such as potential for liquefaction of the soils, seismic shaking, and slope stability.  No conditions exist at the site that would preclude the construction of an earthen detention basin(s) at the site.

Land Use and Socioeconomic Considerations

This alternative would significantly reduce impacts from existing sewage contamination, odors, and beach closures, compared to the No Action alternative.  The discharge of untreated effluent in Mexico would remain, however, which could affect residents and recreational or commercial uses in coastal areas.

Odors

Storage of primary treated effluent at the plant site in open basins has the potential to result in objectionable odors.  This potential adverse impact could be mitigated by providing a cover over the basins and venting the air through an odor control system prior to release.

Consistency with Plans and Policies

The direct discharge of primary treated effluent to the river would be inconsistent with the federal Clean Water Act and the Water Quality Control Plan for the San Diego Basin.

Discharge of treated effluent to the river would not meet the goals for management of the Tijuana River National Estuarine Research Reserve.

Alternative 4: Operate IWTP with New Conveyance to Mexico

Mexico may complete additional pumping facilities, a force main, and a conveyance canal parallel to the existing facilities as a backup system.  The additional facilities would have a capacity of 50 mgd (2,190 lps) average capacity and 75 mgd (3,285 lps) peak capacity.  In the interim period, effluent from the IWTP could be conveyed separately to the shoreline discharge point in Mexico using these facilities.  The additional facilities are a backup and not a stand-alone expansion of the existing system.  Its use to convey flows from the IWTP separately would be temporary.

Use of the emergency connection is not required to avoid discharge of treated effluent to the Tijuana River as the flow capacities of Pump Station One and the canal to San Antonio de los Buenos are not exceeded during peak flow hours.  However, to reduce the discharge of untreated flows at the shoreline in Mexico, the emergency connection could be operated, but at reduced flows.

Costs for this alternative are estimated at $16.0 million capital costs (equipment and construction) and $8.0 million operations and maintenance costs.  If the emergency connection were used in addition, the operations and maintenance costs would increase.

The yearly anticipated flows through the system are provided in Table 2-5. The distribution of the flows within the system is presented in Figure 2-11. The location of the proposed facilities is provided in Figure 2-12. The diurnal variation is shown in Figure 2-13 and excess flows in Figure 2-14.

TABLE 2-5

OPERATE IWTP WITH NEW CONVEYANCE TO MEXICO

USING THE EMERGENCY CONNECTION

(average flow day in mgd)

Year 1996  1997  1998  1999   2000  2001

Total sewage flows (average flow day)      37.1  38.9  40.8  42.7   44.8  46.9

IWTP treated flows to new Mexican          23.8  25.0  25.0  25.0   25.0  25.0   conveyance

Flows diverted via emergency connection    0.0   0.8   2.9   5.0    6.3   7.3    to Point Loma

Untreated flows from Pump Station One      13.3  13.1  12.9  12.7   13.5  14.6

Untreated flows from western Tijuana       3.7   3.9   4.1   4.3    4.5   4.7

Total flows to San Antonio de los Buenos   17.0  17.0  17.0  17.0   18.1  19.3

Mixed flows treated at San Antonio de los  17.0  17.0  17.0  17.0   17.0  17.0   Buenos

Untreated flows discharged to shoreline    0.0   0.0   0.0   0.0    1.0   2.3    in Mexico

Flows to the River

There would be no untreated sewage or treated effluent discharged to the Tijuana River under this alternative.  Any sewage flows in the river would be from winter storm runoff or equipment failures.

Figure 2-11

Figure 2-12

Figure 2-13

Figure 2-14

Untreated Flows Discharged in Mexico

The flows through Pump Station One to San Antonio de los Buenos would be reduced so that far less sewage would bypass treatment and be discharged to the shoreline.  In 2000, only 1.0 mgd (44 lps) is anticipated to be discharged untreated, rising to 2.3 mgd (101 lps) in 2001.  This is a substantial reduction from the 22.9 mgd (1,003 lps) that would be discharged with the previous alternatives.

If the emergency connection is not used, however, the flows in Table 2-5 directed to it would be sent to San Antonio de los Buenos and may be discharged untreated to the shoreline in Mexico.  This would result in flow of untreated sewage discharged to the shoreline in 1998 of 2.9 mgd (127 lps) and increase from 2.3 mgd (101 lps) to 9.6 mgd (420 lps) in the year 2001.

Hydrology and Water Quality

No hydrological or water quality impacts to the Tijuana River valley would occur as a result of implementation of this alternative.  The volume of discharge of untreated sewage to the shoreline in Mexico would be significantly reduced.  However, the shoreline discharge of IWTP and San Antonio de los Buenos treated effluent does not provide for much dilution of the effluent (approximately 10:1), and being fresh water, the effluent would remain at the surface along the coastline.  Ocean water quality along the coastline in the U.S. would be improved but may not meet the Ocean Plan standards during periods with north-trending coastal circulation. Biological Impacts

This alternative would have no adverse consequences to riparian and estuarine habitats or biota.  The conveyance canal would be sited through urbanized areas and along a coastal ridgeline of non- native grasslands in Mexico.  Several canyons would be crossed that have either coastal sage scrub or maritime chaparral communities which are considered sensitive in the U.S. and may provide habitat for the federally listed (threatened) coastal California gnatcatcher.  Mexico is considering three alternative alignments and would prepare an impacts assessment prior to construction.

Significant benefits would result both to the estuary and to nearshore coastal areas north of the river mouth due to the elimination of dry-weather flows of sewage or effluent in the Tijuana River. The discharge in Mexico of primary treated effluent to the ocean would be increased by 25 mgd (1,095 lps), which may have adverse effects around the area of discharge. Only 2.3 mgd (101 lps) of untreated effluent would be discharged to the shoreline in Mexico in the year 2001. If the emergency connection is not in use, the discharge of untreated sewage would be 9.6 mgd (420 lps) by 2001, still well below the No Action alternative.

The overall reduction in untreated effluent being discharged to the shoreline in Mexico should have beneficial effects to marine biology over existing conditions or other alternatives.  However, due to the low initial dilution of the discharge, the increase in the amount of advanced primary treated effluent would have adverse effects to coastal waters in the U.S. and Mexico.  Public Health and Safety

Existing public health risks from bacterial contamination in the river and along the shoreline would be substantially reduced. The reduction in untreated sewage being discharged in Mexico would not substantially change the extent of the chronic bacterial contamination along its coastline, and beach closures and public health concerns would remain.  This is because advanced primary treatment only reduces bacterial concentrations by about 20 percent.  Thus, the increase in the ratio of discharge of treated effluent to untreated sewage does not substantially reduce the health risks.

Mexico chlorinates its effluent; the effectiveness in reducing pathogens in ocean receiving waters is not known at this time. It has not been decided whether or to what extent the IWTP effluent would be chlorinated prior to discharge in Mexico.

Socioeconomic Considerations

Impacts from this alternative would be of substantial benefit to residents of the valley, agricultural uses, and public and commercial recreation in the coastal areas.  However, beach closures may still result from the discharge of treated effluent and untreated sewage to the shoreline in Mexico.

Consistency with Plans and Policies

The discharge of IWTP effluent and treated and untreated effluent would be subject to requirements for discharges contained in the Mexican State Ecology Law and federal Mexican standards for discharges to national waters.  No discharges to receiving waters in the U.S. would result.

Alternative 5: Operate IWTP with Discharge to SBOO

In 1998 the South Bay Ocean Outfall becomes operational, and all of the sewage treated at the IWTP could be discharged through the ocean outfall.  Average daily flows in Mexico are estimated to be between 43 and 46 mgd (1,883-2,015 lps) with peak hourly flows of 65 to 84 mgd (2,847-3,679 lps).  The IWTP would be able to treat up to 25 mgd (1,095 lps), while the treatment plant at San Antonio de los Buenos would treat up to 17 mgd (745 lps).

Therefore, 3 to 5 mgd (131-219 lps) of untreated sewage would be discharged at the shoreline in Mexico. No untreated sewage would be discharged in U.S. waters.  By the year 2001, flows would increase to between 47 and 51 mgd (2,059-2,234 lps) average, with peaks between 71 and 92 mgd (3,120-4,030 lps).  Between 9.6 and 12.0 mgd (420-526 lps) of untreated sewage would be discharged at the shoreline in Mexico.

The emergency connection would not be required with this alternative to avoid the discharge of treated effluent to the Tijuana River.  Use of the emergency connection and treatment of Mexican sewage by the City of San Diego was never intended to be a permanent treatment option; it was constructed to eliminate overflows of sewage in the Tijuana River.

Costs for operation of the IWTP with discharge through SBOO are estimated at $7.5 million.  If the emergency connection were used through the year 2001, additional operations and maintenance costs would be incurred.

The yearly anticipated flows through the system are provided in Table 2-6. The distribution of the flows within the system is presented in Figures 2-15 and 2-16, and the diurnal variation and excess flows in Figure 2-17.

Treated Flows to the River

Under this alternative there would be no treated (or untreated) average day dry- weather flows to the Tijuana River through the year 2001 using the USIBWC/EPA flow projections.

Untreated Flows Discharged in Mexico

Untreated flows would continue to be discharged to the shoreline in Mexico south of the San Antonio de los Buenos treatment works.  However, these flows would be substantially reduced from those that would occur with the No Action alternative.  The flows would increase from 2.9 mgd (127 lps) in the year 1998 to 9.6 mgd (420 lps) in the year 2001.  The impacts of the shoreline discharge in Mexico would be less than for Alternative 4, because a lesser volume of effluent would be discharged overall.

TABLE 2-6

IWTP WITH THE SOUTH BAY OCEAN OUTFALL

(average flow day in mgd)

Year 1998  1999   2000   2001

Total sewage flows (average flow day)      40.8  42.7   44.8   46.9

IWTP treated flows to South Bay Ocean      25.0  25.0   25.0   25.0    Outfall

Flows diverted via emergency connection    0.0   0.0    0.0    0.0     to Point Loma

Untreated flows from Pump Station One      15.8  17.7   19.8   21.9

Untreated flows from western Tijuana       4.1   4.3    4.5    4.7

Total flows to San Antonio de los Buenos   19.9  22.0   24.3   26.6

Flows treated at San Antonio de los        17.0  17.0   17.0   17.0    Buenos

Untreated flows discharged to the          2.9   5.0    7.3    9.6     shoreline in Mexico

Hydrology and Water Quality Effects

There would be no discharges from the IWTP to the river under this alternative.  Therefore, there would be no adverse hydrological or water quality impacts in the river valley.

Discharge of advanced primary effluent is not consistent with the federal Clean Water Act.  The modeling and analysis by Parsons Engineering Science of the advanced primary effluent discharge through the SBOO, given expected effluent characteristics, initial dilution of a minimum of 100:1, and the TOES current data indicate that polyaromatic hydrocarbons may not meet the State Ocean Plan standards at the zone of initial dilution.  In addition, a potential for exceedances of the 10,000 coliforms per 100 ml standards for two samples in a 48-hour period was identified by the model at the Imperial Beach kelp bed in 50-foot (15 m) water depths.  This exceedance is predicted to occur less than one percent of the time throughout the year, however.  If the State Ocean Plan standards are not met by the SBOO discharge, the effects to ocean water quality could be significant and adverse.

However, the results of the model also indicate that most constituents of concern would meet the Ocean Plan standards and that further dilutions around the outfall would be substantial.  The high coliform levels predicted would be rare events of short duration that would not be considered a significant public health risk. The water quality impacts from discharge of primary treated effluent from the IWTP through the SBOO had the lowest impacts to receiving water quality of any of the alternatives considered.

Biological Impacts

Terrestrial and Estuarine Biology

There would be no adverse impacts to terrestrial or estuarine biology as a result of this alternative.  The removal of dry-weather sewage discharges will reduce the pollutant load to the river and estuary.

Coastal Waters

Impacts from the discharge of advanced primary effluent to the marine environment would not result in substantial adverse impacts to marine organisms.  The area affected by the interim discharge would be smaller (135 acres, or 55 ha) than the impact area identified in the FEIS.  Modeling of the dilution from the outfall discharge shows that the effluent would receive significant additional dilution within about 3,280 feet (1,000 m) of the zone of initial dilution. No impacts to marine organisms at the Imperial Beach kelp bed are forecast.

Discharges of untreated sewage and treated effluent would result in Mexico, however, and may adversely affect the nearshore coastal environment around the discharge point.

Public Health and Safety

Tijuana River Flows

Under this alternative, there would be no dry-weather discharges to the Tijuana Figure 2-15

Figure 2-16

Figure 2-17

River.  Therefore, fecal coliform and other pollutant levels in the river, estuary, and nearby coastal waters are anticipated to be substantially reduced.

The reduction of intermittent dry-weather flows will decrease the occurrence of standing water, thus lessening problems associated with disease vectors such as mosquitoes.

SBOO Discharge

Total coliforms from the effluent discharged through the outfall were modeled and are expected to meet ocean water quality standards except at the 50-foot water depth at the edge of the Imperial Beach kelp bed. The predicted exceedance is for the 10,000 coliforms per 100 ml in two samples over a 48-hour period and would not be a chronic condition throughout the year.  The exceedance would not be a significant adverse impact, due to the rarity of occurrences and limited potential exposure to humans. Surface ocean waters at this location would not exceed the standards, due to trapping of the deeper water layers.

Mexican Shoreline Discharge

Discharges of untreated wastewater in Mexico will be substantially less than those which occur with the No Action alternative.  However, based on modeling performed by Parsons Engineering Science, contamination from these reduced sewage discharges could impact nearshore coastal waters in the U.S.

Socioeconomic Considerations

Historically, beach closures caused by contaminated flows in the Tijuana River have had a negative economic impact on the surrounding communities and businesses.  Additionally, even in times of no closures, businesses have been negatively impacted by the perception of a perpetual contamination problem in the river valley.

The reduction of dry-weather sewage discharges to the river is anticipated to substantially reduce the number of beach closures and will reduce the pollutant load in the river, resulting in a positive economic impact to the area.  Coastal water quality would be enhanced, although there may be residual impacts from shoreline discharge in Mexico.

Consistency with Plans and Policies

This alternative would be consistent with the Water Quality Control Plan for the San Diego Basin, since there would be no discharges of treated effluent to the Tijuana River.  However, the model of the SBOO discharge resulted in exceedances of the State Ocean Plan standards for polyaromatic hydrocarbons, which would not be consistent with ocean water quality objectives.  Discharge of primary treated effluent to the ocean is not authorized by the federal Clean Water Act.   The operator will need to comply with a discharge permit and compliance order issued by the RWQCB. Alternative 6: Phased Alternative

The previous alternatives have been evaluated as stand-alone alternatives to taking no action through the year 2001.  It is also reasonable to evaluate the use of these individual alternatives in a phased approach.

The logical phasing scheme would begin with Alternative 2, operate the IWTP to detain up to 2 million gallons (7,600 m3) of flow and treat additional flows from eastern Tijuana as needed with discharge to the emergency connection.  When it appears that the total average dry-weather flows from eastern Tijuana or higher seasonal high peak flows would result in discharge of treated effluent from the IWTP to the Tijuana River (expected by 1997 or 1998), then either Alternative 3 (Operate IWTP with Detention Basin) or Alternative 4 (Operate IWTP with New Conveyance to Mexico) could be implemented.  Either of these two alternatives could provide a means to avoid discharging treated effluent from the IWTP into the Tijuana River.  When the SBOO is completed, all treated effluent from the IWTP would be discharged through the SBOO.  Once the SBOO is available, neither the detention basin nor the additional conveyance system in Mexico would be needed to discharge treated effluent from the IWTP.

An additional consideration for Alternative 6 is the time required to construct the facilities.  The IWTP will be operational by early 1997.  The 5.5 million gallon (20,900 m3) lined detention basin would take nine months to construct and could be available by September 1997. The new Mexican pumping and conveyance system is expected to take 15 months to complete once agreement with Mexico has been reached.  These facilities are not expected to be available for use until the spring of 1998.  The SBOO is currently under construction and is not currently scheduled to be available for use until the spring of 1998.

The impacts of the phased alternative would be equal to or less than the stand-alone alternatives as analyzed above.  The phased alternative would reduce the impacts from discharge of treated effluent to the Tijuana River, since each facility would be used in an attempt to avoid discharge of treated effluent into the Tijuana River. However, the USIBWC/EPA flow projections are estimates, and the flows sent from Mexico may exceed the discharge capacity before these facilities are available.  If this occurs, discharge of treated effluent into the Tijuana River will be unavoidable and the adverse environmental impacts will be similar to those discussed for Alternative 2.

The Preferred Alternative

The goal of the action is to avoid the discharge of untreated sewage and minimize the effects of the discharge of treated effluent to sensitive areas such as the Tijuana River, estuary, shoreline, offshore kelp beds, and active recreation and commercial areas. As discharges from the shoreline in Mexico may affect U.S. coastal waters, the alternative that provides the maximum level of treatment to the greatest volume of sewage prior to discharge, whether the discharge occurs in Mexico or the U.S., would be preferred.  However, selection of a preferred alternative is also subject to considerations of environmental effects of the alternatives, cooperation with Mexico, timeliness to implement, and costs.

For the interim operations period, the preferred approach alternative would be to phase alternatives as described for Alternative 6.

Starting with operation of the IWTP in 1997, there would not be a need to discharge treated effluent to the river until 1998, according to the USIBWC/EPA flow projections for average day flows. No additional capital costs would be incurred and discharge of effluent to the emergency connection would not result in adverse impacts to receiving waters in the U.S.  However, to avoid discharge of treated effluent to the Tijuana River during seasonal high flows in 1997, and average day flows in 1998 and thereafter to 2001, either the detention basin at the IWTP or new conveyance facilities in Mexico would need to be constructed.

Each of these alternatives avoids discharge of treated effluent to the Tijuana River.  The new conveyance facilities in Mexico would probably not be available until the middle of the year 1998, and discharges of treated effluent could occur by that time if the IWTP is operated.  The addition of detention basins at the IWTP could be implemented in time (September, 1997) to avoid any discharges of treated effluent to the Tijuana River and does not require additional agreements with Mexico to implement.

Neither of these interim alternatives is environmentally preferred to SBOO, as the discharge of treated effluent at the shoreline in Mexico is not preferable to discharge through the outfall offshore.  Under current schedules, the SBOO and the new Mexican conveyance are not scheduled to be available until 1998.  Assuming these concurrent schedules, the SBOO would be preferred.  However, if the new facilities in Mexico were available and the SBOO is delayed, then the new facilities in Mexico could be used to avoid discharges to the river until the SBOO is available.

Once completed, discharge through the SBOO is the preferred alternative.

Chapter Three

The Affected Environment

This chapter profiles the environmental resources in the Tijuana River valley and vicinity that would be affected by construction or operation of project facilities.  The environmental resources include the relevant physical, biological, social, and economic conditions that would change under the implementation of an alternative or that might aid a reader to understand the alternatives. Hydrology and Water Quality

The information provided in this section is derived from a number of reports, which are referenced in the text.  In particular, the Tijuana Estuary Enhancement Hydrologic Analysis and technical appendixes prepared by Philip Williams &amp; Associates (1987), the Tijuana River Groundwater Study by the U.S. Army Corps of Engineers (1990), the Hydrogeological Assessment of the Tijuana River Valley by Rick Rempel (1992), the Groundwater Management Plan for the Tijuana River Basin by the Tia Juana Valley County Water District (TJVCWD 1994a, 1994b) and Tijuana River Hydraulics Report (Boyle Engineering Corporation 1996) contain significant information regarding hydrologic characteristics of the Tijuana River and estuary.  These documents are hereby incorporated by reference.

Watershed Description

Under natural conditions (i.e., without sewage contributions), the Tijuana River is an ephemeral stream draining an area of about 1,731 square miles (4,483 km2), of which 470 square miles (1,217 km2) (about 30%) are in the United States and 1,261 square miles (3,266 km2) (about 70%) are in Mexico.  The fan-shaped drainage area is about 75 miles (121 km) long and 50 miles (80 km) wide (see Figure 1-2).  Numerous tributaries combine to form the Tijuana River.  That portion of the river referred to as the Tijuana River is formed by the confluence of Cottonwood Creek (Rio El Alamar) and the Rio de las Palmas about 11 miles (17.7 km) southeast of the city of Tijuana.  The Tijuana River flows northward through a 6.6-mile (10.6 km) concrete flood-control channel in the city of Tijuana and crosses the international boundary into California.  Immediately downstream of the border, the USACE has constructed 0.5 mile (0.8 km) of concrete channel, 2.0 miles (3.2 km) of levees, and an energy dissipater.  After the river crosses into the U.S., it continues westward about 5.3 miles (8.5 km) and empties into the Pacific Ocean about 1.5 miles (2.4 km) north of the international boundary.  The Tijuana River estuary lies at the mouth of the river at the Pacific Ocean.

An alluvial floodplain forms the floor of the Tijuana River valley.  From an elevation of 40 feet (12.2 m) above MSL at the Mexican border, the river valley gradually descends westward to its outlet into the ocean.  The valley floor averages about 1.0 mile (1.6 km) in width; it is incised within a suite of coastal terraces that range from 20 to over 400 feet (6-122 m) in elevation.  The alluvial aquifer underlying the Tijuana River valley occupies an area of about 5,000 acres (2,023 ha) to depths of 100 feet (30.5 m) or more.  The Tijuana River can be characterized as a braided alluvial stream that shifts widely across the valley floor during flood stage.

The climate in the Tijuana River basin is classified as Mediterranean dry summer subtropical.  It is characterized by moderate temperatures near the coast, with increasing temperature variability inland.  The average annual rainfall across the watershed ranges from about 11 inches (28 cm) near the coast to 25 inches (63.5 cm) at the higher inland elevations.  Thus, an average rainfall year represents a potential recharge of up to 4,500 acre-feet (5.55 Mm3) in the 5,000-acre (2,023 ha) alluvial aquifer.  There are distinct wet and dry seasons, with over 90 percent of the mean annual precipitation occurring during the six-month period of November through April when evapotranspiration is at a minimum.  Both the annual and individual storm rainfalls are extremely variable, which means that the region experiences both extremely wet and very dry years.  The extreme variability in rainfall also produces variability in annual flow, flood peaks, and sediment discharge in the Tijuana River and the Tijuana River estuary.

Predominant floodplain soils belong to the Chino and Tujunga series.  Lying along the historic river channel in the eastern portion and along the present channel in the central portion of the hydrologic subarea, Tujunga soils are notable for their high infiltration rates. Flood-control structures and channelization between the international border and Shelton Pond have diverted the river westward, away from Tujunga soils and into the finer silty loams of Chino soils.  Chino soils have a considerable clay content and low infiltration rates.

According to the U.S. Soil Conservation Service, the available water holding capacity of Tujunga soils is 0.05-0.07 inch per inch of soil (0.13-0.18 cm per cm of soil) and of Chino soils is 0.13-0.17 inch per inch of soil (0.33-0.43 cm per cm of soil) (U.S. Department of Agriculture [USDA] 1973).  &quot;Available water holding capacity&quot; is the capacity of a soil to hold water available for use by most plants and is commonly defined as the difference between the amount of soil water at field capacity (where water remaining in a soil has ceased to drain freely) and the amount at the wilting point of plants, as measured in inches of available water per inch of soil.

Hydraulics of the Tijuana River

River Flow

Prior to 1980, the Tijuana River was an ephemeral stream characterized by low or no flow for many months of a given year.  Intermittent flood flows are highly variable and are dependent upon rainfall amounts and intensity across the watershed.  Brief periods of very high flows, primarily during the rainy season (November through April), were often followed by low or no summer flows.  During periods of groundwater overdraft, surface waters provided recharge to the aquifer in direct proportion to the available storage.  However, when the aquifer was full or overflowing, groundwater seepage into the lower Tijuana River would create &quot;gaining&quot; stream conditions.  Such conditions were apparent when ponds and stream flows in the valley were maintained in the absence of surface water input from Mexico.

Three dams, the Morena, Barrett, and Rodriguez Reservoirs (see Figure 1-2), have a significant effect during periods of low or moderate flow in the river and a smaller effect during large events.  The Morena and Barrett Reservoirs are located on Cottonwood Creek in the United States and provide a water supply to San Diego.  The Rodriguez Reservoir is located on Rio de las Palmas in Mexico and supplies water to Tijuana.  As a consequence of the three dams, the total flow in the Tijuana River at Nestor has been significantly reduced (Philip Williams 1987).  However, when storm waters fill the reservoirs, water is released over periods of months during the dry season.

Flow in the Tijuana River has been measured at 18 gauging stations within the Tijuana River watershed.  Most of these are located within the United States and monitor flow from relatively small drainage areas.  Two of the gauges, one formerly located at Nestor and the other located at the U.S.-Mexico border, measure flow from 98 percent of the watershed and have recorded flow since 1936.

According to the U.S. Geological Survey (Izbicki 1985), the average annual discharge in the Tijuana River at the international boundary from 1936 through 1981 was about 33,000 acre-feet/year (41 Mm3/year), compared to a &quot;median&quot; discharge of 659 acre-feet/year (0.8 Mm3/year).  The maximum annual discharge was recorded during the 197980 water year when 586,000 acre-feet (723 Mm3) flowed through the lower Tijuana River valley (Izbicki 1985).

From 1980 to 1991, however, there have been sustained perennial flows of wastewater in the Tijuana River (Zedler et al. 1990; Williams and Swanson 1987).  Flow data measured by the USIBWC indicates that from 4.5 mgd (197 lps) to 22 mgd (964 lps) of wastewater flowed into the U.S.; the average wastewater flow was estimated to be 13 mgd (570 lps) in 1990.  Since 1991, when Mexico completed construction of a river collector structure to divert up to 13 mgd (569 lps) of sewage-contaminated river flows into its sewage collection system, sewage-contaminated flows have crossed the border only when the river collector was not in operation.  This diversion is not operated during storm flows, however.  Estimates of raw sewage in the Tijuana River are 3 mgd (131 lps) in 1993 and 1 mgd (44 lps) in 1995.  Urban discharges into the river, such as trash, detergents, oils, fertilizers, and pesticides, also occur.

A hydraulics study to determine the low-flow characteristics of river flows was conducted by Boyle Engineering (1996).  The study was based on the U.S. Army Corps of Engineers Hydrologic Engineering Center-River Analysis System (HEC-RAS) and does not incorporate estimates of evaporation, evapo-transpiration, or groundwater recharge.  Inputs to the model included detailed channel cross-section and flow-line data which were collected during a four-day field survey.  Flow rates ranging from 1.7 mgd (74.5 lps) to 34.8 mgd (1,525 lps) were modeled to determine the travel times from Stewart's Drain to the Tijuana River estuary for the selected flows.  The predicted travel times varies from a minimum of 4.6 hours at 34.8 mgd (1,525 lps) to a maximum of 14.4 hours at 1.7 mgd (74.5 lps) (Boyle Engineering 1996).  These travel times represent the estimated time it would take flows in the river at Stewart's Drain to reach the estuary at different total river flow rates.

Flood Peaks

Flood peaks on the Tijuana River show an extreme annual variability.  Table 3.11 shows the estimated historical peak flow events between 1884 and 1937 and measured peak flow events between 1937 and 1984.  The highest estimated historical flow of 75,000 cfs (2,124 m3/s) occurred in 1916.  An event of this magnitude is expected to have a recurrence interval of approximately once per 100 years (Philip Williams 1987).  During the floods of 1993, an equivalent flow of 75,000 cfs (2,100 m3/s) was experienced in the Tijuana River in Mexico.

Mexico constructed a concrete flood control channel from the international border upstream approximately 6.5 miles (10.6 km) to the confluence with Rio El Alamar in the 1970s.  The channel was designed to convey up to 500-year flood flows of 125,000 cfs (3,500 m3/s).  The U.S. constructed an energy dissipater at the downstream end of the flood channel.  Mexico has designed and completed environmental review to extend the flood control channel upstream an additional 4 miles (6.5 km) to below the Abelardo L. Rodriguez Reservoir.  This project will effect flood control for approximately 1,034 acres (422 ha) of the floodplain.  In addition to providing additional protection from flooding in Mexico, the channel extension is proposed to address problems of surface and groundwater contamination and ecological, recreational, and social benefits.

TABLE 3.1-1

MAXIMUM DISCHARGE OF THE TIJUANA RIVER

NEAR NESTOR BETWEEN 1884 AND 1984

(in descending order of magnitude)

Discharge

Number        Date         cfs       m3/s

1        27 Jan 1916 75,000*    2,124

2           Feb 1884 50,000*    1,416

3        17 Jan 1895 38,000*    1,076

4        21 Feb 1980 33,500     949

5         3 Mar 1983 27,700     784

6        16 Feb 1927 25,000*    708

7           Dec 1889 20,000*    566

8           Feb 1891 20,000*    566

9         7 Feb 1937 17,700     501

10        24 Mar 1906 16,000*    453

11        26 Dec 1921 15,000*    425

12        22 Feb 1941 13,800     391

13        23 Feb 1944 11,100     314

14        11 Apr 1941 10,400     294

15        15 Mar 1941 8,620      244

16         3 Mar 1938 6,760      191

17        21 Feb 1914 5,000*     142

18        17 Mar 1942 2,770      78

19        24 Dec 1940 2,700      76

20        13 Jan 1949 2,600      74

21         7 Jan 1944 2,500      71

22        23 Dec 1944 2,100      59

23        13 Mar 1938 1,600*     45

24        12 Mar 1918 1,600*     45

25        18 Feb 1932 1,500*     42

SOURCE:  Philip Williams &amp; Associates 1987:8.

*Flows reconstructed by the USACE.

As part of the development of the IWTP, the south levee of the Tijuana River in the U.S. has been modified to protect the IWTP from flood flows.  Additional modifications to the floodplain and low-flow channel are proposed by the City of San Diego for its South Bay treatment plant adjacent to the IWTP site and Dairy Mart Road bridge crossing improvements to accommodate a 330-year flood.

Sediment Yield and Transport

Flow in the Tijuana River transports sediment from the watershed and channel to the estuary and, ultimately, the Pacific Ocean.  The amount and size characteristics of this transported sediment are affected by a variety of factors, including watershed soils, vegetation, topography, rainfall, river channel geometry, and man-made structures.

Annual sediment transport by the Tijuana River varies greatly (Philip Williams 1987).  The percentage of annual sediment trapped by the reservoirs is also not constant on a yearly basis.  The reservoirs tend to reduce sediment transport by 50 percent or more in the low-flow years and only by 20 percent or less in the high-flow years.  Dams have resulted in a decrease of approximately 30 percent in the total sediment transported past the Nestor gauge during the period of record.

Water Quality

Until Mexico installed the diversion in 1991, approximately 13 mgd (570 lps) of unsewered wastewater flowed into the Tijuana River and concrete flood-control channel in Mexico via gullies and storm drains, which then flowed into the U.S. to the Tijuana River estuary. Intermittent sewage spills also occur, entering the U.S. via north-draining canyons and gullies identified on Figure 3.1-1.  Other urban discharges into the Tijuana River include trash and unknown quantities of detergents, oils, fertilizers, and pesticides.  During the public scoping meeting, many people commented on the quality of the river water, noting that the smell was invasive and intolerable and that the wastewater flowing in the river constituted a significant public health risk.

In April 1990, a water sampling program of the Tijuana River was initiated by the IBWC to evaluate the wastewater flows to be treated at the proposed IWTP. Water quality samples were taken in two locations, Tijuana Pump Station One in Mexico and the Tijuana River in the U.S.  Samples were taken for 30 consecutive days at each location and were analyzed for a number of constituents.  Based upon the average measured constituent concentrations, the level of pollutant loading in the Tijuana River at an estimated 10 mgd (438 lps) flow rate is shown in Table 3.1-2.  As shown in the table, over 900 pounds of lead and over 290 pounds of cyanide are being introduced annually into the Tijuana River.  However, no detectable levels of mercury, selenium, arsenic, or cadmium were found.  In a 1990 study of some constituents (Boyle Engineering 1990), it is apparent that the concentrations of some constituents, especially biological Figure 3.1-1

TABLE 3.1-2

1990 &amp; 1995 POLLUTANT LOADING

OF TIJUANA RIVER (AT 10 MGD)

1990                           1995

Substance       Pounds/Day   Kilograms/Day      Pounds/Day  Kilograms/Day

Nutrients                                                                        Total nitrogen    2,746        1,246              NA           --               Total phosphorus  850          386                NA           --                                                                                              Pollutants                                                                       BOD               10,919       4,953              7,101        3,221            COD               25,386       11,515             20,110       9,122            TSS               17,885       8,113              145,860      66,162                                                                                          Metals                                                                           Aluminum          260          118                834          378              Cadmium           ND           --                 0.8          0.4              Chromium          3.4          1.5                6.3          2.9              Copper            9.7          4.4                9.8          4.4              Cyanide           0.8          0.4                1.7          0.8              Gold              1.0          0.5                NA           --               Iron              366          166                NA           --               Lead              2.5          1.1                2.1          1.0              Magnesium         4,838        2,195              NA           --               Manganese         23.4         10.6               81.9         37.2             Mercury           ND           --                 0.3          0.1              Nickel            5.6          2.5                2.5          1.1              Selenium          ND           --                 7.3          3.3              Silver            0.8          0.4                0.5          0.2              Thallium          1.5          0.7                5.0          2.3              Zinc              8.3          3.8                118          53.5                                                                                            Other                                                                            Arsenic           ND           --                 3.8          1.7              Antimony          0.8          0.4                2.8          1.3              Boron             31.3         14.2               NA           --

COD = chemical oxygen demand; NA = not analyzed; ND = none detected.

oxygen demand, have increased significantly as sewage flow in the river has increased.  Others, such as boron, have remained unchanged.

In addition to the daily sampling in 1990, 12 weekly samples were also taken.  While the results were not markedly different from the daily sampling results, new &quot;highs&quot; were recorded for several constituents, including BOD, total dissolved solids (TDS), total suspended solids (TSS), chromium, and mercury.  Detectable levels of selenium were recorded for the first time.

The 1990 samples from Pump Station One were analyzed to characterize the wastewater that is expected to be received at the IWTP.  Based upon the average measured constituent concentrations, the level of pollutant loading at an estimated 10 mgd (438 lps) flow rate is shown in Table 3.1-3.

Subsequent sampling from Tijuana's Pump Station One and the emergency connector to the San Diego sewer system was analyzed by Malcolm Pirnie Engineers (1993) for the IWTP concept design.

Data from the 1993 sampling at the Tijuana River are also included in Table 3.1-2 (again based on the average measured constituent concentrations at an estimated 10 mgd [438 lps] of flow).  As shown in the table, over 290 pounds (132 kg) of cadmium, 110 pounds (50 kg) of mercury, 2,665 pounds (1,208 kg) of selenium, and almost 1,390 pounds (630 kg) of arsenic were introduced annually into the Tijuana River.  None of these substances were detected in 1990.  Other constituents detected in the river in 1993 include over 765 pounds (347 kg) of lead and approximately 620 pounds (281 kg) of cyanide annually.

Data from the 1993 sampling at Tijuana Pump Station One are also included in Table 3.1-3 (again based on the average measured constituent concentrations at an estimated 10 mgd [438 lps] of flow).  As shown in the table, the amounts of cadmium (over 2,225 pounds [1,009 kg]) and cyanide (over 620 pounds [281 kg]) flowing through Pump Station One annually. Additionally, over 2,480 pounds (1,125 kg) of selenium and over 1,385 pounds (628 kg) of arsenic annually flowed through Pump Station One (neither of these substances were detected in 1990).  Other constituents detected in the wastewater flows include over 765 pounds (347 kg) of lead and approximately 110 pounds (50 kg) of mercury annually.

Source Identification Program

In order to further characterize the wastewater that is expected to be received at the IWTP and in support of the Mexican Government's efforts to develop an industrial pretreatment program in Tijuana, early in 1995 the U.S. and Mexican Sections of the IBWC developed a continuing monitoring program.  The wastewater collector system in Tijuana was studied and 11 sampling locations in Mexico were proposed as part of a

TABLE 3.1-3

1990 &amp; 1995 POLLUTANT LOADING

AT PUMP STATION ONE (AT 10 MGD)

1990                           1995

Substance       Pounds/Day  Kilograms/Day       Pounds/Day  Kilograms/Day

Nutrients                                                                        Total nitrogen    4,867        2,208              NA           --               Total phosphorus  1,277        579.2              NA           --                                                                                              Pollutants                                                                       BOD               26,351       11,953             29,289       13,285           COD               68,905       31,255             68,507       31,075           TSS               28,602       12,974             22,196       10,068                                                                                          Metals                                                                           Aluminum          53.5         24.3               65.4         29.7             Cadmium           0.1          0.05               6.1          2.8              Chromium          2.8          1.3                2.1          1.0              Copper            14.3         6.5                8.2          3.7              Cyanide           0.7          0.3                1.7          0.8              Gold              0.7          0.3                NA           --               Iron              222          101                NA           --               Lead              3.8          1.7                2.1          1.0              Magnesium         3,867        1,754              NA           --               Manganese         10.3         4.7                9.8          4.4              Mercury           0.2          0.1                0.3          0.1              Nickel            3.1          1.4                1.0          0.5              Selenium          ND           --                 6.8          3.1              Silver            0.8          0.4                0.5          0.2              Thallium          1.6          0.7                5.0          2.3              Zinc              23.0         10.4               78.8         35.7                                                                                            Other                                                                            Arsenic           ND           --                 3.8          1.7              Antimony          ND           --                 2.6          1.2              Boron             32.2         14.6               NA           --

COD = chemical oxygen demand; NA = not analyzed; ND = none detected.

phased monitoring effort.  The City of San Diego was commissioned to perform the sampling for the EPA and the IBWC due to their expertise in sampling and analysis.  The sampling was conducted in strict adherence with the City of San Diego Wastewater Department's guidelines.

The first phase of the monitoring was completed in 1995 and second phase is scheduled to start in the summer of 1996.  The first phase contained three sampling points plus one additional sampling location at the Tijuana River in the United States, which was selected in order to characterize the water quality in the Tijuana River.  The sampling sites were Site 1, the international collector at Tijuana Pump Station One; Site 2, Tijuana Pump Station One; Site 3, Colonia 20 de Noviembre; and Site 4, the Tijuana River.

The U.S. and Mexican Sections of the IBWC conducted a wastewater characterization study during a 15-day period in the month of June 1995.  Twenty-four-hour composite samples were collected for metals and conventional parameters in order to get a long-term picture of the influent.  In addition, grab samples were collected for pesticides, volatile and semivolatile organic compounds, cyanide, oil and grease, and phenols.  Grab samples were used to indicate whether spikes of contaminants were present in the discharge.

The IBWC U.S. and Mexico Sections are preparing to initiate another round of sampling in 1996.  The goal is to include all of the 11 proposed sampling locations.  Based on the results of the June 1996 data set, additional phases with additional sampling locations may be needed.  Through this phased sampling effort, industries which may need to implement source control measures will be identified. Groundwater in Tijuana River Valley

Groundwater in the lower Tijuana River valley occurs in three zones: beneath the Nestor Terrace north of the valley, in the alluvial fill underlying the valley, and in the San Diego Formation beneath the alluvium (TJVCWD 1994a).  Of these three zones, the Tijuana Valley alluvium is the most studied and utilized.

The unconfined alluvial aquifer is approximately 6.5 miles (10.5 km) long, is 7,000 to 10,000 feet (2,134 to 3,048 m) wide, and has the potential to store about 65,000 acre-feet (80 Mm3) of water.  The thickness of the aquifer, which is composed of unconsolidated sands, silts, clays, and gravels, varies from 50 to 75 feet (15.2-22.9 m) in the east to approximately 150 feet (45.7 m) near the Pacific Ocean.  At the base of the alluvial aquifer is a layer of coarse sand, gravel, and cobbles (TJVCWD 1994a).  Gravel and sand layers are tapped by production water wells at depths of 20 to over 100 feet (6.1-30.5 m).

The San Diego Formation is composed of partly consolidated marine sand, silt, and conglomerate interbedded with volcanic tuff and bentonite.  It is estimated that this formation is at least 1,700 feet (518 m) thick.  Tests on a well approximately 1,400 feet (427 m) deep produced water at a temperature of 97 degrees Fahrenheit, having a pH of 5.9, and with a sulfurous smell.  These are characteristic of geothermal waters, indicative of contact with fractures and deeper volcanic material (TJVCWD 1994a).  Groundwater in the San Diego Formation occurs under confined conditions and does not appear to be in direct hydraulic contact with groundwater in the overlying alluvium.

The alluvial aquifer of the Tijuana River valley is recharged primarily by direct rainfall, subsurface inflow from adjacent areas, and intermittent flood flows (State of California 1967; USACE 1990; Rempel 1992). Surface flows in the river may also provide groundwater recharge (TJVCWD 1994a). The amount of groundwater inflow from across the international border has been estimated as 1,580 acre-feet/year (2.0 Mm3/year) (State of California 1952); 1,208 acre-feet/year (1.5 Mm3/year) (USACE 1965); and 1,160 acre-feet/year (1.4 Mm3/year) (IBWC 1976).  There is also potential recharge from water-bearing zones east of Interstate 5, which has not been estimated.

The chief factors contributing to the reduction of groundwater in storage are agricultural pumping and evapotranspiration from phreatophytes (deep-rooted plants notable for their ability to obtain water from groundwater or the overlying capillary fringe) and water hyacinths.  There is a possibility of minor outflow from the basin toward the north during periods of high groundwater.  The amount of groundwater discharging either directly to the ocean or to the lower reaches of the river has been estimated to be 2,090 acre-feet/year (2.6 Mm3/year) during dry years and 2,827 acre-feet/year (3.5 Mm3/year) during wet years (TJVCWD 1994a).

It is only when the amount of groundwater removed from a basin chronically exceeds natural recharge from rainfall, subsurface inflow, and intermittent flood flows that the groundwater table will begin to trend downward.  The record for the lower Tijuana River valley from 1965-1978 shows that once the rate of groundwater extractions are reduced, groundwater levels will recover from storm flows and subsurface inflows into the basin, even during an extended period of drier-than-normal rainfall and less-than-normal runoff, such as occurred from 1965 to 1978, so long as the natural recharge of groundwater is greater than the extraction rate.

Groundwater Levels

Water table elevations vary from year to year and between wet and dry seasons, depending on stream flow, accumulated rainfall, and groundwater pumping.  Seasonal water table measurements, taken in 1914 and 1915 during a relatively dry weather cycle, varied on the average from 5 to 15 feet (1.5-4.6 m) below the ground surface.  Measurements taken during the dry climatic period of the early 1960s after decades of substantial groundwater pumping varied from less than 25 feet (7.6 m) near the estuary to depths between 25 and 50 feet (7.6 and 15.2 m) in the upper valley.  During this time, the water table was lowered to the point where the hydraulic gradient reversed, drawing seawater up into the valley.  By 1967, seawater intrusion had affected most wells up to the U.S.-Mexico border.

As production wells depleted groundwater recharge, natural recharge from flows on the lower Tijuana River was reduced by upstream surface water diversions and dams.  For the period 1936 to 1976, average stream flow was about 50 percent below expected natural flow; in some years, all watershed runoff was trapped by the dams.

Increased annual precipitation and runoff between 1978 and 1984 and greatly reduced groundwater pumping for irrigation since 1970 appear to have since raised the groundwater levels to within 0 to 15 feet (0 to 4.6 m) of the ground surface throughout the river floodplain (Philip Williams 1987; Rempel 1992).  In deeper portions of the aquifer, fresh groundwater meets the interface with saline groundwater at about 19th Street.

Groundwater Quality

The sustained groundwater pumping of the 1950s, at rates twice the average annual natural recharge or safe yield, resulted in a groundwater decline of 23-30 feet (7-9 m) or more in the Tijuana River valley.  By the early 1960s, groundwater table elevations across much of the valley had fallen below sea level.  Due to this lowering of the groundwater table, highly saline groundwater from underlying and adjacent marine sediments and seawater began to invade and to degrade the alluvial aquifer (State of California 1975b; Rempel 1992).  This saltwater degradation contributed to the declining demand for Tijuana River valley groundwater in the 1960s.  As consumption eventually became less than natural recharge, the resulting annual surplus of supply began to overcome years of accumulated deficits, and water levels began recovering as early as the mid-1960s.

Today, the quality of groundwater in the Tijuana River valley is still characterized by high sodium chloride and high total dissolved solids.  These high salinity levels prevent the current use of well water for irrigation of salt-sensitive crops cultivated within the valley.  As a result of lowered groundwater levels and seawater intrusion, groundwater TDS concentrations along the coast have exceeded 27,000 milligrams per liter (mg/l) (a standard TDS content generally ranges between 1,000 and 1,500 mg/l).  In the Department of Water Resources Bulletin 106-2 (State of California 1967), the Tijuana River valley groundwater was rated generally inferior for domestic use due to its high sulfate and high fluoride concentrations.  It was also rated generally inferior for irrigation purposes because of high electrical conductivity, high chloride levels, and high percentage of sodium in the Spooners Mesa area.  In addition to seawater intrusion, the poor quality of the groundwater is also attributed to leakage of sodium chloride from the San Diego Formation, irrigation return, and groundwater movement from beyond the international boundary (EPA 1988).

Nevertheless, the Water Quality Control Plan for the San Diego Basin (9) designates municipal and domestic supply, agricultural supply, and industrial service supply as beneficial uses for the groundwater east of Hollister Street, although the area is exempted from the sources of drinking water policy (State of California 1995).  These beneficial uses do not apply west of Hollister Street. Hydrology of Tijuana River Estuary

The Tijuana River estuary is one of 18 estuarine research reserves in the United States and one of only two in California (Seamans 1988).  The estuary is the site of one of the United States' few long-term wetlands research programs.  In 1982, the Tijuana River National Estuarine Research Reserve was established by the NOAA to protect one of the few remaining large areas of coastal wetland in southern California (Figure 3.1-2).

Since 1982, a land acquisition program has been under way for the estuary.  However, land acquisition, by itself, cannot provide protection when major hydrologic changes can drastically affect the intricate and delicately balanced wetland ecosystems (Williams and Swanson 1987).  The Tijuana Estuary Management Plan (James Dobbin Associates 1986) established a framework for developing an enhancement plan to address the serious physical changes affecting the estuary.

The reserve includes approximately 2,500 acres (1,012 ha), with the estuary consisting of approximately 350 acres (141.6 ha) of tidal slough and salt marsh (as measured from 1986 aerial photographs) (Philip Williams 1987:9; Nordby and Zedler 1991).  Tidal channels comprise approximately 148.3 acres (60 ha) of the estuary (Nordby and Zedler 1991).  The estuary is bisected by the Tijuana River into a northern arm and a southern arm and is bounded by coastal uplands to the north and south and the alluvial floodplain of the Tijuana River to the east.  A three-mile-long (4.8 km) barrier beach separates the estuary from the Pacific Ocean at its western boundary.  From the estuary entrance channel, tidal flows are distributed by four channels.  The Oneonta Slough channel drains the isolated north arm of the estuary.  The Tijuana River Slough, Mid-Valley Slough, and Old River Slough drain the central and southern portions of the estuary in the active delta of the Tijuana River.

The Tijuana River estuary is hydrologically linked to its watershed via intermittent freshwater river flow, intermittent sewage spills and flows, and street drains, all of which degrade the estuary (Zedler et al. 1990).

Natural Functioning of the Estuary

The Tijuana River estuary has become a highly stressed ecosystem, with both chronic and catastrophic assaults on the coastal habitats (Zedler et al. 1990).  Such stresses include perennial flows of wastewater; intermittent sewage spills; freshwater discharges from Rodriguez Dam; sedimentation and sand erosion from the watershed that followed major floods in 1978, 1980, 1983, 1984, and 1993; and urban runoff.

In its natural state, the tidally influenced portion of the Tijuana River estuary was considerably larger than at present and consisted of about 870 acres (352 ha) of intertidal wetland.  Tidal slough channels extended into the estuary over 3,000 feet (914 m) east, 5,000 feet (1,524 m) north, and 2,000 feet (610 m) south from the entrance channel.  Because of its size, the estuary's tidal volume was larger and its tidal circulation sufficient to maintain an open, subtidal entrance channel and an extensive network of interior slough channels. In its natural state (prior to 1852), the potential diurnal tidal prism (the volume of water in the estuary between the mean higher high water [MHHW] and mean lower low water [MLLW]) is roughly estimated to have been about 1,500 acre-feet (1.85 Mm3).  This meant that the ebb flow velocities were strong enough to scour away any sand deposited by wave action in the entrance channel and that the entrance channel was not closed by sand movement during large storms.

The physical appearance and functioning of the Tijuana River estuary have changed dramatically since 1852 due to sedimentation and modification by human activities.  Over 60 percent of the original 1852 intertidal wetland has been filled or otherwise modified and removed from tidal influence.  This has resulted in a significant reduction in the tidal prismabout 80 percent loss since 1852and an even greater loss in actual tidal exchange and circulation.  The estuary now contains about 290 acre-feet (0.36 Mm3) of potential tidal prism and most of that is elevated above MSL (Entrix et al. 1991).  Because the scouring force of the tidal currents has greatly diminished, the tidal entrance channel is now susceptible to closure, slough channels are less efficient hydraulically, and the existence of tidal saline wetlands in the entire estuary is threatened.

Sedimentation

Sediment movement through the estuary during floods is dependent on the magnitude of the flood, the volume of sediment, and the alignment of the river channel with the entrance channel.  During the course of a single flood, some of the tidal channels can experience sedimentation while others experience erosion. Consequently, after large floods, tidal action still occurs in the central part of the estuary.

The north arm of the estuary and, to a lesser extent, the south arm are protected against the flood-flow sediment transport on the Tijuana River.  The north arm is isolated from the river channel by an intervening bluff; its only connection with the river is the mouth of Oneonta Slough. Sediment delivery to the south arm has increased greatly due to urbanization near the tributary canyons to the west and road construction which limits tidal action upstream.  The constricting effect of culverts tends to trap sediment and cause the permanent loss of more wetland upstream.

Closure of Entrance Channel

The entrance channel in 1987 was approximately 100 feet (30 m) wide at MHHW compared to about 1,200 feet (366 m) in 1852 (Philip Williams 1987). Figure 3.1-2

The entrance channel at the Tijuana River estuary has shifted from an &quot;always open&quot; regime to an &quot;intermittently closed&quot; regime.

Barrier Beach Migration

The historical movement of the barrier beach is a major cause of the reduction in tidal prism in the estuary.  Sand washed over the barrier beach has filled slough channels and constricted tidal flows.  Between 1852 and 1986, the seaward edge of the barrier beach retreated landward over 300 feet (91 m) on average on both the north and south segments.  The landward edge has retreated about 400 feet (122 m) on average in the same period because of washout and flattening of the barrier beach dunes.

In addition to wave attack, the barrier beach would migrate inland in response to rising sea level and changes in the supply of sand.  The long-term inland migration rate with a rise in sea level of 0.6 feet (0.2 m) per century has been approximately 2.5 feet (0.8 m) per year (Philip Williams 1987:15). (There are now predictions that the rise in sea level will accelerate to roughly 4 feet [1.2 m] per century due to global warming.  This could accelerate inland migration to about 8 feet [2.4 m] per year.)  Dams constructed in the Tijuana watershed appear to have reduced sand delivery to the beach by about 30 percent. This, too, causes an increase in the rate of beach migrations.

Decrease in Estuary Salinity

The salinity patterns at the Tijuana River estuary are far from what would be expected under a natural hydrologic regime.  With good circulation throughout the estuarine channels, the water salinity would be close to 34 parts per thousand (ppt) except during and shortly after rainfall events.  Instead, the Tijuana River has greatly increased flows during the dry season, which are largely attributable to wastewater from Mexico.  Tidal flows are strongest in the northern arm of the estuary (Oneonta Slough), where tidal waters are measurably, but not greatly, diluted (31 ppt).  The patterns of salinity in the channels indicate that it is sewage inflow from the Tijuana River, rather than local urban runoff, that is responsible for most of the salinity dilution in Oneonta Slough.  Wastewater is influencing the salt-marsh habitat in the estuary (by salinity dilution), and exotic species and brackish-marsh species are invading near sources of urban runoff (Zedler et al. 1990).

Channel Flora and Fauna Responses

Fish and invertebrate populations are impacted by the continuous wastewater flows and periodic closure of the estuary mouth, with fewer species and individuals than has occurred in previous years (Zedler et al. 1990; Tierra Environmental Services 1996).  The flow of wastewater into the estuary has resulted in an incremental and significant loss in the abundance of fish and invertebrates, as much as 50 percent over the last decade (Jorgenson, California Department of Parks and Recreation, 1990).  The lower marsh vegetation (cordgrass) may have increased growth as a result of the increased nutrient loading and decreased soil salinities associated with the wastewater.

Groundwater Quality

The U.S. Army Corps of Engineers initiated a groundwater sampling program in July 1990, partially in response to concerns about heavy metals in sediments of the Tijuana River estuary.

A study by Gersberg, Trintade, and Nordby (1989) found that despite continued inflow of sewage containing heavy metals from Tijuana into the Tijuana River and estuary, only cadmium was found to be elevated in the sediments of both river and southern estuary sites.  In fish, only lead was found to be present at a level above an international standard, but not at a level that poses a significant public health risk (Gersberg, Trintade, and Nordby 1989).  However, Zedler et al. (1990) found that soils in the marsh habitats near the estuary's main channels, downstream of Goat Canyon and in the Oneonta Slough, are contaminated with heavy metals.  Cadmium was the predominant contaminant near the main estuary channels, while copper was the predominant element in the slough.

As part of the USACE sampling effort, both soil sediments and water quality were sampled; however, only water quality tests were performed, since any contamination present would probably show up in the water quality tests, making any soils tests redundant (USACE 1990).  A summary of the findings from the report are discussed below.

Six wells were drilled to depths of 45 feet (13.7 m) along the previously proposed land outfall extension alignment.  Silts, silty sand, and clays were the predominant sediments encountered.  Water samples were collected for testing from three of these wells, all southwest of Goat Canyon, and a fourth well northeast of Goat Canyon which had been installed previously.  Water quality testing was performed by the USACE laboratory in Sausalito and the Quality Assurance Laboratory in San Diego. The State Department of Health Services (DHS), Radiation Laboratory, Berkeley, checked the water samples for radioactivity; and the ERCE Bioassay Laboratory, San Diego, performed biological toxicity tests.

A series of critical life-stage echinoderm fertilization tests which used the purple sea urchin (Strongylocentrotus purpuratus) yielded significant negative results.  Fertilization rates for urchins in well water were significantly lower than for controls.  Two additional chronic tests were performed by the ERCE laboratory in January 1991, utilizing larval silversides (Menidia beryllinaa fish) and larval mysid shrimp (Mysidopsis bahia).  These tests indicate no toxicity to fish even at full concentration and no observable effect on shrimp at a 2:1 dilution.

Oceanography

The following discussion is based upon the Tijuana Oceanographic and Engineering Study (Engineering Science 1988), Marine Environmental Impacts of the Proposed Secondary Treatment System (Kinnetic 1991), and Wastewater Discharge Modeling and Analysis of Alternative Interim Discharge Options (Parsons Engineering Science 1996). Physical Oceanographic Conditions

The physical oceanographic conditions at the ocean outfall site will control the amount of dilution and dispersion of the wastewater field that will be achieved by the marine outfall.

Regional and Local Currents

The currents along the California coast are dominated by the offshore, southward-flowing California current.  The California current system consists of (1) a broad, southerly flowing surface and near-surface current that flows at the edge of and beyond the continental shelf, (2) a northerly flowing undercurrent that flows under the southerly current, and (3) northerly countercurrents at the surface and near-surface which flow near the coast.

The position and intensity of the California current varies with the season and typically shifts onshore in the spring and summer, with the advent of the persistent northwesterly winds.  The countercurrent flows northward at a depth of 90 feet (27.5 m) from Baja California to beyond Cape Mendocino in Humboldt County, northern California, and transports warm, high-salinity Equatorial Pacific water northward.  From early spring to fall, there is a strong equatorward coastal flow occurring with the northerly undercurrent due to wind stresses.  By September, because of the weakening of this wind stress, a broad northward surface current develops within 62 miles (100 km) of the coast, called the Davidson current.  Coastal currents within the California system interact with seasonal upwelling events that bring cool, dense water to the surface and influence the dynamics of the flows.

Point Conception represents the northern extreme of the region known as the Southern California Bight.  The eastward indentation of the coastline to the south of the point results in a separation of the California current from the coast.  The California current itself turns shoreward offshore northern Baja California, resulting in an eddy flow within the bight, and generally western flow in the Santa Barbara Channel, rejoining the California current near Point Conception.  This reverse gyre is, thus, a predominant feature of the coastal currents within the Southern California Bight.  The San Diego region is near the southern edge of this eddy.

The South Bay region is characterized as a coastal bight and extends from Point Loma to far northern Baja.  The coastal currents in this southern coastal region were measured for a 24-month period between 1986 and 1988 for the TOES (Engineering Science 1988).  The mean flow was measured by current meters in 15 stations in U.S. and Mexican waters.  This current meter data were augmented by satellite imagery and other studies (drogue release studies).

Modeling of the flow patterns was conducted by Hendricks (1988). The mean flow pattern for the first 12 months was predominately to the south.  The principal pattern was found to be a relatively uniform longshore flow north and south along the coastline, representing about 60 to 65 in the variance in current measurements.  A second, independent flow pattern consists of a recurring eddy with counterclockwise circulation south of Point Loma of varying intensity that can extend 6.2 to 9.3 miles (10 to 15 km) offshore and approximately 10.6 miles (17 km) alongshore.  About 87 percent of the variability in current meter data is accounted for by these two patterns.  Figure 3.2-1 depicts the combined flows from these two current patterns.

The shoreline circulation is predominantly influenced by waves.  During the late fall, winter, and early spring, swells from northerly storm systems are most characteristic.  Southerly swells occur during summer and fall as a result of tropical storms and wind patterns.  Wave data from an Imperial Beach monitoring station indicate that the predominant wave direction is from the west to southwest, with a nearly continuous northern transport through the Imperial Beach area and along the Silver Strand.

Ocean Floor Composition

The shore types in the South Bay area are represented by sand beaches, wave-cut rocky platforms, and gravel boulder beaches.  The area from the international border north to Zuniga Point, at the entrance to San Diego Bay, a reach of 22 miles (35.6 km), is sandy beach with a shallow sloping sandy shelf.  Wave-cut rocky platforms and gravel beaches are found south of the border in Baja.

The South Bay area is comprised almost entirely of medium- to coarse-grained sand beach.  The only intertidal hard substrate is found 12.9 miles (20.8 km) to the north and consists of the south jetty riprap at Zuniga Point at the mouth of San Diego Bay.  A remote-operated vehicle reconnaissance survey of the South Bay outfall area was conducted in May 1990 (Kinnetic Laboratories 1990). Soft bottom habitat characterized the proposed South Bay outfall alignment with a short stretch of cobble bed at about 55 feet (16.8 m) depth.  Coarse shell debris was observed along the outfall alignment from 50-80 feet (15.3-24.4 m) deep, with finer sediments inshore and offshore.

A study area one mile north and parallel to the outfall alignment indicated significantly more low-relief rocks, boulders, and cobbles from approximately 48 feet (14.6 m) out to 90 feet (27.5 m) in depth.

Figure 3.2-1

Seawater Characteristics

The ambient seawater density profile in the vicinity of the diffuser portion of an ocean outfall determines the trapping depth of an effluent plume.  Also, the relative difference between ambient and effluent density dictates how effective mixing would be near the diffuser outlets.  Because of this, the local vertical density distribution in the water column plays an important role in determining the amount of initial dilution that can be achieved.

In general, density varies on a seasonal basis, as well as in response to short-term, large-amplitude tidal and internal waves which can cause major perturbations in the density profile.  In the South Bay region, the water column was found to be well mixed during winter months with little detectable stratification except for a slight increase in density with depth to maintain stability.  During the summer, the water column tends to be stratified by water temperature and density at depths between 10 and 20 meters (33 and 65 feet).

Marine Water/Sediment Quality

Waste discharges can increase levels of chemical constituents in the water column, sediments, and body tissues of marine organisms.  Sediments and associated interstitial waters are often more directly affected by ocean discharges, since sediments act as a repository for particulate materials that settle to the bottom.  As solids settle out from a waste field plume, the accumulation of nutrients and chemicals in the sediments tend to select for different types of biological communities than originally lived in the area.  High concentrations of organic matter and inorganic nutrients from municipal wastes can stimulate bacterial and phytoplankton growth, leading to oxygen depletion.  This results in a reduction of species diversity of benthic fauna and also reductions in abundance.  The Marine Biology section discusses the marine resources of the South Bay area in more detail.

Regionally, nutrient concentrations in seawater, both dissolved and particulate, are generally low.  Uptake in the near-surface waters by phytoplankton further reduces the concentrations of inorganic nutrients.  Upwelling of nutrients regenerated at depth provides a source for enhanced plankton production, as does wastewater discharge.  The most recent water quality data for the South Bay area comes from the TOES (Engineering Science 1988).  The seasonal variations in dissolved oxygen concentrations and pH levels were consistent with the rest of the California bight.

Sediment samples were also collected during the TOES.  Organic carbon, biological and chemical oxygen demand, sulfides, total nitrogen, arsenic, lead, nickel, zinc, copper, chromium, cyanide, and DDT were highest in the northwest areas.  Sediments were highest in mercury, cadmium, silver, and phenol in the central areas, and adjacent to the Tijuana estuary, higher sediment concentrations were found for nickel, zinc, copper, chromium, and DDT.

The State Water Resources Control Board has conducted a &quot;State Mussel Watch&quot; program (SMW) since 1977 throughout California (State of California 1988).  This program maintains a station in the South Bay area.  The program establishes &quot;elevated data levels&quot; (EDLs) for trace metals and organics.  The EDL is a concentration of a toxic substance in a mussel that equals or exceeds a specified percentage of all SMW measurements of the toxic substance in the same mussel type between 1977 and 1987.  Although trace metals were found in tissues of mussels at all stations, no EDLs were reported in mussels collected from the South Bay area.

LA-5 Dump Site

Since 1977, the USACE . has permitted disposal of more than three million cubic yards of sediment at the LA-5 dump site offshore San Diego.  The U.S. Navy and San Diego Bay shipbuilders (NASSCO, Southwest Marine) have been the major users of the site in depositing dredged sediments from south San Diego Bay.

The site is centered five miles (8 km) downcoast of Point Loma and includes all areas within a 1,000-yard (915 m) radius of the center, ranging in depth from about 80 to 110 fathoms (146 to 201 m).  Bottom currents have not been measured at the site.  The EPA has recently documented that the actual radius of the dump site is about 5,000 yards (4,572 m), presumably due to inaccurate disposal procedures.

Site LA-5 sediments ranged from sandy silt to silty clay.  Measured sediment metals were characteristically within the range of values for the southern California shelf reported by Chow and Earl (1977).  Measured values of sediment oil and grease (90 ppm) and DDT (3 ppb) were elevated above reference site values, but fell well below values associated with wastewater outfalls.  PCB data were inconclusive since levels were below detection limits for many sediment samples, while being slightly elevated above reference site values in other samples.  Water column measurements of trace metals and hydrocarbons were below employed detection limits, similar to reference sites.

Bacterial Contamination

Because of malfunctions in Tijuana's pumping and conveyance systems, EPA previously estimated that 10 to 22 mgd (438 to 964 lps) flows from Tijuana to San Diego by way of the Tijuana River and estuary (Kinnetic 1990).  Mexico has now significantly reduced these flows. Wastewater flow threatens the environment of the Tijuana River estuary with severe negative impacts and contaminates much of the southernmost beaches in San Diego County.

The San Diego County Department of Health Services has data regarding violations of the bacteriological standards on South County beaches.  From 1980 to present, approximately two miles of beach (from the international border to the south end of Seacoast Drive) have been under almost continuous quarantine due to violations of total coliform standards.  Since 1983, these South County beaches has been sampled by three agencies, the RWQCB, the County of San Diego, and the IBWC.  These efforts result in samples being taken every two to three days, with only occasional missed sampling dates.  The results of coliform monitoring during January, February, and March of 1990 show that the highest concentrations of coliform bacteria were located between the U.S./Mexico boundary and 0.75 mile (1.2 km) north of Imperial Beach, with the highest of these located at the mouth of the Tijuana River.  Total coliforms exceeded 1,000 minimum probable number (MPN)/100 ml in 60 percent of the samples.  The State Ocean Plan requires that no more than 20 percent of the samples exceed this value in a 30-day period.

Beneficial Uses

Preservation of beneficial uses is the main objective of the California Ocean Plan that establishes standards to &quot;protect the quality of ocean waters for use and enjoyment by the people of the state.&quot;  Beneficial uses considered in this section are mainly related to coastal recreation and commerce.

Recreation

San Diego County's 72 miles (116 km) of coastline have 52 designated beaches and parks, 11 of which occur in the Point Loma-South Bay area.  Beaches and seaside parks offer a wide variety of recreational activities.

Although South Bay beaches have good public access, they are not as popular as others elsewhere in the county because of periodic closure of these beaches as a result of contamination by sewage from Tijuana.  The DHS has imposed repeated quarantine on beaches from the border to Imperial Beach and has occasionally had to close beaches as far north as Coronado.  This has had an adverse impact on tourism and recreation in the South Bay and has damaged local economies.

Diving

San Diego County offers some of the best diving in southern California and features offshore reefs and kelp beds, wrecks and artificial reefs, submarine canyons, and underwater preserves.  The California Department of Fish and Game (CDFG) surveyed diver catch at small boat launch ramps in San Diego Bay and Mission Bay in the early 1980s.  Abalone, lobster, rock scallop, sheephead, and kelp bass were the principal game species taken (State of California 1981a, 1981b).

The northern South Bay offshore area has a small kelp bed and extensive cobble beds and reefs.  It is distant from San Diego Harbor, however, and not often dived.

Sportfishing

Over a million people a year (22 percent in San Diego County) sportfish in southern California's marine waters (National Coalition for Marine Conservation 1985).

Sportfishing is done from private and chartered boats, from shore, and from jetties and piers.  San Diego County accounts for about 22 percent of all sportfishing in southern California.  Sportfishing from privately owned boats in San Diego County was surveyed by the CDFG.  Pacific mackerel was the most commonly caught species, followed by Pacific bonito, sand bass, and kelp bass.

Most fishing boats heading south out of San Diego Harbor are bound for the Coronado Islands.  The inshore waters are usually bypassed although an occasional charter boat will fish the small kelp bed off Imperial Beach or rockfish grounds in deeper water.  Shore and pier fishing are the prevalent types of fishing in the South Bay.  The Imperial Beach Fishing Pier is two miles north of the proposed outfall alignment.

Boating

Sailing and boating are popular pastimes in San Diego.  Most boats are docked or launched in San Diego and Mission Bays.  The South Bay is far from launch and dock areas in San Diego Bay and is rarely visited by recreational boats.  Sailboats and powerboats usually cruise through the area well offshore.

Whale Watching

Gray whales migrate through San Diego's coastal waters twice a year on their way between summer feeding grounds off Alaska and calving areas in the coastal lagoons of Baja California.  The whales tend to swim closer to shore from February to March on their northward migration when calves are present, than on the southward migration during December to January.  However, whale watching boats only occasionally range down to the South Bay area. Commercial Fishing

San Diego's commercial fishing fleet includes about 500 licensed vessels and 1,500 licensed fishermen (Kaupp 1986).  Although tuna comprise about 45 percent of the commercial catch brought ashore at San Diego (4,041,000 pounds [1,837 metric tons] valued at $5,027,000 for 1987), port landings have declined significantly during the last decade due to the transfer of canning operations overseas.

Commercial fishing generated more than $60 million in 1987 for the City's economy.  Commercial fisheries landings at the ports of Mission Bay and Oceanside are small compared to the Port of San Diego and have diminished over the last three years.  Most of the nearshore fish and shellfish harvested by commercial fishermen are taken in the vicinity of kelp beds.

As with recreational fishing, commercial fishing in the South Bay and off Sorrento Valley is much less intensive than in more northern areas of San Diego County.  The South Bay, however, does have an emerging prawn/shrimp fishery (likely to outpace those of other areas in San Diego County).  The only mariculture lease in the project area is a 10-acre (4 ha) site one nautical mile (1.85 km) off the Silver Strand State Beach lookout tower, five nautical miles from the proposed South Bay Ocean Outfall.  This site has been used for marine bivalve aquaculture in the past, but the CDFG had to suspend the operation because of declining water quality due to intrusion of Mexican sewage flow.

Kelp Harvesting

The San Diego-based company Kelco regularly harvests the Macrocystis sp. (giant kelp) canopy from Point Loma, La Jolla, and in

the North County from Del Mar through Carlsbad.  Kelp is gathered by a specially designed ship that cuts the kelp to a depth of about three feet (0.9 m) below the surface (McPeak and Glanz 1984).  The small kelp bed off the mouth of the Tijuana estuary has been harvested intermittently by Kelco in the past, but has not been a significant resource.

Shipping

San Diego Harbor is a major commercial shipping center for the southwest United States.  Between 1,200 and 1,400 commercial and other vessels called at San Diego Bay annually during the period 1979-1983 (EPA 1988).  However, the commercial shipping lanes are over five miles offshore, well beyond the South Bay outfall area.

Military Use

The Port of San Diego is home base for a large Naval fleet of over 120 ships.  San Diego's offshore area is used extensively for military operations, including surface and submarine fleet maneuvers and antisubmarine warfare training.  The maneuvers closest to the South Bay area are amphibious operations and training, which take place along the Silver Strand in Coronado.

Research and Education

The Scripps Institution of Oceanography in La Jolla, the National Marine Fisheries Service, San Diego State University, the University of San Diego, and the Sea World Marine Institute all conduct ocean studies off the coast of San Diego.  San Diego State University has an extensive long-term research program in the Tijuana River estuary, but no long-term study sites are located offshore. Areas of Special Biological Significance

There are two Areas of Special Biological Significance (ASBSs) in San Diego County.  Both ASBSs are located in La Jolla:  the San Diego-La Jolla Ecological Preserve and the San Diego Marine Life Refuge.  The ecological preserve runs from La Jolla Cove to La Jolla Shores and the marine life refuge runs from the Scripps Institution of Oceanography to Black's Beach.  The California Ocean Plan prohibits discharge of waste into an ASBS and requires that outfalls be located at a sufficient distance away from an ASBS to assure the maintenance of natural water quality conditions.  The South Bay outfall area is located approximately 20 miles (33.3 km) from the ASBSs in La Jolla.

Terrestrial Biology

Descriptions of the vegetation communities and sensitive resources found in the Tijuana River valley on the U.S. side of the border are contained in the Final EIS and Biological Assessment (EPA 1994).  This section of the SEIS discusses the freshwater riparian biological resources that may be affected by the interim discharge alternatives discussed in this document.  Coastal habitats such as coastal salt marsh, brackish areas, and estuarine intertidal areas are discussed in a separate part of this document.

Historical Perspective

The interim discharge alternatives include live stream discharge to the Tijuana River as an option under Alternatives 2 (Operate IWTP) and possibly 3 (Operate IWTP with Detention Basin).  Live stream discharge of effluent to the river will maintain low flows during the dry season.  These dry-season low flows could influence the hydrology and riparian vegetation of the river corridor (i.e., adjacent to the low-flow channel).  Therefore, a brief discussion of the factors that affect hydrology and riparian vegetation is presented.

Factors that have affected, and continue to affect, the hydrology and vegetation of the Tijuana River valley are discussed below.  The hydrologic environment is briefly described and then a brief section on historical changes in riparian habitat is presented.  This information provides background material to be considered when dealing with the potential impacts of the project discussed in Chapter 4 of this document.

Historical Changes in Riparian Habitat

The extent of riparian habitat along the lower reach of the Tijuana River has changed considerably over the years due to many factors, including changes in groundwater depth, a shifting river channel, and adjacent land uses.  Periodic flood flows also influence the dynamics of the riparian vegetation by removing vegetation during high-velocity, high-volume flood events (e.g., 100-year flood) or by helping to sustain vegetation on the floodplain during lower-velocity, lower-volume flood events (e.g., 10- to 20-year flood).  Perhaps the most significant factor which has affected the amount of riparian vegetation in the lower Tijuana River valley is land use.

The riparian habitat in the lower Tijuana River valley has been influenced by agricultural and grazing practices since the early 1900s.  These intensive land uses typically cleared all riparian habitat in their wake until much, if not all, of the native riparian habitat was removed from the valley.  This trend continued into the 1960s and, coupled with an overdraft of the basin groundwater and a degradation of the groundwater quality, further reduced the extent and possibility for reestablishment of any riparian vegetation.  Large areas of riparian habitat were cleared in the late 1980s by local operations in the river valley, but in general, as agricultural fields were abandoned during the 1970s and 1980s and the groundwater table recovered from the overdraft, areas that once supported native riparian vegetation slowly recovered.

The extent of the existing riparian corridor vegetation (plants growing or immediately adjacent to the low-flow river channel) has been increasing since the late 1970s from about 96 acres (38.9 ha) in 1979 to approximately 238 acres (96.3 ha) in 1990 (Chambers Group 1990).  If the riparian corridor is combined with habitat in the floodplain and adjacent canyons, over 700 acres (283.3 ha) of riparian habitat exists in the valley (Chambers Group 1991). Existing Conditions

The Tijuana River on the U.S. side of the border meanders in a northwesterly direction to the Pacific Ocean.  The current riparian corridor extends from Dairy Mart Road to the eastern boundary of the Tijuana River estuary.  Within the Tijuana River estuary, there is a transition from riparian habitat to salt marsh habitat which is influenced by the tidal prism.

The Tijuana River valley supports the following riparian habitat types: mule fat scrub, southern willow scrub and woodland, freshwater marsh, and disturbed floodplain.  Black willow (Salix gooddingii), red willow (S. laevigata), and an occasional cottonwood

(Populus sp.) make up the tree layer while arroyo willow

(S. lasiolepis), narrow-leaved willow (S. exigua),

and mule fat (Baccharis salicifolia) are the primary large shrub species present.

The entire floodplain of the river east of Dairy Mart Road is currently being managed by USIBWC.  This management involves the periodic mowing of the vegetation to control floodwaters.  Some areas of the floodplain are recovering from current disturbances, and these areas are temporarily vegetated with scattered young willows, mule fat shrubs, and various herbaceous species.

To the west of Dairy Mart Road are stands of mule fat scrub, southern willow scrub, and southern willow woodland growing along the low-flow channel and out into the floodplain of the river.  The riparian habitat of the floodplain is relatively undisturbed except where agriculture, migrants, or river scour has impacted the vegetation.  Areas of the low-flow channel where backwater collects or ponds can support small stands of freshwater marsh.  In addition, several large ponds sustained by groundwater that support some freshwater marsh vegetation occur just south of Interstate 5, east and west of Dairy Mart Road.

The riparian habitat of the Tijuana River valley supports a wide variety of wildlife species.  Common wildlife species observed include mule deer (Odocoileus hemionus), southern pocket

gopher (Thomomys umbrinus), California ground squirrel

(Spermophilus beecheyi), striped skunk (Mephitis mephitis), opossum (Didelphis virginiana), green-winged teal (Anas

crecca carolinensis), mallard (Anas platyrhynchos platyrhynchos), scrub jay (Aphelocoma californica), mourning dove (Zenaida macroura marginella), loggerhead shrike (Lanius ludovicianus), red-tailed hawk, sharp-shinned hawk (Accipiter striatus velox), Cooper's hawk (Accipiter cooperii), black-shouldered kite

(Elanus caeruleus), northern harrier (Circus cyaneus

hudsonius), house finch (Carpodacus mexicanus frontalis),

lesser goldfinch (Carduelis psaltria hesperophilus), song

sparrow, common yellowthroat (Geothlypis trichas), Bewick's wren (Thyromanes bewickii), Nuttall's woodpecker (Dendrocopos nuttallii), northern flicker (Colaptes auratus), yellow-rumped warbler (Dendroica coronata), white-crowned sparrow, yellow-breasted chat (Icteria virens auricollis), yellow warbler (Dendroica petechia), least Bell's vireo (Vireo bellii pusillus),

orange-throated whiptail (Cnemidophorus hyperythrus beldingi), and bullfrog (Rana catesbeiana).

Federal Endangered Species

The U.S. Fish and Wildlife Service (USFWS) provided a list of federal endangered and threatened species that occur or have the potential for occurrence within the proposed project area (Kinney 1990a).  Federal endangered or threatened wildlife species that occur or could occur in the area of the proposed action are Pacific little pocket mouse, California brown pelican, light-footed clapper rail, California least tern, American peregrine falcon (Falco peregrinus anatum), western snowy plover, coastal California gnatcatcher (Polioptila californica californica), southwestern willow flycatcher (Empidonax traillii extimus), and least

Bell's vireo.  One federal endangered plant species occurs in the area of the proposed action, salt marsh bird's beak.  Details of the population status of each of these species in the Tijuana River valley are contained in the Biological Assessment for the Final EIS (EPA 1994).

Estuarine Biology

The information provided in this section is derived primarily from the Biological Impacts of Interim Discharge of Primary Treated Effluent from the International Wastewater Treatment Plant to the Tijuana Estuary, prepared by Tierra Environmental Services (1996).  This report is included as Appendix B.

The Tijuana estuary is located in the southwestern corner of the continental U.S. and has been designated the Tijuana River National Estuarine Research Reserve by the NOAA.  The reserve includes approximately 2,500 acres (1,012 ha), of which 149 acres (60 ha) are tidal channels (Nordby and Zedler 1991).  The Tijuana River bisects the estuary into a northern arm and a southern arm and rarely provides substantial freshwater except during exceptionally wet winters or in years with sewage-augmented flows.

The Tijuana estuary supports a diverse assemblage of species and habitats in response to high variability in topography, tidal influence, and stream flow.  Seven major habitat types have been identified (Figure 3.4-1), including estuarine channels and tidal creeks, salt marsh, brackish marsh, intertidal flats, salt pan, transition from upland to wetland, and dunes and beach (Zedler and Nordby 1986).  The habitats that are most likely to be impacted by raw or treated sewage are the channels and tidal creeks, intertidal flats, intertidal marsh and, to a lesser degree, dunes and beaches.  For the purpose of this discussion, channels, tidal creeks, and intertidal flats are considered a single continuous habitat dominated by water at extreme high tides and intertidal flats with subtidal refuges during extreme low tide.

A USFWS tabulation of state and federal listed and proposed endangered, threatened, and candidate species that may occur within the Tijuana River estuary region is presented in Table 3.4-1 (Kinney 1990b).  The following discussion summarizes some of the key features of each of the habitat types and notes sensitive species most likely to be associated with each.

Estuarine Channels, Tidal Creeks, and Intertidal Flats

Channel habitats are important for a variety of organisms and communities including phytoplankton, macroalgae, invertebrates, fishes, and birds (Zedler and Nordby 1986).  These habitats are subjected to a wide range of environmental conditions depending on influences of tidal flushing and freshwater inflows.  Both influence water movement, salinity, temperature, nutrients, and dissolved gases.  Nutrients imported to the estuary from offshore are more readily available to organisms near the mouth than to those located farther away.

TABLE 3.4-1

LISTED AND PROPOSED ENDANGERED AND THREATENED SPECIES

AND CANDIDATE SPECIES THAT MAY OCCUR IN THE AREA

OF THE TIJUANA RIVER ESTUARY

Common Name                Scientific Name               Code

Federally and State-listed Species

Birds                                                                        Western snowy plover        Charadrius alexandrinus               FT         Yellow-billed cuckoo        nivosus                               SE         Southwestern willow         Coccyzus americanus                 SE/PE        flycatcher                  occidentalis                        SE/FE        American peregrine falcon   Empidonax traillii extimus            SE         Belding's savannah sparrow  Falco peregrinus anatum             SE/FE        California brown pelican    Passerculus sandwichensis             FT         Coastal California          beldingi                            SE/FE        gnatcatcher                 Pelecanus occidentalis              SE/FE        Light-footed clapper rail   californicus                        SE/FE        California least tern       Polioptila californica                           Least Bell's vireo          californica                                                                  Rallus longirostris levipes         SE/PE        Plants                      Sterna antillarum browni            SE/FE        Coastal dunes rattleweed    Vireo bellii pusillus                            Salt marsh bird's beak                                                                                                                         FE         Fish                        Astragalus tener var. titi                       Tidewater goby              Cordylanthus maritimus ssp.                                                  maritimus                             FE         Mammals                                                                      Pacific little pocket                                                        mouse                       Eucyclogobius newberryi               PE                                                                                      Amphibians                                                                   California red-legged frog  Perognathus longimembris                                                     pacificus                                                                                                                                                                                                                              Rana aurora draytonii

Federal Candidate Species

Birds                                                                        Mountain plover             Charadrius montanus                   FC

Status Code

FC = Federal candidate for listing

FE = Federally listed as endangered

FT = Federally listed as threatened

PE = Federally proposed endangered

SE = State listed as endangered

Figure 3.4-1

from the mouth.  This gradient is also evident in terms of temperature, salinity, and dissolved oxygen, with areas nearest the mouth being less variable than those located farther from the source of tidal exchange.  These environmental factors influence species composition and distribution and the population and community dynamics of the channel organisms.

Algae

Phytoplankton of the Tijuana estuary are highly variable in terms of species composition and density (Zedler and Nordby 1986).  Dinoflaggelates, diatoms, filamentous blue-green algae and unidentified unicells, or &quot;monads,&quot; are present in the water column (Fong 1986).  These phytoplankton are also present in nearshore habitats, in lower densities.  Phytoplankton density was found to be highest during spring/ summer &quot;blooms,&quot; especially in tidal creeks where current speeds are low and nutrients abundant (Zedler and Nordby 1986). Experimental manipulation supported the relationship between high nutrients and phytoplankton blooms (Fong 1986).

Macroalgae

Macroalgae, including genera such as Enteromorpha and Ulva, are similarly influenced by low tidal velocities and nutrients (Rudnicki 1986).  In particular, field sampling demonstrated that macroalgal growth was stimulated by nutrient input following runoff from rainfall.

Invertebrates

Studies of the invertebrate community of the Tijuana estuary, especially the benthic community, have included primarily resource inventories and short-term or species-specific studies.  Such surveys have documented more than 75 benthic species (Zedler and Nordby 1986).  A long-term monitoring program was initiated by researchers at the Pacific Estuarine Research Laboratory (PERL), San Diego State University, in 1986 and continues today (1996).

Benthic infaunal distribution is strongly influenced by sediment type.  Most larval settlement is limited by substrate availability, while adult distributions are influenced by grain size, pH, organic content, nutrients, and dissolved gases.  Filter feeders, such as bivalves, occur in medium-sized sediments; deposit feeders are associated with finer sediments.

The benthic community has been subjected to dramatic environmental events, such as flooding and mouth closure, that have influenced species composition.  Prior to flooding in 1980, the benthic community at the Tijuana estuary was dominated by bivalve molluscs, especially purple clam (Nuttallia [= Sanquinolaria] nuttalli),

littleneck clam (Protothaca staminea), false mya (Cryptomya californica), California jackknife clam (Tagelus californica) and bent-nose clam (Macoma nasuta).  The results of the

long-term monitoring program, begun in 1986, suggest that purple clam is now extinct at the Tijuana estuary and that California jackknife clam and littleneck clam dominated the bivalve assemblage while the polychaetes of the families Capitellidae and Spionidae dominated that assemblage (Nordby and Zedler 1991).  In addition, ghost shrimp (Callianassa ssp.), California horn snail

(Cerethidia californica), lined shore crab (Pachygrapsus

crassipes), and yellow shore crab (Hemigrapsus oregonensis) are abundant channel invertebrates that often form commensal relationships with other channel fauna.

Fishes

The fishes of the Tijuana estuary can be typified as estuarine residents and visitors, or transients.  Estuarine residents include species adapted to primarily marine conditions as well as those that are euryhaline (exhibit tolerance to a wide range of salinities and associated conditions.)  Transients are marine species that enter the estuary at high tide and usually exit with the low tide.

Like the benthic invertebrates, fish species composition is influenced by environmental events such as flooding and mouth closure.  Prior to flooding in 1978 and 1980, and mouth closure and ensuing hypersalinity in 1984, 29 species of fish were found in the Tijuana estuary.  The community was dominated by gobiids, California killifish (Fundulus parvipinnis), striped mullet (Mugil cephalus),

and longjaw mudsucker (Gillichthys mirabilis).  Following

flooding and mouth closure and periods of high sewage inflows, the fish assemblage was dominated by arrow goby (Clevelandia ios), topsmelt (Atherinops affinis), California killifish, and staghorn sculpin (Leptocottus armatus).  Longjaw mudsuckers were apparently very susceptible to hypersalinity and had not recovered from mouth closure by 1990 (Nordby and Zedler 1991).

Birds

The channels of the Tijuana estuary are important foraging and resting areas for a number of bird species which prey upon the abundant invertebrates and fishes (Zedler and Nordby 1986; Zedler et al. 1992).  Numerous shorebirds, including various sandpipers (Caladris spp.), killdeer (Charadrius vociferus),

dowitchers (Limnodromus spp.), willet (Catoptrophorus

semipalmatus), long-billed curlew (Numenius americanus),

and marbled godwit (Limosa fedoa), forage for invertebrates in the sand and mud flats during low tide.  Diving birds, such as terns and pelicans, prey upon fishes.  Wading birds, including great blue heron (Ardea herodias) and common egret (Casmerodius albus), feed upon both invertebrates and fishes.  Other species, such as dabbling ducks, feed upon vegetation and surface insects.

Several endangered bird species use the channel organisms of the Tijuana estuary for prey.  These include the California least tern (Sterna antillarum browni), the light-footed clapper

rail (Rallus longirostris levipes), the California brown

pelican (Pelecanus occidentalis californicus), and the

Belding's savannah sparrow (Passerculus sandwichensis beldingi).  Because the birds are dependent upon the fishes and invertebrates for food, environmental events that affect those food sources have impacts on these higher level consumers.  It was estimated that the mouth closure of 1984 resulted in a reduction in shorebird abundance of 70 percent (P. Jorgensen in Zedler and Nordby 1986).

Intertidal Marsh

The intertidal salt marsh of the Tijuana estuary intergrades with freshwater-associated riparian habitats to the east along the Tijuana River; with upland habitats along the southern and northern arms of the estuary; and with dunes and beaches to the west (see Figure 3.4-1).  The intertidal salt marsh has been the focus of numerous studies at the Tijuana estuary, ranging from studies of structure and function to competition among the dominant vascular plants to estimates of gross primary productivity of vascular and algal plant components.  Considerably less attention has been paid to the animals of the intertidal marsh; however, there are some recent studies that have addressed the faunal assemblages of the marsh (Zedler et al. 1992; Entrix et al. 1991).

The salt-marsh vegetation at the Tijuana estuary changes gradually with elevation.  Almost every species has its peak occurrence at a different elevation band, and the vegetation forms a continuum along the elevational gradient (Zedler and Nordby 1986).  The lower elevations are dominated by cordgrass (Spartina foliosa).  Pickleweed (Salicornia virginica), saltwort (Batis

maritima), and jaumea (Jaumea carnosa) may be considered

mid-marsh species.  Sea blight (Limonium californicum),

alkali heath (Frankenia grandifolia), shoregrass (Monanthochloe littoralis), and glasswort (Salicornia subterminalis)

may be considered upper marsh species. The federally endangered salt marsh bird's beak (Cordylanthus maritimus ssp. maritimus) occurs in the upper salt marsh at the Tijuana estuary.

The salt marsh supports a complex web of animal life including insects, invertebrates, birds, reptiles, and small mammals (Zedler and Nordby 1986).  Insect life includes such beetles as Tachys corax and Eurynephala maritima and such spiders as

Tetragnatha laboriosa and Pardosa ramulosa.  Invertebrates of the intertidal salt marsh include some of the benthic forms discussed in the section on estuarine tidal creeks, channels, and intertidal flats, as well as amphipods, snails such as Assimimea californica and Melampus olivaceus, and water boatmen

(Trichocorixia spp.).  The low, cordgrass-dominated marsh

supports the federally endangered light-footed clapper rail. This species constructs nests of cordgrass and other plant species and forages along tidal creeks and channels.  Birds of the mid-marsh include the willet, godwit, long-billed curlew, great blue heron, and the state-endangered Belding's savannah sparrow.  Birds of the upper marsh include the white-crowned sparrow (Zonotrichia leucophrys), song sparrow (Melospiza melodia), western

meadowlark (Sturnella neglecta), and killdeer.  Raptors,

such as red-tailed hawk (Buteo jamaicensis), forage in

the upper marsh.

The high marsh, and its transition to upland habitats, supports more terrestrial animal species, including reptiles such as the California kingsnake (Lampropeltis getulus californiae)

and San Diego horned lizard (Phrynosoma coronatum blainvillei) (Zedler et al. 1992). Most mammals are, likewise, confined to higher and drier areas.  Small mammals recorded at the Tijuana estuary include western harvest mouse (Reithrodontomys megalotis), deer mouse (Peromyscus maniculatus), and house mouse (Mus

musculus).  The federal endangered Pacific little pocket mouse (Perognathus longimembris pacificus) was observed in the

1930s but has not been recorded in the estuary.

Beaches and Dunes

Sewage inflows from the Tijuana River exit the estuary at the mouth and are dispersed to the beach by the nearshore currents.  Often elevated coliform numbers pose human health risks and result in beach closures.  Although other animals are not necessarily affected by human coliforms, these organisms act as indicators that sewage, including &quot;fresh water,&quot; reaches the beach and may impact these habitats.  Because beaches and dunes intergrade, it is difficult to arbitrarily decide where one habitat ends and the other begins. For the purposes of this discussion, the beach is assumed to extend from extreme low tide to extreme high tide, storm tides notwithstanding.  Any dune habitat above that elevation would be affected only by a combination of high tide and storms, which would greatly dilute any impacts from sewage.

Beaches in southern California are heavily used by people and, therefore, no longer support the diversity of plants and animals that they once did.  However, invertebrate populations are still seasonally high which, in turn, support shorebird populations.  Sand  crabs (Emerita spp.), amphipods, and isopods are

seasonally abundant invertebrate prey organisms for shorebirds.

The Tijuana estuary is a part of the Pacific Flyway used by the millions of birds traveling between Arctic and Subarctic breeding areas and lower latitude wintering sites.  The number of migratory birds at the Tijuana estuary peaks in the fall and is an order of magnitude greater than the number present in the spring (Zedler et al. 1992).  Sanderling (Calidris alba), willet, marbled godwit, whimbrel (Numenius phaeopus hudsonicus), and western snowy plover (Charadrius alexandrinus nivosus) were the

most abundant shorebirds observed utilizing beach habitats by Boland (1981) in his study of Tijuana estuary shorebirds.

Two sensitive bird species utilize the beach habitats of the estuary: the California least tern and the snowy plover.  Least terns nest on the beach and forage in the nearshore and estuarine waters.  Their numbers fluctuate widely from year to year, depending upon natural mortality and disturbance from predators and humans.  Snowy plovers nest on the beach at the mouth of the Tijuana estuary.  They feed on dipterans and amphipods in the wrack line deposited by high tides.  Like the least tern, this species is very susceptible to disturbance by humans using the beach.

Sensitive Species Distributions

All of the species discussed in this section, with the exception of the mountain plover (Charadrius monotones), are listed

as endangered or threatened by the USFWS and are considered California State listed endangered species.  The mountain plover is a federal proposed species.  Additional information regarding the species discussed below is found in the biological assessment preparedfor the IWTP (RECON 1993). American Peregrine Falcon

The peregrine falcon is a rare fall and winter visitor to San Diego County and is casual in late spring and early winter.  Individuals have been seen at the Tijuana River estuary (Newman 1990).  Two peregrine falcons were observed flying over the coastal area of the estuary in April and May of 1990 (Michael Brandman Associates [MBA] 1990).  Peregrine falcons are most frequently seen in San Diego County between October and March (Unitt 1984).

Salt Marsh Bird's Beak

Salt marsh bird's beak currently is found at Tijuana Marsh.  Salt marsh bird's beak grows in the higher reaches of salt marshes, where it is inundated with salt water only at the higher tides.  Seed germination is dependent on the salinity of the soil; if the soil salinity is too high, the seeds fail to germinate (Zedler 1984).  The USFWS Salt Marsh Bird's-Beak Recovery Plan (1985) calls for the protection of the present sites, the restoration in historic sites, and continued field monitoring and biological studies.

Light-footed Clapper Rail

Recent population surveys and field studies of clapper rails have shown that these birds (especially young) and their nests can be highly susceptible to predation.  Common predators include red-tailed hawk, great horned owl, common raven, American crow, ground squirrel, red fox, feral cat, raccoon, striped skunk, and perhaps certain snake species (Zembal 1989).

One of only two known large populations of light-footed clapper rails in southern California is located in the Tijuana Slough National Wildlife Refuge (NWR).  In 1989, 15 territorial pairs were recorded, plus 19 unpaired individuals, for a total of 49 rails.  Most of the unpaired birds were female.  This sex ratio imbalance &quot;could be the result of breeding inhibition brought on by sibling recognition, abnormally high predation, or some unknown factor&quot; (Zembal 1989).  High noise levels from regular helicopter overflights could also affect breeding behavior by reducing the effectiveness of advertising calls and interfering with the detection of predators.  The 1990 surveys of the Tijuana Slough NWR showed an increase in pairs of 17 pairs of clapper rails detected.

The Tijuana Slough NWR population of clapper rails continues its recovery from decimation in 1983/1984, when severe weather conditions and high tides forced the rails to leave.  In 1991, light-footed clapper rail surveys showed a remarkable increase in the number of pairs detected (Zembal 1991).  A total of 47 pairs of clapper rails were observed in the refuge.  This situation illustrates the need to develop and sustain large, healthy clapper rail populations in a number of areas along the California coast, since natural, as well as unnatural, disasters can destroy entire breeding sites.

In 1988, 1989, and 1993, one pair of clapper rails was found nesting and foraging in a marsh pond dominated by cattails just west of Dairy Mart Road, east of the Tijuana Slough NWR.

California Least Tern

Nesting activity during the 1990 breeding season at the Tijuana Slough NWR (Tijuana River estuary) occurred on two sites, one south of the Tijuana River mouth and one north of the river mouth, while a single nesting area occurs within the Border Field State Park approximately 0.6 mile (1 km) north of the international border (Massey 1989; MBA 1990).

Nesting during 1990 was primarily in the sand dune habitat along the coast.  At the site north of the river in the Tijuana Slough NWR, there were 14 nests observed with an average number of young hatched per nest of about 0.2 to 0.4; however, the number of fledglings produced per nest was zero (0).  Destruction by human foot traffic and heavy predation by dogs, cats, gulls, ravens, and northern harriers were major factors affecting nest and fledgling success (MBA 1990).  The NWR south site had 62 nests in 1990, with the number of young hatched per nest at about 0.5 to 0.8 and the number of fledglings produced per nest ranging from 0.1 to 0.4 (8 to 26 chicks fledged).  Nest and egg success was affected by human foot traffic and avian predation.  Chick mortality was affected primarily by avian predation by ravens, kestrels, gulls, harriers, and herons.  The Border Field State Park least tern nesting area produced about 20 nests in 1990, with the number of young hatched per nest at about 0.6 to 1.0 and the number of fledglings produced per nest ranging from 0.3 to 0.6 (5 to 13 chicks).  Human, equestrian, and vehicular traffic all contributed to nest failures in this area.  Predation of chicks by animals already mentioned for the other sites was also common at this site.

During the 1991 breeding season, the California least tern continued to use the beach and sand dune habitat both to the north and south of the river mouth.  Of particular significance is the increased use of area to the south of the river mouth in Border Field State Park.  Least tern nests were observed farther south than the previous year.  Seven nests occurred within 1,600 feet north of the international border.  Loafing least tern adults, fledglings, and chicks were also observed within 550 feet of the international border. California Brown Pelican

In San Diego County the most important region for brown pelicans is the coastal waters between Mexico and Point Loma.  During the 1986 pelican census, as reported by Jaques and Anderson (1987):

. . . the location of pelicans roosting in the San Diego area was variable.  Hundreds of birds utilized the rock crest of the submerged jetty at the mouth of South San Diego Bay during low tides, but during high water they were restricted to a few cement &quot;islands&quot; on the jetty bearing light markers.  The cliffs at Point Loma were used heavily by perhaps several thousand pelicans during peak abundance of immature pelicans in the area, but no birds were seen there during previous or subsequent visits.  The Tijuana River mouth contributed to high counts during one flight (350 pelicans), but only 20 pelicans were censused there on subsequent flights.

Surveys conducted during 1990 in the Tijuana Slough NWR and Border Field State Park for brown pelicans resulted in the observance of approximately 322 pelicans with the majority of the birds seen in the ocean habitat (MBA 1990).  They were seen in a number of habitats, including the ocean, beach, sandbar, channel, dunes, and river mouth areas.  Directional flight over these areas and roosting were only observed behaviors, and no nesting or other breeding activities occurred.

Western Snowy Plover

This species is known to breed on the dunes near the mouth of the Tijuana River (Unitt 1984).  Western snowy plovers build their nests in dunes using small pieces of shell.  They feed almost exclusively on insects and crustaceans gleaned from the sand surface (County of San Diego 1972).

In 1990 western snowy plovers were observed foraging on the beach, sandbars, and mud flats near the mouth of the Tijuana River (MBA 1990).  A total of 144 snowy plovers were observed between April and August.  A minimum of three pairs nested to the north of the Tijuana River mouth, five pairs south of the river, and two pairs within Border Field State Park.  The majority of the nesting took place in beach habitat.  Three of the nests located each contained three eggs and at least two of the nests fledged two chicks each.  In 1991 a survey counted only 129 snowy plovers in coastal San Diego County with a mere 57 birds in the south part of the county. Belding's Savannah Sparrow

Survey's were conducted for Belding's savannah sparrow at the Tijuana River estuary, including Border Field State Park, in March of 1990.  A total of 289 territorial Belding's savannah sparrows were observed, including 184 singing males and 105 breeding pairs (Kus 1990).  Some 219 additional individuals were observed whose sex could not be determined at the time the birds were seen.  These numbers may represent a slight increase in the population in this part of the range.  Approximately 72 percent of the males occurred in the salt marsh habitat south of the Tijuana River mouth.

In April of 1992 additional surveys for the Belding's savannah sparrow were conducted along a 500-foot-wide (152.4 m) section of the salt marsh immediately north of Monument Road between the 90-degree turn and the ocean, and salt-marsh habitat to the south of Monument Road along the base of the bluffs (Kus 1992).  A total of 10 males and 8 other individuals of undetermined sex were observed in the study area.

Mountain Plover

The mountain plover is a common localized winter visitor that is usually found in fields of bare dirt (Unitt 1984).  They are known to occur regularly in the Tijuana River valley, where they arrive in October and leave by the end of January.  This species is threatened by loss of habitat due to development and disturbance from humans, domestic animals, and off-road vehicles.

Marine Biology

The information provided in this section is derived primarily from the Marine Biological Resources Technical Report for the South Bay Ocean Outfall prepared by MBC (1996), which is Appendix C to the SEIS.  Information was also drawn from the TOES (Engineering Science 1988), Marine Environmental Impacts of the Proposed Secondary Treatment System (Kinnetic 1991), and Wastewater Modeling and Analysis of Alternative Interim Disposal Options (Engineering-Science 1996).  These reports are incorporated by reference.

Intertidal Communities

Shores in the South Bay area are composed predominantly of medium to coarse sand.  The riprap of the south jetty at Zuniga Point, at the entrance to San Diego Bay, is the nearest intertidal hard substrate in the vicinity.  The jetty acts as a barrier to sediment transport along the shore.  Beach sediment is supplied primarily by local rivers and creeks which have been grouped into distinct sedimentation circulation cells (State of California 1977).  In the South Bay, the Silver Strand cell is supplied by the Tijuana River.

Biological studies conducted on the beaches from Coronado to the U.S.-Mexico border indicate that the most conspicuous organisms are sand crabs (Emerita analoga), beach hoppers (Orchestoidea spp.), olive snails (Olivella biplicata), and bean clams

(Donax gouldii) (Clark 1969; Dexter 1977; Parr et al. 1978; Straughn 1982; MBC 1990).  Several smaller amphipod and isopod crustaceans and polychaete annelids also inhabits the shoreline sands.  In the spring, grunions spawn and deposit their eggs on these beaches.

From the international border south to Punta Banderas, the coast is a narrow coastal plain backed by bluffs.  The beaches are primarily sandy like those of the South Bay project area and presumably have similar intertidal communities.  Rock shores are found further south near Punta Descanso.

The California State Mussel Watch and National Status and Trends programs have found increased organic contaminants in California mussels collected from the Imperial Beach area (State of California 1988, 1994a; NOAA 1989; O'Connor and Beliaeff 1995).  High concentrations of DDT and dieldrin suggest agricultural sources of contamination, as opposed to industrial and marina sources within San Diego Bay. Benthic Communities

Benthic infauna refers to the assemblage of usually small, invertebrate organisms which live in the soft sediments of the seafloor.  Most benthic organisms live within the upper four inches (10 cm) of sediment and consume dead organic matter (detritus) or are predators.  This community, which is relatively immobile, is important for its use as a food resource for epibenthic macroinvertebrates and demersal fish and is important in the conversion of organic deposits into biomass available to higher trophic levels.

The magnitude and composition of available detrital material strongly influences species composition, abundance, and biomass, with biological densities usually being greater along gradients of increasing detrital food supply.  Community composition is also affected by sediment grain size, water motion, and sources of planktonic larvae for recruitment.  Sediment characteristics determine biologically meaningful variables such as porosity, compaction, oxygen tension, water content, and retention of organic material.

Baseline information on the benthic community of the South Bay, generally from the mouth of San Diego Bay to the international border and offshore of far northern Baja California, was collected for the TOES in 1986 and 1987 (Engineering Science 1988).  Abundance and community composition were found to vary with depth.  Along the 66-ft (20 m) depth contour, the numerically dominant infaunal species were the polychaete Magelona sacculata and the

clam Tellina modesta, and at 131-ft (40 m) depths, the

polychaete Euchone arenae was dominant.  In the northern

portion of the area, the brittle star Amphiodia urtica

and the polychaete Spiophanes missionensis were the dominants at 198 ft (50 m), while to the south, the tube snail Caecum crebricinctum and the white sea urchin Lytechinus pictus

predominated.

Considerable additional information is being collected for the baseline monitoring for the SBOO.  An ongoing program of sampling, which began in July 1995, is being conducted by the City of San Diego; several of the sampling stations both north and south of the international border reoccupy those of the TOES program.

The importance of sediment grain size is apparent in the distribution of community composition. As described by Jones (1969), Amphiodia urtica (brittle star) occurs along most of the southern California coastal shelf where sediments are fine, usually at depths of over 120 ft (37 m).  However, sediments in the South Bay are variable, with pockets of coarse, relict red sands, which support a very different community dominated by species which are adapted to the conditions presented by the coarse substrate.  Brittle star was not abundant in the area of the SBOO diffusers.

Abundance, species richness (number of species), and species diversity were generally greater offshore than near shore. Species richness and diversity followed the same inshore-offshore and north-south patterns.

Abundance averaged 108 individuals/0.1 m2 (1.1 ft2) along the 39-ft (12-m) isobath, increasing to 323/0.1 m2 at 197 ft (60 m).  Values also tended to be higher to the north and lower to the south, consistent with the presence of the coarser sediments.

Richness ranged from an average of 34 species/0.1 m2 at a depth of 39 ft (12 m) to 83 species/0.1 m2 at 197 ft (60 m). Species diversity was not as variable as the other parameters, but did show an increase in values, from 2.99 at 39 ft (12 m) to 3.57 at 197 ft (60 m.)

The Infaunal Trophic Index was developed to assist in the description of infaunal community feeding structure around point sources of enrichment, such as wastewater outfalls, and is based on assignment of benthic organisms into feeding categories (Word 1978, 1980).  The index has a range from 0 to 100, and low values result from a high proportion of subsurface deposit feeders, which indicate the presence of organic enrichment.

Infaunal Trophic Index values ranged from an average of 70 at 39 ft (12 m) deep to 84 at 197 ft (60 m). Unlike other parameters, values were slightly higher in the middle of the area, near the future outfall, than to the north or south.  The lower values inshore suggest the presence of detrital material carried longshore from kelp beds and the Tijuana River, while the higher values in the middle of the north-south range suggest the presence of coarse sediments which typically contain little organic material. However, all values were in the range considered to be unaffected by deposition of significant input of suspended solids.

A remotely operated vehicle (ROV) survey of the South Bay outfall area conducted in 1990 showed considerable variability in sediment type (Kinnetic 1990).  Cobble beds occur at a depth of about 55 ft (16.8 m), with coarse shell debris on the surface from 50 to 80 ft (15.2 to 24.4 m).  Finer sediments occur both inshore and offshore. About one mile (1.6 km) north of the future outfall, low-relief rocks, boulders, and cobbles occur occasionally, including a zone at a depth of approximately 48 ft (14.6 m) out to about 90 ft (27.4 m).

Invertebrates observed included white sea urchin (Lytechinus pictus), Kellet's whelk (Kelletia kelletii), the sea

pen Stylatula elongata, cancer crabs (Cancer spp.),

spiny sand star (Astropecten armatus), and short-spined

sea star (Pisaster brevispinus). The red urchin (Strongylocentrotus franciscanus) and unidentified attached algae dominated the cobble areas.  In deeper areas, hard substrate unaffected by sand scouring was colonized by red gorgonian (Lophogorgia chilensis), sea fans (Muricea spp.), jewel anemone (Corynactis californica), and golden cup coral (Balanophyllia elegans).

Kelp Beds

Small kelp beds occur within the South Bay area.  As the giant kelp (Macrocystis pyrifera), feather boa kelp (Egregia

laevigata), palm kelp (Pterygophora californica), and

other macroalgae which form kelp forests require an attachment substrate, the occurrence of kelp beds is usually restricted to areas of subtidal rocks, boulders, and cobble within the photic zone (generally 20 to 60 ft [6.1 to 18.3 meters]).

The forest and dense canopy formed on the water surface provide food and a complex habitat for a highly diverse community of fish, invertebrates, and other algae (North 1971; Foster and Schiel 1985).  Many of these species are important to commercial and sportfishing.  Estimates of kelp productivity range from 4.5 to 6.1 lbs (wet weight)/ft2/year (22 to 30 kg/m2/year) based on growth estimates or up to 31.0 lbs/ft2/year (152 kg/m2/year) based on physiological estimates (reviewed by Foster and Schiel 1985).  Some kelp enters the food web directly via grazing (by sea urchin, for example), but the majority of the productivity (estimated as over 70%) becomes part of the detrital pathway (Gerard 1976).

Kelp populations along the southern California coast vary temporally, depending on oceanographic and weather conditions.  Declines generally occur during &quot;warm water&quot; periods associated with El Ni&ntilde;o events or during severe storms.  Declines during El Ni&ntilde;os result from the loss of plant tissue near the surface, primarily from the lack of nutrients (nitrogen and phosphorus) necessary for growth (Zimmerman and Kremer 1984).  During the last two major El Ni&ntilde;os (1957-1958 and 1983-1984), the canopy in southern California kelp forests was reduced by up to 90 percent, and some kelp beds disappeared completely (North and Schaefer 1964; Tegner and Dayton 1987).  Storms, which usually occur in winter, decimate kelp beds as accompanying large waves tear off kelp frond or dislodge entire plants.  Grazing sea urchins can also reduce kelp beds if drift kelp, their usual food source, is in short supply (Dean et al. 1984; Harrold and Reed 1985).

Two small patches of kelp bed, referred to as the Imperial Beach bed, occur off the Imperial Beach Pier and near the Tijuana Slough mouth, about 2.5 and 1.0 miles (4.0 and 1.6 km) north, respectively, of the future outfall pipeline corridor.  The Imperial Beach bed is attached to boulders and cobbles, as opposed to consolidated reef.  Giant kelp was reportedly abundant at these sites prior to 1939, but only a few scattered patches were observed from the mid-1950s through the mid-1980s, in spite of several restoration efforts (North 1973, Engineering Science 1988).  Kelp reappeared in 1985 and reached a peak in 1987 with more than 173 acres (0.7 km2), but most was lost during storms in January 1988 (McPeak, pers. com. 1991).  The beds rebounded strongly in 1989 and 1990.  Recent surveys have shown that the bed is maintaining a small canopy, with the most recently available figures indicating a canopy area of about 24.7 acres (0.1 km2) (MBC 1995).  Additional kelp is also found in small patches to the south along the Mexico coastline off Tijuana (North, pers. com.; Dearn, pers. com., in Engineering Science 1992b).

Reasons for both the absence of kelp at the Imperial Beach bed for over 40 years and for the sudden resurgence of kelp are not known.  Unstable substrate, coupled with high abundance of grazers and high rates of sedimentation, made kelp colonization difficult.  Suggestions have been made that the lack of kelp at the site was due to sewage contamination from Tijuana, but that is unlikely, as kelp returned when sewage flow in the Tijuana River was increasing.  Also, observations at the Point Loma kelp bed showed that the 1992 spill of sewage from the storm-damaged Point Loma outfall pipeline had little adverse effect on the kelp bed, and the high ammonia concentrations may actually have benefited the kelp, as the spill occurred during an episode of reduced nutrients accompanying an El Ni&ntilde;o event (Tegner et al. 1995). Recolonization of kelp at the Imperial Beach bed may have been due in part to a reduction in urchin densities from commercial urchin harvesting (Kinnetic 1991).

Just south of the international border, ephemeral kelp beds have occurred, probably on cobble substrate similar to the Imperial Beach beds.  However, these beds have not been reported since the 1950s.  Small beds occur south of Punta Banderas near Punta Descanso.  Kelp beds previously occurring around the Coronado Islands were almost extirpated by sea urchin divers and are not recovering due to a lack of recruitment from current-borne spores from the south (Tegner, pers. com. 1996).

Fish Populations

Fifty-one species of fish have been observed at depths of 30 to 120 ft (9.1 to 36.6 m) in surveys of the Imperial Beach kelp bed, offshore over soft bottoms (Southern California Coastal Water Research Project [SCCWRP] n.d.; City of San Diego 1995), and in a description of San Diego recreational fishing areas (Squire and Smith 1977).  Twenty-eight of the species are found primarily on soft bottoms, 16 on hard bottoms and in kelp beds, and 7 are pelagic (Table 3.5-1).

Pelagic species feed primarily on zooplankton and other fish. Yellowtail (Seriola lalandi), white seabass (Atractoscion

nobilis), Pacific barracuda (Sphyraena argentea), and

Pacific bonito (Sarda chiliensis) are important predatory

pelagic species caught by recreational fishermen.  Other small, pelagic species which occur in the area, occasionally in abundance, but may not be captured in trawl surveys include northern anchovy (Engraulis mordax), Pacific mackerel (Scomber japonicus),

Pacific sardine (Sardubios sagax), Pacific saury (Cololabis saira), and Pacific hake (Merluccius productus) (Kinnetic

1991).  The smaller of these species (anchovies, smelt), when they school near shore and into bays and estuaries, are prey for seabirds, such as the endangered California least tern.  Migratory pelagic species such as Pacific mackerel are known to occasionally congregate above wastewater outfalls (Smith 1974; SCCWRP 1973; County Sanitation District of Orange County 1986).

Fish species associated with sand bottom and reef habitats are more localized in their movements than pelagic species.  Fish assemblages which occupy kelp beds and reefs are dominated by perches, basses, rockfishes, wrasses, and gobies.  In diver surveys in 1986 and 1987, 27 species of fish were observed in the Imperial Beach kelp bed, of which the most common species were senorita (Oxyjulis californica), halfmoon (Medialuna calaforniensis), and rainbow seaperch (Hyspurus caryl) (Engineering Science 1988).

TABLE 3.5-1

FISH SPECIES OBSERVED IN NEARSHORE AND OFFSHORE AREAS

OFF IMPERIAL BEACH AND THE TIJUANA RIVER

Common Name            Scientific Name

Pelagic

topsmelt               Atherinops affinis

jacksmelt              Atherinopsis

californiensis

yellowtail             Seriola lalandi

jack mackerel          Trachurus symmetricus

white seabass          Atractoscion nobilis

Pacific barracuda      Sphyraena argentea

Pacific bonito         Sarda chiliensis

Kelp Beds and Hard Bottoms

leopard shark          Triakis semifasciatus

coralline sculpin      Arteduis corallinus

kelp bass              Paralabrax clathratus

opaleye                Girella nigricans

halfmoon               Medialuna californiensis

kelp perch             Brachyistius frenatus

black perch            Embiotoca jacksoni

rainbow seaperch       Hyspurus caryi

rubberlip seaperch     Rhacochilus toxotes

pile perch             Rhacochilus vacca

rock wrasse            Halichoeres semicinctus

senorita               Oxyjulis californica

California sheephead   Semicossyphus pulcher

stripedfin ronquil     Rathbunella hypoplecta

giant kelpfish         Heterostichus rostratus

blackeye goby          Coryphopterus nicholsii

Shallow (10-40 m) Soft Bottom

thornback              Platyrhinoidis

triseriata

shovelnose guitarfish  Rhinobatos productus

round stingray         Urolophus halleri

California             Scorpaena guttata

scorpionfish

barred sand bass       Paralabrax nebulifer

California halibut     Paralichthys

californicus

C-O sole               Pleuronichthys coenosus

speckeled sanddab      Citharichthys stigmaeus

fantail sole           Xystreurys liolepis

California lizardfish  Synodus lucioceps

TABLE 3.5-1

FISH SPECIES OBSERVED IN NEARSHORE AND OFFSHORE AREAS

OFF IMPERIAL BEACH AND THE TIJUANA RIVER

(continued)

Common Name            Scientific Name

plainfin midshipman    Porichthys notatus

gulf sanddab           Citharichthys fragilis

roughbacked sculpin    Chitonotus pugetensis

Deep (60 m) Soft Bottom

Pacific argentine      Argentina sialis

calico rockfish        Sebastes dallii

shortspine combfish    Zaniolepis frenata

longspine combfish     Zaniolepis latipinnis

yellowchin sculpin     Icelinus quadriseriatus

pink seaperch          Zalembius rosaceus

Pacific sanddab        Citharichthys sordidus

longfin sanddab        Citharichthys

xanthostigma

bigmouth sole          Hippoglossina stomata

English sole           Pleuronectes vetulus

hornyhead turbot       Pleurocichthys

verticalis

California tonguefish  Symphurus atricauda

stripetail rockfish    Sebastes saxicola

bay goby               Lepidogobius lepidus

Dover sole             Microstomus pacificus

Some of the species encountered are pelagic species not usually associated with kelp beds.Shallow rocky reefs lacking kelp typically have lower abundance and diversity of fish species (Larson and De Martini 1984).  Remote video surveys in the cobble and rocky areas near the future outfall found California scorpionfish (Scorpaena guttata) as the dominant species (Kinnetic 1990).  At depths below 100 ft (30.5 m), the shallow water reef and kelp assemblage is replaced by a greater diversity of rockfish species.

Kelp beds are important sportfish areas.  Kelp bass (Paralabrax clathratus) and California sheephead (Semicossyphus pulcher) are the most important kelp bed and hard-bottom species in the area for recreational fishermen (Squire and Smith 1977).  North (1971) estimated that 90 percent of the southern California sportfishing party boat catch of kelp bass and sand bass (Paralabrax nebulifer) and 70 percent of the entire party boat catch came from kelp beds.  In addition to fish, recreationally important invertebrates found in the Imperial Beach kelp bed include red abalone (Haliotis rufescens), California spiny lobster (Panulirus interruptus), and sheep crab (Loxorhynchus grandis) (Engineering Science 1988).

Within the kelp bed, bottom-dwelling species browse or forage for mobile prey, while species of the kelp canopy also feed on open-water plankton (Choat 1982).  Many of these demersal species feed at the benthic boundary layer, and, in areas of wastewater discharge, they may be exposed to particulates settling to the bottom.  Consequently, demersal fish have been a concern of wastewater monitoring programs in southern California.

Soft-bottom demersal fish are typically more associated with the benthic boundary than are kelp bed and reef fish.  Common shallow-water species trawled from the depth of the future outfall include speckled sanddab (Citharichthys stigmaeus), longfin sanddab (Citharichthys xanthostigma), English sole (Pleuronectes vetulus),

hornyhead turbot (Pleurocicthys verticalis), yellowchin

sculpin (Icelinus quadriseratus), and California lizardfish (Synodus lucioceps) (City of San Diego 1995).  Barred sand bass (Paralabrax nebulifer) and California halibut (Paralicthys californicus) are also encountered at shallow depths and are important to recreational fishermen (Squire and Smith 1977).  Most halibut are fished along the sandy beaches north of the Tijuana River mouth, while barred sand bass are taken more offshore between depths of 75 and 120 ft (22.9 and 30.6 m).

In deeper waters (greater than 120 ft), the most abundant demersal fish are Pacific sanddab (Citharichthys sordidus), English sole, and pink seaperch (Zalembius rosaceus) (SCCWRP n.d.). Plankton Community

Plankton includes small organisms which drift with the currents and includes phytoplankton (plants) and zooplankton (animals).  Zooplankton includes species which reside permanently in the water column, as well as larval forms of benthic invertebrates (meroplankton) and fishes (ichthyoplankton).  In nearshore waters, close proximity of the entire water column to the bottom promotes greater benthic-pelagic interaction than is possible in deeper oceanic regions, and, in general, productivity is elevated.

Species composition and relative abundance patterns vary on a seasonal basis and in relation to fluxes of nutrients which affect phytoplankton productivity.  Plankton frequently make daily vertically migrations in the water column in response to changing light levels.  They may also congregate near the surface, where photosynthesis occurs, or near the bottom, where resuspended particulate matter and epibenthic food sources are available.

In the San Diego area, nearshore phytoplankton are usually limited by nitrogen availability (Kinnetic 1991).  Studies near the Point Loma discharge have shown increases in phytoplankton stocks in response to excess levels of ammonia and available nitrogen.  Phytoplankton assemblages are dominated by diatoms in winter and spring, in response to increased nutrients, and by dinoflagellates in summer, when nutrient levels are lower.

Nearshore zooplankton include microscopic animals, protozoans, and larval forms of benthic invertebrates.  A number of species of copepod and mysid crustaceans, as well as other larger zooplankton, serve as a major food source for fish (Kinnetic 1991).  Species found in the vicinity of the future outfall include the copepods Coryceaus anglicus, Paracalanus parvus, and Oithona

plumifera; the cladocerans Evadne nordmanni and Penilia

avirostris; and the arrow worm Sagitta euneritica.

Other organisms which also may occur include gastropod veligers and fish eggs.  Ichthyoplankton found in the area include northern anchovy, queenfish (Seriphus politus), white croaker (Genyonemus lineatus), and rockfish (Sebastes spp.).

Marine Mammals

The Southern California Bight contains the largest and most diverse populations of marine mammals in temperate waters of the world, with as many as 31 species (Norris et al. 1975).  Most are seasonal migrants and are widely distributed throughout the bight.  The most abundant species are California gray whale (Eschrichtius robustus), Risso's dolphin (Grampus griseus), common

dolphin (Dephinus delphis), and California sea lion (Xalopus californianus) (Schulberg et al. 1989).  All marine mammals are protected against harassment, injury, or taking by the Marine Mammal Protection Act of 1973.

Twenty-four species of cetaceans (whales, dolphins, and porpoises) are found in the Southern California Bight, six of which are listed as endangered (the gray whale was recently removed from the endangered list).  Only the gray whale and the bottlenose dolphin (Tursiops truncatus) occur frequently near shore in the vicinity of

South Bay.  All species are either transient or migratory in the area.  Most cetaceans feed on fish and squid, although bottlenose dolphins also take crabs and mollusks (gray whales also feed on bottom invertebrates, but only in their summer grounds in the Bering Sea) (Dohl et al. 1981).

Aerial surveys and shore observations of gray whales were conducted offshore of San Diego County by the U.S. Navy to determine migration corridors (Schulberg et al. 1989).  Four southbound migratory corridors were found to converge in the vicinity of Point Loma, extending only about five miles (8.0 km) offshore.  Two of three northbound corridors also approached Point Loma but were much broader, extending almost 12 miles (19.3 km) offshore.  The southern migration appeared to approach the near shore of the South Bay more closely than did the northern route.  Southern migration through the area occurred in January and February, while northern migration occurred from February through March.

A number of studies have been conducted to evaluate the effect of noise on cetaceans.  Because whales produce sound for echolocation or communication, there has been concern that noise created by commercial activity might disrupt the behavior of some whales.  In a study off the coast of Monterey, California, migrating gray whales showed short-term avoidance behavior at sound levels of 110 to 130 decibels (dB) (Malme et al. 1984).  A Standardized Exposure Rating Model was developed for potential responses to offshore oil and gas development noise exposure.  The predicted noise level required for a 50 percent probability of avoidance response in gray whales was 117 to 125 dB at a distance of 985 feet (300 m) from the noise source.  The types, spectra, and volume of noise generated by oil and gas construction activities would differ substantially from that expected for the outfall project, although underwater noise and shock waves are anticipated.

A summary of cetaceans stranded in San Diego County was compiled by National Marine Fisheries Service (NMFS) Southwest Fisheries Center for the 20-year period from 1966 to 1986 (Bernard et al. 1988).  Common dolphin and bottlenose dolphin were most frequently stranded.  Gray whales were stranded at the rate of about one a year (Table 3.5-2).  Based on analysis of tissues taken from marine mammals stranded in the Southern California Bight, high levels of contaminants were found (Schafer et al. 1984).  Highest contaminants were found in blubber tissue.  Concentrations of 2,070 ppm total DDT (wet weight) and 128 ppm PCB were present in bottlenose dolphin.  Other studies found even higher levels (2,695 ppm DDT and 400 ppm PCB) in stranded Dall's porpoise (Phocoenoides dalli) (O'Shea et al. 1980).  Efforts to link high contaminants in stranded animals with specific sources of contaminants have not proven possible, as cetaceans have large home ranges.  However, there may be a correlation between diet and contaminant levels.  Bottlenose dolphin, for example, feed on fish that are known to have high levels of contaminants, such as white croaker.

Six species of pinnipeds (seals and sea lions) may be found in the Southern California Bight (Bonnel 1985).  Pinnipeds reproduce on land and also &quot;haul out&quot; to rest for various periods of time.  The nearest hauling grounds for pinnipeds are the Coronado Islands, approximately 7.5 miles (12 km) south of the international border.  These islands are considered minor hauling grounds for California sea lions, harbor seals (Phoca vitulina), and northern elephant seals (Mirounga angustirostris).  They prey principally on schooling fish and squid.  California sea lion is the most abundant species, accounting for 50 to 90 percent of all pinnipeds (Bonnel et al. 1981).

TABLE 3.5-2

MARINE MAMMALS OBSERVED OR STRANDED FROM 1966 TO 1986

Common Name               Species           Observed  Stranded

gray whale           Eschrichtius robustus     261        23

Risso's dolphin      Grampus griseus           76         2

common dolphin       Delphinus delphis         52         122

California sea lion  Xalophus californianus    50         0

white-sided dolphin  Lahenorhynchus            13         23                              obliquidens

bottlenose dolphin   Tursiops truncatus        2          42

blue whale           Balaenoptera musculus     2          1

spinner dolphin      Stenella longirostris     2          0

false killer whale   Pseudoorca crassidens     2          0

pilot whale          Clobicephala sp.          2          0                               (melaena)

Dall's porpoise      Phocoenoides dalli        1          9

Brydes's whale       Balaenoptera edem         1          0

beaked whale         Mesoplodon sp.            1          0

harbor seal          Phoca vitulina            1          0

elephant seal        Mirounga angustirostris   1          0

N. right whale       Lissodelphis borealis     1          3          dolphin

right whale          Balaena glacialis         1          0

Hector's beaked      Mesoplodon hectori        0          4          whale

Pacific pilot whale  Glabicephala              0          4                               macrorhyncus

long-beaked dolphin  Stenella coeruleolaba     0          3

Cuvier's beaked      Xiphius cavirostris       0          2          whale

finback whale        Balaenoptera physalus     0          2

pygmy sperm whale    Kogia breviceps           0          2

humpback whale       Megaptera novaeangliae    0          1

Hubb's beaked whale  Mesoplodon carlhubbsi     0          1

sperm whale          Physter macrocephalus     0          1

minke whale          Balaenoptera              0          1                               acutorostrata

unidentified                                   0          1          mystecete

unidentified                                   0          1          delphinid

TOTAL                                          469        248

Sea lions are most abundant during summer and autumn, while elephant seals and harbor seals are most abundant in winter and spring.  The San Diego basin is used as a foraging area by a few animals associated with the Coronado Islands' rookery.  It may also be part of a migratory route used by animals from Mexican colonies moving to and from the islands in the Southern California Bight (Bonnel et al. 1981).

Marine Birds

The seabird fauna of the Southern California Bight is comprised of approximately 80 species (excluding shorebirds), only 30 of which are relatively numerous (Bender et al. 1974; Briggs et al. 1981).  Nearly half of the species are winter visitors, present principally from October through April.  These include loons, grebes, sea ducks, gulls, terns, jaegers, and alcids (murres, auklets, and puffins).  A few species are transients, and a small number of strays are recorded each year.  Subtropical species in particular may arrive in late summer and autumn, swelling the avifauna diversity.

Six species are summer visitors: three nest to the south in Baja California, two nest in the Southern Hemisphere and spend their winter in southern California, and sooty shearwaters (Puffinus griseus) are summer visitors.  Year-round visitors do not

breed in southern California but can occur somewhere in the bight at any time of year.  Three species, California least tern (Sterna antillarum), caspian tern (Sterna caspia), and elegant

tern (Sterna elegans), nest on mainland beaches and in

estuaries.  Eleven species regularly nest on the Channel Islands, seven of which are year-round residents of the bight.  Seabird abundance differs with habitat: 50 to 95 percent of birds were associated with open water, 5 to 10 percent with mainland beaches, and 1 to 4 percent with island beaches.

Many seabirds exhibit nest site fidelity, and nesting areas tend to be located near predictable, seasonal food supplies (Table 3.5-3).  However, they are also likely to follow their food supply, which consists primarily of fish, squid, shrimp, and other crustaceans.  Three seabird nesting colonies occur in or near the South Bay area (nesting sites in Baja California were not included) (Sowls et al. 1980).  Three sites for California least tern, a federal- and California-listed endangered species, occur in Mission Bay, north San Diego Bay, and near the Tijuana River mouth.  Western gulls also nest in San Diego Bay.

Stranded seabirds found on South Bay beaches showed that approximately 10 percent were oiled (Briggs et al. 1981; Ainley and Bontrager 1981).  Most were found in early winter, and most were Brandt's cormorants (Phalacrocorox penicillatus) and western gulls

(Larus occidentalis).  Generally, the trends were consistent with the species' breeding, wintering, and migratory habits.

Shorebirds also use the shores and waters of the South Bay area.  Most available information on shorebirds is based on surveys in coastal lagoons, marshes, and mud flats, but they may also feed on adjacent beaches (Table 3.5-4).  Two protected habitats, south San Diego Bay and the Tijuana estuary, are immediately adjacent to the South Bay.

TABLE 3.5-3

COMMON SEABIRDS OF THE SOUTHERN CALIFORNIA BIGHT

Bird Group/Common Name         Scientific Name         Status

Loons and Grebes

common loon               Gavia immer                  FLR

Arctic loon               Gavia arctica                FLR

red-throated loon         Gavia stellata               FLR

horned grebe              Podiceps auritus             FR

eared grebe               Podiceps nigricollis         F

western grebe             Aechmophorus occidentalis    F

red-necked grebe          Podiceps grisegena           F

pied-billed grebe         Podilymbus podiceps          X

Shearwaters and Petrels

northern fulmar           Fulmarus glacialis           F

sooty shearwater          Puffinus griseus             F

Pelicans and Cormorants

brown pelican             Pelecanus occidentalis       F

white pelican             Pelecanus erythrorhynchos    X

double-crested cormorant  Phalacrocorax auritus        F

Brandt's cormorant        Phalacrocorax penicillatus   F

pelagic cormorant         Phalacrocorax pelagicus      F

Herons

great blue heron          Ardea herodias               F

Geese, Scoters, Mergansers, and Ducks

brant                     Branta bernicla              X

surf scoter               Melanitta perspicillata      FLR

white-winged scoter       Melanitta fusca deglandi     FLR

black scoter              Melanitta nigra              FLR

common merganser          Mergus merganser             F

red-breasted merganser    Mergus serrator              F

green-winged teal         Anas crecca                  X

greater scaup             Aythya marila                F

lesser scaup              Aythya affinis               F

bufflehead                Bucephala albeola            F

oldsquaw                  Clangula hyemalis            F

ruddy duck                Oxyura jamaicensis           X

Phalaropes

northern phalarope        Phalaropus lobatus           F

red phalarope             Phalaropus fulicaria         F

TABLE 3.5-3

COMMON SEABIRDS OF THE SOUTHERN CALIFORNIA BIGHT

(continued)

Bird Group/Common Name         Scientific Name         Status

Gulls, Terns, and                                                Jaegers

parasitic jaeger          Stercorarius parasiticus     F

glaucous-winged gull      Larus glaucescens            F

western gull              Larus occidentalis           X

herring gull              Larus argentatus             X

Thayer's gull             Larus thayeri                X

California gull           Larus californicus           F         ring-billed gull          Larus delawarensis           X

mew gull                  Larus canus                  F

Heermann's gull           Larus heermanni              FL

Bonaparte's gull          Larus philadelphia           F

Franklin's gull           Larus pipixcan

blacked-legged kittiwake  Rissa tridactyla             F

common tern               Sterna hirundo               F

Caspian tern              Sterna caspia                F

elegant tern              Sterna elegans               F

Forster's tern            Sterna forsteri              F

least tern                Sterna antillarum            F

black tern                Chlidonias niger

royal tern                Sterna maxima                F

Murres, Auklets, and Puffins

common murre              Uria lomvia                  FLR

pigeon guillemot          Cepphus columba              F

Xantus' murrelet          Synthliboramphus hypoleucus  F

Craveri's murrelet        Synthliboramphus craveri     F

ancient murrelet          Synthliboramphus antiquus    F

Cassin's auklet           Ptychoramphus aleuticus      F

rhinoceros auklet         Cerorhinca monocerata        F

tufted puffin             Fratercula cirrhata          F

F - feeding or foraging

L - loafing

R - roosting

X - unknown activities

TABLE 3.5-4

SHOREBIRDS OBSERVED

ON SANDY BEACHES NEAR TIJUANA ESTUARY

Bird Group/                                                             Common Name              Scientific Name           1989    1990

Plovers, Turnstones, and Surfbirds

western snowy plover   Charadrius alexandrinus        +        +                               nivosus

semipalmated plover    Charadrius semipalmatus        +        +

black-bellied plover   Pluvialis squatarola           +        +

ruddy turnstone        Arenaria interpres                      +

Sandpipers

long-billed curlew     Numenius americanus                     +

whimbrel               Numenius phaeopus              +        +

marbled godwit         Limosa fedoa                   +        +

sanderling             Calidris alba                  +        +

western sandpiper      Calidris mauri                 +        +

white-rumped           Calidris fuscicollis           +                 sandpiper

dunlin                 Calidris alpina                +        +

Shorebirds feed on a variety of prey, including mol-lusks (clams, snails), worms, crustaceans (crabs, amphipods, isopods), insects (adults and larvae), and other invertebrates.  They feed by capturing visible prey, probing in the sand for buried organisms, or prying open sessile organisms on rocks.

The majority of coastal shorebirds are migratory and are typically absent in summer.  However, a few-such as western snowy plover (federally listed threatened), long-billed curlew (California species of concern), black oystercatcher (Haematopus bachmani), whimbrel, and marbled godwit-are present year-round and may breed locally.  The most abundant species include western sandpiper (Calidris mauri), least sandpiper (Calidris minutilla),

dowitchers, willet, marbled godwit, American avocet (Recurvirostra americana), sanderling, and semipalmated plover (Charadrius semipalmatus) (Warnock et al. 1989).  Seabirds, such as gulls, terns, and pelicans, may use the same habitats as shorebirds for resting and nesting.

Endangered, Threatened, and Other Species of Special Concern

The South Bay area potentially contains a large number of species which are considered to be of concern because of loss of breeding habitat, reduction or contamination of food supply, or other impacts from human activities (Table 3.55).  Thirteen species are listed as endangered by the federal government and five by the State of California.  Four species are federally listed as threatened and one is state-listed.  In addition, nine species are listed as species of special concern by the federal government or the state.

California brown pelican populations declined in the 1950s and 1960s due to eggshell thinning caused by high body burdens of chlorinated hydrocarbon compounds, especially DDT.  With reductions in DDT discharges to the marine environment, brown pelicans have rebounded and are currently limited in southern California by availability of prey, principally anchovies (Southern California Association of Governments 1988).

California least terns nest on salt flats of southern San Diego Bay and on dunes of the nearby beaches.  In 1995, about 500 pairs nested in this area, fledging about 250 young; 225 pairs nested on the beach near the Tijuana River mouth, fledging 60 young (Jurek, pers. com. 1996).  Least terns forage for small fish in the estuary and shallow nearshore waters, but conditions in the estuary, such as closure of the entrance to tidal flushing, appear to strongly affect nesting success (Zedler et al. 1992).

Western snowy plovers nest in the same habitat as least terns, but forage for small insects and crustaceans along the shorelines of the Tijuana estuary and South Bay.  Snowy plover populations along the entire coast have been declining, prompting their recent listing.  In the past, about 100 nesting pairs were typically seen on the dunes and beaches around the Tijuana River mouth.

TABLE 3.5-5

THREATENED AND ENDANGERED SPECIES

Marine Mammals  Status         Birds          Status   Sea Turtles    Status

blue whale        FE   American peregine      FE,CE  green sea          FE                           falcon                        turtle

finback whale     FE   Belding's savannah       CE   leather-backed     FE                           sparrow                       turtle

Guadalupe fur   FT,CT  California black rail    CT   loggerhead sea     FT    seal                                                 turtle

humpback whale    FE   California brown       FE,CE  Pacific ridley     FE                           pelican

Pacific right     FE   California least tern  FE,CE                           whale

Sei whale         FE   light-footed clapper   FE,CE                                                  rail

southern sea      FT   southern bald eagle    FE,CE                           otter

sperm whale       FE   western snowy plover     FT

longbilled curlew       CSC

common loon             CSC

doubled-crested         CSC                                                   cormorant

northern harrier        CSC

osprey                  CSC

California gull         CSC

black skimmer           CSC

elegant tern            CSC

gull-billed tern        CSC

FE: federally listed endangered

FT: federally listed threatened

CE: California-listed endangered

CT: California-listed threatened

CSC: California species of concern

By 1990, only 10 nesting pairs were counted, and in 1991, only four adults were seen in the spring (Page and Stenzel 1981; Page et al. 1991).  Counts at Rosarito Beach in Baja California also were declining (Page et al. 1986).  Regular surveys for snowy plovers began in 1994.  Five nests were laid near the Tijuana River mouth in 1994, but no young fledged; in 1995, 11 nest fledged a total of seven young (Powell, pers. com. 1996).  An average of 18 snowy plovers were seen in the winter surveys of 1994-1995 and 23 in 1995-1996.  In the case of both California least terns and western snowy plovers, disturbance of the habitat by human activities is a major factor in nesting success.

Areas of Biological Significance

Five areas adjacent to South Bay are protected: Point Loma Ecological Preserve, Cabrillo National Monument, Tijuana River Estuary Sanctuary, Tijuana Slough National Wildlife Refuge, and Border Field State Park and National Wildlife Refuge.  All of these extend into tidal waters.

Geological Resources

Adverse environmental effects from the construction and operation of the IWTP and land and ocean outfall as designed were considered in the 1995 Final EIS.  This SEIS addresses the potential impacts of several interim discharge alternatives of advanced primary effluent for a limited period of time resulting from operation of the IWTP. The following discussion is a summary of the geology of the river valley and ocean floor in the vicinity of the ocean outfall taken from an engineering report prepared by Woodward-Clyde in the Engineering Science Conceptual Design Reports, prepared and updated in 1992 and 1993. This document is hereby incorporated by reference, pursuant to Section 1502.21 of the Council on Environmental Quality (CEQ) Guidelines.

Regional Geology

The project area is located within the coastal plain geomorphic subprovince of the Peninsular Range province. This nearly rectangular-shaped coastal plain is characterized by a series of wave-cut terraces which extend inland for approximately 10 miles (16 km).  These terraces have been dissected by various rivers forming a series of wide alluvium-filled valleys.  The Tijuana River valley, formed by the Tijuana River, is typical of these alluvium-filled valleys.  Alluvial soils found within these valleys consist primarily of poorly consolidated stream deposits of silt, sand, and cobble-sized particles originating from bedrock sources in the vicinity.

The river valley and nearshore geology are a result of changes in sea level and fluvial processes.  About 18,000 to 20,000 years ago, sea level was approximately 280 feet (85.4 m) lower than today.  Major river channels draining west cut into the coastal plain.  As sea levels rose, the river courses backfilled their channels with sediments.  At the same time, during rising sea levels erosional retreat and coastal processes resulted in broad depositions of sand across the inner shelf.  The paleochannel of the river extends out about 10,000 feet (3 km) from the shoreline parallel to the south rim of the present river valley and then trends southerly.

The geologic setting of the river valley is characterized by broad alluvium deposits.  Underlying the alluvium and exposed in the bluffs of the Border Highlands to the south and east are Tertiary-age deposits of the San Diego Formation.  The Tertiary-age sediments are estimated to range in thickness from 3,000-4,000 feet (915-1,220 m) at the mouth of the Tijuana River.  This formation is locally underlain by a thin veneer of early Pleistocene nonmarine sediments of the Lindavista Formation, deposited on the upper terraces.  Lower terraces are mantled by late Pleistocene deposits of the Bay Point Formation that also overlie the San Diego Formation.

In general, the geologic setting of the offshore area can be thought of as a broad cover of unconsolidated, fine-grained late Pleistocene to Holocene sediment that varies in depth with relation to the position of the paleochannel.  The deeper portions of the unconsolidated sediments within the channel are fluvial, whereas the upper sediments have been transported and redeposited by waves and currents.  The consolidated formations underlying the unconsolidated sediments offshore are thought to be comprised of generally the same Tertiary and Quaternary sedimentary formations as the uplands flanking the river valley.

Local Faulting

The project area is within a seismically active region subject to the effects of moderate to large earthquake events along major faults.  The regional faults that may affect the project area include the Rose Canyon, Coronado Bank, Coronado Shelf, Elsinore, San Jacinto, and San Andreas faults.  Those faults nearest to the project area are the Rose Canyon, Coronado Banks, Coronado Shelf, and Silver Strand (Figure 3.6-1).

The Rose Canyon fault is a north-to-northwest-trending, complex zone of onshore and offshore faults.  It extends across the San Diego Bay and end of Mission Bay before continuing up Rose Canyon and out to sea north of La Jolla approximately 14 miles (22.5 km) north of the project vicinity.  The offshore Rose Canyon fault zone includes many small- to medium-length faults.  The actual number is not well known; however, they are presumed to be in the area of the proposed ocean outfall.

A secondary extension of the Rose Canyon fault zone complex is known as the La Nacion-San Ysidro fault zone and extends north and northeast of the Tijuana River valley.  Mapped fault traces also extend south into Mexico as the Los Buenos faults.  These faults are last identified as active during the late Pleistocene and are considered potentially active.

The Coronado Bank fault zone is located approximately 7.5 miles (12 km) offshore.  It is a complex zone of faults and folds thought to extend onshore in the Los Angeles and Ensenada areas.  Various faults within this fault zone are thought to be active (based on Holocene-age displacement of sediments near the ocean floor).

The Coronado Shelf fault zone is located about 2.5 miles (4 km) west of the outfall end and consists of a series of northwest-trending faults which extend from several miles southwest of the tip of Point Loma to the area several miles offshore from Tijuana.  The zone of faults appears to consist of two relatively continuous strands which extend about 10 miles (16 km) across the inner shelf off San Diego.

The Silver Strand fault is the principal fault in the study area.  The activity of this fault is based on seismic reflection data; however, much existing data suggest a strong possibility of Holocene faulting, which is consistent with the repeated Holocene activity seen on the adjoining onshore segment of the Rose Canyon fault zone to the north.

Figure 3.6-1

Historical Seismicity

The historical seismicity of the San Diego area within a 50-mile (80 km) radius is low, with only a limited number of small earthquakes having been reported since early mission days (late 1700s).   Some strong shaking and minor damage has been experienced in San Diego, but none of the events have been very destructive because the earthquakes originated at long distances from San Diego, generally from locations in the Imperial Valley or northern Baja California.  Earthquakes in 1800, 1862, and 1892 appear to have had the strongest intensities in downtown San Diego.  These earthquakes are estimated to have been a maximum Modified Mercalli (MM) intensity of VII, VI-VII, and VI, respectively.  Recently, seismographs have recorded many small to moderate magnitude earthquakes in the area.  The largest earthquake occurred in July 1986 (magnitude 5.3).  In conclusion, based on historical records of earthquake activity, the seismic hazard in coastal San Diego is difficult to quantify.

The Rose Canyon fault zone is the closest major active fault zone.  Estimates of the maximum potential earthquake range from magnitude 6.5 to 7.25, with a maximum 7.0 earthquake typically considered in local seismic hazard evaluations.  Significant traces of the Rose Canyon fault zone are mapped at distances ranging from about 0.5 mile to about 3 miles (0.8-4.8 km) from the project area.  Recent probabilistic seismic hazard analyses for the San Diego-Tijuana coastal region indicated that the level of seismic shaking associated with a 10 percent probability of exceedance for a 75-year period ranges from about 0.45 g to 0.48 g.

Seafloor Conditions

About 20 to 40 feet (61 to 12.2 m) of finer-grained sands, silts, and sparse clay layers underlie the eastern two-thirds of the ocean outfall alignment.  A varying thickness of up to 40 feet of gravelly and sandy alluvial deposits underlies the upper material.  Varying depths of deeper unconsolidated sediments underlie the sandy layers.  These soils are subject to liquefaction and settlement due to ground shaking and significant wave height.  Tertiary sediments of the San Diego Formation are found at depths of approximately 115 feet (35 m).

Public Health

Background

As discussed previously in the 1994 FEIS, the Tijuana River is highly contaminated by continuing spills from the Tijuana sewerage system and by drainage of sewage from large populated areas within the city of Tijuana that are not served by any sewer system. Sewage flows from Tijuana have been reduced since 1991 and the conditions that currently exist in the valley have improved.  However, continuing sewage flows pose environmental and health concerns, including vector-borne disease.

Beach Quarantines

Discharge of untreated or treated sewage into the marine environment may cause a variety of public health risks including bacteria, viruses, and toxic or carcinogenic constituents.  Water quality criteria for marine waters are defined by the State Water Resources Control Board (SWRCB) in the Water Quality Control Plan: Ocean Waters of California (State of California 1990a), known as the Ocean Plan.  Of greatest concern are pathogenic organisms (bacteria and viruses), as their effects may lead to direct harm to humans.  Concerns for the effects of toxics, metals, and carcinogens that may be discharged with sewage or treated effluent are usually directed to marine biota and would be harmful to humans through uptake in food sources.

Pathogens may be natural inhabitants of seawater (autochthonous) or introduced through sewage or other means to the marine environment.  Both varieties of bacteria can affect human health.  Autochthonous bacteria are not present in sewage or effluent, but their existing concentrations can be increased by the discharge of elevated levels in treated effluent.  Risks associated with autochthonous bacteria include infections of the ear, swimmer's itch, and, potentially, gastroenteritis.  These complaints are typically due to contact between bathers in the water and not ingestion of water (Kalichman and Conway 1989).

Allochthonous pathogens are discharged with wastewater into the marine environment and can affect humans through ingestion or skin contact or by consumption of fish or shellfish.  Bacteria such as salmonella, streptococci, and enterococci; enteric, rota, and parvo viruses; and protozoa and helminths are all of concern (EPA 1985).  Enterococci is most strongly associated with complaints of gasroenteritis but fecal coliforms and Norwalk virus are also indicated (Cabelli et al. 1983).

The bacterial standards vary somewhat based upon beneficial uses, with body contact zones, defined as the area within 1,000 feet (304.8 m) of the shoreline or 30 feet (9.1 m) of water depth and kelp beds, having the most stringent requirements.  The water contact standards provide that the density of total coliform organisms must not exceed 1,000 per 100 ml for more than 20 percent of samples in any 30-day period (or 10,000) and that fecal coliforms may not exceed a geometric mean of 200 per 100 ml in any 5 samples during a 30-day period nor exceed 400 fecal coliforms per 100 ml in 10 percent of samples taken during a 60-day period.

The San Diego County Department of Health Services has data regarding violations of the bacteriological standards on South County beaches.  From 1980 to 1991, approximately two miles (1.2 km) of beach (from the international border to the south end of Seacoast Drive) have been under almost continuous quarantine due to violations of total coliform standards.  The intent of the quarantine is to reduce exposure and thus risk to public health.  The Department of Health Services has also occasionally quarantined beaches as far north as Coronado, prior to 1985 (Melbourn, pers. com. 1991).  Once the river diversion structure was installed by Mexico in 1991, the quarantines were placed on an intermittent basis north of the mouth of the river, extending as far as the Silver Strand.

In addition to the public health threat caused by sewage-contaminated river flows, limited monitoring studies performed by Engineering Science in 1991 resulted in data which indicate that the beach discharge of effluent from the San Antonio de los Buenos treatment plant may result in exceedances of water quality standards in U.S. waters (Engineering Science 1991).  Effluent discharged onto the beach travels northward with the nearshore ocean current.  Sampling in Mexico near the U.S./Mexico border has shown that the total coliform standard in the Ocean Plan would have been exceeded 58 percent of the time.

Parsons Engineering Science has conducted a recent study of the probable effects of the discharge of untreated sewage in Mexico with respect to bacterial concentrations along the coastline from south of the discharge point in Mexico to Coronado.  As part of their study, records of monitoring of bacterial levels at various locations in the U.S. and Mexico were compiled.  These data were collected from various sources, including the County of San Diego, City of San Diego, and IBWC.

The available data, while extremely limited, indicate that ocean standards would be violated as far north as the beaches of Imperial Beach and the kelp bed offshore from the discharge in Mexico.

Other sources of bacterial contamination to coastal waters exist, however (storm flows, urban runoff, sewer breaks in the U.S., etc.), and the frequency and relative contribution of the various sources have not been determined or the individual significance evaluated. Standards for water quality for human health and safety are established in the Water Quality Control Plan for the San Diego Region (Basin Plan).  The Tijuana River is designated for non-body contact recreation.  Bacterial concentrations for any 30-day period shall not exceed 2,000 fecal coliforms per 100 ml and shall not exceed 4,000 per 100 ml for 10 percent of samples taken in a 30-day period.  Mexico has committed to ensuring that the quality of the Tijuana River and U.S. ocean waters will be maintained.

Vectors

The Tijuana River valley is host to at least 14 of 24 mosquito species known to occur in San Diego County, including those capable of transmitting diseases.  The lack of adequate water drainage and waterway maintenance and the constant flow of wastewater into the Tijuana River valley has created an environment where mosquito breeding is rampant.

There are several issues which must be considered when assessing vector problems in the Tijuana River valley.  Basic considerations include the physical features (water quality, topography, and groundwater hydrology), the augmented surface flows resulting from sewage from Mexico, chemical features associated with the sewage flows (stimulation of excessive plant growth and deleterious effects on mosquito fish and other aquatic vertebrates and invertebrates), and the constraints from environmental regulation on mosquito breeding prevention.

Natural and man-made obstructions divert the sewage flows, resulting in the flooding of large areas overgrown with vegetation.  This creates ideal breeding conditions for mosquitoes; mosquitoes that act as vectors in the transmission of malaria occur in significant numbers.  Mosquitoes that act as vectors in the transmission of viral encephalitis (sleeping sickness) have been counted in greater numbers in the Tijuana River valley than anywhere else in San Diego County.  These mosquito populations are highest during the summer months.

These conditions have also reduced the effectiveness of predators, both introduced and natural.  High biological oxygen demand and ammonia in wastewater can stress or eliminate fish and insects which feed on mosquitoes.  The access of natural avian predators that normally feed on mosquito larvae and adults is inhibited by dense vegetation.

San Diego County Mosquito Abatement Program

No cases of viral encephalitis or malaria have been documented within the Tijuana River valley, though all of the parameters necessary for transmission of these vector-borne diseases are present.  To prevent potential outbreaks of these diseases through vector-borne disease transmission, the County Environmental Health Services has engaged in various mosquito abatement programs.  These programs have included stocking ponds with mosquito fish, placing larvaecidal oil on bodies of standing water, and spraying with chemicals agents.  None of these measures have resulted in substantial reductions in the mosquito population.  Fogging with chemical sprays has not proved effective due to the dense vegetation which limits access by truck-mounted or hand-held fogging equipment and which prevents dispersion of the fog.  Aerial spraying would be ineffective for the same reason.  In addition, concerns have been raised by USFWS regarding the effects of chemical spraying on least Bell's vireo, a federally listed endangered species, and on the ecological system in general.

Public Concerns

The vast majority of the comments raised by the public at the public scoping meeting focused on concerns that the wastewater flowing through the Tijuana River valley posed a significant public health risk.  Residents complained that mosquitoes were a year-round problem that posed a major health hazard to themselves, their children, and their pets.  Many indicated that children were not allowed outside after dusk, to prevent mosquito bites that may result in malaria or encephalitis.  They strongly voiced the need for an immediate solution to the problem, including aerial spraying of pesticides and channelizing the river or other solutions that would allow water to flow more freely. Commenters also indicated that the IWTP was the only long-term solution to this problem, but that it was taking too long to implement.

Hazardous Materials/ Risk of Operational Upset

A Risk Management Prevention Plan (RMPP) is required by the County health department for any facility in which hazardous substances will be used during operations.  The RMPP must include procedures for the handling, storage, and use of listed substances; employee training and safety procedures; and procedures to be followed in event of a spill or other accidental release.

If an emergency involving hazardous materials were to occur, the Hazmat Response Team (three trained personnel and a response vehicle) would respond.  Emergency vehicles would be provided direct access to the project site by taking Interstate 5 to Dairy Mart Road.  The site is located south of both Interstate 5 and the intersection of Monument and Dairy Mart Roads. Existing land uses surrounding the site include rural residential, agriculture, and open space uses.  The community plan designates the treatment plant site and lands to the north and east for agricultural use.  Immediately west of the site, land is designated for commercial recreation.  The Mexican border lies within 300 feet (91.4 m) of the site's southern boundary.

Air Quality and Odors

Climate

The project area, like the rest of San Diego County's coastal areas, has a cool semiarid steppe climate characterized by warm, dry summers and mild, wet winters.  The dominating permanent meteorological feature affecting the region is the Pacific High Pressure Zone, which produces the prevailing westerly to northwesterly winds.  The project area has a mean annual temperature of 62 degrees Fahrenheit (&#176;F) (16.7 degrees Celsius [&#176;C]) and an average annual precipitation of 9.5 inches (24.1 cm), falling primarily from November to April.  Winter low temperatures in the project area average about 45 &#176;F (7.2 &#176;C), and summer high temperatures average about 75 &#176;F (23.9 &#176;C) (U.S. Department of Commerce 1992; Pryde 1976).

Prevailing conditions along the coast are modified by the daily sea breeze/land breeze cycle.  Fluctuations in the strength and pattern of winds from the Pacific High Pressure Zone interacting with the daily local cycle produce periodic temperature inversions that influence the dispersal or containment of air pollutants in the San Diego Air Basin (SDAB).  The afternoon temperature inversion height, beneath which pollutants are trapped, varies between 1,500 and 2,500 feet (457 and 762 m) above MSL.  The altitude beneath the inversion layer is the mixing depth for trapped pollutants.  In winter, the morning inversion layer is about 800 feet (244 m) above MSL.  Project area elevations range from sea level to an approximate high of 45 feet (13.7 m) above MSL.  In summer, the morning inversion layer is about 1,100 feet (335 m) above MSL.  A greater change between morning and afternoon mixing depth increases the ability of the atmosphere to disperse pollutants.  Generally, therefore, air quality in the project area is better in winter than in summer.

The predominant pattern is sometimes interrupted by the socalled Santa Ana conditions, when high pressure over the NevadaUtah area overcomes the prevailing westerlies, sending strong, steady, hot, dry northeasterly winds over the mountains and out to sea.  Strong Santa Anas tend to blow pollutants out over the ocean, producing clear days.  However, at the onset or breakdown of these conditions, or if the Santa Ana is weak, air quality may be adversely affected.  In these cases, emissions from the South Coast Air Basin to the north are blown out over the ocean, and low pressure over Baja California draws this pollutantladen air mass southward.  As the high pressure weakens, prevailing northwesterlies reassert themselves and send this cloud of contamination ashore in the SDAB.  There is a potential for such an occurrence about 45 days of the year, but San Diego is adversely affected on only about 5 of them.  When this event does occur, the combination of transported and locally produced contaminants produces the worst air quality measurements recorded in the basin.

Regulatory Framework

The federal Clean Air Act was enacted in 1970 and amended in 1977 and 1990 [42 U.S.C. 7506(c)]. In 1971, the EPA promulgated national ambient air quality standards.  The six pollutants of primary concern for which national standards have been established are sulfur dioxide, lead, carbon monoxide, nitrogen dioxide, ozone, and suspended particulate matter (PM-10).

The EPA allows the states the option to develop different (stricter) standards, which the California Air Resources Board (CARB) has adopted.  Table 3.8-1 lists the federal and California state standards.

TABLE 3.8-1

AMBIENT AIR QUALITY STANDARDS

Maximum Concentration                                              Averaged                                            over Specified Time Period

Pollutant               State          Federal                                       Standard       Standard

Oxidant (ozone)                  0.09 ppm       0.12 ppm                                     (180 mg/m3)     (235 mg/m3)                                      1 hr.           1 hr.

Carbon monoxide                  9.0 ppm         9 ppm                                       (10 mg/m3)      (10 mg/m3)                                       8 hr.           8 hr.

Carbon monoxide                 20.0 ppm        35.0 ppm                                     (23 mg/m3)      (40 mg/m3)                                       1 hr.           1 hr.

Sulfur dioxide                  0.04 ppm        0.03 ppm                                     (105 mg/m3)     (80 mg/m3)                                       24 hr.     Annual Average

Nitrogen dioxide                0.25 ppm       0.053 ppm                                     (470 mg/m3)    (100 mg/m3)                                       1 hr.      Annual Average

Lead                            1.5 mg/m3       1.5 mg/m3                                       30-day        Calendar                                       Average         Quarter

Suspended particulate matter     50 mg/m3       150 mg/m3     (PM-10)                           24 hr.         24 hr.

SOURCE:  State of California 1994.

ppm = parts per million; mg/m3 = micrograms per cubic meter.

The San Diego Air Pollution Control District (APCD) is the agency which regulates air quality in the SDAB.  The APCD has prepared the updated 1991/1992 Regional Air Quality Strategies (RAQS) in response to the requirements set forth in Assembly Bill (AB) 2595.  The updated draft was adopted, with amendments, on June 30, 1992 (County of San Diego 1992). The required triennial update of the RAQS was adopted on December 12, 1995.  The RAQS and transportation control measures (TCM) plan set forth the steps needed to accomplish attainment of state and federal ambient air quality standards.

The APCD has also established a set of rules and regulations initially adopted on January 1, 1969, and periodically reviewed and updated.  The rules and regulations define requirements regarding stationary sources of air pollutants and fugitive dust.

Existing Air Quality

The project area is within the SDAB.  Air quality at a particular location is a function of the kinds and amounts of pollutants being emitted into the air locally and throughout the basin and the dispersal rates of pollutants within the region.  The major factors affecting pollutant dispersion are wind speed and direction, the vertical dispersion of pollutants (which is affected by inversions), and the local topography.

Air quality is commonly expressed as the number of days in which air pollution levels exceed state standards set by the CARB and federal standards set by the EPA (see Table 3.8-1).  The concentration of pollutants within the SDAB is measured at 10 stations maintained by the APCD and the CARB.  The station nearest the project area measuring a full range of pollutants is in Chula Vista.  This station does not monitor lead concentrations.  However, the 1993 lead levels measured at other monitoring stations in the SDAB were well below both federal and state standards.

Table 3.8-2 summarizes the number of days annually from 1989 to 1993 during which state and federal standards were exceeded in the SDAB overall, while Table 3.8-3 lists these data for the Chula Vista monitoring station.

TABLE 3.8-2

SUMMARY OF AIR QUALITY DATA

FOR THE SAN DIEGO AIR BASIN

Number of Days Over Standard

State                          Federal

Pollutant     1989  1990   1991  1992   1993     1989   1990  1991   1992  1993

Oxidant         158    139   106    97    89        55    39     27    19     14     (ozone)

Carbon          6      1     0      0     0         6     0      0     0      0      monoxide

Sulfur dioxide  0      0     0      0     0         0     0      0     0      0

Nitrogen        0      0     0      0     0         0     0      0     0      0      dioxide

Lead            0      0     0      0     0         0     0      0     0      0

Particulates    28/75  11/80 20/83  7/75  14/76     0/75   0/80  0/83   0/75  0/76   (PM10)*

SOURCE:  State of California 1990b, 1991, 1992, 1993, 1994b.

*Number of samples over standard/number of samples collected.

Table 3.8-3

Ozone

The air basin is currently designated a state &quot;serious&quot; nonattainment area and a federal &quot;serious&quot; nonattainment area for ozone.  Even though peak ozone concentrations have steadily declined since 1978 (SANDAG 1994), in 1991, 1992, and 1993, the SDAB exceeded the federal ozone standard on 27, 19, and 14 days, respectively.  During the same three years, the state ozone standard was exceeded on 106, 97, and 89 days, respectively.

Ozone presents special control strategy difficulties in the SDAB because of climatological and meteorological factors.  Ozone is the end product of the chain of chemical reactions that produces photochemical smog from hydrocarbon emissions.  A major source of hydrocarbon emissions is motor vehicle exhausts.  In the SDAB, only part of the ozone contamination is derived from local sources; under certain conditions, contaminants from the South Coast Air Basin (such as the Los Angeles area) are windborne over the ocean into the SDAB.  When this happens, the combination of local and transported pollutants produces the highest ozone levels measured in the basin.

At the Chula Vista station, the federal standard was exceeded on 1 day in September and the state standard for ozone was exceeded on 12 days in 1993.

In 1992, pollution transported from the Greater Los Angeles area was responsible for 11 out of 19 days over federal standards.  On average, approximately 42 percent of the days over state standards since 1987 were attributable to pollution transported from Los Angeles (SANDAG 1994:249-250).  The 1994 Regional Transportation Plan concludes that ozone remains the major primary pollutant in the San Diego region.

Local agencies can control neither the source nor the transportation of pollutants from outside the basin.  The APCD's policy, therefore, has been to control local sources effectively enough to reduce locally produced contamination to clean air standards.

Carbon Monoxide

No violations of the state standard have been recorded for carbon monoxide since 1990 and the basin is classified as a state attainment area for carbon monoxide.  The basin currently is classified as a federal nonattainment area for carbon monoxide; however, no violations of the federal standard have been recorded since 1989.  The APCD is currently in the process of applying for reclassification of the basin as a federal attainment area for carbon monoxide.  Moreover, it should be noted that the state standard for carbon monoxide is more stringent than the federal standard.

Particulates (PM-10)

Particulates within the respirable range (10 microns in size or less) are reported as both an annual average and a 24-hour average. The basin overall is currently in attainment of the federal standard but has not met the more stringent state standard.  For several reasons hinging on the area's dry climate and coastal location, the SDAB has special difficulty in developing adequate tactics to meet present particulate standards.

Nitrogen Dioxide, Sulfur Dioxide, and Lead

The basin is in attainment for these pollutants.

Odors

Odors are not regulated under emissions standards, rather they are regulated under the APCD's Regulation IV, Rule 51 (the &quot;nuisance&quot; rule).

Complaints of odors result primarily from the perceived intensity of the odor sensation and the frequency of occurrence.  People judge the intensity of odors they consider unpleasant as higher than those they consider pleasant or normal to their environment.  The range in olfactory sensitivity in people of normal acuity can vary up to four orders of magnitude relative to measured concentrations. Few odors are attributable to a single compound.

A method of quantitatively assessing odors has been devised by the American Society of Testing Materials (ASTM, Standard Method D 1391), which considers how many times an air sample must be diluted with &quot;clean&quot; air before the odor is no longer detectable to an average adult with average odor sensitivity.  The number of dilutions needed to reach this threshold level is referred to as a &quot;dilution to threshold&quot; (D/T) factor.  A threshold level of perception for an odor is 2 D/T (two parts of fresh air to one part of odorous air); at this value approximately 50 percent of people can detect the presence of an odor.  The South Coast Air Quality Management District (SCAQMD) uses a value of 10 D/T as a screening threshold for determining significant impacts due to odor (SCAQMD 1993:63).  However, there is no established correlation between odor threshold values and annoyance.

The IWTP is in a rural area of the Tijuana River valley surrounded by agricultural and livestock activities and a few isolated residences.  However, Tijuana is 300 feet (91 m) south and has mixed residential and industrial uses.  The only odors detected during previous odor surveys for the IWTP (Odor Science and Engineering 1990) were manure odors from a local farm, which measured less than 2 D/T. Since release of the Draft EIS for the IWTP, the City of San Diego approved a new residential development for the Tijuana Street site.  This approval would add sensitive receptors approximately 1,700 feet (0.5 km) northeast of the IWTP.

While the odor surveys found the ambient odor conditions in the project vicinity to be acceptable, comments received at previous public meeting indicated that the existing odor of the Tijuana River was foul and unacceptable.  Also, foul-smelling odors have been detected by USIBWC personnel at the IWTP site, ostensibly from Tijuana Pump Station One, located adjacent to the site on the Mexican side of the border (McMicheaux, USIBWC, 4/17/91). Land Use and Socioeconomics

This section profiles the existing socioeconomic conditions in the Tijuana River valley and Imperial Beach that could be affected by the Tijuana River or SBOO discharges.  The information provided in this section is derived from an updated review conducted by CIC Research, Inc. (1996).

Existing Conditions

This section discusses the existing activities within the defined study area (potential affected area).  This area includes roughly the entire Tijuana River valley and the coastal strip which runs just south of Silver Strand State Beach in Coronado to the Mexican border.  A drive-by visual field survey within the study area was conducted.

Land Use Plans and Policies

The Tijuana River valley is within the Coastal Zone.  The Coastal Zone Management Program for the area is made up of the California Coastal Act Policies and Plan, Local Coastal Program, and Tijuana River National Estuarine Sanctuary Management Plan.

The California Coastal Plan (State of California 1975a) identifies the coastal area of the Tijuana River valley as Subregion 12 of the San Diego Coast Region. The plan highlights this area as follows:

Tijuana Estuary and River valley-Preserve and protect resource and habitat values and agricultural lands.  Prevent urban encroachment.  Complete the acquisition of land and improve in a manner consistent with estuarine preservation.  Retain and restore the estuary to tidal action.

The Tijuana River Valley Plan and Local Coastal Program Addendum (City of San Diego 1977) covers the major portion of the Tijuana River valley.  The overall goals of the plan are to provide flood protection, to protect and preserve diminishing natural coastal areas, to conserve and enhance agricultural productivity, and to provide visual and passive relief from continuous urbanization.  The specific objectives of the agricultural element are to restore the rich floodplain to more productive agricultural use, to preserve open space, and to conserve valuable natural deposits of alluvium and river bed sand.  The part of the Tijuana River floodplain which lies between the levee paralleling Interstate 5 and 19th Street is designated in the plan as an agricultural preserve.  Stated benefits from the preserve include food production for an increasing population, aesthetic satisfaction resulting from maintained open space, educational benefits of model farm operations, and experimental plant hybridization.  In addition to model farms and experimental hybridization programs, horse farms, nurseries, and orchards are desirable uses in the agricultural preserve.

The Tijuana River National Estuarine Sanctuary Management Plan encompasses 2,531 acres (1,025 ha) in the western portion of the river valley and shoreline including the Border Field State Park area.  The management plan addresses land use concepts, maintenance of environmental quality, natural and cultural resources protection and enhancement, public recreation, research, and sanctuary area management.

South of Monument Road, between Old Dairy Mart Road and Border Field State Park is an upland formation containing sand and gravel resources that is known as the Border Highlands area.  An addendum to the Tijuana River Valley Land Use Plan and Local Coastal Program was adopted in 1982. The addendum addresses the phased extraction of mineral resources for this area and reclamation of mined areas for future open space and commercial recreation uses.

The County Department of Parks and Recreation is currently acquiring property in the Tijuana River valley for inclusion in the planned Tijuana Valley Regional Park.  The focused planning area for the park was adopted by the County Board of Supervisors and encompasses the area west of Interstate 5, east of the Border Field State Park and Tijuana River National Estuarine Research Reserve, south of Imperial Beach.  To avoid possible land speculation, a specific park boundary has not yet been determined.  Ultimately, the park will be comprised of 1,100 acres (446 ha) centered along the Tijuana River.  The park could take a decade to complete.  It is being paid for in part with $9.8 million from a state bond act approved by voters in 1988 for parks and wildlife preservation.  The primary goal of the park is agricultural and wildlife preservation; its location would provide protection for that portion of the river system which lies within the jurisdiction of the United States.  Lands which are considered high priority for acquisition are those which presently provide viable habitat for sensitive bird species, agricultural land with which sensitive bird species are also associated, and biologically marginal land for the more active uses of the park.

Residential Uses

The Tijuana River valley is characterized by rural, sparsely scattered homes including single-family homes and private ranches.  According to the U.S. Census Bureau, 52 percent of the area's residents are Caucasian and roughly 36 percent are of Hispanic origin. SANDAG has estimated the 1990 population base within the Tijuana River Valley Community Planning Area at 165.  Population growth is expected to be minimal and reach 170 by 2015.  An estimated 51 total housing units (1990 base) are within the area.  These residences have an average of 3.2 persons per household.

The portion of the study area which includes the coastal sections of Imperial Beach include numerous oceanfront condominium and apartment developments.  Although the actual number of housing units in this coastal area could not be determined, this area is expected to have a high percentage of the total 5,518 (January 1995) multi-family units in Imperial Beach.  These units range in value from roughly $110,000 to $400,000 and rent from $400 to $1,300 per month.  Some of the units are used as vacation rentals and vacation homes.  The south end of Sea Coast Drive includes more owner-occupied condominiums compared to the northern end, which has more resident and vacation rentals.  The northern end is close to the Imperial Beach Fishing Pier and is the location of the annual tourist events.

Business Uses

Business uses in the Tijuana River valley are primarily agricultural and equestrian related.  Numerous equestrian businesses exist in the valley, including horse rentals, boarding, or breeding.  The rental businesses operate all year and utilize the nearby trails and beaches.  SANDAG estimates the total 1990 employment base in the Tijuana River Valley Community Planning Area was 189 and forecasted to reach 286 by 2015.

According to a recent (1995) survey conducted by members of the Tijuana River Valley Equestrian Association and Mounted Assisted Unit and Citizens Against Recreational Eviction, the area has a total of 876 horses.  The area has three rental stables with a total of roughly 150 rental horses.  These rental horses represent an estimated 20,000 horse rides per year in the valley.  The area also includes three thoroughbred breeding ranches and five full-time boarding stables.  Horse riders have access to numerous trails and are allowed on the beaches in the valley vicinity.  The valley has 27 miles (43.5 km) of trails as well as trail access to the Otay Mesa area.  Based on the above-mentioned survey, total ridership in the valley and to Otay Mesa include roughly 100,000 trips per year.

The businesses within the coastal area of Imperial Beach include mostly small local serving uses with a few tourist-oriented shops.  These businesses include roughly two small motels, restaurants, clubs, minimarket, surf shop, and a bait and tackle/snack shop located at the end of the Imperial Beach Pier.  The bait and tackle/snack shop and surf shop are heavily dependent on ocean activities.  The motels (Seacoast Inn and Hawaiian Gardens Suite Hotel) have a total of roughly 78 rooms and offer seasonal rates from $45 to $140.  These hotels rely on tourists visiting the beaches.  According to the owners, the hotels are always booked for the major local events (sand castle, triathlon, and chili cook-off/jazz festival).  According to the Imperial Beach Chamber of Commerce, the restaurants, clubs, and convenience market receive significant support from beach tourists and especially around the major tourist events.

According to the Imperial Beach Chamber of Commerce, the sand castle event, which is held on July 26, 27, and 28 is the largest event, with an estimated attendance of 250,000.  The chili cook-off and jazz festival (held the second week in May) attracts an estimated 15,000 persons.  A triathlon event (which is held on August 17 and 18) attracts an estimated 5,000 to 7,000 persons.  In the past, the city beaches were home to the Bud Pro Surf Contest, which was held on Memorial Day.  This five-day event attracted roughly 5,000 persons.  However, this event is no longer held in Imperial Beach.  These events are heavily dependent on access to the beaches and ocean and offer significant support to local businesses.

Agricultural Uses

The Tijuana River valley is agricultural, with a diverse array of agricultural operations represented.  Row cropping, sod farming, greenhouse operations, and horse breeding and boarding have been the primary agricultural uses in this area.  Recently, there has been a grower who specializes in native plant production for revegetative projects and an organic grower who specializes in sprout production.  Another use in the Tijuana River valley is a sand and gravel extractive operation.

The Tijuana River Valley Plan calls for agricultural preservation and enhancement of agricultural values and productivity.  Retention of agricultural values also is meant to stem urban encroachment in this region.  The Plan's agricultural element calls for restoration of the rich floodplain to more productive agricultural use, to preserve open space, and to conserve valuable national deposits of alluvium and river bed sand.  Part of the floodplain itself is designated an agricultural preserve.

Soil resources in the study area include Chino silt loam (saline), Visalia sandy loam, Tujunga sand, and tidal flats.  Both the Chino silt loam and Visalia sandy loam are considered prime agricultural land, while Tujunga sand is classified as a soil of statewide importance.  Tidal flats are not suitable for agriculture and are suited instead to wildlife habitat.

Recreational Uses

Recreational use and preservation of natural coastal resources account for the bulk of the Tijuana River valley acreage.  Specific recreational areas include Border Field State Park, Tijuana River National Estuarine Sanctuary, Silver Strand State Beach, Tijuana Slough National Wildlife Refuge, Imperial Beach Pier, and all of the beach areas.  Some smaller recreational areas include the Chula Vista Model Airplane and Radio Control Club and the YMCA Camp Surf in Imperial Beach.

Tijuana River National Estuarine Reserve and Border Field State Park

The Tijuana River National Estuarine Research Reserve is located to the west and north of the Tijuana River valley.  It is part of a system which includes 20 estuaries.  This park has been preserved by the NOAA.

The reserve has a visitor center located at its northern edge, within the community of Imperial Beach.  The center has an exhibit hall, library, theater, and bookstore, and offers educational classes.

Border Field State Park is part of the Estuarine Reserve and is located at the westernmost end of the Tijuana River valley, at the southwest corner of the continental United States.  This park is one of the few remaining U.S. beaches to allow horseback riding, and riding is a popular form of recreation in this park.  Other activities include bicycling, hiking/walking, picnicking, and nature viewing.  The park is open for day use only.  Border Field State Park offers a unique view of the border and Tijuana bullring, as well as views of the Los Coronados Islands and Playas de Tijuana.  No camping is allowed in the park.  Visitor attendance at Border Field State Park has grown from 78,000 in 1992/93 to 217,000 in the 1994/95 fiscal year, the most current year available for visitor statistics.  While it appears that attendance almost tripled during that period, 1992/93 was a period of severe flooding, requiring a significant number of beach closures.

Silver Strand State Beach

Silver Strand State Beach is located along a seven-mile (11.3 km) stretch of wide sandy beach connecting the communities of Coronado and Imperial Beach.  On its western edge is the Pacific Ocean and its eastern border is formed by San Diego Bay.  This beach is well known as one of the most beautiful beaches in southern California.

This beach offers a variety of recreational opportunities, including swimming, sunning, picnicking, bicycling, surfing, and ocean fishing.  Recreational vehicle (RV) camping is allowed for a fee of $16.00 per night.  Day use fees are $4.00 per vehicle.

Silver Strand State Beach has several rest rooms and showers, a snack bar, and a beach equipment rental concession.  There are 124 RV spaces in the campground.

Visitor attendance at Silver Strand has increased from roughly 249,000 in the 1992/93 fiscal year to 358,000 in the current (1995/96) fiscal year.  This represents a healthy 44 percent increase in visitation in a relatively short period of time.

The Chula Vista Model Airplane and Radio Control Club has a relatively small site in the river valley used for flying model airplanes.  The club recently moved from Border Field State Park to a site just west of the IWTP.  According to a club member, the club has a total of 112 members.  Actual activity levels could not be identified, but the site includes parking for 23 cars and is typically full on the weekends.

The YMCA Camp Surf is located in North Imperial Beach, just south of Silver Strand State Beach.  The camp operates all year and offers environmental education classes for school children during the spring and fall school seasons.  The environmental classes utilize the beach, and during the summer months the camp offers additional recreational activities to all children.  The activities include pier fishing, surfing, and arts and crafts.  The YMCA camp, which remains relatively full when open, is dependent on the nearby ocean for most of their activities/business.

Sportfishing Uses

Sportfishing is an important recreational outlet for San Diego residents.  Used by a variety of socioeconomic segments, sportfishing as a recreational activity is enjoyed by many people.  The subject area provides ample access to marine recreational fishing through pier, beach, and nearby offshore boat fishing.

Pier fishing is an important aspect of recreational fishing as it allows the easiest and lowest cost access for the angler.  According to the NMFS's Southern California Sportfishing Economic Survey (1991), pier fishing requires the smallest average

cost per trip of any mode of marine fishing.  In addition, on the average, pier anglers travel the shortest distance to participate in their fishing activity as compared to other modes of fishing.  Pier fishing attracts anglers with lower household incomes due to its affordability.  In addition, pier fishing appeals to young anglers since it is a readily accessible method of recreation, especially in the summer months.

The Imperial Beach Fishing Pier is owned and maintained by the San Diego Port District.  However, the City of Imperial Beach actively promotes the pier as an attraction.  Located at the end of the pier is a tackle/snack shop that is leased from the Port District.  During weekdays in non-summer months, the pier attracts approximately 10 to 50 anglers in the morning, many of whom are subsistence anglers.  Weekday non-summer afternoon anglers number from 50 to 75 anglers.  During weekend and summer months the number of anglers increases to several hundred.  According to the NMFS in 1991, there were roughly 21,394 angler trips from the Imperial Beach Pier.

A second mode of fishing found in the subject area is beach fishing.  Beach fishing also allows easy and low cost access for the angler.  Beach anglers are able to collect bait on the beach (sand crabs), as well as purchase bait nearby.  One of the drawbacks to beach fishing is the interaction of anglers with other people using the shore for recreation.  Consequently, beach fishermen tend to use the shore for angling when the beach is not used for other forms of recreation (i.e., early morning or late evening).  The difficulties in beach fishing coupled with a lower catch rate than other modes of fishing tend to make beach anglers rare.  The number of beach anglers using the Imperial Beach area is estimated to be roughly 7,847 per year (NMFS 1991).

Private boat anglers and commercial passenger fishing vessels (CPFV) use the area immediately offshore of Imperial Beach, especially during the spring and summer months.  There has been an attempt (unsuccessful to date) to attract a CPFV operation to run out of the Imperial Beach Pier.  According to the CDFG, there are approximately 400 annual boat trips accounting for roughly 10,000 angler trips using the fishing grounds that extend 12 miles (19.3 km) from the shoreline between Imperial Beach and the Mexican border.

Chapter Four

Environmental Consequences

This chapter discusses the potential environmental impacts resulting from implementation of each of the alternatives considered in this SEIS.  Each alternative is considered as a stand-alone alternative that would be used during the interim period from 1996 to the planning horizon year of 2001.  Each alternative considered is a means to reduce the environmental impacts relative to the No Action baseline.  The phasing of the individual alternatives, discussed as Alternative 6 in Chapter 2, is not given separate evaluation here, as the impacts are considered by each alternative.

The term impacts is used interchangeably with the term

effects and is defined as adverse or beneficial changes

or consequences of the project taken as a whole.  Effects include changes that are ecological, economic, social, or health related and can be direct or indirect and of short- or long-term duration, if not permanent (irreversible).  The effects considered are primarily related to the discharge of advanced primary effluent from the IWTP over a five-year period of time.  The effects of construction and operation of the IWTP and SBOO and discharging up to 100 mgd of secondary treated effluent were evaluated in the previous EIS for the project.

Direct effects are caused by the action and occur at the same time and place.  Direct effects may result from new construction or operation of the facilities. Indirect effects are caused by the action or the combined effects of the action and other future actions and occur later in time or are removed in distance.

A significant effect on the human environment means a substantial, or potentially substantial, adverse change in any of the physical, economic, or social conditions in the area affected by the project including land, air, water, minerals, flora, fauna, ambient noise, and objects of historic or aesthetic significance.

CEQ regulations require consideration of the cumulative impact of a proposed action on the environment.  This is defined as that which results from the incremental impact of the action when added to other past, present, and reasonably foreseeable future action.  Cumulative effects can be individually minor but collectively significant.  For this SEIS, the primary cumulative impact would be the discharges in Mexico of treated effluent and untreated sewage with respect to discharge of treated effluent from the IWTP.

Hydrology and Water Quality

This section describes the hydrological and water quality impacts anticipated to result from implementation of each alternative. Regulatory Standards

Federal Clean Water Act

Section 402 of the Clean Water Act establishes the NPDES permitting program.  Subsection (a)(5) of Section 402 specifies that the Administrator (EPA) may delegate authority to issue permits for discharges to the State.  As allowed per this subsection, the EPA has delegated NPDES permitting authority to the RWQCB.

All point-source dischargers are required to obtain and comply with the provisions of an NPDES permit for any discharge of pollutants into waters of the U.S. (e.g., oceans, lakes, or streams).  NPDES permits must contain discharge limitations based on the more stringent of the applicable technology-based requirements and water quality standards. RWQCB will be the authority issuing the NPDES permit for operation and interim discharge of effluent from the IWTP.

Additionally, Section 301 of the Clean Water Act specifies effluent limitations.  Under this section, discharge of less than secondary treated effluent to marine waters is not authorized.

Porter-Cologne Water Quality Act

Under the Porter-Cologne Act, the RWQCB issues waste discharge requirements to sources of pollutants to state waters.  Because the IWTP discharges into state waters, the RWQCB will issue waste discharge requirements for the IWTP discharge.  The waste discharge requirements will be based on the Basin Plan and Ocean Plan.  The waste discharge requirements will likely be contained in a joint document with the NPDES permit.

Water Quality Control Plan for the San Diego Basin

The San Diego Regional Board's Basin Plan (State of California 1995) is designed to preserve and enhance water quality and protect the beneficial uses of all regional waters.  Specifically, the Basin Plan:  (1) designates beneficial uses for surface and ground waters; (2) sets narrative and numerical objectives that must be attained or maintained to protect the designated beneficial uses and conform to the state's antidegradation policy; (3) describes implementation programs to protect the beneficial uses of all waters in the region; and (4) describes surveillance and monitoring activities to evaluate the effectiveness of the Basin Plan.  Additionally, the Basin Plan incorporates by reference all applicable State and Regional Board plans and policies.

Beneficial uses are defined as the uses of water necessary for the survival or well-being of man, plants, and wildlife.  These uses of water serve to promote the tangible and intangible economic, social, and environmental goals of mankind.  Existing beneficial uses for the Tijuana River in the Tijuana River valley west of Interstate 5 are Non-contact Water Recreation (REC-2), Warm Freshwater Habitat (WARM), Wildlife Habitat (WILD), and Rare, Threatened, or Endangered Species (RARE).  Potential beneficial uses specified for the river include Industrial Service Supply (IND) and Contact Water Recreation (REC-1).  It is noted that the Tijuana River is exempted from the Municipal (MUN) beneficial use designation.

Existing beneficial uses for the Tijuana River estuary include all of those mentioned above (i.e., REC-1, REC-2, WARM, WILD, RARE, and IND) except MUN, as well as Commercial and Sport Fishing (COMM), Preservation of Biological Habitats of Special Significance (BIOL), Estuarine Habitat (EST), Marine Habitat (MAR), Migration of Aquatic Organisms (MIGR), and Shellfish Harvesting (SHELL).

Groundwater beneficial uses for the Tijuana River valley include MUN, IND, and Agricultural Supply (AGR).

These beneficial uses are defined as follows:

Contact Water Recreation (REC-1):  Includes

uses of water for recreational activities involving body contact with water, where ingestion of water is reasonably possible.  These uses include, but are not limited to, swimming, wading, waterskiing, skin and scuba diving, surfing, white water activities, fishing, or use of natural hot springs.

Non-contact Water Recreation (REC-2):

Includes uses of water for recreational activities involving proximity to water but not normally involving body contact with water, where ingestion of water is reasonably possible.  These uses include, but are not limited to, picnicking, sunbathing, hiking, beachcombing, camping, boating, tide pool and marine life study, hunting, sightseeing, or aesthetic enjoyment in conjunction with the above activities.

Municipal and Domestic Supply (MUN):

Includes uses of water for community, military, or individual water supply systems including, but not limited to, drinking water supply.

Agricultural Supply (AGR):  Includes

uses of water for farming, horticulture, or ranching including, but not limited to, irrigation, stock watering, or support of vegetation for range grazing.

Industrial Service Supply (IND):  Includes

uses of water for industrial activities that do not depend primarily on water quality including, but not limited to, mining, cooling water supply, hydraulic conveyance, gravel washing, fire protection, or oil well repressurization.

Warm Freshwater Habitat (WARM):  Includes

uses of water that support warm-water ecosystems including, but not limited to, preservation or enhancement of aquatic habitats, vegetation, fish, or wildlife, including invertebrates.

Wildlife Habitat (WILD):  Includes uses

of water that support terrestrial ecosystems including, but not limited to, preservation and enhancement of terrestrial habitats, vegetation, wildlife (e.g., mammals, birds, reptiles, amphibians, invertebrates), or wildlife water and food sources.

Rare, Threatened, or Endangered Species (RARE):

Includes uses of water that support habitats necessary, at least in part, for the survival and successful maintenance of plant or animal species established under state or federal law as rare, threatened, or endangered.

Commercial and Sport Fishing (COMM):

Includes the uses of water for commercial or recreational collection of fish, shellfish, or other organisms including, but not limited to, uses involving organisms intended for human consumption or bait purposes.

Preservation of Biological Habitats of Special Significance (BIOL):  Includes uses of water that support designated

areas of habitats, such as established refuges, parks, sanctuaries, ecological reserves, or ASBSs, where the preservation or enhancement of natural resources requires special protection.

The Tijuana River National Estuarine Research Reserve is designated a national estuarine research reserve by the NOAA.

Estuarine Habitat (EST):  Includes uses

of water that support estuarine ecosystems including, but not limited to, preservation or enhancement of estuarine habitats, vegetation, fish, shellfish, or wildlife (e.g., estuarine mammals, waterfowl, shorebirds).

Marine Habitat (MAR):  Includes uses

of water that support marine ecosystems including, but not limited to, preservation or enhancement of marine habitats, vegetation such as kelp, fish, shellfish, or wildlife (e.g., marine mammals, shorebirds).

Migration of Aquatic Organisms (MIGR):

Includes uses of water that support habitats necessary for migration, acclimatization between fresh and salt water, or other temporary activities by aquatic organisms, such as anadromous fish.

Shellfish Harvesting (SHELL):  Includes

uses of water that support habitats suitable for the collection of filter-feeding shellfish (e.g., clams, oysters, and mussels) for human consumption, commercial, or sport purposes.

In order to protect the designated beneficial uses, water quality objectives have been specified by the Regional Board.  These water quality objectives are described in detail in Chapter 3 of the Basin Plan (State of California 1995).

Additionally, the Basin Plan specifies that discharges of wastewater to surface water must meet the effluent limitations prescribed in the NPDES permit issued by the Regional Board.  Effluent limitations are based on the following criteria:

Secondary treatment effluent limitations defined by the U.S. EPA contained in 40 CFR 133, unless a waiver to the secondary treatment standards is obtained (more stringent effluent limitations than secondary treatment may be imposed by the Regional Board if necessary).

Applicable water quality objectives and beneficial uses contained in the Basin Plan and State Board Water Quality Control Plans. Applicable public health protection standards for total and fecal coliform.

Assimilative capacity of the receiving water.

The terms and conditions of the federal Antidegradation Policy (40 CFR 131.12) and the State Antidegradation Policy (Resolution No. 68-16).

Anti-backsliding provisions described in Clean Water Act Section 404.

Land disposal or recycling of sludge as a soil amendment.

As such, the live stream discharge of less than secondary treated effluent to the Tijuana River would not be in compliance with the Basin Plan and, consequently, the Clean Water Act.

Chlorination/Dechlorination

Chlorination of wastewater prior to discharge is used for disinfection and may also be used for control of odors. The IWTP was designed with the capability to chlorinate/dechlorinate effluent. However, the final design for the South Bay Ocean Outfall may provide sufficient initial dilution to avoid the need for chlorination of effluent.  At this time, USIBWC/EPA are uncertain if chlorination/dechlorination will be required for discharge of treated effluent in the U.S.  For general discussion purposes, the regulatory standards and potential environmental concerns are presented below.

Both state and federal standards for chlorine discharge are based on known toxicity to aquatic organisms. The most sensitive organisms and life stages tested to date (such as sea urchin sperm or oyster larvae) have toxic effects at about the concentrations of the state standards for daily maximum and six-month median limits.  Freshwater and estuarine aquatic organisms have similar sensitivities.

Regulatory Standards

If chlorination of ocean discharge is required to control coliform concentrations, then the California Ocean Plan (1990) has receiving water limitations for total residual chlorine as follows:

Six-month median  2 &#181;g/l

Daily maximum  8 &#181;g/l

Instantaneous maximum 60 &#181;g/l

These Ocean Plan standards will apply to any marine discharge and allows for effluent dilution at the point of discharge from the diffuser. These limits may be met with or without dechlorination, as necessary to keep calculated total residual chlorine in receiving waters below the water quality objectives.

The latest EPA criteria (1986) for chlorine-produced oxidants in seawater is 7.5 &#181;g/l as a four-day average and 13 &#181;g/l as a one-hour average (in practice, usually applied as a daily limit).  These values are similar to those used by the State of California.

Environmental Concerns

The chlorination of wastewater and discharge to the estuarine and marine environment has the potential to cause adverse effects.  Any chlorine that is not neutralized by dechlorination is extremely toxic to most freshwater, estuarine, or aquatic biota.  Concerns for the effects of chlorination to freshwater or marine organisms include mutagenicity (production of mutations), toxicity, and bioaccumulation in tissues.

Chlorine can be added to effluent in one of several forms. Uncomplexed chlorine oxidant (without nitrogen or carbon) is termed free chlorine.  Total residual chlorine includes other oxidants formed by the chlorination process, such as chloramines.  When the water contains ammonia, as in the case of sewage effluent, monochloramine, dichloramine, and nitrogen trichloride are also formed.  These and a few other oxidizing species formed by chlorination are collectively known as total residual chlorine.  Other halogenated organics, such as bromoform and chloroform, and various trihalomethanes, among others, are also formed.

The rapid dissipation of these oxidants in the environment should render concentrations nontoxic outside of the zone of initial dilution, as long as State effluent limits are met. With a dilution ratio of 100:1, the SBOO would have to maintain an effluent concentration of total residual chlorine of less than 200 &#181;g/l, on average, to remain below. the State Ocean Plan limit of 2 &#181;g/l for receiving waters.

Alternative 1: No Action

Impacts

Under this alternative, raw sewage flows in excess of the combined capacity of Tijuana Pump Station One and the emergency connector would flow into the Tijuana River via Stewart's Drain.  As shown in Table 2-1, these excess sewage flows are estimated to be 5.6 mgd (245 lps) average day flows with 9.5 mgd (416 lps) highest day peak flows by the year 2001.  From a hydrological perspective, this is a low flow rate for the river.  Therefore, no flooding, scouring, or channel alteration is expected to occur in the river valley as a consequence of continued sewage flows to the river.

However, the flow of untreated raw sewage to the river will degrade the water quality of the river and Tijuana River estuary. A wastewater quality sampling program was initiated by USIBWC in 1990 to determine the typical composition of the wastewater.  An additional round of sampling was conducted in 1992 (see Section 3-1).  The wastewater was analyzed for a variety of substances including heavy metals, pesticides, and nutrients.  Results of this testing are shown in Table 4.1-1 in the influent concentration columns for both maximum observed concentrations and sample average concentration.  The Basin Plan standards for the Tijuana River are also provided in Table 4.1-1.  Clearly, the untreated sewage does not comply with water quality standards and objectives for surface, ground, or ocean waters.

Additionally, the &quot;freshwater&quot; flows would also continue to negatively impact the Tijuana River estuary as described in Chapter 3 of this SEIS and in the Estuarine Biology impacts section below (Chapter 4.4).

Significance of Impacts

Under the No Action alternative, untreated dry-weather sewage flows and associated pollutants would enter the Tijuana River in Mexico and flow into the U.S., eventually reaching the Pacific Ocean.  Significant, unavoidable adverse effects to the surface water, groundwater, estuary, and nearshore ocean waters would result.

Mitigation

No additional mitigation is available for the No Action alternative.  Therefore, significant adverse impacts to water quality in the Tijuana River and Tijuana River estuary would result.

Alternative 2: Operate IWTP

Impacts

Under this alternative, raw sewage flows in excess of the combined capacity of the emergency connection and Pump Station One would flow to the IWTP and be treated to primary standards.  Effluent would then be pumped to the emergency connection and the City of San Diego Point Loma treatment plant.  Effluent flows in excess of the capacity of the emergency connection would be discharged directly to the Tijuana River.  The excess effluent flow is estimated to be 3.6 mgd (158 lps) by the year 2001.

The typical composition of the wastewater influent to be received by the IWTP is shown in Table 4.1-1. Based on these influent concentrations, the composition of the IWTP effluent was estimated by Malcolm Pirnie Inc., the design engineers of the facility, using assumed removal efficiencies for various constituents with advanced primary treatment.  The resulting effluent concentrations are also shown in Table 4.1-1.

As indicated in Table 2-3, beginning in 1998, treated effluent flow rates of 0.6 mgd (26 lps) would be discharged on a daily basis and increase to 3.6 mgd (158 lps) in the year 2001.  Up to 9.5 mgd (416 lps) would be discharged on peak high flow days in the year 2001.  These flow volumes are not expected to cause flooding, scouring, or channel alteration in the river valley.

TABLE 4.1-1

WASTEWATER INFLUENT AND EFFLUENT POLLUTANT CONCENTRATIONS

Calculated  Calculated  Calculated  Calculated                                                          Measured   Measured    Effluent    Effluent    Effluent    Effluent                                                           Influent   Influent     Maximum    Maximum     Average     Average    Basin Plan    Ocean     Ocean          Parameter         Daily      Average   Concentrati Concentrat Concentratio Concentrat Maximum for    Plan      Plan                            Maximum   Concentrati  on Before     ion       n Before      ion        River       Daily    6-Month                        Concentrat     on       Dilution     100:1      Dilution     100:1     Discharge    Maximum   Median                             ion       (mg/l)      (mg/l)     Dilution    (mg/l)*     Dilution     (mg/l)     (mg/l)&#134;   (mg/l)&#134;                           (mg/l)                             (mg/l)                  (mg/l)

Grease and oil            -          89          NA          -           46         0.46         &#167;          40#      25**     (mg/l)&#135;

BOD5 (mg/l)&#135;              -          370         NA          -          204         2.04         -           -         -

Suspended solids          -          350         NA          -           88         0.88         -          &#134;&#134;        &#134;&#134;      (mg/l)&#135;

Cadmium                   4           2          3.4       0.034         2          0.02        5&#135;&#135;          4         1

Copper                   216         94         168.5      1.685         73         0.73      1,000&#135;&#135;       12         3

Lead                    1,770        50          761        7.61         22         0.22         -           8         2

Mercury                  1.3         0.3         1.2       0.012        0.3        0.003        2&#135;&#135;        0.16      0.04

Nickel                   162         21          139        1.39         18         0.18       100&#135;&#135;        20         5

Silver                    67         10          54         0.54         8          0.08       100&#135;&#135;        2.8       0.7

Zinc                     725         262         529        5.29        191         1.91      5,000&#135;&#135;       80        20

Ammonia-nitrogen        40,400     35,800      40,400       404        35,800       358          25        2,400      600

Phenolic compounds -     820         57          754        7.54         52         0.52        1&#135;&#135;         120       30      phenol

HCH                      18.6        0.2         16         0.16        0.2        0.002         -           8         4

Chlorinated               15          2         12.2       0.122         2          0.05         -           4         1      phenolics

Bis(2-ethylhexyl)         -          52          NA          -           52         0.52        4&#135;&#135;          -       3.5**    phthalate

Polyaromatic              -           9          NA          -           9          0.09         -           -     0.0088**   hydrocarbons

Settleable solids        13.4        4.4         NA          -           NA          -           -         1.5#      1.0**    (ml/L)&#135;

Turbidity (NTU)&#135;         150         130         NA          -           NA          -          5&#135;&#135;        100#      75**

pH (pH units)&#135;          6.0 to   6.0 to 7.7      NA          -           NA          -           &#167;&#167;         ##        ##                               7.7

Arsenic                   10          3          NA          -           NA          -          50&#135;&#135;        32         8

Antimony                  -          60          NA          -           NA          -          6&#135;&#135;          -      1,200**

Chromium (III)            -          16          NA          -           NA          -          50&#135;&#135;         -     190,000**

Ethylbenzene              -           4          NA          -           NA          -         700&#135;&#135;         -      4,100**

Toluene                   -          20          NA          -           NA          -         150&#135;&#135;         -     85,000**

Trichloroethane           -           5          NA          -           NA          -         200&#135;&#135;         -     540,000**  (1,1,1-)

Di-n-butylphthalate       -           7          NA          -           NA          -           -           -      3,500**

Dichlorobenzenes          -          34          NA          -           NA          -         600&#135;&#135;         -      5,100**

Diethylphthalate          -          36          NA          -           NA          -           -           -     33,000**

Dimethylphthalate         -          47          NA          -           NA          -           -           -     820,000**

Dichloromethane           -          13          NA          -           NA          -          5&#135;&#135;          -       450**

Tetrachloroethylene       -          10          NA          -           NA          -          5&#135;&#135;          -       99**

Benzene                   -           2          NA          -           NA          -          1&#135;&#135;          -       5.9**

Dichlorobenzene           -           7          NA          -           NA          -          5&#135;&#135;          -       18**     (1,4-)

Halomethanes              -          12          NA          -           NA          -           -           -       130**

Trichloroethylene         -           2          NA          -           NA          -          5&#135;&#135;          -       27**

SOURCE: Malcolm Pirnie Inc. 1996.

NA Effluent concentrations are not available for these pollutants.

* Effluent average concentrations shown are undiluted.

&#134; Effluent limitations shall be imposed in a manner prescribed by the SWRCB such that the concentrations specified shall not be exceeded in the receiving water upon completion of initial dilution.

&#135; These substances have concentrations in the units shown.

&#167; Waters shall not contain oils, greases, waxes, or other materials in concentrations which result in a visible film or coating on the surface of the water or on objects in the water or which cause nuisance or which otherwise adversely affect beneficial uses.

# 7-day average (weekly).

** 30-day average (monthly).

&#134;&#134; Dischargers shall, as a 30-day average, remove 75% of suspended solids from the influent stream before discharging wastewaters to the ocean, except that the effluent limitation to be met shall not be lower than 60 mg/l.  RWQCBs may recommend that the SWRCB (Chapter VI.F.), with the concurrence of the EPA, adjust the lower effluent concentration limit (the 60 mg/l above) to suit the environmental and effluent characteristics of the discharge.  As a further consideration in making such recommendation for adjustment, RWQCBs should evaluate effects on existing and potential water reclamation projects.

If the lower effluent concentration limit is adjusted, the discharger shall remove 75% of suspended solids from the influent stream at any time the influent concentration exceeds four times such adjusted effluent limit.

&#135;&#135; Objective applies to waters designated for use as domestic or municipal supply (MUN)

&#167;&#167; Changes in normal ambient pH levels shall not exceed 0.2 unit in waters with designated marine (MAR) or estuarine (EST) or saline (SAL) beneficial uses.  Changes in normal ambient pH levels shall not exceed 0.5 unit in fresh waters with designated cold freshwater habitat (COLD) or warm freshwater habitat (WARM) beneficial uses.  In bays and estuaries, the pH shall not be depressed below 7.0 or raised above 9.0.  In inland surface waters. the pH shall not be depressed below 6.5 or raised above 8.5.

## pH within limits of 6.0 and 9.0 at all times.

However, the flow of primary effluent to the river will degrade the water quality of the river, groundwater, and Tijuana River estuary, although the pollutant concentrations of the effluent from advanced primary treatment would be less than would occur under the No Action alternative.

The reduction in concentrations can be seen by comparing the influent pollutant concentrations (which are equivalent to the pollutant concentrations in untreated sewage flowing to the river under the No Action alternative) to the estimated IWTP effluent concentrations before dilution, shown in Table 4.1-1.  As the lower Tijuana River is not considered a high-quality water body, the Basin Plan does not contain numerical standards that would apply to discharges further upstream.

Bacteria counts in the wastewater are not substantially reduced by primary treatment. Disinfection of the IWTP effluent could reduce the coliform concentrations and other pathogens. However, no dilution of the effluent with river discharge is expected during dry weather with the river discharge. Residual chlorine and associated by-products are extremely toxic to aquatic organisms.  To avoid substantial additional impacts to the river and estuary aquatic biota from residual chlorine impacts, the level of disinfection that could be achieved with chlorination/ dechlorination of the effluent may not be sufficient to reduce coliform concentrations to meet health standards.  South Bay beaches would be subject to quarantine.  Additionally, the freshwater flows would also continue to negatively impact the Tijuana River estuary as described in Chapter 3 of this SEIS and in the Estuarine Biology impacts section below (Chapter 4.4).

Significance of Impacts

Beginning in 1998 and through the year 2001, primary treated effluent flows and associated pollutants would enter the Tijuana River, flow through the estuary, and eventually reach the Pacific Ocean. Significant adverse impacts to water quality in the Tijuana River and Tijuana River estuary would occur, although at a reduced level from that which would occur under the No Action alternative. Adverse effects to the estuary and nearshore ocean waters in the South Bay region are considered significant.

Additionally, the direct discharge of primary treated effluent to the river is not authorized by the federal Clean Water Act and the Water Quality Control Plan for the San Diego Basin.  An NPDES permit would be required from the RWQCB, as well as wastewater discharge requirements.  The direct discharge of primary treated effluent to the river is a significant impact.

Mitigation

No mitigation is available for this alternative.  To avoid the significant effects from the discharge of advanced primary effluent to the river beginning in 1998, additional storage capacity would be necessary, as discussed under Alternative 3.  Implementation of this alternative would be inconsistent with the federal Clean Water Act and the Water Quality Control Plan for the San Diego Basin.

Alternative 3: Operate IWTP with Detention Basin

Impacts

Under this alternative, raw sewage flows in excess of Tijuana Pump Station One capacity would flow to the IWTP and be treated to primary standards.  Effluent would then be pumped to the emergency connection for further treatment at the Point Loma treatment plant. Effluent flows in excess of emergency connection capacity would be discharged to a 5.5 million gallon (20,900 m3) lined earthen detention basin.  Effluent stored in the basin would be pumped to the emergency connection during off-peak hours.

If the detention basin is filled to capacity before the emergency connection is able to receive the total effluent flow, flow to the basin would be diverted and discharged directly into the Tijuana River.  The USIBWC/EPA estimates there would be no treated effluent discharged to the Tijuana River through the year 2001.  There could be episodic discharges of up to 2.0 mgd (88 lps) on seasonal high flow days in the year 2001, however.

The detention basin would be constructed above the river channel.  Therefore, the basin would not impact the hydrology of the river.  Periodically, effluent flow rates of 2.0 mgd (88 lps) could exit the basin directly into the river but are not expected to cause flooding, scouring, or channel alteration in the river valley. Any discharge of primary effluent to the river would degrade the water quality of the river and Tijuana River estuary, even though the discharge volume and frequency of occurrence and resultant pollutant load to the river, groundwater, and estuary would be greatly reduced in comparison to either the No Action or Operate IWTP alternatives.

As indicated above, bacterial counts in primary treated effluent would remain high. South Bay beaches could be subject to quarantine when effluent is discharged to the river.  Additionally, the freshwater flows would negatively impact the Tijuana River estuary as described in Chapter 3 of this SEIS and in the Estuarine Biology impacts section below (Chapter 4.4).

A significant impact could also occur if pollutants were to enter the groundwater from the detention basin.  The basin would be lined, which would avoid this impact.

Significance of Impacts

Under this alternative, primary treated effluent flows and associated pollutants would only enter the Tijuana River on high flow days in the year 2001.  Prior to 2001, no treated effluent flows would be discharged to the river.  This action would be beneficial to river, groundwater, estuarine, and ocean waters relative to No Action and avoid most of the adverse effects to water quality associated with operation of the IWTP.

Adverse effects to the estuary, beaches, and ocean in the South Bay region caused by the discharge of primary treated effluent on high flow days in the year 2001 are considered significant.  Additionally, the direct discharge of primary treated effluent to the river would be in violation of the federal Clean Water Act and the Water Quality Control Plan for the San Diego Basin.  An NPDES permit would be required from the RWQCB, as well as wastewater discharge requirements.  The direct discharge of primary treated effluent to the river is a significant impact.

Mitigation

Lining the detention basin with an impermeable barrier would prevent pollutants from percolating from the basin into the groundwater.

No other mitigation is available for this alternative.  The amount of discharge through the emergency connection would be exceeded during seasonal high flows in 2001 and some treated flows would have to be discharged to the river, even if the size of the detention basin were increased.  The significant adverse impacts to water quality are unavoidable.

Alternative 4: Operate IWTP with New Conveyance to Mexico

Impacts

Under this alternative, raw sewage flows in excess of 17 mgd (745 lps) in Mexico would flow to the emergency connection IWTP and be treated to primary standards.  Effluent would then be pumped back to a new conveyance system in Mexico for discharge at the shoreline. No effluent would be discharged to the Tijuana River.  Therefore, no hydrological or water quality impacts to the Tijuana River valley would occur as a result of implementation of this alternative.

This alternative assumes continued use of the emergency connection.  Whether the emergency connection to Point Loma is utilized through the year 2001 or not, there would be a substantial reduction in the volume of untreated sewage discharged to the shoreline in Mexico with this alternative.  However, Parsons Engineering Science modeling of shoreline transport of treated effluent indicates that coliforms resulting from the increased discharge of treated wastewater at the shoreline in Mexico could pollute beaches north of the international border.

Disinfection of the IWTP effluent could reduce the coliform concentrations and other pathogens.  Effluent from the San Antonio de los Buenos facility in Mexico is currently chlorinated, although there has not been sufficient time to assess its effectiveness in reducing pathogens.  However, the initial dilution of the effluent with shoreline discharge is only estimated at 10:1.  Residual chlorine and associated by-products are extremely toxic to marine organisms. To avoid substantial additional impacts to the nearshore coastal waters and biota, the level of disinfection that could be achieved may not reduce coliform concentrations sufficiently to prevent exceedances of the Ocean Plan standards for U.S. waters.

Significance of Impacts

No significant impacts to the Tijuana River valley would occur with implementation of this alternative.  However, the potential for nearshore pollution of ocean waters and beach closures from the increased volume of discharge to the shoreline in Mexico could be significant. This would result in adverse effects to ocean water quality in Mexico and the U.S.

Mitigation

No mitigation is available for this alternative for impacts to U.S. waters.  Disinfection of the effluent by chlorination could further reduce coliform concentrations in effluent from the IWTP but would result in additional significant adverse impacts to coastal waters in Mexico and would not eliminate the potential for exceeding coliform standards of the Ocean Plan. Discharges of treated effluent or untreated sewage in Mexico are the responsibility of Mexico.

Alternative 5: Operate IWTP with Discharge to SBOO

Impacts

Under this alternative, raw sewage flows in excess of San Antonio de los Buenos treatment plant capacity would flow to the IWTP and be treated to primary standards. Effluent would then be pumped to the SBOO for discharge to the ocean.  Under this scenario, no impacts to the Tijuana River valley, estuary, or local beaches would result from the outfall discharge.

Parsons Engineering Science modeled the effects of the discharge of advanced primary effluent on ocean water quality, which is discussed in detail in Section 4.2.  The results of the modeling found that the only constituent of the treated effluent that would exceed Ocean Plan standards given the level of initial dilution (100:1) at the point of discharge would be polyaromatic hydrocarbons. Only one location along the shoreline at the edge of the Imperial Beach kelp bed was identified as having the potential for exceedances of the Ocean Plan coliform standards.  The 10,000 coliform per 100 ml over 48 hours standard might be exceeded less than one percent of the time at the 50-foot (30 m) water depth adjacent to the kelp bed.

The discharge of effluent at the shoreline in Mexico would have potential adverse consequences to ocean waters in the U.S.  Coliform standards could be exceeded.

However, the SBOO will not be available until sometime in 1998.  Prior to that time, one of the other four alternatives would be implemented.  The impacts discussed above for each of the other four alternatives would apply, although at a reduced level due to the lower sewage or effluent flows which would reach the river prior to the SBOO becoming operational.

Significance of Impacts

No significant direct hydrological impacts to the Tijuana River valley would occur as a result of implementation of this alternative once the SBOO is operational in 1998.

The SBOO discharge may not meet Ocean Plan standards for all criteria pollutants, however, which could result in significant adverse impacts to ocean water quality. Discharge at the shoreline in Mexico could result in adverse impacts to nearshore coastal waters in Mexico and the U.S. Additionally, the direct discharge of primary treated effluent to the ocean is not consistent with the Clean Water Act or the Ocean Plan.

Mitigation

No hydrological mitigation measures would be required after the SBOO becomes operational in 1998.  Mitigation required prior to this time is dependent on the alternative chosen for implementation in the interim.  Mitigation measures are discussed above under each alternative.

However, as indicated above, ocean water quality standards may not be met for this discharge. The direct discharge of primary treated effluent to the ocean is inconsistent with the Clean Water Act and Ocean Plan.  This is an unavoidable impact.

Oceanography

The information provided in this section is derived primarily from the wastewater discharge modeling and analysis report prepared for the project and alternatives (Parsons Engineering Science 1996). This document is hereby incorporated by reference, pursuant to Section 1502.21 of the CEQ Guidelines.

Definition of Impact Criteria

The significance criteria for discharges that could affect water quality and sediment are presented below.

Magnitude of change compared to natural backgrounds

Area of change (small, local, regional)

Comparison of change with applicable standards or with known toxic concentrations

Duration of change (short- or long-term)

Potential to cause change in indigenous marine populations

For water and sediment quality, impacts are judged based on the regulatory standards along with consideration of changes from natural levels.  The significance of beneficial use impacts is based on the impact to water quality and/or biological resources depending on the type of use involved.

Regulatory Standards and Criteria

State Ocean Plan

The primary regulatory standards applicable to marine water and sediment quality are contained in the Water Quality Control Plan:  Ocean Waters of California (Ocean Plan).  The State of California originally adopted a Water Quality Control Plan for ocean waters in July of 1973.  This plan has been revised in 1978, 1983, 1988, and most recently in 1990.  This Ocean Plan regulates the discharge of wastewater within the three-nautical-mile (5.6 km) territorial limit of California jurisdiction.

Limitations on major wastewater effluent constituents and properties (such as grease and oil, suspended solids, settleable solids, turbidity, pH, and toxicity concentration) are specified in the Ocean Plan.  Limitations on toxic materials are, however, specified in the Ocean Plan in terms of concentrations in the receiving waters.  Many of these standards are shown in Table 4.1-1.

For discharges through the SBOO, the actual use of the Ocean Plan to set limits for toxic compounds for the undiluted wastewater effluent requires the use of a state-approved dilution model that will calculate the &quot;minimum probable initial dilution&quot; near the mixing zone around the outfall diffuser.  For this purpose, the EPA initial mixing models are used.  Data on effluent quality can then be combined with the initial dilution achieved by the outfall diffuser in order to calculate the expected ambient concentrations of any toxic constituent for comparison with the Ocean Plan standards.

For the surf discharges at the shoreline in Mexico 5.6 miles (9 km) south of the international border, which is outside the waters of the United States, the dilution of effluent at the first contact with California waters (i.e., the international border) is calculated.  The pollutant concentrations resulting from the dilutions are then compared to the Ocean Plan standards to determine impacts using a dispersion model appropriate for surf discharges.

Bacteriological standards for marine waters for the State of California are also specified in the Ocean Plan.  These standards apply to body contact zones, defined as those areas outside an area of initial dilution about a discharge point at a distance of 1,000 feet (305 m) from the shoreline or those areas within the 30-foot (9.15 m) depth contour, whichever is further, and for all kelp beds.  These water contact standards specify that the density of coliform organisms must not exceed 1,000 per 100 ml for more than 20 percent of the samples in any 30-day period, nor shall a single sample, when verified by a repeat sample taken within 48 hours, exceed a maximum of 10,000 per 100 ml.  As with toxic compounds, for the surf discharges in Mexico, the dilutions at first contact with California waters were calculated for comparison with the bacteriological standards in the Ocean Plan.

In addition, the Ocean Plan defines the beneficial uses of the ocean waters of the state that shall be protected.  These include industrial water supply, water contact, and noncontact recreation, including aesthetic enjoyment, navigation, commercial and sportfishing, mariculture, preservation and enhancement of Areas of Special Biological Significance, rare and endangered species, marine habitat, fish migration, fish spawning, and shellfish harvesting.

Additional requirements of the Ocean Plan are defined water quality objectives, including those regarding physical characteristics (such as floating particulates, visible oil and grease, natural light reductions, or deposition of inert solids such as to degrade benthic communities).  Chemical characteristics are also generally defined, for example, depression of dissolved oxygen, a change from natural pH, and excessive nutrient materials.  Protected biological characteristics are marine communities, including vertebrate, invertebrate, and plant species.  Taste, odor, and color of fish, shellfish, or other marine resources used for human consumption shall not be altered.  Neither shall the concentrations of toxics or organic materials in marine resources used for human consumption bioaccumulate to levels that are harmful to human health.  Clean Water Act

Section 402 of the Clean Water Act establishes the NPDES permitting program.  Subsection (a)(5) of Section 402 specifies that the Administrator (EPA) may delegate authority to issue permits for discharges to the State.  As allowed per this subsection, the EPA has delegated NPDES permitting authority to the RWQCB.

All point-source dischargers are required to obtain and comply with the provisions of an NPDES permit for any discharge of pollutants into waters of the U.S. (e.g., oceans, lakes, or streams).  NPDES permits must contain discharge limitations based on the more stringent of the applicable technology-based requirements and water quality standards.  Because of the diffuser location, effluent from the IWTP that is discharged through the SBOO will be discharged into state waters.  Therefore, RWQCB will be the authority issuing the NPDES permit for operation of the IWTP.

Section 403(c) of the Clean Water Act establishes requirements for discharges into federal ocean waters.  For discharges to state waters, review is delegated to the RWQCB.  For the discharge through the SBOO from the IWTP, EPA will use the Ocean Plan to satisfy the requirements of Section 403(c).  Thus, the Ocean Plan will be the primary source of water quality standards applicable to the IWTP discharge.

For publicly owned treatment works such as the IWTP, the applicable technology-based requirements are the secondary treatment requirements.  Secondary treatment is defined by the EPA on the basis of three characteristics of wastewater:  BOD, a measure of how much oxygen will be required by microorganisms to break down the organic material in wastewater into carbon dioxide and water; TSS, the concentration of solids in the discharge; and pH, a measure of acidity.  The secondary treatment requirements for BOD and TSS are more stringent than those set forth in the Ocean Plan.  However, secondary treatment will not be available with the interim operation of the IWTP as described in this SEIS.

Porter-Cologne Water Quality Act

Under the Porter-Cologne Act, the RWQCB issues waste discharge requirements to sources of pollutants to state waters.  Because the IWTP discharges into state waters, the RWQCB will issue waste discharge requirements for the IWTP discharge.  The waste discharge requirements will be based primarily on the Ocean Plan.  The waste discharge requirements will likely be contained in a joint document with the NPDES permit.  The RWQCB will issue the waste discharge requirements and the NPDES permit for the interim operation of the IWTP.

Alternative 1: No Action

Impacts

Under the No Action alternative, the IWTP would not be operated until the ocean outfall is complete and would only discharge effluent treated to secondary standards.  Under this alternative, raw sewage flows in excess of the combined capacity of Tijuana Pump Station One and the emergency connection would flow into the Tijuana River via Stewart's Drain.  These average excess sewage flows are estimated to be 5.6 mgd (245 lps) by the year 2001, with high flow days reaching 9.5 mgd (416 lps).  Additionally, by the year 2001, an average 17 mgd (745 lps) of treated flows from San Antonio de los Buenos and an average of 22.9 mgd (1,003 lps) of untreated flows would be discharged to the surf in Mexico south of Punta Banderas.

Surf Discharges in Mexico

Modeling of the surf discharges in Mexico was performed by Parsons Engineering Science, Inc. (1996) to determine the dispersion and dilution of pollutants discharged with the wastewater.  The results of this modeling are compared with the Ocean Plan standards to determine impacts.

Model Selection.  A number of methods and models have been developed to assess the fates of materials introduced into the surf zone.  These methods range from the relatively simple (e.g., Jirka 1990) to the highly complex (see Proceedings of the 4th International Conference on Estuarine and Coastal Modeling, American Society of Coastal Engineers 1995).  However, no existing models are appropriate for the time- and length-scales associated with an assessment of the Mexican shoreline discharge.  The processes that determine the transport and fates of this wastewater involve time-scales ranging from seconds to years and length-scales ranging from meters to tens of kilometers.  As a result, a new, time-dependent, two-dimensional simulation model was developed for this type of discharge and is referred to as the &quot;Shore Discharge Model&quot; (SDM).

The model is driven by time-series data on the coastal currents, wave conditions, and effluent discharge.  It partitions the coastal waters into three zones-the surf zone, the offshore

zone, and a transition zone.  The properties of the

surf zone at any time are determined by the characteristics of the waves at that time, while dispersion in the offshore zone is determined by the coastal ocean currents and associated eddies.  These two zones are separated by a transition zone, where dispersion is associated with both the waves (e.g., rip currents and undercurrent) and the ocean currents.

Oceanographic Data Used for Modeling.  The primary force

driving circulation within the surf zone is energy from incident waves; this energy varies in its direction and magnitude with incident wave height, wave period, and wave direction.  Wave data for the model simulations were synthesized from a time-series of historical wave information for the Southern California Bight and developed specifically for the discharge site using a wave refraction-propagation model.

Periodic rip currents can be important factors in the exchange of constituents between the surf zone and the offshore zone.  A simplified representation of this process was incorporated into the model, with the rate of exchange related to the strength of the wave-induced currents in the surf zone (Inman et al. 1968).

Since the primary areas of interest in determining the potential impacts of the effluent discharge are distances of kilometers to tens of kilometers away from the discharge point, simplified representations were used for the processes that are important in determining the patterns of wastewater dispersion in the immediate vicinity of the discharge in order to reduce the computation time.  As a result, the model does not accurately reproduce wastewater distributions close to the discharge point.  However, the mass input of wastewater is included in the simulation to ensure that wastewater concentrations in the ocean cannot exceed the initial effluent concentration

Data used in the input for offshore advective currents was based on current meter measurements made during the baseline studies for the SBOO work (Engineering Science 1988).

Effluent Quality.  The San Antonio de los Buenos treatment facility is designed to treat 17 mgd (745 lps) average daily flow and up to 25 mgd (1,095 lps) using aerated facultative lagoons.  Flows from the conveyance canal flow through a preliminary sediment basin and then are pumped to a series of two aerated facultative lagoons and a final, nonaerated polishing lagoon.  The treated effluent is then conveyed 2.6 kilometers south for shoreline discharge with the bypassed untreated effluent.  A portion of the treated effluent is used for irrigation.

No increases in treatment capacity at the San Antonio de los Buenos facility were assumed for discharge scenarios simulated in the year 2001.  The simulation took into account the known diurnal flow fluctuation at the San Antonio de los Buenos plant in determining the percent volume of wastewater bypassed and discharged untreated.  Effluent quality was determined by the extent of wastewater treatment received by the components of the combined discharge stream.  Appendix A of the discharge modeling report (Parsons Engineering Science 1996) details the calculation used to specify the quality of effluent discharged.

Based on limited sampling conducted by Malcolm Pirnie Inc. in June 1996, a bacteria concentration in the wastewater influent of 2 &#215; 108 total coliform per 100 ml was assumed at San Antonio de los Buenos. No reduction in numbers of bacteria as a result of wastewater treatment was assumed and no chlorination of the effluent from San Antonio de los Buenos was assumed for the modeling.  This analysis is conservative, as the effluent from San Antonio de los Buenos is currently chlorinated prior to discharge, although its effectiveness is not documented.

Discharged Bacteria.  Bacteria discharged into the marine

environment undergo a bacterial disappearance (T90) concentration reduction as a result of exposure to environmental factors such as salt water, temperature, exposure to sunlight, predation, flocculation/sedimentation, abrasion, and so on.  This bacterial disappearance rate, expressed as the time (in hours) required for 90 percent of the bacteria to die (T90), varies with respect to these environmental factors, as well as with the depth of discharge.  The reduction in bacteria concentration (or apparent dilution) is computed according to:

Dilution (T90)  =  10 elapsed time/T90

Review of the literature (see Parsons Engineering Science 1996 for discussion) regarding T90 rates resulted in the assumption of a rate of four hours as a daily average in the surf zone into which the San Antonio de los Buenos effluent is released.  For the offshore zone, due to low rates of vertical diffusion compared to horizontal mixing, the effluent is assumed to be confined to the upper few meters of the water column where bacteria are most susceptible to higher mortality rates.  Therefore, the rate assumed in the offshore zone of the model was the same as for the surf zone.

The value of T90 represents a daily average value that varies diurnally.  The model simulations take this variation into account as it determines the concentration of bacteria over time.

Effluent Dilution Contours.  Wastewater effluent

discharged at the shoreline at Punta de los Buenos enters the surf zone and is dispersed into the ocean by the action of waves and currents.  The SDM simulates the movement and resulting dilution of the effluent over time.  At any time during the simulation, the dilution of discharged effluent can be determined (and, as a result, its concentration, by dividing the initial concentration by the calculated dilution factor).  Constituents of concern in the discharge include metals, organics, and other constituents that are transported with the movement of water along the coast or offshore.  Except for bacteria (for which T90 die-off rates are included), the model assumes that all constituents are &quot;conservative&quot;; that is, that the concentration of the pollutant changes only as a function of dilution and is not affected by chemical or biological processes such as photodegradation. Thus, the model may overestimate the concentrations of some constituents that are subject to additional processes of reduction.

Figure 4.2-1 displays the annual average dilution contours of conservative constituents discharged in Mexico in the year 2001 for the No Action alternative.  Additionally, Table 4.2-1 indicates the simulated effluent dilutions at the international border resulting from the surf discharges.  Dividing the concentration in the effluent of any Ocean Plan regulated constituent by the dilution factor in Table 4.2-1 will yield the concentration of that constituent at the international border for the period selected.  The dilutions shown in Table 4.2-1 under the &quot;Toxic Materials&quot; heading are for use in evaluating impacts relative to the Ocean Plan objectives for the protection of marine aquatic life.  Those shown under the &quot;Others&quot; heading (i.e., the 30-day average dilutions) are for evaluation of impacts relative to the Ocean Plan standards for the protection of human health.

Based on the concentrations of substances that were detected during influent testing (see Table 4.1-1), no compounds are predicted to exceed the daily maximum Ocean Plan standards at the international border.  Additionally, the only detected substances that may exceed the Ocean Plan 30-day average concentration standard are polyaromatic hydrocarbons (PAHs).

TABLE 4.2-1

SIMULATED EFFLUENT DILUTIONS AT INTERNATIONAL BORDER

SURF DISCHARGES IN MEXICO

NO PROJECT ALTERNATIVE, YEAR 2001

Toxic Materials           Others-

Nominal   Instantaneous   Daily     6-Month   30-Day

Month       Minimum     Minimum    Median    Average

January    48            59         111       358

February   34            46         152       250

March      12            112        473       1,219

April      33            60         663       1,107

May        111           124        8,584     6,793

June       15            29         2,509     473

July       11            18         328       336

August     14            17         176       301

September  14            16         93        381

October    20            25         83        1,131

November   21            39         75        1,388

December   12            19         80        1,268

SOURCE: Parsons Engineering Science, Inc.

NOTE: Dilutions expressed as ratio of parts of diluting water per one part

of discharge effluent, e.g., 198:1.

Distribution of Discharged Bacteria.  The distribution

of concentrations of bacteria in discharged effluent is similar to that discussed for conservative constituents in the effluent.  Average concentration patterns of bacteria differ from those of conservative constituents due to the disappearance of bacteria that is ongoing during their dispersion with the discharged effluent.  The concentration of discharged bacteria at each station location addressed in the SDM is expressed as a time-series of hourly concentration over the year of simulation.

An example of the time-series of bacteria concentration is shown here as Figure 4.22.  At the international boundary, under the No Project alternative, bacteria concentrations show occasional &quot;spikes&quot; related to the upcoast transport of water by wave-driven currents.  These concentrations rise and fall depending on the current regime and the time of day.  For example, during a period when waves cause rapid upcoast transport, higher concentrations will most likely be found in the early morning hours.  This is because during the proceeding nighttime hours, the bacterial reduction rate is low to nonexistent.  During periods of slower transport, the exposure to daylight will tend to even out the concentration spikes.  Based on wave predictions, wave-induced upcoast transport during June, July, and August is especially strong.

Figure 4.2-1

Figure 4.2-2

In general, as would be expected, the concentration of both the conservative and nonconservative constituents is lower for simulation stations located further away from the release point.  The time-series of bacteria concentration figures for each modeled station may be found in the modeling report (Parsons Engineering Science 1996).

From these time-series, a table of monthly and annual bacteria concentration at the international boundary was compiled and is included as Table 4.2-2.  Tables for each modeled station may be found in the modeling report (Parsons Engineering Science 1996).  Table 4.2-2 includes the minimum and maximum hourly bacteria concentration, geometric mean and median of hourly concentration, and number of occurrences with concentrations greater than 1,000 per 100 ml during each month.  The data displayed in the tables are for the hours of 8:00 A.M. to 5:00 P.M. daily, corresponding to the time of day when samples for compliance with bacteria standards are generally collected.

A post-processing numerical model was developed to determine the potential for noncompliance with body-contact standards for bacteria in receiving waters.  This &quot;compliance screening&quot; model was based on the following criteria defined in the Ocean Plan:

Sample of water from each sampling station shall have a density of total coliform organism less than 1,000 per 100 ml (10 per ml); provided that not more than 20 percent of the samples at any sampling station, in any 30 day period, may exceed 1,000 per 100 ml (10 per ml), and provided further that not a single sample when verified by a repeat sample taken within 48 hours shall exceed 10,000 per 100 ml (100 per ml).

The model determined compliance or noncompliance for each simulated station individually.  As the first part of compliance, the model read five hourly sample values during five different days of the month, spaced five days apart, from a monthly set of input data.  The input data used was for the time period between 8 A.M. and 5 P.M., the time when it is most likely that actual samples would be collected in the field.  Each of the five samples occurred at the same time of day.  The process was repeated 100 times (the total number of sampling combinations available for that month) for a total of 500 samples in any 30-day period.  The model determined what percentage of the sample values exceeded the standard in the given month.  If more than 20 percent of the samples exceeded the standard, the program returned a value of &quot;NO&quot; for noncompliance.  If 20 percent or less of the samples exceeded the standard, the program returned a value of &quot;YES&quot; for compliance.

TABLE 4.2-2

TOTAL COLIFORM (PER 100 ML) AT THE INTERNATIONAL BORDER

SHORE DISCHARGE MODEL

NO PROJECT ALTERNATIVE, YEAR 2001

Nominal   Number of             Geometric                       Observations     Month1       Data      Minimum    Mean3     Median   Maximum   &gt;1,000/100 ml                Points2                                                  (%)

All       3,600            0     10         0        490,000   14

January   300              0     2          0        19,300    4

February  300              0     6          0        148,400   9

March     300              0     5          0        78,800    10

April     300              0     4          0        220,400   6

May       300              0     3          0        15,200    5

June      300              0     36         20       171,200   22

July      300              0     121        180      353,600   34

August    300              0     41         40       176,000   22

September 300              0     9          0        173,400   10

October   300              0     7          0        399,000   13

November  300              0     23         20       490,000   17

December  300              0     7          0        266,200   13

SOURCE: Parsons Engineering Science, Inc.

1To correspond to compliance requirements, months are considered as 12 consecutive, 30-day periods.

2Hourly data from 8 A.M. to 5 P.M.

3In order to calculate geometric mean, all zero values were changed to 1 for this calculation.

Table 4.2-2

For the second part of the screening (a standard of 10,000 per 100 ml), the model read each sample from the 8 A.M. to 5 P.M. input data set until it encountered the first sample with a value equal to or greater than 10,000.  At that point, it checked for the occurrence of a value greater than 10,000 within the next 48 hours.  If another such value was encountered, a &quot;NO&quot; was recorded for noncompliance; otherwise, the next value greater than 10,000 was located, if one existed.

The process was repeated until all the values in the input data files were read.  This procedure was then repeated for each of the stations addressed by the model.

Further evaluation of the model found that these exceedances of 10,000 coliforms per 100 ml occurred less than three percent of the time at stations north of the border.  Also, the model is extremely sensitive in that it executes as if it were a continuous coliform monitoring station.  The occurrence of the predicted spikes has not been observed in actual coliform monitoring at several locations.  Given that the exceedances are probably only detectable by modeling, rare in frequency of occurrence, and of limited duration, the potential exposure health risks are not considered to be significantly adverse, as would be the case for stations exceeding the 1,000 coliforms per 100 ml 20 times in a 30-day period.  While the exceedances are noted for full and fair disclosure, these exceedances in and of themselves are not considered to be significant and adverse water quality impacts or human health risks.

Results of the evaluation of compliance are shown in Table 4.2-3 for three stations: the international border, the Tijuana River mouth, and the Imperial Beach Pier.  Compliance tables for all other modeled stations are contained in the modeling report (Parsons Engineering Science 1996).  As seen in Table 4.2-3, at the international boundary the No Project alternative is out of compliance with both the 1,000 and the 10,000 standards during the months of June, July, August, and November.  During the remaining months, the No Project alternative is in compliance with the body-contact standards of 1,000/100 ml, but not with the 10,000/100 ml standard.  Stations farther north tend to have fewer periods of noncompliance, as would be expected.

Figure 4.2-2 showed the 30-day, 80-percentile superimposed on the time-series of the concentration.  The 80-percentile curve is a graphic &quot;comparison&quot; with the 1,000 MPN total coliform per 100 ml standard in the sense that &quot;. . . 20 percent or less shall exceed 1,000 MPN per 100 ml.&quot;  If the curve indicates less than 103, most likely the month was in compliance with the standard.  The curve is only an indicator of possible compliance and has the advantage of showing the annual trend.  In an attempt to simulate the results of a sampling program, the 80-percentile was calculated only on the 8 A.M. to 5 P.M. landings.  The results indicated by the 80-percentile curve are only to be used as an indicator of compliance and may differ from the compliance results shown in Table 4.2-3 due to the following reasons:

All of the values between 8 A.M. and 5 P.M. were used in deriving the 80-percentile, while Table 4.2-3 results were computed as the average of 100 five-sample sets per month.

The results in Table 4.2-3 also incorporate the 10,000 total coliform per 100 ml standard.

TABLE 4.2-3

COMPLIANCE WITH BODY-CONTACT STANDARDS

SURF DISCHARGES IN MEXICO

NO ACTION ALTERNATIVE, YEAR 2001

Location       January   February    March      April      May       June

International                                                              N      border

Tijuana River         Y                                         Y          N      mouth

Imperial Beach        Y                               Y         Y                 Pier

Location         July     August   September   October   November  December

International         N          N                              N                 border

Tijuana River         N          N                                                mouth

Imperial Beach                             Y                                      Pier

Not in compliance with body-contact standards of 1,000/100 ml.       N

In compliance with body-contact standards of 1,000/100 ml, but             exceeded coliform concentrations of 10,000/100 ml in model                 runs.  Exceedance of the 10,000/100 ml standard occurs less                than 3 percent of the time.

Y     In compliance with body-contact standards of 1,000/100 ml and              10,000/100 ml.

Discharges to the Ocean from the Tijuana River

As indicated previously, by the year 2001 an estimated average 5.6 mgd (245 lps) of untreated sewage flows would be dis charged directly to the Tijuana River.  High flow day discharges are estimated to reach 9.5 mgd (416 lps).  These flows would then travel to the Tijuana estuary, with estimated travel times ranging from approximately 8 to 10 hours.  The wastewater would then mix with and be diluted by the water in the estuary.  The current tidal prism of the Tijuana estuary is estimated at 290 acre-feet (0.36 Mm3).  The diluted wastewater would then be discharged to the ocean through the mouth of the river/estuary.

Ocean modeling of the discharged wastewater from the Tijuana River has not been performed.  However, discharges of untreated wastewater would be inconsistent with the Clean Water Act and the State Ocean Plan.  Concentrations of pollutants in excess of Ocean Plan standards would likely reach the ocean where they would be dispersed up and down the coast.  Additionally, high bacteria coliform counts could continue to impact local beaches by forcing beach closures. Significance of Impacts

Significant oceanographic impacts would occur nearshore in the vicinity of the Tijuana River mouth due to the direct discharge of untreated wastewater to the Tijuana River.  Pollutant concentrations in excess of Ocean Plan standards may reach the ocean, and high bacteria coliform counts would continue to significantly impact local beaches in the United States.

Additionally, the discharge of both treated and untreated wastewater at the shoreline in Mexico is expected to result in bacteria coliform counts that could exceed the Ocean Plan standards in U.S. waters up to the Tijuana River.  This would continue to significantly impact local beaches in the United States.  Of the potential pollutants detected during influent testing, only PAHs are expected to reach U.S. waters in concentrations exceeding Ocean Plan standards.  Nevertheless, if this were to occur, it would be a significant impact.

Mitigation

Under the No Action alternative, mitigation is not available. The discharges in Mexico are the responsibility of Mexico in coordination with the IBWC under the provisions of Minute No. 270. The effects of the discharges of sewage on oceanographic resources are considered significant and unmitigated.

Alternative 2: Operate IWTP

Impacts

Under this alternative, in 1997 the IWTP will be operational and could provide advanced primary treatment for 25 mgd (1,095 lps) average and 50 mgd (2,190 lps) peak flows.  Raw sewage flows in excess of Tijuana Pump Station One and the emergency connection capacity would flow to the IWTP and be treated to primary standards.  Effluent would then be pumped to the emergency connection for further treatment at the Point Loma treatment plant.  Treated flows in excess of emergency connection capacity would be discharged directly to the Tijuana River.  The excess effluent flow is estimated to be 3.6 mgd (158 lps) by the year 2001, with high flow days reaching 7.5 mgd (329 lps).  Additionally, by the year 2001, 17 mgd (745 lps) of treated sewage and 22.9 mgd (1,003 lps) of untreated sewage will be discharged to the shoreline in Mexico.

Surf Discharges in Mexico

The Mexican surf discharge flow volumes and impacts are identical with those discussed above under the No Action alternative.

Discharges to the Tijuana River

The oceanographic impacts in the vicinity of the mouth of the Tijuana River are similar to those discussed above under the No Action alternative.  However, rather than discharging untreated sewage to the river, the excess flow discharged to the river will be advance primary effluent.  Additionally, in the year 2001 excess flows to the river are anticipated to average 3.6 mgd (158 lps) of advance primary effluent as compared to the 5.6 mgd (245 lps) flow of untreated sewage which flows to the river under the No Action alternative.  Therefore, oceanographic impacts associated with implementation of the Operate IWTP alternative are expected to be less than those which would occur under the No Action alternative.  Nevertheless, the direct discharge of advanced primary effluent to the river and the resulting flow to the ocean would not be authorized by the Clean Water Act and the Ocean Plan.

Significance of Impacts

Impacts associated with surf discharges in Mexico are identical with those which would occur under the No Action alternative.  Concentrations of PAH pollutants reaching U.S. waters in excess of Ocean Plan Table B standards, as well as bacteria coliform counts in excess of Ocean Plan standards up to the mouth of the Tijuana River, would be a significant impact.

Significant oceanographic impacts would occur nearshore in the vicinity of the Tijuana River mouth and north to Imperial Beach due to the direct discharge of advanced primary effluent to the river.  Although these impacts are anticipated to be less than those which would occur under the No Action alternative, they nevertheless would be significant.

Mitigation

Under the Operate IWTP alternative, mitigation is not available.  Chlorination of the effluent is not considered feasible, due to the potential toxic effects to aquatic organisms in the river, estuary, and nearshore coastal waters.  The discharges in Mexico are the responsibility of Mexico in coordination with the IBWC under the provisions of Minute No. 270.  Mexico will determine if additional measures are to be taken.  The effects of the sewage and advanced primary effluent on oceanographic resources are considered significant and unmitigated.

Alternative 3: Operate IWTP with Detention Basin

Impacts

The IWTP would be operated as an advanced primary plant, as in the Operate IWTP alternative.  A 5.5 million gallon (20,900 m3) earthen detention basin would be constructed at the IWTP site (Dairy Mart Road) to provide flow equalization for diurnal and wet-weather peak flows.  Treated flows would be stored within the detention basin to be released to the emergency connection during off-peak hours.  If the capacity of the Mexican system, emergency connection and detention basin would be exceeded, then the excess treated flows would be discharged directly to the Tijuana River in the U.S.

On average, through the year 2001, it is estimated that no advanced primary effluent would be discharged to the Tijuana River under this alternative.  However, on high flow days up to 2.0 mgd (88 lps) of advanced primary effluent could be discharged to the river.

Flows discharged at the shoreline in Mexico would be similar to those which occur under the No Action and Operate IWTP alternatives (i.e., 17 mgd [745 lps] treated, 22.9 mgd [1,003 lps] untreated).  Therefore, oceanographic impacts due to the discharges in Mexico would be the same as those discussed above for the No Action and Operate IWTP alternatives.

Significance of Impacts

Impacts associated with surf discharges in Mexico are similar to those which would occur under the No Action and Operate IWTP alternatives.  Concentrations of PAH pollutants reaching U.S. waters in excess of Ocean Plan Table B standards, as well as bacteria coliform counts in excess of Ocean Plan standards, would be a significant impact.

Dry-weather discharges of advanced primary effluent to the Tijuana River would only occur on high flow days with implementation of this alternative.  Therefore, although they would be considered significant, nearshore oceanographic impacts in the vicinity of the Tijuana River mouth are anticipated to be less than would occur under the No Action and Operate IWTP alternatives.

Mitigation

Under the Operate IWTP with Detention Basin alternative, mitigation is not available.  The effects of the discharge of treated effluent on oceanographic resources are considered significant and unmitigated.  The discharges in Mexico are the responsibility of Mexico in coordination with the IBWC under the provisions of Minute No. 270.

Alternative 4: Operate IWTP with New Conveyance to Mexico

Impacts

A new pumping and conveyance system would be constructed by Mexico as a parallel backup facility for the existing Mexican conveyance system, with a capacity of 50 mgd (2,190 lps), to convey flows from Pump Station One to the discharge point in Mexico. During the interim period, the IWTP would treat flows up to 25 mgd (1,095 lps) from Tijuana.  Once treated, the effluent would be sent to Tijuana via the new pump station and conveyance pipeline for discharge in Mexico, near the San Antonio de los Buenos treatment plant.  The existing pumping and conveyance system to the treatment works in San Antonio de los Buenos would continue to operate.

Additionally, there are two operation scenarios under this alternative.  In the first scenario, the emergency connection would continue to receive untreated wastewater flows up to capacity for conveyance to Point Loma.  In the second scenario, the emergency connection would not be utilized.

Under this alternative, no direct dry-weather discharges to the Tijuana River would occur.

In the year 2001, continued use of the emergency connection would result in 17 mgd (745 lps) of San Antonio de los Buenos treated flows, 25 mgd (1,095 lps) of IWTP treated flows, and 2.3 mgd (101 lps) of untreated flows being discharged in Mexico (44.3 mgd [1,941 lps] total).  On high flow days, 17 mgd (745 lps) of San Antonio de los Buenos treated flows, 27 mgd (1,183 lps) of IWTP treated flows, and 4.6 mgd (202 lps) of untreated flows would be discharged to the shoreline (48.6 mgd [2,129 lps] total).

Not utilizing the emergency connection would result in 17 mgd (745 lps) of San Antonio de los Buenos treated flows, 25 mgd (1,095 lps) of IWTP treated flows, and 9.6 mgd (421 lps) of untreated flows being discharged in Mexico (51.62 mgd [2,260 lps] total).  On high flow days, 17 mgd (745 lps) of San Antonio de los Buenos treated flows, 27 mgd (1,183 lps) of IWTP treated flows, and 12 mgd (526 lps) of untreated flows would be discharged to the shoreline (56 mgd [2,453 lps] total).

As with the No Action alternative, the impacts due to the Mexican shoreline discharges were modeled by Parsons Engineering Science using the SDM.  In addition to the increased flows discharged relative to the No Action alternative, the quality of the discharges is different due to the advanced primary treatment at the IWTP.

IWTP Effluent Quality

In the year 2001, the IWTP was assumed to treat a maximum annual daily average volume of 25 mgd (1,095 lps).  Treatment was assumed to consist of advanced primary treatment without chlorination.  The IWTP was assumed to have a diurnal flow fluctuation, but the fluctuation was not assumed to affect treatment quality.

The efficiency of constituent removal during the treatment process at IWTP was assumed based on information on the type of treatment and known efficiencies at treatment plants in the United States.  At the IWTP, a 20 percent reduction in bacteria concentration was assumed as a result of wastewater treatment.  This resulted in a discharge concentration of bacteria of 1.6 &#215; 108 total coliform per 100 ml.

Effluent quality for the San Antonio de los Buenos treatment plant and for the untreated wastewater is as discussed above under the No Action alternative.

Effluent Dilution Contours

The annual average dilution contours of conservative constituents discharged in Mexico in the year 2001 for this alternative are very similar to those presented in Figure 4.2-1 for the No Action alternative.  The dilution contour figures for the scenarios with and without the emergency connection may be found in the modeling report (Parsons Engineering Science 1996).  Table 4.2-4 indicates the year 2001 simulated effluent dilutions at the international border resulting from the surf discharges for the scenario utilizing the emergency connection; Table 4.25 indicates the results for the scenario not utilizing the emergency connection (also at the international border).

Review of the data in Tables 4.2-4 and 4.2-5 indicates that operation without the emergency connection results in the worst-case condition (lower dilutions).  This is due to the greater untreated sewage flows that are discharged at the shoreline in Mexico when the emergency connection is not utilized.

Based on the concentrations of substances that were detected during influent testing (see Table 4.1-1), no compounds are predicted to exceed the daily maximum Ocean Plan standards at the international border.  Additionally, the only detected substances that could exceed the Ocean Plan 30-day average concentration standard at the international border are PAHs.

Distribution of Discharged Bacteria

The time-series of bacteria concentration in the year 2001 at each modeled station is similar to that shown for the international border in Figure 4.2-2 for the No Action alternative.  The time-series of bacteria concentration figures for each modeled station with and without the emergency connection may be found in the modeling report (Parsons Engineering Science 1996).

As with the No Action alternative, tables of monthly and annual bacteria concentration at each modeled station were compiled.  Table 4.2-6 shows the year 2001 results at the international border for the scenario utilizing the emergency connection; Table 4.2-7 shows the results for the scenario not utilizing the emergency connection.  Tables for each modeled station may be found in the modeling report (Parsons Engineering Science 1996).  Comparison of the results in Table 4.2-6 with those shown in Table 4.2-7 indicates that not utilizing the emergency connection results in higher bacteria counts than would occur if the emergency connection were utilized.

By comparing the results with Table 4.2-2 (No Action alternative) it can be seen, in general, that the Operate IWTP with New Conveyance to Mexico alternative results in larger maximum bacteria coliform counts at the international border than the No  Action  alternative.

TABLE 4.2-5

SIMULATED EFFLUENT DILUTIONS AT INTERNATIONAL BORDER

SURF DISCHARGES IN MEXICO

OPERATE IWTP WITH NEW CONVEYANCE TO MEXICO ALTERNATIVE

NOT UTILIZING EMERGENCY CONNECTION, YEAR 2001

Toxic Materials           Others-

Nominal   Instantaneous   Daily     6-Month   30-Day

Month       Minimum     Minimum    Median    Average

January    52            62         114       375

February   38            50         168       262

March      11            118        485       1,235

April      34            70         590       1,202

May        132           149        6,086     7,369

June       14            26         1,920     491

July       14            21         338       348

August     15            18         190       315

September  15            17         99        398

October    16            23         88        1,179

November   28            43         76        1,411

December   14            22         84        1,382

SOURCE: Parsons Engineering Science, Inc.

NOTE: Dilutions expressed as ratio of parts of diluting water per one part

of discharge effluent, e.g., 198:1.

TABLE 4.2-4

SIMULATED EFFLUENT DILUTIONS AT INTERNATIONAL BORDER

SURF DISCHARGES IN MEXICO

OPERATE IWTP WITH NEW CONVEYANCE TO MEXICO ALTERNATIVE

UTILIZING EMERGENCY CONNECTION, YEAR 2001

Toxic Materials           Others-

Nominal   Instantaneous   Daily     6-Month   30-Day

Month       Minimum     Minimum    Median    Average

January    68            82         150       523

February   49            65         217       347

March      15            156        646       1,646

April      45            90         824       1,574

May        171           193        9,606     9,852

June       19            35         2,730     650

July       18            28         459       458

August     20            23         251       414

September  20            22         129       524

October    20            30         115       1,542

November   37            59         100       1,895

December   18            28         110       1,796

SOURCE: Parsons Engineering Science, Inc.

NOTE: Dilutions expressed as ratio of parts of diluting water per one part

of discharge effluent, e.g., 198:1.

TABLE 4.2-6

TOTAL COLIFORM (PER 100 ML) AT THE INTERNATIONAL BORDER

SHORE DISCHARGE MODEL

OPERATE IWTP WITH NEW CONVEYANCE TO MEXICO ALTERNATIVE

UTILIZING EMERGENCY CONNECTION, YEAR 2001

Nominal   Number of             Geometric                       Observations     Month1       Data      Minimum    Mean3     Median   Maximum   &gt;1,000/100 ml                Points2                                                  (%)

All       3,600            0     16         0        1,079,140 18

January   300              0     3          0        61,660    6

February  300              0     8          0        369,740   11

March     300              0     7          0        248,780   13

April     300              0     6          0        495,480   10

May       300              0     4          0        39,400    8

June      300              0     71         40       428,580   28

July      300              0     290        400      866,640   41

August    300              0     84         60       457,720   29

September 300              0     13         0        464,360   15

October   300              0     11         0        970,340   15

November  300              0     43         20       1,079,140 24

December  300              0     10         0        720,980   15

SOURCE: Parsons Engineering Science, Inc.

1To correspond to compliance requirements, months are considered as 12 consecutive, 30-day periods.

2Hourly data from 8 A.M. to 5 P.M.

3In order to calculate geometric mean, all zero values were changed to 1 for this calculation.

TABLE 4.2-7

TOTAL COLIFORM (PER 100 ML) AT THE INTERNATIONAL BORDER

SHORE DISCHARGE MODEL

OPERATE IWTP WITH NEW CONVEYANCE TO MEXICO ALTERNATIVE

NOT UTILIZING EMERGENCY CONNECTION, YEAR 2001

Nominal   Number of             Geometric                       Observations     Month1       Data      Minimum    Mean3     Median   Maximum   &gt;1,000/100 ml                Points2                                                  (%)

All       3,600            0     19         0        1,260,660 19

January   300              0     3          0        73,720    7

February  300              0     9          0        440,920   11

March     300              0     8          0        287,160   13

April     300              0     7          0        584,320   10

May       300              0     5          0        47,500    9

June      300              0     84         60       524,480   29

July      300              0     377        480      1,005,560 43

August    300              0     103        80       538,420   30

September 300              0     16         0        544,560   16

October   300              0     13         0        1,162,640 17

November  300              0     53         40       1,260,660 26

December  300              0     11         0        805,620   16

SOURCE: Parsons Engineering Science, Inc.

1To correspond to compliance requirements, months are considered as 12 consecutive, 30-day periods.

2Hourly data from 8 A.M. to 5 P.M.

3In order to calculate geometric mean, all zero values were changed to 1 for this calculation.

This is due to the larger discharge flow volumes in Mexico which result from implementation of this alternative.

Compliance tables were also generated for this alternative at the international border, the Tijuana River mouth, and the Imperial Beach Pier.  The results are shown in Tables 4.2-8 and 4.2-9.  Compliance tables for all other modeled stations are contained in the modeling report (Parsons Engineering Science 1996).  As seen in these tables, at the international border, this alternative is out of compliance with both the 1,000 coliforms and the 10,000 coliforms standards during the months of June, July, August, and November for both operation scenarios.  During the remaining months, this alternative is in compliance with the body-contact standards of 1,000/100 ml, but not with the 10,000/100 ml standard.  Stations farther north tend to have fewer periods of noncompliance, as would be expected.

Significance of Impacts

Under the Operate IWTP with New Conveyance to Mexico alternative, no direct dry-weather discharges to the Tijuana River would occur.

However, oceanographic impacts to U.S. beaches and waters associated with surf discharges in Mexico would be significant.  High bacteria coliform counts associated with the surf discharges could result in continued and additional beach closures in the United States. Mitigation

No mitigation is required for the Tijuana River.

Under the Operate IWTP with New Conveyance to Mexico alternative, mitigation for the surf discharges is not available to EPA and USIBWC. Chlorination of the effluent is not considered feasible, due to the potential toxic effects to aquatic organisms in nearshore coastal waters. The effects of the treated effluent and untreated sewage on oceanographic resources are considered significant and unmitigated. The discharges in Mexico are the responsibility of Mexico in coordination with the IBWC under the provisions of Minute No. 270.  Mexico will determine if additional measures are to be taken.

Alternative 5: Operate IWTP with Discharge to the SBOO

Impacts

The SBOO is currently under construction and is expected to be completed in 1998.  Once completed, an average 25 mgd (1,095 lps) of advanced primary effluent from the IWTP would be discharged to the ocean.  No discharge to the Tijuana River or through the emergency connection would be necessary.

Additionally, 17 mgd (745 lps) of San Antonio de los Buenos treated flows and 9.8 mgd (429 lps) of untreated flows would be discharged to the surf in Mexico (26.6 mgd [1,165 lps] total).  On high flow days, 17 mgd (745 lps) of San TABLE 4.2-8

COMPLIANCE WITH BODY-CONTACT STANDARDS

SURF DISCHARGES IN MEXICO

OPERATE IWTP WITH NEW CONVEYANCE TO MEXICO ALTERNATIVE UTILIZING EMERGENGY CONNECTION, YEAR 2001

Location       January   February    March      April      May       June

International                                                              N      border

Tijuana River         Y                                         Y          N      mouth

Imperial Beach        Y                               Y         Y                 Pier

Location         July     August   September   October   November  December

International         N          N                              N                 border

Tijuana River         N          N                                                mouth

Imperial Beach                             Y                                      Pier

Not in compliance with body-contact standards of 1,000/100 ml.       N

In compliance with body-contact standards of 1,000/100 ml, but             exceeded coliform concentrations of 10,000/100 ml in model                 runs.  Exceedance of the 10,000/100 ml standard occurs less                than 3 percent of the time.

Y     In compliance with body-contact standards of 1,000/100 ml and              10,000/100 ml.

TABLE 4.2-9

COMPLIANCE WITH BODY-CONTACT STANDARDS

SURF DISCHARGES IN MEXICO

OPERATE IWTP WITH NEW CONVEYANCE TO MEXICO ALTERNATIVE

NOT UTILIZING EMERGENGY CONNECTION, YEAR 2001

Location       January   February    March      April      May       June

International                                                              N      border

Tijuana River         Y                                         Y          N      mouth

Imperial Beach        Y                               Y         Y                 Pier

Location         July     August   September   October   November  December

International         N          N                              N                 border

Tijuana River         N          N                                                mouth

Imperial Beach                                                                    Pier

Not in compliance with body-contact standards of 1,000/100 ml.       N

In compliance with body-contact standards of 1,000/100 ml, but             exceeded coliform concentrations of 10,000/100 ml in model                 runs.  Exceedance of the 10,000/100 ml standard occurs less                than 3 percent of the time.

Y     In compliance with body-contact standards of 1,000/100 ml and              10,000/100 ml.

Antonio de los Buenos treated flows, and 12 mgd (526 lps) of untreated flows would be discharged to the shoreline (29 mgd [1,270 lps] total).  This is substantially less total flow discharged to the surf than would occur under any of the other four alternatives.

As with the No Action and Operate IWTP with New Conveyance to Mexico alternatives, the impacts due to the Mexican discharges were modeled by Parsons Engineering Science using the SDM.  Additionally, the discharges through the SBOO were also modeled.

TABLE 4.2-10

SIMULATED EFFLUENT DILUTIONS AT INTERNATIONAL BORDER

SURF DISCHARGES IN MEXICO

OPERATE IWTP WITH DISCHARGE TO SBOO, YEAR 2001

Toxic Materials           Others-

Nominal   Instantaneous   Daily     6-Month   30-Day

Month       Minimum     Minimum    Median    Average

January    71            84         165       579

February   52            68         239       357

March      14            160        755       1,717

April      45            104        1,016     1,701

May        178           205        16,181    11,442

June       21            42         4,517     709

July       16            34         490       504

August     20            23         271       428

September  20            22         141       557

October    20            29         127       1,583

November   32            65         112       2,135

December   18            31         122       1,883

SOURCE: Parsons Engineering Science, Inc.

NOTE: Dilutions expressed as ratio of parts of diluting water per one part of     discharge effluent, e.g., 198:1.

Surf Discharges in Mexico

Effluent Quality.  The year 2001 effluent quality used

in the simulation for the shore discharges is basically the same as that described above under the No Action alternative.

Effluent Dilution Contours.  The annual average dilution

contours of conservative constituents discharged in Mexico in the year 2001 for this alternative are very similar to those presented in Figure 4.2-1 for the No Action alternative.  The dilution contour figure for this alternative may be found in the modeling report (Parsons Engineering Science 1996).  Table 4.2-10 indicates the year 2001 simulated effluent dilutions at the international border resulting from the surf discharges.

Comparison of the data in Table 4.2-10 with the data in Tables 4.2-1, 4.2-4, and 4.2-5 indicates that, in general, the highest dilutions of the surf discharge are obtained with this alternative.  This is because the Operate IWTP with Discharge to SBOO alternative results in the lowest flow discharged in Mexico.

Based on the concentration of substances that were detected during influent testing (see Table 4.1-1), no compounds are predicted to exceed the daily maximum Ocean Plan standards at the international border.  Additionally, the only detected substances that could exceed the Ocean Plan 30-day average concentration standard at the international border are PAHs.

Distribution of Discharged Bacteria.  The time-series of

bacteria concentration in the year 2001 at each modeled station is similar to that shown for the international border in Figure 4.2-2 for the No Action alternative.  The time-series of bacteria concentration figures for each modeled station with and without the emergency connection may be found in the modeling report (Parsons Engineering Science 1996).

Monthly and annual bacteria concentration at each modeled station were compiled and are shown in Table 4.2-11 at the international boundary.  Tables for each modeled station may be found in the modeling report (Parsons Engineering Science 1996).

A compliance table was also generated for this alternative at the international border, the Tijuana River mouth, and the Imperial Beach Pier and is shown in Table 4.2-12.  Compliance tables for all other modeled stations are contained in the modeling report (Parsons Engineering Science 1996).  As seen in Table 4.2-12, at the international border this alternative is out of compliance with both the 1,000 coliform and 10,000 coliform standards during the months of June, July, August, and November.  During the remaining months, this alternative is in compliance with the body-contact standards of 1,000/100 ml, but concentrations of coliforms above 10,000/100 ml could occur. Stations farther north are within the 1,000 coliform standard year-round.

SBOO Discharges

Advanced primary effluent discharges through the SBOO were modeled by Parsons Engineering for this alternative.  Modeling of the effluent dispersion and dilution involved the use of the following five models:

Initial Dilution Model.  The initial dilution model (RSB-TSI) used in this study was a modified version of the RSB computer model, the primary initial dilution model recommended by the EPA.  This model was developed by Dr. Philip Roberts and is based on the experimental results conducted under contract with the EPA.  The initial dilution model used in this study was derived from the RSB model by using the same algorithms with two minor modifications that enable the model to run time-series and to converge more efficiently.  The model was fully tested and was the basic tool used in the recent city of San Diego Point Loma 301(h) Waiver Application for Modification of Secondary Treatment Requirements (City of San Diego, April 1995).  In that study, the model results were verified by EPA independent contractors.

TABLE 4.2-11

TOTAL COLIFORM (PER 100 ML) AT THE INTERNATIONAL BORDER

SHORE DISCHARGE MODEL

OPERATE IWTP WITH DISCHARGE TO SBOO, YEAR 2001

Nominal   Number of             Geometric                       Observations     Month1       Data      Minimum    Mean3     Median   Maximum   &gt;1,000/100 ml                Points2                                                  (%)

All       3,600            0     11         0        767,020   14

January   300              0     2          0        41,280    5

February  300              0     7          0        240,560   10

March     300              0     5          0        168,440   9

April     300              0     4          0        320,900   8

May       300              0     3          0        26,840    6

June      300              0     43         20       294,360   23

July      300              0     158        180      572,460   34

August    300              0     47         20       302,920   25

September 300              0     9          0        305,060   12

October   300              0     7          0        672,940   11

November  300              0     20         0        767,020   18

December  300              0     8          0        485,920   13

SOURCE: Parsons Engineering Science, Inc.

1To correspond to compliance requirements, months are considered as 12 consecutive, 30-day periods.

2Hourly data from 8 A.M. to 5 P.M.

3In order to calculate geometric mean, all zero values were changed to 1 for this calculation.

TABLE 4.2-12

COMPLIANCE WITH BODY-CONTACT STANDARDS

SURF DISCHARGES IN MEXICO

OPERATE IWTP WITH DISCHARGE TO SBOO, YEAR 2001

Location       January   February    March      April      May       June

International                                                              N      border

Tijuana River         Y                                         Y                 mouth

Imperial Beach        Y                               Y         Y                 Pier

Location         July     August   September   October   November  December

International         N          N                              N                 border

Tijuana River         N          N                                                mouth

Imperial Beach                             Y                                      Pier

Not in compliance with body-contact standards of 1,000/100 ml.       N

In compliance with body-contact standards of 1,000/100 ml, but             exceeded coliform concentrations of 10,000/100 ml in model                 results.  Exceedance of the 10,000/100 ml standard occurs less             than 3 percent of the time.

Y     In compliance with body-contact standards of 1,000/100 ml and              10,000/100 ml.

Current Flow Model.  A diagnostic flow model that interpolates and extrapolates the flows measured at the current meter moorings to the region of the study area was used to reproduce the currents at the mooring locations, preserve the continuity condition, and incorporate the dominant terms in the governing equations of flow (the Navier-Stokes equations).  This model was previously used in the initial analysis of the oceanographic data collected during the SBOO studies.

Hydrodynamic Model.  A finite-element, two-dimensional,

hydrodynamic numerical flow model (RMA2) was used to produce the detailed flows (at four depths) within the study area, based on the general flow patterns generated from the diagnostic model.  Versions of this model have been used to simulate ocean flows in a variety of studies around the world.

Sediment Transport and Deposition Model.  In the particle

deposition model (DEP), imaginary particles are released at the location of the outfall, then tracked over many time-steps as their motion is simulated.  While this method can be used for a dissolved or suspended constituent, its particular advantage is in the simulation of settleable particulates.  The flexibility of the method permits simulation of the range of particle sizes and the associated distribution of settling velocities in treated sewage effluent.

Tracking and Water Quality Model.  The tracking and water

quality model used in this study was an updated version of the TRACKER model described in Appendix D of the South Bay Outfall Preliminary Planning Study (Engineering Science 1990).  The puff-tracking model simulates the advection and spreading of the effluent plume as a sequence of discrete &quot;puffs&quot; of effluent.  This model is capable of tracking the wastefield and calculating physical characteristics and bacterial concentrations in the wastefield as it moves under the influence of the currents.

The SBOO simulation area extends approximately 8.7 miles (14 km) south and 20 miles (32 km) north from the border with Mexico.  The latter lies approximately 10 miles (16 km) north of Point Loma.  The area extends about 6.2 miles (10 km) offshore from the coast at the northern boundary and 10.5 miles (17 km) from the coast at the southern boundary.

Oceanographic Data Used for Modeling.  All the simulation

models require information on the ocean currents.  The initial dilution simulations require information on the currents within the entrainment region of the water column during the initial dilution process; the transport simulations; and the properties of the currents at the water depths occupied by the wastefield formed by the discharge.  Both types of information were provided by a year of time-series measurements of currents at multiple depths collected at an array of moorings located within the study area (Engineering Science 1988).

The initial dilution simulations also require information on the density structure of the water column.  A year of hydrographic data, collected monthly with an electronic conductivity-temperature-depth profiler at an array of stations, was used to provide this information.

The initial dilution simulations used the current meter data collected in the lower half of the water column at the mooring closest to the terminus of the proposed discharge (after decimating to hourly intervals).  The transport modeling used the collective set of data from all the moorings.  The raw data was initially filtered into new time-series based on the time-scales of the fluctuations (supertidal, tidal, and subtidal + net flow frequency bands), analyzed for persistent or energetic flow patterns (using empirical orthogonal function analysis on the subtidal frequency fluctuations), then extended over the study area using the stream function-based diagnostic model.  The resulting one-year-long hourly time-series for the dominant flows were used to provide the boundary conditions for the RMA2 hydrodynamic simulations.  A year-long hourly time-series of the supratidal, tidal, and residual subtidal (i.e., not part of the dominant flows) fluctuations in the cross-shore component of the currents measured between the discharge and the coast was also used by the RMA2 model to drive the simulated cross-shore flows.

Model Assumptions.  In addition to assumptions regarding

the quantity and characteristics of the discharged effluent and the mortality of bacteria present in the wastewater as required for the SDM, additional assumptions were required for the SBOO modeling.  Suspended solids present in the effluent were assumed to settle in the ocean as discrete particles (i.e., the effects of aggregation were minimal over the time-scales characterizing the deposition in the immediate vicinity of the discharge-the area with the greatest impacts).

A number of assumptions were also required about the characteristics of the ocean currents.  First, it was assumed that the currents measured during the year-long study were representative of the currents typically present in the area.  It was also necessary to partition the density-stratified water column into multiple layers (by depth) in order to assess the potential for the intrusion of discharged wastewater to be carried into inshore protected waters.  Therefore, flow simulations were carried out for four discrete layers (0-5 m, 5-10 m, 10-15 m, and &gt;15 m [0-17 ft, 17-34 ft, 34-50 ft, and &gt;50 ft]).  Based on the similarity of the dominant flows measured at various depths in the water column, it was assumed that the two identified dominant flows in the current meter data could be used as the boundary conditions for each layer in the hydrodynamic model (RMA2).  In general, these dominant flows do not include substantial contributions from cross-shore motions-but these flows could be important for the cross-shore transport of wastewater into nearshore protected waters.  Therefore, it was assumed that a simplified cross-shore flow, driven by the measured currents, could be added to the RMA2 flows to simulate this cross-shore transport (see Parsons Engineering Science 1996 for more details).

Effluent Characteristics and Quality.  In general, assumptions regarding effluent characteristics and quality are the same as those for the SDM discussed above under the No Action alternative.  However, review of the literature regarding T90 rates resulted in the assumption of a rate of eight hours as a daily average in the offshore area where the SBOO is proposed.  This rate is different from that assumed for the SDM; the effluent discharged at SBOO is released and distributed deeper in the water column, where bacteria are less susceptible to higher mortality rates than in the surf zone and upper layer of the water column.

Effluent Dilution Contours.  Effluent dilution contours

represent an average dilution of discharged effluent over some period of time.  Figure 4.2-3 presents annual average dilution contours for effluent discharged from the proposed SBOO for each of the four water layers evaluated in this scenario.  Each layer is simulated separately; the initial dilution simulation partitions the effluent plume into each layer depending on water column conditions at the time of discharge.  Water currents in the four layers, although generally very similar in magnitude and direction, differ in proximity of the coast as a result of the differing bathymetry.

The evaluation of effluent dilution and the concentration of conservative constituents included the potential effect of reentrainment of effluent discharged from the outfall at an earlier time, which was carried by advection back to the area near the outfall and was subject to being entrained again into the effluent plume.

Effluent dilution contours for each water column layer during each month of the year of the simulation are presented in the modeling report (Parsons Engineering Science 1996).

These contours represent the amount of dilution simulated for conservative constituents in the effluent (bacteria concentrations are evaluated separately, below).  As discussed in the No Action alternative section, the physical dilution process was assumed to be the only factor determining the concentration of conservative constituents, rather than biological, physical, or chemical processes.  As can be observed from Figure 4.2-3, the additional dilution beyond the zone of initial dilution (ZID) is substantial, with annual average values of 50,000:1 at the surface above the discharge and 100,000:1 approaching the shoreline. In deeper waters, the additional dilution in the immediate area (3,281 feet, or 1,000 m) around the ZID is 2,000:1.

Ocean Plan compliance for toxic pollutants present in the proposed SBOO discharge must be met at the edge of the ZID, as defined by the Ocean Plan.  Table 4.2-13 indicates the year 2001 simulated dilution of discharged effluent at the edge of the ZID for each month of the year in intervals corresponding to the requirements of the Ocean Plan.  Based on the concentrations of substances that were detected during influent testing (see Table 4.1-1), no compounds are predicted to exceed the daily maximum Ocean Plan standards at the ZID.  Additionally, the only detected substances that may exceed the Ocean Plan 30-day average concentration standard at the ZID are PAHs.

Distribution of Discharged Bacteria.  The distribution

of pathogenic bacteria in the receiving waters of the study area is dependent on initial concentrations following discharge and initial dilution of effluent, magnitude and direction of waterFigure 4.2-3

TABLE 4.2-13

SIMULATED EFFLUENT DILUTIONS AT SBOO ZONE OF INITIAL DILUTION

OPERATE IWTP WITH DISCHARGE TO SBOO, YEAR 2001

Toxic Materials           Others-

Nominal   Instantaneous   Daily     6-Month   30-Day

Month       Minimum     Minimum    Median    Average

January    198           495        326       605

February   179           260        358       490

March      175           279        364       331

April      156           192        360       236

May        100           127        350       211

June       117           151        295       247

July       117           153        269       255

August     122           198        253       265

September  122           214        248       273

October    140           259        264       324

November   130           243        281       315

December   186           319        309       566

Dilution   100           100        100       100

to be

achieved

SOURCE: Parsons Engineering Science, Inc.

NOTE: Dilutions expressed as ratio of parts of diluting water per one part

of discharge effluent, e.g., 198:1.

Dilutions to be achieved is based on requirements in Engineering

Science 1993.

currents, and the mortality rate of the bacteria.  The dispersion model simulates the distribution of bacteria in four layers of the water column. The resulting distribution of bacteria can differ significantly from location to location and between water column layers.

Concentrations of bacterial indicators are of regulatory concern primarily in areas where body-contact recreation occurs.  In this analysis, a total of 23 locations were selected for examination, based on water depth, location near kelp beds, or location near other sensitive areas.

The distribution of discharged bacteria at each station location addressed in the ocean discharge model is expressed as a time-series of concentration over the year of simulation.  The time-series displays the concentration of bacteria on an hourly basis at that station.

An example of the time-series of bacteria concentration is shown here as Figure 4.24.  In water column layer 3 (depth range 10 to 15 m [34-50 ft]) at Station D8 (the station in the Imperial Beach kelp bed closest to the proposed outfall location), bacteria concentrations show occasional &quot;spikes&quot; related to the inshore transport of water by advective currents.  These concentrations rise and fall depending on the current regime and the mortality rate of the bacteria.

Time-series were generated for each of the four water column layers at each of the 23 stations addressed by the model (except where the maximum station depth was less than the depths encompassed by each layer).  These time-series, grouped by station, are available in the modeling report (Parsons Engineering Science 1996).

From these time-series, a table of monthly and annual bacteria concentration for each station and each layer was compiled.  Each table includes the minimum and maximum hourly bacteria concentration, geometric mean and median of hourly concentration, and number of occurrences with concentrations greater than 1,000 per 100 ml during each month, which is the most common requirement period of compliance.  The data displayed in the tables is for the hours of 8:00 A.M. to 5:00 P.M. daily, corresponding to the time of day when samples for compliance with bacteria standards are generally collected.

An example of the monthly bacteria concentration table is shown here as Table 4.2-14.  The example is for Station D8 in layer 3 (near the Imperial Beach kelp bed as described above), corresponding to the bacteria concentration time-series shown in Figure 4.2-4.  The table includes the minimum and maximum hourly bacteria concentration, geometric mean and median of hourly concentration, and number of occurrences with concentrations greater than 1,000 per 100 ml during each month.  The data displayed in the tables is for the hours of 8:00 A.M. to 5:00 P.M. daily, corresponding to the time of day when samples for compliance with bacteria standards are generally collected.

Tables of bacteria concentration for all stations and water column layers are included in the modeling report (Parsons Engineering Science 1996).

The potential for noncompliance with body-contact standards for bacteria in receiving waters was computed using a numerical model similar to that discussed under the No Action alternative for the SDM.  Only modeled station D8 (near the Imperial Beach kelp bed), layers 3 and 4, exceeded the 10,000/100 ml Ocean Plan standard during the months of February, November, and December.  As this occurred in less than three percent of the samples, it is not considered to represent a health risk.  All other modeled stations, as well as modeled station D8 during the remaining months, met both the 1,000 and 10,000 standards.

The compliance results for all modeled stations are included in the modeling report (Parsons Engineering Science 1996).

Change in pH of Receiving Waters.  Ocean Plan requirements state that the change in receiving water pH as a result of the effluent discharge must be no more than 0.2 unit everywhere, with the exclusion of the ZID.  The time-series of effective initial dilution simulated by the model was used as the basis for the evaluation.

Figure 4.2-4

TABLE 4.2-14

TOTAL COLIFORM (PER 100 ML) NEAR THE IMPERIAL BEACH KELP BED OCEAN DISCHARGE MODEL

OPERATE IWTP WITH DISCHARGE TO SBOO, LAYER 3, YEAR 2001

Nominal   Number of             Geometric                       Observations     Month1       Data      Minimum     Mean     Median   Maximum   &gt;1,000/100 ml                Points2                                                  (%)

All       3,600           16         21        16    182,440          2

January   300             16         20        16    90,806           2

February  300             16         23        16    182,440          4

March     300             16         17        16    3,823            1

April     300             16         19        16    4,137            1

May       300             16         25        16    15,817           3

June      300             16         16        16    17               0

July      300             16         18        16    633              0

August    300             16         18        16    6,638            1

September 300             16         17        16    134              0

October   300             16         23        16    58,522           2

November  300             16         35        16    175,055          9

December  300             16         24        16    83,377           2

SOURCE: Parsons Engineering Science, Inc.

NOTE: Depth, 10-15 meters.

1To correspond to compliance requirements, months are considered as 12 consecutive, 30-day periods.

2Hourly data from 8 A.M. to 5 P.M.

Values for receiving water pH were taken from baseline studies in the SBOO area (Engineering Science 1988); effluent pH was assumed based on historical effluent data from Point Loma.  Point Loma data was used for pH, since no definitive pH values were available for the various Tijuana wastewater characterizations thus far prepared.  For each month of the year, the instantaneous minimum, monthly average, and monthly maximum dilution values were used to determine potential changes in pH resulting from these conditions.  Available data indicate that the maximum change in receiving water pH would be 0.09 occurring during the month of May.  Therefore, the requirements of the Ocean Plan for changes in receiving water pH would not be violated.

A more detailed discussion of the assumptions and calculations for determining compliance with Ocean Plan requirements for pH is included in the modeling report (Parsons Engineering Science 1996).

Dissolved Oxygen Levels.  The Ocean Plan requires that:

The dissolved oxygen concentration shall not at any time be depressed more than 10 percent from that which occurs naturally, as the result of the discharge of oxygen demanding waste material.

The modeling report prepared for the project (Parsons Engineering Science 1996) presents calculations of the dissolved oxygen depression due to the release of oxygen demanding waste materials from the SBOO.  Separate calculations were performed for water column, sediment resuspension, and steady-state.  All three analyses indicated that the dissolved oxygen depressions would be within the 10 percent standard specified in the Ocean Plan.

Deposition and Accumulation of Suspended Solids.  The depositional pattern and rates of deposition of effluent and natural particles depends on the mass distribution of their settling speeds, the strength and spatial and temporal variability of the ocean currents, and the distance they must settle to reach the ocean bottom.  At the time of discharge, wastewater normally contains particles with a wide range of settling speeds.  For primary treated effluent, this range can extend from settling speeds faster than 0.01 cm/sec to slower than 10-4 cm/sec.

A complete discussion of the sediment deposition modeling is presented in the modeling report for the project (Parsons Engineering Science 1996).

Results of the modeling indicate that the annual average deposition rate adjacent to the outfall is on the order of 2 g/m2/day.  This deposition rate occurs over an area of approximately 39.5 acres (16 ha) (Figure 4.2-5). This is of sufficiently small magnitude that erosion due to wave and storm action will prevent the buildup of any significant amount of material around the outfall.  Monthly sediment deposition contour plots are presented in the modeling report.

Significance of Impacts

As with the other alternative, impacts associated with surf discharges in Mexico would be significant.  Concentrations of PAHs could reach U.S. waters in excess of Ocean Plan standards.  Additionally, bacteria coliform counts in excess of Ocean Plan standards will continue to occur.  These impacts are unavoidable.

Figure 4.2-5

No dry-weather discharges to the Tijuana River are forecasted to occur with implementation of this alternative.

Concentrations of PAHs in the zone of initial dilution of the SBOO in excess of Ocean Plan standards could potentially occur.  This would be a significant impact.  Additionally, bacterial coliform counts in excess of the 10,000 coliform per 100 ml Ocean Plan standards could occur at a depth of 50 feet (15 m) near the Imperial Beach kelp beds during certain months.  As the likelihood of this exceedance occurring is under one percent of all samples taken during the year, the potential for exceedance is not considered a significant impact.  Mitigation to reduce the impacts to below a level of significance (i.e., to achieve the Ocean Plan standards) may be feasible, however.

The discharge of advanced primary effluent to the ocean through the SBOO is not authorized by the federal Clean Water Act.  The operator will comply with a discharge permit and compliance order issued by the RWQCB. This is a significant unavoidable impact.

No significant impacts would occur to the pH of the receiving waters or to the dissolved oxygen content in the vicinity of the SBOO.  Accumulation of deposited solids near the outfall would not be significant.

Mitigation

Mitigation for the impacts due to the surf discharges in Mexico is not available to EPA or USIBWC for the Operate IWTP with Discharge to SBOO alternative.  The effects of the discharge of treated effluent and sewage on oceanographic resources are considered significant and unmitigated. The discharges in Mexico are the responsibility of Mexico in coordination with the IBWC under the provisions of Minute No. 270.  Mexico will determine if additional measures are to be taken.

Bacterial coliform impacts due to discharge of advanced primary effluent from the SBOO would not be significant and do not require mitigation measures.

Impacts due to PAHs concentrations can only be mitigated by source identification and reduction.  As indicated in the previous EIS, Mexico has agreed to implement a source reduction program, which is under development.  However, until a program is implemented, this impact is considered significant and unmitigated.

No other mitigation is required.  However, as indicated above, the direct discharge of advanced primary effluent to the ocean is not authorized under the federal Clean Water Act.

Terrestrial Biology

The following section is an assessment of potential impacts to terrestrial biological resources within the riparian corridor of the Tijuana River that may occur due to the implementation of any of the proposed interim discharge alternatives.  A discussion of potential sources of impacts to the riparian corridor is presented.  How these impact sources apply to each of the interim discharge alternatives is discussed separately below.

Potential Impact Sources

The discussion of potential impacts to the riparian corridor of the Tijuana River is relevant in those situations where the discharge of sewage or treated effluent is made directly to the river.  Under this condition, the major factors that may have an effect on the riparian habitat include nutrient additions, shifts in the biological oxygen demand, and introduction of toxic elements. Nutrient Loading

The discharge of less than tertiary treated sewage effluent will contain relatively high concentrations of certain nutrients.  Most notably with regard to plants is the concentrations of inorganic nitrogen and phosphorus.  Excessive inputs of these nutrients can alter the growth of plants.  High nitrogen levels can cause an increase in above ground productivity (shoots and leaves), reduced root development, and a general yellowing of the leaves.  Elevated phosphorus levels tend to increase root production relative to above ground productivity and produce leaves that are dark green.  When one or the other nutrient is elevated these symptoms can have a dramatic effect on the long-term vigor of the plant.  When elevated together, they tend to counteract the effects of each other, up to a point, increasing overall plant productivity.  However, chronic long-term exposure to elevated levels of nitrogen and phosphorus ultimately may negatively affect the vigor of plants decreasing their resistance to other environmental factors (i.e., disease, water stress).

Increases in nutrient levels of streams, especially elevated levels of nitrogen and phosphorus, can result in the eutrophication of this aquatic system.  Eutrophication involves increases in nutrient levels with a corresponding increase in aquatic plant and animal productivity and decreases in dissolved oxygen levels of the water.  Although this process is most prevalent in the succession of lakes, stream eutrophication can occur near the mouths of rivers and streams where nutrient loads and sedimentation are greatest.

The addition of nitrogen and phosphorus from sewage discharged to the river may have only a limited effect on the riparian habitat within the corridor.  Losses of nitrogen can be substantial due to leaching. Large accumulations of these two nutrients in the soils of the river channel are unlikely in the long term due to the seasonally flooding of the river that transports large sediment loads to the ocean, thus removing excess nutrient levels.

Increased BOD

Advanced primary treated sewage has a relatively high organic matter content.  Discharge of this type sewage to a stream or river can increase the BOD of the aquatic system for some distance from the discharge point.  Bacterial decomposition of the elevated organic material levels in the sewage coupled with potential increases in algae increases the BOD and reduces the dissolved oxygen content of the water.  As the flows get further from the discharge point, the water gets aerated naturally and the BOD decreases.  The extent or distance this &quot;oxygen sag&quot; occurs in the river is dependent on the flow rate, organic content of the sewage, and rate of natural aeration of the water.

High BODs can have a detrimental effect on aquatic wildlife.  Certain fish species and aquatic insects can be eliminated from areas of high BOD and replaced with less desirable species that have lower oxygen demands.  This impact would be most evident in the estuarine system near the mouth of the river where sewage may become trapped in tidal channels.  Areas of the Tijuana River that could be most effect by potentially high BOD would be backwater areas where water may pond for long periods of time.

Toxic Elements

Sewage effluent may contain varying concentrations of toxic elements, particularly heavy metals.  Elements such as cadmium, lead, arsenic, and selenium are examples of toxic elements that could be present in the sewage effluent.  Although in certain cases these elements may be concentrated in the soil and eventually wind up in the food chain, the uptake of these elements by the riparian plants of the Tijuana River corridor to toxic levels is unlikely.  Cadmium, lead, selenium, and arsenic are mostly unavailable to plants for uptake due to the ionic state these elements are in within the soil environment.  Transfer of these elements up the food chain is more likely to occur in aquatic plants and fish that feed on these plants, rather than in more terrestrial plants such as willows. Alternative 1: No Action

Impacts

Under this alternative raw sewage would flow in the Tijuana River channel.  These flows would carry the increased nutrient levels, the highest organic matter contents, and highest concentrations of toxic elements through the system.  Most of these constituents flow through the riparian area to the estuary and ocean at the mouth of the river.  Potential concentration of nutrients, organic matter, and toxic elements would only be evident in backwater areas where water ponds for long periods of time. These ponds may pose a human health hazard due to fecal coliform contamination , the potential for mosquito breeding areas, and transmission of diseases (e.g., encephalitis).

In the short term, effects on the riparian habitat of the Tijuana River in these areas may be beneficial through the addition of supplemental water and nutrients.  This condition could cause an increase in recruitment of riparian plants along the low-flow channel.  However, it is doubtful that any habitat created will remain due to seasonal flood scour which recontour the low-flow channel annually. No impacts to federal endangered or threatened species are anticipated.

Significance of Impacts

No significant adverse impacts to terrestrial habitat or sensitive species are anticipated.

Mitigation

No mitigation measures in addition to commitments made in the previous EIS and Biological Opinion for the project are required. Alternative 2: Operate IWTP

Impacts

Under this alternative, the IWTP would operate to detain and treat the captured sewage to advanced primary levels prior to discharge to the emergency connection or, if no capacity is available, the Tijuana River.  This process will remove up to 75 percent of the solids (organic matter), some level of the toxic elements (those levels absorbed to the solids, grease, and oil that are removed), and little if any nutrients.

Potential effects to the riparian habitat of the river are expected to be the same as the No Action alternative, but at a much slower rate due to lower BODs and toxic elements.  No adverse impacts are anticipated.

Significance of Impacts

No significant adverse impacts to terrestrial habitat or sensitive species are anticipated.

Mitigation

No mitigation measures in addition to commitments made in the previous EIS and Biological Opinion for the project are required. Alternative 3: Operate IWTP with Detention Basin

Impacts

Under this alternative, the IWTP would treat the sewage to advanced primary levels and store the effluent in a lined earthen detention basin for later discharge to Point Loma through the emergency connection.  Discharges to the Tijuana River under this alternative are not expected during average dry-weather conditions through the year 2001, but up to 2.0 mgd (88 lps) could occur during seasonal high flows in 2001 when excess effluent will need to be put in the river.

The long-term effects of the reduction of dry-weather flows in the Tijuana River in the U.S. was evaluated in the previous EIS.  Until the year 2001, this alternative would result in the conditions evaluated previously.  During 2001, the effects to the riparian habitat of the Tijuana River would be similar to the Operate IWTP alternative; however, the flows will be substantially less decreasing the rate at which any effects may be observed.

Significance of Impacts

No significant adverse impacts to terrestrial habitat or sensitive species are anticipated.

Mitigation

No mitigation measures in addition to commitments made in the previous EIS and Biological Opinion for the project are required. Alternative 4: Operate IWTP with New Conveyance to Mexico

Impacts

Under this alternative the IWTP would treat and detain the sewage to advanced primary levels prior to discharge of the treated effluent to a new conveyance system in Mexico for discharge to the ocean.

The pumping and conveyance would be built in urbanized central Tijuana and extend west up to Spooners Mesa and south above the coastal toll road to the existing shoreline discharge point 5.6 miles south of the international border.  Mexico is considering several alternatives, including one that follows the route of the existing canal and one that would be within the right-of-way for the toll road.  Both routes would impact disturbed grassland habitat, but the existing canal also crosses several naturally vegetated canyons that have coastal sage scrub and maritime chaparral.  These native communities may provide habitat for sensitive species of binational concern, such as the federally listed (threatened) coastal California gnatcatcher.

Any environmental impacts incurred due to the construction of the conveyance system in Mexico would be evaluated in environmental review under the Mexican State Ecology Law.  No impacts to the riparian habitat of the Tijuana River in the U.S. are anticipated. Significance of Impacts

Adverse impacts to native habitat and sensitive wildlife could result from construction of the new conveyance in Mexico.  Mexico will conduct the environmental review for the conveyance and select an alignment.  No significant adverse impacts to terrestrial habitat or sensitive species in the U.S. are anticipated.

Mitigation

No mitigation measures in addition to commitments made in the previous EIS and Biological Opinion for the project are required. Alternative 5: Operate IWTP with Discharge to SBOO

Impacts

Under this alternative the IWTP would treat the sewage to advanced primary levels and discharge the effluent to the ocean via the South Bay Ocean Outfall.  No impacts to the riparian habitat of the Tijuana River are expected from this alternative.

Significance of Impacts

No significant adverse impacts to terrestrial habitat or sensitive species are anticipated.

Mitigation

No mitigation measures in addition to commitments made in the previous EIS and Biological Opinion for the project are required. Estuarine Biology

The information provided in this section is derived primarily from the Biological Impacts of Interim Discharge of Primary Treated Effluent from the International Wastewater Treatment Plant to the Tijuana Estuary, prepared by Tierra Environmental Services (1996).  This report is included as Appendix B.

Impacts of Sewage Inflows at the Tijuana Estuary

The Tijuana estuary has been characterized as having a small tidal prism (defined as the volume of water in the estuary between MHHW and MLLW).  The estuary's tidal prism has been calculated at 290 acre-feet (0.36 Mm3) (Entrix et al. 1991).  Because the tidal prism of the estuary is small, sewage conveyed by the Tijuana River can have far-reaching effects on the ecosystem.

The plants and animals that inhabit southern California lagoons and estuaries are adapted to the saline conditions that exist during most of the year.  The channel organisms, including fishes and invertebrates, are primarily marine, although many display an ability to withstand a wide variation in salinity.  Similarly, the plant species that inhabit coastal salt marshes are adapted to hypersaline soil conditions that exclude species that might otherwise outcompete them under less saline conditions (Zedler 1982).  Any modification of a wetland's hydrology that results in an increase in &quot;freshwater&quot; inflows can result in large-scale shifts in species composition.  For the purpose of this section, &quot;fresh water&quot; is defined as nonsaline water rather than a measure of potability.

The potential impacts of sewage inflows on the phytoplankton and macroalgae of the Tijuana estuary are primarily related to population dynamics and effects on other organisms.  An increase in the availability of nutrients from sewage, primarily nitrogen, could stimulate algal blooms.  Depending on the magnitude and duration of such blooms, water quality conditions could deteriorate to the point that channel fauna are impacted.  Algal blooms and reduced dissolved oxygen levels have been correlated with fish kills at San Elijo Lagoon in San Diego County (Nordby 1990).  Algal blooms of sufficient magnitude could result in fish kills that affect higher-order consumers, such as the federal endangered least tern.

The impacts of sewage flows on channel organisms in the Tijuana estuary are difficult to quantify given the lack of baseline data.  However, a long-term monitoring program, initiated by PERL researchers in 1986, identified several trends in species composition that have been attributed to sewage inflows (Nordby and Zedler 1991).  Species richness and abundance for fishes and benthic macroinvertebrates declined throughout a period of prolonged sewage discharge; population structures were skewed toward young animals; and assemblages were dominated by species with early reproductive maturity and prolonged spawning periods.  The sampling station located farthest from the mouth of the estuary and, subsequently, farthest from the source of sewage acted as a refuge for species that were eliminated at the mouth.

The effects of increased freshwater inflows and hypersalinity from mouth closure on the functioning and structure of the salt marsh of the Tijuana estuary have been well documented (Zedler and Nordby 1986; Zedler et al. 1992).  Heavy mortality of the cordgrass-dominated low marsh was documented following mouth closure in 1984; however, the pickleweed-dominated mid-marsh actually expanded during this time (Zedler et al. 1992).  Conversely, cordgrass growth (measured in total stem length) increased following flood events of 1980 and 1983, while pickleweed growth (measured in percent cover) decreased.  Field observations and experiments have suggested that cordgrass is commonly under stress due to hypersaline soils and low nitrogen concentrations.  Freshwater inflows to the marsh stimulate increased growth by reducing soil salinities.  Freshwater inflows that are high in nitrogen may also stimulate increased growth.  Timing of freshwater inflows is important: inflows in winter have resulted in increased height and density; inflows in summer have resulted in increased vegetative reproduction.

Zedler et al. (1990) examined the effects of sewage flows in the Tijuana River on the salt-marsh vegetation in the estuary.  Several a priori hypotheses were formulated regarding salt-marsh vegetation responses to wastewater.  These included (a) lower salt-marsh plants (i.e., cordgrass) would have increased foliar nitrogen and greater biomass with proximity to wastewater flows and (b) exotic plant species would be linked to areas of prolonged &quot;freshwater&quot; flows and artificially prolonged periods of salinity reduction.  No direct correlations were demonstrated for wastewater inflows and soil nitrogen, foliar nitrogen, or growth of cordgrass.  Sewage flows were linked with reduced soil salinities and exotic plant invasions.

Equally difficult to measure are the effects of the constituents of sewage on wetland plants and animals.  Fecal coliforms, used as indicators of contamination for humans, do not necessarily affect aquatic organisms as they do humans.  Similarly, sewage constituents have been measured from within the City of Tijuana's conveyance system, but not within the estuary itself.  Periodic inflows of compounds potentially lethal to aquatic organisms could occur virtually at any time.

The magnitude and spatial distribution of microbial contamination of the Tijuana estuary during both wet and dry weather under a range of tidal conditions was recently investigated (Zedler et al. 1995).  Densities of fecal indicator bacteria were determined in water collected during the period of November 1994 through June 1995.  Fourteen sites were sampled, extending from the approximate location of the IWTP to the Pacific Ocean.  In general, fecal coliform concentrations were highest at Dairy Mart Road, Hollister Street Bridge, and Smuggler Gulch, where they greatly exceeded EPA and state standards for body contact.  Densities of fecal indicator bacteria remained high throughout the rainy period (November 1994-March 1995), implying that there was a continuous and concentrated dry-weather source of fecal loading to the estuary and, apparently, no first-flush phenomenon.  Levels of fecal indicators in the Tijuana River east of Dairy Mart Road were equal to or greater than those found downstream, suggesting that the main river, entering the U.S. from Tijuana, is contaminated with fecal material before receiving flows from Smuggler Gulch and Goat Canyon.

In a parallel study, Zedler et al. (1995) measured water salinity and dissolved oxygen as indirect indicators of sewage inflows to the estuary.  As demonstrated in the Estuarine Biology section of the Affected Environment chapter of this SEIS (Chapter 3.4), numerous studies have shown that increased &quot;freshwater&quot; inflows can produce shifts in the structure of plant and animal communities of coastal wetland systems.

Salinity in the northern arm of the estuary, known as Oneonta Slough, was highly variable in terms of seasons, months, weeks, days, and tidal cycles.  Of particular interest was the preponderance of dates with salinities below seawater (34 ppt).  Oneonta Slough was brackish throughout most of the sampling dates and became saline only in July when sewage flows were low enough to be diverted to the emergency connector.  Based on these assertions, flows of raw sewage from the city of Tijuana are capable of impacting the farthest reaches of the Tijuana estuary, particularly during the wet season.

Evidence of heavy metal contamination of the sediments and fishes of the Tijuana River and estuary is presented by Gersberg, Trintade, and Nordby (1989).  In that study, 55 sediment sampling stations were tested for levels of toxic metals: cadmium, chromium, copper, zinc, lead, and nickel.  In addition, several species of fish collected from three sites within the Tijuana estuary were tested.  Cadmium was found in elevated levels in the sediments of both the Tijuana River and the estuary.  In fishes, only lead was found at levels exceeding the international standard, but did not appear to pose a health risk.  In general, surface sediments were found to contain higher levels of cadmium in the southern portion of the estuary, influenced by renegade sewage spills from Goat Canyon, and in the river.  Lower cadmium levels were detected in the northern arm of the estuary (Oneonta Slough).

In summary, there is a considerable body of evidence that suggests that sewage flows in the Tijuana River have impacted the estuarine flora, fauna, and sediments of the Tijuana estuary; however, quantifying those impacts is difficult.  Lacking baseline data, it is difficult to demonstrate cause and effect relationships.

Indirect measurements, such as water salinity and heavy metal accumulation, point to river-borne sewage as the causative agent.  For example, in a USACE study examining the future treatment of Mexico's sewage (USACE, EPA, IBWC, SWRCB, and City of San Diego 1990), it was determined that daily sampling of sewage inflows may be required to measure events that most affect the estuary.  Daily samples taken from Dairy Mart Road showed high variation between April 13 and May 2, 1990.

Forty-four physical variables, including temperature, were measured with individual values ranging as much as 30 times the mean for the 30-day period.  On one date-April 4, 1990-following a rainfall event of approximately 0.4 inch (1 cm) measured in nearby Chula Vista, high values were measured for aluminum (5.9 mg/l), chromium (0.22 mg/l), copper (0.62 mg/l), iron (74.8 mg/l), lead (0.8 mg/l), manganese (1.72 mg/l), mercury (0.003 mg/l), nickel (0.18 mg/l), silver (0.8 mg/l), zinc (1.68 mg/l), antimony (0.26 mg/l), and cadmium (0.1 mg/l).  Total suspended solids were greater than 12 times the average and chemical oxygen demand was more than 5 times higher than average.

These data suggest that the April 4 event was a major one, with water concentrations more than 28 times the month's average in antimony, 25 times more lead, 18 times more aluminum, and 17 times more iron and zinc.  The potential that there are many one-day events such as this illustrates the difficulty in characterizing the effects of sewage inflows on the system.

Hydraulic Modeling of Flows

The USIBWC and EPA (1995, Appendix X) estimated future sewage flows from Tijuana through the year 2001 using mean 1995 flows as the base year and using a 4.8 percent rate of growth for Tijuana's population.  The focus of that analysis was to estimate future wastewater flow rates from Tijuana and determine how those flows can be conveyed and treated given each interim alternative.

In order to address the impacts on the Tijuana estuary of discharging a given volume of sewage to the Tijuana River, a number of parameters must be estimated or assumed.  These include the amount of time required for a given volume to travel from the point of origin to the estuary; the amount of flow lost to evapotranspiration and groundwater recharge as the sewage flows through the vegetated channel of the river; the timing of the release of the sewage flows; and the tidal condition of the estuary (i.e., high tide versus low tide).

In a simplified example, sewage released from the IWTP would require a certain period of time to reach the estuary.  A certain volume of sewage would be lost to groundwater effects and evapotranspiration (if release occurred during the daytime).  This reduced volume of sewage would reach the estuary where, during an extreme low tide, it would be transported offshore or, during an extreme high tide, retained within the estuary for a given period of time.  It is during the period of retention within the estuary that potentially environmentally damaging effects could occur.

Boyle Engineering (1996) prepared a hydraulics report that predicted travel times for flows of sewage entering the river at the IWTP site and flowing to the estuary via the low-flow channel, currently maintained by the City of San Diego.  Using the USACE HEC-RAS model, Boyle estimated the low-flow travel times for a range of low flows.  The study was based on projections of future wastewater production rates by the city of Tijuana provided by the USIBWC/EPA in their model. Boyle evaluated a worst-case scenario using the high-flow-day values for the years 1996 and 2001, representing present conditions and a conservative estimate of the conditions after which the outfall would become operational, respectively.  The model does not incorporate estimates of evaporation, evapotranspiration, or groundwater effects.

For 1996, travel time from Stewart's Drain to the entry to the estuary (+6 feet MSL) for the highest flow (26.7 cfs [0.8 m3/s]) was 6.0 hours, while that for the lowest flow (2.67 cfs [0.08 m3/s]) was 14.4 hours.  Corresponding travel rates for the highest peak flow rates for 2001 (53.8 cfs [1.5 m3/s]) were 4.6 hours while travel rates for the lowest flow (5.38 cfs [0.2 m3/s]) were 11.6 hours.

The study also included a simple model of the estuary (USACE HEC-1) to simulate the hydraulic effects of sewage flows in the estuary.  The model treated the estuary as a reservoir with an outlet, with sewage inflows included as storage capacity and outgoing tides modeled as dam breaches (Boyle Engineering 1996).  The estuarine model also included 1996 tidal data to project how tides would affect the 1996 sewage flows that were estimated in the HEC-RAS model to reach the estuary.  A best-case and worst-case scenario were analyzed.

The best-case scenario would occur when a very high high tide is followed by a very low low tide.  This would result in a large &quot;reservoir&quot; of water within the estuary to dilute the inflowing sewage and allow for the greatest amount of subsequent tidal flushing.  The worst-case scenario is one in which a low high tide is followed by a high low tide and both are low.  This would result in a small reservoir of estuarine water and greatly reduced tidal flushing.

The model predicted that, under the best-case scenario, essentially all of the sewage inflows would be transported out of the estuary during the seven hours between high and low tide.  Of the 10.7 acre-feet (13,200 m3) representing high-flow-day volumes that entered the estuary in 1996, 10 acre-feet (12,350 m3) exited during the best-case scenario. Similarly, of the 29.33 acre-feet (36,200 m3) entering the estuary in 2001, 24 acre-feet (29,600 m3) would exit during low tide.

The worst-case scenario results in retention of significant volumes of sewage in the estuary over the tidal period.  For the 10.7 acre-feet (13,200 m3) entering the estuary in 1996, 7 acre-feet (8,650 m3) remained after the low tide.  Similarly, of the 29.33 acre-feet (36,200 m3) entering the estuary in 2001, 15 acre-feet (18,500 m3) would remain after low tide.

The retention times calculated using this model suggest that discharging sewage to the Tijuana River as a viable interim solution to the use of the ocean outfall could result in significant deleterious environmental impacts.  Upon examination of 1996 tidal data, the optimal, or best-case, scenarios of a high high tide followed by a low low tide are limited, primarily, to the spring tides of summer and winter.  Tidal fluctuations are dampened during the spring and fall neap tides.  Therefore, any continual discharge of wastewater would have to occur under suboptimal, if not worst-case, conditions.

Retention of up to 7 acre-feet of wastewater over a given tidal cycle complicates the mechanics of tidal exchange on ensuing cycles.  It is possible that the diluted reservoir would remain within the estuary and be transported to tidal creeks and channels, rather than flow out to sea with the next low tide.  As sewage inflows continued through the rising tide, those flows would be added to the volumes retained, resulting in cumulative impacts.  The end result could be a reservoir that, once diluted, does not return to the undiluted state.

Indeed, the data collected by Zedler et al. (1995) suggest that long-term retention of wastewater currently occurs at the Tijuana estuary, with reduced salinities measured at the extreme northern end of Oneonta Slough.  Continued long-term retention from the proposed interim discharge alternatives may result in community shifts similar to those discussed in Chapter 3.4.  For example, Nordby and Zedler (1991) suggested that a prolonged discharge of between 5 and 20 mgd (219-876 lps) of untreated sewage during the period of September 1986-March 1987 resulted in the shift of dominant estuarine fishes to short-lived species with protracted spawning seasons and rapid rates of maturity.  The projected 1996 eight-hour average of 10.47 mgd (459 lps) falls within that range.

Both the HEC-RAS and HEC-1 models illustrate the complexities in attempting to &quot;pulse&quot; discharges to reduce impacts to estuarine resources.  This technique has been proposed for other projects resulting in artificial increases in freshwater discharge to southern California streams and estuaries, specifically &quot;live stream&quot; discharge of treated effluent.  Pulsed discharge, in its simplest form, would involve storage and timed release of effluent so that discharges would reach the estuary at low tide and flow, unhindered by the tides, out to the ocean.  As illustrated in the HEC-RAS model, the discharge of sewage at the highest 1996 hourly rate of 26.74 cfs (0.8 m3/s) requires six hours transit time to the estuary.  Except on dates that approximate the best-case scenario, this period exceeds the time between outgoing low tide and incoming high tide.  Release of sewage at lower rates would require a longer transit time.

Alternative 1: No Action

Impacts

USIBWC/EPA predict a seasonal high discharge to the Tijuana River of 9.52 mgd (417 lps) of wastewater by the year 2001 with no action taken to correct the current condition.  Peak hourly flows would double from 1996 to 2001 (26.74 cfs to 53.84 cfs).  Transit time from the IWTP to the estuary would decrease with increased flows; however, tidal conditions would preclude efficient discharge to the ocean, except on a few seasonal days with optimal tides.  Prolonged exposure to freshwater and sewage constituents would likely continue the impacts to biological resources documented in previous studies of the estuary.

Significance of Impacts

Impacts to the Tijuana River estuary would be significant and adverse.  Dry-weather sewage-contaminated flows would result in elevated pollutant loadings, eutrophication, and the reduction of salinity levels which could cause substantial adverse impacts. Mitigation

No mitigation measures are available for the No Action alternative to EPA and USIBWC.

Alternative 2: Operate IWTP

Impacts

The USIBWC/EPA model predicts the mean daily discharge of 0.6 mgd (26 lps) of treated wastewater to the Tijuana River beginning in 1998, rising to 3.6 mgd (158 lps) average flows and 7.5 mgd (329 lps) seasonal peak flows by 2001 The discharge of average flows would be year-round, while the seasonal high flows would occur during wet-weather periods when there would probably be seasonal or flood flows in the river.

Discharge of 0.6 mgd to 3.6 mgd (26-158 lps) of dry-season flows of treated effluent would have impacts to the estuary due primarily to nutrient loads.  These flow volumes could induce eutrophication; and the seasonal high flows could reduce salinity levels and cause pollutant loadings that would affect species composition or abundance relative to current conditions. As with the No Action alternative, prolonged exposure to freshwater and sewage constituents would likely continue or exacerbate the shifts in estuarine plants and animal communities documented in recent studies.  These flow rates would require approximately nine and eight hours transit time to reach the estuary, respectively, a time period that exceeds even the most optimal window for pulsed discharge.

Significance of Impacts

Impacts under this alternative are substantially reduced from those anticipated under the No Action alternative. However, any discharge to the estuary of a point source that does not meet the receiving waters standards would be a significant impact. Mitigation

If treated effluent is routinely discharged during dry weather to the Tijuana River, a monitoring program will be undertaken.  The program will monitor changes in water quality using indirect indicators of water source and sewage contamination.  These include salinity, dissolved oxygen, temperature, and coliform bacteria.  The monitoring will be conducted using automatic data loggers, hand-held salinity, dissolved oxygen and temperature meters, and standard methods for the examination of water and wastewater.  The monitoring program will be initiated prior to discharge of the effluent and will continue through the period that effluent is discharged to the Tijuana River.  Reports of the monitoring will be provided to the RWQCB, Tijuana River National Estuarine Research Reserve, and EPA.

Operate IWTP with Detention Basin

Impacts

Incorporating a 5.5 million gallon (20,900 m3) detention basin into the project design results in no discharges of treated effluent to the Tijuana River during average flow days through the year 2001. A discharge of 0.6 mgd (26.3 lps) to 2.0 mgd (88.5 lps) could occur on seasonal high peak flow days in 2001. Transit time for 0.66 mgd to reach the estuary is approximately 15 hours, which would overlap with the following day's peak flows and resultant discharges.  Therefore, a nearly constant volume of wastewater would flow in the river.

Operation of the detention basin would reduce impacts to the estuary relative to the No Action and Operate IWTP alternatives. Under average day conditions, no flows are anticipated.  However, during seasonal high flows, retention of wastewater in the estuary would continue to impact biological resources as previously documented, though the volume of flow would be substantially reduced.  Because these flows are more likely to be encountered during the wet-weather season, the flows may be mixed with other flows in the river from runoff.

Significance of Impacts

Impacts to the estuary from this alternative are not substantially different from current conditions and are well below forecasts for the No Action and Operate IWTP alternatives.  While the only discharges expected to occur would be during the wet-weather season and may be mixed with other runoff, any discharge to the estuary of a point source that does not meet the receiving waters standards would be a significant impact.

Mitigation

If treated effluent is routinely discharged during dry weather to the Tijuana River, a monitoring program will be undertaken as described for the Operate IWTP alternative.  If, however, the only discharges that would occur are during the wet-weather season and are mixed with other flows, a monitoring program for the effluent discharge would not be practical.

If required, the monitoring program will be initiated prior to discharge of the effluent and will continue through the period that effluent is discharged to the Tijuana River.  Reports of the monitoring will be provided to the RWQCB, Tijuana River National Estuarine Research Reserve, and EPA.

Alternative 4: Operate IWTP with New Conveyance to Mexico

Impacts

Constructing and operating a 50 mgd (2,190 lps) parallel pipeline and pump station would eliminate the need to discharge treated or untreated flows to the Tijuana River.  Therefore, there would be no direct impacts to the estuary under this alternative. Significance of Impacts

No significant adverse impacts to the estuary would result from this alternative.

Mitigation

No mitigation measures for impacts to the estuary would be necessary. Operate IWTP with Discharge to SBOO

Impacts

Operating the IWTP and discharging treated effluent to the Pacific Ocean via the South Bay Ocean Outfall would eliminate the need to discharge to the Tijuana River.  Therefore, as with Alternative 4, no direct impacts to the estuary would result under this alternative. Significance of Impacts

No significant adverse impacts to the estuary would result from this alternative.

Mitigation

No mitigation measures for impacts to the estuary would be necessary. Marine Biology

Dry-weather flows of sewage in the river have occurred for many years and were chronic between 1980 and 1993 at approximately the flow volumes projected for the No Action alternative (up to 9.6 mgd [420 lps]).  Thus, existing conditions reflect the impacts of sewage discharges to the nearshore environment.  None of the alternatives evaluated below would eliminate sewage-contaminated flows in the river during the wet-weather season or floods, and residual contamination of the nearshore environment could continue, regardless of the alternative chosen.

Alternative 1: No Action

Impacts

Under the No Action alternative, the IWTP would not be operated until the ocean outfall is complete and would only discharge effluent treated to secondary standards.  During the interim period, dry-weather flows of untreated sewage in the Tijuana River would increase, up to 5.6 mgd (245 lps) average daily flow and 9.5 mgd (420 lps) seasonal high daily flow.  This flow of untreated sewage adversely affects the estuary and nearshore ocean environment.

Increases in sewage flows would also result in increases in the volume of untreated sewage discharged at the shoreline in Mexico 5.6 miles (9 km) south of the international border.  These untreated flows would increase up to 23 mgd (1,007 lps) by 2001 if no action is taken.

Intertidal Communities

Beaches adjacent to the Tijuana River mouth and along the Mexican shoreline may experience organic enrichment.  This should not impact sandy shores, but rocky shoreline communities may shift toward less species diversity and greater seasonal fluctuation (Littler and Murray 1975, Murray and Littler 1978).

Studies on sandy and rocky shores have focused on the immediate zone of the discharge and have not evaluated low-level chronic exposure.  Algae may actually be enhanced by low levels of nutrients, but organisms such as mussels may accumulate toxins and bacteria and become a hazard to human health if consumed.

Benthic Communities

As with the sandy intertidal communities, benthic organisms in the nearshore zone may respond to gradually increasing organic loading with a shift in community dominants.  However, little is known of these communities in the South Bay area.  Sampling of the benthos has been conducted at depths as shallow as 39 ft (12 m), but effects of concentrations of nutrients and suspended materials should be widely dispersed through the surf zone, with little making its way to deeper waters.

Kelp Beds

The Imperial Beach kelp beds are not anticipated to be affected by discharges into the Tijuana River and Mexico. The greatest impact would be from turbidity, which reduces water transparency and, therefore, photosynthesis.  Settling of suspended material on kelp fronds would have the same effect.  The decline of the Palos Verdes kelp beds during the 1960s has been partially attributed to the inshore accumulation of wastewater solids from the Palos Verdes outfalls (Mearns et al. 1977).  Longshore currents would carry the Tijuana River sewage flows upcoast, toward the kelp beds.  However, the river discharge is anticipated to be dispersed in the surf zone.  The shoreline discharge in Mexico is distant enough from the kelp bed that impacts are unlikely.

Fish Populations

Fish populations in the estuary may be significantly affected by the sewage contamination and lowered salinity levels.  It is unlikely that the pelagic or demersal fish community would be substantially affected by the untreated river and shore discharges due to the dispersion of pollutants prior to reaching deeper waters.

Plankton Community

It is unlikely that the ocean plankton community would be affected by the river and shore discharges due to the dispersion of pollutants prior to reaching deeper waters.

Marine Mammals

The discharges resulting from this alternative are not anticipated to have significant effects on marine mammals, as they are mobile and not usually found in the vicinity of these discharges.  The main concern would be uptake of chlorinated hydrocarbons or metals such as mercury from prey species of fish or crustaceans.  These effects would be localized around the points of discharge. Marine Birds

Shorebirds could be affected if intertidal prey organisms were influenced, either negatively or positively.  If populations of intertidal organisms were depressed by the Tijuana River and Mexican shoreline discharges, prey availability would be lowered.  If these populations were increased due to the discharges, the result would be beneficial to shorebirds.  However, if these increases were accompanied by increases in tissue burdens of contaminants, the shorebirds would be negatively affected.

Significance of Impacts

Significant and adverse marine biological impacts are assessed for the No Action alternative due to the continued and increasing amount of sewage from Tijuana polluting waters (including the Tijuana River, estuary, and Pacific Ocean) and beaches in the United States.  The effects of these discharges are already reflected in existing conditions, however, due to the preceding years of chronic flows of sewage, and any changes due to the increases in volume of flow would be incremental.

Mitigation

Under the No Project alternative, mitigation is not available. Alternative 2: Operate IWTP

Impacts

Under this alternative, in 1997 the IWTP will be operational and could provide advanced primary treatment for 25 mgd (1,095 lps) average and 75 mgd (3,285 lps) peak flows.  During this interim period, any flows diverted to the IWTP would be treated and discharged to the emergency connection.  If capacity is not available, the treated effluent would be discharged to the Tijuana River.

It is projected that the effluent flow volumes to the Tijuana River would be 3.6 mgd (158 lps) average and 7.5 mgd (328 lps) seasonal high daily flow by the year 2001.  However, the discharge would be advanced primary effluent.  Treated effluent has significantly reduced concentrations of BOD, solids, and some inorganic constituents.  Coupled with the additional aeration during the travel time downriver, filtering and sorbing of constituents by plants and sediments, and reduction in solids by detention in the estuary, the quality of the effluent would be enhanced relative to untreated sewage flows.

Intertidal or benthic communities, fish, or shorebirds around the mouth of the Tijuana River may still be adversely affected by the effluent discharge.  These effects are anticipated to be localized and would not adversely affect the Imperial Beach kelp bed north of the river.

The flows of untreated sewage discharged in Mexico would be the same as for the No Action alternative.  The effects of this discharge are substantially adverse in Mexican waters, and some residual impacts are anticipated in U.S. waters between the international border and the Tijuana River.

Significance of Impacts

The discharge of treated effluent as opposed to untreated sewage during the dry-weather season would reduce impacts to the intertidal and benthic communities, fish, and shorebirds around the mouth of the Tijuana River.  Impacts are anticipated to be beneficial relative to the No Action alternative.  Localized adverse impacts to intertidal and benthic communities, fish, and shorebirds around the mouth of the Tijuana River would remain, however.  Impacts along the coastline in Mexico would be substantially adverse and the same as for the No Action alternative.

Mitigation

No mitigation measures are necessary for the effects to marine biota from the discharge of treated effluent to the Tijuana River.  Mitigation is not available for the residual effects of the discharges in Mexico on the intertidal and benthic communities, as well as shorebirds. These existing effects are considered significant and unmitigated.

Alternative 3: Operate IWTP with Detention Basin

Impacts

The IWTP would be operated as an advanced primary plant, as in the Operate IWTP alternative.  A 5.5 million gallon (20,900 m3) earthen detention basin would be constructed at the IWTP site to provide flow equalization for diurnal and wet-weather peak flows. Treated flows would be stored within the detention basin to be released to the emergency connection during off-peak hours.  If the capacity of the Mexican system, emergency connection and detention basin would be exceeded, then the excess treated flows would be discharged to the Tijuana River in the U.S.

It is projected that no treated effluent would be discharged on average dry-weather flow days and that treated effluent discharges to the Tijuana River would only occur during seasonal high flow days after the year 2000.  These flows would be less than 2.0 mgd (88 lps). However, the flows of untreated sewage discharged at the shoreline in Mexico would be the same as for the No Action and Operate IWTP alternatives.

Impacts would be further reduced compared to the Operate IWTP alternative, since the treated flows discharged to the river under this alternative would only occur during the wet-weather season and would be reduced in volume.  The magnitude of the impacts is not considered significant to intertidal or benthic communities, the Imperial Beach kelp bed, fish communities, marine mammals, or shorebirds.

The flow of raw sewage discharged in Mexico would be the same as with the No Action and Operate IWTP alternatives.  Therefore, the impacts to the shoreline and nearshore environment would be the same as for the No Action and Operate IWTP alternatives. Significance of Impacts

No significant adverse impacts to the intertidal and benthic communities, kelp beds, fish, marine mammals, or shorebirds would result from the discharge to the Tijuana River under this alternative.  The impact would be beneficial relative to existing conditions.  Impacts from discharges of untreated sewage to the shoreline in Mexico would continue and are considered adverse.

Mitigation

Mitigation for the effects of ongoing discharges of untreated effluent in Mexico under this alternative is the responsibility of Mexico.

Alternative 4: Operate IWTP with New Conveyance to Mexico

Impacts

A new pumping and conveyance system would be constructed by Mexico as a parallel backup facility for the existing Mexican conveyance system, with a capacity of 50 mgd (2,150 lps), to convey flows from Pump Station One to the discharge point in Mexico. During the interim period, the IWTP would treat flows up to 25 mgd (1,095 lps) from Tijuana.  Once treated, the effluent would be sent to Tijuana via the new pump station and conveyance pipeline for discharge in Mexico, near the San Antonio de los Buenos treatment plant.  The existing pumping and conveyance system to the treatment works in San Antonio de los Buenos would continue to operate.

Under this scenario, no flows would be discharged to the Tijuana River; the discharge of treated effluent from the San Antonio de los Buenos treatment plant would be unchanged at 17 mgd (745 lps); and an additional 25 mgd (1,095 lps) of advanced primary effluent from the IWTP would be discharged at the shoreline in Mexico.

The discharge of untreated effluent to the shoreline in Mexico could be substantially reduced.  If the emergency connection continues to be used, only 2.3 mgd (101 lps) of untreated sewage would be discharged on an average flow day in the year 2001, with up to 4.6 mgd (201 lps) on seasonal high flow days.  If the emergency connection is not used, the volume of untreated sewage discharged in Mexico would be 9.6 mgd (420 lps) and 12.0 mgd (526  lps) on seasonal high flow days, respectively.

No adverse impacts would result from this alternative to intertidal or benthic communities, plankton, the Imperial Beach kelp beds, fishes, marine mammals, or shorebirds in U.S. ocean waters.

Impacts to the beaches and coastline in Mexico would be reduced relative to other alternatives.  The flow of raw sewage would be significantly less than would occur with the first three alternatives.  However, the flow of advanced primary effluent discharged at Punta Banderas would be greater than with the first three alternative.  The treated effluent would travel along the coastline and receive dilutions of up to 1,000:1 prior to entering U.S. waters.  This dilution should be sufficient to lower concentrations of suspended solids, organic and inorganic constituents, and dissolved oxygen.  However, the Parsons Engineering Science modeling suggested that PAH concentrations may exceed Ocean Plan standards in U.S. waters. The localized effects around the discharge point in Mexico would continue to be adverse to intertidal and benthic communities and shorebirds, however.

Significance of Impacts

No significant impacts would occur in the vicinity of the Tijuana River mouth.  No significant impacts are anticipated to occur to marine life in U.S. waters.  There is a potential for PAH concentrations to exceed Ocean Plan standards, however, which could have an adverse effect on marine organisms.  Impacts to the intertidal and benthic communities, as well as shorebirds in Mexico would be reduced, but localized impacts around the point of discharge from treated effluent would be significant.

Mitigation

No mitigation is required for U.S. marine waters.

Mitigation for impacts to marine life in Mexico from the discharge of untreated effluent is the responsibility of Mexico.  Mexico has committed to an industrial source pretreatment and source reduction program, which could reduce the concentrations of PAHs in their effluent.

Alternative 5: Operate IWTP with Discharge to SBOO

Impacts

The SBOO is currently under construction and is expected to be completed in 1998.  Once completed, 25 mgd (1,095 lps) of advanced primary effluent from the IWTP could be discharged to the ocean approximately 3.5 miles (5.7 km) offshore in 87 feet (26.5 m.) of water.  No discharge to the Tijuana River or through the emergency connection would occur.

The discharge of treated effluent in Mexico would be unchanged, and the discharge of untreated sewage would be reduced as for Alternative 4. This untreated discharge is substantially below the flow forecast volumes for the other alternatives.

The area surrounding the SBOO discharge is sandy bottom and characterized by benthic communities of filter feeders and deposit feeders.  With the outfall discharge, there is an increase in deposition of organic solids which tends to shift the benthic community towards species that feed on detritus on and in the sediments.

Assuming a mass emission of 3,000 metric tons/year of suspended solids (80% organic) for a discharge of 25 mgd (1,095 lps) of advanced primary effluent, the affected area of benthos around the outfall would be approximately 135 acres (54.6 ha) (Word and Mearns 1979). This area is less than the total area of approximately 175 acres (71.1 ha) that was estimated to be affected in the FEIS for the SBOO from discharge of 181 mgd (7,928 lps) of secondary effluent, which was not considered a significant impact.

Detectable elevations in BOD, chemical oxygen demand, trace metals, and chlorinated hydrocarbons may be expected in these sediments, extended in a longshore elliptical pattern from the diffuser based upon prevailing currents.  The diffuser is in relatively shallow water where waves can induce resuspension and current transport is more prevalent than further offshore.

Parsons Engineering Science modeled the discharge dispersion and settling.  The dilution of the effluent beyond the zone of initial dilution is anticipated to meet the California Ocean Plan standards.  Their study results showed that the effects of trapping at approximately 49-foot (15 m) water depths due to seawater density would limit the dispersed effluent from reaching the shoreline most of the year.  When trapping breaks down, due to storm turbulence or other factors, the dilutions of the effluent are at least 5,000:1 at the surface above the discharge and over 20,000:1 away from the discharge.  The dilutions are sufficient such that bacterial, organic, or inorganic contaminants are not an issue.

Intertidal Communities

The offshore discharge, three miles from shore, would result in no impacts to the beaches adjacent to the Tijuana River mouth.

Impacts to the beaches adjacent to the shoreline discharge in Mexico would be similar to those discussed above under Alternative 4.  The magnitude of the impacts to the beaches adjacent to the discharge point in Mexico are anticipated to be less than would occur for the first three alternatives and localized around the point of discharge.

Benthic Communities

Benthic communities around the outfall discharge will experience greater sedimentation, organic loading, and turbulence.

During the three-year period in which the Encina Water Pollution Control Facility discharged advanced primary treated effluent at up to 22 mgd, little effect was observed on the benthic infaunal community (MEC 1992).  Suspended solids, BOD, and ammonia increased, and dissolved oxygen decreased near the outfall.  Some groups of organisms (polychaete worms and crustaceans) were more abundant or diverse near the outfall, and Amphiodia was significantly less abundant, but other groups such as mollusks were not affected.

The most apparent response of benthic communities to wastewater discharge is a shift from dominance by suspension-feeding species to dominance by abundant deposit-feeding species.

Generally, species abundance and biomass increase near the outfall while species richness and diversity are not substantially affected.  The infaunal trophic index also declines, reflecting the shift in feeding strategies.  Low index values have been shown to correlate with high BOD at several southern California wastewater discharges.  Some of these community changes may occur at the South Bay outfall, depending on mass emissions and dispersion.  Maps of projected dilution ratios suggest that the depositional footprint will be long-coast north and south of the discharge, with little inshore or offshore movement. Benthic infauna would be altered only in the immediate vicinity  (135 acres [54.6 ha]) of  the discharge.

Impacts adjacent to the shoreline discharges in Mexico would be similar to those discussed above under the Operate IWTP with New Conveyance to Mexico alternative.

Kelp Beds

The kelp beds are unlikely to be affected by the offshore discharge, more than two miles away.  Although a larger volume than the river discharges, this effluent is expected to be dispersed north and south of the discharge, with little inshore component.  At present, a kelp bed exists at the Point Loma outfall.  Data suggest that the Point Loma discharge has not degraded the kelp beds in that area.  Therefore, impacts from the South Bay outfall would be unlikely.

Fish Populations

Studies of fish populations around outfalls have shown that some fish and invertebrates are more abundant around outfall sites, while other species are less abundant (Mearns and Young 1983).  The most notable differences were the low numbers of young-of-the-year at outfall sites compared to control sites.  At small discharges, no differences were distinguishable.  Overall, the effects appear to be limited and not as easily documented as for the benthic infauna.

Fin erosion is the only disease conclusively linked to wastewater discharges.  The precise cause of the disease is unknown, but high sediment and tissue concentrations of PCBs and contact with highly contaminated bottom sediment (as with flatfish) appear to be required.  At some locations off Palos Verdes, fish tissues exceed the USDA standard for DDT and are unfit for human consumption (Mearns and Sherwood 1977).

Bioaccumulation of chlorinated hydrocarbons in fish collected in the Southern California Bight is highest near Los Angeles and declines dramatically away from Los Angeles.  Representative fish collected near Point Loma had body burdens one to two orders of magnitude lower than found around the Palos Verde and Hyperion Los Angeles wastewater outfalls.  Scorpionfish, which were the most common species noted along the SBOO alignment, also had lower body burdens along San Elijo Lagoon and Ensenada, B.C., Mexico (Kinnetic 1991).

Demersal fish, living in close contact with the sediment along sandy bottoms and reef habitats, are more localized in their movements and most likely to be affected by ocean disposal of wastewater.  In areas surrounding the SBOO wastewater discharge, species such as croaker, sculpin, scorpionfish, turbot, sole, and sanddabs may be in regular contact with particulates that settle to the bottom.  Pelagic species (e.g., mackerel and smelt), which feed on water column particulates, have been observed to congregate around discharges; and reef-associating species, such as surf perch, sand bass, and rockfish, may be attracted to the physical structures of the seafloor pipeline and rock ballast.

Fish taken at the Encina Water Pollution Control Facility are similar to those in the South Bay (MEC 1992).  During the period of advanced primary treatment, no spatial or temporal trends in the fish community composition or fish tissue contaminants were observed relative to the outfall.

Most of the fish taken in 1995 in trawl surveys at the outfall depth were flatfish (speckled sanddab, longfin sanddab, English sole).  These fish would be most susceptible to contaminants occurring on the sediment surface.  However, these species would unlikely be prey for birds and mammals, reducing the probability of bioaccumulation through the food chain.

Pelagic species which may school around the turbulent zone of the discharge would be more likely to contribute to contamination through the food web.  The decline in California brown pelican populations has been attributed to eggshell thinning caused by tissue accumulations of DDT.  Coastal cetaceans such as bottlenose dolphins have also been found to have high levels of DDT and PCBs, which have been suggested as the cause of death but so far have not been confirmed.

At discharge rates high enough to contaminate fish, effects of the discharge would be considered adverse and significant.  However, the magnitude of the proposed discharge would be unlikely to have an effect or, therefore, to be significant.

It is unlikely that the fish community would be significantly affected by the shoreline discharges in Mexico due to the reduction in the volume of discharge and the dispersion of pollutants prior to reaching deeper waters.  Parsons Engineering Science modeling found that dilutions of 1000:1 would typically occur in the nearshore zone and would increase in deeper waters offshore.  Additionally, the discharges of untreated sewage at Punta Banderas would be less than would occur with the first three alternatives.

Plankton Community

Several studies have confirmed that the plankton community has responded to some of the larger wastewater discharges (Mearns and Young 1983).  Evidence suggests that nutrients were entering the mixing layer and contributing to plankton growth.  Consistently higher phytoplankton standing crops and productivity were found in Santa Monica Bay than at other equivalent sites (Eppley et al. 1978).  Attempts to determine responses of fish populations to this potential resource increase have been inconclusive.  Under conditions of high turbidity, phytoplankton populations would be depressed.

This alternative, with nutrients discharged at greater volumes in a localized area, could enhance phytoplankton productivity and potentially zooplankton populations also.  Therefore, this alternative would have a beneficial but negligible impact on the plankton community.

It is unlikely that the plankton community would be affected by the shore discharges in Mexico due to the dispersion of pollutants prior to reaching deeper waters.  Additionally, the discharges of untreated sewage in Mexico would be less than would occur with the first three alternatives.

Marine Mammals

The potential for biomagnification of chlorinated hydrocarbons discharged through the outfall would suggest that marine mammals, especially dolphins which feed on fish, might be affected by the discharge of additional contaminants into South Bay.  The area within which these constituents might be bioaccumulated by benthic organisms and consumed by demersal or pelagic fish is very limited, however, and the potential significance of this effect for a 25 mgd (1,095 lps) discharge is considered insignificant.  It is unlikely that gray whales, other large whales, or pinnipeds would be affected.  Therefore, the potential, although small, exists for negative impacts to some marine mammals.

The discharges in Mexico resulting from this alternative would have little potential for adverse effect on marine mammals, as they are not usually found in the vicinity of these discharges.

Marine Birds

Shorebirds in the vicinity of the Tijuana River mouth would not be affected by the outfall.  Marine birds, on the other hand, could potentially be impacted by the offshore outfall.  If pelagic fish such as anchovies were to experience increased body burdens of chlorinated hydrocarbon contaminants, these could be passed on to surface-feeding birds such as California brown pelicans, California least terns, elegant terns, and gulls.  However, these species are unlikely to be impacted to any significant degree, based on the anticipated dilution of the discharge and the low potential for biomagnification.

Potential impacts at the discharge point in Mexico would be similar to those discussed for Alternative 4. The discharges of untreated sewage would be less than would occur with the first three alternatives. Significance of Impacts

In U.S. waters, impacts to the intertidal and benthic communities, fish, and marine mammals due to discharges from the ocean outfall would not be significant.

Impacts to the intertidal and benthic communities, as well as shorebirds in Mexico, are adverse and potentially significant.  However, the magnitude of these impacts is anticipated to be less than would occur for the first three alternatives due to the reduced flows of untreated sewage discharged to the shoreline.  This is a beneficial impact relative to existing or future conditions under the No Action alternative.

Mitigation

Mitigation for impacts to marine life in U.S. waters is not necessary for this alternative.  The effects of the discharges from the ocean outfall on the benthic communities and marine mammals are not anticipated to be significantly adverse.

As part of the NPDES permit for the outfall discharge, a comprehensive baseline monitoring program has been initiated and will continue during the period of the interim discharge.  This program will monitor sediments, benthos, water quality, fish, and the Imperial Beach kelp bed.  If significant changes were to occur, the monitoring program would identify problems and the discharge would be required to be modified to conform to the Ocean Plan or other requirements.

Mitigation for impacts to marine life in Mexico from discharges of untreated effluent are the responsibility of Mexico.

Geological Resources

The geology of the ocean floor in the vicinity of the ocean outfall was studied in engineering reports prepared by Engineering Science and Woodward-Clyde consultants entitled South Bay Ocean Outfall, Basis of Design Report (1991) and Conceptual Design Reports (1992a, 1993).  The prior EIS for the IWTP and SBOO considered geotechnical hazards, including seismic events, in the siting, construction, and operation of the facilities.

The potential for seismic-related impacts to the ocean outfall include damage from fault rupture, seismic ground shaking, seafloor instability, liquefiable soils surrounding the outfall pipe, and wave-induced liquefaction. Each of these potential impacts are described below as they pertain to each alternative.

Alternative 1: No Action

Impacts

Impacts under this scenario were evaluated in the FEIS for the IBWC International Wastewater Treatment Plant and Outfall Facilities (February 1994).  Thus, no additional impacts from geologic constraints that were not already evaluated would result if the No Action alternative is implemented.

Significance of Impacts

Since no actions not already evaluated would be taken under this alternative, no new significant geological impacts would occur. Mitigation

Under the No Action alternative, mitigation is not applicable. Alternative 2: Operate IWTP

Impacts

Under this alternative, in 1997 the IWTP will be operational and could provide advanced primary treatment for 25 mgd (1,095 lps) average flows.  The ocean outfall connection would not be completed until 1999, so during this interim two-year period, any flows diverted to the IWTP would be treated and stored and discharged to the emergency connection. If no capacity is otherwise available, the treated effluent would be discharged to the Tijuana River.  Potential impacts to the existing emergency connection and Pump Station One were evaluated in the FEIS for the IBWC International Wastewater Treatment Plant and Outfall Facilities (February 1994).  Thus, no additional impacts from geologic constraints that were not already evaluated would result if the interim operation alternative is implemented.  Discharges of advanced primary treated effluent to the Tijuana River have no geologic constraints.

Significance of Impacts

Since no actions not already evaluated or new actions not constrained by geologic resources would be taken under this alternative, no new significant geological impacts would occur.

Mitigation

No additional mitigation, beyond that already committed to as described in the prior EIS, is necessary.

Alternative 3: Operate IWTP with Detention Basin

Impacts

The IWTP would be operated as an advanced primary plant, as in the Operate IWTP alternative.  A 5.5 million gallon (20,900 m3) earthen detention basin(s) would be constructed at the IWTP site (Dairy Mart Road) to provide flow equalization for diurnal and wet-weather peak flows. Treated flows would be stored within the detention basin to be released to the emergency connection during off-peak hours.  If the capacity of the Mexican system, emergency connection, and detention basin would be exceeded, then the excess treated flows would be discharged to the Tijuana River in the U.S.

Geologic conditions at the Dairy Mart Road project site are evaluated in the FEIS for the IBWC International Wastewater Treatment Plant and Outfall Facilities (February 1994).  The on-site geologic and seismic hazards include potentially compressible on-site topsoils not suitable for the support of proposed fill or building loads; a potential for landslides on the southern portion of the site; fault traces mapped near the site which are not considered active; and potential for ground shaking from an earthquake on a regionally active fault that could affect on-site structures.

Since the mapped fault traces are not considered active, the potential for surface rupture (ground breakage along fault traces) is low.

A maximum probable earthquake of a 6.5 magnitude on the Coronado Bank fault zone may produce a horizontal peak ground acceleration of 0.18 g at the Dairy Mart Road site.  A maximum probable earthquake of 7.0 magnitude on the less seismically active Rose Canyon fault may produce a horizontal peak ground acceleration of 0.25 g on the site.

Significance of Impacts

The IWTP is currently under construction; landslide-prone formations have been considered in its construction.  Nevertheless, the existence of compressible soils and expansive clays could significantly impact construction activities of the earthen detention basin at the IWTP site.

Mitigation

Implementation of the mitigation measures identified for Alternative 2 of the FEIS for the IBWC International Wastewater Treatment Plant and Outfall Facilities (February 1994) and established by the ROD will reduce geologic impacts to the proposed earthen detention basin at the IWTP site to below a level of significance. Design measures for the proposed detention basin that would reduce potential geologic impacts to below a level of significance include the following:

Perform site-specific geotechnical investigations (including subsurface exploration, slope instability calculations, laboratory testing of representative soil samples, and geotechnical analysis) prior to construction to determine soil characteristics, thickness, and distribution and to develop appropriate soil engineering parameters for the proposed facilities.

Perform fault evaluation studies of mapped fault traces in order to confirm fault locations and activities.  In addition, a geologist shall observe excavations during construction to detect the presence of unmapped traces in the general vicinity of mapped fault traces.

Alternative 4: Operate IWTP with New Conveyance to Mexico

Impacts

A new pumping and conveyance system would be constructed by Mexico as a parallel backup facility for the existing Mexican conveyance system, with a capacity of 50 mgd (2,150 lps), to convey flows from Pump Station One to the discharge point in Mexico. During the interim period, the IWTP would treat average dry-weather flows up to 25 mgd (1,095 lps) from Tijuana.  Once treated, the effluent would be sent to Tijuana via the new pump station and conveyance pipeline for discharge in Mexico, near the San Antonio de los Buenos treatment plant.  The existing pumping and conveyance system to the treatment works in San Antonio de los Buenos would continue to operate.

Portions of the proposed Mexican conveyance system traverse areas with mapped fault traces. Potential impacts of ground shaking with velocities similar to those expected at the IWTP and SBLO could result (0.25 g).  Substantial movement could rupture or damage pipelines to such an extent that they become unusable.

Grading of hillsides for pipeline construction could result in sedimentation and erosion impacts in north-facing canyons draining towards the U.S.

Significance of Impacts

The proposed Mexican conveyance system would be subject to seismic ground shaking, which is considered a potential geologic impact. Mitigation

Mexico will conduct design review of the pipeline and pump station as part of its environmental impact assessment and to their construction standards.  This design should anticipate the effects of ground shaking and incorporate measures to minimize the risk of failure during seismic events.

If construction of the pipeline in any north-draining canyons is undertaken during the rainy season, Mexico should incorporate erosion controls during any grading to prevent erosion impacts into the U.S.

Alternative 5: Operate IWTP with Discharge to SBOO

Impacts

The South Bay Ocean Outfall is currently under construction and is expected to be completed in 1998.  Once completed, an average of 25 mgd (1,095 lps) of advanced primary effluent from the IWTP would be discharged to the ocean.  No discharge to the Tijuana River or through the emergency connection would be necessary.  Discharge of advanced primary effluent to the ocean is discussed in Chapter 4.2, oceanographic impacts, of this SEIS.

The SBOO tunnel will be excavated through the consolidated sediments of the San Diego Formation underlying the unconsolidated sediments along the ocean floor.  Special problems with differential settlement may develop at the bend structure, the wye structure, and at any point where the thickness of the underlying sediment changes abruptly, such as at the wall of the buried paleochannel.

A review of the proposed alignment reveals at least eleven (11) active fault crossings offshore from the beach.  Depending upon its starting point, a tunnel outfall will cross an additional two or three north-trending faults between the Border Highlands and the coast, although these faults may not have been active in the last 11,000 years (Holocene age).

For conceptual design, it should be assumed that each fault crossed by the alignment and mapped as &quot;potentially active&quot; is capable of fault displacements averaging between 0.8 to 2.5 feet (0.24-0.76 m) in either horizontal or vertical direction.  The possible maximum displacement estimate is 8.2 feet (2.5 m) for a 31-mile-long (49.9 km) fault rupture.

The potential for the outfall to move during a seismic event exists. The pipeline would be constructed with a flexible steel sleeve to allow seismic-induced motion without rupture.  These potential geologic impacts are evaluated and appropriate mitigation measures recommended in the FEIS for the IBWC International Wastewater Treatment Plant and Outfall Facilities (February 1994) and established by the ROD.

Significance of Impacts

The potential for the outfall to move during a seismic event has been evaluated in the 1994 FEIS and the outfall tunnel design includes the construction of steel sleeves in crossing faults to reduce potential seismic impacts to a level below signifiicance.  No new significant geologic impacts are anticipated due to implementation of this alternative.

Mitigation

No mitigation is required other than the tunneling of the SBOO and the inclusion of steel sleeves in the tunnel where it crosses existing mapped faults.

Public Health

This section evaluates impacts from vectors for each of the alternatives.  The issue of pathogens as human health risks is evaluated in Section 4.1, Hydrology and Water Quality, and Section 4.2, Oceanography.  These evaluations are based upon modeling of coliform concentrations from discharges at the shoreline in Mexico and the SBOO.  Discharges of untreated and treated effluent to the Tijuana River are included.

Operation of the IWTP also involves use of hazardous substances for the plant's treatment processes.  This issue was evaluated in the prior EIS for the IWTP.  No additional chemicals or risks from hazardous substances are anticipated for the interim operations period.

Alternative 1: No Action

Impacts

Under the No Action alternative, the IWTP would not be operated until the ocean outfall is complete and would only discharge effluent treated to secondary standards.  Impacts under this scenario were evaluated in the FEIS for the IBWC International Wastewater Treatment Plant and Outfall Facilities (February 1994).

The Tijuana River valley would receive dry-weather sewage flows from Mexico which could result in ponding of surface water in the river low-flow channel. The presence of dry-weather flows historically has caused a mosquito- and vector-borne disease potential. Implementation of this alternative would result in contamination of the valley, ponded areas where mosquito breeding is unchecked due to inaccessibility for mosquito control measures, and reduced survival of mosquito-eating fish which cannot tolerate the sewage-laden water.

Significance of Impacts

The potential for significant impacts to public health due to mosquito breeding would exist as the sewage flows from Tijuana increase and chronic dry-weather flows occur in the river.  Public beaches could be quarantined.

Mitigation

In coordination with the County of San Diego, dry-weather flows to the river should be monitored to ensure that no ponding of effluent occurs that could provide breeding areas for mosquitoes.  If ponding does occur, the area should be drained or modified to return flowing water conditions.  Stocking of ponded areas that cannot be drained with mosquito fish would also reduce impacts from the No Action alternative.

Alternative 2: Operate IWTP

Impacts

Under this alternative, in 1997 the IWTP will be operational and could provide advanced primary treatment for 25 mgd average and 50 mgd peak flows. The ocean outfall connection would not be completed until 1998, so during this interim two-year period any flows diverted to the IWTP would be treated and discharged to the emergency connection.  If no capacity is otherwise available, the advanced primary treated effluent would be discharged to the Tijuana River.

The discharge of advanced primary effluent to the Tijuana River would not significantly reduce health risks to residents in the valley from bacterial contamination or vectors.  The effluent could provide mosquito breeding habitat by ponding in the river channel.  Impacts would be similar to the No Project alternative.

Under this alternative, urban runoff from the surrounding areas and effluent spills from the conveyance canal to the Mexican treatment plant at San Antonio de los Buenos could still result in contamination and closures.  Limited monitoring data and modeling by Parsons Engineering Science indicate that the discharge from the Mexican treatment plant could periodically cause contamination of some U.S. beaches.

Significance of Impacts

Discharge of advanced primary effluent to the Tijuana River would result in significant human health risks from pathogens, including disease vectors.

Mitigation

The discharges to the river should be monitored to ensure that no ponding of effluent occurs that could provide breeding areas for mosquitoes.  If ponding does occur, the area should be drained or modified to return flowing water conditions. Stocking of ponded areas that cannot be drained with mosquito fish would also reduce impacts from this alternative.

Alternative 3: Operate IWTP with Detention Basin

Impacts

The IWTP would be operated as an advanced primary plant, as in Alternative 2.  A 5.5 million gallon (20,900 m3) earthen detention basin(s) would be constructed at the IWTP site (Dairy Mart Road) to provide flow equalization for diurnal and wet-weather peak flows.  Treated flows would be stored within the earthen detention basin to be released to Pump Station One or the emergency connection during off-peak hours.  If the capacity of the Mexican system, emergency connection and detention basin would be exceeded, then the excess treated flows would be discharged to the Tijuana River in the U.S.

Public health impacts under this alternative are less than under Alternative 2, because 5.5 million gallon (20,900 m3) effluent will be stored for approximately eight hours (1pm to 9 pm) and not released to the Tijuana River but sent to Pump Station One or the emergency connection.  Treated flows in excess of 5.5 million gallon (20,900 m3) would still be discharged to the Tijuana River and have the potential to contaminate U.S. beaches; however, this potential impact would only occur during seasonal high flow days in 2001.

This alternative would reduce the potential for dry-weather flows in the river, which would reduce the potential for pathogen exposure, including disease vectors.  However, it would not eliminate the potential health risks from mosquitoes and may result in periodic discharges of effluent from the IWTP, which is not suitable for body contact.

Significance of Impacts

Potential public health impacts from contamination and disease-bearing vectors would be reduced by this alternative, but any discharges of treated effluent to the river could result in significant adverse human health risks.

Mitigation

The discharges to the river should be monitored to ensure that no ponding of effluent occurs that could provide breeding areas for mosquitoes.  If ponding does occur, the area should be drained or modified to return flowing water conditions. Stocking of ponded areas that cannot be drained with mosquito fish would also reduce impacts from this alternative.

Alternative 4: IWTP with New Conveyance to Mexico

Impacts

A new pumping and conveyance system would be constructed by Mexico as a parallel backup facility for the existing Mexican conveyance system, with a capacity of 50 mgd (2,150 lps), to convey flows from Pump Station One to the discharge point in Mexico. During the interim period, the IWTP would treat flows up to 25 mgd (1,095 lps) from Tijuana.  Once treated, the effluent would be sent to Tijuana via the new pump station and conveyance pipeline for discharge in Mexico, near the San Antonio de los Buenos treatment plant.  The existing pumping and conveyance system to the treatment works in San Antonio de los Buenos would continue to operate.

Existing public health impacts to the Tijuana River Valley are beneficial under this alternative. Mosquito breeding potential will be greatly reduced as no effluent would be discharged to the Tijuana River.

The volume of treated effluent discharged to the shoreline in Mexico would increase under this alternative.  The volume of untreated sewage discharged in Mexico would decrease if the emergency connection continued in use.  However, impacts to coastal waters in the U.S. would result from the discharges.  Mexico is committed to ensuring that the discharge from its treatment plant will not cause violations of the Ocean Plan standards established to protect recreational uses of U.S. beaches. Assuming that Mexico complies with Minute No. 270 and Annex 1, the impacts of the discharge from the San Antonio de los Buenos treatment plant will not be significant.  Significant impacts to public health would occur if Mexico does not comply with Minute No. 270 and Annex 1.

Significance of Impacts

Impacts to human health risks in the Tijuana River valley would be beneficial under this alternative.  There would be no discharge of treated effluent to the river and the additional facilities in Mexico would decrease the likelihood that an upset of their system would result in spills of untreated sewage into the U.S.  The discharge of treated effluent to the shoreline in Mexico would increase, however, and may result in public health risks in coastal waters of the U.S.  This would be a significant impact.

The combined surf discharge from San Antonio de los Buenos and the IWTP may impact U.S. coastal recreation areas, however.  Assuming that Mexico complies with Minute No. 270 and Annex 1, the impacts of the discharge from the San Antonio de los Buenos treatment plant will not be significant.  Significant impacts to public health would occur if Mexico does not comply with Minute No. 270 and Annex 1.

Mitigation

No mitigation is necessary for the interim operation of the IWTP for vector control in the Tijuana River valley.  Existing control programs will need to be continued, however.  Monitoring of coastal areas in the U.S. with public notification and closure of contaminated areas for public use could reduce health risks.

Alternative 5: Operate IWTP with Discharge to SBOO

Impacts

The South Bay Ocean Outfall is currently under construction and is expected to be completed in 1999.  Once completed, 25 mgd (1,095 lps) of advanced primary effluent from the IWTP would be discharged to the ocean.  No discharge to the Tijuana River or through the emergency connection would be necessary.  Discharge of advanced primary effluent to the ocean is discussed in Section 4.2, Oceanography, of this SEIS.

Public health impacts in the Tijuana River Valley (pathogens and mosquitoes) and at southern San Diego beaches (pathogens) would not result from any effluent discharges using the South Bay Ocean Outfall. Potential discharge impacts from the San Antonio de los Buenos treatment plant would be reduced, but discharge of untreated sewage would still occur.

Significance of Impacts

This alternative reduces potential public health impacts from discharge of IWTP effluent to below a level of significance.  Residual impacts from shoreline discharge in Mexico are considered potentially significant and adverse, however.

Mitigation

As a condition of the NPDES permit for the project, monitoring of the discharge will be required.  If exceedances of health and safety standards are identified, the affected areas can be identified and steps taken to avoid public use of the area until corrective action can be taken.

Air Quality and Odors

Impact Standards and Criteria

Federal Clean Air Act

As indicated in Section 3.8.2, the Clean Air Act establishes national standards for six criteria pollutants.  Significant air quality impacts would result if implementation of the project would (1) cause a violation of the California ambient air quality standards (CAAQS) or national ambient air quality standards (NAAQS), whichever is strictest; (2) create a substantial contribution to an existing or projected violation of CAAQS or NAAQS; or (3) contribute to a delay in attainment of a CAAQS or NAAQS according to the local Air Quality Attainment Plan (AQAP).  As indicated in Section 3.8.2 of this SEIS, California has adopted stricter standards than those specified by the EPA.  In San Diego, the AQAP is the 1991/1992 RAQS and attached TCMs.

CARB Guidelines

For short-term emissions of criteria pollutants (e.g., construction emissions), the SCAQMD has established daily emissions significance thresholds (Table 4.8-1).  These thresholds have generally been accepted by the San Diego APCD.  The CEQA Air Quality Handbook (SCAQMD 1993) also provides a screening table to determine whether a proposed project has the potential to generate construction-related emissions greater than the standards.

For long-term emissions of criteria pollutants, the direct impacts of a project can be measured by the degree to which the project is consistent with regional plans to improve and maintain air quality.  The regional plan for San Diego is the 1991/1992 RAQS and attached TCM plan.  The CARB provides criteria for determining whether a project conforms with the RAQS (State of California 1989), which include the following:

Is a regional air quality plan being implemented in the project area?

Is the project consistent with the growth assumptions in the regional air quality plan?

Does the project incorporate all feasible and available air quality control measures?

The proposed alternatives are located in the SDAB, which is covered by the 1991/1992 RAQS as indicated above.  Additionally, none of the proposed alternatives are growth inducing.  Therefore, criteria 1 and 2 above are satisfied.  Air quality control measures are discussed under each alternative below.  The San Diego APCD is responsible for issuing air quality permits for operation of the IWTP.

SIGNIFICANCE THRESHOLDS

Source/

Pollutant        Threshold

Operation

ROC       55 lbs/day

NOx       55 lbs/day

CO        550 lbs/day

PM-10     150 lbs/day

SOx       150 lbs/day

Constructi

on

ROC       2.5 tons/qtr or 75

lbs/day

NOx       2.5 tons/qtr or 100

lbs/day

CO        24.75 tons/qtr or 550

lbs/day

PM-10     6.75 tons/qtr or 150

lbs/day

SOx       6.75 tons/qtr or 150

lbs/day

SOURCE:  SCAQMD 1993:6-2 and 6-4.

ROC = reactive organic compounds; NOx =

nitrogen oxides; CO = carbon monoxide;

PM-10 = 10-micron particulates; SOx =

sulfur oxides.

Odor impacts would be considered potentially significant if the proposed project or alternatives would noticeably change existing conditions in areas where sensitive receivers occur or are proposed (e.g., residences).

Alternative 1: No Action

Impacts

Under this alternative, raw sewage flows in excess of the combined capacity of Tijuana Pump Station One and the emergency connector would continue to flow into the Tijuana River via Stewart's Drain.  These sewage flow, currently estimated at 1.1 mgd (48 lps), are expected to grow to 5.6 mgd (245 lps) by the year 2001.

No additional emissions of criteria pollutants would occur under this alternative.  However, offensive odors would continue to be emitted from the river which could impact surrounding sensitive receivers.  Odors associated with Tijuana Pump Station One would remain unchanged.

Significance of Impacts

Odors emanating from the river could continue to be a public nuisance if these odors are detected by sensitive receivers in the area.  This is a significant adverse impact.

Mitigation

No mitigation is available for the No Action alternative.  Odor impacts, if they occur, would be significant and unmitigated. Alternative 2: Operate IWTP

Impacts

Under this alternative, raw sewage flows in excess of the combined capacity of Tijuana Pump Station One and the emergency connection would flow to the IWTP and be stored or treated to primary standards.  Effluent would then be pumped to the emergency connection for further treatment at the Point Loma treatment plant.  Effluent flows in excess of emergency connection capacity would be discharged directly to the Tijuana River.  The excess treated effluent flow is estimated to be 3.6 mgd (158 lps) for average day flows by the year 2001.

The IWTP was designed with air pollution and odor control equipment and the effects from operation are covered in the prior EIS.  No additional emissions of criteria pollutants would occur under this alternative.

However, primary effluent would be discharged directly to the river.  Odors associated with primary treated effluent are generally less than those associated with raw sewage.  However, they still can be offensive.  Therefore, odor impacts to sensitive receivers in the vicinity of the Tijuana River could occur.  Odors associated with Tijuana Pump Station One would remain unchanged.

Significance of Impacts

Odors emanating from the river could constitute a public nuisance if these odors are detected by sensitive receivers in the area.  This is a potentially significant impact.

Mitigation

Odors emanating from the advanced primary effluent could be reduced by chlorination, although they would not be eliminated entirely.  However, this is currently not included in the proposed IWTP operation under this alternative.  Odor impacts, if they occur, would be significant.

Alternative 3: Operate IWTP with Detention Basin

Impacts

Under this alternative, raw sewage flows in excess of Tijuana Pump Station One capacity would flow to the IWTP and be treated to primary standards.  Effluent would then be discharged to the emergency connection to the Point Loma treatment plant.  Effluent flows in excess of emergency connection capacity would be discharged to a 5.5 million gallon (20,900 m3) detention basin.  Effluent stored in the basin would be pumped to the emergency connection during off-peak hours.

If the detention basin is filled to capacity before the emergency connection is able to receive the total effluent flow, flow to the basin would be diverted and the excess flow would be discharged directly into the Tijuana River.  It is estimated that the effluent flow rate directly discharged to the river would be 0.6 to 2.0 mgd (26 to 88 lps) and would only occur during seasonal high flows in the years 2000 and 2001.

Construction Impacts

Construction of the 5.5 million gallon (20,900 m3) detention basin(s)  would generate fugitive dust (PM-10) and construction equipment exhaust emissions.  The basins are anticipated to cover one to two acres (4,050 to 8,100 m2).  According to the SCAQMD screening manual, grading of a one-acre (0.4 ha) area results in 55 lbs/day of emissions without dust control measures.  The federal standard for emissions of PM-10 is 150 lbs/day.  The SCAQMD uses a threshold of 177 acres (716,000 m2) for potentially significant impacts from grading activities with dust controls.  Therefore, given the small size of the detention basins, no significant construction-related emissions are anticipated.

Operation Impacts

No additional emissions of criteria pollutants would occur under this alternative.  However, primary effluent would be stored in the 5.5 million gallon (20,900 m3) detention basin as well as discharged directly to the river.  Odors associated with primary treated effluent are generally less than those associated with raw sewage.  However, they still can be offensive.  Therefore, odor impacts to sensitive receivers in the vicinity of the Tijuana River, and especially adjacent to the detention basin, could occur.  Odors associated with Tijuana Pump Station One would remain unchanged. Significance of Impacts

Odors emanating from the river and detention basin could constitute a public nuisance if these odors were detected by sensitive receivers in the area.  This is a potentially significant impact.

Mitigation

Aerating the detention basin(s), covering them, and equipping them with appropriate odor control equipment would mitigate odors emanating from the detention basins to below a level of significance.  Odor control measures shall be incorporated into the design of the detention basins.

Odors emanating from the advanced primary effluent discharged directly to the river could be reduced by chlorination, although they would not be eliminated entirely.  However, this is currently not included in the proposed IWTP operation under this alternative.  Odor impacts, if they occur, would be significant.

Alternative 4: Operate IWTP with New Conveyance to Mexico

Impacts

Under this alternative, raw sewage flows in excess of Tijuana Pump Station One capacity would flow to the IWTP and be treated to primary standards.  Effluent would then be pumped back to a new conveyance system in Mexico for discharge at Punta Banderas.  No effluent would be discharged to the Tijuana River.

Construction Impacts

Under this alternative, no significant construction-related emissions would occur in the United States.  Emissions of criteria pollutants would occur during the construction of the new conveyance system in Mexico.  However, these emissions would not be subject to U.S. regulation.  Since detailed design of the new conveyance system is not currently available, it is not possible to estimate the resulting construction emissions at this time.  However, due to the prevailing northwesterly winds, these construction emissions would not be expected to significantly affect the air quality north of the border.

Operation Impacts

Under this alternative, no additional criteria pollutant emissions will occur.  Additionally, discharges to the river would cease.  Therefore, odor impacts in the Tijuana River valley as a result of dry-weather sewage flows would be eliminated with implementation of this alternative.

Significance of Impacts

No significant air quality or odor impacts are expected to occur with implementation of the Operate IWTP with New Conveyance to Mexico alternative.

Mitigation

No mitigation is required for the Operate IWTP with New Conveyance to Mexico alternative.

Alternative 5: Operate IWTP with Discharge to SBOO

Impacts

Under this alternative, raw sewage flows in excess of Tijuana Pump Station One capacity would flow to the IWTP and be treated to primary standards.  Effluent would then be pumped to the SBOO for discharge to the ocean.

No additional criteria pollutant emissions would occur under this alternative. Additionally, discharges to the river would cease.  Therefore, odor impacts as a result of dry-weather sewage flows in the river would be eliminated with implementation of this alternative.

The IWTP was designed with odor control facilities, and the impacts of its operation are not anticipated to be adverse.  However, there will be an energy dissipater between the plant and the South Bay Land Outfall pipe, which is vented to the atmosphere.  If secondary treated effluent were being discharged, odor control facilities would not be necessary.  However, if primary treated effluent is being discharged, odor control at the vent would be necessary to avoid odor impacts to residents and visitors.

Odors associated with Tijuana Pump Station One would remain unchanged. Significance of Impacts

Potential nuisance odors could result from the energy dissipater vent structure should the IWTP be operated as an advanced primary treatment plant and effluent discharged through SBOO.  Odor controls are feasible to implement that would reduce this impact to a level below significance.  No other significant air quality or odor impacts are expected to occur with implementation of the Operate IWTP with Discharge to SBOO alternative.

Mitigation

The energy dissipater vent will be provided with odor control equipment if the IWTP is operated as an advanced primary plant and effluent is discharged to the SBOO.

Land Use and Socioeconomics

Alternative 1: No Action

Currently, raw sewage from unsewered areas of Tijuana collects in the Tijuana River.  Overall, most of the land uses in the Tijuana River valley have been negatively impacted by sewage discharges into the Tijuana River.  These impacts include direct impacts resulting from discharges during dry weather and rainy periods and impacts from discharges of untreated sewage in Mexico extending north along the shoreline.  Continuous indirect impacts are associated with the area's image/reputation.  Use of Border Field State Park and Imperial Beach coastal properties and businesses have been negatively impacted by beach closures and the image problem associated with unclean beaches.

According to historical statistics from the San Diego County Health Department, the number of days of beach closures were recorded at 187 days for 1993, 36 days for 1994, and 67 days in 1995.  The beach closures typically included the general area from South Silver Strand State Beach to the international border.  In 1995 the cause of these closures was primarily related to rain and sewage.  For seven days in April and May of 1995 the recorded cause was a shutdown at Pump Station One in Tijuana.

Residential Impacts

The salability and value of the residential properties in the Tijuana River valley have and will continue to be affected by sewage discharges.  According to the Imperial Beach Chamber of Commerce, oceanfront condominium sales and rental values have also been negatively affected by the discharges.  Overall, the area's image due to the discharge problem has had a negative affect on the salability and values of the residential units in the valley and along the Imperial Beach coast.

Business Impacts

The equestrian rental businesses in the river valley have experienced an image problem associated with the sewage discharges.  The Equestrian Association indicated that horse rentals are easier to market to out-of-town visitors, as opposed to locals, because of the river valley's reputation.  Also, during beach closure days, the horse rental business is directly impacted.

Although the small businesses within the coastal areas of Imperial Beach receive some year-round support from local residents, beach visitors, particularly during major events, represent a profitable support source.  According to the Imperial Beach Chamber of Commerce, one of the reasons the City was not selected to host the Bud Pro Surf Contest was the beach closures caused by sewage discharges into the Tijuana River.  The beach and the special events which are dependent on clean beaches represent an important economic stimulus for local businesses.

The sales realized by the above-mentioned businesses have been occasionally impacted by beach closures and continuously affected by image problems.

Agricultural Impacts

Based on the limited number of agricultural businesses in the valley, and on an informal survey of a few of these businesses, the major impacts to these businesses occur during flood periods.  One grower indicated the combination of flooding and effluent discharge has had a significant impact.  The soil on the growers' property was contaminated and condemned by the County health department for a period of six months.  Agricultural employees in the area have also expressed concerns over working in the vicinity of sewage discharges.

Recreational Impacts

Recreational activities are an important amenity to the California lifestyle.  According to a 1992 California Outdoor Recreation Survey conducted by the California Department of Parks and Recreation, 69 percent of California's population participates in beach activities, 16 percent ride horses, and 56 percent participate in nature study and viewing.  These statistics indicate the importance of recreational areas in general.

Based on visitor attendance at Border Field State Park and Silver Strand State Beach, this area represents an important recreational area.  Based on County health department statistics, the beach from the international border to Silver Strand State Beach has incurred numerous days of closure due to effluent discharges.  These closure days directly affect water sports (surfing, swimming), as well as beach activities.  During most beach closure days, the camping areas at Silver Strand State Beach have remained open for camping, hiking, picnicking, and land activities.  Although the discharges did not close these parks, it is assumed that attendance was impacted.

The YMCA Camp Surf is also dependent on open, clean beaches.  The camp has had to cancel some activities in the past and is continuously affected by the image problem associated with effluent discharges.

The Tijuana River Valley Regional County Park has no facilities developed for public recreation.

Sportfishing Impacts

According to the California Department of Parks and Recreation survey, 25 percent of Californians have participated in saltwater fishing within the last two years, which indicates the importance of the ocean as a recreational amenity.  Both fishing from the Imperial Beach Pier and beach anglers using the beach from the Mexican border to roughly the Silver Strand State Beach are directly impacted by beach closures due to effluent discharges.  The impact on fishing also affects the bait and tackle shop, as well as some of the smaller businesses in Imperial Beach.  Offshore fishing typically is well beyond the surf line and, therefore, is minimally affected by discharges from the Tijuana River.

Significance of Impacts

Existing conditions have had a significant adverse effect upon residents of the Tijuana River, adjoining communities, and public recreational opportunities.  These impacts would continue under the No Action alternative.

Mitigation

No mitigation measures are available to EPA or USIBWC.

Alternative 2: Operate IWTP

Interim operation of the IWTP will eliminate discharge of dry-weather flows of untreated sewage to the Tijuana River.  Discharge of treated effluent to the Tijuana River may be necessary on a regular basis from 1998 to 2001, however, and the discharge of untreated sewage 5.6 miles south in Mexico would continue.

The effects to residential, business, agricultural, and recreational uses would be beneficial.  Dry-weather flows in the river would be treated effluent.  Although not treated to body contact recreation standards, contamination, pollutant loading, and odors would be reduced.  The potential for summer restrictions on coastal water recreation uses would be lessened, although residual impacts from untreated discharges in Mexico would remain.

Significance of Impacts

Existing adverse effects on residents, commercial enterprises, and public recreation would be reduced under this alternative but will still be considered adverse.

Mitigation

No additional mitigation measures are available to EPA or USIBWC. Alternative 3: Operate IWTP with Detention Basin

Storage of 5.5 million gallons (20,900 m3) of treated effluent at the IWTP would eliminate the discharge of dry-weather sewage flows and reduce the potential of discharge of treated effluent to the Tijuana River.  This alternative would also have substantial beneficial impacts.  Residual impacts from untreated sewage discharges in Mexico would remain, however.

Significance of Impacts

Impacts to the river valley from this alternative would not have a significant impact on land use or socioeconomic conditions.  However, residual impacts would continue from seasonal beach closures.

Mitigation

No mitigation measures are available to EPA or USIBWC.  Residual impacts from discharge of untreated swage in Mexico is the responsibility of Mexico.

Alternative 4: Operate IWTP with New Conveyance to Mexico

This alternative would eliminate dry-weather flows of untreated sewage or treated effluent in the Tijuana River and reduce the flows of untreated sewage discharged in Mexico.  This alternative would further incrementally reduce the risk of sewage contamination to coastal areas and enhance coastal recreation, dependent businesses, and residential areas in the U.S. and Tijuana.

Significance of Impacts

Impacts to the Tijuana River valley or shoreline communities in the U.S. would be beneficial.  Residual impacts from discharge of untreated sewage in Mexico to U.S. coastline areas would remain.

Mitigation

No mitigation measures are available to EPA or USIBWC.  Residual impacts from discharge of untreated swage in Mexico is the responsibility of Mexico.

Alternative 5: Operate IWTP with Discharge to SBOO

This alternative would have the most beneficial impacts of the alternatives.  There would be further improvement to ocean water quality in the U.S. and Mexico.  Discharge of treated effluent offshore in deeper water discharge results in greater dilution and dispersion of treated effluent and is preferable to shoreline discharge.

Significance of Impacts

Impacts to the Tijuana River valley or shoreline communities in the U.S. would be beneficial.  Impacts from operation of the SBOO were covered in the 1994 FEIS for the project.

Mitigation

No additional mitigation measures beyond those identified in the 1994 FEIS are necessary.

Effects Not Reevaluated for the SEIS

The EPA and IBWC circulated an EIS and signed a Record of Decision in May 1994 for new federal facilities to treat sewage from Mexico in the Tijuana River valley.  The EIS analyzed several alternatives for potential impacts to the physical, biological, and socioeconomic environments.  As such, 15 separate issues relating to those three environments were discussed.  They included hydrology, geological resources, scenic and visual resources, noise, air quality, odor, oceanography, terrestrial biology, estuarine biology, marine biology, cultural resources, paleontology, land use, traffic and transportation, and public health.

The Interim Operation SEIS addresses operational alternatives for the IWTP and SBOO.  As such, no new major facilities or construction are required.  Many issues previously addressed in the 1994 EIS were found not to have new potentially significant effects and, consequently, are not discussed in detail in the preceding environmental impact analysis. These are briefly explained below.

Scenic and Visual Resources

The effects of the IWTP construction were addressed in the 1994 EIS.  No new visual impacts would result from interim operation of the IWTP.

Noise

The effects of construction and operation of the IWTP and collector pump stations were addressed in the 1994 EIS and Biological Assessment.  No new impacts would result from interim operation of the IWTP. Cultural Resources

Cultural resources have been addressed according to a Memorandum of Understanding with the State Office of Historic Preservation for the project.  No new facilities are proposed in the U.S. that would impact significant cultural resources.

Paleontology

Paleontological impacts for the project were addressed in the 1994 EIS.  No new impacts would result from interim operation of the IWTP.

Traffic and Transportation

Operation of the IWTP was covered in the 1994 EIS.  Supplemental EAs have been prepared by the USACE for modifications to the design and construction of the SBOO (USACE 1995) and dechlorination facilities (USACE 1996).  No additional traffic or transportation  impacts would result.

Cumulative Effects

Cumulative effects-including to hydrology, scenic and visual resources, air quality and odors, oceanography, terrestrial and marine biology, noise, cultural resources, paleontological resources, and land uses-were considered in the prior EIS for the No Action alternative and the operation of the IWTP as a secondary treatment works of up to 100 mgd (4,380 lps) with discharge through the SBOO.  The effects of the discharge through the SBOO were considered with effluent to be discharged from other future City of San Diego treatment works in the South Bay.

The specific potential cumulative effects relevant to interim discharge of advanced primary treatment to the river or through the SBOO with the shoreline discharge in Mexico are analyzed in the Oceanography section of the SEIS.  Potential adverse effects to marine biota, ocean water quality, public health, and land use and socioeconomics are identified for the Interim Operation SEIS.

Growth Inducement

The growth-inducing effects of the long-term operation of the IWTP with discharge of up to 100 mgd through the SBOO was considered in the prior EIS.  No additional growth-inducing effects are anticipated for the interim operation of the IWTP as an advanced primary plant through the year 2001.

Relationship of Local Short-term Uses of the Environment and the Maintenance and Enhancement of Long-term Productivity

The adverse effects of the No Action alternative and the short-term impacts of construction and operation of the IWTP with discharge of up to 100 mgd through the SBOO and benefits to maintaining the quality of surface and ocean waters in the U.S. were considered in the prior EIS.  No additional impacts are anticipated for the interim operation of the IWTP as an advanced primary plant through the year 2001.

Significant Irreversible Environmental Changes

The prior EIS identified significant irreversible impacts to biota, land uses, scenic and visual quality, energy consumption, cultural resources, paleontological resources, and the ocean from construction and operation of the IWTP and SBOO.  The additional interim treatment and discharge alternatives would not result in additional irreversible commitments or changes to the affected environment.

Chapter Five

Environmental Commitments

Hydrology and Water Quality

Effluent Chlorination

Treated effluent that would be discharged to the Tijuana River or through Mexican facilities to the shoreline can be chlorinated prior to discharge to reduce odor impacts and reduce health risks from coliforms.  However, chlorination of effluent may be of limited effectiveness and pose concerns for water quality impacts from residual chlorinated compounds.  This decision will be made after consultation with the Air Pollution Control District, RWQCB, and San Diego County Health Services Department.

Detention Basin

If an earthen detention basin is constructed at the IWTP, the basin will be lined with an impermeable liner to avoid percolation of treated effluent to the groundwater.  The liner will be included in design specifications for the basin by USIBWC.

Estuarine Biology

Monitoring Program

If treated effluent is routinely discharged during dry weather to the Tijuana River, a monitoring program will be undertaken.  The program will monitor changes in water quality using indirect indicators of water source and sewage contamination.  These include salinity, dissolved oxygen, temperature, and coliform bacteria.  The monitoring will be conducted using automatic data loggers; hand-held salinity, dissolved oxygen, and temperature meters; and standard methods for the examination of water and wastewater.  The monitoring program will be initiated prior to discharge of the effluent and will continue through the period that effluent is discharged to the Tijuana River.  Reports of the monitoring will be provided to the RWQCB, Tijuana River National Estuarine Research Reserve, and EPA.

Geotechnical

Detention Basin

Site-specific geotechnical investigations will be performed prior to construction of the earthen detention basin to determine soil characteristics, thickness, and distribution and to develop appropriate soil engineering parameters for the proposed facility.

Fault evaluation studies will be performed of mapped fault traces in order to confirm fault locations and activities.  In addition, a geologist shall observe excavations during construction to detect the presence of unmapped traces in the general vicinity of mapped fault traces.

New Pumping and Conveyance in Mexico

Mexico will conduct design review of the pipeline and pump station as part of its environmental impact assessment and to their construction standards.  This design should anticipate the effects of ground shaking and incorporate measures to minimize the risk of failure during seismic events.

If construction of the pipeline is undertaken during the rainy season, Mexico should incorporate erosion controls during any grading to prevent erosion impacts into the U.S.

Public Health

Vector Control

If effluent is discharged to the Tijuana River, the USIBWC, in cooperation with the County Department of Health Services, will monitor the river channel during the dry season to ensure that no ponding of treated effluent occurs within the low-flow channel of the river.  If ponding does occur, vector control measures will be implemented.

Odors

Storage of treated effluent in the detention basin may result in objectionable odors.  As the basin would only fill during peak hourly flow periods, these impacts would be short term.  However, if objectionable odors result, the detention basin would be covered and the air circulated to an odor control device.  IBWC will include covers and an odor control system in the design of the detention basin, if this alternative is chosen.

Odor control facilities were included in the design for the IWTP.  If advanced primary treated effluent is discharged through the SBOO, additional odor control facilities will need to be included at a vent for the energy dissipater located between the plant and SBLO.  The USIBWC will be responsible for ensuring that appropriate odor control facilities are provided for discharge of primary treated effluent through SBOO.

Chapter Six

Compliance with Applicable Environmental Laws and Regulations Federal Laws and Regulations

National Environmental Policy Act of 1969, as Amended

The EPA and USIBWC have prepared this SEIS to assess impacts associated with the interim operation of the IWTP in the Tijuana River valley just north of the U.S./Mexico border in San Diego County.  During this interim period, the plant will be operational as an advanced primary treatment works before secondary treatment is available or the ocean outfall is operational.  Since the FEIS for the IBWC wastewater treatment plant and outfall facilities did not anticipate such an interim operational period, this SEIS has been compiled and prepared in accordance with the National Environmental Policy Act of 1969, as amended (42 U.S.C. 432 et seq.).

Clean Water Act of 1977, as amended (Public Law 95-217)

Section 402 of the Clean Water Act establishes the National Pollutant Discharge Elimination System permitting program.  All point source dischargers are required to obtain and comply with the provisions of an NPDES permit for any discharge of pollutants into waters of the U.S. (e.g., oceans, lakes, or streams).  NPDES permits must contain discharge limitations based on the more stringent of the applicable state or federal technology-based requirements and water quality standards.  Due to the location of the diffusers, the discharge from the IWTP will occur in state waters.  Therefore, EPA and/or RWQCB will be the authorities issuing the NPDES permit for the IWTP.

Section 402 of the Clean Water Act establishes the NPDES permitting program.  Subsection (a)(5) of Section 402 specifies that the Administrator (EPA) may delegate authority to issue permits for discharges to the state.  As allowed per this subsection, the EPA has delegated NPDES permitting authority to the RWQCB.  Thus, the Ocean Plan will be the primary source of water quality standards applicable to the IWTP discharge, regardless of whether EPA and/or RWQCB issues the NPDES permit for the discharge.

Discharge of primary treated effluent to the ocean is not authorized by the federal Clean Water Act.  If a discharge is to occur, the discharger will comply with a discharge permit and compliance order issued by the RWQCB.

Antidegradation Policy of the Clean Water Act (40 CFR 131.12)

This policy requires that an antidegradation analysis be performed for projects which will result in a lowering of water quality.  A project which lowers the quality of the receiving waters cannot be allowed if the receiving waters do not meet state water quality standards.  The applicable water quality standards are found in the California Ocean Plan and the San Diego Basin Plan. Ocean waters are designated high-quality waters; however, the Tijuana River does not meet the Basin Plan standards and is not considered a high-quality receiving water.

Because the discharge is to high-quality ocean waters, the project meets the antidegradation requirements if the following conditions are satisfied:

The project is necessary to accommodate important economic or social development in the area in which the waters are located. Water quality will remain adequate to assure water quality sufficient to fully protect existing uses.

The highest statutory and regulatory requirements for all

new and existing point sources and all cost-effective best management practices for non-point source control will be achieved.

The proposed action satisfies the first condition since the project would prevent dry-weather sewage flow in the Tijuana River that has impaired economic and social development in the area and has limited the use of the river and the ocean adjacent to its mouth.

The proposed action satisfies the second condition because the NPDES permit for the discharge will contain effluent limitations based on the Ocean Plan and other applicable standards.

The proposed action satisfies the third condition because the IWTP will collect and treat existing untreated non-point source discharges from Mexico.  RWQCB of San Diego is already regulating existing point and non-point sources in the U.S.

Discharges to the Tijuana River and estuary of treated effluent would not meet the goals of this policy, however.

Endangered Species Act of 1973, as Amended

Potential impact to federal listed species requires consultation with the USFWS or NMFS, as stated under Section 7 of the federal Endangered Species Act.  If the USFWS or NMFS advises a federal agency that a listed species may be present in the area of a proposed agency action, the agency must conduct a biological assessment to determine whether its proposal is likely to affect any listed species.  If the assessment concludes that a protected species may be adversely affected, the agency must initiate formal consultation with USFWS or NMFS.  Based upon the results of the formal consultation, USFWS or NMFS must issue a written biological opinion.  Informal consultation has been initiated by EPA and USIBWC with USFWS. Interagency Cooperation Endangered Species Act of 1973, as Amended; Final Rule

This final ruling, effective July 3, 1986, establishes the procedural regulations which govern interagency cooperation under Section 7 of the Endangered Species Act of 1973.  The act requires federal agencies, in consultation with and with the assistance of the secretaries of the Interior and Commerce, to insure that their actions are not likely to jeopardize the continued existence of endangered or threatened species or result in the destruction or adverse modification of the critical habitat of such species.

Formal consultation was completed for the IWTP and SBOO.  The USFWS originally expressed concern that the removal of dry-weather sewage flows in the Tijuana River might reduce the area and quality of riparian habitat supporting least Bell's vireo.  The State Water Resources Control Board (SWRCB) provided supplementary evidence to the USFWS that the contribution of dry-weather surface sewage flows to groundwater levels in the Tijuana River did not provide substantial support for riparian habitat in the river valley.  The IBWC has committed to a groundwater and soil moisture monitoring program along the riparian corridor in conformance with the terms and conditions of the Biological Opinion provided by the USFWS.

The proposed action is in compliance with this ruling.  The EPA is coordinating with the USFWS in accordance with Section 7(a)(2) of the Endangered Species Act.

Clean Air Act, as Amended

The federal Clean Air Act, as amended, was enacted for the purposes of protecting and enhancing the quality of the nation's air resources to benefit public health, welfare, and productivity. The only major construction proposed is for the earthen detention basin under Alternative 3.  This construction would not cause exceedance of any priority pollutants.  The proposed action to discharge advanced primary treated effluent into the Tijuana River and/or the ocean or through the SBOO would not require additional review or compliance beyond that already proposed and evaluated in the EIS.

National Historic Preservation Act

The National Historic Preservation Act (NHPA) is managed in the state of California by the State Office of Historic Preservation.  The NHPA requires an assessment of historic properties which may be located on a project site.  Because the proposed action includes only operational changes during a short interim period and no new major construction would occur outside the boundaries of areas already evaluated, no historic properties would be affected. Coastal Zone Management Act

This act was passed in 1972 to preserve, protect, develop, and, where possible, restore and enhance U.S. coastal resources.  To achieve this, Congress required that states wishing to participate in the national program would have to develop management programs that would fulfill the goal of the act. California enacted the California Coastal Act.

A Coastal Consistency Determination was approved by the California Coastal Commission for the IWTP and SBOO in 1994.

The USIBWC will submit a supplemental Coastal Consistency Determination to the California Coastal Commission for the proposed operational changes.  The proposed action would fulfill the goals of the Coastal Zone Management Act by improving the water quality in the Tijuana River valley and in the ocean waters near the mouth of the river from current water quality levels.

Farmland Protection Policy Act

This act requires a federal agency proposing a major federal action to examine the effects of the action using the criteria of the act and, if any adverse impacts are identified, consider alternatives to lessen them and ensure that the action is consistent with state, local, and private programs to protect farmland. Impacts to farmland were considered in the Socioeconomic section of the EIS.  The short-term (three to five years) discharge of advanced primary effluent into the Tijuana River would not adversely affect adjacent farmland.

Marine Mammal Protection Act

The Marine Mammal Protection Act provides protection for marine mammals by prohibiting the taking (including harassment, disturbance, capture, or death) of any marine mammals except as set forth in the act.  In addition, many species are also listed as threatened or endangered and are thereby protected under the Endangered Species Act.  The EPA and USIBWC, in coordination with the NMFS, must determine that marine mammals will not be affected by the proposed action.

Executive Orders

Executive Order 11988-Flood Plain Management

This act requires a federal agency to consider alternatives to avoid adverse effects and incompatible development in the floodplain.  The proponent agency must also design or modify the action to minimize potential harm within the floodplain, in coordination with the federal Water Resources Council and the Federal Emergency Management Agency.  The interim discharge would be of a low volume relative to normal flood flows and would not affect the Tijuana River floodplain.

Executive Order 11990-Protection of Wetlands

This act states that the proponent agency will avoid funding new construction located in wetlands unless the agency finds that there is no practicable alternative to such construction and that the proposal contains all practicable measures to minimize harm to wetlands.  The SEIS evaluates the effects of the short-term discharge of advanced primary effluent and does not include any new construction.

Executive Order 12114-Environmental Effects Abroad of Major Federal Actions

This order, signed January 4, 1979, establishes procedures for federal agencies including EPA to consider the significant effects of their actions on the environment outside the U.S. consistent with foreign policy and national security policies of the U.S.  For purposes of the order, &quot;environment&quot; means the natural and physical environment-including global commons (oceans and the Antarctic), emissions or effluent discharges regulated by federal law in the U.S. because of their potential toxic effects on the environment to create a serious public health risk, and natural and ecological resources of global importance designated for protection or protected by international agreement-and excludes social, economic, and other environments.

Executive Order 12898-Environmental Justice

This order, signed February 11, 1994, requires agencies to incorporate environmental justice into their missions by identifying and addressing disproportionately high and adverse human health or environmental effects of their programs and policies on minorities and low-income populations and communities.

The Tijuana River valley has been impacted for many years by flows of sewage from Mexico.  The action to collect, treat, and discharge sewage offshore that would otherwise enter the U.S. and contaminate the Tijuana River valley and public coastal recreation areas is consistent with this policy directive.

State Laws and Regulations

California Environmental Quality Act

The proposed interim discharge is not subject to CEQA.  No state permits are required, other than review of the proposed interim discharge by the State Water Resources Control Board and Regional Water Quality Control Board. Their review is not subject to CEQA. Porter-Cologne Water Quality Act

In 1949, California enacted the Porter-Cologne Water Quality Act, which created a State Water Resources Control Board and nine Regional Water Quality Control Boards with broad powers to protect water quality by regulating discharges to ground and surface waters of the state, including discharges by publicly owned treatment works, to rivers, streams, lakes, or ocean waters.  Discharges to surface or ground waters are subject to consistency with the Basin Plan and specific conditions and limitations set by the RWQCB, known as waste discharge requirements.  Discharges to ocean waters are subject to standards promulgated by State Water Resources Control Board in 1990, which are known as the state Ocean Plan.

Ocean Plan standards address constituents in effluent discharged to receiving waters such as grease and oil, suspended solids, settleable solids, turbidity, pH, and over 20 species of toxic pollutants, including heavy metals.  The Ocean Plan sets standards for maximum average concentrations and instantaneous levels for both effluent and receiving waters.

All effluent discharged to ocean waters must meet the standards in the Ocean Plan or the RWQCB will issue an order to cease and desist.

California Air Toxics Act of 1987 (Assembly Bill 2588)

As required by AB 2588, publicly owned wastewater treatment plants with a wastewater flow of more than 20 million gallons per day must conduct a toxic air emission inventory/health risk assessment.  The sources of volatile organic compounds, hydrogen sulfide, and as many as 135 other toxic compounds must be identified and inventoried and the emissions, regardless of how small, have to be quantified.

Air Pollution Control District Rules and Regulations

Existing APCD regulations (Rule 10) require that the IWTP facility obtain Authority to Construct and/or Permit to Operate permits from the APCD.  This review will include air quality modeling of pollutants and requirements for best available control technology or lowest achievable emissions reduction based upon emissions thresholds.  No new sources of emissions from the IWTP are proposed for interim discharge.

California Coastal Act of 1976

This act was developed to fulfill the goals of the Coastal Zone Management Act in the state of California. The California Coastal Commission implements the regulations of the California Coastal Act.

Because the IWTP involves federal funding, it is exempt from obtaining a state-mandated Coastal Development Permit.  Instead, the IBWC must submit a Consistency Determination to the California Coastal Commission (15 CFR 930). The California Coastal Commission can either concur or object to the proposed action and can make suggestions on how to minimize impacts to the Coastal Zone.

The IBWC completed a Coastal Consistency Determination for the IWTP and SBOO which was accepted by the California Coastal Commission in 1994, but the Coastal Commission will further consider the action with respect to short-term discharge of advanced primary effluent within the Coastal Zone.

California Endangered Species Act

Potential impacts to California state listed endangered or threatened species would require the issuance of a 2080 permit by the California Department of Fish and Game as stated under Section 2080 of the California Fish and Game Code.  The Tijuana estuary provides habitat for listed plant and animal species.

Surface Mining and Reclamation Act of 1975

The IWTP site is located in two Mineral Resource Zones.  The proposed action does not include any construction or site improvements that would affect these zones.

California Fish and Game Code Sections 1601-1603

The proposed discharge of advanced primary effluent during the three- to five-year interim time period will not impact a stream course or drainage that would require a 1603 Streambed Alteration Agreement be issued by CDFG as stated under Sections 1601-1603 of the California Fish and Game Code prior to project approval. California Code of Regulations Section 15000 and CEQA Section 21167(a)

A lease was granted by the California State Lands Commission to cross or build the SBOO facility on state-owned public land.  No new facilities are proposed for the interim discharge SEIS.

Chapter Seven

Consultation with Others

Persons and Agencies Consulted

An ongoing program of coordination with interested individuals, groups, and agencies has been conducted by EPA and USIBWC for the IWTP and SBOO project.  Information meetings have been held monthly.  Attendees included the following.

Focus Group

Jack McCabe, Private Citizen

Bob Coates, Private Citizen

Carolyn Powers, C.A.R.E.

Rina Kelly, C.A.R.E.

David Gomez, C.R.A.P.

Robert Simmons, Sierra Club

Thomas Penfield, Sierra Club

Craig Adams, Sierra Club

Rory Wicks, Surfrider Foundation

Gary Sirota, Surfrider Foundation

Kimberley Collins, San Diego State University

Mike Richmond, Senator Dianne Feinstein

Liza Hirsch Medina, Congressman Bob Filner

Scott Vydra, Assemblyman Baldwin

Marco Cortes, Supervisor Greg Cox

Doc Doolittle, U.S. Border Patrol

Nan Valerio, San Diego Association of Governments

Homer Bludau, City of Coronado

Diane Rose, City of Imperial Beach

Don Hall, City of Imperial Beach

Ric Repasy, County of San Diego Parks and Recreation

Mike Devine, County of San Diego Environmental Health

Moise Mizrahi, County of San Diego Environmental Health

Horace Ketcham, County of San Diego Environmental Health

Dave Schlesinger, City of San Diego Metropolitan Wastewater Department

Rolf Lee, City of San Diego Metropolitan Wastewater Department Richard Enriquez, City of San Diego Metropolitan Wastewater Department

Tom Weeks, Air Pollution Control District

Mike Coleman, Otay Water District

Resources Agencies

Bill Paznokas, California Department of Fish and Game

Martin Kenney, U.S. Fish and Wildlife Service

Mark Helvey, National Marine Fisheries Service

Joanne Kerbavaz, Tijuana River National Estuarine Research Reserve

Lee McEachern, California Coastal Commission

Susan Hector, County of San Diego Parks and Recreation

Jennifer Maxwell, City of San Diego

Rolf Lee, City of San Diego Metropolitan Wastewater Department Bruce Nyder, San Diego State University

Carolyn Powers, Tia Juana Valley County Water District

Art Letter, Tia Juana Valley County Water District

Scoping of Issues and Concerns

An official public and agency workshop to introduce the proposed project alternatives and solicit comments regarding the scope and content of the SEIS was hosted by EPA and USIBWC on August 31, 1995, in San Diego, California.  Panel members represented the following agencies:

U.S. Environmental Protection Agency

International Boundary and Water Commission

U.S. Army Corps of Engineers

City of San Diego

Public Meeting

The following six individuals provided verbal comments during the meeting:

William E. Claycomb, Save Our Bay, Inc.

David Gomez, Citizens Revolting Against Pollution

Carolyn Powers, Tia Juana Valley County Water District

Diane Rose, Imperial Beach City Councilmember

Lori Saldana, Sierra Club

Danny Marshall, Resident, Tijuana River Valley

A presentation was made by the EPA and USIBWC representatives and questions answered regarding the project background, purpose and need, existing flows from Mexico, existing and proposed facilities, project schedule, and costs.  That two supplemental EISs would be prepared, one covering interim operation of the IWTP and discharge alternatives and the other covering treatment process alternatives and long-term operation and discharge.  The EPA noted that the Interim Operation SEIS was to be at a level of detail to allow construction of alternative(s) selected but that perhaps no alternative would be implemented to the exclusion of all others, and there could be combinations of alternatives, which would also be analyzed in the EIS.

Verbal comments regarding issues to be addressed in the SEIS were received.  Although not specifically relevant to the project alternatives, a primary concern voiced was that none of the alternatives presented dealt with the flow of raw sewage into the Tijuana River during the wet season.  Concern was also expressed that all but one of the proposed alternatives would result in discharges to the Tijuana River, which is a violation of the Clean Water Act.

Other concerns expressed included a fear that the Mexican government would not follow through on its promises; the overall cost of the project; a belief that the infrastructure in Mexico is so weak and overtaxed that future failures and sewage spills to the river from across the border are inevitable regardless of the alternative chosen; the impact of increased sewage flows (treated or untreated) into the ocean; and a fear that funding for construction of the secondary treatment facility would not be pursued.  An opinion was expressed that money might better be spent by diverting funds from the project to improve infrastructure in Mexico.

It was mentioned that the SEIS should address how each of the proposed alternatives would affect alternative secondary treatment facilities.  It was also felt that reclamation of water from the sewage flows should be pursued.  One individual indicated that ponds should be included as an alternative in the long-term SEIS, while another individual expressed concern that ponds would be breeding grounds for mosquitoes and result in objectionable odors.

Most individuals expressed their support for alternative 6 (operating the IWTP and pumping the treated effluent to the discharge point just south of Punta Banderas through a new pipeline constructed by Mexico).  Finally, studies were requested to determine the disbursement of the discharges from Punta Banderas.

Resource Agencies Meeting

Agency representatives present included:

Jewel Bennett, USFWS

Mike Elling, City of San Diego

Peter Goodwin, Owens Associates

Mark Helvey, NMFS

Rachel Kamman, Owens Associates

Martin Kenney, USFWS

Horace Ketcham, County Environmental Health Services

Joanne Kerbavaz, Tijuana River National Estuarine Research Reserve

Art Letter, Tia Juana Valley County Water District

Carolyn Powers, Tia Juana Valley County Water District

Kristin Schwall, RWQCB

Mari von Hoffman, USFWS, Tijuana Slough NWR

Joy Zedler, SDSU Research Lab

County Health asked about leakage from the gates at Rodriguez Reservoir in Mexico and whether repairs there would reduce flows.  USIBWC noted that leakage at Rodriguez, at Barrett Reservoir, and from the city of Tecate, combined with improved capture of renegade flows in Tijuana, made a complicated equation for identifying flows in the Tijuana River.  IBWC and EPA's projections were based on measured flows from all sources at a certain time.

The TVCWD requested clarification regarding the issue of institutional arrangements with Mexico and their relationship to the feasibility of the subalternative.  NMFS asked about the &quot;surf zone&quot; as related to Mexican discharge.  EPA clarified that Mexican effluent was discharged into an arroyo and flowed across the beach into the ocean; at times contamination from that source did occasionally and intermittently come north.  The SEIS would cover this topic.  Concern was expressed about stopping the analysis at the international border; that the analysis of discharge in Mexico would probably be limited, and that the question of obligations for analysis in another nation would have to be explored.

It was noted that the SDSU Estuary and Research Lab has been studying the Tijuana River estuary and has collected a great deal of information on it, including a wide-scale water quality and salinity monitoring program and a study of coliform bacteria in the estuary.  The reports will be made available to IBWC.

Discussion of Alternatives

Tijuana River National Estuarine Research Reserve would not support any alternatives that involve interim discharge into the Tijuana River because of the possible effect on the estuary.

No Action Alternative: The TJVCWD is on record opposing

no action. Environmental Health concurred because of concerns for health effects of sewage on the beaches and bays and potential for mosquitoes, high-nutrient waters, and pollution.

Pond Detention of Untreated Sewage:  Several agencies voiced concerns that that community and political opposition would be likely to be high and vocal, that there would be odor problems, and that mosquito control in raw sewage would be a control problem.  TVCWD expressed concerns that earthen basins would not be favorably viewed due to groundwater impacts or if the detention pond was lined because of possible accidents. Any excess flows reaching the river would be unacceptable.

IWTP as Advanced Primary Plant:  A question was raised

about the statement that the IWTP would have to receive at least 10 mgd (440 lps) to operate.  EPA explained the plant was designed to operate at a minimum flow of 10 mgd (440 lps) and would not operate properly with less.  A question was asked about the capacity of the emergency connection, if that would not just about take up its capacity, which is 13 mgd (569 lps).  But the alternative would relieve pressure on Mexico's system and allow it to handle increased flows for a while.  TVCWD noted that since excess flows would go to the river, some points made about other alternatives applied. It opposed discharge of such sewage, even if treated, into the river.  EPA noted discharge would be treated (advanced primary only); the treatment level would be about the same for BOD as what Point Loma receives, but suspended solid levels would be considerably less. Recent monitoring of Mexican sewage would be done so the composition of Mexican sewage can be better understood, which will be included in the EIS.  Mexico has said they would not accept treated sewage at Pump Station One.

IWTP with Pond Storage of Effluent: The Tia Juana Valley

County Water District has the same concerns as for storage of untreated effluent.  County Health noted mosquito control could be managed and capacity would be greater than operating the IWTP without storage.  The advantage would be in the spring, when waiting for flows to drop below 13 mgd (569 lps) so emergency bypass could be turned on, and some of early heavy flows could be taken and stored.  The detention basin would allow better management of odors and mosquitoes; it would also allow storage of peak flows and discharge when peak flows are past at night.

Return to Sender Alternative:  In response to questions,

it was noted that Mexico would build the facilities but in exchange would be forgiven their share of IWTP costs.  Cost would be about $16 million by Mexican estimate and IBWC is trying to refine.  The Mexican pipeline would take 16 months to build.  But IBWC will need to evaluate plans to assure feasibility. IBWC would supervise the construction in Mexico.  After construction, it would be operated by the U.S. for the interim period, then be turned over to the Mexican government.  It would then act as a parallel system with crossovers to the existing system and help provide protection against system failures in Mexico. The IWTP operation during interim discharge would be under IBWC's supervision, until the SBOO outfall system was completed, when the facilities would become wholly controlled by Mexico, probably with stipulations that Mexico would be required to do maintenance on their existing system.  Mexico would have their own legal requirements that they would have to comply with. Negotiations with Mexico are ongoing.

The TVCWD supports a return to sender alternative, as it best meets needs for alternative discharge, assuming institutional and financial arrangements can be worked out. The USIBWC noted that the timing could be different, and a combination of alternatives could be needed if, for instance, the return to sender facilities took longer than 16 months to build.  USFWS asked about benefits of alternative 6 after the interim discharge period.  Mexico would derive considerable benefits in protecting against future failures in the Mexican system.  It could also be useful if Mexico in the future decides to reclaim effluent from the IWTP.

The NMFS, County Health, TVCWD, and TRENERR expressed concern with the discharge point for the return to sender alternative and its effects on marine resources and public health issues, which were not confined by the border.  This was noted as a concern for the whole bioregion.  A question was asked if money was not available from the U.S. for the return to sender pipeline, could Mexico find their own money for an ocean outfall?

Discharge of IWTP Advanced Primary Effluent through SBOO:  TVCWD asked if it would be possible to construct return to sender and use it until the ocean outfall was completed and then switch to the outfall.  The water district would support use of the outfall, even if using it extends the interim discharge time frame. IBWC would look at effect of discharge on the ocean at a hundred to one dilution.  EPA noted that the SBOO discharge, and all other U.S. discharge alternatives, would not be in compliance with the Clean Water Act, but the Mexican discharge would not require a U.S. waiver.

EPA stated that it did not have a preferred alternative and was awaiting the analysis in the EIS.  In response to a question, IBWC indicated they did not plan to institute new studies.  TRNERR urged that IBWC incorporate existing studies of the estuary. USFWS asked about secondary treatment and its alternatives.  EPA responded that it would be addressed through the long-term SEIS.  It was strongly recommended an agency meeting for the alternatives to activated sludge SEIS be held also.  EPA stated that would be the case.  Frustration was expressed by TVCWD at legal constraints and with any studies that would take more money and time.

Notice of Availability and SEIS Distribution

On September 6, 1996, EPA published a Notice of Availability of the Supplemental EIS in the Federal Register.  Public notices were also placed in three newspapers with circulation in the South Bay area: San Diego Union Tribune, Chula Vista Star News, and the Coronado Journal.  Copies of the SEIS were made available in local libraries or through the San Diego office of the EPA or the U.S. Army Corps of Engineers.  Copies of the SEIS were sent to the following persons, organizations, and agencies:

ELECTED OFFICIALS

Senator Barbara Boxer, U.S. Senate

Senator Dianne Feinstein, U.S. Senate

Congressman Randy Cunningham, U.S. House of Representatives, District 51

Congressman Bob Filner, U.S. House of Representatives, District 49

Congressman Duncan Hunter, U.S. House of Representatives, District 52

Congressman Ron Packard, U.S. House of Representatives, District 48

Congressman Brian Bilbray, U.S. House of Representatives, District 49

Senator, David Kelley, California State Senate, District 37

Senator Lucy Killea, California State Senate, District 39

Senator Steve Peace, California State Senate, District 40

Assemblywoman Dierdre Alpert, California State Assembly, District 78

Assemblywoman Steve Baldwin, California State Assembly, District 77

Assemblywoman Denise Moreno Ducheny, California State Assembly, District 79

Assemblyman Susan A. Davis, California State Assembly, District 76

FEDERAL AGENCIES

Environmental Protection Agency, Region IX

Ms. Nancy Woo; Ms. Elizabeth Borowiec; Mr. Doug Eberhardt, Water Management Division; Mr. Dave Farrel, Federal Activities Branch

Federal Environmental Management Agency, Region IX

Mr. Ray Lenaburg, Mitigation Division

International Boundary and Water Commission, U.S. Section

Mr. C. W. Ruth, Mr. Charles Fischer, Mr. Steve Tencza

National Marine Fisheries Service

Mark Helvey

National Oceanic and Atmospheric Administration

Ms. Nina Garfield

U.S. Army Corps of Engineers, Regulatory Branch, San Diego Field Office

Mr. David Zoutendyk

U.S. Border Patrol, Imperial Beach Sector

Chief Patrol Agent Doc Doolittle

U.S. Customs, Rudy Camacho, District Director

U.S. Department of Agriculture, Soil Conservation Service

Mr. Jason Jackson

U.S. Fish and Wildlife Service, Carlsbad Field Office

Mr. Martin Kenney

Naval Command Control &amp; Ocean Surveillance, RDT &amp; E Division

Commanding Officer

Naval Amphibious Base, Coronado

Lieutenant Smith, Staff Civil Engineer

U.S. Coast Guard, Air Station San Diego

Commanding Officer

STATE

California Coastal Commission

Mr. Lee McEachern

State Clearinghouse, Office of Planning and Research

California Resource Agency

Ms. Carol Whiteside

California Coastal Conservancy

Mr. Michael Fischer

California Department of Fish and Game

Mr. Bill Paznokas

California State Parks, Southern Service Center

Mr. Clay Phillips, Manager

California State Parks, San Diego Coast District

Mr. Ed Navarro

California Department of Parks and Recreation, Tijuana Estuary Visitors Center

Ms. Joanne Kerbavaz

California State Water Resources Control Board

Mr. Bart Christensen

California State Water Quality Control Board, San Diego Region

Ms. Kristin Schwall

Caltrans - District 11

Environmental Review Coordinator

Governor's Office of California-Mexico

Mr. Rudy Fernandez

Pacific Estuarine Research Lab

Ms. Joy Zedler

State Historic Preservation Officer, Department of Parks and Recreation

State Resources Agency

Ms. Cherlyn Widell

State Lands Commission, Division of Environmental Planning Management

Mr. Dwight E. Sanders

COUNTY

County of San Diego, Department of Planning and Land Use

Mr. Mark Carroll

San Diego Air Pollution Control District

Mr. Tom Weeks

County of San Diego, Department of Parks and Recreation

Ms. Susan Hector

County of San Diego

Mr. Michael Devine

Chief, Environmental Health Services

County of San Diego, Chief Administrator Officer

Mr. Lawrence Prior

San Diego County Board of Supervisors, Chair

Tia Juana Valley County Water District

Mr. Art Letter, General Manager

District Council, R.J. Klitgadd

San Diego Association of Governments

Mr. Kenneth Sulzer, Executive Director

Imperial Irrigation District

Mr. Michael Remington

CITY

City of Coronado, City Manager

City of Chula Vista, City Manager

City of Imperial Beach, City Manager

City of National City, City Manager

City of San Diego

Mayor Susan Golding

City Manager

Mr. Larry Monserrate, Principal Planner, Development Services Department

Mr. Geoffrey Bogart, Binational Affairs

Mr. Dave Schlesinger, Metropolitan Wastewater Department

Mr. Leonard Wilson, Water Utilities Dept.

San Diego Unified Port District

Mr. Ralph Hicks, Environmental Management Coordinator

PRIVATE INTEREST GROUPS

Aqualogic, Mr. Allyn Feinberg

Audubon Society, San Diego Chapter, Mr. Jim Peugh

Bay Users Group of San Diego

Border Community Town Council

California-American Water Company

California Native Plant Society, San Diego Chapter

California United Mexican Americans, Mr. Alberto R. Garcia

Centers for Disease Control, Special Programs Group

Citizens Against Recreational Eviction, Ms. Carolyn Powers

Citizens Coordinate for Century 3

Citizens Revolting Against Pollution, Ms. Rosemary Nolan, Chairperson

David Gomez

Environmental Health Coalition

Glorietta Bay Users/Concerned Public

Greenpeace, Mr. Jim Lawrence

Otay Mesa/Nestor Community Planning Group, Ms. Ruth J. Schneider

Otay Mesa Recreation Council, Mr. Val Guerra

Otay Water District, Mr. Keith Lewinger, General Manager

Pacific Institute, Mr. Santos Gomez

Parsons Engineering Science, Mr. Luciano Meiorin

San Diego Bay Coalition

San Diego Council of Divers, Inc., Mr. Lee Olson, President

San Ysidro Community Planning Group, Ms. Mirna Perez

San Ysidro Chamber of Commerce

Sierra Club, San Diego Chapter

Sierra Club Legal Defense Fund, Mr. Larry Silver

Southwest Wetlands Interpretative Association, Mr. Larry Kadlecik

Surfrider Foundation, San Diego Chapter

INTERESTED INDIVIDUALS

CalMat Company, William Walker

Nelson and Sloan Contractor, Mr. Ken Monson

Swanson Oswald Associates, Mr. Edwin W. Lee

Mr. William E. Claycomb

Mr. Alejandro Flores

Mr. Wendell Gayman

Mr. Monty Griffin

Ms. Rachel Hanlon

Mr. Ken Jackman

Mr. Robert Simmons

PUBLIC LIBRARIES

Central Library, Reference Section

Chula Vista Library, Reference Section

Coronado Library, Reference Section

Imperial Beach Library, Reference Section

National City Library, Reference Section

Otay Mesa Branch Library, Reference Section

San Ysidro Library, Reference Section

Chapter Eight

List of Preparers and Their Qualifications

International Boundary and Water Commission, U.S. Section

Lead Agency responsible for SEIS; IWTP project management and coordination.  Key personnel include:

Charles Fisher, Environmental Specialist

C. W. Bill Ruth, Chief, Office of Construction Activities

Steve Tencza, Environmental Engineer

Responsibilities:  Technical review of SEIS; public and

agency coordination.

International Boundary and Water Commission, Mexico Section

The United States Section has coordinated the technical preparation of the SEIS with the following representatives of the Mexican Section, IBWC.

Roberto Espinoza, Resident Engineer, Tijuana

Luis Antonio Rascon Mendoza, Principal Engineer

J. Arturo Herrera Solis, Commissioner

State Water Resources Control Board

State cooperating and funding agency.

Bart Christensen, California/Mexico Border Coordinator

Responsibilities:  Technical review of SEIS.

U.S. Environmental Protection Agency, Region IX

Lead Agency responsible for SEIS; management and coordination for EPA.  Key personnel include:

Elizabeth Borowiec, AICP, Environmental Planner

Doug Eberhardt, Border Water Coordinator

Terrence Fleming, Life Scientist

Sheldon Gen, Presidential Management Intern

Ben Machol, Project Engineer

Bob Moyer, Legal Counsel

Norwood Scott, San Diego Project Office

Nancy Woo, Project Manager

Responsibilities:  Technical review of SEIS; development

of flow estimates; public and agency coordination.

U.S. Army Corps of Engineers

Provided assistance to EPA in their lead agency responsibilities.  Key personnel include:

Jennifer Altergott, Ecologist, Project Manager

Hayley Lovan, Ecologist

Responsibilities:  Technical review of SEIS; public and

agency coordination.

Regional Environmental Consultants (RECON)

Responsible for preparation of the SEIS.  Key personnel include:

Scott Fulmer, Senior Project Manager

Qualifications:  Twenty years' experience preparing and

processing environmental documents.  B.A. Anthropology.  Certified by the Society of Professional Archeologists.

Responsibilities:  SEIS preparation and quality assurance.

David Gottfredson, Environmental Analyst

Qualifications:  Two years' experience in noise and environmental analysis.  B.S. Chemical Engineering.

Responsibilities:  SEIS preparation.

Gerry Scheid, Ecologist

Qualifications:  Seventeen years' experience conducting

biological surveys.  Twelve years' experience assessing project-related impacts to biological resources and preparing mitigation recommendations.  M.S. Ecology, B.S. Biology.

Responsibilities:  SEIS preparation.

Additional RECON staff who assisted in production of the SEIS include:

Loretta Gross, Production Supervisor, document design and editing

Stacey Higgins, Production Specialist, document editing

Harry J. Price, Senior Technical Illustrator

Mike Scott, Technical Illustrator

Boyle Engineering Corporation

Rick Bottcher, Senior Civil Engineer

Jeff Garvey, Principal Engineer

Responsibilities:  Technical evaluation of alternatives;

review of SEIS.

CIC Research

Mark Crooks

Qualifications:  Twelve years' experience preparing socioeconomic impact analyses. B.A. Market Research.

Responsibilities:  Socioeconomic impacts assessment.

MBC Environmental

Carol Paquette, Senior Scientist

Qualifications: 18 years' experience in marine research

and impact assessment. B.A. Biology.

Chuck Mitchell, President

Qualifications: 26 years in marine research and impacts

assessment. B.A. Zoology.

Responsibilities:  Marine biological impacts assessment.

Parsons Engineering Science Inc.

Gilbert Bogle

Qualifications: 3 years as postdoctoral fellow at CALTECH specializing in water modeling. B.Sc. Mathematics and Physics, Ph.D. Engineering.

David Connaly, M.A. Oceanography

Terry Hendricks. Ph.D. Physics

Luciano Meiorin, Ph.D. Engineering

Responsibilities:  Ocean discharge modeling studies.

Tierra Environmental Services

Chris Nordby, Principal Biologist

Qualifications: Over 17 years' experience specializing

in wetlands ecology. M.S. Biology.

Responsibilities:  Tijuana estuary biology technical report.

Chapter Nine

References Cited

Ainley, D. G., and D. R. Bontrager

1981 Beached Bird Census, 1977-1978, with Comparison to Previous Years. In Summary of Marine Mammal and Seabird Surveys of the Southern California Bight Area, 1975-1978. University of California, Santa Cruz. Prepared for Bureau of Land Management, U.S. Department of the Interior.

American Society of Coastal Engineers

1995 Proceedings of the 4th International Conference on Estuarine and Coastal Modeling. October.

Bender, K. E., C. T. Collins, and S. L. Warter

1974 Marine and Shore Birds. In Biological Environment.

A Summary of Knowledge of the Southern California Coastal Zone and Offshore Areas, vol. 2, edited by M. D. Daily, B. Hill, and H. Lansing. Prepared by Southern California Ocean Studies Consortium of California State Universities and Colleges. Prepared for Bureau of Land Management, U.S. Department of the Interior.

Bernard, H. J., J. W. Gilpatrick, Jr., L. J. Hansen, and J. R. Henderson

1988 Cetacean Strandings along the San Diego, California, Coast from 1966 through 1986. Draft report, February. National Marine Fisheries Service, Southwest Fisheries Center, La Jolla.

Boland, J. M.

1981 Seasonal Abundances, Habitat Utilization, Feeding Strategies and Interspecific Competition within a Wintering Shorebird Community and Their Possible Relationships with the Latitudinal Distribution of Shorebird Species.  M.S. thesis, San Diego State University, San Diego.

Bonnel, M. L.

1985 Sea Birds. In Cities Service Project (P-0409), Northern Santa Maria Basin, Marine Biology Technical Appendix. URS Corporation, Santa Barbara.

Bonnel, M. L., M. O. Pierson, T. P. Dohl, R. C. Guess, K. T. Briggs, E. W. Chu,

D. B. Lewis, and G. L. Hunt, Jr.

1981 Synthesis of Findings.  In Summary of Marine Mammals and Seabird Surveys of the Southern California Bight Area, vol. 2.  NTIS PB 1-177-164.  Springfield, Virginia.

Boyle Engineering Corporation

1988 EPA Standby Interceptor Project Phase 1B Concept Design Report for Parts A, B, D, and E.  Prepared for USACE, EPA, IBWC, SWRCB, and City of San Diego.  Contract Number DACW-09-87-C-0035.  August.

1990 International Wastewater Treatment Plant, San Diego County, California.  Preliminary Report.  Prepared for IBWC, EPA, USACE, SWRCB, and City of San Diego.  Contract Number DACW-09-87-C-0035.  November.

1996 Tijuana River Hydraulics Report for the United States Army Corps of Engineers and Environmental Protection Agency.

Briggs, K. T., E. W. Cuy, D. B. Lewis, W. Breck Tyler, R. I. Pitman, and L. Hunt, Jr.

1981 Summary of Marine Mammal and Seabird Surveys of the Southern California Bight Area, 1975-1978. Vol. 3, Final Report. In part 3, Investigator's Reports, of Book 1, Seabirds: Distribution, Numbers, and Seasonal Status of Seabirds of the Southern California Bight. NMS No. PB81-248197.

Cabelli, V. J., M. A. Levin, and A. P. Dufour

1983 Public Health Consequences of Coastal and Estuarine Pollution: Infectious Diseases.  In Ocean Disposal of Municipal Wastewater: Impacts on the Marine Environment, vol. 2, edited by E. P. Meyers. NOAA Sea Grant Program.

California, State of

1952 Progress Report on Tijuana Basin as of April 1, 1952.  Division of Water Resources memorandum, Department of Public Works.

1967 Department of Water Resources Bulletin 106-2 regarding Tijuana River valley groundwater.

1975a California Coastal Plan.  January.

1975b Sea Water Intrusion in California:  Inventory of Coastal Ground Water Basins.  Bulletin 63-5.  Department of Water

Resources.

1977 Assessment and Atlas of Shoreline Erosion along the California Coast. California Department of Navigation and Ocean Development, The Resources Agency. July.

1981a Southern California Marine Sport Fishing from Privately Owned Boats:  Catch and Effort for April-June 1981. Department of Fish and Game.

1981b Southern California Marine Sport Fishing from Privately Owned Boats:  Catch and Effort for July-September 1981. Department of Fish and Game.

1988 California State Mussel Watch:  Ten Year Data Summary, 1977-1987.  Water Quality Monitoring Report No. 87-3.  State Water Resources Control Board.

1989 Guidelines for Air Quality Impact Assessments for General Development and Transportation-Related Projects.  Page 8.

June.

1990a Water Quality Control Plan:  Ocean Waters of California.  State Water Resources Control Board.  March.

1990b Annual Summary of 1989 Air Quality Data, Gaseous and Particulate Pollutants, California (Vol. XXI).  Air Resources Board.

1991 Annual Summary of 1990 Air Quality Data, Gaseous and Particulate Pollutants, California (Vol. XXII).  Air Resources Board.

1992 Annual Summary of 1991 Air Quality Data, Gaseous and Particulate Pollutants, California (Vol. XXIII).  Air Resources Board.

1993 Annual Summary of 1992 Air Quality Data, Gaseous and Particulate Pollutants, California (Vol. XXIV).  Air Resources Board.

1994a State Mussel Watch Program, 1987-1993.  Data Report 94-1WQ.  State Water Resources Control Board.

1994b Annual Summary of 1993 Air Quality Data, Gaseous and Particulate Pollutants, California (Vol. XXV).  Air Resources Board.

1995 Water Quality Control Plan for the San Diego Basin (9). State Water Resources Control Board, Regional Water Quality Control Board, San Diego Region. April 26.

Chambers Group

1990 Final Review and Analysis of Drought Tolerance of Riparian and Estuarine Species.  Prepared for the Department of the Army, Corps of Engineers, Los Angeles District.

1991 Review and Analysis of Drought Tolerance of Riparian and Estuarine Species.  Prepared for the U.S. Army Corps of Engineers.  January.

Choat, J. H.

1982 Fish Feeding and the Structure of Benthic Communities in Temperate Waters. Ann. Rev. Ecol. Syst. 13:423-449.

Chow, T. J., and J. E. Earl

1977 Trace Metals in Sediments.  In Southern California Baseline Study.  Bureau of Land Management.

CIC Research, Inc.

1996 Interim Discharge Supplemental Environmental Impact Statement, Socioeconomic Analysis.  June 21.

Clark, M. B.

1969 Distribution and Seasonal Dynamics of Animal Population in San Diego Beaches. Thesis, San Diego State College.

County Sanitation Districts of Orange County

1986 Marine Monitoring. In 1986 Annual Report, vol. 3.

Dean, T. A., S. Schroeter, and J. Dixon

1984 Effects of Grazing by Two Species of Sea Urchins (Strongylocentrotus franciscanus and Lytechinus anamesus) on Recruitment

and Survival of Two Species of Kelp (Macrocystis pyrifera

and Pterygophora californica). Marine Biology 78:301-313.

Dexter, F.

1977 Biological Baseline Studies of the Imperial Beach Erosion Control Project Area. Contract No. DAC09-76-M-1423. U.S. Army Corps of Engineers, Los Angeles District.

Dohl, T. P., K. S. Norris, R. C. Guess, J. D. Bryant, and M. W. Honig

1981 Summary of Marine Mammal and Seabird Surveys of the Southern California Bight Area, 1975-1978. Vol. 3, Final Report.  In part 2, Investigator's Reports, Cetacea of the Southern California Bight.  Prepared for U.S. Bureau of Land Management, Contract AA550-CT7-36.

Dudek and Associates

1994a Groundwater Management Plan for the Tijuana River Basin Phase II.  Report prepared for the Tia Juana Valley County Water District.  April.

1994b Groundwater Management Plan for the Tijuana River Basin Phase III.  Report prepared for the Tia Juana Valley County Water District.  October.

1995 Groundwater Management Plan for the Tijuana River Basin Phase IV.  Report prepared for the Tia Juana Valley County Water District.  February.

Engineering Science, Inc.

1988 Tijuana Oceanographic and Engineering Study.  Engineering Studies Report, vols. 1 and 2.

1990 South Bay Land Outfall Preliminary Planning Study.  Tijuana Oceanographic Engineering Study - Phase IV.  Prepared for the City of San Diego.  May.

1991 South Bay Ocean Outfall, Basis of Design Report.  Tijuana Oceanographic Engineering Study - Phase IV.  January.

1992a South Bay Land Outfall Extension and Ocean Outfall Conceptual Design Report.  April.

1992b South Bay Land Outfall Extension and Ocean Outfall Supplemental Ocean Outfall Planning Study:  Initial Dilution and Outfall Length Analysis.  July.

1993 South Bay Land Outfall Extension and Ocean Outfall Revised Conceptual Design Report.  July.

Entrix, Inc., Pacific Estuarine Research Laboratory, and PWA Ltd.

1991 Tijuana Estuary Tidal Restoration Program.  Draft Environmental Impact Report/Environmental Impact Statement.  3 vols. California State Coastal Conservancy (SCC) and U.S. Fish and Wildlife Service, Lead Agencies.  SCC, Oakland.

Eppley, R. W., W. G. Harrison, S. W. Chisolm, and E. Stewart

1978 Particulate Organic Matter in Surface Waters off Southern California and Its Relation to Phytoplankton. Journal of Marine Research 35:671-696.

Fong, P.

1986 Monitoring and Manipulation of Phytoplankton Dynamics in a Southern California Estuary.  M.S. thesis, San Diego

State University, San Diego.

Foster, M., and D. Schiel

1985 The Ecology of Kelp Forests in California: A Community Profile. U.S. Fish and Wildlife Service Biological Report 85(7.2).

Gerard, V.

1976 Some Aspects of Material Dynamics and Energy Flow in a Kelp Forest in Monterey Bay. Ph.D. dissertation, University of California, Santa Cruz.

Gersberg, R., F. Trintade, and C. Nordby

1989 Heavy Metals in Sediments and Fish of the Tijuana Estuary.  Border Health 5(3).

Harrold, C., and D. Reed

1985 Food Availability, Sea Urchin Grazing, and Kelp Forest Community Structure. Ecology 66:1160-1169.

Hendricks, T. J.

1988 Modeling of Flow Fields and Effluent Trajectories in the San Diego Bight.  In Tijuana Oceanographic Engineering Study, prepared by Engineering Science.

Inman, D., R. Tait, P. Komar, and C. Nordstrom

1968 Dispersion of Water and Sediment in the Surf Zone.  University of California, Scripps Institution of Oceanography.  SIO Reference 68-4.

International Boundary and Water Commission

1976 Final Environmental Statement for the Tijuana River Flood Control Project, San Diego County, California. United States Section.  May.

1984 Environmental Memorandum.  Tijuana Sewage - Emergency Regulating Pond.  United States Section.  October 25.

1985 Minute No. 270.  Recommendations for the First Stage Treatment and Disposal Facilities for the Solution of the Border Sanitation Problem at San Diego, California-Tijuana, Baja California.  April 30.

1987 Position Paper.  Tijuana/San Diego Sanitation Problem.  October.

1990 Minute No. 283.  Conceptual Plan for the International Solution to the Border Sanitation Problem in San Diego, California-Tijuana, Baja California.  Signed by both governments, July 2.

Izbicki, John A.

1985 Evaluation of the Mission, Santee, and Tijuana Hydrologic Subareas for Reclaimed Water Use, San Diego County.  U.S. Geological Survey Water Resources Investigation Report 85-4032.

James Dobbin Associates Incorporated

1986 Tijuana River National Estuarine Sanctuary Management Plan.  Prepared for State of California, Coastal Commission; U.S. Department of Commerce, National Oceanic and Atmospheric Administration Sanctuary Programs Division; and Tijuana River National Estuarine Sanctuary Management Authority.  February.

Jaques, D. L., and D. W. Anderson

1987 Conservation Implications of Habitat Use and Behavior of Wintering Brown Pelicans (Pelicanus occidentalis californicus).  Public Service Research and Dissemination Program, University of California, Davis.

Jirka, G. H.

1990 Tijuana Beach Discharge Evaluation, Final Report.  Prepared for the U.S. Environmental Protection Agency, Region IX.  March.

Jones, G. F.

1969 The Benthic Macrofauna of the Mainland Shelf of Southern California. Allan Hancock Mon. in Mar. Biol. No. 4.

Jurek, R. M.

1996 Personal communication, July 24. California Department of Fish and Game, Sacramento.

Kalichman, S. G., and J. B. Conway

1989 San Elijo Ocean Outfall Improvement Project: Public Health Issues.  City of Escondido and San Elijo Lagoon Joint Powers Authority.

Kaupp, S. E.

1986 Commercial Fishing. Report of a Symposium by the

San Diego Oceans Foundation. Scripps Institution of Oceanography.

Kinnetic Laboratories, Inc.

1990 Deep Water Ocean Outfall ROV Reconnaissance Survey, South Bay and San Diego River Sites.  Report prepared for City of San Diego Clean Water Program.

1991 Marine Environmental Impacts of the Proposed Secondary Treatment System.  Appendix M to Secondary Treatment System and Associated Sludge Management Facilities.  Prepared for the City of San Diego.

Kinney, M.

1990a Personal communication.  Biologist, Ecological Services, U.S. Fish and Wildlife Service, Laguna Niguel, CA.

1990b Tabulation of Federal Lists and Proposed Endangered, Threatened, and Candidate Species in Tijuana River Valley and Estuary.  Biologist, Ecological Services, U.S. Fish and Wildlife Service, Laguna Niguel, CA.  May.

Kus, B.

1990 Status of the Belding's Savannah Sparrow at the Tijuana Estuary, 1990.  Prepared for the Department of the Army, Los Angeles District, Corps of Engineers, Los Angeles.

1992 Status of the Belding's Savannah Sparrow at Border Field State Park.  Prepared for the Department of the Army, Los Angeles District, Corps of Engineers, Los Angeles.

Larson, R. J., and E. E. De Martini

1984 Abundance and Vertical Distribution of Fishes in a Cobble-Bottom Kelp Forest Off San Onofre, California. Fish Bulletin 82:37-53. California Department of Fish and Game.

Littler, M. M., and S. N. Murray

1975 Impact of Sewage on the Distribution, Abundance, and Community Structure of Rocky Intertidal Macro-organisms. Marine Biology 30:277-291.

Malcolm Pirnie Engineers

1993 Draft Conceptual Design Report, South Bay International Treatment Plant. November.

Malme, C. I., P. R. Miles, C. W. Clark, P. Tyack, and J. E. Bird

1984 Investigations of the Potential Effects of Underwater Noise from Petroleum Industry Activities on Migrating Gray Whale Behavior. Phase II: January 1984 Migration. Report No. 5586. Prepared for Minerals Management Service, U.S. Department of the Interior, Anchorage, AK.

Massey, B. W.

1989 California Least Tern Field Study, 1989 Breeding Season.  Prepared for the California Department of Fish and Game.

MBC Applied Environmental Sciences

1990 IBWC International Wastewater Treatment Plant Data Report. Prepared for Engineering-Science, Inc. March.

1995 San Diego County Region Nine Kelp Survey Consortium, 14 November.

McMicheaux, Dion

1991 Personal communication, April 17. International Boundary and Water Commission, United States Section.

McPeak, R. H.

1991 Personal communication.

Mearns, A. J., and M. J. Sherwood

1977 Distributions of Neoplasms and Other Diseases in Marine Fishes Relative to the Discharge of Wastewater.  In Aquatic Pollutants and Biological Effects with Emphasis on Neolasia, edited by H. F. Kraybill, D. J. Dawe, J. C. Harshbarger, and R. G. Tariff. Annals of New York Academic Sciences, vol. 298.

Mearns, A. J., and D. R. Young

1983 Characteristics and Effects of Municipal Wastewater Discharges to the Southern California Bight: A Case Study.  In Ocean Disposal of Municipal Wastewater: Impacts on the Environment, vol 2, edited by E. P. Meyers.  MIT Sea Grant College Program, MITSA-83-33, Cambridge, MA.

Melbourn, John

1991 Personal communication, January 24. County of San Diego.

MEC Analytic Systems

1992 Encina Receiving Water Monitoring Summary Report: July 1985-June 1991.  Prepared for Encina Water Pollution Control Facility, Carlsbad, CA.

Mearns, A. J., D. A. Hanan, and L. Harris

1977 Recovery of Kelp Forest off Palos Verdes.  In Coastal Water Research Project Annual Report 1977.  U.S. Department of Commerce, NTIS No. PB274463/AS.

McPeak, R. H., and D. Glanz

1984 Harvesting California's Kelp Forests.  Oceanus 27(1):19-26.

Michael Brandman Associates (MBA)

1990 Estuarine Impacts.  Appendix P to Secondary Treatment System and Associated Sludge Management Facilities EIR/EIS.  Prepared for the City of San Diego.

Murray, S. N., and M. M. Littler

1978 Patterns of Algal Succession in a Perturbated Marine Intertidal Community. J. Phycol. 14:506-512/

National Coalition for Marine Conservation

1985 Economic Assessment of Marine Recreational Fishing in Southern California.  Prepared for National Marine Fisheries Service.

National Marine Fisheries Service

1991 Southern California Sportfishing Economic Survey.

National Oceanic and Atmospheric Administration

1989 A Summary of Data on Tissue Contamination from the First Three Years (1986-1988) of the Mussel Watch Project: Progress Report. NOAA Tech. Mem. NOS OMA 49. Rockville, MD.

Newman, J.

1990 Personal communication.  Ecologist, Regional Environmental Consultants (RECON), San Diego.

Nordby, C. S.

1990 Biological Monitoring of San Elijo Lagoon.  Final Report to the San Diego County Department of Parks and Recreation.

Nordby, C. S., and J. B. Zedler

1991 Responses of Fish and Macrobenthic Assemblages to Hydrologic Disturbances in Tijuana Estuary and Los Pe&ntilde;asquitos Lagoon, California.  Estuaries 14: 180193.

Norris, K. S., G. L. Hunt, E. J. LeBoeuf, M. Bonnel, K. Briggs, D. Dettman, T. Dohl, J. Hail, L. Hobbs, L. Jones, D. Lewis, N. Quarmen, and B. Tuyler

1975 The Distribution, Abundance, Movement and Reproduction of Birds, Crustaceans and Pinnipeds in the Southern California Bight: A Six Month Monitoring Report to the BLM-OCS Program.  Contract No. 08550-CT5-25.  University of California, Santa Cruz and Irvine.

North W. J. (editor)

1971 The Biology of Giant Kelp Beds (Macrocystis) in California.  Nova Hedwigia 32:1-600.

1973 Kelp Habitat Improvement Project Annual Report, 1 July 1972 to 30 June 1973.

North, W. J., and M. B. Schaefer

1964 An Investigation of the Effects of Discharged Waste on Kelp.  California Water Quality Control Board Publication

26.

O'Connor, T. P., and B. Beliaeff

1995 Recent Trends in Coastal Environmental Quality: Results from the Mussel Watch Program. National Status and Trends Program. Marine Environmental Quality. U.S. Department of Commerce, National Oceanic and Atmospheric Administration, National Ocean Service, Office of Ocean Resources Conservation and Assessment, Coastal Monitoring and Bioeffects Assessment Division, Silver Springs, MD.

Odor Science &amp; Engineering

1990 Secondary Wastewater Treatment Facility Odor Impact Study.  Appendix E to Secondary Treatment System and Associated Sludge Management Facilities EIR/EIS.  Prepared for the City of San Diego.

O'Shea, T. H., R. L. Brownell, D. R. Clark, W. A. Walker, M. L. Gay, and T. G. Lamont

1980 Organochlorine Pollutants in Small Cetaceans from the Pacific and South Atlantic Oceans, November 1968-June 1976. Pesticides Monitoring Journal 14:35-46.

Page, G. W., and L. E. Stenzel

1981 The Breeding Status of the Snowy Plover in California. Western Birds 12(1):140.

Page, G. W., F. C. Bidstrup, R. J. Ramer, and L. E. Stenzel

1986 Distribution of Wintering Snowy Plovers in California and Adjacent States. Western Birds 17(4):145-170.

Page, G. W., L. E. Stenzel, W. D. Shuford, and C. R. Bruce

1991 Distribution and Abundance of the Snowy Plover on Its Western North American Breeding Grounds. J. Field Ornithology 62(2):245-255.

Parr, T. D., D. Diener, and S. Lacy

1978 Effects of Beach Replenishment on the Nearshore Sand Fauna at Imperial Beach, California. Mis. Report No. 78-4. USACE Coastal Engineering Research Center, VI.

Parsons Engineering Science, Inc.

1996 Wastewater Discharge Modeling and Analysis of Alternative Interim Disposal Options for the Supplemental Environmental Impact Statement for the International Boundary and Water Commission International Wastewater Treatment Plant Interim Operation.  Prepared for Boyle Engineering Corporation.  July 18.

Philip Williams &amp; Associates

1987 Tijuana Estuary Enhancement Hydrologic Analysis.

Powell, A.

1996 Personal communication, July 26. National Biological Service, San Diego State University.

Pryde, Philip R.

1976 San Diego: An Introduction to the Region. Kendall/Hunt, Dubuque.

RECON

1993 Biological Assessment for the International Wastewater Treatment Plant.  Prepared for the Environmental Protection Agency, Region IX.  December 7.

1994 Final Environmental Impact Statement, International Boundary and Water Commission International Wastewater Treatment Plant and Outfall Facilities.  Prepared for USIBWC and EPA.  February.

Rempel, Rick

1992 Hydrogeological Assessment of the Tijuana River Valley.  California State Water Resources Control Board.  February 26.

Rudnicki, R.

1986 Dynamics of Macroalgae in Tijuana Estuary: Response to Simulated Wastewater Addition.  M.S. thesis, San Diego State University, San Diego.

San Diego Association of Governments (SANDAG)

1992 INFO Baja California Demographic Profile.  May-June 1992.

1994 1994 Regional Transportation Plan.  February.

San Diego, City of

1977 Tijuana River Valley Plan and Local Coastal Program Addendum.  March.

1993 South Metro Interceptor Facilities Design Preliminary Report.  Metropolitan Wastewater Department.  May.

1995 Point Loma 301(h) Waiver Application for Modification of Secondary Treatment Requirements.  April.

San Diego, County of

1972 Natural Resource Inventory of San Diego County:  Section 5A, Coastal Zone Ornithology.  Environmental Development Agency Integrated Regional Environmental Management Project.

1992 1991/1992 Regional Air Quality Strategies.  Air Pollution Control District.  June.

Schafer, H. A., R. W. Gossett, C. F. Ward, and A.M. Westcott

1984 Chlorinated Hydrocarbons in Marine Mammals. In SCCWRP Biennial Report 1983-1984, edited by W. Bascom. Southern California Coastal Water Research Project, Long Beach, CA.

Schulberg, S., I. Shaw, and D. Van Schoik

1989 Results of the 1987-1988 Gray Whale Migration and LCAC Interaction Study Program. Prepared by Southwest Research Associates for Western Division, Naval Facilities Engineering Command, San Bruno, CA. U.S. Navy Contract No. N62474-87-C-8669.

Seamans, P.

1988 Wastewater Creates a Border Problem.  Journal WPCF

60(10):1799-1804.

Smith, G.

1974 Some Effects of Sewage Discharge to the Marine Environment. Ph.D. dissertation. University of California, San Diego.

South Coast Air Quality Management District (SCAQMD)

1993 CEQA Air Quality Handbook.  April.

Southern California Association of Governments

1988 The State of the Santa Monica Bay. Santa Monica Bay Project. 3 vols.

Southern California Coastal Water Research Project

n.d. Unpublished data.

1973 The Ecology of the Southern California Bight: Implications for Water Quality Management. Three-year report.

Sowls, A. L., A. R. DeGange, J. W. Nelson, and G. S. Lester

1980 Catalog of California Seabird Colonies. U.S. Fish

and Wildlife Service FWS/OBS-80-37.

Squire, J. L., Jr., and S. E. Smith

1977 Angler's Guide to the United States Pacific Coast. U.S. Department of Commerce, NOAA, NMFS, Seattle, WA.

Straughn, D.

1982 Inventory of the Natural Resources of Sandy Beaches in Southern California. Allan Hancock Foundation Technical Report No. 6.

Tia Juana Valley County Water District

1994a Groundwater Management Plan for the Tijuana River Basin, Phase II.  Prepared by Dudek &amp; Associates, Inc.  April.

1994b Groundwater Management Plan for the Tijuana River Basin, Phase III.  Prepared by Dudek &amp; Associates, Inc.  October.

Tegner, M. J.

1996 Personal communication, July 22. Scripps Institution of Oceanography.

Tegner, M. J., and P. V. Dayton

1987 El Ni&ntilde;o Effects on Southern California Kelp Forest Communities. Advanced Ecological Research 17:243-279.

Tegner, M. J., P. K. Dayton, P. B. Edwards, K. L. Riser, D. B. Chadwick, T. A. Dean, and L. Deysher

1995 Effects of a Large Sewage Spill on a Kelp Forest Community: Catastrophe or Disturbance? Marine Environmental Research

40(2):181-224.

Tierra Environmental Services

1996 Biological Impacts of Interim Discharge of Primary Treated Effluent from the International Wastewater Treatment Plant to the Tijuana Estuary.  July 3.

Unitt, P. A.

1984 Birds of San Diego County.  Memoir No. 13.  San Diego Society of Natural History.

U.S. Army Corps of Engineers (USACE)

1965 Proposed International Flood Control Project, United States and Mexico, Tijuana River Basin in California and Baja California.  July.

1990 Endangered Species Act Biological Assessment.  South Bay Land Outfall Project: Phase I Tijuana River Valley, South Bay, San Diego.

1995 Supplemental Environmental Assessment and Finding of No Significant Impact, South Bay Ocean Outfall Modifications. Prepared for the U.S. Environmental Protection Agency and International Boundary and Water Commission by the U.S. Army Corps of Engineers. August.

1996 Environmental Assessment for International Wastewater Treatment Plant Project, Goat Canyon Pumping Plant and Dechlorination Facility. Prepared for International Boundary and Water Commission, United States Section.  June.

U.S. Army Corps of Engineers, U.S. Environmental Protection Agency, International Boundary and Water Commission, California Water Resources Control Board, and City of San Diego

1990 Data obtained by Boyle Engineering Corporation for the EPA Standby Interceptor Project Alternatives Study-Bi-national Wastewater Treatment Project.  Contract No. DACW-09-87-C-0035.  February.

U.S. Department of Agriculture (USDA)

1973 Soil Survey, San Diego Area, California.  Soil Conservation Service and Forest Service. December.

U.S. Department of Commerce

1992 Monthly Station Normals of Temperature, Precipitation, and Heating and Cooling Days, 1961-1990, California.  Climatography of the United States No. 81.  National Climatic Data Center, National Oceanic and Atmospheric Administration.  January.

U.S. Environmental Protection Agency (EPA)

1985 Preliminary Assessment of Environmental Effects of Sewage on San Diego Beaches. Prepared by Earth Metrics for EPA Region 9.

1988 Environmental Assessment and Finding of No Significant Impact:  South Bay Land OutfallPhase I (Big Pipe).  Project No. C-06-1092-21.  August.

1994 Biological Assessment for the International Wastewater Treatment Plant.  In Final Environmental Impact Statement for the International Boundary and Water Commission International Wastewater Treatment Plant and Ocean Oufall Facilities.  February 1994.

1995 Memorandum Regarding Treatment/Conveyance Abilities of the Interim Operation SEIS Alternatives.

U.S. Fish and Wildlife Service (USFWS)

1985 Salt Marsh Birds-Beak Recovery Plan.

Warnock, N., S. Griffin, and L. E. Stenzel

1989 Results of the 22-23 April 1989 Shorebird Census in Coastal Wetlands of San Diego County and Northern Baja California. Point Reyes Bird Observatory Report.

West Consultants Inc.

1994 Flood Control Study for the Tijuana River Valley.  Prepared for Tia Juana Valley County Water District.

Williams, P., and M. Swanson

1987 Tijuana Estuary Enhancement Hydrologic Analysis.  Prepared for San Diego State University Foundation.  February.

Word, J. Q.

1978 The Infaunal Trophic Index. Southern California Coastal Water Research Project Report 1978, pp. 19-39.

1980 Classification of Benthic Invertebrates into Infaunal Trophic Index Feeding Groups. Southern California Coastal

Water Research Project Biennial Report 1979-1980, pp. 103-122.

Word, J. Q., and A. J. Mearns

1979 60-Meter Control Survey Off Southern California.

Southern California Coastal Waters Research Project Report TM 119.

Zedler, Joy B.

1982 The Ecology of Southern California Coastal Salt Marshes: A Community Profile.  U.S. Fish Wildl. Serv. Biol. Serv. Program FWS/OBS-81/54.

1984 Salt Marsh Restoration:  A Guide Book for Southern California.  California Sea Grant College Program, Institute of Marine Resources, University of California, A-032, La Jolla, California.  Sea Grant Report No. T-CSGCP-009, pp. 39-41.

Zedler, Joy B., C. Nordby, and T. Griswold

1990 Linkages:  Among Estuarine Habitats and with the Watershed.  National Oceanic and Atmospheric Administration Technical Memorandum.  June.

Zedler, J. B., C. S. Nordby, and B. E. Kus

1992 The Ecology of Tijuana Estuary, California:  A National Estuarine Research Reserve.  NOAA Office of Coastal Resource Management, Sanctuaries and Reserves Division, Washington, D.C.

Zedler, J. B., J. Callaway, B. Nyden, D. Stow, R. Gersberg, P. Goodwin, and R. Kammen

1995 Restoring Coastal Wetlands.  Annual Report for Year

Ending June 30, 1995.  U.S. National Biological Service, Pacific Estuarine Research Laboratory and San Diego State University Foundation.

Zedler, Joy B., and C. Nordby

1986 The Ecology of Tijuana Estuary, California:  An Estuarine Profile.  U.S. Fish and Wildlife Service Biological Report 85(7.5).

Zembal, R.

1989 Light-footed Clapper Rail Census and Study, 1989.  Prepared for the California Department of Fish and Game.

1991 Light-footed Clapper Rail Census and Study, 1991.  Preliminary report to the California Department of Fish and Game.

Zimmerman, R. C., and J. N. Kremer

1984 Episodic Nutrient Supply to a Kelp Forest Ecosystem in Southern California. J. Mar. Res. 42:591-604.