## Main Data
Default Storage Ring Refill Time |  |  | 0.25 | [17 empty] | Refill Timing in Days | 0.010417
Downtime for Run 2006-1
Fill # | Start | End | Length | Loss Reason | DIN # | Audit | Start | End | User Length | System Length | Cause | System | Group | Type | Description | Store Lost | Intention. Dump | Inhibits Beam | TOTAL
1 | 2006-01-31 08:01 | 2006-01-31 15:26 | 7.4167 | CPU PS & IOC reboot[CTL] | 105081 |  | 2006-01-31 15:26 | 2006-01-31 15:58 | 0.53333 | 0.53333 | CTL | CTL | CTL | Store Lost |  | 1 |  |  | 1
2 | 2006-01-31 15:58 | 2006-02-02 11:05 | 43.1167 | Steering Software [OAG] | 105085 |  | 2006-02-02 11:05 | 2006-02-02 11:48 | 0.71667 | 0.71667 | OAG | OAG | OAG | Store Lost |  | 1 |  |  | 1
3 | 2006-02-02 11:48 | 2006-02-07 08:00 | 116.2 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 166.7333 | [5 empty] | 1.25 | 1.25 | [8 empty] | 0 | 99.2503
4 | 2006-02-08 08:00 | 2006-02-13 07:31 | 119.5167 | RTFB problem | 105091 |  | 2006-02-13 07:31 | 2006-02-13 08:03 | 0.53333 | 0.53333 | CTL | CTL | CTL | Store Lost |  | 1 |  |  | 1
5 | 2006-02-13 08:03 | 2006-02-14 08:00 | 23.95 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 143.4667 | [5 empty] | 0.53333 | 0.53333 | [8 empty] | 0 | 99.6283
6 | 2006-02-15 08:00 | 2006-02-17 06:26 | 46.4333 | RF llrf problem [RF] | 105092 |  | 2006-02-17 06:26 | 2006-02-17 06:55 | 0.48333 | 0.48333 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
7 | 2006-02-17 06:55 | 2006-02-20 08:00 | 73.0833 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 119.5167 | [5 empty] | 0.48333 | 0.48333 | [8 empty] | 0 | 99.5956
8 | 2006-02-22 08:00 | 2006-02-28 08:00 | 144 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 144 | [5 empty] | 0 | 0 | [8 empty] | 0 | 100
9 | 2006-03-01 08:00 | 2006-03-05 21:46 | 109.7667 | S:BM:PS current loss[PS] | 105097 | [9 empty] | SR Dipole glitch 0.92[PS],TM alarm limits 1.5[OPS] |  |  |  | 0
[7 empty] | 2006-03-05 21:46 | 2006-03-05 22:41 | 0.91667 | 0.91667 | PS | PS | PS | Store Lost |  | 1 |  |  | 1
[7 empty] | 2006-03-05 22:41 | 2006-03-06 00:11 | 1.5 | 1.5 | OPS | OPS | OPS | Inhibits beam to user |  |  |  | 1 | 1
10 | 2006-03-06 00:11 | 2006-03-07 08:00 | 31.8167 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 141.5833 | [5 empty] | 2.4167 | 2.4167 | [8 empty] | 0 | 98.2931
11 | 2006-03-08 08:00 | 2006-03-09 16:00 | 32 | 11-ID PSS trip [EOS] | 105098 |  | 2006-03-09 16:00 | 2006-03-09 16:43 | 0.71667 | 0.71667 | EOS | EOS | EOS | Store Lost | Recovery from trip to CA, refill | 1 |  |  | 1
12 | 2006-03-09 16:43 | 2006-03-11 09:04 | 40.35 | RF4 Cathode V drop [RF] | 105099 | [9 empty] | RF4 0.7hr[RF], problems storing beam 2.4hr[Unknown] |  |  |  | 0
[7 empty] | 2006-03-11 09:04 | 2006-03-11 09:46 | 0.7 | 0.7 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
[7 empty] | 2006-03-11 09:46 | 2006-03-11 12:10 | 2.4 | 2.4 | UNK | UNK | UNK | Inhibits beam to user |  |  |  | 1 | 1
13 | 2006-03-11 12:10 | 2006-03-12 06:34 | 18.4 | RF4 Cathode V drop [RF] | 105100 |  | 2006-03-12 06:34 | 2006-03-12 06:58 | 0.4 | 0.4 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
14 | 2006-03-12 06:58 | 2006-03-12 23:43 | 16.75 | RF4 Cathode V drop [RF] | 105101 |  | 2006-03-12 23:43 | 2006-03-13 00:15 | 0.53333 | 0.53333 | RF | RF | RF | Store Lost |  | 1 |  |  | 1
15 | 2006-03-13 00:15 | 2006-03-13 08:00 | 7.75 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 115.25 | [5 empty] | 4.75 | 4.75 | [8 empty] | 0 | 95.8785
16 | 2006-03-15 08:00 | 2006-03-21 08:00 | 144 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 144 | [5 empty] | 0 | 0 | [8 empty] | 0 | 100
17 | 2006-03-22 08:00 | 2006-03-28 08:00 | 144 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 144 | [5 empty] | 0 | 0 | [8 empty] | 0 | 100
18 | 2006-03-29 08:00 | 2006-04-03 08:00 | 119 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 119 | [5 empty] | 0 | 0 | [8 empty] | 0 | 100
19 | 2006-04-05 08:00 | 2006-04-11 08:00 | 144 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 144 | [5 empty] | 0 | 0 | [8 empty] | 0 | 100
20 | 2006-04-12 08:00 | 2006-04-14 21:44 | 61.7333 | Booster ACIS problem[SI] |  |  | 2006-04-14 21:44 | 2006-04-14 22:24 | 0.66667 | 0.66667 | SI | SI | SI | Inhibits beam to user | Dropped below 60mA, replaced processor, filled [SI] | 1 |  |  | 1
21 | 2006-04-14 22:24 | 2006-04-16 14:18 | 39.9 | Weather-Related [Other] |  |  | 2006-04-16 14:18 | 2006-04-16 14:50 | 0.53333 | 0.53333 | Other | Other | Other | Store Lost | Reset RF4 and B:IS:PS, refilled | 1 |  |  | 1
22 | 2006-04-16 14:50 | 2006-04-17 13:18 | 22.4667 | Power disturbance[ComEd] | [10 empty] | PS condition error, OC error; 1hr[Other], 2.5hr [OA ] |  |  |  | 0
[7 empty] | 2006-04-17 13:18 | 2006-04-17 14:05 | 0.78333 | 0.78333 | COM-ED | Electrical-ANL | Other | Store Lost |  | 1 |  |  | 1
[7 empty] | 2006-04-17 14:05 | 2006-04-17 16:43 | 2.6333 | 2.6333 | OAG | OAG | OAG | Inhibits beam to user |  |  |  | 1 | 1
23 | 2006-04-17 16:43 | 2006-04-18 08:00 | 15.2833 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 139.3833 | [5 empty] | 4.6167 | 4.6167 | [8 empty] | 0 | 96.6878
24 | 2006-04-19 08:00 | 2006-04-21 23:47 | 63.7833 | ACIS UPS failure [IT] |  |  |  |  | 13.3333 | [5 empty] | 4.52hr[IT]2.4hr[SI]2.07hr[RF]2.5hr[PS]3.3hr[OA]2.85hr[CTL] |  |  |  | 0
[7 empty] | 2006-04-21 23:47 | 2006-04-22 02:38 |  | 2.85 | IT | IT | IT | Store Lost |  | 1 |  |  | 1
[7 empty] | 2006-04-22 01:38 | 2006-04-22 02:02 |  | 0.4 | OAG | OAG | OAG | Inhibits beam to user | Booster tunnel dropped prior to Beam Permit |  |  | 1 | 1
[7 empty] | 2006-04-22 02:38 | 2006-04-22 05:02 |  | 2.4 | SI | SI | SI | Inhibits beam to user | Chain C would not reset for SR |  |  | 1 | 1
[7 empty] | 2006-04-22 02:38 | 2006-04-22 03:40 |  | 1.0333 | OAG | OAG | OAG | Inhibits beam to user | Troubleshooting |  |  | 1 | 1
[7 empty] | 2006-04-22 05:02 | 2006-04-22 05:49 |  | 0.78333 | IT | IT | IT | Inhibits beam to user | Search of Zones A-F |  |  | 1 | 1
[7 empty] | 2006-04-22 04:30 | 2006-04-22 06:34 |  | 2.0667 | RF | RF | RF | Inhibits beam to user | RF-5 would not reset |  |  | 1 | 1
[7 empty] | 2006-04-22 05:49 | 2006-04-22 06:12 |  | 0.38333 | IT | IT | IT | Inhibits beam to user | Start up |  |  | 1 | 1
[7 empty] | 2006-04-22 06:12 | 2006-04-22 08:42 |  | 2.5 | PS | PS | PS | Inhibits beam to user | SR Raw Supplies |  |  | 1 | 1
[7 empty] | 2006-04-22 07:25 | 2006-04-22 07:50 |  | 0.41667 | OAG | OAG | OAG | Inhibits beam to user | PEM errors |  |  | 1 | 1
[7 empty] | 2006-04-22 07:50 | 2006-04-22 10:41 |  | 2.85 | CTL | CTL | CTL | Inhibits beam to user | Timing Error |  |  | 1 | 1
[7 empty] | 2006-04-22 08:42 | 2006-04-22 09:12 |  | 0.5 | IT | IT | IT | Inhibits beam to user | SR conditioning |  |  | 1 | 1
[7 empty] | 2006-04-22 10:41 | 2006-04-22 12:08 |  | 1.45 | OAG | OAG | OAG | Inhibits beam to user | Tuning |  |  | 1 | 1
[7 empty] | 2006-04-22 12:08 | 2006-04-22 12:20 |  | 0.2 | Other | Other | Other | Inhibits beam to user |  |  |  | 1 | 1
[7 empty] | 2006-04-22 12:20 | 2006-04-22 13:07 |  | 0.78333 | DIA | DIA | DIA | Inhibits beam to user | RTFB errors |  |  | 1 | 1
25 | 2006-04-22 13:07 | 2006-04-24 07:59 | 42.8667 | Int Dump: End of Period |  |  |  |  | 0 | 0 | Scheduled | [5 empty] | 1 |  | 1
|  |  | 106.65 | [5 empty] | 13.3333 | 18.6167 | [8 empty] | 0 | 87.498
|  | Number of Lost Fills | 13 | [5 empty] | Downtime
|  | Number of Intentional Dumps | 12 | [5 empty] | User | System | [5 empty] | 13 | 12 | 16 | 41
|  | Number of Fills | 25 | [5 empty] | 27.3833 | 32.6667 | [5 empty] | SL | Scheduled | Inhibits
|  | Total User Beam | 1627.5833 | 67.816 | User Beam days
|  | Total User Downtime | 27.3833 | <-- This downtime includes Gaps Open
|  | Total Schedule Run Length | 1654.9667 | [12 empty] | 25
|  | Mean Time Between Faults | 125.1987 | [13 empty] | #REF!
|  | Faults/Day of Delivered Beam | 0.1917 | [13 empty] | #REF!
|  | X-ray Availability | 98.35%
14

## Stats
Group
Data | CTL | OAG | Other | PS | RF | UNK | OPS | EOS | SI | IT | DIA | Grand Total
Sum of Inhibits Beam | 1 | 5 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 3 | 1 | 16
Sum of Intention. Dump | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sum of Store Lost | 2 | 1 | 2 | 1 | 4 | 0 | 0 | 1 | 1 | 1 | 0 | 13
Sum of System Length | 3.9167 | 6.65 | 1.5167 | 3.4167 | 4.1833 | 2.4 | 1.5 | 0.71667 | 3.0667 | 4.5167 | 0.78333 | 32.6667
| RF | Diag | PS | Controls | Accelerator Intlks | Beamline Intlks | Radiation Intlks | Water/ME | Vacuum | Operations | Physics | Network | ID-FE | Electrical-APS | Electrical-ANL | Cooling-ANL | Other | Unidentified | Grand Total | Total Hours
Hours for Run | 4.1833 | 0.78333 | 3.4167 | PS: 3.9167; RF: 3.0667; IT: 6.65 | 4.5167 |  |  | 1.5167 |  | 2.2333 | 2.4 | 32.6833
Run 2006-1 | 0.2528% | 0.04733% | 0.2064% | PS: 0.2367%; RF: 0.1853%; IT: 0.4018% | 0.2729% |  |  | 0.09164% |  | 0.1349% | 0.145% | 1.975%
Budget | 0.9% | 0.2% | 0.9% | 0.5% | 0.1% | 0.1% | 0.1% | 0.3% | 0.3% | 0.2% | 0% | 0.2% | 0.1% | 0.1% | 0.3% | 0.1% | 0.3% | 0.1% | 4.6%
Faults | 4 | 0 | 1 | PS: 2; RF: 1; IT: 1 | 1 |  |  |  | 3 |  | 0 | 13
| RF | Diag | PS | Controls | Accelerator Intlks | Beamline Intlks | Radiation Intlks | Water/ME | Vacuum | Operations | Physics | Network | ID-FE | Electrical-APS | Electrical-ANL | Cooling-ANL | Other | Unidentified
Run 2006-1 | 0.058983 | 0 | 0.014746 | 0.029492 | 0.014746 | 0 | 0 | 0 | 0 | 0.014746 |  | 0.014746 | 0 |  | 0 |  |  | 0 | 0.1917
Budget | 0.12 | 0.03 | 0.1 | 0.05 | 0.01 | 0.01 | 0.02 | 0.05 | 0.01 | 0.02 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.02 | 0.02 | 0.51
Total User Beam | 1627.5833
Total Schedule Run Length | 1654.9667