## Res Additions
LBL IRP Data:
Proposed additions -- Capacity forecast (MW) and Energy (aMW)
Avista IRP
Proposed additions -- Capacity forecast (MW)
From: see above, as well as Table 7.4, Pg. 46 of main.
Note: interesting discussion of aversion to L-T contracts on og. 37 of main plan.
|  |  | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | Not specified | Not specified
|  | CCCT ("gas dispatch") | 0 | 0 | 0 | 3 | 32 | Not specified | Not specified | Not specified | Not specified | 156 | Not specified | Not specified
|  | SCCT ("Gas peakers") | 0 | 0 | 0 | 0 | 0 | Not specified | Not specified | Not specified | Not specified | 42 | Not specified | Not specified
|  | Wind | 0 | 0 | 0 | 0 | 0 | Not specified | Not specified | Not specified | Not specified | 0 | Not specified | Not specified
|  | Coal ("base thermal") | 0 | 0 | 0 | 0 | 0 | Not specified | Not specified | Not specified | Not specified | 229 | Not specified | Not specified
|  | Total proposed | 0 | 0 | 0 | 3 | 32 | Not specified | Not specified | Not specified | Not specified | 427 | Not specified | Not specified
|  | Existing + proposed | 0 | 0 | 0 | 3 | 32 | Not specified | Not specified | Not specified | Not specified | 2236 | Not specified | Not specified
|  | Required purchases | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified
|  | Total | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified
Proposed additions -- Energy (aMW)
From: chart 7.6, Pg. 39 of main (estimated from graph, though 2013 values are specified). See also Table 7.3, Pg. 45 of main.
|  |  | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | unknown | unknown
|  | CCCT ("gas dispatch") | 0 | 0 | 0 | 3 | 30 | 42 | 149 | 149 | 149 | 149 | unknown | unknown
|  | SCCT ("Gas peakers") | 0 | 0 | 0 | 0 | 0 | 40 | 40 | 40 | 40 | 40 | unknown | unknown
|  | Wind | 0 | 0 | 0 | 0 | 6 | 6 | 25 | 25 | 25 | 25 | unknown | unknown
|  | Coal ("base thermal") | 0 | 0 | 0 | 0 | 0 | 0 | 40 | 70 | 140 | 197 | unknown | unknown
|  | Total proposed | 0 | 0 | 0 | 3 | 36 | 88 | 254 | 284 | 354 | 411 | unknown | unknown
Idaho Power IRP
Proposed additions -- Capacity forecast (MW)
Portfolio 11 was selected.
From: pg. 2 of main, detail on pg. 98 of PDF tech appendix.
|  |  | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
|  | Peakers | 0 | 0 | 0 | 88 | 88 | 88 | 150 | 150 | 150 | 150 | Not specified | Not specified
|  | DSM | 0 | 44 | 58 | 72 | 88 | 102 | 108 | 113 | 119 | 124 | Not specified | Not specified
|  | Wind (corrected) | 0 | 0 | 100 | 200 | 200 | 200 | 350 | 350 | 350 | 350 | Not specified | Not specified
|  | CHP | 0 | 0 | 0 | 12 | 12 | 12 | 48 | 48 | 48 | 48 | Not specified | Not specified
|  | Geo | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | Not specified | Not specified
|  | Coal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500 | 500 | 500 | Not specified | Not specified
|  | Total proposed (recalculated) | 0 | 44 | 158 | 372 | 488 | 502 | 756 | 1261 | 1267 | 1272 | Not specified | Not specified
Proposed additions -- Energy (aMW)
From: pg. 2 of main, detail on pg. 98 of PDF tech appendix.
|  |  | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
|  | Peakers | 86 | 130 | 159 | 179 | 99 | 152 | 183 | 62 | 62 | 62 | Not specified | Not specified
|  | DSM | 0 | 2 | 4 | 6 | 8 | 10 | 12 | 14 | 16 | 18 | Not specified | Not specified
|  | Wind | 0 | 0 | 20 | 40 | 40 | 40 | 70 | 70 | 70 | 70 | Not specified | Not specified
|  | CHP | 0 | 0 | 0 | 12 | 12 | 12 | 48 | 48 | 48 | 48 | Not specified | Not specified
|  | Geo | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | Not specified | Not specified
|  | Coal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500 | 500 | 500 | Not specified | Not specified
|  | Total proposed | 86 | 132 | 183 | 237 | 259 | 314 | 413 | 794 | 796 | 798 | Not specified | Not specified
Nevada Power IRP
Proposed additions -- Capacity forecast (MW)
From: Fig. SS-11, Pg. 30 of Vol. VI, Pg. 13 of summary. Preferred plan portfolio.
|  |  | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
|  | CT | 0 | 0 | 78 | 78 | 78 | 78 | 78 | 546 | 546 | 546 | 546 | 1014
|  | CC | 0 | 0 | 0 | 510 | 510 | 510 | 510 | 510 | 510 | 1020 | 1020 | 1020
|  | Coal | 0 | 0 | 0 | 0 | 0 | 0 | 500 | 500 | 500 | 500 | 500 | 500
|  | ACLM | 12 | 15 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18
|  | Total proposed | 12 | 15 | 96 | 606 | 606 | 606 | 1106 | 1574 | 1574 | 2084 | 2084 | 2552
|  | Existing + proposed new | 3563 | 3551 | 3197 | 3632 | 3307 | 3307 | 3807 | 4275 | 4275 | 4810 | 4810 | 5278
|  | "Planned" purchases | 2068 | 2265 | 2971 | 2674 | 3125 | 3231 | 2855 | 2491 | 2600 | 2175 | 2284 | 1925
|  | Total | 5631 | 5806 | 5972 | 6110 | 6236 | 6352 | 6466 | 6570 | 6679 | 6789 | 6898 | 7007
Proposed additions -- Energy (aMW)
Not specified
NWE IRP
Proposed additions -- Capacity forecast (MW)
Note: plan specifies that all resources will be added before 2007; due to lack of specificity, we assume 2005 here for all additions, with the exception of coal, which is placed in 2007.
From: pgs. 18-19 of executive summary, identifying portfolios 4, 14, 15, and 17 as candidate plans. No single plan is selected, so ranges shown here.
|  |  | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
|  | Hydro | 0 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
|  | Cogen | 0 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14
|  | Baseload (ID'ed as coal) | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
|  | Gas dispatchable | 0 | 178-308 | 178-308 | 178-308 | 178-308 | 178-308 | 178-308 | 178-308 | 178-308 | 178-308 | 178-308 | 178-308
|  | Wind | 0 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150
Total
Note: no L&R tables to double-check, or to assess remaining need for market purchases, though plan says that need will be almost entirely alleviated.
Proposed additions -- Energy (aMW)
Not specified
Pacificorp IRP
Proposed additions -- Capacity forecast (MW)
Note: PAC selected Portfolio 3
|  |  | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
|  | Coal | Unspecified | Unspecified | 0 | 0 | 0 | 0 | 0 | 0 | 575 | 575 | 575 | 958
|  | CCCT | Unspecified | Unspecified | 0 | 0 | 0 | 0 | 525 | 525 | 525 | 1111 | 1671 | 1671
|  | DSM | Unspecified | Unspecified | 0 | 0 | 0 | 88 | 88 | 88 | 88 | 88 | 177 | 177
|  | Renewables (pg. 38 tech appemdix 2004 IRP) | Unspecified | Unspecified | 100 | 300 | 500 | 700 | 900 | 1100 | 1300 | 1400 | 1400 | 1400
|  | Total | 0 | 0 | 100 | 300 | 500 | 788 | 1513 | 1713 | 2488 | 3174 | 3823 | 4206
|  | Planned purchases (read of graph on 56 of main 2004 IRP) | 1300 | Unspecified | 400 | 600 | 900 | 1200 | 1200 | 1250 | 1300 | 1300 | 1300 | 1300
Proposed additions -- Energy (aMW)
Not specified
Portland General IRP
Proposed additions -- Capacity forecast (MW)
Insufficient data in the plan and update.
Proposed additions -- Energy (aMW)
The following appear in the 2004 update to the plan.
Data on contract extensions and renewals is ignored due to absence of data on the existing contracts, and our use of the same value for existing contracts in all years.
Dates are somewhat uncertain in the early years, though we assume 2007 in most cases.
|  |  | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
|  | Upgrades at boardman (coal) | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 46
|  | Port Westward (CCCT) | 0 | 0 | 0 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350
|  | Renewables (wind) | Not specified | Not specified | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65
|  | Fixed price purchase | Not specified | Not specified | Not specified | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150
|  | Gas tolling | Not specified | Not specified | Not specified | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150
|  | Short term purchases | Not specified | Not specified | Not specified | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125
Note: PGE selected Portfolio 18 in it's original plan. Values are shown below.
From pg. 84-85 of supplement for plan identification.
|  | CCCT | Not specified | 0 | 294 | 294 | 294 | 294 | 294 | 294 | 294 | 294 | 294 | 294
|  | Renewables | Not specified | 15 | 20 | 25 | 30 | 35 | 40 | 45 | 50 | 50 | 50 | 50
|  | DSM | Not specified | 26 | 27 | 27 | 27 | 27 | 27 | 28 | 28 | 28 | 28 | 28
|  | Other (tolling agreements) | Not specified | 312 | 110 | 307 | 380 | 459 | 575 | 694 | 958 | 1029 | 1099 | 1172
|  | Total |  | 353 | 451 | 653 | 731 | 815 | 936 | 1061 | 1330 | 1401 | 1471 | 1544
PSCO IRP
Proposed additions -- Capacity forecast (MW)
Note: selected approach -- coal additions and two RFPs for specific purchases; these values are difficult to discern due to Xcel's approach of issuing RFPs. All data here is a BEST GUESS.
For dispatchable RFP, seeking: gas-fired peaking 1000-1500 MW, gas intermediate 800-1500, coal baseload 600-1500 MW (if 750 MW coal plant is not approved). Also seeks: wind 200-1000 MW.
Timing for these specific resources is not specified, though the annual incremental resource NEED is identified (see totals below)
From: Vol 1 and the RFPs.
|  |  | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | Not specified | Not specified
|  | Coal | 0 | 0 | 0 | 0 | 0 | 513 | 513 | 513 | 513 | 513 | Not specified | Not specified
|  | Wind |  | 250 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500
|  | Purchases | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified
|  | Dispatchable (coal, gas, etc, 2,850 MW by end of 2013) | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified
|  | Nondispatchable (renewable, likely wind) | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified
|  | Total NEED | Not specified | Not specified | 207 | 490 | 738 | 1251 | 1640 | 1948 | 2524 | 3591 | Not specified | Not specified
Proposed additions -- Energy (aMW)
Not specified
PSE IRP
Proposed additions -- Capacity forecast (MW)
From Exhibit VII-12, Ch 7 of Aug update, pg. 16
|  |  | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
|  | DSM | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified | Not specified
|  | Renewables (wind) | 0 | 150 | 150 | 350 | 350 | 550 | 550 | 750 | 750 | 900 | 900 | 925
|  | Shaped CCGT | 442 | 442 | 442 | 442 | 442 | 547 | 603 | 690 | 690 | 690 | 690 | 690
|  | Coal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 266 | 339 | 363 | 380
|  | CCGT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 261 | 332 | 355 | 372
|  | SCGT | 490 | 502 | 555 | 621 | 657 | 1000 | 1226 | 1335 | 1354 | 1427 | 1461 | 1509
|  | Duct fired | 57 | 57 | 57 | 57 | 57 | 71 | 79 | 91 | 125 | 134 | 137 | 139
|  | Total | 989 | 1151 | 1204 | 1470 | 1506 | 2168 | 2458 | 2866 | 3446 | 3822 | 3906 | 4015
Proposed additions -- Energy (aMW)
Note: values are approximate as they were read off a graphic
From: Exhibit XIII-1 of April plan.
|  |  | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
|  | DSM | 0 | 25 | 50 | 75 | 100 | 125 | 150 | 175 | 200 | 215 | 220 | 220
|  | Renewables | 0 | 25 | 50 | 75 | 100 | 125 | 150 | 175 | 220 | 230 | 230 | 230
|  | Joint ownership, CCGT (shaped) | 420 | 435 | 450 | 465 | 480 | 495 | 510 | 525 | 580 | 580 | 580 | 580
|  | Coal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 300 | 375 | 400 | 425
|  | CCGT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200 | 375 | 400 | 425
|  | Total | 420 | 485 | 550 | 615 | 680 | 745 | 810 | 875 | 1500 | 1775 | 1830 | 1880
Note: updated plan from August affects primarily the DSM targets.
SDG&E LCRP -- note: limited data available to the public.
Proposed additions -- Capacity forecast (MW)
SDG&E plan summary ppt pg. 10: "recommended" additions (note that these values do not appear in the LCRP, but rather in an accompanying powerpt)
|  |  | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
|  | DR | 0 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
|  | Biomass | 0 | 0 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40
|  | Solar | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  | CT | 0 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45
|  | CC | 0 | 0 | 550 | 550 | 550 | 550 | 550 | 550 | 550 | 550 | 550 | 550
|  | Contract | 0 | 0 | 0 | 570 | 570 | 570 | 570 | 570 | 570 | 570 | 570 | 570
|  | Total | 0 | 76 | 666 | 1236 | 1236 | 1236 | 1236 | 1236 | 1236 | 1236 | 1236 | 1236
Proposed additions -- Energy (aMW)
Not specified
Sierra IRP
Proposed additions -- Capacity forecast (MW)
From: Figure S-8, pg. 15, Vol. 1.
|  |  | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
|  | CC | 0 | 0 | 0 | 0 | 498 | 498 | 498 | 498 | 498 | 498 | 498 | 498
|  | Coal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 250
|  | Total planned purchases (short, medium and L-T) | 25 | 704 | 745 | 771 | 418 | 532 | 558 | 584 | 616 | 650 | 683 | 503
|  | New + planned purchase | 25 | 704 | 745 | 771 | 916 | 1030 | 1056 | 1082 | 1114 | 1148 | 1181 | 1251
|  | Total resources | 1779 | 1914 | 1955 | 1981 | 2126 | 2165 | 2191 | 2217 | 2249 | 2283 | 2316 | 2386
Proposed additions -- Energy (aMW)
Not specified
SCE LCRP -- note: limited data available to the public.
Proposed additions -- Capacity forecast (MW)
Not specified
Proposed additions -- Energy (aMW)
Not specified
Note on C63: MINGST: Separate line item.
Note on C64: MINGST: Fig. S-5, pg 13 of Vol 1. Values don't match totals in list of resources. However, the values here were used in L&R.
Note on C131: MINGST: Goal is 500 MW of a 750 MW unit.
Note on C132: MINGST: Renewable RFP says they are seeking up to 500 MW of new nameplate to be operational by the end of 2006. Vol 1 pg. 95 identifies the additions in 2005 and 06 as wind, which we equally apportioned between the two years. Model allows the addition of wind even when it is superfluous.
Note on C134: MINGST: See Vol. 3, dispatchable RFP. Quantity depends, in part, on how much nondispatchable is chosen.
Note on C135: MINGST: Pg; 130 of Vol. 1. See also Vol. 2 (renewable RFP).
Note on C136: MINGST: Vol. 1 pg. 75. See also dispatchable RFP, pg. 3). NEED doesn't necessarily have to match the total of new resource additions, though we use it here as a guide in the absence of more information.
Note on C79: MINGST: Fig. S-5, pg 13 of Vol 1. Values don't match totals in list of resources. However, the values here were used in L&R.
Note on F111: MINGST: Date is not specified. Assume 2007. Table 3, Pg. 8 uses 2007.

## Data sources
Primary data sources
Utility | Year and name of the resource plan
Avista Corp. | 2003 Integrated Resource Plan
Idaho Power Co. | 2004 Draft Integrated Resource Plan
Nevada Power | 2003 Integrated Resource Plan
NorthWestern Energy Corp. (NWE) | 2004 Electric Default Supply Resource Procurement Plan
PacifiCorp | 2004 Integrated Resource Plan
Pacific Gas & Electric (PG&E) | 2004 Long-term Procurement Plan
Portland General Electric (PGE) | 2002 Integrated Resource Plan (Feb. 03 Supp /Mar. 04 Action Plan)
Public Service of Colorado (PSCO) | 2003 Least-Cost Resource Plan
Puget Sound Energy (PSE) | 2003 Least Cost Plan (and Aug. 03 Update). Note: draft 2005 plan is now available, but was not used in this spreadsheet.
San Diego Gas & Electric (SDG&E) | 2004 Long-term Resource plan
Sierra Pacific | 2005 Integrated Resource Plan
Southern California Edison (SCE) | 2004 Long-term Procurement Plan
See also: | California Energy Commission 2003. “California Energy Demand 2003-2013 Forecast,” August.